## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_762-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_762-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_762-7_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_762-7_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_762-7_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_762-7_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_762-7_0_2_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_762-7_0_2_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_762-7_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_762-7_0_2_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_762-7_0_2_node_142 | 0.4 | n |  | TRUE
11 | bus_LV_762-7_0_2_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_762-7_0_2_node_105 | 0.4 | n |  | TRUE
13 | bus_LV_762-7_0_2_node_143 | 0.4 | n |  | TRUE
14 | bus_LV_762-7_0_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_762-7_0_2_node_147 | 0.4 | n |  | TRUE
16 | bus_LV_762-7_0_2_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_762-7_0_2_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_762-7_0_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_762-7_0_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_762-7_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_762-7_0_2_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_762-7_0_2_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_762-7_0_2_node_150 | 0.4 | n |  | TRUE
24 | bus_LV_762-7_0_2_node_151 | 0.4 | n |  | TRUE
25 | bus_LV_762-7_0_2_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_762-7_0_2_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_762-7_0_2_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_762-7_0_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_762-7_0_2_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_762-7_0_2_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_762-7_0_2_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_762-7_0_2_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_762-7_0_2_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_762-7_0_2_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_762-7_0_2_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_762-7_0_2_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_762-7_0_2_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_762-7_0_2_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_762-7_0_2_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_762-7_0_2_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_762-7_0_2_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_762-7_0_2_node_94 | 0.4 | n |  | TRUE
43 | bus_MV_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_762-7_0_2_load_0 | 0 | 0.0031914 | 0.00079985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_762-7_0_2_load_1 | 1 | 0.011055 | 0.0027707 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_762-7_0_2_load_3 | 3 | 0.0027368 | 0.00068592 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_762-7_0_2_load_32 | 7 | 0.0024465 | 0.00061316 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_762-7_0_2_load_19 | 9 | 0.0015901 | 0.00039851 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_762-7_0_2_load_142 | 10 | 0.00066268 | 0.00016608 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_762-7_0_2_load_147 | 15 | 0.0014428 | 0.0003616 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_762-7_0_2_load_20 | 16 | 0.002326 | 0.00058295 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_762-7_0_2_load_21 | 17 | 0.0012065 | 0.00030237 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_762-7_0_2_load_31 | 20 | 0.001429 | 0.00035814 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_762-7_0_2_load_29 | 21 | 0.0033968 | 0.00085132 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_762-7_0_2_load_79 | 22 | 0.0017547 | 0.00043978 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_762-7_0_2_load_150 | 23 | 0.0012811 | 0.00032108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_762-7_0_2_load_151 | 24 | 0.00049416 | 0.00012385 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_762-7_0_2_load_53 | 25 | 0.0010383 | 0.00026022 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_762-7_0_2_load_64 | 27 | 0.00099153 | 0.0002485 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_762-7_0_2_load_49 | 28 | 0.0019849 | 0.00049746 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_762-7_0_2_load_50 | 29 | 0.0014732 | 0.00036921 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_762-7_0_2_load_63 | 30 | 0.0015393 | 0.00038579 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_762-7_0_2_load_71 | 31 | 0.00019492 | 4.8853e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_762-7_0_2_load_102 | 32 | 0.0011153 | 0.00027952 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_762-7_0_2_load_75 | 33 | 0.00056879 | 0.00014255 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_762-7_0_2_load_88 | 36 | 0.00034096 | 8.5453e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_762-7_0_2_load_87 | 37 | 0.00041787 | 0.00010473 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_762-7_0_2_load_91 | 38 | 0.0026325 | 0.00065977 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_762-7_0_2_load_92 | 39 | 0.00036478 | 9.1423e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_762-7_0_2_load_93 | 40 | 0.00061993 | 0.00015537 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_762-7_0_2_load_101 | 41 | 0.00059721 | 0.00014967 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_762-7_0_2_load_94 | 42 | 0.000278 | 6.9674e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_762-7_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_762-7_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_762-7_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.15836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_762-7_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_762-7_0_2_line_4 | NAYY 4x150 SE | 4 | 8 | 0.042716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_762-7_0_2_line_5 | NAYY 4x150 SE | 4 | 9 | 0.028413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_762-7_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.10993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_762-7_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.034023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_762-7_0_2_line_8 | NAYY 4x150 SE | 6 | 27 | 0.043537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_762-7_0_2_line_9 | NAYY 4x150 SE | 7 | 26 | 0.009123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_762-7_0_2_line_10 | NAYY 4x150 SE | 8 | 19 | 0.028983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_762-7_0_2_line_11 | NAYY 4x150 SE | 8 | 20 | 0.041047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_762-7_0_2_line_12 | NAYY 4x150 SE | 8 | 21 | 0.084622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_762-7_0_2_line_13 | NAYY 4x150 SE | 9 | 16 | 0.0098891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_762-7_0_2_line_14 | NAYY 4x150 SE | 10 | 11 | 0.010682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_762-7_0_2_line_15 | NAYY 4x150 SE | 10 | 12 | 0.12558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_762-7_0_2_line_16 | NAYY 4x150 SE | 11 | 13 | 0.022335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_762-7_0_2_line_17 | NAYY 4x150 SE | 12 | 42 | 0.034767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_762-7_0_2_line_18 | NAYY 4x150 SE | 13 | 14 | 0.019307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_762-7_0_2_line_19 | NAYY 4x150 SE | 13 | 15 | 0.13396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_762-7_0_2_line_20 | NAYY 4x150 SE | 14 | 24 | 0.090243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_762-7_0_2_line_21 | NAYY 4x150 SE | 14 | 18 | 0.12844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_762-7_0_2_line_22 | NAYY 4x150 SE | 14 | 23 | 0.409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_762-7_0_2_line_23 | NAYY 4x150 SE | 15 | 22 | 0.027587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_762-7_0_2_line_24 | NAYY 4x150 SE | 16 | 17 | 0.014327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_762-7_0_2_line_25 | NAYY 4x150 SE | 17 | 18 | 0.0091977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_762-7_0_2_line_26 | NAYY 4x150 SE | 19 | 25 | 0.022741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_762-7_0_2_line_27 | NAYY 4x150 SE | 21 | 26 | 0.01999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_762-7_0_2_line_28 | NAYY 4x150 SE | 22 | 34 | 0.21129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_762-7_0_2_line_29 | NAYY 4x150 SE | 25 | 29 | 0.074935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_762-7_0_2_line_30 | NAYY 4x150 SE | 27 | 30 | 0.0084894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_762-7_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.10705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_762-7_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.17983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_762-7_0_2_line_33 | NAYY 4x150 SE | 32 | 41 | 0.091594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_762-7_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.013211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_762-7_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.020717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_762-7_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.00585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_762-7_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.063115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_762-7_0_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.05977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_762-7_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.09603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_762-7_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.00087612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_762-7_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.00034492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_762-7_0_2_trafo_25 | 0.25 MVA 20/0.4 kV | 43 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2607276.6006 | 1162420.7379 | 2607276.1686 | 1162421.4785 | 2607267.6654 | 1162440.6444 | 2607266.9254 | 1162457.2629 | 2607273.492 | 1162475.1352
1 | 2607281.9949 | 1162411.4916 | 2607276.6006 | 1162420.7379
2 | 2607273.492 | 1162475.1352 | 2607273.492 | 1162475.1352 | 2607284.2915 | 1162489.3552 | 2607321.0978 | 1162510.1653 | 2607400.2171 | 1162568.3618
3 | 2607279.8191 | 1162392.5018 | 2607289.4247 | 1162399.5057 | 2607281.9949 | 1162411.4916
4 | 2607279.8191 | 1162392.5018 | 2607285.4005 | 1162382.3813 | 2607292.3622 | 1162371.1396 | 2607293.4823 | 1162369.7181 | 2607303.4335 | 1162356.9904
5 | 2607279.8191 | 1162392.5018 | 2607270.9775 | 1162387.1886 | 2607255.4667 | 1162377.8637
6 | 2607359.0556 | 1162453.0385 | 2607390.1712 | 1162479.3004 | 2607400.7561 | 1162487.1283 | 2607426.7672 | 1162508.9598 | 2607444.5616 | 1162522.0548
7 | 2607359.0556 | 1162453.0385 | 2607362.1336 | 1162447.9842 | 2607369.2077 | 1162438.8438 | 2607377.2211 | 1162432.1613 | 2607381.0072 | 1162427.3625
8 | 2607444.5616 | 1162522.0548 | 2607468.9906 | 1162540.7941 | 2607480.3134 | 1162546.6523
9 | 2607386.6581 | 1162420.2002 | 2607381.0072 | 1162427.3625
10 | 2607303.4335 | 1162356.9904 | 2607279.6258 | 1162349.3135 | 2607275.8508 | 1162347.8638
11 | 2607303.4335 | 1162356.9904 | 2607309.2527 | 1162340.2335 | 2607309.6707 | 1162336.6434 | 2607307.4197 | 1162329.2703 | 2607304.6542 | 1162322.9194 | 2607300.7836 | 1162319.6629
12 | 2607303.4335 | 1162356.9904 | 2607349.2511 | 1162389.0505 | 2607371.6232 | 1162407.0303
13 | 2607246.8136 | 1162373.1096 | 2607249.6887 | 1162374.3901 | 2607255.4667 | 1162377.8637
14 | 2607124.2763 | 1162329.3526 | 2607123.3199 | 1162318.714
15 | 2607055.8973 | 1162217.3395 | 2607062.3208 | 1162220.7376 | 2607082.7534 | 1162245.9072 | 2607095.3303 | 1162260.7514 | 2607096.1719 | 1162261.7196 | 2607108.5197 | 1162275.9077 | 2607121.5087 | 1162298.5675 | 2607123.3199 | 1162318.714
16 | 2607124.2763 | 1162329.3526 | 2607120.2096 | 1162328.403 | 2607105.9871 | 1162325.6071 | 2607102.3646 | 1162324.7358
17 | 2607055.8973 | 1162217.3395 | 2607036.604 | 1162207.1121 | 2607024.1064 | 1162203.7961
18 | 2607106.28 | 1162343.6386 | 2607102.3646 | 1162324.7358
19 | 2607102.3646 | 1162324.7358 | 2607099.0211 | 1162308.0236 | 2607093.9767 | 1162291.4984 | 2607088.311 | 1162282.2205 | 2607079.1069 | 1162272.127 | 2607066.1949 | 1162262.0959 | 2607013.0106 | 1162237.1142
20 | 2607106.28 | 1162343.6386 | 2607040.2863 | 1162281.8978
21 | 2607106.28 | 1162343.6386 | 2607113.0936 | 1162353.9184 | 2607122.682 | 1162362.7784 | 2607137.6745 | 1162368.7101 | 2607157.0471 | 1162369.6 | 2607207.912 | 1162364.4243 | 2607224.5953 | 1162365.6559
22 | 2607106.28 | 1162343.6386 | 2606906.1809 | 1162700.3456
23 | 2606987.2684 | 1162227.223 | 2607009.919 | 1162235.662 | 2607013.0106 | 1162237.1142
24 | 2607246.8136 | 1162373.1096 | 2607237.0248 | 1162368.75 | 2607233.5206 | 1162367.8777
25 | 2607224.5953 | 1162365.6559 | 2607233.5206 | 1162367.8777
26 | 2607275.8508 | 1162347.8638 | 2607276.495 | 1162334.5024 | 2607275.2123 | 1162330.988 | 2607270.7994 | 1162327.5035
27 | 2607386.6581 | 1162420.2002 | 2607373.8405 | 1162408.8123 | 2607371.6232 | 1162407.0303
28 | 2606784.0785 | 1162263.8639 | 2606799.5435 | 1162265.6932 | 2606817.3657 | 1162262.7229 | 2606870.0225 | 1162245.1846 | 2606941.9382 | 1162221.4658 | 2606963.1907 | 1162220.2006 | 2606976.517 | 1162223.2174 | 2606987.2684 | 1162227.223
29 | 2607270.7994 | 1162327.5035 | 2607269.1355 | 1162326.1895 | 2607254.4098 | 1162321.3917 | 2607229.1173 | 1162318.8047 | 2607214.3939 | 1162318.4648 | 2607201.9078 | 1162317.8163 | 2607197.2404 | 1162318.0255
30 | 2607487.8534 | 1162550.5533 | 2607480.3134 | 1162546.6523
31 | 2607179.1515 | 1162271.4334 | 2607182.1054 | 1162272.148 | 2607193.6291 | 1162276.9418 | 2607198.4267 | 1162281.7388 | 2607199.0607 | 1162289.7213 | 2607196.807 | 1162297.3779 | 2607191.6771 | 1162301.5183 | 2607179.5074 | 1162305.3392 | 2607169.2541 | 1162308.1951 | 2607167.0122 | 1162312.3501 | 2607169.8859 | 1162318.0897 | 2607176.61 | 1162319.6984 | 2607188.1332 | 1162318.4336 | 2607197.2404 | 1162318.0255
32 | 2606902.5539 | 1162059.1674 | 2606760.3053 | 1161949.1483
33 | 2606910.1337 | 1162150.1723 | 2606910.1981 | 1162142.0236 | 2606908.6675 | 1162120.3889 | 2606906.7638 | 1162083.3462 | 2606906.0918 | 1162074.7078 | 2606902.6968 | 1162062.2978 | 2606902.5539 | 1162059.1674
34 | 2606784.0785 | 1162263.8639 | 2606771.4137 | 1162260.105
35 | 2606784.2011 | 1162243.265 | 2606783.5091 | 1162245.5431 | 2606783.786 | 1162258.2497 | 2606784.0785 | 1162263.8639
36 | 2606784.2011 | 1162243.265 | 2606787.3705 | 1162238.3439
37 | 2606784.2011 | 1162243.265 | 2606773.2639 | 1162241.1517 | 2606768.2241 | 1162240.2679 | 2606730.2023 | 1162212.8809
38 | 2606787.3705 | 1162238.3439 | 2606791.9875 | 1162233.7245 | 2606814.7583 | 1162224.2453 | 2606835.2008 | 1162214.2856 | 2606840.1861 | 1162211.2557
39 | 2606840.1861 | 1162211.2557 | 2606866.2561 | 1162195.4113 | 2606894.2977 | 1162179.2461 | 2606903.5476 | 1162169.6519 | 2606907.5473 | 1162162.2861 | 2606910.0817 | 1162156.7641 | 2606910.1241 | 1162151.3933
40 | 2606910.1241 | 1162151.3933 | 2606910.131 | 1162150.5172
41 | 2606910.131 | 1162150.5172 | 2606910.1337 | 1162150.1723

## bus_geodata
| x | y | coords
0 | 2607276.6006 | 1162420.7379
1 | 2607273.492 | 1162475.1352
2 | 2607281.9949 | 1162411.4916
3 | 2607400.2171 | 1162568.3618
4 | 2607279.8191 | 1162392.5018
5 | 2607359.0556 | 1162453.0385
6 | 2607444.5616 | 1162522.0548
7 | 2607381.0072 | 1162427.3625
8 | 2607303.4335 | 1162356.9904
9 | 2607255.4667 | 1162377.8637
10 | 2607123.3199 | 1162318.714
11 | 2607124.2763 | 1162329.3526
12 | 2607055.8973 | 1162217.3395
13 | 2607102.3646 | 1162324.7358
14 | 2607106.28 | 1162343.6386
15 | 2607013.0106 | 1162237.1142
16 | 2607246.8136 | 1162373.1096
17 | 2607233.5206 | 1162367.8777
18 | 2607224.5953 | 1162365.6559
19 | 2607275.8508 | 1162347.8638
20 | 2607300.7836 | 1162319.6629
21 | 2607371.6232 | 1162407.0303
22 | 2606987.2684 | 1162227.223
23 | 2606906.1809 | 1162700.3456
24 | 2607040.2863 | 1162281.8978
25 | 2607270.7994 | 1162327.5035
26 | 2607386.6581 | 1162420.2002
27 | 2607480.3134 | 1162546.6523
28 | 2607179.1515 | 1162271.4335
29 | 2607197.2404 | 1162318.0255
30 | 2607487.8534 | 1162550.5533
31 | 2606760.3053 | 1161949.1483
32 | 2606902.5539 | 1162059.1674
33 | 2606771.4137 | 1162260.105
34 | 2606784.0785 | 1162263.8639
35 | 2606784.2011 | 1162243.265
36 | 2606787.3705 | 1162238.3439
37 | 2606730.2023 | 1162212.8809
38 | 2606840.1861 | 1162211.2557
39 | 2606910.1241 | 1162151.3933
40 | 2606910.131 | 1162150.5172
41 | 2606910.1337 | 1162150.1723
42 | 2607024.1064 | 1162203.7961
43 | 2607224.5953 | 1162365.6559

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1