## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_763-2_1_3_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_763-2_1_3_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_763-2_1_3_node_29 | 0.4 | n |  | TRUE
3 | bus_LV_763-2_1_3_node_213 | 0.4 | n |  | TRUE
4 | bus_LV_763-2_1_3_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_763-2_1_3_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_763-2_1_3_node_209 | 0.4 | n |  | TRUE
7 | bus_LV_763-2_1_3_node_210 | 0.4 | n |  | TRUE
8 | bus_LV_763-2_1_3_node_211 | 0.4 | n |  | TRUE
9 | bus_LV_763-2_1_3_node_204 | 0.4 | n |  | TRUE
10 | bus_LV_763-2_1_3_node_203 | 0.4 | n |  | TRUE
11 | bus_LV_763-2_1_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_763-2_1_3_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_763-2_1_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_763-2_1_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_763-2_1_3_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_763-2_1_3_node_216 | 0.4 | n |  | TRUE
17 | bus_LV_763-2_1_3_node_212 | 0.4 | n |  | TRUE
18 | bus_LV_763-2_1_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_763-2_1_3_node_177 | 0.4 | n |  | TRUE
20 | bus_LV_763-2_1_3_node_178 | 0.4 | n |  | TRUE
21 | bus_LV_763-2_1_3_node_176 | 0.4 | n |  | TRUE
22 | bus_LV_763-2_1_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_763-2_1_3_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_763-2_1_3_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_763-2_1_3_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_763-2_1_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_763-2_1_3_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_763-2_1_3_node_162 | 0.4 | n |  | TRUE
29 | bus_LV_763-2_1_3_node_217 | 0.4 | n |  | TRUE
30 | bus_LV_763-2_1_3_node_219 | 0.4 | n |  | TRUE
31 | bus_LV_763-2_1_3_node_202 | 0.4 | n |  | TRUE
32 | bus_LV_763-2_1_3_node_200 | 0.4 | n |  | TRUE
33 | bus_LV_763-2_1_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_763-2_1_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_763-2_1_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_763-2_1_3_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_763-2_1_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_763-2_1_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_763-2_1_3_node_143 | 0.4 | n |  | TRUE
40 | bus_LV_763-2_1_3_node_131 | 0.4 | n |  | TRUE
41 | bus_LV_763-2_1_3_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_763-2_1_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_763-2_1_3_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_763-2_1_3_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_763-2_1_3_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_763-2_1_3_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_763-2_1_3_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_763-2_1_3_node_112 | 0.4 | n |  | TRUE
49 | bus_LV_763-2_1_3_node_206 | 0.4 | n |  | TRUE
50 | bus_LV_763-2_1_3_node_207 | 0.4 | n |  | TRUE
51 | bus_LV_763-2_1_3_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_763-2_1_3_node_208 | 0.4 | n |  | TRUE
53 | bus_LV_763-2_1_3_node_174 | 0.4 | n |  | TRUE
54 | bus_LV_763-2_1_3_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_763-2_1_3_node_107 | 0.4 | n |  | TRUE
56 | bus_LV_763-2_1_3_node_130 | 0.4 | n |  | TRUE
57 | bus_LV_763-2_1_3_node_127 | 0.4 | n |  | TRUE
58 | bus_LV_763-2_1_3_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_763-2_1_3_node_145 | 0.4 | n |  | TRUE
60 | bus_LV_763-2_1_3_node_128 | 0.4 | n |  | TRUE
61 | bus_LV_763-2_1_3_node_111 | 0.4 | n |  | TRUE
62 | bus_LV_763-2_1_3_node_115 | 0.4 | n |  | TRUE
63 | bus_LV_763-2_1_3_node_116 | 0.4 | n |  | TRUE
64 | bus_LV_763-2_1_3_node_117 | 0.4 | n |  | TRUE
65 | bus_LV_763-2_1_3_node_118 | 0.4 | n |  | TRUE
66 | bus_LV_763-2_1_3_node_119 | 0.4 | n |  | TRUE
67 | bus_LV_763-2_1_3_node_120 | 0.4 | n |  | TRUE
68 | bus_LV_763-2_1_3_node_121 | 0.4 | n |  | TRUE
69 | bus_LV_763-2_1_3_node_144 | 0.4 | n |  | TRUE
70 | bus_LV_763-2_1_3_node_124 | 0.4 | n |  | TRUE
71 | bus_LV_763-2_1_3_node_134 | 0.4 | n |  | TRUE
72 | bus_LV_763-2_1_3_node_122 | 0.4 | n |  | TRUE
73 | bus_LV_763-2_1_3_node_123 | 0.4 | n |  | TRUE
74 | bus_LV_763-2_1_3_node_129 | 0.4 | n |  | TRUE
75 | bus_LV_763-2_1_3_node_141 | 0.4 | n |  | TRUE
76 | bus_LV_763-2_1_3_node_140 | 0.4 | n |  | TRUE
77 | bus_LV_763-2_1_3_node_132 | 0.4 | n |  | TRUE
78 | bus_LV_763-2_1_3_node_133 | 0.4 | n |  | TRUE
79 | bus_LV_763-2_1_3_node_135 | 0.4 | n |  | TRUE
80 | bus_LV_763-2_1_3_node_136 | 0.4 | n |  | TRUE
81 | bus_LV_763-2_1_3_node_137 | 0.4 | n |  | TRUE
82 | bus_LV_763-2_1_3_node_138 | 0.4 | n |  | TRUE
83 | bus_LV_763-2_1_3_node_139 | 0.4 | n |  | TRUE
84 | bus_LV_763-2_1_3_node_142 | 0.4 | n |  | TRUE
85 | bus_LV_763-2_1_3_node_146 | 0.4 | n |  | TRUE
86 | bus_LV_763-2_1_3_node_153 | 0.4 | n |  | TRUE
87 | bus_LV_763-2_1_3_node_173 | 0.4 | n |  | TRUE
88 | bus_LV_763-2_1_3_node_147 | 0.4 | n |  | TRUE
89 | bus_LV_763-2_1_3_node_148 | 0.4 | n |  | TRUE
90 | bus_LV_763-2_1_3_node_149 | 0.4 | n |  | TRUE
91 | bus_LV_763-2_1_3_node_150 | 0.4 | n |  | TRUE
92 | bus_LV_763-2_1_3_node_151 | 0.4 | n |  | TRUE
93 | bus_LV_763-2_1_3_node_154 | 0.4 | n |  | TRUE
94 | bus_LV_763-2_1_3_node_167 | 0.4 | n |  | TRUE
95 | bus_LV_763-2_1_3_node_152 | 0.4 | n |  | TRUE
96 | bus_LV_763-2_1_3_node_214 | 0.4 | n |  | TRUE
97 | bus_LV_763-2_1_3_node_169 | 0.4 | n |  | TRUE
98 | bus_LV_763-2_1_3_node_165 | 0.4 | n |  | TRUE
99 | bus_LV_763-2_1_3_node_215 | 0.4 | n |  | TRUE
100 | bus_LV_763-2_1_3_node_172 | 0.4 | n |  | TRUE
101 | bus_LV_763-2_1_3_node_168 | 0.4 | n |  | TRUE
102 | bus_LV_763-2_1_3_node_155 | 0.4 | n |  | TRUE
103 | bus_LV_763-2_1_3_node_156 | 0.4 | n |  | TRUE
104 | bus_LV_763-2_1_3_node_157 | 0.4 | n |  | TRUE
105 | bus_LV_763-2_1_3_node_158 | 0.4 | n |  | TRUE
106 | bus_LV_763-2_1_3_node_180 | 0.4 | n |  | TRUE
107 | bus_LV_763-2_1_3_node_179 | 0.4 | n |  | TRUE
108 | bus_LV_763-2_1_3_node_175 | 0.4 | n |  | TRUE
109 | bus_LV_763-2_1_3_node_159 | 0.4 | n |  | TRUE
110 | bus_LV_763-2_1_3_node_160 | 0.4 | n |  | TRUE
111 | bus_LV_763-2_1_3_node_161 | 0.4 | n |  | TRUE
112 | bus_LV_763-2_1_3_node_163 | 0.4 | n |  | TRUE
113 | bus_LV_763-2_1_3_node_164 | 0.4 | n |  | TRUE
114 | bus_LV_763-2_1_3_node_218 | 0.4 | n |  | TRUE
115 | bus_LV_763-2_1_3_node_166 | 0.4 | n |  | TRUE
116 | bus_LV_763-2_1_3_node_170 | 0.4 | n |  | TRUE
117 | bus_LV_763-2_1_3_node_171 | 0.4 | n |  | TRUE
118 | bus_LV_763-2_1_3_node_197 | 0.4 | n |  | TRUE
119 | bus_LV_763-2_1_3_node_196 | 0.4 | n |  | TRUE
120 | bus_LV_763-2_1_3_node_181 | 0.4 | n |  | TRUE
121 | bus_LV_763-2_1_3_node_182 | 0.4 | n |  | TRUE
122 | bus_LV_763-2_1_3_node_183 | 0.4 | n |  | TRUE
123 | bus_LV_763-2_1_3_node_184 | 0.4 | n |  | TRUE
124 | bus_LV_763-2_1_3_node_185 | 0.4 | n |  | TRUE
125 | bus_LV_763-2_1_3_node_186 | 0.4 | n |  | TRUE
126 | bus_LV_763-2_1_3_node_191 | 0.4 | n |  | TRUE
127 | bus_LV_763-2_1_3_node_187 | 0.4 | n |  | TRUE
128 | bus_LV_763-2_1_3_node_193 | 0.4 | n |  | TRUE
129 | bus_LV_763-2_1_3_node_189 | 0.4 | n |  | TRUE
130 | bus_LV_763-2_1_3_node_188 | 0.4 | n |  | TRUE
131 | bus_LV_763-2_1_3_node_194 | 0.4 | n |  | TRUE
132 | bus_LV_763-2_1_3_node_195 | 0.4 | n |  | TRUE
133 | bus_LV_763-2_1_3_node_190 | 0.4 | n |  | TRUE
134 | bus_LV_763-2_1_3_node_192 | 0.4 | n |  | TRUE
135 | bus_LV_763-2_1_3_node_205 | 0.4 | n |  | TRUE
136 | bus_LV_763-2_1_3_node_198 | 0.4 | n |  | TRUE
137 | bus_LV_763-2_1_3_node_199 | 0.4 | n |  | TRUE
138 | bus_LV_763-2_1_3_node_201 | 0.4 | n |  | TRUE
139 | bus_MV_208_0_node_203 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_763-2_1_3_load_27 | 0 | 0.00085269 | 0.00021371 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_763-2_1_3_load_213 | 3 | 0.0005443 | 0.00013641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_763-2_1_3_load_36 | 4 | 0.00021877 | 5.4829e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_763-2_1_3_load_30 | 5 | 0.0010783 | 0.00027025 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_763-2_1_3_load_209 | 6 | 0.00016559 | 4.1502e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_763-2_1_3_load_211 | 8 | 0.00030414 | 7.6225e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_763-2_1_3_load_204 | 9 | 0.0001672 | 4.1905e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_763-2_1_3_load_203 | 10 | 0.00024913 | 6.2438e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_763-2_1_3_load_35 | 11 | 0.00053903 | 0.00013509 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_763-2_1_3_load_38 | 13 | 0.00028272 | 7.0857e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_763-2_1_3_load_33 | 14 | 0.0016569 | 0.00041525 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_763-2_1_3_load_216 | 16 | 0.00048772 | 0.00012223 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_763-2_1_3_load_212 | 17 | 0.0010464 | 0.00026225 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_763-2_1_3_load_177 | 19 | 0.0002886 | 7.233e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_763-2_1_3_load_178 | 20 | 0.0014402 | 0.00036094 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_763-2_1_3_load_176 | 21 | 0.00042369 | 0.00010619 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_763-2_1_3_load_43 | 22 | 0.0004667 | 0.00011697 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_763-2_1_3_load_42 | 24 | 0.0013075 | 0.00032769 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_763-2_1_3_load_39 | 25 | 0.00081024 | 0.00020307 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_763-2_1_3_load_162 | 28 | 0.00035692 | 8.9453e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_763-2_1_3_load_219 | 30 | 0.00015683 | 3.9305e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_763-2_1_3_load_200 | 32 | 0.00017925 | 4.4923e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_763-2_1_3_load_45 | 33 | 0.00036474 | 9.1412e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_763-2_1_3_load_46 | 34 | 0.00080117 | 0.00020079 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_763-2_1_3_load_47 | 35 | 0.00034383 | 8.6172e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_763-2_1_3_load_54 | 36 | 0.00034006 | 8.5227e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_763-2_1_3_load_55 | 37 | 0.00023769 | 5.957e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_763-2_1_3_load_56 | 38 | 0.0010891 | 0.00027295 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_763-2_1_3_load_143 | 39 | 0.00039667 | 9.9415e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_763-2_1_3_load_131 | 40 | 0.00027507 | 6.894e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_763-2_1_3_load_58 | 41 | 0.0010022 | 0.00025116 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_763-2_1_3_load_69 | 42 | 0.00072241 | 0.00018105 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_763-2_1_3_load_70 | 43 | 0.0011472 | 0.00028752 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_763-2_1_3_load_109 | 45 | 0.0019397 | 0.00048615 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_763-2_1_3_load_104 | 46 | 0.0020702 | 0.00051885 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_763-2_1_3_load_114 | 47 | 0.00038269 | 9.591e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_763-2_1_3_load_112 | 48 | 0.0014569 | 0.00036513 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_763-2_1_3_load_206 | 49 | 0.00031722 | 7.9504e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_763-2_1_3_load_207 | 50 | 0.00084371 | 0.00021145 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_763-2_1_3_load_208 | 52 | 0.00226 | 0.00056641 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_763-2_1_3_load_130 | 56 | 0.00061057 | 0.00015302 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_763-2_1_3_load_127 | 57 | 0.00047592 | 0.00011928 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_763-2_1_3_load_113 | 58 | 0.0015627 | 0.00039165 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_763-2_1_3_load_145 | 59 | 0.00019953 | 5.0008e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_763-2_1_3_load_128 | 60 | 0.00025988 | 6.5132e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_763-2_1_3_load_111 | 61 | 0.002201 | 0.00055162 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_763-2_1_3_load_115 | 62 | 0.0028006 | 0.0007019 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_763-2_1_3_load_116 | 63 | 0.00054683 | 0.00013705 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_763-2_1_3_load_118 | 65 | 0.00026 | 6.5162e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_763-2_1_3_load_119 | 66 | 0.00046004 | 0.0001153 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_763-2_1_3_load_120 | 67 | 0.00042716 | 0.00010706 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_763-2_1_3_load_121 | 68 | 0.00070874 | 0.00017763 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_763-2_1_3_load_144 | 69 | 0.00042753 | 0.00010715 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_763-2_1_3_load_124 | 70 | 0.00069914 | 0.00017522 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_763-2_1_3_load_134 | 71 | 0.00054873 | 0.00013753 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_763-2_1_3_load_122 | 72 | 0.0020891 | 0.00052358 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_763-2_1_3_load_123 | 73 | 0.0018243 | 0.00045721 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_763-2_1_3_load_129 | 74 | 0.00035733 | 8.9556e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_763-2_1_3_load_141 | 75 | 0.00035968 | 9.0145e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_763-2_1_3_load_140 | 76 | 0.00036248 | 9.0846e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_763-2_1_3_load_132 | 77 | 0.00068282 | 0.00017113 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_763-2_1_3_load_133 | 78 | 0.00097403 | 0.00024411 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_763-2_1_3_load_135 | 79 | 0.00048271 | 0.00012098 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_763-2_1_3_load_136 | 80 | 0.002189 | 0.00054861 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_763-2_1_3_load_137 | 81 | 0.00059509 | 0.00014914 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_763-2_1_3_load_138 | 82 | 0.00039035 | 9.7831e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_763-2_1_3_load_139 | 83 | 0.00021767 | 5.4552e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_763-2_1_3_load_142 | 84 | 0.00064835 | 0.00016249 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_763-2_1_3_load_146 | 85 | 0.00021752 | 5.4515e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_763-2_1_3_load_173 | 87 | 0.00022249 | 5.5762e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_763-2_1_3_load_147 | 88 | 0.00071395 | 0.00017893 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_763-2_1_3_load_148 | 89 | 0.00014323 | 3.5898e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_763-2_1_3_load_150 | 91 | 0.00014335 | 3.5927e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_763-2_1_3_load_154 | 93 | 0.00055069 | 0.00013802 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_763-2_1_3_load_152 | 95 | 0.00063922 | 0.0001602 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_763-2_1_3_load_169 | 97 | 0.0014182 | 0.00035544 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_763-2_1_3_load_165 | 98 | 0.00014262 | 3.5744e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_763-2_1_3_load_215 | 99 | 0.00036604 | 9.1739e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_763-2_1_3_load_172 | 100 | 0.00078169 | 0.00019591 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_763-2_1_3_load_168 | 101 | 0.00067908 | 0.00017019 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_763-2_1_3_load_155 | 102 | 0.00041613 | 0.00010429 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_763-2_1_3_load_157 | 104 | 0.0014792 | 0.00037071 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_763-2_1_3_load_158 | 105 | 0.00063705 | 0.00015966 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_763-2_1_3_load_180 | 106 | 0.0011546 | 0.00028938 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_763-2_1_3_load_179 | 107 | 0.00097468 | 0.00024428 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_763-2_1_3_load_175 | 108 | 0.00023046 | 5.7759e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_763-2_1_3_load_159 | 109 | 0.00050964 | 0.00012773 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_763-2_1_3_load_164 | 113 | 0.00013739 | 3.4434e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_763-2_1_3_load_218 | 114 | 0.00042834 | 0.00010735 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_763-2_1_3_load_166 | 115 | 0.00065979 | 0.00016536 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_763-2_1_3_load_171 | 117 | 0.00074113 | 0.00018575 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_763-2_1_3_load_197 | 118 | 0.00078731 | 0.00019732 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_763-2_1_3_load_196 | 119 | 0.001145 | 0.00028696 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_763-2_1_3_load_181 | 120 | 0.00093371 | 0.00023401 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_763-2_1_3_load_182 | 121 | 0.00066546 | 0.00016678 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_763-2_1_3_load_184 | 123 | 0.0007474 | 0.00018732 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_763-2_1_3_load_185 | 124 | 0.0015676 | 0.00039287 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_763-2_1_3_load_186 | 125 | 0.0011246 | 0.00028184 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_763-2_1_3_load_187 | 127 | 0.0009343 | 0.00023416 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_763-2_1_3_load_193 | 128 | 0.00088484 | 0.00022176 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_763-2_1_3_load_189 | 129 | 0.0004285 | 0.00010739 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_763-2_1_3_load_188 | 130 | 0.00067511 | 0.0001692 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_763-2_1_3_load_194 | 131 | 0.00095616 | 0.00023964 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_763-2_1_3_load_195 | 132 | 0.00061862 | 0.00015504 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_763-2_1_3_load_190 | 133 | 0.00068505 | 0.00017169 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_763-2_1_3_load_192 | 134 | 0.00046628 | 0.00011686 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_763-2_1_3_load_205 | 135 | 0.00043427 | 0.00010884 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_763-2_1_3_load_198 | 136 | 0.00087314 | 0.00021883 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_763-2_1_3_load_199 | 137 | 0.00034318 | 8.601e-05 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_763-2_1_3_load_201 | 138 | 0.00020059 | 5.0274e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_763-2_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.070947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_763-2_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_763-2_1_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.14742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_763-2_1_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.20221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_763-2_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.036847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_763-2_1_3_line_5 | NAYY 4x150 SE | 3 | 7 | 0.05018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_763-2_1_3_line_6 | NAYY 4x150 SE | 4 | 11 | 0.051861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_763-2_1_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.080236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_763-2_1_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.45692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_763-2_1_3_line_9 | NAYY 4x150 SE | 8 | 17 | 0.011216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_763-2_1_3_line_10 | NAYY 4x150 SE | 8 | 14 | 0.41932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_763-2_1_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.071163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_763-2_1_3_line_12 | NAYY 4x150 SE | 10 | 28 | 0.01875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_763-2_1_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.13248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_763-2_1_3_line_14 | NAYY 4x150 SE | 12 | 22 | 0.33627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_763-2_1_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.020049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_763-2_1_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.025888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_763-2_1_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.3685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_763-2_1_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.32492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_763-2_1_3_line_19 | NAYY 4x150 SE | 18 | 34 | 0.040753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_763-2_1_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.024619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_763-2_1_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0085683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_763-2_1_3_line_22 | NAYY 4x150 SE | 21 | 108 | 0.01029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_763-2_1_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.18471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_763-2_1_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.14669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_763-2_1_3_line_25 | NAYY 4x150 SE | 23 | 31 | 0.14741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_763-2_1_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.1079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_763-2_1_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.078311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_763-2_1_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.083366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_763-2_1_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.15909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_763-2_1_3_line_30 | NAYY 4x150 SE | 28 | 110 | 0.0061453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_763-2_1_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.00194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_763-2_1_3_line_32 | NAYY 4x150 SE | 30 | 103 | 0.31623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_763-2_1_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0049575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_763-2_1_3_line_34 | NAYY 4x150 SE | 32 | 138 | 0.0367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_763-2_1_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.020877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_763-2_1_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0021096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_763-2_1_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.031886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_763-2_1_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.044371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_763-2_1_3_line_39 | NAYY 4x150 SE | 38 | 41 | 0.0084324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_763-2_1_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.10129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_763-2_1_3_line_41 | NAYY 4x150 SE | 40 | 77 | 0.038066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_763-2_1_3_line_42 | NAYY 4x150 SE | 40 | 78 | 0.19314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_763-2_1_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.02164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_763-2_1_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0066089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_763-2_1_3_line_45 | NAYY 4x150 SE | 43 | 47 | 0.016021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_763-2_1_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.052741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_763-2_1_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.018968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_763-2_1_3_line_48 | NAYY 4x150 SE | 45 | 58 | 0.003837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_763-2_1_3_line_49 | NAYY 4x150 SE | 46 | 54 | 0.04974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_763-2_1_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.019376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_763-2_1_3_line_51 | NAYY 4x150 SE | 48 | 61 | 0.0092268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_763-2_1_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.11307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_763-2_1_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.036827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_763-2_1_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.13987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_763-2_1_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.020848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_763-2_1_3_line_56 | NAYY 4x150 SE | 53 | 101 | 0.0088639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_763-2_1_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.007357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_763-2_1_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.016397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_763-2_1_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0036484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_763-2_1_3_line_60 | NAYY 4x150 SE | 56 | 59 | 0.011373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_763-2_1_3_line_61 | NAYY 4x150 SE | 57 | 60 | 0.019928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_763-2_1_3_line_62 | NAYY 4x150 SE | 58 | 61 | 0.010198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_763-2_1_3_line_63 | NAYY 4x150 SE | 59 | 66 | 0.015988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_763-2_1_3_line_64 | NAYY 4x150 SE | 60 | 74 | 0.0071566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_763-2_1_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0010153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_763-2_1_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.016622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_763-2_1_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.0084099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_763-2_1_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.01732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_763-2_1_3_line_69 | NAYY 4x150 SE | 64 | 67 | 0.028198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_763-2_1_3_line_70 | NAYY 4x150 SE | 65 | 68 | 0.0068736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_763-2_1_3_line_71 | NAYY 4x150 SE | 67 | 69 | 0.007133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_763-2_1_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.0079921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_763-2_1_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.010379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_763-2_1_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.015963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_763-2_1_3_line_75 | NAYY 4x150 SE | 71 | 77 | 0.021919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_763-2_1_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.0026183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_763-2_1_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.0547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_763-2_1_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.033257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_763-2_1_3_line_79 | NAYY 4x150 SE | 76 | 84 | 0.094665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_763-2_1_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.023872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_763-2_1_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.025555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_763-2_1_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.094904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_763-2_1_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.21932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_763-2_1_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.079933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_763-2_1_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.006746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_763-2_1_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.087635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_763-2_1_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.015489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_763-2_1_3_line_88 | NAYY 4x150 SE | 87 | 92 | 0.0016803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_763-2_1_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.018281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_763-2_1_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.011686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_763-2_1_3_line_91 | NAYY 4x150 SE | 89 | 91 | 0.00061347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_763-2_1_3_line_92 | NAYY 4x150 SE | 90 | 92 | 0.007057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_763-2_1_3_line_93 | NAYY 4x150 SE | 91 | 93 | 0.0029149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_763-2_1_3_line_94 | NAYY 4x150 SE | 92 | 94 | 0.018555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_763-2_1_3_line_95 | NAYY 4x150 SE | 94 | 97 | 0.020848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_763-2_1_3_line_96 | NAYY 4x150 SE | 94 | 98 | 0.0069617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_763-2_1_3_line_97 | NAYY 4x150 SE | 95 | 96 | 0.014993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_763-2_1_3_line_98 | NAYY 4x150 SE | 96 | 99 | 0.013476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_763-2_1_3_line_99 | NAYY 4x150 SE | 96 | 100 | 0.018534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
100 | LV_763-2_1_3_line_100 | NAYY 4x150 SE | 97 | 116 | 0.01338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_763-2_1_3_line_101 | NAYY 4x150 SE | 98 | 115 | 0.0053709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_763-2_1_3_line_102 | NAYY 4x150 SE | 99 | 114 | 0.00052524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
103 | LV_763-2_1_3_line_103 | NAYY 4x150 SE | 100 | 116 | 0.021079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
104 | LV_763-2_1_3_line_104 | NAYY 4x150 SE | 101 | 115 | 0.082001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_763-2_1_3_line_105 | NAYY 4x150 SE | 102 | 103 | 0.084066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_763-2_1_3_line_106 | NAYY 4x150 SE | 102 | 104 | 0.0064662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_763-2_1_3_line_107 | NAYY 4x150 SE | 103 | 105 | 0.0059199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
108 | LV_763-2_1_3_line_108 | NAYY 4x150 SE | 103 | 106 | 0.1897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
109 | LV_763-2_1_3_line_109 | NAYY 4x150 SE | 105 | 108 | 0.035465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
110 | LV_763-2_1_3_line_110 | NAYY 4x150 SE | 106 | 107 | 0.011719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
111 | LV_763-2_1_3_line_111 | NAYY 4x150 SE | 107 | 112 | 0.018506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
112 | LV_763-2_1_3_line_112 | NAYY 4x150 SE | 109 | 110 | 0.24176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_763-2_1_3_line_113 | NAYY 4x150 SE | 109 | 111 | 0.018926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_763-2_1_3_line_114 | NAYY 4x150 SE | 111 | 112 | 0.025462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
115 | LV_763-2_1_3_line_115 | NAYY 4x150 SE | 111 | 113 | 0.012569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_763-2_1_3_line_116 | NAYY 4x150 SE | 113 | 114 | 0.012203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
117 | LV_763-2_1_3_line_117 | NAYY 4x150 SE | 116 | 117 | 0.0072235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_763-2_1_3_line_118 | NAYY 4x150 SE | 117 | 118 | 0.0089936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_763-2_1_3_line_119 | NAYY 4x150 SE | 118 | 119 | 0.018812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_763-2_1_3_line_120 | NAYY 4x150 SE | 119 | 125 | 0.0064224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_763-2_1_3_line_121 | NAYY 4x150 SE | 120 | 121 | 0.01264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_763-2_1_3_line_122 | NAYY 4x150 SE | 120 | 122 | 0.016369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_763-2_1_3_line_123 | NAYY 4x150 SE | 121 | 123 | 0.026836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_763-2_1_3_line_124 | NAYY 4x150 SE | 122 | 124 | 0.015493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_763-2_1_3_line_125 | NAYY 4x150 SE | 122 | 125 | 0.01453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_763-2_1_3_line_126 | NAYY 4x150 SE | 123 | 126 | 0.016974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_763-2_1_3_line_127 | NAYY 4x150 SE | 124 | 127 | 0.025557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_763-2_1_3_line_128 | NAYY 4x150 SE | 126 | 128 | 0.013842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_763-2_1_3_line_129 | NAYY 4x150 SE | 126 | 129 | 0.037904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_763-2_1_3_line_130 | NAYY 4x150 SE | 127 | 130 | 0.023238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_763-2_1_3_line_131 | NAYY 4x150 SE | 128 | 136 | 0.0030042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_763-2_1_3_line_132 | NAYY 4x150 SE | 129 | 133 | 0.0051092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_763-2_1_3_line_133 | NAYY 4x150 SE | 130 | 131 | 0.017507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_763-2_1_3_line_134 | NAYY 4x150 SE | 131 | 132 | 0.034242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_763-2_1_3_line_135 | NAYY 4x150 SE | 133 | 134 | 0.037888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_763-2_1_3_line_136 | NAYY 4x150 SE | 134 | 135 | 0.013219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_763-2_1_3_line_137 | NAYY 4x150 SE | 136 | 137 | 0.027048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_763-2_1_3_trafo_178 | 0.25 MVA 20/0.4 kV | 139 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2609902.2569 | 1169937.8377 | 2609899.9484 | 1169945.9269 | 2609892.3933 | 1169980.7987 | 2609895.899 | 1170003.2268 | 2609897.2848 | 1170007.142
1 | 2609905.883 | 1170031.435 | 2609897.2848 | 1170007.142
2 | 2609897.2848 | 1170007.142 | 2609750.9682 | 1169989.1175
3 | 2609902.2569 | 1169937.8377 | 2609965.1973 | 1169745.6725
4 | 2609919.9886 | 1170000.3982 | 2609922.2249 | 1170003.6701 | 2609922.1182 | 1170008.0722 | 2609918.9261 | 1170013.792 | 2609913.3734 | 1170021.9648 | 2609905.883 | 1170031.435
5 | 2609703.7974 | 1169976.7465 | 2609705.5213 | 1169979.9843 | 2609708.7926 | 1169981.9905 | 2609714.8878 | 1169983.6011 | 2609721.7643 | 1169984.6349 | 2609729.7653 | 1169985.7706 | 2609737.3606 | 1169987.0279 | 2609750.9682 | 1169989.1175
6 | 2609965.1973 | 1169745.6725 | 2609990.525 | 1169739.5168 | 2610006.1598 | 1169718.999
7 | 2609703.7974 | 1169976.7465 | 2609701.7441 | 1169978.4774 | 2609698.1813 | 1169981.6845 | 2609693.4417 | 1169983.9669 | 2609689.6999 | 1169984.2833 | 2609682.9774 | 1169982.6828 | 2609630.9312 | 1169959.8597
8 | 2609630.9312 | 1169959.8597 | 2609241.7145 | 1169720.5054
9 | 2609230.6386 | 1169722.2714 | 2609241.7145 | 1169720.5054
10 | 2609462.8642 | 1169364.2457 | 2609241.7145 | 1169720.5054
11 | 2609991.0869 | 1168652.1291 | 2610001.6939 | 1168658.805 | 2610009.0949 | 1168662.8526 | 2610015.3508 | 1168665.2197 | 2610021.8833 | 1168666.9202 | 2610028.3779 | 1168668.4095 | 2610037.4521 | 1168669.4473 | 2610051.6992 | 1168670.705 | 2610057.9492 | 1168671.9493 | 2610058.2176 | 1168672.0424
12 | 2609975.3342 | 1168641.9609 | 2609987.2609 | 1168649.721 | 2609991.0869 | 1168652.1291
13 | 2610014.7082 | 1169602.4214 | 2609995.7533 | 1169608.4931 | 2609995.1601 | 1169634.0382 | 2609993.998 | 1169661.2389 | 2610006.1965 | 1169696.7991 | 2610006.1598 | 1169718.999
14 | 2609917.4446 | 1169280.5205 | 2610014.7082 | 1169602.4214
15 | 2610014.7082 | 1169602.4214 | 2610028.1371 | 1169617.3088
16 | 2609461.6276 | 1169338.3873 | 2609462.8642 | 1169364.2457
17 | 2609260.7301 | 1169029.4708 | 2609461.6276 | 1169338.3873
18 | 2608937.4226 | 1168997.1192 | 2609260.7301 | 1169029.4708
19 | 2608937.4226 | 1168997.1192 | 2608901.7204 | 1168995.2546 | 2608896.7531 | 1168995.8432
20 | 2609500.6234 | 1168611.2065 | 2609511.208 | 1168620.3166 | 2609519.2098 | 1168622.1635 | 2609521.6511 | 1168622.2092
21 | 2609521.6511 | 1168622.2092 | 2609530.218 | 1168622.3696
22 | 2609540.5061 | 1168622.5623 | 2609530.218 | 1168622.3696
23 | 2610065.4167 | 1169265.4367 | 2610065.7928 | 1169269.3393 | 2610064.4273 | 1169271.427 | 2610061.8607 | 1169273.3681 | 2610057.2119 | 1169275.8839 | 2610029.399 | 1169293.4576 | 2610014.9144 | 1169302.5381 | 2610001.4886 | 1169309.9529 | 2609989.9562 | 1169315.2921 | 2609978.6154 | 1169320.4982 | 2609974.037 | 1169322.1137 | 2609969.7602 | 1169321.7842 | 2609965.9532 | 1169319.5769 | 2609962.8611 | 1169315.4475 | 2609960.5956 | 1169311.1194 | 2609954.6938 | 1169298.5922 | 2609950.9963 | 1169294.9732 | 2609947.1971 | 1169292.7214 | 2609920.1573 | 1169282.4051 | 2609917.4446 | 1169280.5205
24 | 2609917.4446 | 1169280.5205 | 2609915.923 | 1169279.4634 | 2609911.9743 | 1169275.0769 | 2609908.9631 | 1169268.2019 | 2609907.0067 | 1169261.9845 | 2609905.8016 | 1169255.0012 | 2609904.064 | 1169250.6962 | 2609901.098 | 1169244.2548 | 2609899.409 | 1169238.3157 | 2609898.7605 | 1169232.4895 | 2609900.3086 | 1169226.3445 | 2609903.3167 | 1169216.4556 | 2609906.1544 | 1169207.7781 | 2609916.6997 | 1169193.2326 | 2609919.4602 | 1169189.6575 | 2609921.6715 | 1169185.0922 | 2609921.8816 | 1169178.2447 | 2609919.0784 | 1169170.5251 | 2609915.9083 | 1169162.5381 | 2609909.5509 | 1169147.7203 | 2609909.0711 | 1169146.9358
25 | 2610201.3903 | 1169292.1892 | 2610175.2813 | 1169279.2276 | 2610150.6331 | 1169266.5576 | 2610130.2136 | 1169255.5622 | 2610124.5944 | 1169252.5958 | 2610117.6172 | 1169251.8726 | 2610110.8968 | 1169253.0842 | 2610102.7965 | 1169255.8721 | 2610083.9416 | 1169260.9209 | 2610065.4167 | 1169265.4367
26 | 2609821.9769 | 1169084.7681 | 2609842.8819 | 1169094.4403 | 2609860.5843 | 1169106.4974 | 2609878.5225 | 1169119.4109 | 2609889.9012 | 1169128.6341 | 2609902.5255 | 1169138.8932 | 2609906.9104 | 1169143.4027 | 2609909.0711 | 1169146.9358
27 | 2609821.9769 | 1169084.7681 | 2609815.3306 | 1169082.7452 | 2609809.4153 | 1169082.8801 | 2609804.7069 | 1169084.3732 | 2609793.811 | 1169088.691 | 2609779.1267 | 1169093.4697 | 2609774.9301 | 1169095.4528 | 2609774.4507 | 1169098.5424 | 2609776.6505 | 1169100.9916 | 2609780.5657 | 1169102.6766 | 2609788.6483 | 1169106.1025 | 2609791.4021 | 1169111.3985 | 2609790.7082 | 1169114.599
28 | 2609821.9769 | 1169084.7681 | 2609789.6389 | 1169056.6905 | 2609765.3895 | 1169042.4441 | 2609756.6424 | 1169033.4366
29 | 2609756.6424 | 1169033.4366 | 2609762.887 | 1169028.4331 | 2609648.6385 | 1168929.1889
30 | 2609970.1833 | 1168638.6095 | 2609975.3342 | 1168641.9609
31 | 2609648.6385 | 1168929.1889 | 2609647.3679 | 1168927.7229
32 | 2609581.5158 | 1168618.4266 | 2609647.3679 | 1168927.7229
33 | 2610201.3903 | 1169292.1892 | 2610203.9047 | 1169296.4617
34 | 2610203.9047 | 1169296.4617 | 2610222.5193 | 1169328.0909
35 | 2608876.0214 | 1168998.2999 | 2608896.7531 | 1168995.8432
36 | 2608873.9265 | 1168998.5482 | 2608876.0214 | 1168998.2999
37 | 2608877.8802 | 1168485.0429 | 2608865.7602 | 1168485.4133 | 2608850.9756 | 1168484.9804 | 2608846.0144 | 1168484.6889
38 | 2608921.1678 | 1168476.2395 | 2608915.8282 | 1168478.0054 | 2608906.7943 | 1168480.4378 | 2608895.3107 | 1168483.4113 | 2608884.8472 | 1168484.8299 | 2608877.8802 | 1168485.0429
39 | 2608921.1678 | 1168476.2395 | 2608924.7634 | 1168475.0504 | 2608929.1747 | 1168473.5947
40 | 2609200.1599 | 1168460.7401 | 2609168.4888 | 1168556.9489
41 | 2609200.1599 | 1168460.7401 | 2609194.4256 | 1168450.1195 | 2609187.4727 | 1168442.7163 | 2609179.5382 | 1168436.6679 | 2609175.0335 | 1168432.9149
42 | 2609282.885 | 1168534.8414 | 2609282.5654 | 1168543.6342 | 2609281.5266 | 1168552.3258 | 2609280.2768 | 1168558.8716 | 2609278.0093 | 1168565.3158 | 2609276.2568 | 1168570.3268 | 2609273.6863 | 1168574.8251 | 2609270.9133 | 1168576.6106 | 2609267.7287 | 1168577.2727 | 2609265.3723 | 1168576.9134 | 2609263.0092 | 1168575.8314 | 2609260.9148 | 1168574.2385 | 2609259.7319 | 1168572.1468 | 2609258.4067 | 1168567.9538 | 2609256.1481 | 1168563.6482 | 2609252.8804 | 1168558.6295 | 2609247.9601 | 1168553.3972 | 2609239.9657 | 1168546.6371 | 2609231.0443 | 1168540.4871 | 2609224.3872 | 1168534.952 | 2609218.8468 | 1168529.8299 | 2609214.852 | 1168524.8101 | 2609211.5771 | 1168519.4914 | 2609209.4264 | 1168514.6746 | 2609208.7224 | 1168509.5598 | 2609209.1351 | 1168504.9471 | 2609211.0007 | 1168495.9565 | 2609212.0321 | 1168492.0672 | 2609212.5436 | 1168487.8659 | 2609211.5314 | 1168484.1848 | 2609209.5885 | 1168478.5568 | 2609203.0337 | 1168466.0628 | 2609200.1599 | 1168460.7401
43 | 2608929.1747 | 1168473.5947 | 2608939.8545 | 1168470.0702 | 2608948.7879 | 1168468.327 | 2608950.0656 | 1168468.139
44 | 2608956.6042 | 1168467.1772 | 2608950.0656 | 1168468.139
45 | 2608956.6042 | 1168467.1772 | 2608960.3845 | 1168466.6211 | 2608971.5759 | 1168464.5922 | 2608972.339 | 1168464.276
46 | 2609027.266 | 1168392.5279 | 2609020.727 | 1168405.1133 | 2609013.4195 | 1168419.832 | 2609007.9551 | 1168435.3872 | 2609006.3623 | 1168440.7959
47 | 2609027.266 | 1168392.5279 | 2609041.7644 | 1168380.2974
48 | 2609006.3623 | 1168440.7959 | 2609005.2783 | 1168444.4767
49 | 2609085.1453 | 1168356.7299 | 2609077.1676 | 1168358.9635 | 2609068.6749 | 1168362.686 | 2609056.1125 | 1168370.3932 | 2609043.2885 | 1168379.0117 | 2609041.7644 | 1168380.2974
50 | 2608972.339 | 1168464.276 | 2608981.4388 | 1168460.5048 | 2608989.774 | 1168455.8925
51 | 2608997.4794 | 1168450.8378 | 2608992.2382 | 1168454.529 | 2608989.774 | 1168455.8925
52 | 2609921.2244 | 1168116.7763 | 2609910.7111 | 1168118.1291 | 2609870.8812 | 1168124.2003 | 2609837.6181 | 1168130.0824 | 2609812.2341 | 1168142.8246
53 | 2609776.8472 | 1168151.439 | 2609802.2772 | 1168147.8228 | 2609812.2341 | 1168142.8246
54 | 2609776.8472 | 1168151.439 | 2609777.0304 | 1168165.9688 | 2609775.9721 | 1168181.5081 | 2609772.0336 | 1168208.104 | 2609766.8253 | 1168253.3182 | 2609762.7598 | 1168290.4562
55 | 2609761.0149 | 1168311.2266 | 2609761.6031 | 1168302.4343 | 2609761.8306 | 1168298.944 | 2609762.7598 | 1168290.4562
56 | 2609761.0149 | 1168311.2266 | 2609760.7717 | 1168314.9059 | 2609761.7461 | 1168319.99
57 | 2609085.1453 | 1168356.7299 | 2609092.4857 | 1168355.985
58 | 2609092.4857 | 1168355.985 | 2609101.1829 | 1168368.9268 | 2609101.5326 | 1168369.6516
59 | 2609092.4857 | 1168355.985 | 2609096.0799 | 1168355.3583
60 | 2609101.5326 | 1168369.6516 | 2609106.4739 | 1168379.8955
61 | 2609115.7023 | 1168351.8847 | 2609100.8296 | 1168354.5302 | 2609096.0799 | 1168355.3583
62 | 2608997.4794 | 1168450.8378 | 2608998.4129 | 1168450.1804 | 2609003.2157 | 1168447.1527 | 2609005.2783 | 1168444.4767 | 2609005.2783 | 1168444.4767
63 | 2609106.4739 | 1168379.8955 | 2609107.5151 | 1168382.054 | 2609108.7318 | 1168387.2473 | 2609109.0072 | 1168392.3725 | 2609108.6773 | 1168395.4801
64 | 2609115.7023 | 1168351.8847 | 2609116.3846 | 1168351.7633 | 2609122.6737 | 1168350.2716
65 | 2609105.8299 | 1168424.7564 | 2609105.0701 | 1168425.4298
66 | 2609113.7936 | 1168410.4999 | 2609108.817 | 1168422.1093 | 2609105.8299 | 1168424.7564
67 | 2609097.8537 | 1168429.6725 | 2609098.666 | 1168429.3643 | 2609104.0582 | 1168426.3265 | 2609105.0701 | 1168425.4298
68 | 2609113.7936 | 1168410.4999 | 2609111.2705 | 1168408.9398 | 2609108.9183 | 1168405.7013 | 2609108.0291 | 1168401.5868 | 2609108.6773 | 1168395.4801
69 | 2609113.7936 | 1168410.4999 | 2609118.1406 | 1168410.3842 | 2609122.2665 | 1168409.7234 | 2609129.8815 | 1168409.5237 | 2609136.4071 | 1168411.0232 | 2609141.4363 | 1168412.8702
70 | 2609097.8537 | 1168429.6725 | 2609091.427 | 1168432.1106
71 | 2609141.4363 | 1168412.8702 | 2609144.5529 | 1168414.0147 | 2609148.074 | 1168415.4776
72 | 2609091.427 | 1168432.1106 | 2609083.9545 | 1168434.9454
73 | 2609148.074 | 1168415.4776 | 2609151.6963 | 1168416.9826 | 2609157.4545 | 1168419.9039 | 2609157.4545 | 1168419.9039
74 | 2609069.0298 | 1168440.6074 | 2609083.9545 | 1168434.9454
75 | 2609157.4545 | 1168419.9039 | 2609164.0987 | 1168423.9604 | 2609169.8466 | 1168428.5936 | 2609175.0335 | 1168432.9149
76 | 2609069.0298 | 1168440.6074 | 2609066.5817 | 1168441.5361
77 | 2609122.6737 | 1168350.2716 | 2609127.562 | 1168349.1122 | 2609137.1218 | 1168348.3151 | 2609160.5103 | 1168347.6279 | 2609176.1224 | 1168347.6516 | 2609177.1934 | 1168347.7097
78 | 2609197.5878 | 1168367.2201 | 2609196.1713 | 1168358.9766 | 2609194.7919 | 1168355.1503 | 2609192.4867 | 1168351.2004 | 2609190.691 | 1168349.419 | 2609187.708 | 1168348.2806 | 2609177.1934 | 1168347.7097
79 | 2609197.5878 | 1168367.2201 | 2609198.2119 | 1168370.8523 | 2609199.7857 | 1168377.6692 | 2609202.3399 | 1168383.9095 | 2609205.5156 | 1168389.1392 | 2609209.296 | 1168394.2475 | 2609214.2234 | 1168399.9912 | 2609219.5043 | 1168404.7349 | 2609224.5759 | 1168406.2545 | 2609229.7642 | 1168406.4959 | 2609233.9216 | 1168405.2461 | 2609237.2001 | 1168403.2946 | 2609241.5222 | 1168399.4214 | 2609244.4604 | 1168394.7569 | 2609247.1745 | 1168386.5347 | 2609248.2733 | 1168375.106
80 | 2609420.1306 | 1168330.5524 | 2609415.6962 | 1168329.9108 | 2609396.9783 | 1168329.0035 | 2609396.3271 | 1168328.9941
81 | 2609420.1306 | 1168330.5524 | 2609430.0653 | 1168331.9898 | 2609443.3548 | 1168334.3895 | 2609445.314 | 1168334.849
82 | 2609301.4784 | 1168330.7249 | 2609307.9797 | 1168330.0998 | 2609331.6976 | 1168329.3137 | 2609364.9512 | 1168328.5425 | 2609396.3271 | 1168328.9941
83 | 2609445.314 | 1168334.849 | 2609474.1315 | 1168341.6079 | 2609496.9602 | 1168346.6129 | 2609528.7576 | 1168351.9878 | 2609567.1358 | 1168357.7624 | 2609607.933 | 1168363.0964 | 2609653.9008 | 1168370.1286 | 2609661.3947 | 1168371.6422
84 | 2609301.4784 | 1168330.7249 | 2609288.5229 | 1168331.9708 | 2609271.8883 | 1168335.0135 | 2609263.3647 | 1168338.7912 | 2609258.0223 | 1168344.1968 | 2609254.533 | 1168348.905 | 2609251.639 | 1168354.6145 | 2609249.5836 | 1168362.5042 | 2609248.3254 | 1168374.5638 | 2609248.2733 | 1168375.106
85 | 2609668.0072 | 1168372.9778 | 2609661.3947 | 1168371.6422
86 | 2609753.1604 | 1168393.3662 | 2609741.3661 | 1168389.3674 | 2609729.218 | 1168386.4019 | 2609702.1676 | 1168379.8774 | 2609668.0072 | 1168372.9778
87 | 2609753.1604 | 1168393.3662 | 2609767.3103 | 1168399.667
88 | 2609768.8453 | 1168400.3505 | 2609767.3103 | 1168399.667
89 | 2609742.538 | 1168425.4877 | 2609749.5273 | 1168420.5739 | 2609756.974 | 1168414.3006
90 | 2609765.9115 | 1168406.7712 | 2609756.974 | 1168414.3006
91 | 2609742.0361 | 1168425.8406 | 2609742.538 | 1168425.4877
92 | 2609765.9115 | 1168406.7712 | 2609768.8453 | 1168400.3505
93 | 2609739.6516 | 1168427.517 | 2609742.0361 | 1168425.8406
94 | 2609786.0145 | 1168407.5041 | 2609779.2005 | 1168404.5694 | 2609768.8453 | 1168400.3505
95 | 2609786.0145 | 1168407.5041 | 2609796.5382 | 1168411.6454 | 2609805.4536 | 1168415.0368
96 | 2609786.0145 | 1168407.5041 | 2609787.6502 | 1168400.7373
97 | 2609784.3028 | 1168443.7417 | 2609777.2058 | 1168430.5345
98 | 2609784.3028 | 1168443.7417 | 2609784.0034 | 1168449.0661 | 2609779.4762 | 1168455.8344
99 | 2609784.3028 | 1168443.7417 | 2609788.2934 | 1168436.9114 | 2609794.3484 | 1168431.185 | 2609796.2314 | 1168429.8822
100 | 2609815.4526 | 1168423.3264 | 2609812.139 | 1168418.5297 | 2609806.282 | 1168415.352 | 2609805.4536 | 1168415.0368
101 | 2609787.6502 | 1168400.7373 | 2609788.3567 | 1168397.8141 | 2609788.8904 | 1168395.5116
102 | 2609779.1842 | 1168456.271 | 2609779.4762 | 1168455.8344
103 | 2609815.4526 | 1168423.3264 | 2609810.4022 | 1168422.9958 | 2609805.9699 | 1168423.7445 | 2609801.1289 | 1168426.4936 | 2609796.2314 | 1168429.8822
104 | 2609761.7461 | 1168319.99 | 2609763.8301 | 1168330.8632 | 2609765.8757 | 1168338.9595 | 2609769.2363 | 1168347.8582 | 2609778.7574 | 1168366.294 | 2609787.761 | 1168382.8835 | 2609790.0127 | 1168386.5668 | 2609790.3219 | 1168389.3353 | 2609788.8904 | 1168395.5116
105 | 2609581.5158 | 1168618.4266 | 2609565.0588 | 1168611.1636 | 2609544.7058 | 1168594.6899 | 2609526.159 | 1168573.1721 | 2609521.6811 | 1168562.5962
106 | 2609519.1599 | 1168556.6417 | 2609521.6811 | 1168562.5962
107 | 2609581.5158 | 1168618.4266 | 2609575.6795 | 1168619.4176
108 | 2609718.6324 | 1168487.3354 | 2609581.5158 | 1168618.4266
109 | 2609575.6795 | 1168619.4176 | 2609555.5052 | 1168622.8433 | 2609540.5061 | 1168622.5623
110 | 2609718.6324 | 1168487.3354 | 2609725.1919 | 1168491.4369 | 2609729.0445 | 1168492.4478
111 | 2609745.7231 | 1168487.479 | 2609742.8487 | 1168490.3425 | 2609739.8693 | 1168491.8718 | 2609735.8651 | 1168492.9881 | 2609732.2678 | 1168493.2936 | 2609729.0445 | 1168492.4478
112 | 2609970.1833 | 1168638.6095 | 2609942.0377 | 1168624.1781 | 2609914.8635 | 1168610.0153 | 2609895.2077 | 1168598.3106 | 2609882.4734 | 1168589.0852 | 2609870.9885 | 1168578.6389 | 2609847.7595 | 1168557.0347 | 2609827.6474 | 1168538.6706 | 2609808.1187 | 1168519.1291 | 2609784.628 | 1168498.1583 | 2609779.2654 | 1168493.2297
113 | 2609768.8187 | 1168478.3451 | 2609769.4387 | 1168483.0151 | 2609772.9595 | 1168487.4341 | 2609779.2654 | 1168493.2297
114 | 2609745.7231 | 1168487.479 | 2609749.9382 | 1168483.7062 | 2609755.9965 | 1168480.6477 | 2609762.3665 | 1168478.9127 | 2609768.8187 | 1168478.3451
115 | 2609768.8187 | 1168478.3451 | 2609768.6298 | 1168476.8774 | 2609771.1291 | 1168469.3888 | 2609772.7588 | 1168466.6408
116 | 2609772.7588 | 1168466.6408 | 2609776.7539 | 1168459.9042 | 2609779.1842 | 1168456.271
117 | 2609815.4526 | 1168423.3264 | 2609822.5222 | 1168424.8092
118 | 2609822.5222 | 1168424.8092 | 2609827.3105 | 1168425.8136 | 2609831.3521 | 1168426.5094
119 | 2609850.0189 | 1168428.7553 | 2609846.8058 | 1168428.4021 | 2609836.9581 | 1168427.4745 | 2609831.3521 | 1168426.5094
120 | 2609856.4028 | 1168429.457 | 2609850.0189 | 1168428.7553
121 | 2609887.1782 | 1168427.5693 | 2609899.7384 | 1168426.1479
122 | 2609870.9108 | 1168429.3864 | 2609886.4184 | 1168427.6553 | 2609887.1782 | 1168427.5693
123 | 2609926.526 | 1168425.6518 | 2609922.2374 | 1168425.5573 | 2609906.9473 | 1168425.3321 | 2609899.7384 | 1168426.1479
124 | 2609870.9108 | 1168429.3864 | 2609870.9583 | 1168444.8796
125 | 2609870.9108 | 1168429.3864 | 2609859.1248 | 1168429.7562 | 2609856.4028 | 1168429.457
126 | 2609943.4963 | 1168426.0258 | 2609926.526 | 1168425.6518
127 | 2609870.9583 | 1168444.8796 | 2609870.9807 | 1168452.1868 | 2609871.1806 | 1168460.9804 | 2609872.6972 | 1168470.3114
128 | 2609943.4963 | 1168426.0258 | 2609944.1246 | 1168416.2886 | 2609944.8905 | 1168412.276
129 | 2609943.4963 | 1168426.0258 | 2609947.7971 | 1168426.1218 | 2609960.531 | 1168426.443 | 2609972.5298 | 1168426.9741 | 2609981.368 | 1168427.5001
130 | 2609872.6972 | 1168470.3114 | 2609872.7945 | 1168470.9102 | 2609874.7484 | 1168478.7951 | 2609877.4907 | 1168486.5702 | 2609879.7976 | 1168492.393
131 | 2609944.8905 | 1168412.276 | 2609945.4538 | 1168409.3251
132 | 2609981.368 | 1168427.5001 | 2609981.368 | 1168427.5001 | 2609986.4761 | 1168427.3902
133 | 2609889.6385 | 1168506.7218 | 2609884.1412 | 1168500.4991 | 2609880.1658 | 1168493.3223 | 2609879.7976 | 1168492.393
134 | 2609909.5401 | 1168533.5794 | 2609905.2424 | 1168522.3112 | 2609901.8827 | 1168517.7145 | 2609897.5662 | 1168513.3052 | 2609890.2979 | 1168507.4682 | 2609889.6385 | 1168506.7218
135 | 2609986.4761 | 1168427.3902 | 2609990.4906 | 1168427.3039 | 2610007.492 | 1168424.7196 | 2610024.0083 | 1168422.4175
136 | 2610024.0083 | 1168422.4175 | 2610032.4768 | 1168421.2371 | 2610037.0688 | 1168420.3968
137 | 2609950.3404 | 1168382.7488 | 2609950.3404 | 1168382.7488 | 2609948.2752 | 1168391.3385 | 2609946.8187 | 1168402.1749 | 2609945.4538 | 1168409.3251

## bus_geodata
| x | y | coords
0 | 2609897.2848 | 1170007.142
1 | 2609902.2569 | 1169937.8377
2 | 2609905.883 | 1170031.435
3 | 2609750.9682 | 1169989.1175
4 | 2609965.1973 | 1169745.6725
5 | 2609919.9886 | 1170000.3982
6 | 2609630.9313 | 1169959.8597
7 | 2609703.7974 | 1169976.7465
8 | 2609241.7145 | 1169720.5054
9 | 2610058.2176 | 1168672.0424
10 | 2609991.0869 | 1168652.1291
11 | 2610006.1598 | 1169718.999
12 | 2610014.7082 | 1169602.4214
13 | 2610028.1371 | 1169617.3088
14 | 2609462.8642 | 1169364.2457
15 | 2609461.6276 | 1169338.3873
16 | 2609260.7301 | 1169029.4708
17 | 2609230.6386 | 1169722.2714
18 | 2608937.4226 | 1168997.1192
19 | 2609521.6511 | 1168622.2092
20 | 2609500.6234 | 1168611.2065
21 | 2609530.218 | 1168622.3696
22 | 2609917.4446 | 1169280.5205
23 | 2610065.4167 | 1169265.4367
24 | 2609909.0711 | 1169146.9358
25 | 2609790.7082 | 1169114.599
26 | 2609821.9769 | 1169084.7681
27 | 2609756.6424 | 1169033.4366
28 | 2609975.3342 | 1168641.9609
29 | 2609648.6385 | 1168929.1889
30 | 2609647.3679 | 1168927.7229
31 | 2610201.3903 | 1169292.1892
32 | 2610203.9047 | 1169296.4617
33 | 2608876.0214 | 1168998.2999
34 | 2608896.7531 | 1168995.8432
35 | 2608873.9265 | 1168998.5482
36 | 2608877.8802 | 1168485.0429
37 | 2608846.0144 | 1168484.6889
38 | 2608921.1678 | 1168476.2395
39 | 2609168.4888 | 1168556.9489
40 | 2609200.1599 | 1168460.7401
41 | 2608929.1747 | 1168473.5946
42 | 2608950.0656 | 1168468.139
43 | 2608956.6042 | 1168467.1772
44 | 2609027.266 | 1168392.5279
45 | 2609006.3623 | 1168440.7959
46 | 2609041.7644 | 1168380.2974
47 | 2608972.339 | 1168464.276
48 | 2608989.774 | 1168455.8925
49 | 2609921.2244 | 1168116.7763
50 | 2609812.2341 | 1168142.8246
51 | 2609776.8472 | 1168151.439
52 | 2609762.7598 | 1168290.4562
53 | 2609761.0149 | 1168311.2266
54 | 2609085.1453 | 1168356.7299
55 | 2609092.4857 | 1168355.985
56 | 2609101.5326 | 1168369.6516
57 | 2609096.0799 | 1168355.3583
58 | 2609005.2784 | 1168444.4767
59 | 2609106.4739 | 1168379.8955
60 | 2609115.7023 | 1168351.8847
61 | 2608997.4794 | 1168450.8378
62 | 2609105.8299 | 1168424.7564
63 | 2609105.0701 | 1168425.4298
64 | 2609113.7936 | 1168410.4999
65 | 2609097.8537 | 1168429.6725
66 | 2609108.6773 | 1168395.4801
67 | 2609141.4363 | 1168412.8702
68 | 2609091.427 | 1168432.1106
69 | 2609148.074 | 1168415.4776
70 | 2609083.9545 | 1168434.9454
71 | 2609157.4545 | 1168419.9039
72 | 2609069.0298 | 1168440.6074
73 | 2609066.5817 | 1168441.5361
74 | 2609122.6737 | 1168350.2716
75 | 2609177.1934 | 1168347.7097
76 | 2609197.5878 | 1168367.2201
77 | 2609175.0335 | 1168432.9149
78 | 2609282.885 | 1168534.8414
79 | 2609420.1306 | 1168330.5524
80 | 2609396.3271 | 1168328.9941
81 | 2609445.314 | 1168334.849
82 | 2609301.4784 | 1168330.7249
83 | 2609661.3947 | 1168371.6422
84 | 2609248.2733 | 1168375.106
85 | 2609668.0072 | 1168372.9778
86 | 2609753.1604 | 1168393.3662
87 | 2609767.3103 | 1168399.667
88 | 2609756.974 | 1168414.3006
89 | 2609742.538 | 1168425.4877
90 | 2609765.9115 | 1168406.7712
91 | 2609742.0361 | 1168425.8406
92 | 2609768.8453 | 1168400.3505
93 | 2609739.6516 | 1168427.517
94 | 2609786.0145 | 1168407.5041
95 | 2609777.2058 | 1168430.5345
96 | 2609784.3028 | 1168443.7417
97 | 2609805.4536 | 1168415.0368
98 | 2609787.6502 | 1168400.7373
99 | 2609779.4762 | 1168455.8344
100 | 2609796.2314 | 1168429.8822
101 | 2609761.7461 | 1168319.99
102 | 2609521.6811 | 1168562.5962
103 | 2609581.5158 | 1168618.4266
104 | 2609519.1599 | 1168556.6417
105 | 2609575.6795 | 1168619.4176
106 | 2609718.6324 | 1168487.3354
107 | 2609729.0445 | 1168492.4478
108 | 2609540.5061 | 1168622.5623
109 | 2609779.2654 | 1168493.2297
110 | 2609970.1833 | 1168638.6095
111 | 2609768.8187 | 1168478.3451
112 | 2609745.7231 | 1168487.479
113 | 2609772.7588 | 1168466.6408
114 | 2609779.1842 | 1168456.271
115 | 2609788.8904 | 1168395.5116
116 | 2609815.4526 | 1168423.3264
117 | 2609822.5222 | 1168424.8092
118 | 2609831.3521 | 1168426.5094
119 | 2609850.0189 | 1168428.7553
120 | 2609887.1782 | 1168427.5693
121 | 2609899.7384 | 1168426.1479
122 | 2609870.9108 | 1168429.3864
123 | 2609926.526 | 1168425.6518
124 | 2609870.9583 | 1168444.8796
125 | 2609856.4028 | 1168429.457
126 | 2609943.4963 | 1168426.0258
127 | 2609872.6972 | 1168470.3114
128 | 2609944.8905 | 1168412.276
129 | 2609981.368 | 1168427.5001
130 | 2609879.7976 | 1168492.393
131 | 2609889.6385 | 1168506.7218
132 | 2609909.5401 | 1168533.5794
133 | 2609986.4761 | 1168427.3902
134 | 2610024.0083 | 1168422.4175
135 | 2610037.0688 | 1168420.3968
136 | 2609945.4538 | 1168409.3251
137 | 2609950.3404 | 1168382.7488
138 | 2610222.5193 | 1169328.0909
139 | 2609581.5158 | 1168618.4266

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1