## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_763-5_3_2_node_256 | 0.4 | n |  | TRUE
1 | bus_LV_763-5_3_2_node_253 | 0.4 | n |  | TRUE
2 | bus_LV_763-5_3_2_node_292 | 0.4 | n |  | TRUE
3 | bus_LV_763-5_3_2_node_257 | 0.4 | n |  | TRUE
4 | bus_LV_763-5_3_2_node_258 | 0.4 | n |  | TRUE
5 | bus_LV_763-5_3_2_node_246 | 0.4 | n |  | TRUE
6 | bus_LV_763-5_3_2_node_262 | 0.4 | n |  | TRUE
7 | bus_LV_763-5_3_2_node_263 | 0.4 | n |  | TRUE
8 | bus_LV_763-5_3_2_node_264 | 0.4 | n |  | TRUE
9 | bus_LV_763-5_3_2_node_265 | 0.4 | n |  | TRUE
10 | bus_LV_763-5_3_2_node_208 | 0.4 | n |  | TRUE
11 | bus_LV_763-5_3_2_node_266 | 0.4 | n |  | TRUE
12 | bus_LV_763-5_3_2_node_242 | 0.4 | n |  | TRUE
13 | bus_LV_763-5_3_2_node_328 | 0.4 | n |  | TRUE
14 | bus_LV_763-5_3_2_node_329 | 0.4 | n |  | TRUE
15 | bus_LV_763-5_3_2_node_291 | 0.4 | n |  | TRUE
16 | bus_LV_763-5_3_2_node_293 | 0.4 | n |  | TRUE
17 | bus_LV_763-5_3_2_node_294 | 0.4 | n |  | TRUE
18 | bus_LV_763-5_3_2_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_763-5_3_2_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_763-5_3_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_763-5_3_2_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_763-5_3_2_node_255 | 0.4 | n |  | TRUE
23 | bus_LV_763-5_3_2_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_763-5_3_2_node_203 | 0.4 | n |  | TRUE
25 | bus_LV_763-5_3_2_node_185 | 0.4 | n |  | TRUE
26 | bus_LV_763-5_3_2_node_186 | 0.4 | n |  | TRUE
27 | bus_LV_763-5_3_2_node_187 | 0.4 | n |  | TRUE
28 | bus_LV_763-5_3_2_node_188 | 0.4 | n |  | TRUE
29 | bus_LV_763-5_3_2_node_189 | 0.4 | n |  | TRUE
30 | bus_LV_763-5_3_2_node_211 | 0.4 | n |  | TRUE
31 | bus_LV_763-5_3_2_node_190 | 0.4 | n |  | TRUE
32 | bus_LV_763-5_3_2_node_210 | 0.4 | n |  | TRUE
33 | bus_LV_763-5_3_2_node_213 | 0.4 | n |  | TRUE
34 | bus_LV_763-5_3_2_node_318 | 0.4 | n |  | TRUE
35 | bus_LV_763-5_3_2_node_321 | 0.4 | n |  | TRUE
36 | bus_LV_763-5_3_2_node_319 | 0.4 | n |  | TRUE
37 | bus_LV_763-5_3_2_node_331 | 0.4 | n |  | TRUE
38 | bus_LV_763-5_3_2_node_324 | 0.4 | n |  | TRUE
39 | bus_LV_763-5_3_2_node_325 | 0.4 | n |  | TRUE
40 | bus_LV_763-5_3_2_node_216 | 0.4 | n |  | TRUE
41 | bus_LV_763-5_3_2_node_327 | 0.4 | n |  | TRUE
42 | bus_LV_763-5_3_2_node_332 | 0.4 | n |  | TRUE
43 | bus_LV_763-5_3_2_node_330 | 0.4 | n |  | TRUE
44 | bus_LV_763-5_3_2_node_233 | 0.4 | n |  | TRUE
45 | bus_LV_763-5_3_2_node_206 | 0.4 | n |  | TRUE
46 | bus_LV_763-5_3_2_node_207 | 0.4 | n |  | TRUE
47 | bus_LV_763-5_3_2_node_209 | 0.4 | n |  | TRUE
48 | bus_LV_763-5_3_2_node_212 | 0.4 | n |  | TRUE
49 | bus_LV_763-5_3_2_node_214 | 0.4 | n |  | TRUE
50 | bus_LV_763-5_3_2_node_247 | 0.4 | n |  | TRUE
51 | bus_LV_763-5_3_2_node_236 | 0.4 | n |  | TRUE
52 | bus_LV_763-5_3_2_node_245 | 0.4 | n |  | TRUE
53 | bus_LV_763-5_3_2_node_251 | 0.4 | n |  | TRUE
54 | bus_LV_763-5_3_2_node_235 | 0.4 | n |  | TRUE
55 | bus_LV_763-5_3_2_node_237 | 0.4 | n |  | TRUE
56 | bus_LV_763-5_3_2_node_254 | 0.4 | n |  | TRUE
57 | bus_LV_763-5_3_2_node_238 | 0.4 | n |  | TRUE
58 | bus_LV_763-5_3_2_node_239 | 0.4 | n |  | TRUE
59 | bus_LV_763-5_3_2_node_241 | 0.4 | n |  | TRUE
60 | bus_LV_763-5_3_2_node_240 | 0.4 | n |  | TRUE
61 | bus_LV_763-5_3_2_node_243 | 0.4 | n |  | TRUE
62 | bus_LV_763-5_3_2_node_244 | 0.4 | n |  | TRUE
63 | bus_LV_763-5_3_2_node_248 | 0.4 | n |  | TRUE
64 | bus_LV_763-5_3_2_node_249 | 0.4 | n |  | TRUE
65 | bus_LV_763-5_3_2_node_250 | 0.4 | n |  | TRUE
66 | bus_LV_763-5_3_2_node_252 | 0.4 | n |  | TRUE
67 | bus_MV_0_node_242 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_763-5_3_2_load_256 | 0 | 0.00016346 | 4.0967e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_763-5_3_2_load_253 | 1 | 0.0013254 | 0.00033219 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_763-5_3_2_load_292 | 2 | 0.00046385 | 0.00011625 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_763-5_3_2_load_257 | 3 | 0.00016429 | 4.1176e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_763-5_3_2_load_258 | 4 | 0.00033196 | 8.3197e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_763-5_3_2_load_246 | 5 | 0.00032949 | 8.2577e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_763-5_3_2_load_262 | 6 | 0.00016161 | 4.0504e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_763-5_3_2_load_263 | 7 | 0.00032642 | 8.1809e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_763-5_3_2_load_264 | 8 | 0.0002225 | 5.5763e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_763-5_3_2_load_208 | 10 | 0.00071726 | 0.00017976 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_763-5_3_2_load_242 | 12 | 0.00032751 | 8.2081e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_763-5_3_2_load_328 | 13 | 0.00041627 | 0.00010433 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_763-5_3_2_load_291 | 15 | 0.0022486 | 0.00056356 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_763-5_3_2_load_293 | 16 | 0.00031672 | 7.9378e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_763-5_3_2_load_294 | 17 | 0.0011559 | 0.0002897 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_763-5_3_2_load_45 | 18 | 0.00035422 | 8.8776e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_763-5_3_2_load_49 | 20 | 0.00046601 | 0.00011679 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_763-5_3_2_load_50 | 21 | 0.00031517 | 7.899e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_763-5_3_2_load_255 | 22 | 0.00061478 | 0.00015408 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_763-5_3_2_load_52 | 23 | 0.00022091 | 5.5365e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_763-5_3_2_load_188 | 28 | 7.2016e-05 | 1.8049e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_763-5_3_2_load_189 | 29 | 0.00051455 | 0.00012896 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_763-5_3_2_load_211 | 30 | 0.00028483 | 7.1385e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_763-5_3_2_load_190 | 31 | 0.00075358 | 0.00018886 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_763-5_3_2_load_213 | 33 | 0.0002033 | 5.0952e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_763-5_3_2_load_321 | 35 | 0.00022602 | 5.6647e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_763-5_3_2_load_319 | 36 | 0.0001838 | 4.6064e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_763-5_3_2_load_324 | 38 | 0.00010377 | 2.6008e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_763-5_3_2_load_216 | 40 | 0.00059505 | 0.00014913 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_763-5_3_2_load_327 | 41 | 0.00042836 | 0.00010736 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_763-5_3_2_load_332 | 42 | 0.00029126 | 7.2996e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_763-5_3_2_load_330 | 43 | 6.1821e-05 | 1.5494e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_763-5_3_2_load_206 | 45 | 0.00024857 | 6.2298e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_763-5_3_2_load_212 | 48 | 0.00032624 | 8.1764e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_763-5_3_2_load_247 | 50 | 0.00031787 | 7.9666e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_763-5_3_2_load_245 | 52 | 0.00032544 | 8.1562e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_763-5_3_2_load_251 | 53 | 0.00040198 | 0.00010075 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_763-5_3_2_load_237 | 55 | 0.00072818 | 0.0001825 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_763-5_3_2_load_254 | 56 | 0.00030661 | 7.6843e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_763-5_3_2_load_238 | 57 | 0.00041569 | 0.00010418 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_763-5_3_2_load_239 | 58 | 0.00074822 | 0.00018752 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_763-5_3_2_load_240 | 60 | 0.00067872 | 0.0001701 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_763-5_3_2_load_244 | 62 | 0.00032922 | 8.2511e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_763-5_3_2_load_248 | 63 | 0.00036185 | 9.0689e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_763-5_3_2_load_249 | 64 | 0.00013387 | 3.3551e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_763-5_3_2_load_250 | 65 | 0.00029091 | 7.291e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_763-5_3_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.17573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_763-5_3_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_763-5_3_2_line_2 | NAYY 4x150 SE | 1 | 66 | 0.15829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_763-5_3_2_line_3 | NAYY 4x150 SE | 2 | 15 | 0.10168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_763-5_3_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.27588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_763-5_3_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.16731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_763-5_3_2_line_6 | NAYY 4x150 SE | 5 | 62 | 0.044688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_763-5_3_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.018909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_763-5_3_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0069577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_763-5_3_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.17572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_763-5_3_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.24178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_763-5_3_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.17253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_763-5_3_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.061101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_763-5_3_2_line_13 | NAYY 4x150 SE | 10 | 47 | 0.016622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_763-5_3_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.097593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_763-5_3_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.16292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_763-5_3_2_line_16 | NAYY 4x150 SE | 12 | 59 | 0.14926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_763-5_3_2_line_17 | NAYY 4x150 SE | 14 | 42 | 0.10314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_763-5_3_2_line_18 | NAYY 4x150 SE | 14 | 43 | 0.23532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_763-5_3_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.027769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_763-5_3_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.14286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_763-5_3_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.036271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_763-5_3_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.060405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_763-5_3_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.10243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_763-5_3_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.17326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_763-5_3_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.088753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_763-5_3_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.16738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_763-5_3_2_line_27 | NAYY 4x150 SE | 24 | 44 | 0.26476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_763-5_3_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.090899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_763-5_3_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.061756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_763-5_3_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.28026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_763-5_3_2_line_31 | NAYY 4x150 SE | 26 | 29 | 0.2916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_763-5_3_2_line_32 | NAYY 4x150 SE | 27 | 30 | 0.23809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_763-5_3_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.16718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_763-5_3_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.2525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_763-5_3_2_line_35 | NAYY 4x150 SE | 30 | 47 | 0.076227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_763-5_3_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.014476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_763-5_3_2_line_37 | NAYY 4x150 SE | 32 | 48 | 0.10965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_763-5_3_2_line_38 | NAYY 4x150 SE | 32 | 46 | 0.33878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_763-5_3_2_line_39 | NAYY 4x150 SE | 33 | 49 | 0.22458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_763-5_3_2_line_40 | NAYY 4x150 SE | 34 | 35 | 0.18335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_763-5_3_2_line_41 | NAYY 4x150 SE | 34 | 36 | 0.066307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_763-5_3_2_line_42 | NAYY 4x150 SE | 35 | 37 | 0.16187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_763-5_3_2_line_43 | NAYY 4x150 SE | 37 | 43 | 0.053212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_763-5_3_2_line_44 | NAYY 4x150 SE | 38 | 39 | 0.061158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_763-5_3_2_line_45 | NAYY 4x150 SE | 39 | 40 | 0.445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_763-5_3_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.054174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_763-5_3_2_line_47 | NAYY 4x150 SE | 40 | 49 | 0.039016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_763-5_3_2_line_48 | NAYY 4x150 SE | 44 | 53 | 0.16547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_763-5_3_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.20703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_763-5_3_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.26313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_763-5_3_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.0035691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_763-5_3_2_line_52 | NAYY 4x150 SE | 51 | 54 | 0.022232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_763-5_3_2_line_53 | NAYY 4x150 SE | 52 | 61 | 0.016405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_763-5_3_2_line_54 | NAYY 4x150 SE | 53 | 65 | 0.013822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_763-5_3_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.29924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_763-5_3_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.036836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_763-5_3_2_line_57 | NAYY 4x150 SE | 56 | 66 | 0.066329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_763-5_3_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_763-5_3_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.14859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_763-5_3_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.026615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_763-5_3_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.022504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_763-5_3_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.14991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_763-5_3_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.012816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_763-5_3_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.14777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_763-5_3_2_line_65 | NAYY 4x150 SE | 64 | 66 | 0.021598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_763-5_3_2_trafo_242 | 0.25 MVA 20/0.4 kV | 67 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2607034.4398 | 1168102.7282 | 2607041.8051 | 1168103.6723 | 2607075.6998 | 1168105.168 | 2607084.0742 | 1168103.7215 | 2607108.4114 | 1168090.8991 | 2607120.1158 | 1168082.2975 | 2607132.0855 | 1168075.8194 | 2607144.7149 | 1168074.6448 | 2607167.9696 | 1168077.8516 | 2607186.3091 | 1168076.0169 | 2607201.8761 | 1168074.4454
1 | 2607015.8259 | 1168103.378 | 2607027.1895 | 1168101.7988 | 2607034.4398 | 1168102.7282
2 | 2607355.0884 | 1168037.8224 | 2607346.2473 | 1168038.9789 | 2607320.5855 | 1168045.3177 | 2607293.5939 | 1168056.5463 | 2607250.2523 | 1168063.5089 | 2607219.9419 | 1168072.6218 | 2607201.8761 | 1168074.4454
3 | 2606914.3105 | 1168105.0117 | 2606937.6053 | 1168103.9523 | 2607002.5955 | 1168105.2165 | 2607015.8259 | 1168103.378
4 | 2606782.7132 | 1168223.4791 | 2606820.3977 | 1168217.3205 | 2606839.0857 | 1168211.4386 | 2606873.5495 | 1168203.2068 | 2606914.9217 | 1168183.7663 | 2606947.9021 | 1168181.3806 | 2606967.0943 | 1168176.4557 | 2606988.2362 | 1168179.7705 | 2607014.8243 | 1168192.2074 | 2607030.3202 | 1168200.3517 | 2607046.1228 | 1168199.7167
5 | 2607210.2233 | 1168179.5119 | 2607184.3029 | 1168180.2221 | 2607159.8218 | 1168178.9925 | 2607131.1783 | 1168176.891 | 2607079.7306 | 1168192.4608 | 2607046.7217 | 1168199.6926 | 2607046.1228 | 1168199.7167
6 | 2607210.2233 | 1168179.5119 | 2607229.8026 | 1168178.9755 | 2607252.8343 | 1168182.6382 | 2607254.5969 | 1168182.8901
7 | 2607069.7587 | 1168461.3533 | 2607070.9688 | 1168460.54 | 2607074.8639 | 1168460.7447 | 2607080.8922 | 1168469.1448 | 2607082.6658 | 1168471.8221
8 | 2607063.984 | 1168465.2342 | 2607069.7587 | 1168461.3533
9 | 2607242.7811 | 1168519.4723 | 2607231.9056 | 1168520.2708 | 2607220.8204 | 1168517.1894 | 2607204.8188 | 1168510.4225 | 2607195.1822 | 1168505.4975 | 2607181.7619 | 1168503.236 | 2607166.778 | 1168503.0071 | 2607153.8424 | 1168505.0372 | 2607136.6022 | 1168503.7941 | 2607117.3062 | 1168500.0807 | 2607100.2783 | 1168493.9243 | 2607090.9302 | 1168484.2974 | 2607082.6658 | 1168471.8221
10 | 2607242.7811 | 1168519.4723 | 2607387.8324 | 1168712.9094
11 | 2607079.3423 | 1168564.2905 | 2607095.5557 | 1168566.5551 | 2607109.9265 | 1168567.3945 | 2607127.3694 | 1168565.3696 | 2607141.7448 | 1168562.3183 | 2607165.2781 | 1168554.7756 | 2607188.5607 | 1168545.7987 | 2607208.2771 | 1168536.8176 | 2607230.0468 | 1168526.0048 | 2607242.7811 | 1168519.4723
12 | 2607242.7811 | 1168519.4723 | 2607246.6039 | 1168458.4908
13 | 2607404.4172 | 1168711.797 | 2607387.8324 | 1168712.9094
14 | 2607079.3423 | 1168564.2905 | 2607071.9582 | 1168557.1228 | 2607063.8819 | 1168552.8112 | 2607050.5444 | 1168545.2252 | 2607035.1655 | 1168536.0028 | 2607020.1923 | 1168526.5696 | 2607008.577 | 1168518.5744 | 2606999.6806 | 1168508.7481
15 | 2606920.6437 | 1168595.045 | 2606924.6612 | 1168595.2163 | 2606938.9099 | 1168595.6328 | 2606960.7931 | 1168591.9783 | 2606983.5814 | 1168586.4795 | 2607008.6287 | 1168579.7606 | 2607025.5566 | 1168573.0212 | 2607039.9264 | 1168568.1355 | 2607051.0192 | 1168564.6688 | 2607065.1788 | 1168562.84 | 2607079.3423 | 1168564.2905
16 | 2607387.8008 | 1168438.0065 | 2607378.6129 | 1168441.6638 | 2607371.2246 | 1168444.3228 | 2607363.8228 | 1168451.8843 | 2607349.2468 | 1168455.9575 | 2607337.1257 | 1168461.4678 | 2607317.2177 | 1168457.5529 | 2607308.6041 | 1168454.6744 | 2607286.6314 | 1168462.2184 | 2607260.7663 | 1168460.9645 | 2607246.6039 | 1168458.4908
17 | 2606920.6437 | 1168595.045 | 2606914.901 | 1168591.1031 | 2606905.7898 | 1168588.4359 | 2606896.3478 | 1168587.2023 | 2606891.8355 | 1168584.7404 | 2606888.6386 | 1168576.3436 | 2606883.7332 | 1168562.8313 | 2606875.1249 | 1168548.5033 | 2606864.3858 | 1168537.0298 | 2606851.464 | 1168526.988
18 | 2606920.6437 | 1168595.045 | 2606904.5509 | 1168594.3707 | 2606879.1017 | 1168591.2736 | 2606858.7783 | 1168589.4052 | 2606843.1847 | 1168587.142 | 2606828.9023 | 1168582.6237 | 2606816.3041 | 1168577.4958 | 2606800.9237 | 1168569.2856 | 2606790.741 | 1168566.6173 | 2606780.6878 | 1168564.3605 | 2606769.7278 | 1168565.5711 | 2606752.2758 | 1168569.0311 | 2606731.4177 | 1168573.0989 | 2606715.9316 | 1168577.3839 | 2606702.1738 | 1168582.6824 | 2606693.9959 | 1168587.8773
19 | 2606914.3105 | 1168105.0117 | 2606886.5705 | 1168106.2731
20 | 2606769.0058 | 1168182.8211 | 2606776.8561 | 1168178.7858 | 2606788.6268 | 1168171.9066 | 2606797.7724 | 1168165.069 | 2606804.2461 | 1168159.0399 | 2606811.0626 | 1168154.5009 | 2606821.5981 | 1168150.3551 | 2606833.7186 | 1168145.4663 | 2606840.2886 | 1168142.3944 | 2606846.6214 | 1168139.2221 | 2606854.0745 | 1168133.4499 | 2606866.4838 | 1168116.989 | 2606875.2702 | 1168109.8399 | 2606886.5705 | 1168106.2731 | 2606886.5705 | 1168106.2731
21 | 2607275.7847 | 1167648.3989 | 2607241.9271 | 1167661.4083
22 | 2607275.7847 | 1167648.3989 | 2607280.4729 | 1167657.8204 | 2607282.2161 | 1167659.3677 | 2607285.5975 | 1167660.6946 | 2607288.3679 | 1167660.9092 | 2607293.6035 | 1167660.6042 | 2607298.2262 | 1167660.8099 | 2607303.3541 | 1167661.0273 | 2607309.4158 | 1167661.1346 | 2607315.0574 | 1167660.53 | 2607323.5775 | 1167659.4175 | 2607327.2743 | 1167659.422 | 2607329.2247 | 1167660.5471
23 | 2607275.7847 | 1167648.3989 | 2607286.5822 | 1167643.8207 | 2607302.5651 | 1167636.1584 | 2607320.5942 | 1167626.2863 | 2607354.4696 | 1167607.9959 | 2607367.367 | 1167602.7451
24 | 2607329.2247 | 1167660.5471 | 2607365.2597 | 1167830.0199
25 | 2607367.367 | 1167602.7451 | 2607368.2995 | 1167602.3655 | 2607381.6228 | 1167597.8794 | 2607396.843 | 1167594.4296 | 2607412.9193 | 1167591.9813 | 2607424.6686 | 1167591.5955 | 2607437.2809 | 1167592.7004 | 2607448.8807 | 1167595.6272 | 2607453.8046 | 1167597.9398
26 | 2607610.7161 | 1167637.8493 | 2607602.8394 | 1167638.5843 | 2607559.5225 | 1167641.3982 | 2607545.9374 | 1167640.9588 | 2607532.7376 | 1167638.4411 | 2607520.1825 | 1167634.4791 | 2607506.719 | 1167628.5595 | 2607486.329 | 1167616.128 | 2607464.3015 | 1167603.3612 | 2607456.0712 | 1167599.0044 | 2607453.8046 | 1167597.9398
27 | 2607610.7161 | 1167637.8493 | 2607642.4773 | 1167900.6983
28 | 2607554.1261 | 1169016.4674 | 2607536.4187 | 1169047.4942 | 2607516.7006 | 1169058.7421 | 2607491.4976 | 1169062.5683 | 2607484.86 | 1169065.1948
29 | 2607554.1261 | 1169016.4674 | 2607554.724 | 1168997.1919 | 2607555.1447 | 1168985.1197 | 2607554.3565 | 1168960.5731 | 2607551.5665 | 1168958.1128 | 2607549.4932 | 1168957.7212
30 | 2607554.1261 | 1169016.4674 | 2607555.4976 | 1169033.411 | 2607558.3654 | 1169040.985 | 2607566.136 | 1169062.4721 | 2607566.5291 | 1169072.4998 | 2607561.1777 | 1169086.8114 | 2607558.7005 | 1169097.447 | 2607559.5927 | 1169106.0413 | 2607565.2337 | 1169123.2347 | 2607568.5126 | 1169132.4434 | 2607570.349 | 1169138.5932 | 2607563.3694 | 1169139.396 | 2607550.8503 | 1169139.7917 | 2607540.5803 | 1169146.738 | 2607524.7755 | 1169149.5753 | 2607515.3267 | 1169154.6772 | 2607506.0837 | 1169160.402 | 2607504.2253 | 1169165.7134 | 2607491.0868 | 1169172.0448 | 2607471.8612 | 1169181.4258 | 2607458.8426 | 1169189.8028 | 2607448.4451 | 1169194.9037 | 2607434.8937 | 1169201.0234 | 2607434.8937 | 1169201.0234
31 | 2607484.86 | 1169065.1948 | 2607463.0563 | 1169073.8055 | 2607426.5723 | 1169060.5652 | 2607407.536 | 1169046.3681 | 2607392.0368 | 1169043.1254 | 2607368.7729 | 1169044.3866 | 2607337.7869 | 1169027.6072 | 2607297.7422 | 1169015.9642 | 2607230.615 | 1168966.9481 | 2607224.2993 | 1168965.8595
32 | 2607549.4932 | 1168957.7212 | 2607389.3833 | 1168781.5038
33 | 2607317.7856 | 1169248.2824 | 2607329.56 | 1169237.1132 | 2607324.3575 | 1169230.1479 | 2607314.5237 | 1169218.4746 | 2607314.3218 | 1169214.5835 | 2607319.6573 | 1169212.7557 | 2607330.3292 | 1169214.8141 | 2607346.9532 | 1169217.6912 | 2607367.2739 | 1169213.625 | 2607390.1442 | 1169208.339 | 2607404.7186 | 1169204.0547 | 2607418.1871 | 1169203.0484 | 2607434.8937 | 1169201.0234
34 | 2606977.6412 | 1168933.7463 | 2606993.2205 | 1168940.9011 | 2607041.6683 | 1168946.1153 | 2607103.674 | 1168959.3832 | 2607128.2226 | 1168959.0896 | 2607148.5748 | 1168961.3703 | 2607200.8878 | 1168972.0598 | 2607219.315 | 1168965.0004 | 2607224.2993 | 1168965.8595
35 | 2607404.4172 | 1168711.797 | 2607399.0732 | 1168720.1724 | 2607392.0822 | 1168729.991 | 2607386.3232 | 1168739.8 | 2607383.4309 | 1168752.0693 | 2607383.8314 | 1168762.5084 | 2607386.771 | 1168774.1733 | 2607389.3833 | 1168781.5038
36 | 2607320.967 | 1169262.4044 | 2607317.7856 | 1169248.2824
37 | 2606977.6412 | 1168933.7463 | 2607008.3036 | 1168927.1672 | 2607023.4901 | 1168910.1318 | 2607035.4597 | 1168889.0796 | 2607047.5726 | 1168876.543 | 2607060.8385 | 1168872.6679
38 | 2606694.7146 | 1168788.7438 | 2606753.6663 | 1168825.3608 | 2606756.562 | 1168836.3028 | 2606764.6105 | 1168865.293 | 2606778.8058 | 1168878.8378 | 2606815.9507 | 1168878.2347 | 2606872.1451 | 1168888.6033 | 2606934.1381 | 1168913.7864 | 2606977.6412 | 1168933.7463
39 | 2607320.967 | 1169262.4044 | 2607297.1906 | 1169283.3195 | 2607278.0076 | 1169283.2964 | 2607251.0373 | 1169294.2029 | 2607197.6062 | 1169286.7577 | 2607168.717 | 1169283.3663 | 2607142.2475 | 1169278.6104 | 2607131.3659 | 1169279.2201 | 2607120.8647 | 1169281.7535 | 2607107.4485 | 1169283.9833
40 | 2606635.2046 | 1168436.3135 | 2606629.6658 | 1168434.6733 | 2606623.9178 | 1168435.2784 | 2606618.5813 | 1168437.5292 | 2606612.4165 | 1168441.4022 | 2606604.1994 | 1168446.507 | 2606592.4893 | 1168454.6872 | 2606585.7126 | 1168458.3595 | 2606576.8847 | 1168462.2407 | 2606570.9277 | 1168465.0912 | 2606565.3837 | 1168468.1534 | 2606559.0117 | 1168472.6488 | 2606551.6214 | 1168477.5544 | 2606544.4319 | 1168480.826 | 2606536.424 | 1168483.6744 | 2606525.1322 | 1168487.353 | 2606516.9181 | 1168489.8009 | 2606503.7754 | 1168492.4437 | 2606492.4845 | 1168495.2997 | 2606485.504 | 1168496.315 | 2606478.939 | 1168495.2852 | 2606473.3938 | 1168492.4112 | 2606468.4774 | 1168488.315
41 | 2606468.4774 | 1168488.315 | 2606493.0733 | 1168467.0529 | 2606488.5801 | 1168446.5823 | 2606493.1484 | 1168434.5861
42 | 2606643.0937 | 1168597.9918 | 2606635.2046 | 1168436.3135
43 | 2606643.0937 | 1168597.9918 | 2606656.0724 | 1168598.1839 | 2606672.19 | 1168597.1788 | 2606681.2219 | 1168595.5546 | 2606689.316 | 1168590.8501 | 2606693.9959 | 1168587.8773
44 | 2606880.7444 | 1169672.3496 | 2606885.7577 | 1169677.569 | 2606889.3711 | 1169682.5756 | 2606890.4689 | 1169686.0675 | 2606890.8776 | 1169689.981 | 2606889.2275 | 1169694.4481 | 2606887.349 | 1169697.8921 | 2606882.7509 | 1169704.3679 | 2606877.0444 | 1169709.9309 | 2606869.6385 | 1169716.2923 | 2606864.2649 | 1169718.454
45 | 2607137.1501 | 1169308.6467 | 2606880.7444 | 1169672.3496
46 | 2607187.4714 | 1169328.7112 | 2607137.1501 | 1169308.6467
47 | 2607107.4485 | 1169283.9833 | 2607118.3835 | 1169296.4357 | 2607134.8445 | 1169307.7274 | 2607137.1501 | 1169308.6467
48 | 2607642.4773 | 1167900.6983 | 2607631.9286 | 1167902.3192 | 2607575.9551 | 1167923.1816 | 2607551.747 | 1167935.4242 | 2607542.0554 | 1167937.2352 | 2607532.3617 | 1167934.6441 | 2607525.4031 | 1167929.7108 | 2607499.5461 | 1167920.1184 | 2607487.6146 | 1167919.8035 | 2607487.6146 | 1167919.8035
49 | 2606694.7146 | 1168788.7438 | 2606705.9649 | 1168787.6001 | 2606724.5766 | 1168786.6425 | 2606786.3309 | 1168794.1594 | 2606832.582 | 1168801.037 | 2606864.6378 | 1168814.6578 | 2606887.2232 | 1168818.4964 | 2606897.5391 | 1168817.3561
50 | 2607665.1974 | 1168211.6712 | 2607634.4719 | 1168228.4075 | 2607614.801 | 1168236.3311 | 2607598.4013 | 1168235.6324 | 2607573.5909 | 1168228.6645 | 2607543.0223 | 1168230.2272 | 2607513.4457 | 1168228.0672 | 2607491.3419 | 1168223.1151 | 2607471.1772 | 1168222.0564 | 2607461.8766 | 1168223.6457 | 2607448.7332 | 1168226.0863 | 2607430.4602 | 1168230.1548 | 2607410.7718 | 1168234.2982
51 | 2607410.7718 | 1168234.2982 | 2607410.1359 | 1168234.4321 | 2607407.2329 | 1168234.7404
52 | 2607675.4056 | 1168194.4533 | 2607676.3305 | 1168201.4358 | 2607668.4833 | 1168209.6077 | 2607665.1974 | 1168211.6712
53 | 2607391.3277 | 1168238.0887 | 2607396.7871 | 1168235.8498 | 2607407.2329 | 1168234.7404
54 | 2607487.6146 | 1167919.8035 | 2607484.3165 | 1167925.6134 | 2607484.9276 | 1167932.7288 | 2607484.9276 | 1167932.7288
55 | 2607675.4056 | 1168194.4533 | 2607664.7938 | 1168198.0306 | 2607646.8135 | 1168206.4232 | 2607641.2465 | 1168208.9285 | 2607628.3026 | 1168210.8798 | 2607615.3634 | 1168209.0738 | 2607604.5952 | 1168203.1462 | 2607595.9759 | 1168192.3855 | 2607591.3232 | 1168179.8401 | 2607592.0675 | 1168159.9645 | 2607590.8229 | 1168151.5365 | 2607587.4064 | 1168147.9526 | 2607580.7648 | 1168146.866 | 2607570.1549 | 1168148.8315 | 2607560.8108 | 1168148.453 | 2607553.4517 | 1168145.7647 | 2607512.5108 | 1168117.9443 | 2607466.8965 | 1168093.7092 | 2607453.9671 | 1168089.9247 | 2607440.7876 | 1168085.863
56 | 2607407.5146 | 1168070.1886 | 2607411.9346 | 1168071.6085 | 2607439.9515 | 1168085.6054 | 2607440.7876 | 1168085.863
57 | 2607355.0884 | 1168037.8224 | 2607356.8003 | 1168046.0953 | 2607360.2063 | 1168052.1913 | 2607368.8249 | 1168057.7601 | 2607407.5146 | 1168070.1886
58 | 2607415.8465 | 1168292.0894 | 2607403.0441 | 1168288.5949 | 2607392.2146 | 1168282.701
59 | 2607415.8465 | 1168292.0894 | 2607387.8008 | 1168438.0065
60 | 2607384.2104 | 1168258.6959 | 2607384.0271 | 1168262.8477 | 2607384.9184 | 1168272.4647 | 2607387.376 | 1168277.9927 | 2607392.2146 | 1168282.701 | 2607392.2146 | 1168282.701
61 | 2607391.3277 | 1168238.0887 | 2607386.9283 | 1168243.4082 | 2607384.4521 | 1168253.2212 | 2607384.2104 | 1168258.6959
62 | 2607391.3277 | 1168238.0887 | 2607386.1699 | 1168237.7489 | 2607351.5845 | 1168232.2486 | 2607340.5324 | 1168226.688 | 2607309.4233 | 1168206.9183 | 2607275.5735 | 1168187.7235 | 2607262.8736 | 1168184.0732 | 2607254.5969 | 1168182.8901
63 | 2607388.1538 | 1168044.3952 | 2607380.5306 | 1168042.0776 | 2607376.0755 | 1168040.1642
64 | 2607388.1538 | 1168044.3952 | 2607484.9276 | 1167932.7288
65 | 2607355.0884 | 1168037.8224 | 2607362.1918 | 1168036.8861 | 2607370.3034 | 1168037.6852 | 2607376.0755 | 1168040.1642

## bus_geodata
| x | y | coords
0 | 2607034.4398 | 1168102.7282
1 | 2607201.8761 | 1168074.4454
2 | 2607015.8259 | 1168103.378
3 | 2606782.7132 | 1168223.4791
4 | 2607046.1228 | 1168199.7167
5 | 2607210.2233 | 1168179.5119
6 | 2607069.7587 | 1168461.3533
7 | 2607082.6658 | 1168471.8221
8 | 2607063.984 | 1168465.2342
9 | 2607242.7811 | 1168519.4723
10 | 2607387.8324 | 1168712.9094
11 | 2607079.3423 | 1168564.2905
12 | 2607246.6039 | 1168458.4908
13 | 2606999.6806 | 1168508.7481
14 | 2606920.6437 | 1168595.045
15 | 2606914.3105 | 1168105.0117
16 | 2606886.5705 | 1168106.2731
17 | 2606769.0058 | 1168182.8211
18 | 2607241.9271 | 1167661.4083
19 | 2607275.7847 | 1167648.3989
20 | 2607329.2247 | 1167660.5471
21 | 2607367.367 | 1167602.7451
22 | 2607365.2597 | 1167830.0199
23 | 2607453.8046 | 1167597.9399
24 | 2607610.7161 | 1167637.8493
25 | 2607554.1261 | 1169016.4674
26 | 2607484.86 | 1169065.1948
27 | 2607549.4932 | 1168957.7212
28 | 2607434.8937 | 1169201.0234
29 | 2607224.2993 | 1168965.8595
30 | 2607389.3833 | 1168781.5038
31 | 2607317.7856 | 1169248.2824
32 | 2606977.6412 | 1168933.7463
33 | 2607320.967 | 1169262.4044
34 | 2606468.4774 | 1168488.315
35 | 2606635.2046 | 1168436.3135
36 | 2606493.1484 | 1168434.5861
37 | 2606643.0937 | 1168597.9918
38 | 2606864.2649 | 1169718.454
39 | 2606880.7444 | 1169672.3496
40 | 2607137.1501 | 1169308.6467
41 | 2607187.4714 | 1169328.7112
42 | 2606851.464 | 1168526.988
43 | 2606693.9959 | 1168587.8773
44 | 2607642.4773 | 1167900.6983
45 | 2606897.5391 | 1168817.3561
46 | 2606694.7146 | 1168788.7438
47 | 2607404.4172 | 1168711.797
48 | 2607060.8385 | 1168872.6679
49 | 2607107.4485 | 1169283.9833
50 | 2607410.7718 | 1168234.2982
51 | 2607665.1974 | 1168211.6712
52 | 2607407.2329 | 1168234.7404
53 | 2607487.6146 | 1167919.8035
54 | 2607675.4056 | 1168194.4533
55 | 2607440.7876 | 1168085.863
56 | 2607407.5146 | 1168070.1886
57 | 2607415.8465 | 1168292.0894
58 | 2607392.2146 | 1168282.701
59 | 2607387.8008 | 1168438.0065
60 | 2607384.2104 | 1168258.6959
61 | 2607391.3277 | 1168238.0887
62 | 2607254.5969 | 1168182.8901
63 | 2607388.1538 | 1168044.3952
64 | 2607376.0755 | 1168040.1642
65 | 2607484.9276 | 1167932.7288
66 | 2607355.0884 | 1168037.8224
67 | 2607246.6039 | 1168458.4908

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1