## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_763-9_1_1_node_26 | 0.4 | n |  | TRUE
1 | bus_LV_763-9_1_1_node_27 | 0.4 | n |  | TRUE
2 | bus_LV_763-9_1_1_node_31 | 0.4 | n |  | TRUE
3 | bus_LV_763-9_1_1_node_73 | 0.4 | n |  | TRUE
4 | bus_LV_763-9_1_1_node_81 | 0.4 | n |  | TRUE
5 | bus_LV_763-9_1_1_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_763-9_1_1_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_763-9_1_1_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_763-9_1_1_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_763-9_1_1_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_763-9_1_1_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_763-9_1_1_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_763-9_1_1_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_763-9_1_1_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_763-9_1_1_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_763-9_1_1_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_763-9_1_1_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_763-9_1_1_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_763-9_1_1_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_763-9_1_1_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_763-9_1_1_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_763-9_1_1_node_103 | 0.4 | n |  | TRUE
22 | bus_LV_763-9_1_1_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_763-9_1_1_node_101 | 0.4 | n |  | TRUE
24 | bus_LV_763-9_1_1_node_104 | 0.4 | n |  | TRUE
25 | bus_LV_763-9_1_1_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_763-9_1_1_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_763-9_1_1_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_763-9_1_1_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_763-9_1_1_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_763-9_1_1_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_763-9_1_1_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_763-9_1_1_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_763-9_1_1_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_763-9_1_1_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_763-9_1_1_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_763-9_1_1_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_763-9_1_1_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_763-9_1_1_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_763-9_1_1_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_763-9_1_1_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_763-9_1_1_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_763-9_1_1_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_763-9_1_1_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_763-9_1_1_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_763-9_1_1_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_763-9_1_1_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_763-9_1_1_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_763-9_1_1_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_763-9_1_1_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_763-9_1_1_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_763-9_1_1_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_763-9_1_1_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_763-9_1_1_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_763-9_1_1_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_763-9_1_1_node_102 | 0.4 | n |  | TRUE
56 | bus_MV_208_0_node_194 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_763-9_1_1_load_26 | 0 | 0.00063264 | 0.00015856 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_763-9_1_1_load_27 | 1 | 0.0019577 | 0.00049065 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_763-9_1_1_load_31 | 2 | 0.0031399 | 0.00078694 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_763-9_1_1_load_73 | 3 | 0.0017735 | 0.00044447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_763-9_1_1_load_81 | 4 | 0.0017787 | 0.00044578 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_763-9_1_1_load_44 | 7 | 0.0031786 | 0.00079663 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_763-9_1_1_load_74 | 8 | 0.0027322 | 0.00068475 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_763-9_1_1_load_35 | 9 | 0.00097701 | 0.00024486 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_763-9_1_1_load_37 | 10 | 0.0020619 | 0.00051676 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_763-9_1_1_load_50 | 11 | 0.00060426 | 0.00015144 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_763-9_1_1_load_55 | 14 | 0.0020192 | 0.00050606 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_763-9_1_1_load_72 | 16 | 0.0017771 | 0.00044539 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_763-9_1_1_load_41 | 18 | 0.0012616 | 0.00031618 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_763-9_1_1_load_42 | 19 | 0.0015259 | 0.00038243 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_763-9_1_1_load_46 | 20 | 0.0011971 | 0.00030001 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_763-9_1_1_load_103 | 21 | 0.0010438 | 0.0002616 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_763-9_1_1_load_47 | 22 | 0.001477 | 0.00037018 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_763-9_1_1_load_101 | 23 | 0.0006926 | 0.00017358 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_763-9_1_1_load_104 | 24 | 0.0014262 | 0.00035744 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_763-9_1_1_load_51 | 26 | 0.0036517 | 0.00091521 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_763-9_1_1_load_52 | 27 | 0.0018158 | 0.00045507 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_763-9_1_1_load_54 | 28 | 0.0030643 | 0.00076798 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_763-9_1_1_load_56 | 29 | 0.0022449 | 0.00056261 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_763-9_1_1_load_93 | 31 | 0.0015515 | 0.00038883 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_763-9_1_1_load_91 | 32 | 0.0017063 | 0.00042764 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_763-9_1_1_load_57 | 33 | 0.002111 | 0.00052907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_763-9_1_1_load_58 | 34 | 0.0021007 | 0.00052648 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_763-9_1_1_load_60 | 36 | 0.001099 | 0.00027544 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_763-9_1_1_load_61 | 37 | 0.0023843 | 0.00059755 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_763-9_1_1_load_64 | 38 | 0.0011677 | 0.00029264 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_763-9_1_1_load_65 | 39 | 0.0018808 | 0.00047138 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_763-9_1_1_load_83 | 42 | 0.0028079 | 0.00070373 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_763-9_1_1_load_113 | 43 | 0.0022048 | 0.00055258 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_763-9_1_1_load_67 | 44 | 0.0033135 | 0.00083044 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_763-9_1_1_load_66 | 45 | 0.0016864 | 0.00042264 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_763-9_1_1_load_99 | 46 | 0.00077028 | 0.00019305 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_763-9_1_1_load_100 | 47 | 0.00038533 | 9.6572e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_763-9_1_1_load_84 | 48 | 0.0025599 | 0.00064158 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_763-9_1_1_load_70 | 51 | 0.0012495 | 0.00031314 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_763-9_1_1_load_85 | 52 | 0.0029789 | 0.00074657 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_763-9_1_1_load_90 | 53 | 0.0023066 | 0.00057808 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_763-9_1_1_load_94 | 54 | 0.0019482 | 0.00048827 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_763-9_1_1_load_102 | 55 | 0.0012411 | 0.00031106 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_763-9_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_763-9_1_1_line_1 | NAYY 4x150 SE | 1 | 5 | 0.059042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_763-9_1_1_line_2 | NAYY 4x150 SE | 2 | 3 | 0.042464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_763-9_1_1_line_3 | NAYY 4x150 SE | 3 | 4 | 0.017144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_763-9_1_1_line_4 | NAYY 4x150 SE | 3 | 50 | 0.017199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_763-9_1_1_line_5 | NAYY 4x150 SE | 5 | 6 | 0.00233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_763-9_1_1_line_6 | NAYY 4x150 SE | 6 | 7 | 0.031015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_763-9_1_1_line_7 | NAYY 4x150 SE | 7 | 8 | 0.11618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_763-9_1_1_line_8 | NAYY 4x150 SE | 8 | 51 | 0.0043328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_763-9_1_1_line_9 | NAYY 4x150 SE | 9 | 10 | 0.017633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_763-9_1_1_line_10 | NAYY 4x150 SE | 9 | 11 | 0.30562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_763-9_1_1_line_11 | NAYY 4x150 SE | 10 | 12 | 0.022005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_763-9_1_1_line_12 | NAYY 4x150 SE | 12 | 13 | 0.009441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_763-9_1_1_line_13 | NAYY 4x150 SE | 12 | 14 | 0.032754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_763-9_1_1_line_14 | NAYY 4x150 SE | 13 | 15 | 0.062375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_763-9_1_1_line_15 | NAYY 4x150 SE | 13 | 16 | 0.029844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_763-9_1_1_line_16 | NAYY 4x150 SE | 14 | 17 | 0.01674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_763-9_1_1_line_17 | NAYY 4x150 SE | 15 | 43 | 0.028848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_763-9_1_1_line_18 | NAYY 4x150 SE | 15 | 40 | 0.084692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_763-9_1_1_line_19 | NAYY 4x150 SE | 16 | 50 | 0.019054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_763-9_1_1_line_20 | NAYY 4x150 SE | 17 | 28 | 0.010365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_763-9_1_1_line_21 | NAYY 4x150 SE | 17 | 26 | 0.020358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_763-9_1_1_line_22 | NAYY 4x150 SE | 18 | 19 | 0.019145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_763-9_1_1_line_23 | NAYY 4x150 SE | 18 | 20 | 0.062582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_763-9_1_1_line_24 | NAYY 4x150 SE | 19 | 21 | 0.088198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_763-9_1_1_line_25 | NAYY 4x150 SE | 20 | 22 | 0.011311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_763-9_1_1_line_26 | NAYY 4x150 SE | 21 | 23 | 0.062336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_763-9_1_1_line_27 | NAYY 4x150 SE | 23 | 47 | 0.023785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_763-9_1_1_line_28 | NAYY 4x150 SE | 24 | 25 | 0.055618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_763-9_1_1_line_29 | NAYY 4x150 SE | 25 | 35 | 0.016936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_763-9_1_1_line_30 | NAYY 4x150 SE | 25 | 40 | 0.032069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_763-9_1_1_line_31 | NAYY 4x150 SE | 26 | 27 | 0.012146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_763-9_1_1_line_32 | NAYY 4x150 SE | 28 | 29 | 0.045542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_763-9_1_1_line_33 | NAYY 4x150 SE | 29 | 30 | 0.022336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_763-9_1_1_line_34 | NAYY 4x150 SE | 30 | 31 | 0.018899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_763-9_1_1_line_35 | NAYY 4x150 SE | 30 | 32 | 0.012724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_763-9_1_1_line_36 | NAYY 4x150 SE | 31 | 54 | 0.002398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_763-9_1_1_line_37 | NAYY 4x150 SE | 33 | 34 | 0.054228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_763-9_1_1_line_38 | NAYY 4x150 SE | 33 | 35 | 0.024192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_763-9_1_1_line_39 | NAYY 4x150 SE | 34 | 36 | 0.016868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_763-9_1_1_line_40 | NAYY 4x150 SE | 35 | 37 | 0.01568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_763-9_1_1_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0086556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_763-9_1_1_line_42 | NAYY 4x150 SE | 37 | 39 | 0.0039129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_763-9_1_1_line_43 | NAYY 4x150 SE | 38 | 41 | 0.011148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_763-9_1_1_line_44 | NAYY 4x150 SE | 39 | 42 | 0.014693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_763-9_1_1_line_45 | NAYY 4x150 SE | 41 | 46 | 0.11145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_763-9_1_1_line_46 | NAYY 4x150 SE | 41 | 47 | 0.0037161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_763-9_1_1_line_47 | NAYY 4x150 SE | 42 | 48 | 0.019218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_763-9_1_1_line_48 | NAYY 4x150 SE | 44 | 45 | 0.0085464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_763-9_1_1_line_49 | NAYY 4x150 SE | 45 | 49 | 0.0024107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_763-9_1_1_line_50 | NAYY 4x150 SE | 46 | 55 | 0.030997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_763-9_1_1_line_51 | NAYY 4x150 SE | 48 | 52 | 0.0030217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_763-9_1_1_line_52 | NAYY 4x150 SE | 49 | 50 | 0.016157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_763-9_1_1_line_53 | NAYY 4x150 SE | 49 | 51 | 0.038607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_763-9_1_1_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0052273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_763-9_1_1_trafo_113 | 0.25 MVA 20/0.4 kV | 56 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2611321.6016 | 1168238.3074 | 2611312.1681 | 1168234.0737
1 | 2611375.7615 | 1168261.8141 | 2611326.7601 | 1168240.6226 | 2611321.6016 | 1168238.3074
2 | 2611238.3133 | 1168401.2527 | 2611246.9534 | 1168359.6775
3 | 2611222.3901 | 1168394.8995 | 2611238.3133 | 1168401.2527
4 | 2611254.2875 | 1168407.6263 | 2611238.3133 | 1168401.2527
5 | 2611375.7615 | 1168261.8141 | 2611377.9103 | 1168262.7298
6 | 2611360.8869 | 1168288.6663 | 2611369.8652 | 1168275.7767 | 2611377.9103 | 1168262.7298
7 | 2611297.819 | 1168386.2413 | 2611360.8869 | 1168288.6663
8 | 2611297.819 | 1168386.2413 | 2611293.8193 | 1168387.9071
9 | 2611191.0881 | 1168431.8099 | 2611208.4933 | 1168434.6377
10 | 2611191.0881 | 1168431.8099 | 2611070.8029 | 1168712.7649
11 | 2611230.2158 | 1168438.1524 | 2611209.3604 | 1168434.7786 | 2611208.4933 | 1168434.6377
12 | 2611230.2158 | 1168438.1524 | 2611239.6114 | 1168439.326
13 | 2611230.2158 | 1168438.1524 | 2611229.9715 | 1168441.9649 | 2611230.5859 | 1168444.9453 | 2611232.2192 | 1168447.294 | 2611252.7357 | 1168457.7544
14 | 2611239.6114 | 1168439.326 | 2611251.5336 | 1168439.8707 | 2611261.6138 | 1168439.1335 | 2611272.0612 | 1168438.4749 | 2611283.2525 | 1168436.9617 | 2611301.8082 | 1168434.2617
15 | 2611239.6114 | 1168439.326 | 2611240.2469 | 1168435.0361 | 2611255.5499 | 1168432.4077 | 2611257.2463 | 1168422.5726
16 | 2611267.6489 | 1168465.3579 | 2611252.7357 | 1168457.7544
17 | 2611301.8082 | 1168434.2617 | 2611304.18 | 1168438.635 | 2611305.309 | 1168440.5825 | 2611307.4644 | 1168442.0206 | 2611311.5641 | 1168443.2511 | 2611316.4915 | 1168443.7717 | 2611326.34 | 1168444.2015
18 | 2611386.6859 | 1168434.4879 | 2611373.7755 | 1168434.4635 | 2611359.5116 | 1168433.9253 | 2611345.6606 | 1168433.4991 | 2611331.7257 | 1168432.9838 | 2611325.1591 | 1168433.216 | 2611318.5619 | 1168433.4482 | 2611303.1172 | 1168434.0752 | 2611301.8082 | 1168434.2617
19 | 2611254.2875 | 1168407.6263 | 2611253.4338 | 1168409.8925 | 2611253.1252 | 1168411.226 | 2611253.8428 | 1168412.15 | 2611258.7606 | 1168413.7933 | 2611257.2463 | 1168422.5726
20 | 2611267.6489 | 1168465.3579 | 2611276.5277 | 1168470.705
21 | 2611267.6489 | 1168465.3579 | 2611274.368 | 1168465.3816 | 2611287.8905 | 1168463.6037
22 | 2611582.4525 | 1168351.6661 | 2611600.0101 | 1168359.3002
23 | 2611582.4525 | 1168351.6661 | 2611526.538 | 1168323.5584
24 | 2611578.7724 | 1168444.9026 | 2611600.0101 | 1168359.3002
25 | 2611526.538 | 1168323.5584 | 2611516.2476 | 1168318.8628
26 | 2611542.5471 | 1168495.6319 | 2611578.7724 | 1168444.9026
27 | 2611524.7508 | 1168479.9943 | 2611529.5983 | 1168485.3288 | 2611534.4952 | 1168489.8182 | 2611540.1349 | 1168494.02 | 2611542.5471 | 1168495.6319
28 | 2611418.7234 | 1168433.1477 | 2611420.7566 | 1168426.3481 | 2611426.8588 | 1168424.8478 | 2611433.6336 | 1168423.8379 | 2611437.8438 | 1168423.2344 | 2611441.6353 | 1168421.4629 | 2611444.2125 | 1168418.433 | 2611448.1426 | 1168412.1817 | 2611451.831 | 1168408.3201 | 2611455.778 | 1168405.2927 | 2611460.8247 | 1168403.457
29 | 2611418.7234 | 1168433.1477 | 2611410.733 | 1168433.5661 | 2611412.4589 | 1168439.5501 | 2611414.3378 | 1168441.4991
30 | 2611386.6859 | 1168434.4879 | 2611403.8216 | 1168433.9977 | 2611410.733 | 1168433.5661 | 2611418.7234 | 1168433.1477
31 | 2611287.8905 | 1168463.6037 | 2611291.2084 | 1168463.1675 | 2611299.9037 | 1168461.8186
32 | 2611276.5277 | 1168470.705 | 2611297.0715 | 1168483.0773 | 2611308.806 | 1168489.8026 | 2611316.1244 | 1168493.1203
33 | 2611334.722 | 1168504.2251 | 2611329.5066 | 1168498.09 | 2611318.7539 | 1168494.3124 | 2611316.1244 | 1168493.1203
34 | 2611334.722 | 1168504.2251 | 2611339.9778 | 1168505.102 | 2611353.5165 | 1168506.025
35 | 2611334.722 | 1168504.2251 | 2611334.3331 | 1168516.9433
36 | 2611355.9089 | 1168506.1881 | 2611353.5165 | 1168506.025
37 | 2611437.8109 | 1168445.9393 | 2611441.4099 | 1168447.5645 | 2611447.228 | 1168450.5659 | 2611454.5852 | 1168453.1478 | 2611467.1298 | 1168456.3287 | 2611478.1289 | 1168459.3623 | 2611489.3607 | 1168462.1972
38 | 2611414.3378 | 1168441.4991 | 2611417.8941 | 1168442.7398 | 2611425.4324 | 1168442.6095 | 2611434.4135 | 1168444.4052 | 2611437.8109 | 1168445.9393
39 | 2611489.3607 | 1168462.1972 | 2611498.7204 | 1168464.5596 | 2611505.3686 | 1168467.3612
40 | 2611414.3378 | 1168441.4991 | 2611405.5538 | 1168454.4883
41 | 2611505.3686 | 1168467.3612 | 2611507.5447 | 1168468.2782 | 2611513.28 | 1168470.8712
42 | 2611403.264 | 1168457.6357 | 2611403.5861 | 1168457.3979 | 2611405.5538 | 1168454.4883
43 | 2611522.2517 | 1168477.2441 | 2611517.4466 | 1168472.7549 | 2611513.28 | 1168470.8712
44 | 2611403.264 | 1168457.6357 | 2611400.2065 | 1168459.8927 | 2611395.0631 | 1168460.2388 | 2611389.3307 | 1168460.4836 | 2611389.3307 | 1168460.4836
45 | 2611522.2517 | 1168477.2441 | 2611521.6536 | 1168481.8786 | 2611519.882 | 1168483.854 | 2611517.3537 | 1168485.361 | 2611495.8344 | 1168493.2018 | 2611487.0657 | 1168496.4756 | 2611479.4062 | 1168499.9628 | 2611462.5202 | 1168506.0449 | 2611451.9442 | 1168510.0157 | 2611441.814 | 1168512.9758 | 2611434.9972 | 1168516.0199 | 2611428.6233 | 1168519.5874 | 2611423.4599 | 1168522.5014
46 | 2611522.2517 | 1168477.2441 | 2611524.7508 | 1168479.9943
47 | 2611389.3307 | 1168460.4836 | 2611382.6595 | 1168459.3483 | 2611375.9807 | 1168462.3038 | 2611370.8771 | 1168461.6321
48 | 2611271.6311 | 1168414.3447 | 2611277.5285 | 1168416.3184 | 2611279.7905 | 1168416.8664
49 | 2611269.345 | 1168413.5796 | 2611271.6311 | 1168414.3447
50 | 2611393.9728 | 1168531.1055 | 2611406.9456 | 1168526.3387 | 2611410.4504 | 1168526.4121 | 2611415.166 | 1168525.6095 | 2611419.4845 | 1168524.3837 | 2611423.4599 | 1168522.5014
51 | 2611367.8812 | 1168461.2378 | 2611370.8771 | 1168461.6321
52 | 2611269.345 | 1168413.5796 | 2611266.3622 | 1168412.5735 | 2611258.2487 | 1168409.2123 | 2611254.2875 | 1168407.6263
53 | 2611269.345 | 1168413.5796 | 2611272.4363 | 1168401.5349 | 2611273.6739 | 1168398.5802 | 2611276.8627 | 1168395.8181 | 2611281.6894 | 1168392.959 | 2611293.8193 | 1168387.9071
54 | 2611362.6986 | 1168460.5557 | 2611367.8812 | 1168461.2378

## bus_geodata
| x | y | coords
0 | 2611312.1681 | 1168234.0737
1 | 2611321.6016 | 1168238.3074
2 | 2611246.9534 | 1168359.6775
3 | 2611238.3133 | 1168401.2527
4 | 2611222.3901 | 1168394.8995
5 | 2611375.7615 | 1168261.8142
6 | 2611377.9103 | 1168262.7298
7 | 2611360.8869 | 1168288.6663
8 | 2611297.819 | 1168386.2413
9 | 2611191.0881 | 1168431.8099
10 | 2611208.4933 | 1168434.6377
11 | 2611070.8029 | 1168712.7649
12 | 2611230.2158 | 1168438.1524
13 | 2611239.6114 | 1168439.326
14 | 2611252.7357 | 1168457.7544
15 | 2611301.8082 | 1168434.2617
16 | 2611257.2463 | 1168422.5726
17 | 2611267.6489 | 1168465.3579
18 | 2611582.4525 | 1168351.6661
19 | 2611600.0101 | 1168359.3002
20 | 2611526.538 | 1168323.5584
21 | 2611578.7724 | 1168444.9026
22 | 2611516.2476 | 1168318.8628
23 | 2611542.5471 | 1168495.6319
24 | 2611460.8247 | 1168403.457
25 | 2611418.7234 | 1168433.1477
26 | 2611287.8905 | 1168463.6037
27 | 2611299.9037 | 1168461.8186
28 | 2611276.5277 | 1168470.705
29 | 2611316.1244 | 1168493.1203
30 | 2611334.722 | 1168504.2251
31 | 2611353.5165 | 1168506.025
32 | 2611334.3331 | 1168516.9433
33 | 2611437.8109 | 1168445.9393
34 | 2611489.3607 | 1168462.1972
35 | 2611414.3378 | 1168441.4991
36 | 2611505.3686 | 1168467.3612
37 | 2611405.5538 | 1168454.4883
38 | 2611513.28 | 1168470.8712
39 | 2611403.264 | 1168457.6357
40 | 2611386.6859 | 1168434.4879
41 | 2611522.2517 | 1168477.2441
42 | 2611389.3307 | 1168460.4836
43 | 2611326.34 | 1168444.2015
44 | 2611279.7905 | 1168416.8664
45 | 2611271.6311 | 1168414.3447
46 | 2611423.4599 | 1168522.5014
47 | 2611524.7508 | 1168479.9943
48 | 2611370.8771 | 1168461.6321
49 | 2611269.345 | 1168413.5796
50 | 2611254.2875 | 1168407.6263
51 | 2611293.8193 | 1168387.9071
52 | 2611367.8812 | 1168461.2378
53 | 2611362.6986 | 1168460.5557
54 | 2611355.9089 | 1168506.1881
55 | 2611393.9728 | 1168531.1055
56 | 2611301.8082 | 1168434.2617

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1