## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_766-1_2_2_node_514 | 0.4 | n |  | TRUE
1 | bus_LV_766-1_2_2_node_173 | 0.4 | n |  | TRUE
2 | bus_LV_766-1_2_2_node_146 | 0.4 | n |  | TRUE
3 | bus_LV_766-1_2_2_node_147 | 0.4 | n |  | TRUE
4 | bus_LV_766-1_2_2_node_148 | 0.4 | n |  | TRUE
5 | bus_LV_766-1_2_2_node_149 | 0.4 | n |  | TRUE
6 | bus_LV_766-1_2_2_node_151 | 0.4 | n |  | TRUE
7 | bus_LV_766-1_2_2_node_152 | 0.4 | n |  | TRUE
8 | bus_LV_766-1_2_2_node_153 | 0.4 | n |  | TRUE
9 | bus_LV_766-1_2_2_node_156 | 0.4 | n |  | TRUE
10 | bus_LV_766-1_2_2_node_154 | 0.4 | n |  | TRUE
11 | bus_LV_766-1_2_2_node_179 | 0.4 | n |  | TRUE
12 | bus_LV_766-1_2_2_node_155 | 0.4 | n |  | TRUE
13 | bus_LV_766-1_2_2_node_157 | 0.4 | n |  | TRUE
14 | bus_LV_766-1_2_2_node_158 | 0.4 | n |  | TRUE
15 | bus_LV_766-1_2_2_node_159 | 0.4 | n |  | TRUE
16 | bus_LV_766-1_2_2_node_160 | 0.4 | n |  | TRUE
17 | bus_LV_766-1_2_2_node_175 | 0.4 | n |  | TRUE
18 | bus_LV_766-1_2_2_node_161 | 0.4 | n |  | TRUE
19 | bus_LV_766-1_2_2_node_171 | 0.4 | n |  | TRUE
20 | bus_LV_766-1_2_2_node_168 | 0.4 | n |  | TRUE
21 | bus_LV_766-1_2_2_node_162 | 0.4 | n |  | TRUE
22 | bus_LV_766-1_2_2_node_163 | 0.4 | n |  | TRUE
23 | bus_LV_766-1_2_2_node_164 | 0.4 | n |  | TRUE
24 | bus_LV_766-1_2_2_node_165 | 0.4 | n |  | TRUE
25 | bus_LV_766-1_2_2_node_166 | 0.4 | n |  | TRUE
26 | bus_LV_766-1_2_2_node_167 | 0.4 | n |  | TRUE
27 | bus_LV_766-1_2_2_node_196 | 0.4 | n |  | TRUE
28 | bus_LV_766-1_2_2_node_193 | 0.4 | n |  | TRUE
29 | bus_LV_766-1_2_2_node_222 | 0.4 | n |  | TRUE
30 | bus_LV_766-1_2_2_node_169 | 0.4 | n |  | TRUE
31 | bus_LV_766-1_2_2_node_170 | 0.4 | n |  | TRUE
32 | bus_LV_766-1_2_2_node_172 | 0.4 | n |  | TRUE
33 | bus_LV_766-1_2_2_node_174 | 0.4 | n |  | TRUE
34 | bus_LV_766-1_2_2_node_177 | 0.4 | n |  | TRUE
35 | bus_LV_766-1_2_2_node_178 | 0.4 | n |  | TRUE
36 | bus_LV_766-1_2_2_node_426 | 0.4 | n |  | TRUE
37 | bus_LV_766-1_2_2_node_194 | 0.4 | n |  | TRUE
38 | bus_LV_766-1_2_2_node_195 | 0.4 | n |  | TRUE
39 | bus_LV_766-1_2_2_node_197 | 0.4 | n |  | TRUE
40 | bus_LV_766-1_2_2_node_198 | 0.4 | n |  | TRUE
41 | bus_LV_766-1_2_2_node_210 | 0.4 | n |  | TRUE
42 | bus_LV_766-1_2_2_node_218 | 0.4 | n |  | TRUE
43 | bus_LV_766-1_2_2_node_219 | 0.4 | n |  | TRUE
44 | bus_LV_766-1_2_2_node_199 | 0.4 | n |  | TRUE
45 | bus_LV_766-1_2_2_node_200 | 0.4 | n |  | TRUE
46 | bus_LV_766-1_2_2_node_201 | 0.4 | n |  | TRUE
47 | bus_LV_766-1_2_2_node_202 | 0.4 | n |  | TRUE
48 | bus_LV_766-1_2_2_node_203 | 0.4 | n |  | TRUE
49 | bus_LV_766-1_2_2_node_205 | 0.4 | n |  | TRUE
50 | bus_LV_766-1_2_2_node_204 | 0.4 | n |  | TRUE
51 | bus_LV_766-1_2_2_node_221 | 0.4 | n |  | TRUE
52 | bus_LV_766-1_2_2_node_206 | 0.4 | n |  | TRUE
53 | bus_LV_766-1_2_2_node_207 | 0.4 | n |  | TRUE
54 | bus_LV_766-1_2_2_node_225 | 0.4 | n |  | TRUE
55 | bus_LV_766-1_2_2_node_208 | 0.4 | n |  | TRUE
56 | bus_LV_766-1_2_2_node_209 | 0.4 | n |  | TRUE
57 | bus_LV_766-1_2_2_node_211 | 0.4 | n |  | TRUE
58 | bus_LV_766-1_2_2_node_212 | 0.4 | n |  | TRUE
59 | bus_LV_766-1_2_2_node_217 | 0.4 | n |  | TRUE
60 | bus_LV_766-1_2_2_node_214 | 0.4 | n |  | TRUE
61 | bus_LV_766-1_2_2_node_215 | 0.4 | n |  | TRUE
62 | bus_LV_766-1_2_2_node_220 | 0.4 | n |  | TRUE
63 | bus_LV_766-1_2_2_node_257 | 0.4 | n |  | TRUE
64 | bus_LV_766-1_2_2_node_223 | 0.4 | n |  | TRUE
65 | bus_LV_766-1_2_2_node_224 | 0.4 | n |  | TRUE
66 | bus_LV_766-1_2_2_node_227 | 0.4 | n |  | TRUE
67 | bus_LV_766-1_2_2_node_226 | 0.4 | n |  | TRUE
68 | bus_LV_766-1_2_2_node_228 | 0.4 | n |  | TRUE
69 | bus_LV_766-1_2_2_node_229 | 0.4 | n |  | TRUE
70 | bus_LV_766-1_2_2_node_230 | 0.4 | n |  | TRUE
71 | bus_LV_766-1_2_2_node_231 | 0.4 | n |  | TRUE
72 | bus_LV_766-1_2_2_node_232 | 0.4 | n |  | TRUE
73 | bus_LV_766-1_2_2_node_253 | 0.4 | n |  | TRUE
74 | bus_LV_766-1_2_2_node_254 | 0.4 | n |  | TRUE
75 | bus_LV_766-1_2_2_node_261 | 0.4 | n |  | TRUE
76 | bus_LV_766-1_2_2_node_233 | 0.4 | n |  | TRUE
77 | bus_LV_766-1_2_2_node_234 | 0.4 | n |  | TRUE
78 | bus_LV_766-1_2_2_node_235 | 0.4 | n |  | TRUE
79 | bus_LV_766-1_2_2_node_236 | 0.4 | n |  | TRUE
80 | bus_LV_766-1_2_2_node_237 | 0.4 | n |  | TRUE
81 | bus_LV_766-1_2_2_node_260 | 0.4 | n |  | TRUE
82 | bus_LV_766-1_2_2_node_238 | 0.4 | n |  | TRUE
83 | bus_LV_766-1_2_2_node_239 | 0.4 | n |  | TRUE
84 | bus_LV_766-1_2_2_node_240 | 0.4 | n |  | TRUE
85 | bus_LV_766-1_2_2_node_241 | 0.4 | n |  | TRUE
86 | bus_LV_766-1_2_2_node_242 | 0.4 | n |  | TRUE
87 | bus_LV_766-1_2_2_node_243 | 0.4 | n |  | TRUE
88 | bus_LV_766-1_2_2_node_244 | 0.4 | n |  | TRUE
89 | bus_LV_766-1_2_2_node_255 | 0.4 | n |  | TRUE
90 | bus_LV_766-1_2_2_node_256 | 0.4 | n |  | TRUE
91 | bus_LV_766-1_2_2_node_264 | 0.4 | n |  | TRUE
92 | bus_LV_766-1_2_2_node_245 | 0.4 | n |  | TRUE
93 | bus_LV_766-1_2_2_node_246 | 0.4 | n |  | TRUE
94 | bus_LV_766-1_2_2_node_247 | 0.4 | n |  | TRUE
95 | bus_LV_766-1_2_2_node_248 | 0.4 | n |  | TRUE
96 | bus_LV_766-1_2_2_node_355 | 0.4 | n |  | TRUE
97 | bus_LV_766-1_2_2_node_249 | 0.4 | n |  | TRUE
98 | bus_LV_766-1_2_2_node_250 | 0.4 | n |  | TRUE
99 | bus_LV_766-1_2_2_node_251 | 0.4 | n |  | TRUE
100 | bus_LV_766-1_2_2_node_252 | 0.4 | n |  | TRUE
101 | bus_LV_766-1_2_2_node_338 | 0.4 | n |  | TRUE
102 | bus_LV_766-1_2_2_node_349 | 0.4 | n |  | TRUE
103 | bus_LV_766-1_2_2_node_258 | 0.4 | n |  | TRUE
104 | bus_LV_766-1_2_2_node_259 | 0.4 | n |  | TRUE
105 | bus_LV_766-1_2_2_node_262 | 0.4 | n |  | TRUE
106 | bus_LV_766-1_2_2_node_263 | 0.4 | n |  | TRUE
107 | bus_LV_766-1_2_2_node_265 | 0.4 | n |  | TRUE
108 | bus_LV_766-1_2_2_node_284 | 0.4 | n |  | TRUE
109 | bus_LV_766-1_2_2_node_327 | 0.4 | n |  | TRUE
110 | bus_LV_766-1_2_2_node_309 | 0.4 | n |  | TRUE
111 | bus_LV_766-1_2_2_node_310 | 0.4 | n |  | TRUE
112 | bus_LV_766-1_2_2_node_311 | 0.4 | n |  | TRUE
113 | bus_LV_766-1_2_2_node_313 | 0.4 | n |  | TRUE
114 | bus_LV_766-1_2_2_node_314 | 0.4 | n |  | TRUE
115 | bus_LV_766-1_2_2_node_316 | 0.4 | n |  | TRUE
116 | bus_LV_766-1_2_2_node_324 | 0.4 | n |  | TRUE
117 | bus_LV_766-1_2_2_node_318 | 0.4 | n |  | TRUE
118 | bus_LV_766-1_2_2_node_319 | 0.4 | n |  | TRUE
119 | bus_LV_766-1_2_2_node_320 | 0.4 | n |  | TRUE
120 | bus_LV_766-1_2_2_node_321 | 0.4 | n |  | TRUE
121 | bus_LV_766-1_2_2_node_326 | 0.4 | n |  | TRUE
122 | bus_LV_766-1_2_2_node_322 | 0.4 | n |  | TRUE
123 | bus_LV_766-1_2_2_node_323 | 0.4 | n |  | TRUE
124 | bus_LV_766-1_2_2_node_325 | 0.4 | n |  | TRUE
125 | bus_LV_766-1_2_2_node_341 | 0.4 | n |  | TRUE
126 | bus_LV_766-1_2_2_node_342 | 0.4 | n |  | TRUE
127 | bus_LV_766-1_2_2_node_343 | 0.4 | n |  | TRUE
128 | bus_LV_766-1_2_2_node_344 | 0.4 | n |  | TRUE
129 | bus_LV_766-1_2_2_node_345 | 0.4 | n |  | TRUE
130 | bus_LV_766-1_2_2_node_346 | 0.4 | n |  | TRUE
131 | bus_LV_766-1_2_2_node_347 | 0.4 | n |  | TRUE
132 | bus_LV_766-1_2_2_node_348 | 0.4 | n |  | TRUE
133 | bus_LV_766-1_2_2_node_352 | 0.4 | n |  | TRUE
134 | bus_LV_766-1_2_2_node_350 | 0.4 | n |  | TRUE
135 | bus_LV_766-1_2_2_node_354 | 0.4 | n |  | TRUE
136 | bus_LV_766-1_2_2_node_351 | 0.4 | n |  | TRUE
137 | bus_LV_766-1_2_2_node_353 | 0.4 | n |  | TRUE
138 | bus_MV_0_node_229 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_766-1_2_2_load_514 | 0 | 0.00013981 | 3.5039e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_766-1_2_2_load_146 | 2 | 0.0004849 | 0.00012153 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_766-1_2_2_load_147 | 3 | 0.00017806 | 4.4626e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_766-1_2_2_load_148 | 4 | 0.00052162 | 0.00013073 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_766-1_2_2_load_149 | 5 | 0.00018182 | 4.5567e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_766-1_2_2_load_153 | 8 | 0.0001573 | 3.9422e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_766-1_2_2_load_154 | 10 | 0.00012929 | 3.2402e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_766-1_2_2_load_179 | 11 | 0.00013726 | 3.4401e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_766-1_2_2_load_159 | 15 | 0.00021838 | 5.473e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_766-1_2_2_load_175 | 17 | 0.00011795 | 2.9562e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_766-1_2_2_load_161 | 18 | 8.3067e-05 | 2.0818e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_766-1_2_2_load_168 | 20 | 0.00010139 | 2.541e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_766-1_2_2_load_162 | 21 | 0.00015998 | 4.0094e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_766-1_2_2_load_164 | 23 | 0.00029849 | 7.4808e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_766-1_2_2_load_167 | 26 | 0.00013371 | 3.351e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_766-1_2_2_load_196 | 27 | 9.1489e-05 | 2.2929e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_766-1_2_2_load_193 | 28 | 0.00075196 | 0.00018846 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_766-1_2_2_load_222 | 29 | 0.00021443 | 5.3741e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_766-1_2_2_load_169 | 30 | 0.00015561 | 3.9001e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_766-1_2_2_load_170 | 31 | 0.00015162 | 3.8e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_766-1_2_2_load_172 | 32 | 0.00010325 | 2.5876e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_766-1_2_2_load_174 | 33 | 0.00013016 | 3.2622e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_766-1_2_2_load_177 | 34 | 0.0001912 | 4.792e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_766-1_2_2_load_178 | 35 | 0.00016398 | 4.1098e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_766-1_2_2_load_426 | 36 | 0.00032501 | 8.1454e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_766-1_2_2_load_194 | 37 | 0.00019812 | 4.9654e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_766-1_2_2_load_195 | 38 | 0.00020381 | 5.108e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_766-1_2_2_load_197 | 39 | 0.00014238 | 3.5685e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_766-1_2_2_load_210 | 41 | 6.5982e-05 | 1.6537e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_766-1_2_2_load_219 | 43 | 0.00033507 | 8.3976e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_766-1_2_2_load_199 | 44 | 0.00014048 | 3.5208e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_766-1_2_2_load_200 | 45 | 0.00018448 | 4.6236e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_766-1_2_2_load_201 | 46 | 0.00018892 | 4.7349e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_766-1_2_2_load_202 | 47 | 0.00012885 | 3.2294e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_766-1_2_2_load_203 | 48 | 0.00016225 | 4.0664e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_766-1_2_2_load_205 | 49 | 0.00010296 | 2.5803e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_766-1_2_2_load_204 | 50 | 0.00018809 | 4.714e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_766-1_2_2_load_206 | 52 | 0.00013842 | 3.4692e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_766-1_2_2_load_225 | 54 | 6.1831e-05 | 1.5496e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_766-1_2_2_load_208 | 55 | 0.00010992 | 2.7549e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_766-1_2_2_load_209 | 56 | 0.00013279 | 3.3279e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_766-1_2_2_load_211 | 57 | 0.0001169 | 2.9298e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_766-1_2_2_load_212 | 58 | 6.8457e-05 | 1.7157e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_766-1_2_2_load_217 | 59 | 0.00011658 | 2.9218e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_766-1_2_2_load_214 | 60 | 0.00014 | 3.5087e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_766-1_2_2_load_215 | 61 | 8.9675e-05 | 2.2475e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_766-1_2_2_load_220 | 62 | 0.00033447 | 8.3825e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_766-1_2_2_load_257 | 63 | 0.00017378 | 4.3553e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_766-1_2_2_load_223 | 64 | 0.0004699 | 0.00011777 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_766-1_2_2_load_224 | 65 | 0.00088183 | 0.00022101 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_766-1_2_2_load_227 | 66 | 0.00024919 | 6.2453e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_766-1_2_2_load_226 | 67 | 0.00016074 | 4.0285e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_766-1_2_2_load_228 | 68 | 0.0001302 | 3.2631e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_766-1_2_2_load_230 | 70 | 0.00017532 | 4.394e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_766-1_2_2_load_232 | 72 | 0.00017454 | 4.3743e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_766-1_2_2_load_253 | 73 | 0.00044506 | 0.00011154 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_766-1_2_2_load_233 | 76 | 0.0014664 | 0.00036752 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_766-1_2_2_load_235 | 78 | 0.0012824 | 0.0003214 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_766-1_2_2_load_236 | 79 | 0.00079975 | 0.00020044 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_766-1_2_2_load_237 | 80 | 0.00064628 | 0.00016197 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_766-1_2_2_load_260 | 81 | 0.0011935 | 0.00029912 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_766-1_2_2_load_238 | 82 | 0.00020483 | 5.1335e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_766-1_2_2_load_240 | 84 | 0.00032745 | 8.2068e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_766-1_2_2_load_241 | 85 | 0.00011711 | 2.9351e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_766-1_2_2_load_242 | 86 | 0.00015332 | 3.8425e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_766-1_2_2_load_244 | 88 | 0.00044386 | 0.00011124 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_766-1_2_2_load_256 | 90 | 0.00016672 | 4.1784e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_766-1_2_2_load_264 | 91 | 0.00041766 | 0.00010467 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_766-1_2_2_load_245 | 92 | 0.00011382 | 2.8525e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_766-1_2_2_load_246 | 93 | 9.3689e-05 | 2.3481e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_766-1_2_2_load_247 | 94 | 0.00010475 | 2.6253e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_766-1_2_2_load_355 | 96 | 0.00029645 | 7.4296e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_766-1_2_2_load_249 | 97 | 7.5205e-05 | 1.8848e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_766-1_2_2_load_250 | 98 | 0.00034638 | 8.681e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_766-1_2_2_load_252 | 100 | 0.00016076 | 4.0291e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_766-1_2_2_load_338 | 101 | 0.00040792 | 0.00010223 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_766-1_2_2_load_349 | 102 | 0.00043462 | 0.00010893 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_766-1_2_2_load_258 | 103 | 0.00030929 | 7.7515e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_766-1_2_2_load_259 | 104 | 0.00028447 | 7.1294e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_766-1_2_2_load_262 | 105 | 0.00011734 | 2.9407e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_766-1_2_2_load_263 | 106 | 0.00024421 | 6.1204e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_766-1_2_2_load_265 | 107 | 0.00012621 | 3.1631e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_766-1_2_2_load_284 | 108 | 0.00039906 | 0.00010001 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_766-1_2_2_load_327 | 109 | 0.00060081 | 0.00015058 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_766-1_2_2_load_309 | 110 | 0.00016941 | 4.2459e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_766-1_2_2_load_310 | 111 | 7.5008e-05 | 1.8799e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_766-1_2_2_load_313 | 113 | 0.00033092 | 8.2936e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_766-1_2_2_load_314 | 114 | 3.8988e-05 | 9.7714e-06 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_766-1_2_2_load_318 | 117 | 0.00031003 | 7.7702e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_766-1_2_2_load_319 | 118 | 0.00013479 | 3.3782e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_766-1_2_2_load_320 | 119 | 0.00020777 | 5.2072e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_766-1_2_2_load_326 | 121 | 0.000117 | 2.9323e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_766-1_2_2_load_322 | 122 | 0.00028329 | 7.0999e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_766-1_2_2_load_323 | 123 | 0.00017093 | 4.2839e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_766-1_2_2_load_325 | 124 | 9.6357e-05 | 2.4149e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_766-1_2_2_load_341 | 125 | 0.0011593 | 0.00029054 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_766-1_2_2_load_342 | 126 | 0.00042687 | 0.00010698 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_766-1_2_2_load_343 | 127 | 0.00029912 | 7.4968e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_766-1_2_2_load_344 | 128 | 0.00044027 | 0.00011034 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_766-1_2_2_load_345 | 129 | 0.00050255 | 0.00012595 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_766-1_2_2_load_347 | 131 | 0.0011873 | 0.00029756 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_766-1_2_2_load_352 | 133 | 0.00064622 | 0.00016196 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_766-1_2_2_load_350 | 134 | 0.00016363 | 4.1009e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_766-1_2_2_load_354 | 135 | 0.00013536 | 3.3925e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_766-1_2_2_load_351 | 136 | 0.0050969 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_766-1_2_2_load_353 | 137 | 0.00027875 | 6.986e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_766-1_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.042407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_766-1_2_2_line_1 | NAYY 4x150 SE | 1 | 19 | 0.071645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_766-1_2_2_line_2 | NAYY 4x150 SE | 1 | 22 | 0.12618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_766-1_2_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.014778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_766-1_2_2_line_4 | NAYY 4x150 SE | 2 | 4 | 0.0013788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_766-1_2_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.00032917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_766-1_2_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.041327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_766-1_2_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.082732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_766-1_2_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.026463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_766-1_2_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.098455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_766-1_2_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.1084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_766-1_2_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.029144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_766-1_2_2_line_12 | NAYY 4x150 SE | 9 | 15 | 0.061497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_766-1_2_2_line_13 | NAYY 4x150 SE | 9 | 16 | 0.10422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_766-1_2_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.12074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_766-1_2_2_line_15 | NAYY 4x150 SE | 11 | 35 | 0.1331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_766-1_2_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.11671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_766-1_2_2_line_17 | NAYY 4x150 SE | 12 | 14 | 0.045144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_766-1_2_2_line_18 | NAYY 4x150 SE | 13 | 17 | 0.13122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_766-1_2_2_line_19 | NAYY 4x150 SE | 14 | 18 | 0.029549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_766-1_2_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.10389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_766-1_2_2_line_21 | NAYY 4x150 SE | 16 | 20 | 0.12952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_766-1_2_2_line_22 | NAYY 4x150 SE | 17 | 33 | 0.11997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_766-1_2_2_line_23 | NAYY 4x150 SE | 19 | 32 | 0.021284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_766-1_2_2_line_24 | NAYY 4x150 SE | 20 | 30 | 0.0068608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_766-1_2_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.024465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_766-1_2_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.012585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_766-1_2_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.098606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_766-1_2_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.19127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_766-1_2_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.062916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_766-1_2_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.21646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_766-1_2_2_line_31 | NAYY 4x150 SE | 25 | 28 | 0.14626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_766-1_2_2_line_32 | NAYY 4x150 SE | 26 | 29 | 0.044023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_766-1_2_2_line_33 | NAYY 4x150 SE | 27 | 40 | 0.19138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_766-1_2_2_line_34 | NAYY 4x150 SE | 28 | 37 | 0.0024245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_766-1_2_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.012732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_766-1_2_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.21707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_766-1_2_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.41859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_766-1_2_2_line_38 | NAYY 4x150 SE | 36 | 59 | 0.29469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_766-1_2_2_line_39 | NAYY 4x150 SE | 36 | 61 | 0.12465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_766-1_2_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.052989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_766-1_2_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.021986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_766-1_2_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.14249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_766-1_2_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.14242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_766-1_2_2_line_44 | NAYY 4x150 SE | 40 | 43 | 0.03134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_766-1_2_2_line_45 | NAYY 4x150 SE | 41 | 55 | 0.12079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_766-1_2_2_line_46 | NAYY 4x150 SE | 42 | 62 | 0.074303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_766-1_2_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.029627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_766-1_2_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.0838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_766-1_2_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.048444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_766-1_2_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.056022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_766-1_2_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.19128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_766-1_2_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.028218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_766-1_2_2_line_53 | NAYY 4x150 SE | 49 | 52 | 0.0032392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_766-1_2_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.042547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_766-1_2_2_line_55 | NAYY 4x150 SE | 51 | 64 | 0.037862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_766-1_2_2_line_56 | NAYY 4x150 SE | 51 | 65 | 0.024238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_766-1_2_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0079819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_766-1_2_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.12062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_766-1_2_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.07376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_766-1_2_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.030528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_766-1_2_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.16011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_766-1_2_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.089914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_766-1_2_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.037318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_766-1_2_2_line_64 | NAYY 4x150 SE | 63 | 85 | 0.11599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_766-1_2_2_line_65 | NAYY 4x150 SE | 64 | 66 | 0.14274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_766-1_2_2_line_66 | NAYY 4x150 SE | 66 | 69 | 0.10712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_766-1_2_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.099504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_766-1_2_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_766-1_2_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.00013933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_766-1_2_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.053362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_766-1_2_2_line_71 | NAYY 4x150 SE | 70 | 72 | 0.010234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_766-1_2_2_line_72 | NAYY 4x150 SE | 71 | 73 | 0.08204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_766-1_2_2_line_73 | NAYY 4x150 SE | 71 | 74 | 0.063219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_766-1_2_2_line_74 | NAYY 4x150 SE | 72 | 75 | 0.13209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_766-1_2_2_line_75 | NAYY 4x150 SE | 74 | 103 | 0.033976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_766-1_2_2_line_76 | NAYY 4x150 SE | 74 | 90 | 0.062137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_766-1_2_2_line_77 | NAYY 4x150 SE | 75 | 105 | 0.067629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_766-1_2_2_line_78 | NAYY 4x150 SE | 75 | 81 | 0.030524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_766-1_2_2_line_79 | NAYY 4x150 SE | 76 | 77 | 0.027704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_766-1_2_2_line_80 | NAYY 4x150 SE | 76 | 78 | 0.10169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_766-1_2_2_line_81 | NAYY 4x150 SE | 77 | 79 | 0.01093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_766-1_2_2_line_82 | NAYY 4x150 SE | 79 | 80 | 0.013613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_766-1_2_2_line_83 | NAYY 4x150 SE | 80 | 81 | 0.010444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_766-1_2_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.01319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_766-1_2_2_line_85 | NAYY 4x150 SE | 82 | 84 | 0.0056116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_766-1_2_2_line_86 | NAYY 4x150 SE | 83 | 85 | 0.022152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_766-1_2_2_line_87 | NAYY 4x150 SE | 83 | 86 | 0.12135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_766-1_2_2_line_88 | NAYY 4x150 SE | 85 | 87 | 0.14241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_766-1_2_2_line_89 | NAYY 4x150 SE | 86 | 88 | 0.0038363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_766-1_2_2_line_90 | NAYY 4x150 SE | 87 | 89 | 0.12853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_766-1_2_2_line_91 | NAYY 4x150 SE | 87 | 90 | 0.0504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_766-1_2_2_line_92 | NAYY 4x150 SE | 88 | 91 | 0.11561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_766-1_2_2_line_93 | NAYY 4x150 SE | 89 | 98 | 0.030639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_766-1_2_2_line_94 | NAYY 4x150 SE | 91 | 107 | 0.052677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_766-1_2_2_line_95 | NAYY 4x150 SE | 92 | 93 | 0.029956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_766-1_2_2_line_96 | NAYY 4x150 SE | 92 | 94 | 0.067063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_766-1_2_2_line_97 | NAYY 4x150 SE | 93 | 95 | 0.033956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_766-1_2_2_line_98 | NAYY 4x150 SE | 93 | 96 | 0.1491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_766-1_2_2_line_99 | NAYY 4x150 SE | 94 | 97 | 0.12794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_766-1_2_2_line_100 | NAYY 4x150 SE | 95 | 98 | 0.17535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_766-1_2_2_line_101 | NAYY 4x150 SE | 95 | 99 | 0.057529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_766-1_2_2_line_102 | NAYY 4x150 SE | 97 | 100 | 0.017909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_766-1_2_2_line_103 | NAYY 4x150 SE | 99 | 101 | 0.064647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_766-1_2_2_line_104 | NAYY 4x150 SE | 100 | 102 | 0.011827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_766-1_2_2_line_105 | NAYY 4x150 SE | 102 | 134 | 0.029071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_766-1_2_2_line_106 | NAYY 4x150 SE | 103 | 104 | 0.00017455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_766-1_2_2_line_107 | NAYY 4x150 SE | 105 | 106 | 0.030246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_766-1_2_2_line_108 | NAYY 4x150 SE | 107 | 108 | 0.081675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_766-1_2_2_line_109 | NAYY 4x150 SE | 108 | 109 | 0.13208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_766-1_2_2_line_110 | NAYY 4x150 SE | 109 | 115 | 0.054407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_766-1_2_2_line_111 | NAYY 4x150 SE | 110 | 111 | 0.081558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_766-1_2_2_line_112 | NAYY 4x150 SE | 110 | 112 | 0.11934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_766-1_2_2_line_113 | NAYY 4x150 SE | 112 | 113 | 0.043894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_766-1_2_2_line_114 | NAYY 4x150 SE | 112 | 114 | 0.016874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_766-1_2_2_line_115 | NAYY 4x150 SE | 113 | 115 | 0.15046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_766-1_2_2_line_116 | NAYY 4x150 SE | 115 | 116 | 0.012179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_766-1_2_2_line_117 | NAYY 4x150 SE | 116 | 122 | 0.0022532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_766-1_2_2_line_118 | NAYY 4x150 SE | 117 | 118 | 0.1091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_766-1_2_2_line_119 | NAYY 4x150 SE | 118 | 119 | 0.057019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_766-1_2_2_line_120 | NAYY 4x150 SE | 119 | 120 | 0.04598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_766-1_2_2_line_121 | NAYY 4x150 SE | 120 | 121 | 0.054435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_766-1_2_2_line_122 | NAYY 4x150 SE | 121 | 124 | 0.073206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_766-1_2_2_line_123 | NAYY 4x150 SE | 122 | 123 | 0.10228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_766-1_2_2_line_124 | NAYY 4x150 SE | 123 | 124 | 0.011107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_766-1_2_2_line_125 | NAYY 4x150 SE | 125 | 126 | 0.0028862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_766-1_2_2_line_126 | NAYY 4x150 SE | 125 | 127 | 0.11258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_766-1_2_2_line_127 | NAYY 4x150 SE | 126 | 128 | 0.022787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_766-1_2_2_line_128 | NAYY 4x150 SE | 127 | 129 | 0.015861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_766-1_2_2_line_129 | NAYY 4x150 SE | 128 | 130 | 0.085912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_766-1_2_2_line_130 | NAYY 4x150 SE | 129 | 131 | 0.014237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_766-1_2_2_line_131 | NAYY 4x150 SE | 130 | 132 | 0.092984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_766-1_2_2_line_132 | NAYY 4x150 SE | 132 | 133 | 0.21325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_766-1_2_2_line_133 | NAYY 4x150 SE | 133 | 136 | 0.046323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_766-1_2_2_line_134 | NAYY 4x150 SE | 134 | 135 | 0.00088325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_766-1_2_2_line_135 | NAYY 4x150 SE | 135 | 137 | 0.015996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_766-1_2_2_line_136 | NAYY 4x150 SE | 136 | 137 | 0.090878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_766-1_2_2_trafo_229 | 0.25 MVA 20/0.4 kV | 138 | 69 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2600335.9914 | 1165634.7253 | 2600334.4911 | 1165626.3878 | 2600331.207 | 1165614.1038 | 2600331.0006 | 1165606.9335 | 2600332.9456 | 1165600.8973 | 2600337.9839 | 1165595.0613
1 | 2600335.9914 | 1165634.7253 | 2600382.2049 | 1165649.5905 | 2600403.8797 | 1165658.0959
2 | 2600241.7307 | 1165718.608 | 2600335.9914 | 1165634.7253
3 | 2600769.9046 | 1165489.5347 | 2600763.098 | 1165499.292 | 2600760.9308 | 1165501.1901
4 | 2600770.6935 | 1165488.4039 | 2600769.9046 | 1165489.5347
5 | 2600760.9308 | 1165501.1901 | 2600760.6832 | 1165501.407
6 | 2600720.9553 | 1165506.313 | 2600746.1454 | 1165506.7604 | 2600752.623 | 1165506.2498 | 2600756.3212 | 1165505.2275 | 2600760.6832 | 1165501.407
7 | 2600639.0693 | 1165492.9647 | 2600720.9553 | 1165506.313
8 | 2600720.9553 | 1165506.313 | 2600736.9425 | 1165527.4008
9 | 2600639.0693 | 1165492.9647 | 2600617.8969 | 1165513.4063 | 2600569.6257 | 1165562.9267
10 | 2600639.0693 | 1165492.9647 | 2600643.6497 | 1165474.2003 | 2600645.453 | 1165432.8021 | 2600644.6118 | 1165421.6521 | 2600640.1258 | 1165413.3253 | 2600632.6305 | 1165405.7986 | 2600618.8798 | 1165397.8712 | 2600618.4323 | 1165397.6135
11 | 2600756.7249 | 1165548.4883 | 2600747.4814 | 1165541.2555 | 2600739.0681 | 1165530.2046 | 2600736.9425 | 1165527.4008
12 | 2600569.6257 | 1165562.9267 | 2600560.4001 | 1165556.8007 | 2600548.9924 | 1165549.3183 | 2600530.4184 | 1165540.2123 | 2600515.0138 | 1165535.0975
13 | 2600569.6257 | 1165562.9267 | 2600497.1667 | 1165638.014
14 | 2600544.1268 | 1165305.141 | 2600555.4652 | 1165321.3722 | 2600568.6636 | 1165346.1745 | 2600586.9763 | 1165373.4229 | 2600601.699 | 1165387.9759 | 2600618.4323 | 1165397.6135
15 | 2600756.7249 | 1165548.4883 | 2600770.3724 | 1165559.167 | 2600800.2618 | 1165573.3999 | 2600807.0372 | 1165578.1142 | 2600812.5798 | 1165584.2512 | 2600819.654 | 1165587.4314 | 2600835.1734 | 1165589.9902 | 2600855.7076 | 1165593.2612 | 2600875.865 | 1165601.7275
16 | 2600544.1268 | 1165305.141 | 2600534.9847 | 1165302.8503 | 2600532.504 | 1165300.7824 | 2600517.9094 | 1165309.6857 | 2600510.5203 | 1165312.1419 | 2600505.3826 | 1165312.3528 | 2600497.1669 | 1165310.5068 | 2600439.872 | 1165290.6488 | 2600434.941 | 1165290.0259
17 | 2600544.1268 | 1165305.141 | 2600541.9377 | 1165295.3582 | 2600542.0911 | 1165291.7898 | 2600542.3285 | 1165291.4341 | 2600558.479 | 1165264.8333
18 | 2600434.941 | 1165290.0259 | 2600427.9578 | 1165292.2822 | 2600361.8239 | 1165324.8281 | 2600323.83 | 1165342.2239 | 2600317.6739 | 1165343.2464 | 2600315.5417 | 1165342.989
19 | 2600558.479 | 1165264.8333 | 2600574.2313 | 1165239.8332
20 | 2600403.8797 | 1165658.0959 | 2600422.9131 | 1165665.2005 | 2600443.7154 | 1165667.5029 | 2600462.9255 | 1165663.8356 | 2600480.2525 | 1165654.6211 | 2600497.1667 | 1165638.014
21 | 2600497.1667 | 1165638.014 | 2600506.5834 | 1165647.6861 | 2600554.6376 | 1165711.5549 | 2600562.844 | 1165725.2735 | 2600567.7737 | 1165737.5578 | 2600570.3856 | 1165743.9127
22 | 2600201.9053 | 1165332.3571 | 2600211.3057 | 1165338.1405 | 2600242.9126 | 1165352.6707 | 2600249.8956 | 1165351.8483 | 2600294.4662 | 1165340.7887 | 2600302.4752 | 1165341.4116 | 2600315.5417 | 1165342.989
23 | 2600415.1948 | 1165676.1388 | 2600403.8797 | 1165658.0959
24 | 2600570.3856 | 1165743.9127 | 2600572.9937 | 1165750.2584
25 | 2600241.7307 | 1165718.608 | 2600240.3909 | 1165719.2972 | 2600229.5494 | 1165724.4328 | 2600219.4848 | 1165728.776
26 | 2600207.3689 | 1165731.3913 | 2600214.3514 | 1165730.9913 | 2600219.4848 | 1165728.776
27 | 2600283.9531 | 1165782.1187 | 2600287.1305 | 1165780.5292 | 2600292.6279 | 1165774.2818 | 2600295.8286 | 1165763.8768 | 2600293.5322 | 1165751.4816 | 2600285.1948 | 1165744.4667 | 2600275.793 | 1165740.8646 | 2600264.5996 | 1165737.8628 | 2600254.6925 | 1165733.3713 | 2600245.597 | 1165725.5672 | 2600241.7307 | 1165718.608
28 | 2600283.9531 | 1165782.1187 | 2600281.1279 | 1165783.5304 | 2600273.8774 | 1165785.2755 | 2600265.8765 | 1165790.0332 | 2600261.6271 | 1165796.0249 | 2600258.6256 | 1165803.0283 | 2600251.1294 | 1165830.0304 | 2600246.1372 | 1165840.9023 | 2600237.1409 | 1165851.9742 | 2600217.426 | 1165867.1146 | 2600194.4264 | 1165894.1386 | 2600191.5474 | 1165910.5133 | 2600195.6965 | 1165935.4703
29 | 2600283.9531 | 1165782.1187 | 2600289.427 | 1165790.3675 | 2600289.5264 | 1165795.3588 | 2600282.816 | 1165842.9118
30 | 2600195.6965 | 1165935.4703 | 2600198.0772 | 1165949.7997 | 2600193.1924 | 1165960.4604 | 2600170.1931 | 1166002.6365 | 2600154.1761 | 1166056.2629 | 2600151.2586 | 1166098.8174 | 2600154.5807 | 1166142.239
31 | 2600195.6965 | 1165935.4703 | 2600199.5704 | 1165935.4815 | 2600202.0357 | 1165936.0929 | 2600204.7076 | 1165937.7271 | 2600207.1651 | 1165941.8181 | 2600207.165 | 1165945.5088 | 2600206.9659 | 1165949.5998 | 2600205.5264 | 1165955.1247 | 2600204.9061 | 1165961.061 | 2600204.906 | 1165968.2312 | 2600205.3192 | 1165975.6015 | 2600219.8951 | 1166022.2695 | 2600224.006 | 1166034.3423 | 2600233.0397 | 1166046.6264 | 2600241.0474 | 1166058.9105 | 2600244.0199 | 1166064.5476
32 | 2600261.9919 | 1165881.0227 | 2600271.2332 | 1165868.7502 | 2600280.3216 | 1165853.6653 | 2600282.5269 | 1165844.961 | 2600282.816 | 1165842.9118
33 | 2600257.661 | 1166297.3963 | 2600251.047 | 1166282.6332 | 2600237.4972 | 1166260.1216 | 2600205.9185 | 1166224.114 | 2600177.5776 | 1166202.0024 | 2600166.4923 | 1166187.6729 | 2600154.5807 | 1166142.239
34 | 2600244.0199 | 1166064.5476 | 2600245.1507 | 1166066.6923
35 | 2600572.9937 | 1165750.2584 | 2600577.8337 | 1165762.0344
36 | 2600875.865 | 1165601.7275 | 2601071.3266 | 1165696.1434
37 | 2601222.596 | 1166086.4432 | 2601071.3266 | 1165696.1434
38 | 2601033.2328 | 1166312.2339 | 2601222.596 | 1166086.4432
39 | 2601222.596 | 1166086.4432 | 2601239.6378 | 1166087.069 | 2601273.5214 | 1166092.8007 | 2601309.0432 | 1166099.1556 | 2601320.5416 | 1166102.6374 | 2601331.0135 | 1166108.5759 | 2601339.4328 | 1166118.6049 | 2601339.4328 | 1166118.6049
40 | 2600245.1507 | 1166066.6923 | 2600245.1507 | 1166066.6923 | 2600249.2616 | 1166076.9197 | 2600256.8558 | 1166091.0492 | 2600274.5172 | 1166109.47 | 2600274.8359 | 1166109.7216
41 | 2600274.8359 | 1166109.7216 | 2600286.6131 | 1166119.0196 | 2600291.3232 | 1166124.1725
42 | 2600291.3232 | 1166124.1725 | 2600293.4112 | 1166126.4569 | 2600298.3336 | 1166133.8274 | 2600304.0827 | 1166144.6775 | 2600313.9428 | 1166156.7617 | 2600334.2681 | 1166174.7715 | 2600367.1025 | 1166195.9947 | 2600399.1316 | 1166213.2871
43 | 2600257.661 | 1166297.3963 | 2600287.188 | 1166313.7498 | 2600320.8642 | 1166328.0805 | 2600329.0782 | 1166337.4966 | 2600327.4776 | 1166350.2029 | 2600316.3845 | 1166358.7956 | 2600286.4053 | 1166363.708 | 2600283.8101 | 1166363.1965
44 | 2600257.661 | 1166297.3963 | 2600251.0925 | 1166297.3738 | 2600246.101 | 1166296.9401 | 2600233.99 | 1166293.6604 | 2600227.5725 | 1166290.366
45 | 2600513.0315 | 1166252.4322 | 2600496.8784 | 1166249.2178 | 2600455.0106 | 1166235.5749 | 2600411.4584 | 1166219.9422 | 2600399.1316 | 1166213.2871
46 | 2600283.8101 | 1166363.1965 | 2600283.7487 | 1166366.9873 | 2600289.7274 | 1166373.8354 | 2600297.7349 | 1166379.7608 | 2600314.9593 | 1166388.2769 | 2600333.8527 | 1166395.8481 | 2600345.0749 | 1166399.781
47 | 2600066.2248 | 1166020.7349 | 2600067.7257 | 1166013.2743 | 2600070.39 | 1166005.4927 | 2600077.1039 | 1165993.4453
48 | 2600066.2248 | 1166020.7349 | 2600066.0797 | 1166021.4562 | 2600065.2605 | 1166030.2606 | 2600064.4414 | 1166045.8239 | 2600061.5015 | 1166066.4563 | 2600052.6065 | 1166103.1904
49 | 2600083.2754 | 1165947.6625 | 2600084.5613 | 1165961.0706 | 2600086.7585 | 1165974.3328 | 2600082.4099 | 1165985.316 | 2600078.6048 | 1165990.752 | 2600077.1039 | 1165993.4453
50 | 2600060.2241 | 1166157.7586 | 2600056.8393 | 1166149.8089 | 2600052.3223 | 1166132.6115 | 2600050.883 | 1166118.0709 | 2600052.3222 | 1166104.3641 | 2600052.6065 | 1166103.1904
51 | 2600083.2754 | 1165947.6625 | 2599926.9974 | 1165837.3603
52 | 2600060.2241 | 1166157.7586 | 2600070.3288 | 1166181.4913 | 2600071.5804 | 1166183.5674
53 | 2599926.9974 | 1165837.3603 | 2599924.995 | 1165834.8142
54 | 2600094.0231 | 1166219.6992 | 2600088.2967 | 1166211.295 | 2600071.5804 | 1166183.5674
55 | 2600094.0231 | 1166219.6992 | 2600085.1961 | 1166219.5881 | 2600075.1289 | 1166221.2333 | 2600065.4828 | 1166223.6901 | 2600056.6481 | 1166222.0448
56 | 2600094.0231 | 1166219.6992 | 2600089.5062 | 1166233.306 | 2600084.576 | 1166241.8991
57 | 2599920.0608 | 1165828.54 | 2599924.995 | 1165834.8142
58 | 2599920.0608 | 1165828.54 | 2599915.5433 | 1165817.1122 | 2599910.2832 | 1165803.9169 | 2599897.4963 | 1165768.8554 | 2599888.4535 | 1165745.3217 | 2599879.6253 | 1165729.1473 | 2599871.6322 | 1165718.6791
59 | 2600513.0315 | 1166252.4322 | 2600522.9761 | 1166254.4112 | 2600556.6299 | 1166259.6609 | 2600585.3814 | 1166266.5263
60 | 2600896.3846 | 1166230.4956 | 2600869.575 | 1166215.8947
61 | 2600896.3846 | 1166230.4956 | 2600913.921 | 1166240.0461 | 2600999.5657 | 1166284.3474 | 2601021.741 | 1166302.9824 | 2601033.2328 | 1166312.2339
62 | 2601386.9998 | 1166194.1253 | 2601384.1809 | 1166189.4386 | 2601373.09 | 1166178.9977 | 2601366.4087 | 1166168.8801 | 2601347.7365 | 1166132.2357 | 2601339.4328 | 1166118.6049
63 | 2600380.2593 | 1166411.6137 | 2600371.6317 | 1166410.3793 | 2600360.9525 | 1166406.2878 | 2600349.0485 | 1166401.1736 | 2600345.0749 | 1166399.781
64 | 2600374.6777 | 1166527.4679 | 2600380.2593 | 1166411.6137
65 | 2599974.7112 | 1166338.926 | 2600056.6481 | 1166222.0448
66 | 2600066.8686 | 1166393.3078 | 2600031.7911 | 1166373.3202 | 2599989.2416 | 1166349.5977 | 2599974.7112 | 1166338.926
67 | 2599915.0673 | 1166259.6191 | 2599919.0613 | 1166264.0121 | 2599929.7412 | 1166278.7525 | 2599939.3953 | 1166295.5384 | 2599951.0934 | 1166311.7017 | 2599963.4191 | 1166326.4422 | 2599974.7112 | 1166338.926 | 2599974.7112 | 1166338.926
68 | 2599915.0673 | 1166259.6191 | 2599906.5006 | 1166250.1963
69 | 2599906.4069 | 1166250.0932 | 2599906.5006 | 1166250.1963
70 | 2600066.8686 | 1166393.3078 | 2600065.4676 | 1166398.4993 | 2600073.6819 | 1166414.0625 | 2600089.475 | 1166440.0533
71 | 2599899.5222 | 1166242.5206 | 2599906.4069 | 1166250.0932
72 | 2600089.475 | 1166440.0533 | 2600083.9631 | 1166437.3742 | 2600077.3948 | 1166433.6945 | 2600068.3384 | 1166431.8603 | 2600060.3309 | 1166432.883 | 2600047.6229 | 1166437.5743 | 2600037.1274 | 1166444.1443 | 2600036.1016 | 1166447.4126 | 2600036.7217 | 1166450.692 | 2600038.5896 | 1166455.3832 | 2600044.5226 | 1166467.4781
73 | 2600136.096 | 1166482.4302 | 2600107.7254 | 1166460.2968 | 2600091.3353 | 1166443.1215 | 2600089.475 | 1166440.0533
74 | 2599811.2572 | 1166144.2785 | 2599825.4211 | 1166161.2641 | 2599849.0401 | 1166187.8764 | 2599889.2875 | 1166231.2633 | 2599899.5222 | 1166242.5206
75 | 2600136.096 | 1166482.4302 | 2600139.3955 | 1166478.3282 | 2600148.8422 | 1166475.6715 | 2600156.4441 | 1166465.6332 | 2600161.6363 | 1166462.0528
76 | 2600136.096 | 1166482.4302 | 2600191.5354 | 1166510.2671 | 2600191.624 | 1166510.3153
77 | 2599811.2572 | 1166144.2785 | 2599811.6618 | 1166117.2539 | 2599810.8417 | 1166096.1657 | 2599812.0738 | 1166085.7271 | 2599818.2289 | 1166079.1791
78 | 2599811.2572 | 1166144.2785 | 2599797.9136 | 1166154.7065 | 2599788.6781 | 1166164.6752
79 | 2599759.3147 | 1166182.5555 | 2599750.4881 | 1166189.9263 | 2599746.377 | 1166191.1494 | 2599741.2476 | 1166190.7384 | 2599734.9534 | 1166188.2461
80 | 2599734.9534 | 1166188.2461 | 2599681.6993 | 1166274.8727
81 | 2599759.3147 | 1166182.5555 | 2599767.1158 | 1166180.7098 | 2599769.5242 | 1166179.0707
82 | 2599769.5242 | 1166179.0707 | 2599780.0536 | 1166171.9048 | 2599780.7751 | 1166171.4071
83 | 2599788.6781 | 1166164.6752 | 2599785.3895 | 1166168.2249 | 2599780.7751 | 1166171.4071
84 | 2600396.4747 | 1166531.3519 | 2600397.6913 | 1166541.1679 | 2600398.224 | 1166544.4233
85 | 2600399.1301 | 1166549.9613 | 2600398.224 | 1166544.4233
86 | 2600396.4747 | 1166531.3519 | 2600380.8657 | 1166528.8943 | 2600374.6777 | 1166527.4679
87 | 2600396.4747 | 1166531.3519 | 2600405.1175 | 1166532.0527 | 2600416.1411 | 1166531.8532 | 2600468.7402 | 1166537.0702 | 2600481.2642 | 1166537.4823 | 2600492.3492 | 1166535.0263 | 2600501.5896 | 1166528.8906 | 2600508.3726 | 1166523.5662 | 2600513.5017 | 1166522.7551
88 | 2600235.8897 | 1166534.4135 | 2600239.6026 | 1166531.5456 | 2600244.1192 | 1166531.5457 | 2600251.5065 | 1166532.1573 | 2600283.3372 | 1166530.5242 | 2600294.2154 | 1166529.9132 | 2600303.8918 | 1166528.5684 | 2600322.7777 | 1166521.6102 | 2600330.1498 | 1166519.8874 | 2600337.3381 | 1166519.0651 | 2600346.1647 | 1166520.2883 | 2600364.851 | 1166525.2028 | 2600374.6777 | 1166527.4679
89 | 2600517.1991 | 1166523.7781 | 2600513.5017 | 1166522.7551
90 | 2600235.8897 | 1166534.4135 | 2600250.2201 | 1166544.2188 | 2600271.5779 | 1166555.2694 | 2600303.1937 | 1166566.7318 | 2600322.9515 | 1166574.9478 | 2600330.7517 | 1166585.5868 | 2600333.5834 | 1166601.9395 | 2600332.4197 | 1166604.1961
91 | 2600235.8897 | 1166534.4135 | 2600191.624 | 1166510.3153
92 | 2600517.1991 | 1166523.7781 | 2600596.5442 | 1166607.8634
93 | 2600332.4197 | 1166604.1961 | 2600328.2856 | 1166612.1999 | 2600316.7489 | 1166619.9589 | 2600309.0247 | 1166620.1799
94 | 2600596.5442 | 1166607.8634 | 2600604.4547 | 1166604.014 | 2600612.256 | 1166597.2558 | 2600621.7032 | 1166589.6862 | 2600632.3825 | 1166586.4189 | 2600642.6482 | 1166585.7973
95 | 2600083.0747 | 1166626.6019 | 2600096.678 | 1166627.7467 | 2600112.2459 | 1166632.5912
96 | 2600083.0747 | 1166626.6019 | 2600079.6376 | 1166626.3126 | 2600059.3284 | 1166624.2783 | 2600034.074 | 1166615.6852 | 2600018.3424 | 1166610.6228
97 | 2600145.4872 | 1166633.1387 | 2600130.9654 | 1166636.14 | 2600119.0769 | 1166634.717 | 2600112.2459 | 1166632.5912
98 | 2600112.2459 | 1166632.5912 | 2600074.3734 | 1166776.8
99 | 2599891.9899 | 1166593.787 | 2599908.5974 | 1166595.2104 | 2599954.8196 | 1166598.0775 | 2599988.8776 | 1166602.1678 | 2600007.9927 | 1166607.2924 | 2600018.3424 | 1166610.6228
100 | 2600145.4872 | 1166633.1387 | 2600144.3084 | 1166627.7471 | 2600151.29 | 1166619.154 | 2600181.2678 | 1166613.8296 | 2600206.3232 | 1166611.3733 | 2600244.5072 | 1166614.2424 | 2600302.005 | 1166620.3807 | 2600309.0247 | 1166620.1799
101 | 2600145.4872 | 1166633.1387 | 2600146.3675 | 1166637.1629 | 2600167.863 | 1166647.7685 | 2600178.6031 | 1166654.7499 | 2600188.853 | 1166667.8455
102 | 2599891.9899 | 1166593.787 | 2599877.609 | 1166592.5545 | 2599874.1581 | 1166592.967
103 | 2600188.853 | 1166667.8455 | 2600196.4775 | 1166667.8679 | 2600202.0274 | 1166670.9362 | 2600210.0269 | 1166675.6498 | 2600214.3366 | 1166679.1294 | 2600216.6101 | 1166682.609 | 2600219.8787 | 1166687.7227 | 2600226.2553 | 1166691.6137 | 2600236.7197 | 1166695.0935 | 2600238.7713 | 1166692.4256 | 2600238.5647 | 1166688.5459
104 | 2599874.1581 | 1166592.967 | 2599862.4149 | 1166594.3706
105 | 2599833.6073 | 1166592.9294 | 2599847.6314 | 1166595.4236 | 2599858.7237 | 1166594.8118 | 2599862.4149 | 1166594.3706
106 | 2600161.78 | 1166461.9537 | 2600161.6363 | 1166462.0528
107 | 2599818.2289 | 1166079.1791 | 2599818.2289 | 1166079.1791 | 2599830.5086 | 1166073.1645 | 2599843.9524 | 1166074.0978 | 2599846.6315 | 1166075.6508
108 | 2600641.202 | 1166660.3009 | 2600644.1123 | 1166645.6717 | 2600647.5738 | 1166631.6539 | 2600649.6272 | 1166612.2111 | 2600652.3003 | 1166597.6708 | 2600652.9438 | 1166592.6573 | 2600648.8105 | 1166587.6433 | 2600642.6482 | 1166585.7973
109 | 2600633.3781 | 1166792.1452 | 2600641.202 | 1166660.3009
110 | 2600612.7013 | 1166837.731 | 2600615.1441 | 1166827.415 | 2600615.5506 | 1166818.8219 | 2600615.3219 | 1166808.6946 | 2600619.4256 | 1166801.5247 | 2600633.3781 | 1166792.1452
111 | 2600829.6895 | 1166772.2758 | 2600835.4301 | 1166762.0509 | 2600843.0249 | 1166753.4587 | 2600847.5419 | 1166749.5685 | 2600856.5833 | 1166742.8107 | 2600867.2557 | 1166733.1962 | 2600873.2117 | 1166730.3289 | 2600881.4258 | 1166728.0845 | 2600890.2522 | 1166727.0518 | 2600892.9822 | 1166727.2687
112 | 2600784.3502 | 1166874.9008 | 2600786.7853 | 1166867.9643 | 2600786.9623 | 1166860.2827 | 2600793.5356 | 1166814.8498 | 2600797.0279 | 1166801.5436 | 2600802.3719 | 1166794.3851 | 2600811.4054 | 1166789.0613 | 2600820.0255 | 1166783.9487 | 2600828.4778 | 1166774.434 | 2600829.6895 | 1166772.2758
113 | 2600784.3502 | 1166874.9008 | 2600744.348 | 1166856.8316
114 | 2600784.3502 | 1166874.9008 | 2600790.8028 | 1166878.9036 | 2600794.4003 | 1166881.3941 | 2600798.8545 | 1166883.4495
115 | 2600612.7013 | 1166837.731 | 2600625.8527 | 1166834.2861 | 2600676.507 | 1166816.2042 | 2600696.9074 | 1166815.8728 | 2600744.348 | 1166856.8316
116 | 2600612.7013 | 1166837.731 | 2600600.8895 | 1166840.8315
117 | 2600600.8895 | 1166840.8315 | 2600598.7205 | 1166841.4418
118 | 2600374.1636 | 1166707.175 | 2600378.8043 | 1166719.2333 | 2600392.9878 | 1166744.7134 | 2600404.6764 | 1166756.0753 | 2600418.8375 | 1166767.3372 | 2600425.8184 | 1166774.6969 | 2600428.0762 | 1166781.656 | 2600429.3082 | 1166788.6151 | 2600426.2336 | 1166796.1018
119 | 2600426.2336 | 1166796.1018 | 2600425.6103 | 1166797.6194 | 2600421.3004 | 1166801.5099 | 2600415.1379 | 1166805.8117 | 2600412.0833 | 1166811.0253 | 2600411.4474 | 1166820.9524 | 2600414.3173 | 1166832.0136 | 2600416.5751 | 1166839.7843 | 2600416.5747 | 1166846.332 | 2600416.5747 | 1166846.332
120 | 2600376.547 | 1166851.777 | 2600381.2625 | 1166849.8096 | 2600386.8046 | 1166851.6552 | 2600392.3465 | 1166855.135 | 2600399.5344 | 1166856.1581 | 2600407.5414 | 1166855.5472 | 2600412.8771 | 1166852.068 | 2600416.5747 | 1166846.332
121 | 2600376.547 | 1166851.777 | 2600390.2794 | 1166861.0823 | 2600425.1464 | 1166875.8027
122 | 2600495.812 | 1166883.8068 | 2600484.6849 | 1166888.9019 | 2600466.2447 | 1166885.2433 | 2600425.1464 | 1166875.8027
123 | 2600598.7205 | 1166841.4418 | 2600562.3386 | 1166851.6781 | 2600529.0392 | 1166860.2575 | 2600513.0169 | 1166868.8495 | 2600504.5775 | 1166877.2618
124 | 2600504.5775 | 1166877.2618 | 2600499.8803 | 1166881.944 | 2600495.812 | 1166883.8068
125 | 2599481.1313 | 1166506.7946 | 2599479.0148 | 1166504.8322
126 | 2599481.1313 | 1166506.7946 | 2599498.1413 | 1166522.5662 | 2599517.0287 | 1166541.1959 | 2599549.2678 | 1166572.9199 | 2599561.4822 | 1166585.6282
127 | 2599479.0148 | 1166504.8322 | 2599468.5662 | 1166495.1443 | 2599463.0682 | 1166488.6122
128 | 2599561.4822 | 1166585.6282 | 2599572.4728 | 1166597.0633
129 | 2599416.7393 | 1166422.4247 | 2599413.5555 | 1166430.0733 | 2599415.7993 | 1166437.4322 | 2599427.7122 | 1166447.4582 | 2599440.4444 | 1166459.9408 | 2599454.6165 | 1166478.5708 | 2599463.0682 | 1166488.6122
130 | 2599580.5811 | 1166608.7652 | 2599572.4728 | 1166597.0633 | 2599572.4728 | 1166597.0633
131 | 2599416.7393 | 1166422.4247 | 2599422.8863 | 1166419.8005 | 2599430.2816 | 1166421.6006 | 2599438.3971 | 1166428.4365 | 2599452.3541 | 1166439.4738 | 2599469.5873 | 1166448.8879 | 2599497.3624 | 1166462.3029
132 | 2599497.3624 | 1166462.3029 | 2599534.4771 | 1166478.5631 | 2599562.4278 | 1166490.6445 | 2599575.7717 | 1166498.0137 | 2599588.9167 | 1166508.6513 | 2599601.212 | 1166519.489 | 2599614.5636 | 1166528.7037 | 2599642.9199 | 1166544.6762 | 2599675.5478 | 1166561.449 | 2599683.1215 | 1166564.8092
133 | 2599726.981 | 1166579.0533 | 2599724.2132 | 1166578.8435 | 2599699.9993 | 1166572.2972 | 2599683.1215 | 1166564.8092
134 | 2599832.7377 | 1166592.7747 | 2599833.6073 | 1166592.9294
135 | 2599816.9448 | 1166590.2521 | 2599824.635 | 1166591.3336 | 2599832.7377 | 1166592.7747
136 | 2599726.981 | 1166579.0533 | 2599743.1217 | 1166580.2765 | 2599760.966 | 1166580.4756 | 2599769.5859 | 1166582.3205 | 2599796.8999 | 1166587.4329 | 2599816.9448 | 1166590.2521

## bus_geodata
| x | y | coords
0 | 2600337.9839 | 1165595.0613
1 | 2600335.9914 | 1165634.7253
2 | 2600769.9046 | 1165489.5347
3 | 2600760.9308 | 1165501.1901
4 | 2600770.6935 | 1165488.4039
5 | 2600760.6832 | 1165501.407
6 | 2600720.9553 | 1165506.313
7 | 2600639.0693 | 1165492.9647
8 | 2600736.9425 | 1165527.4008
9 | 2600569.6257 | 1165562.9267
10 | 2600618.4323 | 1165397.6135
11 | 2600756.7249 | 1165548.4883
12 | 2600544.1268 | 1165305.141
13 | 2600434.941 | 1165290.0259
14 | 2600558.479 | 1165264.8333
15 | 2600515.0138 | 1165535.0975
16 | 2600497.1667 | 1165638.014
17 | 2600315.5417 | 1165342.989
18 | 2600574.2313 | 1165239.8332
19 | 2600403.8797 | 1165658.0959
20 | 2600570.3856 | 1165743.9127
21 | 2600219.4848 | 1165728.776
22 | 2600241.7307 | 1165718.608
23 | 2600207.3689 | 1165731.3913
24 | 2600283.9531 | 1165782.1187
25 | 2600195.6965 | 1165935.4703
26 | 2600282.816 | 1165842.9118
27 | 2600154.5807 | 1166142.239
28 | 2600244.0199 | 1166064.5476
29 | 2600261.9919 | 1165881.0227
30 | 2600572.9937 | 1165750.2584
31 | 2600577.8337 | 1165762.0344
32 | 2600415.1948 | 1165676.1388
33 | 2600201.9053 | 1165332.3571
34 | 2601071.3266 | 1165696.1434
35 | 2600875.865 | 1165601.7275
36 | 2601222.596 | 1166086.4432
37 | 2600245.1507 | 1166066.6923
38 | 2600274.8359 | 1166109.7216
39 | 2600291.3232 | 1166124.1725
40 | 2600257.661 | 1166297.3963
41 | 2600399.1316 | 1166213.2871
42 | 2600283.8101 | 1166363.1965
43 | 2600227.5725 | 1166290.366
44 | 2600066.2248 | 1166020.7349
45 | 2600077.1039 | 1165993.4453
46 | 2600052.6065 | 1166103.1904
47 | 2600083.2754 | 1165947.6625
48 | 2600060.2241 | 1166157.7586
49 | 2599926.9974 | 1165837.3603
50 | 2600071.5804 | 1166183.5674
51 | 2600094.0231 | 1166219.6992
52 | 2599924.995 | 1165834.8142
53 | 2599920.0608 | 1165828.54
54 | 2599871.6322 | 1165718.6791
55 | 2600513.0315 | 1166252.4322
56 | 2600585.3814 | 1166266.5263
57 | 2600869.575 | 1166215.8947
58 | 2600896.3846 | 1166230.4956
59 | 2601033.2328 | 1166312.2339
60 | 2601386.9998 | 1166194.1253
61 | 2601339.4328 | 1166118.6049
62 | 2600345.0749 | 1166399.781
63 | 2600380.2593 | 1166411.6137
64 | 2600056.6481 | 1166222.0448
65 | 2600084.576 | 1166241.8991
66 | 2599974.7112 | 1166338.926
67 | 2599915.0673 | 1166259.6191
68 | 2599906.5006 | 1166250.1963
69 | 2600066.8686 | 1166393.3078
70 | 2599906.4069 | 1166250.0932
71 | 2600089.475 | 1166440.0533
72 | 2599899.5222 | 1166242.5206
73 | 2600044.5226 | 1166467.4781
74 | 2600136.096 | 1166482.4302
75 | 2599811.2572 | 1166144.2785
76 | 2599734.9534 | 1166188.2461
77 | 2599759.3147 | 1166182.5555
78 | 2599681.6993 | 1166274.8727
79 | 2599769.5242 | 1166179.0707
80 | 2599780.7751 | 1166171.4071
81 | 2599788.6781 | 1166164.6752
82 | 2600398.224 | 1166544.4233
83 | 2600396.4747 | 1166531.3519
84 | 2600399.1301 | 1166549.9613
85 | 2600374.6777 | 1166527.4679
86 | 2600513.5017 | 1166522.7551
87 | 2600235.8897 | 1166534.4135
88 | 2600517.1991 | 1166523.7781
89 | 2600332.4198 | 1166604.1961
90 | 2600191.624 | 1166510.3153
91 | 2600596.5442 | 1166607.8634
92 | 2600083.0747 | 1166626.6019
93 | 2600112.2459 | 1166632.5912
94 | 2600018.3424 | 1166610.6228
95 | 2600145.4872 | 1166633.1387
96 | 2600074.3734 | 1166776.8
97 | 2599891.9899 | 1166593.787
98 | 2600309.0247 | 1166620.1799
99 | 2600188.853 | 1166667.8455
100 | 2599874.1581 | 1166592.967
101 | 2600238.5647 | 1166688.5459
102 | 2599862.4149 | 1166594.3706
103 | 2600161.6363 | 1166462.0528
104 | 2600161.78 | 1166461.9537
105 | 2599818.2289 | 1166079.1791
106 | 2599846.6315 | 1166075.6508
107 | 2600642.6482 | 1166585.7973
108 | 2600641.202 | 1166660.3009
109 | 2600633.3781 | 1166792.1452
110 | 2600829.6895 | 1166772.2758
111 | 2600892.9822 | 1166727.2687
112 | 2600784.3502 | 1166874.9008
113 | 2600744.348 | 1166856.8316
114 | 2600798.8545 | 1166883.4495
115 | 2600612.7013 | 1166837.731
116 | 2600600.8895 | 1166840.8315
117 | 2600374.1636 | 1166707.175
118 | 2600426.2336 | 1166796.1018
119 | 2600416.5747 | 1166846.332
120 | 2600376.547 | 1166851.777
121 | 2600425.1464 | 1166875.8027
122 | 2600598.7205 | 1166841.4418
123 | 2600504.5775 | 1166877.2618
124 | 2600495.812 | 1166883.8068
125 | 2599481.1313 | 1166506.7946
126 | 2599479.0148 | 1166504.8322
127 | 2599561.4822 | 1166585.6282
128 | 2599463.0682 | 1166488.6122
129 | 2599572.4728 | 1166597.0633
130 | 2599416.7393 | 1166422.4247
131 | 2599580.5811 | 1166608.7652
132 | 2599497.3624 | 1166462.3029
133 | 2599683.1215 | 1166564.8092
134 | 2599833.6073 | 1166592.9294
135 | 2599832.7377 | 1166592.7747
136 | 2599726.981 | 1166579.0533
137 | 2599816.9448 | 1166590.2521
138 | 2600066.8686 | 1166393.3078

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1