## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_782-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_782-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_782-1_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_782-1_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_782-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_782-1_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_782-1_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_782-1_0_6_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_782-1_0_6_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_782-1_0_6_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_782-1_0_6_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_782-1_0_6_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_782-1_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_782-1_0_6_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_782-1_0_6_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_782-1_0_6_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_782-1_0_6_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_782-1_0_6_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_782-1_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_782-1_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_782-1_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_782-1_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_782-1_0_6_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_782-1_0_6_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_782-1_0_6_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_782-1_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_782-1_0_6_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_782-1_0_6_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_782-1_0_6_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_782-1_0_6_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_782-1_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_782-1_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_782-1_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_782-1_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_782-1_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_782-1_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_782-1_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_782-1_0_6_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_782-1_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_782-1_0_6_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_782-1_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_782-1_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_MV_201_0_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_782-1_0_6_load_0 | 0 | 0.0010047 | 0.00025181 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_782-1_0_6_load_1 | 1 | 0.00014824 | 3.7152e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_782-1_0_6_load_20 | 8 | 0.00038696 | 9.698e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_782-1_0_6_load_18 | 9 | 8.6167e-05 | 2.1595e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_782-1_0_6_load_15 | 10 | 0.00033025 | 8.2769e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_782-1_0_6_load_19 | 11 | 0.00029851 | 7.4815e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_782-1_0_6_load_30 | 13 | 0.00024215 | 6.0688e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_782-1_0_6_load_27 | 14 | 0.00033412 | 8.3739e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_782-1_0_6_load_33 | 15 | 0.00017384 | 4.3569e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_782-1_0_6_load_16 | 16 | 0.00023006 | 5.7659e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_782-1_0_6_load_6 | 17 | 0.074764 | 0.018738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_782-1_0_6_load_38 | 23 | 0.0023288 | 0.00058366 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_782-1_0_6_load_39 | 25 | 0.0025127 | 0.00062974 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_782-1_0_6_load_36 | 26 | 0.029499 | 0.0073931 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_782-1_0_6_load_40 | 27 | 0.039443 | 0.0098853 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_782-1_0_6_load_37 | 28 | 0.0060411 | 0.001514 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_782-1_0_6_load_22 | 30 | 0.00042081 | 0.00010547 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_782-1_0_6_load_23 | 31 | 0.00012896 | 3.2321e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_782-1_0_6_load_24 | 32 | 8.5592e-05 | 2.1451e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_782-1_0_6_load_25 | 33 | 0.00081537 | 0.00020435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_782-1_0_6_load_28 | 34 | 0.00060444 | 0.00015149 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_782-1_0_6_load_26 | 35 | 0.00077345 | 0.00019384 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_782-1_0_6_load_29 | 36 | 0.00034132 | 8.5543e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_782-1_0_6_load_41 | 37 | 0.0026943 | 0.00067525 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_782-1_0_6_load_34 | 41 | 0.00022062 | 5.5292e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_782-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0072742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_782-1_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.037005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_782-1_0_6_line_2 | NAYY 4x150 SE | 2 | 6 | 0.057536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_782-1_0_6_line_3 | NAYY 4x150 SE | 2 | 7 | 0.26306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_782-1_0_6_line_4 | NAYY 4x150 SE | 3 | 4 | 0.029109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_782-1_0_6_line_5 | NAYY 4x150 SE | 3 | 5 | 0.034871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_782-1_0_6_line_6 | NAYY 4x150 SE | 4 | 8 | 0.027855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_782-1_0_6_line_7 | NAYY 4x150 SE | 5 | 9 | 0.02546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_782-1_0_6_line_8 | NAYY 4x150 SE | 5 | 10 | 0.036015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_782-1_0_6_line_9 | NAYY 4x150 SE | 6 | 11 | 0.021532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_782-1_0_6_line_10 | NAYY 4x150 SE | 7 | 15 | 0.1985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_782-1_0_6_line_11 | NAYY 4x150 SE | 8 | 11 | 0.071317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_782-1_0_6_line_12 | NAYY 4x150 SE | 10 | 16 | 0.0040797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_782-1_0_6_line_13 | NAYY 4x150 SE | 12 | 13 | 0.12126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_782-1_0_6_line_14 | NAYY 4x150 SE | 12 | 14 | 1.7249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_782-1_0_6_line_15 | NAYY 4x150 SE | 13 | 29 | 0.0082083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_782-1_0_6_line_16 | NAYY 4x150 SE | 14 | 36 | 0.1637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_782-1_0_6_line_17 | NAYY 4x150 SE | 14 | 35 | 0.024388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_782-1_0_6_line_18 | NAYY 4x150 SE | 15 | 38 | 0.25515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_782-1_0_6_line_19 | NAYY 4x150 SE | 16 | 39 | 0.066953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_782-1_0_6_line_20 | NAYY 4x150 SE | 17 | 18 | 0.052608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_782-1_0_6_line_21 | NAYY 4x150 SE | 17 | 19 | 0.025393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_782-1_0_6_line_22 | NAYY 4x150 SE | 18 | 20 | 0.11931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_782-1_0_6_line_23 | NAYY 4x150 SE | 19 | 21 | 0.011447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_782-1_0_6_line_24 | NAYY 4x150 SE | 20 | 25 | 0.018279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_782-1_0_6_line_25 | NAYY 4x150 SE | 20 | 26 | 0.054286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_782-1_0_6_line_26 | NAYY 4x150 SE | 21 | 27 | 0.028356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_782-1_0_6_line_27 | NAYY 4x150 SE | 22 | 23 | 1.861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_782-1_0_6_line_28 | NAYY 4x150 SE | 22 | 24 | 0.29945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_782-1_0_6_line_29 | NAYY 4x150 SE | 23 | 28 | 0.10503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_782-1_0_6_line_30 | NAYY 4x150 SE | 24 | 33 | 0.23188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_782-1_0_6_line_31 | NAYY 4x150 SE | 24 | 37 | 0.014685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_782-1_0_6_line_32 | NAYY 4x150 SE | 26 | 28 | 0.0098138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_782-1_0_6_line_33 | NAYY 4x150 SE | 29 | 38 | 0.32759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_782-1_0_6_line_34 | NAYY 4x150 SE | 30 | 31 | 0.021981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_782-1_0_6_line_35 | NAYY 4x150 SE | 31 | 32 | 0.020662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_782-1_0_6_line_36 | NAYY 4x150 SE | 32 | 33 | 0.023597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_782-1_0_6_line_37 | NAYY 4x150 SE | 33 | 34 | 0.027492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_782-1_0_6_line_38 | NAYY 4x150 SE | 34 | 35 | 0.011389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_782-1_0_6_line_39 | NAYY 4x150 SE | 39 | 40 | 0.019076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_782-1_0_6_line_40 | NAYY 4x150 SE | 40 | 41 | 0.039793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_782-1_0_6_trafo_38 | 0.25 MVA 20/0.4 kV | 42 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47
0 | 2666568.3722 | 1162663.677 | 2666569.0888 | 1162662.4089 | 2666571.8288 | 1162657.277
1 | 2666589.2577 | 1162624.6334 | 2666571.8288 | 1162657.277
2 | 2666589.2577 | 1162624.6334 | 2666589.9471 | 1162641.2391 | 2666615.5722 | 1162673.185
3 | 2666589.2577 | 1162624.6334 | 2666590.4557 | 1162605.6916 | 2666591.1229 | 1162596.6385 | 2666593.5453 | 1162590.9732 | 2666598.5764 | 1162587.0379 | 2666611.7502 | 1162606.0276 | 2666619.1755 | 1162601.7408 | 2666628.7443 | 1162596.2215 | 2666656.7011 | 1162647.2706 | 2666669.6409 | 1162657.6309 | 2666675.5526 | 1162684.1222 | 2666676.9532 | 1162689.7742 | 2666695.463 | 1162682.1307 | 2666710.3398 | 1162680.8505 | 2666736.0283 | 1162680.1017 | 2666741.0448 | 1162680.2352 | 2666747.1599 | 1162678.7245
4 | 2666521.7776 | 1162721.5851 | 2666526.4607 | 1162724.1605 | 2666529.7199 | 1162728.7102 | 2666532.1039 | 1162730.6599 | 2666532.8969 | 1162735.8493 | 2666535.5338 | 1162735.7117 | 2666542.6796 | 1162736.5801
5 | 2666499.2205 | 1162748.1726 | 2666508.3035 | 1162737.3559 | 2666515.8667 | 1162728.2012 | 2666521.7776 | 1162721.5851
6 | 2666542.6796 | 1162736.5801 | 2666559.1811 | 1162735.2397 | 2666567.9419 | 1162732.7797 | 2666568.363 | 1162730.6214
7 | 2666499.2205 | 1162748.1726 | 2666489.0212 | 1162763.6352 | 2666485.5676 | 1162768.344 | 2666484.7064 | 1162769.0244
8 | 2666499.2205 | 1162748.1726 | 2666496.3235 | 1162746.8844 | 2666476.0492 | 1162742.3244 | 2666469.9509 | 1162736.7873 | 2666466.9678 | 1162734.3898
9 | 2666615.5722 | 1162673.185 | 2666599.375 | 1162687.3725
10 | 2666747.1599 | 1162678.7245 | 2666744.6872 | 1162670.2701 | 2666744.8837 | 1162663.613 | 2666751.4572 | 1162655.3147 | 2666769.0208 | 1162645.9711 | 2666776.9779 | 1162641.4013 | 2666794.1649 | 1162631.4755 | 2666807.9057 | 1162620.7554 | 2666814.5942 | 1162615.2155 | 2666830.917 | 1162604.4798 | 2666838.0728 | 1162596.188 | 2666849.9331 | 1162578.8991 | 2666858.6498 | 1162567.3562 | 2666866.8502 | 1162559.5207 | 2666879.7156 | 1162551.0702 | 2666884.0656 | 1162549.1319
11 | 2666599.375 | 1162687.3725 | 2666582.8095 | 1162701.8827 | 2666570.9873 | 1162699.217 | 2666565.7295 | 1162700.8042 | 2666562.2579 | 1162707.8252 | 2666563.0084 | 1162714.0814 | 2666568.5998 | 1162729.4074 | 2666568.363 | 1162730.6214
12 | 2666466.9678 | 1162734.3898 | 2666463.7879 | 1162731.8341
13 | 2666936.7921 | 1161946.8358 | 2666945.5732 | 1161952.3033 | 2666954.0803 | 1161958.3013 | 2666966.6094 | 1161967.7904 | 2666972.1509 | 1161974.5003 | 2666977.5485 | 1161986.5671 | 2666988.5851 | 1162012.4043 | 2666993.4723 | 1162019.3848 | 2666998.9148 | 1162026.7273 | 2667000.7557 | 1162031.3615 | 2667001.8228 | 1162035.987 | 2667001.2614 | 1162043.0514 | 2667001.249 | 1162043.3401
14 | 2666936.7921 | 1161946.8358 | 2667721.9259 | 1160411.0067
15 | 2667000.8986 | 1162051.5409 | 2667001.249 | 1162043.3401
16 | 2667721.9259 | 1160411.0067 | 2667728.9117 | 1160421.5855 | 2667765.3859 | 1160454.1476 | 2667781.2717 | 1160449.535 | 2667786.9088 | 1160439.6597 | 2667794.1749 | 1160414.4497 | 2667809.441 | 1160368.9631 | 2667809.441 | 1160368.9631
17 | 2667721.9259 | 1160411.0067 | 2667715.2874 | 1160400.954 | 2667709.2996 | 1160390.1631
18 | 2666991.994 | 1162348.7403 | 2666980.8676 | 1162351.6514 | 2666971.9936 | 1162355.955 | 2666965.1238 | 1162360.5366 | 2666957.9234 | 1162367.2824 | 2666952.7336 | 1162373.0501 | 2666947.954 | 1162380.5122 | 2666945.193 | 1162385.5843 | 2666941.2065 | 1162394.7561 | 2666937.8886 | 1162408.5602 | 2666935.1411 | 1162426.8731 | 2666935.4813 | 1162437.6051 | 2666936.5394 | 1162445.7881 | 2666942.152 | 1162473.6105 | 2666941.9592 | 1162479.9118 | 2666941.0746 | 1162485.7385 | 2666939.0493 | 1162492.1751 | 2666923.1673 | 1162526.5842 | 2666921.1648 | 1162530.9755 | 2666917.1265 | 1162534.4881 | 2666913.4548 | 1162536.037 | 2666884.0656 | 1162549.1319
19 | 2666412.7486 | 1162688.6732 | 2666437.3015 | 1162711.646 | 2666445.5602 | 1162717.1847 | 2666463.7879 | 1162731.8341
20 | 2668417.6011 | 1158176.8153 | 2668423.68 | 1158166.7899 | 2668437.9206 | 1158174.6006 | 2668439.0422 | 1158172.3899 | 2668458.2403 | 1158183.4642
21 | 2668479.5304 | 1158193.3509 | 2668474.558 | 1158190.3482 | 2668473.1725 | 1158192.1779 | 2668462.1824 | 1158185.7382 | 2668458.2403 | 1158183.4642
22 | 2668417.6011 | 1158176.8153 | 2668410.8519 | 1158172.9698 | 2668410.1884 | 1158170.6387 | 2668400.7102 | 1158165.4059 | 2668393.662 | 1158171.6738 | 2668384.3759 | 1158161.6849 | 2668378.6172 | 1158165.8107 | 2668385.6714 | 1158175.8742 | 2668385.0838 | 1158176.3011 | 2668382.8535 | 1158174.8861 | 2668375.5492 | 1158170.6341 | 2668365.4304 | 1158161.7253 | 2668362.6028 | 1158164.2947 | 2668349.421 | 1158167.2022 | 2668349.6021 | 1158171.5066 | 2668350.319 | 1158173.8605 | 2668352.5141 | 1158177.0316 | 2668350.7416 | 1158179.1794
23 | 2668479.5304 | 1158193.3509 | 2668480.221 | 1158202.0525 | 2668478.6167 | 1158204.2466
24 | 2668350.7416 | 1158179.1794 | 2668348.8744 | 1158178.1909 | 2668344.0827 | 1158174.1343 | 2668341.2964 | 1158170.3672 | 2668340.8851 | 1158168.1057 | 2668341.2523 | 1158166.1533 | 2668340.7398 | 1158165.3692
25 | 2668350.7416 | 1158179.1794 | 2668364.639 | 1158190.2211 | 2668370.844 | 1158196.0726 | 2668376.6903 | 1158199.0851 | 2668380.8309 | 1158203.0899 | 2668390.0095 | 1158215.7901
26 | 2668478.6167 | 1158204.2466 | 2668467.3 | 1158198.8815 | 2668452.3983 | 1158193.5344
27 | 2667660.2966 | 1160012.0193 | 2668305.6155 | 1158266.5302
28 | 2667660.2966 | 1160012.0193 | 2667654.6977 | 1160013.0347 | 2667651.8479 | 1160014.2701 | 2667648.9894 | 1160016.2835 | 2667646.1982 | 1160016.3966 | 2667644.6957 | 1160015.0568 | 2667641.5147 | 1160015.7547 | 2667634.8096 | 1160016.313 | 2667632.0408 | 1160018.5276 | 2667629.7144 | 1160021.6143 | 2667629.14 | 1160024.2982 | 2667629.942 | 1160027.2755 | 2667630.6873 | 1160029.8409 | 2667630.9749 | 1160030.8447 | 2667629.8641 | 1160034.2007 | 2667629.7859 | 1160037.0681 | 2667631.3645 | 1160039.8207 | 2667632.4533 | 1160043.1904 | 2667632.5704 | 1160045.7264 | 2667630.4892 | 1160048.1377 | 2667628.42 | 1160049.4819 | 2667627.3722 | 1160051.3267 | 2667625.5029 | 1160052.6175 | 2667624.4447 | 1160055.3849 | 2667622.4976 | 1160058.8205 | 2667622.2189 | 1160061.7968 | 2667623.1555 | 1160065.754 | 2667622.7334 | 1160068.5285 | 2667621.4897 | 1160070.071 | 2667619.9439 | 1160072.5883 | 2667619.3893 | 1160078.9634 | 2667617.5636 | 1160088.6483 | 2667618.0983 | 1160093.5793 | 2667615.957 | 1160096.568 | 2667614.7067 | 1160099.3888 | 2667613.6677 | 1160104.5356 | 2667612.6353 | 1160109.7936 | 2667611.6038 | 1160111.5496 | 2667619.4816 | 1160116.4297 | 2667622.2232 | 1160118.684 | 2667624.5515 | 1160122.2344 | 2667632.327 | 1160118.4974 | 2667669.0262 | 1160114.9191 | 2667699.7158 | 1160112.7742 | 2667738.8751 | 1160124.1879 | 2667756.3683 | 1160127.331 | 2667761.8164 | 1160131.528 | 2667767.3989 | 1160138.0834
29 | 2668392.3776 | 1158225.3112 | 2668383.9844 | 1158235.2547 | 2668369.9792 | 1158233.717 | 2668354.3156 | 1158235.0843 | 2668343.1732 | 1158238.0039 | 2668333.4087 | 1158241.784 | 2668320.4852 | 1158248.9636 | 2668313.2618 | 1158254.4736 | 2668307.1191 | 1158260.018 | 2668308.7488 | 1158262.3378 | 2668305.6155 | 1158266.5302
30 | 2667689.7444 | 1160356.5753 | 2667767.3989 | 1160138.0834
31 | 2667767.3989 | 1160138.0834 | 2667772.6778 | 1160141.6448 | 2667774.9841 | 1160143.0716 | 2667778.5206 | 1160138.7225
32 | 2668390.0095 | 1158215.7901 | 2668391.4416 | 1158221.9987 | 2668392.3776 | 1158225.3112 | 2668392.3776 | 1158225.3112
33 | 2667000.8986 | 1162051.5409 | 2667002.7055 | 1162055.7856 | 2667005.5411 | 1162063.2881 | 2667006.7278 | 1162072.3063 | 2667007.857 | 1162083.0471 | 2667008.5736 | 1162092.9939 | 2667008.0447 | 1162103.3271 | 2667006.2693 | 1162113.4463 | 2667005.7957 | 1162118.8218 | 2667007.6118 | 1162123.6113 | 2667011.3112 | 1162127.1656 | 2667016.047 | 1162130.5313 | 2667021.6126 | 1162133.6951 | 2667026.6318 | 1162137.7533 | 2667033.4137 | 1162143.8322 | 2667036.0712 | 1162147.3749 | 2667037.469 | 1162152.5712 | 2667037.6274 | 1162156.9198 | 2667036.937 | 1162162.493 | 2667032.2027 | 1162177.5486 | 2667027.9406 | 1162188.0514 | 2667022.2103 | 1162203.7963 | 2667021.9276 | 1162211.2862 | 2667023.6352 | 1162216.1857 | 2667026.7733 | 1162225.4036 | 2667027.2311 | 1162229.0107 | 2667026.1481 | 1162232.6896 | 2667019.3205 | 1162245.1538 | 2667015.0217 | 1162254.8335 | 2667009.6869 | 1162261.222 | 2667001.9686 | 1162267.6841 | 2666997.2531 | 1162273.5015 | 2666992.4789 | 1162284.5878 | 2666989.6729 | 1162295.0735 | 2666988.1364 | 1162305.7624 | 2666988.5532 | 1162316.4841 | 2666991.4811 | 1162341.1415 | 2666991.994 | 1162348.7403
34 | 2667629.3814 | 1160331.6789 | 2667647.7312 | 1160343.7804
35 | 2667666.8362 | 1160350.9153 | 2667653.5859 | 1160347.6415 | 2667647.7312 | 1160343.7804
36 | 2667666.8362 | 1160350.9153 | 2667689.7444 | 1160356.5753
37 | 2667689.7444 | 1160356.5753 | 2667689.7444 | 1160356.5753 | 2667696.9438 | 1160367.8959 | 2667703.7735 | 1160380.2041
38 | 2667703.7735 | 1160380.2041 | 2667709.2996 | 1160390.1631
39 | 2666413.4418 | 1162669.6147 | 2666412.7486 | 1162688.6732
40 | 2666413.4418 | 1162669.6147 | 2666418.5646 | 1162661.5224 | 2666424.0596 | 1162658.5703 | 2666431.5232 | 1162656.3404 | 2666437.9823 | 1162650.7308 | 2666443.2756 | 1162645.2307

## bus_geodata
| x | y | coords
0 | 2666568.3722 | 1162663.677
1 | 2666571.8288 | 1162657.277
2 | 2666589.2577 | 1162624.6334
3 | 2666521.7776 | 1162721.5851
4 | 2666542.6796 | 1162736.5801
5 | 2666499.2205 | 1162748.1726
6 | 2666615.5722 | 1162673.185
7 | 2666747.1599 | 1162678.7245
8 | 2666568.363 | 1162730.6214
9 | 2666484.7064 | 1162769.0245
10 | 2666466.9678 | 1162734.3898
11 | 2666599.375 | 1162687.3725
12 | 2666936.7921 | 1161946.8358
13 | 2667001.249 | 1162043.3401
14 | 2667721.9259 | 1160411.0067
15 | 2666884.0656 | 1162549.1319
16 | 2666463.7879 | 1162731.8341
17 | 2668458.2403 | 1158183.4642
18 | 2668417.6011 | 1158176.8153
19 | 2668479.5304 | 1158193.3509
20 | 2668350.7416 | 1158179.1794
21 | 2668478.6166 | 1158204.2465
22 | 2667660.2966 | 1160012.0193
23 | 2668305.6155 | 1158266.5302
24 | 2667767.3989 | 1160138.0834
25 | 2668340.7398 | 1158165.3692
26 | 2668390.0095 | 1158215.7901
27 | 2668452.3983 | 1158193.5344
28 | 2668392.3776 | 1158225.3112
29 | 2667000.8986 | 1162051.5409
30 | 2667629.3814 | 1160331.6789
31 | 2667647.7312 | 1160343.7804
32 | 2667666.8362 | 1160350.9153
33 | 2667689.7444 | 1160356.5753
34 | 2667703.7735 | 1160380.2041
35 | 2667709.2996 | 1160390.1631
36 | 2667809.441 | 1160368.9631
37 | 2667778.5206 | 1160138.7225
38 | 2666991.994 | 1162348.7403
39 | 2666412.7486 | 1162688.6732
40 | 2666413.4418 | 1162669.6147
41 | 2666443.2756 | 1162645.2307
42 | 2668350.7416 | 1158179.1794

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1