## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_782-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_782-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_782-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_782-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_782-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_782-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_782-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_782-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_782-3_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_782-3_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_782-3_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_782-3_0_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_782-3_0_3_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_782-3_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_782-3_0_3_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_782-3_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_782-3_0_3_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_782-3_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_782-3_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_782-3_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_782-3_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_782-3_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_782-3_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_782-3_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_782-3_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_782-3_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_782-3_0_3_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_782-3_0_3_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_782-3_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_782-3_0_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_782-3_0_3_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_782-3_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_782-3_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_782-3_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_782-3_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_782-3_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_782-3_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_782-3_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_782-3_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_782-3_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_782-3_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_782-3_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_782-3_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_782-3_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_782-3_0_3_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_782-3_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_782-3_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_782-3_0_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_782-3_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_782-3_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_782-3_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_782-3_0_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_782-3_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_782-3_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_782-3_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_782-3_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_782-3_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_782-3_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_782-3_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_782-3_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_782-3_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_782-3_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_782-3_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_782-3_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_782-3_0_3_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_782-3_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_782-3_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_782-3_0_3_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_782-3_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_782-3_0_3_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_782-3_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_782-3_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_782-3_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_782-3_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_782-3_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_782-3_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_782-3_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_782-3_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_MV_139_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_782-3_0_3_load_0 | 0 | 0.0019047 | 0.00047735 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_782-3_0_3_load_1 | 1 | 0.0030072 | 0.00075367 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_782-3_0_3_load_3 | 3 | 0.0020485 | 0.00051341 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_782-3_0_3_load_4 | 4 | 0.0014528 | 0.00036411 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_782-3_0_3_load_5 | 5 | 0.0015244 | 0.00038204 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_782-3_0_3_load_7 | 7 | 0.0011953 | 0.00029957 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_782-3_0_3_load_8 | 8 | 0.0017927 | 0.0004493 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_782-3_0_3_load_22 | 9 | 0.00047415 | 0.00011883 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_782-3_0_3_load_56 | 10 | 0.002259 | 0.00056616 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_782-3_0_3_load_45 | 11 | 0.0016077 | 0.00040292 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_782-3_0_3_load_58 | 12 | 0.0015292 | 0.00038326 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_782-3_0_3_load_20 | 13 | 0.000721 | 0.0001807 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_782-3_0_3_load_57 | 14 | 0.0027452 | 0.000688 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_782-3_0_3_load_16 | 15 | 0.0014636 | 0.00036681 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_782-3_0_3_load_9 | 17 | 0.0014428 | 0.00036161 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_782-3_0_3_load_10 | 18 | 0.0012618 | 0.00031624 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_782-3_0_3_load_13 | 20 | 0.0010609 | 0.00026588 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_782-3_0_3_load_12 | 22 | 0.0021709 | 0.00054408 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_782-3_0_3_load_15 | 23 | 0.0011457 | 0.00028713 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_782-3_0_3_load_17 | 24 | 0.0012429 | 0.00031149 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_782-3_0_3_load_18 | 25 | 0.002132 | 0.00053432 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_782-3_0_3_load_74 | 26 | 0.0018059 | 0.0004526 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_782-3_0_3_load_73 | 27 | 0.0013381 | 0.00033536 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_782-3_0_3_load_29 | 28 | 0.0014969 | 0.00037517 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_782-3_0_3_load_76 | 30 | 0.0023473 | 0.00058829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_782-3_0_3_load_30 | 31 | 0.002143 | 0.0005371 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_782-3_0_3_load_19 | 32 | 0.00050025 | 0.00012538 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_782-3_0_3_load_25 | 36 | 0.0012036 | 0.00030166 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_782-3_0_3_load_28 | 38 | 0.00069402 | 0.00017394 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_782-3_0_3_load_41 | 41 | 0.00072791 | 0.00018243 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_782-3_0_3_load_43 | 42 | 0.00059076 | 0.00014806 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_782-3_0_3_load_75 | 44 | 0.0020448 | 0.00051248 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_782-3_0_3_load_55 | 45 | 0.00053557 | 0.00013423 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_782-3_0_3_load_42 | 46 | 0.00070142 | 0.00017579 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_782-3_0_3_load_62 | 47 | 0.0021197 | 0.00053124 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_782-3_0_3_load_32 | 48 | 0.00056041 | 0.00014045 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_782-3_0_3_load_77 | 51 | 0.0014672 | 0.00036772 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_782-3_0_3_load_36 | 52 | 0.0010383 | 0.00026022 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_782-3_0_3_load_37 | 53 | 0.00035303 | 8.8478e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_782-3_0_3_load_35 | 54 | 0.00083997 | 0.00021052 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_782-3_0_3_load_39 | 56 | 0.0024065 | 0.00060313 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_782-3_0_3_load_68 | 60 | 0.0013915 | 0.00034874 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_782-3_0_3_load_53 | 61 | 0.001281 | 0.00032106 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_782-3_0_3_load_49 | 63 | 0.00095505 | 0.00023936 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_782-3_0_3_load_46 | 64 | 0.00043503 | 0.00010903 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_782-3_0_3_load_69 | 66 | 0.0015022 | 0.00037649 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_782-3_0_3_load_51 | 67 | 0.0010502 | 0.0002632 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_782-3_0_3_load_54 | 68 | 0.00082745 | 0.00020738 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_782-3_0_3_load_52 | 69 | 0.0051829 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_782-3_0_3_load_72 | 70 | 0.0020843 | 0.00052237 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_782-3_0_3_load_70 | 72 | 0.00086558 | 0.00021693 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_782-3_0_3_load_61 | 73 | 0.0019809 | 0.00049646 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_782-3_0_3_load_63 | 74 | 0.0019307 | 0.00048388 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_782-3_0_3_load_66 | 75 | 0.0019651 | 0.00049251 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_782-3_0_3_load_67 | 76 | 0.0025429 | 0.00063732 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_782-3_0_3_load_71 | 77 | 0.00047299 | 0.00011854 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_782-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0003619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_782-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_782-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.009539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_782-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0081903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_782-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.010489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_782-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.005322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_782-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0056424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_782-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0063944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_782-3_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.026133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_782-3_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.010874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_782-3_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0017129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_782-3_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0073097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_782-3_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.002821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_782-3_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.010493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_782-3_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.0020812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_782-3_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.012384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_782-3_0_3_line_16 | NAYY 4x150 SE | 13 | 32 | 0.021883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_782-3_0_3_line_17 | NAYY 4x150 SE | 15 | 20 | 0.0046421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_782-3_0_3_line_18 | NAYY 4x150 SE | 16 | 71 | 0.07902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_782-3_0_3_line_19 | NAYY 4x150 SE | 16 | 73 | 0.020489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_782-3_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0071268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_782-3_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0037723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_782-3_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.015753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_782-3_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.004109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_782-3_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0080648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_782-3_0_3_line_25 | NAYY 4x150 SE | 21 | 25 | 0.010433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_782-3_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.0056877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_782-3_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.0064889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_782-3_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0011517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_782-3_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0042462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_782-3_0_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.011708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_782-3_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.011157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_782-3_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.0090364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_782-3_0_3_line_33 | NAYY 4x150 SE | 29 | 47 | 0.0033008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_782-3_0_3_line_34 | NAYY 4x150 SE | 29 | 43 | 0.015158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_782-3_0_3_line_35 | NAYY 4x150 SE | 30 | 44 | 0.019859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_782-3_0_3_line_36 | NAYY 4x150 SE | 31 | 37 | 0.023704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_782-3_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.01198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_782-3_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.008603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_782-3_0_3_line_39 | NAYY 4x150 SE | 34 | 38 | 0.0070538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_782-3_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.015307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_782-3_0_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.012883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_782-3_0_3_line_42 | NAYY 4x150 SE | 38 | 42 | 0.006231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_782-3_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.023615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_782-3_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.011007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_782-3_0_3_line_45 | NAYY 4x150 SE | 40 | 45 | 0.026617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_782-3_0_3_line_46 | NAYY 4x150 SE | 41 | 46 | 0.0099992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_782-3_0_3_line_47 | NAYY 4x150 SE | 42 | 46 | 0.021044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_782-3_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.011303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_782-3_0_3_line_49 | NAYY 4x150 SE | 45 | 68 | 0.022084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_782-3_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.13596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_782-3_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.021971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_782-3_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.5412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_782-3_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.0207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_782-3_0_3_line_54 | NAYY 4x150 SE | 50 | 53 | 0.0028314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_782-3_0_3_line_55 | NAYY 4x150 SE | 52 | 56 | 0.037787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_782-3_0_3_line_56 | NAYY 4x150 SE | 53 | 57 | 0.079325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_782-3_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.013545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_782-3_0_3_line_58 | NAYY 4x150 SE | 55 | 58 | 0.097975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_782-3_0_3_line_59 | NAYY 4x150 SE | 55 | 59 | 0.19317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_782-3_0_3_line_60 | NAYY 4x150 SE | 56 | 60 | 0.2176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_782-3_0_3_line_61 | NAYY 4x150 SE | 57 | 61 | 0.017386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_782-3_0_3_line_62 | NAYY 4x150 SE | 57 | 62 | 0.014636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_782-3_0_3_line_63 | NAYY 4x150 SE | 58 | 63 | 0.015873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_782-3_0_3_line_64 | NAYY 4x150 SE | 58 | 64 | 0.020839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_782-3_0_3_line_65 | NAYY 4x150 SE | 59 | 65 | 0.007612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_782-3_0_3_line_66 | NAYY 4x150 SE | 59 | 66 | 0.094264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_782-3_0_3_line_67 | NAYY 4x150 SE | 62 | 67 | 0.069375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_782-3_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.049322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_782-3_0_3_line_69 | NAYY 4x150 SE | 63 | 69 | 0.070619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_782-3_0_3_line_70 | NAYY 4x150 SE | 65 | 70 | 0.022819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_782-3_0_3_line_71 | NAYY 4x150 SE | 65 | 71 | 0.078694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_782-3_0_3_line_72 | NAYY 4x150 SE | 66 | 72 | 0.020153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_782-3_0_3_line_73 | NAYY 4x150 SE | 71 | 74 | 0.0065663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_782-3_0_3_line_74 | NAYY 4x150 SE | 72 | 77 | 0.002607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_782-3_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0093005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_782-3_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.012544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_782-3_0_3_trafo_69 | 0.25 MVA 20/0.4 kV | 78 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2665241.6829 | 1167586.9661 | 2665241.8609 | 1167586.651
1 | 2665246.7198 | 1167575.0464 | 2665247.1392 | 1167577.3078 | 2665241.8609 | 1167586.651
2 | 2665241.6829 | 1167586.9661 | 2665241.3714 | 1167587.5175 | 2665237.7927 | 1167595.6724
3 | 2665246.7198 | 1167575.0464 | 2665254.9027 | 1167574.6973
4 | 2665246.7198 | 1167575.0464 | 2665247.7375 | 1167568.0313 | 2665248.6305 | 1167564.7503
5 | 2665236.4973 | 1167600.7275 | 2665236.5207 | 1167598.571 | 2665237.7927 | 1167595.6724
6 | 2665254.9027 | 1167574.6973 | 2665255.4427 | 1167574.6742 | 2665260.1845 | 1167576.5568
7 | 2665248.6305 | 1167564.7503 | 2665253.2596 | 1167560.339
8 | 2665236.4973 | 1167600.7275 | 2665236.8476 | 1167603.0104 | 2665239.5604 | 1167610.4884 | 2665245.9889 | 1167624.9965
9 | 2665236.4973 | 1167600.7275 | 2665232.547 | 1167602.8747 | 2665228.1868 | 1167607.53
10 | 2665261.7766 | 1167577.1888 | 2665260.1845 | 1167576.5568
11 | 2665258.2059 | 1167554.9599 | 2665253.8903 | 1167559.7379 | 2665253.2596 | 1167560.339
12 | 2665247.1318 | 1167627.5756 | 2665245.9889 | 1167624.9965
13 | 2665229.7235 | 1167617.5745 | 2665227.9091 | 1167614.0751 | 2665228.1868 | 1167607.53
14 | 2665261.7766 | 1167577.1888 | 2665261.7766 | 1167577.1888 | 2665263.5325 | 1167576.0716
15 | 2665260.8092 | 1167542.9259 | 2665260.4925 | 1167547.4139 | 2665258.2059 | 1167554.9599 | 2665258.2059 | 1167554.9599
16 | 2665247.1318 | 1167627.5756 | 2665252.6133 | 1167639.9465 | 2665256.9918 | 1167647.059
17 | 2665267.449 | 1167573.5796 | 2665263.5325 | 1167576.0716
18 | 2665260.8092 | 1167542.9259 | 2665255.8528 | 1167540.4485 | 2665237.2254 | 1167535.7882 | 2665217.4389 | 1167525.7901 | 2665213.2428 | 1167523.0764 | 2665208.268 | 1167518.053 | 2665203.0062 | 1167498.5739
19 | 2665260.8092 | 1167542.9259 | 2665255.3148 | 1167544.167 | 2665248.1993 | 1167546.6578 | 2665240.9005 | 1167547.7013
20 | 2665275.8067 | 1167556.8743 | 2665279.7426 | 1167562.8156
21 | 2665281.1393 | 1167566.293 | 2665280.2502 | 1167563.5818 | 2665279.7426 | 1167562.8156
22 | 2665281.1393 | 1167566.293 | 2665278.5264 | 1167566.5314 | 2665267.449 | 1167573.5796
23 | 2665284.8712 | 1167568.0345 | 2665281.1393 | 1167566.293
24 | 2665284.8712 | 1167568.0345 | 2665289.8466 | 1167566.6545 | 2665292.5006 | 1167565.4816
25 | 2665284.8712 | 1167568.0345 | 2665285.8264 | 1167569.6013 | 2665289.1125 | 1167575.04 | 2665290.1552 | 1167577.0268
26 | 2665299.8577 | 1167540.4591 | 2665296.0835 | 1167542.8756 | 2665295.1031 | 1167543.5781
27 | 2665299.8577 | 1167540.4591 | 2665303.6302 | 1167538.0438 | 2665305.2998 | 1167536.9257
28 | 2665292.5006 | 1167565.4816 | 2665293.5541 | 1167565.016 | 2665293.5541 | 1167565.016
29 | 2665290.1552 | 1167577.0268 | 2665292.1285 | 1167580.7866
30 | 2665314.5289 | 1167529.7687 | 2665310.2462 | 1167533.6132 | 2665305.2998 | 1167536.9257
31 | 2665304.0995 | 1167562.57 | 2665301.2326 | 1167564.2435 | 2665295.5323 | 1167565.4155 | 2665293.5541 | 1167565.016
32 | 2665297.766 | 1167587.7345 | 2665293.5372 | 1167583.4706 | 2665292.1285 | 1167580.7866
33 | 2665314.5289 | 1167529.7687 | 2665312.363 | 1167527.2779
34 | 2665324.4781 | 1167541.2277 | 2665314.5289 | 1167529.7687
35 | 2665320.3526 | 1167551.2249 | 2665314.1875 | 1167556.2353 | 2665311.2896 | 1167558.0493 | 2665306.6176 | 1167561.1002 | 2665304.0995 | 1167562.57
36 | 2665314.4582 | 1167604.5652 | 2665297.766 | 1167587.7345
37 | 2665263.2721 | 1167657.2607 | 2665256.9918 | 1167647.059
38 | 2665263.2721 | 1167657.2607 | 2665261.8672 | 1167663.9714 | 2665261.8483 | 1167665.7167
39 | 2665261.8483 | 1167665.7167 | 2665255.6003 | 1167668.9905
40 | 2665305.4704 | 1167613.8171 | 2665293.0992 | 1167604.7554
41 | 2665314.4582 | 1167604.5652 | 2665305.4704 | 1167613.8171
42 | 2665255.6003 | 1167668.9905 | 2665250.081 | 1167671.8825
43 | 2665258.8513 | 1167710.4757 | 2665263.4752 | 1167704.089 | 2665263.0592 | 1167702.2168 | 2665262.4116 | 1167694.1942 | 2665262.2292 | 1167688.4334
44 | 2665262.2292 | 1167688.4334 | 2665251.3095 | 1167689.8184
45 | 2665258.8513 | 1167710.4757 | 2665237.3891 | 1167726.2182
46 | 2665243.397 | 1167687.2676 | 2665243.7551 | 1167688.0327 | 2665245.1126 | 1167690.6044 | 2665251.3095 | 1167689.8184
47 | 2665243.397 | 1167687.2676 | 2665240.1417 | 1167680.3114 | 2665240.4622 | 1167678.9919 | 2665247.5059 | 1167673.2318 | 2665250.081 | 1167671.8825
48 | 2665324.4781 | 1167541.2277 | 2665324.3605 | 1167545.7067 | 2665320.3969 | 1167551.1889 | 2665320.3526 | 1167551.2249
49 | 2665219.1393 | 1167738.6496 | 2665234.7306 | 1167728.1682 | 2665237.3891 | 1167726.2182
50 | 2664768.48 | 1167536.2861 | 2664776.8133 | 1167592.6405 | 2664780.6797 | 1167614.5833 | 2664784.2765 | 1167622.482 | 2664791.4343 | 1167630.9416 | 2664819.5231 | 1167654.9571
51 | 2664836.2224 | 1167669.2347 | 2664819.5231 | 1167654.9571
52 | 2664768.48 | 1167536.2861 | 2664231.8499 | 1167606.4335
53 | 2664836.2224 | 1167669.2347 | 2664828.3519 | 1167668.6606 | 2664815.678 | 1167666.806
54 | 2664836.2224 | 1167669.2347 | 2664839.0464 | 1167669.4391
55 | 2664784.3205 | 1167683.3836 | 2664789.7138 | 1167677.6157 | 2664800.5898 | 1167667.8053 | 2664808.4288 | 1167666.3334 | 2664814.9008 | 1167666.6923 | 2664815.678 | 1167666.806
56 | 2664902.0888 | 1167626.2439 | 2664897.9829 | 1167629.3568 | 2664863.5777 | 1167663.1042 | 2664855.3144 | 1167667.7176 | 2664845.248 | 1167669.888 | 2664839.0464 | 1167669.4391
57 | 2664949.5483 | 1167536.3398 | 2664939.3495 | 1167537.2746 | 2664936.0591 | 1167536.9752
58 | 2664949.2507 | 1167558.2043 | 2664954.5697 | 1167553.348 | 2664966.6365 | 1167544.6069 | 2664979.4978 | 1167536.0078 | 2664992.7321 | 1167527.6129 | 2664982.873 | 1167526.8725 | 2664971.3923 | 1167530.9618 | 2664958.1762 | 1167535.5549 | 2664949.5483 | 1167536.3398
59 | 2664949.5483 | 1167536.3398 | 2664958.1762 | 1167535.5549 | 2664971.3923 | 1167530.9618 | 2664982.873 | 1167526.8725 | 2664992.7321 | 1167527.6129 | 2665000.5383 | 1167522.828 | 2665010.1169 | 1167516.9616 | 2665032.9636 | 1167503.8237 | 2665048.5774 | 1167511.8082 | 2665061.3284 | 1167515.5371 | 2665075.7133 | 1167517.5384 | 2665092.2038 | 1167517.3724 | 2665100.7171 | 1167517.2757 | 2665117.5306 | 1167516.2683 | 2665131.8113 | 1167513.755
60 | 2664784.3205 | 1167683.3836 | 2664755.5761 | 1167899.0777
61 | 2664902.0888 | 1167626.2439 | 2664896.8794 | 1167620.9625 | 2664888.0037 | 1167625.5692
62 | 2664913.7814 | 1167617.3986 | 2664902.0888 | 1167626.2439
63 | 2664949.2507 | 1167558.2043 | 2664960.3696 | 1167569.5325
64 | 2664949.2507 | 1167558.2043 | 2664941.9293 | 1167564.8845 | 2664934.8713 | 1167573.227
65 | 2665131.8113 | 1167513.755 | 2665139.1889 | 1167511.8005
66 | 2665131.8113 | 1167513.755 | 2665106.2671 | 1167560.3486 | 2665107.847 | 1167601.4455
67 | 2664913.7814 | 1167617.3986 | 2664913.1605 | 1167622.4391 | 2664911.144 | 1167643.996 | 2664912.022 | 1167671.8432 | 2664912.0248 | 1167686.6276
68 | 2664913.7814 | 1167617.3986 | 2664917 | 1167606.4383 | 2664924.5942 | 1167588.6771 | 2664932.7487 | 1167575.7358 | 2664934.8713 | 1167573.227
69 | 2664960.3696 | 1167569.5325 | 2664967.195 | 1167576.4862 | 2664967.8813 | 1167588.7671 | 2664968.1452 | 1167601.8773 | 2664975.7884 | 1167617.1017 | 2664972.3899 | 1167627.7042 | 2664967.7204 | 1167633.3061
70 | 2665139.1889 | 1167511.8005 | 2665148.8451 | 1167522.789 | 2665149.3687 | 1167530.9771
71 | 2665139.1889 | 1167511.8005 | 2665143.8795 | 1167510.5618 | 2665148.8287 | 1167507.3581 | 2665155.0807 | 1167503.3125 | 2665162.7703 | 1167491.656 | 2665173.6951 | 1167495.7767 | 2665181.5661 | 1167495.6175 | 2665192.7134 | 1167490.5245 | 2665198.5357 | 1167491.5215 | 2665199.5227 | 1167492.266 | 2665201.7551 | 1167493.9467 | 2665203.0062 | 1167498.5739
72 | 2665107.847 | 1167601.4455 | 2665108.6212 | 1167621.5834
73 | 2665203.0062 | 1167498.5739 | 2665198.2061 | 1167503.0545
74 | 2665108.7214 | 1167624.1885 | 2665108.6212 | 1167621.5834
75 | 2665192.3482 | 1167510.191 | 2665195.1182 | 1167505.9369 | 2665198.2061 | 1167503.0545
76 | 2665185.6182 | 1167520.7755 | 2665187.7072 | 1167517.3184 | 2665192.3482 | 1167510.191

## bus_geodata
| x | y | coords
0 | 2665241.8609 | 1167586.651
1 | 2665241.6829 | 1167586.9661
2 | 2665246.7198 | 1167575.0464
3 | 2665237.7927 | 1167595.6724
4 | 2665254.9027 | 1167574.6973
5 | 2665248.6305 | 1167564.7503
6 | 2665236.4973 | 1167600.7275
7 | 2665260.1845 | 1167576.5568
8 | 2665253.2596 | 1167560.339
9 | 2665245.9889 | 1167624.9965
10 | 2665228.1868 | 1167607.53
11 | 2665261.7766 | 1167577.1888
12 | 2665258.2059 | 1167554.9599
13 | 2665247.1318 | 1167627.5756
14 | 2665229.7235 | 1167617.5745
15 | 2665263.5325 | 1167576.0716
16 | 2665260.8092 | 1167542.9259
17 | 2665279.7426 | 1167562.8156
18 | 2665275.8067 | 1167556.8743
19 | 2665281.1393 | 1167566.293
20 | 2665267.449 | 1167573.5796
21 | 2665284.8712 | 1167568.0345
22 | 2665295.1031 | 1167543.5781
23 | 2665299.8577 | 1167540.4591
24 | 2665292.5006 | 1167565.4816
25 | 2665290.1552 | 1167577.0268
26 | 2665305.2998 | 1167536.9257
27 | 2665293.5541 | 1167565.016
28 | 2665292.1285 | 1167580.7866
29 | 2665314.5289 | 1167529.7687
30 | 2665304.0995 | 1167562.57
31 | 2665297.766 | 1167587.7345
32 | 2665256.9918 | 1167647.059
33 | 2665263.2721 | 1167657.2607
34 | 2665261.8483 | 1167665.7167
35 | 2665305.4704 | 1167613.8171
36 | 2665293.0992 | 1167604.7554
37 | 2665314.4582 | 1167604.5652
38 | 2665255.6003 | 1167668.9905
39 | 2665262.2292 | 1167688.4334
40 | 2665258.8513 | 1167710.4757
41 | 2665251.3095 | 1167689.8184
42 | 2665250.081 | 1167671.8825
43 | 2665324.4781 | 1167541.2277
44 | 2665320.3526 | 1167551.2249
45 | 2665237.3891 | 1167726.2182
46 | 2665243.3971 | 1167687.2676
47 | 2665312.363 | 1167527.2779
48 | 2664819.5231 | 1167654.9571
49 | 2664768.48 | 1167536.2861
50 | 2664836.2224 | 1167669.2347
51 | 2664231.8499 | 1167606.4335
52 | 2664815.678 | 1167666.806
53 | 2664839.0464 | 1167669.4391
54 | 2664936.0591 | 1167536.9752
55 | 2664949.5483 | 1167536.3398
56 | 2664784.3205 | 1167683.3836
57 | 2664902.0889 | 1167626.2439
58 | 2664949.2507 | 1167558.2043
59 | 2665131.8113 | 1167513.755
60 | 2664755.5761 | 1167899.0777
61 | 2664888.0037 | 1167625.5692
62 | 2664913.7814 | 1167617.3986
63 | 2664960.3696 | 1167569.5325
64 | 2664934.8713 | 1167573.227
65 | 2665139.1889 | 1167511.8005
66 | 2665107.847 | 1167601.4455
67 | 2664912.0248 | 1167686.6276
68 | 2665219.1393 | 1167738.6496
69 | 2664967.7204 | 1167633.3061
70 | 2665149.3687 | 1167530.9771
71 | 2665203.0062 | 1167498.5739
72 | 2665108.6212 | 1167621.5834
73 | 2665240.9005 | 1167547.7013
74 | 2665198.2061 | 1167503.0545
75 | 2665192.3482 | 1167510.191
76 | 2665185.6182 | 1167520.7755
77 | 2665108.7214 | 1167624.1885
78 | 2665108.7214 | 1167624.1885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1