## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_783-11_1_3_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_783-11_1_3_node_133 | 0.4 | n |  | TRUE
2 | bus_LV_783-11_1_3_node_132 | 0.4 | n |  | TRUE
3 | bus_LV_783-11_1_3_node_94 | 0.4 | n |  | TRUE
4 | bus_LV_783-11_1_3_node_134 | 0.4 | n |  | TRUE
5 | bus_LV_783-11_1_3_node_146 | 0.4 | n |  | TRUE
6 | bus_LV_783-11_1_3_node_147 | 0.4 | n |  | TRUE
7 | bus_LV_783-11_1_3_node_148 | 0.4 | n |  | TRUE
8 | bus_LV_783-11_1_3_node_104 | 0.4 | n |  | TRUE
9 | bus_LV_783-11_1_3_node_157 | 0.4 | n |  | TRUE
10 | bus_LV_783-11_1_3_node_90 | 0.4 | n |  | TRUE
11 | bus_LV_783-11_1_3_node_165 | 0.4 | n |  | TRUE
12 | bus_LV_783-11_1_3_node_166 | 0.4 | n |  | TRUE
13 | bus_LV_783-11_1_3_node_167 | 0.4 | n |  | TRUE
14 | bus_LV_783-11_1_3_node_168 | 0.4 | n |  | TRUE
15 | bus_LV_783-11_1_3_node_169 | 0.4 | n |  | TRUE
16 | bus_LV_783-11_1_3_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_783-11_1_3_node_170 | 0.4 | n |  | TRUE
18 | bus_LV_783-11_1_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_783-11_1_3_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_783-11_1_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_783-11_1_3_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_783-11_1_3_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_783-11_1_3_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_783-11_1_3_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_783-11_1_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_783-11_1_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_783-11_1_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_783-11_1_3_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_783-11_1_3_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_783-11_1_3_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_783-11_1_3_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_783-11_1_3_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_783-11_1_3_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_783-11_1_3_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_783-11_1_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_783-11_1_3_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_783-11_1_3_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_783-11_1_3_node_110 | 0.4 | n |  | TRUE
39 | bus_LV_783-11_1_3_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_783-11_1_3_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_783-11_1_3_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_783-11_1_3_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_783-11_1_3_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_783-11_1_3_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_783-11_1_3_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_783-11_1_3_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_783-11_1_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_783-11_1_3_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_783-11_1_3_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_783-11_1_3_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_783-11_1_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_783-11_1_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_783-11_1_3_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_783-11_1_3_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_783-11_1_3_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_783-11_1_3_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_783-11_1_3_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_783-11_1_3_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_783-11_1_3_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_783-11_1_3_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_783-11_1_3_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_783-11_1_3_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_783-11_1_3_node_119 | 0.4 | n |  | TRUE
64 | bus_LV_783-11_1_3_node_117 | 0.4 | n |  | TRUE
65 | bus_MV_139_0_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_783-11_1_3_load_130 | 0 | 0.00016805 | 4.2117e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_783-11_1_3_load_132 | 2 | 0.00038362 | 9.6143e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_783-11_1_3_load_94 | 3 | 0.00051239 | 0.00012842 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_783-11_1_3_load_134 | 4 | 0.0021447 | 0.00053752 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_783-11_1_3_load_147 | 6 | 0.00027255 | 6.8307e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_783-11_1_3_load_148 | 7 | 0.0010906 | 0.00027334 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_783-11_1_3_load_104 | 8 | 0.00030402 | 7.6195e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_783-11_1_3_load_157 | 9 | 0.00031984 | 8.0158e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_783-11_1_3_load_90 | 10 | 0.0012747 | 0.00031948 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_783-11_1_3_load_166 | 12 | 0.0062345 | 0.0015625 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_783-11_1_3_load_168 | 14 | 0.0055033 | 0.0013793 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_783-11_1_3_load_95 | 16 | 0.0073292 | 0.0018369 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_783-11_1_3_load_170 | 17 | 0.0063234 | 0.0015848 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_783-11_1_3_load_42 | 18 | 0.0011772 | 0.00029504 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_783-11_1_3_load_49 | 20 | 0.0019448 | 0.00048741 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_783-11_1_3_load_50 | 21 | 0.0011243 | 0.00028178 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_783-11_1_3_load_52 | 22 | 0.012297 | 0.0030819 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_783-11_1_3_load_53 | 23 | 0.00063613 | 0.00015943 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_783-11_1_3_load_54 | 25 | 0.0037991 | 0.00095214 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_783-11_1_3_load_55 | 26 | 0.0048183 | 0.0012076 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_783-11_1_3_load_57 | 27 | 0.00046934 | 0.00011763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_783-11_1_3_load_58 | 28 | 0.00078083 | 0.00019569 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_783-11_1_3_load_75 | 29 | 0.0010597 | 0.00026559 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_783-11_1_3_load_59 | 30 | 0.00069515 | 0.00017422 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_783-11_1_3_load_60 | 31 | 0.00037461 | 9.3886e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_783-11_1_3_load_61 | 32 | 0.00031527 | 7.9013e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_783-11_1_3_load_62 | 33 | 0.00041548 | 0.00010413 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_783-11_1_3_load_63 | 34 | 0.00036657 | 9.1871e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_783-11_1_3_load_64 | 35 | 0.00090114 | 0.00022585 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_783-11_1_3_load_65 | 36 | 0.0012422 | 0.00031134 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_783-11_1_3_load_67 | 37 | 0.00039987 | 0.00010022 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_783-11_1_3_load_110 | 38 | 0.00039815 | 9.9786e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_783-11_1_3_load_66 | 39 | 0.0024735 | 0.00061992 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_783-11_1_3_load_68 | 40 | 0.0006319 | 0.00015837 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_783-11_1_3_load_71 | 43 | 0.001275 | 0.00031955 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_783-11_1_3_load_91 | 45 | 0.00043104 | 0.00010803 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_783-11_1_3_load_116 | 46 | 0.00051419 | 0.00012887 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_783-11_1_3_load_73 | 47 | 0.0046439 | 0.0011639 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_783-11_1_3_load_84 | 48 | 0.00038136 | 9.5579e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_783-11_1_3_load_85 | 49 | 0.00023726 | 5.9463e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_783-11_1_3_load_87 | 51 | 0.00022535 | 5.6478e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_783-11_1_3_load_88 | 52 | 0.00051614 | 0.00012936 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_783-11_1_3_load_105 | 54 | 0.00039219 | 9.8291e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_783-11_1_3_load_102 | 55 | 0.00067982 | 0.00017038 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_783-11_1_3_load_92 | 56 | 0.00091978 | 0.00023052 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_783-11_1_3_load_93 | 57 | 0.0010351 | 0.00025943 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_783-11_1_3_load_100 | 58 | 0.00074169 | 0.00018588 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_783-11_1_3_load_101 | 59 | 0.00098841 | 0.00024772 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_783-11_1_3_load_103 | 60 | 0.00029546 | 7.4049e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_783-11_1_3_load_118 | 61 | 0.00053986 | 0.0001353 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_783-11_1_3_load_111 | 62 | 0.0010252 | 0.00025694 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_783-11_1_3_load_119 | 63 | 0.0017528 | 0.0004393 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_783-11_1_3_load_117 | 64 | 0.00035107 | 8.7987e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_783-11_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.062788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_783-11_1_3_line_1 | NAYY 4x150 SE | 1 | 4 | 0.046114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_783-11_1_3_line_2 | NAYY 4x150 SE | 1 | 2 | 0.052111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_783-11_1_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.075395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_783-11_1_3_line_4 | NAYY 4x150 SE | 3 | 57 | 0.01507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_783-11_1_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.057468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_783-11_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.047553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_783-11_1_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.043508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_783-11_1_3_line_8 | NAYY 4x150 SE | 8 | 60 | 0.041039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_783-11_1_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.012058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_783-11_1_3_line_10 | NAYY 4x150 SE | 10 | 52 | 0.017618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_783-11_1_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.024347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_783-11_1_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.042851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_783-11_1_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.004026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_783-11_1_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.012749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_783-11_1_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.015277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_783-11_1_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.023493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_783-11_1_3_line_17 | NAYY 4x150 SE | 16 | 44 | 0.030196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_783-11_1_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.012136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_783-11_1_3_line_19 | NAYY 4x150 SE | 19 | 27 | 0.019675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_783-11_1_3_line_20 | NAYY 4x150 SE | 19 | 25 | 0.032858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_783-11_1_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.010497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_783-11_1_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.036399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_783-11_1_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0046743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_783-11_1_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.014835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_783-11_1_3_line_25 | NAYY 4x150 SE | 24 | 47 | 0.010366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_783-11_1_3_line_26 | NAYY 4x150 SE | 24 | 44 | 0.060388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_783-11_1_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.021346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_783-11_1_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.011854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_783-11_1_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.013734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_783-11_1_3_line_30 | NAYY 4x150 SE | 29 | 47 | 0.010053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_783-11_1_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0086358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_783-11_1_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.01551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_783-11_1_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.00034591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_783-11_1_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.01062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_783-11_1_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0086715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_783-11_1_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0058193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_783-11_1_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.018534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_783-11_1_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.041134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_783-11_1_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.086396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_783-11_1_3_line_40 | NAYY 4x150 SE | 38 | 62 | 0.0046117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_783-11_1_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0002267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_783-11_1_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.042991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_783-11_1_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.014197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_783-11_1_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.025904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_783-11_1_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.006522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_783-11_1_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.088708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_783-11_1_3_line_47 | NAYY 4x150 SE | 43 | 46 | 0.024123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_783-11_1_3_line_48 | NAYY 4x150 SE | 45 | 56 | 0.062307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_783-11_1_3_line_49 | NAYY 4x150 SE | 46 | 64 | 0.038462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_783-11_1_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.04882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_783-11_1_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.05979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_783-11_1_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.016065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_783-11_1_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.018774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_783-11_1_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0064088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_783-11_1_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.03506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_783-11_1_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.012339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_783-11_1_3_line_57 | NAYY 4x150 SE | 54 | 61 | 0.0024796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_783-11_1_3_line_58 | NAYY 4x150 SE | 55 | 58 | 0.07047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_783-11_1_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0022435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_783-11_1_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.04875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_783-11_1_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.024001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_783-11_1_3_line_62 | NAYY 4x150 SE | 61 | 64 | 0.010372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_783-11_1_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.020164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_783-11_1_3_trafo_70 | 0.25 MVA 20/0.4 kV | 65 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2659405.7231 | 1175684.9796 | 2659402.5265 | 1175675.8318 | 2659399.8388 | 1175668.5678 | 2659397.0508 | 1175663.7153 | 2659378.5091 | 1175638.6402 | 2659372.7859 | 1175632.2023
1 | 2659364.9737 | 1175588.9011 | 2659363.4268 | 1175601.5372 | 2659363.76 | 1175610.3565 | 2659364.1087 | 1175617.6084 | 2659365.3926 | 1175622.2792 | 2659367.2826 | 1175625.9555 | 2659371.5764 | 1175630.834 | 2659372.7859 | 1175632.2023
2 | 2659372.7859 | 1175632.2023 | 2659369.637 | 1175632.1489 | 2659367.7152 | 1175632.4523 | 2659365.8626 | 1175634.2683 | 2659365.326 | 1175637.5092 | 2659365.4101 | 1175646.0037 | 2659364.7756 | 1175651.4115 | 2659362.8017 | 1175656.2169 | 2659358.386 | 1175663.6662 | 2659355.8298 | 1175669.3774 | 2659354.5958 | 1175676.3546
3 | 2659294.2009 | 1175721.4867 | 2659354.5958 | 1175676.3546
4 | 2659294.2009 | 1175721.4867 | 2659279.899 | 1175716.7369
5 | 2659213.6584 | 1175341.8367 | 2659217.0926 | 1175347.0846 | 2659218.9232 | 1175349.0481 | 2659221.7736 | 1175350.7105 | 2659253.5888 | 1175367.9895 | 2659261.0828 | 1175373.1886
6 | 2659261.0828 | 1175373.1886 | 2659258.3576 | 1175375.1072 | 2659254.0024 | 1175377.1987 | 2659250.3064 | 1175378.3295 | 2659243.0225 | 1175379.7251 | 2659238.0723 | 1175380.9102 | 2659234.4013 | 1175382.6194 | 2659231.821 | 1175384.5728 | 2659229.335 | 1175387.0385 | 2659226.8133 | 1175390.8046 | 2659224.9094 | 1175394.7214 | 2659223.8276 | 1175397.8844
7 | 2659223.8276 | 1175397.8844 | 2659220.4303 | 1175407.8178 | 2659218.8074 | 1175411.1369 | 2659216.2635 | 1175414.0579 | 2659212.7503 | 1175416.8136 | 2659207.7832 | 1175418.9436 | 2659192.8368 | 1175423.3151
8 | 2659192.8368 | 1175423.3151 | 2659191.0158 | 1175423.8477 | 2659180.3102 | 1175428.0333 | 2659174.3189 | 1175430.9203 | 2659169.1458 | 1175433.782 | 2659162.6075 | 1175438.6536 | 2659157.4097 | 1175443.2383
9 | 2659234.4363 | 1175496.0047 | 2659240.0731 | 1175504.2427 | 2659241.1257 | 1175506.0318
10 | 2659228.9964 | 1175516.7917 | 2659233.902 | 1175514.5097 | 2659240.0965 | 1175510.3908 | 2659241.4561 | 1175508.1807 | 2659241.1257 | 1175506.0318
11 | 2659197.6279 | 1175787.3029 | 2659197.895 | 1175796.644 | 2659195.0437 | 1175811.3685
12 | 2659175.0218 | 1175773.5724 | 2659176.4722 | 1175775.321 | 2659182.3486 | 1175784.8287 | 2659183.9615 | 1175787.9352 | 2659195.0437 | 1175811.3685
13 | 2659175.0218 | 1175773.5724 | 2659172.1275 | 1175776.3788
14 | 2659166.485 | 1175764.083 | 2659172.1185 | 1175770.3198 | 2659175.0218 | 1175773.5724
15 | 2659166.485 | 1175764.083 | 2659164.0711 | 1175761.5912 | 2659160.6258 | 1175758.2554 | 2659155.4046 | 1175753.5742
16 | 2659166.485 | 1175764.083 | 2659163.4699 | 1175766.7437 | 2659169.0665 | 1175773.6138 | 2659159.1965 | 1175777.6187
17 | 2659132.6758 | 1175733.6998 | 2659135.9357 | 1175736.4556 | 2659141.4932 | 1175741.1018 | 2659155.4046 | 1175753.5742
18 | 2659097.6358 | 1175838.3349 | 2659093.3234 | 1175844.6515 | 2659090.1472 | 1175847.8215
19 | 2659097.6358 | 1175838.3349 | 2659104.3678 | 1175837.0338 | 2659109.7963 | 1175835.3641 | 2659111.8387 | 1175833.6721 | 2659114.0014 | 1175830.6251 | 2659114.3661 | 1175829.9693
20 | 2659097.6358 | 1175838.3349 | 2659091.7974 | 1175838.9333 | 2659085.5381 | 1175840.3502 | 2659078.3665 | 1175842.8255 | 2659070.7993 | 1175845.8749 | 2659066.5723 | 1175848.203
21 | 2659060.2553 | 1175780.1885 | 2659059.6171 | 1175779.7505 | 2659056.8032 | 1175778.2776 | 2659053.5705 | 1175777.4231 | 2659050.3681 | 1175777.3693
22 | 2659060.2553 | 1175780.1885 | 2659067.9161 | 1175785.4464 | 2659073.2201 | 1175787.8889 | 2659077.5371 | 1175788.8652 | 2659094.3679 | 1175789.4849
23 | 2659094.3679 | 1175789.4849 | 2659098.9714 | 1175789.6544 | 2659099.0386 | 1175789.6467
24 | 2659113.4731 | 1175786.4843 | 2659109.4772 | 1175787.8346 | 2659104.8794 | 1175788.9789 | 2659099.0386 | 1175789.6467
25 | 2659113.4731 | 1175786.4843 | 2659117.1569 | 1175796.1734
26 | 2659113.4731 | 1175786.4843 | 2659120.5365 | 1175782.5962 | 2659123.3872 | 1175780.323 | 2659124.6973 | 1175778.4793 | 2659125.544 | 1175776.3309 | 2659126.0439 | 1175773.701 | 2659127.7569 | 1175744.1571 | 2659128.216 | 1175741.0043 | 2659128.933 | 1175738.8324 | 2659130.1373 | 1175736.8654 | 2659132.6758 | 1175733.6998
27 | 2659066.5723 | 1175848.203 | 2659047.8749 | 1175858.5006
28 | 2659118.8278 | 1175819.0462 | 2659118.4897 | 1175820.4192 | 2659116.4917 | 1175826.1471 | 2659114.3661 | 1175829.9693
29 | 2659118.8278 | 1175819.0462 | 2659120.9343 | 1175810.4933 | 2659120.9599 | 1175807.1139 | 2659120.5935 | 1175805.6125
30 | 2659117.1569 | 1175796.1734 | 2659120.3207 | 1175804.4951 | 2659120.5935 | 1175805.6125
31 | 2658984.2737 | 1175624.5891 | 2658991.9647 | 1175628.5168
32 | 2658984.2737 | 1175624.5891 | 2658970.4607 | 1175617.5347
33 | 2658991.9647 | 1175628.5168 | 2658992.2727 | 1175628.6742
34 | 2658961.0029 | 1175612.7046 | 2658970.4607 | 1175617.5347
35 | 2658992.2727 | 1175628.6742 | 2658995.0196 | 1175630.077 | 2658999.7269 | 1175633.0865
36 | 2658961.0029 | 1175612.7046 | 2658955.8203 | 1175610.0578
37 | 2659015.3423 | 1175643.0698 | 2658999.7269 | 1175633.0865
38 | 2658922.1369 | 1175586.4991 | 2658953.2917 | 1175608.7665 | 2658955.8203 | 1175610.0578
39 | 2659084.4376 | 1175694.7697 | 2659071.6324 | 1175683.6156 | 2659031.6658 | 1175653.5058 | 2659015.3423 | 1175643.0698
40 | 2658922.1369 | 1175586.4991 | 2658919.5414 | 1175584.644 | 2658918.457 | 1175583.725
41 | 2659084.4376 | 1175694.7697 | 2659084.6085 | 1175694.9186
42 | 2659121.3028 | 1175716.456 | 2659094.9964 | 1175704.2791 | 2659092.4843 | 1175702.4312 | 2659084.7219 | 1175695.0173 | 2659084.6085 | 1175694.9186
43 | 2659121.3028 | 1175716.456 | 2659122.9079 | 1175719.5846 | 2659127.5572 | 1175727.1791 | 2659128.4901 | 1175728.7002
44 | 2659121.3028 | 1175716.456 | 2659121.1807 | 1175711.7855 | 2659121.7111 | 1175705.2761 | 2659122.5442 | 1175699.859 | 2659123.9481 | 1175694.7033 | 2659125.1365 | 1175691.0134
45 | 2659132.6758 | 1175733.6998 | 2659130.4445 | 1175731.2876 | 2659128.4901 | 1175728.7002
46 | 2659128.4901 | 1175728.7002 | 2659136.6374 | 1175725.7566 | 2659142.0072 | 1175724.62 | 2659159.4743 | 1175721.5348 | 2659194.309 | 1175719.2547 | 2659216.1641 | 1175720.8044 | 2659216.1641 | 1175720.8044
47 | 2659125.1365 | 1175691.0134 | 2659130.8795 | 1175673.1819 | 2659132.6946 | 1175668.1072
48 | 2659277.7699 | 1175716.0298 | 2659272.5668 | 1175714.3019 | 2659255.4593 | 1175717.3569 | 2659216.1641 | 1175720.8044
49 | 2659145.0698 | 1175631.6936 | 2659137.2312 | 1175655.4235 | 2659132.6946 | 1175668.1072
50 | 2659226.3431 | 1175574.7574 | 2659226.0501 | 1175577.3337 | 2659225.0541 | 1175579.1026 | 2659223.158 | 1175580.6848 | 2659218.9552 | 1175582.0663 | 2659214.3058 | 1175582.9987 | 2659208.7603 | 1175584.1002 | 2659195.6935 | 1175587.4399 | 2659190.6857 | 1175588.2798 | 2659186.3135 | 1175588.2367 | 2659182.3984 | 1175587.5755
51 | 2659211.8488 | 1175524.431 | 2659209.1334 | 1175527.6949 | 2659206.5742 | 1175533.7174 | 2659205.3744 | 1175538.3304 | 2659204.8873 | 1175541.9831 | 2659204.9387 | 1175546.0748 | 2659205.7097 | 1175549.2842 | 2659207.1154 | 1175551.6994 | 2659211.4446 | 1175556.1001 | 2659217.1936 | 1175561.4931 | 2659222.7468 | 1175568.1293 | 2659224.9515 | 1175570.9082 | 2659225.7374 | 1175572.6169 | 2659226.3431 | 1175574.7574
52 | 2659166.5058 | 1175586.0968 | 2659173.8447 | 1175585.9792 | 2659177.6783 | 1175586.3728 | 2659182.3984 | 1175587.5755 | 2659182.3984 | 1175587.5755
53 | 2659211.8488 | 1175524.431 | 2659220.9845 | 1175520.5189 | 2659228.9964 | 1175516.7917
54 | 2659160.0977 | 1175586.1994 | 2659166.5058 | 1175586.0968
55 | 2659160.0977 | 1175586.1994 | 2659149.1009 | 1175619.4903
56 | 2659160.0977 | 1175586.1994 | 2659164.0018 | 1175574.7982 | 2659164.0952 | 1175574.5257
57 | 2659148.3232 | 1175621.8447 | 2659149.1009 | 1175619.4903
58 | 2659172.1844 | 1175505.6485 | 2659173.7207 | 1175512.504 | 2659174.679 | 1175523.086 | 2659174.6529 | 1175529.6115 | 2659174.0033 | 1175536.5645 | 2659172.9482 | 1175543.558 | 2659171.2607 | 1175551.1122 | 2659167.9059 | 1175563.3971 | 2659164.0952 | 1175574.5257
59 | 2659277.7699 | 1175716.0298 | 2659279.899 | 1175716.7369
60 | 2659172.1844 | 1175505.6485 | 2659168.9466 | 1175491.2007 | 2659166.8408 | 1175485.3545 | 2659163.4623 | 1175480.6631 | 2659160.2535 | 1175477.3629 | 2659154.0805 | 1175473.0887 | 2659151.4253 | 1175470.2498 | 2659149.8902 | 1175467.7666 | 2659148.9708 | 1175464.8782
61 | 2659148.9708 | 1175464.8782 | 2659148.9708 | 1175464.8782 | 2659148.8189 | 1175461.6749 | 2659149.0738 | 1175458.3089 | 2659150.1602 | 1175454.3397 | 2659152.7081 | 1175449.4621 | 2659157.4097 | 1175443.2383 | 2659157.4097 | 1175443.2383
62 | 2659145.0698 | 1175631.6936 | 2659148.3232 | 1175621.8447
63 | 2658918.457 | 1175583.725 | 2658903.074 | 1175570.6888

## bus_geodata
| x | y | coords
0 | 2659405.7231 | 1175684.9796
1 | 2659372.7859 | 1175632.2023
2 | 2659354.5958 | 1175676.3546
3 | 2659294.2009 | 1175721.4867
4 | 2659364.9737 | 1175588.9011
5 | 2659261.0828 | 1175373.1886
6 | 2659213.6584 | 1175341.8367
7 | 2659223.8276 | 1175397.8844
8 | 2659192.8368 | 1175423.3151
9 | 2659234.4363 | 1175496.0047
10 | 2659241.1257 | 1175506.0318
11 | 2659195.0437 | 1175811.3685
12 | 2659197.6279 | 1175787.3029
13 | 2659175.0218 | 1175773.5724
14 | 2659172.1275 | 1175776.3788
15 | 2659166.485 | 1175764.083
16 | 2659155.4046 | 1175753.5742
17 | 2659159.1965 | 1175777.6187
18 | 2659090.1472 | 1175847.8215
19 | 2659097.6358 | 1175838.3349
20 | 2659050.3681 | 1175777.3693
21 | 2659060.2553 | 1175780.1885
22 | 2659094.3679 | 1175789.4849
23 | 2659099.0386 | 1175789.6467
24 | 2659113.4731 | 1175786.4843
25 | 2659066.5723 | 1175848.203
26 | 2659047.8749 | 1175858.5006
27 | 2659114.3661 | 1175829.9693
28 | 2659118.8278 | 1175819.0462
29 | 2659120.5935 | 1175805.6125
30 | 2658984.2737 | 1175624.5891
31 | 2658991.9647 | 1175628.5168
32 | 2658970.4607 | 1175617.5347
33 | 2658992.2727 | 1175628.6742
34 | 2658961.0029 | 1175612.7046
35 | 2658999.7269 | 1175633.0865
36 | 2658955.8203 | 1175610.0578
37 | 2659015.3422 | 1175643.0698
38 | 2658922.1369 | 1175586.4991
39 | 2659084.4376 | 1175694.7697
40 | 2659084.6085 | 1175694.9186
41 | 2659121.3028 | 1175716.456
42 | 2659128.4901 | 1175728.7002
43 | 2659125.1365 | 1175691.0134
44 | 2659132.6758 | 1175733.6998
45 | 2659216.1641 | 1175720.8044
46 | 2659132.6946 | 1175668.1072
47 | 2659117.1569 | 1175796.1734
48 | 2659226.3431 | 1175574.7574
49 | 2659182.3984 | 1175587.5755
50 | 2659211.8488 | 1175524.431
51 | 2659166.5058 | 1175586.0968
52 | 2659228.9964 | 1175516.7917
53 | 2659160.0977 | 1175586.1994
54 | 2659149.1009 | 1175619.4903
55 | 2659164.0952 | 1175574.5257
56 | 2659277.7699 | 1175716.0298
57 | 2659279.899 | 1175716.7369
58 | 2659172.1844 | 1175505.6485
59 | 2659148.9708 | 1175464.8782
60 | 2659157.4097 | 1175443.2383
61 | 2659148.3232 | 1175621.8447
62 | 2658918.457 | 1175583.725
63 | 2658903.074 | 1175570.6888
64 | 2659145.0698 | 1175631.6936
65 | 2659132.6758 | 1175733.6998

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1