## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_783-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_783-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_783-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_783-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_783-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_783-12_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_783-12_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_783-12_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_783-12_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_783-12_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_783-12_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_783-12_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_783-12_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_783-12_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_783-12_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_783-12_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_783-12_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_783-12_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_783-12_0_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_783-12_0_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_783-12_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_783-12_0_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_783-12_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_783-12_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_783-12_0_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_783-12_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_783-12_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_783-12_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_783-12_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_783-12_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_783-12_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_783-12_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_783-12_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_783-12_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_783-12_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_783-12_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_783-12_0_3_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_783-12_0_3_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_783-12_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_783-12_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_783-12_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_783-12_0_3_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_783-12_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_783-12_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_783-12_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_783-12_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_783-12_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_783-12_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_783-12_0_3_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_783-12_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_783-12_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_783-12_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_783-12_0_3_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_783-12_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_783-12_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_783-12_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_783-12_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_783-12_0_3_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_783-12_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_783-12_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_783-12_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_783-12_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_783-12_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_783-12_0_3_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_783-12_0_3_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_783-12_0_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_783-12_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_783-12_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_783-12_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_783-12_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_783-12_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_783-12_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_783-12_0_3_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_783-12_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_783-12_0_3_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_783-12_0_3_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_783-12_0_3_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_783-12_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_783-12_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_783-12_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_783-12_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_783-12_0_3_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_783-12_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_783-12_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_783-12_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_783-12_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_783-12_0_3_node_83 | 0.4 | n |  | TRUE
87 | bus_MV_139_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_783-12_0_3_load_0 | 0 | 0.004551 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_783-12_0_3_load_1 | 1 | 0.0017244 | 0.00043217 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_783-12_0_3_load_3 | 3 | 0.0016659 | 0.00041752 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_783-12_0_3_load_4 | 4 | 0.0041361 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_783-12_0_3_load_10 | 5 | 0.00075205 | 0.00018848 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_783-12_0_3_load_28 | 6 | 0.00081472 | 0.00020419 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_783-12_0_3_load_11 | 7 | 0.0020457 | 0.0005127 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_783-12_0_3_load_27 | 8 | 0.0013307 | 0.0003335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_783-12_0_3_load_5 | 9 | 0.0013031 | 0.00032658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_783-12_0_3_load_6 | 10 | 0.0013833 | 0.00034669 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_783-12_0_3_load_7 | 11 | 0.0013799 | 0.00034583 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_783-12_0_3_load_8 | 12 | 0.0020987 | 0.00052599 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_783-12_0_3_load_9 | 13 | 0.0010246 | 0.00025678 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_783-12_0_3_load_26 | 15 | 0.0014882 | 0.00037299 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_783-12_0_3_load_17 | 16 | 0.0015685 | 0.0003931 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_783-12_0_3_load_13 | 17 | 0.0017075 | 0.00042793 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_783-12_0_3_load_44 | 18 | 0.00092494 | 0.00023181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_783-12_0_3_load_12 | 20 | 0.0075694 | 0.0018971 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_783-12_0_3_load_25 | 21 | 0.0013417 | 0.00033627 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_783-12_0_3_load_14 | 22 | 0.00083682 | 0.00020973 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_783-12_0_3_load_16 | 23 | 0.0015975 | 0.00040038 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_783-12_0_3_load_30 | 24 | 0.0016618 | 0.00041648 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_783-12_0_3_load_21 | 25 | 0.0012613 | 0.00031612 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_783-12_0_3_load_37 | 26 | 0.0017613 | 0.00044142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_783-12_0_3_load_38 | 27 | 0.00075791 | 0.00018995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_783-12_0_3_load_22 | 29 | 0.0017703 | 0.00044367 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_783-12_0_3_load_18 | 30 | 0.001114 | 0.00027919 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_783-12_0_3_load_19 | 31 | 0.00086848 | 0.00021766 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_783-12_0_3_load_24 | 33 | 0.00069186 | 0.0001734 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_783-12_0_3_load_23 | 34 | 0.00050129 | 0.00012564 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_783-12_0_3_load_29 | 35 | 0.0012646 | 0.00031693 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_783-12_0_3_load_35 | 38 | 0.0023274 | 0.00058329 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_783-12_0_3_load_51 | 40 | 0.0017854 | 0.00044746 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_783-12_0_3_load_71 | 41 | 0.0011115 | 0.00027856 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_783-12_0_3_load_32 | 43 | 0.0030261 | 0.00075841 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_783-12_0_3_load_34 | 44 | 0.0028942 | 0.00072536 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_783-12_0_3_load_39 | 45 | 0.0025557 | 0.00064052 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_783-12_0_3_load_49 | 47 | 0.0011508 | 0.00028842 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_783-12_0_3_load_72 | 48 | 0.0017031 | 0.00042684 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_783-12_0_3_load_40 | 49 | 0.00060599 | 0.00015188 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_783-12_0_3_load_43 | 51 | 0.0033432 | 0.00083789 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_783-12_0_3_load_73 | 52 | 0.0011562 | 0.00028977 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_783-12_0_3_load_47 | 53 | 0.0014452 | 0.0003622 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_783-12_0_3_load_48 | 54 | 0.0010616 | 0.00026606 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_783-12_0_3_load_50 | 55 | 0.0024294 | 0.00060886 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_783-12_0_3_load_62 | 56 | 0.0024494 | 0.00061387 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_783-12_0_3_load_81 | 57 | 0.00080195 | 0.00020099 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_783-12_0_3_load_52 | 58 | 0.0030491 | 0.00076418 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_783-12_0_3_load_53 | 59 | 0.0034052 | 0.00085342 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_783-12_0_3_load_54 | 60 | 0.0026858 | 0.00067312 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_783-12_0_3_load_55 | 61 | 0.0036789 | 0.00092201 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_783-12_0_3_load_56 | 62 | 0.0018437 | 0.00046207 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_783-12_0_3_load_68 | 64 | 0.0020201 | 0.0005063 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_783-12_0_3_load_85 | 65 | 0.004243 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_783-12_0_3_load_78 | 66 | 0.0019438 | 0.00048716 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_783-12_0_3_load_67 | 67 | 0.0046426 | 0.0011635 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_783-12_0_3_load_57 | 68 | 0.013077 | 0.0032775 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_783-12_0_3_load_58 | 69 | 0.0011974 | 0.00030009 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_783-12_0_3_load_59 | 70 | 0.020656 | 0.005177 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_783-12_0_3_load_60 | 71 | 0.014924 | 0.0037403 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_783-12_0_3_load_61 | 72 | 0.020187 | 0.0050593 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_783-12_0_3_load_84 | 74 | 0.023235 | 0.0058233 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_783-12_0_3_load_86 | 75 | 0.0017857 | 0.00044753 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_783-12_0_3_load_82 | 76 | 0.0024135 | 0.00060489 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_783-12_0_3_load_63 | 77 | 0.0016504 | 0.00041364 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_783-12_0_3_load_64 | 78 | 0.0016749 | 0.00041976 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_783-12_0_3_load_66 | 79 | 0.0016136 | 0.00040441 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_783-12_0_3_load_88 | 81 | 0.0046271 | 0.0011597 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_783-12_0_3_load_75 | 82 | 0.0029615 | 0.00074222 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_783-12_0_3_load_76 | 83 | 0.0022069 | 0.0005531 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_783-12_0_3_load_77 | 84 | 0.002465 | 0.00061779 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_783-12_0_3_load_79 | 85 | 0.001648 | 0.00041303 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_783-12_0_3_load_83 | 86 | 0.0016701 | 0.00041857 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_783-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.076325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_783-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.042737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_783-12_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.13945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_783-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_783-12_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.058629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_783-12_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.035736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_783-12_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.028568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_783-12_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.00619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_783-12_0_3_line_8 | NAYY 4x150 SE | 7 | 20 | 0.058467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_783-12_0_3_line_9 | NAYY 4x150 SE | 8 | 15 | 0.010109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_783-12_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.010773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_783-12_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.02382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_783-12_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.037771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_783-12_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.014619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_783-12_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.032903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_783-12_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.015861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_783-12_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.021898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_783-12_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.070175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_783-12_0_3_line_18 | NAYY 4x150 SE | 16 | 25 | 0.042386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_783-12_0_3_line_19 | NAYY 4x150 SE | 17 | 22 | 0.00098026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_783-12_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.11215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_783-12_0_3_line_21 | NAYY 4x150 SE | 19 | 46 | 0.010582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_783-12_0_3_line_22 | NAYY 4x150 SE | 19 | 51 | 0.026195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_783-12_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.066278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_783-12_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0025465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_783-12_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0039753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_783-12_0_3_line_26 | NAYY 4x150 SE | 24 | 28 | 0.023724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_783-12_0_3_line_27 | NAYY 4x150 SE | 25 | 29 | 0.00062825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_783-12_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.034129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_783-12_0_3_line_29 | NAYY 4x150 SE | 27 | 45 | 0.041389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_783-12_0_3_line_30 | NAYY 4x150 SE | 27 | 44 | 0.12302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_783-12_0_3_line_31 | NAYY 4x150 SE | 28 | 38 | 0.015809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_783-12_0_3_line_32 | NAYY 4x150 SE | 29 | 35 | 0.00021891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_783-12_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.12715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_783-12_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.13907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_783-12_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0024809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_783-12_0_3_line_36 | NAYY 4x150 SE | 33 | 36 | 0.063369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_783-12_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.01167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_783-12_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.052101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_783-12_0_3_line_39 | NAYY 4x150 SE | 37 | 81 | 0.080323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_783-12_0_3_line_40 | NAYY 4x150 SE | 37 | 80 | 0.1069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_783-12_0_3_line_41 | NAYY 4x150 SE | 38 | 42 | 0.022356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_783-12_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.033891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_783-12_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.016128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_783-12_0_3_line_44 | NAYY 4x150 SE | 39 | 42 | 0.021902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_783-12_0_3_line_45 | NAYY 4x150 SE | 40 | 47 | 0.017034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_783-12_0_3_line_46 | NAYY 4x150 SE | 41 | 48 | 0.020635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_783-12_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.032182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_783-12_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.01213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_783-12_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.047796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_783-12_0_3_line_50 | NAYY 4x150 SE | 47 | 53 | 0.0012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_783-12_0_3_line_51 | NAYY 4x150 SE | 48 | 52 | 0.026498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_783-12_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.023349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_783-12_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.066589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_783-12_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0074315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_783-12_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.00093425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_783-12_0_3_line_56 | NAYY 4x150 SE | 55 | 56 | 0.0069918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_783-12_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.010005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_783-12_0_3_line_58 | NAYY 4x150 SE | 57 | 76 | 0.0075807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_783-12_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.0095485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_783-12_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.022077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_783-12_0_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0013815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_783-12_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.0034219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_783-12_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.014117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_783-12_0_3_line_64 | NAYY 4x150 SE | 62 | 64 | 0.0055541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_783-12_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.011709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_783-12_0_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.021138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_783-12_0_3_line_67 | NAYY 4x150 SE | 64 | 67 | 0.0084513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_783-12_0_3_line_68 | NAYY 4x150 SE | 65 | 74 | 0.013153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_783-12_0_3_line_69 | NAYY 4x150 SE | 66 | 83 | 0.0088787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_783-12_0_3_line_70 | NAYY 4x150 SE | 67 | 80 | 0.097969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_783-12_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.00408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_783-12_0_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.0077727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_783-12_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.0012054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_783-12_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.014561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_783-12_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.010216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_783-12_0_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.0028952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_783-12_0_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.0046717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_783-12_0_3_line_78 | NAYY 4x150 SE | 75 | 79 | 0.0014701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_783-12_0_3_line_79 | NAYY 4x150 SE | 76 | 86 | 0.0034424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_783-12_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.0022392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_783-12_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.030199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_783-12_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.005831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_783-12_0_3_line_83 | NAYY 4x150 SE | 82 | 84 | 0.0059298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_783-12_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0016696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_783-12_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.0040374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_783-12_0_3_trafo_51 | 0.25 MVA 20/0.4 kV | 87 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2655820.2965 | 1178151.4175 | 2655806.2251 | 1178156.9223 | 2655795.7271 | 1178159.2815 | 2655779.0439 | 1178163.6844 | 2655768.7912 | 1178165.9682 | 2655756.2344 | 1178167.8748 | 2655746.2395 | 1178168.0229
1 | 2655855.696 | 1178168.1554 | 2655842.1343 | 1178155.7112 | 2655834.4568 | 1178149.7698 | 2655826.2106 | 1178149.1039 | 2655820.2965 | 1178151.4175
2 | 2655855.696 | 1178168.1554 | 2655847.2389 | 1178168.8104 | 2655835.9535 | 1178171.2178 | 2655820.7786 | 1178177.7469 | 2655804.2989 | 1178187.3767 | 2655788.2582 | 1178197.4553 | 2655781.1047 | 1178202.5472 | 2655775.0257 | 1178207.9381 | 2655770.6363 | 1178213.2447 | 2655767.573 | 1178218.0967 | 2655765.2121 | 1178223.8223 | 2655763.6803 | 1178229.967 | 2655763.1245 | 1178236.3321 | 2655764.3178 | 1178246.0485 | 2655765.7396 | 1178252.5366
3 | 2655855.696 | 1178168.1554 | 2655865.5405 | 1178168.6806 | 2655874.187 | 1178169.716
4 | 2655754.6011 | 1178305.9668 | 2655758.1926 | 1178303.2787 | 2655765.0724 | 1178293.9152 | 2655769.1536 | 1178282.3134 | 2655769.742 | 1178270.8014 | 2655765.7396 | 1178252.5366
5 | 2655909.6655 | 1178173.9984 | 2655890.5373 | 1178171.6706 | 2655877.7221 | 1178170.1393 | 2655874.187 | 1178169.716
6 | 2655729.0517 | 1178318.3194 | 2655735.2114 | 1178316.1389 | 2655748.7592 | 1178310.3393 | 2655754.6011 | 1178305.9668
7 | 2655909.6655 | 1178173.9984 | 2655915.8101 | 1178174.7462
8 | 2655729.0517 | 1178318.3194 | 2655712.535 | 1178324.1661 | 2655695.5476 | 1178330.1117 | 2655677.6244 | 1178337.2716 | 2655674.3711 | 1178338.9214
9 | 2655925.8454 | 1178175.9674 | 2655915.8101 | 1178174.7462
10 | 2655979.3185 | 1178171.4827 | 2655984.0608 | 1178169.5967 | 2655989.1477 | 1178167.0945
11 | 2655979.3185 | 1178171.4827 | 2655975.3482 | 1178173.0618 | 2655963.1476 | 1178176.0941 | 2655956.2264 | 1178176.9602
12 | 2656021.1 | 1178146.9952 | 2655992.4894 | 1178165.4508 | 2655989.1477 | 1178167.0945
13 | 2655941.6527 | 1178177.1234 | 2655951.5731 | 1178177.5425 | 2655956.2264 | 1178176.9602
14 | 2656048.4146 | 1178128.6637 | 2656036.4385 | 1178137.1009 | 2656021.1 | 1178146.9952
15 | 2655941.6527 | 1178177.1234 | 2655931.9891 | 1178176.7151 | 2655925.8454 | 1178175.9674
16 | 2656048.4146 | 1178128.6637 | 2656042.5772 | 1178115.5353 | 2656039.9559 | 1178108.4758
17 | 2656048.4146 | 1178128.6637 | 2656091.9406 | 1178099.8545 | 2656106.8515 | 1178089.8104
18 | 2656030.1514 | 1178067.3704 | 2656033.09 | 1178075.936 | 2656034.7818 | 1178083.7894 | 2656038.1199 | 1178103.5315 | 2656039.9559 | 1178108.4758
19 | 2656106.8515 | 1178089.8104 | 2656107.6645 | 1178089.2628
20 | 2656226.3302 | 1178276.3316 | 2656221.4694 | 1178291.1275 | 2656215.8174 | 1178307.1834 | 2656212.7391 | 1178312.791 | 2656209.1682 | 1178317.9493 | 2656192.313 | 1178335.8235 | 2656188.3641 | 1178342.2012 | 2656185.2555 | 1178348.5867 | 2656181.792 | 1178356.9811 | 2656176.0482 | 1178364.098 | 2656169.699 | 1178371.1461
21 | 2656226.3302 | 1178276.3316 | 2656228.0233 | 1178269.3324 | 2656228.9554 | 1178266.0838
22 | 2656226.3302 | 1178276.3316 | 2656226.5201 | 1178282.1588 | 2656229.2339 | 1178302.3418
23 | 2655674.3711 | 1178338.9214 | 2655662.4469 | 1178344.9684 | 2655652.3428 | 1178351.0447 | 2655641.9226 | 1178358.2409 | 2655618.0942 | 1178373.7927
24 | 2656109.7766 | 1178087.8401 | 2656107.6645 | 1178089.2628
25 | 2656109.7766 | 1178087.8401 | 2656113.0737 | 1178085.6192
26 | 2656132.7497 | 1178072.3653 | 2656113.0737 | 1178085.6192
27 | 2656029.9475 | 1178066.7762 | 2656030.1514 | 1178067.3704
28 | 2656122.9209 | 1178227.3921 | 2656132.6544 | 1178222.1692 | 2656144.2057 | 1178219.12 | 2656155.2808 | 1178217.9563
29 | 2656155.2808 | 1178217.9563 | 2656155.2808 | 1178217.9563 | 2656167.4172 | 1178220.1489 | 2656183.8001 | 1178233.1428 | 2656190.5153 | 1178237.7544
30 | 2656168.9341 | 1178095.6945 | 2656155.2808 | 1178217.9563
31 | 2656132.7497 | 1178072.3653 | 2656140.6928 | 1178074.4074 | 2656147.0581 | 1178070.2416
32 | 2656029.8765 | 1178066.5691 | 2656029.9475 | 1178066.7762
33 | 2655814.7597 | 1178044.7019 | 2655848.2355 | 1178035.5129 | 2655894.4505 | 1178024.7817 | 2655913.8633 | 1178021.0827 | 2655938.8854 | 1178017.8768
34 | 2656024.2982 | 1177924.237 | 2656019.3549 | 1177928.2486 | 2655992.5098 | 1177989.732 | 2655985.7955 | 1178001.7537 | 2655980.2363 | 1178008.7279 | 2655976.322 | 1178011.3929 | 2655970.8056 | 1178013.7872 | 2655938.8854 | 1178017.8768
35 | 2656024.2982 | 1177924.237 | 2656025.8895 | 1177922.3337
36 | 2656081.389 | 1177893.809 | 2656063.4186 | 1177900.1001 | 2656046.0514 | 1177907.2641 | 2656031.6396 | 1177915.4562 | 2656025.8895 | 1177922.3337
37 | 2656029.8765 | 1178066.5691 | 2656026.0894 | 1178055.5305
38 | 2656081.389 | 1177893.809 | 2656131.0273 | 1177877.5418
39 | 2656186.6362 | 1177933.6375 | 2656159.3569 | 1177914.8052 | 2656154.2856 | 1177907.9984 | 2656150.28 | 1177898.3556 | 2656131.0273 | 1177877.5418
40 | 2656131.0273 | 1177877.5418 | 2656142.3464 | 1177874.0569 | 2656145.8821 | 1177871.0328 | 2656152.4262 | 1177856.0302 | 2656155.4807 | 1177851.3562 | 2656159.3233 | 1177847.3899 | 2656167.7825 | 1177840.8544 | 2656178.627 | 1177835.0193 | 2656188.7803 | 1177830.3674 | 2656200.3901 | 1177826.0515 | 2656210.9743 | 1177820.2696 | 2656214.5607 | 1177817.5573
41 | 2656165.9226 | 1178058.2457 | 2656152.9019 | 1178066.4172 | 2656147.0581 | 1178070.2416
42 | 2656174.6777 | 1178044.5645 | 2656196.381 | 1178028.0364 | 2656201.159 | 1178023.4684
43 | 2656174.6777 | 1178044.5645 | 2656185.654 | 1178056.381
44 | 2656174.6777 | 1178044.5645 | 2656161.8981 | 1178053.0941 | 2656165.9226 | 1178058.2457
45 | 2656213.4718 | 1178011.6969 | 2656201.159 | 1178023.4684
46 | 2656185.654 | 1178056.381 | 2656194.3769 | 1178065.7717 | 2656200.9934 | 1178069.936
47 | 2656165.9226 | 1178058.2457 | 2656178.9683 | 1178074.3433 | 2656174.0933 | 1178084.7166
48 | 2656168.9341 | 1178095.6945 | 2656174.0933 | 1178084.7166
49 | 2656228.9554 | 1178266.0838 | 2656215.1633 | 1178254.6817 | 2656190.5153 | 1178237.7544
50 | 2656214.3842 | 1178010.8246 | 2656213.4718 | 1178011.6969
51 | 2656215.3949 | 1178091.1829 | 2656209.7958 | 1178087.9061 | 2656200.9934 | 1178069.936 | 2656200.9934 | 1178069.936
52 | 2656276.9967 | 1178339.9416 | 2656291.8763 | 1178343.7165 | 2656299.7919 | 1178344.8622
53 | 2656276.9967 | 1178339.9416 | 2656247.4741 | 1178329.9704 | 2656240.9541 | 1178326.9521 | 2656236.0893 | 1178322.6152 | 2656232.7064 | 1178317.514 | 2656230.0344 | 1178308.295 | 2656229.2339 | 1178302.3418
54 | 2656214.3842 | 1178010.8246 | 2656219.7558 | 1178005.6892
55 | 2656220.4311 | 1178005.0436 | 2656219.7558 | 1178005.6892
56 | 2656225.4849 | 1178000.2119 | 2656220.4311 | 1178005.0436
57 | 2656232.7577 | 1177993.3435 | 2656231.8951 | 1177994.0836 | 2656225.4849 | 1178000.2119
58 | 2656232.7577 | 1177993.3435 | 2656238.511 | 1177988.4073
59 | 2656267.7077 | 1177942.0521 | 2656272.628 | 1177945.5387 | 2656274.3635 | 1177948.5989
60 | 2656267.7077 | 1177942.0521 | 2656263.3746 | 1177938.9816 | 2656260.0761 | 1177935.4488 | 2656257.0757 | 1177930.2733 | 2656255.2435 | 1177924.6117
61 | 2656275.045 | 1177949.8006 | 2656274.3635 | 1177948.5989
62 | 2656254.1899 | 1177921.356 | 2656255.2435 | 1177924.6117
63 | 2656282.0092 | 1177962.0802 | 2656275.045 | 1177949.8006
64 | 2656252.4798 | 1177916.0717 | 2656254.1899 | 1177921.356
65 | 2656282.0092 | 1177962.0802 | 2656283.3893 | 1177965.6618 | 2656291.161 | 1177966.9065
66 | 2656282.0092 | 1177962.0802 | 2656263.4668 | 1177972.2287
67 | 2656250.275 | 1177907.9235 | 2656251.1719 | 1177912.0302 | 2656252.4798 | 1177916.0717
68 | 2656304.1668 | 1177968.8617 | 2656300.053 | 1177968.3307 | 2656291.161 | 1177966.9065
69 | 2656255.7941 | 1177976.6937 | 2656261.0406 | 1177973.5566 | 2656263.4668 | 1177972.2287
70 | 2656214.5607 | 1177817.5573 | 2656225.6924 | 1177838.9734 | 2656231.8624 | 1177853.2946 | 2656237.1637 | 1177861.6489 | 2656240.2798 | 1177867.5258 | 2656247.0974 | 1177890.1911 | 2656248.6588 | 1177900.5225 | 2656250.275 | 1177907.9235
71 | 2656322.1234 | 1177982.9972 | 2656322.7834 | 1177984.0748 | 2656324.8401 | 1177985.9987
72 | 2656322.1234 | 1177982.9972 | 2656318.0637 | 1177976.3689
73 | 2656324.8401 | 1177985.9987 | 2656325.7204 | 1177986.8222
74 | 2656307.0382 | 1177969.2323 | 2656314.264 | 1177970.165 | 2656318.0637 | 1177976.3689
75 | 2656332.9601 | 1177994.0092 | 2656331.4814 | 1177992.7946 | 2656327.3813 | 1177988.3759 | 2656325.7204 | 1177986.8222
76 | 2656307.0382 | 1177969.2323 | 2656304.1668 | 1177968.8617
77 | 2656332.9601 | 1177994.0092 | 2656336.5777 | 1177996.9651
78 | 2656336.5777 | 1177996.9651 | 2656337.7161 | 1177997.8953
79 | 2656241.1236 | 1177986.1657 | 2656241.1236 | 1177986.1657 | 2656238.511 | 1177988.4073
80 | 2656358.5147 | 1178022.6625 | 2656357.1346 | 1178020.8991
81 | 2656357.1346 | 1178020.8991 | 2656353.1349 | 1178015.7883 | 2656341.3698 | 1178000.8808 | 2656337.7161 | 1177997.8953
82 | 2656250.7896 | 1177979.6861 | 2656255.7941 | 1177976.6937
83 | 2656250.7896 | 1177979.6861 | 2656250.7896 | 1177979.6861 | 2656245.8641 | 1177982.9879
84 | 2656244.4772 | 1177983.9176 | 2656245.8641 | 1177982.9879
85 | 2656241.1236 | 1177986.1657 | 2656244.4772 | 1177983.9176

## bus_geodata
| x | y | coords
0 | 2655820.2965 | 1178151.4175
1 | 2655746.2395 | 1178168.0229
2 | 2655855.696 | 1178168.1554
3 | 2655765.7396 | 1178252.5366
4 | 2655874.187 | 1178169.716
5 | 2655754.6011 | 1178305.9668
6 | 2655909.6654 | 1178173.9984
7 | 2655729.0517 | 1178318.3194
8 | 2655915.8101 | 1178174.7462
9 | 2655979.3185 | 1178171.4827
10 | 2655989.1477 | 1178167.0945
11 | 2655956.2264 | 1178176.9602
12 | 2656021.1 | 1178146.9952
13 | 2655941.6527 | 1178177.1234
14 | 2656048.4146 | 1178128.6637
15 | 2655925.8454 | 1178175.9674
16 | 2656039.9559 | 1178108.4758
17 | 2656106.8515 | 1178089.8104
18 | 2656169.699 | 1178371.1461
19 | 2656226.3302 | 1178276.3316
20 | 2655674.3711 | 1178338.9214
21 | 2655618.0942 | 1178373.7927
22 | 2656107.6645 | 1178089.2628
23 | 2656109.7766 | 1178087.8401
24 | 2656113.0737 | 1178085.6192
25 | 2656030.1514 | 1178067.3704
26 | 2656122.9209 | 1178227.3921
27 | 2656155.2808 | 1178217.9563
28 | 2656132.7497 | 1178072.3653
29 | 2656029.9475 | 1178066.7762
30 | 2655814.7597 | 1178044.7019
31 | 2655938.8854 | 1178017.8768
32 | 2656024.2982 | 1177924.237
33 | 2656025.8895 | 1177922.3337
34 | 2656026.0894 | 1178055.5305
35 | 2656029.8765 | 1178066.5691
36 | 2656081.389 | 1177893.809
37 | 2656131.0273 | 1177877.5418
38 | 2656147.0581 | 1178070.2416
39 | 2656174.6777 | 1178044.5645
40 | 2656201.159 | 1178023.4684
41 | 2656185.654 | 1178056.381
42 | 2656165.9226 | 1178058.2457
43 | 2656174.0933 | 1178084.7166
44 | 2656168.9341 | 1178095.6945
45 | 2656190.5153 | 1178237.7544
46 | 2656228.9554 | 1178266.0838
47 | 2656213.4718 | 1178011.6969
48 | 2656200.9934 | 1178069.936
49 | 2656299.7919 | 1178344.8622
50 | 2656276.9967 | 1178339.9416
51 | 2656229.2339 | 1178302.3418
52 | 2656215.3949 | 1178091.1829
53 | 2656214.3842 | 1178010.8246
54 | 2656219.7558 | 1178005.6892
55 | 2656220.4311 | 1178005.0436
56 | 2656225.4849 | 1178000.2119
57 | 2656232.7577 | 1177993.3435
58 | 2656267.7077 | 1177942.0521
59 | 2656274.3635 | 1177948.5989
60 | 2656255.2435 | 1177924.6117
61 | 2656275.045 | 1177949.8006
62 | 2656254.1899 | 1177921.356
63 | 2656282.0092 | 1177962.0802
64 | 2656252.4798 | 1177916.0717
65 | 2656291.161 | 1177966.9065
66 | 2656263.4668 | 1177972.2287
67 | 2656250.275 | 1177907.9235
68 | 2656322.1234 | 1177982.9972
69 | 2656324.8401 | 1177985.9987
70 | 2656318.0637 | 1177976.3689
71 | 2656325.7204 | 1177986.8222
72 | 2656307.0382 | 1177969.2323
73 | 2656332.9601 | 1177994.0092
74 | 2656304.1668 | 1177968.8617
75 | 2656336.5777 | 1177996.9651
76 | 2656238.511 | 1177988.4073
77 | 2656358.5147 | 1178022.6625
78 | 2656357.1346 | 1178020.8991
79 | 2656337.7161 | 1177997.8953
80 | 2656214.5607 | 1177817.5573
81 | 2656186.6362 | 1177933.6375
82 | 2656250.7896 | 1177979.6861
83 | 2656255.7941 | 1177976.6937
84 | 2656245.8641 | 1177982.9879
85 | 2656244.4772 | 1177983.9176
86 | 2656241.1236 | 1177986.1657
87 | 2656174.6777 | 1178044.5645

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1