## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_783-4_1_2_node_26 | 0.4 | n |  | TRUE
1 | bus_LV_783-4_1_2_node_27 | 0.4 | n |  | TRUE
2 | bus_LV_783-4_1_2_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_783-4_1_2_node_29 | 0.4 | n |  | TRUE
4 | bus_LV_783-4_1_2_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_783-4_1_2_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_783-4_1_2_node_88 | 0.4 | n |  | TRUE
7 | bus_LV_783-4_1_2_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_783-4_1_2_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_783-4_1_2_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_783-4_1_2_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_783-4_1_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_783-4_1_2_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_783-4_1_2_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_783-4_1_2_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_783-4_1_2_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_783-4_1_2_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_783-4_1_2_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_783-4_1_2_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_783-4_1_2_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_783-4_1_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_783-4_1_2_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_783-4_1_2_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_783-4_1_2_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_783-4_1_2_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_783-4_1_2_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_783-4_1_2_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_783-4_1_2_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_783-4_1_2_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_783-4_1_2_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_783-4_1_2_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_783-4_1_2_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_783-4_1_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_783-4_1_2_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_783-4_1_2_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_783-4_1_2_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_783-4_1_2_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_783-4_1_2_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_783-4_1_2_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_783-4_1_2_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_783-4_1_2_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_783-4_1_2_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_783-4_1_2_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_783-4_1_2_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_783-4_1_2_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_783-4_1_2_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_783-4_1_2_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_783-4_1_2_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_783-4_1_2_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_783-4_1_2_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_783-4_1_2_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_783-4_1_2_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_783-4_1_2_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_783-4_1_2_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_783-4_1_2_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_783-4_1_2_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_783-4_1_2_node_101 | 0.4 | n |  | TRUE
57 | bus_LV_783-4_1_2_node_102 | 0.4 | n |  | TRUE
58 | bus_LV_783-4_1_2_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_783-4_1_2_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_783-4_1_2_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_783-4_1_2_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_783-4_1_2_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_783-4_1_2_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_783-4_1_2_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_783-4_1_2_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_783-4_1_2_node_87 | 0.4 | n |  | TRUE
67 | bus_LV_783-4_1_2_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_783-4_1_2_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_783-4_1_2_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_783-4_1_2_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_783-4_1_2_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_783-4_1_2_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_783-4_1_2_node_96 | 0.4 | n |  | TRUE
74 | bus_LV_783-4_1_2_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_783-4_1_2_node_97 | 0.4 | n |  | TRUE
76 | bus_LV_783-4_1_2_node_107 | 0.4 | n |  | TRUE
77 | bus_LV_783-4_1_2_node_106 | 0.4 | n |  | TRUE
78 | bus_LV_783-4_1_2_node_108 | 0.4 | n |  | TRUE
79 | bus_MV_139_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_783-4_1_2_load_26 | 0 | 0.0010358 | 0.00025958 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_783-4_1_2_load_66 | 5 | 0.0022954 | 0.00057529 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_783-4_1_2_load_88 | 6 | 0.00091885 | 0.00023029 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_783-4_1_2_load_31 | 7 | 0.00055864 | 0.00014001 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_783-4_1_2_load_32 | 8 | 0.0011973 | 0.00030006 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_783-4_1_2_load_33 | 9 | 0.00054883 | 0.00013755 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_783-4_1_2_load_34 | 10 | 0.0021252 | 0.00053263 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_783-4_1_2_load_35 | 11 | 0.0015142 | 0.00037949 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_783-4_1_2_load_36 | 14 | 0.0011797 | 0.00029566 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_783-4_1_2_load_37 | 15 | 0.0077818 | 0.0019503 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_783-4_1_2_load_39 | 17 | 0.00097438 | 0.0002442 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_783-4_1_2_load_40 | 18 | 0.029886 | 0.0074902 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_783-4_1_2_load_41 | 19 | 0.0011164 | 0.0002798 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_783-4_1_2_load_55 | 21 | 0.00078221 | 0.00019604 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_783-4_1_2_load_42 | 22 | 0.0018057 | 0.00045254 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_783-4_1_2_load_43 | 23 | 0.001658 | 0.00041555 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_783-4_1_2_load_45 | 25 | 0.0017284 | 0.00043318 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_783-4_1_2_load_47 | 27 | 0.0013941 | 0.00034938 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_783-4_1_2_load_77 | 28 | 0.0010978 | 0.00027514 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_783-4_1_2_load_76 | 29 | 0.0034109 | 0.00085485 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_783-4_1_2_load_50 | 30 | 0.0026437 | 0.00066256 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_783-4_1_2_load_52 | 32 | 0.00060852 | 0.00015251 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_783-4_1_2_load_103 | 33 | 0.0010474 | 0.00026249 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_783-4_1_2_load_54 | 34 | 0.00082048 | 0.00020563 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_783-4_1_2_load_80 | 35 | 0.0014729 | 0.00036916 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_783-4_1_2_load_56 | 36 | 0.00035901 | 8.9976e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_783-4_1_2_load_57 | 37 | 0.00041712 | 0.00010454 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_783-4_1_2_load_63 | 38 | 0.003418 | 0.00085662 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_783-4_1_2_load_58 | 39 | 0.0014021 | 0.00035141 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_783-4_1_2_load_59 | 40 | 0.00078379 | 0.00019644 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_783-4_1_2_load_60 | 41 | 0.00084333 | 0.00021136 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_783-4_1_2_load_61 | 42 | 0.00051948 | 0.00013019 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_783-4_1_2_load_62 | 43 | 0.00134 | 0.00033584 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_783-4_1_2_load_78 | 44 | 0.00071813 | 0.00017998 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_783-4_1_2_load_64 | 45 | 0.0008922 | 0.00022361 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_783-4_1_2_load_65 | 46 | 0.00035697 | 8.9465e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_783-4_1_2_load_69 | 47 | 0.00047153 | 0.00011818 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_783-4_1_2_load_67 | 48 | 0.0009466 | 0.00023724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_783-4_1_2_load_68 | 49 | 0.0011298 | 0.00028315 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_783-4_1_2_load_90 | 50 | 0.0014086 | 0.00035304 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_783-4_1_2_load_74 | 51 | 0.00050465 | 0.00012648 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_783-4_1_2_load_70 | 52 | 0.00040877 | 0.00010245 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_783-4_1_2_load_71 | 53 | 0.00045606 | 0.0001143 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_783-4_1_2_load_72 | 54 | 0.00034926 | 8.7532e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_783-4_1_2_load_101 | 56 | 0.00024594 | 6.1638e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_783-4_1_2_load_79 | 58 | 0.001077 | 0.00026992 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_783-4_1_2_load_93 | 59 | 0.0016866 | 0.00042271 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_783-4_1_2_load_81 | 60 | 0.001807 | 0.00045288 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_783-4_1_2_load_82 | 61 | 0.00025306 | 6.3423e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_783-4_1_2_load_84 | 62 | 0.0017856 | 0.0004475 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_783-4_1_2_load_99 | 63 | 0.0010664 | 0.00026726 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_783-4_1_2_load_85 | 64 | 0.00048974 | 0.00012274 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_783-4_1_2_load_86 | 65 | 0.00052464 | 0.00013149 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_783-4_1_2_load_89 | 67 | 0.0014546 | 0.00036456 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_783-4_1_2_load_104 | 68 | 0.00036062 | 9.0379e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_783-4_1_2_load_92 | 70 | 0.00071816 | 0.00017999 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_783-4_1_2_load_95 | 71 | 0.00073997 | 0.00018546 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_783-4_1_2_load_94 | 72 | 0.0013032 | 0.00032662 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_783-4_1_2_load_98 | 74 | 0.00049367 | 0.00012372 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_783-4_1_2_load_107 | 76 | 0.00023814 | 5.9683e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_783-4_1_2_load_106 | 77 | 0.00034623 | 8.6774e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_783-4_1_2_load_108 | 78 | 0.00064996 | 0.0001629 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_783-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.074841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_783-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.19953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_783-4_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.11917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_783-4_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_783-4_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_783-4_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.16065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_783-4_1_2_line_6 | NAYY 4x150 SE | 5 | 48 | 0.04016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_783-4_1_2_line_7 | NAYY 4x150 SE | 6 | 65 | 0.046055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_783-4_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.029813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_783-4_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.02937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_783-4_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.012272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_783-4_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0058285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_783-4_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.018656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_783-4_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.012925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_783-4_1_2_line_14 | NAYY 4x150 SE | 12 | 34 | 0.090111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_783-4_1_2_line_15 | NAYY 4x150 SE | 12 | 17 | 0.024622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_783-4_1_2_line_16 | NAYY 4x150 SE | 13 | 32 | 0.0077708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_783-4_1_2_line_17 | NAYY 4x150 SE | 13 | 27 | 0.012377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_783-4_1_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.0043469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_783-4_1_2_line_19 | NAYY 4x150 SE | 14 | 16 | 0.020937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_783-4_1_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.033216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_783-4_1_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.067878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_783-4_1_2_line_22 | NAYY 4x150 SE | 16 | 19 | 0.021076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_783-4_1_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.049954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_783-4_1_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0052537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_783-4_1_2_line_25 | NAYY 4x150 SE | 20 | 30 | 0.16346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_783-4_1_2_line_26 | NAYY 4x150 SE | 21 | 36 | 0.001163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_783-4_1_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.00031716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_783-4_1_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.019092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_783-4_1_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.017593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_783-4_1_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.003736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_783-4_1_2_line_31 | NAYY 4x150 SE | 24 | 27 | 0.011737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_783-4_1_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.0091711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_783-4_1_2_line_33 | NAYY 4x150 SE | 26 | 29 | 0.039333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_783-4_1_2_line_34 | NAYY 4x150 SE | 28 | 59 | 0.017807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_783-4_1_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.017392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_783-4_1_2_line_36 | NAYY 4x150 SE | 31 | 62 | 0.027652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_783-4_1_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.024534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_783-4_1_2_line_38 | NAYY 4x150 SE | 33 | 43 | 0.013975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_783-4_1_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.018344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_783-4_1_2_line_40 | NAYY 4x150 SE | 35 | 60 | 0.025391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_783-4_1_2_line_41 | NAYY 4x150 SE | 36 | 37 | 0.01824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_783-4_1_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.012143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_783-4_1_2_line_43 | NAYY 4x150 SE | 38 | 45 | 0.0085329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_783-4_1_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.08866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_783-4_1_2_line_45 | NAYY 4x150 SE | 39 | 41 | 0.02372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_783-4_1_2_line_46 | NAYY 4x150 SE | 40 | 42 | 0.010975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_783-4_1_2_line_47 | NAYY 4x150 SE | 41 | 43 | 0.02171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_783-4_1_2_line_48 | NAYY 4x150 SE | 42 | 44 | 0.029168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_783-4_1_2_line_49 | NAYY 4x150 SE | 44 | 58 | 0.0094353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_783-4_1_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.010146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_783-4_1_2_line_51 | NAYY 4x150 SE | 46 | 47 | 0.016326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_783-4_1_2_line_52 | NAYY 4x150 SE | 47 | 51 | 0.003325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_783-4_1_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.019025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_783-4_1_2_line_54 | NAYY 4x150 SE | 49 | 50 | 0.011965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_783-4_1_2_line_55 | NAYY 4x150 SE | 50 | 69 | 0.028243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_783-4_1_2_line_56 | NAYY 4x150 SE | 51 | 54 | 0.0044079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_783-4_1_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.016913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_783-4_1_2_line_58 | NAYY 4x150 SE | 52 | 54 | 0.0032292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_783-4_1_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.031314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_783-4_1_2_line_60 | NAYY 4x150 SE | 55 | 57 | 0.10387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_783-4_1_2_line_61 | NAYY 4x150 SE | 55 | 58 | 0.072294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_783-4_1_2_line_62 | NAYY 4x150 SE | 57 | 77 | 0.056977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_783-4_1_2_line_63 | NAYY 4x150 SE | 57 | 75 | 0.056904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_783-4_1_2_line_64 | NAYY 4x150 SE | 59 | 69 | 0.053097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_783-4_1_2_line_65 | NAYY 4x150 SE | 60 | 61 | 0.0067103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_783-4_1_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.0071645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_783-4_1_2_line_67 | NAYY 4x150 SE | 64 | 65 | 0.067122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_783-4_1_2_line_68 | NAYY 4x150 SE | 64 | 66 | 0.061851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_783-4_1_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.10035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_783-4_1_2_line_70 | NAYY 4x150 SE | 67 | 68 | 0.22872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_783-4_1_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.097579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_783-4_1_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.043814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_783-4_1_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.036641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_783-4_1_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.0080356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_783-4_1_2_line_75 | NAYY 4x150 SE | 73 | 74 | 0.027575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_783-4_1_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.19752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_783-4_1_2_line_77 | NAYY 4x150 SE | 76 | 78 | 0.14362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_783-4_1_2_trafo_34 | 0.25 MVA 20/0.4 kV | 79 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2656362.2 | 1178344.0434 | 2656379.6504 | 1178344.1852 | 2656388.7282 | 1178345.7714 | 2656396.0262 | 1178348.1079 | 2656402.2219 | 1178351.468 | 2656404.7787 | 1178354.2157 | 2656405.1972 | 1178358.4665 | 2656404.1735 | 1178362.5035 | 2656401.3978 | 1178365.9794 | 2656396.0829 | 1178370.5208 | 2656390.4733 | 1178375.5264 | 2656389.1916 | 1178377.4564
1 | 2656357.685 | 1178564.3226 | 2656354.6688 | 1178555.1781 | 2656345.7908 | 1178530.7368 | 2656344.504 | 1178522.1311 | 2656344.8795 | 1178513.8745 | 2656346.6332 | 1178508.5769 | 2656348.9526 | 1178504.8633 | 2656356.3545 | 1178494.5049 | 2656370.4356 | 1178474.2482 | 2656373.5718 | 1178468.1854 | 2656375.5652 | 1178462.5899 | 2656376.7337 | 1178456.1418 | 2656379.6355 | 1178433.5566 | 2656381.582 | 1178414.2531 | 2656383.082 | 1178395.3012 | 2656384.8681 | 1178386.5576 | 2656386.9002 | 1178380.9069 | 2656389.1916 | 1178377.4564
2 | 2656387.3997 | 1178229.4391 | 2656387.0441 | 1178239.6303 | 2656387.5396 | 1178252.7533 | 2656387.769 | 1178263.3057 | 2656387.0968 | 1178270.5923 | 2656385.1221 | 1178278.2669 | 2656380.2942 | 1178294.3971 | 2656375.6232 | 1178306.8379 | 2656373.0557 | 1178312.5502 | 2656369.8392 | 1178318.2009 | 2656365.777 | 1178326.8564 | 2656364.1373 | 1178332.2106 | 2656362.2 | 1178344.0434
3 | 2656357.685 | 1178564.3226 | 2656363.2339 | 1178574.7027 | 2656369.7112 | 1178583.8463 | 2656376.3263 | 1178590.5233 | 2656386.699 | 1178598.1805 | 2656394.6062 | 1178603.1353 | 2656403.2329 | 1178606.3293 | 2656415.3279 | 1178607.955 | 2656431.9184 | 1178606.8437 | 2656437.0456 | 1178606.803 | 2656441.3453 | 1178607.8218
4 | 2656387.3997 | 1178229.4391 | 2656398.5921 | 1178218.2381 | 2656401.698 | 1178215.1413
5 | 2656441.3453 | 1178607.8218 | 2656450.2624 | 1178598.0225 | 2656460.2838 | 1178584.5426 | 2656469.4755 | 1178578.8593 | 2656482.2057 | 1178574.699 | 2656495.1087 | 1178571.6633 | 2656505.1893 | 1178571.3802 | 2656510.4044 | 1178572.5522 | 2656515.5899 | 1178576.8701 | 2656523.7882 | 1178577.6922 | 2656532.7631 | 1178575.5534 | 2656541.5829 | 1178570.4225 | 2656549.3258 | 1178561.1904 | 2656562.2675 | 1178554.064 | 2656572.2307 | 1178545.9756 | 2656575.6568 | 1178544.7399
6 | 2656401.698 | 1178215.1413 | 2656404.1149 | 1178212.7314 | 2656408.3438 | 1178206.679 | 2656411.7713 | 1178200.5411 | 2656415.0743 | 1178195.4471 | 2656421.9801 | 1178189.9424 | 2656428.3119 | 1178186.0521
7 | 2656609.6331 | 1178517.4904 | 2656604.3301 | 1178525.6226 | 2656597.511 | 1178536.5421 | 2656587.5775 | 1178541.4623 | 2656580.2808 | 1178543.0721 | 2656575.6568 | 1178544.7399
8 | 2656452.1044 | 1178041.4768 | 2656458.5465 | 1178036.9241 | 2656476.2127 | 1178023.9401
9 | 2656424.5463 | 1178049.5446 | 2656427.6074 | 1178049.062 | 2656432.0793 | 1178048.8706 | 2656437.1336 | 1178048.5068 | 2656440.8403 | 1178047.6301 | 2656444.4132 | 1178046.3408 | 2656447.4002 | 1178044.8013 | 2656452.1044 | 1178041.4768
10 | 2656485.8908 | 1178016.3946 | 2656476.5133 | 1178023.7192 | 2656476.2127 | 1178023.9401
11 | 2656424.5463 | 1178049.5446 | 2656424.5463 | 1178049.5446 | 2656422.346 | 1178050.3243 | 2656420.6723 | 1178051.1646 | 2656419.4019 | 1178052.1718
12 | 2656497.5671 | 1178002.4056 | 2656496.6381 | 1178005.3095 | 2656495.6813 | 1178007.1015 | 2656493.7775 | 1178009.6628 | 2656490.816 | 1178012.5476 | 2656485.8908 | 1178016.3946
13 | 2656415.2712 | 1178064.0209 | 2656415.4794 | 1178060.5766 | 2656416.2527 | 1178057.1597 | 2656417.5007 | 1178054.4589 | 2656418.8015 | 1178052.6479 | 2656419.4019 | 1178052.1718
14 | 2656497.5671 | 1178002.4056 | 2656505.342 | 1177998.7768 | 2656509.0476 | 1177996.3881 | 2656511.9898 | 1177993.9256 | 2656520.3674 | 1177984.7216 | 2656529.7915 | 1177972.3146 | 2656543.6082 | 1177956.7918 | 2656552.1625 | 1177950.7468 | 2656564.5203 | 1177944.1602
15 | 2656497.5671 | 1178002.4056 | 2656497.2212 | 1177999.3784 | 2656489.8337 | 1177982.1661 | 2656488.9359 | 1177979.4673
16 | 2656415.2712 | 1178064.0209 | 2656418.0547 | 1178067.0488 | 2656420.8209 | 1178068.6646 | 2656421.2159 | 1178068.8893
17 | 2656415.2712 | 1178064.0209 | 2656404.1827 | 1178069.5203
18 | 2656486.4788 | 1177942.4309 | 2656486.1881 | 1177946.768
19 | 2656484.2666 | 1177921.747 | 2656486.1366 | 1177930.903 | 2656486.6954 | 1177934.0433 | 2656486.8345 | 1177937.1241 | 2656486.4788 | 1177942.4309
20 | 2656488.9359 | 1177979.4673 | 2656487.3517 | 1177974.7052 | 2656486.1614 | 1177970.4695 | 2656485.437 | 1177966.2492 | 2656485.252 | 1177960.7333 | 2656486.1881 | 1177946.768
21 | 2656484.2666 | 1177921.747 | 2656475.9029 | 1177922.9801 | 2656467.8968 | 1177923.5717 | 2656462.1364 | 1177923.4397 | 2656456.4727 | 1177922.7749 | 2656449.1728 | 1177921.3944 | 2656424.3308 | 1177914.8683 | 2656417.6086 | 1177913.7341
22 | 2656484.2666 | 1177921.747 | 2656489.3062 | 1177920.5271 | 2656493.806 | 1177919.0131 | 2656499.8499 | 1177916.6242 | 2656504.0399 | 1177914.6207
23 | 2656368.4329 | 1177917.3889 | 2656377.6508 | 1177914.7073 | 2656393.366 | 1177911.7978 | 2656409.0492 | 1177912.2899 | 2656417.6086 | 1177913.7341
24 | 2656508.7796 | 1177912.3545 | 2656504.0399 | 1177914.6207
25 | 2656368.4329 | 1177917.3889 | 2656367.8348 | 1177908.6673 | 2656369.8403 | 1177903.4166 | 2656372.2658 | 1177900.649 | 2656388.9223 | 1177895.158 | 2656402.2424 | 1177889.3577 | 2656408.5593 | 1177883.9474 | 2656413.6623 | 1177877.603 | 2656420.5938 | 1177863.7272 | 2656448.9885 | 1177787.4654
26 | 2656509.8288 | 1177911.8528 | 2656508.7796 | 1177912.3545
27 | 2656385.286 | 1178057.6209 | 2656385.1275 | 1178057.3462
28 | 2656393.668 | 1178074.7349 | 2656389.5191 | 1178064.9572 | 2656385.286 | 1178057.6209
29 | 2656385.1275 | 1178057.3462 | 2656383.9853 | 1178055.3666 | 2656377.3347 | 1178046.7105 | 2656374.6281 | 1178043.2521
30 | 2656393.668 | 1178074.7349 | 2656390.6367 | 1178076.9299
31 | 2656393.668 | 1178074.7349 | 2656404.1827 | 1178069.5203
32 | 2656390.6367 | 1178076.9299 | 2656393.0164 | 1178085.7869
33 | 2656390.6367 | 1178076.9299 | 2656388.721 | 1178078.3238 | 2656384.2895 | 1178081.5283 | 2656381.2501 | 1178083.7788 | 2656379.2684 | 1178085.6835 | 2656377.4052 | 1178087.9894 | 2656371.5426 | 1178097.1172 | 2656367.9401 | 1178102.364 | 2656364.927 | 1178105.8821 | 2656364.8218 | 1178105.9957
34 | 2656402.5877 | 1178100.525 | 2656398.0703 | 1178095.7657 | 2656394.2407 | 1178089.404 | 2656393.0952 | 1178086.0802 | 2656393.0164 | 1178085.7869
35 | 2656455.057 | 1177771.1669 | 2656448.9885 | 1177787.4654
36 | 2656455.057 | 1177771.1669 | 2656465.6176 | 1177765.4965 | 2656479.2928 | 1177757.8561
37 | 2656421.2159 | 1178068.8893 | 2656439.6323 | 1178079.3696 | 2656442.6473 | 1178080.8169
38 | 2656442.6473 | 1178080.8169 | 2656450.6166 | 1178084.6425 | 2656455.5052 | 1178086.2149
39 | 2656564.5203 | 1177944.1602 | 2656575.671 | 1177938.217 | 2656580.7774 | 1177935.6647
40 | 2656580.7774 | 1177935.6647 | 2656600.0551 | 1177926.0291 | 2656598.5004 | 1177922.5189
41 | 2656509.8288 | 1177911.8528 | 2656510.6578 | 1177911.4564 | 2656526.0933 | 1177903.5974
42 | 2656526.0933 | 1177903.5974 | 2656536.9147 | 1177898.0877
43 | 2656536.9147 | 1177898.0877 | 2656544.5187 | 1177894.216
44 | 2656498.3221 | 1178091.9585 | 2656498.9061 | 1178091.4562 | 2656503.8873 | 1178086.6782 | 2656507.2227 | 1178084.653 | 2656515.386 | 1178081.9617 | 2656524.5651 | 1178080.1249 | 2656557.1738 | 1178076.5079 | 2656576.677 | 1178071.3555 | 2656582.5346 | 1178069.4878
45 | 2656476.1719 | 1178092.8625 | 2656484.5479 | 1178095.5566 | 2656490.5739 | 1178095.858 | 2656495.3008 | 1178094.5573 | 2656498.3221 | 1178091.9585
46 | 2656592.9911 | 1178066.1537 | 2656582.5346 | 1178069.4878
47 | 2656476.1719 | 1178092.8625 | 2656455.5052 | 1178086.2149
48 | 2656592.9911 | 1178066.1537 | 2656596.1826 | 1178065.136 | 2656602.6843 | 1178062.0067 | 2656616.3293 | 1178053.3418 | 2656618.644 | 1178052.5737
49 | 2656618.644 | 1178052.5737 | 2656625.3207 | 1178050.3583 | 2656627.6828 | 1178049.9298
50 | 2656544.5187 | 1177894.216 | 2656553.5605 | 1177889.6124
51 | 2656553.5605 | 1177889.6124 | 2656568.1094 | 1177882.2048
52 | 2656571.0725 | 1177880.6961 | 2656568.1094 | 1177882.2048
53 | 2656428.3119 | 1178186.0521 | 2656430.5879 | 1178184.6537 | 2656438.6275 | 1178179.6599 | 2656441.9869 | 1178177.5125 | 2656443.3634 | 1178174.9574
54 | 2656443.3123 | 1178162.9932 | 2656443.3789 | 1178170.0548 | 2656443.3634 | 1178174.9574 | 2656443.3634 | 1178174.9574
55 | 2656442.7403 | 1178134.796 | 2656443.1855 | 1178137.0237 | 2656443.0997 | 1178140.4581 | 2656443.3123 | 1178162.9932
56 | 2656575.0005 | 1177878.6961 | 2656571.0725 | 1177880.6961
57 | 2656577.8782 | 1177877.231 | 2656592.9505 | 1177869.5569
58 | 2656575.0005 | 1177878.6961 | 2656577.8782 | 1177877.231
59 | 2656698.484 | 1178045.7131 | 2656708.0823 | 1178048.85 | 2656715.8887 | 1178049.98 | 2656721.6263 | 1178050.0787 | 2656727.0179 | 1178048.7956 | 2656728.906 | 1178048.0037
60 | 2656732.3996 | 1178121.2754 | 2656729.9321 | 1178120.396 | 2656728.3184 | 1178118.9355 | 2656726.255 | 1178119.772 | 2656725.0836 | 1178121.6286 | 2656724.0103 | 1178123.6196 | 2656721.3065 | 1178124.3055 | 2656717.7428 | 1178122.9933 | 2656714.0913 | 1178118.8454 | 2656712.5778 | 1178110.8267 | 2656710.9349 | 1178097.8929 | 2656711.3797 | 1178091.2601 | 2656711.1389 | 1178084.3985 | 2656710.0697 | 1178077.8737 | 2656707.6323 | 1178072.2031 | 2656701.4711 | 1178069.221 | 2656698.8071 | 1178067.3059 | 2656696.595 | 1178064.4723 | 2656695.7583 | 1178060.8291 | 2656696.1308 | 1178056.9971 | 2656698.484 | 1178045.7131
61 | 2656698.484 | 1178045.7131 | 2656693.1266 | 1178044.1839 | 2656676.5378 | 1178040.9032 | 2656670.7375 | 1178040.9596 | 2656665.0978 | 1178041.8179 | 2656646.7606 | 1178046.4696 | 2656627.6828 | 1178049.9298
62 | 2656732.3996 | 1178121.2754 | 2656738.0653 | 1178109.578 | 2656751.7973 | 1178075.578 | 2656754.6553 | 1178068.8483
63 | 2656701.8985 | 1178154.1497 | 2656720.4314 | 1178149.778 | 2656727.0024 | 1178146.5828 | 2656734.173 | 1178140.5917 | 2656732.2075 | 1178138.3496 | 2656729.9785 | 1178134.8822 | 2656729.7687 | 1178127.9764 | 2656732.3996 | 1178121.2754
64 | 2656442.7403 | 1178134.796 | 2656439.4626 | 1178131.5078 | 2656428.7564 | 1178125.1148 | 2656418.8881 | 1178117.3621 | 2656406.6731 | 1178104.8293 | 2656402.5877 | 1178100.525
65 | 2656595.7828 | 1177916.3835 | 2656598.5004 | 1177922.5189
66 | 2656485.5473 | 1177754.3616 | 2656479.2928 | 1177757.8561
67 | 2656609.6331 | 1178517.4904 | 2656609.6331 | 1178517.4904 | 2656615.6262 | 1178509.0979 | 2656622.5049 | 1178504.8382 | 2656639.7988 | 1178497.2305 | 2656653.9915 | 1178491.1611 | 2656661.0293 | 1178489.46 | 2656668.1302 | 1178488.6308
68 | 2656722.3158 | 1178506.3927 | 2656721.7873 | 1178501.6852 | 2656716.959 | 1178497.5817 | 2656711.3431 | 1178494.3491 | 2656704.3049 | 1178491.2253 | 2656698.8603 | 1178489.2727 | 2656693.0312 | 1178488.3838 | 2656681.3807 | 1178488.2181 | 2656669.9253 | 1178488.4212 | 2656668.1302 | 1178488.6308
69 | 2656722.3158 | 1178506.3927 | 2656733.3863 | 1178514.5686 | 2656744.4806 | 1178524.2566 | 2656752.8167 | 1178533.1181 | 2656758.6952 | 1178540.0887 | 2656763.7229 | 1178547.3402 | 2656765.7912 | 1178548.3937 | 2656771.8302 | 1178548.8956 | 2656774.5628 | 1178548.3767 | 2656775.5637 | 1178546.763 | 2656779.7929 | 1178539.8882 | 2656781.5457 | 1178532.3005 | 2656785.4365 | 1178528.891 | 2656793.0547 | 1178529.6524
70 | 2656793.0547 | 1178529.6524 | 2657021.7039 | 1178535.2771
71 | 2656442.7403 | 1178134.796 | 2656446.8653 | 1178136.5469 | 2656456.8423 | 1178140.8654 | 2656467.9303 | 1178144.0381 | 2656472.3972 | 1178143.5577 | 2656481.2565 | 1178140.7839 | 2656485.8799 | 1178137.4812 | 2656490.5523 | 1178132.2334 | 2656494.4889 | 1178128.8352 | 2656501.1154 | 1178128.6642 | 2656509.5785 | 1178128.2103 | 2656515.9562 | 1178129.3043 | 2656519.4756 | 1178130.4492 | 2656522.6764 | 1178132.9696 | 2656522.8234 | 1178135.2167 | 2656522.3602 | 1178137.3357 | 2656519.5221 | 1178140.922 | 2656519.3613 | 1178141.5671
72 | 2656519.3613 | 1178141.5671 | 2656518.8392 | 1178143.6616 | 2656520.0388 | 1178145.2849 | 2656522.2423 | 1178145.7948 | 2656529.0856 | 1178146.9377 | 2656537.5925 | 1178149.9417 | 2656550.245 | 1178151.6952 | 2656558.7813 | 1178150.35
73 | 2656586.8067 | 1178164.6924 | 2656582.7804 | 1178163.097 | 2656576.9891 | 1178151.6806 | 2656567.7668 | 1178147.5692 | 2656559.2979 | 1178150.2686 | 2656558.7813 | 1178150.35
74 | 2656594.4887 | 1178166.1091 | 2656592.6755 | 1178166.3477 | 2656591.2304 | 1178166.4452 | 2656586.8067 | 1178164.6924
75 | 2656594.4887 | 1178166.1091 | 2656597.27 | 1178166.9247 | 2656611.8941 | 1178166.2289 | 2656621.9045 | 1178165.5177
76 | 2656701.8985 | 1178154.1497 | 2656711.7523 | 1178168.2284 | 2656727.1791 | 1178179.6027 | 2656738.6547 | 1178193.4855 | 2656757.0607 | 1178196.0498 | 2656800.2046 | 1178218.4037 | 2656816.1515 | 1178228.0822 | 2656839.9559 | 1178237.4906 | 2656857.9611 | 1178246.8552 | 2656862.3002 | 1178257.4355
77 | 2656732.3936 | 1178277.8173 | 2656786.6927 | 1178281.6107 | 2656805.1894 | 1178286.6775 | 2656815.074 | 1178287.7828 | 2656824.8597 | 1178281.5831 | 2656845.7066 | 1178261.1915 | 2656852.0331 | 1178260.4066 | 2656856.1058 | 1178262.8243 | 2656862.3002 | 1178257.4355

## bus_geodata
| x | y | coords
0 | 2656389.1916 | 1178377.4564
1 | 2656362.2 | 1178344.0434
2 | 2656357.685 | 1178564.3226
3 | 2656387.3997 | 1178229.4391
4 | 2656441.3453 | 1178607.8218
5 | 2656401.698 | 1178215.1413
6 | 2656575.6568 | 1178544.7399
7 | 2656452.1044 | 1178041.4768
8 | 2656476.2127 | 1178023.9401
9 | 2656424.5463 | 1178049.5446
10 | 2656485.8908 | 1178016.3946
11 | 2656419.4019 | 1178052.1718
12 | 2656497.5671 | 1178002.4056
13 | 2656415.2712 | 1178064.0209
14 | 2656486.4788 | 1177942.4309
15 | 2656486.1881 | 1177946.768
16 | 2656484.2666 | 1177921.747
17 | 2656488.9359 | 1177979.4673
18 | 2656417.6086 | 1177913.7341
19 | 2656504.0399 | 1177914.6207
20 | 2656368.4329 | 1177917.3889
21 | 2656508.7796 | 1177912.3545
22 | 2656385.286 | 1178057.6209
23 | 2656385.1275 | 1178057.3462
24 | 2656393.668 | 1178074.7349
25 | 2656374.6281 | 1178043.2521
26 | 2656390.6367 | 1178076.9299
27 | 2656404.1827 | 1178069.5203
28 | 2656393.0164 | 1178085.7869
29 | 2656364.8218 | 1178105.9957
30 | 2656448.9885 | 1177787.4654
31 | 2656455.057 | 1177771.1669
32 | 2656421.2159 | 1178068.8893
33 | 2656442.6473 | 1178080.8169
34 | 2656564.5203 | 1177944.1602
35 | 2656580.7774 | 1177935.6647
36 | 2656509.8288 | 1177911.8528
37 | 2656526.0933 | 1177903.5974
38 | 2656536.9147 | 1177898.0877
39 | 2656498.3221 | 1178091.9585
40 | 2656582.5346 | 1178069.4878
41 | 2656476.1719 | 1178092.8625
42 | 2656592.9911 | 1178066.1537
43 | 2656455.5052 | 1178086.2149
44 | 2656618.644 | 1178052.5737
45 | 2656544.5187 | 1177894.216
46 | 2656553.5605 | 1177889.6124
47 | 2656568.1094 | 1177882.2048
48 | 2656428.3119 | 1178186.0521
49 | 2656443.3634 | 1178174.9574
50 | 2656443.3123 | 1178162.9932
51 | 2656571.0725 | 1177880.6961
52 | 2656577.8782 | 1177877.231
53 | 2656592.9505 | 1177869.5569
54 | 2656575.0005 | 1177878.6961
55 | 2656698.484 | 1178045.7131
56 | 2656728.906 | 1178048.0037
57 | 2656732.3996 | 1178121.2754
58 | 2656627.6828 | 1178049.9298
59 | 2656402.5877 | 1178100.525
60 | 2656598.5004 | 1177922.5189
61 | 2656595.7828 | 1177916.3835
62 | 2656479.2928 | 1177757.8561
63 | 2656485.5473 | 1177754.3616
64 | 2656668.1302 | 1178488.6308
65 | 2656609.6331 | 1178517.4904
66 | 2656722.3158 | 1178506.3927
67 | 2656793.0547 | 1178529.6524
68 | 2657021.7039 | 1178535.2771
69 | 2656442.7403 | 1178134.796
70 | 2656519.3613 | 1178141.5671
71 | 2656558.7813 | 1178150.35
72 | 2656586.8067 | 1178164.6924
73 | 2656594.4887 | 1178166.1091
74 | 2656621.9045 | 1178165.5177
75 | 2656701.8985 | 1178154.1497
76 | 2656862.3002 | 1178257.4355
77 | 2656754.6553 | 1178068.8483
78 | 2656732.3936 | 1178277.8173
79 | 2656485.8908 | 1178016.3946

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1