## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_783-8_1_2_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_783-8_1_2_node_13 | 0.4 | n |  | TRUE
2 | bus_LV_783-8_1_2_node_27 | 0.4 | n |  | TRUE
3 | bus_LV_783-8_1_2_node_81 | 0.4 | n |  | TRUE
4 | bus_LV_783-8_1_2_node_112 | 0.4 | n |  | TRUE
5 | bus_LV_783-8_1_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_783-8_1_2_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_783-8_1_2_node_123 | 0.4 | n |  | TRUE
8 | bus_LV_783-8_1_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_783-8_1_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_783-8_1_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_783-8_1_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_783-8_1_2_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_783-8_1_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_783-8_1_2_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_783-8_1_2_node_124 | 0.4 | n |  | TRUE
16 | bus_LV_783-8_1_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_783-8_1_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_783-8_1_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_783-8_1_2_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_783-8_1_2_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_783-8_1_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_783-8_1_2_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_783-8_1_2_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_783-8_1_2_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_783-8_1_2_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_783-8_1_2_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_783-8_1_2_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_783-8_1_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_783-8_1_2_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_783-8_1_2_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_783-8_1_2_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_783-8_1_2_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_783-8_1_2_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_783-8_1_2_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_783-8_1_2_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_783-8_1_2_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_783-8_1_2_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_783-8_1_2_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_783-8_1_2_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_783-8_1_2_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_783-8_1_2_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_783-8_1_2_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_783-8_1_2_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_783-8_1_2_node_111 | 0.4 | n |  | TRUE
45 | bus_LV_783-8_1_2_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_783-8_1_2_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_783-8_1_2_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_783-8_1_2_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_783-8_1_2_node_125 | 0.4 | n |  | TRUE
50 | bus_LV_783-8_1_2_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_783-8_1_2_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_783-8_1_2_node_113 | 0.4 | n |  | TRUE
53 | bus_MV_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_783-8_1_2_load_12 | 0 | 0.031427 | 0.0078764 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_783-8_1_2_load_27 | 2 | 0.0003505 | 8.7844e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_783-8_1_2_load_81 | 3 | 0.00028746 | 7.2045e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_783-8_1_2_load_112 | 4 | 0.00073877 | 0.00018515 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_783-8_1_2_load_14 | 5 | 0.00030005 | 7.52e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_783-8_1_2_load_15 | 6 | 0.0018103 | 0.0004537 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_783-8_1_2_load_25 | 8 | 0.00050985 | 0.00012778 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_783-8_1_2_load_22 | 9 | 0.00030537 | 7.6533e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_783-8_1_2_load_23 | 10 | 0.00035642 | 8.9328e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_783-8_1_2_load_24 | 11 | 0.0018853 | 0.00047251 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_783-8_1_2_load_26 | 12 | 0.00040015 | 0.00010029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_783-8_1_2_load_28 | 13 | 0.00070035 | 0.00017552 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_783-8_1_2_load_29 | 14 | 0.0014993 | 0.00037575 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_783-8_1_2_load_124 | 15 | 0.00067964 | 0.00017033 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_783-8_1_2_load_30 | 16 | 0.00040141 | 0.0001006 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_783-8_1_2_load_31 | 17 | 0.00049698 | 0.00012456 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_783-8_1_2_load_32 | 18 | 0.00025053 | 6.2789e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_783-8_1_2_load_37 | 20 | 0.00038518 | 9.6534e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_783-8_1_2_load_39 | 22 | 0.00048389 | 0.00012127 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_783-8_1_2_load_43 | 23 | 0.00051315 | 0.00012861 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_783-8_1_2_load_61 | 24 | 0.00034726 | 8.7031e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_783-8_1_2_load_48 | 26 | 0.0008315 | 0.00020839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_783-8_1_2_load_49 | 27 | 0.00083816 | 0.00021006 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_783-8_1_2_load_64 | 28 | 0.00029578 | 7.413e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_783-8_1_2_load_67 | 31 | 0.00028975 | 7.2618e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_783-8_1_2_load_59 | 32 | 0.00075297 | 0.00018871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_783-8_1_2_load_62 | 34 | 0.00055906 | 0.00014011 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_783-8_1_2_load_63 | 35 | 0.00048589 | 0.00012177 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_783-8_1_2_load_68 | 36 | 0.00075558 | 0.00018937 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_783-8_1_2_load_65 | 37 | 0.0010436 | 0.00026155 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_783-8_1_2_load_76 | 38 | 0.0003391 | 8.4986e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_783-8_1_2_load_78 | 40 | 0.00057712 | 0.00014464 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_783-8_1_2_load_79 | 41 | 0.00030788 | 7.7162e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_783-8_1_2_load_92 | 42 | 0.00033053 | 8.2838e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_783-8_1_2_load_88 | 43 | 0.00073275 | 0.00018364 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_783-8_1_2_load_111 | 44 | 0.00029896 | 7.4927e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_783-8_1_2_load_80 | 45 | 0.00026216 | 6.5703e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_783-8_1_2_load_82 | 46 | 0.00029309 | 7.3454e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_783-8_1_2_load_84 | 47 | 0.00046402 | 0.00011629 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_783-8_1_2_load_85 | 48 | 0.00075659 | 0.00018962 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_783-8_1_2_load_125 | 49 | 0.00070891 | 0.00017767 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_783-8_1_2_load_89 | 51 | 0.00098387 | 0.00024658 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_783-8_1_2_load_113 | 52 | 0.001695 | 0.00042481 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_783-8_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_783-8_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.13391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_783-8_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.22659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_783-8_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.19585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_783-8_1_2_line_4 | NAYY 4x150 SE | 2 | 13 | 0.13912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_783-8_1_2_line_5 | NAYY 4x150 SE | 3 | 45 | 0.059415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_783-8_1_2_line_6 | NAYY 4x150 SE | 4 | 52 | 0.0040707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_783-8_1_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.04773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_783-8_1_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.17188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_783-8_1_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.012273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_783-8_1_2_line_10 | NAYY 4x150 SE | 7 | 27 | 0.12305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_783-8_1_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.041559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_783-8_1_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.038903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_783-8_1_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.016417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_783-8_1_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0085716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_783-8_1_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.17681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_783-8_1_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.003821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_783-8_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.17396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_783-8_1_2_line_18 | NAYY 4x150 SE | 15 | 50 | 0.04712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_783-8_1_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.0033134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_783-8_1_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.044176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_783-8_1_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.19758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_783-8_1_2_line_22 | NAYY 4x150 SE | 19 | 30 | 0.12514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_783-8_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.041229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_783-8_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.050213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_783-8_1_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.084953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_783-8_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.076937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_783-8_1_2_line_27 | NAYY 4x150 SE | 24 | 32 | 0.046672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_783-8_1_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.02869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_783-8_1_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.014542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_783-8_1_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.13408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_783-8_1_2_line_31 | NAYY 4x150 SE | 26 | 29 | 0.011929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_783-8_1_2_line_32 | NAYY 4x150 SE | 28 | 36 | 0.0085987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_783-8_1_2_line_33 | NAYY 4x150 SE | 28 | 35 | 0.049768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_783-8_1_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.10134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_783-8_1_2_line_35 | NAYY 4x150 SE | 29 | 37 | 0.01695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_783-8_1_2_line_36 | NAYY 4x150 SE | 30 | 31 | 0.14945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_783-8_1_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.038985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_783-8_1_2_line_38 | NAYY 4x150 SE | 33 | 34 | 0.097024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_783-8_1_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.021829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_783-8_1_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.06044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_783-8_1_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.088396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_783-8_1_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.017433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_783-8_1_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.041505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_783-8_1_2_line_44 | NAYY 4x150 SE | 40 | 43 | 0.047202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_783-8_1_2_line_45 | NAYY 4x150 SE | 41 | 44 | 0.082718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_783-8_1_2_line_46 | NAYY 4x150 SE | 43 | 51 | 0.0078513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_783-8_1_2_line_47 | NAYY 4x150 SE | 44 | 47 | 0.010038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_783-8_1_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.11603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_783-8_1_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0031797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_783-8_1_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.086929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_783-8_1_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.020447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_783-8_1_2_trafo_12 | 0.25 MVA 20/0.4 kV | 53 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2656857.8658 | 1177620.0638 | 2656862.1567 | 1177619.6598 | 2656866.3526 | 1177619.5995 | 2656871.7983 | 1177619.918 | 2656887.9695 | 1177621.4054 | 2656895.5625 | 1177621.722 | 2656896.6885 | 1177621.6991
1 | 2656896.6885 | 1177621.6991 | 2657016.5031 | 1177561.8902
2 | 2656857.8658 | 1177620.0638 | 2656799.1262 | 1177401.2236
3 | 2656857.8658 | 1177620.0638 | 2656846.7713 | 1177424.5275
4 | 2657131.0724 | 1177486.243 | 2657122.8154 | 1177489.2964 | 2657114.7894 | 1177492.6996 | 2657112.4895 | 1177493.4671 | 2657109.9917 | 1177495.7557 | 2657103.8487 | 1177501.2558 | 2657094.6057 | 1177507.2823 | 2657054.2871 | 1177532.1349 | 2657046.5654 | 1177538.1092 | 2657038.5941 | 1177547.8388 | 2657034.9167 | 1177552.8288 | 2657030.9022 | 1177555.5033 | 2657026.0549 | 1177558.1587 | 2657016.5031 | 1177561.8902
5 | 2656844.5407 | 1177363.8472 | 2656843.8733 | 1177364.457 | 2656836.2335 | 1177369.8543 | 2656829.7299 | 1177376.3185 | 2656824.9562 | 1177382.4989 | 2656819.7397 | 1177387.8191 | 2656816.7777 | 1177390.7149 | 2656812.8596 | 1177393.7017 | 2656799.1262 | 1177401.2236
6 | 2656849.621 | 1177421.6207 | 2656846.7713 | 1177424.5275
7 | 2657100.0183 | 1177705.8004 | 2657097.5223 | 1177708.2655 | 2657092.5372 | 1177712.5649 | 2657088.0141 | 1177715.6902 | 2657084.2174 | 1177717.9665 | 2657079.3831 | 1177720.0772 | 2657075.3512 | 1177721.3729 | 2657070.9107 | 1177722.2423 | 2657066.1687 | 1177722.6863 | 2657060.7068 | 1177722.4787 | 2657057.3161 | 1177721.8364
8 | 2657057.3161 | 1177721.8364 | 2656962.0222 | 1177864.8755
9 | 2657100.0183 | 1177705.8004 | 2657102.0043 | 1177703.839 | 2657108.843 | 1177697.2714
10 | 2656962.0222 | 1177864.8755 | 2656958.5975 | 1177871.4577 | 2656971.882 | 1177912.9178 | 2656967.7218 | 1177939.0039 | 2656962.5945 | 1177942.2125 | 2656959.539 | 1177969.4541 | 2656963.3551 | 1177977.1835 | 2656965.048 | 1177980.3538
11 | 2657144.6096 | 1177676.4518 | 2657127.648 | 1177684.7836 | 2657121.4417 | 1177688.1153 | 2657115.7378 | 1177691.663 | 2657110.7731 | 1177695.4178 | 2657108.843 | 1177697.2714
12 | 2657144.6096 | 1177676.4518 | 2657168.2323 | 1177664.8479 | 2657179.2475 | 1177658.7634
13 | 2657193.9565 | 1177651.4907 | 2657190.867 | 1177652.8458 | 2657183.1896 | 1177656.5859 | 2657179.2475 | 1177658.7634
14 | 2657201.8951 | 1177648.2631 | 2657196.9447 | 1177650.1801 | 2657193.9565 | 1177651.4907
15 | 2657193.9565 | 1177651.4907 | 2657131.0724 | 1177486.243
16 | 2657134.6563 | 1177484.9178 | 2657131.0724 | 1177486.243
17 | 2657225.5287 | 1177336.5794 | 2657134.6563 | 1177484.9178
18 | 2657225.5287 | 1177336.5794 | 2657233.834 | 1177338.3707 | 2657243.7327 | 1177338.9543 | 2657253.5332 | 1177338.6142 | 2657260.5835 | 1177338.1812 | 2657272.494 | 1177336.9609
19 | 2656728.8251 | 1177849.6361 | 2656728.8251 | 1177849.6361 | 2656725.5311 | 1177849.994
20 | 2656728.8251 | 1177849.6361 | 2656733.3959 | 1177848.701 | 2656738.47 | 1177847.0703 | 2656741.9536 | 1177845.5579 | 2656745.6806 | 1177843.3475 | 2656749.8213 | 1177840.2294 | 2656753.0216 | 1177837.158 | 2656755.813 | 1177833.6936 | 2656758.14 | 1177830.0358 | 2656760.4366 | 1177825.5661 | 2656761.2841 | 1177823.086
21 | 2656698.484 | 1178045.7131 | 2656725.5311 | 1177849.994
22 | 2656734.173 | 1178140.5917 | 2656732.2075 | 1178138.3496 | 2656729.9785 | 1178134.8822 | 2656729.7687 | 1178127.9764 | 2656732.3996 | 1178121.2754 | 2656729.9321 | 1178120.396 | 2656728.3184 | 1178118.9355 | 2656726.255 | 1178119.772 | 2656725.0836 | 1178121.6286 | 2656724.0103 | 1178123.6196 | 2656721.3065 | 1178124.3055 | 2656717.7428 | 1178122.9933 | 2656714.0913 | 1178118.8454 | 2656712.5778 | 1178110.8267 | 2656710.9349 | 1178097.8929 | 2656711.3797 | 1178091.2601 | 2656711.1389 | 1178084.3985 | 2656710.0697 | 1178077.8737 | 2656707.6323 | 1178072.2031 | 2656701.4711 | 1178069.221 | 2656698.8071 | 1178067.3059 | 2656696.595 | 1178064.4723 | 2656695.7583 | 1178060.8291 | 2656696.1308 | 1178056.9971 | 2656698.484 | 1178045.7131
23 | 2657270.1776 | 1177850.9116 | 2657290.5988 | 1177821.0011 | 2657293.2689 | 1177816.7593
24 | 2657270.1776 | 1177850.9116 | 2657267.3519 | 1177853.9418 | 2657258.7494 | 1177861.753 | 2657252.8972 | 1177864.821 | 2657246.5663 | 1177867.6178 | 2657234.5599 | 1177870.1824 | 2657226.0206 | 1177871.5262
25 | 2657226.0206 | 1177871.5262 | 2657217.907 | 1177872.8029 | 2657194.7717 | 1177875.6728 | 2657186.2182 | 1177878.3484 | 2657178.7858 | 1177882.0685 | 2657172.0375 | 1177885.3616 | 2657163.4862 | 1177888.6264 | 2657145.6541 | 1177893.1035 | 2657144.6083 | 1177893.462
26 | 2657152.4406 | 1177969.9995 | 2657144.6083 | 1177893.462
27 | 2657152.4406 | 1177969.9995 | 2657162.7511 | 1177964.9504 | 2657172.5463 | 1177965.8665 | 2657176.5705 | 1177970.9743 | 2657179.0886 | 1177977.7576 | 2657180.2136 | 1177986.3953 | 2657181.1049 | 1177989.1602
28 | 2656974.6553 | 1177991.0095 | 2656972.8925 | 1177992.3713 | 2656966.2113 | 1177995.8654 | 2656948.8411 | 1178003.372
29 | 2656974.6553 | 1177991.0095 | 2656967.1916 | 1177984.3683 | 2656965.048 | 1177980.3538
30 | 2657081.7108 | 1178071.7292 | 2656974.6553 | 1177991.0095
31 | 2656937.8311 | 1178007.9583 | 2656941.9958 | 1178006.3302 | 2656948.8411 | 1178003.372
32 | 2657090.0143 | 1178073.9627 | 2657081.7108 | 1178071.7292
33 | 2657081.7108 | 1178071.7292 | 2657077.3318 | 1178070.5513 | 2657075.3948 | 1178064.5185 | 2657077.7596 | 1178057.715 | 2657085.0987 | 1178049.3135 | 2657095.9118 | 1178042.0234 | 2657102.3013 | 1178038.1004
34 | 2656937.8311 | 1178007.9583 | 2656907.4897 | 1178019.7993 | 2656892.169 | 1178027.0358 | 2656879.0506 | 1178034.9047 | 2656873.0991 | 1178038.8282 | 2656865.8908 | 1178043.129 | 2656857.9759 | 1178046.189 | 2656850.3969 | 1178048.4962 | 2656846.1204 | 1178050.1733
35 | 2656937.8311 | 1178007.9583 | 2656931.0484 | 1177992.425
36 | 2656734.173 | 1178140.5917 | 2656736.5367 | 1178141.937 | 2656738.9798 | 1178142.1491 | 2656743.1497 | 1178141.5771 | 2656746.0674 | 1178140.0928 | 2656749.2522 | 1178134.5976 | 2656753.8949 | 1178125.2363 | 2656759.5122 | 1178117.0516 | 2656770.5023 | 1178107.1501 | 2656783.9033 | 1178095.2147 | 2656797.1567 | 1178083.5448 | 2656817.0824 | 1178067.6913 | 2656828.0038 | 1178058.612 | 2656839.989 | 1178052.5777 | 2656846.1204 | 1178050.1733
37 | 2657211.2751 | 1178008.8926 | 2657199.6114 | 1178006.8136 | 2657189.6381 | 1178002.9387 | 2657182.7445 | 1177994.246 | 2657181.1049 | 1177989.1602
38 | 2657211.2751 | 1178008.8926 | 2657197.4138 | 1178014.497 | 2657184.0513 | 1178016.6708 | 2657170.6791 | 1178017.455 | 2657159.076 | 1178016.2326 | 2657145.2892 | 1178014.0224 | 2657138.3256 | 1178013.4669 | 2657131.3661 | 1178014.8792 | 2657127.2917 | 1178018.2533 | 2657119.6929 | 1178024.9557
39 | 2657119.6929 | 1178024.9557 | 2657117.952 | 1178026.4912 | 2657106.0038 | 1178035.8271 | 2657102.3013 | 1178038.1004
40 | 2656942.2502 | 1177181.7554 | 2656938.2098 | 1177187.9427 | 2656934.6315 | 1177195.3573 | 2656931.6452 | 1177199.1866 | 2656925.0596 | 1177203.8045 | 2656916.5641 | 1177205.9251 | 2656910.7538 | 1177206.1479 | 2656903.2092 | 1177204.6978 | 2656898.4335 | 1177203.0071 | 2656893.8396 | 1177203.2144
41 | 2656942.2502 | 1177181.7554 | 2656936.018 | 1177177.3049 | 2656878.8648 | 1177149.4477 | 2656864.4675 | 1177140.1157
42 | 2656942.2502 | 1177181.7554 | 2656945.4156 | 1177184.02 | 2656950.0501 | 1177192.5353 | 2656950.0212 | 1177196.3816 | 2656950.0212 | 1177196.3816
43 | 2656864.4675 | 1177140.1157 | 2656851.2238 | 1177131.5315 | 2656843.9892 | 1177128.0166 | 2656837.1696 | 1177125.8619 | 2656826.8589 | 1177123.7385
44 | 2656864.4675 | 1177140.1157 | 2656837.3853 | 1177178.7753
45 | 2656925.9452 | 1177272.3507 | 2656927.3391 | 1177259.9571 | 2656928.9982 | 1177233.3025 | 2656930.376 | 1177225.8226 | 2656933.9335 | 1177218.9859 | 2656939.6979 | 1177212.3258 | 2656945.8711 | 1177206.0698 | 2656948.6677 | 1177201.2937 | 2656950.0212 | 1177196.3816
46 | 2656837.3853 | 1177178.7753 | 2656831.5213 | 1177183.996
47 | 2656924.1091 | 1177282.2165 | 2656924.1091 | 1177282.2165 | 2656925.1736 | 1177277.1571 | 2656925.9452 | 1177272.3507 | 2656925.9452 | 1177272.3507
48 | 2656844.5407 | 1177363.8472 | 2656858.181 | 1177351.3853 | 2656864.6012 | 1177347.2772 | 2656871.1937 | 1177344.338 | 2656886.5719 | 1177339.2698 | 2656894.0734 | 1177334.7718 | 2656898.4706 | 1177330.4333 | 2656903.1872 | 1177323.841 | 2656908.9784 | 1177314.3463 | 2656913.9006 | 1177304.6098 | 2656922.4986 | 1177286.8371 | 2656923.0626 | 1177285.219
49 | 2656924.1091 | 1177282.2165 | 2656923.0626 | 1177285.219
50 | 2657275.6131 | 1177319.2475 | 2657289.2642 | 1177233.3971
51 | 2657275.6131 | 1177319.2475 | 2657273.7841 | 1177321.9093 | 2657270.7932 | 1177326.2054 | 2657269.6537 | 1177331.8865 | 2657270.3095 | 1177335.2391 | 2657272.494 | 1177336.9609

## bus_geodata
| x | y | coords
0 | 2656896.6885 | 1177621.6991
1 | 2656857.8658 | 1177620.0638
2 | 2657016.5031 | 1177561.8902
3 | 2656799.1262 | 1177401.2236
4 | 2656846.7713 | 1177424.5275
5 | 2657057.3161 | 1177721.8364
6 | 2657100.0183 | 1177705.8004
7 | 2656962.0222 | 1177864.8755
8 | 2657108.843 | 1177697.2714
9 | 2657179.2475 | 1177658.7634
10 | 2657144.6096 | 1177676.4518
11 | 2657193.9565 | 1177651.4907
12 | 2657201.8951 | 1177648.2631
13 | 2657131.0724 | 1177486.243
14 | 2657134.6563 | 1177484.9178
15 | 2657225.5287 | 1177336.5794
16 | 2656728.8251 | 1177849.6361
17 | 2656725.5311 | 1177849.994
18 | 2656761.2841 | 1177823.086
19 | 2656698.484 | 1178045.7131
20 | 2657293.2689 | 1177816.7593
21 | 2657270.1776 | 1177850.9116
22 | 2657226.0206 | 1177871.5261
23 | 2657144.6083 | 1177893.462
24 | 2657152.4406 | 1177969.9995
25 | 2656974.6553 | 1177991.0095
26 | 2656948.8411 | 1178003.372
27 | 2656965.048 | 1177980.3538
28 | 2657081.7108 | 1178071.7292
29 | 2656937.8311 | 1178007.9583
30 | 2656734.173 | 1178140.5917
31 | 2656846.1204 | 1178050.1733
32 | 2657181.1049 | 1177989.1602
33 | 2657211.2751 | 1178008.8926
34 | 2657119.6929 | 1178024.9557
35 | 2657102.3013 | 1178038.1004
36 | 2657090.0143 | 1178073.9627
37 | 2656931.0484 | 1177992.425
38 | 2656893.8396 | 1177203.2144
39 | 2656942.2502 | 1177181.7554
40 | 2656864.4675 | 1177140.1157
41 | 2656950.0212 | 1177196.3816
42 | 2656826.8589 | 1177123.7385
43 | 2656837.3853 | 1177178.7753
44 | 2656925.9452 | 1177272.3507
45 | 2656844.5407 | 1177363.8472
46 | 2656923.0626 | 1177285.219
47 | 2656924.1091 | 1177282.2165
48 | 2657289.2642 | 1177233.3971
49 | 2657275.6131 | 1177319.2475
50 | 2657272.494 | 1177336.9609
51 | 2656831.5213 | 1177183.9961
52 | 2656849.621 | 1177421.6207
53 | 2656896.6885 | 1177621.6991

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1