## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_785-23_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_785-23_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_785-23_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_785-23_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_785-23_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_785-23_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_785-23_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_785-23_0_2_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_785-23_0_2_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_785-23_0_2_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_785-23_0_2_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_785-23_0_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_785-23_0_2_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_785-23_0_2_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_785-23_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_785-23_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_785-23_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_785-23_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_785-23_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_785-23_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_785-23_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_785-23_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_785-23_0_2_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_785-23_0_2_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_785-23_0_2_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_785-23_0_2_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_785-23_0_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_785-23_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_785-23_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_785-23_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_785-23_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_785-23_0_2_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_785-23_0_2_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_785-23_0_2_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_785-23_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_785-23_0_2_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_785-23_0_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_785-23_0_2_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_785-23_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_785-23_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_785-23_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_785-23_0_2_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_785-23_0_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_785-23_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_785-23_0_2_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_785-23_0_2_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_785-23_0_2_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_785-23_0_2_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_785-23_0_2_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_785-23_0_2_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_785-23_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_785-23_0_2_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_785-23_0_2_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_785-23_0_2_node_51 | 0.4 | n |  | TRUE
54 | bus_MV_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_785-23_0_2_load_0 | 0 | 0.00056889 | 0.00014258 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_785-23_0_2_load_1 | 1 | 0.00064642 | 0.00016201 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_785-23_0_2_load_2 | 2 | 0.00030669 | 7.6864e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_785-23_0_2_load_4 | 4 | 0.0012321 | 0.0003088 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_785-23_0_2_load_5 | 5 | 0.00061302 | 0.00015364 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_785-23_0_2_load_6 | 6 | 0.00056459 | 0.0001415 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_785-23_0_2_load_18 | 7 | 0.00030012 | 7.5216e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_785-23_0_2_load_48 | 9 | 0.0014971 | 0.0003752 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_785-23_0_2_load_19 | 10 | 0.00096804 | 0.00024261 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_785-23_0_2_load_21 | 12 | 0.00099291 | 0.00024885 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_785-23_0_2_load_49 | 13 | 0.00041386 | 0.00010372 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_785-23_0_2_load_7 | 14 | 0.000496 | 0.00012431 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_785-23_0_2_load_8 | 15 | 0.00062669 | 0.00015706 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_785-23_0_2_load_11 | 18 | 0.00022449 | 5.6262e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_785-23_0_2_load_15 | 19 | 0.00046216 | 0.00011583 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_785-23_0_2_load_16 | 20 | 0.00026686 | 6.688e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_785-23_0_2_load_17 | 21 | 0.00023807 | 5.9667e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_785-23_0_2_load_33 | 24 | 0.00040256 | 0.00010089 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_785-23_0_2_load_14 | 27 | 0.00088597 | 0.00022205 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_785-23_0_2_load_29 | 28 | 0.00053392 | 0.00013381 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_785-23_0_2_load_25 | 29 | 0.00046321 | 0.00011609 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_785-23_0_2_load_52 | 31 | 0.00076785 | 0.00019244 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_785-23_0_2_load_53 | 32 | 0.00088418 | 0.0002216 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_785-23_0_2_load_44 | 33 | 0.00058401 | 0.00014637 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_785-23_0_2_load_34 | 34 | 0.00022134 | 5.5472e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_785-23_0_2_load_55 | 35 | 8.9167e-05 | 2.2347e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_785-23_0_2_load_46 | 36 | 0.00057289 | 0.00014358 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_785-23_0_2_load_54 | 37 | 9.2598e-05 | 2.3207e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_785-23_0_2_load_31 | 38 | 0.00024899 | 6.2402e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_785-23_0_2_load_45 | 39 | 0.0003024 | 7.5789e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_785-23_0_2_load_20 | 40 | 0.0002733 | 6.8495e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_785-23_0_2_load_22 | 41 | 0.0010344 | 0.00025924 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_785-23_0_2_load_41 | 42 | 0.00054431 | 0.00013642 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_785-23_0_2_load_42 | 43 | 0.00026617 | 6.6708e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_785-23_0_2_load_27 | 44 | 0.00070701 | 0.00017719 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_785-23_0_2_load_28 | 45 | 0.00077237 | 0.00019357 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_785-23_0_2_load_35 | 46 | 0.00064531 | 0.00016173 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_785-23_0_2_load_36 | 47 | 0.00068948 | 0.0001728 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_785-23_0_2_load_40 | 48 | 0.0010367 | 0.00025982 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_785-23_0_2_load_32 | 49 | 0.00079146 | 0.00019836 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_785-23_0_2_load_39 | 50 | 0.00067241 | 0.00016852 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_785-23_0_2_load_38 | 51 | 0.00043449 | 0.00010889 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_785-23_0_2_load_37 | 52 | 0.00023469 | 5.882e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_785-23_0_2_load_51 | 53 | 0.00097492 | 0.00024434 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_785-23_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_785-23_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.15251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_785-23_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_785-23_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.044306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_785-23_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_785-23_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_785-23_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.22224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_785-23_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0047629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_785-23_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0014354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_785-23_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.17164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_785-23_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.021044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_785-23_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.013655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_785-23_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.010765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_785-23_0_2_line_13 | NAYY 4x150 SE | 10 | 35 | 0.25959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_785-23_0_2_line_14 | NAYY 4x150 SE | 10 | 36 | 0.25656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_785-23_0_2_line_15 | NAYY 4x150 SE | 11 | 42 | 0.01784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_785-23_0_2_line_16 | NAYY 4x150 SE | 11 | 23 | 0.021415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_785-23_0_2_line_17 | NAYY 4x150 SE | 12 | 40 | 0.0077962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_785-23_0_2_line_18 | NAYY 4x150 SE | 13 | 47 | 0.02903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_785-23_0_2_line_19 | NAYY 4x150 SE | 14 | 15 | 0.0042663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_785-23_0_2_line_20 | NAYY 4x150 SE | 14 | 16 | 0.1826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_785-23_0_2_line_21 | NAYY 4x150 SE | 16 | 17 | 0.096371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_785-23_0_2_line_22 | NAYY 4x150 SE | 16 | 18 | 0.029345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_785-23_0_2_line_23 | NAYY 4x150 SE | 17 | 19 | 0.021948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_785-23_0_2_line_24 | NAYY 4x150 SE | 17 | 20 | 0.027086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_785-23_0_2_line_25 | NAYY 4x150 SE | 18 | 21 | 0.043463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_785-23_0_2_line_26 | NAYY 4x150 SE | 19 | 22 | 0.0086769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_785-23_0_2_line_27 | NAYY 4x150 SE | 20 | 23 | 0.009871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_785-23_0_2_line_28 | NAYY 4x150 SE | 21 | 24 | 0.036241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_785-23_0_2_line_29 | NAYY 4x150 SE | 22 | 31 | 0.020402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_785-23_0_2_line_30 | NAYY 4x150 SE | 22 | 32 | 0.027251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_785-23_0_2_line_31 | NAYY 4x150 SE | 23 | 33 | 0.013703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_785-23_0_2_line_32 | NAYY 4x150 SE | 24 | 34 | 0.010455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_785-23_0_2_line_33 | NAYY 4x150 SE | 25 | 26 | 0.070321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_785-23_0_2_line_34 | NAYY 4x150 SE | 25 | 27 | 0.21711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_785-23_0_2_line_35 | NAYY 4x150 SE | 26 | 28 | 0.20249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_785-23_0_2_line_36 | NAYY 4x150 SE | 27 | 29 | 0.022925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_785-23_0_2_line_37 | NAYY 4x150 SE | 29 | 30 | 0.074026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_785-23_0_2_line_38 | NAYY 4x150 SE | 30 | 44 | 0.014673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_785-23_0_2_line_39 | NAYY 4x150 SE | 30 | 45 | 0.0079644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_785-23_0_2_line_40 | NAYY 4x150 SE | 33 | 53 | 0.0099523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_785-23_0_2_line_41 | NAYY 4x150 SE | 34 | 50 | 0.026072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_785-23_0_2_line_42 | NAYY 4x150 SE | 35 | 37 | 0.065647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_785-23_0_2_line_43 | NAYY 4x150 SE | 36 | 38 | 0.19998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_785-23_0_2_line_44 | NAYY 4x150 SE | 36 | 39 | 6.075e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_785-23_0_2_line_45 | NAYY 4x150 SE | 38 | 49 | 0.018631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_785-23_0_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.0073297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_785-23_0_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.0078088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_785-23_0_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.07904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_785-23_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0016647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_785-23_0_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.033649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_785-23_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.013451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_785-23_0_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0034202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_785-23_0_2_trafo_49 | 0.25 MVA 20/0.4 kV | 54 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2653287.261 | 1178038.4534 | 2653287.0635 | 1178040.1403 | 2653286.2058 | 1178050.6829 | 2653288.3035 | 1178055.0871
1 | 2653287.261 | 1178038.4534 | 2653287.9318 | 1178032.7218 | 2653294.9612 | 1177991.495 | 2653297.2847 | 1177978.5307 | 2653296.8271 | 1177974.1354 | 2653295.3584 | 1177970.865 | 2653292.3394 | 1177968.3702 | 2653286.9929 | 1177965.51 | 2653281.5926 | 1177963.561 | 2653275.1268 | 1177961.9805 | 2653264.845 | 1177961.6002 | 2653251.6149 | 1177961.9274 | 2653243.6832 | 1177962.7908 | 2653220.6887 | 1177968.1676 | 2653214.6105 | 1177969.6219
2 | 2653293.422 | 1178065.8331 | 2653288.3035 | 1178055.0871
3 | 2653177.1668 | 1177984.644 | 2653188.4808 | 1177981.9341 | 2653189.3661 | 1177975.1716 | 2653202.0502 | 1177972.627 | 2653214.6105 | 1177969.6219
4 | 2653293.422 | 1178065.8331 | 2653312.6814 | 1178057.8597
5 | 2653293.422 | 1178065.8331 | 2653284.7801 | 1178073.1899
6 | 2653177.1668 | 1177984.644 | 2652988.599 | 1177867.0255
7 | 2653317.0821 | 1178056.0378 | 2653312.6814 | 1178057.8597
8 | 2653283.6871 | 1178074.1204 | 2653284.7801 | 1178073.1899
9 | 2652988.599 | 1177867.0255 | 2652988.599 | 1177867.0255 | 2652966.9194 | 1177861.9314 | 2652957.8275 | 1177870.4336 | 2652939.0529 | 1177860.8627 | 2652908.7728 | 1177854.47 | 2652830.3605 | 1177821.906
10 | 2653317.0821 | 1178056.0378 | 2653329.5184 | 1178052.1351 | 2653333.5183 | 1178051.7371 | 2653337.5583 | 1178051.9842
11 | 2653317.0821 | 1178056.0378 | 2653320.6301 | 1178069.2242
12 | 2653283.6871 | 1178074.1204 | 2653281.8806 | 1178075.6582 | 2653276.0294 | 1178081.6741
13 | 2652830.3605 | 1177821.906 | 2652579.8844 | 1177753.7063
14 | 2652708.6211 | 1178047.7429 | 2652830.3605 | 1177821.906
15 | 2653337.5583 | 1178051.9842 | 2653339.6786 | 1178045.5551 | 2653341.7663 | 1178040.2152 | 2653342.6917 | 1178035.8321 | 2653342.6725 | 1178034.9756
16 | 2653337.5583 | 1178051.9842 | 2653357.9698 | 1178058.6471
17 | 2653320.6301 | 1178069.2242 | 2653322.6558 | 1178076.7526
18 | 2653262.5433 | 1178106.6964 | 2653263.05 | 1178102.6502 | 2653266.5585 | 1178093.9099 | 2653271.8787 | 1178085.9417 | 2653276.0294 | 1178081.6741
19 | 2653403.1304 | 1178170.3207 | 2653402.7105 | 1178174.5663
20 | 2653461.0447 | 1177998.298 | 2653437.5894 | 1178053.6749 | 2653425.8458 | 1178081.0298 | 2653414.8737 | 1178108.4249 | 2653409.9776 | 1178124.5124 | 2653406.5791 | 1178140.6243 | 2653403.6236 | 1178165.3337 | 2653403.1304 | 1178170.3207
21 | 2653461.0447 | 1177998.298 | 2653453.0973 | 1178000.9286 | 2653446.0876 | 1178005.5132 | 2653442.8312 | 1178009.9421 | 2653436.3547 | 1178025.871 | 2653430.4624 | 1178037.9807 | 2653424.5568 | 1178045.5878 | 2653416.6696 | 1178052.6215 | 2653410.8727 | 1178055.7383 | 2653403.0336 | 1178058.2254 | 2653394.6278 | 1178060.0072
22 | 2653461.0447 | 1177998.298 | 2653472.7998 | 1177971.4102 | 2653472.7998 | 1177971.4102
23 | 2653394.6278 | 1178060.0072 | 2653392.0925 | 1178048.6673 | 2653392.1004 | 1178038.3395
24 | 2653394.6278 | 1178060.0072 | 2653390.0957 | 1178060.9563 | 2653384.3604 | 1178061.4611 | 2653372.6752 | 1178060.8012 | 2653367.7204 | 1178060.1726
25 | 2653486.4308 | 1177930.162 | 2653484.2129 | 1177938.3271 | 2653478.8861 | 1177954.6997 | 2653472.7998 | 1177971.4102
26 | 2653395.3727 | 1178030.3976 | 2653393.224 | 1178034.0027 | 2653392.1004 | 1178038.3395
27 | 2653357.9698 | 1178058.6471 | 2653364.7602 | 1178059.797 | 2653367.7204 | 1178060.1726
28 | 2653486.4308 | 1177930.162 | 2653490.4939 | 1177915.2038 | 2653495.3394 | 1177895.0369
29 | 2653395.3727 | 1178030.3976 | 2653390.7258 | 1178017.6382 | 2653387.6953 | 1178011.5256
30 | 2653417.4838 | 1178014.3856 | 2653395.3727 | 1178030.3976
31 | 2653357.9698 | 1178058.6471 | 2653348.1204 | 1178068.1744
32 | 2653495.3394 | 1177895.0369 | 2653496.1126 | 1177891.8189 | 2653497.8082 | 1177884.8779
33 | 2653291.4129 | 1178374.5396 | 2653274.7351 | 1178389.7888 | 2653251.2046 | 1178408.379 | 2653237.6615 | 1178419.9986
34 | 2653291.4129 | 1178374.5396 | 2653291.5691 | 1178369.8496 | 2653294.0983 | 1178362.1011 | 2653306.9746 | 1178343.0161 | 2653290.9767 | 1178344.5082 | 2653293.5857 | 1178327.7778 | 2653277.6491 | 1178321.5106 | 2653276.4775 | 1178315.7749 | 2653285.9778 | 1178306.8655 | 2653304.3396 | 1178270.6643 | 2653308.9079 | 1178234.6629 | 2653304.2768 | 1178216.6897 | 2653302.3594 | 1178207.1675 | 2653301.4745 | 1178200.1336
35 | 2653237.6615 | 1178419.9986 | 2653226.1876 | 1178420.5749 | 2653215.7444 | 1178417.803 | 2653205.9063 | 1178413.1465 | 2653185.1742 | 1178397.9434 | 2653168.9124 | 1178389.5836 | 2653061.4986 | 1178348.1325 | 2653052.0215 | 1178344.3958
36 | 2653301.4745 | 1178200.1336 | 2653298.5019 | 1178199.2956 | 2653294.0631 | 1178197.5108 | 2653291.9476 | 1178196.5248 | 2653287.7294 | 1178193.1299 | 2653286.0941 | 1178188.8353 | 2653286.1962 | 1178186.1293
37 | 2653263.0824 | 1178116.2135 | 2653267.2066 | 1178130.2022 | 2653283.3813 | 1178172.5245 | 2653286.394 | 1178180.8891 | 2653286.1962 | 1178186.1293
38 | 2653263.0824 | 1178116.2135 | 2653248.9083 | 1178120.009
39 | 2653263.0824 | 1178116.2135 | 2653262.0877 | 1178110.3348 | 2653262.3365 | 1178108.3482
40 | 2653340.9671 | 1178075.0938 | 2653348.1204 | 1178068.1744
41 | 2653503.9954 | 1177859.5502 | 2653497.8082 | 1177884.8779
42 | 2652550.2067 | 1177701.7589 | 2652549.6331 | 1177720.1417 | 2652551.19 | 1177729.9607 | 2652555.6695 | 1177733.2684 | 2652578.8633 | 1177752.2708 | 2652579.8844 | 1177753.7063
43 | 2652849.1939 | 1178189.9728 | 2652708.6211 | 1178047.7429
44 | 2652708.6211 | 1178047.7429 | 2652708.6167 | 1178047.7471
45 | 2652865.5164 | 1178198.499 | 2652853.899 | 1178191.0371 | 2652849.1939 | 1178189.9728
46 | 2653324.5603 | 1178083.8306 | 2653322.6558 | 1178076.7526
47 | 2653339.2592 | 1178029.1313 | 2653341.6215 | 1178029.8638 | 2653342.6042 | 1178031.9181 | 2653342.6725 | 1178034.9756
48 | 2653248.9083 | 1178120.009 | 2653191.8739 | 1178135.2813 | 2653172.2263 | 1178138.9981
49 | 2653262.5433 | 1178106.6964 | 2653262.3365 | 1178108.3482
50 | 2653139.2836 | 1178134.0481 | 2653157.6887 | 1178138.6136 | 2653165.3342 | 1178139.8375 | 2653172.2263 | 1178138.9981
51 | 2653503.9954 | 1177859.5502 | 2653507.1874 | 1177846.4837
52 | 2653507.9991 | 1177843.1612 | 2653507.1874 | 1177846.4837

## bus_geodata
| x | y | coords
0 | 2653287.261 | 1178038.4534
1 | 2653288.3035 | 1178055.0871
2 | 2653214.6105 | 1177969.6219
3 | 2653293.422 | 1178065.8331
4 | 2653177.1668 | 1177984.644
5 | 2653312.6814 | 1178057.8597
6 | 2653284.7801 | 1178073.1899
7 | 2652988.599 | 1177867.0255
8 | 2653317.0821 | 1178056.0378
9 | 2653283.6871 | 1178074.1204
10 | 2652830.3605 | 1177821.906
11 | 2653337.5583 | 1178051.9842
12 | 2653320.6301 | 1178069.2242
13 | 2653276.0294 | 1178081.6741
14 | 2653403.1304 | 1178170.3207
15 | 2653402.7105 | 1178174.5663
16 | 2653461.0447 | 1177998.298
17 | 2653394.6278 | 1178060.0072
18 | 2653472.7998 | 1177971.4102
19 | 2653392.1004 | 1178038.3395
20 | 2653367.7204 | 1178060.1726
21 | 2653486.4308 | 1177930.162
22 | 2653395.3727 | 1178030.3976
23 | 2653357.9698 | 1178058.6471
24 | 2653495.3394 | 1177895.0369
25 | 2653291.4129 | 1178374.5396
26 | 2653237.6615 | 1178419.9986
27 | 2653301.4745 | 1178200.1336
28 | 2653052.0215 | 1178344.3958
29 | 2653286.1962 | 1178186.1293
30 | 2653263.0824 | 1178116.2135
31 | 2653387.6953 | 1178011.5256
32 | 2653417.4838 | 1178014.3856
33 | 2653348.1204 | 1178068.1744
34 | 2653497.8082 | 1177884.8779
35 | 2652579.8844 | 1177753.7063
36 | 2652708.6211 | 1178047.7429
37 | 2652550.2067 | 1177701.7589
38 | 2652849.1939 | 1178189.9728
39 | 2652708.6167 | 1178047.7471
40 | 2653322.6558 | 1178076.7526
41 | 2653324.5603 | 1178083.8306
42 | 2653342.6725 | 1178034.9756
43 | 2653339.2592 | 1178029.1313
44 | 2653248.9083 | 1178120.009
45 | 2653262.3365 | 1178108.3482
46 | 2653172.2263 | 1178138.9981
47 | 2653262.5433 | 1178106.6964
48 | 2653139.2836 | 1178134.0481
49 | 2652865.5164 | 1178198.499
50 | 2653503.9954 | 1177859.5502
51 | 2653507.1874 | 1177846.4837
52 | 2653507.9991 | 1177843.1612
53 | 2653340.9671 | 1178075.0938
54 | 2653276.0294 | 1178081.6741

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1