## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_785-25_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_785-25_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_785-25_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_785-25_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_785-25_0_4_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_785-25_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_785-25_0_4_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_785-25_0_4_node_163 | 0.4 | n |  | TRUE
8 | bus_LV_785-25_0_4_node_137 | 0.4 | n |  | TRUE
9 | bus_LV_785-25_0_4_node_139 | 0.4 | n |  | TRUE
10 | bus_LV_785-25_0_4_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_785-25_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_785-25_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_785-25_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_785-25_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_785-25_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_785-25_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_785-25_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_785-25_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_785-25_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_785-25_0_4_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_785-25_0_4_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_785-25_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_785-25_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_785-25_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_785-25_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_785-25_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_785-25_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_785-25_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_785-25_0_4_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_785-25_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_785-25_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_785-25_0_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_785-25_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_785-25_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_785-25_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_785-25_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_785-25_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_785-25_0_4_node_140 | 0.4 | n |  | TRUE
39 | bus_LV_785-25_0_4_node_145 | 0.4 | n |  | TRUE
40 | bus_LV_785-25_0_4_node_138 | 0.4 | n |  | TRUE
41 | bus_LV_785-25_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_785-25_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_785-25_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_785-25_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_785-25_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_785-25_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_785-25_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_785-25_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_785-25_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_785-25_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_785-25_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_785-25_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_785-25_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_785-25_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_785-25_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_785-25_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_785-25_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_785-25_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_785-25_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_785-25_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_785-25_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_785-25_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_785-25_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_785-25_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_785-25_0_4_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_785-25_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_785-25_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_785-25_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_785-25_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_785-25_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_785-25_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_785-25_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_785-25_0_4_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_785-25_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_785-25_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_785-25_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_785-25_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_785-25_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_785-25_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_785-25_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_785-25_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_785-25_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_785-25_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_785-25_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_785-25_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_785-25_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_785-25_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_785-25_0_4_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_785-25_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_785-25_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_785-25_0_4_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_785-25_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_785-25_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_785-25_0_4_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_785-25_0_4_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_785-25_0_4_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_785-25_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_785-25_0_4_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_785-25_0_4_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_785-25_0_4_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_785-25_0_4_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_785-25_0_4_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_785-25_0_4_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_785-25_0_4_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_785-25_0_4_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_785-25_0_4_node_162 | 0.4 | n |  | TRUE
107 | bus_LV_785-25_0_4_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_785-25_0_4_node_98 | 0.4 | n |  | TRUE
109 | bus_LV_785-25_0_4_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_785-25_0_4_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_785-25_0_4_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_785-25_0_4_node_95 | 0.4 | n |  | TRUE
113 | bus_LV_785-25_0_4_node_96 | 0.4 | n |  | TRUE
114 | bus_LV_785-25_0_4_node_97 | 0.4 | n |  | TRUE
115 | bus_LV_785-25_0_4_node_111 | 0.4 | n |  | TRUE
116 | bus_LV_785-25_0_4_node_114 | 0.4 | n |  | TRUE
117 | bus_LV_785-25_0_4_node_108 | 0.4 | n |  | TRUE
118 | bus_LV_785-25_0_4_node_112 | 0.4 | n |  | TRUE
119 | bus_LV_785-25_0_4_node_115 | 0.4 | n |  | TRUE
120 | bus_LV_785-25_0_4_node_109 | 0.4 | n |  | TRUE
121 | bus_LV_785-25_0_4_node_110 | 0.4 | n |  | TRUE
122 | bus_LV_785-25_0_4_node_116 | 0.4 | n |  | TRUE
123 | bus_LV_785-25_0_4_node_113 | 0.4 | n |  | TRUE
124 | bus_LV_785-25_0_4_node_117 | 0.4 | n |  | TRUE
125 | bus_LV_785-25_0_4_node_118 | 0.4 | n |  | TRUE
126 | bus_LV_785-25_0_4_node_119 | 0.4 | n |  | TRUE
127 | bus_LV_785-25_0_4_node_120 | 0.4 | n |  | TRUE
128 | bus_LV_785-25_0_4_node_121 | 0.4 | n |  | TRUE
129 | bus_LV_785-25_0_4_node_127 | 0.4 | n |  | TRUE
130 | bus_LV_785-25_0_4_node_125 | 0.4 | n |  | TRUE
131 | bus_LV_785-25_0_4_node_130 | 0.4 | n |  | TRUE
132 | bus_LV_785-25_0_4_node_149 | 0.4 | n |  | TRUE
133 | bus_LV_785-25_0_4_node_129 | 0.4 | n |  | TRUE
134 | bus_LV_785-25_0_4_node_128 | 0.4 | n |  | TRUE
135 | bus_LV_785-25_0_4_node_126 | 0.4 | n |  | TRUE
136 | bus_LV_785-25_0_4_node_122 | 0.4 | n |  | TRUE
137 | bus_LV_785-25_0_4_node_123 | 0.4 | n |  | TRUE
138 | bus_LV_785-25_0_4_node_124 | 0.4 | n |  | TRUE
139 | bus_LV_785-25_0_4_node_142 | 0.4 | n |  | TRUE
140 | bus_LV_785-25_0_4_node_148 | 0.4 | n |  | TRUE
141 | bus_LV_785-25_0_4_node_154 | 0.4 | n |  | TRUE
142 | bus_LV_785-25_0_4_node_143 | 0.4 | n |  | TRUE
143 | bus_LV_785-25_0_4_node_144 | 0.4 | n |  | TRUE
144 | bus_LV_785-25_0_4_node_150 | 0.4 | n |  | TRUE
145 | bus_LV_785-25_0_4_node_131 | 0.4 | n |  | TRUE
146 | bus_LV_785-25_0_4_node_132 | 0.4 | n |  | TRUE
147 | bus_LV_785-25_0_4_node_133 | 0.4 | n |  | TRUE
148 | bus_LV_785-25_0_4_node_134 | 0.4 | n |  | TRUE
149 | bus_LV_785-25_0_4_node_135 | 0.4 | n |  | TRUE
150 | bus_LV_785-25_0_4_node_151 | 0.4 | n |  | TRUE
151 | bus_LV_785-25_0_4_node_146 | 0.4 | n |  | TRUE
152 | bus_LV_785-25_0_4_node_141 | 0.4 | n |  | TRUE
153 | bus_LV_785-25_0_4_node_155 | 0.4 | n |  | TRUE
154 | bus_LV_785-25_0_4_node_147 | 0.4 | n |  | TRUE
155 | bus_LV_785-25_0_4_node_153 | 0.4 | n |  | TRUE
156 | bus_LV_785-25_0_4_node_156 | 0.4 | n |  | TRUE
157 | bus_LV_785-25_0_4_node_152 | 0.4 | n |  | TRUE
158 | bus_LV_785-25_0_4_node_159 | 0.4 | n |  | TRUE
159 | bus_LV_785-25_0_4_node_158 | 0.4 | n |  | TRUE
160 | bus_LV_785-25_0_4_node_157 | 0.4 | n |  | TRUE
161 | bus_LV_785-25_0_4_node_161 | 0.4 | n |  | TRUE
162 | bus_LV_785-25_0_4_node_160 | 0.4 | n |  | TRUE
163 | bus_MV_139_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_785-25_0_4_load_0 | 0 | 0.0028837 | 0.00072272 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_785-25_0_4_load_4 | 2 | 0.0037963 | 0.00095144 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_785-25_0_4_load_3 | 3 | 0.0045415 | 0.0011382 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_785-25_0_4_load_23 | 5 | 0.0016665 | 0.00041766 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_785-25_0_4_load_2 | 6 | 0.0030335 | 0.00076027 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_785-25_0_4_load_163 | 7 | 0.0030729 | 0.00077013 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_785-25_0_4_load_137 | 8 | 0.00057964 | 0.00014527 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_785-25_0_4_load_136 | 10 | 0.0014121 | 0.0003539 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_785-25_0_4_load_21 | 11 | 0.0049213 | 0.0012334 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_785-25_0_4_load_5 | 13 | 0.0007605 | 0.0001906 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_785-25_0_4_load_6 | 14 | 0.00089547 | 0.00022443 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_785-25_0_4_load_7 | 15 | 0.0011974 | 0.0003001 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_785-25_0_4_load_9 | 17 | 0.0013124 | 0.00032892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_785-25_0_4_load_48 | 19 | 0.00053923 | 0.00013514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_785-25_0_4_load_54 | 20 | 0.017284 | 0.0043318 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_785-25_0_4_load_53 | 21 | 0.0014542 | 0.00036445 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_785-25_0_4_load_11 | 23 | 0.0030555 | 0.00076578 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_785-25_0_4_load_12 | 24 | 0.0039688 | 0.00099467 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_785-25_0_4_load_14 | 26 | 0.0025773 | 0.00064594 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_785-25_0_4_load_16 | 27 | 0.0016323 | 0.00040909 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_785-25_0_4_load_51 | 29 | 0.00069938 | 0.00017528 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_785-25_0_4_load_40 | 30 | 0.0011201 | 0.00028073 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_785-25_0_4_load_52 | 32 | 0.0012823 | 0.00032137 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_785-25_0_4_load_41 | 33 | 0.0019414 | 0.00048655 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_785-25_0_4_load_49 | 35 | 0.0052355 | 0.0013121 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_785-25_0_4_load_35 | 36 | 0.0036927 | 0.00092547 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_785-25_0_4_load_145 | 39 | 0.0028617 | 0.00071721 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_785-25_0_4_load_34 | 41 | 0.0015659 | 0.00039246 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_785-25_0_4_load_24 | 42 | 0.0016075 | 0.00040287 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_785-25_0_4_load_25 | 43 | 0.0014762 | 0.00036998 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_785-25_0_4_load_26 | 44 | 0.00081071 | 0.00020318 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_785-25_0_4_load_27 | 45 | 0.0016897 | 0.00042348 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_785-25_0_4_load_32 | 46 | 0.0013476 | 0.00033775 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_785-25_0_4_load_28 | 48 | 0.0017054 | 0.00042742 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_785-25_0_4_load_29 | 49 | 0.0013682 | 0.0003429 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_785-25_0_4_load_33 | 51 | 0.0014046 | 0.00035204 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_785-25_0_4_load_55 | 52 | 0.0010528 | 0.00026386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_785-25_0_4_load_56 | 55 | 0.0065848 | 0.0016503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_785-25_0_4_load_42 | 57 | 0.0016737 | 0.00041947 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_785-25_0_4_load_36 | 58 | 0.0026209 | 0.00065687 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_785-25_0_4_load_37 | 59 | 0.00233 | 0.00058394 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_785-25_0_4_load_38 | 60 | 0.0027727 | 0.00069491 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_785-25_0_4_load_39 | 61 | 0.0027496 | 0.00068913 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_785-25_0_4_load_45 | 62 | 0.00065516 | 0.0001642 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_785-25_0_4_load_43 | 63 | 0.0020548 | 0.00051497 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_785-25_0_4_load_58 | 65 | 0.0024452 | 0.00061283 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_785-25_0_4_load_57 | 66 | 0.0011858 | 0.00029718 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_785-25_0_4_load_59 | 67 | 0.001728 | 0.00043307 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_785-25_0_4_load_61 | 68 | 0.0017706 | 0.00044377 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_785-25_0_4_load_68 | 69 | 0.0018362 | 0.00046019 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_785-25_0_4_load_70 | 70 | 0.0026796 | 0.00067156 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_785-25_0_4_load_66 | 71 | 0.0015055 | 0.00037732 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_785-25_0_4_load_69 | 72 | 0.001483 | 0.00037167 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_785-25_0_4_load_64 | 74 | 0.0017429 | 0.00043682 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_785-25_0_4_load_63 | 75 | 0.00094307 | 0.00023636 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_785-25_0_4_load_65 | 76 | 0.00079221 | 0.00019855 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_785-25_0_4_load_67 | 77 | 0.0013416 | 0.00033623 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_785-25_0_4_load_76 | 78 | 0.0016793 | 0.00042088 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_785-25_0_4_load_77 | 79 | 0.0012848 | 0.00032199 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_785-25_0_4_load_81 | 80 | 0.002773 | 0.00069498 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_785-25_0_4_load_71 | 82 | 0.001394 | 0.00034936 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_785-25_0_4_load_72 | 83 | 0.0014004 | 0.00035097 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_785-25_0_4_load_75 | 86 | 0.0014027 | 0.00035156 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_785-25_0_4_load_79 | 87 | 0.00028818 | 7.2225e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_785-25_0_4_load_78 | 88 | 0.0013971 | 0.00035014 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_785-25_0_4_load_82 | 90 | 0.0027275 | 0.00068358 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_785-25_0_4_load_91 | 91 | 0.00013055 | 3.2718e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_785-25_0_4_load_92 | 92 | 0.0025572 | 0.00064089 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_785-25_0_4_load_88 | 93 | 0.00028442 | 7.1282e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_785-25_0_4_load_85 | 94 | 0.00051679 | 0.00012952 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_785-25_0_4_load_86 | 95 | 0.00035126 | 8.8033e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_785-25_0_4_load_90 | 98 | 0.0026049 | 0.00065285 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_785-25_0_4_load_99 | 99 | 0.001891 | 0.00047394 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_785-25_0_4_load_103 | 102 | 0.00039063 | 9.7902e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_785-25_0_4_load_104 | 103 | 0.00074301 | 0.00018622 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_785-25_0_4_load_106 | 104 | 0.00038692 | 9.697e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_785-25_0_4_load_105 | 105 | 0.00014656 | 3.6732e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_785-25_0_4_load_162 | 106 | 0.00039854 | 9.9884e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_785-25_0_4_load_93 | 107 | 0.0011599 | 0.00029069 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_785-25_0_4_load_102 | 109 | 0.0017039 | 0.00042703 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_785-25_0_4_load_100 | 110 | 0.0010693 | 0.00026799 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_785-25_0_4_load_101 | 111 | 0.0017172 | 0.00043038 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_785-25_0_4_load_97 | 114 | 0.0020768 | 0.0005205 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_785-25_0_4_load_111 | 115 | 0.0024768 | 0.00062075 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_785-25_0_4_load_114 | 116 | 0.0018619 | 0.00046663 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_785-25_0_4_load_108 | 117 | 0.002408 | 0.00060351 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_785-25_0_4_load_112 | 118 | 0.0019883 | 0.0004983 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_785-25_0_4_load_115 | 119 | 0.0020926 | 0.00052444 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_785-25_0_4_load_109 | 120 | 0.0010754 | 0.00026953 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_785-25_0_4_load_110 | 121 | 0.0023585 | 0.0005911 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_785-25_0_4_load_116 | 122 | 0.0020029 | 0.00050197 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_785-25_0_4_load_113 | 123 | 0.0021443 | 0.00053742 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_785-25_0_4_load_117 | 124 | 0.0019751 | 0.00049502 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_785-25_0_4_load_118 | 125 | 0.00085835 | 0.00021512 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_785-25_0_4_load_127 | 129 | 0.0035016 | 0.00087758 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_785-25_0_4_load_125 | 130 | 0.0019283 | 0.00048327 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_785-25_0_4_load_149 | 132 | 0.0015911 | 0.00039876 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_785-25_0_4_load_128 | 134 | 0.0038701 | 0.00096993 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_785-25_0_4_load_122 | 136 | 0.0018697 | 0.0004686 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_785-25_0_4_load_123 | 137 | 0.0067222 | 0.0016847 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_785-25_0_4_load_124 | 138 | 0.0022931 | 0.00057469 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_785-25_0_4_load_154 | 141 | 0.00054347 | 0.00013621 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_785-25_0_4_load_143 | 142 | 0.0032421 | 0.00081255 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_785-25_0_4_load_144 | 143 | 0.0012486 | 0.00031294 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_785-25_0_4_load_131 | 145 | 0.0012471 | 0.00031256 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_785-25_0_4_load_132 | 146 | 0.005235 | 0.001312 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_785-25_0_4_load_133 | 147 | 0.0019455 | 0.00048759 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_785-25_0_4_load_134 | 148 | 0.00091849 | 0.00023019 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_785-25_0_4_load_141 | 152 | 0.0027912 | 0.00069953 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_785-25_0_4_load_155 | 153 | 0.0044783 | 0.0011224 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_785-25_0_4_load_147 | 154 | 0.00074283 | 0.00018617 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_785-25_0_4_load_153 | 155 | 0.00084759 | 0.00021243 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_785-25_0_4_load_156 | 156 | 0.0002804 | 7.0275e-05 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_785-25_0_4_load_152 | 157 | 0.00080067 | 0.00020067 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_785-25_0_4_load_159 | 158 | 0.0013398 | 0.00033579 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_785-25_0_4_load_158 | 159 | 0.0013503 | 0.00033842 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_785-25_0_4_load_157 | 160 | 0.0022891 | 0.00057371 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_785-25_0_4_load_161 | 161 | 0.002763 | 0.00069247 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_785-25_0_4_load_160 | 162 | 0.0020387 | 0.00051094 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_785-25_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_785-25_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0040355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_785-25_0_4_line_2 | NAYY 4x150 SE | 2 | 5 | 0.0062333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_785-25_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_785-25_0_4_line_4 | NAYY 4x150 SE | 4 | 11 | 0.018578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_785-25_0_4_line_5 | NAYY 4x150 SE | 4 | 12 | 0.023803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_785-25_0_4_line_6 | NAYY 4x150 SE | 5 | 12 | 0.017978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_785-25_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.12121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_785-25_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.077318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_785-25_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.02001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_785-25_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.039583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_785-25_0_4_line_11 | NAYY 4x150 SE | 9 | 154 | 0.06208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_785-25_0_4_line_12 | NAYY 4x150 SE | 10 | 40 | 0.021505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_785-25_0_4_line_13 | NAYY 4x150 SE | 11 | 38 | 0.0016378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_785-25_0_4_line_14 | NAYY 4x150 SE | 12 | 28 | 0.01317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_785-25_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.019422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_785-25_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0094619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_785-25_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.016736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_785-25_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0054327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_785-25_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.006079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_785-25_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.011616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_785-25_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.053754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_785-25_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.012439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_785-25_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.017084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_785-25_0_4_line_24 | NAYY 4x150 SE | 22 | 29 | 0.013105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_785-25_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.028231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_785-25_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.015371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_785-25_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.010383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_785-25_0_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0064836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_785-25_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.018337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_785-25_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0091241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_785-25_0_4_line_31 | NAYY 4x150 SE | 27 | 30 | 0.0010239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_785-25_0_4_line_32 | NAYY 4x150 SE | 28 | 31 | 0.014558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_785-25_0_4_line_33 | NAYY 4x150 SE | 29 | 32 | 0.02942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_785-25_0_4_line_34 | NAYY 4x150 SE | 30 | 33 | 0.01723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_785-25_0_4_line_35 | NAYY 4x150 SE | 31 | 34 | 0.006973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_785-25_0_4_line_36 | NAYY 4x150 SE | 31 | 35 | 0.0089023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_785-25_0_4_line_37 | NAYY 4x150 SE | 33 | 51 | 0.015578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_785-25_0_4_line_38 | NAYY 4x150 SE | 34 | 36 | 0.017722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_785-25_0_4_line_39 | NAYY 4x150 SE | 35 | 37 | 0.012904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_785-25_0_4_line_40 | NAYY 4x150 SE | 36 | 41 | 0.020483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_785-25_0_4_line_41 | NAYY 4x150 SE | 37 | 62 | 0.042352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_785-25_0_4_line_42 | NAYY 4x150 SE | 37 | 61 | 0.036682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_785-25_0_4_line_43 | NAYY 4x150 SE | 38 | 39 | 0.021224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_785-25_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.010347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_785-25_0_4_line_45 | NAYY 4x150 SE | 40 | 152 | 0.010624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_785-25_0_4_line_46 | NAYY 4x150 SE | 41 | 58 | 0.0098622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_785-25_0_4_line_47 | NAYY 4x150 SE | 42 | 43 | 0.038523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_785-25_0_4_line_48 | NAYY 4x150 SE | 42 | 44 | 0.010731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_785-25_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.0052928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_785-25_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.007196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_785-25_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.010941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_785-25_0_4_line_52 | NAYY 4x150 SE | 47 | 51 | 0.024632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_785-25_0_4_line_53 | NAYY 4x150 SE | 47 | 48 | 0.01147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_785-25_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.026134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_785-25_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.023412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_785-25_0_4_line_56 | NAYY 4x150 SE | 50 | 52 | 0.005817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_785-25_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_785-25_0_4_line_58 | NAYY 4x150 SE | 53 | 64 | 0.012077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_785-25_0_4_line_59 | NAYY 4x150 SE | 53 | 65 | 0.010962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_785-25_0_4_line_60 | NAYY 4x150 SE | 54 | 55 | 0.016817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_785-25_0_4_line_61 | NAYY 4x150 SE | 54 | 56 | 0.017126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_785-25_0_4_line_62 | NAYY 4x150 SE | 56 | 57 | 0.034787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_785-25_0_4_line_63 | NAYY 4x150 SE | 57 | 63 | 0.010064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_785-25_0_4_line_64 | NAYY 4x150 SE | 59 | 60 | 0.013425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_785-25_0_4_line_65 | NAYY 4x150 SE | 60 | 61 | 0.0067015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_785-25_0_4_line_66 | NAYY 4x150 SE | 62 | 63 | 0.0016847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_785-25_0_4_line_67 | NAYY 4x150 SE | 64 | 70 | 0.0221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_785-25_0_4_line_68 | NAYY 4x150 SE | 64 | 71 | 0.0084245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_785-25_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.011167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_785-25_0_4_line_70 | NAYY 4x150 SE | 66 | 67 | 0.014758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_785-25_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.0167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_785-25_0_4_line_72 | NAYY 4x150 SE | 68 | 69 | 0.0049624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_785-25_0_4_line_73 | NAYY 4x150 SE | 69 | 72 | 0.011078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_785-25_0_4_line_74 | NAYY 4x150 SE | 70 | 73 | 0.024861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_785-25_0_4_line_75 | NAYY 4x150 SE | 71 | 74 | 0.02573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_785-25_0_4_line_76 | NAYY 4x150 SE | 73 | 80 | 0.011197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_785-25_0_4_line_77 | NAYY 4x150 SE | 73 | 81 | 0.01147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_785-25_0_4_line_78 | NAYY 4x150 SE | 74 | 75 | 0.010421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_785-25_0_4_line_79 | NAYY 4x150 SE | 75 | 76 | 0.0017779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_785-25_0_4_line_80 | NAYY 4x150 SE | 76 | 77 | 0.022133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_785-25_0_4_line_81 | NAYY 4x150 SE | 77 | 78 | 0.0046711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_785-25_0_4_line_82 | NAYY 4x150 SE | 78 | 79 | 0.014027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_785-25_0_4_line_83 | NAYY 4x150 SE | 80 | 85 | 0.017884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_785-25_0_4_line_84 | NAYY 4x150 SE | 81 | 92 | 0.021129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_785-25_0_4_line_85 | NAYY 4x150 SE | 81 | 89 | 0.00718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_785-25_0_4_line_86 | NAYY 4x150 SE | 82 | 83 | 0.0019081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_785-25_0_4_line_87 | NAYY 4x150 SE | 82 | 84 | 0.056315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_785-25_0_4_line_88 | NAYY 4x150 SE | 84 | 85 | 0.023927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_785-25_0_4_line_89 | NAYY 4x150 SE | 84 | 86 | 0.00031133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_785-25_0_4_line_90 | NAYY 4x150 SE | 85 | 87 | 0.014547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_785-25_0_4_line_91 | NAYY 4x150 SE | 86 | 88 | 0.017107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_785-25_0_4_line_92 | NAYY 4x150 SE | 89 | 90 | 0.0039694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_785-25_0_4_line_93 | NAYY 4x150 SE | 90 | 91 | 0.0082158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_785-25_0_4_line_94 | NAYY 4x150 SE | 91 | 93 | 0.0086236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_785-25_0_4_line_95 | NAYY 4x150 SE | 93 | 98 | 0.025724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_785-25_0_4_line_96 | NAYY 4x150 SE | 93 | 95 | 0.0088694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_785-25_0_4_line_97 | NAYY 4x150 SE | 94 | 95 | 0.022203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_785-25_0_4_line_98 | NAYY 4x150 SE | 94 | 96 | 0.015564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_785-25_0_4_line_99 | NAYY 4x150 SE | 96 | 97 | 0.024907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
100 | LV_785-25_0_4_line_100 | NAYY 4x150 SE | 97 | 99 | 0.052893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_785-25_0_4_line_101 | NAYY 4x150 SE | 97 | 100 | 0.14672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_785-25_0_4_line_102 | NAYY 4x150 SE | 99 | 101 | 0.026866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
103 | LV_785-25_0_4_line_103 | NAYY 4x150 SE | 100 | 104 | 0.024017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_785-25_0_4_line_104 | NAYY 4x150 SE | 101 | 108 | 0.024843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_785-25_0_4_line_105 | NAYY 4x150 SE | 101 | 107 | 0.010468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_785-25_0_4_line_106 | NAYY 4x150 SE | 102 | 103 | 0.027105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_785-25_0_4_line_107 | NAYY 4x150 SE | 102 | 104 | 0.045301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_785-25_0_4_line_108 | NAYY 4x150 SE | 103 | 105 | 0.00383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_785-25_0_4_line_109 | NAYY 4x150 SE | 103 | 106 | 0.037607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_785-25_0_4_line_110 | NAYY 4x150 SE | 108 | 109 | 0.041937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_785-25_0_4_line_111 | NAYY 4x150 SE | 108 | 110 | 0.023596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_785-25_0_4_line_112 | NAYY 4x150 SE | 108 | 111 | 0.012706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_785-25_0_4_line_113 | NAYY 4x150 SE | 109 | 117 | 0.073672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_785-25_0_4_line_114 | NAYY 4x150 SE | 112 | 113 | 0.06088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_785-25_0_4_line_115 | NAYY 4x150 SE | 112 | 114 | 0.017654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_785-25_0_4_line_116 | NAYY 4x150 SE | 113 | 115 | 0.030229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_785-25_0_4_line_117 | NAYY 4x150 SE | 114 | 116 | 0.020871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_785-25_0_4_line_118 | NAYY 4x150 SE | 115 | 118 | 0.033243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_785-25_0_4_line_119 | NAYY 4x150 SE | 116 | 119 | 0.0012134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_785-25_0_4_line_120 | NAYY 4x150 SE | 117 | 120 | 0.0012217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_785-25_0_4_line_121 | NAYY 4x150 SE | 118 | 123 | 0.034796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_785-25_0_4_line_122 | NAYY 4x150 SE | 119 | 122 | 0.019327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_785-25_0_4_line_123 | NAYY 4x150 SE | 120 | 121 | 0.022187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_785-25_0_4_line_124 | NAYY 4x150 SE | 121 | 122 | 0.0038749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_785-25_0_4_line_125 | NAYY 4x150 SE | 124 | 125 | 0.015059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_785-25_0_4_line_126 | NAYY 4x150 SE | 124 | 126 | 0.056774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_785-25_0_4_line_127 | NAYY 4x150 SE | 125 | 127 | 0.012746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_785-25_0_4_line_128 | NAYY 4x150 SE | 126 | 128 | 0.044559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_785-25_0_4_line_129 | NAYY 4x150 SE | 127 | 129 | 0.010008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_785-25_0_4_line_130 | NAYY 4x150 SE | 128 | 130 | 0.010332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_785-25_0_4_line_131 | NAYY 4x150 SE | 129 | 134 | 0.014646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_785-25_0_4_line_132 | NAYY 4x150 SE | 130 | 135 | 0.011991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_785-25_0_4_line_133 | NAYY 4x150 SE | 131 | 132 | 0.014767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_785-25_0_4_line_134 | NAYY 4x150 SE | 131 | 133 | 0.025761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_785-25_0_4_line_135 | NAYY 4x150 SE | 132 | 144 | 0.037954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_785-25_0_4_line_136 | NAYY 4x150 SE | 133 | 142 | 0.030086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_785-25_0_4_line_137 | NAYY 4x150 SE | 133 | 134 | 0.027453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_785-25_0_4_line_138 | NAYY 4x150 SE | 135 | 136 | 0.071758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_785-25_0_4_line_139 | NAYY 4x150 SE | 137 | 138 | 0.0010747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_785-25_0_4_line_140 | NAYY 4x150 SE | 138 | 139 | 0.010928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_785-25_0_4_line_141 | NAYY 4x150 SE | 139 | 140 | 0.027428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_785-25_0_4_line_142 | NAYY 4x150 SE | 139 | 141 | 0.0071176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_785-25_0_4_line_143 | NAYY 4x150 SE | 140 | 153 | 0.019801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_785-25_0_4_line_144 | NAYY 4x150 SE | 140 | 151 | 0.042562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_785-25_0_4_line_145 | NAYY 4x150 SE | 141 | 156 | 0.011248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_785-25_0_4_line_146 | NAYY 4x150 SE | 142 | 143 | 0.012523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_785-25_0_4_line_147 | NAYY 4x150 SE | 144 | 157 | 0.0079906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_785-25_0_4_line_148 | NAYY 4x150 SE | 144 | 150 | 0.003659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
149 | LV_785-25_0_4_line_149 | NAYY 4x150 SE | 145 | 146 | 0.017254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
150 | LV_785-25_0_4_line_150 | NAYY 4x150 SE | 145 | 147 | 0.012204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
151 | LV_785-25_0_4_line_151 | NAYY 4x150 SE | 146 | 148 | 0.00416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
152 | LV_785-25_0_4_line_152 | NAYY 4x150 SE | 147 | 149 | 0.030273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
153 | LV_785-25_0_4_line_153 | NAYY 4x150 SE | 148 | 150 | 0.019738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
154 | LV_785-25_0_4_line_154 | NAYY 4x150 SE | 149 | 151 | 0.028062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
155 | LV_785-25_0_4_line_155 | NAYY 4x150 SE | 151 | 152 | 0.0060126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
156 | LV_785-25_0_4_line_156 | NAYY 4x150 SE | 154 | 155 | 0.0027493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
157 | LV_785-25_0_4_line_157 | NAYY 4x150 SE | 156 | 160 | 0.00074239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
158 | LV_785-25_0_4_line_158 | NAYY 4x150 SE | 157 | 158 | 0.00639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
159 | LV_785-25_0_4_line_159 | NAYY 4x150 SE | 158 | 159 | 0.006406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
160 | LV_785-25_0_4_line_160 | NAYY 4x150 SE | 159 | 162 | 0.0033034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
161 | LV_785-25_0_4_line_161 | NAYY 4x150 SE | 160 | 161 | 0.025716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_785-25_0_4_trafo_39 | 0.25 MVA 20/0.4 kV | 163 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2655856.1536 | 1176314.0846 | 2655864.8407 | 1176324.0363
1 | 2655856.1536 | 1176314.0846 | 2655853.5464 | 1176311.0043
2 | 2655853.5464 | 1176311.0043 | 2655849.7802 | 1176306.5545 | 2655849.5385 | 1176306.2313
3 | 2655861.0628 | 1176283.4802 | 2655866.419 | 1176297.3911
4 | 2655861.0628 | 1176283.4802 | 2655878.4937 | 1176277.0528
5 | 2655838.773 | 1176291.833 | 2655846.8116 | 1176288.8061 | 2655861.0628 | 1176283.4802
6 | 2655838.773 | 1176291.833 | 2655849.5385 | 1176306.2313
7 | 2655925.3373 | 1176393.3389 | 2655923.7872 | 1176514.5355
8 | 2655922.6515 | 1176316.0673 | 2655925.3373 | 1176393.3389
9 | 2655935.338 | 1176301.9931 | 2655932.7001 | 1176308.6499 | 2655930.3313 | 1176311.8518 | 2655925.6916 | 1176315.1437 | 2655922.6515 | 1176316.0673
10 | 2655898.4294 | 1176292.0931 | 2655904.6511 | 1176305.9094 | 2655907.5999 | 1176311.0063 | 2655910.5168 | 1176315.4136 | 2655912.0833 | 1176317.0958 | 2655913.7664 | 1176317.7563 | 2655916.8154 | 1176317.8403 | 2655922.6515 | 1176316.0673
11 | 2655935.338 | 1176301.9931 | 2655952.2327 | 1176321.3834 | 2655969.1846 | 1176333.8149 | 2655979.4117 | 1176322.3812
12 | 2655889.5991 | 1176272.4842 | 2655898.4294 | 1176292.0931
13 | 2655880.0303 | 1176276.4862 | 2655878.4937 | 1176277.0528
14 | 2655838.773 | 1176291.833 | 2655826.3639 | 1176296.3422
15 | 2655778.1176 | 1176390.134 | 2655781.6329 | 1176395.1362 | 2655785.6458 | 1176404.99 | 2655784.3115 | 1176407.3005
16 | 2655778.1176 | 1176390.134 | 2655775.5226 | 1176386.4413 | 2655771.9631 | 1176383.0035
17 | 2655759.9249 | 1176371.3771 | 2655771.9631 | 1176383.0035
18 | 2655759.9249 | 1176371.3771 | 2655757.5784 | 1176376.2769
19 | 2655762.4908 | 1176365.8645 | 2655759.9249 | 1176371.3771
20 | 2655752.5612 | 1176386.7536 | 2655757.5784 | 1176376.2769
21 | 2655762.4908 | 1176365.8645 | 2655788.657 | 1176386.9303 | 2655802.4535 | 1176372.1171
22 | 2655762.4908 | 1176365.8645 | 2655767.8509 | 1176354.6397
23 | 2655775.2125 | 1176339.2237 | 2655767.8509 | 1176354.6397
24 | 2655775.2125 | 1176339.2237 | 2655765.8144 | 1176330.09
25 | 2655790.3067 | 1176315.5509 | 2655784.0343 | 1176322.641 | 2655775.2125 | 1176339.2237
26 | 2655811.7283 | 1176301.7645 | 2655809.2983 | 1176302.6648 | 2655799.5461 | 1176307.499 | 2655798.0628 | 1176308.6791
27 | 2655790.3067 | 1176315.5509 | 2655793.3165 | 1176312.455 | 2655798.0628 | 1176308.6791
28 | 2655811.7283 | 1176301.7645 | 2655817.8081 | 1176299.5121
29 | 2655790.3067 | 1176315.5509 | 2655783.3662 | 1176308.1824 | 2655776.8513 | 1176303.1794
30 | 2655826.3639 | 1176296.3422 | 2655817.8081 | 1176299.5121
31 | 2655776.0392 | 1176302.5557 | 2655776.8513 | 1176303.1794
32 | 2655827.3474 | 1176281.8212 | 2655826.3639 | 1176296.3422
33 | 2655742.587 | 1176333.8177 | 2655753.6171 | 1176323.8813 | 2655757.8008 | 1176323.5867 | 2655761.4108 | 1176325.8103 | 2655765.8144 | 1176330.09
34 | 2655776.0392 | 1176302.5557 | 2655762.3735 | 1176292.0613
35 | 2655834.0238 | 1176283.8955 | 2655827.3474 | 1176281.8212
36 | 2655827.3474 | 1176281.8212 | 2655820.9005 | 1176278.0814 | 2655819.6353 | 1176277.3748
37 | 2655762.3735 | 1176292.0613 | 2655759.4067 | 1176289.783 | 2655749.7979 | 1176282.8703
38 | 2655834.0238 | 1176283.8955 | 2655838.1434 | 1176266.6588
39 | 2655808.3691 | 1176271.0833 | 2655819.6353 | 1176277.3748
40 | 2655850.6325 | 1176253.2589 | 2655840.291 | 1176257.6728 | 2655838.1434 | 1176266.6588
41 | 2655808.3691 | 1176271.0833 | 2655767.8551 | 1176258.7425
42 | 2655808.3691 | 1176271.0833 | 2655818.2289 | 1176248.9406 | 2655827.8738 | 1176241.0789
43 | 2655880.0303 | 1176276.4862 | 2655888.962 | 1176295.7466
44 | 2655880.0303 | 1176276.4862 | 2655889.5991 | 1176272.4842
45 | 2655889.5991 | 1176272.4842 | 2655894.5663 | 1176270.1403 | 2655899.1321 | 1176267.7972
46 | 2655850.6325 | 1176253.2589 | 2655859.703 | 1176249.3875
47 | 2655683.1702 | 1176304.907 | 2655685.0585 | 1176307.0691 | 2655712.0589 | 1176283.7861
48 | 2655676.1114 | 1176296.8249 | 2655683.1702 | 1176304.907
49 | 2655716.0672 | 1176280.3296 | 2655712.0589 | 1176283.7861
50 | 2655721.5169 | 1176275.6302 | 2655716.0672 | 1176280.3296
51 | 2655729.8026 | 1176268.4853 | 2655721.5169 | 1176275.6302
52 | 2655729.8026 | 1176268.4853 | 2655749.7979 | 1176282.8703
53 | 2655729.8026 | 1176268.4853 | 2655720.4378 | 1176261.8633
54 | 2655720.4378 | 1176261.8633 | 2655711.4183 | 1176255.4853 | 2655699.7413 | 1176245.9319
55 | 2655681.6207 | 1176231.1066 | 2655699.7413 | 1176245.9319
56 | 2655681.6207 | 1176231.1066 | 2655676.8712 | 1176227.7481
57 | 2655655.4565 | 1176211.3532 | 2655663.5552 | 1176218.3321 | 2655676.8712 | 1176227.7481
58 | 2655646.2964 | 1176203.4528 | 2655655.4565 | 1176211.3532
59 | 2655655.4565 | 1176211.3532 | 2655649.5128 | 1176220.5633
60 | 2655715.4446 | 1176230.9871 | 2655718.1992 | 1176224.9093 | 2655725.6816 | 1176220.8654 | 2655727.3188 | 1176220.9323
61 | 2655715.4446 | 1176230.9871 | 2655719.3834 | 1176243.0858 | 2655723.5906 | 1176244.3811
62 | 2655723.5906 | 1176244.3811 | 2655756.6697 | 1176255.1481
63 | 2655756.6697 | 1176255.1481 | 2655765.6405 | 1176258.068 | 2655766.2435 | 1176258.2516
64 | 2655833.0683 | 1176236.8449 | 2655837.9305 | 1176232.8817 | 2655843.8981 | 1176228.9391
65 | 2655833.0683 | 1176236.8449 | 2655827.8738 | 1176241.0789
66 | 2655766.2435 | 1176258.2516 | 2655767.8551 | 1176258.7425
67 | 2655646.2964 | 1176203.4528 | 2655629.5596 | 1176189.02
68 | 2655646.2964 | 1176203.4528 | 2655641.2959 | 1176210.2328
69 | 2655643.4576 | 1176229.9464 | 2655649.5128 | 1176220.5633
70 | 2655643.4576 | 1176229.9464 | 2655638.5971 | 1176237.4779 | 2655643.4876 | 1176240.5859
71 | 2655657.5819 | 1176249.5429 | 2655643.4876 | 1176240.5859
72 | 2655657.5819 | 1176249.5429 | 2655661.7702 | 1176252.2045
73 | 2655671.1198 | 1176258.1463 | 2655661.7702 | 1176252.2045
74 | 2655610.7321 | 1176172.7842 | 2655629.5596 | 1176189.02
75 | 2655641.2959 | 1176210.2328 | 2655637.3711 | 1176215.5545 | 2655627.9864 | 1176224.4391 | 2655623.7368 | 1176228.9465
76 | 2655610.7321 | 1176172.7842 | 2655603.7817 | 1176181.5632
77 | 2655610.7321 | 1176172.7842 | 2655602.0267 | 1176165.2884
78 | 2655616.588 | 1176236.5289 | 2655623.7368 | 1176228.9465
79 | 2655615.3684 | 1176237.8225 | 2655616.588 | 1176236.5289
80 | 2655615.3684 | 1176237.8225 | 2655600.1856 | 1176253.9263
81 | 2655600.1856 | 1176253.9263 | 2655596.9812 | 1176257.325
82 | 2655587.3591 | 1176267.5308 | 2655596.9812 | 1176257.325
83 | 2655592.6806 | 1176195.5851 | 2655603.7817 | 1176181.5632
84 | 2655602.0267 | 1176165.2884 | 2655608.1742 | 1176157.6411 | 2655614.3553 | 1176154.6301 | 2655618.7131 | 1176153.7728
85 | 2655602.0267 | 1176165.2884 | 2655596.582 | 1176160.5909
86 | 2655533.9232 | 1176213.1356 | 2655533.1882 | 1176214.8964
87 | 2655577.9522 | 1176214.4702 | 2655543.3347 | 1176198.7523 | 2655539.3393 | 1176200.1606 | 2655533.9232 | 1176213.1356
88 | 2655577.9522 | 1176214.4702 | 2655592.6806 | 1176195.5851
89 | 2655577.7596 | 1176214.7148 | 2655577.9522 | 1176214.4702
90 | 2655592.6806 | 1176195.5851 | 2655585.5593 | 1176192.0061 | 2655588.1022 | 1176185.9406
91 | 2655577.7596 | 1176214.7148 | 2655570.0243 | 1176224.5357 | 2655573.6348 | 1176227.3947
92 | 2655596.582 | 1176160.5909 | 2655593.5629 | 1176158.0139
93 | 2655587.314 | 1176152.68 | 2655593.5629 | 1176158.0139
94 | 2655580.7549 | 1176147.0814 | 2655587.314 | 1176152.68
95 | 2655580.7549 | 1176147.0814 | 2655601.6408 | 1176132.0651
96 | 2655580.7549 | 1176147.0814 | 2655574.5254 | 1176140.768
97 | 2655574.5254 | 1176140.768 | 2655564.0497 | 1176130.1508 | 2655561.3724 | 1176125.4124 | 2655560.4547 | 1176123.811
98 | 2655554.8017 | 1176109.4206 | 2655557.491 | 1176118.6394 | 2655560.4547 | 1176123.811
99 | 2655554.8017 | 1176109.4206 | 2655546.8922 | 1176091.0595 | 2655543.7167 | 1176087.2948
100 | 2655543.7167 | 1176087.2948 | 2655553.0702 | 1176076.8311 | 2655559.6738 | 1176069.466 | 2655577.707 | 1176058.5714 | 2655583.0826 | 1176052.7853
101 | 2655543.7167 | 1176087.2948 | 2655442.7712 | 1175980.8144
102 | 2655594.2194 | 1176028.6745 | 2655590.3407 | 1176041.4011 | 2655585.0494 | 1176050.6683 | 2655583.0826 | 1176052.7853
103 | 2655442.7712 | 1175980.8144 | 2655434.2426 | 1175977.2893 | 2655424.718 | 1175965.9758
104 | 2655616.4351 | 1176039.9198 | 2655594.2194 | 1176028.6745
105 | 2655594.2194 | 1176028.6745 | 2655596.8639 | 1176018.5459
106 | 2655380.2896 | 1175974.8238 | 2655368.2216 | 1175986.4851 | 2655364.4415 | 1175991.0639 | 2655365.8271 | 1175995.2249
107 | 2655380.2896 | 1175974.8238 | 2655424.718 | 1175965.9758
108 | 2655367.0373 | 1175998.8587 | 2655365.8271 | 1175995.2249
109 | 2655365.8271 | 1175995.2249 | 2655337.131 | 1175970.9183
110 | 2655616.4351 | 1176039.9198 | 2655623.5873 | 1176025.3447 | 2655628.8933 | 1176023.5707 | 2655642.5538 | 1176025.1092 | 2655647.5314 | 1176029.0687
111 | 2655616.4351 | 1176039.9198 | 2655628.8497 | 1176046.405 | 2655634.0111 | 1176046.2083 | 2655637.5763 | 1176043.5881
112 | 2655616.4351 | 1176039.9198 | 2655622.0326 | 1176028.5129
113 | 2655647.5314 | 1176029.0687 | 2655700.1597 | 1175977.5141
114 | 2655687.8697 | 1175861.6842 | 2655648.5753 | 1175908.2677
115 | 2655648.5753 | 1175908.2677 | 2655659.1217 | 1175922.425
116 | 2655687.8697 | 1175861.6842 | 2655704.6655 | 1175886.8175
117 | 2655659.1217 | 1175922.425 | 2655671.5899 | 1175939.1622
118 | 2655704.6655 | 1175886.8175 | 2655723.1362 | 1175914.4571
119 | 2655671.5899 | 1175939.1622 | 2655672.3148 | 1175940.1353
120 | 2655700.1597 | 1175977.5141 | 2655699.4299 | 1175976.5343
121 | 2655742.4699 | 1175943.3879 | 2655723.1362 | 1175914.4571
122 | 2655672.3148 | 1175940.1353 | 2655683.8606 | 1175955.6342
123 | 2655686.1754 | 1175958.7417 | 2655699.4299 | 1175976.5343
124 | 2655686.1754 | 1175958.7417 | 2655683.8606 | 1175955.6342
125 | 2655982.3672 | 1176147.7261 | 2655976.1516 | 1176134.0102
126 | 2655960.4899 | 1176080.1946 | 2655963.0701 | 1176105.1435 | 2655976.1516 | 1176134.0102
127 | 2655987.6283 | 1176159.3355 | 2655982.3672 | 1176147.7261
128 | 2655941.7957 | 1176039.7537 | 2655949.8273 | 1176058.0164 | 2655960.4899 | 1176080.1946
129 | 2655987.6283 | 1176159.3355 | 2655996.2765 | 1176154.2985
130 | 2655941.7957 | 1176039.7537 | 2655937.5178 | 1176030.3494
131 | 2655996.2765 | 1176154.2985 | 2656008.9323 | 1176146.9274
132 | 2655932.5527 | 1176019.4342 | 2655937.5178 | 1176030.3494
133 | 2656002.5094 | 1176187.3008 | 2655991.1133 | 1176196.6918
134 | 2656022.3911 | 1176170.855 | 2656002.5094 | 1176187.3008
135 | 2655961.823 | 1176220.8287 | 2655991.1133 | 1176196.6918
136 | 2656022.3911 | 1176170.855 | 2656044.4083 | 1176154.118 | 2656046.3972 | 1176152.7226
137 | 2656022.3911 | 1176170.855 | 2656008.9323 | 1176146.9274
138 | 2655932.5527 | 1176019.4342 | 2655867.6639 | 1175988.7962
139 | 2655900.9854 | 1176193.3887 | 2655901.5613 | 1176194.2961
140 | 2655907.4166 | 1176203.5234 | 2655901.5613 | 1176194.2961
141 | 2655907.4166 | 1176203.5234 | 2655904.003 | 1176208.1163 | 2655904.0958 | 1176212.9198 | 2655906.4087 | 1176229.6617
142 | 2655907.4166 | 1176203.5234 | 2655913.8176 | 1176200.4108
143 | 2655906.4087 | 1176229.6617 | 2655888.3716 | 1176237.831
144 | 2655904.4815 | 1176265.052 | 2655915.2323 | 1176258.0594 | 2655906.4087 | 1176229.6617
145 | 2655923.9335 | 1176195.4919 | 2655913.8176 | 1176200.4108
146 | 2656056.6482 | 1176145.5301 | 2656046.3972 | 1176152.7226
147 | 2655961.823 | 1176220.8287 | 2655958.0823 | 1176213.7677
148 | 2655961.823 | 1176220.8287 | 2655959.0036 | 1176223.1703
149 | 2655957.5059 | 1176252.2038 | 2655970.7502 | 1176241.1446
150 | 2655948.1382 | 1176260.026 | 2655957.5059 | 1176252.2038
151 | 2655971.7027 | 1176238.2804 | 2655972.7244 | 1176239.4961 | 2655970.7502 | 1176241.1446
152 | 2655927.5758 | 1176249.125 | 2655941.4403 | 1176265.6188 | 2655948.1382 | 1176260.026
153 | 2655959.0036 | 1176223.1703 | 2655971.7027 | 1176238.2804
154 | 2655904.4815 | 1176265.052 | 2655915.2323 | 1176258.0594 | 2655927.5758 | 1176249.125
155 | 2655904.4815 | 1176265.052 | 2655899.1321 | 1176267.7972
156 | 2655981.2446 | 1176320.332 | 2655979.4117 | 1176322.3812
157 | 2655924.6012 | 1176195.1672 | 2655923.9335 | 1176195.4919
158 | 2655963.1967 | 1176209.9368 | 2655958.0823 | 1176213.7677 | 2655958.0823 | 1176213.7677
159 | 2655968.3238 | 1176206.0963 | 2655963.1967 | 1176209.9368
160 | 2655970.9677 | 1176204.1159 | 2655968.3238 | 1176206.0963
161 | 2655947.7284 | 1176183.9215 | 2655924.6012 | 1176195.1672

## bus_geodata
| x | y | coords
0 | 2655864.8407 | 1176324.0363
1 | 2655856.1536 | 1176314.0846
2 | 2655853.5464 | 1176311.0043
3 | 2655866.419 | 1176297.3911
4 | 2655861.0628 | 1176283.4802
5 | 2655849.5385 | 1176306.2313
6 | 2655925.3373 | 1176393.3389
7 | 2655923.7872 | 1176514.5355
8 | 2655922.6515 | 1176316.0673
9 | 2655935.338 | 1176301.9931
10 | 2655898.4294 | 1176292.0931
11 | 2655878.4937 | 1176277.0528
12 | 2655838.773 | 1176291.833
13 | 2655784.3115 | 1176407.3005
14 | 2655778.1176 | 1176390.134
15 | 2655771.9631 | 1176383.0035
16 | 2655759.9249 | 1176371.3771
17 | 2655757.5784 | 1176376.2769
18 | 2655762.4908 | 1176365.8645
19 | 2655752.5612 | 1176386.7536
20 | 2655802.4535 | 1176372.1171
21 | 2655767.8509 | 1176354.6397
22 | 2655775.2125 | 1176339.2237
23 | 2655798.0628 | 1176308.6791
24 | 2655811.7283 | 1176301.7645
25 | 2655790.3067 | 1176315.5509
26 | 2655817.8081 | 1176299.5121
27 | 2655776.8513 | 1176303.1794
28 | 2655826.3639 | 1176296.3422
29 | 2655765.8144 | 1176330.09
30 | 2655776.0392 | 1176302.5557
31 | 2655827.3474 | 1176281.8212
32 | 2655742.587 | 1176333.8177
33 | 2655762.3735 | 1176292.0613
34 | 2655834.0238 | 1176283.8955
35 | 2655819.6353 | 1176277.3748
36 | 2655838.1434 | 1176266.6588
37 | 2655808.3691 | 1176271.0833
38 | 2655880.0303 | 1176276.4862
39 | 2655888.962 | 1176295.7466
40 | 2655889.5991 | 1176272.4842
41 | 2655850.6325 | 1176253.2589
42 | 2655683.1702 | 1176304.907
43 | 2655712.0589 | 1176283.7861
44 | 2655676.1114 | 1176296.8249
45 | 2655716.0672 | 1176280.3296
46 | 2655721.5169 | 1176275.6302
47 | 2655729.8026 | 1176268.4853
48 | 2655720.4378 | 1176261.8633
49 | 2655699.7413 | 1176245.9319
50 | 2655681.6207 | 1176231.1066
51 | 2655749.7979 | 1176282.8703
52 | 2655676.8712 | 1176227.7481
53 | 2655655.4565 | 1176211.3532
54 | 2655715.4446 | 1176230.9871
55 | 2655727.3188 | 1176220.9323
56 | 2655723.5906 | 1176244.3811
57 | 2655756.6697 | 1176255.1481
58 | 2655859.703 | 1176249.3875
59 | 2655843.8981 | 1176228.9391
60 | 2655833.0683 | 1176236.8449
61 | 2655827.8738 | 1176241.0789
62 | 2655767.8551 | 1176258.7425
63 | 2655766.2435 | 1176258.2516
64 | 2655646.2964 | 1176203.4528
65 | 2655649.5128 | 1176220.5633
66 | 2655643.4576 | 1176229.9464
67 | 2655643.4876 | 1176240.5859
68 | 2655657.5819 | 1176249.5429
69 | 2655661.7702 | 1176252.2045
70 | 2655629.5596 | 1176189.02
71 | 2655641.2959 | 1176210.2328
72 | 2655671.1198 | 1176258.1463
73 | 2655610.7321 | 1176172.7842
74 | 2655623.7368 | 1176228.9465
75 | 2655616.588 | 1176236.5289
76 | 2655615.3684 | 1176237.8225
77 | 2655600.1856 | 1176253.9263
78 | 2655596.9812 | 1176257.325
79 | 2655587.3591 | 1176267.5308
80 | 2655603.7817 | 1176181.5632
81 | 2655602.0267 | 1176165.2884
82 | 2655533.9232 | 1176213.1356
83 | 2655533.1882 | 1176214.8964
84 | 2655577.9522 | 1176214.4702
85 | 2655592.6806 | 1176195.5851
86 | 2655577.7596 | 1176214.7148
87 | 2655588.1022 | 1176185.9406
88 | 2655573.6348 | 1176227.3947
89 | 2655596.582 | 1176160.5909
90 | 2655593.5629 | 1176158.0139
91 | 2655587.314 | 1176152.68
92 | 2655618.7131 | 1176153.7728
93 | 2655580.7549 | 1176147.0814
94 | 2655560.4547 | 1176123.811
95 | 2655574.5254 | 1176140.768
96 | 2655554.8017 | 1176109.4206
97 | 2655543.7167 | 1176087.2948
98 | 2655601.6408 | 1176132.0651
99 | 2655583.0826 | 1176052.7853
100 | 2655442.7712 | 1175980.8144
101 | 2655594.2194 | 1176028.6745
102 | 2655380.2896 | 1175974.8238
103 | 2655365.8271 | 1175995.2249
104 | 2655424.718 | 1175965.9758
105 | 2655367.0373 | 1175998.8587
106 | 2655337.131 | 1175970.9183
107 | 2655596.8639 | 1176018.5459
108 | 2655616.4351 | 1176039.9198
109 | 2655647.5314 | 1176029.0686
110 | 2655637.5763 | 1176043.5881
111 | 2655622.0326 | 1176028.5129
112 | 2655648.5753 | 1175908.2677
113 | 2655687.8697 | 1175861.6842
114 | 2655659.1217 | 1175922.425
115 | 2655704.6655 | 1175886.8175
116 | 2655671.5899 | 1175939.1622
117 | 2655700.1597 | 1175977.5141
118 | 2655723.1362 | 1175914.4571
119 | 2655672.3148 | 1175940.1353
120 | 2655699.4299 | 1175976.5343
121 | 2655686.1754 | 1175958.7417
122 | 2655683.8606 | 1175955.6342
123 | 2655742.4699 | 1175943.3879
124 | 2655976.1516 | 1176134.0102
125 | 2655982.3672 | 1176147.7261
126 | 2655960.4899 | 1176080.1946
127 | 2655987.6283 | 1176159.3355
128 | 2655941.7957 | 1176039.7537
129 | 2655996.2765 | 1176154.2985
130 | 2655937.5178 | 1176030.3494
131 | 2656002.5094 | 1176187.3008
132 | 2655991.1133 | 1176196.6918
133 | 2656022.3911 | 1176170.855
134 | 2656008.9323 | 1176146.9274
135 | 2655932.5527 | 1176019.4342
136 | 2655867.6639 | 1175988.7962
137 | 2655900.9854 | 1176193.3887
138 | 2655901.5613 | 1176194.2961
139 | 2655907.4166 | 1176203.5234
140 | 2655906.4087 | 1176229.6617
141 | 2655913.8176 | 1176200.4108
142 | 2656046.3972 | 1176152.7226
143 | 2656056.6482 | 1176145.5301
144 | 2655961.823 | 1176220.8287
145 | 2655957.5059 | 1176252.2038
146 | 2655970.7502 | 1176241.1446
147 | 2655948.1382 | 1176260.026
148 | 2655971.7027 | 1176238.2804
149 | 2655927.5758 | 1176249.125
150 | 2655959.0036 | 1176223.1703
151 | 2655904.4815 | 1176265.052
152 | 2655899.1321 | 1176267.7972
153 | 2655888.3716 | 1176237.831
154 | 2655979.4117 | 1176322.3812
155 | 2655981.2446 | 1176320.332
156 | 2655923.9335 | 1176195.4919
157 | 2655958.0823 | 1176213.7677
158 | 2655963.1967 | 1176209.9368
159 | 2655968.3238 | 1176206.0963
160 | 2655924.6012 | 1176195.1672
161 | 2655947.7284 | 1176183.9215
162 | 2655970.9677 | 1176204.1159
163 | 2655853.7276 | 1176222.4451

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1