## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_785-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_785-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_785-27_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_785-27_0_4_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_785-27_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_785-27_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_785-27_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_785-27_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_785-27_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_785-27_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_785-27_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_785-27_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_785-27_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_785-27_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_785-27_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_785-27_0_4_node_112 | 0.4 | n |  | TRUE
16 | bus_LV_785-27_0_4_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_785-27_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_785-27_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_785-27_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_785-27_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_785-27_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_785-27_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_785-27_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_785-27_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_785-27_0_4_node_101 | 0.4 | n |  | TRUE
26 | bus_LV_785-27_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_785-27_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_785-27_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_785-27_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_785-27_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_785-27_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_785-27_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_785-27_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_785-27_0_4_node_113 | 0.4 | n |  | TRUE
35 | bus_LV_785-27_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_785-27_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_785-27_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_785-27_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_785-27_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_785-27_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_785-27_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_785-27_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_785-27_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_785-27_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_785-27_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_785-27_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_785-27_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_785-27_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_785-27_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_785-27_0_4_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_785-27_0_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_785-27_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_785-27_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_785-27_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_785-27_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_785-27_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_785-27_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_785-27_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_785-27_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_785-27_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_785-27_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_785-27_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_785-27_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_785-27_0_4_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_785-27_0_4_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_785-27_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_785-27_0_4_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_785-27_0_4_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_785-27_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_785-27_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_785-27_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_785-27_0_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_785-27_0_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_785-27_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_785-27_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_785-27_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_785-27_0_4_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_785-27_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_785-27_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_785-27_0_4_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_785-27_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_785-27_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_785-27_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_785-27_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_785-27_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_785-27_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_785-27_0_4_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_785-27_0_4_node_106 | 0.4 | n |  | TRUE
89 | bus_LV_785-27_0_4_node_114 | 0.4 | n |  | TRUE
90 | bus_LV_785-27_0_4_node_99 | 0.4 | n |  | TRUE
91 | bus_LV_785-27_0_4_node_111 | 0.4 | n |  | TRUE
92 | bus_LV_785-27_0_4_node_105 | 0.4 | n |  | TRUE
93 | bus_LV_785-27_0_4_node_100 | 0.4 | n |  | TRUE
94 | bus_LV_785-27_0_4_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_785-27_0_4_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_785-27_0_4_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_785-27_0_4_node_79 | 0.4 | n |  | TRUE
98 | bus_LV_785-27_0_4_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_785-27_0_4_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_785-27_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_785-27_0_4_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_785-27_0_4_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_785-27_0_4_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_785-27_0_4_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_785-27_0_4_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_785-27_0_4_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_785-27_0_4_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_785-27_0_4_node_96 | 0.4 | n |  | TRUE
109 | bus_LV_785-27_0_4_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_785-27_0_4_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_785-27_0_4_node_107 | 0.4 | n |  | TRUE
112 | bus_LV_785-27_0_4_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_785-27_0_4_node_109 | 0.4 | n |  | TRUE
114 | bus_MV_139_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_785-27_0_4_load_0 | 0 | 0.0021493 | 0.00053865 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_785-27_0_4_load_3 | 2 | 0.0034683 | 0.00086923 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_785-27_0_4_load_2 | 4 | 0.0019752 | 0.00049503 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_785-27_0_4_load_35 | 5 | 0.0020915 | 0.00052417 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_785-27_0_4_load_34 | 6 | 0.0025105 | 0.00062918 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_785-27_0_4_load_23 | 7 | 0.0027162 | 0.00068074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_785-27_0_4_load_4 | 9 | 0.00083873 | 0.0002102 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_785-27_0_4_load_5 | 10 | 0.0030973 | 0.00077625 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_785-27_0_4_load_6 | 11 | 0.00069005 | 0.00017294 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_785-27_0_4_load_7 | 12 | 0.0031253 | 0.00078327 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_785-27_0_4_load_8 | 13 | 0.00068851 | 0.00017256 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_785-27_0_4_load_24 | 14 | 0.0017503 | 0.00043866 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_785-27_0_4_load_112 | 15 | 0.00084068 | 0.00021069 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_785-27_0_4_load_9 | 17 | 0.002703 | 0.00067745 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_785-27_0_4_load_10 | 18 | 0.0027061 | 0.00067822 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_785-27_0_4_load_11 | 19 | 0.0027097 | 0.00067911 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_785-27_0_4_load_12 | 20 | 0.0030929 | 0.00077516 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_785-27_0_4_load_13 | 21 | 0.002694 | 0.00067519 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_785-27_0_4_load_14 | 22 | 0.0055837 | 0.0013994 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_785-27_0_4_load_31 | 24 | 0.002317 | 0.00058069 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_785-27_0_4_load_101 | 25 | 0.0014507 | 0.00036359 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_785-27_0_4_load_29 | 26 | 0.0030477 | 0.00076383 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_785-27_0_4_load_16 | 27 | 0.0021003 | 0.00052638 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_785-27_0_4_load_17 | 28 | 0.001369 | 0.00034311 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_785-27_0_4_load_21 | 30 | 0.0073622 | 0.0018451 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_785-27_0_4_load_22 | 31 | 0.0021965 | 0.00055049 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_785-27_0_4_load_36 | 33 | 0.0041903 | 0.0010502 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_785-27_0_4_load_113 | 34 | 0.0020861 | 0.00052282 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_785-27_0_4_load_33 | 35 | 0.0015132 | 0.00037924 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_785-27_0_4_load_30 | 36 | 0.0023186 | 0.00058109 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_785-27_0_4_load_27 | 38 | 0.0017561 | 0.00044012 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_785-27_0_4_load_26 | 39 | 0.0017502 | 0.00043863 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_785-27_0_4_load_38 | 41 | 0.0031581 | 0.0007915 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_785-27_0_4_load_39 | 42 | 0.0026172 | 0.00065594 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_785-27_0_4_load_44 | 43 | 0.0013233 | 0.00033164 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_785-27_0_4_load_40 | 45 | 0.002338 | 0.00058597 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_785-27_0_4_load_42 | 47 | 0.00092867 | 0.00023275 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_785-27_0_4_load_53 | 49 | 0.0069882 | 0.0017514 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_785-27_0_4_load_56 | 50 | 0.001489 | 0.00037317 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_785-27_0_4_load_46 | 52 | 0.0020367 | 0.00051045 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_785-27_0_4_load_47 | 53 | 0.0024577 | 0.00061597 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_785-27_0_4_load_57 | 54 | 0.0017809 | 0.00044633 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_785-27_0_4_load_62 | 55 | 0.001433 | 0.00035915 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_785-27_0_4_load_58 | 56 | 0.0031449 | 0.00078819 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_785-27_0_4_load_63 | 57 | 0.0042265 | 0.0010593 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_785-27_0_4_load_48 | 58 | 0.001696 | 0.00042506 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_785-27_0_4_load_49 | 59 | 0.0012785 | 0.00032042 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_785-27_0_4_load_50 | 60 | 0.0016774 | 0.00042041 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_785-27_0_4_load_51 | 61 | 0.0052557 | 0.0013172 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_785-27_0_4_load_52 | 62 | 0.0015544 | 0.00038956 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_785-27_0_4_load_89 | 65 | 0.0043649 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_785-27_0_4_load_81 | 67 | 0.0023282 | 0.00058351 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_785-27_0_4_load_60 | 71 | 0.0026557 | 0.00066558 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_785-27_0_4_load_80 | 72 | 0.0069293 | 0.0017367 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_785-27_0_4_load_64 | 74 | 0.0024593 | 0.00061636 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_785-27_0_4_load_87 | 77 | 0.0027788 | 0.00069643 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_785-27_0_4_load_74 | 79 | 0.0029586 | 0.00074149 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_785-27_0_4_load_88 | 80 | 0.0014319 | 0.00035886 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_785-27_0_4_load_84 | 81 | 0.0028353 | 0.00071059 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_785-27_0_4_load_68 | 83 | 0.0021172 | 0.00053062 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_785-27_0_4_load_69 | 84 | 0.0010231 | 0.00025641 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_785-27_0_4_load_70 | 85 | 0.0022066 | 0.00055301 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_785-27_0_4_load_71 | 86 | 0.0015749 | 0.0003947 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_785-27_0_4_load_73 | 87 | 0.0024296 | 0.00060892 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_785-27_0_4_load_114 | 89 | 0.0032085 | 0.00080412 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_785-27_0_4_load_99 | 90 | 0.0015758 | 0.00039494 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_785-27_0_4_load_111 | 91 | 0.0015575 | 0.00039034 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_785-27_0_4_load_100 | 93 | 0.0038669 | 0.00096914 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_785-27_0_4_load_85 | 94 | 0.0025595 | 0.00064148 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_785-27_0_4_load_76 | 95 | 0.0032833 | 0.00082289 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_785-27_0_4_load_77 | 96 | 0.0065508 | 0.0016418 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_785-27_0_4_load_79 | 97 | 0.0052982 | 0.0013278 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_785-27_0_4_load_83 | 98 | 0.0035778 | 0.00089668 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_785-27_0_4_load_86 | 99 | 0.0030468 | 0.00076359 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_785-27_0_4_load_92 | 101 | 0.0019209 | 0.00048142 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_785-27_0_4_load_103 | 102 | 0.0019406 | 0.00048635 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_785-27_0_4_load_102 | 103 | 0.0027319 | 0.00068468 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_785-27_0_4_load_108 | 104 | 0.0033189 | 0.00083181 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_785-27_0_4_load_93 | 105 | 0.0015073 | 0.00037777 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_785-27_0_4_load_94 | 106 | 0.0032875 | 0.00082392 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_785-27_0_4_load_96 | 108 | 0.0020899 | 0.00052378 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_785-27_0_4_load_104 | 110 | 0.0016449 | 0.00041224 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_785-27_0_4_load_107 | 111 | 0.0020006 | 0.00050141 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_785-27_0_4_load_110 | 112 | 0.0029782 | 0.0007464 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_785-27_0_4_load_109 | 113 | 0.0050165 | 0.0012573 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_785-27_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.040061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_785-27_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.01048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_785-27_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0080548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_785-27_0_4_line_3 | NAYY 4x150 SE | 3 | 7 | 0.017163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_785-27_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.045115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_785-27_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.036483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_785-27_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.021501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_785-27_0_4_line_7 | NAYY 4x150 SE | 6 | 31 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_785-27_0_4_line_8 | NAYY 4x150 SE | 7 | 21 | 0.0010113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_785-27_0_4_line_9 | NAYY 4x150 SE | 8 | 30 | 0.019282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_785-27_0_4_line_10 | NAYY 4x150 SE | 8 | 31 | 0.015379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_785-27_0_4_line_11 | NAYY 4x150 SE | 8 | 27 | 0.0092821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_785-27_0_4_line_12 | NAYY 4x150 SE | 9 | 10 | 0.017782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_785-27_0_4_line_13 | NAYY 4x150 SE | 9 | 11 | 0.0058456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_785-27_0_4_line_14 | NAYY 4x150 SE | 10 | 12 | 0.012237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_785-27_0_4_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0056606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_785-27_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.019238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_785-27_0_4_line_17 | NAYY 4x150 SE | 13 | 15 | 0.005875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_785-27_0_4_line_18 | NAYY 4x150 SE | 14 | 16 | 0.027601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_785-27_0_4_line_19 | NAYY 4x150 SE | 16 | 38 | 0.008729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_785-27_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.022288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_785-27_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.0013241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_785-27_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.0026152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_785-27_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.022459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_785-27_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.052981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_785-27_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.063202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_785-27_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0092649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_785-27_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.019571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_785-27_0_4_line_28 | NAYY 4x150 SE | 26 | 40 | 0.0064676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_785-27_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.023544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_785-27_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.015595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_785-27_0_4_line_31 | NAYY 4x150 SE | 29 | 32 | 0.020684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_785-27_0_4_line_32 | NAYY 4x150 SE | 29 | 33 | 0.020805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_785-27_0_4_line_33 | NAYY 4x150 SE | 30 | 34 | 0.040169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_785-27_0_4_line_34 | NAYY 4x150 SE | 32 | 35 | 0.022416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_785-27_0_4_line_35 | NAYY 4x150 SE | 32 | 36 | 0.022626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_785-27_0_4_line_36 | NAYY 4x150 SE | 33 | 37 | 0.029128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_785-27_0_4_line_37 | NAYY 4x150 SE | 36 | 40 | 0.011931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_785-27_0_4_line_38 | NAYY 4x150 SE | 37 | 41 | 0.0098558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_785-27_0_4_line_39 | NAYY 4x150 SE | 37 | 42 | 0.007314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_785-27_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0036007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_785-27_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.016548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_785-27_0_4_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0087014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_785-27_0_4_line_43 | NAYY 4x150 SE | 43 | 44 | 0.013548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_785-27_0_4_line_44 | NAYY 4x150 SE | 44 | 52 | 0.0020866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_785-27_0_4_line_45 | NAYY 4x150 SE | 44 | 53 | 0.028862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_785-27_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.010903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_785-27_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.012849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_785-27_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.030866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_785-27_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0042343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_785-27_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.031999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_785-27_0_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0055807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_785-27_0_4_line_52 | NAYY 4x150 SE | 51 | 63 | 0.043136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_785-27_0_4_line_53 | NAYY 4x150 SE | 51 | 61 | 0.024852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_785-27_0_4_line_54 | NAYY 4x150 SE | 52 | 54 | 0.015825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_785-27_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0070342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_785-27_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.021412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_785-27_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.038602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_785-27_0_4_line_58 | NAYY 4x150 SE | 56 | 69 | 0.025694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_785-27_0_4_line_59 | NAYY 4x150 SE | 57 | 74 | 0.0021537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_785-27_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.00030996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_785-27_0_4_line_61 | NAYY 4x150 SE | 58 | 60 | 0.015377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_785-27_0_4_line_62 | NAYY 4x150 SE | 59 | 61 | 0.012827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_785-27_0_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.009904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_785-27_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.007402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_785-27_0_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.031925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_785-27_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.029863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_785-27_0_4_line_67 | NAYY 4x150 SE | 64 | 67 | 0.022238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_785-27_0_4_line_68 | NAYY 4x150 SE | 65 | 68 | 0.041993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_785-27_0_4_line_69 | NAYY 4x150 SE | 66 | 77 | 0.047357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_785-27_0_4_line_70 | NAYY 4x150 SE | 66 | 75 | 0.009098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_785-27_0_4_line_71 | NAYY 4x150 SE | 67 | 98 | 0.0034942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_785-27_0_4_line_72 | NAYY 4x150 SE | 68 | 100 | 0.02978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_785-27_0_4_line_73 | NAYY 4x150 SE | 68 | 101 | 0.014393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_785-27_0_4_line_74 | NAYY 4x150 SE | 69 | 70 | 0.032389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_785-27_0_4_line_75 | NAYY 4x150 SE | 69 | 71 | 0.021863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_785-27_0_4_line_76 | NAYY 4x150 SE | 70 | 72 | 0.026878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_785-27_0_4_line_77 | NAYY 4x150 SE | 72 | 73 | 0.029455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_785-27_0_4_line_78 | NAYY 4x150 SE | 73 | 95 | 0.018475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_785-27_0_4_line_79 | NAYY 4x150 SE | 74 | 75 | 0.012264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_785-27_0_4_line_80 | NAYY 4x150 SE | 75 | 76 | 0.032455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_785-27_0_4_line_81 | NAYY 4x150 SE | 76 | 78 | 0.012172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_785-27_0_4_line_82 | NAYY 4x150 SE | 76 | 79 | 0.02137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_785-27_0_4_line_83 | NAYY 4x150 SE | 77 | 80 | 0.012079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_785-27_0_4_line_84 | NAYY 4x150 SE | 78 | 81 | 0.019698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_785-27_0_4_line_85 | NAYY 4x150 SE | 78 | 82 | 0.008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_785-27_0_4_line_86 | NAYY 4x150 SE | 81 | 94 | 0.026841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_785-27_0_4_line_87 | NAYY 4x150 SE | 82 | 89 | 0.013127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_785-27_0_4_line_88 | NAYY 4x150 SE | 82 | 85 | 0.036437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_785-27_0_4_line_89 | NAYY 4x150 SE | 83 | 84 | 0.0076039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_785-27_0_4_line_90 | NAYY 4x150 SE | 83 | 85 | 0.011596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_785-27_0_4_line_91 | NAYY 4x150 SE | 84 | 86 | 0.0061618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_785-27_0_4_line_92 | NAYY 4x150 SE | 85 | 87 | 0.016009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_785-27_0_4_line_93 | NAYY 4x150 SE | 86 | 88 | 0.0050996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_785-27_0_4_line_94 | NAYY 4x150 SE | 87 | 90 | 0.0015462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_785-27_0_4_line_95 | NAYY 4x150 SE | 88 | 91 | 0.0069993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_785-27_0_4_line_96 | NAYY 4x150 SE | 88 | 92 | 0.02769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_785-27_0_4_line_97 | NAYY 4x150 SE | 90 | 93 | 0.028662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_785-27_0_4_line_98 | NAYY 4x150 SE | 91 | 111 | 0.012433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_785-27_0_4_line_99 | NAYY 4x150 SE | 92 | 110 | 0.0033713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_785-27_0_4_line_100 | NAYY 4x150 SE | 93 | 112 | 0.024584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_785-27_0_4_line_101 | NAYY 4x150 SE | 94 | 99 | 0.033519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_785-27_0_4_line_102 | NAYY 4x150 SE | 95 | 96 | 0.0080869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_785-27_0_4_line_103 | NAYY 4x150 SE | 96 | 97 | 0.013016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_785-27_0_4_line_104 | NAYY 4x150 SE | 100 | 102 | 0.013201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_785-27_0_4_line_105 | NAYY 4x150 SE | 100 | 103 | 0.017468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_785-27_0_4_line_106 | NAYY 4x150 SE | 101 | 104 | 0.020238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_785-27_0_4_line_107 | NAYY 4x150 SE | 105 | 106 | 0.0085147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_785-27_0_4_line_108 | NAYY 4x150 SE | 105 | 107 | 0.016495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_785-27_0_4_line_109 | NAYY 4x150 SE | 106 | 108 | 0.0016094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_785-27_0_4_line_110 | NAYY 4x150 SE | 107 | 109 | 0.029722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_785-27_0_4_line_111 | NAYY 4x150 SE | 109 | 110 | 0.030372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_785-27_0_4_line_112 | NAYY 4x150 SE | 112 | 113 | 0.0054167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_785-27_0_4_trafo_47 | 0.25 MVA 20/0.4 kV | 114 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2656208.4845 | 1175827.228 | 2656192.7383 | 1175790.3917
1 | 2656208.4845 | 1175827.228 | 2656218.7604 | 1175825.1682
2 | 2656226.6581 | 1175823.5851 | 2656218.7604 | 1175825.1682
3 | 2656226.6581 | 1175823.5851 | 2656230.2938 | 1175840.3584
4 | 2656270.0956 | 1175810.9629 | 2656226.6581 | 1175823.5851
5 | 2656248.0386 | 1175760.8065 | 2656214.1954 | 1175747.1807
6 | 2656248.0386 | 1175760.8065 | 2656256.6941 | 1175780.4887
7 | 2656256.6941 | 1175780.4887 | 2656263.9049 | 1175796.8855
8 | 2656230.2938 | 1175840.3584 | 2656230.508 | 1175841.3467
9 | 2656270.0956 | 1175810.9629 | 2656276.3465 | 1175829.2033
10 | 2656270.0956 | 1175810.9629 | 2656263.9049 | 1175796.8855
11 | 2656270.0956 | 1175810.9629 | 2656279.122 | 1175808.7992
12 | 2656380.1764 | 1175692.0006 | 2656373.71 | 1175708.5657
13 | 2656380.1764 | 1175692.0006 | 2656382.3021 | 1175686.5552
14 | 2656369.2602 | 1175719.965 | 2656373.71 | 1175708.5657
15 | 2656382.3021 | 1175686.5552 | 2656384.3605 | 1175681.2821
16 | 2656362.0865 | 1175737.8146 | 2656365.6193 | 1175729.2919 | 2656369.2602 | 1175719.965
17 | 2656384.3605 | 1175681.2821 | 2656386.4969 | 1175675.8093
18 | 2656351.5173 | 1175763.3115 | 2656362.0865 | 1175737.8146
19 | 2656351.5173 | 1175763.3115 | 2656344.1744 | 1175758.5917
20 | 2656235.5461 | 1175864.5899 | 2656240.2675 | 1175886.3719
21 | 2656235.2656 | 1175863.2958 | 2656235.5461 | 1175864.5899
22 | 2656240.2675 | 1175886.3719 | 2656240.8215 | 1175888.9278
23 | 2656235.2656 | 1175863.2958 | 2656230.508 | 1175841.3467
24 | 2656329.369 | 1175626.0283 | 2656322.1937 | 1175637.9453 | 2656302.0374 | 1175671.4149
25 | 2656337.4625 | 1175723.7559 | 2656302.0374 | 1175671.4149
26 | 2656329.369 | 1175626.0283 | 2656321.8427 | 1175620.6253
27 | 2656337.4625 | 1175723.7559 | 2656329.7682 | 1175741.7504
28 | 2656327.2254 | 1175747.6972 | 2656329.7682 | 1175741.7504
29 | 2656302.0174 | 1175803.3111 | 2656279.122 | 1175808.7992
30 | 2656317.1823 | 1175799.676 | 2656302.0174 | 1175803.3111
31 | 2656317.1823 | 1175799.676 | 2656313.3599 | 1175779.3512
32 | 2656317.1823 | 1175799.676 | 2656330.2309 | 1175802.9335 | 2656333.6895 | 1175801.7431 | 2656336.9006 | 1175799.9092
33 | 2656276.3465 | 1175829.2033 | 2656287.1277 | 1175867.8983
34 | 2656313.3599 | 1175779.3512 | 2656291.2677 | 1175783.1483
35 | 2656313.3599 | 1175779.3512 | 2656322.4382 | 1175758.6261
36 | 2656362.2367 | 1175789.9268 | 2656358.29 | 1175787.733 | 2656354.6783 | 1175789.7557 | 2656336.9006 | 1175799.9092
37 | 2656327.2254 | 1175747.6972 | 2656322.4382 | 1175758.6261
38 | 2656362.2367 | 1175789.9268 | 2656370.7848 | 1175785.0209
39 | 2656355.9484 | 1175793.692 | 2656362.2367 | 1175789.9268
40 | 2656344.1744 | 1175758.5917 | 2656341.1455 | 1175756.6447
41 | 2656327.2254 | 1175747.6972 | 2656341.1455 | 1175756.6447
42 | 2656378.3316 | 1175780.6896 | 2656370.7848 | 1175785.0209
43 | 2656390.0816 | 1175773.9461 | 2656378.3316 | 1175780.6896
44 | 2656390.0816 | 1175773.9461 | 2656391.8638 | 1175772.8608
45 | 2656390.0816 | 1175773.9461 | 2656406.5928 | 1175797.6188
46 | 2656328.8985 | 1175918.8069 | 2656321.2 | 1175926.5283
47 | 2656328.8985 | 1175918.8069 | 2656337.1903 | 1175908.9914
48 | 2656352.8082 | 1175938.4087 | 2656328.8985 | 1175918.8069
49 | 2656339.9228 | 1175905.7568 | 2656337.1903 | 1175908.9914
50 | 2656352.8082 | 1175938.4087 | 2656374.2436 | 1175914.651
51 | 2656377.982 | 1175910.5075 | 2656374.2436 | 1175914.651
52 | 2656377.982 | 1175910.5075 | 2656396.205 | 1175890.212 | 2656407.1376 | 1175878.6528
53 | 2656377.982 | 1175910.5075 | 2656367.9661 | 1175887.7631
54 | 2656405.3796 | 1175764.6295 | 2656391.8638 | 1175772.8608
55 | 2656410.6168 | 1175803.3883 | 2656406.5928 | 1175797.6188
56 | 2656405.3796 | 1175764.6295 | 2656418.0359 | 1175756.9216 | 2656423.9027 | 1175753.9119
57 | 2656410.6168 | 1175803.3883 | 2656432.7002 | 1175835.0501
58 | 2656446.7638 | 1175742.1836 | 2656423.9027 | 1175753.9119
59 | 2656433.9323 | 1175836.8166 | 2656432.7002 | 1175835.0501
60 | 2656362.6716 | 1175875.7402 | 2656362.7965 | 1175876.0238
61 | 2656362.6716 | 1175875.7402 | 2656356.4743 | 1175861.667
62 | 2656367.9661 | 1175887.7631 | 2656362.7965 | 1175876.0238
63 | 2656352.4828 | 1175852.603 | 2656356.4743 | 1175861.667
64 | 2656412.2257 | 1175873.2643 | 2656407.1376 | 1175878.6528
65 | 2656407.1376 | 1175878.6528 | 2656427.0149 | 1175903.6346
66 | 2656412.2257 | 1175873.2643 | 2656433.9598 | 1175852.7239
67 | 2656412.2257 | 1175873.2643 | 2656400.1669 | 1175854.5794
68 | 2656453.1608 | 1175936.4949 | 2656427.0149 | 1175903.6346
69 | 2656433.9598 | 1175852.7239 | 2656456.7768 | 1175881.2096 | 2656463.7332 | 1175889.5485
70 | 2656440.9479 | 1175846.8753 | 2656433.9598 | 1175852.7239
71 | 2656398.2721 | 1175851.6435 | 2656400.1669 | 1175854.5794
72 | 2656471.3914 | 1175960.0793 | 2656453.1608 | 1175936.4949
73 | 2656453.1608 | 1175936.4949 | 2656441.7766 | 1175945.3018
74 | 2656472.1357 | 1175722.6114 | 2656466.6372 | 1175729.3523 | 2656460.4812 | 1175734.4861 | 2656446.7638 | 1175742.1836
75 | 2656446.7638 | 1175742.1836 | 2656457.6505 | 1175761.1431
76 | 2656472.1357 | 1175722.6114 | 2656449.6134 | 1175707.9432
77 | 2656425.4118 | 1175691.1548 | 2656449.2211 | 1175707.6877 | 2656449.6134 | 1175707.9432
78 | 2656425.4118 | 1175691.1548 | 2656415.1973 | 1175706.5494
79 | 2656440.9479 | 1175846.8753 | 2656433.9323 | 1175836.8166
80 | 2656467.0967 | 1175827.555 | 2656440.9479 | 1175846.8753
81 | 2656477.1223 | 1175820.6122 | 2656467.0967 | 1175827.555
82 | 2656467.0967 | 1175827.555 | 2656457.8716 | 1175812.7935 | 2656454.5054 | 1175814.8851
83 | 2656471.4711 | 1175898.8242 | 2656463.7332 | 1175889.5485
84 | 2656477.1223 | 1175820.6122 | 2656489.6108 | 1175835.845
85 | 2656477.1223 | 1175820.6122 | 2656483.4898 | 1175815.7472
86 | 2656489.6108 | 1175835.845 | 2656506.6282 | 1175856.602
87 | 2656476.0546 | 1175804.9157 | 2656483.4898 | 1175815.7472
88 | 2656483.4898 | 1175815.7472 | 2656513.4524 | 1175794.8955
89 | 2656522.831 | 1175788.0759 | 2656528.981 | 1175783.6041
90 | 2656513.4524 | 1175794.8955 | 2656522.831 | 1175788.0759
91 | 2656533.9646 | 1175779.9804 | 2656533.9646 | 1175779.9804 | 2656528.981 | 1175783.6041
92 | 2656513.4524 | 1175794.8955 | 2656523.7594 | 1175807.1453
93 | 2656537.3865 | 1175776.1994 | 2656533.9646 | 1175779.9804
94 | 2656523.7594 | 1175807.1453 | 2656524.7549 | 1175808.3284
95 | 2656537.3865 | 1175776.1994 | 2656543.4733 | 1175772.7437
96 | 2656545.6049 | 1175750.1514 | 2656544.7707 | 1175755.124 | 2656543.8958 | 1175760.352 | 2656542.1311 | 1175767.5393 | 2656540.4701 | 1175771.8261 | 2656537.3865 | 1175776.1994
97 | 2656524.7549 | 1175808.3284 | 2656543.2078 | 1175830.2596
98 | 2656552.0128 | 1175763.7212 | 2656550.7706 | 1175764.9415 | 2656547.3313 | 1175768.9335 | 2656543.4733 | 1175772.7437 | 2656543.4733 | 1175772.7437
99 | 2656545.6049 | 1175750.1514 | 2656548.9762 | 1175750.1337
100 | 2656543.2078 | 1175830.2596 | 2656559.0355 | 1175849.0707
101 | 2656497.1019 | 1175886.1007 | 2656503.342 | 1175876.5785 | 2656508.8112 | 1175868.0697 | 2656508.7744 | 1175863.0555 | 2656507.9939 | 1175858.2678 | 2656506.6282 | 1175856.602
102 | 2656415.1973 | 1175706.5494 | 2656410.7262 | 1175713.2879
103 | 2656403.5297 | 1175724.134 | 2656410.7262 | 1175713.2879
104 | 2656471.3914 | 1175960.0793 | 2656460.8679 | 1175968.0493
105 | 2656471.3914 | 1175960.0793 | 2656482.3347 | 1175973.694
106 | 2656441.7766 | 1175945.3018 | 2656425.7697 | 1175957.6848
107 | 2656590.7214 | 1175759.8374 | 2656591.0403 | 1175760.8743 | 2656595.6945 | 1175766.6658
108 | 2656602.0898 | 1175748.3271 | 2656591.8367 | 1175757.4799 | 2656591.057 | 1175758.2952 | 2656590.6981 | 1175759.0589 | 2656590.7214 | 1175759.8374
109 | 2656597.1485 | 1175767.3021 | 2656597.1485 | 1175767.3021 | 2656596.4468 | 1175767.1398 | 2656595.6945 | 1175766.6658
110 | 2656578.8642 | 1175745.351 | 2656591.9611 | 1175737.8036 | 2656595.3525 | 1175741.3264 | 2656602.0898 | 1175748.3271
111 | 2656578.8642 | 1175745.351 | 2656566.4464 | 1175748.1689 | 2656555.4587 | 1175750.0997 | 2656548.9762 | 1175750.1337
112 | 2656562.5229 | 1175853.2155 | 2656559.0355 | 1175849.0707

## bus_geodata
| x | y | coords
0 | 2656192.7383 | 1175790.3917
1 | 2656208.4845 | 1175827.228
2 | 2656218.7604 | 1175825.1682
3 | 2656226.6581 | 1175823.5851
4 | 2656214.1954 | 1175747.1807
5 | 2656248.0386 | 1175760.8065
6 | 2656256.6941 | 1175780.4887
7 | 2656230.2938 | 1175840.3584
8 | 2656270.0956 | 1175810.9629
9 | 2656380.1764 | 1175692.0006
10 | 2656373.71 | 1175708.5657
11 | 2656382.3021 | 1175686.5552
12 | 2656369.2602 | 1175719.965
13 | 2656384.3605 | 1175681.2821
14 | 2656362.0865 | 1175737.8146
15 | 2656386.4969 | 1175675.8093
16 | 2656351.5173 | 1175763.3115
17 | 2656235.5461 | 1175864.5899
18 | 2656240.2675 | 1175886.3719
19 | 2656235.2656 | 1175863.2958
20 | 2656240.8215 | 1175888.9278
21 | 2656230.508 | 1175841.3467
22 | 2656302.0374 | 1175671.4149
23 | 2656329.369 | 1175626.0283
24 | 2656337.4625 | 1175723.7559
25 | 2656321.8427 | 1175620.6253
26 | 2656329.7682 | 1175741.7504
27 | 2656279.122 | 1175808.7992
28 | 2656302.0174 | 1175803.3111
29 | 2656317.1823 | 1175799.676
30 | 2656276.3465 | 1175829.2033
31 | 2656263.9049 | 1175796.8855
32 | 2656313.3599 | 1175779.3512
33 | 2656336.9006 | 1175799.9092
34 | 2656287.1277 | 1175867.8983
35 | 2656291.2677 | 1175783.1483
36 | 2656322.4382 | 1175758.6261
37 | 2656362.2367 | 1175789.9268
38 | 2656344.1744 | 1175758.5917
39 | 2656341.1455 | 1175756.6447
40 | 2656327.2254 | 1175747.6972
41 | 2656370.7848 | 1175785.0209
42 | 2656355.9484 | 1175793.692
43 | 2656378.3316 | 1175780.6896
44 | 2656390.0816 | 1175773.9461
45 | 2656321.2 | 1175926.5283
46 | 2656328.8985 | 1175918.8069
47 | 2656337.1903 | 1175908.9914
48 | 2656352.8082 | 1175938.4087
49 | 2656339.9228 | 1175905.7568
50 | 2656374.2436 | 1175914.651
51 | 2656377.982 | 1175910.5075
52 | 2656391.8638 | 1175772.8608
53 | 2656406.5928 | 1175797.6188
54 | 2656405.3796 | 1175764.6295
55 | 2656410.6168 | 1175803.3883
56 | 2656423.9026 | 1175753.9119
57 | 2656432.7002 | 1175835.0501
58 | 2656362.6716 | 1175875.7402
59 | 2656362.7965 | 1175876.0238
60 | 2656356.4743 | 1175861.667
61 | 2656367.9661 | 1175887.7631
62 | 2656352.4828 | 1175852.603
63 | 2656407.1376 | 1175878.6528
64 | 2656412.2257 | 1175873.2643
65 | 2656427.0149 | 1175903.6346
66 | 2656433.9598 | 1175852.7239
67 | 2656400.1669 | 1175854.5794
68 | 2656453.1608 | 1175936.4949
69 | 2656446.7638 | 1175742.1836
70 | 2656472.1357 | 1175722.6114
71 | 2656457.6505 | 1175761.1431
72 | 2656449.6134 | 1175707.9432
73 | 2656425.4118 | 1175691.1548
74 | 2656433.9323 | 1175836.8166
75 | 2656440.9479 | 1175846.8753
76 | 2656467.0967 | 1175827.555
77 | 2656463.7332 | 1175889.5485
78 | 2656477.1223 | 1175820.6122
79 | 2656454.5054 | 1175814.8851
80 | 2656471.4711 | 1175898.8242
81 | 2656489.6108 | 1175835.845
82 | 2656483.4898 | 1175815.7472
83 | 2656522.831 | 1175788.0759
84 | 2656528.981 | 1175783.6041
85 | 2656513.4524 | 1175794.8955
86 | 2656533.9646 | 1175779.9804
87 | 2656523.7594 | 1175807.1453
88 | 2656537.3865 | 1175776.1994
89 | 2656476.0546 | 1175804.9157
90 | 2656524.7549 | 1175808.3284
91 | 2656543.4733 | 1175772.7437
92 | 2656545.6049 | 1175750.1514
93 | 2656543.2078 | 1175830.2596
94 | 2656506.6282 | 1175856.602
95 | 2656415.1973 | 1175706.5494
96 | 2656410.7262 | 1175713.2879
97 | 2656403.5297 | 1175724.134
98 | 2656398.2721 | 1175851.6435
99 | 2656497.1019 | 1175886.1007
100 | 2656471.3914 | 1175960.0793
101 | 2656441.7766 | 1175945.3018
102 | 2656460.8679 | 1175968.0493
103 | 2656482.3347 | 1175973.694
104 | 2656425.7697 | 1175957.6848
105 | 2656590.7214 | 1175759.8374
106 | 2656595.6945 | 1175766.6658
107 | 2656602.0898 | 1175748.3271
108 | 2656597.1485 | 1175767.3021
109 | 2656578.8642 | 1175745.351
110 | 2656548.9762 | 1175750.1337
111 | 2656552.0128 | 1175763.7212
112 | 2656559.0355 | 1175849.0707
113 | 2656562.5229 | 1175853.2155
114 | 2656390.0816 | 1175773.9461

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1