## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_785-36_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_785-36_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_785-36_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_785-36_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_785-36_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_785-36_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_785-36_0_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_785-36_0_4_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_785-36_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_785-36_0_4_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_785-36_0_4_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_785-36_0_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_785-36_0_4_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_785-36_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_785-36_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_785-36_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_785-36_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_785-36_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_785-36_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_785-36_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_785-36_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_785-36_0_4_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_785-36_0_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_785-36_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_785-36_0_4_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_785-36_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_785-36_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_785-36_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_785-36_0_4_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_785-36_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_785-36_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_785-36_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_785-36_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_785-36_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_785-36_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_785-36_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_785-36_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_785-36_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_785-36_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_785-36_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_785-36_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_785-36_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_785-36_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_785-36_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_785-36_0_4_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_785-36_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_785-36_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_785-36_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_785-36_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_785-36_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_785-36_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_785-36_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_785-36_0_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_785-36_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_785-36_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_785-36_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_785-36_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_785-36_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_785-36_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_785-36_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_785-36_0_4_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_785-36_0_4_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_785-36_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_785-36_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_785-36_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_785-36_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_785-36_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_785-36_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_785-36_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_785-36_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_785-36_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_785-36_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_785-36_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_785-36_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_785-36_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_785-36_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_785-36_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_785-36_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_785-36_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_785-36_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_785-36_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_785-36_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_785-36_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_785-36_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_785-36_0_4_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_785-36_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_785-36_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_MV_139_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_785-36_0_4_load_0 | 0 | 0.002739 | 0.00068645 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_785-36_0_4_load_1 | 1 | 0.0026958 | 0.00067563 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_785-36_0_4_load_3 | 3 | 0.0020649 | 0.00051752 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_785-36_0_4_load_4 | 4 | 0.0017753 | 0.00044493 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_785-36_0_4_load_61 | 6 | 0.0035446 | 0.00088836 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_785-36_0_4_load_42 | 7 | 0.0017638 | 0.00044204 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_785-36_0_4_load_72 | 9 | 0.0017936 | 0.00044951 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_785-36_0_4_load_41 | 10 | 0.0018727 | 0.00046934 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_785-36_0_4_load_31 | 11 | 0.0033523 | 0.00084016 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_785-36_0_4_load_28 | 12 | 0.0018113 | 0.00045396 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_785-36_0_4_load_6 | 13 | 0.0021124 | 0.00052942 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_785-36_0_4_load_7 | 14 | 0.002111 | 0.00052905 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_785-36_0_4_load_9 | 16 | 0.0013459 | 0.00033731 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_785-36_0_4_load_10 | 17 | 0.0022705 | 0.00056904 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_785-36_0_4_load_11 | 18 | 0.0018843 | 0.00047225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_785-36_0_4_load_27 | 19 | 0.0011197 | 0.00028062 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_785-36_0_4_load_18 | 20 | 0.0024538 | 0.00061498 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_785-36_0_4_load_51 | 21 | 0.0028126 | 0.0007049 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_785-36_0_4_load_45 | 22 | 0.0013189 | 0.00033054 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_785-36_0_4_load_19 | 23 | 0.0033257 | 0.00083351 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_785-36_0_4_load_52 | 24 | 0.0028137 | 0.00070517 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_785-36_0_4_load_12 | 25 | 0.001975 | 0.00049497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_785-36_0_4_load_13 | 26 | 0.0014278 | 0.00035783 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_785-36_0_4_load_14 | 27 | 0.0021237 | 0.00053224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_785-36_0_4_load_47 | 28 | 0.0039155 | 0.00098131 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_785-36_0_4_load_34 | 29 | 0.003093 | 0.00077518 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_785-36_0_4_load_46 | 30 | 0.0020073 | 0.00050307 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_785-36_0_4_load_32 | 32 | 0.0021044 | 0.00052741 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_785-36_0_4_load_33 | 33 | 0.0015108 | 0.00037864 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_785-36_0_4_load_15 | 34 | 0.0029101 | 0.00072935 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_785-36_0_4_load_16 | 35 | 0.0032381 | 0.00081154 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_785-36_0_4_load_24 | 36 | 0.0033608 | 0.0008423 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_785-36_0_4_load_17 | 37 | 0.0025475 | 0.00063846 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_785-36_0_4_load_22 | 38 | 0.0018865 | 0.00047279 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_785-36_0_4_load_23 | 39 | 0.002177 | 0.00054561 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_785-36_0_4_load_25 | 40 | 0.0020623 | 0.00051686 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_785-36_0_4_load_26 | 41 | 0.0019017 | 0.00047662 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_785-36_0_4_load_44 | 42 | 0.0021223 | 0.0005319 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_785-36_0_4_load_60 | 43 | 0.002689 | 0.00067393 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_785-36_0_4_load_20 | 44 | 0.0043315 | 0.0010856 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_785-36_0_4_load_40 | 45 | 0.0031813 | 0.00079732 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_785-36_0_4_load_30 | 46 | 0.00185 | 0.00046366 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_785-36_0_4_load_35 | 47 | 0.0035742 | 0.00089579 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_785-36_0_4_load_36 | 48 | 0.0036753 | 0.00092112 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_785-36_0_4_load_38 | 50 | 0.0024166 | 0.00060566 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_785-36_0_4_load_39 | 51 | 0.0016829 | 0.00042178 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_785-36_0_4_load_76 | 52 | 0.0027121 | 0.00067972 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_785-36_0_4_load_58 | 56 | 0.0028242 | 0.0007078 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_785-36_0_4_load_49 | 58 | 0.0025323 | 0.00063464 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_785-36_0_4_load_71 | 59 | 0.0023962 | 0.00060054 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_785-36_0_4_load_87 | 60 | 0.0028964 | 0.00072589 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_785-36_0_4_load_86 | 61 | 0.0022606 | 0.00056656 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_785-36_0_4_load_53 | 62 | 0.0029817 | 0.00074727 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_785-36_0_4_load_54 | 63 | 0.0029852 | 0.00074815 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_785-36_0_4_load_55 | 64 | 0.0047746 | 0.0011966 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_785-36_0_4_load_56 | 65 | 0.001364 | 0.00034186 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_785-36_0_4_load_69 | 66 | 0.0049556 | 0.001242 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_785-36_0_4_load_70 | 67 | 0.0034094 | 0.00085448 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_785-36_0_4_load_57 | 68 | 0.0072992 | 0.0018294 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_785-36_0_4_load_62 | 69 | 0.0023751 | 0.00059525 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_785-36_0_4_load_66 | 73 | 0.0038326 | 0.00096053 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_785-36_0_4_load_68 | 74 | 0.0025665 | 0.00064323 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_785-36_0_4_load_73 | 75 | 0.0020177 | 0.00050567 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_785-36_0_4_load_77 | 76 | 0.0010849 | 0.00027191 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_785-36_0_4_load_78 | 77 | 0.0018623 | 0.00046674 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_785-36_0_4_load_74 | 78 | 0.0034261 | 0.00085866 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_785-36_0_4_load_75 | 80 | 0.0042557 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_785-36_0_4_load_80 | 81 | 0.0019353 | 0.00048504 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_785-36_0_4_load_81 | 82 | 0.0019169 | 0.00048043 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_785-36_0_4_load_82 | 83 | 0.0050099 | 0.0012556 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_785-36_0_4_load_83 | 84 | 0.0025107 | 0.00062925 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_785-36_0_4_load_84 | 85 | 0.0025162 | 0.00063061 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_785-36_0_4_load_85 | 86 | 0.0016723 | 0.00041913 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_785-36_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0043541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_785-36_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_785-36_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_785-36_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0062401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_785-36_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.027012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_785-36_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.012318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_785-36_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0091721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_785-36_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.006969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_785-36_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.014212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_785-36_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.020617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_785-36_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.020852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_785-36_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.010429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_785-36_0_4_line_12 | NAYY 4x150 SE | 11 | 22 | 0.0059146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_785-36_0_4_line_13 | NAYY 4x150 SE | 12 | 46 | 0.028865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_785-36_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.011153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_785-36_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.013695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_785-36_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0047141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_785-36_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.018439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_785-36_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.01159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_785-36_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.0075986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_785-36_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.015251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_785-36_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.0022965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_785-36_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.0081515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_785-36_0_4_line_23 | NAYY 4x150 SE | 20 | 23 | 0.012389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_785-36_0_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.018657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_785-36_0_4_line_25 | NAYY 4x150 SE | 23 | 44 | 0.014947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_785-36_0_4_line_26 | NAYY 4x150 SE | 23 | 45 | 0.043147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_785-36_0_4_line_27 | NAYY 4x150 SE | 24 | 43 | 0.01497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_785-36_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0079879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_785-36_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.015994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_785-36_0_4_line_30 | NAYY 4x150 SE | 27 | 31 | 0.012445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_785-36_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.042244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_785-36_0_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0073878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_785-36_0_4_line_33 | NAYY 4x150 SE | 29 | 47 | 0.016646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_785-36_0_4_line_34 | NAYY 4x150 SE | 29 | 32 | 0.019638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_785-36_0_4_line_35 | NAYY 4x150 SE | 30 | 57 | 0.018584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_785-36_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.0061543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_785-36_0_4_line_37 | NAYY 4x150 SE | 31 | 33 | 0.017576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_785-36_0_4_line_38 | NAYY 4x150 SE | 33 | 40 | 0.00080686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_785-36_0_4_line_39 | NAYY 4x150 SE | 34 | 35 | 0.0049905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_785-36_0_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.0601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_785-36_0_4_line_41 | NAYY 4x150 SE | 35 | 37 | 0.016749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_785-36_0_4_line_42 | NAYY 4x150 SE | 36 | 41 | 0.024794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_785-36_0_4_line_43 | NAYY 4x150 SE | 36 | 38 | 0.010646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_785-36_0_4_line_44 | NAYY 4x150 SE | 37 | 43 | 0.014821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_785-36_0_4_line_45 | NAYY 4x150 SE | 38 | 39 | 0.00087773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_785-36_0_4_line_46 | NAYY 4x150 SE | 39 | 40 | 0.033716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_785-36_0_4_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0036932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_785-36_0_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.024361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_785-36_0_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.003868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_785-36_0_4_line_50 | NAYY 4x150 SE | 49 | 51 | 0.02253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_785-36_0_4_line_51 | NAYY 4x150 SE | 50 | 52 | 0.012501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_785-36_0_4_line_52 | NAYY 4x150 SE | 51 | 53 | 0.006417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_785-36_0_4_line_53 | NAYY 4x150 SE | 52 | 54 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_785-36_0_4_line_54 | NAYY 4x150 SE | 53 | 55 | 0.00629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_785-36_0_4_line_55 | NAYY 4x150 SE | 53 | 56 | 0.017025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_785-36_0_4_line_56 | NAYY 4x150 SE | 54 | 67 | 0.01421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_785-36_0_4_line_57 | NAYY 4x150 SE | 54 | 71 | 0.003573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_785-36_0_4_line_58 | NAYY 4x150 SE | 55 | 60 | 0.036681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_785-36_0_4_line_59 | NAYY 4x150 SE | 55 | 57 | 0.041263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_785-36_0_4_line_60 | NAYY 4x150 SE | 56 | 68 | 0.024205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_785-36_0_4_line_61 | NAYY 4x150 SE | 57 | 58 | 0.028008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_785-36_0_4_line_62 | NAYY 4x150 SE | 58 | 59 | 0.013516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_785-36_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.028158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_785-36_0_4_line_64 | NAYY 4x150 SE | 61 | 86 | 0.032522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_785-36_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.014252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_785-36_0_4_line_66 | NAYY 4x150 SE | 62 | 64 | 0.012194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_785-36_0_4_line_67 | NAYY 4x150 SE | 63 | 65 | 0.028099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_785-36_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.047625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_785-36_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.0047565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_785-36_0_4_line_70 | NAYY 4x150 SE | 69 | 70 | 0.03466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_785-36_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.013156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_785-36_0_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.02205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_785-36_0_4_line_73 | NAYY 4x150 SE | 70 | 73 | 0.015347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_785-36_0_4_line_74 | NAYY 4x150 SE | 71 | 74 | 0.045922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_785-36_0_4_line_75 | NAYY 4x150 SE | 72 | 75 | 0.021993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_785-36_0_4_line_76 | NAYY 4x150 SE | 73 | 76 | 0.018903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_785-36_0_4_line_77 | NAYY 4x150 SE | 74 | 77 | 0.00042193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_785-36_0_4_line_78 | NAYY 4x150 SE | 75 | 78 | 0.0051994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_785-36_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.060917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_785-36_0_4_line_80 | NAYY 4x150 SE | 78 | 80 | 0.00065029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_785-36_0_4_line_81 | NAYY 4x150 SE | 79 | 81 | 0.017404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_785-36_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.014429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_785-36_0_4_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0050702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_785-36_0_4_line_84 | NAYY 4x150 SE | 84 | 85 | 3.1333e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_785-36_0_4_line_85 | NAYY 4x150 SE | 84 | 86 | 0.017917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_785-36_0_4_trafo_56 | 0.25 MVA 20/0.4 kV | 87 | 65 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2657690.9362 | 1175153.5373 | 2657690.5122 | 1175149.2039
1 | 2657691.9983 | 1175164.391 | 2657690.9362 | 1175153.5373
2 | 2657690.5122 | 1175149.2039 | 2657688.2602 | 1175126.1896
3 | 2657691.9983 | 1175164.391 | 2657685.8182 | 1175165.254
4 | 2657719.0391 | 1175162.75 | 2657691.9983 | 1175164.391
5 | 2657677.9102 | 1175120.476 | 2657681.899 | 1175124.6499 | 2657688.2602 | 1175126.1896
6 | 2657685.8182 | 1175165.254 | 2657676.7343 | 1175166.5225
7 | 2657726.0277 | 1175162.6394 | 2657719.0391 | 1175162.75
8 | 2657719.0391 | 1175162.75 | 2657726.1215 | 1175175.0711
9 | 2657656.3154 | 1175169.3739 | 2657676.7343 | 1175166.5225
10 | 2657726.0277 | 1175162.6394 | 2657746.8281 | 1175164.1009
11 | 2657726.0277 | 1175162.6394 | 2657726.0652 | 1175152.2102
12 | 2657746.8281 | 1175164.1009 | 2657752.7281 | 1175164.5155
13 | 2657739.4243 | 1175131.3843 | 2657728.2202 | 1175136.5794 | 2657726.1757 | 1175138.5053 | 2657726.1052 | 1175141.0727 | 2657726.0652 | 1175152.2102
14 | 2657783.9101 | 1175162.4071 | 2657783.9101 | 1175162.4071 | 2657777.9034 | 1175164.5505 | 2657773.1405 | 1175164.8987
15 | 2657796.1403 | 1175156.2437 | 2657783.9101 | 1175162.4071
16 | 2657768.4389 | 1175165.2423 | 2657773.1405 | 1175164.8987
17 | 2657796.1403 | 1175156.2437 | 2657789.1327 | 1175139.1877
18 | 2657796.1403 | 1175156.2437 | 2657806.4936 | 1175151.0352
19 | 2657760.8596 | 1175165.0869 | 2657765.8082 | 1175165.4346 | 2657768.4389 | 1175165.2423
20 | 2657789.1327 | 1175139.1877 | 2657783.3368 | 1175125.0811 | 2657783.3368 | 1175125.0811
21 | 2657806.4936 | 1175151.0352 | 2657808.5451 | 1175150.0031
22 | 2657752.7281 | 1175164.5155 | 2657760.8596 | 1175165.0869
23 | 2657794.1468 | 1175119.028 | 2657783.3368 | 1175125.0811
24 | 2657825.2118 | 1175141.6185 | 2657808.5451 | 1175150.0031
25 | 2657807.188 | 1175111.7255 | 2657794.1468 | 1175119.028
26 | 2657794.1468 | 1175119.028 | 2657776.1582 | 1175079.8093
27 | 2657825.2118 | 1175141.6185 | 2657838.5846 | 1175134.891
28 | 2657878.8566 | 1174987.128 | 2657871.9109 | 1174991.0731
29 | 2657858.0038 | 1174998.9722 | 2657871.9109 | 1174991.0731
30 | 2657847.1825 | 1175005.1187 | 2657858.0038 | 1174998.9722
31 | 2657800.8837 | 1174958.8183 | 2657836.3216 | 1174981.8123
32 | 2657797.2579 | 1174952.3815 | 2657800.8837 | 1174958.8183
33 | 2657836.3216 | 1174981.8123 | 2657836.8851 | 1174979.661 | 2657849.5256 | 1174972.7169
34 | 2657844.4285 | 1174999.6149 | 2657836.9365 | 1174984.642 | 2657836.3216 | 1174981.8123 | 2657836.3216 | 1174981.8123
35 | 2657788.1373 | 1174936.1899 | 2657797.2579 | 1174952.3815
36 | 2657847.1825 | 1175005.1187 | 2657844.4285 | 1174999.6149
37 | 2657847.1825 | 1175005.1187 | 2657855.262 | 1175020.7273
38 | 2657855.6329 | 1175021.4438 | 2657855.262 | 1175020.7273
39 | 2657866.7866 | 1175120.7032 | 2657871.2448 | 1175118.4604
40 | 2657871.2448 | 1175118.4604 | 2657878.6443 | 1175058.8181
41 | 2657851.8242 | 1175128.2304 | 2657866.7866 | 1175120.7032
42 | 2657878.6443 | 1175058.8181 | 2657878.6443 | 1175058.8181 | 2657882.1313 | 1175057.9401 | 2657900.5332 | 1175047.4168
43 | 2657878.6443 | 1175058.8181 | 2657874.4344 | 1175057.7658 | 2657871.5354 | 1175052.1653
44 | 2657851.8242 | 1175128.2304 | 2657838.5846 | 1175134.891
45 | 2657871.5354 | 1175052.1653 | 2657871.1319 | 1175051.3858
46 | 2657871.1319 | 1175051.3858 | 2657855.6329 | 1175021.4438
47 | 2657903.7391 | 1175045.5834 | 2657900.5332 | 1175047.4168
48 | 2657726.945 | 1174982.2378 | 2657738.9775 | 1175003.4199
49 | 2657726.945 | 1174982.2378 | 2657723.8541 | 1174984.5632
50 | 2657726.945 | 1174982.2378 | 2657744.9444 | 1174968.6878
51 | 2657713.8646 | 1174992.0788 | 2657723.8541 | 1174984.5632
52 | 2657750.0711 | 1174964.8283 | 2657744.9444 | 1174968.6878
53 | 2657703.6882 | 1174999.7349 | 2657713.8646 | 1174992.0788
54 | 2657750.0711 | 1174964.8283 | 2657755.1076 | 1174961.0414
55 | 2657750.0711 | 1174964.8283 | 2657758.0844 | 1174979.8494
56 | 2657703.6882 | 1174999.7349 | 2657712.2537 | 1175011.0735
57 | 2657703.6882 | 1174999.7349 | 2657700.7783 | 1175001.8192
58 | 2657755.1076 | 1174961.0414 | 2657739.627 | 1174927.787
59 | 2657788.1373 | 1174936.1899 | 2657755.1076 | 1174961.0414
60 | 2657769.4772 | 1175001.2057 | 2657758.0844 | 1174979.8494
61 | 2657788.1373 | 1174936.1899 | 2657810.8599 | 1174919.8144
62 | 2657810.8599 | 1174919.8144 | 2657821.8254 | 1174911.9118
63 | 2657739.627 | 1174927.787 | 2657727.7437 | 1174902.2598
64 | 2657713.5729 | 1174872.988 | 2657725.5277 | 1174897.4997 | 2657727.7437 | 1174902.2598
65 | 2657718.3205 | 1175087.2349 | 2657727.2751 | 1175085.42 | 2657731.3038 | 1175082.2681 | 2657731.3038 | 1175082.2681
66 | 2657709.3724 | 1175081.2233 | 2657712.796 | 1175086.9372 | 2657718.3205 | 1175087.2349
67 | 2657731.7858 | 1175055.2134 | 2657730.2926 | 1175058.6342 | 2657731.2386 | 1175065.2025 | 2657733.2961 | 1175077.8181 | 2657732.6374 | 1175080.3243 | 2657731.3038 | 1175082.2681
68 | 2657715.1208 | 1175014.8689 | 2657725.7089 | 1175028.8849 | 2657735.5335 | 1175045.5107 | 2657735.6897 | 1175048.3471 | 2657734.6131 | 1175050.5824 | 2657731.7858 | 1175055.2134
69 | 2657715.1208 | 1175014.8689 | 2657712.2537 | 1175011.0735
70 | 2657662.8083 | 1175030.8816 | 2657690.3311 | 1175009.8156
71 | 2657700.7783 | 1175001.8192 | 2657690.3311 | 1175009.8156
72 | 2657662.8083 | 1175030.8816 | 2657644.9845 | 1175043.9287
73 | 2657662.8083 | 1175030.8816 | 2657656.1863 | 1175017.0366
74 | 2657700.7783 | 1175001.8192 | 2657692.248 | 1174990.5088 | 2657676.3897 | 1174962.9964
75 | 2657644.9845 | 1175043.9287 | 2657654.8969 | 1175053.8182 | 2657662.8478 | 1175054.6173
76 | 2657656.1863 | 1175017.0366 | 2657653.8073 | 1175012.0626 | 2657647.5004 | 1175000.2512
77 | 2657676.3897 | 1174962.9964 | 2657676.179 | 1174962.6308
78 | 2657662.8478 | 1175054.6173 | 2657667.9161 | 1175053.4572
79 | 2657648.2499 | 1174908.53 | 2657666.1316 | 1174945.1997 | 2657676.179 | 1174962.6308
80 | 2657667.9161 | 1175053.4572 | 2657668.55 | 1175053.3121
81 | 2657648.2499 | 1174908.53 | 2657663.7936 | 1174900.7
82 | 2657676.6801 | 1174894.2085 | 2657663.7936 | 1174900.7
83 | 2657676.6801 | 1174894.2085 | 2657681.2082 | 1174891.9276
84 | 2657705.7051 | 1174856.8562 | 2657705.7189 | 1174856.8844
85 | 2657705.7189 | 1174856.8844 | 2657713.5729 | 1174872.988

## bus_geodata
| x | y | coords
0 | 2657690.9362 | 1175153.5373
1 | 2657690.5122 | 1175149.2039
2 | 2657691.9983 | 1175164.391
3 | 2657688.2602 | 1175126.1896
4 | 2657685.8182 | 1175165.254
5 | 2657719.0391 | 1175162.75
6 | 2657677.9102 | 1175120.476
7 | 2657676.7343 | 1175166.5225
8 | 2657726.0277 | 1175162.6394
9 | 2657726.1215 | 1175175.0711
10 | 2657656.3154 | 1175169.3739
11 | 2657746.8281 | 1175164.1009
12 | 2657726.0652 | 1175152.2102
13 | 2657783.9101 | 1175162.4071
14 | 2657773.1405 | 1175164.8987
15 | 2657796.1403 | 1175156.2437
16 | 2657768.4389 | 1175165.2423
17 | 2657789.1327 | 1175139.1877
18 | 2657806.4936 | 1175151.0352
19 | 2657760.8596 | 1175165.0869
20 | 2657783.3368 | 1175125.0811
21 | 2657808.5451 | 1175150.0031
22 | 2657752.7281 | 1175164.5155
23 | 2657794.1468 | 1175119.028
24 | 2657825.2118 | 1175141.6185
25 | 2657878.8566 | 1174987.128
26 | 2657871.9109 | 1174991.0731
27 | 2657858.0038 | 1174998.9722
28 | 2657800.8837 | 1174958.8183
29 | 2657836.3216 | 1174981.8123
30 | 2657797.2579 | 1174952.3815
31 | 2657847.1825 | 1175005.1187
32 | 2657844.4285 | 1174999.6149
33 | 2657855.262 | 1175020.7273
34 | 2657871.2448 | 1175118.4604
35 | 2657866.7866 | 1175120.7032
36 | 2657878.6443 | 1175058.8181
37 | 2657851.8242 | 1175128.2304
38 | 2657871.5354 | 1175052.1653
39 | 2657871.1319 | 1175051.3858
40 | 2657855.6329 | 1175021.4438
41 | 2657900.5332 | 1175047.4168
42 | 2657903.7391 | 1175045.5834
43 | 2657838.5846 | 1175134.891
44 | 2657807.188 | 1175111.7255
45 | 2657776.1582 | 1175079.8093
46 | 2657739.4243 | 1175131.3843
47 | 2657849.5256 | 1174972.7169
48 | 2657738.9775 | 1175003.4199
49 | 2657726.945 | 1174982.2378
50 | 2657723.8541 | 1174984.5632
51 | 2657744.9444 | 1174968.6878
52 | 2657713.8646 | 1174992.0788
53 | 2657750.0711 | 1174964.8283
54 | 2657703.6882 | 1174999.7349
55 | 2657755.1076 | 1174961.0414
56 | 2657758.0844 | 1174979.8494
57 | 2657788.1373 | 1174936.1899
58 | 2657810.8599 | 1174919.8144
59 | 2657821.8254 | 1174911.9118
60 | 2657739.627 | 1174927.787
61 | 2657727.7437 | 1174902.2598
62 | 2657718.3205 | 1175087.2349
63 | 2657731.3038 | 1175082.2681
64 | 2657709.3724 | 1175081.2233
65 | 2657731.7858 | 1175055.2134
66 | 2657715.1208 | 1175014.8689
67 | 2657712.2537 | 1175011.0735
68 | 2657769.4772 | 1175001.2057
69 | 2657690.3311 | 1175009.8156
70 | 2657662.8083 | 1175030.8816
71 | 2657700.7783 | 1175001.8192
72 | 2657644.9845 | 1175043.9287
73 | 2657656.1863 | 1175017.0366
74 | 2657676.3897 | 1174962.9964
75 | 2657662.8478 | 1175054.6173
76 | 2657647.5004 | 1175000.2512
77 | 2657676.179 | 1174962.6308
78 | 2657667.9161 | 1175053.4572
79 | 2657648.2499 | 1174908.53
80 | 2657668.55 | 1175053.3121
81 | 2657663.7936 | 1174900.7
82 | 2657676.6801 | 1174894.2085
83 | 2657681.2082 | 1174891.9276
84 | 2657705.7189 | 1174856.8844
85 | 2657705.7051 | 1174856.8562
86 | 2657713.5729 | 1174872.988
87 | 2657709.3724 | 1175081.2233

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1