## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_785-38_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_785-38_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_785-38_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_785-38_0_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_785-38_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_785-38_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_785-38_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_785-38_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_785-38_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_785-38_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_785-38_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_785-38_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_785-38_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_785-38_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_785-38_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_785-38_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_785-38_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_785-38_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_785-38_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_785-38_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_785-38_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_785-38_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_785-38_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_785-38_0_3_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_785-38_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_785-38_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_785-38_0_3_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_785-38_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_785-38_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_785-38_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_785-38_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_785-38_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_785-38_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_785-38_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_785-38_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_785-38_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_785-38_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_785-38_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_785-38_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_785-38_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_785-38_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_785-38_0_3_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_785-38_0_3_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_785-38_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_785-38_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_785-38_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_785-38_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_785-38_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_785-38_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_785-38_0_3_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_785-38_0_3_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_785-38_0_3_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_785-38_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_785-38_0_3_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_785-38_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_785-38_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_785-38_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_785-38_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_785-38_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_785-38_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_785-38_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_785-38_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_785-38_0_3_node_88 | 0.4 | n |  | TRUE
63 | bus_LV_785-38_0_3_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_785-38_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_785-38_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_785-38_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_785-38_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_785-38_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_785-38_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_785-38_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_785-38_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_785-38_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_785-38_0_3_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_785-38_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_785-38_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_785-38_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_785-38_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_785-38_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_785-38_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_785-38_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_785-38_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_785-38_0_3_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_785-38_0_3_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_785-38_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_785-38_0_3_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_785-38_0_3_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_785-38_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_785-38_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_785-38_0_3_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_785-38_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_785-38_0_3_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_785-38_0_3_node_89 | 0.4 | n |  | TRUE
93 | bus_MV_139_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_785-38_0_3_load_0 | 0 | 0.0027767 | 0.00069591 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_785-38_0_3_load_1 | 1 | 0.0020569 | 0.00051552 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_785-38_0_3_load_2 | 2 | 0.0025794 | 0.00064647 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_785-38_0_3_load_9 | 3 | 0.002195 | 0.00055011 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_785-38_0_3_load_10 | 4 | 0.0021018 | 0.00052677 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_785-38_0_3_load_3 | 5 | 0.0024711 | 0.00061932 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_785-38_0_3_load_4 | 6 | 0.0055519 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_785-38_0_3_load_6 | 8 | 0.001414 | 0.00035437 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_785-38_0_3_load_7 | 9 | 0.002269 | 0.00056867 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_785-38_0_3_load_8 | 10 | 0.0030733 | 0.00077024 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_785-38_0_3_load_20 | 12 | 0.0022336 | 0.0005598 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_785-38_0_3_load_17 | 14 | 0.0012496 | 0.00031317 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_785-38_0_3_load_12 | 15 | 0.0043266 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_785-38_0_3_load_19 | 16 | 0.0029791 | 0.00074663 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_785-38_0_3_load_18 | 17 | 0.0025159 | 0.00063055 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_785-38_0_3_load_32 | 18 | 0.0047073 | 0.0011798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_785-38_0_3_load_15 | 20 | 0.0024733 | 0.00061986 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_785-38_0_3_load_16 | 21 | 0.0016018 | 0.00040144 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_785-38_0_3_load_23 | 22 | 0.0033363 | 0.00083616 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_785-38_0_3_load_64 | 23 | 0.0047132 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_785-38_0_3_load_22 | 24 | 0.0019998 | 0.00050119 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_785-38_0_3_load_24 | 25 | 0.0021133 | 0.00052963 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_785-38_0_3_load_21 | 27 | 0.0020074 | 0.0005031 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_785-38_0_3_load_25 | 29 | 0.0035262 | 0.00088376 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_785-38_0_3_load_26 | 30 | 0.0044427 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_785-38_0_3_load_36 | 31 | 0.0023858 | 0.00059794 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_785-38_0_3_load_30 | 32 | 0.0026343 | 0.00066021 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_785-38_0_3_load_27 | 33 | 0.0027646 | 0.00069289 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_785-38_0_3_load_28 | 34 | 0.0035221 | 0.00088273 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_785-38_0_3_load_29 | 35 | 0.0034698 | 0.00086961 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_785-38_0_3_load_31 | 36 | 0.0023404 | 0.00058655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_785-38_0_3_load_37 | 37 | 0.0019663 | 0.00049281 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_785-38_0_3_load_34 | 39 | 0.0017535 | 0.00043947 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_785-38_0_3_load_35 | 40 | 0.0017723 | 0.00044418 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_785-38_0_3_load_53 | 41 | 0.0023064 | 0.00057804 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_785-38_0_3_load_54 | 42 | 0.00263 | 0.00065913 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_785-38_0_3_load_55 | 43 | 0.0014129 | 0.00035411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_785-38_0_3_load_39 | 44 | 0.0010158 | 0.00025458 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_785-38_0_3_load_40 | 45 | 0.0020733 | 0.00051961 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_785-38_0_3_load_41 | 46 | 0.0017185 | 0.00043069 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_785-38_0_3_load_49 | 47 | 0.0036007 | 0.00090241 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_785-38_0_3_load_92 | 50 | 0.0026472 | 0.00066344 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_785-38_0_3_load_91 | 51 | 0.011681 | 0.0029275 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_785-38_0_3_load_52 | 52 | 0.0022688 | 0.00056861 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_785-38_0_3_load_63 | 53 | 0.0050373 | 0.0012625 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_785-38_0_3_load_42 | 54 | 0.0012799 | 0.00032078 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_785-38_0_3_load_43 | 55 | 0.0018675 | 0.00046804 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_785-38_0_3_load_45 | 57 | 0.0021922 | 0.00054941 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_785-38_0_3_load_46 | 58 | 0.0013244 | 0.00033192 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_785-38_0_3_load_47 | 59 | 0.003766 | 0.00094386 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_785-38_0_3_load_69 | 61 | 0.0015462 | 0.00038751 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_785-38_0_3_load_88 | 62 | 0.004152 | 0.0010406 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_785-38_0_3_load_70 | 63 | 0.0018294 | 0.00045848 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_785-38_0_3_load_50 | 64 | 0.0017718 | 0.00044405 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_785-38_0_3_load_51 | 65 | 0.0017169 | 0.0004303 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_785-38_0_3_load_56 | 66 | 0.001394 | 0.00034937 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_785-38_0_3_load_57 | 67 | 0.0017121 | 0.0004291 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_785-38_0_3_load_58 | 68 | 0.0022222 | 0.00055693 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_785-38_0_3_load_59 | 69 | 0.0015536 | 0.00038937 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_785-38_0_3_load_60 | 70 | 0.0021785 | 0.00054597 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_785-38_0_3_load_68 | 71 | 0.0019669 | 0.00049296 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_785-38_0_3_load_66 | 72 | 0.0073074 | 0.0018314 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_785-38_0_3_load_77 | 73 | 0.0022209 | 0.0005566 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_785-38_0_3_load_67 | 74 | 0.0068722 | 0.0017223 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_785-38_0_3_load_71 | 76 | 0.0030058 | 0.00075332 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_785-38_0_3_load_72 | 77 | 0.0019461 | 0.00048773 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_785-38_0_3_load_73 | 78 | 0.0012303 | 0.00030834 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_785-38_0_3_load_74 | 79 | 0.0034358 | 0.0008611 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_785-38_0_3_load_76 | 80 | 0.0019246 | 0.00048235 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_785-38_0_3_load_78 | 81 | 0.0010253 | 0.00025696 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_785-38_0_3_load_79 | 82 | 0.001391 | 0.00034863 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_785-38_0_3_load_80 | 83 | 0.001545 | 0.00038722 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_785-38_0_3_load_81 | 84 | 0.0009398 | 0.00023554 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_785-38_0_3_load_82 | 85 | 0.001596 | 0.00039998 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_785-38_0_3_load_87 | 86 | 0.00095001 | 0.00023809 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_785-38_0_3_load_85 | 87 | 0.0013913 | 0.00034869 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_785-38_0_3_load_83 | 88 | 0.0063456 | 0.0015904 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_785-38_0_3_load_86 | 90 | 0.00097834 | 0.0002452 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_785-38_0_3_load_89 | 92 | 0.0017086 | 0.00042821 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_785-38_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_785-38_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0095403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_785-38_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_785-38_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0036246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_785-38_0_3_line_4 | NAYY 4x150 SE | 4 | 13 | 0.012244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_785-38_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0088138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_785-38_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.03526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_785-38_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.021484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_785-38_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.01573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_785-38_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.010387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_785-38_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.011898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_785-38_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.019648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_785-38_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.015399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_785-38_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.025863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_785-38_0_3_line_14 | NAYY 4x150 SE | 11 | 15 | 0.025412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_785-38_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.021232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_785-38_0_3_line_16 | NAYY 4x150 SE | 13 | 17 | 0.016794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_785-38_0_3_line_17 | NAYY 4x150 SE | 14 | 24 | 0.021971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_785-38_0_3_line_18 | NAYY 4x150 SE | 15 | 19 | 0.021869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_785-38_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.033304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_785-38_0_3_line_20 | NAYY 4x150 SE | 18 | 28 | 0.011541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_785-38_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.041758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_785-38_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.033563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_785-38_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0064739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_785-38_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.00043194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_785-38_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.025921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_785-38_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.018275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_785-38_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.008585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_785-38_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.01973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_785-38_0_3_line_29 | NAYY 4x150 SE | 26 | 71 | 0.0069778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_785-38_0_3_line_30 | NAYY 4x150 SE | 26 | 72 | 0.015483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_785-38_0_3_line_31 | NAYY 4x150 SE | 28 | 39 | 0.011374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_785-38_0_3_line_32 | NAYY 4x150 SE | 28 | 40 | 0.00076582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_785-38_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0083116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_785-38_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.016948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_785-38_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.010628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_785-38_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.01722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_785-38_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0077748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_785-38_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.022476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_785-38_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.023606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_785-38_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.00010368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_785-38_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.034076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_785-38_0_3_line_42 | NAYY 4x150 SE | 38 | 44 | 0.043724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_785-38_0_3_line_43 | NAYY 4x150 SE | 38 | 45 | 0.017376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_785-38_0_3_line_44 | NAYY 4x150 SE | 38 | 46 | 0.021028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_785-38_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.0077259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_785-38_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.013605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_785-38_0_3_line_47 | NAYY 4x150 SE | 42 | 43 | 0.0094002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_785-38_0_3_line_48 | NAYY 4x150 SE | 43 | 66 | 0.0075716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_785-38_0_3_line_49 | NAYY 4x150 SE | 44 | 47 | 0.0093285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_785-38_0_3_line_50 | NAYY 4x150 SE | 45 | 48 | 0.021398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_785-38_0_3_line_51 | NAYY 4x150 SE | 46 | 49 | 0.010733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_785-38_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.027508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_785-38_0_3_line_53 | NAYY 4x150 SE | 47 | 51 | 0.041273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_785-38_0_3_line_54 | NAYY 4x150 SE | 48 | 52 | 0.008483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_785-38_0_3_line_55 | NAYY 4x150 SE | 49 | 53 | 0.01277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_785-38_0_3_line_56 | NAYY 4x150 SE | 52 | 65 | 0.021499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_785-38_0_3_line_57 | NAYY 4x150 SE | 53 | 59 | 0.025916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_785-38_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.025875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_785-38_0_3_line_59 | NAYY 4x150 SE | 54 | 56 | 0.011124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_785-38_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.0038168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_785-38_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.012302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_785-38_0_3_line_62 | NAYY 4x150 SE | 56 | 59 | 0.014065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_785-38_0_3_line_63 | NAYY 4x150 SE | 56 | 60 | 0.036753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_785-38_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.01126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_785-38_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.077874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_785-38_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.01966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_785-38_0_3_line_67 | NAYY 4x150 SE | 63 | 76 | 0.018207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_785-38_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.019155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_785-38_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.0084453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_785-38_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.010743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_785-38_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0094359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_785-38_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.012262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_785-38_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.010352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_785-38_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.022412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_785-38_0_3_line_75 | NAYY 4x150 SE | 73 | 75 | 0.019722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_785-38_0_3_line_76 | NAYY 4x150 SE | 75 | 80 | 0.014977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_785-38_0_3_line_77 | NAYY 4x150 SE | 75 | 78 | 0.0091845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_785-38_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.00014213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_785-38_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.01868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_785-38_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.0006483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_785-38_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.0060332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_785-38_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.0075553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_785-38_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.008578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_785-38_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0072014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_785-38_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.0056914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_785-38_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.0082466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_785-38_0_3_line_87 | NAYY 4x150 SE | 87 | 89 | 0.0072521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_785-38_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.015374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_785-38_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.010457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_785-38_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.044565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_785-38_0_3_line_91 | NAYY 4x150 SE | 91 | 92 | 0.02232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_785-38_0_3_trafo_36 | 0.25 MVA 20/0.4 kV | 93 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2657891.3417 | 1174980.0366 | 2657902.2875 | 1174973.8195
1 | 2657902.2875 | 1174973.8195 | 2657910.5831 | 1174969.1077
2 | 2657924.3407 | 1174961.2934 | 2657910.5831 | 1174969.1077
3 | 2657924.3407 | 1174961.2934 | 2657927.4924 | 1174959.5033
4 | 2657938.1391 | 1174953.4561 | 2657927.4924 | 1174959.5033
5 | 2657912.1813 | 1174898.8059 | 2657906.9773 | 1174891.6924
6 | 2657925.8426 | 1174930.7916 | 2657919.3669 | 1174908.6281 | 2657912.1813 | 1174898.8059
7 | 2657894.2921 | 1174874.3528 | 2657906.9773 | 1174891.6924
8 | 2657925.8426 | 1174930.7916 | 2657912.0558 | 1174938.3655
9 | 2657925.8426 | 1174930.7916 | 2657930.7958 | 1174939.9212
10 | 2657887.267 | 1174864.7499 | 2657894.2921 | 1174874.3528
11 | 2657894.8355 | 1174947.8256 | 2657912.0558 | 1174938.3655
12 | 2657938.1391 | 1174953.4561 | 2657930.7958 | 1174939.9212
13 | 2657887.267 | 1174864.7499 | 2657866.2848 | 1174879.8712
14 | 2657887.267 | 1174864.7499 | 2657908.1336 | 1174850.2463
15 | 2657894.8355 | 1174947.8256 | 2657876.2266 | 1174958.0485
16 | 2657938.1391 | 1174953.4561 | 2657947.6644 | 1174967.2876
17 | 2657848.4605 | 1174892.7166 | 2657866.2848 | 1174879.8712
18 | 2657926.0907 | 1174837.765 | 2657908.1336 | 1174850.2463
19 | 2657966.5539 | 1174994.7165 | 2657947.6644 | 1174967.2876
20 | 2657973.0997 | 1175004.2215 | 2657966.5539 | 1174994.7165
21 | 2657926.0907 | 1174837.765 | 2657949.5245 | 1174872.3279
22 | 2657926.0907 | 1174837.765 | 2657953.2142 | 1174817.9973
23 | 2657953.1576 | 1174877.6863 | 2657949.5245 | 1174872.3279
24 | 2657953.2142 | 1174817.9973 | 2657953.5632 | 1174817.7429
25 | 2657953.1576 | 1174877.6863 | 2657967.7038 | 1174899.1407
26 | 2657968.6852 | 1174807.4816 | 2657954.3482 | 1174817.1708 | 2657953.5632 | 1174817.7429
27 | 2657841.4958 | 1174897.736 | 2657848.4605 | 1174892.7166
28 | 2657967.7038 | 1174899.1407 | 2657978.7757 | 1174915.4707
29 | 2657968.6852 | 1174807.4816 | 2657974.6551 | 1174803.8691
30 | 2657968.6852 | 1174807.4816 | 2657977.1391 | 1174820.4532
31 | 2657973.0997 | 1175004.2215 | 2657982.6025 | 1174997.971
32 | 2657973.0997 | 1175004.2215 | 2657972.4559 | 1175004.6362
33 | 2657983.44 | 1174922.3502 | 2657978.7757 | 1174915.4707
34 | 2657983.44 | 1174922.3502 | 2657984.1406 | 1174923.3836 | 2657993.6247 | 1174935.8944
35 | 2658000.0453 | 1174944.3641 | 2657993.6247 | 1174935.8944
36 | 2658010.4477 | 1174958.0864 | 2658000.0453 | 1174944.3641
37 | 2658015.1445 | 1174964.2822 | 2658010.4477 | 1174958.0864
38 | 2658015.1445 | 1174964.2822 | 2658028.7223 | 1174982.1932
39 | 2658028.7223 | 1174982.1932 | 2658042.9826 | 1175001.0046
40 | 2658042.9826 | 1175001.0046 | 2658043.0452 | 1175001.0873
41 | 2658063.631 | 1175028.2429 | 2658043.0452 | 1175001.0873
42 | 2658063.631 | 1175028.2429 | 2658064.9704 | 1175038.3614 | 2658068.0204 | 1175047.0957 | 2658073.1624 | 1175056.1171 | 2658081.5188 | 1175067.2023
43 | 2658063.631 | 1175028.2429 | 2658052.691 | 1175041.7432
44 | 2658063.631 | 1175028.2429 | 2658073.9843 | 1175017.7928 | 2658079.004 | 1175013.9571
45 | 2657989.0573 | 1174993.7254 | 2657982.6025 | 1174997.971
46 | 2657961.0185 | 1175012.0041 | 2657972.4559 | 1175004.6362
47 | 2657961.0185 | 1175012.0041 | 2657953.1161 | 1175017.0948
48 | 2657953.1161 | 1175017.0948 | 2657949.6359 | 1175019.3367 | 2657946.6568 | 1175021.0403
49 | 2658087.1341 | 1175074.6513 | 2658081.5188 | 1175067.2023
50 | 2658039.2192 | 1175058.3679 | 2658052.691 | 1175041.7432
51 | 2658087.5324 | 1175007.4404 | 2658079.004 | 1175013.9571
52 | 2658087.1341 | 1175074.6513 | 2658067.6651 | 1175094.0848
53 | 2658087.1341 | 1175074.6513 | 2658117.6927 | 1175046.9095
54 | 2658039.2192 | 1175058.3679 | 2658033.6976 | 1175064.8079
55 | 2658087.5324 | 1175007.4404 | 2658098.9185 | 1175001.6595
56 | 2658033.6976 | 1175064.8079 | 2658019.7037 | 1175081.1293
57 | 2658098.9185 | 1175001.6595 | 2658122.0266 | 1174989.9274
58 | 2658145.0166 | 1174979.7446 | 2658169.3216 | 1174970.8693
59 | 2658134.5676 | 1174983.5602 | 2658145.0166 | 1174979.7446
60 | 2658172.9068 | 1174969.5601 | 2658169.3216 | 1174970.8693
61 | 2658134.5676 | 1174983.5602 | 2658139.5619 | 1174994.8029
62 | 2658134.5676 | 1174983.5602 | 2658122.0266 | 1174989.9274
63 | 2658122.6414 | 1174948.7922 | 2658134.5676 | 1174983.5602
64 | 2658122.6414 | 1174948.7922 | 2658115.901 | 1174951.6619 | 2658112.4668 | 1174953.5811
65 | 2658122.6414 | 1174948.7922 | 2658109.6033 | 1174872.0171
66 | 2658112.4668 | 1174953.5811 | 2658095.3049 | 1174963.1717
67 | 2658079.4116 | 1174972.0534 | 2658095.3049 | 1174963.1717
68 | 2658007.5764 | 1175095.9409 | 2658010.8493 | 1175091.4564 | 2658019.7037 | 1175081.1293
69 | 2657939.3256 | 1175025.2327 | 2657946.6568 | 1175021.0403
70 | 2657939.3256 | 1175025.2327 | 2657930.0002 | 1175030.5656
71 | 2657921.8091 | 1175035.2498 | 2657930.0002 | 1175030.5656
72 | 2657921.8091 | 1175035.2498 | 2657911.1647 | 1175041.337
73 | 2657974.6551 | 1174803.8691 | 2657983.5121 | 1174798.5096
74 | 2657986.4578 | 1174840.2379 | 2657985.8998 | 1174833.8957 | 2657977.1391 | 1174820.4532
75 | 2658000.3851 | 1174788.2994 | 2657983.5121 | 1174798.5096
76 | 2658000.3851 | 1174788.2994 | 2658013.6735 | 1174781.3913
77 | 2658000.3851 | 1174788.2994 | 2658005.1205 | 1174796.1691
78 | 2658005.1938 | 1174796.2909 | 2658005.1205 | 1174796.1691
79 | 2658014.8248 | 1174812.2966 | 2658005.1938 | 1174796.2909
80 | 2658014.2487 | 1174781.0923 | 2658013.6735 | 1174781.3913
81 | 2658014.2487 | 1174781.0923 | 2658019.6018 | 1174778.3095
82 | 2658026.3053 | 1174774.8246 | 2658019.6018 | 1174778.3095
83 | 2658026.3053 | 1174774.8246 | 2658033.9163 | 1174770.868
84 | 2658033.9163 | 1174770.868 | 2658040.3059 | 1174767.5463
85 | 2658040.3059 | 1174767.5463 | 2658045.3557 | 1174764.9211
86 | 2658052.6726 | 1174761.1174 | 2658045.3557 | 1174764.9211
87 | 2658059.1071 | 1174757.7723 | 2658052.6726 | 1174761.1174
88 | 2658059.1071 | 1174757.7723 | 2658065.7568 | 1174771.6342
89 | 2658059.1071 | 1174757.7723 | 2658068.6465 | 1174753.4893
90 | 2658068.6465 | 1174753.4893 | 2658111.73 | 1174742.095
91 | 2658111.73 | 1174742.095 | 2658116.9932 | 1174748.0936 | 2658118.3046 | 1174753.2092 | 2658117.8931 | 1174762.2584

## bus_geodata
| x | y | coords
0 | 2657891.3417 | 1174980.0366
1 | 2657902.2875 | 1174973.8195
2 | 2657910.5831 | 1174969.1077
3 | 2657924.3407 | 1174961.2934
4 | 2657927.4924 | 1174959.5033
5 | 2657912.1813 | 1174898.8059
6 | 2657906.9773 | 1174891.6924
7 | 2657925.8426 | 1174930.7916
8 | 2657894.2921 | 1174874.3528
9 | 2657912.0558 | 1174938.3655
10 | 2657930.7958 | 1174939.9212
11 | 2657887.267 | 1174864.7499
12 | 2657894.8355 | 1174947.8256
13 | 2657938.1391 | 1174953.4561
14 | 2657866.2848 | 1174879.8712
15 | 2657908.1336 | 1174850.2463
16 | 2657876.2266 | 1174958.0485
17 | 2657947.6644 | 1174967.2876
18 | 2657966.5539 | 1174994.7165
19 | 2657926.0907 | 1174837.765
20 | 2657949.5245 | 1174872.3279
21 | 2657953.2142 | 1174817.9973
22 | 2657953.1576 | 1174877.6863
23 | 2657953.5632 | 1174817.7429
24 | 2657848.4605 | 1174892.7166
25 | 2657967.7038 | 1174899.1407
26 | 2657968.6852 | 1174807.4816
27 | 2657841.4958 | 1174897.736
28 | 2657973.0997 | 1175004.2215
29 | 2657978.7757 | 1174915.4707
30 | 2657983.44 | 1174922.3502
31 | 2657993.6247 | 1174935.8944
32 | 2658000.0453 | 1174944.3641
33 | 2658015.1445 | 1174964.2822
34 | 2658010.4477 | 1174958.0864
35 | 2658028.7223 | 1174982.1932
36 | 2658042.9826 | 1175001.0046
37 | 2658043.0452 | 1175001.0873
38 | 2658063.631 | 1175028.2429
39 | 2657982.6025 | 1174997.971
40 | 2657972.4559 | 1175004.6362
41 | 2657989.0573 | 1174993.7254
42 | 2657961.0185 | 1175012.0041
43 | 2657953.1161 | 1175017.0948
44 | 2658081.5188 | 1175067.2023
45 | 2658052.691 | 1175041.7432
46 | 2658079.004 | 1175013.9571
47 | 2658087.1341 | 1175074.6513
48 | 2658039.2192 | 1175058.3679
49 | 2658087.5324 | 1175007.4404
50 | 2658067.6651 | 1175094.0848
51 | 2658117.6927 | 1175046.9095
52 | 2658033.6976 | 1175064.8079
53 | 2658098.9185 | 1175001.6595
54 | 2658145.0166 | 1174979.7446
55 | 2658169.3216 | 1174970.8693
56 | 2658134.5676 | 1174983.5602
57 | 2658172.9068 | 1174969.5601
58 | 2658139.5619 | 1174994.8029
59 | 2658122.0266 | 1174989.9274
60 | 2658122.6414 | 1174948.7922
61 | 2658112.4668 | 1174953.5811
62 | 2658109.6033 | 1174872.0171
63 | 2658095.3049 | 1174963.1717
64 | 2658007.5764 | 1175095.9409
65 | 2658019.7037 | 1175081.1293
66 | 2657946.6568 | 1175021.0403
67 | 2657939.3256 | 1175025.2327
68 | 2657930.0002 | 1175030.5656
69 | 2657921.8091 | 1175035.2498
70 | 2657911.1647 | 1175041.337
71 | 2657974.6551 | 1174803.8691
72 | 2657977.1391 | 1174820.4532
73 | 2657983.5121 | 1174798.5096
74 | 2657986.4578 | 1174840.2379
75 | 2658000.3851 | 1174788.2994
76 | 2658079.4116 | 1174972.0534
77 | 2658005.1938 | 1174796.2909
78 | 2658005.1205 | 1174796.1691
79 | 2658014.8248 | 1174812.2966
80 | 2658013.6735 | 1174781.3913
81 | 2658014.2487 | 1174781.0923
82 | 2658019.6018 | 1174778.3095
83 | 2658026.3053 | 1174774.8246
84 | 2658033.9163 | 1174770.868
85 | 2658040.3059 | 1174767.5463
86 | 2658045.3557 | 1174764.9211
87 | 2658052.6726 | 1174761.1174
88 | 2658065.7568 | 1174771.6342
89 | 2658059.1071 | 1174757.7723
90 | 2658068.6465 | 1174753.4893
91 | 2658111.73 | 1174742.095
92 | 2658117.8931 | 1174762.2584
93 | 2658063.631 | 1175028.2429

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1