## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_786-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_786-1_0_2_node_86 | 0.4 | n |  | TRUE
2 | bus_LV_786-1_0_2_node_131 | 0.4 | n |  | TRUE
3 | bus_LV_786-1_0_2_node_15 | 0.4 | n |  | TRUE
4 | bus_LV_786-1_0_2_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_786-1_0_2_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_786-1_0_2_node_134 | 0.4 | n |  | TRUE
7 | bus_LV_786-1_0_2_node_135 | 0.4 | n |  | TRUE
8 | bus_LV_786-1_0_2_node_136 | 0.4 | n |  | TRUE
9 | bus_LV_786-1_0_2_node_150 | 0.4 | n |  | TRUE
10 | bus_LV_786-1_0_2_node_137 | 0.4 | n |  | TRUE
11 | bus_LV_786-1_0_2_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_786-1_0_2_node_139 | 0.4 | n |  | TRUE
13 | bus_LV_786-1_0_2_node_146 | 0.4 | n |  | TRUE
14 | bus_LV_786-1_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_786-1_0_2_node_143 | 0.4 | n |  | TRUE
16 | bus_LV_786-1_0_2_node_147 | 0.4 | n |  | TRUE
17 | bus_LV_786-1_0_2_node_148 | 0.4 | n |  | TRUE
18 | bus_LV_786-1_0_2_node_140 | 0.4 | n |  | TRUE
19 | bus_LV_786-1_0_2_node_141 | 0.4 | n |  | TRUE
20 | bus_LV_786-1_0_2_node_142 | 0.4 | n |  | TRUE
21 | bus_LV_786-1_0_2_node_144 | 0.4 | n |  | TRUE
22 | bus_LV_786-1_0_2_node_173 | 0.4 | n |  | TRUE
23 | bus_LV_786-1_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_786-1_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_786-1_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_786-1_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_786-1_0_2_node_172 | 0.4 | n |  | TRUE
28 | bus_LV_786-1_0_2_node_145 | 0.4 | n |  | TRUE
29 | bus_LV_786-1_0_2_node_152 | 0.4 | n |  | TRUE
30 | bus_LV_786-1_0_2_node_107 | 0.4 | n |  | TRUE
31 | bus_LV_786-1_0_2_node_149 | 0.4 | n |  | TRUE
32 | bus_LV_786-1_0_2_node_174 | 0.4 | n |  | TRUE
33 | bus_LV_786-1_0_2_node_188 | 0.4 | n |  | TRUE
34 | bus_LV_786-1_0_2_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_786-1_0_2_node_189 | 0.4 | n |  | TRUE
36 | bus_LV_786-1_0_2_node_190 | 0.4 | n |  | TRUE
37 | bus_LV_786-1_0_2_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_786-1_0_2_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_786-1_0_2_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_786-1_0_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_786-1_0_2_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_786-1_0_2_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_786-1_0_2_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_786-1_0_2_node_91 | 0.4 | n |  | TRUE
45 | bus_LV_786-1_0_2_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_786-1_0_2_node_105 | 0.4 | n |  | TRUE
47 | bus_LV_786-1_0_2_node_111 | 0.4 | n |  | TRUE
48 | bus_LV_786-1_0_2_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_786-1_0_2_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_786-1_0_2_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_786-1_0_2_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_786-1_0_2_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_786-1_0_2_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_786-1_0_2_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_786-1_0_2_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_786-1_0_2_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_786-1_0_2_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_786-1_0_2_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_786-1_0_2_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_786-1_0_2_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_786-1_0_2_node_106 | 0.4 | n |  | TRUE
62 | bus_LV_786-1_0_2_node_109 | 0.4 | n |  | TRUE
63 | bus_MV_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_786-1_0_2_load_0 | 0 | 0.00036516 | 9.1518e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_786-1_0_2_load_131 | 2 | 0.00013904 | 3.4846e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_786-1_0_2_load_132 | 4 | 0.00012018 | 3.0121e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_786-1_0_2_load_134 | 6 | 0.00011705 | 2.9336e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_786-1_0_2_load_135 | 7 | 0.00012578 | 3.1524e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_786-1_0_2_load_136 | 8 | 0.00013493 | 3.3818e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_786-1_0_2_load_150 | 9 | 0.00014875 | 3.7281e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_786-1_0_2_load_137 | 10 | 0.00015371 | 3.8524e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_786-1_0_2_load_138 | 11 | 0.00010225 | 2.5626e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_786-1_0_2_load_146 | 13 | 0.00014372 | 3.6019e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_786-1_0_2_load_10 | 14 | 0.00010256 | 2.5704e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_786-1_0_2_load_143 | 15 | 0.0001238 | 3.1027e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_786-1_0_2_load_147 | 16 | 0.00011057 | 2.7711e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_786-1_0_2_load_148 | 17 | 0.00015903 | 3.9857e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_786-1_0_2_load_140 | 18 | 0.00013128 | 3.2903e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_786-1_0_2_load_142 | 20 | 0.00021087 | 5.285e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_786-1_0_2_load_144 | 21 | 0.00015703 | 3.9356e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_786-1_0_2_load_20 | 24 | 0.00027426 | 6.8736e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_786-1_0_2_load_19 | 25 | 0.00012466 | 3.1243e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_786-1_0_2_load_18 | 26 | 0.00018964 | 4.7528e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_786-1_0_2_load_152 | 29 | 0.00012185 | 3.0539e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_786-1_0_2_load_107 | 30 | 0.00012542 | 3.1433e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_786-1_0_2_load_149 | 31 | 0.00010217 | 2.5606e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_786-1_0_2_load_174 | 32 | 0.00012076 | 3.0264e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_786-1_0_2_load_188 | 33 | 0.00060173 | 0.00015081 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_786-1_0_2_load_190 | 36 | 0.00042989 | 0.00010774 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_786-1_0_2_load_83 | 37 | 0.00070215 | 0.00017597 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_786-1_0_2_load_84 | 38 | 0.00022715 | 5.6929e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_786-1_0_2_load_85 | 39 | 0.00022835 | 5.723e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_786-1_0_2_load_88 | 41 | 0.00036557 | 9.1621e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_786-1_0_2_load_105 | 46 | 0.00025295 | 6.3396e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_786-1_0_2_load_111 | 47 | 0.00054332 | 0.00013617 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_786-1_0_2_load_92 | 48 | 0.0002171 | 5.4411e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_786-1_0_2_load_93 | 49 | 0.00031358 | 7.8591e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_786-1_0_2_load_94 | 50 | 0.00063084 | 0.0001581 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_786-1_0_2_load_95 | 51 | 0.00058815 | 0.0001474 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_786-1_0_2_load_97 | 53 | 0.00031562 | 7.9102e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_786-1_0_2_load_98 | 54 | 0.00053037 | 0.00013292 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_786-1_0_2_load_99 | 55 | 0.00032692 | 8.1934e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_786-1_0_2_load_100 | 56 | 0.00031604 | 7.9207e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_786-1_0_2_load_104 | 57 | 0.00025865 | 6.4823e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_786-1_0_2_load_102 | 59 | 0.00047694 | 0.00011953 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_786-1_0_2_load_106 | 61 | 0.0011642 | 0.00029178 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_786-1_0_2_load_109 | 62 | 0.00049674 | 0.00012449 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_786-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.37556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_786-1_0_2_line_1 | NAYY 4x150 SE | 1 | 41 | 0.023363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_786-1_0_2_line_2 | NAYY 4x150 SE | 1 | 42 | 0.16424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_786-1_0_2_line_3 | NAYY 4x150 SE | 1 | 43 | 0.14885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_786-1_0_2_line_4 | NAYY 4x150 SE | 1 | 38 | 0.042975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_786-1_0_2_line_5 | NAYY 4x150 SE | 2 | 3 | 0.5653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_786-1_0_2_line_6 | NAYY 4x150 SE | 2 | 4 | 0.0067191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_786-1_0_2_line_7 | NAYY 4x150 SE | 2 | 5 | 0.04702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_786-1_0_2_line_8 | NAYY 4x150 SE | 3 | 22 | 0.020231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_786-1_0_2_line_9 | NAYY 4x150 SE | 3 | 14 | 0.074909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_786-1_0_2_line_10 | NAYY 4x150 SE | 4 | 6 | 0.0075102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_786-1_0_2_line_11 | NAYY 4x150 SE | 5 | 7 | 0.1167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_786-1_0_2_line_12 | NAYY 4x150 SE | 5 | 8 | 0.22769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_786-1_0_2_line_13 | NAYY 4x150 SE | 5 | 9 | 0.23098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_786-1_0_2_line_14 | NAYY 4x150 SE | 6 | 10 | 0.003395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_786-1_0_2_line_15 | NAYY 4x150 SE | 7 | 11 | 0.13111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_786-1_0_2_line_16 | NAYY 4x150 SE | 8 | 12 | 0.24767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_786-1_0_2_line_17 | NAYY 4x150 SE | 10 | 13 | 0.1616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_786-1_0_2_line_18 | NAYY 4x150 SE | 11 | 15 | 0.076252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_786-1_0_2_line_19 | NAYY 4x150 SE | 12 | 16 | 0.18316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_786-1_0_2_line_20 | NAYY 4x150 SE | 12 | 17 | 0.11008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_786-1_0_2_line_21 | NAYY 4x150 SE | 13 | 30 | 0.016761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_786-1_0_2_line_22 | NAYY 4x150 SE | 15 | 19 | 0.037904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_786-1_0_2_line_23 | NAYY 4x150 SE | 17 | 31 | 0.051893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_786-1_0_2_line_24 | NAYY 4x150 SE | 18 | 19 | 0.125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_786-1_0_2_line_25 | NAYY 4x150 SE | 18 | 20 | 0.28284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_786-1_0_2_line_26 | NAYY 4x150 SE | 19 | 21 | 0.041794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_786-1_0_2_line_27 | NAYY 4x150 SE | 21 | 28 | 0.0047738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_786-1_0_2_line_28 | NAYY 4x150 SE | 22 | 32 | 0.042732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_786-1_0_2_line_29 | NAYY 4x150 SE | 22 | 27 | 0.083921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_786-1_0_2_line_30 | NAYY 4x150 SE | 23 | 24 | 0.13326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_786-1_0_2_line_31 | NAYY 4x150 SE | 23 | 25 | 0.15872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_786-1_0_2_line_32 | NAYY 4x150 SE | 24 | 27 | 0.02231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_786-1_0_2_line_33 | NAYY 4x150 SE | 25 | 26 | 0.012102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_786-1_0_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.094195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_786-1_0_2_line_35 | NAYY 4x150 SE | 30 | 56 | 0.076059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_786-1_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.14741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_786-1_0_2_line_37 | NAYY 4x150 SE | 34 | 47 | 0.14096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_786-1_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.15806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_786-1_0_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.22118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_786-1_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.030682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_786-1_0_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.3841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_786-1_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.24805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_786-1_0_2_line_43 | NAYY 4x150 SE | 40 | 44 | 0.23335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_786-1_0_2_line_44 | NAYY 4x150 SE | 42 | 45 | 0.045218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_786-1_0_2_line_45 | NAYY 4x150 SE | 42 | 46 | 0.15476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_786-1_0_2_line_46 | NAYY 4x150 SE | 43 | 47 | 0.21256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_786-1_0_2_line_47 | NAYY 4x150 SE | 44 | 48 | 0.098441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_786-1_0_2_line_48 | NAYY 4x150 SE | 45 | 62 | 0.093078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_786-1_0_2_line_49 | NAYY 4x150 SE | 46 | 59 | 0.0087661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_786-1_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0056346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_786-1_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.23474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_786-1_0_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.06944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_786-1_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.15283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_786-1_0_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.032033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_786-1_0_2_line_55 | NAYY 4x150 SE | 52 | 55 | 0.02435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_786-1_0_2_line_56 | NAYY 4x150 SE | 53 | 56 | 0.046171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_786-1_0_2_line_57 | NAYY 4x150 SE | 54 | 57 | 0.0045526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_786-1_0_2_line_58 | NAYY 4x150 SE | 55 | 58 | 0.17233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_786-1_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.31781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_786-1_0_2_line_60 | NAYY 4x150 SE | 58 | 60 | 0.095934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_786-1_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.054267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_786-1_0_2_trafo_98 | 0.25 MVA 20/0.4 kV | 63 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2656151.3614 | 1172225.8676 | 2655822.5193 | 1172407.2805
1 | 2656173.5069 | 1172218.2371 | 2656151.3614 | 1172225.8676
2 | 2656186.7264 | 1172087.1893 | 2656142.8754 | 1172129.7359 | 2656146.6611 | 1172146.1357 | 2656142.5388 | 1172165.7301 | 2656133.4055 | 1172181.3422 | 2656142.1229 | 1172198.7554 | 2656146.7984 | 1172215.7083 | 2656151.3614 | 1172225.8676
3 | 2656090.8949 | 1172113.2746 | 2656087.8891 | 1172112.435 | 2656084.8386 | 1172112.2842 | 2656082.1348 | 1172113.5041 | 2656080.3038 | 1172115.4547 | 2656078.6781 | 1172119.1749 | 2656078.4473 | 1172124.2311 | 2656080.778 | 1172129.3779 | 2656104.0454 | 1172150.6956 | 2656113.1574 | 1172158.6295 | 2656133.4055 | 1172181.3422 | 2656142.1229 | 1172198.7554 | 2656146.7984 | 1172215.7083 | 2656151.3614 | 1172225.8676
4 | 2656151.3614 | 1172225.8676 | 2656151.9983 | 1172227.2854 | 2656156.0486 | 1172231.748 | 2656158.901 | 1172233.4422 | 2656176.9017 | 1172239.625 | 2656183.3379 | 1172244.1321 | 2656186.7048 | 1172248.077
5 | 2656716.5413 | 1173492.492 | 2656965.9114 | 1172985.1705
6 | 2656965.9114 | 1172985.1705 | 2656960.1607 | 1172981.6956
7 | 2657010.6629 | 1172997.3611 | 2657004.2479 | 1172998.0228 | 2656970.1981 | 1172987.7608 | 2656965.9114 | 1172985.1705
8 | 2656716.5413 | 1173492.492 | 2656707.0134 | 1173489.2113 | 2656697.3085 | 1173486.0513
9 | 2656716.5413 | 1173492.492 | 2656728.5712 | 1173507.7584 | 2656757.2769 | 1173525.695 | 2656771.9978 | 1173541.5335
10 | 2656960.1607 | 1172981.6956 | 2656960.1607 | 1172981.6956 | 2656956.3523 | 1172975.2226
11 | 2657010.6629 | 1172997.3611 | 2657018.2922 | 1172992.8644 | 2657026.3093 | 1172980.5449 | 2657040.933 | 1172956.2704 | 2657045.1097 | 1172945.7043 | 2657045.1826 | 1172938.0341 | 2657042.8089 | 1172930.2851 | 2657030.1553 | 1172912.2106 | 2657028.9902 | 1172906.8522 | 2657029.7869 | 1172902.6797 | 2657033.9788 | 1172898.5617
12 | 2657010.6629 | 1172997.3611 | 2657016.4658 | 1172998.3501 | 2657023.9446 | 1172998.4211 | 2657031.5864 | 1172996.626 | 2657039.5824 | 1172992.1773 | 2657054.6807 | 1172981.5371 | 2657068.8739 | 1172973.6009 | 2657079.3432 | 1172968.82 | 2657089.523 | 1172967.9496 | 2657095.1611 | 1172967.7697 | 2657104.2974 | 1172964.0434 | 2657117.61 | 1172957.044 | 2657132.5928 | 1172952.9398 | 2657158.5509 | 1172948.7622 | 2657165.6936 | 1172945.584 | 2657181.0749 | 1172938.9935 | 2657194.8347 | 1172937.2458 | 2657221.5393 | 1172937.4113 | 2657224.8993 | 1172937.2656
13 | 2657010.6629 | 1172997.3611 | 2657131.4613 | 1173194.2329
14 | 2656955.9589 | 1172971.8505 | 2656956.3523 | 1172975.2226 | 2656956.3523 | 1172975.2226
15 | 2657110.3283 | 1172862.2895 | 2657109.2331 | 1172872.896 | 2657110.6214 | 1172884.5378 | 2657111.6667 | 1172895.2425 | 2657110.5168 | 1172902.769 | 2657104.9227 | 1172911.9764 | 2657096.4397 | 1172916.9652 | 2657091.9259 | 1172917.9339 | 2657085.1035 | 1172917.9913 | 2657076.7996 | 1172917.0119 | 2657068.3973 | 1172915.131 | 2657057.6629 | 1172909.9707 | 2657048.7238 | 1172900.1804 | 2657044.6457 | 1172897.1511 | 2657038.5552 | 1172896.6374 | 2657033.9788 | 1172898.5617
16 | 2657448.7324 | 1172932.6552 | 2657444.036 | 1172932.7214 | 2657434.1735 | 1172933.1829 | 2657426.0195 | 1172934.9392 | 2657418.4774 | 1172935.8788 | 2657411.7822 | 1172939.4278 | 2657400.0332 | 1172946.8307 | 2657392.2081 | 1172948.5791 | 2657370.1927 | 1172948.302 | 2657362.1499 | 1172949.6259 | 2657355.8764 | 1172953.0678 | 2657350.4732 | 1172962.2769 | 2657346.085 | 1172966.1148 | 2657338.3604 | 1172968.5535 | 2657323.7977 | 1172968.6924 | 2657309.8473 | 1172964.7793 | 2657298.3428 | 1172963.4133 | 2657284.9031 | 1172964.4746 | 2657275.4529 | 1172963.4172 | 2657269.02 | 1172960.3319 | 2657259.5207 | 1172947.5788 | 2657252.0931 | 1172938.9255 | 2657245.2879 | 1172936.3815 | 2657224.8993 | 1172937.2656
17 | 2656886.1622 | 1172836.5869 | 2656899.5274 | 1172853.6064 | 2656912.2774 | 1172870.4475 | 2656926.8287 | 1172894.921 | 2656934.6133 | 1172903.8886 | 2656947.6712 | 1172912.4393 | 2656955.6774 | 1172922.2205 | 2656957.5923 | 1172930.7767 | 2656955.2461 | 1172943.5059 | 2656953.9618 | 1172954.7332 | 2656955.9589 | 1172971.8505
18 | 2657172.3181 | 1172833.351 | 2657155.1442 | 1172839.8813 | 2657141.8771 | 1172842.8789 | 2657126.9941 | 1172841.2809 | 2657120.9413 | 1172842.4351 | 2657115.8865 | 1172847.2008 | 2657112.0752 | 1172854.7131 | 2657110.3283 | 1172862.2895
19 | 2657448.7324 | 1172932.6552 | 2657454.8169 | 1172934.5811 | 2657478.791 | 1172941.1585 | 2657486.2927 | 1172942.0419 | 2657493.4604 | 1172941.0655 | 2657510.9146 | 1172932.8837 | 2657524.0226 | 1172924.1489 | 2657536.4901 | 1172913.6181 | 2657548.2817 | 1172900.9908 | 2657556.1652 | 1172894.7629 | 2657567.4073 | 1172893.192 | 2657582.2928 | 1172891.3114 | 2657614.7429 | 1172888.9102
20 | 2657448.7324 | 1172932.6552 | 2657443.5089 | 1172939.0532 | 2657429.1465 | 1172953.4237 | 2657426.4688 | 1172958.323 | 2657423.398 | 1172968.3325 | 2657419.9667 | 1172971.2679 | 2657412.5607 | 1172974.7769 | 2657386.8141 | 1172988.8163 | 2657382.1221 | 1172992.429 | 2657381.8261 | 1172997.7958 | 2657383.7504 | 1173002.1054 | 2657385.4846 | 1173009.299
21 | 2656886.1622 | 1172836.5869 | 2656877.9605 | 1172826.1426 | 2656876.1965 | 1172823.1413
22 | 2657205.4729 | 1172817.6482 | 2657202.235 | 1172822.7646 | 2657195.1032 | 1172826.3876 | 2657179.246 | 1172830.7168 | 2657172.3181 | 1172833.351
23 | 2657347.255 | 1173034.9749 | 2657351.6078 | 1173034.0381 | 2657361.8733 | 1173030.5898 | 2657371.7069 | 1173025.1363 | 2657381.8981 | 1173020.6645 | 2657385.6425 | 1173018.577 | 2657387.2853 | 1173015.5243 | 2657385.9719 | 1173011.3206 | 2657385.4846 | 1173009.299
24 | 2657205.4729 | 1172817.6482 | 2657210.1126 | 1172811.5002 | 2657214.4216 | 1172804.7486 | 2657217.702 | 1172799.9995 | 2657221.3136 | 1172795.7983 | 2657227.7321 | 1172790.79 | 2657235.762 | 1172786.0306 | 2657243.349 | 1172781.2002 | 2657249.1916 | 1172777.2426 | 2657256.4156 | 1172769.574 | 2657261.9691 | 1172761.4447 | 2657264.7763 | 1172759.8039 | 2657268.2506 | 1172758.7809 | 2657272.9379 | 1172758.8812 | 2657278.6273 | 1172759.7692 | 2657286.5549 | 1172760.1228 | 2657293.0804 | 1172760.741 | 2657299.5985 | 1172762.1372 | 2657305.1502 | 1172762.8045
25 | 2657520.0952 | 1172662.7569 | 2657466.142 | 1172663.074 | 2657457.6448 | 1172663.882 | 2657451.4192 | 1172666.2794 | 2657447.4757 | 1172669.9659 | 2657440.2726 | 1172675.4111 | 2657435.2163 | 1172678.6979 | 2657425.7304 | 1172683.7322 | 2657420.0659 | 1172686.6352 | 2657413.9912 | 1172690.8572 | 2657409.0196 | 1172696.4905 | 2657406.6829 | 1172701.7044 | 2657404.8483 | 1172706.4116 | 2657401.8077 | 1172714.8539 | 2657398.8432 | 1172720.94 | 2657396.2944 | 1172725.1513 | 2657389.7304 | 1172734.1602 | 2657385.7119 | 1172739.3024 | 2657382.374 | 1172744.4511 | 2657379.8043 | 1172750.0407 | 2657379.1446 | 1172755.0483 | 2657379.1359 | 1172761.5628 | 2657378.3042 | 1172766.9579 | 2657376.2435 | 1172772.1188 | 2657373.303 | 1172775.7038 | 2657368.8039 | 1172779.1182 | 2657363.4829 | 1172780.5126 | 2657354.9016 | 1172778.9298 | 2657346.7225 | 1172775.283 | 2657328.7995 | 1172769.2642 | 2657320.5672 | 1172765.5725 | 2657314.0577 | 1172763.2758 | 2657308.1392 | 1172763.1637 | 2657305.1502 | 1172762.8045
26 | 2657205.4729 | 1172817.6482 | 2657205.4941 | 1172806.5979 | 2657200.5865 | 1172776.2484
27 | 2657199.8245 | 1172771.5359 | 2657200.5865 | 1172776.2484
28 | 2656697.3085 | 1173486.0513 | 2656699.8383 | 1173490.2442 | 2656701.633 | 1173493.7408 | 2656701.7259 | 1173497.6661 | 2656701.6508 | 1173502.379 | 2656701.3021 | 1173507.7231 | 2656700.9404 | 1173512.0109 | 2656702.469 | 1173515.3383 | 2656704.8566 | 1173521.631 | 2656706.8378 | 1173526.454
29 | 2656639.5285 | 1173509.4078 | 2656642.9935 | 1173501.2027 | 2656644.0015 | 1173490.8176 | 2656645.4529 | 1173482.071 | 2656650.2581 | 1173476.9135 | 2656657.7669 | 1173475.3612 | 2656669.5454 | 1173476.7731 | 2656697.3085 | 1173486.0513
30 | 2656579.8919 | 1173638.9055 | 2656588.9029 | 1173621.5587 | 2656596.0643 | 1173611.4095 | 2656604.4053 | 1173602.6833 | 2656628.893 | 1173591.1078 | 2656634.6152 | 1173585.1919 | 2656637.3301 | 1173575.4455 | 2656637.5579 | 1173544.0082 | 2656638.2599 | 1173531.6814
31 | 2656579.8919 | 1173638.9055 | 2656581.4942 | 1173619.8101 | 2656578.1946 | 1173611.2855 | 2656571.7528 | 1173609.1792 | 2656551.4493 | 1173619.8272 | 2656521.4161 | 1173629.1607 | 2656502.3897 | 1173624.379 | 2656485.2778 | 1173600.605 | 2656473.6741 | 1173583.8821
32 | 2656639.5285 | 1173509.4078 | 2656638.2599 | 1173531.6814
33 | 2656473.6741 | 1173583.8821 | 2656466.7751 | 1173573.9394
34 | 2657262.9426 | 1172705.8902 | 2657250.1884 | 1172708.0031 | 2657243.7673 | 1172714.0675 | 2657240.8008 | 1172720.3871 | 2657231.5226 | 1172732.5387 | 2657222.3568 | 1172744.9248 | 2657214.7907 | 1172753.9799 | 2657199.8245 | 1172771.5359
35 | 2656850.4892 | 1172752.6424 | 2656861.5631 | 1172772.8694 | 2656864.8765 | 1172782.3726 | 2656867.0413 | 1172801.7037 | 2656870.5618 | 1172813.5546 | 2656876.1965 | 1172823.1413
36 | 2655957.2887 | 1171808.3847 | 2655849.4788 | 1171908.9141
37 | 2655957.2887 | 1171808.3847 | 2655955.1118 | 1171820.371 | 2655973.9631 | 1171861.0021 | 2655984.6527 | 1171886.0264 | 2655993.1481 | 1171908.4734 | 2656006.4446 | 1171922.983 | 2656002.9078 | 1171935.5902
38 | 2655957.2887 | 1171808.3847 | 2655824.8336 | 1171722.1389
39 | 2655824.8336 | 1171722.1389 | 2655830.0304 | 1171726.7563 | 2655837.3125 | 1171738.2858 | 2655828.1318 | 1171820.7232 | 2655822.1884 | 1171830.5844 | 2655808.4079 | 1171834.3473 | 2655790.7875 | 1171832.3382 | 2655781.7375 | 1171834.0995 | 2655777.815 | 1171837.2315 | 2655775.9185 | 1171842.1165 | 2655775.692 | 1171845.0827 | 2655775.4541 | 1171848.4601 | 2655771.5259 | 1171851.3808 | 2655751.166 | 1171856.9171 | 2655731.1668 | 1171867.2705
40 | 2656200.6674 | 1172275.3028 | 2656188.5507 | 1172250.2397 | 2656186.7048 | 1172248.077
41 | 2656200.6674 | 1172275.3028 | 2656203.3549 | 1172280.8616 | 2656207.4377 | 1172289.1932 | 2656222.7539 | 1172313.3053 | 2656230.9593 | 1172322.4537 | 2656243.8291 | 1172331.7237 | 2656252.1824 | 1172336.5045 | 2656263.8762 | 1172339.8603 | 2656282.3155 | 1172344.0798 | 2656294.8515 | 1172348.1551 | 2656306.5312 | 1172352.2001 | 2656316.278 | 1172355.9935 | 2656326.5345 | 1172360.9035 | 2656335.5969 | 1172367.5476 | 2656343.4767 | 1172377.9494 | 2656354.549 | 1172390.4601 | 2656365.2692 | 1172396.4751 | 2656375.342 | 1172403.8403 | 2656382.1883 | 1172414.3214 | 2656388.0429 | 1172425.349 | 2656401.6862 | 1172481.6857 | 2656402.2696 | 1172486.3492 | 2656401.6395 | 1172491.5462 | 2656398.6241 | 1172502.3348 | 2656390.1637 | 1172531.7937 | 2656389.4426 | 1172545.8613 | 2656389.4472 | 1172555.104
42 | 2656488.2639 | 1172777.7609 | 2656475.6928 | 1172751.5062 | 2656469.7931 | 1172742.8904 | 2656463.032 | 1172735.6007 | 2656456.7487 | 1172725.4805 | 2656432.7358 | 1172663.4321 | 2656422.9976 | 1172631.9234 | 2656417.9987 | 1172622.6492 | 2656405.0876 | 1172611.3551 | 2656401.8075 | 1172606.366 | 2656398.4774 | 1172597.7411 | 2656391.3356 | 1172579.6531 | 2656389.4556 | 1172572.1647 | 2656389.4472 | 1172555.104
43 | 2656444.7119 | 1172906.7442 | 2656448.093 | 1172862.7408 | 2656452.6704 | 1172798.8823 | 2656452.9008 | 1172793.8928 | 2656450.3056 | 1172769.7664 | 2656450.2233 | 1172762.2504 | 2656451.9548 | 1172757.8643 | 2656455.7012 | 1172756.3542 | 2656459.8569 | 1172756.8713 | 2656462.6906 | 1172758.0764 | 2656467.0105 | 1172764.7095 | 2656478.7999 | 1172798.4499 | 2656484.654 | 1172798.0825 | 2656486.1875 | 1172797.6745 | 2656486.963 | 1172796.5367 | 2656486.9527 | 1172794.3799 | 2656486.0535 | 1172791.5922 | 2656485.5017 | 1172788.463 | 2656485.8605 | 1172783.6527 | 2656485.8998 | 1172780.2956 | 2656488.2639 | 1172777.7609
44 | 2656186.7264 | 1172087.1893 | 2656167.919 | 1172069.0813 | 2656156.2754 | 1172060.301 | 2656152.7926 | 1172057.3002
45 | 2656186.7264 | 1172087.1893 | 2656223.3511 | 1172127.8319 | 2656227.8952 | 1172135.9233 | 2656227.1592 | 1172147.5338 | 2656230.0759 | 1172158.7006 | 2656234.7689 | 1172166.4154 | 2656249.2522 | 1172176.5787 | 2656259.3729 | 1172181.3317 | 2656270.3171 | 1172183.9022 | 2656288.189 | 1172179.3309
46 | 2656090.8949 | 1172113.2746 | 2656098.7495 | 1172107.6227 | 2656100.1045 | 1172096.8517 | 2656085.7922 | 1172061.7878 | 2656078.2612 | 1172036.8706 | 2656065.4588 | 1172014.55 | 2656047.3197 | 1171990.3343 | 2656021.8908 | 1171971.0532 | 2656002.9078 | 1171935.5902
47 | 2656444.7119 | 1172906.7442 | 2656441.7792 | 1172898.9902 | 2656438.6897 | 1172884.3198 | 2656434.8201 | 1172869.6532 | 2656430.6937 | 1172859.52 | 2656424.7961 | 1172847.4358 | 2656419.0971 | 1172838.6219 | 2656415.6754 | 1172829.9962 | 2656409.7843 | 1172815.3066
48 | 2656152.7926 | 1172057.3002 | 2656152.3315 | 1172044.4444 | 2656155.62 | 1172036.3263 | 2656157.6912 | 1172029.1417 | 2656158.5299 | 1172018.7995 | 2656157.5853 | 1172011.8424 | 2656155.0971 | 1172006.3606 | 2656152.5643 | 1172003.1907 | 2656147.0656 | 1171999.0037 | 2656140.5395 | 1171995.0739 | 2656136.1024 | 1171989.4294 | 2656134.63 | 1171982.4674 | 2656135.9659 | 1171976.2098 | 2656136.3152 | 1171974.979
49 | 2656288.189 | 1172179.3309 | 2656290.1903 | 1172178.819 | 2656296.4774 | 1172176.502
50 | 2656407.6869 | 1172810.0769 | 2656409.7843 | 1172815.3066
51 | 2656698.7332 | 1172446.9186 | 2656707.3806 | 1172450.4689 | 2656726.7104 | 1172462.369 | 2656738.5036 | 1172468.9173 | 2656751.9432 | 1172475.2477 | 2656760.3398 | 1172480.2409 | 2656768.1418 | 1172487.4519 | 2656786.9636 | 1172507.752 | 2656808.367 | 1172527.6097 | 2656836.5145 | 1172554.902 | 2656855.4185 | 1172578.5938 | 2656870.046 | 1172595.9307 | 2656871.9998 | 1172600.3961
52 | 2656635.3682 | 1172434.5252 | 2656646.7048 | 1172445.7049 | 2656654.6406 | 1172450.1044 | 2656660.9951 | 1172451.0537 | 2656677.097 | 1172448.4153 | 2656688.4967 | 1172447.2222 | 2656698.7332 | 1172446.9186 | 2656698.7332 | 1172446.9186
53 | 2656871.9998 | 1172600.3961 | 2656871.9998 | 1172600.3961 | 2656872.7682 | 1172605.6729 | 2656871.4304 | 1172610.4517 | 2656866.8239 | 1172613.9211 | 2656851.5194 | 1172618.8123 | 2656845.3757 | 1172623.0787 | 2656842.7399 | 1172628.4344 | 2656837.0605 | 1172657.9857 | 2656835.9266 | 1172666.2795 | 2656837.4063 | 1172671.552 | 2656840.9988 | 1172676.6221 | 2656850.3092 | 1172684.4256 | 2656857.8748 | 1172691.5233 | 2656870.8447 | 1172709.4225 | 2656874.9872 | 1172718.589 | 2656874.7964 | 1172720.9922
54 | 2656635.3682 | 1172434.5252 | 2656635.5245 | 1172443.8985 | 2656639.106 | 1172456.6615 | 2656643.2649 | 1172465.0943
55 | 2656635.3682 | 1172434.5252 | 2656631.5961 | 1172427.3746 | 2656626.1872 | 1172420.2309 | 2656620.9331 | 1172415.1553
56 | 2656850.4892 | 1172752.6424 | 2656850.4892 | 1172752.6424 | 2656848.9071 | 1172746.0682 | 2656851.072 | 1172740.3634 | 2656855.0927 | 1172737.3554 | 2656866.5053 | 1172733.9504 | 2656872.7756 | 1172729.2183 | 2656874.5877 | 1172723.6213 | 2656874.7964 | 1172720.9922
57 | 2656645.5508 | 1172469.0292 | 2656643.5789 | 1172465.7308 | 2656643.2649 | 1172465.0943
58 | 2656480.2635 | 1172320.1135 | 2656498.0277 | 1172327.7959 | 2656508.8639 | 1172332.0557 | 2656517.4231 | 1172339.3179 | 2656524.2214 | 1172348.3868 | 2656529.6915 | 1172356.3649 | 2656534.4404 | 1172361.3234 | 2656541.2095 | 1172365.3671 | 2656564.2708 | 1172376.6237 | 2656586.8493 | 1172392.8452 | 2656600.3805 | 1172401.6664 | 2656616.425 | 1172410.8004 | 2656620.9331 | 1172415.1553
59 | 2656480.2635 | 1172320.1135 | 2656476.0107 | 1172318.506 | 2656462.1189 | 1172308.1475 | 2656458.2345 | 1172303.9643 | 2656454.6056 | 1172295.381 | 2656453.7984 | 1172280.3653 | 2656452.0096 | 1172269.6871 | 2656449.3549 | 1172254.2982 | 2656422.4768 | 1172212.8675 | 2656404.953 | 1172189.3123 | 2656397.7419 | 1172182.6298 | 2656394.7497 | 1172173.8303 | 2656390.2231 | 1172163.9046 | 2656369.3975 | 1172136.8054 | 2656357.4802 | 1172129.523 | 2656350.3445 | 1172127.8218 | 2656345.5106 | 1172128.6213 | 2656340.7242 | 1172130.8777 | 2656312.4982 | 1172167.7776 | 2656306.7228 | 1172172.7261 | 2656296.4774 | 1172176.502
60 | 2656569.4126 | 1172341.5085 | 2656562.2127 | 1172341.7853 | 2656556.4271 | 1172338.8848 | 2656549.7806 | 1172333.1969 | 2656543.7263 | 1172327.9704 | 2656539.3338 | 1172325.7612 | 2656532.7557 | 1172325.7993 | 2656523.1929 | 1172328.4552 | 2656515.3593 | 1172327.8033 | 2656497.3198 | 1172320.9299 | 2656491.5785 | 1172319.8197 | 2656480.2635 | 1172320.1135
61 | 2656569.4126 | 1172341.5085 | 2656572.5693 | 1172341.7383 | 2656576.4674 | 1172343.6428 | 2656593.2573 | 1172355.6742 | 2656601.0191 | 1172364.7522 | 2656607.9768 | 1172377.1802

## bus_geodata
| x | y | coords
0 | 2655822.5193 | 1172407.2805
1 | 2656151.3614 | 1172225.8676
2 | 2656965.9114 | 1172985.1705
3 | 2656716.5413 | 1173492.492
4 | 2656960.1607 | 1172981.6956
5 | 2657010.6629 | 1172997.3611
6 | 2656956.3523 | 1172975.2226
7 | 2657033.9788 | 1172898.5617
8 | 2657224.8993 | 1172937.2656
9 | 2657131.4613 | 1173194.2329
10 | 2656955.9589 | 1172971.8505
11 | 2657110.3283 | 1172862.2895
12 | 2657448.7324 | 1172932.6552
13 | 2656886.1622 | 1172836.5869
14 | 2656771.9978 | 1173541.5335
15 | 2657172.3181 | 1172833.351
16 | 2657614.7429 | 1172888.9102
17 | 2657385.4846 | 1173009.299
18 | 2657305.1502 | 1172762.8045
19 | 2657205.4729 | 1172817.6482
20 | 2657520.0952 | 1172662.7569
21 | 2657200.5865 | 1172776.2484
22 | 2656697.3085 | 1173486.0513
23 | 2656579.8919 | 1173638.9055
24 | 2656638.2599 | 1173531.6814
25 | 2656473.6741 | 1173583.8821
26 | 2656466.7751 | 1173573.9394
27 | 2656639.5284 | 1173509.4078
28 | 2657199.8245 | 1172771.5359
29 | 2657262.9426 | 1172705.8902
30 | 2656876.1965 | 1172823.1413
31 | 2657347.255 | 1173034.9749
32 | 2656706.8378 | 1173526.454
33 | 2655849.4788 | 1171908.9141
34 | 2655957.2887 | 1171808.3847
35 | 2655824.8336 | 1171722.1389
36 | 2655731.1668 | 1171867.2705
37 | 2656200.6674 | 1172275.3027
38 | 2656186.7048 | 1172248.077
39 | 2656389.4472 | 1172555.104
40 | 2656488.2639 | 1172777.7609
41 | 2656173.5069 | 1172218.2371
42 | 2656186.7264 | 1172087.1893
43 | 2656090.8949 | 1172113.2746
44 | 2656444.7119 | 1172906.7442
45 | 2656152.7926 | 1172057.3002
46 | 2656288.189 | 1172179.3309
47 | 2656002.9078 | 1171935.5902
48 | 2656409.7843 | 1172815.3066
49 | 2656407.6869 | 1172810.0769
50 | 2656698.7332 | 1172446.9186
51 | 2656871.9998 | 1172600.3961
52 | 2656635.3682 | 1172434.5252
53 | 2656874.7964 | 1172720.9922
54 | 2656643.2649 | 1172465.0943
55 | 2656620.9331 | 1172415.1553
56 | 2656850.4892 | 1172752.6424
57 | 2656645.5508 | 1172469.0292
58 | 2656480.2635 | 1172320.1135
59 | 2656296.4774 | 1172176.502
60 | 2656569.4126 | 1172341.5085
61 | 2656607.9768 | 1172377.1802
62 | 2656136.3152 | 1171974.979
63 | 2656643.2649 | 1172465.0943

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1