## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_786-1_1_3_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_786-1_1_3_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_786-1_1_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_786-1_1_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_786-1_1_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_786-1_1_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_786-1_1_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_786-1_1_3_node_125 | 0.4 | n |  | TRUE
8 | bus_LV_786-1_1_3_node_185 | 0.4 | n |  | TRUE
9 | bus_LV_786-1_1_3_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_786-1_1_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_786-1_1_3_node_124 | 0.4 | n |  | TRUE
12 | bus_LV_786-1_1_3_node_181 | 0.4 | n |  | TRUE
13 | bus_LV_786-1_1_3_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_786-1_1_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_786-1_1_3_node_183 | 0.4 | n |  | TRUE
16 | bus_LV_786-1_1_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_786-1_1_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_786-1_1_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_786-1_1_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_786-1_1_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_786-1_1_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_786-1_1_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_786-1_1_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_786-1_1_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_786-1_1_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_786-1_1_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_786-1_1_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_786-1_1_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_786-1_1_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_786-1_1_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_786-1_1_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_786-1_1_3_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_786-1_1_3_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_786-1_1_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_786-1_1_3_node_166 | 0.4 | n |  | TRUE
36 | bus_LV_786-1_1_3_node_163 | 0.4 | n |  | TRUE
37 | bus_LV_786-1_1_3_node_162 | 0.4 | n |  | TRUE
38 | bus_LV_786-1_1_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_786-1_1_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_786-1_1_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_786-1_1_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_786-1_1_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_786-1_1_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_786-1_1_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_786-1_1_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_786-1_1_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_786-1_1_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_786-1_1_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_786-1_1_3_node_154 | 0.4 | n |  | TRUE
50 | bus_LV_786-1_1_3_node_156 | 0.4 | n |  | TRUE
51 | bus_LV_786-1_1_3_node_153 | 0.4 | n |  | TRUE
52 | bus_LV_786-1_1_3_node_164 | 0.4 | n |  | TRUE
53 | bus_LV_786-1_1_3_node_160 | 0.4 | n |  | TRUE
54 | bus_LV_786-1_1_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_786-1_1_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_786-1_1_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_786-1_1_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_786-1_1_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_786-1_1_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_786-1_1_3_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_786-1_1_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_786-1_1_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_786-1_1_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_786-1_1_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_786-1_1_3_node_171 | 0.4 | n |  | TRUE
66 | bus_LV_786-1_1_3_node_169 | 0.4 | n |  | TRUE
67 | bus_LV_786-1_1_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_786-1_1_3_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_786-1_1_3_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_786-1_1_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_786-1_1_3_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_786-1_1_3_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_786-1_1_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_786-1_1_3_node_170 | 0.4 | n |  | TRUE
75 | bus_LV_786-1_1_3_node_184 | 0.4 | n |  | TRUE
76 | bus_LV_786-1_1_3_node_118 | 0.4 | n |  | TRUE
77 | bus_LV_786-1_1_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_786-1_1_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_786-1_1_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_786-1_1_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_786-1_1_3_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_786-1_1_3_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_786-1_1_3_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_786-1_1_3_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_786-1_1_3_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_786-1_1_3_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_786-1_1_3_node_113 | 0.4 | n |  | TRUE
88 | bus_LV_786-1_1_3_node_122 | 0.4 | n |  | TRUE
89 | bus_LV_786-1_1_3_node_119 | 0.4 | n |  | TRUE
90 | bus_LV_786-1_1_3_node_112 | 0.4 | n |  | TRUE
91 | bus_LV_786-1_1_3_node_120 | 0.4 | n |  | TRUE
92 | bus_LV_786-1_1_3_node_186 | 0.4 | n |  | TRUE
93 | bus_LV_786-1_1_3_node_116 | 0.4 | n |  | TRUE
94 | bus_LV_786-1_1_3_node_117 | 0.4 | n |  | TRUE
95 | bus_LV_786-1_1_3_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_786-1_1_3_node_114 | 0.4 | n |  | TRUE
97 | bus_LV_786-1_1_3_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_786-1_1_3_node_126 | 0.4 | n |  | TRUE
99 | bus_LV_786-1_1_3_node_127 | 0.4 | n |  | TRUE
100 | bus_LV_786-1_1_3_node_128 | 0.4 | n |  | TRUE
101 | bus_LV_786-1_1_3_node_129 | 0.4 | n |  | TRUE
102 | bus_LV_786-1_1_3_node_130 | 0.4 | n |  | TRUE
103 | bus_LV_786-1_1_3_node_180 | 0.4 | n |  | TRUE
104 | bus_LV_786-1_1_3_node_182 | 0.4 | n |  | TRUE
105 | bus_LV_786-1_1_3_node_187 | 0.4 | n |  | TRUE
106 | bus_LV_786-1_1_3_node_176 | 0.4 | n |  | TRUE
107 | bus_LV_786-1_1_3_node_155 | 0.4 | n |  | TRUE
108 | bus_LV_786-1_1_3_node_157 | 0.4 | n |  | TRUE
109 | bus_LV_786-1_1_3_node_158 | 0.4 | n |  | TRUE
110 | bus_LV_786-1_1_3_node_159 | 0.4 | n |  | TRUE
111 | bus_LV_786-1_1_3_node_161 | 0.4 | n |  | TRUE
112 | bus_LV_786-1_1_3_node_178 | 0.4 | n |  | TRUE
113 | bus_LV_786-1_1_3_node_177 | 0.4 | n |  | TRUE
114 | bus_LV_786-1_1_3_node_165 | 0.4 | n |  | TRUE
115 | bus_LV_786-1_1_3_node_167 | 0.4 | n |  | TRUE
116 | bus_LV_786-1_1_3_node_175 | 0.4 | n |  | TRUE
117 | bus_LV_786-1_1_3_node_179 | 0.4 | n |  | TRUE
118 | bus_MV_139_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_786-1_1_3_load_3 | 0 | 0.00035658 | 8.9368e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_786-1_1_3_load_125 | 7 | 0.00012415 | 3.1116e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_786-1_1_3_load_185 | 8 | 0.00010123 | 2.5372e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_786-1_1_3_load_81 | 9 | 0.00015429 | 3.8669e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_786-1_1_3_load_11 | 10 | 0.00017986 | 4.5077e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_786-1_1_3_load_124 | 11 | 0.00012777 | 3.2022e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_786-1_1_3_load_80 | 13 | 0.00033688 | 8.4431e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_786-1_1_3_load_12 | 14 | 0.00012731 | 3.1907e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_786-1_1_3_load_183 | 15 | 0.00044308 | 0.00011105 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_786-1_1_3_load_16 | 18 | 0.00022391 | 5.6117e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_786-1_1_3_load_21 | 19 | 0.0014896 | 0.00037333 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_786-1_1_3_load_22 | 20 | 0.0018558 | 0.00046511 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_786-1_1_3_load_23 | 21 | 0.0011134 | 0.00027906 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_786-1_1_3_load_25 | 23 | 0.001114 | 0.0002792 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_786-1_1_3_load_26 | 24 | 0.0014532 | 0.00036422 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_786-1_1_3_load_27 | 25 | 0.00073208 | 0.00018348 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_786-1_1_3_load_55 | 26 | 0.00087487 | 0.00021926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_786-1_1_3_load_58 | 32 | 0.0011125 | 0.00027883 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_786-1_1_3_load_53 | 33 | 0.001586 | 0.00039748 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_786-1_1_3_load_166 | 35 | 0.00068648 | 0.00017205 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_786-1_1_3_load_163 | 36 | 0.0006831 | 0.0001712 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_786-1_1_3_load_162 | 37 | 0.00021086 | 5.2847e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_786-1_1_3_load_29 | 39 | 0.0004235 | 0.00010614 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_786-1_1_3_load_30 | 40 | 0.00050301 | 0.00012607 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_786-1_1_3_load_32 | 41 | 0.00040386 | 0.00010122 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_786-1_1_3_load_34 | 42 | 0.0011028 | 0.00027639 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_786-1_1_3_load_35 | 43 | 0.00097554 | 0.00024449 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_786-1_1_3_load_36 | 44 | 0.0009034 | 0.00022641 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_786-1_1_3_load_66 | 45 | 0.0008242 | 0.00020656 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_786-1_1_3_load_50 | 47 | 0.00061071 | 0.00015306 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_786-1_1_3_load_156 | 50 | 0.00036081 | 9.0428e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_786-1_1_3_load_153 | 51 | 0.00029076 | 7.2871e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_786-1_1_3_load_164 | 52 | 0.00046737 | 0.00011713 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_786-1_1_3_load_160 | 53 | 0.00015802 | 3.9604e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_786-1_1_3_load_39 | 54 | 0.00073739 | 0.00018481 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_786-1_1_3_load_40 | 55 | 0.01576 | 0.0039499 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_786-1_1_3_load_51 | 57 | 0.0021187 | 0.00053099 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_786-1_1_3_load_52 | 58 | 0.00056761 | 0.00014226 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_786-1_1_3_load_71 | 61 | 0.04756 | 0.01192 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_786-1_1_3_load_75 | 64 | 0.0007955 | 0.00019937 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_786-1_1_3_load_171 | 65 | 0.00080724 | 0.00020231 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_786-1_1_3_load_169 | 66 | 0.00029949 | 7.5059e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_786-1_1_3_load_74 | 68 | 0.00044791 | 0.00011226 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_786-1_1_3_load_77 | 69 | 0.015981 | 0.0040052 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_786-1_1_3_load_70 | 70 | 0.01556 | 0.0038997 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_786-1_1_3_load_76 | 71 | 0.0044079 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_786-1_1_3_load_73 | 73 | 0.00062924 | 0.0001577 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_786-1_1_3_load_170 | 74 | 0.00035956 | 9.0114e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_786-1_1_3_load_184 | 75 | 0.0015333 | 0.00038429 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_786-1_1_3_load_118 | 76 | 0.0014564 | 0.000365 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_786-1_1_3_load_67 | 77 | 0.010415 | 0.0026101 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_786-1_1_3_load_56 | 78 | 0.0010074 | 0.00025247 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_786-1_1_3_load_54 | 79 | 0.00090353 | 0.00022645 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_786-1_1_3_load_68 | 80 | 0.0098882 | 0.0024782 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_786-1_1_3_load_59 | 81 | 0.014549 | 0.0036463 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_786-1_1_3_load_61 | 82 | 0.0070901 | 0.001777 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_786-1_1_3_load_63 | 83 | 0.014933 | 0.0037426 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_786-1_1_3_load_64 | 84 | 0.00095927 | 0.00024042 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_786-1_1_3_load_113 | 87 | 0.00087243 | 0.00021865 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_786-1_1_3_load_122 | 88 | 0.0028185 | 0.00070638 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_786-1_1_3_load_119 | 89 | 0.0039742 | 0.00099602 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_786-1_1_3_load_112 | 90 | 0.0016429 | 0.00041174 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_786-1_1_3_load_120 | 91 | 0.003152 | 0.00078995 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_786-1_1_3_load_186 | 92 | 0.0072659 | 0.001821 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_786-1_1_3_load_117 | 94 | 0.0023481 | 0.00058848 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_786-1_1_3_load_114 | 96 | 0.0017558 | 0.00044003 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_786-1_1_3_load_82 | 97 | 0.00051816 | 0.00012986 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_786-1_1_3_load_126 | 98 | 0.00029232 | 7.3264e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_786-1_1_3_load_129 | 101 | 0.00019311 | 4.8398e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_786-1_1_3_load_130 | 102 | 0.00015292 | 3.8325e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_786-1_1_3_load_187 | 105 | 0.0011293 | 0.00028303 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_786-1_1_3_load_157 | 108 | 0.00034381 | 8.6168e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_786-1_1_3_load_158 | 109 | 0.00029294 | 7.3417e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_786-1_1_3_load_159 | 110 | 0.00012258 | 3.0722e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_786-1_1_3_load_161 | 111 | 0.0001506 | 3.7743e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_786-1_1_3_load_178 | 112 | 0.00011101 | 2.7822e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_786-1_1_3_load_177 | 113 | 0.00020829 | 5.2203e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_786-1_1_3_load_165 | 114 | 0.00060485 | 0.00015159 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_786-1_1_3_load_167 | 115 | 0.0011036 | 0.00027658 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_786-1_1_3_load_175 | 116 | 0.00041311 | 0.00010354 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_786-1_1_3_load_179 | 117 | 0.00018417 | 4.6158e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_786-1_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.046473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_786-1_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_786-1_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.20883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_786-1_1_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.097976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_786-1_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.040022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_786-1_1_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.045668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_786-1_1_3_line_6 | NAYY 4x150 SE | 3 | 8 | 0.22864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_786-1_1_3_line_7 | NAYY 4x150 SE | 4 | 9 | 0.42749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_786-1_1_3_line_8 | NAYY 4x150 SE | 5 | 10 | 0.040064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_786-1_1_3_line_9 | NAYY 4x150 SE | 6 | 7 | 0.28287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_786-1_1_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.075582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_786-1_1_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.056758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_786-1_1_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.020403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_786-1_1_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.15328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_786-1_1_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.15445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_786-1_1_3_line_15 | NAYY 4x150 SE | 11 | 98 | 0.025905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_786-1_1_3_line_16 | NAYY 4x150 SE | 12 | 103 | 0.08218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_786-1_1_3_line_17 | NAYY 4x150 SE | 13 | 97 | 0.008441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_786-1_1_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.047422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_786-1_1_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.21591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_786-1_1_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.038614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_786-1_1_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0095191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_786-1_1_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.026109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_786-1_1_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.025073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_786-1_1_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0022113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_786-1_1_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.019814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_786-1_1_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.02213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_786-1_1_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.016851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_786-1_1_3_line_28 | NAYY 4x150 SE | 26 | 33 | 0.0020097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_786-1_1_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.52673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_786-1_1_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.21211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_786-1_1_3_line_31 | NAYY 4x150 SE | 28 | 34 | 0.20569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_786-1_1_3_line_32 | NAYY 4x150 SE | 28 | 35 | 0.23888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_786-1_1_3_line_33 | NAYY 4x150 SE | 29 | 38 | 0.024758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_786-1_1_3_line_34 | NAYY 4x150 SE | 29 | 39 | 0.052615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_786-1_1_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.014986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_786-1_1_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.023296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_786-1_1_3_line_37 | NAYY 4x150 SE | 31 | 84 | 0.00279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_786-1_1_3_line_38 | NAYY 4x150 SE | 31 | 85 | 0.04734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_786-1_1_3_line_39 | NAYY 4x150 SE | 32 | 81 | 0.02251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_786-1_1_3_line_40 | NAYY 4x150 SE | 33 | 79 | 0.005485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_786-1_1_3_line_41 | NAYY 4x150 SE | 34 | 36 | 0.042558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_786-1_1_3_line_42 | NAYY 4x150 SE | 34 | 37 | 0.028039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_786-1_1_3_line_43 | NAYY 4x150 SE | 35 | 52 | 0.011209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_786-1_1_3_line_44 | NAYY 4x150 SE | 37 | 53 | 0.0037765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_786-1_1_3_line_45 | NAYY 4x150 SE | 38 | 43 | 0.044534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_786-1_1_3_line_46 | NAYY 4x150 SE | 38 | 44 | 0.052563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_786-1_1_3_line_47 | NAYY 4x150 SE | 39 | 40 | 0.16353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_786-1_1_3_line_48 | NAYY 4x150 SE | 40 | 41 | 0.0079698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_786-1_1_3_line_49 | NAYY 4x150 SE | 41 | 42 | 0.040968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_786-1_1_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.013278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_786-1_1_3_line_51 | NAYY 4x150 SE | 44 | 46 | 0.063239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_786-1_1_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.022017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_786-1_1_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.024203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_786-1_1_3_line_54 | NAYY 4x150 SE | 47 | 67 | 0.019107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_786-1_1_3_line_55 | NAYY 4x150 SE | 48 | 56 | 0.011319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_786-1_1_3_line_56 | NAYY 4x150 SE | 48 | 54 | 0.013228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_786-1_1_3_line_57 | NAYY 4x150 SE | 49 | 50 | 0.033427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_786-1_1_3_line_58 | NAYY 4x150 SE | 49 | 51 | 0.0076022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_786-1_1_3_line_59 | NAYY 4x150 SE | 50 | 110 | 0.020098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_786-1_1_3_line_60 | NAYY 4x150 SE | 51 | 107 | 0.0018536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_786-1_1_3_line_61 | NAYY 4x150 SE | 52 | 114 | 0.0069827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_786-1_1_3_line_62 | NAYY 4x150 SE | 53 | 108 | 0.12319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_786-1_1_3_line_63 | NAYY 4x150 SE | 54 | 55 | 0.013296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_786-1_1_3_line_64 | NAYY 4x150 SE | 56 | 57 | 0.01939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_786-1_1_3_line_65 | NAYY 4x150 SE | 56 | 58 | 0.034878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_786-1_1_3_line_66 | NAYY 4x150 SE | 58 | 68 | 0.0061228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_786-1_1_3_line_67 | NAYY 4x150 SE | 59 | 60 | 0.026733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_786-1_1_3_line_68 | NAYY 4x150 SE | 59 | 61 | 0.02017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_786-1_1_3_line_69 | NAYY 4x150 SE | 60 | 69 | 0.023895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_786-1_1_3_line_70 | NAYY 4x150 SE | 61 | 70 | 0.015479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_786-1_1_3_line_71 | NAYY 4x150 SE | 62 | 63 | 0.26953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_786-1_1_3_line_72 | NAYY 4x150 SE | 62 | 64 | 0.10555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_786-1_1_3_line_73 | NAYY 4x150 SE | 63 | 65 | 0.22404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_786-1_1_3_line_74 | NAYY 4x150 SE | 63 | 66 | 0.24466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_786-1_1_3_line_75 | NAYY 4x150 SE | 64 | 73 | 0.014843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_786-1_1_3_line_76 | NAYY 4x150 SE | 66 | 74 | 0.00068115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_786-1_1_3_line_77 | NAYY 4x150 SE | 67 | 77 | 0.016919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_786-1_1_3_line_78 | NAYY 4x150 SE | 67 | 78 | 0.0049608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_786-1_1_3_line_79 | NAYY 4x150 SE | 68 | 73 | 0.0070004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_786-1_1_3_line_80 | NAYY 4x150 SE | 69 | 92 | 0.029656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_786-1_1_3_line_81 | NAYY 4x150 SE | 70 | 86 | 0.040882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_786-1_1_3_line_82 | NAYY 4x150 SE | 71 | 72 | 0.029498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_786-1_1_3_line_83 | NAYY 4x150 SE | 72 | 93 | 0.019218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_786-1_1_3_line_84 | NAYY 4x150 SE | 72 | 94 | 0.013024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_786-1_1_3_line_85 | NAYY 4x150 SE | 72 | 95 | 0.014791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_786-1_1_3_line_86 | NAYY 4x150 SE | 74 | 116 | 0.21187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_786-1_1_3_line_87 | NAYY 4x150 SE | 75 | 76 | 0.0078942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_786-1_1_3_line_88 | NAYY 4x150 SE | 76 | 93 | 0.0095523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_786-1_1_3_line_89 | NAYY 4x150 SE | 77 | 80 | 0.00027854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_786-1_1_3_line_90 | NAYY 4x150 SE | 78 | 79 | 0.017085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_786-1_1_3_line_91 | NAYY 4x150 SE | 80 | 86 | 0.014479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_786-1_1_3_line_92 | NAYY 4x150 SE | 81 | 82 | 0.010077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_786-1_1_3_line_93 | NAYY 4x150 SE | 82 | 83 | 0.0257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_786-1_1_3_line_94 | NAYY 4x150 SE | 83 | 86 | 0.010649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_786-1_1_3_line_95 | NAYY 4x150 SE | 84 | 87 | 0.0069949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_786-1_1_3_line_96 | NAYY 4x150 SE | 85 | 88 | 0.024259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_786-1_1_3_line_97 | NAYY 4x150 SE | 85 | 89 | 0.015126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_786-1_1_3_line_98 | NAYY 4x150 SE | 87 | 90 | 0.0080595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_786-1_1_3_line_99 | NAYY 4x150 SE | 89 | 91 | 0.082297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_786-1_1_3_line_100 | NAYY 4x150 SE | 90 | 96 | 0.0022778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_786-1_1_3_line_101 | NAYY 4x150 SE | 95 | 96 | 0.01385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_786-1_1_3_line_102 | NAYY 4x150 SE | 98 | 99 | 0.05201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_786-1_1_3_line_103 | NAYY 4x150 SE | 99 | 100 | 0.041992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_786-1_1_3_line_104 | NAYY 4x150 SE | 100 | 101 | 0.18859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_786-1_1_3_line_105 | NAYY 4x150 SE | 101 | 102 | 0.044906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_786-1_1_3_line_106 | NAYY 4x150 SE | 103 | 117 | 0.045609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_786-1_1_3_line_107 | NAYY 4x150 SE | 104 | 105 | 0.20237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_786-1_1_3_line_108 | NAYY 4x150 SE | 104 | 106 | 0.14625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_786-1_1_3_line_109 | NAYY 4x150 SE | 106 | 116 | 0.20992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_786-1_1_3_line_110 | NAYY 4x150 SE | 107 | 108 | 0.019255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_786-1_1_3_line_111 | NAYY 4x150 SE | 107 | 109 | 0.0060509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_786-1_1_3_line_112 | NAYY 4x150 SE | 109 | 111 | 0.054765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_786-1_1_3_line_113 | NAYY 4x150 SE | 110 | 112 | 0.0054629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_786-1_1_3_line_114 | NAYY 4x150 SE | 112 | 113 | 0.0035722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_786-1_1_3_line_115 | NAYY 4x150 SE | 113 | 117 | 0.11318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_786-1_1_3_line_116 | NAYY 4x150 SE | 114 | 115 | 0.0073458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_786-1_1_3_trafo_68 | 0.25 MVA 20/0.4 kV | 118 | 80 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37
0 | 2656908.1025 | 1173773.8137 | 2656906.8254 | 1173770.5999 | 2656908.6829 | 1173767.438 | 2656910.068 | 1173764.9164 | 2656910.4078 | 1173763.7523 | 2656907.1309 | 1173765.8001 | 2656903.586 | 1173768.6904 | 2656898.3538 | 1173771.2978 | 2656894.4317 | 1173772.0388 | 2656890.8213 | 1173771.3487 | 2656885.1068 | 1173766.7587 | 2656880.8835 | 1173762.5285
1 | 2656873.0991 | 1173739.5634 | 2656873.4078 | 1173749.7608 | 2656877.8123 | 1173759.4523 | 2656880.8835 | 1173762.5285
2 | 2656908.1025 | 1173773.8137 | 2656903.2052 | 1173778.2031 | 2656904.949 | 1173781.3991 | 2656908.7888 | 1173781.2799 | 2656918.5563 | 1173774.5465 | 2656931.5603 | 1173763.586 | 2656951.8403 | 1173741.7441 | 2656970.5423 | 1173717.7861 | 2656993.9308 | 1173706.0238 | 2657025.5304 | 1173692.0383 | 2657053.3318 | 1173693.9034 | 2657069.5687 | 1173699.2606
3 | 2656908.1025 | 1173773.8137 | 2656903.2052 | 1173778.2031 | 2656904.949 | 1173781.3991 | 2656908.7888 | 1173781.2799 | 2656918.5563 | 1173774.5465 | 2656914.8959 | 1173782.3606 | 2656910.3097 | 1173788.6206 | 2656906.8323 | 1173790.8444 | 2656901.1957 | 1173793.3701 | 2656903.76 | 1173796.3071 | 2656907.5188 | 1173798.2772 | 2656912.1687 | 1173800.6225 | 2656908.8813 | 1173804.5824 | 2656901.8117 | 1173808.2397 | 2656893.6656 | 1173810.9084 | 2656888.6628 | 1173812.7176 | 2656887.6738 | 1173816.2212 | 2656887.5691 | 1173817.5876
4 | 2656875.632 | 1173720.01 | 2656881.9211 | 1173725.2947 | 2656886.5169 | 1173730.1297 | 2656887.8434 | 1173733.7776 | 2656887.4056 | 1173738.0203 | 2656885.4892 | 1173740.937 | 2656882.8451 | 1173742.3683 | 2656878.1638 | 1173742.5241 | 2656873.0991 | 1173739.5634
5 | 2656837.3216 | 1173731.3091 | 2656838.2364 | 1173727.5601 | 2656842.1901 | 1173723.4953 | 2656846.5262 | 1173722.647 | 2656850.8501 | 1173723.8997 | 2656854.7497 | 1173726.3491 | 2656862.8544 | 1173732.0956 | 2656865.4825 | 1173733.966 | 2656873.0991 | 1173739.5634
6 | 2657069.5687 | 1173699.2606 | 2657091.4816 | 1173705.1944 | 2657110.0407 | 1173705.1708 | 2657120.6465 | 1173691.542 | 2657126.665 | 1173672.2108 | 2657150.2789 | 1173647.2774 | 2657177.6024 | 1173631.9068 | 2657187.8004 | 1173629.0134 | 2657196.2875 | 1173629.1165 | 2657207.4378 | 1173634.6146 | 2657215.4474 | 1173663.9515 | 2657232.3313 | 1173678.4314
7 | 2656887.5691 | 1173817.5876 | 2656888.4175 | 1173818.4295 | 2656889.8258 | 1173819.0987 | 2656891.2404 | 1173819.101 | 2656894.4814 | 1173819.2318 | 2656898.8438 | 1173824.476 | 2656893.9741 | 1173826.7645 | 2656886.7192 | 1173829.8085 | 2656875.9997 | 1173827.2723 | 2656867.2357 | 1173828.1675 | 2656862.2011 | 1173831.7329 | 2656857.563 | 1173831.3666 | 2656854.7301 | 1173834.9751 | 2656850.847 | 1173839.6742 | 2656848.3764 | 1173845.4095 | 2656839.588 | 1173868.2722 | 2656839.3301 | 1173893.8838 | 2656850.7063 | 1173911.0453 | 2656869.2157 | 1173925.0727 | 2656864.5106 | 1173924.5279 | 2656859.0435 | 1173932.5805 | 2656849.433 | 1173945.3743 | 2656840.5825 | 1173966.7356 | 2656830.97 | 1173983.7873 | 2656837.1252 | 1174006.4135 | 2656842.3102 | 1174024.1056 | 2656847.9663 | 1174035.6433 | 2656862.7448 | 1174039.8855 | 2656874.3251 | 1174034.659 | 2656876.887 | 1174025.745 | 2656880.4703 | 1174015.5623 | 2656884.4821 | 1174000.5031 | 2656889.2638 | 1173991.3434 | 2656888.6361 | 1173981.7322 | 2656880.2607 | 1173971.5139 | 2656879.859 | 1173956.613 | 2656892.3241 | 1173958.899 | 2656897.6634 | 1173961.8965
8 | 2656875.632 | 1173720.01 | 2656867.2476 | 1173716.3397 | 2656849.4135 | 1173712.491 | 2656837.0998 | 1173709.522
9 | 2656837.3216 | 1173731.3091 | 2656815.8685 | 1173746.2587 | 2656807.2546 | 1173753.1032 | 2656804.1691 | 1173756.7427 | 2656802.608 | 1173762.52 | 2656798.6267 | 1173767.0959 | 2656792.1364 | 1173770.9478 | 2656779.5455 | 1173774.6418 | 2656773.0249 | 1173776.0365 | 2656769.4649 | 1173778.104 | 2656745.8135 | 1173800.7596 | 2656728.1736 | 1173816.835 | 2656715.3783 | 1173833.2788 | 2656709.9005 | 1173841.665 | 2656698.8573 | 1173853.9674 | 2656691.6116 | 1173859.2797 | 2656683.7211 | 1173864.0523 | 2656673.9659 | 1173867.0952 | 2656664.2344 | 1173869.249 | 2656638.0239 | 1173872.2701 | 2656610.0399 | 1173874.4297 | 2656609.4395 | 1173874.5031
10 | 2656539.61 | 1173900.7876 | 2656553.7323 | 1173891.2639 | 2656563.1488 | 1173886.828 | 2656572.5197 | 1173883.1809 | 2656583.1141 | 1173879.5231 | 2656594.5147 | 1173876.3288 | 2656609.4395 | 1173874.5031
11 | 2657273.1107 | 1173640.9107 | 2657258.4426 | 1173650.6651 | 2657250.7095 | 1173665.3105 | 2657232.3313 | 1173678.4314
12 | 2656897.6634 | 1173961.8965 | 2656908.4184 | 1173967.9342 | 2656912.369 | 1173974.9698
13 | 2656837.0998 | 1173709.522 | 2656831.0801 | 1173708.0706 | 2656817.4601 | 1173702.5165 | 2656811.6833 | 1173701.2722 | 2656805.7052 | 1173701.0823 | 2656778.6027 | 1173703.7385 | 2656764.5954 | 1173702.75 | 2656732.9779 | 1173702.5289 | 2656725.4927 | 1173704.0368 | 2656685.5491 | 1173704.9997
14 | 2656837.0998 | 1173709.522 | 2656876.9618 | 1173560.3018
15 | 2656539.61 | 1173900.7876 | 2656539.0186 | 1173901.1864 | 2656524.5775 | 1173912.212 | 2656518.7064 | 1173916.0654
16 | 2657273.1107 | 1173640.9107 | 2657287.3853 | 1173683.6036 | 2657318.8453 | 1173703.5369
17 | 2656916.5018 | 1173982.3299 | 2656912.369 | 1173974.9698
18 | 2656672.2784 | 1173740.4989 | 2656670.1271 | 1173731.0512 | 2656668.2473 | 1173719.5716 | 2656668.9503 | 1173713.1414 | 2656673.3586 | 1173707.8912 | 2656678.2142 | 1173705.469 | 2656685.0701 | 1173705.0112 | 2656685.5491 | 1173704.9997
19 | 2656567.3848 | 1173714.8403 | 2656571.8316 | 1173727.3891 | 2656587.7427 | 1173775.4431 | 2656593.6216 | 1173787.7608 | 2656600.4696 | 1173794.618 | 2656608.1361 | 1173800.6268 | 2656615.7595 | 1173805.5236 | 2656624.7952 | 1173808.2436 | 2656634.7472 | 1173808.6599 | 2656644.9893 | 1173807.5114 | 2656656.8891 | 1173802.4876 | 2656665.3682 | 1173792.8846 | 2656672.3755 | 1173778.8096 | 2656674.5794 | 1173766.4792 | 2656675.3253 | 1173753.8905 | 2656672.2784 | 1173740.4989
20 | 2656528.7552 | 1173717.0556 | 2656554.57 | 1173716.3316 | 2656567.3848 | 1173714.8403
21 | 2657447.7637 | 1174335.8244 | 2657445.2297 | 1174332.5454 | 2657442.613 | 1174327.8503
22 | 2657429.6362 | 1174306.8484 | 2657433.4374 | 1174307.9969 | 2657434.947 | 1174310.0458 | 2657435.4966 | 1174314.1311 | 2657437.412 | 1174318.5185 | 2657442.613 | 1174327.8503
23 | 2657464.3016 | 1174354.6178 | 2657454.4739 | 1174344.5071 | 2657447.7637 | 1174335.8244
24 | 2657427.5194 | 1174306.2087 | 2657429.6362 | 1174306.8484
25 | 2657464.3016 | 1174354.6178 | 2657478.7529 | 1174368.1738
26 | 2657464.3016 | 1174354.6178 | 2657476.8965 | 1174336.421
27 | 2657476.8965 | 1174336.421 | 2657483.2972 | 1174327.1734 | 2657487.058 | 1174323.0188
28 | 2657488.4067 | 1174321.5289 | 2657487.058 | 1174323.0188
29 | 2657220.0728 | 1174371.4838 | 2657218.3411 | 1174369.4662 | 2657217.5293 | 1174366.3901 | 2657219.0411 | 1174356.9882 | 2657224.3735 | 1174340.6189 | 2657237.8845 | 1174316.5234 | 2657252.9588 | 1174300.0803 | 2657274.1046 | 1174275.5796 | 2657286.3758 | 1174259.6434 | 2657294.1962 | 1174246.9889 | 2657295.9806 | 1174240.28 | 2657294.2225 | 1174237.0281 | 2657290.6777 | 1174235.9048 | 2657293.5774 | 1174232.5195 | 2657302.9085 | 1174222.6142 | 2657310.1682 | 1174202.2278 | 2657314.8551 | 1174188.6428 | 2657315.9447 | 1174181.8384 | 2657327.0148 | 1174161.9887 | 2657327.1215 | 1174156.42 | 2657331.368 | 1174130.513 | 2657337.3613 | 1174099.4421 | 2657335.3637 | 1174082.0356 | 2657338.5052 | 1174067.7467 | 2657333.6122 | 1174053.2698 | 2657335.7101 | 1174044.1737 | 2657333.6166 | 1174039.9959 | 2657356.4176 | 1173950.4422 | 2657361.8278 | 1173937.2089 | 2657367.8133 | 1173928.5946 | 2657375.9972 | 1173920.3683 | 2657385.4144 | 1173914.3216 | 2657392.3033 | 1173909.596 | 2657394.3299 | 1173907.1696 | 2657395.0248 | 1173904.875
30 | 2657397.19 | 1174258.9567 | 2657392.5934 | 1174258.2902 | 2657388.205 | 1174259.0376 | 2657380.7233 | 1174261.8343 | 2657358.2695 | 1174280.7302 | 2657301.5707 | 1174309.0822 | 2657258.1334 | 1174340.3406 | 2657220.0728 | 1174371.4838
31 | 2657395.0248 | 1173904.875 | 2657393.1165 | 1173902.1219 | 2657391.2963 | 1173900.5592 | 2657387.6777 | 1173899.1349 | 2657380.6835 | 1173900.4911 | 2657309.8867 | 1173942.6271 | 2657276.4422 | 1173956.9047 | 2657258.3105 | 1173962.7017 | 2657222.9481 | 1173971.2471 | 2657211.9271 | 1173972.2982 | 2657208.2343 | 1173972.2519
32 | 2657395.0248 | 1173904.875 | 2657403.8852 | 1173894.6874 | 2657409.3818 | 1173886.8245 | 2657417.872 | 1173875.3772 | 2657424.9701 | 1173867.1739 | 2657436.7678 | 1173853.6904 | 2657439.4319 | 1173846.9789 | 2657439.6772 | 1173842.123 | 2657438.2839 | 1173837.496 | 2657432.5599 | 1173830.7598 | 2657429.5961 | 1173826.4291 | 2657428.8447 | 1173822.6531 | 2657430.1832 | 1173819.4197 | 2657432.9462 | 1173817.5562 | 2657437.8954 | 1173816.5697 | 2657445.6286 | 1173818.7115 | 2657455.49 | 1173821.4073 | 2657460.3241 | 1173821.2646 | 2657463.9243 | 1173819.8094 | 2657467.0143 | 1173815.7367 | 2657467.3904 | 1173811.5936 | 2657464.5282 | 1173799.0593 | 2657461.1485 | 1173787.0648 | 2657459.8393 | 1173776.8467 | 2657460.8054 | 1173766.1945 | 2657463.6279 | 1173754.9265 | 2657469.0518 | 1173747.4854 | 2657478.2844 | 1173741.5927 | 2657485.8083 | 1173738.4519 | 2657489.2517 | 1173739.0074 | 2657489.2867 | 1173739.065
33 | 2657397.19 | 1174258.9567 | 2657421.3586 | 1174264.6354
34 | 2657397.19 | 1174258.9567 | 2657399.0856 | 1174253.4274 | 2657401.1061 | 1174251.6235 | 2657413.7278 | 1174247.8421 | 2657418.2917 | 1174246.3293 | 2657422.1004 | 1174243.8421 | 2657425.065 | 1174241.6582 | 2657427.0179 | 1174238.942 | 2657430.033 | 1174233.0788 | 2657432.7611 | 1174225.6567
35 | 2657494.2386 | 1174397.4168 | 2657502.5294 | 1174409.9141
36 | 2657494.2386 | 1174397.4168 | 2657496.6821 | 1174384.1884 | 2657498.2385 | 1174374.4688
37 | 2657502.5294 | 1174409.9141 | 2657504.9936 | 1174411.2225
38 | 2657502.5294 | 1174409.9141 | 2657489.6995 | 1174408.3237 | 2657458.7876 | 1174400.2679 | 2657456.1883 | 1174400.243
39 | 2657498.2385 | 1174374.4688 | 2657501.1631 | 1174356.2049 | 2657502.6619 | 1174352.4817
40 | 2657488.4067 | 1174321.5289 | 2657492.0876 | 1174317.4625
41 | 2657230.5941 | 1173936.0117 | 2657208.2343 | 1173972.2519
42 | 2657208.2343 | 1173972.2519 | 2657180.1982 | 1173971.8597
43 | 2657489.2867 | 1173739.065 | 2657490.283 | 1173740.7071 | 2657490.825 | 1173744.8034 | 2657491.6403 | 1173749.8952
44 | 2657180.1982 | 1173971.8597 | 2657176.4221 | 1173971.8069
45 | 2657421.3586 | 1174264.6354 | 2657412.5509 | 1174268.5644 | 2657404.7423 | 1174273.5592 | 2657400.1795 | 1174278.9519 | 2657395.764 | 1174284.9352 | 2657395.137 | 1174292.1331 | 2657395.9844 | 1174295.9347
46 | 2657421.3586 | 1174264.6354 | 2657441.0404 | 1174261.3662 | 2657454.2921 | 1174257.2685 | 2657466.9626 | 1174254.7884 | 2657472.7449 | 1174255.5324
47 | 2657545.8986 | 1174133.0552 | 2657545.8986 | 1174133.0552 | 2657541.1551 | 1174131.7535 | 2657531.7804 | 1174131.7859 | 2657519.1536 | 1174132.0762 | 2657509.3865 | 1174136.3517 | 2657476.7095 | 1174157.5727 | 2657447.2357 | 1174177.2793 | 2657442.163 | 1174183.2118 | 2657438.9281 | 1174190.4626 | 2657436.2732 | 1174206.6128 | 2657433.7385 | 1174222.9975 | 2657432.7611 | 1174225.6567
48 | 2657545.8986 | 1174133.0552 | 2657549.9652 | 1174136.3738 | 2657551.0373 | 1174138.8746
49 | 2657575.1265 | 1174145.4088 | 2657566.1893 | 1174154.0501 | 2657560.7536 | 1174156.3548 | 2657558.1627 | 1174156.2299 | 2657555.1158 | 1174155.0223 | 2657553.109 | 1174149.8002 | 2657551.6928 | 1174140.4037 | 2657551.0373 | 1174138.8746
50 | 2657393.9718 | 1174308.8362 | 2657395.4049 | 1174304.0978 | 2657396.5154 | 1174298.3164 | 2657395.9844 | 1174295.9347
51 | 2657533.8118 | 1174270.0369 | 2657529.3931 | 1174268.3603 | 2657517.397 | 1174266.7 | 2657495.8913 | 1174264.0148 | 2657485.3155 | 1174260.1448 | 2657475.2713 | 1174255.8574 | 2657472.7449 | 1174255.5324
52 | 2657533.8118 | 1174270.0369 | 2657519.3944 | 1174286.6773
53 | 2657533.8118 | 1174270.0369 | 2657539.0286 | 1174272.2103 | 2657543.9892 | 1174275.5819 | 2657553.1813 | 1174284.197
54 | 2657506.8826 | 1174301.1183 | 2657519.3944 | 1174286.6773
55 | 2657561.6717 | 1174276.6853 | 2657553.1813 | 1174284.197
56 | 2657553.1813 | 1174284.197 | 2657562.1367 | 1174293.9324
57 | 2657214.0285 | 1173879.3895 | 2657220.1482 | 1173870.3206 | 2657224.8483 | 1173860.9602 | 2657229.3678 | 1173849.8306
58 | 2657214.0285 | 1173879.3895 | 2657208.5195 | 1173884.6282
59 | 2657229.3678 | 1173849.8306 | 2657231.3555 | 1173844.9357 | 2657235.8104 | 1173830.8067
60 | 2657207.1763 | 1173885.9055 | 2657208.5195 | 1173884.6282
61 | 2657491.6403 | 1173749.8952 | 2657492.7444 | 1173756.7901
62 | 2657176.4221 | 1173971.8069 | 2657173.3404 | 1173971.7637 | 2657156.43 | 1173970.5799 | 2657151.6268 | 1173969.1001 | 2657145.4894 | 1173963.9944 | 2657142.259 | 1173957.9492 | 2657140.8451 | 1173953.0553 | 2657141.6317 | 1173947.5376 | 2657144.1349 | 1173940.8132 | 2657150.0441 | 1173930.5416 | 2657163.4411 | 1173916.0612 | 2657178.0636 | 1173906.1838 | 2657191.3764 | 1173896.9109
63 | 2657571.1382 | 1174303.7181 | 2657562.1367 | 1174293.9324
64 | 2657565.6562 | 1174258.2578 | 2657561.3311 | 1174267.5548 | 2657561.6717 | 1174276.6853
65 | 2657561.6717 | 1174276.6853 | 2657573.4268 | 1174269.9943 | 2657583.8813 | 1174263.3798 | 2657590.5156 | 1174257.327
66 | 2657590.5156 | 1174257.327 | 2657595.0388 | 1174253.2003
67 | 2657595.8183 | 1174359.6361 | 2657576.1014 | 1174377.7459
68 | 2657595.8183 | 1174359.6361 | 2657583.1693 | 1174344.7622 | 2657582.605 | 1174344.4504
69 | 2657576.1014 | 1174377.7459 | 2657570.8351 | 1174369.5909 | 2657566.6001 | 1174365.5147 | 2657559.2604 | 1174361.6189
70 | 2657568.792 | 1174337.522 | 2657573.3807 | 1174339.3542 | 2657582.605 | 1174344.4504
71 | 2657697.7347 | 1174266.2965 | 2657712.1602 | 1174253.0612 | 2657728.4523 | 1174238.1429 | 2657736.9919 | 1174230.3207 | 2657794.2224 | 1174178.0314 | 2657850.8978 | 1174127.1046 | 2657855.1749 | 1174123.6439 | 2657859.8527 | 1174119.8536 | 2657861.9425 | 1174107.7115 | 2657866.0443 | 1174089.1186 | 2657866.8316 | 1174078.8427 | 2657866.2336 | 1174069.4874
72 | 2657697.7347 | 1174266.2965 | 2657693.0973 | 1174258.7367 | 2657683.3638 | 1174247.6037 | 2657664.1486 | 1174226.1518 | 2657661.5302 | 1174225.7153 | 2657626.3727 | 1174238.496 | 2657614.0894 | 1174242.8518
73 | 2657866.2336 | 1174069.4874 | 2657861.9002 | 1174057.3723 | 2657860.7185 | 1174050.6683 | 2657860.2709 | 1174043.9492 | 2657860.3898 | 1174036.3795 | 2657861.2499 | 1174029.6508 | 2657862.1237 | 1174023.0889 | 2657862.1167 | 1174017.4636 | 2657860.7332 | 1174014.2373 | 2657858.5483 | 1174010.8589 | 2657855.7242 | 1174007.9523 | 2657850.6299 | 1174005.7576 | 2657843.3298 | 1174003.9307 | 2657831.2032 | 1174000.6899 | 2657826.0308 | 1173998.6612 | 2657822.9092 | 1173996.4744 | 2657821.299 | 1173992.968 | 2657822.2616 | 1173988.2859 | 2657824.9983 | 1173982.8092 | 2657827.5162 | 1173976.2298 | 2657828.3882 | 1173969.0565 | 2657831.1689 | 1173960.6009 | 2657835.425 | 1173949.0132 | 2657837.9529 | 1173938.2206 | 2657836.9354 | 1173931.9295 | 2657832.7718 | 1173925.1857 | 2657820.0422 | 1173913.0787 | 2657796.9788 | 1173891.7783
74 | 2657866.2336 | 1174069.4874 | 2657868.1019 | 1174056.5316 | 2657869.8605 | 1174044.642 | 2657871.5351 | 1174032.7405 | 2657876.2114 | 1174014.8535 | 2657879.0851 | 1173999.1281 | 2657881.9043 | 1173985.1031 | 2657885.9809 | 1173971.5238 | 2657891.2177 | 1173953.3977 | 2657894.6519 | 1173929.5177 | 2657901.2525 | 1173911.9161 | 2657906.1763 | 1173904.0481 | 2657910.5823 | 1173895.9639 | 2657915.2454 | 1173884.2135 | 2657916.3201 | 1173879.0211 | 2657916.79 | 1173873.9117 | 2657917.4687 | 1173861.4225 | 2657918.6443 | 1173852.918 | 2657920.0594 | 1173846.5281 | 2657924.0658 | 1173833.5454
75 | 2657614.0894 | 1174242.8518 | 2657609.3403 | 1174244.5359 | 2657600.7098 | 1174249.1864
76 | 2657924.2666 | 1173832.8946 | 2657924.0658 | 1173833.5454
77 | 2657506.8826 | 1174301.1183 | 2657514.0992 | 1174307.6354 | 2657519.8211 | 1174311.997
78 | 2657506.8826 | 1174301.1183 | 2657503.5534 | 1174304.7961
79 | 2657600.7098 | 1174249.1864 | 2657597.6039 | 1174250.8601 | 2657595.0388 | 1174253.2003
80 | 2657532.4105 | 1174349.2225 | 2657546.0572 | 1174356.5462 | 2657556.916 | 1174360.3746 | 2657559.2604 | 1174361.6189
81 | 2657531.5576 | 1174320.9433 | 2657534.693 | 1174323.2857 | 2657541.9155 | 1174326.7902 | 2657568.792 | 1174337.522
82 | 2657544.8372 | 1174424.772 | 2657555.5216 | 1174410.9001 | 2657563.1245 | 1174402.6351 | 2657563.673 | 1174402.1116
83 | 2657559.9381 | 1174436.7122 | 2657544.8372 | 1174424.772
84 | 2657544.8372 | 1174424.772 | 2657538.3329 | 1174436.0555
85 | 2657544.8372 | 1174424.772 | 2657543.2773 | 1174423.99 | 2657540.1287 | 1174422.2366 | 2657535.8461 | 1174419.9388 | 2657533.4613 | 1174423.8514
86 | 2657924.2666 | 1173832.8946 | 2657923.1502 | 1173621.0232
87 | 2657567.9831 | 1174441.8624 | 2657573.1608 | 1174445.177 | 2657574.6353 | 1174446.1129
88 | 2657559.9381 | 1174436.7122 | 2657567.9831 | 1174441.8624
89 | 2657520.0426 | 1174312.1659 | 2657519.8211 | 1174311.997
90 | 2657503.5534 | 1174304.7961 | 2657492.0876 | 1174317.4625
91 | 2657531.5576 | 1174320.9433 | 2657520.0426 | 1174312.1659
92 | 2657502.6619 | 1174352.4817 | 2657504.2883 | 1174348.4416 | 2657506.9977 | 1174343.4021
93 | 2657525.1943 | 1174329.4823 | 2657523.595 | 1174331.6284 | 2657520.9678 | 1174333.7044 | 2657514.924 | 1174333.2685 | 2657512.0185 | 1174334.0633 | 2657506.9977 | 1174343.4021
94 | 2657531.5576 | 1174320.9433 | 2657525.1943 | 1174329.4823
95 | 2657511.1717 | 1174414.5029 | 2657504.9936 | 1174411.2225
96 | 2657456.1883 | 1174400.243 | 2657454.7179 | 1174401.2851 | 2657443.5973 | 1174420.8116
97 | 2657456.1883 | 1174400.243 | 2657446.2654 | 1174389.6978 | 2657445.8234 | 1174389.2264
98 | 2657511.1717 | 1174414.5029 | 2657514.2142 | 1174416.1183 | 2657518.4962 | 1174417.8388
99 | 2657407.4587 | 1174422.3824 | 2657408.1864 | 1174421.0843 | 2657409.885 | 1174416.1645 | 2657406.9412 | 1174410.5888 | 2657404.9491 | 1174407.8238 | 2657406.0733 | 1174405.3999 | 2657408.1144 | 1174403.0403 | 2657412.5209 | 1174402.7823 | 2657416.974 | 1174404.0478 | 2657418.8146 | 1174402.6646 | 2657421.0306 | 1174394.8149 | 2657421.8986 | 1174387.2079 | 2657423.6583 | 1174382.2887 | 2657426.0693 | 1174379.6325 | 2657431.5238 | 1174378.5285 | 2657435.0612 | 1174378.8069 | 2657438.9464 | 1174381.8902 | 2657445.8234 | 1174389.2264
100 | 2657520.6098 | 1174418.688 | 2657518.4962 | 1174417.8388
101 | 2657533.4613 | 1174423.8514 | 2657520.6098 | 1174418.688
102 | 2656471.5738 | 1173937.983 | 2656506.5949 | 1173922.5485 | 2656518.4991 | 1173916.2014 | 2656518.7064 | 1173916.0654
103 | 2656432.7599 | 1173954.2716 | 2656471.5738 | 1173937.983
104 | 2656432.7599 | 1173954.2716 | 2656424.4822 | 1173961.2198 | 2656420.9463 | 1173965.6334 | 2656417.9713 | 1173971.3864 | 2656411.2134 | 1173993.1793 | 2656410.941 | 1173998.5686 | 2656412.1984 | 1174003.094 | 2656415.1588 | 1174007.8466 | 2656419.1229 | 1174012.3752 | 2656424.4548 | 1174017.0056 | 2656431.3461 | 1174020.8725 | 2656446.2762 | 1174028.5504 | 2656467.6315 | 1174037.6005 | 2656503.8549 | 1174050.3371 | 2656513.1603 | 1174054.4269 | 2656520.2119 | 1174058.3065 | 2656527.9675 | 1174063.9147
105 | 2656527.9675 | 1174063.9147 | 2656531.5051 | 1174066.4728 | 2656537.6467 | 1174074.4239 | 2656541.0463 | 1174079.6143 | 2656543.9978 | 1174085.3007 | 2656544.9034 | 1174090.6233 | 2656544.8531 | 1174095.9702 | 2656542.2823 | 1174102.6274
106 | 2657318.8453 | 1173703.5369 | 2657319.181 | 1173745.2519 | 2657318.1971 | 1173749.0177
107 | 2657626.1966 | 1173563.1456 | 2657632.7901 | 1173556.583 | 2657640.7657 | 1173546.2539 | 2657653.2284 | 1173532.1324 | 2657665.1626 | 1173522.8752 | 2657683.1881 | 1173513.9879 | 2657701.3307 | 1173506.4358 | 2657729.0784 | 1173496.4748 | 2657737.298 | 1173491.8179 | 2657741.7957 | 1173487.7144 | 2657751.3113 | 1173475.5215 | 2657758.8678 | 1173464.2768 | 2657776.4682 | 1173436.8199
108 | 2657776.4682 | 1173436.8199 | 2657897.1314 | 1173519.4607
109 | 2657897.1314 | 1173519.4607 | 2657892.8241 | 1173529.18 | 2657884.8555 | 1173544.2782 | 2657881.0554 | 1173558.5049 | 2657878.6373 | 1173568.187 | 2657871.2939 | 1173578.7331 | 2657853.8859 | 1173598.1316 | 2657844.4545 | 1173610.3141 | 2657841.5718 | 1173615.8449 | 2657840.006 | 1173622.8003 | 2657840.3678 | 1173628.1067 | 2657842.1932 | 1173629.1249 | 2657846.7689 | 1173628.8354 | 2657856.2638 | 1173627.5151 | 2657864.7752 | 1173625.1069 | 2657871.8662 | 1173623.2742 | 2657878.8493 | 1173623.9196 | 2657885.0815 | 1173624.7246 | 2657896.3235 | 1173623.8324 | 2657906.0766 | 1173621.1139 | 2657916.1635 | 1173619.4658 | 2657923.1502 | 1173621.0232
110 | 2657207.1763 | 1173885.9055 | 2657191.3764 | 1173896.9109
111 | 2657207.1763 | 1173885.9055 | 2657202.1915 | 1173887.4256 | 2657201.367 | 1173887.5838
112 | 2657148.6713 | 1173886.9672 | 2657150.2595 | 1173888.6429 | 2657155.8099 | 1173891.9642 | 2657163.0891 | 1173892.8006 | 2657170.5301 | 1173891.9043 | 2657182.3325 | 1173889.9156 | 2657195.4042 | 1173888.7283 | 2657201.367 | 1173887.5838
113 | 2657237.5511 | 1173825.6317 | 2657237.0485 | 1173826.88 | 2657235.8104 | 1173830.8067
114 | 2657238.8852 | 1173822.318 | 2657237.5511 | 1173825.6317
115 | 2657318.1971 | 1173749.0177 | 2657316.7444 | 1173754.5782 | 2657313.6271 | 1173762.3194 | 2657308.4913 | 1173768.4293 | 2657301.1541 | 1173773.651 | 2657257.7588 | 1173795.2934 | 2657251.4316 | 1173800.4582 | 2657246.4763 | 1173806.0918 | 2657242.069 | 1173814.4099 | 2657238.8852 | 1173822.318
116 | 2657493.9059 | 1173764.0435 | 2657492.7444 | 1173756.7901

## bus_geodata
| x | y | coords
0 | 2656880.8835 | 1173762.5285
1 | 2656908.1025 | 1173773.8137
2 | 2656873.0991 | 1173739.5634
3 | 2657069.5687 | 1173699.2606
4 | 2656887.5691 | 1173817.5876
5 | 2656875.632 | 1173720.01
6 | 2656837.3216 | 1173731.3091
7 | 2656609.4395 | 1173874.5031
8 | 2657232.3313 | 1173678.4314
9 | 2656897.6634 | 1173961.8965
10 | 2656837.0998 | 1173709.522
11 | 2656539.61 | 1173900.7876
12 | 2657273.1107 | 1173640.9107
13 | 2656912.369 | 1173974.9698
14 | 2656685.5491 | 1173704.9997
15 | 2656876.9618 | 1173560.3018
16 | 2656672.2784 | 1173740.4989
17 | 2656567.3848 | 1173714.8403
18 | 2656528.7552 | 1173717.0556
19 | 2657442.613 | 1174327.8503
20 | 2657447.7637 | 1174335.8244
21 | 2657429.6362 | 1174306.8484
22 | 2657464.3016 | 1174354.6178
23 | 2657427.5194 | 1174306.2087
24 | 2657478.7529 | 1174368.1738
25 | 2657476.8965 | 1174336.421
26 | 2657487.058 | 1174323.0188
27 | 2657220.0728 | 1174371.4838
28 | 2657395.0248 | 1173904.875
29 | 2657397.19 | 1174258.9567
30 | 2657494.2386 | 1174397.4168
31 | 2657502.5294 | 1174409.9141
32 | 2657498.2385 | 1174374.4688
33 | 2657488.4067 | 1174321.5289
34 | 2657208.2343 | 1173972.2519
35 | 2657489.2867 | 1173739.065
36 | 2657230.5941 | 1173936.0117
37 | 2657180.1982 | 1173971.8597
38 | 2657421.3586 | 1174264.6354
39 | 2657432.7611 | 1174225.6567
40 | 2657545.8986 | 1174133.0552
41 | 2657551.0373 | 1174138.8746
42 | 2657575.1265 | 1174145.4088
43 | 2657395.9844 | 1174295.9347
44 | 2657472.7449 | 1174255.5324
45 | 2657393.9718 | 1174308.8362
46 | 2657533.8118 | 1174270.0369
47 | 2657519.3944 | 1174286.6773
48 | 2657553.1813 | 1174284.197
49 | 2657214.0285 | 1173879.3895
50 | 2657229.3678 | 1173849.8306
51 | 2657208.5195 | 1173884.6282
52 | 2657491.6403 | 1173749.8952
53 | 2657176.4221 | 1173971.8069
54 | 2657562.1367 | 1174293.9324
55 | 2657571.1382 | 1174303.7181
56 | 2657561.6717 | 1174276.6853
57 | 2657565.6562 | 1174258.2578
58 | 2657590.5156 | 1174257.327
59 | 2657595.8183 | 1174359.6361
60 | 2657576.1014 | 1174377.7459
61 | 2657582.605 | 1174344.4504
62 | 2657697.7347 | 1174266.2965
63 | 2657866.2336 | 1174069.4874
64 | 2657614.0894 | 1174242.8518
65 | 2657796.9788 | 1173891.7783
66 | 2657924.0658 | 1173833.5454
67 | 2657506.8826 | 1174301.1183
68 | 2657595.0388 | 1174253.2003
69 | 2657559.2604 | 1174361.6189
70 | 2657568.792 | 1174337.522
71 | 2657563.673 | 1174402.1116
72 | 2657544.8372 | 1174424.772
73 | 2657600.7098 | 1174249.1864
74 | 2657924.2666 | 1173832.8946
75 | 2657574.6353 | 1174446.1129
76 | 2657567.9831 | 1174441.8624
77 | 2657519.8211 | 1174311.997
78 | 2657503.5534 | 1174304.7961
79 | 2657492.0876 | 1174317.4625
80 | 2657520.0426 | 1174312.1659
81 | 2657502.6619 | 1174352.4817
82 | 2657506.9977 | 1174343.4021
83 | 2657525.1943 | 1174329.4823
84 | 2657504.9936 | 1174411.2225
85 | 2657456.1883 | 1174400.243
86 | 2657531.5576 | 1174320.9433
87 | 2657511.1717 | 1174414.5029
88 | 2657443.5973 | 1174420.8116
89 | 2657445.8234 | 1174389.2264
90 | 2657518.4962 | 1174417.8388
91 | 2657407.4587 | 1174422.3824
92 | 2657532.4105 | 1174349.2225
93 | 2657559.9381 | 1174436.7122
94 | 2657538.3329 | 1174436.0555
95 | 2657533.4613 | 1174423.8514
96 | 2657520.6098 | 1174418.688
97 | 2656916.5018 | 1173982.3299
98 | 2656518.7064 | 1173916.0654
99 | 2656471.5738 | 1173937.9831
100 | 2656432.7599 | 1173954.2716
101 | 2656527.9675 | 1174063.9147
102 | 2656542.2823 | 1174102.6274
103 | 2657318.8453 | 1173703.5369
104 | 2657776.4682 | 1173436.8199
105 | 2657626.1966 | 1173563.1456
106 | 2657897.1314 | 1173519.4607
107 | 2657207.1763 | 1173885.9055
108 | 2657191.3764 | 1173896.9109
109 | 2657201.367 | 1173887.5838
110 | 2657235.8104 | 1173830.8067
111 | 2657148.6713 | 1173886.9673
112 | 2657237.5511 | 1173825.6317
113 | 2657238.8852 | 1173822.318
114 | 2657492.7444 | 1173756.7901
115 | 2657493.9059 | 1173764.0435
116 | 2657923.1502 | 1173621.0232
117 | 2657318.1971 | 1173749.0177
118 | 2657531.5576 | 1174320.9433

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1