## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_791-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_791-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_791-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_791-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_791-1_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_791-1_0_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_791-1_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_791-1_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_791-1_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_791-1_0_4_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_791-1_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_791-1_0_4_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_791-1_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_791-1_0_4_node_84 | 0.4 | n |  | TRUE
14 | bus_LV_791-1_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_791-1_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_791-1_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_791-1_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_791-1_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_791-1_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_791-1_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_791-1_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_791-1_0_4_node_141 | 0.4 | n |  | TRUE
23 | bus_LV_791-1_0_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_791-1_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_791-1_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_791-1_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_791-1_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_791-1_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_791-1_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_791-1_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_791-1_0_4_node_103 | 0.4 | n |  | TRUE
32 | bus_LV_791-1_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_791-1_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_791-1_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_791-1_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_791-1_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_791-1_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_791-1_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_791-1_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_791-1_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_791-1_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_791-1_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_791-1_0_4_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_791-1_0_4_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_791-1_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_791-1_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_791-1_0_4_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_791-1_0_4_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_791-1_0_4_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_791-1_0_4_node_133 | 0.4 | n |  | TRUE
51 | bus_LV_791-1_0_4_node_134 | 0.4 | n |  | TRUE
52 | bus_LV_791-1_0_4_node_132 | 0.4 | n |  | TRUE
53 | bus_LV_791-1_0_4_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_791-1_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_791-1_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_791-1_0_4_node_24 | 0.4 | n |  | TRUE
57 | bus_LV_791-1_0_4_node_25 | 0.4 | n |  | TRUE
58 | bus_LV_791-1_0_4_node_26 | 0.4 | n |  | TRUE
59 | bus_LV_791-1_0_4_node_27 | 0.4 | n |  | TRUE
60 | bus_LV_791-1_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_791-1_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_791-1_0_4_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_791-1_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_791-1_0_4_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_791-1_0_4_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_791-1_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_791-1_0_4_node_105 | 0.4 | n |  | TRUE
68 | bus_LV_791-1_0_4_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_791-1_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_791-1_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_791-1_0_4_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_791-1_0_4_node_143 | 0.4 | n |  | TRUE
73 | bus_LV_791-1_0_4_node_145 | 0.4 | n |  | TRUE
74 | bus_LV_791-1_0_4_node_95 | 0.4 | n |  | TRUE
75 | bus_LV_791-1_0_4_node_96 | 0.4 | n |  | TRUE
76 | bus_LV_791-1_0_4_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_791-1_0_4_node_101 | 0.4 | n |  | TRUE
78 | bus_LV_791-1_0_4_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_791-1_0_4_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_791-1_0_4_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_791-1_0_4_node_144 | 0.4 | n |  | TRUE
82 | bus_LV_791-1_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_791-1_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_791-1_0_4_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_791-1_0_4_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_791-1_0_4_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_791-1_0_4_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_791-1_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_791-1_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_791-1_0_4_node_63 | 0.4 | n |  | TRUE
91 | bus_LV_791-1_0_4_node_64 | 0.4 | n |  | TRUE
92 | bus_LV_791-1_0_4_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_791-1_0_4_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_791-1_0_4_node_67 | 0.4 | n |  | TRUE
95 | bus_LV_791-1_0_4_node_68 | 0.4 | n |  | TRUE
96 | bus_LV_791-1_0_4_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_791-1_0_4_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_791-1_0_4_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_791-1_0_4_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_791-1_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_791-1_0_4_node_71 | 0.4 | n |  | TRUE
102 | bus_LV_791-1_0_4_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_791-1_0_4_node_74 | 0.4 | n |  | TRUE
104 | bus_LV_791-1_0_4_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_791-1_0_4_node_140 | 0.4 | n |  | TRUE
106 | bus_LV_791-1_0_4_node_81 | 0.4 | n |  | TRUE
107 | bus_LV_791-1_0_4_node_79 | 0.4 | n |  | TRUE
108 | bus_LV_791-1_0_4_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_791-1_0_4_node_90 | 0.4 | n |  | TRUE
110 | bus_LV_791-1_0_4_node_77 | 0.4 | n |  | TRUE
111 | bus_LV_791-1_0_4_node_78 | 0.4 | n |  | TRUE
112 | bus_LV_791-1_0_4_node_80 | 0.4 | n |  | TRUE
113 | bus_LV_791-1_0_4_node_82 | 0.4 | n |  | TRUE
114 | bus_LV_791-1_0_4_node_98 | 0.4 | n |  | TRUE
115 | bus_LV_791-1_0_4_node_118 | 0.4 | n |  | TRUE
116 | bus_LV_791-1_0_4_node_121 | 0.4 | n |  | TRUE
117 | bus_LV_791-1_0_4_node_117 | 0.4 | n |  | TRUE
118 | bus_LV_791-1_0_4_node_122 | 0.4 | n |  | TRUE
119 | bus_LV_791-1_0_4_node_127 | 0.4 | n |  | TRUE
120 | bus_LV_791-1_0_4_node_123 | 0.4 | n |  | TRUE
121 | bus_LV_791-1_0_4_node_124 | 0.4 | n |  | TRUE
122 | bus_LV_791-1_0_4_node_125 | 0.4 | n |  | TRUE
123 | bus_LV_791-1_0_4_node_130 | 0.4 | n |  | TRUE
124 | bus_LV_791-1_0_4_node_128 | 0.4 | n |  | TRUE
125 | bus_LV_791-1_0_4_node_129 | 0.4 | n |  | TRUE
126 | bus_LV_791-1_0_4_node_146 | 0.4 | n |  | TRUE
127 | bus_LV_791-1_0_4_node_107 | 0.4 | n |  | TRUE
128 | bus_LV_791-1_0_4_node_119 | 0.4 | n |  | TRUE
129 | bus_LV_791-1_0_4_node_115 | 0.4 | n |  | TRUE
130 | bus_LV_791-1_0_4_node_108 | 0.4 | n |  | TRUE
131 | bus_LV_791-1_0_4_node_126 | 0.4 | n |  | TRUE
132 | bus_LV_791-1_0_4_node_137 | 0.4 | n |  | TRUE
133 | bus_LV_791-1_0_4_node_131 | 0.4 | n |  | TRUE
134 | bus_LV_791-1_0_4_node_135 | 0.4 | n |  | TRUE
135 | bus_LV_791-1_0_4_node_136 | 0.4 | n |  | TRUE
136 | bus_LV_791-1_0_4_node_138 | 0.4 | n |  | TRUE
137 | bus_LV_791-1_0_4_node_139 | 0.4 | n |  | TRUE
138 | bus_LV_791-1_0_4_node_109 | 0.4 | n |  | TRUE
139 | bus_LV_791-1_0_4_node_110 | 0.4 | n |  | TRUE
140 | bus_LV_791-1_0_4_node_116 | 0.4 | n |  | TRUE
141 | bus_LV_791-1_0_4_node_120 | 0.4 | n |  | TRUE
142 | bus_LV_791-1_0_4_node_111 | 0.4 | n |  | TRUE
143 | bus_LV_791-1_0_4_node_112 | 0.4 | n |  | TRUE
144 | bus_LV_791-1_0_4_node_113 | 0.4 | n |  | TRUE
145 | bus_LV_791-1_0_4_node_114 | 0.4 | n |  | TRUE
146 | bus_MV_147_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_791-1_0_4_load_0 | 0 | 0.0023639 | 0.00059246 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_791-1_0_4_load_1 | 1 | 0.0020401 | 0.0005113 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_791-1_0_4_load_3 | 3 | 0.0021781 | 0.00054587 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_791-1_0_4_load_5 | 4 | 0.0012883 | 0.00032289 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_791-1_0_4_load_18 | 5 | 0.0020235 | 0.00050713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_791-1_0_4_load_31 | 7 | 0.0030376 | 0.00076131 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_791-1_0_4_load_28 | 8 | 0.0022668 | 0.00056812 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_791-1_0_4_load_83 | 9 | 0.0011279 | 0.00028268 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_791-1_0_4_load_36 | 11 | 0.00085389 | 0.000214 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_791-1_0_4_load_29 | 12 | 0.0012376 | 0.00031018 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_791-1_0_4_load_84 | 13 | 0.00054823 | 0.0001374 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_791-1_0_4_load_6 | 14 | 0.00118 | 0.00029573 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_791-1_0_4_load_7 | 15 | 0.00041798 | 0.00010476 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_791-1_0_4_load_10 | 18 | 0.00084778 | 0.00021247 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_791-1_0_4_load_51 | 20 | 0.00064169 | 0.00016082 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_791-1_0_4_load_32 | 21 | 0.00069067 | 0.0001731 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_791-1_0_4_load_141 | 22 | 0.00090403 | 0.00022657 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_791-1_0_4_load_52 | 23 | 0.00042115 | 0.00010555 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_791-1_0_4_load_33 | 24 | 0.00046494 | 0.00011652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_791-1_0_4_load_12 | 25 | 0.00049826 | 0.00012487 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_791-1_0_4_load_16 | 27 | 0.00077902 | 0.00019524 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_791-1_0_4_load_17 | 28 | 0.00062705 | 0.00015715 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_791-1_0_4_load_15 | 30 | 0.00054982 | 0.0001378 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_791-1_0_4_load_103 | 31 | 0.00096037 | 0.00024069 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_791-1_0_4_load_37 | 32 | 0.00028412 | 7.1208e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_791-1_0_4_load_38 | 33 | 0.00099098 | 0.00024836 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_791-1_0_4_load_39 | 34 | 0.00018273 | 4.5797e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_791-1_0_4_load_56 | 35 | 0.0002237 | 5.6064e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_791-1_0_4_load_41 | 37 | 0.0017019 | 0.00042654 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_791-1_0_4_load_19 | 38 | 0.00029965 | 7.51e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_791-1_0_4_load_20 | 39 | 0.00020919 | 5.2427e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_791-1_0_4_load_21 | 40 | 0.00015133 | 3.7927e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_791-1_0_4_load_22 | 41 | 0.00025685 | 6.4374e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_791-1_0_4_load_23 | 42 | 0.00026022 | 6.5218e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_791-1_0_4_load_58 | 43 | 0.00018557 | 4.6508e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_791-1_0_4_load_59 | 44 | 0.00024723 | 6.1962e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_791-1_0_4_load_61 | 46 | 0.00020469 | 5.1301e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_791-1_0_4_load_92 | 48 | 0.00053082 | 0.00013304 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_791-1_0_4_load_93 | 49 | 0.00023767 | 5.9565e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_791-1_0_4_load_134 | 51 | 0.00049302 | 0.00012356 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_791-1_0_4_load_132 | 52 | 0.00014757 | 3.6985e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_791-1_0_4_load_89 | 53 | 0.00028875 | 7.2367e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_791-1_0_4_load_54 | 54 | 0.00028935 | 7.2519e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_791-1_0_4_load_24 | 56 | 0.0021903 | 0.00054894 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_791-1_0_4_load_25 | 57 | 0.00064816 | 0.00016244 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_791-1_0_4_load_26 | 58 | 0.0018723 | 0.00046923 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_791-1_0_4_load_27 | 59 | 0.00065817 | 0.00016495 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_791-1_0_4_load_34 | 60 | 0.00060781 | 0.00015233 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_791-1_0_4_load_46 | 63 | 0.0013391 | 0.00033561 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_791-1_0_4_load_100 | 64 | 0.0024614 | 0.00061688 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_791-1_0_4_load_106 | 65 | 0.0040569 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_791-1_0_4_load_105 | 67 | 0.00035794 | 8.9708e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_791-1_0_4_load_104 | 68 | 0.00060729 | 0.0001522 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_791-1_0_4_load_44 | 70 | 0.001482 | 0.00037143 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_791-1_0_4_load_40 | 71 | 0.000649 | 0.00016266 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_791-1_0_4_load_143 | 72 | 0.0012466 | 0.00031243 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_791-1_0_4_load_145 | 73 | 0.00061663 | 0.00015454 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_791-1_0_4_load_95 | 74 | 0.00049498 | 0.00012405 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_791-1_0_4_load_96 | 75 | 0.00064182 | 0.00016086 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_791-1_0_4_load_101 | 77 | 0.0030619 | 0.00076738 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_791-1_0_4_load_47 | 78 | 0.00097443 | 0.00024422 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_791-1_0_4_load_48 | 79 | 0.0022062 | 0.00055293 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_791-1_0_4_load_49 | 80 | 0.00063239 | 0.00015849 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_791-1_0_4_load_144 | 81 | 0.00035592 | 8.9203e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_791-1_0_4_load_73 | 82 | 0.0032756 | 0.00082094 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_791-1_0_4_load_72 | 83 | 0.0012189 | 0.00030549 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_791-1_0_4_load_55 | 84 | 0.00023821 | 5.97e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_791-1_0_4_load_62 | 85 | 0.00021491 | 5.3861e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_791-1_0_4_load_69 | 86 | 0.00018511 | 4.6393e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_791-1_0_4_load_70 | 87 | 0.00044279 | 0.00011097 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_791-1_0_4_load_86 | 89 | 0.00013667 | 3.4254e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_791-1_0_4_load_63 | 90 | 0.0013009 | 0.00032603 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_791-1_0_4_load_64 | 91 | 0.0013188 | 0.00033051 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_791-1_0_4_load_66 | 93 | 0.0017162 | 0.00043012 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_791-1_0_4_load_68 | 95 | 0.00088646 | 0.00022217 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_791-1_0_4_load_97 | 97 | 0.0021999 | 0.00055136 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_791-1_0_4_load_85 | 98 | 0.0020107 | 0.00050392 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_791-1_0_4_load_99 | 99 | 0.0022516 | 0.00056429 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_791-1_0_4_load_91 | 100 | 0.00076065 | 0.00019064 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_791-1_0_4_load_71 | 101 | 0.00090496 | 0.0002268 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_791-1_0_4_load_88 | 102 | 0.0005967 | 0.00014955 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_791-1_0_4_load_75 | 104 | 0.0013867 | 0.00034755 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_791-1_0_4_load_102 | 108 | 0.0016717 | 0.00041896 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_791-1_0_4_load_90 | 109 | 0.002357 | 0.00059072 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_791-1_0_4_load_77 | 110 | 0.0017246 | 0.00043221 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_791-1_0_4_load_78 | 111 | 0.0038201 | 0.0009574 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_791-1_0_4_load_80 | 112 | 0.0014163 | 0.00035495 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_791-1_0_4_load_82 | 113 | 0.0018729 | 0.0004694 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_791-1_0_4_load_118 | 115 | 0.00032936 | 8.2545e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_791-1_0_4_load_121 | 116 | 0.00027535 | 6.9009e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_791-1_0_4_load_122 | 118 | 0.00017749 | 4.4484e-05 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_791-1_0_4_load_127 | 119 | 0.00050525 | 0.00012663 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_791-1_0_4_load_123 | 120 | 0.00026357 | 6.6058e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_791-1_0_4_load_130 | 123 | 0.00029714 | 7.447e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_791-1_0_4_load_128 | 124 | 0.00026216 | 6.5702e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_791-1_0_4_load_129 | 125 | 0.0014173 | 0.00035521 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_791-1_0_4_load_146 | 126 | 0.0053652 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_791-1_0_4_load_107 | 127 | 0.00014288 | 3.5808e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_791-1_0_4_load_119 | 128 | 0.0006228 | 0.00015609 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_791-1_0_4_load_115 | 129 | 0.0012664 | 0.00031739 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_791-1_0_4_load_108 | 130 | 0.00036353 | 9.1108e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_791-1_0_4_load_126 | 131 | 0.0010973 | 0.00027501 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_791-1_0_4_load_131 | 133 | 0.00025352 | 6.3538e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_791-1_0_4_load_135 | 134 | 0.0036039 | 0.00090323 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_791-1_0_4_load_136 | 135 | 0.00049828 | 0.00012488 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_791-1_0_4_load_139 | 137 | 0.0025688 | 0.0006438 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_791-1_0_4_load_109 | 138 | 0.00039396 | 9.8737e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_791-1_0_4_load_110 | 139 | 0.000544 | 0.00013634 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_791-1_0_4_load_120 | 141 | 0.00044903 | 0.00011254 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_791-1_0_4_load_111 | 142 | 0.00052495 | 0.00013156 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_791-1_0_4_load_112 | 143 | 0.00047384 | 0.00011876 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_791-1_0_4_load_113 | 144 | 0.00026015 | 6.52e-05 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_791-1_0_4_load_114 | 145 | 0.00014395 | 3.6077e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_791-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_791-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_791-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.007675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_791-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_791-1_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_791-1_0_4_line_5 | NAYY 4x150 SE | 4 | 9 | 0.0057795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_791-1_0_4_line_6 | NAYY 4x150 SE | 5 | 10 | 0.026683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_791-1_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.018468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_791-1_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0061562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_791-1_0_4_line_9 | NAYY 4x150 SE | 7 | 11 | 0.020629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_791-1_0_4_line_10 | NAYY 4x150 SE | 8 | 12 | 0.024064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_791-1_0_4_line_11 | NAYY 4x150 SE | 9 | 13 | 0.0075236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_791-1_0_4_line_12 | NAYY 4x150 SE | 10 | 36 | 0.017584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_791-1_0_4_line_13 | NAYY 4x150 SE | 10 | 37 | 0.012812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_791-1_0_4_line_14 | NAYY 4x150 SE | 12 | 62 | 0.023046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_791-1_0_4_line_15 | NAYY 4x150 SE | 13 | 98 | 0.0074869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_791-1_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.028196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_791-1_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.024086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_791-1_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.014756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_791-1_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.025889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_791-1_0_4_line_20 | NAYY 4x150 SE | 16 | 19 | 0.031315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_791-1_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.038184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_791-1_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.00059387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_791-1_0_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.010083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_791-1_0_4_line_24 | NAYY 4x150 SE | 20 | 23 | 0.029139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_791-1_0_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.00034594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_791-1_0_4_line_26 | NAYY 4x150 SE | 23 | 55 | 0.0075054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_791-1_0_4_line_27 | NAYY 4x150 SE | 24 | 66 | 0.25607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_791-1_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.040699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_791-1_0_4_line_29 | NAYY 4x150 SE | 25 | 27 | 0.1213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_791-1_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.025427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_791-1_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.030712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_791-1_0_4_line_32 | NAYY 4x150 SE | 28 | 31 | 0.012363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_791-1_0_4_line_33 | NAYY 4x150 SE | 29 | 30 | 0.023578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_791-1_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.018185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_791-1_0_4_line_35 | NAYY 4x150 SE | 31 | 35 | 0.16926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_791-1_0_4_line_36 | NAYY 4x150 SE | 32 | 33 | 0.10541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_791-1_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.029621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_791-1_0_4_line_38 | NAYY 4x150 SE | 34 | 74 | 0.040211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_791-1_0_4_line_39 | NAYY 4x150 SE | 35 | 66 | 0.099708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_791-1_0_4_line_40 | NAYY 4x150 SE | 36 | 64 | 0.011065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_791-1_0_4_line_41 | NAYY 4x150 SE | 36 | 62 | 0.029756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_791-1_0_4_line_42 | NAYY 4x150 SE | 37 | 71 | 0.036455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_791-1_0_4_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0072591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_791-1_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.020248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_791-1_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.010211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_791-1_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0015763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_791-1_0_4_line_47 | NAYY 4x150 SE | 41 | 53 | 0.041681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_791-1_0_4_line_48 | NAYY 4x150 SE | 42 | 54 | 0.010261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_791-1_0_4_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0027727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_791-1_0_4_line_50 | NAYY 4x150 SE | 43 | 45 | 0.080365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_791-1_0_4_line_51 | NAYY 4x150 SE | 44 | 46 | 0.0031025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_791-1_0_4_line_52 | NAYY 4x150 SE | 45 | 85 | 0.019151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_791-1_0_4_line_53 | NAYY 4x150 SE | 45 | 53 | 0.071813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_791-1_0_4_line_54 | NAYY 4x150 SE | 46 | 47 | 0.056054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_791-1_0_4_line_55 | NAYY 4x150 SE | 47 | 50 | 0.024841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_791-1_0_4_line_56 | NAYY 4x150 SE | 47 | 49 | 0.010392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_791-1_0_4_line_57 | NAYY 4x150 SE | 48 | 49 | 0.049647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_791-1_0_4_line_58 | NAYY 4x150 SE | 50 | 51 | 0.0039518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_791-1_0_4_line_59 | NAYY 4x150 SE | 50 | 52 | 0.071818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_791-1_0_4_line_60 | NAYY 4x150 SE | 51 | 134 | 0.055037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_791-1_0_4_line_61 | NAYY 4x150 SE | 52 | 133 | 0.078874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_791-1_0_4_line_62 | NAYY 4x150 SE | 54 | 55 | 0.0077216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_791-1_0_4_line_63 | NAYY 4x150 SE | 55 | 84 | 0.0030173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_791-1_0_4_line_64 | NAYY 4x150 SE | 56 | 57 | 0.018031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_791-1_0_4_line_65 | NAYY 4x150 SE | 56 | 58 | 0.0093489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_791-1_0_4_line_66 | NAYY 4x150 SE | 57 | 59 | 5.2066e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_791-1_0_4_line_67 | NAYY 4x150 SE | 59 | 60 | 0.0081027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_791-1_0_4_line_68 | NAYY 4x150 SE | 60 | 61 | 0.013749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_791-1_0_4_line_69 | NAYY 4x150 SE | 61 | 68 | 0.020763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_791-1_0_4_line_70 | NAYY 4x150 SE | 61 | 69 | 0.006866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_791-1_0_4_line_71 | NAYY 4x150 SE | 62 | 63 | 0.016308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_791-1_0_4_line_72 | NAYY 4x150 SE | 63 | 65 | 0.010414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_791-1_0_4_line_73 | NAYY 4x150 SE | 64 | 76 | 0.023177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_791-1_0_4_line_74 | NAYY 4x150 SE | 66 | 67 | 0.088855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_791-1_0_4_line_75 | NAYY 4x150 SE | 69 | 70 | 0.053755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_791-1_0_4_line_76 | NAYY 4x150 SE | 69 | 71 | 0.0039589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_791-1_0_4_line_77 | NAYY 4x150 SE | 72 | 73 | 0.11837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_791-1_0_4_line_78 | NAYY 4x150 SE | 73 | 81 | 0.12099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_791-1_0_4_line_79 | NAYY 4x150 SE | 74 | 75 | 0.078588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_791-1_0_4_line_80 | NAYY 4x150 SE | 75 | 127 | 0.039397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_791-1_0_4_line_81 | NAYY 4x150 SE | 76 | 77 | 0.0029074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_791-1_0_4_line_82 | NAYY 4x150 SE | 77 | 84 | 0.024062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_791-1_0_4_line_83 | NAYY 4x150 SE | 78 | 79 | 0.042418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_791-1_0_4_line_84 | NAYY 4x150 SE | 79 | 80 | 0.010369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_791-1_0_4_line_85 | NAYY 4x150 SE | 80 | 82 | 0.017833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_791-1_0_4_line_86 | NAYY 4x150 SE | 81 | 105 | 0.17194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_791-1_0_4_line_87 | NAYY 4x150 SE | 82 | 83 | 0.030125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_791-1_0_4_line_88 | NAYY 4x150 SE | 83 | 103 | 0.03161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_791-1_0_4_line_89 | NAYY 4x150 SE | 85 | 86 | 0.03175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_791-1_0_4_line_90 | NAYY 4x150 SE | 86 | 87 | 0.0047864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_791-1_0_4_line_91 | NAYY 4x150 SE | 87 | 101 | 0.10003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_791-1_0_4_line_92 | NAYY 4x150 SE | 87 | 88 | 0.058872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_791-1_0_4_line_93 | NAYY 4x150 SE | 88 | 89 | 0.012278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_791-1_0_4_line_94 | NAYY 4x150 SE | 89 | 102 | 0.0081792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_791-1_0_4_line_95 | NAYY 4x150 SE | 90 | 91 | 0.0086351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_791-1_0_4_line_96 | NAYY 4x150 SE | 90 | 92 | 0.0065507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_791-1_0_4_line_97 | NAYY 4x150 SE | 91 | 93 | 0.006569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_791-1_0_4_line_98 | NAYY 4x150 SE | 92 | 94 | 0.036707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_791-1_0_4_line_99 | NAYY 4x150 SE | 92 | 95 | 0.019867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_791-1_0_4_line_100 | NAYY 4x150 SE | 93 | 96 | 0.025131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_791-1_0_4_line_101 | NAYY 4x150 SE | 94 | 97 | 0.04943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_791-1_0_4_line_102 | NAYY 4x150 SE | 94 | 98 | 0.0053622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_791-1_0_4_line_103 | NAYY 4x150 SE | 96 | 99 | 0.049387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_791-1_0_4_line_104 | NAYY 4x150 SE | 96 | 100 | 0.038239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_791-1_0_4_line_105 | NAYY 4x150 SE | 99 | 108 | 0.010211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_791-1_0_4_line_106 | NAYY 4x150 SE | 100 | 109 | 0.036452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_791-1_0_4_line_107 | NAYY 4x150 SE | 103 | 104 | 0.034871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_791-1_0_4_line_108 | NAYY 4x150 SE | 104 | 106 | 0.088895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_791-1_0_4_line_109 | NAYY 4x150 SE | 105 | 136 | 0.052692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_791-1_0_4_line_110 | NAYY 4x150 SE | 106 | 107 | 0.085819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_791-1_0_4_line_111 | NAYY 4x150 SE | 107 | 113 | 0.050347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_791-1_0_4_line_112 | NAYY 4x150 SE | 107 | 110 | 0.039132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_791-1_0_4_line_113 | NAYY 4x150 SE | 108 | 114 | 0.037212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_791-1_0_4_line_114 | NAYY 4x150 SE | 109 | 126 | 0.29037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_791-1_0_4_line_115 | NAYY 4x150 SE | 110 | 111 | 0.0073043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_791-1_0_4_line_116 | NAYY 4x150 SE | 111 | 112 | 0.045502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_791-1_0_4_line_117 | NAYY 4x150 SE | 112 | 114 | 0.0028615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_791-1_0_4_line_118 | NAYY 4x150 SE | 115 | 116 | 0.10375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_791-1_0_4_line_119 | NAYY 4x150 SE | 115 | 117 | 0.050173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_791-1_0_4_line_120 | NAYY 4x150 SE | 116 | 118 | 0.081349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_791-1_0_4_line_121 | NAYY 4x150 SE | 116 | 119 | 0.16903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_791-1_0_4_line_122 | NAYY 4x150 SE | 117 | 128 | 0.091559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_791-1_0_4_line_123 | NAYY 4x150 SE | 119 | 123 | 0.13038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_791-1_0_4_line_124 | NAYY 4x150 SE | 119 | 121 | 0.05562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_791-1_0_4_line_125 | NAYY 4x150 SE | 120 | 121 | 0.058378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_791-1_0_4_line_126 | NAYY 4x150 SE | 120 | 122 | 0.16002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_791-1_0_4_line_127 | NAYY 4x150 SE | 122 | 131 | 0.08004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_791-1_0_4_line_128 | NAYY 4x150 SE | 123 | 124 | 0.0020082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_791-1_0_4_line_129 | NAYY 4x150 SE | 124 | 125 | 0.090984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_791-1_0_4_line_130 | NAYY 4x150 SE | 125 | 133 | 0.017024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_791-1_0_4_line_131 | NAYY 4x150 SE | 127 | 130 | 0.0061564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_791-1_0_4_line_132 | NAYY 4x150 SE | 128 | 129 | 0.22548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_791-1_0_4_line_133 | NAYY 4x150 SE | 129 | 140 | 0.036739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_791-1_0_4_line_134 | NAYY 4x150 SE | 130 | 138 | 0.041201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_791-1_0_4_line_135 | NAYY 4x150 SE | 131 | 132 | 0.040756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_791-1_0_4_line_136 | NAYY 4x150 SE | 132 | 137 | 0.022422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_791-1_0_4_line_137 | NAYY 4x150 SE | 132 | 135 | 0.0087742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_791-1_0_4_line_138 | NAYY 4x150 SE | 135 | 136 | 0.032573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_791-1_0_4_line_139 | NAYY 4x150 SE | 138 | 139 | 0.025383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_791-1_0_4_line_140 | NAYY 4x150 SE | 139 | 142 | 0.00044953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_791-1_0_4_line_141 | NAYY 4x150 SE | 140 | 141 | 0.007968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_791-1_0_4_line_142 | NAYY 4x150 SE | 142 | 143 | 0.00030654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_791-1_0_4_line_143 | NAYY 4x150 SE | 143 | 144 | 0.0093606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_791-1_0_4_line_144 | NAYY 4x150 SE | 144 | 145 | 0.0088718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_791-1_0_4_trafo_30 | 0.25 MVA 20/0.4 kV | 146 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2594727.528 | 1163582.6566 | 2594717.5406 | 1163581.9538 | 2594707.5072 | 1163581.2494
1 | 2594746.4017 | 1163583.9847 | 2594727.528 | 1163582.6566
2 | 2594699.851 | 1163580.7119 | 2594707.5072 | 1163581.2494
3 | 2594746.4017 | 1163583.9847 | 2594746.9773 | 1163585.3071 | 2594759.4741 | 1163590.7987 | 2594767.7802 | 1163595.0046 | 2594781.6739 | 1163603.9968 | 2594789.7738 | 1163608.8032 | 2594798.6776 | 1163613.3976 | 2594806.3794 | 1163618.5045 | 2594815.6774 | 1163627.2007 | 2594828.2739 | 1163641.897 | 2594829.7093 | 1163643.208
4 | 2594676.9307 | 1163579.1027 | 2594699.851 | 1163580.7119
5 | 2594833.9767 | 1163647.1057 | 2594833.9767 | 1163647.1057 | 2594829.7093 | 1163643.208
6 | 2594650.3128 | 1163577.234 | 2594676.9307 | 1163579.1027
7 | 2594739.3422 | 1163551.875 | 2594744.3885 | 1163550.7589 | 2594747.7039 | 1163549.6109 | 2594756.9864 | 1163546.4954
8 | 2594739.3422 | 1163551.875 | 2594733.2111 | 1163552.4305
9 | 2594756.9864 | 1163546.4954 | 2594774.1046 | 1163540.7499 | 2594776.3073 | 1163539.4215
10 | 2594709.1571 | 1163552.1499 | 2594731.7833 | 1163552.5599 | 2594733.2111 | 1163552.4305
11 | 2594833.9767 | 1163647.1057 | 2594839.6641 | 1163652.031
12 | 2594650.3128 | 1163577.234 | 2594657.6358 | 1163561.2417
13 | 2594650.3128 | 1163577.234 | 2594647.0718 | 1163584.3182 | 2594644.8245 | 1163588.8086
14 | 2594686.1354 | 1163552.9008 | 2594692.1397 | 1163552.4063 | 2594706.6381 | 1163552.1043 | 2594709.1571 | 1163552.1499
15 | 2594845.879 | 1163656.1998 | 2594839.9782 | 1163652.303 | 2594839.6641 | 1163652.031
16 | 2594568.1878 | 1163657.9321 | 2594569.7159 | 1163643.429 | 2594569.4202 | 1163638.3267 | 2594568.5203 | 1163634.2255 | 2594566.6182 | 1163631.3258 | 2594565.9328 | 1163630.8489
17 | 2594577.428 | 1163676.3605 | 2594574.1187 | 1163675.7187 | 2594570.7163 | 1163673.7208 | 2594568.9222 | 1163671.6214 | 2594567.6176 | 1163668.8213 | 2594567.6202 | 1163663.3185 | 2594568.1878 | 1163657.9321
18 | 2594553.8195 | 1163622.422 | 2594565.9328 | 1163630.8489
19 | 2594577.428 | 1163676.3605 | 2594578.5701 | 1163685.7752 | 2594579.8021 | 1163702.1343
20 | 2594577.428 | 1163676.3605 | 2594579.818 | 1163676.8252 | 2594608.4359 | 1163681.3235
21 | 2594553.8195 | 1163622.422 | 2594559.7164 | 1163613.4232 | 2594573.7572 | 1163589.8646
22 | 2594579.8467 | 1163702.7265 | 2594579.8021 | 1163702.1343
23 | 2594611.9676 | 1163690.7694 | 2594608.4359 | 1163681.3235
24 | 2594573.7572 | 1163589.8646 | 2594583.3159 | 1163573.8264 | 2594588.1195 | 1163566.9186 | 2594589.4663 | 1163565.3667
25 | 2594579.8726 | 1163703.0715 | 2594579.8467 | 1163702.7265
26 | 2594594.3857 | 1163559.6982 | 2594589.4663 | 1163565.3667
27 | 2594579.8726 | 1163703.0715 | 2594529.8084 | 1163954.1976
28 | 2594432.5705 | 1163680.1744 | 2594417.7664 | 1163680.8775 | 2594411.0722 | 1163680.5725 | 2594404.6687 | 1163679.8782 | 2594392.236 | 1163677.1158
29 | 2594392.236 | 1163677.1158 | 2594272.2293 | 1163659.4595
30 | 2594432.5705 | 1163680.1744 | 2594422.3759 | 1163687.721 | 2594418.1741 | 1163690.9154 | 2594416.1701 | 1163693.6187 | 2594415.6748 | 1163696.3205 | 2594415.809 | 1163697.6665
31 | 2594277.8112 | 1163629.5298 | 2594272.2237 | 1163649.0894 | 2594272.2293 | 1163659.4595
32 | 2594418.7736 | 1163709.324 | 2594416.6722 | 1163706.3245 | 2594415.809 | 1163697.6665
33 | 2594277.8112 | 1163629.5298 | 2594270.8523 | 1163624.8342 | 2594258.5886 | 1163615.8823
34 | 2594243.9005 | 1163605.1607 | 2594258.5886 | 1163615.8823
35 | 2594418.7736 | 1163709.324 | 2594486.7066 | 1163864.3485
36 | 2594153.0521 | 1163551.7098 | 2594243.9005 | 1163605.1607
37 | 2594124.3334 | 1163544.4554 | 2594153.0521 | 1163551.7098
38 | 2594124.3334 | 1163544.4554 | 2594095.7263 | 1163537.2291 | 2594085.4219 | 1163534.3268 | 2594085.4219 | 1163534.3268
39 | 2594529.8084 | 1163954.1976 | 2594512.9852 | 1163915.7051 | 2594497.6105 | 1163886.8495 | 2594486.7066 | 1163864.3485
40 | 2594657.6358 | 1163561.2417 | 2594656.3342 | 1163561.8098 | 2594649.7184 | 1163563.5611 | 2594646.9267 | 1163563.7856
41 | 2594657.6358 | 1163561.2417 | 2594666.5398 | 1163557.4095 | 2594678.3395 | 1163554.1084 | 2594686.1354 | 1163552.9008
42 | 2594628.5092 | 1163621.4089 | 2594628.5092 | 1163621.4089 | 2594644.8245 | 1163588.8086
43 | 2594555.3954 | 1163552.9465 | 2594555.0195 | 1163552.9642 | 2594548.3464 | 1163554.6504
44 | 2594575.4333 | 1163555.0465 | 2594561.5217 | 1163552.6581 | 2594555.3954 | 1163552.9465
45 | 2594538.5908 | 1163557.6528 | 2594546.3207 | 1163555.1622 | 2594548.3464 | 1163554.6504
46 | 2594576.9869 | 1163555.3132 | 2594575.4333 | 1163555.0465
47 | 2594498.0709 | 1163557.6804 | 2594505.219 | 1163560.0581 | 2594512.2209 | 1163561.7636 | 2594517.7206 | 1163562.2588 | 2594527.117 | 1163560.8605 | 2594534.5216 | 1163558.9639 | 2594538.5908 | 1163557.6528
48 | 2594576.9869 | 1163555.3132 | 2594582.5186 | 1163556.2629 | 2594586.954 | 1163557.6536
49 | 2594539.3413 | 1163418.0874 | 2594537.6518 | 1163420.2858
50 | 2594493.3782 | 1163486.0213 | 2594495.874 | 1163476.6143 | 2594498.8775 | 1163469.5191 | 2594503.1745 | 1163461.5223 | 2594508.5748 | 1163453.8135 | 2594526.1738 | 1163435.2213 | 2594537.6518 | 1163420.2858
51 | 2594541.1356 | 1163415.5571 | 2594539.7756 | 1163417.5222 | 2594539.3413 | 1163418.0874
52 | 2594493.3782 | 1163486.0213 | 2594482.3225 | 1163482.3186 | 2594475.2952 | 1163479.7205
53 | 2594498.0709 | 1163557.6804 | 2594493.3782 | 1163486.0213
54 | 2594566.9343 | 1163366.2496 | 2594566.0714 | 1163369.0963 | 2594562.0762 | 1163380.6946 | 2594556.6721 | 1163392.6944 | 2594552.374 | 1163399.6017 | 2594544.5716 | 1163410.5921 | 2594541.1356 | 1163415.5571
55 | 2594573.8748 | 1163342.3981 | 2594566.9343 | 1163366.2496
56 | 2594566.9343 | 1163366.2496 | 2594559.1133 | 1163373.0932
57 | 2594559.1133 | 1163373.0932 | 2594552.2708 | 1163379.0806 | 2594544.6705 | 1163384.8793 | 2594524.9711 | 1163393.5796 | 2594516.8407 | 1163398.4157
58 | 2594573.8748 | 1163342.3981 | 2594577.1664 | 1163340.2829 | 2594577.1916 | 1163340.2529
59 | 2594573.8748 | 1163342.3981 | 2594578.4771 | 1163316.192 | 2594579.4719 | 1163306.7976 | 2594579.776 | 1163295.9919 | 2594579.0766 | 1163284.9982 | 2594577.3164 | 1163271.172
60 | 2594599.2651 | 1163333.4816 | 2594603.87 | 1163326.7741 | 2594605.1693 | 1163323.7826 | 2594605.0671 | 1163320.8812 | 2594603.7705 | 1163318.4812 | 2594601.5712 | 1163317.2826 | 2594598.2701 | 1163317.3746 | 2594592.4662 | 1163319.4809 | 2594587.2698 | 1163324.2769 | 2594583.2695 | 1163330.3836 | 2594579.7678 | 1163337.179 | 2594577.1916 | 1163340.2529
61 | 2594577.3164 | 1163271.172 | 2594575.4738 | 1163256.6986 | 2594574.1743 | 1163242.893 | 2594574.3734 | 1163226.0956 | 2594573.7782 | 1163220.0931 | 2594571.2727 | 1163210.8909 | 2594564.8548 | 1163194.0213
62 | 2594594.3857 | 1163559.6982 | 2594592.417 | 1163559.3665 | 2594586.954 | 1163557.6536
63 | 2594594.3857 | 1163559.6982 | 2594597.362 | 1163560.1937
64 | 2594605.545 | 1163605.4773 | 2594605.9091 | 1163606.3108 | 2594604.3134 | 1163623.3578
65 | 2594601.8029 | 1163596.9099 | 2594605.545 | 1163605.4773
66 | 2594604.3134 | 1163623.3578 | 2594604.3086 | 1163623.4097 | 2594604.3086 | 1163623.4097
67 | 2594604.3086 | 1163623.4097 | 2594611.8345 | 1163626.412
68 | 2594624.6046 | 1163631.5064 | 2594611.8345 | 1163626.412
69 | 2594620.219 | 1163651.6759 | 2594622.8168 | 1163644.7701 | 2594624.6046 | 1163631.5064
70 | 2594627.0803 | 1163625.1009 | 2594624.6046 | 1163631.5064
71 | 2594686.1354 | 1163552.9008 | 2594684.6048 | 1163545.7208 | 2594681.9218 | 1163537.1652
72 | 2594678.8055 | 1163527.228 | 2594681.9218 | 1163537.1652
73 | 2594623.8245 | 1163565.1519 | 2594625.3718 | 1163565.3618 | 2594629.1706 | 1163565.2138 | 2594646.9267 | 1163563.7856
74 | 2594529.8084 | 1163954.1976 | 2594562.5875 | 1163996.2994 | 2594568.0649 | 1164006.3994 | 2594591.459 | 1164011.7918
75 | 2594627.0803 | 1163625.1009 | 2594631.2196 | 1163628.8768 | 2594634.4152 | 1163630.8749 | 2594637.518 | 1163631.8726 | 2594640.7197 | 1163632.1699 | 2594645.1155 | 1163631.6768 | 2594659.3204 | 1163628.8737 | 2594667.1164 | 1163627.8773 | 2594672.7156 | 1163628.3725 | 2594678.0174 | 1163630.3687
76 | 2594627.0803 | 1163625.1009 | 2594628.5092 | 1163621.4089
77 | 2594793.2067 | 1163175.0518 | 2594858.7483 | 1163076.4791
78 | 2594858.7483 | 1163076.4791 | 2594894.7259 | 1162960.9574
79 | 2594085.4219 | 1163534.3268 | 2594077.3248 | 1163532.823 | 2594067.5274 | 1163531.5211 | 2594056.2226 | 1163531.5212 | 2594015.8219 | 1163532.7291 | 2594007.0772 | 1163532.6754
80 | 2593967.8724 | 1163529.2849 | 2593968.623 | 1163529.3307 | 2593990.9215 | 1163532.1317 | 2593998.7267 | 1163532.6241 | 2594007.0772 | 1163532.6754
81 | 2594623.8245 | 1163565.1519 | 2594620.9432 | 1163564.7627
82 | 2594620.9432 | 1163564.7627 | 2594614.6707 | 1163563.9152 | 2594607.6685 | 1163561.9094 | 2594597.362 | 1163560.1937
83 | 2594844.6995 | 1163537.9264 | 2594847.8919 | 1163540.1405 | 2594852.1903 | 1163542.0377 | 2594855.3923 | 1163542.5352 | 2594858.7928 | 1163542.3433 | 2594866.895 | 1163541.0356 | 2594879.4932 | 1163539.9352 | 2594885.8262 | 1163539.7955
84 | 2594885.8262 | 1163539.7955 | 2594896.1931 | 1163539.5668
85 | 2594896.1931 | 1163539.5668 | 2594914.0221 | 1163539.1735
86 | 2594725.1804 | 1162932.3361 | 2594894.7259 | 1162960.9574
87 | 2594944.1333 | 1163538.9532 | 2594938.092 | 1163538.6398 | 2594927.2086 | 1163538.8826 | 2594914.0221 | 1163539.1735
88 | 2594975.2892 | 1163544.0441 | 2594949.6884 | 1163539.2413 | 2594944.1333 | 1163538.9532
89 | 2594445.8283 | 1163467.9122 | 2594445.8283 | 1163467.9122 | 2594465.8266 | 1163476.2199 | 2594475.2952 | 1163479.7205
90 | 2594445.8283 | 1163467.9122 | 2594443.1897 | 1163471.9056
91 | 2594354.6672 | 1163426.2665 | 2594363.072 | 1163429.0599 | 2594372.0674 | 1163432.6643 | 2594383.7686 | 1163438.4561 | 2594391.9692 | 1163443.9621 | 2594395.5708 | 1163445.8597 | 2594409.6689 | 1163451.2602 | 2594432.0166 | 1163465.5129 | 2594443.1897 | 1163471.9056
92 | 2594414.861 | 1163523.5133 | 2594443.1897 | 1163471.9056
93 | 2594414.861 | 1163523.5133 | 2594410.8255 | 1163524.462 | 2594403.1229 | 1163527.0706
94 | 2594395.8272 | 1163530.7682 | 2594403.1229 | 1163527.0706
95 | 2594886.1697 | 1163683.3784 | 2594886.4032 | 1163683.5338 | 2594894.1297 | 1163686.7121
96 | 2594880.717 | 1163679.748 | 2594886.1697 | 1163683.3784
97 | 2594894.1297 | 1163686.7121 | 2594900.2048 | 1163689.2111
98 | 2594880.717 | 1163679.748 | 2594862.9749 | 1163666.3011 | 2594850.6756 | 1163658.5968
99 | 2594861.0238 | 1163677.2638 | 2594868.7225 | 1163678.9579 | 2594875.823 | 1163679.7633 | 2594880.717 | 1163679.748
100 | 2594923.1789 | 1163698.5541 | 2594918.1774 | 1163698.2471 | 2594901.2898 | 1163689.6574 | 2594900.2048 | 1163689.2111
101 | 2594898.8236 | 1163662.9573 | 2594888.8255 | 1163659.253 | 2594883.5251 | 1163658.8574 | 2594878.9227 | 1163659.5617 | 2594871.0283 | 1163661.8586 | 2594866.1265 | 1163661.7628 | 2594861.7215 | 1163660.5549 | 2594856.3215 | 1163659.9593 | 2594850.6756 | 1163658.5968
102 | 2594850.6756 | 1163658.5968 | 2594845.879 | 1163656.1998 | 2594845.879 | 1163656.1998
103 | 2594923.1789 | 1163698.5541 | 2594928.5778 | 1163697.7491 | 2594939.0776 | 1163697.1509 | 2594972.4773 | 1163696.2553
104 | 2594923.1789 | 1163698.5541 | 2594927.8765 | 1163701.6627 | 2594937.6754 | 1163705.3562 | 2594958.8203 | 1163711.8979
105 | 2594972.4773 | 1163696.2553 | 2594972.4773 | 1163696.2553 | 2594982.6864 | 1163696.4326
106 | 2594993.4098 | 1163723.3604 | 2594980.6761 | 1163718.6595 | 2594958.8203 | 1163711.8979
107 | 2594975.2892 | 1163544.0441 | 2594975.7684 | 1163549.1351 | 2594978.0703 | 1163554.1357 | 2594981.5748 | 1163559.1352 | 2594986.9707 | 1163563.8329 | 2594996.0524 | 1163570.0268
108 | 2595047.5751 | 1163634.8283 | 2595046.7708 | 1163625.4354 | 2595045.77 | 1163619.3332 | 2595044.27 | 1163611.6306 | 2595042.0674 | 1163606.2409 | 2595040.1726 | 1163602.6407 | 2595036.9668 | 1163597.5409 | 2595029.6696 | 1163590.6325 | 2595023.9754 | 1163586.4352 | 2595006.6731 | 1163576.7338 | 2594997.9755 | 1163571.3385 | 2594996.0524 | 1163570.0268
109 | 2594725.1804 | 1162932.3361 | 2594719.8763 | 1162928.4612 | 2594711.7742 | 1162922.2653 | 2594705.0666 | 1162916.3795 | 2594702.7745 | 1162914.3583 | 2594691.3742 | 1162903.163 | 2594685.1727 | 1162898.0327
110 | 2595047.5751 | 1163634.8283 | 2595039.619 | 1163636.6247 | 2595034.9177 | 1163638.2294 | 2595029.5189 | 1163639.1233 | 2595014.7137 | 1163638.7244 | 2595003.7222 | 1163637.6887 | 2594993.106 | 1163636.6972 | 2594977.2046 | 1163635.0988 | 2594962.3066 | 1163633.5996
111 | 2594962.3066 | 1163633.5996 | 2594956.3075 | 1163631.0923 | 2594944.2042 | 1163628.6014 | 2594934.0097 | 1163628.1988 | 2594924.3282 | 1163627.5512 | 2594912.8555 | 1163625.9581
112 | 2594962.3066 | 1163633.5996 | 2594958.4853 | 1163634.2031 | 2594954.382 | 1163636.4077 | 2594949.9816 | 1163640.6024 | 2594948.086 | 1163645.1063 | 2594947.783 | 1163649.0085 | 2594949.4871 | 1163653.5092 | 2594953.7869 | 1163657.1074 | 2594958.5141 | 1163659.5172
113 | 2595009.5037 | 1163681.828 | 2595008.5743 | 1163687.7539 | 2595007.3756 | 1163692.2572 | 2595005.3792 | 1163695.2492 | 2595001.1757 | 1163696.7535 | 2594982.6864 | 1163696.4326
114 | 2594993.4098 | 1163723.3604 | 2594980.3746 | 1164013.4393
115 | 2594958.5141 | 1163659.5172 | 2594963.3877 | 1163662.0016 | 2594965.0726 | 1163662.726
116 | 2594965.0726 | 1163662.726 | 2595006.8749 | 1163680.6978
117 | 2595009.5037 | 1163681.828 | 2595006.8749 | 1163680.6978
118 | 2594320.171 | 1163130.6892 | 2594316.5666 | 1163126.9879 | 2594271.9657 | 1163072.5927 | 2594254.4129 | 1163050.4717
119 | 2594217.7189 | 1163016.8844 | 2594229.9669 | 1163024.6986 | 2594235.1641 | 1163028.6955 | 2594247.762 | 1163042.0899 | 2594254.4129 | 1163050.4717
120 | 2594320.171 | 1163130.6892 | 2594343.0643 | 1163154.1983 | 2594358.9604 | 1163172.8924 | 2594368.4625 | 1163185.3896 | 2594373.1278 | 1163192.2504
121 | 2594429.0825 | 1163001.4212 | 2594320.171 | 1163130.6892
122 | 2594217.7189 | 1163016.8844 | 2594209.7769 | 1163002.3516 | 2594207.1805 | 1162994.8504 | 2594206.5833 | 1162987.2583 | 2594206.7839 | 1162980.8439 | 2594207.9808 | 1162975.0398 | 2594210.6844 | 1162966.8442 | 2594212.3843 | 1162958.4384 | 2594213.9798 | 1162937.1485 | 2594214.877 | 1162930.3443 | 2594215.2325 | 1162928.7001
123 | 2594522.2396 | 1163092.6365 | 2594429.0825 | 1163001.4212
124 | 2594441.1441 | 1162948.4925 | 2594436.7674 | 1162953.588 | 2594433.6633 | 1162959.694 | 2594432.766 | 1162966.6983 | 2594431.9636 | 1162984.997 | 2594429.0825 | 1163001.4212
125 | 2594441.1441 | 1162948.4925 | 2594445.4889 | 1162942.152 | 2594448.8422 | 1162932.0549 | 2594448.6385 | 1162927.2527 | 2594445.5433 | 1162918.4513 | 2594437.6381 | 1162901.8505 | 2594435.4406 | 1162894.649
126 | 2594560.4432 | 1162794.7502 | 2594435.4406 | 1162894.649
127 | 2594560.4432 | 1162794.7502 | 2594579.4264 | 1162813.2086 | 2594589.4238 | 1162822.7153 | 2594620.8043 | 1162847.1414
128 | 2594523.1044 | 1163094.4489 | 2594522.2396 | 1163092.6365
129 | 2594523.1044 | 1163094.4489 | 2594528.044 | 1163104.8003 | 2594538.2446 | 1163127.491 | 2594555.4482 | 1163169.2959 | 2594558.8013 | 1163178.1094
130 | 2594564.8548 | 1163194.0213 | 2594558.8013 | 1163178.1094
131 | 2593967.8724 | 1163529.2849 | 2593961.7275 | 1163528.9092
132 | 2594215.2325 | 1162928.7001 | 2593992.8101 | 1162965.7169
133 | 2593987.6112 | 1163001.3942 | 2593988.1192 | 1162996.2245 | 2593990.0205 | 1162990.3196 | 2593993.2228 | 1162983.224 | 2593993.6192 | 1162973.8189 | 2593992.8101 | 1162965.7169
134 | 2593961.7275 | 1163528.9092 | 2593945.7284 | 1163527.9311 | 2593940.4288 | 1163528.4257 | 2593935.5287 | 1163530.1315 | 2593931.9252 | 1163533.926 | 2593929.3268 | 1163539.5314 | 2593929.1023 | 1163542.7732
135 | 2594652.0748 | 1162873.2613 | 2594631.1774 | 1162855.2157 | 2594620.8043 | 1162847.1414
136 | 2594652.0748 | 1162873.2613 | 2594636.532 | 1162889.4611
137 | 2594652.0748 | 1162873.2613 | 2594659.1307 | 1162878.4766
138 | 2594685.1727 | 1162898.0327 | 2594681.5775 | 1162895.0677 | 2594659.1307 | 1162878.4766
139 | 2593929.1023 | 1163542.7732 | 2593928.8287 | 1163546.7244 | 2593928.924 | 1163565.0222 | 2593928.1813 | 1163568.0573
140 | 2593928.0745 | 1163568.4939 | 2593928.1813 | 1163568.0573
141 | 2593987.6112 | 1163001.3942 | 2593986.8226 | 1163009.3212
142 | 2593928.0016 | 1163568.7917 | 2593928.0745 | 1163568.4939
143 | 2593928.0016 | 1163568.7917 | 2593927.5282 | 1163570.7265 | 2593925.2279 | 1163575.7313 | 2593923.9248 | 1163577.0593
144 | 2593923.9248 | 1163577.0593 | 2593920.4231 | 1163580.6276 | 2593917.4631 | 1163583.1243

## bus_geodata
| x | y | coords
0 | 2594727.528 | 1163582.6566
1 | 2594707.5072 | 1163581.2494
2 | 2594746.4017 | 1163583.9847
3 | 2594699.851 | 1163580.7119
4 | 2594829.7093 | 1163643.208
5 | 2594676.9307 | 1163579.1027
6 | 2594739.3422 | 1163551.875
7 | 2594756.9864 | 1163546.4954
8 | 2594733.2111 | 1163552.4305
9 | 2594833.9767 | 1163647.1057
10 | 2594650.3128 | 1163577.234
11 | 2594776.3073 | 1163539.4215
12 | 2594709.1571 | 1163552.1499
13 | 2594839.6641 | 1163652.031
14 | 2594568.1878 | 1163657.9321
15 | 2594565.9328 | 1163630.8489
16 | 2594577.428 | 1163676.3605
17 | 2594553.8195 | 1163622.422
18 | 2594579.8021 | 1163702.1343
19 | 2594608.4359 | 1163681.3235
20 | 2594573.7572 | 1163589.8646
21 | 2594579.8467 | 1163702.7265
22 | 2594611.9676 | 1163690.7694
23 | 2594589.4663 | 1163565.3667
24 | 2594579.8726 | 1163703.0715
25 | 2594392.236 | 1163677.1158
26 | 2594432.5705 | 1163680.1744
27 | 2594272.2293 | 1163659.4595
28 | 2594415.809 | 1163697.6665
29 | 2594277.8112 | 1163629.5298
30 | 2594258.5886 | 1163615.8823
31 | 2594418.7736 | 1163709.324
32 | 2594243.9005 | 1163605.1607
33 | 2594153.0521 | 1163551.7098
34 | 2594124.3334 | 1163544.4554
35 | 2594486.7066 | 1163864.3485
36 | 2594657.6358 | 1163561.2417
37 | 2594644.8245 | 1163588.8086
38 | 2594555.3954 | 1163552.9465
39 | 2594548.3464 | 1163554.6504
40 | 2594575.4333 | 1163555.0465
41 | 2594538.5908 | 1163557.6528
42 | 2594576.9869 | 1163555.3132
43 | 2594537.6518 | 1163420.2858
44 | 2594539.3413 | 1163418.0874
45 | 2594493.3782 | 1163486.0213
46 | 2594541.1356 | 1163415.5571
47 | 2594566.9343 | 1163366.2496
48 | 2594516.8407 | 1163398.4157
49 | 2594559.1133 | 1163373.0932
50 | 2594573.8748 | 1163342.3981
51 | 2594577.1916 | 1163340.2529
52 | 2594577.3164 | 1163271.172
53 | 2594498.0709 | 1163557.6804
54 | 2594586.954 | 1163557.6536
55 | 2594594.3857 | 1163559.6982
56 | 2594605.545 | 1163605.4773
57 | 2594604.3134 | 1163623.3578
58 | 2594601.8029 | 1163596.9099
59 | 2594604.3086 | 1163623.4097
60 | 2594611.8345 | 1163626.412
61 | 2594624.6046 | 1163631.5064
62 | 2594686.1354 | 1163552.9008
63 | 2594681.9218 | 1163537.1652
64 | 2594646.9267 | 1163563.7856
65 | 2594678.8055 | 1163527.228
66 | 2594529.8084 | 1163954.1976
67 | 2594591.459 | 1164011.7918
68 | 2594620.219 | 1163651.6759
69 | 2594627.0803 | 1163625.1009
70 | 2594678.0174 | 1163630.3687
71 | 2594628.5092 | 1163621.4089
72 | 2594793.2067 | 1163175.0518
73 | 2594858.7483 | 1163076.4791
74 | 2594085.4219 | 1163534.3268
75 | 2594007.0772 | 1163532.6754
76 | 2594623.8245 | 1163565.1519
77 | 2594620.9432 | 1163564.7627
78 | 2594844.6995 | 1163537.9264
79 | 2594885.8262 | 1163539.7955
80 | 2594896.1931 | 1163539.5668
81 | 2594894.7259 | 1162960.9574
82 | 2594914.0221 | 1163539.1735
83 | 2594944.1333 | 1163538.9532
84 | 2594597.362 | 1163560.1937
85 | 2594475.2952 | 1163479.7205
86 | 2594445.8283 | 1163467.9122
87 | 2594443.1897 | 1163471.9056
88 | 2594414.861 | 1163523.5133
89 | 2594403.1229 | 1163527.0706
90 | 2594886.1697 | 1163683.3784
91 | 2594894.1297 | 1163686.7121
92 | 2594880.717 | 1163679.748
93 | 2594900.2048 | 1163689.2111
94 | 2594850.6756 | 1163658.5968
95 | 2594861.0238 | 1163677.2638
96 | 2594923.1789 | 1163698.5541
97 | 2594898.8236 | 1163662.9573
98 | 2594845.879 | 1163656.1998
99 | 2594972.4773 | 1163696.2553
100 | 2594958.8203 | 1163711.8979
101 | 2594354.6672 | 1163426.2665
102 | 2594395.8272 | 1163530.7682
103 | 2594975.2892 | 1163544.0441
104 | 2594996.0524 | 1163570.0268
105 | 2594725.1804 | 1162932.3361
106 | 2595047.5752 | 1163634.8283
107 | 2594962.3066 | 1163633.5996
108 | 2594982.6864 | 1163696.4326
109 | 2594993.4098 | 1163723.3604
110 | 2594958.5141 | 1163659.5172
111 | 2594965.0726 | 1163662.726
112 | 2595006.8749 | 1163680.6978
113 | 2594912.8556 | 1163625.9581
114 | 2595009.5037 | 1163681.828
115 | 2594254.4129 | 1163050.4717
116 | 2594320.171 | 1163130.6892
117 | 2594217.7189 | 1163016.8844
118 | 2594373.1278 | 1163192.2504
119 | 2594429.0825 | 1163001.4212
120 | 2594435.4406 | 1162894.649
121 | 2594441.1441 | 1162948.4925
122 | 2594560.4432 | 1162794.7502
123 | 2594522.2396 | 1163092.6365
124 | 2594523.1044 | 1163094.4489
125 | 2594558.8013 | 1163178.1094
126 | 2594980.3746 | 1164013.4393
127 | 2593967.8724 | 1163529.2849
128 | 2594215.2325 | 1162928.7001
129 | 2593992.8101 | 1162965.7169
130 | 2593961.7275 | 1163528.9092
131 | 2594620.8043 | 1162847.1414
132 | 2594652.0748 | 1162873.2613
133 | 2594564.8548 | 1163194.0213
134 | 2594599.2651 | 1163333.4816
135 | 2594659.1307 | 1162878.4766
136 | 2594685.1727 | 1162898.0327
137 | 2594636.532 | 1162889.4611
138 | 2593929.1023 | 1163542.7732
139 | 2593928.1813 | 1163568.0573
140 | 2593987.6112 | 1163001.3942
141 | 2593986.8226 | 1163009.3212
142 | 2593928.0745 | 1163568.4939
143 | 2593928.0016 | 1163568.7917
144 | 2593923.9248 | 1163577.0593
145 | 2593917.4631 | 1163583.1243
146 | 2594678.8055 | 1163527.228

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1