## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_791-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_791-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_791-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_791-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_791-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_791-5_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_791-5_0_6_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_791-5_0_6_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_791-5_0_6_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_791-5_0_6_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_791-5_0_6_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_791-5_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_791-5_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_791-5_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_791-5_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_791-5_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_791-5_0_6_node_103 | 0.4 | n |  | TRUE
17 | bus_LV_791-5_0_6_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_791-5_0_6_node_102 | 0.4 | n |  | TRUE
19 | bus_LV_791-5_0_6_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_791-5_0_6_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_791-5_0_6_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_791-5_0_6_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_791-5_0_6_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_791-5_0_6_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_791-5_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_791-5_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_791-5_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_791-5_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_791-5_0_6_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_791-5_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_791-5_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_791-5_0_6_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_791-5_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_791-5_0_6_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_791-5_0_6_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_791-5_0_6_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_791-5_0_6_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_791-5_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_791-5_0_6_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_791-5_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_791-5_0_6_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_791-5_0_6_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_791-5_0_6_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_791-5_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_791-5_0_6_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_791-5_0_6_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_791-5_0_6_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_791-5_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_791-5_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_791-5_0_6_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_791-5_0_6_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_791-5_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_791-5_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_791-5_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_791-5_0_6_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_791-5_0_6_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_791-5_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_791-5_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_791-5_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_791-5_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_791-5_0_6_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_791-5_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_791-5_0_6_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_791-5_0_6_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_791-5_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_791-5_0_6_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_791-5_0_6_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_791-5_0_6_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_791-5_0_6_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_791-5_0_6_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_791-5_0_6_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_791-5_0_6_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_791-5_0_6_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_791-5_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_791-5_0_6_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_791-5_0_6_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_791-5_0_6_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_791-5_0_6_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_791-5_0_6_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_791-5_0_6_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_791-5_0_6_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_791-5_0_6_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_791-5_0_6_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_791-5_0_6_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_791-5_0_6_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_791-5_0_6_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_791-5_0_6_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_791-5_0_6_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_791-5_0_6_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_791-5_0_6_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_791-5_0_6_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_791-5_0_6_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_791-5_0_6_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_791-5_0_6_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_791-5_0_6_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_791-5_0_6_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_791-5_0_6_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_791-5_0_6_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_791-5_0_6_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_791-5_0_6_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_791-5_0_6_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_791-5_0_6_node_88 | 0.4 | n |  | TRUE
103 | bus_MV_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_791-5_0_6_load_0 | 0 | 0.0014222 | 0.00035643 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_791-5_0_6_load_1 | 1 | 0.00023893 | 5.9881e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_791-5_0_6_load_3 | 3 | 0.0002909 | 7.2907e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_791-5_0_6_load_5 | 5 | 0.00022345 | 5.6001e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_791-5_0_6_load_31 | 7 | 0.0011491 | 0.000288 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_791-5_0_6_load_6 | 12 | 0.00044802 | 0.00011228 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_791-5_0_6_load_8 | 14 | 0.0003406 | 8.5364e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_791-5_0_6_load_103 | 16 | 0.0009572 | 0.0002399 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_791-5_0_6_load_102 | 18 | 0.00068262 | 0.00017108 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_791-5_0_6_load_90 | 20 | 0.00012805 | 3.2093e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_791-5_0_6_load_89 | 21 | 0.00012164 | 3.0487e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_791-5_0_6_load_10 | 22 | 0.00095127 | 0.00023841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_791-5_0_6_load_14 | 26 | 0.0017184 | 0.00043067 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_791-5_0_6_load_15 | 27 | 0.00094601 | 0.00023709 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_791-5_0_6_load_32 | 29 | 0.00079309 | 0.00019877 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_791-5_0_6_load_27 | 30 | 0.00034306 | 8.598e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_791-5_0_6_load_21 | 31 | 0.00021222 | 5.3188e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_791-5_0_6_load_33 | 32 | 0.0011303 | 0.00028327 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_791-5_0_6_load_56 | 35 | 0.0003972 | 9.9547e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_791-5_0_6_load_54 | 36 | 0.00038642 | 9.6846e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_791-5_0_6_load_55 | 37 | 0.0019485 | 0.00048833 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_791-5_0_6_load_100 | 41 | 0.00075067 | 0.00018814 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_791-5_0_6_load_98 | 43 | 0.00030849 | 7.7315e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_791-5_0_6_load_23 | 45 | 0.00019612 | 4.9153e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_791-5_0_6_load_53 | 46 | 0.00059057 | 0.00014801 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_791-5_0_6_load_51 | 47 | 0.00064882 | 0.00016261 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_791-5_0_6_load_48 | 48 | 0.00041138 | 0.0001031 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_791-5_0_6_load_45 | 49 | 0.00033416 | 8.3748e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_791-5_0_6_load_24 | 50 | 0.00020674 | 5.1814e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_791-5_0_6_load_26 | 51 | 0.0004289 | 0.00010749 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_791-5_0_6_load_42 | 52 | 0.00021451 | 5.3761e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_791-5_0_6_load_44 | 53 | 0.0003346 | 8.386e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_791-5_0_6_load_99 | 55 | 0.0004053 | 0.00010158 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_791-5_0_6_load_75 | 56 | 0.0015564 | 0.00039008 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_791-5_0_6_load_37 | 57 | 0.00056838 | 0.00014245 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_791-5_0_6_load_38 | 58 | 0.00082907 | 0.00020778 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_791-5_0_6_load_41 | 61 | 0.00098923 | 0.00024793 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_791-5_0_6_load_43 | 62 | 0.00088618 | 0.0002221 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_791-5_0_6_load_46 | 63 | 0.00028642 | 7.1784e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_791-5_0_6_load_76 | 67 | 0.00023455 | 5.8783e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_791-5_0_6_load_95 | 68 | 0.00031095 | 7.7932e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_791-5_0_6_load_77 | 69 | 0.0012372 | 0.00031007 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_791-5_0_6_load_94 | 71 | 0.00035647 | 8.9341e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_791-5_0_6_load_101 | 72 | 0.0014929 | 0.00037415 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_791-5_0_6_load_57 | 73 | 0.00011464 | 2.8732e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_791-5_0_6_load_59 | 74 | 0.00050503 | 0.00012657 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_791-5_0_6_load_81 | 75 | 0.00018913 | 4.74e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_791-5_0_6_load_60 | 76 | 0.00010525 | 2.6378e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_791-5_0_6_load_61 | 77 | 4.3212e-05 | 1.083e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_791-5_0_6_load_82 | 78 | 0.00065439 | 0.00016401 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_791-5_0_6_load_85 | 80 | 0.00011812 | 2.9605e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_791-5_0_6_load_62 | 81 | 0.0013091 | 0.00032808 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_791-5_0_6_load_93 | 83 | 0.0010644 | 0.00026675 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_791-5_0_6_load_92 | 84 | 0.00067373 | 0.00016885 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_791-5_0_6_load_66 | 86 | 0.00099731 | 0.00024995 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_791-5_0_6_load_67 | 87 | 0.0010659 | 0.00026715 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_791-5_0_6_load_68 | 88 | 0.00090264 | 0.00022622 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_791-5_0_6_load_69 | 89 | 0.00086714 | 0.00021733 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_791-5_0_6_load_74 | 90 | 0.001099 | 0.00027545 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_791-5_0_6_load_70 | 92 | 0.0010964 | 0.00027479 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_791-5_0_6_load_73 | 94 | 0.0014565 | 0.00036503 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_791-5_0_6_load_79 | 95 | 0.00050668 | 0.00012699 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_791-5_0_6_load_80 | 96 | 0.0006845 | 0.00017155 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_791-5_0_6_load_78 | 97 | 0.00058765 | 0.00014728 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_791-5_0_6_load_83 | 98 | 0.00042667 | 0.00010693 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_791-5_0_6_load_84 | 99 | 0.0011321 | 0.00028372 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_791-5_0_6_load_97 | 100 | 5.5233e-05 | 1.3843e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_791-5_0_6_load_87 | 101 | 0.00016858 | 4.225e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_791-5_0_6_load_88 | 102 | 0.00011957 | 2.9968e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_791-5_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_791-5_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_791-5_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0019505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_791-5_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_791-5_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.020323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_791-5_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.019954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_791-5_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0089217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_791-5_0_6_line_7 | NAYY 4x150 SE | 5 | 8 | 0.02545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_791-5_0_6_line_8 | NAYY 4x150 SE | 6 | 9 | 0.073227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_791-5_0_6_line_9 | NAYY 4x150 SE | 6 | 10 | 0.07436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_791-5_0_6_line_10 | NAYY 4x150 SE | 8 | 11 | 0.003848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_791-5_0_6_line_11 | NAYY 4x150 SE | 9 | 35 | 0.021643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_791-5_0_6_line_12 | NAYY 4x150 SE | 10 | 36 | 0.1617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_791-5_0_6_line_13 | NAYY 4x150 SE | 11 | 29 | 0.086912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_791-5_0_6_line_14 | NAYY 4x150 SE | 12 | 13 | 0.075177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_791-5_0_6_line_15 | NAYY 4x150 SE | 12 | 14 | 0.15181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_791-5_0_6_line_16 | NAYY 4x150 SE | 13 | 15 | 0.13416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_791-5_0_6_line_17 | NAYY 4x150 SE | 14 | 16 | 0.21199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_791-5_0_6_line_18 | NAYY 4x150 SE | 15 | 20 | 0.026066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_791-5_0_6_line_19 | NAYY 4x150 SE | 16 | 17 | 0.13131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_791-5_0_6_line_20 | NAYY 4x150 SE | 17 | 18 | 0.15965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_791-5_0_6_line_21 | NAYY 4x150 SE | 17 | 19 | 0.23714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_791-5_0_6_line_22 | NAYY 4x150 SE | 19 | 82 | 0.069471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_791-5_0_6_line_23 | NAYY 4x150 SE | 19 | 81 | 0.0065869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_791-5_0_6_line_24 | NAYY 4x150 SE | 20 | 21 | 0.011112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_791-5_0_6_line_25 | NAYY 4x150 SE | 21 | 101 | 0.14049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_791-5_0_6_line_26 | NAYY 4x150 SE | 22 | 23 | 0.022577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_791-5_0_6_line_27 | NAYY 4x150 SE | 22 | 24 | 0.013454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_791-5_0_6_line_28 | NAYY 4x150 SE | 23 | 25 | 0.060795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_791-5_0_6_line_29 | NAYY 4x150 SE | 23 | 26 | 0.036868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_791-5_0_6_line_30 | NAYY 4x150 SE | 24 | 27 | 0.020454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_791-5_0_6_line_31 | NAYY 4x150 SE | 24 | 28 | 0.033225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_791-5_0_6_line_32 | NAYY 4x150 SE | 25 | 29 | 0.013305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_791-5_0_6_line_33 | NAYY 4x150 SE | 25 | 30 | 0.037842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_791-5_0_6_line_34 | NAYY 4x150 SE | 27 | 31 | 0.011046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_791-5_0_6_line_35 | NAYY 4x150 SE | 28 | 32 | 0.025543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_791-5_0_6_line_36 | NAYY 4x150 SE | 30 | 33 | 0.13412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_791-5_0_6_line_37 | NAYY 4x150 SE | 32 | 34 | 0.085987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_791-5_0_6_line_38 | NAYY 4x150 SE | 33 | 45 | 0.030197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_791-5_0_6_line_39 | NAYY 4x150 SE | 33 | 38 | 0.136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_791-5_0_6_line_40 | NAYY 4x150 SE | 34 | 54 | 0.07792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_791-5_0_6_line_41 | NAYY 4x150 SE | 36 | 37 | 0.13853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_791-5_0_6_line_42 | NAYY 4x150 SE | 37 | 72 | 0.28398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_791-5_0_6_line_43 | NAYY 4x150 SE | 38 | 39 | 0.060865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_791-5_0_6_line_44 | NAYY 4x150 SE | 38 | 40 | 0.14128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_791-5_0_6_line_45 | NAYY 4x150 SE | 39 | 41 | 0.064647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_791-5_0_6_line_46 | NAYY 4x150 SE | 40 | 46 | 0.023612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_791-5_0_6_line_47 | NAYY 4x150 SE | 40 | 47 | 0.22614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_791-5_0_6_line_48 | NAYY 4x150 SE | 40 | 42 | 0.18937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_791-5_0_6_line_49 | NAYY 4x150 SE | 42 | 43 | 0.16956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_791-5_0_6_line_50 | NAYY 4x150 SE | 42 | 44 | 0.18588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_791-5_0_6_line_51 | NAYY 4x150 SE | 44 | 48 | 0.036652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_791-5_0_6_line_52 | NAYY 4x150 SE | 44 | 49 | 0.27489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_791-5_0_6_line_53 | NAYY 4x150 SE | 45 | 50 | 0.046406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_791-5_0_6_line_54 | NAYY 4x150 SE | 46 | 52 | 0.014263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_791-5_0_6_line_55 | NAYY 4x150 SE | 49 | 53 | 0.053496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_791-5_0_6_line_56 | NAYY 4x150 SE | 50 | 51 | 0.033779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_791-5_0_6_line_57 | NAYY 4x150 SE | 52 | 60 | 0.0069909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_791-5_0_6_line_58 | NAYY 4x150 SE | 53 | 63 | 0.070126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_791-5_0_6_line_59 | NAYY 4x150 SE | 54 | 55 | 0.11725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_791-5_0_6_line_60 | NAYY 4x150 SE | 55 | 56 | 0.20021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_791-5_0_6_line_61 | NAYY 4x150 SE | 56 | 93 | 0.23602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_791-5_0_6_line_62 | NAYY 4x150 SE | 57 | 58 | 0.0023874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_791-5_0_6_line_63 | NAYY 4x150 SE | 57 | 59 | 0.01103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_791-5_0_6_line_64 | NAYY 4x150 SE | 58 | 60 | 0.079646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_791-5_0_6_line_65 | NAYY 4x150 SE | 59 | 61 | 0.099923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_791-5_0_6_line_66 | NAYY 4x150 SE | 60 | 62 | 0.026773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_791-5_0_6_line_67 | NAYY 4x150 SE | 63 | 64 | 0.081656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_791-5_0_6_line_68 | NAYY 4x150 SE | 64 | 65 | 0.065004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_791-5_0_6_line_69 | NAYY 4x150 SE | 65 | 66 | 0.075207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_791-5_0_6_line_70 | NAYY 4x150 SE | 65 | 67 | 0.083406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_791-5_0_6_line_71 | NAYY 4x150 SE | 66 | 68 | 0.32634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_791-5_0_6_line_72 | NAYY 4x150 SE | 67 | 69 | 0.049725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_791-5_0_6_line_73 | NAYY 4x150 SE | 68 | 70 | 0.32717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_791-5_0_6_line_74 | NAYY 4x150 SE | 68 | 71 | 0.13001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_791-5_0_6_line_75 | NAYY 4x150 SE | 69 | 97 | 0.12081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_791-5_0_6_line_76 | NAYY 4x150 SE | 70 | 76 | 0.15231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_791-5_0_6_line_77 | NAYY 4x150 SE | 70 | 77 | 0.11967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_791-5_0_6_line_78 | NAYY 4x150 SE | 70 | 73 | 0.14464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_791-5_0_6_line_79 | NAYY 4x150 SE | 73 | 74 | 0.0089356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_791-5_0_6_line_80 | NAYY 4x150 SE | 73 | 75 | 0.28541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_791-5_0_6_line_81 | NAYY 4x150 SE | 75 | 78 | 0.0044677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_791-5_0_6_line_82 | NAYY 4x150 SE | 77 | 79 | 0.2202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_791-5_0_6_line_83 | NAYY 4x150 SE | 78 | 85 | 0.18568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_791-5_0_6_line_84 | NAYY 4x150 SE | 79 | 80 | 0.24402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_791-5_0_6_line_85 | NAYY 4x150 SE | 80 | 100 | 0.62023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_791-5_0_6_line_86 | NAYY 4x150 SE | 82 | 83 | 0.1287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_791-5_0_6_line_87 | NAYY 4x150 SE | 82 | 84 | 0.091483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_791-5_0_6_line_88 | NAYY 4x150 SE | 84 | 85 | 0.17687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_791-5_0_6_line_89 | NAYY 4x150 SE | 86 | 87 | 0.039151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_791-5_0_6_line_90 | NAYY 4x150 SE | 86 | 88 | 0.0023117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_791-5_0_6_line_91 | NAYY 4x150 SE | 88 | 89 | 0.019367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_791-5_0_6_line_92 | NAYY 4x150 SE | 89 | 90 | 0.018485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_791-5_0_6_line_93 | NAYY 4x150 SE | 90 | 91 | 0.040186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_791-5_0_6_line_94 | NAYY 4x150 SE | 91 | 94 | 0.015104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_791-5_0_6_line_95 | NAYY 4x150 SE | 91 | 92 | 0.022062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_791-5_0_6_line_96 | NAYY 4x150 SE | 92 | 93 | 0.070017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_791-5_0_6_line_97 | NAYY 4x150 SE | 94 | 95 | 0.0313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_791-5_0_6_line_98 | NAYY 4x150 SE | 95 | 96 | 0.011129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_791-5_0_6_line_99 | NAYY 4x150 SE | 97 | 98 | 0.13538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_791-5_0_6_line_100 | NAYY 4x150 SE | 98 | 99 | 0.18138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_791-5_0_6_line_101 | NAYY 4x150 SE | 101 | 102 | 0.0044143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_791-5_0_6_trafo_28 | 0.25 MVA 20/0.4 kV | 103 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2592278.402 | 1160136.1054 | 2592286.9421 | 1160144.3429 | 2592293.9421 | 1160152.738 | 2592293.9421 | 1160152.738
1 | 2592271.128 | 1160129.0892 | 2592278.402 | 1160136.1054
2 | 2592293.9421 | 1160152.738 | 2592294.8432 | 1160154.4679
3 | 2592271.286 | 1160138.6938 | 2592270.4062 | 1160133.9481 | 2592271.128 | 1160129.0892
4 | 2592271.128 | 1160129.0892 | 2592256.3423 | 1160115.146
5 | 2592302.7426 | 1160172.7476 | 2592298.8435 | 1160162.1474 | 2592294.8432 | 1160154.4679
6 | 2592271.286 | 1160138.6938 | 2592264.3889 | 1160144.3529
7 | 2592254.2208 | 1160092.5376 | 2592252.5918 | 1160095.141 | 2592250.3437 | 1160098.9458 | 2592249.8439 | 1160103.5376 | 2592252.6412 | 1160109.548 | 2592256.3423 | 1160115.146
8 | 2592302.7426 | 1160172.7476 | 2592311.7019 | 1160173.3697 | 2592332.9055 | 1160172.5753 | 2592344.0028 | 1160173.0724 | 2592350.7019 | 1160174.0754 | 2592357.4029 | 1160176.568 | 2592362.3032 | 1160179.1741 | 2592372.4056 | 1160186.7649
9 | 2592302.7426 | 1160172.7476 | 2592306.6398 | 1160187.8389 | 2592308.7383 | 1160198.7416 | 2592309.1396 | 1160206.8451 | 2592308.9439 | 1160215.5385 | 2592307.7402 | 1160226.9457 | 2592306.0444 | 1160237.1418 | 2592303.9407 | 1160245.9378
10 | 2592254.2208 | 1160092.5376 | 2592256.2704 | 1160089.2777
11 | 2592372.4056 | 1160186.7649 | 2592380.4044 | 1160185.3651 | 2592388.9029 | 1160185.2208 | 2592391.6548 | 1160185.8176 | 2592393.6929 | 1160186.6649
12 | 2592303.9407 | 1160245.9378 | 2592306.5065 | 1160250.748 | 2592310.1056 | 1160254.6452 | 2592312.2072 | 1160256.0988 | 2592319.5534 | 1160259.7467 | 2592324.2012 | 1160262.7422 | 2592330.103 | 1160269.4935 | 2592332.9525 | 1160274.4478 | 2592336.1533 | 1160284.4931 | 2592338.3024 | 1160299.0419 | 2592338.5506 | 1160313.2487 | 2592337.8068 | 1160330.7027 | 2592338.3036 | 1160335.6489 | 2592340.3035 | 1160341.4492 | 2592342.4535 | 1160344.8481 | 2592359.5874 | 1160367.9487 | 2592361.6535 | 1160371.6256 | 2592362.8993 | 1160375.0257 | 2592363.5472 | 1160378.2709 | 2592364.0516 | 1160386.2664
13 | 2592256.2704 | 1160089.2777 | 2592256.5457 | 1160088.8438 | 2592257.5786 | 1160087.5863 | 2592262.1389 | 1160082.0443 | 2592267.8422 | 1160077.4457 | 2592268.6925 | 1160077.1223 | 2592273.3419 | 1160075.3376 | 2592278.5387 | 1160076.0423 | 2592284.9401 | 1160077.846 | 2592292.0417 | 1160081.8388 | 2592301.2563 | 1160090.1198 | 2592307.1643 | 1160095.6038 | 2592311.4673 | 1160098.4997 | 2592316.6649 | 1160099.9048 | 2592320.7327 | 1160098.7212 | 2592322.4093 | 1160097.4183 | 2592327.893 | 1160093.1399
14 | 2593557.276 | 1159659.5148 | 2593558.0607 | 1159662.2598 | 2593560.7555 | 1159666.659 | 2593564.7598 | 1159670.0564 | 2593570.5222 | 1159676.1865 | 2593575.8222 | 1159680.0827 | 2593585.822 | 1159685.4857 | 2593594.0855 | 1159694.181 | 2593611.1101 | 1159710.4657
15 | 2593668.6271 | 1159846.5431 | 2593665.932 | 1159841.7436 | 2593661.9272 | 1159837.7459 | 2593656.4293 | 1159834.9503 | 2593652.7315 | 1159831.3414 | 2593650.2278 | 1159826.4416 | 2593644.7493 | 1159813.1409 | 2593640.0455 | 1159800.5397 | 2593636.337 | 1159787.0037 | 2593632.5411 | 1159763.4739 | 2593629.7403 | 1159753.0718 | 2593623.3402 | 1159730.99 | 2593619.0361 | 1159719.4889 | 2593615.7356 | 1159714.8902 | 2593611.1101 | 1159710.4657
16 | 2593683.5611 | 1159699.6991 | 2593680.2721 | 1159698.6243 | 2593673.0723 | 1159695.5193 | 2593665.6728 | 1159692.0144 | 2593651.6004 | 1159683.6919 | 2593647.5976 | 1159681.6952 | 2593642.0014 | 1159680.2894 | 2593635.4021 | 1159679.7851 | 2593616.8015 | 1159679.794 | 2593608.5 | 1159678.4911 | 2593600.5039 | 1159676.1875 | 2593581.7024 | 1159667.5924 | 2593572.0031 | 1159663.6898 | 2593568.1467 | 1159662.3934 | 2593567.265 | 1159662.083 | 2593561.9519 | 1159660.2768 | 2593557.276 | 1159659.5148
17 | 2593502.1822 | 1159977.8208 | 2593668.6271 | 1159846.5431
18 | 2593683.5611 | 1159699.6991 | 2593695.1761 | 1159703.522 | 2593700.873 | 1159705.9172 | 2593706.2724 | 1159709.6244 | 2593707.0847 | 1159710.3789
19 | 2593502.1822 | 1159977.8208 | 2593482.2177 | 1159942.2584 | 2593480.3198 | 1159937.7583 | 2593475.6909 | 1159923.7898 | 2593473.3939 | 1159918.6898 | 2593470.1938 | 1159914.7914 | 2593465.1925 | 1159910.5948 | 2593447.0911 | 1159897.097 | 2593439.6434 | 1159891.4691 | 2593437.2964 | 1159889.693 | 2593430.3327 | 1159885.254 | 2593427.8939 | 1159883.7004 | 2593420.8241 | 1159880.1954
20 | 2593345.2876 | 1159741.2553 | 2593353.8925 | 1159753.4517 | 2593358.4892 | 1159758.7603 | 2593362.7498 | 1159765.2143 | 2593372.5552 | 1159781.8227 | 2593383.2524 | 1159801.0202 | 2593386.3174 | 1159807.3977 | 2593392.5215 | 1159824.7994 | 2593395.6247 | 1159831.0991 | 2593420.8236 | 1159872.8918 | 2593421.4243 | 1159875.4924 | 2593420.8241 | 1159880.1954
21 | 2593420.8241 | 1159880.1954 | 2593402.4544 | 1159873.657 | 2593365.0543 | 1159859.1581 | 2593358.5608 | 1159857.1643 | 2593343.3548 | 1159856.2587 | 2593334.1558 | 1159854.1568 | 2593329.1561 | 1159851.5612 | 2593316.0552 | 1159841.6599 | 2593306.4376 | 1159835.3342 | 2593298.7383 | 1159831.0408 | 2593287.5359 | 1159826.1399 | 2593269.5334 | 1159819.2346 | 2593255.0356 | 1159814.4375 | 2593241.0372 | 1159810.7405 | 2593229.4393 | 1159808.6415 | 2593198.8151 | 1159802.4957
22 | 2593219.6598 | 1159868.749 | 2593219.1678 | 1159867.4156 | 2593206.7021 | 1159830.078 | 2593198.8151 | 1159802.4957
23 | 2593198.8151 | 1159802.4957 | 2593194.8076 | 1159797.2682
24 | 2593707.0847 | 1159710.3789 | 2593710.5761 | 1159713.6218 | 2593714.3997 | 1159718.6872
25 | 2593797.6084 | 1159831.0661 | 2593797.6084 | 1159831.0661 | 2593793.7128 | 1159828.769 | 2593790.107 | 1159825.171 | 2593784.0673 | 1159817.2512 | 2593779.7686 | 1159810.6524 | 2593776.192 | 1159805.6537 | 2593766.3019 | 1159794.8254 | 2593758.7735 | 1159785.2174 | 2593752.3719 | 1159775.7195 | 2593734.9756 | 1159747.4238 | 2593722.2724 | 1159729.1171 | 2593714.3997 | 1159718.6872
26 | 2592291.7867 | 1160044.7208 | 2592286.2789 | 1160040.5814 | 2592276.9751 | 1160034.4793 | 2592276.4766 | 1160034.2021 | 2592272.9973 | 1160032.2476
27 | 2592260.7718 | 1160026.6965 | 2592268.7767 | 1160029.8766 | 2592272.9973 | 1160032.2476
28 | 2592337.9265 | 1160084.4142 | 2592328.6518 | 1160077.0113 | 2592295.4765 | 1160047.484 | 2592291.7867 | 1160044.7208
29 | 2592261.6399 | 1160057.833 | 2592264.9379 | 1160059.8297 | 2592267.9357 | 1160060.8819 | 2592270.8406 | 1160061.2338 | 2592273.3918 | 1160060.6302 | 2592278.2384 | 1160057.1889 | 2592285.3419 | 1160050.8321 | 2592291.7867 | 1160044.7208
30 | 2592260.7718 | 1160026.6965 | 2592268.6247 | 1160007.8102
31 | 2592228.27 | 1160020.4802 | 2592237.2755 | 1160021.0799 | 2592243.3849 | 1160022.2058 | 2592248.6817 | 1160023.1772 | 2592258.9776 | 1160025.9874 | 2592260.7718 | 1160026.6965
32 | 2592337.9265 | 1160084.4142 | 2592331.1293 | 1160090.6149 | 2592327.893 | 1160093.1399
33 | 2592337.9265 | 1160084.4142 | 2592342.23 | 1160087.688 | 2592346.9553 | 1160091.2837 | 2592353.5512 | 1160095.3773 | 2592362.0559 | 1160099.9797 | 2592370.1804 | 1160103.9969
34 | 2592272.8655 | 1159997.6109 | 2592268.6247 | 1160007.8102
35 | 2592228.27 | 1160020.4802 | 2592228.5258 | 1160010.9418 | 2592228.0226 | 1160007.0517 | 2592226.3228 | 1160002.3516 | 2592221.1025 | 1159997.5686
36 | 2592490.8635 | 1160075.2148 | 2592485.9615 | 1160083.4139 | 2592479.663 | 1160090.2141 | 2592472.9642 | 1160095.5141 | 2592465.1606 | 1160099.915 | 2592456.2611 | 1160104.2062 | 2592446.3636 | 1160107.2091 | 2592436.6109 | 1160109.4559 | 2592425.2098 | 1160111.1602 | 2592416.413 | 1160111.8606 | 2592407.1098 | 1160112.0614 | 2592388.6528 | 1160109.4837 | 2592379.7523 | 1160106.9828 | 2592370.3531 | 1160104.0822 | 2592370.1804 | 1160103.9969
37 | 2592150.038 | 1159949.2698 | 2592153.2357 | 1159950.7441 | 2592164.3501 | 1159958.1109 | 2592171.2919 | 1159962.7596 | 2592215.0528 | 1159993.0617 | 2592219.4942 | 1159996.2797 | 2592220.4224 | 1159996.9455 | 2592221.1025 | 1159997.5686
38 | 2592490.8635 | 1160075.2148 | 2592501.3708 | 1160087.8856 | 2592506.3182 | 1160097.5063 | 2592506.8043 | 1160100.3832
39 | 2592450.6954 | 1159987.878 | 2592453.7713 | 1159990.0752 | 2592459.8737 | 1159991.7683 | 2592467.6678 | 1159991.8696 | 2592504.4054 | 1159996.4699 | 2592500.7659 | 1160003.1111 | 2592498.0635 | 1160011.5076 | 2592496.7647 | 1160020.7138 | 2592495.7633 | 1160034.9109 | 2592496.2654 | 1160056.3098 | 2592494.0644 | 1160067.2068 | 2592490.8635 | 1160075.2148
40 | 2592150.038 | 1159949.2698 | 2592143.2676 | 1159940.8857 | 2592134.7733 | 1159927.0901 | 2592123.8152 | 1159910.4408 | 2592120.6121 | 1159904.9424 | 2592118.5134 | 1159900.0427 | 2592117.3189 | 1159895.0418 | 2592117.2182 | 1159888.4498 | 2592118.5188 | 1159880.9444
41 | 2592478.1048 | 1160458.0201 | 2592473.2553 | 1160452.9237 | 2592468.2996 | 1160448.6723 | 2592463.2992 | 1160445.5215 | 2592458.6983 | 1160443.0705 | 2592441.9988 | 1160435.7214 | 2592434.8515 | 1160431.5284 | 2592416.3984 | 1160419.168 | 2592404.0974 | 1160411.8245 | 2592387.7037 | 1160403.9749 | 2592370.2013 | 1160398.1277 | 2592367.9464 | 1160396.6744 | 2592365.8513 | 1160394.2203 | 2592364.7984 | 1160391.876 | 2592364.1495 | 1160387.8193 | 2592364.0516 | 1160386.2664
42 | 2592478.1048 | 1160458.0201 | 2592496.4702 | 1160741.4036
43 | 2592400.3281 | 1159956.3932 | 2592400.7738 | 1159957.3709 | 2592402.2706 | 1159959.2699 | 2592420.2711 | 1159964.0716 | 2592433.6699 | 1159972.2697 | 2592446.07 | 1159984.5711 | 2592450.6954 | 1159987.878
44 | 2592450.6954 | 1159987.878 | 2592453.7713 | 1159990.0752 | 2592459.8737 | 1159991.7683 | 2592467.6678 | 1159991.8696 | 2592504.4054 | 1159996.4699 | 2592505.9652 | 1159993.611 | 2592511.9633 | 1159985.5106 | 2592522.2656 | 1159975.2148 | 2592530.5648 | 1159968.7123 | 2592538.7981 | 1159964.5999 | 2592536.3679 | 1159957.8329 | 2592536.6183 | 1159955.776 | 2592538.0714 | 1159953.3842 | 2592540.2218 | 1159950.9803 | 2592555.8175 | 1159944.9244 | 2592561.515 | 1159941.4267
45 | 2592378.8182 | 1159898.203 | 2592387.8173 | 1159905.6063 | 2592389.5152 | 1159908.9058 | 2592391.4186 | 1159917.1074 | 2592391.516 | 1159927.3123 | 2592393.9188 | 1159942.5056 | 2592400.3281 | 1159956.3932
46 | 2592561.515 | 1159941.4267 | 2592558.5708 | 1159934.2268 | 2592551.9027 | 1159919.8656
47 | 2592561.515 | 1159941.4267 | 2592571.305 | 1159938.0572 | 2592580.5038 | 1159933.8548 | 2592582.2098 | 1159931.4515 | 2592582.8045 | 1159928.9606 | 2592582.6096 | 1159926.2596 | 2592581.0035 | 1159922.7598 | 2592577.8023 | 1159918.4506 | 2592572.8069 | 1159913.3543 | 2592569.7054 | 1159909.056 | 2592566.5092 | 1159902.6569 | 2592562.7056 | 1159894.5576 | 2592556.0025 | 1159878.358 | 2592552.9035 | 1159869.9577 | 2592549.5023 | 1159858.9565 | 2592546.6026 | 1159844.453 | 2592545.8055 | 1159838.351 | 2592544.8058 | 1159823.3559 | 2592543.8092 | 1159817.0541 | 2592540.3055 | 1159803.7519 | 2592539.0094 | 1159784.6552 | 2592536.4074 | 1159769.3509 | 2592534.5042 | 1159761.2048 | 2592532.1051 | 1159742.6098 | 2592531.4266 | 1159738.861
48 | 2592561.515 | 1159941.4267 | 2592555.8175 | 1159944.9244 | 2592540.2218 | 1159950.9803 | 2592538.0714 | 1159953.3842 | 2592536.6183 | 1159955.776 | 2592536.3679 | 1159957.8329 | 2592538.7981 | 1159964.5999 | 2592541.3638 | 1159963.3072 | 2592580.3613 | 1159948.6067 | 2592595.864 | 1159941.7062 | 2592614.4591 | 1159931.7115 | 2592629.1543 | 1159953.3596 | 2592631.157 | 1159955.4248 | 2592631.8553 | 1159956.1576 | 2592636.2564 | 1159957.853 | 2592640.6552 | 1159957.7586 | 2592645.5571 | 1159955.4514 | 2592653.559 | 1159950.0611 | 2592655.2046 | 1159948.3138 | 2592660.654 | 1159942.5598 | 2592662.6431 | 1159939.7115
49 | 2592662.6431 | 1159939.7115 | 2592668.3578 | 1159931.5559 | 2592675.8578 | 1159923.0536 | 2592682.2567 | 1159916.5537 | 2592687.8228 | 1159912.2002 | 2592709.2286 | 1159894.2318 | 2592729.2838 | 1159874.6865 | 2592732.8293 | 1159872.3365 | 2592737.884 | 1159869.5401 | 2592741.6834 | 1159868.0903 | 2592751.528 | 1159865.288 | 2592766.0164 | 1159862.0799 | 2592776.5689 | 1159861.6891 | 2592781.2673 | 1159862.0836 | 2592787.2389 | 1159863.3215 | 2592795.6338 | 1159865.8236 | 2592802.4343 | 1159868.0165
50 | 2592662.6431 | 1159939.7115 | 2592660.654 | 1159942.5598 | 2592655.2046 | 1159948.3138 | 2592653.559 | 1159950.0611 | 2592645.5571 | 1159955.4514 | 2592640.6552 | 1159957.7586 | 2592636.2564 | 1159957.853 | 2592631.8553 | 1159956.1576 | 2592631.157 | 1159955.4248 | 2592629.1543 | 1159953.3596 | 2592614.4591 | 1159931.7115 | 2592623.1648 | 1159925.3087 | 2592632.2596 | 1159917.5158 | 2592648.9598 | 1159899.6085 | 2592667.6618 | 1159870.5155 | 2592678.6592 | 1159851.7149 | 2592686.5614 | 1159839.9105
51 | 2592717.9251 | 1159823.7752 | 2592710.7183 | 1159827.8082 | 2592697.9872 | 1159839.0961 | 2592686.5614 | 1159839.9105
52 | 2592686.5614 | 1159839.9105 | 2592695.5621 | 1159830.1057 | 2592703.6617 | 1159823.0145 | 2592716.2658 | 1159814.3059 | 2592725.8627 | 1159809.514 | 2592737.4609 | 1159805.509 | 2592747.3594 | 1159802.8067 | 2592758.5624 | 1159801.5146 | 2592769.0613 | 1159801.0127 | 2592782.0601 | 1159801.7084 | 2592795.1608 | 1159804.3161 | 2592809.0616 | 1159809.4129 | 2592822.1609 | 1159817.212 | 2592832.6463 | 1159824.6142 | 2592837.0497 | 1159828.2217 | 2592840.9468 | 1159831.4075 | 2592850.6464 | 1159841.8121 | 2592881.2529 | 1159884.3186 | 2592890.2516 | 1159898.3148 | 2592899.0877 | 1159913.0952
53 | 2592506.8043 | 1160100.3832 | 2592508.1867 | 1160108.565 | 2592509.2255 | 1160117.9906 | 2592512.3152 | 1160125.1569 | 2592516.6352 | 1160129.4647 | 2592526.3045 | 1160133.9548 | 2592529.1818 | 1160136.8192
54 | 2592545.8959 | 1159906.9287 | 2592551.9027 | 1159919.8656
55 | 2592924.9073 | 1159959.9433 | 2592914.5501 | 1159940.6178 | 2592901.2557 | 1159916.7219 | 2592899.0877 | 1159913.0952
56 | 2592504.3398 | 1160157.3384 | 2592513.9977 | 1160152.824 | 2592524.8781 | 1160145.4289 | 2592528.1611 | 1160141.7341 | 2592529.1818 | 1160136.8192
57 | 2592542.7338 | 1159900.7079 | 2592543.7244 | 1159902.2518 | 2592545.8959 | 1159906.9287
58 | 2592924.9073 | 1159959.9433 | 2592934.6506 | 1159978.1235 | 2592957.3809 | 1160022.0955
59 | 2592181.0729 | 1159783.5249 | 2592175.7798 | 1159791.3357 | 2592156.067 | 1159813.7172 | 2592138.6719 | 1159838.3189 | 2592125.2729 | 1159859.5249 | 2592119.2118 | 1159871.8501 | 2592118.5188 | 1159880.9444
60 | 2592181.0729 | 1159783.5249 | 2592237.9724 | 1159591.5668
61 | 2592237.9724 | 1159591.5668 | 2592231.7739 | 1159592.9645 | 2592215.8738 | 1159595.2642 | 2592193.2753 | 1159603.4645 | 2592186.9762 | 1159604.0619 | 2592179.8775 | 1159602.7706 | 2592174.2724 | 1159600.7658 | 2592168.4773 | 1159599.9619 | 2592158.1763 | 1159599.6642 | 2592150.3727 | 1159598.5629 | 2592120.6719 | 1159585.2622 | 2592115.2745 | 1159583.8686 | 2592109.8784 | 1159583.4645 | 2592106.6728 | 1159581.968 | 2592100.9767 | 1159574.9609 | 2592095.2772 | 1159565.4638 | 2592088.4718 | 1159554.1673 | 2592083.6767 | 1159544.6689 | 2592078.4783 | 1159537.3611 | 2592072.5769 | 1159531.6662 | 2592061.8753 | 1159524.1656 | 2592057.9763 | 1159519.9687 | 2592046.8188 | 1159503.9535
62 | 2592479.2339 | 1159851.0767 | 2592481.399 | 1159852.0827
63 | 2592469.2311 | 1159846.4291 | 2592479.2339 | 1159851.0767
64 | 2592542.7338 | 1159900.7079 | 2592538.5182 | 1159894.1543 | 2592530.521 | 1159884.9598 | 2592521.5814 | 1159875.9666 | 2592514.086 | 1159869.6618 | 2592506.2087 | 1159864.4358 | 2592499.1528 | 1159860.3315 | 2592481.399 | 1159852.0827
65 | 2592469.2311 | 1159846.4291 | 2592468.5855 | 1159838.9373 | 2592433.0023 | 1159796.7172 | 2592427.4901 | 1159783.2286 | 2592427.2818 | 1159770.1224 | 2592420.7892 | 1159763.0827
66 | 2592518.2042 | 1159890.1334 | 2592526.1345 | 1159894.8591 | 2592536.4164 | 1159898.737 | 2592542.7338 | 1159900.7079
67 | 2592994.5952 | 1160094.777 | 2592987.2981 | 1160080.5785 | 2592985.9308 | 1160077.8677 | 2592976.4363 | 1160058.9584 | 2592957.3809 | 1160022.0955
68 | 2592994.5952 | 1160094.777 | 2592993.1461 | 1160100.7038 | 2592993.2458 | 1160107.2958 | 2592995.844 | 1160113.9961 | 2593000.3418 | 1160120.0049 | 2593006.0486 | 1160124.4003 | 2593012.0453 | 1160127.6949 | 2593019.7427 | 1160130.4984 | 2593035.1481 | 1160132.0033
69 | 2593035.1481 | 1160132.0033 | 2593039.5882 | 1160121.4595 | 2593041.2973 | 1160121.5687 | 2593047.4809 | 1160120.9167 | 2593051.4961 | 1160120.4785 | 2593063.8928 | 1160118.0739 | 2593073.4936 | 1160116.7732 | 2593084.5981 | 1160116.8715 | 2593094.095 | 1160118.4723 | 2593102.1915 | 1160121.7757
70 | 2593035.1481 | 1160132.0033 | 2593034.3516 | 1160139.041 | 2593033.9514 | 1160150.6361 | 2593034.1511 | 1160157.5393 | 2593037.7511 | 1160182.2362 | 2593040.354 | 1160193.0385 | 2593047.6814 | 1160213.5132
71 | 2593102.1915 | 1160121.7757 | 2593107.8974 | 1160125.4709 | 2593116.5954 | 1160132.0752 | 2593126.8135 | 1160141.0345 | 2593134.8096 | 1160150.4299 | 2593141.711 | 1160160.8271 | 2593148.7137 | 1160172.6359 | 2593153.9144 | 1160183.5353 | 2593181.9163 | 1160256.9283 | 2593186.9139 | 1160271.3297 | 2593191.5156 | 1160281.2293 | 2593195.4154 | 1160287.2278 | 2593200.6097 | 1160292.7357 | 2593206.8153 | 1160298.0312 | 2593214.5141 | 1160302.3357 | 2593222.5109 | 1160305.8283 | 2593229.4103 | 1160308.0326 | 2593252.016 | 1160314.0321 | 2593259.0164 | 1160317.437 | 2593263.6191 | 1160321.6338 | 2593268.2153 | 1160326.9313 | 2593282.5208 | 1160345.7355 | 2593288.5204 | 1160351.9318 | 2593295.3161 | 1160357.3379 | 2593301.2202 | 1160360.4328 | 2593301.2202 | 1160360.4328
72 | 2593047.6814 | 1160213.5132 | 2593048.5499 | 1160215.9402 | 2593050.1522 | 1160223.0418 | 2593050.7512 | 1160230.6338 | 2593050.3554 | 1160239.5386 | 2593049.5499 | 1160245.3424 | 2593047.7542 | 1160249.7356 | 2593045.2519 | 1160252.84 | 2593038.5277 | 1160256.4052 | 2593037.4807 | 1160256.8414
73 | 2593301.2202 | 1160360.4328 | 2593552.6766 | 1160569.7471
74 | 2593297.9996 | 1160265.0037 | 2593303.3985 | 1160273.6986 | 2593311.1955 | 1160283.5947 | 2593315.0471 | 1160287.7368 | 2593319.1979 | 1160292.2011 | 2593326.2962 | 1160300.8974 | 2593329.7142 | 1160307.8414 | 2593333.2139 | 1160319.4321 | 2593333.8147 | 1160328.9361 | 2593332.5169 | 1160340.2321 | 2593331.3567 | 1160344.3687 | 2593329.8149 | 1160349.8398 | 2593325.5153 | 1160356.1367 | 2593320.4158 | 1160359.8331 | 2593314.5171 | 1160361.5406 | 2593307.3138 | 1160361.6376 | 2593301.2202 | 1160360.4328
75 | 2592987.1042 | 1160353.519 | 2592987.4274 | 1160352.7128 | 2592993.9258 | 1160326.7145 | 2593000.9274 | 1160311.5099 | 2593010.7293 | 1160292.5112 | 2593011.4227 | 1160289.1087 | 2593011.4244 | 1160284.0062 | 2593009.529 | 1160275.3041 | 2593009.1264 | 1160271.8029 | 2593010.1268 | 1160268.9002 | 2593011.9242 | 1160265.9078 | 2593013.7231 | 1160264.2048 | 2593016.2276 | 1160263.0013 | 2593030.1251 | 1160259.9057 | 2593037.4807 | 1160256.8414
76 | 2593552.6766 | 1160569.7471 | 2593551.4121 | 1160569.6039 | 2593546.7156 | 1160570.3983 | 2593542.2129 | 1160573.3046 | 2593539.8139 | 1160579.7993 | 2593537.51 | 1160589.3065 | 2593535.5093 | 1160595.7008 | 2593526.4368 | 1160610.1066 | 2593515.7398 | 1160624.4031 | 2593512.4361 | 1160630.4986 | 2593510.8351 | 1160638.0041 | 2593510.2368 | 1160644.508 | 2593511.34 | 1160672.2983 | 2593509.4387 | 1160678.5034 | 2593506.3392 | 1160682.1086 | 2593502.6333 | 1160684.7028 | 2593498.2351 | 1160684.9077 | 2593494.8398 | 1160684.3 | 2593491.7348 | 1160682.8027 | 2593489.5261 | 1160681.1265 | 2593487.4766 | 1160677.8827
77 | 2593552.6766 | 1160569.7471 | 2593556.815 | 1160570.1984 | 2593560.411 | 1160572.1065 | 2593562.9131 | 1160575.8056 | 2593564.213 | 1160580.3065 | 2593564.1115 | 1160585.5981 | 2593563.4114 | 1160590.1011 | 2593559.3508 | 1160604.935 | 2593557.1478 | 1160615.6316 | 2593555.9493 | 1160626.8273 | 2593555.1968 | 1160639.5788 | 2593555.1879 | 1160652.5408 | 2593555.0859 | 1160664.5357 | 2593554.4898 | 1160673.0406 | 2593552.6419 | 1160681.4541
78 | 2593552.6766 | 1160569.7471 | 2593552.988 | 1160560.1198 | 2593555.6866 | 1160554.2139 | 2593566.4866 | 1160542.8188 | 2593576.79 | 1160532.7138 | 2593584.9874 | 1160523.8228 | 2593603.7878 | 1160498.2232 | 2593631.7894 | 1160463.5204 | 2593635.2885 | 1160460.8153 | 2593640.5439 | 1160459.1539
79 | 2593649.2852 | 1160457.3209 | 2593641.2867 | 1160458.9191 | 2593640.5439 | 1160459.1539
80 | 2593450.4265 | 1160246.2879 | 2593640.5439 | 1160459.1539
81 | 2593448.2396 | 1160242.3921 | 2593450.4265 | 1160246.2879
82 | 2593548.0588 | 1160861.7408 | 2593548.0338 | 1160859.9288 | 2593548.0168 | 1160858.3725 | 2593548.9023 | 1160855.2812 | 2593550.4137 | 1160849.9769 | 2593553.417 | 1160842.481 | 2593557.3125 | 1160838.1747 | 2593564.5117 | 1160834.7763 | 2593574.6149 | 1160831.3748 | 2593584.3037 | 1160827.3068 | 2593590.0077 | 1160823.1097 | 2593594.7047 | 1160815.8121 | 2593597.7061 | 1160806.5043 | 2593598.7056 | 1160795.42 | 2593597.4081 | 1160778.9132 | 2593594.2069 | 1160766.3215 | 2593586.0079 | 1160745.0198 | 2593581.6013 | 1160737.4208 | 2593577.4032 | 1160731.3113 | 2593574.8105 | 1160728.8017 | 2593570.4074 | 1160724.5155 | 2593564.8088 | 1160719.9859 | 2593562.7073 | 1160718.2207 | 2593560.4441 | 1160715.7108 | 2593556.5927 | 1160711.4351 | 2593553.9889 | 1160705.7351 | 2593552.9738 | 1160702.3678 | 2593550.9929 | 1160691.7425 | 2593552.2104 | 1160683.9151 | 2593552.492 | 1160682.1361 | 2593552.6419 | 1160681.4541
83 | 2593336.3297 | 1160104.6892 | 2593336.6896 | 1160104.4776 | 2593341.4303 | 1160101.7821 | 2593346.2278 | 1160101.8879 | 2593351.326 | 1160103.683 | 2593355.3297 | 1160106.6801 | 2593403.0241 | 1160172.8819 | 2593412.5253 | 1160185.3886 | 2593422.6264 | 1160199.9846 | 2593432.7292 | 1160216.0814 | 2593441.7269 | 1160230.7899 | 2593448.2396 | 1160242.3921
84 | 2593548.0588 | 1160861.7408 | 2593544.4366 | 1160863.7235 | 2593542.339 | 1160865.5712 | 2593541.3444 | 1160866.9729 | 2593540.5425 | 1160869.375 | 2593538.6411 | 1160882.4724 | 2593535.0413 | 1160897.9729 | 2593534.1427 | 1160910.1799 | 2593534.4277 | 1160911.558 | 2593535.5445 | 1160916.8261 | 2593537.6966 | 1160922.9045 | 2593539.3491 | 1160927.5606 | 2593540.1043 | 1160931.5173 | 2593543.4034 | 1160956.5705 | 2593543.8057 | 1160974.1788 | 2593550.3546 | 1161000.1734 | 2593553.9507 | 1161016.6332 | 2593554.8008 | 1161023.28 | 2593554.1449 | 1161033.1634 | 2593552.7388 | 1161036.6 | 2593551.0934 | 1161038.4582 | 2593548.7419 | 1161039.2056 | 2593546.5885 | 1161038.9078 | 2593544.7407 | 1161037.8537 | 2593543.5438 | 1161036.3987 | 2593538.2371 | 1161025.3546 | 2593534.6384 | 1161020.6562 | 2593531.3396 | 1161016.9468 | 2593516.5378 | 1161004.6458 | 2593510.6111 | 1160998.0347
85 | 2593510.6111 | 1160998.0347 | 2593107.4858 | 1161469.3911
86 | 2593219.6598 | 1159868.749 | 2593204.6894 | 1159866.1092 | 2593159.6743 | 1159854.5551 | 2593145.6105 | 1159847.2677 | 2593139.1063 | 1159842.773 | 2593125.7084 | 1159834.7734 | 2593120.4462 | 1159830.6552 | 2593115.8429 | 1159826.3473 | 2593111.149 | 1159823.1512 | 2593102.8441 | 1159818.9476
87 | 2593219.6598 | 1159868.749 | 2593224.7643 | 1159882.55 | 2593231.363 | 1159902.9415 | 2593239.1869 | 1159929.1677 | 2593242.7906 | 1159937.4677 | 2593247.496 | 1159944.1435 | 2593253.9951 | 1159951.1395 | 2593254.8389 | 1159951.9966
88 | 2593336.3297 | 1160104.6892 | 2593332.7072 | 1160093.1098 | 2593327.1296 | 1160067.1254 | 2593324.1282 | 1160055.8343 | 2593319.1768 | 1160041.5439 | 2593315.1804 | 1160031.4434 | 2593305.873 | 1160014.5122 | 2593292.6763 | 1159994.117 | 2593282.9582 | 1159980.021 | 2593277.3561 | 1159973.3129 | 2593260.4017 | 1159957.6466 | 2593254.8389 | 1159951.9966
89 | 2592202.7931 | 1159437.6879 | 2592208.2911 | 1159434.9505 | 2592214.295 | 1159431.1408 | 2592217.796 | 1159429.9467 | 2592220.6926 | 1159429.5427 | 2592223.2916 | 1159430.1396 | 2592230.3476 | 1159433.7989 | 2592236.2462 | 1159437.393 | 2592237.8319 | 1159438.1402
90 | 2592202.7931 | 1159437.6879 | 2592200.7237 | 1159438.7182
91 | 2592183.3864 | 1159447.3503 | 2592200.7237 | 1159438.7182
92 | 2592183.3864 | 1159447.3503 | 2592182.7932 | 1159447.6457 | 2592167.1134 | 1159456.1183
93 | 2592131.3087 | 1159474.26 | 2592132.5949 | 1159473.2467 | 2592142.4914 | 1159468.8425 | 2592162.9949 | 1159458.3437 | 2592167.1134 | 1159456.1183
94 | 2592131.3087 | 1159474.26 | 2592132.2068 | 1159469.5565 | 2592138.6342 | 1159461.4884
95 | 2592131.3087 | 1159474.26 | 2592119.9918 | 1159482.5457 | 2592113.2878 | 1159486.9767
96 | 2592046.8188 | 1159503.9535 | 2592052.0466 | 1159504.5468 | 2592061.2961 | 1159503.6451 | 2592070.4911 | 1159502.0432 | 2592086.7979 | 1159499.9427 | 2592095.5927 | 1159497.1408 | 2592103.796 | 1159493.2502 | 2592113.2878 | 1159486.9767
97 | 2592151.9822 | 1159437.8487 | 2592147.4735 | 1159440.044 | 2592145.362 | 1159442.9371 | 2592145.7567 | 1159445.838 | 2592147.9614 | 1159449.6592 | 2592146.8623 | 1159453.1068 | 2592138.6342 | 1159461.4884
98 | 2592161.9882 | 1159432.9769 | 2592151.9822 | 1159437.8487
99 | 2592987.1042 | 1160353.519 | 2592986.2278 | 1160355.7046 | 2592984.6287 | 1160357.8075 | 2592982.4243 | 1160360.0112 | 2592979.2299 | 1160361.0044 | 2592966.5251 | 1160361.6085 | 2592952.0224 | 1160364.705 | 2592945.7034 | 1160367.3249 | 2592940.0982 | 1160370.9222 | 2592933.7976 | 1160376.1212 | 2592928.3024 | 1160381.9194 | 2592919.596 | 1160393.9246 | 2592914.9006 | 1160402.1231 | 2592905.0996 | 1160421.4221 | 2592901.5994 | 1160429.4191 | 2592898.3028 | 1160441.0177
100 | 2592896.3494 | 1160569.9282 | 2592892.3513 | 1160565.1306 | 2592886.9518 | 1160561.1239 | 2592883.4531 | 1160557.4263 | 2592879.754 | 1160552.7284 | 2592875.7539 | 1160546.33 | 2592866.4871 | 1160525.2307 | 2592859.5884 | 1160510.7318 | 2592852.1865 | 1160498.4346 | 2592845.4887 | 1160485.4362 | 2592843.1897 | 1160478.9358 | 2592842.9835 | 1160473.1332 | 2592844.3871 | 1160467.84 | 2592848.4857 | 1160460.5314 | 2592851.485 | 1160456.7371 | 2592854.1873 | 1160454.4327 | 2592858.9894 | 1160452.237 | 2592866.4891 | 1160450.2381 | 2592888.8985 | 1160446.0203 | 2592893.4029 | 1160444.7143 | 2592896.1982 | 1160443.3214 | 2592898.3028 | 1160441.0177
101 | 2593797.6084 | 1159831.0661 | 2593801.9089 | 1159832.0621

## bus_geodata
| x | y | coords
0 | 2592278.402 | 1160136.1054
1 | 2592293.9421 | 1160152.738
2 | 2592271.128 | 1160129.0892
3 | 2592294.8432 | 1160154.4679
4 | 2592271.286 | 1160138.6938
5 | 2592256.3423 | 1160115.146
6 | 2592302.7426 | 1160172.7476
7 | 2592264.3889 | 1160144.3529
8 | 2592254.2208 | 1160092.5376
9 | 2592372.4056 | 1160186.7649
10 | 2592303.9407 | 1160245.9378
11 | 2592256.2704 | 1160089.2777
12 | 2593611.1101 | 1159710.4657
13 | 2593557.276 | 1159659.5148
14 | 2593668.6271 | 1159846.5431
15 | 2593683.5611 | 1159699.6991
16 | 2593502.1822 | 1159977.8208
17 | 2593420.8241 | 1159880.1954
18 | 2593345.2876 | 1159741.2553
19 | 2593198.8151 | 1159802.4957
20 | 2593707.0847 | 1159710.3789
21 | 2593714.3997 | 1159718.6872
22 | 2592272.9973 | 1160032.2476
23 | 2592291.7867 | 1160044.7208
24 | 2592260.7718 | 1160026.6965
25 | 2592337.9265 | 1160084.4142
26 | 2592261.6399 | 1160057.833
27 | 2592268.6247 | 1160007.8102
28 | 2592228.27 | 1160020.4802
29 | 2592327.893 | 1160093.1399
30 | 2592370.1804 | 1160103.9969
31 | 2592272.8655 | 1159997.6109
32 | 2592221.1025 | 1159997.5686
33 | 2592490.8635 | 1160075.2148
34 | 2592150.038 | 1159949.2698
35 | 2592393.6929 | 1160186.6649
36 | 2592364.0516 | 1160386.2664
37 | 2592478.1048 | 1160458.0201
38 | 2592450.6954 | 1159987.878
39 | 2592400.3281 | 1159956.3932
40 | 2592561.515 | 1159941.4267
41 | 2592378.8182 | 1159898.203
42 | 2592662.6431 | 1159939.7115
43 | 2592802.4343 | 1159868.0165
44 | 2592686.5614 | 1159839.9105
45 | 2592506.8043 | 1160100.3832
46 | 2592551.9027 | 1159919.8656
47 | 2592531.4266 | 1159738.861
48 | 2592717.9251 | 1159823.7752
49 | 2592899.0877 | 1159913.0952
50 | 2592529.1818 | 1160136.8192
51 | 2592504.3398 | 1160157.3384
52 | 2592545.8959 | 1159906.9287
53 | 2592924.9073 | 1159959.9433
54 | 2592118.5188 | 1159880.9444
55 | 2592181.0729 | 1159783.5249
56 | 2592237.9724 | 1159591.5668
57 | 2592479.2339 | 1159851.0767
58 | 2592481.399 | 1159852.0827
59 | 2592469.2311 | 1159846.4291
60 | 2592542.7338 | 1159900.7079
61 | 2592420.7892 | 1159763.0827
62 | 2592518.2042 | 1159890.1334
63 | 2592957.3809 | 1160022.0955
64 | 2592994.5952 | 1160094.777
65 | 2593035.1481 | 1160132.0033
66 | 2593102.1915 | 1160121.7757
67 | 2593047.6814 | 1160213.5132
68 | 2593301.2202 | 1160360.4328
69 | 2593037.4807 | 1160256.8414
70 | 2593552.6766 | 1160569.7471
71 | 2593297.9996 | 1160265.0037
72 | 2592496.4702 | 1160741.4036
73 | 2593640.5439 | 1160459.1539
74 | 2593649.2852 | 1160457.3209
75 | 2593450.4265 | 1160246.2879
76 | 2593487.4766 | 1160677.8827
77 | 2593552.6419 | 1160681.4541
78 | 2593448.2396 | 1160242.3921
79 | 2593548.0588 | 1160861.7408
80 | 2593510.6111 | 1160998.0347
81 | 2593194.8076 | 1159797.2682
82 | 2593219.6598 | 1159868.749
83 | 2593102.8441 | 1159818.9476
84 | 2593254.8389 | 1159951.9966
85 | 2593336.3297 | 1160104.6892
86 | 2592202.7931 | 1159437.6879
87 | 2592237.8319 | 1159438.1402
88 | 2592200.7237 | 1159438.7182
89 | 2592183.3864 | 1159447.3503
90 | 2592167.1134 | 1159456.1183
91 | 2592131.3087 | 1159474.26
92 | 2592113.2878 | 1159486.9767
93 | 2592046.8188 | 1159503.9535
94 | 2592138.6342 | 1159461.4884
95 | 2592151.9822 | 1159437.8487
96 | 2592161.9882 | 1159432.9769
97 | 2592987.1042 | 1160353.519
98 | 2592898.3028 | 1160441.0177
99 | 2592896.3494 | 1160569.9282
100 | 2593107.4858 | 1161469.3911
101 | 2593797.6084 | 1159831.0661
102 | 2593801.9089 | 1159832.0621
103 | 2592561.515 | 1159941.4267

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1