## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_792-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_792-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_792-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_792-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_792-3_0_3_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_792-3_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_792-3_0_3_node_287 | 0.4 | n |  | TRUE
7 | bus_LV_792-3_0_3_node_288 | 0.4 | n |  | TRUE
8 | bus_LV_792-3_0_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_792-3_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_792-3_0_3_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_792-3_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_792-3_0_3_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_792-3_0_3_node_310 | 0.4 | n |  | TRUE
14 | bus_LV_792-3_0_3_node_293 | 0.4 | n |  | TRUE
15 | bus_LV_792-3_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_792-3_0_3_node_312 | 0.4 | n |  | TRUE
17 | bus_LV_792-3_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_792-3_0_3_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_792-3_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_792-3_0_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_792-3_0_3_node_311 | 0.4 | n |  | TRUE
22 | bus_LV_792-3_0_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_792-3_0_3_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_792-3_0_3_node_289 | 0.4 | n |  | TRUE
25 | bus_LV_792-3_0_3_node_290 | 0.4 | n |  | TRUE
26 | bus_LV_792-3_0_3_node_237 | 0.4 | n |  | TRUE
27 | bus_LV_792-3_0_3_node_292 | 0.4 | n |  | TRUE
28 | bus_LV_792-3_0_3_node_291 | 0.4 | n |  | TRUE
29 | bus_LV_792-3_0_3_node_239 | 0.4 | n |  | TRUE
30 | bus_LV_792-3_0_3_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_792-3_0_3_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_792-3_0_3_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_792-3_0_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_792-3_0_3_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_792-3_0_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_792-3_0_3_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_792-3_0_3_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_792-3_0_3_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_792-3_0_3_node_238 | 0.4 | n |  | TRUE
40 | bus_MV_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_792-3_0_3_load_0 | 0 | 0.00070374 | 0.00017637 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_792-3_0_3_load_2 | 2 | 0.0016543 | 0.00041461 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_792-3_0_3_load_44 | 4 | 0.0015475 | 0.00038785 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_792-3_0_3_load_4 | 5 | 0.017079 | 0.0042804 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_792-3_0_3_load_287 | 6 | 0.0012927 | 0.00032399 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_792-3_0_3_load_32 | 8 | 0.0045765 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_792-3_0_3_load_33 | 9 | 0.0020068 | 0.00050295 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_792-3_0_3_load_36 | 12 | 0.012095 | 0.0030313 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_792-3_0_3_load_310 | 13 | 0.0018931 | 0.00047447 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_792-3_0_3_load_293 | 14 | 0.00068304 | 0.00017119 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_792-3_0_3_load_312 | 16 | 0.00084907 | 0.0002128 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_792-3_0_3_load_39 | 19 | 0.0019758 | 0.00049517 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_792-3_0_3_load_72 | 20 | 0.0015825 | 0.00039662 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_792-3_0_3_load_311 | 21 | 0.0020946 | 0.00052496 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_792-3_0_3_load_42 | 23 | 0.0040742 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_792-3_0_3_load_289 | 24 | 0.00094884 | 0.0002378 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_792-3_0_3_load_237 | 26 | 0.0017687 | 0.00044327 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_792-3_0_3_load_292 | 27 | 0.00062919 | 0.00015769 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_792-3_0_3_load_63 | 30 | 0.0010341 | 0.00025916 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_792-3_0_3_load_67 | 34 | 0.0011289 | 0.00028293 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_792-3_0_3_load_69 | 36 | 0.0019265 | 0.00048282 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_792-3_0_3_load_70 | 37 | 6.9944e-05 | 1.753e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_792-3_0_3_load_73 | 38 | 0.00051112 | 0.0001281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_792-3_0_3_load_238 | 39 | 0.00049632 | 0.00012439 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_792-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.34171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_792-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_792-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.22346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_792-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.37949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_792-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.11432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_792-3_0_3_line_5 | NAYY 4x150 SE | 4 | 22 | 0.3837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_792-3_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.062526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_792-3_0_3_line_7 | NAYY 4x150 SE | 7 | 24 | 0.14833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_792-3_0_3_line_8 | NAYY 4x150 SE | 7 | 25 | 0.22443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_792-3_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.04977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_792-3_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.024712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_792-3_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.058836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_792-3_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.046416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_792-3_0_3_line_13 | NAYY 4x150 SE | 10 | 13 | 0.39214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_792-3_0_3_line_14 | NAYY 4x150 SE | 10 | 14 | 0.68406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_792-3_0_3_line_15 | NAYY 4x150 SE | 11 | 15 | 0.084014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_792-3_0_3_line_16 | NAYY 4x150 SE | 14 | 28 | 0.15755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_792-3_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.032931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_792-3_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.25709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_792-3_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.42227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_792-3_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.058346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_792-3_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.61051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_792-3_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.2104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_792-3_0_3_line_23 | NAYY 4x150 SE | 18 | 22 | 0.27637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_792-3_0_3_line_24 | NAYY 4x150 SE | 20 | 35 | 0.036576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_792-3_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.075527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_792-3_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.25937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_792-3_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.084572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_792-3_0_3_line_28 | NAYY 4x150 SE | 26 | 39 | 0.14994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_792-3_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.27932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_792-3_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.19476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_792-3_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.072662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_792-3_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.22778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_792-3_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.41618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_792-3_0_3_line_34 | NAYY 4x150 SE | 31 | 34 | 0.085234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_792-3_0_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.21455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_792-3_0_3_line_36 | NAYY 4x150 SE | 32 | 36 | 0.014813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_792-3_0_3_line_37 | NAYY 4x150 SE | 33 | 37 | 0.074605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_792-3_0_3_line_38 | NAYY 4x150 SE | 35 | 38 | 0.016949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_792-3_0_3_trafo_42 | 0.25 MVA 20/0.4 kV | 40 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2597831.3123 | 1142261.3583 | 2597845.7183 | 1142287.4879 | 2597855.0009 | 1142301.8693 | 2597864.8988 | 1142317.6956 | 2597884.6994 | 1142341.7334 | 2597898.9349 | 1142365.1507 | 2597931.9421 | 1142417.1309 | 2597940.1392 | 1142427.7998 | 2597959.7821 | 1142442.1888 | 2597981.4321 | 1142460.0677 | 2597993.5952 | 1142471.3579 | 2598011.5429 | 1142496.4306 | 2598018.973 | 1142512.447 | 2598023.3032 | 1142521.4944 | 2598032.8511 | 1142533.0282
1 | 2598053.8195 | 1142554.1555 | 2598042.6873 | 1142544.9103 | 2598032.8511 | 1142533.0282
2 | 2597831.3123 | 1142261.3583 | 2597831.4867 | 1142254.7661 | 2597804.1342 | 1142201.1725 | 2597796.4963 | 1142186.9463 | 2597789.605 | 1142175.4099 | 2597784.1798 | 1142158.7261 | 2597782.4539 | 1142147.9326 | 2597777.7684 | 1142136.1509 | 2597767.9163 | 1142120.9361 | 2597744.4789 | 1142057.2252
3 | 2598367.3679 | 1142340.3873 | 2598053.8195 | 1142554.1555
4 | 2597744.4789 | 1142057.2252 | 2597735.4075 | 1142034.0174 | 2597721.7868 | 1141994.2034 | 2597708.5581 | 1141974.4989 | 2597699.1012 | 1141952.889
5 | 2598595.8117 | 1142617.0958 | 2598584.0584 | 1142609.8951 | 2598576.7854 | 1142601.0482 | 2598566.6829 | 1142587.4886 | 2598545.0353 | 1142570.6414 | 2598454.7622 | 1142474.0957 | 2598442.3926 | 1142463.6162 | 2598433.4754 | 1142458.0603 | 2598426.0478 | 1142447.5906 | 2598418.8799 | 1142430.9511 | 2598416.4087 | 1142416.567 | 2598420.6787 | 1142404.0264 | 2598425.6249 | 1142390.4629 | 2598424.6376 | 1142377.9348 | 2598417.8329 | 1142368.6878 | 2598385.2077 | 1142349.3652 | 2598371.0322 | 1142341.5765 | 2598367.3679 | 1142340.3873
6 | 2598634.9888 | 1144110.2353 | 2598642.8916 | 1144126.3079 | 2598644.47 | 1144139.6807 | 2598640.0001 | 1144148.6083 | 2598629.4751 | 1144156.4702 | 2598626.5628 | 1144163.9523
7 | 2598634.9888 | 1144110.2353 | 2598623.2793 | 1144113.3285 | 2598573.4117 | 1144116.6756 | 2598561.8331 | 1144120.6138 | 2598545.2566 | 1144141.3503 | 2598534.7309 | 1144146.0663 | 2598526.8311 | 1144142.9224 | 2598524.2016 | 1144136.6311 | 2598530.1772 | 1144116.9103
8 | 2598811.9548 | 1144066.1965 | 2598809.7247 | 1144058.0596 | 2598804.4596 | 1144050.1902 | 2598781.0376 | 1144044.4257 | 2598758.9316 | 1144047.8433 | 2598741.034 | 1144040.2324 | 2598732.0818 | 1144038.7781 | 2598723.0835 | 1144037.3239 | 2598718.4038 | 1144036.569 | 2598696.2973 | 1144037.8857 | 2598688.3998 | 1144044.9688 | 2598680.5124 | 1144062.2901 | 2598664.7264 | 1144081.4364 | 2598649.9924 | 1144097.4477 | 2598634.9888 | 1144110.2353
9 | 2599271.9303 | 1143264.6305 | 2599273.4914 | 1143259.6139 | 2599263.0673 | 1143235.6815 | 2599248.4439 | 1143224.4938
10 | 2599261.3451 | 1143286.8177 | 2599269.4508 | 1143272.5986 | 2599271.9303 | 1143264.6305
11 | 2599201.5038 | 1143189.6343 | 2599209.3975 | 1143197.6148 | 2599219.1351 | 1143202.0712 | 2599248.4439 | 1143224.4938
12 | 2599261.3451 | 1143286.8177 | 2599254.1354 | 1143277.7809 | 2599240.3244 | 1143269.1564 | 2599232.0761 | 1143252.5161
13 | 2599261.3451 | 1143286.8177 | 2599510.3498 | 1143589.7479
14 | 2599261.3451 | 1143286.8177 | 2598843.8485 | 1143828.6965
15 | 2599199.4648 | 1143119.5449 | 2599178.2813 | 1143149.2736 | 2599185.6292 | 1143155.7312 | 2599194.5459 | 1143169.3032 | 2599201.5038 | 1143189.6343
16 | 2598705.0381 | 1143818.7326 | 2598711.3223 | 1143812.2836 | 2598718.9432 | 1143803.8667 | 2598726.5733 | 1143802.0085 | 2598734.4041 | 1143804.2745 | 2598749.4512 | 1143810.2297 | 2598759.1334 | 1143810.2276 | 2598778.7106 | 1143799.3291 | 2598788.4006 | 1143799.9496 | 2598808.1886 | 1143804.6699 | 2598816.2271 | 1143808.3589 | 2598831.483 | 1143820.8952 | 2598843.8485 | 1143828.6965
17 | 2599218.8123 | 1143093.4406 | 2599212.2281 | 1143106.9481 | 2599199.4648 | 1143119.5449
18 | 2599028.5701 | 1142941.4521 | 2599034.4965 | 1142947.1983 | 2599041.976 | 1142956.8684 | 2599053.1067 | 1142970.0173 | 2599066.2524 | 1142993.0152 | 2599075.1709 | 1143014.1907 | 2599086.0472 | 1143024.4494 | 2599096.6152 | 1143028.7721 | 2599108.1595 | 1143035.5513 | 2599121.1401 | 1143036.5719 | 2599128.5109 | 1143040.6728 | 2599129.1569 | 1143043.8186 | 2599163.79 | 1143066.0241 | 2599186.5666 | 1143101.8382 | 2599199.4648 | 1143119.5449
19 | 2598759.9308 | 1142708.091 | 2598764.4568 | 1142704.177 | 2598781.9258 | 1142701.483 | 2598804.6605 | 1142703.5459 | 2598827.9497 | 1142711.556 | 2598841.509 | 1142720.1797 | 2598854.3997 | 1142729.4927 | 2598867.5352 | 1142732.9251 | 2598884.5903 | 1142736.3456 | 2598892.0149 | 1142737.8337 | 2598899.7016 | 1142743.3905 | 2598911.4834 | 1142741.9653 | 2598917.2944 | 1142745.2324 | 2598938.9749 | 1142782.6465 | 2598951.0878 | 1142785.1677 | 2598978.7294 | 1142850.8613 | 2598987.32 | 1142883.6312 | 2598993.8898 | 1142876.76 | 2598996.2187 | 1142877.7601 | 2598995.3636 | 1142909.4312 | 2599003.7129 | 1142926.3602 | 2599026.1641 | 1142938.7845 | 2599028.5701 | 1142941.4521
20 | 2599028.5701 | 1142941.4521 | 2599018.6789 | 1142940.4311 | 2599011.2555 | 1142944.3343 | 2599001.7746 | 1142960.5661 | 2598996.213 | 1142974.9518 | 2598995.0557 | 1142980.6285
21 | 2599028.5701 | 1142941.4521 | 2599364.9453 | 1142431.9664
22 | 2598759.9308 | 1142708.091 | 2598755.8024 | 1142702.7448 | 2598750.4433 | 1142692.6744 | 2598745.2818 | 1142672.5436 | 2598742.8019 | 1142649.3217 | 2598740.9464 | 1142634.9373 | 2598737.2322 | 1142625.8893 | 2598729.8054 | 1142615.6193 | 2598723.4164 | 1142605.9605 | 2598715.9885 | 1142590.9659 | 2598710.8371 | 1142582.5408 | 2598704.2413 | 1142576.3837 | 2598697.8455 | 1142571.2382 | 2598694.5466 | 1142564.0466 | 2598691.4543 | 1142552.5417 | 2598678.8647 | 1142518.8504
23 | 2598595.8117 | 1142617.0958 | 2598608.5411 | 1142624.0627 | 2598627.0983 | 1142639.877 | 2598645.8615 | 1142649.1215 | 2598703.8509 | 1142685.0811 | 2598714.9286 | 1142696.5731 | 2598723.5938 | 1142711.7786 | 2598731.8895 | 1142724.7275 | 2598761.3231 | 1142748.955 | 2598769.8317 | 1142751.6434 | 2598775.5493 | 1142749.1631 | 2598776.8395 | 1142744.6496 | 2598776.2157 | 1142739.1026 | 2598765.6988 | 1142725.3426 | 2598760.1321 | 1142714.6497 | 2598759.9308 | 1142708.091
24 | 2599343.7975 | 1142402.0878 | 2599364.9453 | 1142431.9664
25 | 2598595.8117 | 1142617.0958 | 2598602.5879 | 1142637.5263 | 2598609.0178 | 1142656.5451 | 2598611.467 | 1142677.7993 | 2598613.8909 | 1142690.093
26 | 2598530.1772 | 1144116.9103 | 2598380.719 | 1143904.9275
27 | 2598811.9548 | 1144066.1965 | 2598829.0571 | 1144055.9212 | 2598839.5681 | 1144052.6286 | 2598846.7835 | 1144053.4497 | 2598858.9404 | 1144057.7605 | 2598869.6605 | 1144062.6941 | 2598891.5061 | 1144063.5124
28 | 2598291.8876 | 1143823.0759 | 2598294.5727 | 1143834.1694 | 2598293.3377 | 1143841.3622 | 2598291.6966 | 1143852.657 | 2598294.119 | 1143859.015 | 2598301.7968 | 1143863.5482 | 2598315.3995 | 1143869.2915 | 2598324.6763 | 1143876.0699 | 2598349.782 | 1143908.1005 | 2598360.7567 | 1143914.0669 | 2598369.6167 | 1143914.6869 | 2598376.8313 | 1143912.0058 | 2598380.719 | 1143904.9275
29 | 2598556.5926 | 1143692.6512 | 2598542.227 | 1143709.3852 | 2598499.2161 | 1143763.0223 | 2598466.0467 | 1143806.1743 | 2598455.7448 | 1143816.2486 | 2598443.3839 | 1143827.7576 | 2598424.6321 | 1143847.6946 | 2598408.7595 | 1143858.582 | 2598388.3639 | 1143879.9537 | 2598383.8324 | 1143887.5586 | 2598383.0127 | 1143896.3965 | 2598381.57 | 1143903.3781 | 2598380.719 | 1143904.9275
30 | 2598705.0381 | 1143818.7326 | 2598556.5926 | 1143692.6512
31 | 2599237.4357 | 1141998.7053 | 2599240.673 | 1142007.5981 | 2599247.2076 | 1142015.7345 | 2599258.6311 | 1142024.9485 | 2599259.9923 | 1142029.8285 | 2599257.272 | 1142034.9869 | 2599250.2007 | 1142037.7003 | 2599231.431 | 1142043.3945
32 | 2599244.508 | 1142227.7602 | 2599233.629 | 1142206.6403 | 2599205.8783 | 1142185.2227 | 2599196.8993 | 1142175.4637 | 2599188.4636 | 1142149.6968 | 2599189.0076 | 1142137.7687 | 2599194.4476 | 1142124.4837 | 2599227.9023 | 1142094.1086 | 2599233.3431 | 1142085.159 | 2599234.1567 | 1142077.0216 | 2599229.2589 | 1142065.9058 | 2599224.6304 | 1142057.4912 | 2599225.1751 | 1142049.6318 | 2599231.431 | 1142043.3945
33 | 2599237.4357 | 1141998.7053 | 2599239.3092 | 1141984.2758 | 2599238.7693 | 1141970.7137 | 2599236.3161 | 1141962.31 | 2599179.7242 | 1141890.183 | 2599168.5671 | 1141866.0507 | 2599155.2278 | 1141847.3436 | 2599144.8876 | 1141838.1296 | 2599120.6807 | 1141829.9961 | 2599111.7016 | 1141824.0279 | 2599108.9793 | 1141816.7026 | 2599109.5152 | 1141803.4182 | 2599106.7996 | 1141790.1344 | 2599107.3362 | 1141780.374 | 2599111.148 | 1141775.2154 | 2599129.3722 | 1141766.5305 | 2599144.0607 | 1141758.9356 | 2599151.677 | 1141749.9857 | 2599156.8475 | 1141731.5426 | 2599160.651 | 1141721.7817 | 2599166.6382 | 1141715.2776 | 2599210.2118 | 1141689.7255
34 | 2599168.1572 | 1141952.0704 | 2599173.5155 | 1141956.7941 | 2599183.6239 | 1141960.0831 | 2599193.7249 | 1141965.2174 | 2599214.5503 | 1141981.2445 | 2599227.7501 | 1141995.4162 | 2599231.663 | 1141998.2948 | 2599237.4357 | 1141998.7053
35 | 2599244.508 | 1142227.7602 | 2599243.7028 | 1142240.8 | 2599240.7083 | 1142263.8561 | 2599240.4411 | 1142276.8735 | 2599248.8754 | 1142295.3036 | 2599267.6494 | 1142327.8391 | 2599313.6273 | 1142383.0155 | 2599329.4081 | 1142393.7299 | 2599343.7975 | 1142402.0878
36 | 2599258.9424 | 1142224.2565 | 2599244.508 | 1142227.7602
37 | 2599235.1463 | 1141619.8435 | 2599226.494 | 1141643.8898 | 2599210.618 | 1141681.4992 | 2599210.2118 | 1141689.7255
38 | 2599343.7975 | 1142402.0878 | 2599358.4495 | 1142410.6067

## bus_geodata
| x | y | coords
0 | 2598032.8511 | 1142533.0282
1 | 2597831.3123 | 1142261.3583
2 | 2598053.8195 | 1142554.1555
3 | 2597744.4789 | 1142057.2252
4 | 2598367.3679 | 1142340.3873
5 | 2597699.1012 | 1141952.889
6 | 2598626.5628 | 1144163.9523
7 | 2598634.9888 | 1144110.2353
8 | 2599271.9303 | 1143264.6305
9 | 2599248.4439 | 1143224.4938
10 | 2599261.3451 | 1143286.8177
11 | 2599201.5038 | 1143189.6343
12 | 2599232.0761 | 1143252.5161
13 | 2599510.3498 | 1143589.7479
14 | 2598843.8485 | 1143828.6965
15 | 2599199.4648 | 1143119.5449
16 | 2599218.8123 | 1143093.4406
17 | 2599028.5701 | 1142941.4521
18 | 2598759.9308 | 1142708.091
19 | 2598995.0557 | 1142980.6285
20 | 2599364.9453 | 1142431.9664
21 | 2598678.8647 | 1142518.8504
22 | 2598595.8117 | 1142617.0958
23 | 2598613.8909 | 1142690.093
24 | 2598530.1772 | 1144116.9103
25 | 2598811.9548 | 1144066.1965
26 | 2598380.719 | 1143904.9275
27 | 2598891.5061 | 1144063.5124
28 | 2598705.0381 | 1143818.7326
29 | 2598556.5926 | 1143692.6512
30 | 2599231.431 | 1142043.3945
31 | 2599237.4357 | 1141998.7053
32 | 2599244.508 | 1142227.7602
33 | 2599210.2118 | 1141689.7255
34 | 2599168.1572 | 1141952.0704
35 | 2599343.7975 | 1142402.0878
36 | 2599258.9424 | 1142224.2565
37 | 2599235.1463 | 1141619.8435
38 | 2599358.4495 | 1142410.6067
39 | 2598291.8876 | 1143823.0759
40 | 2598613.8909 | 1142690.093

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1