## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_792-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_792-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_792-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_792-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_792-5_0_2_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_792-5_0_2_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_792-5_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_792-5_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_792-5_0_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_792-5_0_2_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_792-5_0_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_792-5_0_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_792-5_0_2_node_207 | 0.4 | n |  | TRUE
13 | bus_LV_792-5_0_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_792-5_0_2_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_792-5_0_2_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_792-5_0_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_792-5_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_792-5_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_792-5_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_792-5_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_792-5_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_792-5_0_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_792-5_0_2_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_792-5_0_2_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_792-5_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_792-5_0_2_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_792-5_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_792-5_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_792-5_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_792-5_0_2_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_792-5_0_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_792-5_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_792-5_0_2_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_792-5_0_2_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_792-5_0_2_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_792-5_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_792-5_0_2_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_792-5_0_2_node_200 | 0.4 | n |  | TRUE
39 | bus_LV_792-5_0_2_node_191 | 0.4 | n |  | TRUE
40 | bus_LV_792-5_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_792-5_0_2_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_792-5_0_2_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_792-5_0_2_node_209 | 0.4 | n |  | TRUE
44 | bus_LV_792-5_0_2_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_792-5_0_2_node_206 | 0.4 | n |  | TRUE
46 | bus_LV_792-5_0_2_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_792-5_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_792-5_0_2_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_792-5_0_2_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_792-5_0_2_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_792-5_0_2_node_152 | 0.4 | n |  | TRUE
52 | bus_LV_792-5_0_2_node_149 | 0.4 | n |  | TRUE
53 | bus_LV_792-5_0_2_node_145 | 0.4 | n |  | TRUE
54 | bus_LV_792-5_0_2_node_143 | 0.4 | n |  | TRUE
55 | bus_LV_792-5_0_2_node_144 | 0.4 | n |  | TRUE
56 | bus_LV_792-5_0_2_node_147 | 0.4 | n |  | TRUE
57 | bus_MV_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_792-5_0_2_load_0 | 0 | 0.0014212 | 0.00035618 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_792-5_0_2_load_1 | 1 | 0.00083795 | 0.00021001 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_792-5_0_2_load_21 | 4 | 0.00022472 | 5.632e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_792-5_0_2_load_30 | 5 | 0.0010568 | 0.00026487 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_792-5_0_2_load_11 | 6 | 0.00089894 | 0.0002253 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_792-5_0_2_load_12 | 7 | 0.00027102 | 6.7924e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_792-5_0_2_load_13 | 8 | 0.00073385 | 0.00018392 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_792-5_0_2_load_14 | 9 | 0.00083141 | 0.00020837 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_792-5_0_2_load_15 | 10 | 0.00079588 | 0.00019947 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_792-5_0_2_load_16 | 11 | 0.0034669 | 0.00086889 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_792-5_0_2_load_207 | 12 | 0.00086995 | 0.00021803 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_792-5_0_2_load_17 | 13 | 0.00080439 | 0.0002016 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_792-5_0_2_load_39 | 14 | 0.00073129 | 0.00018328 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_792-5_0_2_load_38 | 15 | 0.00077147 | 0.00019335 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_792-5_0_2_load_18 | 16 | 0.00053785 | 0.0001348 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_792-5_0_2_load_19 | 17 | 0.00024395 | 6.1139e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_792-5_0_2_load_22 | 19 | 0.00024194 | 6.0635e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_792-5_0_2_load_23 | 20 | 0.00035734 | 8.9558e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_792-5_0_2_load_24 | 21 | 0.00041667 | 0.00010443 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_792-5_0_2_load_29 | 23 | 0.00026149 | 6.5535e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_792-5_0_2_load_47 | 24 | 0.00060463 | 0.00015154 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_792-5_0_2_load_25 | 25 | 0.00050652 | 0.00012695 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_792-5_0_2_load_40 | 26 | 0.00032503 | 8.146e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_792-5_0_2_load_26 | 27 | 0.00026629 | 6.6739e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_792-5_0_2_load_27 | 28 | 0.0019071 | 0.00047795 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_792-5_0_2_load_28 | 29 | 0.00044859 | 0.00011243 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_792-5_0_2_load_44 | 30 | 0.00041053 | 0.00010289 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_792-5_0_2_load_32 | 31 | 0.00080002 | 0.0002005 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_792-5_0_2_load_33 | 32 | 0.00062409 | 0.00015641 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_792-5_0_2_load_34 | 33 | 0.00093447 | 0.0002342 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_792-5_0_2_load_35 | 34 | 0.00069632 | 0.00017451 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_792-5_0_2_load_36 | 35 | 0.0022186 | 0.00055603 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_792-5_0_2_load_37 | 36 | 0.0021895 | 0.00054875 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_792-5_0_2_load_45 | 37 | 0.00075308 | 0.00018874 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_792-5_0_2_load_200 | 38 | 0.0026438 | 0.00066259 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_792-5_0_2_load_191 | 39 | 0.0021812 | 0.00054666 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_792-5_0_2_load_209 | 43 | 0.0030333 | 0.00076022 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_792-5_0_2_load_206 | 45 | 0.0019182 | 0.00048076 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_792-5_0_2_load_50 | 46 | 0.00091327 | 0.00022889 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_792-5_0_2_load_46 | 47 | 0.00067325 | 0.00016873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_792-5_0_2_load_48 | 48 | 0.00055271 | 0.00013852 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_792-5_0_2_load_49 | 49 | 0.00066272 | 0.00016609 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_792-5_0_2_load_52 | 50 | 0.00041498 | 0.000104 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_792-5_0_2_load_152 | 51 | 0.00078029 | 0.00019556 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_792-5_0_2_load_149 | 52 | 0.00067445 | 0.00016903 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_792-5_0_2_load_143 | 54 | 0.0010026 | 0.00025128 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_792-5_0_2_load_144 | 55 | 0.00040566 | 0.00010167 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_792-5_0_2_load_147 | 56 | 0.0017609 | 0.00044133 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_792-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_792-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_792-5_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.10436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_792-5_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.22725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_792-5_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_792-5_0_2_line_5 | NAYY 4x150 SE | 4 | 21 | 0.021278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_792-5_0_2_line_6 | NAYY 4x150 SE | 4 | 22 | 0.085876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_792-5_0_2_line_7 | NAYY 4x150 SE | 4 | 17 | 0.015701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_792-5_0_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.034782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_792-5_0_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.023355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_792-5_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.019081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_792-5_0_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0025451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_792-5_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.082915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_792-5_0_2_line_13 | NAYY 4x150 SE | 9 | 12 | 0.24387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_792-5_0_2_line_14 | NAYY 4x150 SE | 10 | 13 | 0.013882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_792-5_0_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.040537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_792-5_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.017136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_792-5_0_2_line_17 | NAYY 4x150 SE | 14 | 39 | 0.016865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_792-5_0_2_line_18 | NAYY 4x150 SE | 15 | 35 | 0.020833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_792-5_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.033726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_792-5_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0066127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_792-5_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.028068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_792-5_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.010358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_792-5_0_2_line_23 | NAYY 4x150 SE | 19 | 23 | 0.024032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_792-5_0_2_line_24 | NAYY 4x150 SE | 20 | 24 | 0.024162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_792-5_0_2_line_25 | NAYY 4x150 SE | 21 | 25 | 0.01158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_792-5_0_2_line_26 | NAYY 4x150 SE | 22 | 30 | 0.030247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_792-5_0_2_line_27 | NAYY 4x150 SE | 23 | 29 | 0.021672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_792-5_0_2_line_28 | NAYY 4x150 SE | 24 | 48 | 0.020133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_792-5_0_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.095305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_792-5_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.00048461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_792-5_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.016627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_792-5_0_2_line_32 | NAYY 4x150 SE | 30 | 46 | 0.068001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_792-5_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.021401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_792-5_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.018634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_792-5_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.017008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_792-5_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.004978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_792-5_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.012337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_792-5_0_2_line_38 | NAYY 4x150 SE | 34 | 37 | 0.03652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_792-5_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0029371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_792-5_0_2_line_40 | NAYY 4x150 SE | 37 | 47 | 0.0078774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_792-5_0_2_line_41 | NAYY 4x150 SE | 38 | 53 | 0.090581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_792-5_0_2_line_42 | NAYY 4x150 SE | 39 | 52 | 0.0016013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_792-5_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.08001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_792-5_0_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.059244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_792-5_0_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.21895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_792-5_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.053477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_792-5_0_2_line_47 | NAYY 4x150 SE | 42 | 45 | 0.1578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_792-5_0_2_line_48 | NAYY 4x150 SE | 44 | 50 | 0.074018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_792-5_0_2_line_49 | NAYY 4x150 SE | 44 | 49 | 0.11639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_792-5_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0048072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_792-5_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.025175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_792-5_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.020675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_792-5_0_2_line_53 | NAYY 4x150 SE | 52 | 56 | 0.044882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_792-5_0_2_line_54 | NAYY 4x150 SE | 53 | 55 | 0.050942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_792-5_0_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.056107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_792-5_0_2_trafo_32 | 0.25 MVA 20/0.4 kV | 57 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2601303.3937 | 1144864.8906 | 2601305.0497 | 1144844.4255 | 2601307.0423 | 1144831.2194 | 2601313.3374 | 1144817.6808 | 2601328.2386 | 1144799.1971 | 2601343.1464 | 1144786.0049 | 2601360.0368 | 1144771.4792 | 2601361.4051 | 1144770.3355
1 | 2601304.0263 | 1144889.5028 | 2601306.3723 | 1144876.4413 | 2601303.3937 | 1144864.8906 | 2601303.3937 | 1144864.8906
2 | 2601304.0263 | 1144889.5028 | 2601335.491 | 1144874.0907 | 2601349.0626 | 1144857.1408 | 2601354.0898 | 1144845.1916 | 2601357.9644 | 1144833.9425 | 2601365.4494 | 1144825.5178 | 2601377.0814 | 1144825.7426
3 | 2601425.5221 | 1145081.5423 | 2601304.0263 | 1144889.5028
4 | 2601377.0814 | 1144825.7426 | 2601389.5598 | 1144818.4485
5 | 2601425.5221 | 1145081.5423 | 2601423.467 | 1145084.0453 | 2601417.9332 | 1145094.0601 | 2601415.1966 | 1145100.0627
6 | 2601425.5221 | 1145081.5423 | 2601346.9096 | 1145046.9773
7 | 2601439.0568 | 1145076.2784 | 2601434.2784 | 1145075.5214 | 2601427.9933 | 1145078.5326 | 2601425.5221 | 1145081.5423
8 | 2601389.5598 | 1144818.4485 | 2601392.8412 | 1144816.5305 | 2601414.8863 | 1144804.485 | 2601420.114 | 1144801.8377
9 | 2601440.826 | 1144791.0552 | 2601435.8633 | 1144793.8624 | 2601420.114 | 1144801.8377
10 | 2601580.7822 | 1145040.1108 | 2601568.4122 | 1145054.6393
11 | 2601566.7623 | 1145056.5771 | 2601568.4122 | 1145054.6393
12 | 2601634.5346 | 1144976.9792 | 2601580.7822 | 1145040.1108
13 | 2601580.7822 | 1145040.1108 | 2601778.538 | 1145182.8177
14 | 2601557.7626 | 1145067.1471 | 2601566.7623 | 1145056.5771
15 | 2601634.5346 | 1144976.9792 | 2601657.7768 | 1144949.6814 | 2601660.779 | 1144946.0853
16 | 2601557.7626 | 1145067.1471 | 2601549.3411 | 1145077.0381 | 2601546.6018 | 1145080.1494
17 | 2601671.587 | 1144933.1389 | 2601660.779 | 1144946.0853
18 | 2601546.6018 | 1145080.1494 | 2601532.8347 | 1145095.7859
19 | 2601439.0568 | 1145076.2784 | 2601439.0568 | 1145076.2784 | 2601438.303 | 1145080.0356 | 2601434.5277 | 1145093.8192 | 2601433.0184 | 1145109.3487 | 2601433.0184 | 1145109.3487
20 | 2601434.6688 | 1145115.7522 | 2601433.0184 | 1145109.3487
21 | 2601434.6688 | 1145115.7522 | 2601437.9423 | 1145112.4069 | 2601450.9215 | 1145098.0584 | 2601453.8712 | 1145095.299
22 | 2601434.6688 | 1145115.7522 | 2601431.5741 | 1145125.6369
23 | 2601470.3591 | 1145077.929 | 2601465.4986 | 1145084.4218 | 2601453.8712 | 1145095.299
24 | 2601426.972 | 1145149.2403 | 2601427.626 | 1145140.0513 | 2601430.1481 | 1145130.1915 | 2601431.5741 | 1145125.6369
25 | 2601410.3929 | 1145110.5998 | 2601415.1966 | 1145100.0627
26 | 2601346.9096 | 1145046.9773 | 2601352.0371 | 1145032.2489 | 2601358.3837 | 1145019.043
27 | 2601470.3591 | 1145077.929 | 2601473.8522 | 1145073.2627 | 2601482.3376 | 1145059.8834
28 | 2601426.972 | 1145149.2403 | 2601426.5548 | 1145155.1029 | 2601426.1986 | 1145167.5088 | 2601426.183 | 1145169.3536
29 | 2601410.3929 | 1145110.5998 | 2601327.2741 | 1145157.2301
30 | 2601491.2025 | 1145045.8171 | 2601491.459 | 1145045.4059
31 | 2601482.3376 | 1145059.8834 | 2601487.9013 | 1145051.1108 | 2601491.2025 | 1145045.8171
32 | 2601392.026 | 1144960.1558 | 2601373.5276 | 1144987.5318 | 2601358.3837 | 1145019.043
33 | 2601537.8484 | 1145082.8407 | 2601539.4375 | 1145079.6481 | 2601541.7528 | 1145067.9541 | 2601543.4223 | 1145062.2807
34 | 2601529.5451 | 1145099.522 | 2601537.8484 | 1145082.8407
35 | 2601549.1756 | 1145046.3135 | 2601546.028 | 1145053.4258 | 2601543.4223 | 1145062.2807
36 | 2601529.5451 | 1145099.522 | 2601532.8347 | 1145095.7859
37 | 2601529.5451 | 1145099.522 | 2601521.0309 | 1145108.4496
38 | 2601549.1756 | 1145046.3135 | 2601549.4025 | 1145045.8007 | 2601558.6486 | 1145030.5733 | 2601562.9216 | 1145024.5492 | 2601565.2276 | 1145019.7586 | 2601564.8749 | 1145016.9238 | 2601562.3859 | 1145016.2228 | 2601562.3859 | 1145016.2228
39 | 2601521.0309 | 1145108.4496 | 2601519.0039 | 1145110.5751
40 | 2601557.767 | 1145022.5915 | 2601560.6107 | 1145018.3457 | 2601562.3859 | 1145016.2228
41 | 2601471.7747 | 1145186.384 | 2601481.3978 | 1145166.5766 | 2601488.5164 | 1145146.9909 | 2601496.1251 | 1145134.5645 | 2601519.0039 | 1145110.5751
42 | 2601671.587 | 1144933.1389 | 2601672.6132 | 1144931.9097
43 | 2601459.5866 | 1145402.1529 | 2601453.0944 | 1145405.3864 | 2601446.9875 | 1145403.3173 | 2601427.3938 | 1145386.727 | 2601415.6186 | 1145379.0539 | 2601406.9001 | 1145375.3947 | 2601398.4115 | 1145373.7698 | 2601389.7536 | 1145373.6789
44 | 2601397.8429 | 1145339.2751 | 2601397.1811 | 1145344.5664 | 2601397.5951 | 1145348.3461 | 2601399.5149 | 1145351.7926 | 2601396.295 | 1145356.5832 | 2601387.9523 | 1145355.1251 | 2601379.3401 | 1145356.6128 | 2601377.8798 | 1145360.0586 | 2601378.2631 | 1145363.5826 | 2601382.1884 | 1145365.0842 | 2601386.4822 | 1145368.1755 | 2601389.7536 | 1145373.6789
45 | 2601459.5866 | 1145402.1529 | 2601516.2304 | 1145422.9097 | 2601554.1406 | 1145429.0775 | 2601566.5079 | 1145433.1825 | 2601599.4715 | 1145436.07 | 2601606.0618 | 1145440.1848 | 2601619.2498 | 1145449.2259 | 2601634.4975 | 1145454.5657 | 2601651.3868 | 1145468.9438 | 2601662.0589 | 1145474.4213
46 | 2601397.8429 | 1145339.2751 | 2601405.5804 | 1145298.1679 | 2601407.8493 | 1145286.7517
47 | 2601397.8429 | 1145339.2751 | 2601405.5555 | 1145341.4445 | 2601411.094 | 1145343.3133 | 2601414.5069 | 1145334.8433 | 2601426.2299 | 1145335.5462 | 2601429.08 | 1145335.7136 | 2601437.0158 | 1145336.1823 | 2601435.989 | 1145324.5542 | 2601450.5219 | 1145333.6397 | 2601450.8514 | 1145337.0637 | 2601457.2136 | 1145331.7181 | 2601463.127 | 1145340.1791 | 2601474.4992 | 1145330.3325 | 2601481.4877 | 1145340.3279 | 2601484.9923 | 1145334.4592 | 2601489.7929 | 1145338.0954 | 2601502.0605 | 1145342.2003 | 2601508.5666 | 1145336.9675
48 | 2601407.8493 | 1145286.7517 | 2601418.3724 | 1145260.2745 | 2601442.6464 | 1145221.7589
49 | 2601407.8493 | 1145286.7517 | 2601406.8595 | 1145281.1265 | 2601410.4297 | 1145256.104 | 2601407.5897 | 1145244.6978 | 2601411.7867 | 1145233.8157 | 2601420.1424 | 1145212.3404 | 2601426.0091 | 1145190.0086 | 2601426.1426 | 1145174.1607
50 | 2601426.183 | 1145169.3536 | 2601426.1426 | 1145174.1607
51 | 2601458.4912 | 1145202.2269 | 2601444.2561 | 1145219.2048 | 2601442.6464 | 1145221.7589
52 | 2601471.7747 | 1145186.384 | 2601458.4912 | 1145202.2269
53 | 2601701.7381 | 1144897.7934 | 2601698.555 | 1144900.8352 | 2601672.6132 | 1144931.9097
54 | 2601471.7747 | 1145186.384 | 2601471.524 | 1145207.3275 | 2601462.7009 | 1145235.9975
55 | 2601462.7009 | 1145235.9975 | 2601460.0608 | 1145244.5763 | 2601458.0692 | 1145252.5241 | 2601461.0544 | 1145266.9207 | 2601466.0291 | 1145281.818 | 2601470.8673 | 1145288.8421

## bus_geodata
| x | y | coords
0 | 2601303.3937 | 1144864.8906
1 | 2601361.4051 | 1144770.3355
2 | 2601304.0263 | 1144889.5028
3 | 2601377.0814 | 1144825.7426
4 | 2601425.5221 | 1145081.5423
5 | 2601389.5598 | 1144818.4485
6 | 2601440.826 | 1144791.0552
7 | 2601420.114 | 1144801.8377
8 | 2601568.4122 | 1145054.6393
9 | 2601580.7822 | 1145040.1108
10 | 2601566.7623 | 1145056.5771
11 | 2601634.5346 | 1144976.9792
12 | 2601778.538 | 1145182.8177
13 | 2601557.7626 | 1145067.1471
14 | 2601660.779 | 1144946.0853
15 | 2601546.6018 | 1145080.1494
16 | 2601433.0184 | 1145109.3487
17 | 2601439.0568 | 1145076.2784
18 | 2601434.6688 | 1145115.7522
19 | 2601453.8712 | 1145095.299
20 | 2601431.5741 | 1145125.6369
21 | 2601415.1966 | 1145100.0627
22 | 2601346.9096 | 1145046.9773
23 | 2601470.3591 | 1145077.929
24 | 2601426.972 | 1145149.2403
25 | 2601410.3929 | 1145110.5998
26 | 2601327.2741 | 1145157.2301
27 | 2601491.2025 | 1145045.8171
28 | 2601491.459 | 1145045.4059
29 | 2601482.3376 | 1145059.8834
30 | 2601358.3837 | 1145019.043
31 | 2601537.8484 | 1145082.8407
32 | 2601543.4223 | 1145062.2807
33 | 2601529.5451 | 1145099.522
34 | 2601549.1756 | 1145046.3135
35 | 2601532.8347 | 1145095.7859
36 | 2601521.0309 | 1145108.4496
37 | 2601562.3859 | 1145016.2228
38 | 2601519.0039 | 1145110.5751
39 | 2601671.587 | 1144933.1389
40 | 2601389.7536 | 1145373.6789
41 | 2601459.5866 | 1145402.1529
42 | 2601397.8429 | 1145339.2751
43 | 2601662.0589 | 1145474.4213
44 | 2601407.8493 | 1145286.7517
45 | 2601508.5666 | 1145336.9675
46 | 2601392.026 | 1144960.1558
47 | 2601557.767 | 1145022.5915
48 | 2601426.183 | 1145169.3536
49 | 2601426.1426 | 1145174.1607
50 | 2601442.6464 | 1145221.7589
51 | 2601458.4912 | 1145202.2269
52 | 2601672.6132 | 1144931.9097
53 | 2601471.7747 | 1145186.384
54 | 2601470.8673 | 1145288.8421
55 | 2601462.7009 | 1145235.9975
56 | 2601701.7381 | 1144897.7934
57 | 2601537.8484 | 1145082.8407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1