## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_792-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_792-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_792-7_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_792-7_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_792-7_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_792-7_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_792-7_0_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_792-7_0_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_792-7_0_2_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_792-7_0_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_792-7_0_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_792-7_0_2_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_792-7_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_792-7_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_792-7_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_792-7_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_792-7_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_792-7_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_792-7_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_792-7_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_792-7_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_792-7_0_2_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_792-7_0_2_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_792-7_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_792-7_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_792-7_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_792-7_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_792-7_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_792-7_0_2_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_792-7_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_792-7_0_2_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_792-7_0_2_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_792-7_0_2_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_792-7_0_2_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_792-7_0_2_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_792-7_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_792-7_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_792-7_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_792-7_0_2_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_792-7_0_2_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_792-7_0_2_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_792-7_0_2_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_792-7_0_2_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_792-7_0_2_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_792-7_0_2_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_792-7_0_2_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_792-7_0_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_792-7_0_2_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_792-7_0_2_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_792-7_0_2_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_792-7_0_2_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_792-7_0_2_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_792-7_0_2_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_792-7_0_2_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_792-7_0_2_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_792-7_0_2_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_792-7_0_2_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_792-7_0_2_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_792-7_0_2_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_792-7_0_2_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_792-7_0_2_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_792-7_0_2_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_792-7_0_2_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_792-7_0_2_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_792-7_0_2_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_792-7_0_2_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_792-7_0_2_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_792-7_0_2_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_792-7_0_2_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_792-7_0_2_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_792-7_0_2_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_792-7_0_2_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_792-7_0_2_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_792-7_0_2_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_792-7_0_2_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_792-7_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_792-7_0_2_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_792-7_0_2_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_792-7_0_2_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_792-7_0_2_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_792-7_0_2_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_792-7_0_2_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_792-7_0_2_node_106 | 0.4 | n |  | TRUE
83 | bus_LV_792-7_0_2_node_107 | 0.4 | n |  | TRUE
84 | bus_LV_792-7_0_2_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_792-7_0_2_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_792-7_0_2_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_792-7_0_2_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_792-7_0_2_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_792-7_0_2_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_792-7_0_2_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_792-7_0_2_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_792-7_0_2_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_792-7_0_2_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_792-7_0_2_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_792-7_0_2_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_792-7_0_2_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_792-7_0_2_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_792-7_0_2_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_792-7_0_2_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_792-7_0_2_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_792-7_0_2_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_792-7_0_2_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_792-7_0_2_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_792-7_0_2_node_102 | 0.4 | n |  | TRUE
105 | bus_MV_209_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_792-7_0_2_load_0 | 0 | 0.0014271 | 0.00035768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_792-7_0_2_load_1 | 1 | 0.0052328 | 0.0013115 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_792-7_0_2_load_3 | 3 | 0.0016477 | 0.00041296 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_792-7_0_2_load_4 | 4 | 0.0030167 | 0.00075605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_792-7_0_2_load_5 | 5 | 0.0015629 | 0.00039171 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_792-7_0_2_load_23 | 6 | 0.0017311 | 0.00043387 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_792-7_0_2_load_19 | 7 | 0.0022382 | 0.00056095 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_792-7_0_2_load_22 | 9 | 0.0018043 | 0.00045219 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_792-7_0_2_load_20 | 10 | 0.0028129 | 0.00070497 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_792-7_0_2_load_44 | 11 | 0.0013252 | 0.00033212 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_792-7_0_2_load_6 | 12 | 0.0050133 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_792-7_0_2_load_7 | 13 | 0.0038659 | 0.00096888 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_792-7_0_2_load_8 | 14 | 0.0014186 | 0.00035555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_792-7_0_2_load_9 | 15 | 0.0016586 | 0.00041569 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_792-7_0_2_load_10 | 16 | 0.0034779 | 0.00087165 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_792-7_0_2_load_12 | 18 | 0.0018101 | 0.00045364 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_792-7_0_2_load_13 | 19 | 0.0023755 | 0.00059536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_792-7_0_2_load_21 | 20 | 0.0021919 | 0.00054934 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_792-7_0_2_load_36 | 21 | 0.0029279 | 0.0007338 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_792-7_0_2_load_14 | 23 | 0.0045506 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_792-7_0_2_load_16 | 25 | 0.0022927 | 0.00057461 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_792-7_0_2_load_17 | 26 | 0.0021262 | 0.00053288 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_792-7_0_2_load_18 | 27 | 0.0016298 | 0.00040847 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_792-7_0_2_load_34 | 28 | 0.0018595 | 0.00046604 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_792-7_0_2_load_32 | 29 | 0.001316 | 0.00032983 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_792-7_0_2_load_59 | 30 | 0.0033154 | 0.00083091 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_792-7_0_2_load_54 | 31 | 0.00087319 | 0.00021884 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_792-7_0_2_load_58 | 32 | 0.0030006 | 0.00075202 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_792-7_0_2_load_56 | 33 | 0.0016599 | 0.000416 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_792-7_0_2_load_24 | 34 | 0.0032945 | 0.00082567 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_792-7_0_2_load_25 | 35 | 0.003734 | 0.00093583 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_792-7_0_2_load_38 | 36 | 0.00016241 | 4.0705e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_792-7_0_2_load_33 | 38 | 0.00084506 | 0.00021179 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_792-7_0_2_load_52 | 41 | 0.0018272 | 0.00045795 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_792-7_0_2_load_53 | 42 | 0.0023614 | 0.00059182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_792-7_0_2_load_84 | 43 | 0.001578 | 0.00039549 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_792-7_0_2_load_81 | 44 | 0.00083146 | 0.00020838 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_792-7_0_2_load_83 | 45 | 0.00065155 | 0.00016329 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_792-7_0_2_load_74 | 47 | 0.0039784 | 0.00099707 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_792-7_0_2_load_77 | 48 | 0.00080219 | 0.00020105 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_792-7_0_2_load_78 | 49 | 0.00038205 | 9.5752e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_792-7_0_2_load_82 | 50 | 0.00028448 | 7.1297e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_792-7_0_2_load_79 | 51 | 0.0012744 | 0.00031939 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_792-7_0_2_load_80 | 52 | 0.0020826 | 0.00052195 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_792-7_0_2_load_26 | 53 | 0.0013763 | 0.00034494 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_792-7_0_2_load_27 | 54 | 0.0030393 | 0.00076172 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_792-7_0_2_load_29 | 56 | 0.0027427 | 0.00068738 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_792-7_0_2_load_30 | 57 | 0.0020063 | 0.00050283 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_792-7_0_2_load_31 | 58 | 0.0014144 | 0.00035448 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_792-7_0_2_load_65 | 59 | 0.0040984 | 0.0010271 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_792-7_0_2_load_85 | 60 | 0.0063196 | 0.0015838 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_792-7_0_2_load_64 | 61 | 0.0029449 | 0.00073806 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_792-7_0_2_load_40 | 64 | 0.0029573 | 0.00074116 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_792-7_0_2_load_41 | 65 | 0.002089 | 0.00052355 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_792-7_0_2_load_68 | 66 | 0.0015881 | 0.00039801 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_792-7_0_2_load_45 | 68 | 0.00097042 | 0.00024321 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_792-7_0_2_load_49 | 72 | 0.0021918 | 0.00054931 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_792-7_0_2_load_51 | 73 | 0.0011561 | 0.00028974 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_792-7_0_2_load_71 | 74 | 0.0048367 | 0.0012122 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_792-7_0_2_load_62 | 75 | 0.0017364 | 0.00043518 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_792-7_0_2_load_57 | 76 | 0.0039919 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_792-7_0_2_load_60 | 77 | 0.0019744 | 0.00049483 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_792-7_0_2_load_61 | 78 | 0.0011156 | 0.00027959 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_792-7_0_2_load_63 | 79 | 0.0026785 | 0.00067129 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_792-7_0_2_load_66 | 80 | 0.0021695 | 0.00054374 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_792-7_0_2_load_67 | 81 | 0.0029981 | 0.00075139 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_792-7_0_2_load_107 | 83 | 0.00063278 | 0.00015859 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_792-7_0_2_load_70 | 84 | 0.0046356 | 0.0011618 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_792-7_0_2_load_73 | 85 | 0.004062 | 0.001018 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_792-7_0_2_load_86 | 86 | 0.001696 | 0.00042505 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_792-7_0_2_load_88 | 88 | 0.00029787 | 7.4653e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_792-7_0_2_load_89 | 89 | 0.00063123 | 0.0001582 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_792-7_0_2_load_90 | 90 | 0.00052909 | 0.0001326 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_792-7_0_2_load_108 | 91 | 0.00088153 | 0.00022093 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_792-7_0_2_load_95 | 92 | 0.00068931 | 0.00017276 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_792-7_0_2_load_97 | 93 | 0.0003954 | 9.9095e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_792-7_0_2_load_96 | 94 | 0.00079191 | 0.00019847 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_792-7_0_2_load_91 | 96 | 0.0009274 | 0.00023243 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_792-7_0_2_load_93 | 98 | 0.00078218 | 0.00019603 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_792-7_0_2_load_94 | 99 | 0.00093772 | 0.00023501 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_792-7_0_2_load_103 | 100 | 0.00045336 | 0.00011362 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_792-7_0_2_load_99 | 101 | 0.00028327 | 7.0993e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_792-7_0_2_load_100 | 102 | 0.00054911 | 0.00013762 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_792-7_0_2_load_101 | 103 | 0.00041253 | 0.00010339 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_792-7_0_2_load_102 | 104 | 0.00048586 | 0.00012177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_792-7_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0080046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_792-7_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_792-7_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_792-7_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_792-7_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0023132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_792-7_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0013349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_792-7_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.048104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_792-7_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.013732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_792-7_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.025038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_792-7_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.024524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_792-7_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.01427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_792-7_0_2_line_11 | NAYY 4x150 SE | 9 | 34 | 0.005025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_792-7_0_2_line_12 | NAYY 4x150 SE | 10 | 20 | 0.016508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_792-7_0_2_line_13 | NAYY 4x150 SE | 11 | 64 | 0.0014843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_792-7_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.013581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_792-7_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0080701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_792-7_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.03323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_792-7_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0079522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_792-7_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0017177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_792-7_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.010674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_792-7_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.01646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_792-7_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0081977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_792-7_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.027971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_792-7_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0070325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_792-7_0_2_line_24 | NAYY 4x150 SE | 22 | 61 | 0.0043769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_792-7_0_2_line_25 | NAYY 4x150 SE | 22 | 56 | 0.017761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_792-7_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.020667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_792-7_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.016616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_792-7_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.01495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_792-7_0_2_line_29 | NAYY 4x150 SE | 24 | 27 | 0.0069847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_792-7_0_2_line_30 | NAYY 4x150 SE | 27 | 32 | 0.0056609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_792-7_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.02635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_792-7_0_2_line_32 | NAYY 4x150 SE | 29 | 38 | 0.029972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_792-7_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.020123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_792-7_0_2_line_34 | NAYY 4x150 SE | 31 | 42 | 0.0021951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_792-7_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0091429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_792-7_0_2_line_36 | NAYY 4x150 SE | 33 | 76 | 0.0088337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_792-7_0_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.013875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_792-7_0_2_line_38 | NAYY 4x150 SE | 34 | 36 | 0.039216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_792-7_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.038604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_792-7_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.020088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_792-7_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0048443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_792-7_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_792-7_0_2_line_43 | NAYY 4x150 SE | 39 | 41 | 0.013209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_792-7_0_2_line_44 | NAYY 4x150 SE | 40 | 43 | 0.026391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_792-7_0_2_line_45 | NAYY 4x150 SE | 40 | 44 | 0.024585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_792-7_0_2_line_46 | NAYY 4x150 SE | 40 | 45 | 0.021712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_792-7_0_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.018685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_792-7_0_2_line_48 | NAYY 4x150 SE | 43 | 46 | 0.025154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_792-7_0_2_line_49 | NAYY 4x150 SE | 44 | 51 | 0.032591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_792-7_0_2_line_50 | NAYY 4x150 SE | 45 | 50 | 0.012846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_792-7_0_2_line_51 | NAYY 4x150 SE | 46 | 47 | 0.092107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_792-7_0_2_line_52 | NAYY 4x150 SE | 47 | 85 | 0.011739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_792-7_0_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.0043317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_792-7_0_2_line_54 | NAYY 4x150 SE | 48 | 50 | 0.04457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_792-7_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.011097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_792-7_0_2_line_56 | NAYY 4x150 SE | 53 | 54 | 0.012368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_792-7_0_2_line_57 | NAYY 4x150 SE | 53 | 55 | 0.061631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_792-7_0_2_line_58 | NAYY 4x150 SE | 54 | 56 | 0.039332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_792-7_0_2_line_59 | NAYY 4x150 SE | 55 | 57 | 0.084529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_792-7_0_2_line_60 | NAYY 4x150 SE | 55 | 58 | 0.0075465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_792-7_0_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.017472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_792-7_0_2_line_62 | NAYY 4x150 SE | 58 | 60 | 0.013322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_792-7_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.029772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_792-7_0_2_line_64 | NAYY 4x150 SE | 62 | 75 | 0.017028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_792-7_0_2_line_65 | NAYY 4x150 SE | 62 | 70 | 0.015612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_792-7_0_2_line_66 | NAYY 4x150 SE | 63 | 64 | 0.028222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_792-7_0_2_line_67 | NAYY 4x150 SE | 63 | 65 | 0.025319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_792-7_0_2_line_68 | NAYY 4x150 SE | 65 | 66 | 0.013992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_792-7_0_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.046882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_792-7_0_2_line_70 | NAYY 4x150 SE | 67 | 84 | 0.061518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_792-7_0_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.033571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_792-7_0_2_line_72 | NAYY 4x150 SE | 68 | 70 | 0.041554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_792-7_0_2_line_73 | NAYY 4x150 SE | 69 | 71 | 0.057388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_792-7_0_2_line_74 | NAYY 4x150 SE | 69 | 72 | 0.026024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_792-7_0_2_line_75 | NAYY 4x150 SE | 70 | 73 | 0.0047952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_792-7_0_2_line_76 | NAYY 4x150 SE | 71 | 74 | 0.018278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_792-7_0_2_line_77 | NAYY 4x150 SE | 73 | 76 | 0.0086865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_792-7_0_2_line_78 | NAYY 4x150 SE | 75 | 77 | 0.012994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_792-7_0_2_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0061823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_792-7_0_2_line_80 | NAYY 4x150 SE | 78 | 79 | 0.017932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_792-7_0_2_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0037167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_792-7_0_2_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0086875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_792-7_0_2_line_83 | NAYY 4x150 SE | 81 | 82 | 0.11781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_792-7_0_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.088179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_792-7_0_2_line_85 | NAYY 4x150 SE | 83 | 91 | 0.040363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_792-7_0_2_line_86 | NAYY 4x150 SE | 86 | 87 | 0.014137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_792-7_0_2_line_87 | NAYY 4x150 SE | 86 | 88 | 0.069366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_792-7_0_2_line_88 | NAYY 4x150 SE | 87 | 89 | 0.052881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_792-7_0_2_line_89 | NAYY 4x150 SE | 87 | 90 | 0.084871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_792-7_0_2_line_90 | NAYY 4x150 SE | 88 | 91 | 0.10923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_792-7_0_2_line_91 | NAYY 4x150 SE | 89 | 92 | 0.022724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_792-7_0_2_line_92 | NAYY 4x150 SE | 90 | 93 | 0.025366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_792-7_0_2_line_93 | NAYY 4x150 SE | 92 | 94 | 0.024879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_792-7_0_2_line_94 | NAYY 4x150 SE | 93 | 95 | 0.043076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_792-7_0_2_line_95 | NAYY 4x150 SE | 94 | 99 | 0.020495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_792-7_0_2_line_96 | NAYY 4x150 SE | 95 | 101 | 0.011464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_792-7_0_2_line_97 | NAYY 4x150 SE | 95 | 102 | 0.049265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_792-7_0_2_line_98 | NAYY 4x150 SE | 96 | 97 | 0.041594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_792-7_0_2_line_99 | NAYY 4x150 SE | 97 | 98 | 0.046551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_792-7_0_2_line_100 | NAYY 4x150 SE | 97 | 99 | 0.030182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_792-7_0_2_line_101 | NAYY 4x150 SE | 98 | 100 | 0.0062583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_792-7_0_2_line_102 | NAYY 4x150 SE | 101 | 103 | 0.022548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_792-7_0_2_line_103 | NAYY 4x150 SE | 103 | 104 | 0.0040126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_792-7_0_2_trafo_21 | 0.25 MVA 20/0.4 kV | 105 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2600498.2688 | 1145548.8893 | 2600501.2203 | 1145541.4486
1 | 2600489.8155 | 1145570.2006 | 2600498.2688 | 1145548.8893
2 | 2600501.2203 | 1145541.4486 | 2600510.7259 | 1145517.4844
3 | 2600489.8155 | 1145570.2006 | 2600510.8251 | 1145566.168
4 | 2600489.8155 | 1145570.2006 | 2600488.9969 | 1145572.3641
5 | 2600511.2181 | 1145516.2435 | 2600510.7259 | 1145517.4844
6 | 2600510.8251 | 1145566.168 | 2600515.4047 | 1145565.2889 | 2600527.9115 | 1145558.72 | 2600548.2429 | 1145537.6035
7 | 2600484.1375 | 1145585.2075 | 2600488.9969 | 1145572.3641
8 | 2600511.2181 | 1145516.2435 | 2600520.4498 | 1145492.9701
9 | 2600565.2526 | 1145519.937 | 2600548.2429 | 1145537.6035
10 | 2600484.1375 | 1145585.2075 | 2600480.6387 | 1145599.0422
11 | 2600522.3026 | 1145488.2991 | 2600520.4498 | 1145492.9701
12 | 2600578.7475 | 1145511.401 | 2600571.3418 | 1145513.6126 | 2600565.2526 | 1145519.937
13 | 2600480.6387 | 1145599.0422 | 2600480.2747 | 1145600.4812
14 | 2600567.5697 | 1145563.9095 | 2600574.7951 | 1145552.4103
15 | 2600567.5697 | 1145563.9095 | 2600563.2761 | 1145570.7427
16 | 2600574.7951 | 1145552.4103 | 2600592.4748 | 1145524.2733
17 | 2600559.0453 | 1145577.476 | 2600563.2761 | 1145570.7427
18 | 2600593.3886 | 1145522.8189 | 2600592.4748 | 1145524.2733
19 | 2600593.3886 | 1145522.8189 | 2600589.5784 | 1145521.5847 | 2600584.7199 | 1145517.0165
20 | 2600593.3886 | 1145522.8189 | 2600603.4271 | 1145509.7738
21 | 2600578.7475 | 1145511.401 | 2600578.7475 | 1145511.401 | 2600584.7199 | 1145517.0165
22 | 2600603.4271 | 1145509.7738 | 2600618.5197 | 1145490.1608 | 2600620.6903 | 1145487.7784
23 | 2600625.4266 | 1145482.58 | 2600620.6903 | 1145487.7784
24 | 2600625.4266 | 1145482.58 | 2600626.6076 | 1145478.3654
25 | 2600625.4266 | 1145482.58 | 2600618.4653 | 1145498.92
26 | 2600597.5198 | 1145455.5643 | 2600579.7399 | 1145466.1002
27 | 2600565.4452 | 1145474.5708 | 2600579.7399 | 1145466.1002
28 | 2600597.5198 | 1145455.5643 | 2600595.0993 | 1145462.5008 | 2600594.1921 | 1145470.0488
29 | 2600597.5198 | 1145455.5643 | 2600603.6324 | 1145452.1847
30 | 2600608.5865 | 1145449.4456 | 2600603.6324 | 1145452.1847
31 | 2600554.0649 | 1145416.6639 | 2600538.9846 | 1145417.5854 | 2600528.1435 | 1145420.5584
32 | 2600528.1435 | 1145420.5584 | 2600520.424 | 1145422.6754 | 2600507.8938 | 1145429.3777 | 2600501.3768 | 1145433.5858
33 | 2600548.2304 | 1145398.4173 | 2600529.1621 | 1145404.8452
34 | 2600527.0819 | 1145405.5464 | 2600529.1621 | 1145404.8452
35 | 2600616.5878 | 1145445.0216 | 2600608.5865 | 1145449.4456
36 | 2600616.5878 | 1145445.0216 | 2600624.3186 | 1145440.7474
37 | 2600527.4185 | 1145475.4016 | 2600522.3026 | 1145488.2991
38 | 2600522.3026 | 1145488.2991 | 2600486.126 | 1145473.1606
39 | 2600497.3073 | 1145436.2136 | 2600490.699 | 1145458.8131 | 2600486.126 | 1145473.1606
40 | 2600497.3073 | 1145436.2136 | 2600498.7142 | 1145421.1397 | 2600497.1166 | 1145416.4596
41 | 2600497.3073 | 1145436.2136 | 2600501.3768 | 1145433.5858
42 | 2600497.1166 | 1145416.4596 | 2600495.4192 | 1145411.4903 | 2600477.7446 | 1145379.0178 | 2600472.5981 | 1145369.6906 | 2600471.5841 | 1145368.1454
43 | 2600497.1166 | 1145416.4596 | 2600509.4953 | 1145411.8513
44 | 2600471.5841 | 1145368.1454 | 2600478.5903 | 1145368.2904 | 2600497.7987 | 1145365.6937
45 | 2600471.5841 | 1145368.1454 | 2600469.2567 | 1145363.0094 | 2600466.1538 | 1145351.3035 | 2600465.3819 | 1145344.5114
46 | 2600471.5841 | 1145368.1454 | 2600450.6667 | 1145373.9645
47 | 2600509.4953 | 1145411.8513 | 2600520.1946 | 1145407.8682 | 2600527.0819 | 1145405.5464
48 | 2600522.7255 | 1145362.3239 | 2600497.7987 | 1145365.6937
49 | 2600462.3597 | 1145312.0726 | 2600463.052 | 1145324.0122 | 2600465.3819 | 1145344.5114
50 | 2600438.2904 | 1145377.4075 | 2600450.6667 | 1145373.9645
51 | 2600522.7255 | 1145362.3239 | 2600564.8605 | 1145280.4195
52 | 2600573.4884 | 1145272.8225 | 2600566.1066 | 1145277.9974 | 2600564.8605 | 1145280.4195
53 | 2600409.332 | 1145415.1422 | 2600408.8177 | 1145410.8411
54 | 2600438.2904 | 1145377.4075 | 2600408.8177 | 1145410.8411
55 | 2600462.3597 | 1145312.0726 | 2600461.7175 | 1145300.9946
56 | 2600608.2926 | 1145536.66 | 2600606.1513 | 1145548.8409
57 | 2600605.7338 | 1145609.0064 | 2600601.3637 | 1145597.456 | 2600599.7978 | 1145583.3934 | 2600605.5314 | 1145552.3677 | 2600606.1513 | 1145548.8409
58 | 2600608.2926 | 1145536.66 | 2600612.4411 | 1145513.0603 | 2600618.4653 | 1145498.92
59 | 2600605.7338 | 1145609.0064 | 2600612.7486 | 1145595.456 | 2600616.4601 | 1145583.8952 | 2600623.421 | 1145572.5681 | 2600634.3307 | 1145559.8518 | 2600648.713 | 1145542.9671 | 2600652.4116 | 1145539.7556
60 | 2600605.7338 | 1145609.0064 | 2600607.6436 | 1145616.3073
61 | 2600667.2741 | 1145530.9408 | 2600657.7633 | 1145535.1086 | 2600652.4116 | 1145539.7556
62 | 2600607.6436 | 1145616.3073 | 2600607.9992 | 1145617.6664 | 2600610.303 | 1145626.482 | 2600611.3249 | 1145629.095
63 | 2600634.6406 | 1145449.6981 | 2600626.6076 | 1145478.3654
64 | 2600634.6406 | 1145449.6981 | 2600640.8326 | 1145447.7978 | 2600650.7653 | 1145451.356
65 | 2600636.117 | 1145434.2241 | 2600634.3951 | 1145445.8629 | 2600634.6406 | 1145449.6981
66 | 2600459.3306 | 1145610.5404 | 2600469.4862 | 1145610.9635 | 2600477.9441 | 1145609.6968 | 2600480.2747 | 1145600.4812
67 | 2600459.3306 | 1145610.5404 | 2600462.0722 | 1145623.8249 | 2600465.9799 | 1145634.911
68 | 2600465.9799 | 1145634.911 | 2600468.232 | 1145641.3004 | 2600470.3581 | 1145648.1976
69 | 2600483.1698 | 1145693.2712 | 2600479.5988 | 1145678.1747 | 2600470.3581 | 1145648.1976
70 | 2600532.1034 | 1145691.774 | 2600532.4719 | 1145695.3313 | 2600531.9799 | 1145700.1225 | 2600528.5304 | 1145704.4132 | 2600521.632 | 1145705.6467 | 2600513.259 | 1145702.5779 | 2600495.768 | 1145694.8395 | 2600483.1698 | 1145693.2712
71 | 2600692.8701 | 1145388.2962 | 2600691.8018 | 1145392.6537 | 2600688.0982 | 1145399.7902 | 2600684.4104 | 1145403.1581 | 2600670.26 | 1145410.7316
72 | 2600636.117 | 1145434.2241 | 2600647.7334 | 1145424.7539 | 2600661.7543 | 1145415.284 | 2600670.26 | 1145410.7316
73 | 2600672.8401 | 1145335.235 | 2600691.381 | 1145375.5565 | 2600693.2932 | 1145382.3266 | 2600692.8701 | 1145388.2962
74 | 2600692.8701 | 1145388.2962 | 2600667.6142 | 1145382.0184
75 | 2600636.117 | 1145434.2241 | 2600631.9205 | 1145436.5443
76 | 2600672.8401 | 1145335.235 | 2600664.9686 | 1145318.7384
77 | 2600624.3186 | 1145440.7474 | 2600631.9205 | 1145436.5443
78 | 2600662.7948 | 1145446.4578 | 2600656.2122 | 1145448.9331 | 2600650.7653 | 1145451.356 | 2600650.7653 | 1145451.356
79 | 2600662.7948 | 1145446.4578 | 2600667.4132 | 1145444.7211 | 2600668.581 | 1145444.2806
80 | 2600685.6311 | 1145439.0976 | 2600681.0266 | 1145439.5866 | 2600668.581 | 1145444.2806
81 | 2600685.6311 | 1145439.0976 | 2600689.327 | 1145438.705
82 | 2600697.966 | 1145437.7875 | 2600689.327 | 1145438.705
83 | 2600697.966 | 1145437.7875 | 2600811.0438 | 1145470.8386
84 | 2600811.0438 | 1145470.8386 | 2600822.0667 | 1145478.2547 | 2600830.9235 | 1145484.2143 | 2600841.8473 | 1145485.6497 | 2600851.6338 | 1145489.9641 | 2600865.5457 | 1145493.0564 | 2600871.1068 | 1145498.293 | 2600872.235 | 1145506.4082 | 2600870.2744 | 1145518.8251
85 | 2600870.2744 | 1145518.8251 | 2600858.5312 | 1145557.4424
86 | 2600794.5129 | 1145717.3456 | 2600799.4019 | 1145704.0803
87 | 2600785.8571 | 1145638.9841 | 2600800.8023 | 1145670.6903 | 2600803.7968 | 1145682.3408 | 2600801.621 | 1145698.0593 | 2600799.4019 | 1145704.0803
88 | 2600794.5129 | 1145717.3456 | 2600785.2108 | 1145712.531 | 2600745.7201 | 1145697.0763
89 | 2600794.5129 | 1145717.3456 | 2600811.4032 | 1145734.4893 | 2600820.1217 | 1145737.1139 | 2600847.5233 | 1145732.6485 | 2600871.3479 | 1145734.9598
90 | 2600785.8571 | 1145638.9841 | 2600858.5312 | 1145557.4424
91 | 2600745.7201 | 1145697.0763 | 2600737.163 | 1145693.7275 | 2600726.5116 | 1145685.3768
92 | 2600871.3479 | 1145734.9598 | 2600874.947 | 1145735.309 | 2600895.271 | 1145743.0545
93 | 2600726.5116 | 1145685.3768 | 2600708.5734 | 1145671.3135 | 2600707.5706 | 1145669.4854
94 | 2600934.0045 | 1145737.1513 | 2600927.0899 | 1145743.8759 | 2600918.7547 | 1145747.5654 | 2600907.1321 | 1145747.5749 | 2600895.271 | 1145743.0545
95 | 2600702.379 | 1145650.5023 | 2600701.7609 | 1145658.8956 | 2600707.5706 | 1145669.4854
96 | 2600934.0045 | 1145737.1513 | 2600942.3659 | 1145744.994
97 | 2600934.0045 | 1145737.1513 | 2600936.1946 | 1145731.9491 | 2600936.411 | 1145722.5112 | 2600931.4976 | 1145701.5336 | 2600929.1641 | 1145689.1161
98 | 2600705.9362 | 1145620.8664 | 2600701.727 | 1145615.6301 | 2600693.6918 | 1145614.3175 | 2600686.5934 | 1145616.8735 | 2600675.2243 | 1145632.3326
99 | 2600705.9362 | 1145620.8664 | 2600749.547 | 1145604.585
100 | 2600705.9362 | 1145620.8664 | 2600706.7726 | 1145629.0816 | 2600702.7686 | 1145645.2112 | 2600702.379 | 1145650.5023
101 | 2600755.4101 | 1145602.3961 | 2600749.547 | 1145604.585
102 | 2600943.3207 | 1145765.7027 | 2600944.5714 | 1145759.875 | 2600946.8233 | 1145751.6269 | 2600943.4519 | 1145746.0126 | 2600942.3659 | 1145744.994
103 | 2600943.3207 | 1145765.7027 | 2600942.4788 | 1145769.6261

## bus_geodata
| x | y | coords
0 | 2600498.2688 | 1145548.8893
1 | 2600501.2203 | 1145541.4486
2 | 2600489.8155 | 1145570.2006
3 | 2600510.7259 | 1145517.4844
4 | 2600510.8251 | 1145566.168
5 | 2600488.9969 | 1145572.3641
6 | 2600511.2181 | 1145516.2435
7 | 2600548.2429 | 1145537.6035
8 | 2600484.1375 | 1145585.2075
9 | 2600520.4498 | 1145492.9701
10 | 2600565.2526 | 1145519.937
11 | 2600480.6387 | 1145599.0422
12 | 2600567.5697 | 1145563.9095
13 | 2600574.7951 | 1145552.4103
14 | 2600563.2761 | 1145570.7427
15 | 2600592.4748 | 1145524.2733
16 | 2600559.0453 | 1145577.476
17 | 2600593.3886 | 1145522.8189
18 | 2600584.7199 | 1145517.0165
19 | 2600603.4271 | 1145509.7738
20 | 2600578.7475 | 1145511.401
21 | 2600620.6903 | 1145487.7784
22 | 2600625.4266 | 1145482.58
23 | 2600579.7399 | 1145466.1002
24 | 2600597.5198 | 1145455.5643
25 | 2600565.4452 | 1145474.5708
26 | 2600594.1921 | 1145470.0488
27 | 2600603.6324 | 1145452.1847
28 | 2600554.0649 | 1145416.6639
29 | 2600528.1435 | 1145420.5584
30 | 2600548.2304 | 1145398.4173
31 | 2600529.1621 | 1145404.8452
32 | 2600608.5865 | 1145449.4456
33 | 2600616.5878 | 1145445.0216
34 | 2600522.3026 | 1145488.2991
35 | 2600527.4185 | 1145475.4016
36 | 2600486.126 | 1145473.1606
37 | 2600497.3073 | 1145436.2136
38 | 2600501.3768 | 1145433.5858
39 | 2600497.1166 | 1145416.4596
40 | 2600471.5841 | 1145368.1454
41 | 2600509.4953 | 1145411.8513
42 | 2600527.0819 | 1145405.5464
43 | 2600497.7987 | 1145365.6937
44 | 2600465.3819 | 1145344.5114
45 | 2600450.6667 | 1145373.9645
46 | 2600522.7255 | 1145362.3239
47 | 2600564.8605 | 1145280.4195
48 | 2600408.8177 | 1145410.8411
49 | 2600409.332 | 1145415.1422
50 | 2600438.2904 | 1145377.4075
51 | 2600462.3597 | 1145312.0726
52 | 2600461.7175 | 1145300.9946
53 | 2600606.1513 | 1145548.8409
54 | 2600608.2926 | 1145536.66
55 | 2600605.7338 | 1145609.0064
56 | 2600618.4653 | 1145498.92
57 | 2600652.4116 | 1145539.7556
58 | 2600607.6436 | 1145616.3073
59 | 2600667.2741 | 1145530.9408
60 | 2600611.3249 | 1145629.095
61 | 2600626.6076 | 1145478.3654
62 | 2600634.6406 | 1145449.6981
63 | 2600459.3306 | 1145610.5404
64 | 2600480.2747 | 1145600.4812
65 | 2600465.9799 | 1145634.911
66 | 2600470.3581 | 1145648.1976
67 | 2600483.1698 | 1145693.2712
68 | 2600670.26 | 1145410.7316
69 | 2600692.8701 | 1145388.2962
70 | 2600636.117 | 1145434.2241
71 | 2600672.8401 | 1145335.235
72 | 2600667.6142 | 1145382.0184
73 | 2600631.9205 | 1145436.5443
74 | 2600664.9686 | 1145318.7384
75 | 2600650.7653 | 1145451.356
76 | 2600624.3186 | 1145440.7474
77 | 2600662.7948 | 1145446.4578
78 | 2600668.581 | 1145444.2806
79 | 2600685.6311 | 1145439.0976
80 | 2600689.327 | 1145438.705
81 | 2600697.966 | 1145437.7875
82 | 2600811.0438 | 1145470.8386
83 | 2600870.2744 | 1145518.8251
84 | 2600532.1034 | 1145691.774
85 | 2600573.4884 | 1145272.8225
86 | 2600799.4019 | 1145704.0803
87 | 2600794.5129 | 1145717.3456
88 | 2600785.8571 | 1145638.9841
89 | 2600745.7201 | 1145697.0763
90 | 2600871.3479 | 1145734.9598
91 | 2600858.5312 | 1145557.4424
92 | 2600726.5116 | 1145685.3768
93 | 2600895.271 | 1145743.0545
94 | 2600707.5706 | 1145669.4854
95 | 2600934.0045 | 1145737.1513
96 | 2600675.2243 | 1145632.3326
97 | 2600705.9362 | 1145620.8664
98 | 2600749.547 | 1145604.585
99 | 2600702.379 | 1145650.5023
100 | 2600755.4101 | 1145602.3961
101 | 2600942.3659 | 1145744.994
102 | 2600929.1641 | 1145689.1161
103 | 2600943.3207 | 1145765.7027
104 | 2600942.4788 | 1145769.6261
105 | 2600593.3886 | 1145522.8189

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1