## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_793-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_793-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_793-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_793-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_793-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_793-1_0_6_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_793-1_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_793-1_0_6_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_793-1_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_793-1_0_6_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_793-1_0_6_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_793-1_0_6_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_793-1_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_793-1_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_793-1_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_793-1_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_793-1_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_793-1_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_793-1_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_793-1_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_793-1_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_793-1_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_793-1_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_793-1_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_793-1_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_793-1_0_6_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_793-1_0_6_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_793-1_0_6_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_793-1_0_6_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_793-1_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_793-1_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_793-1_0_6_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_793-1_0_6_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_793-1_0_6_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_793-1_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_793-1_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_793-1_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_793-1_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_793-1_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_793-1_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_793-1_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_793-1_0_6_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_793-1_0_6_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_793-1_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_793-1_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_793-1_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_793-1_0_6_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_793-1_0_6_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_793-1_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_793-1_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_793-1_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_793-1_0_6_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_793-1_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_793-1_0_6_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_793-1_0_6_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_793-1_0_6_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_793-1_0_6_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_793-1_0_6_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_793-1_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_793-1_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_793-1_0_6_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_793-1_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_793-1_0_6_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_793-1_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_793-1_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_793-1_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_793-1_0_6_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_793-1_0_6_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_793-1_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_793-1_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_793-1_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_MV_147_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_793-1_0_6_load_0 | 0 | 0.00082144 | 0.00020587 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_793-1_0_6_load_1 | 1 | 0.00082376 | 0.00020645 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_793-1_0_6_load_2 | 2 | 0.00074776 | 0.00018741 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_793-1_0_6_load_3 | 3 | 0.0077445 | 0.001941 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_793-1_0_6_load_4 | 4 | 0.001019 | 0.00025538 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_793-1_0_6_load_70 | 5 | 0.0013315 | 0.00033372 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_793-1_0_6_load_22 | 7 | 0.0013766 | 0.000345 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_793-1_0_6_load_8 | 8 | 0.0008237 | 0.00020644 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_793-1_0_6_load_71 | 11 | 0.0015405 | 0.00038609 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_793-1_0_6_load_6 | 12 | 0.094153 | 0.023597 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_793-1_0_6_load_7 | 13 | 0.0022553 | 0.00056523 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_793-1_0_6_load_9 | 14 | 0.004422 | 0.0011083 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_793-1_0_6_load_10 | 15 | 0.00067698 | 0.00016967 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_793-1_0_6_load_11 | 16 | 0.00077535 | 0.00019432 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_793-1_0_6_load_17 | 19 | 0.0011902 | 0.00029829 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_793-1_0_6_load_14 | 20 | 0.0011675 | 0.0002926 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_793-1_0_6_load_15 | 21 | 0.00047295 | 0.00011853 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_793-1_0_6_load_16 | 22 | 0.00079145 | 0.00019836 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_793-1_0_6_load_21 | 23 | 0.00082416 | 0.00020655 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_793-1_0_6_load_65 | 25 | 0.0059717 | 0.0014966 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_793-1_0_6_load_69 | 28 | 0.0017485 | 0.00043821 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_793-1_0_6_load_18 | 29 | 0.00079758 | 0.00019989 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_793-1_0_6_load_54 | 33 | 0.0012865 | 0.00032243 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_793-1_0_6_load_23 | 34 | 0.00029206 | 7.3196e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_793-1_0_6_load_27 | 37 | 0.0001382 | 3.4635e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_793-1_0_6_load_38 | 39 | 0.00027825 | 6.9736e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_793-1_0_6_load_35 | 40 | 0.0001107 | 2.7745e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_793-1_0_6_load_73 | 41 | 0.00090264 | 0.00022622 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_793-1_0_6_load_36 | 44 | 0.00037879 | 9.4935e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_793-1_0_6_load_28 | 45 | 0.00015597 | 3.9089e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_793-1_0_6_load_29 | 46 | 0.0005747 | 0.00014403 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_793-1_0_6_load_30 | 47 | 0.00017937 | 4.4954e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_793-1_0_6_load_37 | 48 | 0.0002526 | 6.3307e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_793-1_0_6_load_31 | 49 | 0.0001218 | 3.0525e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_793-1_0_6_load_34 | 50 | 0.00038482 | 9.6445e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_793-1_0_6_load_33 | 51 | 0.00028691 | 7.1907e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_793-1_0_6_load_56 | 52 | 0.00090402 | 0.00022657 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_793-1_0_6_load_40 | 54 | 0.00062666 | 0.00015706 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_793-1_0_6_load_44 | 58 | 0.00042463 | 0.00010642 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_793-1_0_6_load_49 | 59 | 0.00082887 | 0.00020774 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_793-1_0_6_load_45 | 61 | 0.00033491 | 8.3936e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_793-1_0_6_load_48 | 62 | 0.00041458 | 0.0001039 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_793-1_0_6_load_50 | 63 | 0.00065268 | 0.00016358 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_793-1_0_6_load_59 | 66 | 0.00046196 | 0.00011578 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_793-1_0_6_load_72 | 67 | 0.00091258 | 0.00022871 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_793-1_0_6_load_63 | 68 | 0.00082296 | 0.00020625 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_793-1_0_6_load_61 | 70 | 0.001012 | 0.00025364 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_793-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.062916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_793-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.076456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_793-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_793-1_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.14516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_793-1_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.32591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_793-1_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.2435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_793-1_0_6_line_6 | NAYY 4x150 SE | 3 | 7 | 0.28951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_793-1_0_6_line_7 | NAYY 4x150 SE | 4 | 8 | 0.074685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_793-1_0_6_line_8 | NAYY 4x150 SE | 5 | 9 | 0.011072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_793-1_0_6_line_9 | NAYY 4x150 SE | 6 | 12 | 0.081534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_793-1_0_6_line_10 | NAYY 4x150 SE | 6 | 13 | 0.093086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_793-1_0_6_line_11 | NAYY 4x150 SE | 7 | 19 | 0.0047979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_793-1_0_6_line_12 | NAYY 4x150 SE | 9 | 10 | 0.27422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_793-1_0_6_line_13 | NAYY 4x150 SE | 10 | 11 | 0.13672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_793-1_0_6_line_14 | NAYY 4x150 SE | 12 | 25 | 0.27831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_793-1_0_6_line_15 | NAYY 4x150 SE | 14 | 15 | 0.031108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_793-1_0_6_line_16 | NAYY 4x150 SE | 14 | 16 | 9.228e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_793-1_0_6_line_17 | NAYY 4x150 SE | 15 | 17 | 0.07882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_793-1_0_6_line_18 | NAYY 4x150 SE | 16 | 18 | 0.18011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_793-1_0_6_line_19 | NAYY 4x150 SE | 17 | 19 | 0.16667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_793-1_0_6_line_20 | NAYY 4x150 SE | 17 | 20 | 0.023701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_793-1_0_6_line_21 | NAYY 4x150 SE | 18 | 30 | 0.45186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_793-1_0_6_line_22 | NAYY 4x150 SE | 20 | 21 | 0.062662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_793-1_0_6_line_23 | NAYY 4x150 SE | 21 | 22 | 0.024094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_793-1_0_6_line_24 | NAYY 4x150 SE | 23 | 24 | 0.16534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_793-1_0_6_line_25 | NAYY 4x150 SE | 24 | 29 | 0.50229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_793-1_0_6_line_26 | NAYY 4x150 SE | 25 | 26 | 0.10414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_793-1_0_6_line_27 | NAYY 4x150 SE | 26 | 27 | 0.11062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_793-1_0_6_line_28 | NAYY 4x150 SE | 27 | 28 | 0.028206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_793-1_0_6_line_29 | NAYY 4x150 SE | 29 | 31 | 0.51177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_793-1_0_6_line_30 | NAYY 4x150 SE | 29 | 30 | 0.32997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_793-1_0_6_line_31 | NAYY 4x150 SE | 31 | 32 | 0.26577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_793-1_0_6_line_32 | NAYY 4x150 SE | 31 | 33 | 0.021947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_793-1_0_6_line_33 | NAYY 4x150 SE | 32 | 68 | 0.10706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_793-1_0_6_line_34 | NAYY 4x150 SE | 32 | 69 | 0.16007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_793-1_0_6_line_35 | NAYY 4x150 SE | 33 | 58 | 0.31107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_793-1_0_6_line_36 | NAYY 4x150 SE | 34 | 35 | 0.51078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_793-1_0_6_line_37 | NAYY 4x150 SE | 35 | 36 | 0.042521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_793-1_0_6_line_38 | NAYY 4x150 SE | 35 | 37 | 0.22142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_793-1_0_6_line_39 | NAYY 4x150 SE | 35 | 38 | 0.48071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_793-1_0_6_line_40 | NAYY 4x150 SE | 36 | 39 | 0.052193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_793-1_0_6_line_41 | NAYY 4x150 SE | 36 | 40 | 0.13943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_793-1_0_6_line_42 | NAYY 4x150 SE | 38 | 41 | 0.064197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_793-1_0_6_line_43 | NAYY 4x150 SE | 38 | 42 | 0.34074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_793-1_0_6_line_44 | NAYY 4x150 SE | 39 | 43 | 0.28418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_793-1_0_6_line_45 | NAYY 4x150 SE | 40 | 44 | 0.081721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_793-1_0_6_line_46 | NAYY 4x150 SE | 42 | 61 | 0.32888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_793-1_0_6_line_47 | NAYY 4x150 SE | 43 | 49 | 0.080433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_793-1_0_6_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0086523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_793-1_0_6_line_49 | NAYY 4x150 SE | 45 | 47 | 0.0053708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_793-1_0_6_line_50 | NAYY 4x150 SE | 46 | 48 | 0.24685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_793-1_0_6_line_51 | NAYY 4x150 SE | 47 | 49 | 0.087958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_793-1_0_6_line_52 | NAYY 4x150 SE | 48 | 50 | 0.14342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_793-1_0_6_line_53 | NAYY 4x150 SE | 50 | 51 | 0.063624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_793-1_0_6_line_54 | NAYY 4x150 SE | 52 | 53 | 0.010793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_793-1_0_6_line_55 | NAYY 4x150 SE | 53 | 66 | 0.021919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_793-1_0_6_line_56 | NAYY 4x150 SE | 54 | 55 | 0.099052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_793-1_0_6_line_57 | NAYY 4x150 SE | 54 | 56 | 0.12599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_793-1_0_6_line_58 | NAYY 4x150 SE | 55 | 57 | 0.26186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_793-1_0_6_line_59 | NAYY 4x150 SE | 56 | 58 | 0.055903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_793-1_0_6_line_60 | NAYY 4x150 SE | 57 | 59 | 0.24658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_793-1_0_6_line_61 | NAYY 4x150 SE | 59 | 60 | 0.30391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_793-1_0_6_line_62 | NAYY 4x150 SE | 60 | 62 | 0.032472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_793-1_0_6_line_63 | NAYY 4x150 SE | 60 | 63 | 0.17826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_793-1_0_6_line_64 | NAYY 4x150 SE | 60 | 61 | 0.070286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_793-1_0_6_line_65 | NAYY 4x150 SE | 62 | 64 | 0.49778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_793-1_0_6_line_66 | NAYY 4x150 SE | 64 | 65 | 0.13151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_793-1_0_6_line_67 | NAYY 4x150 SE | 65 | 67 | 0.14201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_793-1_0_6_line_68 | NAYY 4x150 SE | 66 | 69 | 0.088688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_793-1_0_6_line_69 | NAYY 4x150 SE | 69 | 70 | 0.3964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_793-1_0_6_trafo_3 | 0.25 MVA 20/0.4 kV | 71 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2597482.395 | 1149841.5514 | 2597479.2654 | 1149876.7003 | 2597476.5581 | 1149904.1957
1 | 2597482.395 | 1149841.5514 | 2597483.8187 | 1149825.5622 | 2597489.573 | 1149800.5142 | 2597499.4565 | 1149791.072 | 2597514.6825 | 1149780.4937 | 2597516.9362 | 1149779.4253
2 | 2597476.5581 | 1149904.1957 | 2597474.415 | 1149925.9601
3 | 2597516.9362 | 1149779.4253 | 2597575.6615 | 1149751.5873 | 2597642.305 | 1149718.9775 | 2597647.2961 | 1149715.6956
4 | 2597516.9362 | 1149779.4253 | 2597259.6852 | 1149579.3313
5 | 2597321.855 | 1150104.9261 | 2597325.7589 | 1150097.6318 | 2597465.2929 | 1149962.5149 | 2597468.1336 | 1149963.4141 | 2597473.2733 | 1149937.5548 | 2597474.415 | 1149925.9601
6 | 2597474.415 | 1149925.9601 | 2597748.0993 | 1150020.3829
7 | 2597707.5039 | 1149671.5978 | 2597702.7652 | 1149675.6211 | 2597668.2379 | 1149701.9254 | 2597647.2961 | 1149715.6956
8 | 2597260.3326 | 1149568.2812 | 2597259.6852 | 1149579.3313
9 | 2597285.2527 | 1150034.3306 | 2597294.9315 | 1150048.6998 | 2597303.5929 | 1150070.8622 | 2597318.8155 | 1150088.6639 | 2597322.7506 | 1150099.3785 | 2597321.855 | 1150104.9261
10 | 2597321.855 | 1150104.9261 | 2597317.1102 | 1150102.9717 | 2597269.8163 | 1150177.1286
11 | 2597748.0993 | 1150020.3829 | 2597752.2147 | 1150022.8492
12 | 2597260.3326 | 1149568.2812 | 2597256.0181 | 1149568.1721 | 2597249.2696 | 1149567.1858 | 2597239.5108 | 1149564.0111 | 2597228.6527 | 1149557.9688 | 2597222.2558 | 1149553.603 | 2597217.1792 | 1149549.2478 | 2597212.8467 | 1149543.4136 | 2597204.0947 | 1149526.6985 | 2597199.846 | 1149519.875 | 2597195.0989 | 1149514.1411 | 2597185.0764 | 1149505.7752 | 2597169.4979 | 1149501.8029 | 2597154.9491 | 1149500.0202 | 2597151.532 | 1149498.2877 | 2597149.527 | 1149495.743 | 2597149.5406 | 1149492.1412 | 2597151.1358 | 1149488.6721 | 2597159.0489 | 1149484.6996 | 2597195.583 | 1149482.8812 | 2597220.0095 | 1149479.1789 | 2597240.9713 | 1149470.1423 | 2597266.6029 | 1149449.1979
13 | 2597398.6082 | 1149427.3827 | 2597352.2803 | 1149434.9961 | 2597326.9571 | 1149442.8114 | 2597306.9855 | 1149451.8472 | 2597287.8327 | 1149455.1354 | 2597275.2722 | 1149453.2959 | 2597266.6029 | 1149449.1979
14 | 2597285.2527 | 1150034.3306 | 2597107.0182 | 1149820.578
15 | 2597901.344 | 1150130.1657 | 2597872.8992 | 1150142.7601
16 | 2597901.344 | 1150130.1657 | 2597901.4284 | 1150130.1284
17 | 2597804.059 | 1150181.129 | 2597870.8584 | 1150143.6637 | 2597872.8992 | 1150142.7601
18 | 2598047.0811 | 1150030.7578 | 2598039.1385 | 1150037.7195 | 2597995.8831 | 1150084.4682 | 2597976.7514 | 1150099.371 | 2597950.8564 | 1150112.6532 | 2597917.269 | 1150123.1147 | 2597901.4284 | 1150130.1284
19 | 2597804.059 | 1150181.129 | 2597796.1212 | 1150158.9101 | 2597764.9976 | 1150067.3994 | 2597756.5362 | 1150041.8235 | 2597753.5752 | 1150027.362 | 2597752.2147 | 1150022.8492
20 | 2597804.059 | 1150181.129 | 2597783.6206 | 1150193.1301
21 | 2598047.0811 | 1150030.7578 | 2598064.885 | 1150015.1665 | 2598066.8497 | 1150013.7762 | 2598093.2809 | 1149995.025 | 2598127.4586 | 1149978.9838 | 2598171.3776 | 1149961.9059 | 2598176.9849 | 1149973.0651 | 2598175.4689 | 1149985.4939 | 2598159.6978 | 1149997.6937 | 2598145.6987 | 1150005.9133 | 2598135.9447 | 1150014.2428 | 2598135.1255 | 1150020.8129 | 2598142.4113 | 1150023.9676 | 2598160.6493 | 1150020.8047 | 2598209.2394 | 1149992.0532 | 2598245.4649 | 1149969.0531 | 2598298.826 | 1149950.8616 | 2598330.1056 | 1149944.4938 | 2598338.1206 | 1149947.1373 | 2598341.3842 | 1149951.3384
22 | 2597783.6206 | 1150193.1301 | 2597770.9823 | 1150200.5511 | 2597740.0643 | 1150223.9855 | 2597732.6957 | 1150229.5112
23 | 2597732.6957 | 1150229.5112 | 2597713.4197 | 1150243.9664
24 | 2597860.643 | 1150377.6484 | 2597836.767 | 1150408.2945 | 2597773.3811 | 1150471.9383 | 2597759.3868 | 1150488.3517 | 2597746.1875 | 1150496.105
25 | 2597746.1875 | 1150496.105 | 2597781.3294 | 1150482.2292 | 2597801.6057 | 1150474.0064 | 2597840.1165 | 1150457.3061 | 2597864.8417 | 1150440.3553 | 2597923.0218 | 1150411.8203 | 2597931.1337 | 1150407.8488 | 2597936.7745 | 1150405.0788 | 2597989.7148 | 1150360.3051 | 2598010.7316 | 1150338.4316 | 2598037.1264 | 1150307.6743 | 2598061.7446 | 1150288.5678 | 2598076.7284 | 1150266.2963 | 2598104.0134 | 1150232.682 | 2598120.0904 | 1150219.1035 | 2598132.1473 | 1150193.8189
26 | 2597107.0182 | 1149820.578 | 2597092.3878 | 1149807.4454 | 2597082.8042 | 1149801.136 | 2597066.817 | 1149792.1396 | 2597058.2008 | 1149786.1187 | 2597055.4043 | 1149781.8847 | 2597051.8354 | 1149767.913 | 2597050.5209 | 1149764.323 | 2597045.7665 | 1149759.4008 | 2597033.3039 | 1149752.7149
27 | 2597033.3039 | 1149752.7149 | 2597028.2585 | 1149749.1713 | 2597025.6931 | 1149746.3823 | 2597023.2554 | 1149738.224 | 2597028.8386 | 1149742.5566 | 2597037.0931 | 1149746.6322 | 2597045.4392 | 1149749.6517 | 2597058.6985 | 1149752.9022 | 2597072.1184 | 1149754.9966 | 2597091.2342 | 1149756.7879 | 2597111.7623 | 1149758.1229
28 | 2597101.8236 | 1149732.3263 | 2597105.4241 | 1149748.0433 | 2597106.608 | 1149751.5333 | 2597107.991 | 1149753.9005 | 2597111.7623 | 1149758.1229
29 | 2598569.7621 | 1150459.1474 | 2598132.1473 | 1150193.8189
30 | 2598341.3842 | 1149951.3384 | 2598340.8326 | 1149954.9514 | 2598333.0654 | 1149959.5448 | 2598325.1894 | 1149959.8805 | 2598303.5988 | 1149970.5365 | 2598286.4843 | 1149983.7035 | 2598242.1907 | 1150031.4513 | 2598214.2026 | 1150080.7172 | 2598174.6882 | 1150139.0136 | 2598145.8715 | 1150162.0118 | 2598135.1791 | 1150187.461 | 2598132.1473 | 1150193.8189
31 | 2598810.0697 | 1150430.9896 | 2598786.3557 | 1150415.2425 | 2598752.0954 | 1150401.4542 | 2598728.376 | 1150396.8684 | 2598709.2714 | 1150399.4962 | 2598691.4787 | 1150399.5002 | 2598673.0341 | 1150401.4721 | 2598654.7765 | 1150415.6833 | 2598639.627 | 1150426.6145 | 2598617.8457 | 1150437.7473 | 2598601.0898 | 1150439.4078 | 2598586.9905 | 1150443.969 | 2598580.8972 | 1150449.1064 | 2598575.1334 | 1150452.2427 | 2598569.7621 | 1150459.1474
32 | 2598569.7621 | 1150459.1474 | 2598572.667 | 1150472.9423 | 2598571.9912 | 1150480.7624
33 | 2598917.439 | 1150430.5234 | 2598848.0188 | 1150430.2703 | 2598810.0697 | 1150430.9896
34 | 2598810.0697 | 1150430.9896 | 2598816.0039 | 1150434.9347 | 2598848.292 | 1150452.6589 | 2598899.3857 | 1150471.2467 | 2598922.0231 | 1150479.3908 | 2598930.2294 | 1150484.0471 | 2598934.7667 | 1150488.7485 | 2598937.3237 | 1150493.9061 | 2598939.7676 | 1150510.0024
35 | 2598500.5396 | 1150743.4705 | 2598504.2023 | 1150721.0365 | 2598501.9311 | 1150694.3685 | 2598494.1726 | 1150670.4589 | 2598491.2566 | 1150643.8466 | 2598486.0081 | 1150620.6589 | 2598478.0725 | 1150595.2486 | 2598480.6331 | 1150583.7312 | 2598487.2913 | 1150567.666 | 2598507.0513 | 1150549.2741 | 2598518.3857 | 1150539.3774 | 2598534.8948 | 1150533.9816 | 2598554.3047 | 1150526.7065 | 2598565.0463 | 1150509.0952 | 2598571.251 | 1150489.3284 | 2598571.9912 | 1150480.7624
36 | 2599537.2428 | 1150477.4594 | 2599535.4158 | 1150475.3029 | 2599524.3231 | 1150461.7195 | 2599519.7393 | 1150447.3462 | 2599521.9494 | 1150440.7539 | 2599530.3525 | 1150419.9652 | 2599534.0886 | 1150397.6095 | 2599533.5953 | 1150374.6428 | 2599527.0537 | 1150355.3562 | 2599500.8985 | 1150319.5967 | 2599494.7256 | 1150304.8123 | 2599478.2514 | 1150289.6287 | 2599473.307 | 1150278.546 | 2599469.3671 | 1150258.1475 | 2599461.3583 | 1150230.935 | 2599446.0729 | 1150208.4145 | 2599422.2668 | 1150185.7837 | 2599416.263 | 1150175.5683 | 2599414.3349 | 1150162.8956 | 2599414.1415 | 1150149.6336 | 2599419.5056 | 1150135.5372 | 2599428.7616 | 1150120.7624 | 2599433.911 | 1150108.5114 | 2599452.3514 | 1150054.3941 | 2599453.5096 | 1150045.5897 | 2599449.1715 | 1150036.0633 | 2599444.8801 | 1150032.9177 | 2599435.6795 | 1150028.2767
37 | 2599575.1982 | 1150461.3593 | 2599569.3267 | 1150467.285 | 2599562.4035 | 1150472.1546 | 2599557.4759 | 1150474.0893 | 2599547.9734 | 1150475.3907 | 2599537.2428 | 1150477.4594
38 | 2599537.2428 | 1150477.4594 | 2599542.3583 | 1150515.9444 | 2599546.9798 | 1150524.3703 | 2599552.6832 | 1150528.3829 | 2599561.4184 | 1150531.0279 | 2599574.6666 | 1150531.0268 | 2599587.0247 | 1150533.3602 | 2599606.8739 | 1150532.625 | 2599615.0334 | 1150535.4813 | 2599634.7075 | 1150552.8772 | 2599647.266 | 1150569.5067 | 2599653.4383 | 1150583.8688 | 2599663.2495 | 1150610.2032 | 2599666.0508 | 1150621.5817
39 | 2599215.2033 | 1150834.3488 | 2599537.2428 | 1150477.4594
40 | 2599575.1982 | 1150461.3593 | 2599589.4059 | 1150459.3016 | 2599596.4063 | 1150460.9463 | 2599608.7572 | 1150467.5152 | 2599625.2296 | 1150470.7934
41 | 2599575.1982 | 1150461.3593 | 2599577.2545 | 1150451.71 | 2599578.4891 | 1150437.5474 | 2599584.2527 | 1150425.241 | 2599581.987 | 1150409.8447 | 2599580.7502 | 1150397.3276 | 2599585.9528 | 1150376.4392 | 2599589.6507 | 1150353.65 | 2599589.6502 | 1150346.88 | 2599596.4428 | 1150339.8983 | 2599606.943 | 1150333.1275
42 | 2599155.0891 | 1150826.5538 | 2599175.2609 | 1150833.9433 | 2599204.0824 | 1150838.4523 | 2599210.6756 | 1150839.6853 | 2599215.2033 | 1150834.3488
43 | 2599080.1131 | 1151084.4695 | 2599077.633 | 1151077.9445 | 2599083.2277 | 1151029.053 | 2599080.3476 | 1151017.559 | 2599071.6962 | 1151007.7112 | 2599067.166 | 1150996.2174 | 2599085.2792 | 1150949.4249 | 2599105.8621 | 1150937.5268 | 2599146.0481 | 1150929.9835 | 2599170.3392 | 1150923.8213 | 2599178.9813 | 1150923.0085 | 2599185.0596 | 1150920.095 | 2599189.8473 | 1150908.7777 | 2599203.2679 | 1150885.6533 | 2599211.2545 | 1150861.985 | 2599215.2033 | 1150834.3488
44 | 2599625.2296 | 1150470.7934 | 2599899.2985 | 1150395.6759
45 | 2599606.943 | 1150333.1275 | 2599611.0643 | 1150325.1233 | 2599609.6203 | 1150312.3949 | 2599610.4406 | 1150299.055 | 2599605.9107 | 1150285.9267 | 2599599.531 | 1150274.0214 | 2599596.8516 | 1150267.2516 | 2599596.6438 | 1150260.4817 | 2599600.1438 | 1150256.7796 | 2599600.1438 | 1150256.7796
46 | 2599080.1131 | 1151084.4695 | 2599056.6747 | 1151090.8543 | 2599008.4617 | 1151097.4437 | 2598969.972 | 1151099.0958 | 2598912.1226 | 1151083.0989 | 2598860.4605 | 1151074.2492 | 2598818.2553 | 1151072.6126 | 2598767.8076 | 1151072.8679 | 2598755.6661 | 1151074.7158
47 | 2599899.2985 | 1150395.6759 | 2599906.4057 | 1150368.5402 | 2599934.3756 | 1150324.2512
48 | 2599966.4535 | 1150236.7558 | 2599969.1615 | 1150228.5382
49 | 2599966.4535 | 1150236.7558 | 2599964.7726 | 1150241.8567
50 | 2599843.4829 | 1150016.0775 | 2599969.1615 | 1150228.5382
51 | 2599964.7726 | 1150241.8567 | 2599963.4507 | 1150245.8679 | 2599943.0491 | 1150306.598 | 2599934.3756 | 1150324.2512
52 | 2599843.4829 | 1150016.0775 | 2599800.4148 | 1150152.8832
53 | 2599800.4148 | 1150152.8832 | 2599800.261 | 1150147.7918 | 2599805.6188 | 1150144.9235 | 2599819.2057 | 1150145.7344 | 2599843.7084 | 1150153.1259 | 2599854.919 | 1150160.1864
54 | 2599030.288 | 1150557.7427 | 2599038.918 | 1150551.2614
55 | 2599030.288 | 1150557.7427 | 2599022.8964 | 1150558.3554 | 2599008.4258 | 1150557.3976
56 | 2598443.9612 | 1150960.9253 | 2598455.6242 | 1150949.0275 | 2598469.549 | 1150927.9357 | 2598487.2971 | 1150910.4002 | 2598508.0234 | 1150893.2197 | 2598512.3343 | 1150890.2302
57 | 2598485.3946 | 1150797.2676 | 2598492.9012 | 1150797.8659 | 2598501.1849 | 1150805.3896 | 2598512.3876 | 1150822.4617 | 2598526.8835 | 1150841.5006 | 2598535.4534 | 1150857.9176 | 2598537.7433 | 1150868.3666 | 2598526.2565 | 1150880.5755 | 2598512.3343 | 1150890.2302
58 | 2598443.9612 | 1150960.9253 | 2598434.815 | 1150970.2546 | 2598401.245 | 1151001.5569 | 2598378.0557 | 1151018.8385 | 2598353.0254 | 1151039.2 | 2598345.7847 | 1151054.9653 | 2598342.4972 | 1151072.6971 | 2598335.2571 | 1151090.4301 | 2598319.4503 | 1151102.9075 | 2598298.5779 | 1151114.8639 | 2598280.4212 | 1151122.2951 | 2598270.4758 | 1151126.6224 | 2598266.8782 | 1151133.1489 | 2598267.6626 | 1151138.5068
59 | 2598485.3946 | 1150797.2676 | 2598488.6612 | 1150785.6944 | 2598494.5893 | 1150766.6502 | 2598500.5087 | 1150743.6597 | 2598500.5396 | 1150743.4705
60 | 2598267.6626 | 1151138.5068 | 2598273.3275 | 1151141.1953 | 2598281.2935 | 1151139.3254 | 2598288.7818 | 1151131.1747 | 2598301.3129 | 1151124.0342 | 2598325.9779 | 1151116.1898 | 2598351.5632 | 1151105.7552 | 2598365.5579 | 1151090.2547 | 2598381.3421 | 1151078.9114 | 2598398.4248 | 1151072.2367 | 2598423.5217 | 1151070.7068 | 2598458.5962 | 1151069.8302 | 2598488.0761 | 1151070.6894 | 2598492.7688 | 1151071.365
61 | 2598772.9439 | 1151009.6581 | 2598768.6143 | 1151005.7237 | 2598763.4249 | 1151001.0115 | 2598753.5385 | 1150997.0784 | 2598733.7758 | 1151000.3621 | 2598698.2043 | 1151011.5311 | 2598663.2911 | 1151014.8297 | 2598634.9701 | 1151014.8364 | 2598615.2104 | 1151029.9374 | 2598586.2271 | 1151051.6218 | 2598555.93 | 1151067.3815 | 2598522.684 | 1151075.6718 | 2598492.7688 | 1151071.365
62 | 2598772.9439 | 1151009.6581 | 2598768.2487 | 1151018.8969 | 2598758.1574 | 1151025.3134 | 2598749.7593 | 1151031.0139
63 | 2598701.7681 | 1150854.1423 | 2598732.6628 | 1150896.4115 | 2598761.652 | 1150931.0221 | 2598766.0285 | 1150973.5641 | 2598775.5053 | 1151000.2307 | 2598772.9439 | 1151009.6581
64 | 2598772.9439 | 1151009.6581 | 2598776.2455 | 1151015.7826 | 2598771.7218 | 1151037.1273 | 2598761.218 | 1151052.5594 | 2598755.6661 | 1151074.7158
65 | 2598638.7345 | 1151287.5911 | 2598611.9779 | 1151277.5037 | 2598586.939 | 1151261.7465 | 2598564.5389 | 1151241.3977 | 2598550.0385 | 1151230.2403 | 2598516.9986 | 1151230.9825 | 2598499.3373 | 1151224.7729 | 2598491.675 | 1151213.9808 | 2598492.7459 | 1151200.5517 | 2598497.3319 | 1151186.9105 | 2598510.5056 | 1151171.1438 | 2598538.1696 | 1151156.0404 | 2598567.0693 | 1151140.0142 | 2598594.2953 | 1151121.2872 | 2598619.0059 | 1151109.82 | 2598647.3457 | 1151093.7832 | 2598678.0417 | 1151077.179 | 2598711.2239 | 1151057.0282 | 2598737.7448 | 1151039.1691 | 2598749.7593 | 1151031.0139
66 | 2598638.7345 | 1151287.5911 | 2598661.3825 | 1151287.3411 | 2598709.4751 | 1151299.147 | 2598745.0423 | 1151310.9559 | 2598762.9809 | 1151324.0361
67 | 2598834.4233 | 1151206.2301 | 2598790.7953 | 1151258.3536 | 2598769.3886 | 1151285.4492 | 2598765.2798 | 1151308.0167 | 2598765.4435 | 1151319.6779 | 2598762.9809 | 1151324.0361
68 | 2598939.7676 | 1150510.0024 | 2598941.4268 | 1150516.9055 | 2598947.9839 | 1150527.3649 | 2598961.6261 | 1150541.2914 | 2598984.6857 | 1150551.1364 | 2599003.1314 | 1150557.0471 | 2599008.4258 | 1150557.3976
69 | 2598939.7676 | 1150510.0024 | 2598936.1524 | 1150510.6478 | 2598933.4121 | 1150509.848 | 2598931.1549 | 1150507.3361 | 2598928.7895 | 1150500.6777 | 2598924.5364 | 1150496.7766 | 2598919.2476 | 1150495.3547 | 2598904.2729 | 1150498.6592 | 2598876.0276 | 1150505.7904 | 2598843.3394 | 1150519.1925 | 2598815.9182 | 1150539.0523 | 2598793.5263 | 1150565.9924 | 2598773.9329 | 1150577.6356 | 2598759.9367 | 1150596.9369 | 2598753.1851 | 1150610.3338 | 2598744.539 | 1150629.623 | 2598744.5466 | 1150664.1065 | 2598740.4407 | 1150701.0477 | 2598749.2589 | 1150731.9719 | 2598759.554 | 1150742.6416 | 2598769.4413 | 1150748.7869 | 2598775.8915 | 1150748.7855

## bus_geodata
| x | y | coords
0 | 2597482.395 | 1149841.5514
1 | 2597476.5581 | 1149904.1957
2 | 2597516.9362 | 1149779.4253
3 | 2597474.415 | 1149925.9601
4 | 2597647.2961 | 1149715.6956
5 | 2597259.6852 | 1149579.3313
6 | 2597321.855 | 1150104.9261
7 | 2597748.0993 | 1150020.3829
8 | 2597707.5039 | 1149671.5978
9 | 2597260.3326 | 1149568.2812
10 | 2597266.6029 | 1149449.1979
11 | 2597398.6082 | 1149427.3827
12 | 2597285.2527 | 1150034.3306
13 | 2597269.8163 | 1150177.1286
14 | 2597901.344 | 1150130.1657
15 | 2597872.8992 | 1150142.7601
16 | 2597901.4284 | 1150130.1284
17 | 2597804.059 | 1150181.129
18 | 2598047.0811 | 1150030.7578
19 | 2597752.2147 | 1150022.8492
20 | 2597783.6206 | 1150193.1301
21 | 2597732.6957 | 1150229.5112
22 | 2597713.4197 | 1150243.9664
23 | 2597860.643 | 1150377.6484
24 | 2597746.1875 | 1150496.105
25 | 2597107.0182 | 1149820.578
26 | 2597033.3039 | 1149752.7149
27 | 2597111.7623 | 1149758.1229
28 | 2597101.8236 | 1149732.3263
29 | 2598132.1473 | 1150193.8189
30 | 2598341.3842 | 1149951.3384
31 | 2598569.7621 | 1150459.1474
32 | 2598810.0697 | 1150430.9896
33 | 2598571.9912 | 1150480.7624
34 | 2599435.6795 | 1150028.2767
35 | 2599537.2428 | 1150477.4594
36 | 2599575.1982 | 1150461.3593
37 | 2599666.0508 | 1150621.5817
38 | 2599215.2033 | 1150834.3488
39 | 2599625.2296 | 1150470.7934
40 | 2599606.943 | 1150333.1275
41 | 2599155.0891 | 1150826.5538
42 | 2599080.1131 | 1151084.4695
43 | 2599899.2985 | 1150395.6759
44 | 2599600.1438 | 1150256.7796
45 | 2599966.4535 | 1150236.7558
46 | 2599969.1615 | 1150228.5382
47 | 2599964.7726 | 1150241.8567
48 | 2599843.4829 | 1150016.0775
49 | 2599934.3756 | 1150324.2512
50 | 2599800.4148 | 1150152.8832
51 | 2599854.919 | 1150160.1864
52 | 2599038.918 | 1150551.2614
53 | 2599030.288 | 1150557.7427
54 | 2598512.3343 | 1150890.2302
55 | 2598443.9612 | 1150960.9253
56 | 2598485.3946 | 1150797.2676
57 | 2598267.6626 | 1151138.5068
58 | 2598500.5396 | 1150743.4705
59 | 2598492.7688 | 1151071.365
60 | 2598772.9439 | 1151009.6581
61 | 2598755.6661 | 1151074.7158
62 | 2598749.7593 | 1151031.0139
63 | 2598701.7681 | 1150854.1423
64 | 2598638.7345 | 1151287.5911
65 | 2598762.9809 | 1151324.0361
66 | 2599008.4258 | 1150557.3976
67 | 2598834.4233 | 1151206.2301
68 | 2598917.439 | 1150430.5234
69 | 2598939.7676 | 1150510.0024
70 | 2598775.8915 | 1150748.7855
71 | 2597321.855 | 1150104.9261

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1