## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_793-4_1_2_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_793-4_1_2_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_793-4_1_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_793-4_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_793-4_1_2_node_110 | 0.4 | n |  | TRUE
5 | bus_LV_793-4_1_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_793-4_1_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_793-4_1_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_793-4_1_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_793-4_1_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_793-4_1_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_793-4_1_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_793-4_1_2_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_793-4_1_2_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_793-4_1_2_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_793-4_1_2_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_793-4_1_2_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_793-4_1_2_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_793-4_1_2_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_793-4_1_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_793-4_1_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_793-4_1_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_793-4_1_2_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_793-4_1_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_793-4_1_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_793-4_1_2_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_793-4_1_2_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_793-4_1_2_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_793-4_1_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_793-4_1_2_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_793-4_1_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_793-4_1_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_793-4_1_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_793-4_1_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_793-4_1_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_793-4_1_2_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_793-4_1_2_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_793-4_1_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_793-4_1_2_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_793-4_1_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_793-4_1_2_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_793-4_1_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_793-4_1_2_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_793-4_1_2_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_793-4_1_2_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_793-4_1_2_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_793-4_1_2_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_793-4_1_2_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_793-4_1_2_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_793-4_1_2_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_793-4_1_2_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_793-4_1_2_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_793-4_1_2_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_793-4_1_2_node_111 | 0.4 | n |  | TRUE
54 | bus_LV_793-4_1_2_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_793-4_1_2_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_793-4_1_2_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_793-4_1_2_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_793-4_1_2_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_793-4_1_2_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_793-4_1_2_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_793-4_1_2_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_793-4_1_2_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_793-4_1_2_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_793-4_1_2_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_793-4_1_2_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_793-4_1_2_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_793-4_1_2_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_793-4_1_2_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_793-4_1_2_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_793-4_1_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_793-4_1_2_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_793-4_1_2_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_793-4_1_2_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_793-4_1_2_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_793-4_1_2_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_793-4_1_2_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_793-4_1_2_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_793-4_1_2_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_793-4_1_2_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_793-4_1_2_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_793-4_1_2_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_793-4_1_2_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_793-4_1_2_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_793-4_1_2_node_85 | 0.4 | n |  | TRUE
85 | bus_MV_147_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_793-4_1_2_load_9 | 2 | 0.00033039 | 8.2804e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_793-4_1_2_load_7 | 3 | 0.0018133 | 0.00045446 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_793-4_1_2_load_110 | 4 | 0.00075107 | 0.00018824 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_793-4_1_2_load_10 | 5 | 0.0012191 | 0.00030554 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_793-4_1_2_load_11 | 6 | 0.00058945 | 0.00014773 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_793-4_1_2_load_12 | 7 | 0.0026184 | 0.00065623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_793-4_1_2_load_13 | 8 | 0.00058985 | 0.00014783 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_793-4_1_2_load_15 | 9 | 0.0005148 | 0.00012902 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_793-4_1_2_load_16 | 10 | 0.000544 | 0.00013634 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_793-4_1_2_load_19 | 12 | 0.004318 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_793-4_1_2_load_20 | 13 | 0.0010152 | 0.00025445 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_793-4_1_2_load_18 | 14 | 0.00056319 | 0.00014115 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_793-4_1_2_load_21 | 15 | 0.0092034 | 0.0023066 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_793-4_1_2_load_35 | 18 | 0.0015532 | 0.00038926 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_793-4_1_2_load_22 | 19 | 0.0028521 | 0.0007148 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_793-4_1_2_load_23 | 20 | 0.0057434 | 0.0014394 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_793-4_1_2_load_24 | 21 | 0.0038222 | 0.00095794 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_793-4_1_2_load_25 | 22 | 0.003751 | 0.00094009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_793-4_1_2_load_29 | 24 | 0.0017298 | 0.00043352 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_793-4_1_2_load_27 | 25 | 0.010493 | 0.0026299 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_793-4_1_2_load_51 | 26 | 0.0056057 | 0.0014049 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_793-4_1_2_load_45 | 27 | 0.00078348 | 0.00019636 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_793-4_1_2_load_28 | 28 | 0.0011389 | 0.00028543 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_793-4_1_2_load_43 | 29 | 0.00050281 | 0.00012602 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_793-4_1_2_load_30 | 30 | 0.0009326 | 0.00023373 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_793-4_1_2_load_31 | 31 | 0.0016726 | 0.0004192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_793-4_1_2_load_32 | 32 | 0.0026532 | 0.00066494 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_793-4_1_2_load_33 | 33 | 0.00060245 | 0.00015099 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_793-4_1_2_load_34 | 34 | 0.0011665 | 0.00029234 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_793-4_1_2_load_44 | 35 | 0.0008109 | 0.00020323 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_793-4_1_2_load_42 | 37 | 0.00052983 | 0.00013279 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_793-4_1_2_load_53 | 38 | 0.00054041 | 0.00013544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_793-4_1_2_load_36 | 39 | 0.0024089 | 0.00060373 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_793-4_1_2_load_38 | 40 | 0.0042374 | 0.001062 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_793-4_1_2_load_40 | 41 | 0.0011012 | 0.00027599 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_793-4_1_2_load_41 | 42 | 0.0032624 | 0.00081763 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_793-4_1_2_load_52 | 43 | 0.0059145 | 0.0014823 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_793-4_1_2_load_49 | 44 | 0.00037724 | 9.4546e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_793-4_1_2_load_47 | 45 | 0.0014118 | 0.00035383 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_793-4_1_2_load_46 | 46 | 0.0025219 | 0.00063205 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_793-4_1_2_load_48 | 47 | 0.0013691 | 0.00034314 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_793-4_1_2_load_50 | 48 | 0.0017066 | 0.00042772 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_793-4_1_2_load_68 | 51 | 0.0023745 | 0.0005951 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_793-4_1_2_load_55 | 52 | 0.00082792 | 0.0002075 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_793-4_1_2_load_111 | 53 | 0.00049044 | 0.00012292 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_793-4_1_2_load_56 | 54 | 0.0029289 | 0.00073406 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_793-4_1_2_load_57 | 55 | 0.0018764 | 0.00047028 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_793-4_1_2_load_58 | 56 | 0.0031128 | 0.00078015 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_793-4_1_2_load_59 | 57 | 0.00075786 | 0.00018994 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_793-4_1_2_load_60 | 58 | 0.0023819 | 0.00059697 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_793-4_1_2_load_78 | 59 | 0.0029443 | 0.00073791 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_793-4_1_2_load_61 | 61 | 0.0071412 | 0.0017898 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_793-4_1_2_load_62 | 62 | 0.0029743 | 0.00074544 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_793-4_1_2_load_63 | 63 | 0.0019968 | 0.00050046 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_793-4_1_2_load_64 | 64 | 0.0022153 | 0.00055521 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_793-4_1_2_load_66 | 65 | 0.005167 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_793-4_1_2_load_70 | 66 | 0.00095416 | 0.00023914 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_793-4_1_2_load_87 | 67 | 0.0010414 | 0.000261 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_793-4_1_2_load_69 | 68 | 0.0028959 | 0.00072579 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_793-4_1_2_load_86 | 69 | 0.0019336 | 0.0004846 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_793-4_1_2_load_73 | 72 | 0.00066766 | 0.00016733 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_793-4_1_2_load_79 | 73 | 0.0017436 | 0.00043699 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_793-4_1_2_load_81 | 74 | 0.00049929 | 0.00012513 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_793-4_1_2_load_89 | 75 | 0.00067057 | 0.00016806 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_793-4_1_2_load_77 | 76 | 0.0034134 | 0.00085548 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_793-4_1_2_load_88 | 77 | 0.00071489 | 0.00017917 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_793-4_1_2_load_74 | 78 | 0.0017596 | 0.00044099 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_793-4_1_2_load_75 | 79 | 0.00093992 | 0.00023557 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_793-4_1_2_load_76 | 80 | 0.005595 | 0.0014022 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_793-4_1_2_load_82 | 81 | 0.0014249 | 0.00035711 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_793-4_1_2_load_83 | 82 | 0.001197 | 0.0003 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_793-4_1_2_load_84 | 83 | 0.0022437 | 0.00056232 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_793-4_1_2_load_85 | 84 | 0.0030634 | 0.00076776 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_793-4_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_793-4_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.15424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_793-4_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.16419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_793-4_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_793-4_1_2_line_4 | NAYY 4x150 SE | 4 | 11 | 0.085117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_793-4_1_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.015509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_793-4_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.018941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_793-4_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.015975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_793-4_1_2_line_8 | NAYY 4x150 SE | 7 | 11 | 0.011437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_793-4_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.11772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_793-4_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0058131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_793-4_1_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.12816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_793-4_1_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.11075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_793-4_1_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.048293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_793-4_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0015281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_793-4_1_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.047654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_793-4_1_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.006352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_793-4_1_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.007045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_793-4_1_2_line_18 | NAYY 4x150 SE | 17 | 26 | 0.056666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_793-4_1_2_line_19 | NAYY 4x150 SE | 17 | 22 | 0.029046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_793-4_1_2_line_20 | NAYY 4x150 SE | 18 | 39 | 0.0096621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_793-4_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.036032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_793-4_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.029715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_793-4_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.024495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_793-4_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.052812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_793-4_1_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.058922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_793-4_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.019262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_793-4_1_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.0099325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_793-4_1_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.0082124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_793-4_1_2_line_29 | NAYY 4x150 SE | 26 | 43 | 0.015982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_793-4_1_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.041374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_793-4_1_2_line_31 | NAYY 4x150 SE | 29 | 37 | 0.010998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_793-4_1_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.019039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_793-4_1_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.032637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_793-4_1_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.02541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_793-4_1_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.028301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_793-4_1_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0089525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_793-4_1_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.023778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_793-4_1_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0084638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_793-4_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.040807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_793-4_1_2_line_40 | NAYY 4x150 SE | 38 | 52 | 0.27228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_793-4_1_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0084299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_793-4_1_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.032391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_793-4_1_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0044789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_793-4_1_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.00066863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_793-4_1_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.016463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_793-4_1_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.030801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_793-4_1_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.029768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_793-4_1_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0037014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_793-4_1_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.049304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_793-4_1_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.019928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_793-4_1_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.01295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_793-4_1_2_line_52 | NAYY 4x150 SE | 50 | 66 | 0.034019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_793-4_1_2_line_53 | NAYY 4x150 SE | 50 | 65 | 0.022063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_793-4_1_2_line_54 | NAYY 4x150 SE | 51 | 67 | 0.0096965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_793-4_1_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.37188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_793-4_1_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.014034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_793-4_1_2_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0064748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_793-4_1_2_line_58 | NAYY 4x150 SE | 55 | 57 | 0.016284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_793-4_1_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.0093558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_793-4_1_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.0032931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_793-4_1_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.016288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_793-4_1_2_line_62 | NAYY 4x150 SE | 60 | 74 | 0.015591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_793-4_1_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.025697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_793-4_1_2_line_64 | NAYY 4x150 SE | 61 | 63 | 0.0086213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_793-4_1_2_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0039668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_793-4_1_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.025519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_793-4_1_2_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0025677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_793-4_1_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.019458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_793-4_1_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.02873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_793-4_1_2_line_70 | NAYY 4x150 SE | 69 | 84 | 0.011504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_793-4_1_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.018306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_793-4_1_2_line_72 | NAYY 4x150 SE | 70 | 72 | 0.037134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_793-4_1_2_line_73 | NAYY 4x150 SE | 71 | 73 | 0.015297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_793-4_1_2_line_74 | NAYY 4x150 SE | 71 | 74 | 0.021127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_793-4_1_2_line_75 | NAYY 4x150 SE | 72 | 75 | 0.019658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_793-4_1_2_line_76 | NAYY 4x150 SE | 73 | 76 | 0.009447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_793-4_1_2_line_77 | NAYY 4x150 SE | 75 | 77 | 0.00047647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_793-4_1_2_line_78 | NAYY 4x150 SE | 76 | 79 | 0.003116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_793-4_1_2_line_79 | NAYY 4x150 SE | 78 | 79 | 0.024205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_793-4_1_2_line_80 | NAYY 4x150 SE | 78 | 80 | 0.012044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_793-4_1_2_line_81 | NAYY 4x150 SE | 81 | 82 | 0.029696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_793-4_1_2_line_82 | NAYY 4x150 SE | 82 | 83 | 0.017797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_793-4_1_2_line_83 | NAYY 4x150 SE | 83 | 84 | 0.0062655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_793-4_1_2_trafo_46 | 0.25 MVA 20/0.4 kV | 85 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2596190.6458 | 1151163.9778 | 2596166.526 | 1151155.7672
1 | 2596166.526 | 1151155.7672 | 2596165.1215 | 1151191.2855 | 2596179.5768 | 1151256.1189 | 2596194.949 | 1151306.072
2 | 2596190.6458 | 1151163.9778 | 2596286.2104 | 1151030.4631
3 | 2596194.949 | 1151306.072 | 2596259.9223 | 1151386.6536
4 | 2596209.3061 | 1151455.086 | 2596259.9223 | 1151386.6536
5 | 2596182.6604 | 1151440.4957 | 2596174.9351 | 1151436.2656 | 2596169.8233 | 1151431.9328
6 | 2596199.2742 | 1151449.5929 | 2596182.6604 | 1151440.4957
7 | 2596157.6368 | 1151421.6034 | 2596169.8233 | 1151431.9328
8 | 2596209.3061 | 1151455.086 | 2596199.2742 | 1151449.5929
9 | 2596157.6368 | 1151421.6034 | 2596151.3459 | 1151416.2712 | 2596130.2743 | 1151408.8146 | 2596103.7326 | 1151404.2076 | 2596078.8032 | 1151400.6445 | 2596069.3292 | 1151395.3149 | 2596062.7387 | 1151386.6928 | 2596058.7554 | 1151374.9675 | 2596058.6196 | 1151374.0848
10 | 2596058.6196 | 1151374.0848 | 2596057.7355 | 1151368.3394
11 | 2596315.8471 | 1151526.3229 | 2596209.3061 | 1151455.086
12 | 2596315.8471 | 1151526.3229 | 2596324.706 | 1151513.6417 | 2596346.6422 | 1151493.1181 | 2596364.2483 | 1151482.1463 | 2596403.5669 | 1151461.3214
13 | 2596289.6118 | 1151566.8564 | 2596308.8801 | 1151536.296 | 2596315.8471 | 1151526.3229
14 | 2596404.9173 | 1151460.6061 | 2596403.5669 | 1151461.3214
15 | 2596440.3247 | 1151429.941 | 2596433.9223 | 1151439.6719 | 2596422.1946 | 1151450.651 | 2596406.4214 | 1151459.8095 | 2596404.9173 | 1151460.6061
16 | 2596440.3247 | 1151429.941 | 2596446.2508 | 1151432.2719
17 | 2596440.3247 | 1151429.941 | 2596442.6615 | 1151423.2949
18 | 2596446.2508 | 1151432.2719 | 2596433.7786 | 1151455.9244 | 2596432.7458 | 1151461.2609 | 2596433.372 | 1151468.8531 | 2596436.1292 | 1151485.499
19 | 2596446.2508 | 1151432.2719 | 2596473.2739 | 1151442.9209
20 | 2596442.6615 | 1151423.2949 | 2596445.8664 | 1151414.1798
21 | 2596530.9199 | 1151460.1699 | 2596516.243 | 1151458.6875 | 2596496.195 | 1151451.5502
22 | 2596530.9199 | 1151460.1699 | 2596548.5239 | 1151461.9479 | 2596560.5115 | 1151462.8536
23 | 2596496.195 | 1151451.5502 | 2596485.5998 | 1151447.7782 | 2596473.2739 | 1151442.9209
24 | 2596613.2525 | 1151465.0675 | 2596584.588 | 1151464.6727 | 2596560.5115 | 1151462.8536
25 | 2596613.2525 | 1151465.0675 | 2596637.4499 | 1151464.52 | 2596669.7963 | 1151461.5891 | 2596671.9813 | 1151461.0995
26 | 2596613.2525 | 1151465.0675 | 2596613.8391 | 1151484.321
27 | 2596681.6735 | 1151458.9278 | 2596671.9813 | 1151461.0995
28 | 2596613.8391 | 1151484.321 | 2596616.6565 | 1151492.0351
29 | 2596438.7407 | 1151501.2658 | 2596436.1292 | 1151485.499
30 | 2596719.6019 | 1151442.9917 | 2596704.6328 | 1151451.3534 | 2596688.8957 | 1151457.3096 | 2596681.6735 | 1151458.9278
31 | 2596729.9059 | 1151439.3893 | 2596722.8004 | 1151441.205 | 2596719.6019 | 1151442.9917
32 | 2596791.1467 | 1151432.5278 | 2596788.0755 | 1151432.9428 | 2596772.1564 | 1151433.7657
33 | 2596791.1467 | 1151432.5278 | 2596812.6937 | 1151429.6166 | 2596823.3645 | 1151427.4216
34 | 2596772.1564 | 1151433.7657 | 2596746.78 | 1151435.0776 | 2596746.78 | 1151435.0776
35 | 2596851.0623 | 1151421.6288 | 2596850.0263 | 1151421.9372 | 2596823.3645 | 1151427.4216
36 | 2596746.78 | 1151435.0776 | 2596738.1062 | 1151437.294
37 | 2596873.852 | 1151414.8433 | 2596851.0623 | 1151421.6288
38 | 2596729.9059 | 1151439.3893 | 2596738.1062 | 1151437.294
39 | 2596873.852 | 1151414.8433 | 2596882.4228 | 1151426.0998 | 2596896.9876 | 1151448.4279
40 | 2596896.9876 | 1151448.4279 | 2596816.2981 | 1151708.4733
41 | 2596448.6626 | 1151406.2271 | 2596445.8664 | 1151414.1798
42 | 2596448.6626 | 1151406.2271 | 2596450.4071 | 1151401.2654 | 2596457.0534 | 1151374.9604
43 | 2596458.1505 | 1151370.618 | 2596457.0534 | 1151374.9604
44 | 2596458.1505 | 1151370.618 | 2596458.3143 | 1151369.9697
45 | 2596458.3143 | 1151369.9697 | 2596459.5565 | 1151365.0533 | 2596461.8457 | 1151353.8938
46 | 2596468.0351 | 1151323.7206 | 2596461.8457 | 1151353.8938
47 | 2596468.0351 | 1151323.7206 | 2596468.7087 | 1151320.4371 | 2596473.3507 | 1151294.4323
48 | 2596473.3507 | 1151294.4323 | 2596474.0011 | 1151290.7885
49 | 2596487.7345 | 1151243.6215 | 2596477.3674 | 1151271.9304 | 2596474.0011 | 1151290.7885
50 | 2596495.4444 | 1151225.2412 | 2596487.7345 | 1151243.6215
51 | 2596487.7345 | 1151243.6215 | 2596476.495 | 1151237.1899
52 | 2596495.4444 | 1151225.2412 | 2596507.5229 | 1151196.4311 | 2596508.422 | 1151193.8015
53 | 2596495.4444 | 1151225.2412 | 2596514.3325 | 1151236.6444
54 | 2596476.495 | 1151237.1899 | 2596468.079 | 1151232.3741
55 | 2596816.2981 | 1151708.4733 | 2597122.6862 | 1151919.2407
56 | 2596579.9984 | 1151136.5898 | 2596568.4396 | 1151128.6313
57 | 2596579.9984 | 1151136.5898 | 2596585.3314 | 1151140.2616
58 | 2596568.4396 | 1151128.6313 | 2596559.6764 | 1151122.5977 | 2596554.53 | 1151120.28
59 | 2596593.0373 | 1151145.5673 | 2596585.3314 | 1151140.2616
60 | 2596551.5273 | 1151118.9277 | 2596554.53 | 1151120.28
61 | 2596536.6762 | 1151112.2394 | 2596551.5273 | 1151118.9277
62 | 2596536.6762 | 1151112.2394 | 2596533.1588 | 1151121.446 | 2596531.3038 | 1151126.8726
63 | 2596539.086 | 1151277.5763 | 2596539.5749 | 1151251.8838 | 2596539.5749 | 1151251.8838
64 | 2596539.086 | 1151277.5763 | 2596538.922 | 1151286.1961
65 | 2596539.5749 | 1151251.8838 | 2596536.179 | 1151249.8336
66 | 2596536.179 | 1151249.8336 | 2596514.3325 | 1151236.6444
67 | 2596509.2527 | 1151191.3719 | 2596508.422 | 1151193.8015
68 | 2596468.079 | 1151232.3741 | 2596467.1053 | 1151231.8169 | 2596450.647 | 1151223.7347
69 | 2596518.5479 | 1151164.1866 | 2596509.2527 | 1151191.3719
70 | 2596440.5227 | 1151218.341 | 2596441.9859 | 1151219.4815 | 2596450.647 | 1151223.7347
71 | 2596524.4704 | 1151146.8635 | 2596518.5479 | 1151164.1866
72 | 2596518.5479 | 1151164.1866 | 2596483.3202 | 1151152.4426
73 | 2596524.4704 | 1151146.8635 | 2596538.9683 | 1151151.7437
74 | 2596524.4704 | 1151146.8635 | 2596531.3038 | 1151126.8726
75 | 2596464.6711 | 1151146.2254 | 2596483.3202 | 1151152.4426
76 | 2596547.9217 | 1151154.7575 | 2596538.9683 | 1151151.7437
77 | 2596464.2191 | 1151146.0747 | 2596464.6711 | 1151146.2254
78 | 2596550.8748 | 1151155.7516 | 2596547.9217 | 1151154.7575
79 | 2596573.8149 | 1151163.4736 | 2596550.8748 | 1151155.7516
80 | 2596585.2292 | 1151167.3158 | 2596573.8149 | 1151163.4736
81 | 2596406.644 | 1151182.4602 | 2596404.5073 | 1151190.2677 | 2596421.5443 | 1151203.5478
82 | 2596435.5811 | 1151214.4891 | 2596421.5443 | 1151203.5478
83 | 2596435.5811 | 1151214.4891 | 2596440.5227 | 1151218.341

## bus_geodata
| x | y | coords
0 | 2596166.526 | 1151155.7672
1 | 2596190.6458 | 1151163.9778
2 | 2596194.949 | 1151306.072
3 | 2596286.2104 | 1151030.4631
4 | 2596259.9223 | 1151386.6536
5 | 2596182.6604 | 1151440.4957
6 | 2596169.8233 | 1151431.9328
7 | 2596199.2742 | 1151449.5929
8 | 2596157.6368 | 1151421.6034
9 | 2596058.6196 | 1151374.0848
10 | 2596057.7355 | 1151368.3394
11 | 2596209.3061 | 1151455.086
12 | 2596315.8471 | 1151526.3229
13 | 2596403.5669 | 1151461.3214
14 | 2596289.6118 | 1151566.8564
15 | 2596404.9173 | 1151460.6061
16 | 2596440.3247 | 1151429.941
17 | 2596446.2508 | 1151432.2719
18 | 2596442.6615 | 1151423.2949
19 | 2596530.9199 | 1151460.1699
20 | 2596496.195 | 1151451.5502
21 | 2596560.5115 | 1151462.8536
22 | 2596473.2739 | 1151442.9209
23 | 2596613.2525 | 1151465.0675
24 | 2596671.9813 | 1151461.0995
25 | 2596613.8391 | 1151484.321
26 | 2596436.1292 | 1151485.499
27 | 2596681.6735 | 1151458.9278
28 | 2596616.6565 | 1151492.0351
29 | 2596719.6019 | 1151442.9917
30 | 2596791.1467 | 1151432.5278
31 | 2596772.1564 | 1151433.7657
32 | 2596823.3645 | 1151427.4216
33 | 2596746.78 | 1151435.0776
34 | 2596851.0623 | 1151421.6288
35 | 2596738.1062 | 1151437.294
36 | 2596873.852 | 1151414.8433
37 | 2596729.9059 | 1151439.3893
38 | 2596896.9876 | 1151448.4279
39 | 2596445.8664 | 1151414.1798
40 | 2596448.6625 | 1151406.2271
41 | 2596457.0534 | 1151374.9604
42 | 2596458.1505 | 1151370.618
43 | 2596438.7407 | 1151501.2658
44 | 2596458.3143 | 1151369.9697
45 | 2596461.8457 | 1151353.8938
46 | 2596468.0351 | 1151323.7206
47 | 2596473.3507 | 1151294.4323
48 | 2596474.0011 | 1151290.7885
49 | 2596487.7345 | 1151243.6215
50 | 2596495.4444 | 1151225.2412
51 | 2596476.495 | 1151237.1899
52 | 2596816.2981 | 1151708.4733
53 | 2597122.6862 | 1151919.2407
54 | 2596579.9984 | 1151136.5898
55 | 2596568.4396 | 1151128.6313
56 | 2596585.3314 | 1151140.2616
57 | 2596554.53 | 1151120.28
58 | 2596593.0373 | 1151145.5673
59 | 2596551.5273 | 1151118.9277
60 | 2596536.6762 | 1151112.2394
61 | 2596539.086 | 1151277.5763
62 | 2596539.5749 | 1151251.8838
63 | 2596538.922 | 1151286.1961
64 | 2596536.179 | 1151249.8336
65 | 2596514.3325 | 1151236.6444
66 | 2596508.422 | 1151193.8015
67 | 2596468.079 | 1151232.3741
68 | 2596509.2527 | 1151191.3719
69 | 2596450.647 | 1151223.7347
70 | 2596518.5479 | 1151164.1866
71 | 2596524.4704 | 1151146.8635
72 | 2596483.3202 | 1151152.4426
73 | 2596538.9683 | 1151151.7437
74 | 2596531.3038 | 1151126.8726
75 | 2596464.6711 | 1151146.2254
76 | 2596547.9217 | 1151154.7575
77 | 2596464.2191 | 1151146.0747
78 | 2596573.8149 | 1151163.4736
79 | 2596550.8748 | 1151155.7516
80 | 2596585.2292 | 1151167.3158
81 | 2596406.644 | 1151182.4602
82 | 2596421.5443 | 1151203.5478
83 | 2596435.5811 | 1151214.4891
84 | 2596440.5227 | 1151218.341
85 | 2596487.7345 | 1151243.6215

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1