## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_793-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_793-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_793-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_793-7_0_4_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_793-7_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_793-7_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_793-7_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_793-7_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_793-7_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_793-7_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_793-7_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_793-7_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_793-7_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_793-7_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_793-7_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_793-7_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_793-7_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_793-7_0_4_node_150 | 0.4 | n |  | TRUE
18 | bus_LV_793-7_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_793-7_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_793-7_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_793-7_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_793-7_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_793-7_0_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_793-7_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_793-7_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_793-7_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_793-7_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_793-7_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_793-7_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_793-7_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_793-7_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_793-7_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_793-7_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_793-7_0_4_node_133 | 0.4 | n |  | TRUE
35 | bus_LV_793-7_0_4_node_132 | 0.4 | n |  | TRUE
36 | bus_LV_793-7_0_4_node_149 | 0.4 | n |  | TRUE
37 | bus_LV_793-7_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_793-7_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_793-7_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_793-7_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_793-7_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_793-7_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_793-7_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_793-7_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_793-7_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_793-7_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_793-7_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_793-7_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_793-7_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_793-7_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_793-7_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_793-7_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_793-7_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_793-7_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_793-7_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_793-7_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_793-7_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_793-7_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_793-7_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_793-7_0_4_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_793-7_0_4_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_793-7_0_4_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_793-7_0_4_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_793-7_0_4_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_793-7_0_4_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_793-7_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_793-7_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_793-7_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_793-7_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_793-7_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_793-7_0_4_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_793-7_0_4_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_793-7_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_793-7_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_793-7_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_793-7_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_793-7_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_793-7_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_793-7_0_4_node_96 | 0.4 | n |  | TRUE
80 | bus_LV_793-7_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_793-7_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_793-7_0_4_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_793-7_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_793-7_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_793-7_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_793-7_0_4_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_793-7_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_793-7_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_793-7_0_4_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_793-7_0_4_node_112 | 0.4 | n |  | TRUE
91 | bus_LV_793-7_0_4_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_793-7_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_793-7_0_4_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_793-7_0_4_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_793-7_0_4_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_793-7_0_4_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_793-7_0_4_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_793-7_0_4_node_130 | 0.4 | n |  | TRUE
99 | bus_LV_793-7_0_4_node_113 | 0.4 | n |  | TRUE
100 | bus_LV_793-7_0_4_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_793-7_0_4_node_85 | 0.4 | n |  | TRUE
102 | bus_LV_793-7_0_4_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_793-7_0_4_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_793-7_0_4_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_793-7_0_4_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_793-7_0_4_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_793-7_0_4_node_131 | 0.4 | n |  | TRUE
108 | bus_LV_793-7_0_4_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_793-7_0_4_node_134 | 0.4 | n |  | TRUE
110 | bus_LV_793-7_0_4_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_793-7_0_4_node_104 | 0.4 | n |  | TRUE
112 | bus_LV_793-7_0_4_node_105 | 0.4 | n |  | TRUE
113 | bus_LV_793-7_0_4_node_106 | 0.4 | n |  | TRUE
114 | bus_LV_793-7_0_4_node_114 | 0.4 | n |  | TRUE
115 | bus_LV_793-7_0_4_node_115 | 0.4 | n |  | TRUE
116 | bus_LV_793-7_0_4_node_145 | 0.4 | n |  | TRUE
117 | bus_LV_793-7_0_4_node_117 | 0.4 | n |  | TRUE
118 | bus_LV_793-7_0_4_node_118 | 0.4 | n |  | TRUE
119 | bus_LV_793-7_0_4_node_107 | 0.4 | n |  | TRUE
120 | bus_LV_793-7_0_4_node_108 | 0.4 | n |  | TRUE
121 | bus_LV_793-7_0_4_node_109 | 0.4 | n |  | TRUE
122 | bus_LV_793-7_0_4_node_110 | 0.4 | n |  | TRUE
123 | bus_LV_793-7_0_4_node_111 | 0.4 | n |  | TRUE
124 | bus_LV_793-7_0_4_node_119 | 0.4 | n |  | TRUE
125 | bus_LV_793-7_0_4_node_122 | 0.4 | n |  | TRUE
126 | bus_LV_793-7_0_4_node_124 | 0.4 | n |  | TRUE
127 | bus_LV_793-7_0_4_node_120 | 0.4 | n |  | TRUE
128 | bus_LV_793-7_0_4_node_123 | 0.4 | n |  | TRUE
129 | bus_LV_793-7_0_4_node_125 | 0.4 | n |  | TRUE
130 | bus_LV_793-7_0_4_node_127 | 0.4 | n |  | TRUE
131 | bus_LV_793-7_0_4_node_116 | 0.4 | n |  | TRUE
132 | bus_LV_793-7_0_4_node_144 | 0.4 | n |  | TRUE
133 | bus_LV_793-7_0_4_node_121 | 0.4 | n |  | TRUE
134 | bus_LV_793-7_0_4_node_126 | 0.4 | n |  | TRUE
135 | bus_LV_793-7_0_4_node_137 | 0.4 | n |  | TRUE
136 | bus_LV_793-7_0_4_node_136 | 0.4 | n |  | TRUE
137 | bus_LV_793-7_0_4_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_793-7_0_4_node_129 | 0.4 | n |  | TRUE
139 | bus_LV_793-7_0_4_node_140 | 0.4 | n |  | TRUE
140 | bus_LV_793-7_0_4_node_141 | 0.4 | n |  | TRUE
141 | bus_LV_793-7_0_4_node_148 | 0.4 | n |  | TRUE
142 | bus_LV_793-7_0_4_node_147 | 0.4 | n |  | TRUE
143 | bus_LV_793-7_0_4_node_146 | 0.4 | n |  | TRUE
144 | bus_LV_793-7_0_4_node_139 | 0.4 | n |  | TRUE
145 | bus_LV_793-7_0_4_node_151 | 0.4 | n |  | TRUE
146 | bus_LV_793-7_0_4_node_152 | 0.4 | n |  | TRUE
147 | bus_MV_147_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_793-7_0_4_load_0 | 0 | 0.0010775 | 0.00027005 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_793-7_0_4_load_1 | 1 | 0.0020408 | 0.00051148 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_793-7_0_4_load_18 | 3 | 0.00087212 | 0.00021858 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_793-7_0_4_load_3 | 4 | 0.00027296 | 6.841e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_793-7_0_4_load_8 | 5 | 0.00064485 | 0.00016161 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_793-7_0_4_load_14 | 6 | 0.00054141 | 0.00013569 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_793-7_0_4_load_19 | 7 | 0.0011814 | 0.0002961 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_793-7_0_4_load_4 | 8 | 0.00048478 | 0.0001215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_793-7_0_4_load_5 | 9 | 0.0030793 | 0.00077175 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_793-7_0_4_load_9 | 12 | 0.0005105 | 0.00012794 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_793-7_0_4_load_15 | 13 | 0.00035073 | 8.79e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_793-7_0_4_load_10 | 15 | 0.0024756 | 0.00062044 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_793-7_0_4_load_13 | 16 | 0.0027799 | 0.0006967 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_793-7_0_4_load_150 | 17 | 0.0021367 | 0.00053552 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_793-7_0_4_load_30 | 18 | 0.00097883 | 0.00024532 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_793-7_0_4_load_16 | 19 | 0.0015675 | 0.00039285 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_793-7_0_4_load_17 | 20 | 0.00088447 | 0.00022167 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_793-7_0_4_load_32 | 21 | 0.00072254 | 0.00018109 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_793-7_0_4_load_48 | 22 | 0.00054038 | 0.00013543 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_793-7_0_4_load_46 | 23 | 0.00041673 | 0.00010444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_793-7_0_4_load_28 | 24 | 0.00068029 | 0.0001705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_793-7_0_4_load_20 | 25 | 0.00084383 | 0.00021148 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_793-7_0_4_load_21 | 26 | 0.00084949 | 0.0002129 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_793-7_0_4_load_22 | 27 | 0.00070314 | 0.00017622 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_793-7_0_4_load_23 | 28 | 0.00025936 | 6.5003e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_793-7_0_4_load_29 | 29 | 0.00096957 | 0.000243 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_793-7_0_4_load_24 | 30 | 0.00057621 | 0.00014441 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_793-7_0_4_load_25 | 31 | 0.00024901 | 6.2408e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_793-7_0_4_load_133 | 34 | 0.0020817 | 0.00052172 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_793-7_0_4_load_132 | 35 | 0.005483 | 0.0013742 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_793-7_0_4_load_149 | 36 | 0.00034277 | 8.5905e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_793-7_0_4_load_31 | 37 | 0.0020909 | 0.00052403 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_793-7_0_4_load_47 | 38 | 0.0017339 | 0.00043455 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_793-7_0_4_load_40 | 39 | 0.0010419 | 0.00026112 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_793-7_0_4_load_41 | 40 | 0.0018746 | 0.00046983 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_793-7_0_4_load_33 | 41 | 0.0018128 | 0.00045433 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_793-7_0_4_load_34 | 42 | 0.0020532 | 0.00051458 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_793-7_0_4_load_37 | 45 | 0.0022966 | 0.00057557 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_793-7_0_4_load_38 | 46 | 0.001427 | 0.00035764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_793-7_0_4_load_39 | 47 | 0.002044 | 0.00051228 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_793-7_0_4_load_42 | 48 | 0.001689 | 0.00042331 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_793-7_0_4_load_43 | 49 | 0.0018126 | 0.00045429 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_793-7_0_4_load_44 | 50 | 0.002871 | 0.00071955 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_793-7_0_4_load_45 | 51 | 0.0032221 | 0.00080752 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_793-7_0_4_load_56 | 53 | 0.001993 | 0.00049949 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_793-7_0_4_load_49 | 55 | 0.0094549 | 0.0023696 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_793-7_0_4_load_50 | 56 | 0.019671 | 0.0049301 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_793-7_0_4_load_51 | 57 | 0.0040258 | 0.001009 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_793-7_0_4_load_55 | 58 | 0.0022246 | 0.00055755 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_793-7_0_4_load_77 | 60 | 0.0041766 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_793-7_0_4_load_78 | 61 | 0.002227 | 0.00055813 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_793-7_0_4_load_79 | 62 | 0.0048288 | 0.0012102 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_793-7_0_4_load_87 | 63 | 0.0026381 | 0.00066117 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_793-7_0_4_load_57 | 66 | 0.0048298 | 0.0012105 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_793-7_0_4_load_58 | 67 | 0.00071162 | 0.00017835 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_793-7_0_4_load_59 | 68 | 0.0022679 | 0.00056839 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_793-7_0_4_load_60 | 69 | 0.0025632 | 0.00064239 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_793-7_0_4_load_61 | 70 | 0.0031166 | 0.00078109 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_793-7_0_4_load_74 | 71 | 0.0012685 | 0.00031793 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_793-7_0_4_load_75 | 72 | 0.0013038 | 0.00032676 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_793-7_0_4_load_62 | 73 | 0.0050096 | 0.0012555 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_793-7_0_4_load_63 | 74 | 0.0051841 | 0.0012993 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_793-7_0_4_load_65 | 76 | 0.0039003 | 0.00097752 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_793-7_0_4_load_67 | 77 | 0.002569 | 0.00064386 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_793-7_0_4_load_96 | 79 | 0.0032735 | 0.00082043 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_793-7_0_4_load_76 | 80 | 0.0018466 | 0.00046281 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_793-7_0_4_load_69 | 81 | 0.0030544 | 0.0007655 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_793-7_0_4_load_95 | 82 | 0.0039597 | 0.00099239 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_793-7_0_4_load_68 | 83 | 0.0056688 | 0.0014207 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_793-7_0_4_load_73 | 86 | 0.0028025 | 0.00070237 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_793-7_0_4_load_83 | 87 | 0.00098951 | 0.000248 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_793-7_0_4_load_80 | 88 | 0.0046445 | 0.001164 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_793-7_0_4_load_94 | 89 | 0.00094009 | 0.00023561 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_793-7_0_4_load_112 | 90 | 0.0022252 | 0.00055768 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_793-7_0_4_load_81 | 91 | 0.0016369 | 0.00041024 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_793-7_0_4_load_93 | 92 | 0.0017564 | 0.00044021 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_793-7_0_4_load_86 | 93 | 0.0013245 | 0.00033195 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_793-7_0_4_load_101 | 94 | 0.0014665 | 0.00036754 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_793-7_0_4_load_98 | 95 | 0.00086159 | 0.00021593 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_793-7_0_4_load_82 | 96 | 0.0014662 | 0.00036748 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_793-7_0_4_load_130 | 98 | 0.0029638 | 0.00074279 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_793-7_0_4_load_84 | 100 | 0.0015215 | 0.00038133 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_793-7_0_4_load_85 | 101 | 0.0014179 | 0.00035535 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_793-7_0_4_load_88 | 102 | 0.0013849 | 0.00034708 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_793-7_0_4_load_89 | 103 | 0.0018834 | 0.00047203 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_793-7_0_4_load_90 | 104 | 0.0030601 | 0.00076694 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_793-7_0_4_load_100 | 106 | 0.0022846 | 0.00057259 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_793-7_0_4_load_131 | 107 | 0.0012101 | 0.00030327 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_793-7_0_4_load_97 | 108 | 0.0026052 | 0.00065292 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_793-7_0_4_load_134 | 109 | 0.00218 | 0.00054637 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_793-7_0_4_load_103 | 110 | 0.0024556 | 0.00061543 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_793-7_0_4_load_104 | 111 | 0.0045959 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_793-7_0_4_load_105 | 112 | 0.0044405 | 0.0011129 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_793-7_0_4_load_106 | 113 | 0.0021398 | 0.00053628 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_793-7_0_4_load_114 | 114 | 0.0015677 | 0.00039291 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_793-7_0_4_load_145 | 116 | 0.0020208 | 0.00050646 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_793-7_0_4_load_117 | 117 | 0.0016647 | 0.00041721 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_793-7_0_4_load_107 | 119 | 0.00019112 | 4.79e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_793-7_0_4_load_108 | 120 | 0.00017319 | 4.3407e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_793-7_0_4_load_109 | 121 | 0.00010898 | 2.7313e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_793-7_0_4_load_110 | 122 | 0.00030197 | 7.5682e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_793-7_0_4_load_119 | 124 | 0.00015265 | 3.8258e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_793-7_0_4_load_124 | 126 | 0.00017088 | 4.2826e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_793-7_0_4_load_120 | 127 | 0.0012175 | 0.00030513 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_793-7_0_4_load_125 | 129 | 0.00048491 | 0.00012153 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_793-7_0_4_load_127 | 130 | 0.00015221 | 3.8147e-05 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_793-7_0_4_load_116 | 131 | 0.00015067 | 3.7761e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_793-7_0_4_load_144 | 132 | 0.00069779 | 0.00017488 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_793-7_0_4_load_121 | 133 | 0.00054162 | 0.00013574 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_793-7_0_4_load_126 | 134 | 0.00016865 | 4.2268e-05 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_793-7_0_4_load_137 | 135 | 0.00024532 | 6.1484e-05 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_793-7_0_4_load_136 | 136 | 0.00032781 | 8.2158e-05 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_793-7_0_4_load_128 | 137 | 0.0009679 | 0.00024258 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_793-7_0_4_load_129 | 138 | 0.002233 | 0.00055964 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_793-7_0_4_load_140 | 139 | 0.00027638 | 6.9266e-05 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_793-7_0_4_load_141 | 140 | 0.0011789 | 0.00029545 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_793-7_0_4_load_148 | 141 | 0.00032673 | 8.1886e-05 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_793-7_0_4_load_147 | 142 | 0.0054912 | 0.0013762 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_793-7_0_4_load_152 | 146 | 0.00018149 | 4.5487e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_793-7_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_793-7_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_793-7_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.095774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_793-7_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_793-7_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.08801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_793-7_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.036443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_793-7_0_4_line_6 | NAYY 4x150 SE | 5 | 10 | 0.058757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_793-7_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.15861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_793-7_0_4_line_8 | NAYY 4x150 SE | 7 | 18 | 0.045129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_793-7_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0012107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_793-7_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.026537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_793-7_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.029996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_793-7_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.013343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_793-7_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.090494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_793-7_0_4_line_14 | NAYY 4x150 SE | 11 | 14 | 0.18488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_793-7_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.026609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_793-7_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.13996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_793-7_0_4_line_17 | NAYY 4x150 SE | 14 | 15 | 0.012338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_793-7_0_4_line_18 | NAYY 4x150 SE | 18 | 24 | 0.062189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_793-7_0_4_line_19 | NAYY 4x150 SE | 19 | 20 | 0.012771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_793-7_0_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.0072101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_793-7_0_4_line_21 | NAYY 4x150 SE | 20 | 22 | 0.13874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_793-7_0_4_line_22 | NAYY 4x150 SE | 21 | 23 | 0.018431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_793-7_0_4_line_23 | NAYY 4x150 SE | 23 | 40 | 0.011925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_793-7_0_4_line_24 | NAYY 4x150 SE | 24 | 29 | 0.1101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_793-7_0_4_line_25 | NAYY 4x150 SE | 24 | 26 | 0.084651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_793-7_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.063065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_793-7_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.020564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_793-7_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.028776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_793-7_0_4_line_29 | NAYY 4x150 SE | 28 | 30 | 0.013898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_793-7_0_4_line_30 | NAYY 4x150 SE | 29 | 37 | 0.03634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_793-7_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.11326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_793-7_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.046686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_793-7_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.02769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_793-7_0_4_line_34 | NAYY 4x150 SE | 33 | 36 | 0.091879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_793-7_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.0055807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_793-7_0_4_line_36 | NAYY 4x150 SE | 35 | 107 | 0.016606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_793-7_0_4_line_37 | NAYY 4x150 SE | 37 | 38 | 0.015291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_793-7_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.053424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_793-7_0_4_line_39 | NAYY 4x150 SE | 39 | 44 | 0.029661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_793-7_0_4_line_40 | NAYY 4x150 SE | 40 | 44 | 0.032823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_793-7_0_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.00084198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_793-7_0_4_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_793-7_0_4_line_43 | NAYY 4x150 SE | 42 | 44 | 0.020959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_793-7_0_4_line_44 | NAYY 4x150 SE | 43 | 45 | 0.015164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_793-7_0_4_line_45 | NAYY 4x150 SE | 45 | 46 | 0.049303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_793-7_0_4_line_46 | NAYY 4x150 SE | 46 | 47 | 0.039328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_793-7_0_4_line_47 | NAYY 4x150 SE | 47 | 48 | 0.029476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_793-7_0_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.017594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_793-7_0_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.0067971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_793-7_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.011973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_793-7_0_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.016159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_793-7_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.023155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_793-7_0_4_line_53 | NAYY 4x150 SE | 52 | 54 | 0.034506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_793-7_0_4_line_54 | NAYY 4x150 SE | 53 | 66 | 0.0011374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_793-7_0_4_line_55 | NAYY 4x150 SE | 54 | 58 | 0.042151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_793-7_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.041671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_793-7_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0063582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_793-7_0_4_line_58 | NAYY 4x150 SE | 55 | 57 | 0.0087412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_793-7_0_4_line_59 | NAYY 4x150 SE | 59 | 60 | 0.0096394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_793-7_0_4_line_60 | NAYY 4x150 SE | 59 | 61 | 0.05204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_793-7_0_4_line_61 | NAYY 4x150 SE | 59 | 62 | 0.021063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_793-7_0_4_line_62 | NAYY 4x150 SE | 60 | 63 | 0.018261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_793-7_0_4_line_63 | NAYY 4x150 SE | 61 | 64 | 0.020876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_793-7_0_4_line_64 | NAYY 4x150 SE | 62 | 65 | 0.036797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_793-7_0_4_line_65 | NAYY 4x150 SE | 63 | 93 | 0.00059564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_793-7_0_4_line_66 | NAYY 4x150 SE | 64 | 94 | 0.012572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_793-7_0_4_line_67 | NAYY 4x150 SE | 64 | 95 | 0.027509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_793-7_0_4_line_68 | NAYY 4x150 SE | 65 | 79 | 0.013817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_793-7_0_4_line_69 | NAYY 4x150 SE | 65 | 75 | 0.002882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_793-7_0_4_line_70 | NAYY 4x150 SE | 66 | 67 | 0.004304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_793-7_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.0093158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_793-7_0_4_line_72 | NAYY 4x150 SE | 68 | 69 | 0.017024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_793-7_0_4_line_73 | NAYY 4x150 SE | 69 | 70 | 0.0020804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_793-7_0_4_line_74 | NAYY 4x150 SE | 70 | 71 | 0.027485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_793-7_0_4_line_75 | NAYY 4x150 SE | 71 | 72 | 0.010898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
76 | LV_793-7_0_4_line_76 | NAYY 4x150 SE | 72 | 86 | 0.010509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_793-7_0_4_line_77 | NAYY 4x150 SE | 73 | 74 | 0.00042209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_793-7_0_4_line_78 | NAYY 4x150 SE | 73 | 75 | 0.020924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_793-7_0_4_line_79 | NAYY 4x150 SE | 74 | 76 | 0.028302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_793-7_0_4_line_80 | NAYY 4x150 SE | 75 | 77 | 0.024251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_793-7_0_4_line_81 | NAYY 4x150 SE | 76 | 78 | 0.0031599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_793-7_0_4_line_82 | NAYY 4x150 SE | 78 | 80 | 0.011888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_793-7_0_4_line_83 | NAYY 4x150 SE | 78 | 81 | 0.020148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_793-7_0_4_line_84 | NAYY 4x150 SE | 79 | 82 | 0.025039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_793-7_0_4_line_85 | NAYY 4x150 SE | 80 | 89 | 0.021869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_793-7_0_4_line_86 | NAYY 4x150 SE | 81 | 83 | 0.010383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_793-7_0_4_line_87 | NAYY 4x150 SE | 82 | 108 | 0.0013203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_793-7_0_4_line_88 | NAYY 4x150 SE | 83 | 84 | 0.023028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_793-7_0_4_line_89 | NAYY 4x150 SE | 84 | 85 | 0.006425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_793-7_0_4_line_90 | NAYY 4x150 SE | 84 | 86 | 0.022292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_793-7_0_4_line_91 | NAYY 4x150 SE | 85 | 87 | 0.010437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_793-7_0_4_line_92 | NAYY 4x150 SE | 85 | 88 | 0.0073265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_793-7_0_4_line_93 | NAYY 4x150 SE | 87 | 90 | 0.025154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_793-7_0_4_line_94 | NAYY 4x150 SE | 88 | 91 | 0.021003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_793-7_0_4_line_95 | NAYY 4x150 SE | 89 | 92 | 0.015404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_793-7_0_4_line_96 | NAYY 4x150 SE | 90 | 99 | 0.0041509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_793-7_0_4_line_97 | NAYY 4x150 SE | 91 | 96 | 0.019509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_793-7_0_4_line_98 | NAYY 4x150 SE | 93 | 100 | 0.018242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_793-7_0_4_line_99 | NAYY 4x150 SE | 95 | 105 | 0.013028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_793-7_0_4_line_100 | NAYY 4x150 SE | 96 | 97 | 0.044247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_793-7_0_4_line_101 | NAYY 4x150 SE | 97 | 98 | 0.012825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_793-7_0_4_line_102 | NAYY 4x150 SE | 98 | 109 | 0.023126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_793-7_0_4_line_103 | NAYY 4x150 SE | 99 | 118 | 0.017426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_793-7_0_4_line_104 | NAYY 4x150 SE | 99 | 113 | 0.025663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_793-7_0_4_line_105 | NAYY 4x150 SE | 100 | 101 | 0.00046817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_793-7_0_4_line_106 | NAYY 4x150 SE | 102 | 103 | 0.0017744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_793-7_0_4_line_107 | NAYY 4x150 SE | 102 | 104 | 0.0039642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_793-7_0_4_line_108 | NAYY 4x150 SE | 104 | 105 | 0.024928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_793-7_0_4_line_109 | NAYY 4x150 SE | 105 | 106 | 0.043253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_793-7_0_4_line_110 | NAYY 4x150 SE | 106 | 107 | 0.014333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_793-7_0_4_line_111 | NAYY 4x150 SE | 110 | 111 | 0.0113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_793-7_0_4_line_112 | NAYY 4x150 SE | 110 | 112 | 0.01564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_793-7_0_4_line_113 | NAYY 4x150 SE | 111 | 113 | 0.0070407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_793-7_0_4_line_114 | NAYY 4x150 SE | 114 | 115 | 0.049101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_793-7_0_4_line_115 | NAYY 4x150 SE | 114 | 116 | 0.1062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_793-7_0_4_line_116 | NAYY 4x150 SE | 115 | 131 | 0.0034318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_793-7_0_4_line_117 | NAYY 4x150 SE | 115 | 117 | 0.027738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_793-7_0_4_line_118 | NAYY 4x150 SE | 116 | 132 | 0.052675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_793-7_0_4_line_119 | NAYY 4x150 SE | 118 | 127 | 0.011657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_793-7_0_4_line_120 | NAYY 4x150 SE | 118 | 130 | 0.023332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_793-7_0_4_line_121 | NAYY 4x150 SE | 119 | 120 | 0.012799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_793-7_0_4_line_122 | NAYY 4x150 SE | 119 | 121 | 0.0020087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_793-7_0_4_line_123 | NAYY 4x150 SE | 120 | 122 | 0.0053836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_793-7_0_4_line_124 | NAYY 4x150 SE | 121 | 123 | 0.066376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_793-7_0_4_line_125 | NAYY 4x150 SE | 122 | 124 | 0.021383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_793-7_0_4_line_126 | NAYY 4x150 SE | 123 | 125 | 0.08353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_793-7_0_4_line_127 | NAYY 4x150 SE | 123 | 126 | 0.023561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_793-7_0_4_line_128 | NAYY 4x150 SE | 124 | 127 | 0.015335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_793-7_0_4_line_129 | NAYY 4x150 SE | 125 | 128 | 0.048958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_793-7_0_4_line_130 | NAYY 4x150 SE | 126 | 129 | 0.009096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_793-7_0_4_line_131 | NAYY 4x150 SE | 128 | 135 | 0.063846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_793-7_0_4_line_132 | NAYY 4x150 SE | 129 | 133 | 0.057422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_793-7_0_4_line_133 | NAYY 4x150 SE | 130 | 134 | 0.004553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_793-7_0_4_line_134 | NAYY 4x150 SE | 131 | 133 | 0.0031002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_793-7_0_4_line_135 | NAYY 4x150 SE | 132 | 143 | 0.019541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_793-7_0_4_line_136 | NAYY 4x150 SE | 134 | 137 | 0.0079114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_793-7_0_4_line_137 | NAYY 4x150 SE | 135 | 136 | 0.024371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_793-7_0_4_line_138 | NAYY 4x150 SE | 137 | 138 | 0.0055161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_793-7_0_4_line_139 | NAYY 4x150 SE | 139 | 140 | 0.10286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_793-7_0_4_line_140 | NAYY 4x150 SE | 139 | 141 | 0.096848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_793-7_0_4_line_141 | NAYY 4x150 SE | 139 | 142 | 0.11165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_793-7_0_4_line_142 | NAYY 4x150 SE | 141 | 144 | 0.068146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_793-7_0_4_line_143 | NAYY 4x150 SE | 142 | 143 | 0.039091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_793-7_0_4_line_144 | NAYY 4x150 SE | 144 | 145 | 0.48678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_793-7_0_4_line_145 | NAYY 4x150 SE | 145 | 146 | 0.033534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_793-7_0_4_trafo_52 | 0.25 MVA 20/0.4 kV | 147 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2598154.3806 | 1149618.0726 | 2598160.3755 | 1149617.9525 | 2598165.9196 | 1149622.3084 | 2598167.5875 | 1149628.8333 | 2598169.6172 | 1149640.8586
1 | 2598141.4378 | 1149621.4491 | 2598149.6664 | 1149618.1671 | 2598154.3806 | 1149618.0726
2 | 2598162.2795 | 1149736.3507 | 2598169.6172 | 1149640.8586
3 | 2598141.4378 | 1149621.4491 | 2598142.0548 | 1149606.064
4 | 2598188.2437 | 1149820.4353 | 2598186.3852 | 1149815.3963 | 2598162.2795 | 1149736.3507
5 | 2598142.0548 | 1149606.064 | 2598143.2733 | 1149575.6817 | 2598142.9671 | 1149569.6528
6 | 2598209.7942 | 1149875.0737 | 2598200.4759 | 1149853.5994 | 2598188.2437 | 1149820.4353
7 | 2598290.2864 | 1149628.4289 | 2598142.9671 | 1149569.6528
8 | 2598315.8318 | 1149591.2254 | 2598290.2864 | 1149628.4289
9 | 2598219.5528 | 1149899.7511 | 2598219.998 | 1149900.8769
10 | 2598209.7942 | 1149875.0737 | 2598219.5528 | 1149899.7511
11 | 2598231.0286 | 1149928.7712 | 2598219.998 | 1149900.8769
12 | 2598222.221 | 1149870.123 | 2598209.7942 | 1149875.0737
13 | 2598231.0286 | 1149928.7712 | 2598309.4747 | 1149883.6569
14 | 2598231.0286 | 1149928.7712 | 2598066.8497 | 1150013.7762
15 | 2598066.8497 | 1150013.7762 | 2598073.6168 | 1150026.6358 | 2598077.95 | 1150037.9177
16 | 2598066.8497 | 1150013.7762 | 2598012.4186 | 1149884.8316
17 | 2598066.8497 | 1150013.7762 | 2598064.885 | 1150015.1665 | 2598057.4136 | 1150021.7094
18 | 2598315.8318 | 1149591.2254 | 2598321.8038 | 1149589.1671 | 2598335.8068 | 1149590.1969 | 2598352.0498 | 1149585.7123 | 2598363.1638 | 1149578.1165 | 2598371.1868 | 1149569.8505
19 | 2598485.9918 | 1149764.055 | 2598494.1244 | 1149754.2077
20 | 2598498.4696 | 1149748.4553 | 2598494.7459 | 1149753.4551 | 2598494.1244 | 1149754.2077
21 | 2598494.1244 | 1149754.2077 | 2598605.9859 | 1149836.2753
22 | 2598498.4696 | 1149748.4553 | 2598509.4787 | 1149733.673
23 | 2598516.6013 | 1149724.1093 | 2598509.4787 | 1149733.673
24 | 2598449.0083 | 1149597.3184 | 2598420.63 | 1149566.7727 | 2598401.248 | 1149547.1129 | 2598397.1556 | 1149545.0241 | 2598394.2464 | 1149546.0921 | 2598371.1868 | 1149569.8505
25 | 2598371.1868 | 1149569.8505 | 2598355.4551 | 1149486.6746
26 | 2598316.5745 | 1149467.8415 | 2598321.1555 | 1149471.7655 | 2598326.7527 | 1149473.7871 | 2598343.3947 | 1149467.646 | 2598349.7743 | 1149467.4441 | 2598360.9005 | 1149475.0335 | 2598361.3313 | 1149478.1015 | 2598355.4551 | 1149486.6746
27 | 2598316.5745 | 1149467.8415 | 2598306.5348 | 1149459.2415 | 2598311.5306 | 1149453.858
28 | 2598311.5306 | 1149453.858 | 2598319.1135 | 1149445.6867 | 2598319.2962 | 1149440.3619 | 2598314.3659 | 1149429.0929
29 | 2598314.3659 | 1149429.0929 | 2598308.7952 | 1149416.3599
30 | 2598470.4412 | 1149626.5335 | 2598469.4861 | 1149624.9657 | 2598456.4686 | 1149605.3485 | 2598449.0083 | 1149597.3184
31 | 2598352.9414 | 1149340.0969 | 2598298.0889 | 1149377.3373 | 2598293.5379 | 1149382.6857 | 2598291.4821 | 1149388.2335 | 2598291.2761 | 1149392.7468 | 2598294.364 | 1149398.4932 | 2598308.6025 | 1149415.9197 | 2598308.7952 | 1149416.3599
32 | 2598392.3856 | 1149315.28 | 2598381.8769 | 1149320.4521 | 2598352.9414 | 1149340.0969
33 | 2598392.3856 | 1149315.28 | 2598387.725 | 1149313.536 | 2598379.4398 | 1149308.5358 | 2598368.4593 | 1149301.4021
34 | 2598293.1068 | 1149248.6759 | 2598309.7473 | 1149261.4773 | 2598347.3353 | 1149288.0127 | 2598361.2186 | 1149297.5579 | 2598368.4593 | 1149301.4021
35 | 2598546.3665 | 1149341.9857 | 2598551.7808 | 1149343.3384
36 | 2598567.892 | 1149347.3637 | 2598551.7808 | 1149343.3384
37 | 2598478.3966 | 1149639.5925 | 2598470.4412 | 1149626.5335
38 | 2598478.3966 | 1149639.5925 | 2598483.0416 | 1149647.2174 | 2598498.4695 | 1149666.9564 | 2598512.9367 | 1149679.9454
39 | 2598536.4699 | 1149697.9839 | 2598515.1551 | 1149681.9371 | 2598512.9367 | 1149679.9454
40 | 2598536.4699 | 1149697.9839 | 2598522.6104 | 1149716.0407 | 2598516.6013 | 1149724.1093
41 | 2598548.8173 | 1149680.0165 | 2598548.3404 | 1149680.7104
42 | 2598558.1246 | 1149661.5273 | 2598548.8173 | 1149680.0165
43 | 2598536.4699 | 1149697.9839 | 2598548.3404 | 1149680.7104
44 | 2598558.1246 | 1149661.5273 | 2598567.9956 | 1149656.2445 | 2598571.3467 | 1149654.1187
45 | 2598571.3467 | 1149654.1187 | 2598604.2322 | 1149633.2577 | 2598613.3072 | 1149628.2626
46 | 2598647.4083 | 1149608.7127 | 2598640.1168 | 1149613.506 | 2598613.3072 | 1149628.2626
47 | 2598647.4083 | 1149608.7127 | 2598666.168 | 1149596.3804 | 2598672.2905 | 1149592.9333
48 | 2598687.6212 | 1149584.3017 | 2598672.2905 | 1149592.9333
49 | 2598693.544 | 1149580.967 | 2598687.6212 | 1149584.3017
50 | 2598693.544 | 1149580.967 | 2598703.9766 | 1149575.0931
51 | 2598718.0572 | 1149567.1654 | 2598703.9766 | 1149575.0931
52 | 2598718.0572 | 1149567.1654 | 2598731.3827 | 1149559.6587 | 2598737.8496 | 1149555.1907
53 | 2598718.0572 | 1149567.1654 | 2598700.6622 | 1149537.3436
54 | 2598738.7854 | 1149554.5442 | 2598737.8496 | 1149555.1907
55 | 2598700.6622 | 1149537.3436 | 2598719.6262 | 1149511.6713 | 2598724.5844 | 1149502.7181
56 | 2598700.6622 | 1149537.3436 | 2598681.5021 | 1149510.8684 | 2598683.1223 | 1149502.0256
57 | 2598684.2682 | 1149495.7716 | 2598683.1223 | 1149502.0256
58 | 2598684.2682 | 1149495.7716 | 2598685.8265 | 1149487.267 | 2598685.8101 | 1149487.1734
59 | 2598674.7107 | 1149423.8275 | 2598677.8271 | 1149414.7058
60 | 2598674.7107 | 1149423.8275 | 2598626.9113 | 1149403.2505
61 | 2598674.7107 | 1149423.8275 | 2598694.2003 | 1149431.8156
62 | 2598677.8271 | 1149414.7058 | 2598683.7306 | 1149397.4257
63 | 2598607.7363 | 1149394.996 | 2598626.9113 | 1149403.2505
64 | 2598728.2481 | 1149445.7705 | 2598694.2003 | 1149431.8156
65 | 2598683.9232 | 1149396.8621 | 2598683.7306 | 1149397.4257
66 | 2598607.7363 | 1149394.996 | 2598604.7516 | 1149401.7556 | 2598603.2339 | 1149406.7107
67 | 2598607.7363 | 1149394.996 | 2598618.8377 | 1149369.827
68 | 2598728.2481 | 1149445.7705 | 2598732.3618 | 1149432.5802
69 | 2598728.2481 | 1149445.7705 | 2598730.9507 | 1149446.7926
70 | 2598738.7854 | 1149554.5442 | 2598742.3264 | 1149552.0977
71 | 2598749.9908 | 1149546.8023 | 2598742.3264 | 1149552.0977
72 | 2598749.9908 | 1149546.8023 | 2598763.9972 | 1149537.1252
73 | 2598765.7088 | 1149535.9427 | 2598763.9972 | 1149537.1252
74 | 2598765.7088 | 1149535.9427 | 2598788.3213 | 1149520.3196
75 | 2598797.2315 | 1149514.0448 | 2598789.8877 | 1149519.2374 | 2598788.3213 | 1149520.3196
76 | 2598805.8125 | 1149507.9774 | 2598797.2315 | 1149514.0448
77 | 2598750.5207 | 1149454.197 | 2598750.9155 | 1149454.3464
78 | 2598730.9507 | 1149446.7926 | 2598750.5207 | 1149454.197
79 | 2598777.3859 | 1149464.3616 | 2598750.9155 | 1149454.3464
80 | 2598721.6511 | 1149469.1945 | 2598730.9507 | 1149446.7926
81 | 2598780.3413 | 1149465.4798 | 2598777.3859 | 1149464.3616
82 | 2598780.3413 | 1149465.4798 | 2598784.3241 | 1149454.2785
83 | 2598780.3413 | 1149465.4798 | 2598799.0902 | 1149472.8572
84 | 2598739.8167 | 1149408.6762 | 2598732.3618 | 1149432.5802
85 | 2598791.6505 | 1149433.673 | 2598791.6505 | 1149433.673 | 2598784.3241 | 1149454.2785
86 | 2598806.8359 | 1149479.7718 | 2598799.0902 | 1149472.8572 | 2598799.0902 | 1149472.8572
87 | 2598739.8167 | 1149408.6762 | 2598740.2097 | 1149407.4158
88 | 2598824.0145 | 1149495.1073 | 2598806.8359 | 1149479.7718
89 | 2598824.0145 | 1149495.1073 | 2598829.2725 | 1149491.3933
90 | 2598824.0145 | 1149495.1073 | 2598805.8125 | 1149507.9774
91 | 2598829.2725 | 1149491.3933 | 2598837.7415 | 1149497.4931
92 | 2598829.2725 | 1149491.3933 | 2598835.0082 | 1149486.8348
93 | 2598837.7415 | 1149497.4931 | 2598858.1525 | 1149512.1943
94 | 2598835.0082 | 1149486.8348 | 2598851.4504 | 1149473.7671
95 | 2598777.3099 | 1149428.048 | 2598791.6505 | 1149433.673
96 | 2598861.5207 | 1149514.6203 | 2598858.1525 | 1149512.1943
97 | 2598851.4504 | 1149473.7671 | 2598854.7638 | 1149471.1337 | 2598867.7831 | 1149463.1422
98 | 2598689.8207 | 1149379.5996 | 2598683.9232 | 1149396.8621
99 | 2598624.0951 | 1149357.9073 | 2598618.8377 | 1149369.827
100 | 2598903.2531 | 1149437.0408 | 2598887.3106 | 1149451.4287 | 2598874.1844 | 1149459.2129 | 2598867.7831 | 1149463.1422
101 | 2598903.2531 | 1149437.0408 | 2598914.4904 | 1149443.2213
102 | 2598914.4904 | 1149443.2213 | 2598929.7418 | 1149451.6095 | 2598935.3314 | 1149452.8242
103 | 2598861.5207 | 1149514.6203 | 2598875.6868 | 1149524.8224
104 | 2598861.5207 | 1149514.6203 | 2598844.3893 | 1149532.388 | 2598844.2251 | 1149533.3553
105 | 2598689.9721 | 1149379.1565 | 2598689.8207 | 1149379.5996
106 | 2598638.4946 | 1149332.8591 | 2598639.379 | 1149331.3207
107 | 2598638.4946 | 1149332.8591 | 2598636.5189 | 1149336.2959
108 | 2598624.0951 | 1149357.9073 | 2598636.5189 | 1149336.2959
109 | 2598624.0951 | 1149357.9073 | 2598587.1131 | 1149354.1922 | 2598581.4202 | 1149352.0445
110 | 2598567.892 | 1149347.3637 | 2598571.2122 | 1149348.1933 | 2598581.4202 | 1149352.0445
111 | 2598854.3388 | 1149547.628 | 2598846.7972 | 1149539.2131
112 | 2598864.777 | 1149559.2748 | 2598854.3388 | 1149547.628
113 | 2598844.2251 | 1149533.3553 | 2598843.7989 | 1149535.8676 | 2598846.7972 | 1149539.2131
114 | 2598907.6182 | 1149618.9955 | 2598886.4071 | 1149619.611 | 2598880.266 | 1149621.2464 | 2598863.5598 | 1149634.8214
115 | 2598863.5598 | 1149634.8214 | 2598864.887 | 1149741.0104
116 | 2598907.6182 | 1149618.9955 | 2598911.036 | 1149618.6857
117 | 2598885.5888 | 1149635.4078 | 2598892.4121 | 1149627.8139 | 2598907.6182 | 1149618.9955
118 | 2598836.0358 | 1149785.0809 | 2598849.1885 | 1149764.8339 | 2598864.887 | 1149741.0104
119 | 2598875.6868 | 1149524.8224 | 2598885.1473 | 1149531.6337
120 | 2598875.6868 | 1149524.8224 | 2598890.0075 | 1149506.4028
121 | 2598933.1874 | 1149557.2878 | 2598921.0323 | 1149553.2807
122 | 2598933.1874 | 1149557.2878 | 2598935.0951 | 1149557.9167
123 | 2598915.9194 | 1149551.5951 | 2598921.0323 | 1149553.2807
124 | 2598994.6294 | 1149585.5852 | 2598972.0871 | 1149569.7927 | 2598942.2375 | 1149560.2713 | 2598935.0951 | 1149557.9167
125 | 2598915.9194 | 1149551.5951 | 2598914.9059 | 1149551.261 | 2598897.905 | 1149540.1379
126 | 2599035.6439 | 1149656.5793 | 2599034.0005 | 1149653.0557 | 2599021.8036 | 1149618.3186 | 2599000.9406 | 1149590.0085 | 2598994.6294 | 1149585.5852
127 | 2598994.6294 | 1149585.5852 | 2598978.0657 | 1149602.3408
128 | 2598897.905 | 1149540.1379 | 2598887.5417 | 1149533.3576 | 2598885.1473 | 1149531.6337
129 | 2599043.5587 | 1149701.4999 | 2599047.519 | 1149695.8409 | 2599048.6766 | 1149686.614 | 2599044.798 | 1149676.2541 | 2599035.6439 | 1149656.5793
130 | 2598969.0068 | 1149601.5199 | 2598978.0657 | 1149602.3408
131 | 2599043.5587 | 1149701.4999 | 2598982.2847 | 1149719.4394
132 | 2598969.0068 | 1149601.5199 | 2598914.1235 | 1149618.4058
133 | 2598892.8021 | 1149502.8083 | 2598890.0075 | 1149506.4028
134 | 2598914.1235 | 1149618.4058 | 2598911.036 | 1149618.6857
135 | 2598825.3908 | 1149801.4677 | 2598836.0358 | 1149785.0809
136 | 2598892.8021 | 1149502.8083 | 2598892.8021 | 1149502.8083 | 2598888.9017 | 1149495.9252
137 | 2598983.2166 | 1149743.6567 | 2598982.0748 | 1149739.4626 | 2598982.2847 | 1149719.4394
138 | 2598886.1822 | 1149491.1261 | 2598888.9017 | 1149495.9252
139 | 2598936.6708 | 1149866.8952 | 2598908.6666 | 1149965.8656
140 | 2599025.0397 | 1149906.5255 | 2598936.6708 | 1149866.8952
141 | 2598936.6708 | 1149866.8952 | 2598860.4927 | 1149785.2638
142 | 2599025.0397 | 1149906.5255 | 2599056.7591 | 1149907.5539 | 2599077.4022 | 1149913.4422 | 2599085.4475 | 1149915.9977 | 2599092.0568 | 1149914.9405
143 | 2598825.3908 | 1149801.4677 | 2598831.2633 | 1149800.8662 | 2598840.1131 | 1149794.4946 | 2598860.4927 | 1149785.2638
144 | 2599092.0568 | 1149914.9405 | 2599558.6675 | 1149776.2705
145 | 2599567.7824 | 1149808.5411 | 2599558.6675 | 1149776.2705

## bus_geodata
| x | y | coords
0 | 2598154.3806 | 1149618.0726
1 | 2598169.6172 | 1149640.8586
2 | 2598141.4378 | 1149621.4491
3 | 2598162.2795 | 1149736.3507
4 | 2598142.0548 | 1149606.064
5 | 2598188.2437 | 1149820.4353
6 | 2598142.9671 | 1149569.6528
7 | 2598290.2864 | 1149628.4289
8 | 2598219.5528 | 1149899.7511
9 | 2598219.998 | 1149900.8769
10 | 2598209.7942 | 1149875.0737
11 | 2598231.0286 | 1149928.7712
12 | 2598222.221 | 1149870.123
13 | 2598309.4747 | 1149883.6569
14 | 2598066.8497 | 1150013.7762
15 | 2598057.4136 | 1150021.7094
16 | 2598077.95 | 1150037.9177
17 | 2598012.4186 | 1149884.8316
18 | 2598315.8318 | 1149591.2254
19 | 2598485.9918 | 1149764.055
20 | 2598494.1244 | 1149754.2077
21 | 2598498.4696 | 1149748.4553
22 | 2598605.9859 | 1149836.2753
23 | 2598509.4787 | 1149733.673
24 | 2598371.1868 | 1149569.8505
25 | 2598316.5745 | 1149467.8415
26 | 2598355.4551 | 1149486.6746
27 | 2598311.5306 | 1149453.858
28 | 2598314.3659 | 1149429.0929
29 | 2598449.0083 | 1149597.3184
30 | 2598308.7951 | 1149416.3599
31 | 2598352.9414 | 1149340.0969
32 | 2598392.3856 | 1149315.28
33 | 2598368.4593 | 1149301.4021
34 | 2598546.3665 | 1149341.9857
35 | 2598551.7808 | 1149343.3384
36 | 2598293.1068 | 1149248.6759
37 | 2598470.4412 | 1149626.5335
38 | 2598478.3966 | 1149639.5925
39 | 2598512.9367 | 1149679.9454
40 | 2598516.6013 | 1149724.1093
41 | 2598548.8173 | 1149680.0165
42 | 2598548.3404 | 1149680.7104
43 | 2598558.1246 | 1149661.5273
44 | 2598536.4699 | 1149697.9839
45 | 2598571.3467 | 1149654.1187
46 | 2598613.3072 | 1149628.2626
47 | 2598647.4083 | 1149608.7127
48 | 2598672.2905 | 1149592.9333
49 | 2598687.6212 | 1149584.3017
50 | 2598693.544 | 1149580.967
51 | 2598703.9766 | 1149575.0931
52 | 2598718.0572 | 1149567.1654
53 | 2598737.8496 | 1149555.1907
54 | 2598700.6622 | 1149537.3436
55 | 2598684.2682 | 1149495.7716
56 | 2598683.1223 | 1149502.0256
57 | 2598685.8101 | 1149487.1734
58 | 2598724.5844 | 1149502.7181
59 | 2598674.7107 | 1149423.8275
60 | 2598677.8271 | 1149414.7058
61 | 2598626.9113 | 1149403.2505
62 | 2598694.2003 | 1149431.8156
63 | 2598683.7306 | 1149397.4257
64 | 2598607.7363 | 1149394.996
65 | 2598728.2481 | 1149445.7705
66 | 2598738.7854 | 1149554.5442
67 | 2598742.3264 | 1149552.0977
68 | 2598749.9908 | 1149546.8023
69 | 2598763.9972 | 1149537.1252
70 | 2598765.7088 | 1149535.9427
71 | 2598788.3213 | 1149520.3196
72 | 2598797.2315 | 1149514.0448
73 | 2598750.5207 | 1149454.197
74 | 2598750.9155 | 1149454.3464
75 | 2598730.9507 | 1149446.7926
76 | 2598777.3859 | 1149464.3616
77 | 2598721.6511 | 1149469.1945
78 | 2598780.3413 | 1149465.4798
79 | 2598732.3618 | 1149432.5802
80 | 2598784.3241 | 1149454.2785
81 | 2598799.0902 | 1149472.8572
82 | 2598739.8167 | 1149408.6762
83 | 2598806.8359 | 1149479.7718
84 | 2598824.0145 | 1149495.1073
85 | 2598829.2725 | 1149491.3933
86 | 2598805.8125 | 1149507.9774
87 | 2598837.7415 | 1149497.4931
88 | 2598835.0082 | 1149486.8348
89 | 2598791.6505 | 1149433.673
90 | 2598858.1525 | 1149512.1943
91 | 2598851.4504 | 1149473.7671
92 | 2598777.3099 | 1149428.048
93 | 2598683.9232 | 1149396.8621
94 | 2598603.2339 | 1149406.7107
95 | 2598618.8377 | 1149369.827
96 | 2598867.7831 | 1149463.1422
97 | 2598903.2531 | 1149437.0408
98 | 2598914.4904 | 1149443.2213
99 | 2598861.5207 | 1149514.6203
100 | 2598689.8207 | 1149379.5996
101 | 2598689.9721 | 1149379.1565
102 | 2598638.4946 | 1149332.8591
103 | 2598639.379 | 1149331.3207
104 | 2598636.5189 | 1149336.2959
105 | 2598624.0951 | 1149357.9073
106 | 2598581.4202 | 1149352.0445
107 | 2598567.892 | 1149347.3637
108 | 2598740.2097 | 1149407.4158
109 | 2598935.3314 | 1149452.8242
110 | 2598854.3388 | 1149547.628
111 | 2598846.7972 | 1149539.2131
112 | 2598864.777 | 1149559.2748
113 | 2598844.2251 | 1149533.3553
114 | 2598863.5598 | 1149634.8214
115 | 2598907.6182 | 1149618.9955
116 | 2598864.887 | 1149741.0104
117 | 2598885.5888 | 1149635.4078
118 | 2598875.6868 | 1149524.8224
119 | 2598933.1874 | 1149557.2878
120 | 2598921.0323 | 1149553.2807
121 | 2598935.0951 | 1149557.9167
122 | 2598915.9194 | 1149551.5951
123 | 2598994.6294 | 1149585.5852
124 | 2598897.905 | 1149540.1379
125 | 2599035.6439 | 1149656.5793
126 | 2598978.0657 | 1149602.3408
127 | 2598885.1473 | 1149531.6337
128 | 2599043.5587 | 1149701.4999
129 | 2598969.0068 | 1149601.5199
130 | 2598890.0075 | 1149506.4028
131 | 2598911.036 | 1149618.6857
132 | 2598836.0358 | 1149785.0809
133 | 2598914.1235 | 1149618.4058
134 | 2598892.8021 | 1149502.8083
135 | 2598982.2847 | 1149719.4394
136 | 2598983.2166 | 1149743.6567
137 | 2598888.9017 | 1149495.9252
138 | 2598886.1822 | 1149491.1261
139 | 2598936.6708 | 1149866.8952
140 | 2598908.6666 | 1149965.8656
141 | 2599025.0397 | 1149906.5255
142 | 2598860.4927 | 1149785.2638
143 | 2598825.3908 | 1149801.4677
144 | 2599092.0568 | 1149914.9405
145 | 2599558.6675 | 1149776.2705
146 | 2599567.7824 | 1149808.5411
147 | 2598718.0572 | 1149567.1654

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1