## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_794-21_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_794-21_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_794-21_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_794-21_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_794-21_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_794-21_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_794-21_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_794-21_0_2_node_211 | 0.4 | n |  | TRUE
8 | bus_LV_794-21_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_794-21_0_2_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_794-21_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_794-21_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_794-21_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_794-21_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_794-21_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_794-21_0_2_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_794-21_0_2_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_794-21_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_794-21_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_794-21_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_794-21_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_794-21_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_794-21_0_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_794-21_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_794-21_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_794-21_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_794-21_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_794-21_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_794-21_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_794-21_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_794-21_0_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_794-21_0_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_794-21_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_794-21_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_794-21_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_794-21_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_794-21_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_794-21_0_2_node_218 | 0.4 | n |  | TRUE
38 | bus_LV_794-21_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_794-21_0_2_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_794-21_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_794-21_0_2_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_794-21_0_2_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_794-21_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_794-21_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_794-21_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_794-21_0_2_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_794-21_0_2_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_794-21_0_2_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_794-21_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_794-21_0_2_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_794-21_0_2_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_794-21_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_794-21_0_2_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_794-21_0_2_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_794-21_0_2_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_794-21_0_2_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_794-21_0_2_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_794-21_0_2_node_217 | 0.4 | n |  | TRUE
59 | bus_LV_794-21_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_794-21_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_794-21_0_2_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_794-21_0_2_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_794-21_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_794-21_0_2_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_794-21_0_2_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_794-21_0_2_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_794-21_0_2_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_794-21_0_2_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_794-21_0_2_node_219 | 0.4 | n |  | TRUE
70 | bus_LV_794-21_0_2_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_794-21_0_2_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_794-21_0_2_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_794-21_0_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_794-21_0_2_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_794-21_0_2_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_794-21_0_2_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_794-21_0_2_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_794-21_0_2_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_794-21_0_2_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_794-21_0_2_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_794-21_0_2_node_79 | 0.4 | n |  | TRUE
82 | bus_MV_147_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_794-21_0_2_load_0 | 0 | 0.023467 | 0.0058814 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_794-21_0_2_load_7 | 3 | 0.002628 | 0.00065865 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_794-21_0_2_load_4 | 4 | 0.0023931 | 0.00059976 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_794-21_0_2_load_211 | 7 | 0.0058814 | 0.001474 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_794-21_0_2_load_6 | 8 | 0.0038283 | 0.00095947 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_794-21_0_2_load_8 | 10 | 0.0004022 | 0.0001008 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_794-21_0_2_load_9 | 11 | 0.00027671 | 6.9349e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_794-21_0_2_load_10 | 12 | 0.00045592 | 0.00011427 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_794-21_0_2_load_12 | 14 | 0.003004 | 0.00075287 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_794-21_0_2_load_80 | 15 | 0.00026542 | 6.652e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_794-21_0_2_load_32 | 16 | 0.0027624 | 0.00069232 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_794-21_0_2_load_13 | 17 | 0.0053462 | 0.0013399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_794-21_0_2_load_14 | 18 | 0.004119 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_794-21_0_2_load_15 | 19 | 0.0050853 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_794-21_0_2_load_16 | 20 | 0.0039011 | 0.00097772 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_794-21_0_2_load_17 | 21 | 0.0045421 | 0.0011384 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_794-21_0_2_load_31 | 22 | 0.0059198 | 0.0014836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_794-21_0_2_load_18 | 23 | 0.0031722 | 0.00079504 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_794-21_0_2_load_21 | 26 | 0.0045667 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_794-21_0_2_load_22 | 27 | 0.0031296 | 0.00078435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_794-21_0_2_load_29 | 32 | 0.0021778 | 0.00054582 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_794-21_0_2_load_40 | 33 | 0.0055685 | 0.0013956 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_794-21_0_2_load_37 | 36 | 0.0014316 | 0.00035879 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_794-21_0_2_load_218 | 37 | 0.0001319 | 3.3057e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_794-21_0_2_load_30 | 38 | 0.0029913 | 0.00074969 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_794-21_0_2_load_34 | 39 | 0.0035209 | 0.00088242 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_794-21_0_2_load_36 | 40 | 0.0028781 | 0.00072132 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_794-21_0_2_load_76 | 41 | 0.0023416 | 0.00058687 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_794-21_0_2_load_38 | 42 | 0.0027321 | 0.00068473 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_794-21_0_2_load_39 | 43 | 0.00060463 | 0.00015154 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_794-21_0_2_load_43 | 46 | 0.0022565 | 0.00056553 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_794-21_0_2_load_53 | 47 | 0.00054504 | 0.0001366 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_794-21_0_2_load_50 | 48 | 0.00041904 | 0.00010502 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_794-21_0_2_load_44 | 49 | 0.0052908 | 0.001326 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_794-21_0_2_load_46 | 51 | 0.00094009 | 0.00023561 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_794-21_0_2_load_47 | 52 | 0.00062583 | 0.00015685 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_794-21_0_2_load_49 | 54 | 0.0017625 | 0.00044173 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_794-21_0_2_load_51 | 55 | 0.00014944 | 3.7452e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_794-21_0_2_load_52 | 56 | 0.00097562 | 0.00024451 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_794-21_0_2_load_54 | 57 | 0.00015441 | 3.8698e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_794-21_0_2_load_217 | 58 | 0.00093155 | 0.00023347 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_794-21_0_2_load_55 | 59 | 0.00054337 | 0.00013618 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_794-21_0_2_load_56 | 60 | 0.00069001 | 0.00017293 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_794-21_0_2_load_65 | 61 | 0.00061946 | 0.00015525 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_794-21_0_2_load_57 | 62 | 0.00049952 | 0.00012519 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_794-21_0_2_load_58 | 63 | 0.00039652 | 9.9376e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_794-21_0_2_load_63 | 65 | 0.00064769 | 0.00016233 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_794-21_0_2_load_64 | 66 | 0.00031188 | 7.8164e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_794-21_0_2_load_219 | 69 | 0.0010213 | 0.00025595 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_794-21_0_2_load_66 | 70 | 0.00029356 | 7.3574e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_794-21_0_2_load_67 | 71 | 0.00034751 | 8.7094e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_794-21_0_2_load_69 | 72 | 0.00067053 | 0.00016805 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_794-21_0_2_load_70 | 73 | 0.00064543 | 0.00016176 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_794-21_0_2_load_75 | 74 | 0.00017553 | 4.3992e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_794-21_0_2_load_71 | 75 | 0.00095913 | 0.00024038 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_794-21_0_2_load_72 | 76 | 0.0026533 | 0.00066498 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_794-21_0_2_load_73 | 77 | 0.00033379 | 8.3656e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_794-21_0_2_load_74 | 78 | 0.00089829 | 0.00022513 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_794-21_0_2_load_77 | 79 | 0.0025018 | 0.000627 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_794-21_0_2_load_78 | 80 | 0.00059948 | 0.00015024 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_794-21_0_2_load_79 | 81 | 0.00016865 | 4.2267e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_794-21_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.078291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_794-21_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_794-21_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.024799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_794-21_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.030986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_794-21_0_2_line_4 | NAYY 4x150 SE | 4 | 6 | 0.031235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_794-21_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.019464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_794-21_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.035468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_794-21_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.036443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_794-21_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.11832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_794-21_0_2_line_9 | NAYY 4x150 SE | 9 | 34 | 0.000901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_794-21_0_2_line_10 | NAYY 4x150 SE | 9 | 35 | 0.062956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_794-21_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.046477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_794-21_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0060117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_794-21_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0086285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_794-21_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.019301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_794-21_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.027376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_794-21_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.022224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_794-21_0_2_line_17 | NAYY 4x150 SE | 15 | 81 | 0.026992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_794-21_0_2_line_18 | NAYY 4x150 SE | 16 | 39 | 0.010989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_794-21_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.003272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_794-21_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.019829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_794-21_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.026671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_794-21_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.012151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_794-21_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.00094879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_794-21_0_2_line_24 | NAYY 4x150 SE | 22 | 38 | 0.027939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_794-21_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.046632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_794-21_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.035438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_794-21_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.013849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_794-21_0_2_line_28 | NAYY 4x150 SE | 24 | 27 | 0.037096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_794-21_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.021168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_794-21_0_2_line_30 | NAYY 4x150 SE | 25 | 29 | 0.094182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_794-21_0_2_line_31 | NAYY 4x150 SE | 26 | 30 | 0.028925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_794-21_0_2_line_32 | NAYY 4x150 SE | 27 | 31 | 0.030411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_794-21_0_2_line_33 | NAYY 4x150 SE | 28 | 32 | 0.02073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_794-21_0_2_line_34 | NAYY 4x150 SE | 29 | 33 | 0.047031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_794-21_0_2_line_35 | NAYY 4x150 SE | 30 | 39 | 0.0033387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_794-21_0_2_line_36 | NAYY 4x150 SE | 31 | 40 | 0.034181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_794-21_0_2_line_37 | NAYY 4x150 SE | 31 | 35 | 0.007799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_794-21_0_2_line_38 | NAYY 4x150 SE | 32 | 38 | 0.029485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_794-21_0_2_line_39 | NAYY 4x150 SE | 33 | 42 | 0.0018363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_794-21_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.06293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_794-21_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.053857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_794-21_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.021277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_794-21_0_2_line_43 | NAYY 4x150 SE | 41 | 79 | 0.028127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_794-21_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.03824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_794-21_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.018775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_794-21_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.083979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_794-21_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.019161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_794-21_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.010021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_794-21_0_2_line_49 | NAYY 4x150 SE | 45 | 48 | 0.022125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_794-21_0_2_line_50 | NAYY 4x150 SE | 46 | 49 | 0.03557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_794-21_0_2_line_51 | NAYY 4x150 SE | 47 | 58 | 0.057862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_794-21_0_2_line_52 | NAYY 4x150 SE | 48 | 55 | 0.04662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_794-21_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.07796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_794-21_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.057173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_794-21_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.14581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_794-21_0_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.076451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_794-21_0_2_line_57 | NAYY 4x150 SE | 53 | 54 | 0.057461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_794-21_0_2_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0060199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_794-21_0_2_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0074289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_794-21_0_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.0010091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_794-21_0_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0026171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_794-21_0_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.002024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_794-21_0_2_line_63 | NAYY 4x150 SE | 61 | 65 | 0.0034725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_794-21_0_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0017998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_794-21_0_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.037605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_794-21_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0064003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_794-21_0_2_line_67 | NAYY 4x150 SE | 64 | 66 | 0.0093907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_794-21_0_2_line_68 | NAYY 4x150 SE | 66 | 70 | 0.0031863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_794-21_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.01466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_794-21_0_2_line_70 | NAYY 4x150 SE | 67 | 69 | 0.029831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_794-21_0_2_line_71 | NAYY 4x150 SE | 68 | 72 | 0.017472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_794-21_0_2_line_72 | NAYY 4x150 SE | 68 | 71 | 0.0446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_794-21_0_2_line_73 | NAYY 4x150 SE | 70 | 71 | 0.0093665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_794-21_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.028911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_794-21_0_2_line_75 | NAYY 4x150 SE | 73 | 74 | 0.12128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_794-21_0_2_line_76 | NAYY 4x150 SE | 74 | 76 | 0.17454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_794-21_0_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.034694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_794-21_0_2_line_78 | NAYY 4x150 SE | 75 | 77 | 0.029774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_794-21_0_2_line_79 | NAYY 4x150 SE | 77 | 78 | 0.036985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_794-21_0_2_line_80 | NAYY 4x150 SE | 80 | 81 | 0.010606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_794-21_0_2_trafo_17 | 0.25 MVA 20/0.4 kV | 82 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2595149.2643 | 1156723.7769 | 2595156.915 | 1156768.5371 | 2595124.8279 | 1156775.7221
1 | 2595149.2643 | 1156723.7769 | 2595165.7544 | 1156719.7058
2 | 2595165.7544 | 1156719.7058 | 2595170.6907 | 1156744.0091
3 | 2595165.7544 | 1156719.7058 | 2595159.8051 | 1156689.2965
4 | 2595153.758 | 1156658.6523 | 2595154.497 | 1156662.1645 | 2595159.8051 | 1156689.2965
5 | 2595153.758 | 1156658.6523 | 2595134.6914 | 1156662.8255
6 | 2595134.6914 | 1156662.8255 | 2595099.9767 | 1156670.0947
7 | 2595153.758 | 1156658.6523 | 2595146.159 | 1156623.0101
8 | 2595124.9935 | 1156506.7679 | 2595125.1974 | 1156512.2482 | 2595126.0652 | 1156523.1417 | 2595127.0073 | 1156531.2004 | 2595129.3029 | 1156543.9493 | 2595146.159 | 1156623.0101
9 | 2595124.9621 | 1156505.8675 | 2595124.9935 | 1156506.7679
10 | 2595062.5974 | 1156514.8457 | 2595065.4339 | 1156513.9651 | 2595071.2984 | 1156512.1483 | 2595075.6302 | 1156511.3665 | 2595082.8985 | 1156510.0487 | 2595099.897 | 1156508.1559 | 2595124.9935 | 1156506.7679
11 | 2595017.5799 | 1156615.7404 | 2595019.6992 | 1156620.6558 | 2595021.3984 | 1156626.146 | 2595022.9014 | 1156635.4493 | 2595024.097 | 1156652.9458 | 2595024.7992 | 1156658.2478 | 2595025.7985 | 1156661.1484 | 2595025.7985 | 1156661.1484
12 | 2595017.5799 | 1156615.7404 | 2595015.1998 | 1156610.22
13 | 2595033.2243 | 1156665.0886 | 2595028.7987 | 1156663.6471 | 2595026.9038 | 1156662.5482 | 2595025.7985 | 1156661.1484
14 | 2595008.9151 | 1156592.0291 | 2595009.8024 | 1156596.3522 | 2595012.7999 | 1156604.6538 | 2595015.1998 | 1156610.22
15 | 2595033.2243 | 1156665.0886 | 2595028.5973 | 1156679.455 | 2595027.3368 | 1156685.0811 | 2595025.9072 | 1156691.4399
16 | 2595004.4468 | 1156570.2585 | 2595008.9151 | 1156592.0291
17 | 2595021.5612 | 1156718.0599 | 2595024.197 | 1156699.0462 | 2595025.9072 | 1156691.4399
18 | 2595004.4468 | 1156570.2585 | 2595004.097 | 1156568.5544 | 2595001.0866 | 1156559.8089
19 | 2594974.7738 | 1156637.6178 | 2594974.1947 | 1156634.3974
20 | 2594978.2832 | 1156657.1334 | 2594974.7738 | 1156637.6178
21 | 2594969.4744 | 1156608.1479 | 2594974.1947 | 1156634.3974
22 | 2594978.2832 | 1156657.1334 | 2594980.4338 | 1156669.0927
23 | 2594969.4744 | 1156608.1479 | 2594969.3064 | 1156607.2141
24 | 2594959.9358 | 1156580.9711 | 2594961.9986 | 1156585.2538 | 2594968.7008 | 1156603.8462 | 2594969.3064 | 1156607.2141
25 | 2594989.6995 | 1156517.6527 | 2594969.4982 | 1156522.4499 | 2594955.498 | 1156524.3516 | 2594944.364 | 1156528.0743
26 | 2594909.8975 | 1156534.9514 | 2594917.1974 | 1156534.9562 | 2594928.5984 | 1156533.3457 | 2594944.364 | 1156528.0743
27 | 2594989.6995 | 1156517.6527 | 2594992.0042 | 1156522.7532 | 2594996.6993 | 1156529.5392
28 | 2594989.6995 | 1156517.6527 | 2594996.7001 | 1156517.2466 | 2595016.0008 | 1156517.4526 | 2595022.004 | 1156516.4471 | 2595026.6983 | 1156516.5135
29 | 2594909.8975 | 1156534.9514 | 2594918.1976 | 1156538.8462 | 2594921.9023 | 1156540.0547 | 2594930.0006 | 1156541.0371
30 | 2594816.4972 | 1156522.1482 | 2594841.8036 | 1156524.2494 | 2594876.0018 | 1156531.5455 | 2594886.6004 | 1156533.1483 | 2594908.8009 | 1156534.9523 | 2594909.8975 | 1156534.9514
31 | 2594999.9999 | 1156556.6521 | 2595002.1971 | 1156552.4481 | 2595002.6985 | 1156546.8561 | 2595000.299 | 1156538.454 | 2594999.9972 | 1156535.2526 | 2594998.2997 | 1156531.8524 | 2594996.6993 | 1156529.5392
32 | 2595055.991 | 1156518.9421 | 2595052.4 | 1156516.1549 | 2595049.102 | 1156515.3461 | 2595036.0981 | 1156516.6465 | 2595026.6983 | 1156516.5135
33 | 2594930.0006 | 1156541.0371 | 2594932.8018 | 1156543.7472 | 2594940.1005 | 1156551.3558 | 2594944.1732 | 1156556.1484
34 | 2594816.4972 | 1156522.1482 | 2594814.3039 | 1156530.6543 | 2594800.9354 | 1156566.489
35 | 2594999.9999 | 1156556.6521 | 2595001.0866 | 1156559.8089
36 | 2595055.991 | 1156518.9421 | 2595050.5971 | 1156524.2492 | 2595047.0986 | 1156531.2556 | 2595045.7007 | 1156537.5487 | 2595045.4002 | 1156545.0527 | 2595046.0175 | 1156549.8393
37 | 2595062.5974 | 1156514.8457 | 2595057.0023 | 1156517.9519 | 2595055.991 | 1156518.9421
38 | 2594959.9358 | 1156580.9711 | 2594957.9043 | 1156576.7531 | 2594952.8974 | 1156568.1532 | 2594946.3025 | 1156558.6541 | 2594944.1732 | 1156556.1484
39 | 2594800.9354 | 1156566.489 | 2594800.2936 | 1156568.2095
40 | 2595124.9621 | 1156505.8675 | 2595162.5652 | 1156504.5026 | 2595164.2754 | 1156504.6791 | 2595166.1472 | 1156505.7003 | 2595167.3751 | 1156506.8888 | 2595167.6389 | 1156510.7016 | 2595167.4872 | 1156512.7805 | 2595166.2696 | 1156514.7158 | 2595164.1231 | 1156515.4734 | 2595154.9125 | 1156516.5482
41 | 2595062.5974 | 1156514.8457 | 2595064.1034 | 1156518.5463 | 2595067.2984 | 1156524.5466 | 2595069.7007 | 1156527.2459 | 2595078.3028 | 1156534.7535 | 2595083.6969 | 1156538.8511 | 2595087.5015 | 1156540.4487 | 2595091.8038 | 1156541.0454 | 2595096.1973 | 1156540.6527 | 2595104.5003 | 1156538.9561
42 | 2595051.0468 | 1156570.4976 | 2595046.3032 | 1156552.0554 | 2595046.0175 | 1156549.8393
43 | 2595053.9371 | 1156598.2624 | 2595054.5017 | 1156590.4563 | 2595053.8978 | 1156583.5534 | 2595052.6038 | 1156576.551 | 2595051.0468 | 1156570.4976
44 | 2594800.2936 | 1156568.2095 | 2594788.5998 | 1156599.5551 | 2594786.0523 | 1156603.6045
45 | 2594772.6041 | 1156616.5553 | 2594778.803 | 1156611.5474 | 2594784.7023 | 1156605.7505 | 2594786.0523 | 1156603.6045
46 | 2594772.6041 | 1156616.5553 | 2594765.4991 | 1156620.1523 | 2594759.0987 | 1156622.8481 | 2594751.0036 | 1156625.3565 | 2594743.9043 | 1156626.6523 | 2594728.8983 | 1156626.8546 | 2594702.8004 | 1156622.4535 | 2594696.2981 | 1156622.5482 | 2594690.9013 | 1156624.1538
47 | 2594772.6041 | 1156616.5553 | 2594773.5979 | 1156621.8459 | 2594776.798 | 1156633.4488 | 2594777.3437 | 1156635.1025
48 | 2594690.9013 | 1156624.1538 | 2594685.8109 | 1156615.5223
49 | 2594690.9013 | 1156624.1538 | 2594685.5983 | 1156627.6492 | 2594677.1036 | 1156637.7507 | 2594675.6701 | 1156639.8901
50 | 2594777.3437 | 1156635.1025 | 2594788.4905 | 1156668.8804
51 | 2594641.4035 | 1156580.1545 | 2594646.6997 | 1156586.0526 | 2594651.5034 | 1156589.9502 | 2594662.298 | 1156596.3547 | 2594675.3011 | 1156602.9463 | 2594679.8973 | 1156606.455 | 2594682.999 | 1156610.7543 | 2594685.8109 | 1156615.5223
52 | 2594675.6701 | 1156639.8901 | 2594670.4032 | 1156647.7505 | 2594665.7024 | 1156655.8476 | 2594662.7037 | 1156663.7542 | 2594659.8979 | 1156673.0501 | 2594658.103 | 1156680.8556 | 2594657.9414 | 1156682.4679
53 | 2594813.5002 | 1156742.7148 | 2594811.4008 | 1156735.7465 | 2594789.7991 | 1156672.8457 | 2594788.4905 | 1156668.8804
54 | 2594767.6974 | 1156773.8481 | 2594784.8982 | 1156767.5521 | 2594795.5978 | 1156762.3513 | 2594802.9005 | 1156756.9533 | 2594807.1986 | 1156752.9476 | 2594809.7033 | 1156749.955 | 2594812.0005 | 1156746.3512 | 2594813.5002 | 1156742.7148
55 | 2594767.6974 | 1156773.8481 | 2594867.0104 | 1156880.6113
56 | 2594913.6046 | 1156941.1146 | 2594912.0996 | 1156938.648 | 2594901.0009 | 1156925.2509 | 2594892.7026 | 1156914.0526 | 2594882.103 | 1156901.6556 | 2594871.9012 | 1156888.2467 | 2594867.0104 | 1156880.6113
57 | 2594955.9973 | 1156903.8712 | 2594947.2471 | 1156911.1266 | 2594920.9017 | 1156929.347 | 2594917.2012 | 1156932.8519 | 2594915.3025 | 1156936.1551 | 2594913.6046 | 1156941.1146
58 | 2594657.341 | 1156688.4579 | 2594657.9414 | 1156682.4679
59 | 2594657.341 | 1156688.4579 | 2594656.6001 | 1156695.8497
60 | 2594656.6001 | 1156695.8497 | 2594656.4995 | 1156696.8538 | 2594656.4995 | 1156696.8538
61 | 2594655.6542 | 1156699.3307 | 2594656.4995 | 1156696.8538
62 | 2594655.6542 | 1156699.3307 | 2594655.0005 | 1156701.2462 | 2594655.0005 | 1156701.2462
63 | 2594652.7025 | 1156703.8495 | 2594652.7025 | 1156703.8495 | 2594655.0005 | 1156701.2462
64 | 2594615.8104 | 1156684.2337 | 2594617.1352 | 1156685.452
65 | 2594646.9768 | 1156706.2336 | 2594645.497 | 1156706.3462 | 2594641.1026 | 1156705.4497 | 2594636.8992 | 1156703.9527 | 2594632.7024 | 1156701.1552 | 2594624.1981 | 1156691.9472 | 2594617.1352 | 1156685.452
66 | 2594646.9768 | 1156706.2336 | 2594649.3997 | 1156706.0536 | 2594652.7025 | 1156703.8495
67 | 2594646.9768 | 1156706.2336 | 2594644.3009 | 1156714.8514 | 2594644.2561 | 1156715.2157
68 | 2594643.8678 | 1156718.3783 | 2594644.2561 | 1156715.2157
69 | 2594635.626 | 1156771.387 | 2594631.8977 | 1156769.3561 | 2594626.5033 | 1156765.0477 | 2594624.0014 | 1156762.5488
70 | 2594618.0018 | 1156733.451 | 2594620.501 | 1156741.3526 | 2594623.6041 | 1156755.6457 | 2594624.0014 | 1156762.5488
71 | 2594635.626 | 1156771.387 | 2594634.6994 | 1156781.1482 | 2594633.9136 | 1156788.7745
72 | 2594635.626 | 1156771.387 | 2594635.9982 | 1156767.4514 | 2594636.8033 | 1156758.9465 | 2594638.1999 | 1156751.6528 | 2594639.8043 | 1156745.2482 | 2594643.0004 | 1156735.2515 | 2594643.702 | 1156730.9488 | 2594643.6706 | 1156727.7281
73 | 2594643.6706 | 1156727.7281 | 2594643.6006 | 1156720.5548 | 2594643.8678 | 1156718.3783
74 | 2594633.9136 | 1156788.7745 | 2594633.8025 | 1156789.8533 | 2594632.1032 | 1156801.5495 | 2594632.2992 | 1156806.3517 | 2594634.5111 | 1156817.3322
75 | 2594634.5111 | 1156817.3322 | 2594542.2148 | 1156896.0042
76 | 2594542.2148 | 1156896.0042 | 2594581.7482 | 1157066.0114
77 | 2594587.605 | 1157100.2043 | 2594585.3003 | 1157088.0552 | 2594581.7482 | 1157066.0114
78 | 2594587.605 | 1157100.2043 | 2594590.8012 | 1157117.0533 | 2594594.2043 | 1157129.2101
79 | 2594594.2043 | 1157129.2101 | 2594594.3012 | 1157129.5563 | 2594597.5995 | 1157139.447 | 2594608.2774 | 1157163.3717
80 | 2595021.5612 | 1156718.0599 | 2595020.1047 | 1156728.5659

## bus_geodata
| x | y | coords
0 | 2595124.8279 | 1156775.7221
1 | 2595149.2643 | 1156723.7769
2 | 2595165.7544 | 1156719.7058
3 | 2595170.6907 | 1156744.0091
4 | 2595159.8051 | 1156689.2965
5 | 2595134.6914 | 1156662.8255
6 | 2595153.758 | 1156658.6523
7 | 2595099.9767 | 1156670.0947
8 | 2595146.159 | 1156623.0101
9 | 2595124.9935 | 1156506.7679
10 | 2595017.5799 | 1156615.7404
11 | 2595025.7985 | 1156661.1484
12 | 2595015.1998 | 1156610.22
13 | 2595033.2243 | 1156665.0886
14 | 2595008.9151 | 1156592.0291
15 | 2595025.9072 | 1156691.4399
16 | 2595004.4468 | 1156570.2585
17 | 2594974.7738 | 1156637.6178
18 | 2594974.1947 | 1156634.3974
19 | 2594978.2832 | 1156657.1334
20 | 2594969.4744 | 1156608.1479
21 | 2594980.4338 | 1156669.0927
22 | 2594969.3064 | 1156607.2141
23 | 2594944.364 | 1156528.0743
24 | 2594989.6995 | 1156517.6527
25 | 2594909.8975 | 1156534.9514
26 | 2594996.6993 | 1156529.5392
27 | 2595026.6983 | 1156516.5135
28 | 2594930.0006 | 1156541.0371
29 | 2594816.4972 | 1156522.1482
30 | 2594999.9999 | 1156556.6521
31 | 2595055.991 | 1156518.9421
32 | 2594944.1732 | 1156556.1484
33 | 2594800.9354 | 1156566.489
34 | 2595124.9621 | 1156505.8675
35 | 2595062.5974 | 1156514.8457
36 | 2595154.9125 | 1156516.5482
37 | 2595104.5003 | 1156538.9561
38 | 2594959.9358 | 1156580.9711
39 | 2595001.0866 | 1156559.8089
40 | 2595046.0175 | 1156549.8393
41 | 2595051.0468 | 1156570.4976
42 | 2594800.2936 | 1156568.2095
43 | 2594786.0523 | 1156603.6045
44 | 2594772.6041 | 1156616.5553
45 | 2594690.9013 | 1156624.1538
46 | 2594777.3437 | 1156635.1025
47 | 2594685.8109 | 1156615.5223
48 | 2594675.6701 | 1156639.8901
49 | 2594788.4905 | 1156668.8804
50 | 2594813.5002 | 1156742.7148
51 | 2594767.6974 | 1156773.8481
52 | 2594867.0104 | 1156880.6113
53 | 2594913.6046 | 1156941.1146
54 | 2594955.9973 | 1156903.8712
55 | 2594657.9414 | 1156682.4679
56 | 2594657.341 | 1156688.4579
57 | 2594656.6001 | 1156695.8497
58 | 2594641.4035 | 1156580.1545
59 | 2594656.4995 | 1156696.8538
60 | 2594655.6542 | 1156699.3307
61 | 2594655.0005 | 1156701.2462
62 | 2594615.8104 | 1156684.2337
63 | 2594617.1352 | 1156685.452
64 | 2594646.9768 | 1156706.2336
65 | 2594652.7025 | 1156703.8495
66 | 2594644.2561 | 1156715.2157
67 | 2594624.0014 | 1156762.5488
68 | 2594635.626 | 1156771.387
69 | 2594618.0018 | 1156733.451
70 | 2594643.8678 | 1156718.3783
71 | 2594643.6706 | 1156727.7281
72 | 2594633.9136 | 1156788.7745
73 | 2594634.5111 | 1156817.3322
74 | 2594542.2148 | 1156896.0042
75 | 2594587.605 | 1157100.2043
76 | 2594581.7482 | 1157066.0114
77 | 2594594.2043 | 1157129.2101
78 | 2594608.2774 | 1157163.3717
79 | 2595053.9371 | 1156598.2624
80 | 2595020.1047 | 1156728.5659
81 | 2595021.5612 | 1156718.0599
82 | 2594930.0006 | 1156541.0371

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1