## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_794-28_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_794-28_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_794-28_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_794-28_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_794-28_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_794-28_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_794-28_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_794-28_0_2_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_794-28_0_2_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_794-28_0_2_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_794-28_0_2_node_100 | 0.4 | n |  | TRUE
11 | bus_LV_794-28_0_2_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_794-28_0_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_794-28_0_2_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_794-28_0_2_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_794-28_0_2_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_794-28_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_794-28_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_794-28_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_794-28_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_794-28_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_794-28_0_2_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_794-28_0_2_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_794-28_0_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_794-28_0_2_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_794-28_0_2_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_794-28_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_794-28_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_794-28_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_794-28_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_794-28_0_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_794-28_0_2_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_794-28_0_2_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_794-28_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_794-28_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_794-28_0_2_node_127 | 0.4 | n |  | TRUE
36 | bus_LV_794-28_0_2_node_125 | 0.4 | n |  | TRUE
37 | bus_LV_794-28_0_2_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_794-28_0_2_node_110 | 0.4 | n |  | TRUE
39 | bus_LV_794-28_0_2_node_109 | 0.4 | n |  | TRUE
40 | bus_LV_794-28_0_2_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_794-28_0_2_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_794-28_0_2_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_794-28_0_2_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_794-28_0_2_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_794-28_0_2_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_794-28_0_2_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_794-28_0_2_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_794-28_0_2_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_794-28_0_2_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_794-28_0_2_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_794-28_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_794-28_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_794-28_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_794-28_0_2_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_794-28_0_2_node_131 | 0.4 | n |  | TRUE
56 | bus_LV_794-28_0_2_node_106 | 0.4 | n |  | TRUE
57 | bus_LV_794-28_0_2_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_794-28_0_2_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_794-28_0_2_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_794-28_0_2_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_794-28_0_2_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_794-28_0_2_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_794-28_0_2_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_794-28_0_2_node_122 | 0.4 | n |  | TRUE
65 | bus_LV_794-28_0_2_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_794-28_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_794-28_0_2_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_794-28_0_2_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_794-28_0_2_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_794-28_0_2_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_794-28_0_2_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_794-28_0_2_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_794-28_0_2_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_794-28_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_794-28_0_2_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_794-28_0_2_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_794-28_0_2_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_794-28_0_2_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_794-28_0_2_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_794-28_0_2_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_794-28_0_2_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_794-28_0_2_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_794-28_0_2_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_794-28_0_2_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_794-28_0_2_node_58 | 0.4 | n |  | TRUE
86 | bus_LV_794-28_0_2_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_794-28_0_2_node_136 | 0.4 | n |  | TRUE
88 | bus_LV_794-28_0_2_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_794-28_0_2_node_138 | 0.4 | n |  | TRUE
90 | bus_LV_794-28_0_2_node_102 | 0.4 | n |  | TRUE
91 | bus_LV_794-28_0_2_node_134 | 0.4 | n |  | TRUE
92 | bus_LV_794-28_0_2_node_135 | 0.4 | n |  | TRUE
93 | bus_LV_794-28_0_2_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_794-28_0_2_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_794-28_0_2_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_794-28_0_2_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_794-28_0_2_node_126 | 0.4 | n |  | TRUE
98 | bus_LV_794-28_0_2_node_68 | 0.4 | n |  | TRUE
99 | bus_LV_794-28_0_2_node_70 | 0.4 | n |  | TRUE
100 | bus_LV_794-28_0_2_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_794-28_0_2_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_794-28_0_2_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_794-28_0_2_node_90 | 0.4 | n |  | TRUE
104 | bus_LV_794-28_0_2_node_87 | 0.4 | n |  | TRUE
105 | bus_LV_794-28_0_2_node_137 | 0.4 | n |  | TRUE
106 | bus_LV_794-28_0_2_node_79 | 0.4 | n |  | TRUE
107 | bus_LV_794-28_0_2_node_80 | 0.4 | n |  | TRUE
108 | bus_LV_794-28_0_2_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_794-28_0_2_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_794-28_0_2_node_105 | 0.4 | n |  | TRUE
111 | bus_LV_794-28_0_2_node_130 | 0.4 | n |  | TRUE
112 | bus_LV_794-28_0_2_node_124 | 0.4 | n |  | TRUE
113 | bus_LV_794-28_0_2_node_84 | 0.4 | n |  | TRUE
114 | bus_LV_794-28_0_2_node_133 | 0.4 | n |  | TRUE
115 | bus_LV_794-28_0_2_node_89 | 0.4 | n |  | TRUE
116 | bus_LV_794-28_0_2_node_91 | 0.4 | n |  | TRUE
117 | bus_LV_794-28_0_2_node_129 | 0.4 | n |  | TRUE
118 | bus_LV_794-28_0_2_node_99 | 0.4 | n |  | TRUE
119 | bus_LV_794-28_0_2_node_128 | 0.4 | n |  | TRUE
120 | bus_LV_794-28_0_2_node_93 | 0.4 | n |  | TRUE
121 | bus_LV_794-28_0_2_node_94 | 0.4 | n |  | TRUE
122 | bus_LV_794-28_0_2_node_96 | 0.4 | n |  | TRUE
123 | bus_LV_794-28_0_2_node_98 | 0.4 | n |  | TRUE
124 | bus_LV_794-28_0_2_node_118 | 0.4 | n |  | TRUE
125 | bus_LV_794-28_0_2_node_120 | 0.4 | n |  | TRUE
126 | bus_LV_794-28_0_2_node_116 | 0.4 | n |  | TRUE
127 | bus_LV_794-28_0_2_node_108 | 0.4 | n |  | TRUE
128 | bus_LV_794-28_0_2_node_111 | 0.4 | n |  | TRUE
129 | bus_LV_794-28_0_2_node_112 | 0.4 | n |  | TRUE
130 | bus_LV_794-28_0_2_node_113 | 0.4 | n |  | TRUE
131 | bus_LV_794-28_0_2_node_119 | 0.4 | n |  | TRUE
132 | bus_LV_794-28_0_2_node_117 | 0.4 | n |  | TRUE
133 | bus_LV_794-28_0_2_node_114 | 0.4 | n |  | TRUE
134 | bus_LV_794-28_0_2_node_115 | 0.4 | n |  | TRUE
135 | bus_LV_794-28_0_2_node_121 | 0.4 | n |  | TRUE
136 | bus_LV_794-28_0_2_node_123 | 0.4 | n |  | TRUE
137 | bus_MV_147_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_794-28_0_2_load_0 | 0 | 0.0028307 | 0.00070943 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_794-28_0_2_load_3 | 3 | 0.0019779 | 0.0004957 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_794-28_0_2_load_4 | 4 | 0.0019803 | 0.0004963 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_794-28_0_2_load_6 | 6 | 0.001783 | 0.00044686 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_794-28_0_2_load_62 | 8 | 0.0031483 | 0.00078904 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_794-28_0_2_load_132 | 9 | 0.0018472 | 0.00046294 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_794-28_0_2_load_100 | 10 | 0.0014037 | 0.0003518 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_794-28_0_2_load_66 | 11 | 0.00086131 | 0.00021586 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_794-28_0_2_load_30 | 12 | 0.0055191 | 0.0013832 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_794-28_0_2_load_63 | 13 | 0.0043681 | 0.0010948 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_794-28_0_2_load_67 | 15 | 0.0015911 | 0.00039877 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_794-28_0_2_load_7 | 16 | 0.0015068 | 0.00037764 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_794-28_0_2_load_8 | 17 | 0.002867 | 0.00071855 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_794-28_0_2_load_9 | 18 | 0.0022816 | 0.00057181 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_794-28_0_2_load_10 | 19 | 0.0037148 | 0.00093101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_794-28_0_2_load_11 | 20 | 0.0046719 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_794-28_0_2_load_92 | 22 | 0.0016135 | 0.00040438 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_794-28_0_2_load_12 | 24 | 0.0014632 | 0.0003667 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_794-28_0_2_load_13 | 25 | 0.0021002 | 0.00052636 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_794-28_0_2_load_15 | 27 | 0.0012294 | 0.00030811 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_794-28_0_2_load_16 | 28 | 0.002034 | 0.00050976 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_794-28_0_2_load_17 | 29 | 0.0012907 | 0.00032347 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_794-28_0_2_load_35 | 30 | 0.0021482 | 0.0005384 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_794-28_0_2_load_18 | 32 | 0.00085267 | 0.0002137 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_794-28_0_2_load_19 | 33 | 0.00052811 | 0.00013236 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_794-28_0_2_load_20 | 34 | 0.0014384 | 0.00036049 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_794-28_0_2_load_127 | 35 | 0.0021513 | 0.00053917 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_794-28_0_2_load_125 | 36 | 0.00031414 | 7.8732e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_794-28_0_2_load_21 | 37 | 0.0013868 | 0.00034757 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_794-28_0_2_load_110 | 38 | 0.0013855 | 0.00034723 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_794-28_0_2_load_86 | 40 | 0.0029604 | 0.00074195 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_794-28_0_2_load_61 | 41 | 0.0028943 | 0.00072538 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_794-28_0_2_load_22 | 42 | 0.0019424 | 0.00048682 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_794-28_0_2_load_25 | 44 | 0.0022611 | 0.00056669 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_794-28_0_2_load_27 | 46 | 0.00060475 | 0.00015156 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_794-28_0_2_load_28 | 47 | 0.0027511 | 0.00068949 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_794-28_0_2_load_43 | 48 | 0.0022013 | 0.00055169 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_794-28_0_2_load_53 | 49 | 0.0026155 | 0.00065551 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_794-28_0_2_load_41 | 51 | 0.0018479 | 0.00046313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_794-28_0_2_load_83 | 54 | 0.0018121 | 0.00045416 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_794-28_0_2_load_106 | 56 | 0.0016191 | 0.0004058 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_794-28_0_2_load_31 | 57 | 0.00086172 | 0.00021597 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_794-28_0_2_load_55 | 58 | 0.0013659 | 0.00034233 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_794-28_0_2_load_64 | 59 | 0.0011535 | 0.00028908 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_794-28_0_2_load_36 | 60 | 0.0018092 | 0.00045343 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_794-28_0_2_load_37 | 61 | 0.0018155 | 0.00045502 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_794-28_0_2_load_38 | 62 | 0.0014695 | 0.0003683 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_794-28_0_2_load_39 | 63 | 0.0015051 | 0.00037721 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_794-28_0_2_load_122 | 64 | 0.0024509 | 0.00061426 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_794-28_0_2_load_71 | 65 | 0.00072171 | 0.00018088 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_794-28_0_2_load_69 | 66 | 0.00090452 | 0.00022669 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_794-28_0_2_load_42 | 67 | 0.0022975 | 0.00057582 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_794-28_0_2_load_44 | 68 | 0.00127 | 0.0003183 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_794-28_0_2_load_45 | 69 | 0.0013852 | 0.00034717 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_794-28_0_2_load_46 | 70 | 0.00052647 | 0.00013194 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_794-28_0_2_load_74 | 72 | 0.002049 | 0.00051352 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_794-28_0_2_load_75 | 73 | 0.00049548 | 0.00012418 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_794-28_0_2_load_60 | 74 | 0.0019962 | 0.00050029 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_794-28_0_2_load_48 | 76 | 0.00030721 | 7.6994e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_794-28_0_2_load_49 | 77 | 0.0016905 | 0.00042367 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_794-28_0_2_load_50 | 78 | 0.0010829 | 0.00027139 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_794-28_0_2_load_51 | 79 | 0.0013799 | 0.00034584 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_794-28_0_2_load_81 | 80 | 0.0022394 | 0.00056125 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_794-28_0_2_load_72 | 81 | 0.0022514 | 0.00056425 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_794-28_0_2_load_65 | 82 | 0.00061485 | 0.00015409 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_794-28_0_2_load_56 | 83 | 0.00075997 | 0.00019047 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_794-28_0_2_load_57 | 84 | 0.0010254 | 0.00025699 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_794-28_0_2_load_59 | 86 | 0.00042238 | 0.00010586 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_794-28_0_2_load_101 | 88 | 0.00087849 | 0.00022017 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_794-28_0_2_load_138 | 89 | 0.00211 | 0.00052882 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_794-28_0_2_load_102 | 90 | 0.0017271 | 0.00043284 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_794-28_0_2_load_135 | 92 | 0.0020477 | 0.00051321 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_794-28_0_2_load_76 | 95 | 0.0007883 | 0.00019757 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_794-28_0_2_load_82 | 96 | 0.00082846 | 0.00020763 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_794-28_0_2_load_68 | 98 | 0.0027786 | 0.00069639 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_794-28_0_2_load_73 | 100 | 0.0021418 | 0.00053678 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_794-28_0_2_load_95 | 102 | 0.0025584 | 0.0006412 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_794-28_0_2_load_90 | 103 | 0.00090226 | 0.00022613 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_794-28_0_2_load_87 | 104 | 0.0012539 | 0.00031425 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_794-28_0_2_load_137 | 105 | 0.0017293 | 0.00043341 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_794-28_0_2_load_80 | 107 | 0.0005104 | 0.00012792 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_794-28_0_2_load_107 | 108 | 0.0010416 | 0.00026104 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_794-28_0_2_load_104 | 109 | 0.00059455 | 0.00014901 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_794-28_0_2_load_105 | 110 | 0.0041095 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_794-28_0_2_load_130 | 111 | 0.00059869 | 0.00015005 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_794-28_0_2_load_124 | 112 | 0.0023029 | 0.00057716 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_794-28_0_2_load_84 | 113 | 0.0017818 | 0.00044657 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_794-28_0_2_load_133 | 114 | 0.0010232 | 0.00025643 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_794-28_0_2_load_91 | 116 | 0.0014673 | 0.00036773 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_794-28_0_2_load_129 | 117 | 0.00075685 | 0.00018968 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_794-28_0_2_load_99 | 118 | 0.00064702 | 0.00016216 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_794-28_0_2_load_128 | 119 | 0.00064225 | 0.00016096 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_794-28_0_2_load_93 | 120 | 0.0012692 | 0.0003181 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_794-28_0_2_load_94 | 121 | 0.0036295 | 0.00090964 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_794-28_0_2_load_96 | 122 | 0.0038633 | 0.00096823 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_794-28_0_2_load_98 | 123 | 0.00018361 | 4.6016e-05 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_794-28_0_2_load_120 | 125 | 0.00077724 | 0.00019479 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_794-28_0_2_load_108 | 127 | 0.0019989 | 0.00050098 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_794-28_0_2_load_111 | 128 | 0.00037626 | 9.4301e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_794-28_0_2_load_112 | 129 | 0.0010298 | 0.0002581 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_794-28_0_2_load_113 | 130 | 0.00020125 | 5.0439e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_794-28_0_2_load_119 | 131 | 0.00020711 | 5.1908e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_794-28_0_2_load_117 | 132 | 0.00012292 | 3.0807e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_794-28_0_2_load_114 | 133 | 0.00022054 | 5.5272e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_794-28_0_2_load_115 | 134 | 0.0031819 | 0.00079746 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_794-28_0_2_load_121 | 135 | 0.00020807 | 5.2148e-05 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_794-28_0_2_load_123 | 136 | 0.00078537 | 0.00019683 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_794-28_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_794-28_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_794-28_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.035098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_794-28_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.003678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_794-28_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.038802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_794-28_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.0070092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_794-28_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.023965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_794-28_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.016046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_794-28_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_794-28_0_2_line_9 | NAYY 4x150 SE | 5 | 10 | 0.0025863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_794-28_0_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.019067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_794-28_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.050538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_794-28_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.022854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_794-28_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.023343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_794-28_0_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.02289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_794-28_0_2_line_15 | NAYY 4x150 SE | 12 | 55 | 0.041568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_794-28_0_2_line_16 | NAYY 4x150 SE | 13 | 20 | 0.024913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_794-28_0_2_line_17 | NAYY 4x150 SE | 14 | 65 | 0.01594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_794-28_0_2_line_18 | NAYY 4x150 SE | 14 | 62 | 0.01181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_794-28_0_2_line_19 | NAYY 4x150 SE | 15 | 96 | 0.010195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_794-28_0_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.012109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_794-28_0_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.024632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_794-28_0_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.0099458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_794-28_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.014095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_794-28_0_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.022575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_794-28_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.053382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_794-28_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.019767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_794-28_0_2_line_27 | NAYY 4x150 SE | 23 | 49 | 0.0085484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_794-28_0_2_line_28 | NAYY 4x150 SE | 23 | 43 | 0.035189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_794-28_0_2_line_29 | NAYY 4x150 SE | 24 | 25 | 0.019359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_794-28_0_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.017399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_794-28_0_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.00022352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_794-28_0_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.017403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_794-28_0_2_line_33 | NAYY 4x150 SE | 26 | 29 | 0.010253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_794-28_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.015573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_794-28_0_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.022103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_794-28_0_2_line_36 | NAYY 4x150 SE | 31 | 52 | 0.020728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_794-28_0_2_line_37 | NAYY 4x150 SE | 31 | 57 | 0.032862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_794-28_0_2_line_38 | NAYY 4x150 SE | 32 | 33 | 0.019321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_794-28_0_2_line_39 | NAYY 4x150 SE | 33 | 34 | 0.0044182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_794-28_0_2_line_40 | NAYY 4x150 SE | 34 | 35 | 0.024527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_794-28_0_2_line_41 | NAYY 4x150 SE | 35 | 36 | 0.0054764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_794-28_0_2_line_42 | NAYY 4x150 SE | 36 | 136 | 0.0022684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_794-28_0_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.19733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_794-28_0_2_line_44 | NAYY 4x150 SE | 38 | 39 | 0.025045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_794-28_0_2_line_45 | NAYY 4x150 SE | 39 | 127 | 0.0083048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_794-28_0_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.028883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_794-28_0_2_line_47 | NAYY 4x150 SE | 41 | 85 | 0.014828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_794-28_0_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.034975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_794-28_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.014847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_794-28_0_2_line_50 | NAYY 4x150 SE | 44 | 48 | 0.0028739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_794-28_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.020276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_794-28_0_2_line_52 | NAYY 4x150 SE | 45 | 47 | 0.024194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_794-28_0_2_line_53 | NAYY 4x150 SE | 46 | 50 | 0.0062036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_794-28_0_2_line_54 | NAYY 4x150 SE | 48 | 51 | 0.01728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_794-28_0_2_line_55 | NAYY 4x150 SE | 49 | 52 | 0.0014262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_794-28_0_2_line_56 | NAYY 4x150 SE | 50 | 53 | 0.003911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_794-28_0_2_line_57 | NAYY 4x150 SE | 50 | 54 | 0.014013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_794-28_0_2_line_58 | NAYY 4x150 SE | 51 | 67 | 0.0041415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_794-28_0_2_line_59 | NAYY 4x150 SE | 52 | 58 | 0.013184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_794-28_0_2_line_60 | NAYY 4x150 SE | 53 | 64 | 0.024878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_794-28_0_2_line_61 | NAYY 4x150 SE | 53 | 78 | 0.044279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_794-28_0_2_line_62 | NAYY 4x150 SE | 54 | 113 | 0.023168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_794-28_0_2_line_63 | NAYY 4x150 SE | 55 | 56 | 0.14039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_794-28_0_2_line_64 | NAYY 4x150 SE | 56 | 127 | 0.16635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_794-28_0_2_line_65 | NAYY 4x150 SE | 56 | 109 | 0.13794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_794-28_0_2_line_66 | NAYY 4x150 SE | 58 | 59 | 0.022072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_794-28_0_2_line_67 | NAYY 4x150 SE | 59 | 82 | 0.042366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_794-28_0_2_line_68 | NAYY 4x150 SE | 60 | 61 | 0.022187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_794-28_0_2_line_69 | NAYY 4x150 SE | 60 | 62 | 0.0065188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_794-28_0_2_line_70 | NAYY 4x150 SE | 61 | 63 | 0.011844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_794-28_0_2_line_71 | NAYY 4x150 SE | 63 | 64 | 0.028372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_794-28_0_2_line_72 | NAYY 4x150 SE | 65 | 66 | 0.00011072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_794-28_0_2_line_73 | NAYY 4x150 SE | 68 | 69 | 0.00054193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_794-28_0_2_line_74 | NAYY 4x150 SE | 68 | 70 | 0.035101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_794-28_0_2_line_75 | NAYY 4x150 SE | 69 | 71 | 0.0094976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_794-28_0_2_line_76 | NAYY 4x150 SE | 71 | 72 | 0.029378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_794-28_0_2_line_77 | NAYY 4x150 SE | 71 | 73 | 0.0041069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_794-28_0_2_line_78 | NAYY 4x150 SE | 72 | 74 | 0.0043335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_794-28_0_2_line_79 | NAYY 4x150 SE | 73 | 75 | 0.0082652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_794-28_0_2_line_80 | NAYY 4x150 SE | 74 | 85 | 0.039811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_794-28_0_2_line_81 | NAYY 4x150 SE | 75 | 103 | 0.022206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_794-28_0_2_line_82 | NAYY 4x150 SE | 75 | 104 | 0.022414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_794-28_0_2_line_83 | NAYY 4x150 SE | 76 | 77 | 0.0087008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_794-28_0_2_line_84 | NAYY 4x150 SE | 76 | 78 | 0.018404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_794-28_0_2_line_85 | NAYY 4x150 SE | 77 | 79 | 0.010283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_794-28_0_2_line_86 | NAYY 4x150 SE | 79 | 80 | 0.032173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_794-28_0_2_line_87 | NAYY 4x150 SE | 80 | 81 | 0.022873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_794-28_0_2_line_88 | NAYY 4x150 SE | 81 | 99 | 0.0066629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_794-28_0_2_line_89 | NAYY 4x150 SE | 82 | 93 | 0.082607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_794-28_0_2_line_90 | NAYY 4x150 SE | 83 | 84 | 0.022917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_794-28_0_2_line_91 | NAYY 4x150 SE | 83 | 85 | 0.029646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_794-28_0_2_line_92 | NAYY 4x150 SE | 84 | 86 | 0.0096231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_794-28_0_2_line_93 | NAYY 4x150 SE | 85 | 87 | 0.019709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_794-28_0_2_line_94 | NAYY 4x150 SE | 86 | 88 | 0.012039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_794-28_0_2_line_95 | NAYY 4x150 SE | 87 | 89 | 0.017252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_794-28_0_2_line_96 | NAYY 4x150 SE | 88 | 90 | 0.036099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_794-28_0_2_line_97 | NAYY 4x150 SE | 88 | 91 | 0.017193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_794-28_0_2_line_98 | NAYY 4x150 SE | 91 | 92 | 0.020594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_794-28_0_2_line_99 | NAYY 4x150 SE | 93 | 94 | 0.02756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_794-28_0_2_line_100 | NAYY 4x150 SE | 94 | 95 | 0.03561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_794-28_0_2_line_101 | NAYY 4x150 SE | 95 | 105 | 0.068603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_794-28_0_2_line_102 | NAYY 4x150 SE | 96 | 97 | 0.027234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_794-28_0_2_line_103 | NAYY 4x150 SE | 97 | 111 | 0.032744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_794-28_0_2_line_104 | NAYY 4x150 SE | 97 | 112 | 0.016707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_794-28_0_2_line_105 | NAYY 4x150 SE | 98 | 99 | 0.045984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_794-28_0_2_line_106 | NAYY 4x150 SE | 99 | 100 | 0.011632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_794-28_0_2_line_107 | NAYY 4x150 SE | 100 | 101 | 0.0028458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_794-28_0_2_line_108 | NAYY 4x150 SE | 101 | 102 | 0.033024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_794-28_0_2_line_109 | NAYY 4x150 SE | 102 | 120 | 0.0091578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_794-28_0_2_line_110 | NAYY 4x150 SE | 103 | 117 | 0.0019539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_794-28_0_2_line_111 | NAYY 4x150 SE | 104 | 115 | 0.011102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_794-28_0_2_line_112 | NAYY 4x150 SE | 105 | 106 | 0.087579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_794-28_0_2_line_113 | NAYY 4x150 SE | 106 | 107 | 0.017264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_794-28_0_2_line_114 | NAYY 4x150 SE | 107 | 108 | 0.099279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_794-28_0_2_line_115 | NAYY 4x150 SE | 109 | 110 | 0.02954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_794-28_0_2_line_116 | NAYY 4x150 SE | 111 | 119 | 0.0080927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_794-28_0_2_line_117 | NAYY 4x150 SE | 112 | 136 | 0.014301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_794-28_0_2_line_118 | NAYY 4x150 SE | 113 | 114 | 0.032162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_794-28_0_2_line_119 | NAYY 4x150 SE | 115 | 116 | 0.0094365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_794-28_0_2_line_120 | NAYY 4x150 SE | 116 | 118 | 0.003638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_794-28_0_2_line_121 | NAYY 4x150 SE | 117 | 119 | 0.013322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_794-28_0_2_line_122 | NAYY 4x150 SE | 120 | 121 | 0.028185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_794-28_0_2_line_123 | NAYY 4x150 SE | 121 | 122 | 0.045977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_794-28_0_2_line_124 | NAYY 4x150 SE | 122 | 123 | 0.042556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_794-28_0_2_line_125 | NAYY 4x150 SE | 123 | 124 | 0.0048825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_794-28_0_2_line_126 | NAYY 4x150 SE | 124 | 125 | 0.022278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_794-28_0_2_line_127 | NAYY 4x150 SE | 124 | 126 | 0.003389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_794-28_0_2_line_128 | NAYY 4x150 SE | 125 | 135 | 0.0080001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_794-28_0_2_line_129 | NAYY 4x150 SE | 126 | 132 | 0.00028145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_794-28_0_2_line_130 | NAYY 4x150 SE | 126 | 133 | 0.011471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_794-28_0_2_line_131 | NAYY 4x150 SE | 128 | 129 | 0.017619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_794-28_0_2_line_132 | NAYY 4x150 SE | 129 | 130 | 0.032275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_794-28_0_2_line_133 | NAYY 4x150 SE | 130 | 131 | 0.00045544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_794-28_0_2_line_134 | NAYY 4x150 SE | 131 | 132 | 0.011679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_794-28_0_2_line_135 | NAYY 4x150 SE | 133 | 134 | 0.031595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_794-28_0_2_trafo_0 | 0.25 MVA 20/0.4 kV | 137 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2596121.7893 | 1157217.8691 | 2596111.7983 | 1157216.853 | 2596105.4029 | 1157215.2564 | 2596104.3159 | 1157214.8841
1 | 2596074.6889 | 1157204.8161 | 2596075.6014 | 1157205.0489 | 2596104.3159 | 1157214.8841
2 | 2596121.7893 | 1157217.8691 | 2596122.8976 | 1157212.5547 | 2596125.2022 | 1157196.0562 | 2596126.432 | 1157183.1044
3 | 2596121.7893 | 1157217.8691 | 2596122.9011 | 1157217.9462 | 2596125.414 | 1157218.4535
4 | 2596074.6889 | 1157204.8161 | 2596073.397 | 1157210.6531 | 2596071.5998 | 1157217.5466 | 2596069.1969 | 1157224.4516 | 2596063.1208 | 1157241.8086
5 | 2596074.6889 | 1157204.8161 | 2596068.8992 | 1157203.3525 | 2596067.8728 | 1157203.2025
6 | 2596128.6973 | 1157159.2469 | 2596126.432 | 1157183.1044
7 | 2596140.932 | 1157222.4996 | 2596139.0969 | 1157222.1488 | 2596127.4023 | 1157218.8548 | 2596125.414 | 1157218.4535
8 | 2596043.3967 | 1157258.43 | 2596046.6814 | 1157251.6689 | 2596053.4635 | 1157246.7508 | 2596063.1208 | 1157241.8086
9 | 2596063.1208 | 1157241.8086 | 2596062.1629 | 1157244.211
10 | 2596067.8728 | 1157203.2025 | 2596049.0057 | 1157200.4452
11 | 2596128.6973 | 1157159.2469 | 2596126.4016 | 1157154.346 | 2596119.2031 | 1157144.3458 | 2596116.6008 | 1157139.5563 | 2596114.5041 | 1157134.255 | 2596113.3042 | 1157128.453 | 2596113.7983 | 1157121.9494 | 2596114.908 | 1157112.8104
12 | 2596140.932 | 1157222.4996 | 2596147.5012 | 1157223.7552 | 2596163.5459 | 1157225.7272
13 | 2596056.5047 | 1157265.7359 | 2596055.6987 | 1157264.3469 | 2596054.9993 | 1157261.7461 | 2596055.603 | 1157258.7553 | 2596058 | 1157254.6517 | 2596062.1629 | 1157244.211
14 | 2596049.0057 | 1157200.4452 | 2596047.6973 | 1157200.254 | 2596034.5004 | 1157197.6505 | 2596026.4127 | 1157196.9673
15 | 2596134.301 | 1157087.3523 | 2596130.6034 | 1157084.3532 | 2596128.0038 | 1157083.8547 | 2596125.8034 | 1157084.0562 | 2596123.1977 | 1157085.8477 | 2596121.3971 | 1157087.6498 | 2596119.4978 | 1157091.0527 | 2596117.3013 | 1157097.146 | 2596116.2996 | 1157101.3488 | 2596114.908 | 1157112.8104
16 | 2596163.5459 | 1157225.7272 | 2596181.5998 | 1157227.9462 | 2596188.3105 | 1157228.3551
17 | 2596056.5047 | 1157265.7359 | 2596059.3989 | 1157271.2478 | 2596060.2097 | 1157280.928
18 | 2596056.5047 | 1157265.7359 | 2596060.7992 | 1157267.156 | 2596065.1009 | 1157267.8534 | 2596068.0266 | 1157267.9854
19 | 2596016.2259 | 1157196.611 | 2596025.0998 | 1157196.8564 | 2596026.4127 | 1157196.9673
20 | 2596224.9667 | 1157216.5875 | 2596225.7015 | 1157216.3455 | 2596232.2023 | 1157214.9518 | 2596236.8715 | 1157214.5458
21 | 2596224.9667 | 1157216.5875 | 2596218.7028 | 1157218.6511 | 2596201.9901 | 1157225.4353
22 | 2596246.8105 | 1157214.6598 | 2596237.9984 | 1157214.4478 | 2596236.8715 | 1157214.5458
23 | 2596201.9901 | 1157225.4353 | 2596201.2033 | 1157225.7547 | 2596194.7028 | 1157227.7488 | 2596189.9036 | 1157228.4522 | 2596188.3105 | 1157228.3551
24 | 2596269.32 | 1157216.2955 | 2596262.5035 | 1157215.655 | 2596250.6034 | 1157214.751 | 2596246.8105 | 1157214.6598
25 | 2596269.32 | 1157216.2955 | 2596270.8995 | 1157192.1493 | 2596270.6044 | 1157186.2466 | 2596269.4038 | 1157179.0549 | 2596264.7603 | 1157163.7618
26 | 2596289.0031 | 1157218.6509 | 2596269.32 | 1157216.2955
27 | 2596289.0031 | 1157218.6509 | 2596293.7035 | 1157219.3483 | 2596297.4987 | 1157219.2459
28 | 2596261.3593 | 1157237.0107 | 2596263.6973 | 1157236.2533 | 2596273.9994 | 1157232.356 | 2596280.5991 | 1157229.6505 | 2596285.1975 | 1157226.6461 | 2596288.2008 | 1157223.0536 | 2596289.0031 | 1157218.6509
29 | 2596318.3278 | 1157262.2253 | 2596315.5973 | 1157262.5558 | 2596299.2201 | 1157265.3193
30 | 2596335.0996 | 1157258.0526 | 2596326.3994 | 1157261.2485 | 2596318.3278 | 1157262.2253
31 | 2596298.9997 | 1157265.3565 | 2596299.2201 | 1157265.3193
32 | 2596335.0996 | 1157258.0526 | 2596338.1983 | 1157259.9516 | 2596340.5984 | 1157260.4503 | 2596343.7034 | 1157260.1483 | 2596345.704 | 1157259.3466 | 2596348.3021 | 1157257.5553 | 2596350.1024 | 1157255.253
33 | 2596335.0996 | 1157258.0526 | 2596331.5325 | 1157248.4406
34 | 2596331.5325 | 1157248.4406 | 2596327.3044 | 1157237.0471 | 2596326.3775 | 1157233.7551
35 | 2596318.8019 | 1157213.1518 | 2596320.897 | 1157216.252 | 2596322.8015 | 1157221.0531 | 2596326.3775 | 1157233.7551
36 | 2596298.9016 | 1157218.9893 | 2596302.2978 | 1157218.3535 | 2596310.0015 | 1157215.4473 | 2596318.8019 | 1157213.1518
37 | 2596318.8019 | 1157213.1518 | 2596327.3036 | 1157211.2455 | 2596342.8974 | 1157209.246 | 2596350.5029 | 1157208.6521 | 2596351.3005 | 1157208.6981
38 | 2595922.5335 | 1157147.8167 | 2595929.8701 | 1157158.8915 | 2595935.4734 | 1157161.1373
39 | 2595935.4734 | 1157161.1373 | 2595938.038 | 1157162.1652 | 2595939.3739 | 1157163.1426
40 | 2595939.3739 | 1157163.1426 | 2595943.0779 | 1157165.8525 | 2595944.8042 | 1157167.5521 | 2595953.0033 | 1157171.6485 | 2595961.1566 | 1157173.4489
41 | 2595966.4619 | 1157174.7862 | 2595964.7972 | 1157174.2528 | 2595961.1566 | 1157173.4489
42 | 2595968.6221 | 1157175.4784 | 2595966.4619 | 1157174.7862
43 | 2595980.6011 | 1156928.9548 | 2595784.8009 | 1156953.4764
44 | 2595993.6994 | 1156909.5475 | 2595990.2034 | 1156910.1501 | 2595987.8969 | 1156912.1527 | 2595985.6984 | 1156915.2557 | 2595983.3018 | 1156920.1486 | 2595980.6011 | 1156928.9548
45 | 2595993.6994 | 1156909.5475 | 2596001.891 | 1156910.914
46 | 2595826.0025 | 1157170.5474 | 2595825.5999 | 1157175.8503 | 2595824.4003 | 1157181.654 | 2595824.3042 | 1157186.8455 | 2595825.2192 | 1157199.2582
47 | 2595826.3093 | 1157214.0464 | 2595825.2192 | 1157199.2582
48 | 2596261.3593 | 1157237.0107 | 2596253.502 | 1157239.5503 | 2596237.9023 | 1157244.1514 | 2596227.7798 | 1157246.7596
49 | 2596261.3593 | 1157237.0107 | 2596262.5948 | 1157251.806
50 | 2596262.5948 | 1157251.806 | 2596262.8339 | 1157254.6699
51 | 2596187.1551 | 1157270.2412 | 2596185.7986 | 1157271.0536 | 2596171.0978 | 1157278.3556 | 2596168.9754 | 1157279.1907
52 | 2596187.1551 | 1157270.2412 | 2596202.3996 | 1157273.7553 | 2596210.4423 | 1157276.6547
53 | 2596163.2027 | 1157281.4622 | 2596168.9754 | 1157279.1907
54 | 2596262.8339 | 1157254.6699 | 2596263.8006 | 1157266.2458 | 2596264.4368 | 1157271.8737
55 | 2596298.9016 | 1157218.9893 | 2596297.4987 | 1157219.2459
56 | 2596163.2027 | 1157281.4622 | 2596159.5003 | 1157282.7542
57 | 2596163.2027 | 1157281.4622 | 2596166.2975 | 1157289.0529 | 2596168.9 | 1157294.2537
58 | 2596264.9019 | 1157275.989 | 2596264.4368 | 1157271.8737
59 | 2596298.9016 | 1157218.9893 | 2596299.5038 | 1157213.4529 | 2596299.4321 | 1157205.8388
60 | 2596159.5003 | 1157282.7542 | 2596158.6025 | 1157281.4541 | 2596155.903 | 1157280.4554 | 2596135.6539 | 1157277.8203
61 | 2596159.5003 | 1157282.7542 | 2596154.3038 | 1157285.4478 | 2596124.3047 | 1157309.4603
62 | 2596168.9 | 1157294.2537 | 2596168.9 | 1157294.2537 | 2596179.2981 | 1157308.554 | 2596182.0984 | 1157311.2535 | 2596183.4386 | 1157312.1233
63 | 2596134.301 | 1157087.3523 | 2596163.575 | 1156950.0528
64 | 2596163.575 | 1156950.0528 | 2596001.891 | 1156910.914
65 | 2596167.3913 | 1156812.1624 | 2596163.575 | 1156950.0528
66 | 2596299.9109 | 1157183.793 | 2596299.8001 | 1157184.5496 | 2596299.2985 | 1157191.6534 | 2596299.4321 | 1157205.8388
67 | 2596306.3214 | 1157142.2803 | 2596306.3214 | 1157142.2803 | 2596305.404 | 1157146.5496 | 2596303.0995 | 1157151.9537 | 2596302.0973 | 1157155.456 | 2596301.701 | 1157159.2471 | 2596301.6018 | 1157172.2535 | 2596299.9109 | 1157183.793
68 | 2596074.5388 | 1157268.2792 | 2596087.1982 | 1157268.8504 | 2596091.8988 | 1157269.9478 | 2596096.2355 | 1157271.7268
69 | 2596074.5388 | 1157268.2792 | 2596068.0266 | 1157267.9854
70 | 2596096.2355 | 1157271.7268 | 2596104.1005 | 1157274.9533 | 2596107.4004 | 1157275.4884
71 | 2596135.6539 | 1157277.8203 | 2596125.8991 | 1157276.5509 | 2596108.4022 | 1157275.6508 | 2596107.4004 | 1157275.4884
72 | 2596060.2189 | 1157281.0384 | 2596060.2097 | 1157280.928
73 | 2595899.5461 | 1157196.6982 | 2595899.5363 | 1157197.2401
74 | 2595903.3972 | 1157161.8557 | 2595899.697 | 1157188.349 | 2595899.5461 | 1157196.6982
75 | 2595899.3647 | 1157206.7361 | 2595899.5363 | 1157197.2401
76 | 2595899.3647 | 1157206.7361 | 2595890.8011 | 1157207.6536 | 2595878.7033 | 1157209.1516 | 2595870.2516 | 1157210.6006
77 | 2595899.3647 | 1157206.7361 | 2595901.0973 | 1157206.5459 | 2595903.4611 | 1157206.5214
78 | 2595865.9804 | 1157211.3328 | 2595870.2516 | 1157210.6006
79 | 2595911.6777 | 1157206.0828 | 2595910.2979 | 1157206.4506 | 2595903.4611 | 1157206.5214
80 | 2595826.3093 | 1157214.0464 | 2595853.297 | 1157213.0491 | 2595860.6033 | 1157212.2547 | 2595865.9804 | 1157211.3328
81 | 2595911.6777 | 1157206.0828 | 2595918.8989 | 1157204.1546 | 2595933.3805 | 1157201.4497
82 | 2595911.6777 | 1157206.0828 | 2595913.2002 | 1157212.3515 | 2595914.8999 | 1157220.0541 | 2595915.3009 | 1157223.3554 | 2595914.8041 | 1157225.6458 | 2595913.3819 | 1157227.5865
83 | 2596109.9531 | 1157320.9818 | 2596104.9004 | 1157325.2553 | 2596103.4344 | 1157326.7353
84 | 2596109.9531 | 1157320.9818 | 2596110.7011 | 1157320.3491 | 2596124.3047 | 1157309.4603
85 | 2596096.1979 | 1157334.0409 | 2596103.4344 | 1157326.7353
86 | 2596096.1979 | 1157334.0409 | 2596084.604 | 1157345.7455 | 2596080.1995 | 1157351.7513 | 2596077.7035 | 1157356.9556 | 2596076.8442 | 1157359.28
87 | 2596073.1922 | 1157381.7172 | 2596074.1995 | 1157368.1523 | 2596075.5989 | 1157362.6486 | 2596076.8442 | 1157359.28
88 | 2596071.6059 | 1157388.0416 | 2596072.9001 | 1157385.6506 | 2596073.1922 | 1157381.7172
89 | 2596306.3214 | 1157142.2803 | 2596323.0009 | 1157061.3745
90 | 2595796.7407 | 1157216.055 | 2595792.4987 | 1157216.4493 | 2595790.2065 | 1157216.7844 | 2595782.6934 | 1157217.8792 | 2595779.3969 | 1157218.3485 | 2595774.8433 | 1157219.2855 | 2595774.0894 | 1157219.4378
91 | 2595826.3093 | 1157214.0464 | 2595811.9031 | 1157214.6457 | 2595796.7407 | 1157216.055
92 | 2595764.781 | 1157221.8217 | 2595769.1014 | 1157220.4457 | 2595774.0894 | 1157219.4378
93 | 2595826.3093 | 1157214.0464 | 2595813.8379 | 1157229.3071
94 | 2595764.781 | 1157221.8217 | 2595760.6004 | 1157223.1531 | 2595759.0292 | 1157223.8657 | 2595753.6331 | 1157226.3153
95 | 2595818.6032 | 1157245.7563 | 2595814.6014 | 1157235.5541 | 2595813.8379 | 1157229.3071
96 | 2595721.7792 | 1157243.0837 | 2595725.1994 | 1157241.9545 | 2595730.5035 | 1157239.7496 | 2595740.4665 | 1157233.8173 | 2595752.8975 | 1157226.6493 | 2595753.6331 | 1157226.3153
97 | 2595753.6331 | 1157226.3153 | 2595761.2961 | 1157241.7062
98 | 2595761.2961 | 1157241.7062 | 2595763.3 | 1157245.5511 | 2595765.2027 | 1157247.3506 | 2595771.8991 | 1157251.4479 | 2595773.7027 | 1157254.0479 | 2595774.2029 | 1157256.6488
99 | 2596316.4979 | 1157035.1212 | 2596316.6314 | 1157040.1792 | 2596316.7494 | 1157044.8814 | 2596318.249 | 1157052.1285 | 2596323.0009 | 1157061.3745
100 | 2596316.4979 | 1157035.1212 | 2596316.2488 | 1157016.8791 | 2596316.8569 | 1156999.524
101 | 2596316.8569 | 1156999.524 | 2596373.2367 | 1156960.4382
102 | 2595989.002 | 1157195.8581 | 2596016.2259 | 1157196.611
103 | 2595989.002 | 1157195.8581 | 2595982.201 | 1157195.5515 | 2595966.1002 | 1157195.9515 | 2595959.1005 | 1157196.6455 | 2595956.3516 | 1157197.159
104 | 2595989.002 | 1157195.8581 | 2595988.7 | 1157191.4561 | 2595984.9009 | 1157185.7559 | 2595981.2567 | 1157181.7107
105 | 2596071.6059 | 1157388.0416 | 2596061.3992 | 1157373.4523 | 2596058.2982 | 1157368.2518 | 2596056.8001 | 1157363.6505 | 2596056.4971 | 1157357.6478 | 2596057.2983 | 1157351.9556 | 2596058.5678 | 1157346.5776
106 | 2596071.6059 | 1157388.0416 | 2596073.9006 | 1157391.4528 | 2596075.2984 | 1157395.0537 | 2596075.5251 | 1157398.7052
107 | 2596075.7014 | 1157401.5455 | 2596075.5251 | 1157398.7052
108 | 2596075.7014 | 1157401.5455 | 2596073.9971 | 1157409.6506 | 2596068.7993 | 1157421.7489 | 2596065.1988 | 1157426.2535 | 2596060.8861 | 1157430.1421
109 | 2596054.0848 | 1157436.2746 | 2596060.8861 | 1157430.1421
110 | 2595933.3805 | 1157201.4497 | 2595935.3012 | 1157201.0909
111 | 2595903.6992 | 1157232.5458 | 2595908.5976 | 1157231.1528 | 2595912.8968 | 1157228.2484 | 2595913.3819 | 1157227.5865
112 | 2596340.975 | 1156879.0181 | 2596373.2367 | 1156960.4382
113 | 2596340.975 | 1156879.0181 | 2596348.3108 | 1156863.3904
114 | 2596348.3108 | 1156863.3904 | 2596391.3895 | 1156773.9444
115 | 2596169.5033 | 1156782.7463 | 2596168.4988 | 1156806.2474 | 2596167.3913 | 1156812.1624
116 | 2595948.3964 | 1157198.6449 | 2595956.3516 | 1157197.159
117 | 2595968.6221 | 1157175.4784 | 2595975.7024 | 1157177.7471 | 2595980.2971 | 1157180.6454 | 2595981.2567 | 1157181.7107
118 | 2596183.4386 | 1157312.1233 | 2596194.7 | 1157342.2495
119 | 2595903.6992 | 1157232.5458 | 2595904.3982 | 1157234.4462 | 2595904.3998 | 1157236.7474 | 2595902.402 | 1157241.4511
120 | 2595900.5027 | 1157244.5539 | 2595902.402 | 1157241.4511
121 | 2595948.3964 | 1157198.6449 | 2595935.3012 | 1157201.0909
122 | 2596054.0848 | 1157436.2746 | 2596046.9013 | 1157442.7516 | 2596032.8418 | 1157454.796
123 | 2596032.8418 | 1157454.796 | 2596032.3043 | 1157455.2565 | 2596022.3039 | 1157462.4556 | 2596009.0016 | 1157473.3477 | 2596003.6995 | 1157478.2537 | 2595999.5013 | 1157483.0478 | 2595998.2302 | 1157484.7925
124 | 2595998.2302 | 1157484.7925 | 2595996.0008 | 1157487.8525 | 2595981.9975 | 1157516.2538 | 2595979.7001 | 1157520.0461 | 2595978.0444 | 1157522.1415
125 | 2595974.6668 | 1157525.619 | 2595976.2989 | 1157524.3506 | 2595978.0444 | 1157522.1415
126 | 2595974.6668 | 1157525.619 | 2595982.2975 | 1157528.9487 | 2595989.7988 | 1157533.746 | 2595993.8999 | 1157536.6892
127 | 2595974.6668 | 1157525.619 | 2595972.7971 | 1157527.0543 | 2595971.9004 | 1157527.5774
128 | 2596000.3995 | 1157541.3537 | 2595993.8999 | 1157536.6892
129 | 2595971.6576 | 1157527.7197 | 2595971.9004 | 1157527.5774
130 | 2595971.9004 | 1157527.5774 | 2595974.2033 | 1157531.7556 | 2595976.2704 | 1157538.1293
131 | 2595915.3677 | 1157553.7263 | 2595931.4112 | 1157546.4446
132 | 2595960.8004 | 1157533.1056 | 2595931.4112 | 1157546.4446
133 | 2595960.8004 | 1157533.1056 | 2595961.2151 | 1157532.9174
134 | 2595961.2151 | 1157532.9174 | 2595968.1988 | 1157529.7476 | 2595971.6576 | 1157527.7197
135 | 2595977.1041 | 1157569.6501 | 2595977.2981 | 1157550.5517 | 2595976.6004 | 1157539.1465 | 2595976.2704 | 1157538.1293

## bus_geodata
| x | y | coords
0 | 2596104.3159 | 1157214.8841
1 | 2596121.7893 | 1157217.8691
2 | 2596074.6889 | 1157204.8161
3 | 2596126.432 | 1157183.1044
4 | 2596125.414 | 1157218.4535
5 | 2596063.1208 | 1157241.8086
6 | 2596067.8728 | 1157203.2025
7 | 2596128.6973 | 1157159.2469
8 | 2596140.932 | 1157222.4996
9 | 2596043.3967 | 1157258.43
10 | 2596062.1629 | 1157244.211
11 | 2596049.0057 | 1157200.4452
12 | 2596114.908 | 1157112.8104
13 | 2596163.5459 | 1157225.7272
14 | 2596056.5047 | 1157265.7359
15 | 2596026.4127 | 1157196.9673
16 | 2596224.9667 | 1157216.5875
17 | 2596236.8715 | 1157214.5458
18 | 2596201.9901 | 1157225.4353
19 | 2596246.8105 | 1157214.6598
20 | 2596188.3105 | 1157228.3551
21 | 2596269.32 | 1157216.2955
22 | 2596264.7603 | 1157163.7618
23 | 2596289.0031 | 1157218.6509
24 | 2596318.3278 | 1157262.2253
25 | 2596299.2201 | 1157265.3193
26 | 2596335.0996 | 1157258.0526
27 | 2596298.9997 | 1157265.3565
28 | 2596350.1024 | 1157255.253
29 | 2596331.5325 | 1157248.4406
30 | 2596326.3775 | 1157233.7551
31 | 2596318.8019 | 1157213.1518
32 | 2595922.5335 | 1157147.8167
33 | 2595935.4734 | 1157161.1373
34 | 2595939.3739 | 1157163.1426
35 | 2595961.1566 | 1157173.4489
36 | 2595966.4619 | 1157174.7862
37 | 2595784.8009 | 1156953.4764
38 | 2595980.6011 | 1156928.9548
39 | 2595993.6994 | 1156909.5475
40 | 2595826.0025 | 1157170.5474
41 | 2595825.2192 | 1157199.2582
42 | 2596227.7798 | 1157246.7596
43 | 2596261.3593 | 1157237.0107
44 | 2596262.5948 | 1157251.806
45 | 2596187.1551 | 1157270.2412
46 | 2596168.9754 | 1157279.1907
47 | 2596210.4423 | 1157276.6547
48 | 2596262.8339 | 1157254.6699
49 | 2596297.4987 | 1157219.2459
50 | 2596163.2027 | 1157281.4622
51 | 2596264.4368 | 1157271.8737
52 | 2596298.9016 | 1157218.9893
53 | 2596159.5003 | 1157282.7542
54 | 2596168.9 | 1157294.2537
55 | 2596134.301 | 1157087.3523
56 | 2596163.575 | 1156950.0528
57 | 2596351.3005 | 1157208.6981
58 | 2596299.4321 | 1157205.8388
59 | 2596299.9109 | 1157183.793
60 | 2596074.5388 | 1157268.2792
61 | 2596096.2355 | 1157271.7268
62 | 2596068.0266 | 1157267.9854
63 | 2596107.4004 | 1157275.4884
64 | 2596135.6539 | 1157277.8203
65 | 2596060.2097 | 1157280.928
66 | 2596060.2189 | 1157281.0384
67 | 2596264.9019 | 1157275.989
68 | 2595899.5461 | 1157196.6982
69 | 2595899.5363 | 1157197.2401
70 | 2595903.3972 | 1157161.8557
71 | 2595899.3647 | 1157206.7361
72 | 2595870.2516 | 1157210.6006
73 | 2595903.4611 | 1157206.5214
74 | 2595865.9804 | 1157211.3329
75 | 2595911.6777 | 1157206.0828
76 | 2596109.9531 | 1157320.9818
77 | 2596103.4344 | 1157326.7353
78 | 2596124.3047 | 1157309.4603
79 | 2596096.1979 | 1157334.0409
80 | 2596076.8442 | 1157359.28
81 | 2596073.1922 | 1157381.7172
82 | 2596306.3214 | 1157142.2803
83 | 2595796.7407 | 1157216.055
84 | 2595774.0894 | 1157219.4378
85 | 2595826.3093 | 1157214.0464
86 | 2595764.781 | 1157221.8217
87 | 2595813.8379 | 1157229.3071
88 | 2595753.6331 | 1157226.3153
89 | 2595818.6032 | 1157245.7563
90 | 2595721.7792 | 1157243.0837
91 | 2595761.2961 | 1157241.7062
92 | 2595774.2029 | 1157256.6488
93 | 2596323.0009 | 1157061.3745
94 | 2596316.4979 | 1157035.1212
95 | 2596316.8569 | 1156999.524
96 | 2596016.2259 | 1157196.611
97 | 2595989.002 | 1157195.8581
98 | 2596058.5678 | 1157346.5776
99 | 2596071.6059 | 1157388.0416
100 | 2596075.5251 | 1157398.7052
101 | 2596075.7014 | 1157401.5455
102 | 2596060.8861 | 1157430.1421
103 | 2595933.3805 | 1157201.4497
104 | 2595913.3819 | 1157227.5865
105 | 2596373.2367 | 1156960.4382
106 | 2596340.975 | 1156879.0181
107 | 2596348.3108 | 1156863.3904
108 | 2596391.3895 | 1156773.9444
109 | 2596167.3913 | 1156812.1624
110 | 2596169.5033 | 1156782.7463
111 | 2595956.3516 | 1157197.159
112 | 2595981.2567 | 1157181.7107
113 | 2596183.4386 | 1157312.1233
114 | 2596194.7 | 1157342.2495
115 | 2595903.6992 | 1157232.5458
116 | 2595902.402 | 1157241.4511
117 | 2595935.3012 | 1157201.0909
118 | 2595900.5027 | 1157244.5539
119 | 2595948.3964 | 1157198.6449
120 | 2596054.0848 | 1157436.2746
121 | 2596032.8418 | 1157454.796
122 | 2595998.2302 | 1157484.7925
123 | 2595978.0444 | 1157522.1415
124 | 2595974.6668 | 1157525.619
125 | 2595993.8999 | 1157536.6892
126 | 2595971.9004 | 1157527.5774
127 | 2596001.891 | 1156910.914
128 | 2595915.3677 | 1157553.7263
129 | 2595931.4112 | 1157546.4446
130 | 2595960.8003 | 1157533.1056
131 | 2595961.2151 | 1157532.9174
132 | 2595971.6576 | 1157527.7197
133 | 2595976.2704 | 1157538.1293
134 | 2595977.1041 | 1157569.6501
135 | 2596000.3995 | 1157541.3537
136 | 2595968.6221 | 1157175.4784
137 | 2596121.7893 | 1157217.8691

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1