## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_794-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_794-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_794-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_794-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_794-6_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_794-6_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_794-6_0_2_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_794-6_0_2_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_794-6_0_2_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_794-6_0_2_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_794-6_0_2_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_794-6_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_794-6_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_794-6_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_794-6_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_794-6_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_794-6_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_794-6_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_794-6_0_2_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_794-6_0_2_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_794-6_0_2_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_794-6_0_2_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_794-6_0_2_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_794-6_0_2_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_794-6_0_2_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_794-6_0_2_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_794-6_0_2_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_794-6_0_2_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_794-6_0_2_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_794-6_0_2_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_794-6_0_2_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_794-6_0_2_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_794-6_0_2_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_794-6_0_2_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_794-6_0_2_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_794-6_0_2_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_794-6_0_2_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_794-6_0_2_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_794-6_0_2_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_794-6_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_794-6_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_794-6_0_2_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_794-6_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_794-6_0_2_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_794-6_0_2_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_794-6_0_2_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_794-6_0_2_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_794-6_0_2_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_794-6_0_2_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_794-6_0_2_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_794-6_0_2_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_794-6_0_2_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_794-6_0_2_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_794-6_0_2_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_794-6_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_794-6_0_2_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_794-6_0_2_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_794-6_0_2_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_794-6_0_2_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_794-6_0_2_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_794-6_0_2_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_794-6_0_2_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_794-6_0_2_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_794-6_0_2_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_794-6_0_2_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_794-6_0_2_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_794-6_0_2_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_794-6_0_2_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_794-6_0_2_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_794-6_0_2_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_794-6_0_2_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_794-6_0_2_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_794-6_0_2_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_794-6_0_2_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_794-6_0_2_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_794-6_0_2_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_794-6_0_2_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_794-6_0_2_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_794-6_0_2_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_794-6_0_2_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_794-6_0_2_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_794-6_0_2_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_794-6_0_2_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_794-6_0_2_node_60 | 0.4 | n |  | TRUE
84 | bus_MV_147_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_794-6_0_2_load_0 | 0 | 0.0011668 | 0.00029242 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_794-6_0_2_load_3 | 3 | 0.0023218 | 0.00058189 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_794-6_0_2_load_4 | 4 | 0.0030691 | 0.00076918 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_794-6_0_2_load_5 | 5 | 0.003419 | 0.00085688 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_794-6_0_2_load_72 | 6 | 0.0030602 | 0.00076696 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_794-6_0_2_load_31 | 7 | 0.0019023 | 0.00047676 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_794-6_0_2_load_54 | 8 | 0.00082524 | 0.00020682 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_794-6_0_2_load_32 | 9 | 0.000893 | 0.00022381 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_794-6_0_2_load_52 | 10 | 0.00066696 | 0.00016716 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_794-6_0_2_load_6 | 11 | 0.0017824 | 0.0004467 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_794-6_0_2_load_7 | 12 | 0.0015303 | 0.00038353 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_794-6_0_2_load_9 | 14 | 0.00076245 | 0.00019109 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_794-6_0_2_load_10 | 15 | 0.0020826 | 0.00052194 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_794-6_0_2_load_12 | 17 | 0.00045212 | 0.00011331 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_794-6_0_2_load_37 | 18 | 0.00052565 | 0.00013174 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_794-6_0_2_load_69 | 19 | 0.00016736 | 4.1945e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_794-6_0_2_load_84 | 20 | 0.00097746 | 0.00024498 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_794-6_0_2_load_35 | 22 | 0.00030451 | 7.6317e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_794-6_0_2_load_83 | 23 | 0.0022029 | 0.0005521 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_794-6_0_2_load_64 | 25 | 0.00057218 | 0.0001434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_794-6_0_2_load_65 | 26 | 0.00033413 | 8.374e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_794-6_0_2_load_63 | 27 | 0.0003024 | 7.5789e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_794-6_0_2_load_66 | 28 | 0.00017738 | 4.4455e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_794-6_0_2_load_13 | 31 | 0.0032875 | 0.00082393 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_794-6_0_2_load_14 | 32 | 0.0011807 | 0.00029591 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_794-6_0_2_load_15 | 33 | 0.0035093 | 0.00087952 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_794-6_0_2_load_16 | 34 | 0.0018085 | 0.00045326 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_794-6_0_2_load_41 | 36 | 0.002897 | 0.00072606 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_794-6_0_2_load_21 | 37 | 0.0034433 | 0.00086296 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_794-6_0_2_load_18 | 38 | 0.003178 | 0.00079648 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_794-6_0_2_load_19 | 39 | 0.00093911 | 0.00023536 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_794-6_0_2_load_20 | 40 | 0.0025796 | 0.00064651 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_794-6_0_2_load_22 | 41 | 0.0042161 | 0.0010567 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_794-6_0_2_load_28 | 42 | 0.0030621 | 0.00076744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_794-6_0_2_load_29 | 43 | 0.0037446 | 0.00093847 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_794-6_0_2_load_26 | 44 | 0.00081987 | 0.00020548 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_794-6_0_2_load_73 | 45 | 0.0015733 | 0.00039431 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_794-6_0_2_load_74 | 46 | 0.0014355 | 0.00035977 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_794-6_0_2_load_23 | 48 | 0.0039261 | 0.00098397 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_794-6_0_2_load_24 | 49 | 0.0027667 | 0.00069341 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_794-6_0_2_load_25 | 50 | 0.0040867 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_794-6_0_2_load_27 | 51 | 0.0018934 | 0.00047453 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_794-6_0_2_load_76 | 52 | 0.00045469 | 0.00011395 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_794-6_0_2_load_77 | 53 | 0.00054925 | 0.00013766 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_794-6_0_2_load_79 | 55 | 0.00042789 | 0.00010724 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_794-6_0_2_load_30 | 56 | 0.0038074 | 0.00095424 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_794-6_0_2_load_33 | 57 | 0.0011311 | 0.00028348 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_794-6_0_2_load_34 | 58 | 0.0002368 | 5.9348e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_794-6_0_2_load_36 | 59 | 0.00014983 | 3.7551e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_794-6_0_2_load_38 | 60 | 0.0013474 | 0.00033769 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_794-6_0_2_load_55 | 63 | 0.00015573 | 3.9029e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_794-6_0_2_load_56 | 64 | 0.00037442 | 9.3838e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_794-6_0_2_load_71 | 65 | 0.00010262 | 2.5719e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_794-6_0_2_load_70 | 66 | 0.00036901 | 9.2484e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_794-6_0_2_load_42 | 67 | 0.00059143 | 0.00014823 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_794-6_0_2_load_43 | 68 | 0.00064179 | 0.00016085 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_794-6_0_2_load_46 | 71 | 0.0013175 | 0.00033019 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_794-6_0_2_load_80 | 73 | 0.00061252 | 0.00015351 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_794-6_0_2_load_78 | 74 | 0.00028091 | 7.0404e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_794-6_0_2_load_82 | 75 | 0.00023195 | 5.8132e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_794-6_0_2_load_85 | 76 | 0.0011687 | 0.0002929 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_794-6_0_2_load_49 | 77 | 0.0010054 | 0.00025197 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_794-6_0_2_load_50 | 78 | 0.0010912 | 0.00027347 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_794-6_0_2_load_51 | 79 | 0.0047649 | 0.0011942 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_794-6_0_2_load_59 | 80 | 0.0014264 | 0.00035749 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_794-6_0_2_load_61 | 81 | 0.0016198 | 0.00040597 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_794-6_0_2_load_57 | 82 | 0.00039464 | 9.8907e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_794-6_0_2_load_60 | 83 | 0.0010856 | 0.00027209 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_794-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_794-6_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.12593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_794-6_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_794-6_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.0064732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_794-6_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.04572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_794-6_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.14615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_794-6_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.016723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_794-6_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.035279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_794-6_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.032744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_794-6_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0011943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_794-6_0_2_line_10 | NAYY 4x150 SE | 9 | 35 | 0.02865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_794-6_0_2_line_11 | NAYY 4x150 SE | 10 | 78 | 0.017945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_794-6_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.013565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_794-6_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.027227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_794-6_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.011386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_794-6_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0089736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_794-6_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.055457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_794-6_0_2_line_17 | NAYY 4x150 SE | 13 | 17 | 0.13421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_794-6_0_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.046146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_794-6_0_2_line_19 | NAYY 4x150 SE | 15 | 19 | 0.090148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_794-6_0_2_line_20 | NAYY 4x150 SE | 16 | 20 | 0.031085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_794-6_0_2_line_21 | NAYY 4x150 SE | 16 | 21 | 0.14298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_794-6_0_2_line_22 | NAYY 4x150 SE | 18 | 22 | 3.6171e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_794-6_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.046669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_794-6_0_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.057377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_794-6_0_2_line_25 | NAYY 4x150 SE | 22 | 57 | 0.011187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_794-6_0_2_line_26 | NAYY 4x150 SE | 24 | 80 | 0.024151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_794-6_0_2_line_27 | NAYY 4x150 SE | 24 | 79 | 0.13711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_794-6_0_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.037495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_794-6_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0029505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_794-6_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.022367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_794-6_0_2_line_31 | NAYY 4x150 SE | 27 | 81 | 0.056993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_794-6_0_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.1446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_794-6_0_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.10298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_794-6_0_2_line_34 | NAYY 4x150 SE | 30 | 66 | 0.015143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_794-6_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.0063917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_794-6_0_2_line_36 | NAYY 4x150 SE | 31 | 33 | 0.02913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_794-6_0_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0024018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_794-6_0_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.013209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_794-6_0_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0096281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_794-6_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.12061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_794-6_0_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.012844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_794-6_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.071975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_794-6_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.025191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_794-6_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0015655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_794-6_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0039094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_794-6_0_2_line_46 | NAYY 4x150 SE | 42 | 43 | 0.021895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_794-6_0_2_line_47 | NAYY 4x150 SE | 42 | 44 | 0.16572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_794-6_0_2_line_48 | NAYY 4x150 SE | 43 | 56 | 0.020939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_794-6_0_2_line_49 | NAYY 4x150 SE | 44 | 47 | 0.026653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_794-6_0_2_line_50 | NAYY 4x150 SE | 44 | 49 | 0.0061869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_794-6_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.041435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_794-6_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.07106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_794-6_0_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.0080443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_794-6_0_2_line_54 | NAYY 4x150 SE | 48 | 50 | 0.0050993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_794-6_0_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.0071121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_794-6_0_2_line_56 | NAYY 4x150 SE | 50 | 52 | 0.15263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_794-6_0_2_line_57 | NAYY 4x150 SE | 51 | 54 | 0.060323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_794-6_0_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.01415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_794-6_0_2_line_59 | NAYY 4x150 SE | 53 | 74 | 0.061732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_794-6_0_2_line_60 | NAYY 4x150 SE | 54 | 55 | 0.058539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_794-6_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.021377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_794-6_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.014176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_794-6_0_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.017174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_794-6_0_2_line_64 | NAYY 4x150 SE | 60 | 61 | 0.084592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_794-6_0_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.051949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_794-6_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.040275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_794-6_0_2_line_67 | NAYY 4x150 SE | 63 | 64 | 0.0020207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_794-6_0_2_line_68 | NAYY 4x150 SE | 64 | 82 | 0.020636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_794-6_0_2_line_69 | NAYY 4x150 SE | 65 | 66 | 0.042422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_794-6_0_2_line_70 | NAYY 4x150 SE | 67 | 68 | 0.011445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_794-6_0_2_line_71 | NAYY 4x150 SE | 67 | 69 | 0.015704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_794-6_0_2_line_72 | NAYY 4x150 SE | 68 | 70 | 0.0077051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_794-6_0_2_line_73 | NAYY 4x150 SE | 69 | 71 | 0.054216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_794-6_0_2_line_74 | NAYY 4x150 SE | 69 | 72 | 0.036951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_794-6_0_2_line_75 | NAYY 4x150 SE | 70 | 73 | 0.058936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_794-6_0_2_line_76 | NAYY 4x150 SE | 70 | 74 | 0.015418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_794-6_0_2_line_77 | NAYY 4x150 SE | 71 | 75 | 0.14513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_794-6_0_2_line_78 | NAYY 4x150 SE | 72 | 76 | 0.014941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_794-6_0_2_line_79 | NAYY 4x150 SE | 77 | 78 | 0.022642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_794-6_0_2_line_80 | NAYY 4x150 SE | 77 | 79 | 0.04598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_794-6_0_2_line_81 | NAYY 4x150 SE | 80 | 81 | 0.13577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_794-6_0_2_line_82 | NAYY 4x150 SE | 81 | 83 | 0.086474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_794-6_0_2_trafo_41 | 0.25 MVA 20/0.4 kV | 84 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2595844.213 | 1155623.2075 | 2595839.0998 | 1155633.9589
1 | 2595801.2498 | 1155752.3791 | 2595802.0012 | 1155741.3731 | 2595802.0011 | 1155730.3788 | 2595803.2537 | 1155723.1299 | 2595808.7514 | 1155700.1259 | 2595813.5042 | 1155686.3713 | 2595819.7521 | 1155672.1265 | 2595836.9993 | 1155638.3756 | 2595839.0998 | 1155633.9589
2 | 2595844.213 | 1155623.2075 | 2595855.4044 | 1155626.1455 | 2595858.3582 | 1155626.778
3 | 2595844.213 | 1155623.2075 | 2595846.7477 | 1155617.8809 | 2595846.9744 | 1155617.3533
4 | 2595826.7993 | 1155714.4535 | 2595815.101 | 1155731.9481 | 2595804.8039 | 1155746.2513 | 2595801.2498 | 1155752.3791
5 | 2595801.2498 | 1155752.3791 | 2595658.9575 | 1155719.041
6 | 2595858.3582 | 1155626.778 | 2595868.4977 | 1155628.9489 | 2595874.8012 | 1155628.1552 | 2595874.8012 | 1155628.1552
7 | 2595860.8989 | 1155584.939 | 2595846.9744 | 1155617.3533
8 | 2595874.8012 | 1155628.1552 | 2595878.2973 | 1155626.652 | 2595893.0986 | 1155615.2472 | 2595900.3493 | 1155607.9986
9 | 2595861.3703 | 1155583.8417 | 2595860.8989 | 1155584.939
10 | 2595921.0035 | 1155588.1479 | 2595907.798 | 1155600.552 | 2595900.3493 | 1155607.9986
11 | 2595861.3703 | 1155583.8417 | 2595862.7503 | 1155580.6292 | 2595868.6177 | 1155567.4259
12 | 2595910.9918 | 1155141.755 | 2595914.7011 | 1155146.9468 | 2595918.4311 | 1155153.0873
13 | 2595895.4001 | 1155119.4467 | 2595897.1969 | 1155122.4469 | 2595910.9918 | 1155141.755
14 | 2595923.5077 | 1155163.2696 | 2595919.5002 | 1155154.8474 | 2595918.4311 | 1155153.0873
15 | 2595895.4001 | 1155119.4467 | 2595892.3969 | 1155110.9906
16 | 2595876.5686 | 1155171.4297 | 2595885.0002 | 1155153.126 | 2595888.4994 | 1155144.6305 | 2595891.8972 | 1155133.6561 | 2595895.4001 | 1155119.4467
17 | 2595772.7525 | 1155174.3711 | 2595779.4991 | 1155170.3755 | 2595862.5973 | 1155132.0535 | 2595878.5994 | 1155125.05 | 2595895.4001 | 1155119.4467
18 | 2595892.3969 | 1155110.9906 | 2595889.8977 | 1155103.954 | 2595882.0994 | 1155084.75 | 2595879.901 | 1155077.8481 | 2595877.4107 | 1155067.4337
19 | 2595892.3969 | 1155110.9906 | 2595972.402 | 1155069.4469
20 | 2595876.5686 | 1155171.4297 | 2595880.5968 | 1155173.7503 | 2595882.6995 | 1155175.4496 | 2595890.2986 | 1155184.0486 | 2595893.6997 | 1155188.9486 | 2595896.3013 | 1155191.2479 | 2595898.9022 | 1155192.4467
21 | 2595857.0172 | 1155312.068 | 2595856.251 | 1155291.3806 | 2595857.0011 | 1155278.1291 | 2595859.0028 | 1155256.128 | 2595864.7469 | 1155211.6244 | 2595867.7515 | 1155197.8711 | 2595873 | 1155179.3806 | 2595876.5686 | 1155171.4297
22 | 2595877.4022 | 1155067.3986 | 2595877.4107 | 1155067.4337
23 | 2595903.8013 | 1155311.4462 | 2595866.3974 | 1155312.4505 | 2595857.0172 | 1155312.068
24 | 2595864.1282 | 1155368.7686 | 2595860.2511 | 1155352.1298 | 2595857.5008 | 1155334.6232 | 2595857.0172 | 1155312.068
25 | 2595874.8004 | 1155056.5182 | 2595877.4022 | 1155067.3986
26 | 2595864.1282 | 1155368.7686 | 2595858.2023 | 1155372.4523 | 2595851.4015 | 1155375.4475 | 2595841.9007 | 1155377.8553
27 | 2595864.1282 | 1155368.7686 | 2595870.9973 | 1155397.6224 | 2595886.0021 | 1155446.3803 | 2595888.7494 | 1155459.8739 | 2595890.5012 | 1155475.3803 | 2595890.4968 | 1155491.1214 | 2595889.3575 | 1155502.3794
28 | 2595687.0989 | 1155314.4461 | 2595684.1977 | 1155311.5468 | 2595680.7983 | 1155309.1481 | 2595679.9991 | 1155306.9476 | 2595679.7972 | 1155303.5461 | 2595674.4998 | 1155296.2464 | 2595667.8039 | 1155285.346 | 2595666.967 | 1155283.8979
29 | 2595687.0989 | 1155314.4461 | 2595687.0989 | 1155314.4461 | 2595688.4033 | 1155317.0926
30 | 2595666.967 | 1155283.8979 | 2595655.7749 | 1155264.5328
31 | 2595688.4033 | 1155317.0926 | 2595690.4017 | 1155321.147 | 2595693.7989 | 1155331.0494 | 2595699.3999 | 1155344.652 | 2595705.9968 | 1155367.2472 | 2595706.3003 | 1155370.9899
32 | 2595589.756 | 1155149.3368 | 2595593.5009 | 1155152.0465 | 2595595.6025 | 1155152.1561 | 2595604.2987 | 1155150.2487 | 2595607.1978 | 1155150.1465 | 2595609.2998 | 1155150.7563 | 2595611.4023 | 1155152.1555 | 2595612.7 | 1155154.1555 | 2595614.3989 | 1155159.3457 | 2595616.6002 | 1155169.8492 | 2595621.3987 | 1155186.854 | 2595623.4048 | 1155192.622 | 2595628.201 | 1155206.5475 | 2595632.9039 | 1155218.75 | 2595639.0036 | 1155232.2522 | 2595646.9071 | 1155247.6984 | 2595652.8982 | 1155259.5553 | 2595655.7749 | 1155264.5328
33 | 2595657.7994 | 1155071.9485 | 2595644.8012 | 1155085.3536 | 2595627.2512 | 1155104.3758 | 2595603.7489 | 1155132.8739 | 2595589.756 | 1155149.3368
34 | 2595657.7994 | 1155071.9485 | 2595654.9491 | 1155065.4252 | 2595653.3519 | 1155062.8251 | 2595652.4984 | 1155059.9799 | 2595652.3158 | 1155057.9863
35 | 2595903.45 | 1155633.1044 | 2595905.7139 | 1155627.127
36 | 2595917.5868 | 1155600.6395 | 2595912.5971 | 1155608.9528 | 2595905.7139 | 1155627.127
37 | 2595902.5994 | 1155635.3505 | 2595903.45 | 1155633.1044
38 | 2595921.0035 | 1155588.1479 | 2595920.6011 | 1155594.0511 | 2595919.4991 | 1155597.4535 | 2595917.5868 | 1155600.6395
39 | 2595921.0035 | 1155588.1479 | 2595923.4023 | 1155585.7562 | 2595925.7004 | 1155581.8527 | 2595926.2218 | 1155580.2232
40 | 2595926.2218 | 1155580.2232 | 2595932.9017 | 1155559.3478 | 2595934.8014 | 1155556.056 | 2595936.9015 | 1155554.1536 | 2595939.9995 | 1155553.5512 | 2595942.8989 | 1155554.1495 | 2595944.7019 | 1155555.2488 | 2595946.2985 | 1155557.2487 | 2595947.1975 | 1155559.7493 | 2595947.5002 | 1155565.0517 | 2595947.4976 | 1155572.3553 | 2595946.4974 | 1155590.0535 | 2595947.0044 | 1155602.4482 | 2595946.1 | 1155614.4547 | 2595944.5012 | 1155620.3476 | 2595939.4033 | 1155634.647 | 2595938.4138 | 1155636.9868
41 | 2595938.4138 | 1155636.9868 | 2595933.411 | 1155648.8169
42 | 2595971.8238 | 1155627.8735 | 2595962 | 1155639.4561 | 2595953.5025 | 1155650.5562 | 2595945.6035 | 1155662.0562 | 2595942.7979 | 1155664.048 | 2595940.0989 | 1155664.8502 | 2595937.2997 | 1155664.8521 | 2595934.8989 | 1155664.2535 | 2595933.0036 | 1155662.8541 | 2595931.6985 | 1155660.9541 | 2595930.9992 | 1155658.8535 | 2595931.104 | 1155655.1516 | 2595932.2979 | 1155651.449 | 2595933.411 | 1155648.8169
43 | 2595986.8967 | 1155609.3466 | 2595985.1019 | 1155609.0476 | 2595983.4997 | 1155609.9492 | 2595981.0033 | 1155615.5536 | 2595977.1038 | 1155621.6481 | 2595971.8238 | 1155627.8735
44 | 2595986.8967 | 1155609.3466 | 2595986.8967 | 1155609.3466 | 2595988.1015 | 1155610.3462
45 | 2595988.1015 | 1155610.3462 | 2595988.1015 | 1155610.3462 | 2595988.9006 | 1155612.5468 | 2595988.7461 | 1155614.1074
46 | 2595977.9587 | 1155632.8833 | 2595986.5976 | 1155620.5523 | 2595988.6035 | 1155615.5484 | 2595988.7461 | 1155614.1074
47 | 2595988.7461 | 1155614.1074 | 2596152.1867 | 1155586.7311
48 | 2595966.9006 | 1155650.6471 | 2595974.2009 | 1155638.2472 | 2595977.9587 | 1155632.8833
49 | 2596148.2482 | 1155560.3707 | 2596152.1867 | 1155586.7311
50 | 2596153.101 | 1155592.8501 | 2596152.1867 | 1155586.7311
51 | 2596124.1077 | 1155455.3965 | 2596124.1976 | 1155455.7461 | 2596126.8018 | 1155462.2476 | 2596133.0987 | 1155474.4495 | 2596139.2024 | 1155484.3504 | 2596141.9978 | 1155490.0513 | 2596143.1934 | 1155492.0845
52 | 2596148.2482 | 1155560.3707 | 2596147.2499 | 1155546.6312 | 2596147.5012 | 1155532.2462 | 2596148.2042 | 1155528.2549 | 2596149.4975 | 1155523.952 | 2596151.504 | 1155519.5485 | 2596151.7984 | 1155512.3559 | 2596151.397 | 1155508.3542 | 2596150.1981 | 1155504.5531 | 2596147.7024 | 1155499.7524 | 2596143.1934 | 1155492.0845
53 | 2596156.1827 | 1155600.2057 | 2596154.6995 | 1155597.9516 | 2596153.101 | 1155592.8501 | 2596153.101 | 1155592.8501
54 | 2596159.6041 | 1155603.9513 | 2596157.0026 | 1155601.4518 | 2596156.1827 | 1155600.2057
55 | 2596159.6041 | 1155603.9513 | 2596159.6041 | 1155603.9513 | 2596162.2967 | 1155605.1502 | 2596166.3918 | 1155605.9081
56 | 2596103.7924 | 1155746.0147 | 2596159.6041 | 1155603.9513
57 | 2596222.3346 | 1155622.0197 | 2596216.1035 | 1155616.3543 | 2596210.8018 | 1155612.7559 | 2596206.5978 | 1155610.7465 | 2596199.0035 | 1155608.0501 | 2596192.4993 | 1155606.8537 | 2596185.2977 | 1155606.6471 | 2596178.9016 | 1155606.6512 | 2596169.2996 | 1155606.4463 | 2596166.3918 | 1155605.9081
58 | 2596103.7924 | 1155746.0147 | 2596103.4981 | 1155746.6248 | 2596101.0023 | 1155753.1296 | 2596099.0424 | 1155759.3331
59 | 2596099.0424 | 1155759.3331 | 2596096.5023 | 1155767.3729 | 2596086.7492 | 1155804.8756 | 2596082.7595 | 1155818.8683
60 | 2596222.3346 | 1155622.0197 | 2596224.9975 | 1155624.7527 | 2596241.399 | 1155644.1518 | 2596246.0048 | 1155650.9522 | 2596249.6984 | 1155658.3535 | 2596252.9014 | 1155666.1553 | 2596253.919 | 1155670.4372
61 | 2595874.8004 | 1155056.5182 | 2595869.8286 | 1155035.7269
62 | 2595869.8286 | 1155035.7269 | 2595866.5316 | 1155021.9394
63 | 2595862.5374 | 1155005.236 | 2595866.5316 | 1155021.9394
64 | 2595821.599 | 1154932.351 | 2595834.504 | 1154948.7499 | 2595842.6038 | 1154959.9497 | 2595857.0025 | 1154984.7518 | 2595860.7007 | 1154997.5555 | 2595862.5374 | 1155005.236
65 | 2595783.5423 | 1154967.7064 | 2595793.9975 | 1154958.35 | 2595794.925 | 1154957.4933 | 2595821.599 | 1154932.351
66 | 2595783.5423 | 1154967.7064 | 2595786.3983 | 1154971.6508 | 2595797.9971 | 1154995.6543 | 2595799.6031 | 1154999.7552 | 2595800.4033 | 1155003.3564 | 2595800.4704 | 1155004.0056
67 | 2595800.4704 | 1155004.0056 | 2595800.6782 | 1155006.0155
68 | 2595800.6782 | 1155006.0155 | 2595801.9016 | 1155017.8513 | 2595803.3815 | 1155026.4619
69 | 2595652.3158 | 1155057.9863 | 2595652.251 | 1155057.2787 | 2595652.2652 | 1155055.7224 | 2595652.3485 | 1155043.8276 | 2595651.2021 | 1155038.9261 | 2595649.3518 | 1155036.4707 | 2595646.5967 | 1155034.3717 | 2595644.2488 | 1155033.1283 | 2595641.5025 | 1155032.4745 | 2595637.2999 | 1155033.2224 | 2595634.7543 | 1155034.3804 | 2595631.4427 | 1155036.8698
70 | 2596074.4463 | 1155852.3818 | 2596074.9986 | 1155848.3714 | 2596076.5641 | 1155841.1419
71 | 2596073.3322 | 1155868.0377 | 2596073.9988 | 1155855.6312 | 2596074.4463 | 1155852.3818
72 | 2596078.5319 | 1155833.6952 | 2596077.0017 | 1155839.1211 | 2596076.5641 | 1155841.1419
73 | 2596126.3979 | 1155863.456 | 2596108.1038 | 1155869.4488 | 2596099.7994 | 1155870.955 | 2596094.9988 | 1155871.0471 | 2596073.3322 | 1155868.0377
74 | 2596072.0377 | 1155904.9456 | 2596072.7512 | 1155893.873 | 2596072.9988 | 1155874.1298 | 2596073.3322 | 1155868.0377
75 | 2596078.5319 | 1155833.6952 | 2596077.7478 | 1155830.9722 | 2596076.8495 | 1155829.372 | 2596074.501 | 1155826.7278 | 2596072.9973 | 1155825.7283 | 2596062.0972 | 1155821.9559 | 2596055.3002 | 1155818.4476 | 2596034.3018 | 1155805.8555 | 2596031.901 | 1155805.2457 | 2596029.002 | 1155805.1476
76 | 2596078.5319 | 1155833.6952 | 2596082.7595 | 1155818.8683
77 | 2596126.3979 | 1155863.456 | 2596266.303 | 1155902.0515
78 | 2596072.0377 | 1155904.9456 | 2596067.7521 | 1155906.8716 | 2596057.9995 | 1155910.1242
79 | 2595877.8125 | 1155546.7347 | 2595868.6177 | 1155567.4259
80 | 2595877.8125 | 1155546.7347 | 2595879.7494 | 1155542.3763 | 2595882.4969 | 1155534.1259 | 2595886.0001 | 1155520.6279 | 2595889.0038 | 1155505.8741 | 2595889.3575 | 1155502.3794
81 | 2595841.9007 | 1155377.8553 | 2595706.3003 | 1155370.9899
82 | 2595682.6633 | 1155453.2064 | 2595687.2999 | 1155442.8535 | 2595689.9041 | 1155438.1493 | 2595701.6994 | 1155406.0472 | 2595704.0026 | 1155398.753 | 2595705.1013 | 1155390.8483 | 2595706.4998 | 1155373.4499 | 2595706.3003 | 1155370.9899

## bus_geodata
| x | y | coords
0 | 2595839.0998 | 1155633.9589
1 | 2595844.213 | 1155623.2075
2 | 2595801.2498 | 1155752.3791
3 | 2595858.3582 | 1155626.778
4 | 2595846.9744 | 1155617.3533
5 | 2595826.7993 | 1155714.4535
6 | 2595658.9575 | 1155719.041
7 | 2595874.8012 | 1155628.1552
8 | 2595860.8989 | 1155584.939
9 | 2595900.3493 | 1155607.9986
10 | 2595861.3703 | 1155583.8417
11 | 2595910.9918 | 1155141.755
12 | 2595918.4311 | 1155153.0873
13 | 2595895.4001 | 1155119.4467
14 | 2595923.5077 | 1155163.2696
15 | 2595892.3969 | 1155110.9906
16 | 2595876.5686 | 1155171.4297
17 | 2595772.7525 | 1155174.3711
18 | 2595877.4107 | 1155067.4337
19 | 2595972.402 | 1155069.4469
20 | 2595898.9022 | 1155192.4467
21 | 2595857.0172 | 1155312.068
22 | 2595877.4022 | 1155067.3986
23 | 2595903.8013 | 1155311.4462
24 | 2595864.1282 | 1155368.7686
25 | 2595687.0989 | 1155314.4461
26 | 2595666.967 | 1155283.8979
27 | 2595688.4033 | 1155317.0926
28 | 2595655.7749 | 1155264.5328
29 | 2595589.756 | 1155149.3368
30 | 2595657.7994 | 1155071.9485
31 | 2595905.7139 | 1155627.127
32 | 2595903.45 | 1155633.1044
33 | 2595917.5868 | 1155600.6395
34 | 2595902.5994 | 1155635.3505
35 | 2595921.0035 | 1155588.1479
36 | 2595926.2218 | 1155580.2232
37 | 2595938.4138 | 1155636.9868
38 | 2595971.8238 | 1155627.8735
39 | 2595933.411 | 1155648.8169
40 | 2595986.8967 | 1155609.3466
41 | 2595988.1015 | 1155610.3462
42 | 2595988.7461 | 1155614.1074
43 | 2595977.9587 | 1155632.8833
44 | 2596152.1867 | 1155586.7311
45 | 2596124.1077 | 1155455.3965
46 | 2596143.1934 | 1155492.0845
47 | 2596148.2482 | 1155560.3707
48 | 2596156.1827 | 1155600.2057
49 | 2596153.101 | 1155592.8501
50 | 2596159.6041 | 1155603.9513
51 | 2596166.3918 | 1155605.9081
52 | 2596103.7924 | 1155746.0147
53 | 2596099.0424 | 1155759.3331
54 | 2596222.3346 | 1155622.0197
55 | 2596253.919 | 1155670.4372
56 | 2595966.9006 | 1155650.6471
57 | 2595874.8004 | 1155056.5182
58 | 2595869.8286 | 1155035.7269
59 | 2595866.5317 | 1155021.9394
60 | 2595862.5374 | 1155005.236
61 | 2595821.599 | 1154932.351
62 | 2595783.5423 | 1154967.7064
63 | 2595800.4704 | 1155004.0056
64 | 2595800.6782 | 1155006.0155
65 | 2595631.4427 | 1155036.8698
66 | 2595652.3158 | 1155057.9863
67 | 2596074.4463 | 1155852.3818
68 | 2596076.5641 | 1155841.1419
69 | 2596073.3322 | 1155868.0377
70 | 2596078.5319 | 1155833.6952
71 | 2596126.3979 | 1155863.456
72 | 2596072.0377 | 1155904.9456
73 | 2596029.002 | 1155805.1476
74 | 2596082.7595 | 1155818.8683
75 | 2596266.303 | 1155902.0515
76 | 2596057.9995 | 1155910.1242
77 | 2595877.8125 | 1155546.7347
78 | 2595868.6177 | 1155567.4259
79 | 2595889.3575 | 1155502.3794
80 | 2595841.9007 | 1155377.8553
81 | 2595706.3003 | 1155370.9899
82 | 2595803.3815 | 1155026.4619
83 | 2595682.6633 | 1155453.2064
84 | 2595921.0035 | 1155588.1479

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1