## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_841-3_1_2_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_841-3_1_2_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_841-3_1_2_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_841-3_1_2_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_841-3_1_2_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_841-3_1_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_841-3_1_2_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_841-3_1_2_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_841-3_1_2_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_841-3_1_2_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_841-3_1_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_841-3_1_2_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_841-3_1_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_841-3_1_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_841-3_1_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_841-3_1_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_841-3_1_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_841-3_1_2_node_133 | 0.4 | n |  | TRUE
18 | bus_LV_841-3_1_2_node_123 | 0.4 | n |  | TRUE
19 | bus_LV_841-3_1_2_node_134 | 0.4 | n |  | TRUE
20 | bus_LV_841-3_1_2_node_131 | 0.4 | n |  | TRUE
21 | bus_LV_841-3_1_2_node_108 | 0.4 | n |  | TRUE
22 | bus_LV_841-3_1_2_node_125 | 0.4 | n |  | TRUE
23 | bus_LV_841-3_1_2_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_841-3_1_2_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_841-3_1_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_841-3_1_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_841-3_1_2_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_841-3_1_2_node_135 | 0.4 | n |  | TRUE
29 | bus_LV_841-3_1_2_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_841-3_1_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_841-3_1_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_841-3_1_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_841-3_1_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_841-3_1_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_841-3_1_2_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_841-3_1_2_node_126 | 0.4 | n |  | TRUE
37 | bus_LV_841-3_1_2_node_128 | 0.4 | n |  | TRUE
38 | bus_LV_841-3_1_2_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_841-3_1_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_841-3_1_2_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_841-3_1_2_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_841-3_1_2_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_841-3_1_2_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_841-3_1_2_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_841-3_1_2_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_841-3_1_2_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_841-3_1_2_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_841-3_1_2_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_841-3_1_2_node_121 | 0.4 | n |  | TRUE
50 | bus_LV_841-3_1_2_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_841-3_1_2_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_841-3_1_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_841-3_1_2_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_841-3_1_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_841-3_1_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_841-3_1_2_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_841-3_1_2_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_841-3_1_2_node_129 | 0.4 | n |  | TRUE
59 | bus_LV_841-3_1_2_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_841-3_1_2_node_124 | 0.4 | n |  | TRUE
61 | bus_LV_841-3_1_2_node_122 | 0.4 | n |  | TRUE
62 | bus_LV_841-3_1_2_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_841-3_1_2_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_841-3_1_2_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_841-3_1_2_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_841-3_1_2_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_841-3_1_2_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_841-3_1_2_node_118 | 0.4 | n |  | TRUE
69 | bus_LV_841-3_1_2_node_117 | 0.4 | n |  | TRUE
70 | bus_LV_841-3_1_2_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_841-3_1_2_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_841-3_1_2_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_841-3_1_2_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_841-3_1_2_node_92 | 0.4 | n |  | TRUE
75 | bus_LV_841-3_1_2_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_841-3_1_2_node_132 | 0.4 | n |  | TRUE
77 | bus_LV_841-3_1_2_node_130 | 0.4 | n |  | TRUE
78 | bus_MV_193_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_841-3_1_2_load_8 | 0 | 0.00059054 | 0.000148 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_841-3_1_2_load_9 | 1 | 0.0033096 | 0.00082947 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_841-3_1_2_load_10 | 2 | 0.0014053 | 0.00035219 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_841-3_1_2_load_11 | 3 | 0.0011059 | 0.00027716 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_841-3_1_2_load_18 | 5 | 0.0033719 | 0.00084508 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_841-3_1_2_load_62 | 7 | 0.00064957 | 0.0001628 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_841-3_1_2_load_38 | 8 | 0.0013452 | 0.00033713 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_841-3_1_2_load_24 | 10 | 0.0033675 | 0.00084397 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_841-3_1_2_load_64 | 11 | 0.0047488 | 0.0011902 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_841-3_1_2_load_13 | 12 | 0.00061641 | 0.00015449 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_841-3_1_2_load_14 | 13 | 0.00062626 | 0.00015696 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_841-3_1_2_load_15 | 14 | 0.0006945 | 0.00017406 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_841-3_1_2_load_16 | 15 | 0.00067718 | 0.00016972 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_841-3_1_2_load_133 | 17 | 0.0006607 | 0.00016559 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_841-3_1_2_load_134 | 19 | 0.0010617 | 0.00026609 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_841-3_1_2_load_131 | 20 | 0.00058503 | 0.00014662 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_841-3_1_2_load_39 | 24 | 0.0010214 | 0.00025598 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_841-3_1_2_load_25 | 25 | 0.0033996 | 0.00085202 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_841-3_1_2_load_27 | 26 | 0.0033188 | 0.00083178 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_841-3_1_2_load_31 | 27 | 0.0027777 | 0.00069617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_841-3_1_2_load_135 | 28 | 0.0011935 | 0.00029913 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_841-3_1_2_load_37 | 29 | 0.0010829 | 0.00027141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_841-3_1_2_load_32 | 31 | 0.0012126 | 0.0003039 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_841-3_1_2_load_33 | 32 | 0.0016555 | 0.00041491 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_841-3_1_2_load_35 | 33 | 0.0014405 | 0.00036103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_841-3_1_2_load_36 | 34 | 0.0012591 | 0.00031557 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_841-3_1_2_load_103 | 35 | 0.0010621 | 0.00026619 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_841-3_1_2_load_40 | 39 | 0.0021139 | 0.0005298 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_841-3_1_2_load_54 | 40 | 0.001178 | 0.00029524 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_841-3_1_2_load_95 | 41 | 0.0012453 | 0.00031209 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_841-3_1_2_load_55 | 42 | 0.0017411 | 0.00043636 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_841-3_1_2_load_56 | 43 | 0.0017544 | 0.0004397 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_841-3_1_2_load_88 | 45 | 0.0014141 | 0.00035441 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_841-3_1_2_load_90 | 47 | 0.0016512 | 0.00041383 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_841-3_1_2_load_121 | 49 | 0.0029563 | 0.00074092 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_841-3_1_2_load_93 | 50 | 0.0017133 | 0.00042938 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_841-3_1_2_load_45 | 51 | 0.00050476 | 0.0001265 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_841-3_1_2_load_46 | 52 | 0.00070833 | 0.00017752 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_841-3_1_2_load_47 | 53 | 0.00045137 | 0.00011312 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_841-3_1_2_load_49 | 55 | 0.00075448 | 0.00018909 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_841-3_1_2_load_106 | 57 | 0.00062098 | 0.00015563 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_841-3_1_2_load_129 | 58 | 0.0024313 | 0.00060935 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_841-3_1_2_load_107 | 59 | 0.00085118 | 0.00021333 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_841-3_1_2_load_122 | 61 | 0.00062162 | 0.00015579 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_841-3_1_2_load_65 | 63 | 0.0014377 | 0.00036032 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_841-3_1_2_load_72 | 64 | 0.0006087 | 0.00015256 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_841-3_1_2_load_78 | 65 | 0.0008566 | 0.00021468 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_841-3_1_2_load_80 | 67 | 0.0009098 | 0.00022802 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_841-3_1_2_load_118 | 68 | 0.00092138 | 0.00023092 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_841-3_1_2_load_117 | 69 | 0.0024117 | 0.00060444 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_841-3_1_2_load_83 | 70 | 0.0031192 | 0.00078174 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_841-3_1_2_load_85 | 72 | 0.0043469 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_841-3_1_2_load_92 | 74 | 0.00080283 | 0.00020121 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_841-3_1_2_load_94 | 75 | 0.0022726 | 0.00056957 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_841-3_1_2_load_132 | 76 | 0.00059885 | 0.00015009 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_841-3_1_2_load_130 | 77 | 0.00070149 | 0.00017581 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_841-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.008593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_841-3_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_841-3_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_841-3_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.039876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_841-3_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_841-3_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.059267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_841-3_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.024745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_841-3_1_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.041839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_841-3_1_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.019042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_841-3_1_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.017121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_841-3_1_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.079396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_841-3_1_2_line_11 | NAYY 4x150 SE | 8 | 24 | 0.01504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_841-3_1_2_line_12 | NAYY 4x150 SE | 9 | 28 | 0.029628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_841-3_1_2_line_13 | NAYY 4x150 SE | 9 | 29 | 0.020934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_841-3_1_2_line_14 | NAYY 4x150 SE | 10 | 25 | 0.027978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_841-3_1_2_line_15 | NAYY 4x150 SE | 11 | 62 | 0.053257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_841-3_1_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.012813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_841-3_1_2_line_17 | NAYY 4x150 SE | 12 | 14 | 0.014953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_841-3_1_2_line_18 | NAYY 4x150 SE | 13 | 15 | 0.014664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_841-3_1_2_line_19 | NAYY 4x150 SE | 14 | 16 | 0.0079792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_841-3_1_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.013602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_841-3_1_2_line_21 | NAYY 4x150 SE | 16 | 18 | 0.019368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_841-3_1_2_line_22 | NAYY 4x150 SE | 16 | 19 | 0.0049472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_841-3_1_2_line_23 | NAYY 4x150 SE | 17 | 20 | 0.0010405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_841-3_1_2_line_24 | NAYY 4x150 SE | 18 | 21 | 0.003825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_841-3_1_2_line_25 | NAYY 4x150 SE | 19 | 22 | 0.023711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_841-3_1_2_line_26 | NAYY 4x150 SE | 20 | 77 | 0.019753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_841-3_1_2_line_27 | NAYY 4x150 SE | 21 | 59 | 0.0059094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_841-3_1_2_line_28 | NAYY 4x150 SE | 21 | 60 | 0.004812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_841-3_1_2_line_29 | NAYY 4x150 SE | 22 | 23 | 0.008976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_841-3_1_2_line_30 | NAYY 4x150 SE | 23 | 68 | 0.019492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_841-3_1_2_line_31 | NAYY 4x150 SE | 23 | 66 | 0.011392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_841-3_1_2_line_32 | NAYY 4x150 SE | 24 | 39 | 0.018051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_841-3_1_2_line_33 | NAYY 4x150 SE | 24 | 40 | 0.12778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_841-3_1_2_line_34 | NAYY 4x150 SE | 25 | 26 | 0.024552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_841-3_1_2_line_35 | NAYY 4x150 SE | 26 | 27 | 0.0048544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_841-3_1_2_line_36 | NAYY 4x150 SE | 29 | 30 | 0.055843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_841-3_1_2_line_37 | NAYY 4x150 SE | 30 | 34 | 0.046201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_841-3_1_2_line_38 | NAYY 4x150 SE | 30 | 31 | 0.012994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_841-3_1_2_line_39 | NAYY 4x150 SE | 31 | 32 | 0.023227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_841-3_1_2_line_40 | NAYY 4x150 SE | 32 | 33 | 0.00033506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_841-3_1_2_line_41 | NAYY 4x150 SE | 33 | 35 | 0.016152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_841-3_1_2_line_42 | NAYY 4x150 SE | 34 | 36 | 0.091193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_841-3_1_2_line_43 | NAYY 4x150 SE | 36 | 37 | 0.043992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_841-3_1_2_line_44 | NAYY 4x150 SE | 36 | 38 | 0.022657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_841-3_1_2_line_45 | NAYY 4x150 SE | 37 | 76 | 0.018683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_841-3_1_2_line_46 | NAYY 4x150 SE | 38 | 64 | 0.032644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_841-3_1_2_line_47 | NAYY 4x150 SE | 39 | 41 | 0.03181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_841-3_1_2_line_48 | NAYY 4x150 SE | 40 | 42 | 0.029829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_841-3_1_2_line_49 | NAYY 4x150 SE | 41 | 50 | 0.022328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_841-3_1_2_line_50 | NAYY 4x150 SE | 42 | 43 | 0.0065122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_841-3_1_2_line_51 | NAYY 4x150 SE | 43 | 44 | 0.023809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_841-3_1_2_line_52 | NAYY 4x150 SE | 44 | 48 | 0.066565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_841-3_1_2_line_53 | NAYY 4x150 SE | 45 | 46 | 0.018769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_841-3_1_2_line_54 | NAYY 4x150 SE | 45 | 47 | 0.0032065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_841-3_1_2_line_55 | NAYY 4x150 SE | 46 | 48 | 0.022379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_841-3_1_2_line_56 | NAYY 4x150 SE | 48 | 49 | 0.017897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_841-3_1_2_line_57 | NAYY 4x150 SE | 50 | 74 | 0.0048619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_841-3_1_2_line_58 | NAYY 4x150 SE | 51 | 52 | 0.0044202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_841-3_1_2_line_59 | NAYY 4x150 SE | 51 | 53 | 0.0045746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_841-3_1_2_line_60 | NAYY 4x150 SE | 52 | 54 | 0.015341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_841-3_1_2_line_61 | NAYY 4x150 SE | 53 | 55 | 0.012366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_841-3_1_2_line_62 | NAYY 4x150 SE | 54 | 56 | 0.034235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_841-3_1_2_line_63 | NAYY 4x150 SE | 54 | 57 | 0.013126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_841-3_1_2_line_64 | NAYY 4x150 SE | 56 | 58 | 0.0091157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_841-3_1_2_line_65 | NAYY 4x150 SE | 57 | 59 | 0.0039084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_841-3_1_2_line_66 | NAYY 4x150 SE | 60 | 61 | 0.0042772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_841-3_1_2_line_67 | NAYY 4x150 SE | 62 | 63 | 0.034605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_841-3_1_2_line_68 | NAYY 4x150 SE | 65 | 66 | 0.015214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_841-3_1_2_line_69 | NAYY 4x150 SE | 65 | 67 | 0.010446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_841-3_1_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.00377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_841-3_1_2_line_71 | NAYY 4x150 SE | 69 | 73 | 0.036241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_841-3_1_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.020485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_841-3_1_2_line_73 | NAYY 4x150 SE | 70 | 72 | 0.015094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_841-3_1_2_line_74 | NAYY 4x150 SE | 71 | 73 | 0.071418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_841-3_1_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.017002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_841-3_1_2_line_76 | NAYY 4x150 SE | 76 | 77 | 0.00088402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_841-3_1_2_trafo_8 | 0.25 MVA 20/0.4 kV | 78 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2586312.6517 | 1136703.4988 | 2586311.1443 | 1136700.639 | 2586309.1289 | 1136695.672
1 | 2586322.8448 | 1136722.8366 | 2586312.6517 | 1136703.4988
2 | 2586304.0403 | 1136683.1311 | 2586309.1289 | 1136695.672
3 | 2586355.1701 | 1136743.115 | 2586344.7658 | 1136741.8158 | 2586333.8798 | 1136735.1151 | 2586324.1253 | 1136725.2659 | 2586322.8448 | 1136722.8366
4 | 2586304.0403 | 1136683.1311 | 2586300.7072 | 1136674.9169 | 2586300.0575 | 1136669.2156
5 | 2586358.3141 | 1136687.8253 | 2586354.0553 | 1136689.3246 | 2586351.8071 | 1136695.3327 | 2586352.4221 | 1136701.8567 | 2586355.3802 | 1136717.1019 | 2586356.9274 | 1136734.3623 | 2586355.1701 | 1136743.115
6 | 2586355.1701 | 1136743.115 | 2586347.0321 | 1136766.4839
7 | 2586277.3331 | 1136645.4166 | 2586280.2886 | 1136644.482 | 2586288.5981 | 1136644.7631 | 2586295.3134 | 1136647.6381 | 2586299.3554 | 1136652.2978 | 2586299.4825 | 1136664.17 | 2586300.0575 | 1136669.2156
8 | 2586358.3141 | 1136687.8253 | 2586368.1076 | 1136684.3903 | 2586371.3878 | 1136692.409
9 | 2586358.3141 | 1136687.8253 | 2586354.0967 | 1136671.2317
10 | 2586347.0321 | 1136766.4839 | 2586297.9584 | 1136828.8984
11 | 2586277.3331 | 1136645.4166 | 2586271.9318 | 1136647.1246 | 2586264.4282 | 1136652.7445 | 2586264.4282 | 1136652.7445
12 | 2586371.3878 | 1136692.409 | 2586365.7068 | 1136697.7134 | 2586367.6719 | 1136719.4862
13 | 2586371.3878 | 1136692.409 | 2586379.3088 | 1136711.7867
14 | 2586354.0967 | 1136671.2317 | 2586353.3613 | 1136668.3382 | 2586343.5511 | 1136645.3516
15 | 2586297.9584 | 1136828.8984 | 2586306.2339 | 1136837.9617 | 2586320.9627 | 1136863.3294 | 2586330.2339 | 1136870.4673
16 | 2586430.5235 | 1136770.3307 | 2586432.1851 | 1136772.4993 | 2586433.3838 | 1136775.2646 | 2586436.0089 | 1136779.3829 | 2586437.1997 | 1136781.2124
17 | 2586420.4661 | 1136759.5372 | 2586424.5529 | 1136765.4909 | 2586429.6851 | 1136769.2367 | 2586430.5235 | 1136770.3307
18 | 2586437.1997 | 1136781.2124 | 2586440.9652 | 1136786.9976 | 2586446.8159 | 1136792.098
19 | 2586420.1598 | 1136751.7608 | 2586419.8368 | 1136758.6204 | 2586420.4661 | 1136759.5372
20 | 2586460.1385 | 1136794.3229 | 2586455.2757 | 1136794.2911 | 2586446.8159 | 1136792.098 | 2586446.8159 | 1136792.098
21 | 2586420.1598 | 1136751.7608 | 2586429.2003 | 1136752.1627 | 2586436.4785 | 1136752.3019 | 2586437.6081 | 1136755.123
22 | 2586420.1598 | 1136751.7608 | 2586418.0149 | 1136749.0643 | 2586417.5798 | 1136747.6271
23 | 2586460.1385 | 1136794.3229 | 2586461.179 | 1136794.3297
24 | 2586437.6081 | 1136755.123 | 2586441.3794 | 1136755.8259
25 | 2586424.9575 | 1136733.5077 | 2586415.3496 | 1136733.963 | 2586414.8601 | 1136738.6441 | 2586417.5798 | 1136747.6271
26 | 2586474.9057 | 1136800.9612 | 2586467.2692 | 1136800.9784 | 2586466.6542 | 1136794.3655 | 2586461.179 | 1136794.3297
27 | 2586441.3794 | 1136755.8259 | 2586446.7251 | 1136753.3073
28 | 2586441.3794 | 1136755.8259 | 2586442.1056 | 1136760.5821
29 | 2586424.9575 | 1136733.5077 | 2586424.7065 | 1136724.5372
30 | 2586424.7065 | 1136724.5372 | 2586442.2935 | 1136716.1328
31 | 2586419.4137 | 1136714.4442 | 2586424.7065 | 1136724.5372
32 | 2586264.4282 | 1136652.7445 | 2586260.9135 | 1136660.0005 | 2586260.9781 | 1136668.0154 | 2586261.3516 | 1136669.9528
33 | 2586264.4282 | 1136652.7445 | 2586189.3492 | 1136549.344
34 | 2586343.5511 | 1136645.3516 | 2586342.8345 | 1136643.6723 | 2586332.335 | 1136623.5169
35 | 2586330.0922 | 1136619.2116 | 2586332.335 | 1136623.5169
36 | 2586400.8065 | 1136763.3214 | 2586395.0222 | 1136750.2281 | 2586379.3088 | 1136711.7867
37 | 2586400.8065 | 1136763.3214 | 2586404.0853 | 1136770.7398 | 2586412.5735 | 1136782.0594 | 2586421.6659 | 1136791.7769 | 2586430.6835 | 1136797.4133
38 | 2586400.8065 | 1136763.3214 | 2586388.4603 | 1136767.3735
39 | 2586388.4603 | 1136767.3735 | 2586387.9029 | 1136790.5943
40 | 2586387.9029 | 1136790.5943 | 2586387.8949 | 1136790.9293
41 | 2586380.8536 | 1136802.1633 | 2586387.6801 | 1136799.8801 | 2586387.8949 | 1136790.9293
42 | 2586511.8353 | 1136838.2185 | 2586489.091 | 1136829.9545 | 2586465.4022 | 1136819.1137 | 2586430.6835 | 1136797.4133
43 | 2586494.0793 | 1136804.0306 | 2586493.992 | 1136809.6447 | 2586497.7306 | 1136816.3618 | 2586510.5587 | 1136821.3354 | 2586511.8353 | 1136838.2185
44 | 2586511.8353 | 1136838.2185 | 2586520.6799 | 1136840.5109 | 2586532.0263 | 1136843.4424 | 2586533.8275 | 1136843.9164
45 | 2586494.0793 | 1136804.0306 | 2586482.1709 | 1136800.9448 | 2586475.7897 | 1136800.9592
46 | 2586533.8275 | 1136843.9164 | 2586550.3356 | 1136846.6807 | 2586565.3832 | 1136851.8365
47 | 2586249.2377 | 1136694.1503 | 2586260.9838 | 1136687.3248 | 2586263.3601 | 1136683.5509 | 2586262.8934 | 1136677.9492 | 2586261.3516 | 1136669.9528
48 | 2586189.3492 | 1136549.344 | 2586187.9219 | 1136544.5672 | 2586179.7959 | 1136537.2045 | 2586167.5327 | 1136530.7073
49 | 2586249.2377 | 1136694.1503 | 2586229.9324 | 1136705.3684
50 | 2586167.5327 | 1136530.7073 | 2586167.5327 | 1136530.7073 | 2586161.0723 | 1136531.5266
51 | 2586139.6992 | 1136541.5324 | 2586148.3267 | 1136536.1432 | 2586158.4262 | 1136531.8622 | 2586161.0723 | 1136531.5266
52 | 2586130.7004 | 1136592.6115 | 2586140.8945 | 1136592.7102 | 2586145.7361 | 1136590.3868 | 2586149.2296 | 1136584.0089 | 2586149.297 | 1136576.5273 | 2586139.6992 | 1136541.5324
53 | 2586115.9439 | 1136575.8374 | 2586118.7222 | 1136569.5834 | 2586118.2077 | 1136563.3594 | 2586116.3905 | 1136557.9775
54 | 2586115.3647 | 1136554.9396 | 2586116.3905 | 1136557.9775
55 | 2586115.9439 | 1136575.8374 | 2586120.4593 | 1136582.1856 | 2586130.7004 | 1136592.6115
56 | 2586130.7004 | 1136592.6115 | 2586131.9798 | 1136600.2567 | 2586128.544 | 1136609.8023
57 | 2586225.7287 | 1136707.8112 | 2586229.9324 | 1136705.3684
58 | 2586465.2657 | 1136772.2356 | 2586467.8964 | 1136768.6835
59 | 2586465.2657 | 1136772.2356 | 2586463.7829 | 1136776.5633 | 2586463.7829 | 1136776.5633
60 | 2586460.5502 | 1136755.4269 | 2586463.2766 | 1136760.1453 | 2586467.2433 | 1136765.6279 | 2586467.8964 | 1136768.6835
61 | 2586454.4619 | 1136774.5813 | 2586456.672 | 1136778.9249 | 2586463.7829 | 1136776.5633
62 | 2586460.5502 | 1136755.4269 | 2586481.0817 | 1136754.5802 | 2586494.8244 | 1136755.672
63 | 2586460.5502 | 1136755.4269 | 2586457.4623 | 1136750.7538 | 2586454.6067 | 1136750.1155 | 2586450.3129 | 1136751.7635
64 | 2586494.8244 | 1136755.672 | 2586494.8717 | 1136752.7483 | 2586499.1931 | 1136748.3141
65 | 2586450.3129 | 1136751.7635 | 2586448.6342 | 1136752.4079 | 2586446.7251 | 1136753.3073
66 | 2586442.1056 | 1136760.5821 | 2586437.8532 | 1136761.041
67 | 2586329.0279 | 1136905.0425 | 2586330.2339 | 1136870.4673
68 | 2586419.4137 | 1136714.4442 | 2586406.1961 | 1136717.6535 | 2586406.5422 | 1136719.2284
69 | 2586408.7846 | 1136729.4312 | 2586406.5422 | 1136719.2284
70 | 2586445.6951 | 1136714.5073 | 2586442.2935 | 1136716.1328
71 | 2586478.3943 | 1136698.8813 | 2586445.6951 | 1136714.5073
72 | 2586437.5257 | 1136640.3782 | 2586425.3186 | 1136644.8413 | 2586419.6641 | 1136649.749
73 | 2586408.2649 | 1136659.6427 | 2586419.6641 | 1136649.749
74 | 2586437.5257 | 1136640.3782 | 2586462.9883 | 1136680.0957 | 2586478.3943 | 1136698.8813
75 | 2586211.0281 | 1136716.3536 | 2586225.7287 | 1136707.8112
76 | 2586474.9057 | 1136800.9612 | 2586475.7897 | 1136800.9592

## bus_geodata
| x | y | coords
0 | 2586312.6517 | 1136703.4988
1 | 2586309.1289 | 1136695.672
2 | 2586322.8449 | 1136722.8366
3 | 2586304.0403 | 1136683.1311
4 | 2586355.1701 | 1136743.115
5 | 2586300.0575 | 1136669.2156
6 | 2586358.314 | 1136687.8253
7 | 2586347.0321 | 1136766.4839
8 | 2586277.3331 | 1136645.4166
9 | 2586371.3878 | 1136692.409
10 | 2586354.0967 | 1136671.2317
11 | 2586297.9584 | 1136828.8984
12 | 2586430.5235 | 1136770.3307
13 | 2586437.1997 | 1136781.2124
14 | 2586420.4661 | 1136759.5372
15 | 2586446.8159 | 1136792.098
16 | 2586420.1598 | 1136751.7608
17 | 2586460.1386 | 1136794.3229
18 | 2586437.6081 | 1136755.123
19 | 2586417.5798 | 1136747.6271
20 | 2586461.179 | 1136794.3297
21 | 2586441.3794 | 1136755.8259
22 | 2586424.9575 | 1136733.5077
23 | 2586424.7065 | 1136724.5372
24 | 2586264.4282 | 1136652.7445
25 | 2586343.5511 | 1136645.3515
26 | 2586332.335 | 1136623.5169
27 | 2586330.0922 | 1136619.2116
28 | 2586367.6719 | 1136719.4862
29 | 2586379.3088 | 1136711.7867
30 | 2586400.8065 | 1136763.3213
31 | 2586388.4603 | 1136767.3735
32 | 2586387.9029 | 1136790.5943
33 | 2586387.8949 | 1136790.9293
34 | 2586430.6835 | 1136797.4133
35 | 2586380.8537 | 1136802.1633
36 | 2586511.8353 | 1136838.2185
37 | 2586494.0793 | 1136804.0306
38 | 2586533.8275 | 1136843.9164
39 | 2586261.3516 | 1136669.9528
40 | 2586189.3492 | 1136549.344
41 | 2586249.2377 | 1136694.1503
42 | 2586167.5327 | 1136530.7073
43 | 2586161.0723 | 1136531.5266
44 | 2586139.6992 | 1136541.5324
45 | 2586116.3905 | 1136557.9775
46 | 2586115.9439 | 1136575.8374
47 | 2586115.3647 | 1136554.9396
48 | 2586130.7004 | 1136592.6115
49 | 2586128.544 | 1136609.8023
50 | 2586229.9324 | 1136705.3684
51 | 2586465.2657 | 1136772.2356
52 | 2586467.8964 | 1136768.6835
53 | 2586463.7829 | 1136776.5633
54 | 2586460.5502 | 1136755.4269
55 | 2586454.4619 | 1136774.5813
56 | 2586494.8244 | 1136755.672
57 | 2586450.3129 | 1136751.7635
58 | 2586499.1931 | 1136748.3141
59 | 2586446.7251 | 1136753.3073
60 | 2586442.1056 | 1136760.5821
61 | 2586437.8532 | 1136761.041
62 | 2586330.2339 | 1136870.4673
63 | 2586329.0279 | 1136905.0425
64 | 2586565.3832 | 1136851.8365
65 | 2586406.5422 | 1136719.2284
66 | 2586419.4137 | 1136714.4442
67 | 2586408.7846 | 1136729.4312
68 | 2586442.2935 | 1136716.1328
69 | 2586445.6951 | 1136714.5073
70 | 2586419.6641 | 1136649.749
71 | 2586437.5257 | 1136640.3782
72 | 2586408.2649 | 1136659.6427
73 | 2586478.3943 | 1136698.8813
74 | 2586225.7287 | 1136707.8112
75 | 2586211.0281 | 1136716.3535
76 | 2586475.7897 | 1136800.9592
77 | 2586474.9057 | 1136800.9612
78 | 2586355.1701 | 1136743.115

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1