## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_841-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_841-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_841-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_841-4_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_841-4_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_841-4_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_841-4_0_4_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_841-4_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_841-4_0_4_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_841-4_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_841-4_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_841-4_0_4_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_841-4_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_841-4_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_841-4_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_841-4_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_841-4_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_841-4_0_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_841-4_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_841-4_0_4_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_841-4_0_4_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_841-4_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_841-4_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_841-4_0_4_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_841-4_0_4_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_841-4_0_4_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_841-4_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_841-4_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_841-4_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_841-4_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_841-4_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_841-4_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_841-4_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_841-4_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_841-4_0_4_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_841-4_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_841-4_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_841-4_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_841-4_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_841-4_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_841-4_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_841-4_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_841-4_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_841-4_0_4_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_841-4_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_841-4_0_4_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_841-4_0_4_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_841-4_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_841-4_0_4_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_841-4_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_841-4_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_841-4_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_841-4_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_841-4_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_841-4_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_841-4_0_4_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_841-4_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_841-4_0_4_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_841-4_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_841-4_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_841-4_0_4_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_841-4_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_841-4_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_841-4_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_841-4_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_841-4_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_841-4_0_4_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_841-4_0_4_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_841-4_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_841-4_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_841-4_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_841-4_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_841-4_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_841-4_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_841-4_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_841-4_0_4_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_841-4_0_4_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_841-4_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_841-4_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_841-4_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_841-4_0_4_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_841-4_0_4_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_841-4_0_4_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_841-4_0_4_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_841-4_0_4_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_841-4_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_841-4_0_4_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_841-4_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_841-4_0_4_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_841-4_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_841-4_0_4_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_841-4_0_4_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_841-4_0_4_node_75 | 0.4 | n |  | TRUE
93 | bus_LV_841-4_0_4_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_841-4_0_4_node_87 | 0.4 | n |  | TRUE
95 | bus_MV_210_0_node_250 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_841-4_0_4_load_0 | 0 | 0.00092351 | 0.00023145 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_841-4_0_4_load_1 | 1 | 0.0022655 | 0.00056778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_841-4_0_4_load_2 | 2 | 0.0015456 | 0.00038736 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_841-4_0_4_load_4 | 3 | 0.00055447 | 0.00013896 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_841-4_0_4_load_3 | 4 | 0.00059671 | 0.00014955 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_841-4_0_4_load_66 | 6 | 0.00062465 | 0.00015655 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_841-4_0_4_load_67 | 7 | 0.0011676 | 0.00029264 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_841-4_0_4_load_8 | 9 | 0.00093525 | 0.0002344 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_841-4_0_4_load_5 | 10 | 0.0005536 | 0.00013874 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_841-4_0_4_load_70 | 11 | 0.00075781 | 0.00018993 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_841-4_0_4_load_7 | 12 | 0.0015524 | 0.00038906 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_841-4_0_4_load_9 | 13 | 0.010679 | 0.0026763 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_841-4_0_4_load_10 | 14 | 0.0037035 | 0.00092819 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_841-4_0_4_load_11 | 15 | 0.00090896 | 0.00022781 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_841-4_0_4_load_12 | 16 | 0.0033007 | 0.00082723 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_841-4_0_4_load_82 | 20 | 0.002662 | 0.00066717 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_841-4_0_4_load_17 | 22 | 0.004184 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_841-4_0_4_load_80 | 23 | 0.0030914 | 0.00077478 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_841-4_0_4_load_78 | 24 | 0.0037966 | 0.00095153 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_841-4_0_4_load_81 | 25 | 0.00083958 | 0.00021042 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_841-4_0_4_load_14 | 26 | 0.0028364 | 0.00071088 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_841-4_0_4_load_15 | 27 | 0.002839 | 0.00071152 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_841-4_0_4_load_19 | 30 | 0.0037425 | 0.00093796 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_841-4_0_4_load_37 | 32 | 0.0043034 | 0.0010785 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_841-4_0_4_load_33 | 33 | 0.0021834 | 0.0005472 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_841-4_0_4_load_91 | 34 | 0.0035468 | 0.00088891 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_841-4_0_4_load_39 | 35 | 0.0017874 | 0.00044797 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_841-4_0_4_load_29 | 36 | 0.0023194 | 0.00058129 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_841-4_0_4_load_20 | 37 | 0.00036406 | 9.1241e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_841-4_0_4_load_21 | 38 | 0.00042001 | 0.00010526 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_841-4_0_4_load_23 | 40 | 0.00030074 | 7.5372e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_841-4_0_4_load_24 | 41 | 0.00081716 | 0.0002048 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_841-4_0_4_load_25 | 42 | 0.0012127 | 0.00030394 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_841-4_0_4_load_34 | 44 | 0.0011674 | 0.00029258 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_841-4_0_4_load_52 | 45 | 0.0019235 | 0.00048206 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_841-4_0_4_load_89 | 46 | 0.00025189 | 6.313e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_841-4_0_4_load_35 | 47 | 0.00044292 | 0.00011101 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_841-4_0_4_load_26 | 48 | 0.0043804 | 0.0010978 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_841-4_0_4_load_27 | 49 | 0.0028802 | 0.00072183 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_841-4_0_4_load_28 | 50 | 0.0066352 | 0.0016629 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_841-4_0_4_load_30 | 51 | 0.0033646 | 0.00084325 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_841-4_0_4_load_50 | 53 | 0.0037878 | 0.00094931 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_841-4_0_4_load_47 | 54 | 0.013307 | 0.003335 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_841-4_0_4_load_93 | 55 | 0.0030374 | 0.00076123 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_841-4_0_4_load_92 | 57 | 0.0032717 | 0.00081998 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_841-4_0_4_load_36 | 59 | 0.0018824 | 0.00047179 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_841-4_0_4_load_40 | 60 | 0.004137 | 0.0010368 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_841-4_0_4_load_44 | 62 | 0.0024357 | 0.00061045 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_841-4_0_4_load_51 | 65 | 0.0030994 | 0.00077677 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_841-4_0_4_load_94 | 66 | 0.0041271 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_841-4_0_4_load_95 | 67 | 0.0030415 | 0.00076227 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_841-4_0_4_load_49 | 68 | 0.0031707 | 0.00079464 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_841-4_0_4_load_57 | 70 | 0.0077743 | 0.0019484 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_841-4_0_4_load_53 | 71 | 0.0029608 | 0.00074205 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_841-4_0_4_load_54 | 72 | 0.0014995 | 0.00037582 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_841-4_0_4_load_58 | 74 | 0.0023217 | 0.00058187 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_841-4_0_4_load_86 | 76 | 0.0043972 | 0.001102 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_841-4_0_4_load_59 | 77 | 0.0026652 | 0.00066797 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_841-4_0_4_load_60 | 78 | 0.00061397 | 0.00015388 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_841-4_0_4_load_62 | 80 | 0.00065274 | 0.00016359 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_841-4_0_4_load_63 | 81 | 0.00076387 | 0.00019144 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_841-4_0_4_load_64 | 82 | 0.0010623 | 0.00026624 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_841-4_0_4_load_65 | 83 | 0.00082452 | 0.00020664 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_841-4_0_4_load_77 | 84 | 0.00080727 | 0.00020232 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_841-4_0_4_load_83 | 85 | 0.0004783 | 0.00011987 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_841-4_0_4_load_88 | 86 | 0.00048929 | 0.00012263 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_841-4_0_4_load_84 | 87 | 0.00088127 | 0.00022087 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_841-4_0_4_load_68 | 88 | 0.00056683 | 0.00014206 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_841-4_0_4_load_71 | 89 | 0.003571 | 0.00089498 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_841-4_0_4_load_72 | 90 | 0.0037897 | 0.0009498 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_841-4_0_4_load_73 | 91 | 0.0017042 | 0.00042712 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_841-4_0_4_load_75 | 92 | 0.0034767 | 0.00087135 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_841-4_0_4_load_74 | 93 | 0.0015919 | 0.00039898 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_841-4_0_4_load_87 | 94 | 0.007248 | 0.0018165 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_841-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_841-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0036991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_841-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.19049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_841-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.19371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_841-4_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.091915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_841-4_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.065347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_841-4_0_4_line_6 | NAYY 4x150 SE | 5 | 9 | 0.010162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_841-4_0_4_line_7 | NAYY 4x150 SE | 5 | 10 | 0.081181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_841-4_0_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.040477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_841-4_0_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.10777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_841-4_0_4_line_10 | NAYY 4x150 SE | 7 | 88 | 0.020318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_841-4_0_4_line_11 | NAYY 4x150 SE | 8 | 11 | 0.074758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_841-4_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.017997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_841-4_0_4_line_13 | NAYY 4x150 SE | 11 | 84 | 0.0010904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_841-4_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.013478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_841-4_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.02072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_841-4_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.012076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_841-4_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.023883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_841-4_0_4_line_18 | NAYY 4x150 SE | 17 | 21 | 0.034177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_841-4_0_4_line_19 | NAYY 4x150 SE | 17 | 22 | 0.014494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_841-4_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.017434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_841-4_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.045357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_841-4_0_4_line_22 | NAYY 4x150 SE | 19 | 23 | 0.036215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_841-4_0_4_line_23 | NAYY 4x150 SE | 19 | 24 | 0.01355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_841-4_0_4_line_24 | NAYY 4x150 SE | 20 | 25 | 0.0021608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_841-4_0_4_line_25 | NAYY 4x150 SE | 21 | 55 | 0.014872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_841-4_0_4_line_26 | NAYY 4x150 SE | 21 | 56 | 0.020605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_841-4_0_4_line_27 | NAYY 4x150 SE | 22 | 27 | 0.035874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_841-4_0_4_line_28 | NAYY 4x150 SE | 23 | 70 | 0.0023659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_841-4_0_4_line_29 | NAYY 4x150 SE | 24 | 93 | 0.0017313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_841-4_0_4_line_30 | NAYY 4x150 SE | 25 | 88 | 0.027296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_841-4_0_4_line_31 | NAYY 4x150 SE | 26 | 27 | 0.00060727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_841-4_0_4_line_32 | NAYY 4x150 SE | 26 | 28 | 0.017631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_841-4_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.030539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_841-4_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.016978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_841-4_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.042515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_841-4_0_4_line_36 | NAYY 4x150 SE | 29 | 32 | 0.034439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_841-4_0_4_line_37 | NAYY 4x150 SE | 30 | 33 | 0.02461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_841-4_0_4_line_38 | NAYY 4x150 SE | 31 | 34 | 0.036636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_841-4_0_4_line_39 | NAYY 4x150 SE | 31 | 35 | 0.0029024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_841-4_0_4_line_40 | NAYY 4x150 SE | 33 | 36 | 0.0036518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_841-4_0_4_line_41 | NAYY 4x150 SE | 35 | 59 | 0.0010313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_841-4_0_4_line_42 | NAYY 4x150 SE | 36 | 49 | 0.029227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_841-4_0_4_line_43 | NAYY 4x150 SE | 37 | 38 | 0.0014671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_841-4_0_4_line_44 | NAYY 4x150 SE | 37 | 39 | 0.050496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_841-4_0_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.0063121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_841-4_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.0069094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_841-4_0_4_line_47 | NAYY 4x150 SE | 39 | 42 | 0.060111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_841-4_0_4_line_48 | NAYY 4x150 SE | 40 | 43 | 0.087675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_841-4_0_4_line_49 | NAYY 4x150 SE | 41 | 44 | 0.0285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_841-4_0_4_line_50 | NAYY 4x150 SE | 42 | 45 | 0.0095498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_841-4_0_4_line_51 | NAYY 4x150 SE | 43 | 46 | 0.010988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_841-4_0_4_line_52 | NAYY 4x150 SE | 44 | 47 | 0.011339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_841-4_0_4_line_53 | NAYY 4x150 SE | 47 | 59 | 0.0099794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_841-4_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.026231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_841-4_0_4_line_55 | NAYY 4x150 SE | 48 | 50 | 0.022142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_841-4_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.014307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_841-4_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.018602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_841-4_0_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.013206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_841-4_0_4_line_59 | NAYY 4x150 SE | 53 | 69 | 0.024685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_841-4_0_4_line_60 | NAYY 4x150 SE | 54 | 64 | 0.0021033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_841-4_0_4_line_61 | NAYY 4x150 SE | 56 | 57 | 0.005483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_841-4_0_4_line_62 | NAYY 4x150 SE | 56 | 58 | 0.015011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_841-4_0_4_line_63 | NAYY 4x150 SE | 58 | 62 | 0.012305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_841-4_0_4_line_64 | NAYY 4x150 SE | 58 | 60 | 0.011598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_841-4_0_4_line_65 | NAYY 4x150 SE | 60 | 61 | 0.015561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_841-4_0_4_line_66 | NAYY 4x150 SE | 61 | 63 | 0.019583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_841-4_0_4_line_67 | NAYY 4x150 SE | 61 | 64 | 0.0223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_841-4_0_4_line_68 | NAYY 4x150 SE | 62 | 65 | 0.0077545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_841-4_0_4_line_69 | NAYY 4x150 SE | 63 | 66 | 0.022078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_841-4_0_4_line_70 | NAYY 4x150 SE | 63 | 67 | 0.00434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_841-4_0_4_line_71 | NAYY 4x150 SE | 64 | 68 | 0.032017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_841-4_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.037145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_841-4_0_4_line_73 | NAYY 4x150 SE | 69 | 71 | 0.03116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_841-4_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.0080245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_841-4_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.066678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_841-4_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.021774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_841-4_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.0085811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_841-4_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.010379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_841-4_0_4_line_79 | NAYY 4x150 SE | 76 | 94 | 0.025674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_841-4_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.041298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_841-4_0_4_line_81 | NAYY 4x150 SE | 77 | 79 | 0.029752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_841-4_0_4_line_82 | NAYY 4x150 SE | 78 | 80 | 0.010384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_841-4_0_4_line_83 | NAYY 4x150 SE | 79 | 81 | 0.048376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_841-4_0_4_line_84 | NAYY 4x150 SE | 79 | 82 | 0.013924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_841-4_0_4_line_85 | NAYY 4x150 SE | 79 | 83 | 0.07307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_841-4_0_4_line_86 | NAYY 4x150 SE | 81 | 84 | 0.042121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_841-4_0_4_line_87 | NAYY 4x150 SE | 82 | 85 | 0.079145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_841-4_0_4_line_88 | NAYY 4x150 SE | 83 | 86 | 0.024811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_841-4_0_4_line_89 | NAYY 4x150 SE | 85 | 87 | 0.0051624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_841-4_0_4_line_90 | NAYY 4x150 SE | 89 | 90 | 0.014827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_841-4_0_4_line_91 | NAYY 4x150 SE | 89 | 91 | 0.0013452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_841-4_0_4_line_92 | NAYY 4x150 SE | 90 | 92 | 0.09817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_841-4_0_4_line_93 | NAYY 4x150 SE | 91 | 93 | 0.016498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_841-4_0_4_trafo_31 | 0.25 MVA 20/0.4 kV | 95 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2587284.0677 | 1139971.0613 | 2587292.3967 | 1139995.6309
1 | 2587284.0677 | 1139971.0613 | 2587282.8801 | 1139967.5581
2 | 2587164.4013 | 1140136.7103 | 2587292.3967 | 1139995.6309
3 | 2587089.9693 | 1139985.1758 | 2587282.8801 | 1139967.5581
4 | 2587083.1619 | 1140179.7049 | 2587164.4013 | 1140136.7103
5 | 2587024.8844 | 1139979.3328 | 2587089.9693 | 1139985.1758
6 | 2587024.8844 | 1139979.3328 | 2587021.2322 | 1139969.8502
7 | 2587024.8844 | 1139979.3328 | 2586952.7324 | 1139973.8088 | 2586943.98 | 1139974.8793
8 | 2587101.2626 | 1140285.944 | 2587106.9932 | 1140326.0134
9 | 2587101.2626 | 1140285.944 | 2587083.1619 | 1140179.7049
10 | 2587109.8698 | 1140346.127 | 2587109.1516 | 1140341.1056 | 2587106.9932 | 1140326.0134
11 | 2587083.1619 | 1140179.7049 | 2587055.4161 | 1140181.3433 | 2587013.5623 | 1140187.081 | 2587008.8861 | 1140187.7106
12 | 2586927.5909 | 1139981.8786 | 2586940.4253 | 1139975.3141 | 2586943.98 | 1139974.8793
13 | 2587007.8055 | 1140187.8561 | 2587008.8861 | 1140187.7106
14 | 2587080.9571 | 1140426.7637 | 2587075.8915 | 1140414.2733
15 | 2587060.7822 | 1140401.8394 | 2587071.0482 | 1140406.1972 | 2587073.8535 | 1140409.2482 | 2587075.8915 | 1140414.2733
16 | 2587080.9571 | 1140426.7637 | 2587069.0453 | 1140428.7493
17 | 2587045.4869 | 1140432.6764 | 2587069.0453 | 1140428.7493
18 | 2587044.2612 | 1140463.2162 | 2587046.2321 | 1140450.2056 | 2587041.5683 | 1140448.0924 | 2587045.4869 | 1140432.6764
19 | 2587045.4869 | 1140432.6764 | 2587031.1896 | 1140435.0583
20 | 2587122.737 | 1140437.4679 | 2587120.4625 | 1140420.1866
21 | 2587120.4625 | 1140420.1866 | 2587114.0405 | 1140375.2868
22 | 2587122.737 | 1140437.4679 | 2587127.9543 | 1140473.3047
23 | 2587122.737 | 1140437.4679 | 2587136.1466 | 1140435.5247
24 | 2587113.7345 | 1140373.1478 | 2587114.0405 | 1140375.2868
25 | 2587044.2612 | 1140463.2162 | 2587030.127 | 1140458.4666
26 | 2587044.2612 | 1140463.2162 | 2587038.5222 | 1140483.0049
27 | 2587031.1896 | 1140435.0583 | 2586995.8036 | 1140440.9535
28 | 2587127.9543 | 1140473.3047 | 2587128.2951 | 1140475.6459
29 | 2587136.1466 | 1140435.5247 | 2587137.86 | 1140435.2765
30 | 2587109.8698 | 1140346.127 | 2587113.7345 | 1140373.1478
31 | 2586995.8036 | 1140440.9535 | 2586995.2046 | 1140441.0533
32 | 2586977.8132 | 1140443.9507 | 2586995.2046 | 1140441.0533
33 | 2586977.8132 | 1140443.9507 | 2586947.3894 | 1140447.4741
34 | 2586977.8132 | 1140443.9507 | 2586980.691 | 1140460.6834
35 | 2586905.036 | 1140452.391 | 2586947.3894 | 1140447.4741
36 | 2586947.3894 | 1140447.4741 | 2586931.3725 | 1140439.6941 | 2586923.7631 | 1140433.7411 | 2586921.2909 | 1140427.2228
37 | 2586980.691 | 1140460.6834 | 2586984.8623 | 1140484.9368
38 | 2586900.943 | 1140415.9933 | 2586905.036 | 1140452.391
39 | 2586905.036 | 1140452.391 | 2586902.1528 | 1140452.7245
40 | 2586985.4813 | 1140488.5358 | 2586984.8623 | 1140484.9368
41 | 2586901.1283 | 1140452.843 | 2586902.1528 | 1140452.7245
42 | 2586985.4813 | 1140488.5358 | 2586990.4352 | 1140517.3397
43 | 2586846.7514 | 1140508.1988 | 2586846.8135 | 1140509.6647
44 | 2586844.6154 | 1140457.7481 | 2586846.7514 | 1140508.1988
45 | 2586847.0805 | 1140515.9711 | 2586846.8135 | 1140509.6647
46 | 2586844.6154 | 1140457.7481 | 2586851.5007 | 1140457.171
47 | 2586844.6154 | 1140457.7481 | 2586787.2494 | 1140464.0106 | 2586784.8863 | 1140464.4509
48 | 2586847.0805 | 1140515.9711 | 2586806.5179 | 1140593.6982
49 | 2586879.9015 | 1140454.7908 | 2586851.5007 | 1140457.171
50 | 2586775.498 | 1140466.2 | 2586784.8863 | 1140464.4509
51 | 2586806.5179 | 1140593.6982 | 2586801.8834 | 1140597.9549 | 2586800.105 | 1140602.3004
52 | 2586879.9015 | 1140454.7908 | 2586891.2004 | 1140453.8439
53 | 2586891.2004 | 1140453.8439 | 2586895.8274 | 1140453.4561 | 2586901.1283 | 1140452.843
54 | 2587010.9267 | 1140525.8143 | 2587000.8128 | 1140526.9191 | 2586995.2368 | 1140526.0641 | 2586991.2221 | 1140521.9152 | 2586990.4352 | 1140517.3397
55 | 2587010.9267 | 1140525.8143 | 2587032.9374 | 1140523.4099
56 | 2587090.6163 | 1140517.1092 | 2587076.3937 | 1140518.6629
57 | 2587090.6163 | 1140517.1092 | 2587109.108 | 1140515.0869
58 | 2587090.6163 | 1140517.1092 | 2587087.0026 | 1140513.4597 | 2587083.1328 | 1140506.3782
59 | 2587133.6465 | 1140512.4033 | 2587109.108 | 1140515.0869
60 | 2587082.1242 | 1140504.5325 | 2587083.1328 | 1140506.3782
61 | 2587034.9821 | 1140485.0136 | 2587037.7819 | 1140485.5411 | 2587038.5222 | 1140483.0049
62 | 2587045.9256 | 1140493.3606 | 2587044.5768 | 1140484.7371 | 2587038.5222 | 1140483.0049
63 | 2587045.9256 | 1140493.3606 | 2587047.4205 | 1140505.5745
64 | 2587045.9256 | 1140493.3606 | 2587057.5113 | 1140492.8199
65 | 2587068.2968 | 1140488.6656 | 2587065.3637 | 1140486.9489 | 2587063.9072 | 1140492.5214 | 2587057.5113 | 1140492.8199
66 | 2587068.2968 | 1140488.6656 | 2587067.0783 | 1140469.1254
67 | 2587068.2968 | 1140488.6656 | 2587080.588 | 1140505.2361 | 2587082.1242 | 1140504.5325
68 | 2587042.4974 | 1140511.5658 | 2587047.4205 | 1140505.5745
69 | 2587062.2161 | 1140449.9043 | 2587065.9473 | 1140450.9523 | 2587067.0783 | 1140469.1254
70 | 2587062.7941 | 1140468.3565 | 2587067.0783 | 1140469.1254
71 | 2587076.6529 | 1140473.7737 | 2587075.3445 | 1140483.8703 | 2587080.0478 | 1140500.724 | 2587082.1242 | 1140504.5325
72 | 2587133.6465 | 1140512.4033 | 2587128.2951 | 1140475.6459
73 | 2587133.6465 | 1140512.4033 | 2587134.8657 | 1140543.1491 | 2587134.843 | 1140543.5384
74 | 2587134.843 | 1140543.5384 | 2587134.3755 | 1140551.5493
75 | 2587124.569 | 1140617.4408 | 2587126.5526 | 1140606.698 | 2587130.6566 | 1140584.445 | 2587133.8127 | 1140561.1935 | 2587134.3755 | 1140551.5493
76 | 2587124.569 | 1140617.4408 | 2587103.545 | 1140611.7767
77 | 2587095.2593 | 1140609.5444 | 2587103.545 | 1140611.7767
78 | 2587095.2593 | 1140609.5444 | 2587093.2736 | 1140604.9798 | 2587093.5653 | 1140599.5869
79 | 2587094.952 | 1140573.9499 | 2587093.5653 | 1140599.5869
80 | 2586913.8511 | 1140229.9734 | 2586913.8999 | 1140233.5425 | 2586911.0525 | 1140249.9901 | 2586905.7037 | 1140258.228 | 2586897.6783 | 1140266.0605
81 | 2586918.2808 | 1140201.0393 | 2586915.4951 | 1140207.015 | 2586913.6528 | 1140215.4565 | 2586913.8511 | 1140229.9734
82 | 2586887.3703 | 1140267.317 | 2586897.6783 | 1140266.0605
83 | 2586918.2808 | 1140201.0393 | 2586961.6157 | 1140194.0749 | 2586966.0611 | 1140193.4764
84 | 2586918.2808 | 1140201.0393 | 2586915.4283 | 1140187.4107
85 | 2586918.2808 | 1140201.0393 | 2586858.4599 | 1140210.986 | 2586846.1335 | 1140212.5713
86 | 2586966.0611 | 1140193.4764 | 2587007.8055 | 1140187.8561
87 | 2586915.4283 | 1140187.4107 | 2586899.2141 | 1140109.9447
88 | 2586821.5252 | 1140215.7361 | 2586846.1335 | 1140212.5713
89 | 2586898.1564 | 1140104.8918 | 2586899.2141 | 1140109.9447
90 | 2587155.5187 | 1140432.7175 | 2587155.5187 | 1140432.7175 | 2587160.2969 | 1140430.8064 | 2587163.1229 | 1140429.2106 | 2587167.3411 | 1140427.8565 | 2587169.3333 | 1140427.6249
91 | 2587155.5187 | 1140432.7175 | 2587154.1874 | 1140432.9104
92 | 2587169.3333 | 1140427.6249 | 2587266.4746 | 1140413.4499
93 | 2587154.1874 | 1140432.9104 | 2587137.86 | 1140435.2765

## bus_geodata
| x | y | coords
0 | 2587284.0677 | 1139971.0613
1 | 2587292.3967 | 1139995.6309
2 | 2587282.8801 | 1139967.5581
3 | 2587164.4013 | 1140136.7103
4 | 2587089.9693 | 1139985.1759
5 | 2587024.8844 | 1139979.3328
6 | 2587101.2626 | 1140285.944
7 | 2587106.9932 | 1140326.0134
8 | 2587083.1619 | 1140179.7049
9 | 2587021.2322 | 1139969.8502
10 | 2586943.98 | 1139974.8793
11 | 2587008.8861 | 1140187.7106
12 | 2586927.5909 | 1139981.8786
13 | 2587075.8915 | 1140414.2733
14 | 2587080.9571 | 1140426.7637
15 | 2587060.7822 | 1140401.8394
16 | 2587069.0453 | 1140428.7493
17 | 2587045.4869 | 1140432.6764
18 | 2587120.4625 | 1140420.1866
19 | 2587122.737 | 1140437.4679
20 | 2587114.0405 | 1140375.2868
21 | 2587044.2612 | 1140463.2162
22 | 2587031.1896 | 1140435.0583
23 | 2587127.9543 | 1140473.3047
24 | 2587136.1466 | 1140435.5247
25 | 2587113.7345 | 1140373.1478
26 | 2586995.2046 | 1140441.0533
27 | 2586995.8036 | 1140440.9535
28 | 2586977.8132 | 1140443.9507
29 | 2586947.3894 | 1140447.4741
30 | 2586980.691 | 1140460.6834
31 | 2586905.036 | 1140452.391
32 | 2586921.2909 | 1140427.2228
33 | 2586984.8623 | 1140484.9368
34 | 2586900.943 | 1140415.9933
35 | 2586902.1528 | 1140452.7245
36 | 2586985.4813 | 1140488.5358
37 | 2586846.7514 | 1140508.1988
38 | 2586846.8135 | 1140509.6647
39 | 2586844.6154 | 1140457.7481
40 | 2586847.0805 | 1140515.9711
41 | 2586851.5007 | 1140457.171
42 | 2586784.8863 | 1140464.4509
43 | 2586806.5179 | 1140593.6982
44 | 2586879.9015 | 1140454.7908
45 | 2586775.498 | 1140466.2
46 | 2586800.105 | 1140602.3004
47 | 2586891.2004 | 1140453.8439
48 | 2587010.9267 | 1140525.8143
49 | 2586990.4352 | 1140517.3397
50 | 2587032.9374 | 1140523.4099
51 | 2587076.3937 | 1140518.6629
52 | 2587090.6163 | 1140517.1092
53 | 2587109.108 | 1140515.0869
54 | 2587083.1328 | 1140506.3782
55 | 2587030.127 | 1140458.4666
56 | 2587038.5222 | 1140483.0049
57 | 2587034.9821 | 1140485.0136
58 | 2587045.9256 | 1140493.3606
59 | 2586901.1283 | 1140452.843
60 | 2587057.5113 | 1140492.8199
61 | 2587068.2968 | 1140488.6656
62 | 2587047.4205 | 1140505.5745
63 | 2587067.0783 | 1140469.1254
64 | 2587082.1242 | 1140504.5325
65 | 2587042.4974 | 1140511.5658
66 | 2587062.2161 | 1140449.9043
67 | 2587062.7941 | 1140468.3565
68 | 2587076.6529 | 1140473.7737
69 | 2587133.6465 | 1140512.4033
70 | 2587128.2951 | 1140475.6459
71 | 2587134.843 | 1140543.5384
72 | 2587134.3755 | 1140551.5493
73 | 2587124.569 | 1140617.4408
74 | 2587103.545 | 1140611.7767
75 | 2587095.2593 | 1140609.5444
76 | 2587093.5653 | 1140599.5869
77 | 2586913.8511 | 1140229.9734
78 | 2586897.6783 | 1140266.0605
79 | 2586918.2808 | 1140201.0393
80 | 2586887.3703 | 1140267.317
81 | 2586966.0611 | 1140193.4764
82 | 2586915.4283 | 1140187.4107
83 | 2586846.1335 | 1140212.5713
84 | 2587007.8055 | 1140187.8561
85 | 2586899.2141 | 1140109.9447
86 | 2586821.5252 | 1140215.7361
87 | 2586898.1564 | 1140104.8918
88 | 2587109.8698 | 1140346.127
89 | 2587155.5187 | 1140432.7175
90 | 2587169.3333 | 1140427.6249
91 | 2587154.1874 | 1140432.9104
92 | 2587266.4746 | 1140413.4499
93 | 2587137.86 | 1140435.2765
94 | 2587094.952 | 1140573.9499
95 | 2587044.2612 | 1140463.2162

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1