## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_842-5_2_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_842-5_2_2_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_842-5_2_2_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_842-5_2_2_node_111 | 0.4 | n |  | TRUE
4 | bus_LV_842-5_2_2_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_842-5_2_2_node_110 | 0.4 | n |  | TRUE
6 | bus_LV_842-5_2_2_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_842-5_2_2_node_141 | 0.4 | n |  | TRUE
8 | bus_LV_842-5_2_2_node_142 | 0.4 | n |  | TRUE
9 | bus_LV_842-5_2_2_node_143 | 0.4 | n |  | TRUE
10 | bus_LV_842-5_2_2_node_144 | 0.4 | n |  | TRUE
11 | bus_LV_842-5_2_2_node_156 | 0.4 | n |  | TRUE
12 | bus_LV_842-5_2_2_node_145 | 0.4 | n |  | TRUE
13 | bus_LV_842-5_2_2_node_146 | 0.4 | n |  | TRUE
14 | bus_LV_842-5_2_2_node_147 | 0.4 | n |  | TRUE
15 | bus_LV_842-5_2_2_node_148 | 0.4 | n |  | TRUE
16 | bus_LV_842-5_2_2_node_149 | 0.4 | n |  | TRUE
17 | bus_LV_842-5_2_2_node_150 | 0.4 | n |  | TRUE
18 | bus_LV_842-5_2_2_node_151 | 0.4 | n |  | TRUE
19 | bus_LV_842-5_2_2_node_157 | 0.4 | n |  | TRUE
20 | bus_LV_842-5_2_2_node_154 | 0.4 | n |  | TRUE
21 | bus_LV_842-5_2_2_node_155 | 0.4 | n |  | TRUE
22 | bus_LV_842-5_2_2_node_161 | 0.4 | n |  | TRUE
23 | bus_LV_842-5_2_2_node_162 | 0.4 | n |  | TRUE
24 | bus_LV_842-5_2_2_node_163 | 0.4 | n |  | TRUE
25 | bus_LV_842-5_2_2_node_169 | 0.4 | n |  | TRUE
26 | bus_LV_842-5_2_2_node_122 | 0.4 | n |  | TRUE
27 | bus_LV_842-5_2_2_node_168 | 0.4 | n |  | TRUE
28 | bus_LV_842-5_2_2_node_125 | 0.4 | n |  | TRUE
29 | bus_LV_842-5_2_2_node_106 | 0.4 | n |  | TRUE
30 | bus_LV_842-5_2_2_node_107 | 0.4 | n |  | TRUE
31 | bus_LV_842-5_2_2_node_108 | 0.4 | n |  | TRUE
32 | bus_LV_842-5_2_2_node_109 | 0.4 | n |  | TRUE
33 | bus_LV_842-5_2_2_node_120 | 0.4 | n |  | TRUE
34 | bus_LV_842-5_2_2_node_121 | 0.4 | n |  | TRUE
35 | bus_LV_842-5_2_2_node_123 | 0.4 | n |  | TRUE
36 | bus_LV_842-5_2_2_node_124 | 0.4 | n |  | TRUE
37 | bus_LV_842-5_2_2_node_126 | 0.4 | n |  | TRUE
38 | bus_MV_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_842-5_2_2_load_128 | 0 | 0.0010517 | 0.00026359 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_842-5_2_2_load_129 | 2 | 0.00084365 | 0.00021144 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_842-5_2_2_load_111 | 3 | 0.0025092 | 0.00062885 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_842-5_2_2_load_130 | 4 | 0.00021404 | 5.3645e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_842-5_2_2_load_110 | 5 | 0.00017968 | 4.5031e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_842-5_2_2_load_131 | 6 | 0.0001585 | 3.9725e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_842-5_2_2_load_141 | 7 | 9.1894e-05 | 2.3031e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_842-5_2_2_load_142 | 8 | 0.00011901 | 2.9827e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_842-5_2_2_load_143 | 9 | 9.4479e-05 | 2.3679e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_842-5_2_2_load_144 | 10 | 0.00016177 | 4.0543e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_842-5_2_2_load_156 | 11 | 0.00026843 | 6.7274e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_842-5_2_2_load_145 | 12 | 0.0002444 | 6.1252e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_842-5_2_2_load_146 | 13 | 0.00010572 | 2.6495e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_842-5_2_2_load_147 | 14 | 0.00013061 | 3.2734e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_842-5_2_2_load_148 | 15 | 0.00025173 | 6.3088e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_842-5_2_2_load_149 | 16 | 0.00084316 | 0.00021132 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_842-5_2_2_load_150 | 17 | 0.00024405 | 6.1165e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_842-5_2_2_load_151 | 18 | 0.0001814 | 4.5463e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_842-5_2_2_load_157 | 19 | 0.00020886 | 5.2345e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_842-5_2_2_load_154 | 20 | 7.9301e-05 | 1.9875e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_842-5_2_2_load_155 | 21 | 0.00010807 | 2.7085e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_842-5_2_2_load_161 | 22 | 0.00071413 | 0.00017898 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_842-5_2_2_load_169 | 25 | 0.000982 | 0.00024611 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_842-5_2_2_load_122 | 26 | 0.00065243 | 0.00016351 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_842-5_2_2_load_168 | 27 | 0.00017088 | 4.2826e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_842-5_2_2_load_125 | 28 | 0.0016995 | 0.00042595 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_842-5_2_2_load_106 | 29 | 0.00015391 | 3.8574e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_842-5_2_2_load_107 | 30 | 0.00017701 | 4.4364e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_842-5_2_2_load_120 | 33 | 0.0020187 | 0.00050592 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_842-5_2_2_load_121 | 34 | 0.00086668 | 0.00021721 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_842-5_2_2_load_123 | 35 | 0.0010035 | 0.0002515 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_842-5_2_2_load_126 | 37 | 0.00069367 | 0.00017385 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_842-5_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.15168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_842-5_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0025075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_842-5_2_2_line_2 | NAYY 4x150 SE | 1 | 37 | 0.070824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_842-5_2_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.01065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_842-5_2_2_line_4 | NAYY 4x150 SE | 3 | 27 | 0.14625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_842-5_2_2_line_5 | NAYY 4x150 SE | 3 | 32 | 0.18685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_842-5_2_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.056486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_842-5_2_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.0040536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_842-5_2_2_line_8 | NAYY 4x150 SE | 5 | 31 | 0.06632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_842-5_2_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.10421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_842-5_2_2_line_10 | NAYY 4x150 SE | 7 | 8 | 0.011296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_842-5_2_2_line_11 | NAYY 4x150 SE | 8 | 9 | 0.003478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_842-5_2_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.094489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_842-5_2_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.19515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_842-5_2_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.019845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_842-5_2_2_line_15 | NAYY 4x150 SE | 11 | 20 | 0.16474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_842-5_2_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.013847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_842-5_2_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.027718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_842-5_2_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.068385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_842-5_2_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.022939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_842-5_2_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.020872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_842-5_2_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.1741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_842-5_2_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.00080807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_842-5_2_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0071524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_842-5_2_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.1989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_842-5_2_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.014601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_842-5_2_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.3517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_842-5_2_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.011468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_842-5_2_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.33908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_842-5_2_2_line_29 | NAYY 4x150 SE | 26 | 34 | 0.034377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_842-5_2_2_line_30 | NAYY 4x150 SE | 28 | 35 | 0.018812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_842-5_2_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0093343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_842-5_2_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.13836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_842-5_2_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.088844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_842-5_2_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0071692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_842-5_2_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.19912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_842-5_2_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.15692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_842-5_2_2_trafo_123 | 0.25 MVA 20/0.4 kV | 38 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2592019.2394 | 1139665.5216 | 2592004.9321 | 1139679.3141 | 2591984.614 | 1139694.7489 | 2591961.2867 | 1139713.9451 | 2591952.456 | 1139723.0281 | 2591947.6675 | 1139730.2491 | 2591944.9381 | 1139736.2557 | 2591941.3849 | 1139747.1547 | 2591937.5509 | 1139760.7776 | 2591928.5755 | 1139781.4494
1 | 2591927.5769 | 1139783.7495 | 2591928.5755 | 1139781.4494
2 | 2592019.2394 | 1139665.5216 | 2592034.8164 | 1139646.7361 | 2592039.3214 | 1139640.1047 | 2592043.4715 | 1139632.6511 | 2592050.6248 | 1139616.7338 | 2592052.6513 | 1139608.2826 | 2592053.3231 | 1139604.6132
3 | 2591927.5769 | 1139783.7495 | 2591923.3353 | 1139793.5186
4 | 2591923.3353 | 1139793.5186 | 2592059.2287 | 1139847.5681
5 | 2591934.7668 | 1139976.8422 | 2591934.7396 | 1139962.4352 | 2591934.0405 | 1139945.7725 | 2591932.2791 | 1139933.9469 | 2591915.152 | 1139852.0746 | 2591913.9388 | 1139841.9602 | 2591913.5414 | 1139832.3894 | 2591914.0381 | 1139824.3959 | 2591915.3721 | 1139815.8233 | 2591919.9814 | 1139801.2433 | 2591923.3353 | 1139793.5186
6 | 2591915.6593 | 1140218.2937 | 2591933.8419 | 1140237.2814 | 2591940.7709 | 1140249.6781 | 2591948.3817 | 1140254.4924 | 2591954.7967 | 1140251.7187
7 | 2591958.5173 | 1140250.11 | 2591954.7967 | 1140251.7187
8 | 2591853.4837 | 1140196.1592 | 2591872.5103 | 1140204.9821 | 2591898.0915 | 1140210.9169 | 2591915.3857 | 1140218.0081 | 2591915.6593 | 1140218.2937
9 | 2591958.5173 | 1140250.11 | 2592033.0192 | 1140322.979
10 | 2592033.0192 | 1140322.979 | 2592033.0192 | 1140322.979 | 2592035.3293 | 1140319.8189 | 2592038.1789 | 1140317.6362 | 2592041.3901 | 1140315.6199
11 | 2592044.5588 | 1140314.1858 | 2592041.3901 | 1140315.6199 | 2592041.3901 | 1140315.6199
12 | 2592044.5588 | 1140314.1858 | 2592045.455 | 1140313.7802 | 2592063.021 | 1140305.853 | 2592070.7573 | 1140301.1293 | 2592076.5103 | 1140296.7084 | 2592080.8105 | 1140292.6007 | 2592084.7563 | 1140287.8932 | 2592088.8374 | 1140280.8399 | 2592094.1889 | 1140269.3161 | 2592102.8183 | 1140245.8851
13 | 2592044.5588 | 1140314.1858 | 2592167.0753 | 1140466.0827
14 | 2592112.6671 | 1140229.0739 | 2592111.552 | 1140229.9295 | 2592108.8876 | 1140232.6455 | 2592106.2481 | 1140236.7843 | 2592103.7656 | 1140243.313 | 2592102.8183 | 1140245.8851
15 | 2592167.0753 | 1140466.0827 | 2592184.5278 | 1140483.2793 | 2592187.916 | 1140487.3435 | 2592190.9045 | 1140491.4083 | 2592194.3484 | 1140496.8953 | 2592197.101 | 1140502.8391 | 2592199.5451 | 1140508.0829 | 2592201.0927 | 1140509.7817 | 2592202.8622 | 1140510.6909 | 2592204.8997 | 1140510.6771 | 2592206.4436 | 1140509.5301 | 2592207.341 | 1140507.8948 | 2592207.86 | 1140505.015 | 2592207.8407 | 1140502.0135 | 2592202.0745 | 1140455.0315 | 2592201.6487 | 1140446.8392 | 2592202.0244 | 1140440.2021 | 2592203.025 | 1140435.1539 | 2592204.9386 | 1140428.5704 | 2592208.1271 | 1140420.9292 | 2592211.7311 | 1140413.5765 | 2592214.0416 | 1140409.8483
16 | 2592124.5104 | 1140221.948 | 2592123.1604 | 1140222.733 | 2592115.093 | 1140227.2124 | 2592112.6671 | 1140229.0739
17 | 2592147.5263 | 1140206.6168 | 2592143.5499 | 1140209.9999 | 2592136.1139 | 1140215.2011 | 2592124.5104 | 1140221.948
18 | 2592147.5263 | 1140206.6168 | 2592149.2947 | 1140205.1122 | 2592153.4025 | 1140200.738 | 2592156.8866 | 1140195.6532 | 2592161.1743 | 1140187.6992 | 2592179.0067 | 1140146.5333
19 | 2592179.0067 | 1140146.5333 | 2592180.0473 | 1140144.1311 | 2592182.4332 | 1140140.0482 | 2592185.0811 | 1140136.4096 | 2592188.8058 | 1140132.9364 | 2592193.829 | 1140129.6557
20 | 2592341.6438 | 1140280.2325 | 2592344.0064 | 1140281.897 | 2592346.9212 | 1140282.5269 | 2592349.9956 | 1140281.6225 | 2592352.753 | 1140279.4401 | 2592354.803 | 1140277.1697 | 2592356.6823 | 1140273.6323 | 2592357.0868 | 1140272.4881
21 | 2592341.6438 | 1140280.2325 | 2592218.3561 | 1140403.1636
22 | 2592217.8785 | 1140403.8155 | 2592218.3561 | 1140403.1636
23 | 2592217.8785 | 1140403.8155 | 2592217.24 | 1140404.6872 | 2592214.0416 | 1140409.8483
24 | 2592673.2648 | 1139331.0655 | 2592661.8064 | 1139337.0714 | 2592649.8639 | 1139362.0427 | 2592634.0848 | 1139368.8432 | 2592617.7504 | 1139368.0519 | 2592602.4928 | 1139355.0533 | 2592597.0449 | 1139346.1001 | 2592573.066 | 1139326.3314 | 2592546.0871 | 1139299.7743 | 2592533.5403 | 1139277.8126
25 | 2592670.7018 | 1139316.7283 | 2592671.7429 | 1139325.3424 | 2592673.2648 | 1139331.0655
26 | 2592542.2736 | 1139657.4643 | 2592673.2648 | 1139331.0655
27 | 2592670.7018 | 1139316.7283 | 2592669.4203 | 1139312.6279 | 2592667.902 | 1139309.9285 | 2592665.3606 | 1139306.9412 | 2592665.2469 | 1139306.8394
28 | 2592208.6821 | 1139596.7159 | 2592542.2736 | 1139657.4643
29 | 2592665.2469 | 1139306.8394 | 2592660.7107 | 1139302.7782 | 2592650.3981 | 1139296.2433 | 2592647.2731 | 1139293.9683 | 2592645.6711 | 1139291.9248 | 2592642.912 | 1139287.0147 | 2592641.2276 | 1139283.4032
30 | 2592208.6821 | 1139596.7159 | 2592203.8454 | 1139602.6807 | 2592198.3834 | 1139606.801 | 2592194.402 | 1139608.4024
31 | 2591904.1648 | 1140069.4699 | 2591904.1728 | 1140068.606 | 2591904.9073 | 1140060.1676
32 | 2591853.4837 | 1140196.1592 | 2591866.0849 | 1140178.5668 | 2591903.9917 | 1140088.1047 | 2591904.1648 | 1140069.4699
33 | 2591934.7668 | 1139976.8422 | 2591933.7677 | 1139982.9687 | 2591931.6927 | 1139989.4414 | 2591927.1945 | 1140000.7974 | 2591908.3699 | 1140045.0444 | 2591906.1047 | 1140052.9625 | 2591904.9073 | 1140060.1676
34 | 2592641.2276 | 1139283.4032 | 2592640.0206 | 1139280.8152 | 2592638.1495 | 1139276.9286
35 | 2592063.2222 | 1139473.4028 | 2592074.2845 | 1139476.6897 | 2592084.3944 | 1139480.7783 | 2592093.0913 | 1139486.4363 | 2592117.9702 | 1139505.7017 | 2592125.2011 | 1139513.4737 | 2592130.2167 | 1139520.7595 | 2592134.2883 | 1139529.3695 | 2592140.3897 | 1139543.7018 | 2592158.0139 | 1139584.2428 | 2592161.5285 | 1139590.419 | 2592166.2803 | 1139595.9821 | 2592171.9989 | 1139599.9321 | 2592184.4964 | 1139607.1637 | 2592189.5353 | 1139608.8357 | 2592193.3647 | 1139608.8196 | 2592194.402 | 1139608.4024
36 | 2592063.2222 | 1139473.4028 | 2592059.2692 | 1139478.8441 | 2592053.1477 | 1139484.2882 | 2592029.7076 | 1139506.1856 | 2592024.9252 | 1139512.4506 | 2592022.6555 | 1139517.2782 | 2592020.3586 | 1139524.7516 | 2592019.6783 | 1139533.6012 | 2592021.1838 | 1139543.8487 | 2592023.5383 | 1139550.7044 | 2592036.1755 | 1139570.2637 | 2592047.1539 | 1139585.69 | 2592050.8157 | 1139592.6218 | 2592052.5292 | 1139597.4108 | 2592053.211 | 1139601.3006 | 2592053.3231 | 1139604.6132

## bus_geodata
| x | y | coords
0 | 2591928.5755 | 1139781.4494
1 | 2592019.2394 | 1139665.5216
2 | 2591927.5769 | 1139783.7495
3 | 2591923.3353 | 1139793.5186
4 | 2591954.7967 | 1140251.7187
5 | 2591915.6593 | 1140218.2937
6 | 2591958.5173 | 1140250.11
7 | 2592033.0192 | 1140322.979
8 | 2592041.3901 | 1140315.6199
9 | 2592044.5588 | 1140314.1858
10 | 2592102.8183 | 1140245.8851
11 | 2592167.0753 | 1140466.0827
12 | 2592112.6671 | 1140229.0739
13 | 2592124.5104 | 1140221.948
14 | 2592147.5263 | 1140206.6168
15 | 2592179.0067 | 1140146.5333
16 | 2592193.829 | 1140129.6557
17 | 2592341.6438 | 1140280.2325
18 | 2592357.0868 | 1140272.4881
19 | 2592218.3561 | 1140403.1636
20 | 2592214.0416 | 1140409.8483
21 | 2592217.8785 | 1140403.8155
22 | 2592533.5403 | 1139277.8126
23 | 2592673.2648 | 1139331.0655
24 | 2592670.7018 | 1139316.7283
25 | 2592542.2736 | 1139657.4643
26 | 2592665.2469 | 1139306.8394
27 | 2592059.2287 | 1139847.5681
28 | 2592208.6821 | 1139596.7159
29 | 2591904.1648 | 1140069.4699
30 | 2591904.9073 | 1140060.1676
31 | 2591853.4837 | 1140196.1592
32 | 2591934.7668 | 1139976.8422
33 | 2592638.1495 | 1139276.9286
34 | 2592641.2276 | 1139283.4032
35 | 2592194.402 | 1139608.4024
36 | 2592063.2222 | 1139473.4028
37 | 2592053.3231 | 1139604.6132
38 | 2592194.402 | 1139608.4024

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1