## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_842-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_842-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_842-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_842-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_842-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_842-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_842-6_0_3_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_842-6_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_842-6_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_842-6_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_842-6_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_842-6_0_3_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_842-6_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_842-6_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_842-6_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_842-6_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_842-6_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_842-6_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_842-6_0_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_842-6_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_842-6_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_842-6_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_842-6_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_842-6_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_842-6_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_842-6_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_842-6_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_842-6_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_842-6_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_842-6_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_842-6_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_842-6_0_3_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_842-6_0_3_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_842-6_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_842-6_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_842-6_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_842-6_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_842-6_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_842-6_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_842-6_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_842-6_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_842-6_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_842-6_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_842-6_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_842-6_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_842-6_0_3_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_842-6_0_3_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_842-6_0_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_842-6_0_3_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_842-6_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_842-6_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_842-6_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_842-6_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_842-6_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_842-6_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_842-6_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_842-6_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_842-6_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_842-6_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_842-6_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_842-6_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_842-6_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_842-6_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_842-6_0_3_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_842-6_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_842-6_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_842-6_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_842-6_0_3_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_842-6_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_842-6_0_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_842-6_0_3_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_842-6_0_3_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_842-6_0_3_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_842-6_0_3_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_842-6_0_3_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_842-6_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_842-6_0_3_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_842-6_0_3_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_842-6_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_842-6_0_3_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_842-6_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_842-6_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_842-6_0_3_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_842-6_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_842-6_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_842-6_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_842-6_0_3_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_842-6_0_3_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_842-6_0_3_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_842-6_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_842-6_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_842-6_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_842-6_0_3_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_842-6_0_3_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_842-6_0_3_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_842-6_0_3_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_842-6_0_3_node_91 | 0.4 | n |  | TRUE
97 | bus_MV_210_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_842-6_0_3_load_0 | 0 | 0.00043995 | 0.00011026 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_842-6_0_3_load_3 | 3 | 0.002328 | 0.00058346 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_842-6_0_3_load_46 | 6 | 0.0021546 | 0.00054001 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_842-6_0_3_load_7 | 7 | 0.0084814 | 0.0021256 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_842-6_0_3_load_30 | 8 | 0.0028812 | 0.00072211 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_842-6_0_3_load_28 | 10 | 0.00045478 | 0.00011398 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_842-6_0_3_load_47 | 11 | 0.0036377 | 0.0009117 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_842-6_0_3_load_6 | 12 | 0.0037297 | 0.00093476 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_842-6_0_3_load_13 | 13 | 0.0010684 | 0.00026776 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_842-6_0_3_load_10 | 14 | 0.0019581 | 0.00049074 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_842-6_0_3_load_29 | 15 | 0.00062148 | 0.00015576 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_842-6_0_3_load_8 | 16 | 0.0024626 | 0.00061719 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_842-6_0_3_load_9 | 17 | 0.0024667 | 0.0006182 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_842-6_0_3_load_40 | 18 | 0.0064936 | 0.0016275 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_842-6_0_3_load_41 | 19 | 0.005389 | 0.0013506 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_842-6_0_3_load_14 | 21 | 0.0010486 | 0.00026281 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_842-6_0_3_load_15 | 22 | 0.00095756 | 0.00023999 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_842-6_0_3_load_18 | 23 | 0.0023013 | 0.00057675 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_842-6_0_3_load_16 | 24 | 0.0023302 | 0.00058401 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_842-6_0_3_load_19 | 25 | 0.00037251 | 9.3361e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_842-6_0_3_load_17 | 26 | 0.0010504 | 0.00026325 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_842-6_0_3_load_20 | 30 | 0.00056952 | 0.00014273 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_842-6_0_3_load_98 | 31 | 0.0003259 | 8.1678e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_842-6_0_3_load_97 | 32 | 0.000779 | 0.00019524 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_842-6_0_3_load_24 | 33 | 0.0017092 | 0.00042836 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_842-6_0_3_load_26 | 35 | 0.0066406 | 0.0016643 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_842-6_0_3_load_37 | 36 | 0.00089338 | 0.0002239 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_842-6_0_3_load_35 | 37 | 0.00091173 | 0.0002285 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_842-6_0_3_load_39 | 40 | 0.00061968 | 0.00015531 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_842-6_0_3_load_31 | 41 | 0.0017533 | 0.00043943 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_842-6_0_3_load_32 | 42 | 0.0032483 | 0.0008141 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_842-6_0_3_load_33 | 43 | 0.0014391 | 0.00036068 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_842-6_0_3_load_64 | 46 | 0.0014313 | 0.00035871 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_842-6_0_3_load_61 | 47 | 0.0029551 | 0.00074061 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_842-6_0_3_load_96 | 48 | 0.00025031 | 6.2733e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_842-6_0_3_load_42 | 49 | 0.0011177 | 0.00028011 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_842-6_0_3_load_43 | 50 | 0.0034135 | 0.0008555 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_842-6_0_3_load_44 | 51 | 0.00086041 | 0.00021564 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_842-6_0_3_load_45 | 52 | 0.0047732 | 0.0011963 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_842-6_0_3_load_49 | 54 | 0.0062913 | 0.0015767 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_842-6_0_3_load_50 | 55 | 0.0097062 | 0.0024326 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_842-6_0_3_load_51 | 56 | 0.0064817 | 0.0016245 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_842-6_0_3_load_52 | 57 | 0.0031422 | 0.00078752 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_842-6_0_3_load_67 | 58 | 0.0089549 | 0.0022443 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_842-6_0_3_load_57 | 59 | 0.0025031 | 0.00062734 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_842-6_0_3_load_53 | 60 | 0.0013803 | 0.00034593 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_842-6_0_3_load_54 | 61 | 0.0027594 | 0.00069158 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_842-6_0_3_load_58 | 64 | 0.0047408 | 0.0011882 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_842-6_0_3_load_60 | 66 | 0.0026183 | 0.00065622 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_842-6_0_3_load_72 | 67 | 0.005161 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_842-6_0_3_load_65 | 69 | 0.00055481 | 0.00013905 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_842-6_0_3_load_74 | 70 | 0.0040441 | 0.0010136 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_842-6_0_3_load_71 | 71 | 0.0059928 | 0.0015019 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_842-6_0_3_load_76 | 73 | 0.0013925 | 0.000349 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_842-6_0_3_load_75 | 74 | 0.0060272 | 0.0015106 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_842-6_0_3_load_63 | 75 | 0.00087377 | 0.00021899 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_842-6_0_3_load_82 | 76 | 0.0049745 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_842-6_0_3_load_80 | 77 | 0.0035481 | 0.00088923 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_842-6_0_3_load_77 | 78 | 0.0024195 | 0.00060638 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_842-6_0_3_load_68 | 79 | 0.0048644 | 0.0012191 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_842-6_0_3_load_69 | 80 | 0.0045153 | 0.0011316 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_842-6_0_3_load_73 | 82 | 0.0029029 | 0.00072753 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_842-6_0_3_load_79 | 84 | 0.0015071 | 0.0003777 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_842-6_0_3_load_81 | 85 | 0.0017228 | 0.00043176 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_842-6_0_3_load_93 | 87 | 0.00409 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_842-6_0_3_load_83 | 89 | 0.0047167 | 0.0011821 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_842-6_0_3_load_85 | 90 | 0.0056361 | 0.0014126 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_842-6_0_3_load_86 | 91 | 0.00251 | 0.00062906 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_842-6_0_3_load_89 | 92 | 0.0052743 | 0.0013219 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_842-6_0_3_load_92 | 93 | 0.0040396 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_842-6_0_3_load_90 | 94 | 0.0051591 | 0.001293 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_842-6_0_3_load_94 | 95 | 0.0041116 | 0.0010305 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_842-6_0_3_load_91 | 96 | 0.0018436 | 0.00046206 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_842-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_842-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.060637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_842-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_842-6_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.021182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_842-6_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.014411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_842-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.064652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_842-6_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.046878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_842-6_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.026342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_842-6_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.027037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_842-6_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.012768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_842-6_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.019389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_842-6_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.014234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_842-6_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.025362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_842-6_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.013081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_842-6_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.048859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_842-6_0_3_line_15 | NAYY 4x150 SE | 11 | 53 | 0.041045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_842-6_0_3_line_16 | NAYY 4x150 SE | 12 | 16 | 0.025432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_842-6_0_3_line_17 | NAYY 4x150 SE | 13 | 23 | 0.035412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_842-6_0_3_line_18 | NAYY 4x150 SE | 14 | 20 | 0.025013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_842-6_0_3_line_19 | NAYY 4x150 SE | 15 | 34 | 0.060433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_842-6_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.00056935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_842-6_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.0016225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_842-6_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.023986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_842-6_0_3_line_23 | NAYY 4x150 SE | 19 | 49 | 0.0046642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_842-6_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.042828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_842-6_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.057226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_842-6_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.022716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_842-6_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.036823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_842-6_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0019391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_842-6_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.031655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_842-6_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.029474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_842-6_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.059594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_842-6_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.057592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_842-6_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.046018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_842-6_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.070622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_842-6_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.006962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_842-6_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.078509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_842-6_0_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.1148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_842-6_0_3_line_38 | NAYY 4x150 SE | 36 | 39 | 0.072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_842-6_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.029329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_842-6_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0042201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_842-6_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.052335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_842-6_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.030919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_842-6_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.033023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_842-6_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.070498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_842-6_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.22457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_842-6_0_3_line_46 | NAYY 4x150 SE | 44 | 48 | 0.35961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_842-6_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.032906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_842-6_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.037513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_842-6_0_3_line_49 | NAYY 4x150 SE | 46 | 69 | 0.042725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_842-6_0_3_line_50 | NAYY 4x150 SE | 47 | 75 | 0.016069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_842-6_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.018682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_842-6_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.01348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_842-6_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.013475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_842-6_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.017248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_842-6_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0046754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_842-6_0_3_line_56 | NAYY 4x150 SE | 55 | 56 | 0.024956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_842-6_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.011735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_842-6_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.010139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_842-6_0_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.0087618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_842-6_0_3_line_60 | NAYY 4x150 SE | 59 | 62 | 0.016501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_842-6_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.031898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_842-6_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.0026374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_842-6_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.025955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_842-6_0_3_line_64 | NAYY 4x150 SE | 62 | 64 | 0.022748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_842-6_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.035044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_842-6_0_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.022209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_842-6_0_3_line_67 | NAYY 4x150 SE | 64 | 67 | 0.034217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_842-6_0_3_line_68 | NAYY 4x150 SE | 65 | 68 | 0.033643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_842-6_0_3_line_69 | NAYY 4x150 SE | 65 | 69 | 0.028586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_842-6_0_3_line_70 | NAYY 4x150 SE | 66 | 70 | 0.0030262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_842-6_0_3_line_71 | NAYY 4x150 SE | 67 | 71 | 0.030961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_842-6_0_3_line_72 | NAYY 4x150 SE | 68 | 72 | 0.039056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_842-6_0_3_line_73 | NAYY 4x150 SE | 68 | 73 | 0.020843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_842-6_0_3_line_74 | NAYY 4x150 SE | 70 | 74 | 0.0057401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_842-6_0_3_line_75 | NAYY 4x150 SE | 71 | 81 | 0.0016839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_842-6_0_3_line_76 | NAYY 4x150 SE | 72 | 76 | 0.026305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_842-6_0_3_line_77 | NAYY 4x150 SE | 72 | 77 | 0.011826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_842-6_0_3_line_78 | NAYY 4x150 SE | 73 | 78 | 0.0014951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_842-6_0_3_line_79 | NAYY 4x150 SE | 76 | 83 | 0.009371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_842-6_0_3_line_80 | NAYY 4x150 SE | 77 | 84 | 0.023861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_842-6_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0090623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_842-6_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.018387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_842-6_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.017905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_842-6_0_3_line_84 | NAYY 4x150 SE | 83 | 86 | 0.039866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_842-6_0_3_line_85 | NAYY 4x150 SE | 83 | 87 | 0.016716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_842-6_0_3_line_86 | NAYY 4x150 SE | 83 | 88 | 0.023441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_842-6_0_3_line_87 | NAYY 4x150 SE | 84 | 85 | 0.024821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_842-6_0_3_line_88 | NAYY 4x150 SE | 86 | 93 | 0.0080437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_842-6_0_3_line_89 | NAYY 4x150 SE | 86 | 94 | 0.0023704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_842-6_0_3_line_90 | NAYY 4x150 SE | 88 | 91 | 0.021159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_842-6_0_3_line_91 | NAYY 4x150 SE | 88 | 89 | 0.012061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_842-6_0_3_line_92 | NAYY 4x150 SE | 89 | 90 | 0.0028933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_842-6_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.001398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_842-6_0_3_line_94 | NAYY 4x150 SE | 93 | 95 | 0.011669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_842-6_0_3_line_95 | NAYY 4x150 SE | 94 | 96 | 0.019633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_842-6_0_3_trafo_51 | 0.25 MVA 20/0.4 kV | 97 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2591182.2071 | 1140734.5737 | 2591183.069 | 1140745.4096
1 | 2591189.508 | 1140805.6754 | 2591186.9155 | 1140788.96 | 2591185.3548 | 1140773.2657 | 2591183.2646 | 1140747.8675 | 2591183.069 | 1140745.4096
2 | 2591182.2071 | 1140734.5737 | 2591193.7312 | 1140713.402
3 | 2591180.9996 | 1140713.4319 | 2591182.2071 | 1140734.5737
4 | 2591193.8028 | 1140819.4313 | 2591189.508 | 1140805.6754
5 | 2591180.9996 | 1140713.4319 | 2591179.5985 | 1140706.9864 | 2591177.4802 | 1140699.03 | 2591175.3959 | 1140693.2748 | 2591172.5037 | 1140687.1316 | 2591166.5538 | 1140677.2689 | 2591159.5275 | 1140667.3967 | 2591150.7158 | 1140657.4665
6 | 2591180.9996 | 1140713.4319 | 2591184.8216 | 1140703.6326 | 2591188.6658 | 1140688.0638 | 2591193.733 | 1140668.382
7 | 2591193.8028 | 1140819.4313 | 2591201.027 | 1140817.6421 | 2591219.655 | 1140814.4503
8 | 2591193.8028 | 1140819.4313 | 2591195.0263 | 1140825.3546 | 2591197.5104 | 1140841.5922 | 2591198.355 | 1140846.071
9 | 2591193.8028 | 1140819.4313 | 2591186.3048 | 1140823.1887 | 2591183.65 | 1140826.6735
10 | 2591137.8466 | 1140642.9638 | 2591150.7158 | 1140657.4665
11 | 2591196.0912 | 1140654.3988 | 2591196.0527 | 1140655.6927 | 2591195.5 | 1140661.5185 | 2591193.733 | 1140668.382
12 | 2591198.355 | 1140846.071 | 2591187.6699 | 1140852.1563 | 2591178.7451 | 1140858.1279 | 2591176.929 | 1140859.5828
13 | 2591198.355 | 1140846.071 | 2591210.4919 | 1140841.1909
14 | 2591144.5579 | 1140833.1885 | 2591154.3148 | 1140838.8769 | 2591161.954 | 1140842.245 | 2591168.9505 | 1140842.4459 | 2591175.0959 | 1140839.0574 | 2591181.0211 | 1140832.2898 | 2591183.5578 | 1140826.7945 | 2591183.65 | 1140826.6735
15 | 2591110.8705 | 1140612.0307 | 2591122.5156 | 1140625.6867 | 2591137.8466 | 1140642.9638
16 | 2591196.0912 | 1140654.3988 | 2591196.5875 | 1140637.7387 | 2591197.3086 | 1140629.0041
17 | 2591157.9155 | 1140888.7387 | 2591161.9079 | 1140878.685 | 2591164.5606 | 1140873.6676 | 2591167.1067 | 1140869.3728 | 2591170.0917 | 1140865.5999 | 2591173.7538 | 1140862.1261 | 2591176.929 | 1140859.5828
18 | 2591234.1778 | 1140833.1787 | 2591223.6962 | 1140836.5402 | 2591214.7824 | 1140839.4658 | 2591210.4919 | 1140841.1909
19 | 2591144.5579 | 1140833.1885 | 2591084.1428 | 1140831.722
20 | 2591197.3086 | 1140629.0041 | 2591197.3555 | 1140628.4367
21 | 2591197.3555 | 1140628.4367 | 2591197.489 | 1140626.8197
22 | 2591199.4941 | 1140602.9176 | 2591199.2917 | 1140604.9854 | 2591197.489 | 1140626.8197
23 | 2591199.4941 | 1140602.9176 | 2591199.9483 | 1140598.2756
24 | 2591234.1778 | 1140833.1787 | 2591245.5969 | 1140829.5047 | 2591250.168 | 1140827.1857 | 2591254.7996 | 1140824.2887 | 2591271.6505 | 1140813.0708
25 | 2591234.1778 | 1140833.1787 | 2591237.1355 | 1140836.8651 | 2591247.0067 | 1140841.9309 | 2591270.095 | 1140853.1582 | 2591273.9224 | 1140857.5881 | 2591279.6177 | 1140865.6582
26 | 2591290.6344 | 1140800.6019 | 2591288.5714 | 1140801.8062 | 2591271.6505 | 1140813.0708
27 | 2591142.5946 | 1140922.1618 | 2591144.3856 | 1140919.2974 | 2591149.1461 | 1140909.9969 | 2591154.708 | 1140896.8156 | 2591157.9155 | 1140888.7387
28 | 2591290.6344 | 1140800.6019 | 2591292.309 | 1140799.6242
29 | 2591123.8239 | 1140947.6195 | 2591138.9937 | 1140927.9207 | 2591142.5946 | 1140922.1618
30 | 2591123.8239 | 1140947.6195 | 2591120.6541 | 1140951.2037 | 2591139.3596 | 1140967.3172
31 | 2591085.5477 | 1140990.2638 | 2591092.3133 | 1140980.0821 | 2591104.6176 | 1140961.9328 | 2591116.545 | 1140948.6975 | 2591119.3949 | 1140947.1592 | 2591123.8239 | 1140947.6195
32 | 2591186.699 | 1140944.6028 | 2591184.7434 | 1140942.6492 | 2591182.6812 | 1140941.4072 | 2591180.6969 | 1140940.8432 | 2591178.4059 | 1140940.8132 | 2591175.7545 | 1140941.5063 | 2591173.9033 | 1140942.5429 | 2591171.7456 | 1140944.3025 | 2591166.2109 | 1140949.9245 | 2591158.2883 | 1140957.5955 | 2591154.211 | 1140960.9699 | 2591150.2938 | 1140963.4324 | 2591146.6372 | 1140965.3832 | 2591143.5944 | 1140966.4549 | 2591139.3596 | 1140967.3172
33 | 2591085.5477 | 1140990.2638 | 2591077.701 | 1141002.3036 | 2591076.0092 | 1141007.153 | 2591075.1066 | 1141020.5164 | 2591075.1716 | 1141033.6338
34 | 2591075.1716 | 1141033.6338 | 2591004.7208 | 1141038.5528
35 | 2591084.1428 | 1140831.722 | 2591079.4505 | 1140829.9948 | 2591077.4885 | 1140829.9977
36 | 2591046.0976 | 1140767.0695 | 2591048.5259 | 1140791.9669 | 2591054.6029 | 1140814.8023 | 2591063.0543 | 1140826.5287 | 2591068.7871 | 1140830.0107 | 2591077.4885 | 1140829.9977
37 | 2591077.4885 | 1140829.9977 | 2590968.6743 | 1140866.5788
38 | 2590968.6743 | 1140866.5788 | 2590897.1855 | 1140858.0163
39 | 2590974.0447 | 1140894.8401 | 2590973.2926 | 1140890.5725 | 2590973.3704 | 1140886.0924 | 2590973.3971 | 1140878.3441 | 2590972.9009 | 1140875.6102 | 2590971.9899 | 1140873.077 | 2590968.6743 | 1140866.5788
40 | 2590974.0447 | 1140894.8401 | 2590970.4152 | 1140892.687
41 | 2590897.1855 | 1140858.0163 | 2590892.483 | 1140859.6799 | 2590883.634 | 1140864.6958 | 2590868.906 | 1140876.2461 | 2590855.0402 | 1140888.5733
42 | 2591268.5358 | 1140209.48 | 2591272.6948 | 1140211.4861 | 2591286.1963 | 1140216.6022 | 2591293.452 | 1140214.8464 | 2591295.6702 | 1140211.0492
43 | 2591236.4524 | 1140208.2375 | 2591261.0457 | 1140205.867 | 2591268.5358 | 1140209.48
44 | 2591358.896 | 1140222.9665 | 2591348.6343 | 1140219.6909 | 2591310.6616 | 1140205.5835 | 2591299.8409 | 1140203.9095 | 2591295.6702 | 1140211.0492
45 | 2591120.8131 | 1140400.7463 | 2591236.4524 | 1140208.2375
46 | 2591358.896 | 1140222.9665 | 2591602.8502 | 1140487.17
47 | 2591120.8131 | 1140400.7463 | 2591118.9987 | 1140395.6465 | 2591116.792 | 1140390.4695 | 2591114.4189 | 1140387.0825 | 2591112.8022 | 1140385.6953 | 2591110.5716 | 1140385.0872 | 2591108.2883 | 1140385.2573 | 2591106.5371 | 1140386.505 | 2591104.7493 | 1140388.9422 | 2591103.0789 | 1140392.7576 | 2591102.1932 | 1140394.1612
48 | 2591120.8131 | 1140400.7463 | 2591120.6409 | 1140403.9036 | 2591119.6414 | 1140414.288 | 2591119.4948 | 1140419.0905 | 2591119.7369 | 1140421.647 | 2591120.2778 | 1140423.4248 | 2591121.604 | 1140425.9796 | 2591123.8597 | 1140427.9884 | 2591131.2854 | 1140432.69
49 | 2591102.1932 | 1140394.1612 | 2591101.2533 | 1140395.6506 | 2591087.0828 | 1140410.9236 | 2591075.1601 | 1140422.7805 | 2591073.0117 | 1140425.3052
50 | 2591144.8616 | 1140441.286 | 2591131.2854 | 1140432.69
51 | 2591201.7678 | 1140579.6825 | 2591199.9483 | 1140598.2756
52 | 2591201.7678 | 1140579.6825 | 2591203.0562 | 1140566.5167 | 2591202.9355 | 1140566.2961
53 | 2591196.4649 | 1140554.4761 | 2591202.9355 | 1140566.2961
54 | 2591110.8705 | 1140612.0307 | 2591096.1454 | 1140621.0792
55 | 2591110.8705 | 1140612.0307 | 2591109.1832 | 1140609.6431 | 2591108.4207 | 1140608.066
56 | 2591108.4207 | 1140608.066 | 2591107.8567 | 1140606.8993 | 2591106.2817 | 1140602.4773 | 2591105.1045 | 1140596.6762 | 2591104.3646 | 1140590.2853 | 2591104.0183 | 1140583.681
57 | 2591104.0183 | 1140583.681 | 2591103.6128 | 1140575.9461 | 2591103.6379 | 1140571.9565
58 | 2591103.7016 | 1140561.818 | 2591103.6379 | 1140571.9565
59 | 2591103.7016 | 1140561.818 | 2591103.7567 | 1140553.0564
60 | 2591102.6778 | 1140536.595 | 2591103.2955 | 1140543.5308 | 2591103.762 | 1140552.201 | 2591103.7567 | 1140553.0564
61 | 2591102.3016 | 1140533.9845 | 2591101.1785 | 1140526.1922 | 2591099.061 | 1140518.9251 | 2591094.8268 | 1140510.0604 | 2591091.6121 | 1140504.2601
62 | 2591102.6778 | 1140536.595 | 2591102.3016 | 1140533.9845
63 | 2591079.0306 | 1140481.5589 | 2591091.6121 | 1140504.2601
64 | 2591102.6778 | 1140536.595 | 2591098.4715 | 1140536.0788 | 2591095.1654 | 1140536.0948 | 2591092.0064 | 1140536.7443 | 2591088.6714 | 1140537.9276 | 2591084.5536 | 1140540.0459 | 2591081.5124 | 1140542.3404
65 | 2591061.6781 | 1140451.0922 | 2591079.0306 | 1140481.5589
66 | 2591079.0306 | 1140481.5589 | 2591071.91 | 1140486.0273 | 2591067.5395 | 1140488.9241 | 2591065.5356 | 1140490.7502 | 2591063.6633 | 1140493.232 | 2591062.6768 | 1140495.7876
67 | 2591067.5966 | 1140573.3465 | 2591068.8224 | 1140570.5398 | 2591076.8399 | 1140548.9395 | 2591078.995 | 1140545.3123 | 2591081.5124 | 1140542.3404
68 | 2591061.6781 | 1140451.0922 | 2591051.0467 | 1140457.4779 | 2591034.3593 | 1140470.7204
69 | 2591061.6781 | 1140451.0922 | 2591063.7513 | 1140449.2327 | 2591064.5796 | 1140447.8307 | 2591068.2516 | 1140435.497 | 2591070.8865 | 1140428.8121 | 2591072.328 | 1140426.1086 | 2591073.0117 | 1140425.3052
70 | 2591061.587 | 1140498.6107 | 2591062.6768 | 1140495.7876
71 | 2591050.7478 | 1140599.1911 | 2591059.6909 | 1140587.5284 | 2591062.4368 | 1140583.1332 | 2591065.9414 | 1140577.1362 | 2591067.5966 | 1140573.3465
72 | 2591034.3593 | 1140470.7204 | 2591032.0027 | 1140473.2363 | 2591030.0012 | 1140476.6854 | 2591027.9108 | 1140482.4136 | 2591026.5738 | 1140488.0294 | 2591025.4258 | 1140496.6798 | 2591024.758 | 1140507.6862
73 | 2591034.3593 | 1140470.7204 | 2591028.2818 | 1140450.7832
74 | 2591059.5198 | 1140503.9657 | 2591061.587 | 1140498.6107
75 | 2591049.7231 | 1140600.5274 | 2591050.7478 | 1140599.1911
76 | 2591024.758 | 1140507.6862 | 2591020.099 | 1140528.3032 | 2591018.3718 | 1140533.1744
77 | 2591024.758 | 1140507.6862 | 2591020.6611 | 1140503.3013 | 2591017.3232 | 1140498.5273
78 | 2591027.8458 | 1140449.3531 | 2591028.2818 | 1140450.7832
79 | 2591014.8681 | 1140541.8621 | 2591017.4883 | 1140535.6663 | 2591018.3718 | 1140533.1744
80 | 2591005.1874 | 1140478.1665 | 2591005.9425 | 1140480.9681 | 2591008.5873 | 1140486.0332 | 2591017.3232 | 1140498.5273
81 | 2591032.9852 | 1140622.2823 | 2591038.5299 | 1140615.1141
82 | 2591049.7231 | 1140600.5274 | 2591044.4669 | 1140607.4386 | 2591038.5299 | 1140615.1141
83 | 2591059.6541 | 1140614.3415 | 2591056.5035 | 1140605.1528 | 2591049.7231 | 1140600.5274
84 | 2590995.7456 | 1140576.719 | 2590998.1315 | 1140573.2248 | 2591007.0481 | 1140556.6144 | 2591011.0705 | 1140547.2594 | 2591014.8681 | 1140541.8621
85 | 2591014.8681 | 1140541.8621 | 2591016.155 | 1140543.8167 | 2591018.0273 | 1140546.4596 | 2591018.9544 | 1140549.4597 | 2591019.243 | 1140552.2162 | 2591018.5783 | 1140554.9741 | 2591017.5174 | 1140557.1136
86 | 2590994.7646 | 1140543.0596 | 2591005.294 | 1140545.6117 | 2591011.0705 | 1140547.2594 | 2591014.8681 | 1140541.8621
87 | 2590990.4518 | 1140466.7511 | 2591003.3142 | 1140466.376 | 2591004.6127 | 1140476.0343 | 2591005.1874 | 1140478.1665
88 | 2590995.7456 | 1140576.719 | 2590998.5628 | 1140583.9738 | 2590998.5891 | 1140584.2336
89 | 2590995.7456 | 1140576.719 | 2590994.4093 | 1140578.6768
90 | 2590994.7646 | 1140543.0596 | 2590988.499 | 1140548.4828 | 2590979.5249 | 1140557.7116
91 | 2590994.7646 | 1140543.0596 | 2590991.8165 | 1140540.774 | 2590989.7989 | 1140538.6316 | 2590988.2571 | 1140535.9104 | 2590987.6367 | 1140533.7367
92 | 2590986.8427 | 1140530.9545 | 2590987.6367 | 1140533.7367
93 | 2590978.5502 | 1140558.7139 | 2590979.5249 | 1140557.7116
94 | 2590995.7659 | 1140595.3058 | 2590998.8906 | 1140587.2083 | 2590998.5891 | 1140584.2336
95 | 2590994.4093 | 1140578.6768 | 2590983.3408 | 1140594.8924

## bus_geodata
| x | y | coords
0 | 2591183.069 | 1140745.4096
1 | 2591182.2071 | 1140734.5737
2 | 2591189.508 | 1140805.6754
3 | 2591193.7312 | 1140713.402
4 | 2591180.9996 | 1140713.4319
5 | 2591193.8028 | 1140819.4313
6 | 2591150.7158 | 1140657.4665
7 | 2591193.733 | 1140668.382
8 | 2591219.655 | 1140814.4503
9 | 2591198.355 | 1140846.071
10 | 2591183.65 | 1140826.6735
11 | 2591137.8466 | 1140642.9638
12 | 2591196.0912 | 1140654.3988
13 | 2591176.929 | 1140859.5828
14 | 2591210.4919 | 1140841.1909
15 | 2591144.5579 | 1140833.1885
16 | 2591197.3086 | 1140629.0041
17 | 2591197.3555 | 1140628.4367
18 | 2591197.489 | 1140626.8197
19 | 2591199.4941 | 1140602.9176
20 | 2591234.1778 | 1140833.1787
21 | 2591271.6505 | 1140813.0708
22 | 2591279.6177 | 1140865.6582
23 | 2591157.9155 | 1140888.7387
24 | 2591290.6344 | 1140800.6019
25 | 2591142.5946 | 1140922.1618
26 | 2591292.309 | 1140799.6242
27 | 2591123.8239 | 1140947.6195
28 | 2591139.3596 | 1140967.3172
29 | 2591085.5477 | 1140990.2638
30 | 2591075.1716 | 1141033.6338
31 | 2591004.7208 | 1141038.5528
32 | 2591186.699 | 1140944.6028
33 | 2591077.4885 | 1140829.9977
34 | 2591084.1428 | 1140831.722
35 | 2591046.0976 | 1140767.0695
36 | 2590968.6743 | 1140866.5788
37 | 2590970.4152 | 1140892.687
38 | 2590974.0447 | 1140894.8401
39 | 2590897.1855 | 1140858.0163
40 | 2590855.0402 | 1140888.5733
41 | 2591268.5358 | 1140209.48
42 | 2591295.6702 | 1140211.0492
43 | 2591236.4524 | 1140208.2375
44 | 2591358.896 | 1140222.9665
45 | 2591120.8131 | 1140400.7463
46 | 2591102.1932 | 1140394.1612
47 | 2591131.2854 | 1140432.69
48 | 2591602.8502 | 1140487.17
49 | 2591199.9483 | 1140598.2756
50 | 2591201.7678 | 1140579.6825
51 | 2591202.9355 | 1140566.2961
52 | 2591196.4649 | 1140554.4761
53 | 2591110.8705 | 1140612.0307
54 | 2591096.1454 | 1140621.0792
55 | 2591108.4207 | 1140608.066
56 | 2591104.0183 | 1140583.681
57 | 2591103.6379 | 1140571.9565
58 | 2591103.7016 | 1140561.818
59 | 2591103.7567 | 1140553.0564
60 | 2591102.3016 | 1140533.9845
61 | 2591091.6121 | 1140504.2601
62 | 2591102.6778 | 1140536.595
63 | 2591079.0306 | 1140481.5589
64 | 2591081.5124 | 1140542.3404
65 | 2591061.6781 | 1140451.0922
66 | 2591062.6768 | 1140495.7876
67 | 2591067.5966 | 1140573.3465
68 | 2591034.3593 | 1140470.7204
69 | 2591073.0117 | 1140425.3052
70 | 2591061.587 | 1140498.6107
71 | 2591050.7478 | 1140599.1911
72 | 2591024.758 | 1140507.6862
73 | 2591028.2818 | 1140450.7832
74 | 2591059.5198 | 1140503.9657
75 | 2591144.8616 | 1140441.286
76 | 2591018.3718 | 1140533.1744
77 | 2591017.3232 | 1140498.5273
78 | 2591027.8458 | 1140449.3531
79 | 2591032.9852 | 1140622.2823
80 | 2591038.5299 | 1140615.1141
81 | 2591049.7231 | 1140600.5274
82 | 2591059.6541 | 1140614.3415
83 | 2591014.8681 | 1140541.8621
84 | 2591005.1874 | 1140478.1665
85 | 2590990.4518 | 1140466.7511
86 | 2590995.7456 | 1140576.719
87 | 2591017.5174 | 1140557.1136
88 | 2590994.7646 | 1140543.0596
89 | 2590987.6367 | 1140533.7367
90 | 2590986.8427 | 1140530.9545
91 | 2590979.5249 | 1140557.7116
92 | 2590978.5502 | 1140558.7139
93 | 2590998.5891 | 1140584.2336
94 | 2590994.4093 | 1140578.6768
95 | 2590995.7659 | 1140595.3058
96 | 2590983.3408 | 1140594.8924
97 | 2591110.8705 | 1140612.0307

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1