## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_843-17_1_3_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_843-17_1_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_843-17_1_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_843-17_1_3_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_843-17_1_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_843-17_1_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_843-17_1_3_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_843-17_1_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_843-17_1_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_843-17_1_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_843-17_1_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_843-17_1_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_843-17_1_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_843-17_1_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_843-17_1_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_843-17_1_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_843-17_1_3_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_843-17_1_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_843-17_1_3_node_94 | 0.4 | n |  | TRUE
19 | bus_LV_843-17_1_3_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_843-17_1_3_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_843-17_1_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_843-17_1_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_843-17_1_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_843-17_1_3_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_843-17_1_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_843-17_1_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_843-17_1_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_843-17_1_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_843-17_1_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_843-17_1_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_843-17_1_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_843-17_1_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_843-17_1_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_843-17_1_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_843-17_1_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_843-17_1_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_843-17_1_3_node_115 | 0.4 | n |  | TRUE
38 | bus_LV_843-17_1_3_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_843-17_1_3_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_843-17_1_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_843-17_1_3_node_117 | 0.4 | n |  | TRUE
42 | bus_LV_843-17_1_3_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_843-17_1_3_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_843-17_1_3_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_843-17_1_3_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_843-17_1_3_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_843-17_1_3_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_843-17_1_3_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_843-17_1_3_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_843-17_1_3_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_843-17_1_3_node_124 | 0.4 | n |  | TRUE
52 | bus_LV_843-17_1_3_node_122 | 0.4 | n |  | TRUE
53 | bus_LV_843-17_1_3_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_843-17_1_3_node_125 | 0.4 | n |  | TRUE
55 | bus_LV_843-17_1_3_node_123 | 0.4 | n |  | TRUE
56 | bus_LV_843-17_1_3_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_843-17_1_3_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_843-17_1_3_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_843-17_1_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_843-17_1_3_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_843-17_1_3_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_843-17_1_3_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_843-17_1_3_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_843-17_1_3_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_843-17_1_3_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_843-17_1_3_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_843-17_1_3_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_843-17_1_3_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_843-17_1_3_node_152 | 0.4 | n |  | TRUE
70 | bus_LV_843-17_1_3_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_843-17_1_3_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_843-17_1_3_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_843-17_1_3_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_843-17_1_3_node_103 | 0.4 | n |  | TRUE
75 | bus_LV_843-17_1_3_node_120 | 0.4 | n |  | TRUE
76 | bus_LV_843-17_1_3_node_121 | 0.4 | n |  | TRUE
77 | bus_LV_843-17_1_3_node_137 | 0.4 | n |  | TRUE
78 | bus_MV_210_0_node_247 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_843-17_1_3_load_5 | 0 | 0.0012977 | 0.00032522 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_843-17_1_3_load_6 | 1 | 0.0010401 | 0.00026067 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_843-17_1_3_load_7 | 2 | 0.001848 | 0.00046316 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_843-17_1_3_load_10 | 3 | 0.00089762 | 0.00022496 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_843-17_1_3_load_9 | 4 | 0.0015878 | 0.00039794 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_843-17_1_3_load_12 | 5 | 0.0013795 | 0.00034575 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_843-17_1_3_load_70 | 6 | 0.0020276 | 0.00050816 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_843-17_1_3_load_23 | 7 | 0.0014285 | 0.00035802 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_843-17_1_3_load_24 | 8 | 0.0010378 | 0.0002601 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_843-17_1_3_load_16 | 9 | 0.0016589 | 0.00041575 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_843-17_1_3_load_17 | 10 | 0.0015768 | 0.00039517 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_843-17_1_3_load_20 | 13 | 0.00095819 | 0.00024015 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_843-17_1_3_load_21 | 14 | 0.00088048 | 0.00022067 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_843-17_1_3_load_22 | 15 | 0.0012673 | 0.00031762 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_843-17_1_3_load_65 | 19 | 0.0018708 | 0.00046887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_843-17_1_3_load_25 | 21 | 0.00024447 | 6.1271e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_843-17_1_3_load_26 | 22 | 0.00037482 | 9.3938e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_843-17_1_3_load_27 | 23 | 0.00035325 | 8.8532e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_843-17_1_3_load_34 | 30 | 0.007977 | 0.0019992 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_843-17_1_3_load_38 | 31 | 0.0049256 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_843-17_1_3_load_39 | 32 | 0.0006007 | 0.00015055 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_843-17_1_3_load_40 | 33 | 0.00078956 | 0.00019788 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_843-17_1_3_load_37 | 35 | 0.0055471 | 0.0013902 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_843-17_1_3_load_97 | 38 | 0.00033036 | 8.2795e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_843-17_1_3_load_100 | 39 | 0.00020733 | 5.1962e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_843-17_1_3_load_36 | 40 | 0.0020488 | 0.00051347 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_843-17_1_3_load_96 | 42 | 0.0018609 | 0.00046638 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_843-17_1_3_load_99 | 43 | 0.00020898 | 5.2375e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_843-17_1_3_load_61 | 44 | 0.0019357 | 0.00048514 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_843-17_1_3_load_64 | 46 | 0.0029867 | 0.00074854 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_843-17_1_3_load_66 | 47 | 0.0019374 | 0.00048555 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_843-17_1_3_load_98 | 48 | 0.0029085 | 0.00072895 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_843-17_1_3_load_91 | 49 | 0.0016859 | 0.00042251 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_843-17_1_3_load_124 | 51 | 0.00093748 | 0.00023495 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_843-17_1_3_load_122 | 52 | 0.0012804 | 0.00032089 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_843-17_1_3_load_92 | 53 | 0.0018575 | 0.00046554 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_843-17_1_3_load_125 | 54 | 0.001284 | 0.00032179 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_843-17_1_3_load_123 | 55 | 0.0011956 | 0.00029964 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_843-17_1_3_load_78 | 56 | 0.001985 | 0.00049749 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_843-17_1_3_load_79 | 57 | 0.0035744 | 0.00089582 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_843-17_1_3_load_80 | 58 | 0.0018967 | 0.00047536 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_843-17_1_3_load_81 | 59 | 0.0036417 | 0.0009127 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_843-17_1_3_load_82 | 60 | 0.0018778 | 0.00047063 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_843-17_1_3_load_83 | 61 | 0.0022444 | 0.00056251 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_843-17_1_3_load_84 | 62 | 0.0017776 | 0.00044551 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_843-17_1_3_load_89 | 63 | 0.001177 | 0.00029498 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_843-17_1_3_load_87 | 64 | 0.0036998 | 0.00092726 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_843-17_1_3_load_85 | 65 | 0.0017327 | 0.00043426 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_843-17_1_3_load_86 | 66 | 0.00096447 | 0.00024172 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_843-17_1_3_load_152 | 69 | 0.0011313 | 0.00028352 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_843-17_1_3_load_93 | 70 | 0.0012671 | 0.00031757 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_843-17_1_3_load_95 | 71 | 0.0019951 | 0.00050002 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_843-17_1_3_load_102 | 73 | 0.0011027 | 0.00027637 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_843-17_1_3_load_103 | 74 | 0.006189 | 0.0015511 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_843-17_1_3_load_121 | 76 | 0.00037536 | 9.4073e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_843-17_1_3_load_137 | 77 | 0.00053495 | 0.00013407 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_843-17_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0012229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_843-17_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.030082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_843-17_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.063807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_843-17_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_843-17_1_3_line_4 | NAYY 4x150 SE | 3 | 6 | 0.10795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_843-17_1_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.016133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_843-17_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.031846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_843-17_1_3_line_7 | NAYY 4x150 SE | 6 | 50 | 0.080205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_843-17_1_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.033011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_843-17_1_3_line_9 | NAYY 4x150 SE | 8 | 19 | 0.022644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_843-17_1_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.020769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_843-17_1_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.034348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_843-17_1_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.012553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_843-17_1_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.011458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_843-17_1_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.030152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_843-17_1_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.010194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_843-17_1_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.027093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_843-17_1_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.051082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_843-17_1_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.070955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_843-17_1_3_line_19 | NAYY 4x150 SE | 17 | 51 | 0.018625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_843-17_1_3_line_20 | NAYY 4x150 SE | 17 | 52 | 0.046195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_843-17_1_3_line_21 | NAYY 4x150 SE | 17 | 50 | 0.096833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_843-17_1_3_line_22 | NAYY 4x150 SE | 18 | 42 | 0.022377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_843-17_1_3_line_23 | NAYY 4x150 SE | 18 | 53 | 0.011282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_843-17_1_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.016885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_843-17_1_3_line_25 | NAYY 4x150 SE | 20 | 47 | 0.0042679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_843-17_1_3_line_26 | NAYY 4x150 SE | 20 | 45 | 0.13367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_843-17_1_3_line_27 | NAYY 4x150 SE | 21 | 22 | 0.092085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_843-17_1_3_line_28 | NAYY 4x150 SE | 21 | 23 | 0.028185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_843-17_1_3_line_29 | NAYY 4x150 SE | 22 | 24 | 0.074987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_843-17_1_3_line_30 | NAYY 4x150 SE | 23 | 25 | 0.031783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_843-17_1_3_line_31 | NAYY 4x150 SE | 24 | 26 | 0.02766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_843-17_1_3_line_32 | NAYY 4x150 SE | 25 | 27 | 0.027427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_843-17_1_3_line_33 | NAYY 4x150 SE | 25 | 28 | 0.023555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_843-17_1_3_line_34 | NAYY 4x150 SE | 26 | 29 | 0.033648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_843-17_1_3_line_35 | NAYY 4x150 SE | 26 | 30 | 0.0074751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_843-17_1_3_line_36 | NAYY 4x150 SE | 27 | 31 | 0.1487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_843-17_1_3_line_37 | NAYY 4x150 SE | 27 | 32 | 0.14627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_843-17_1_3_line_38 | NAYY 4x150 SE | 28 | 33 | 0.015275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_843-17_1_3_line_39 | NAYY 4x150 SE | 28 | 34 | 0.028949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_843-17_1_3_line_40 | NAYY 4x150 SE | 29 | 35 | 0.018703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_843-17_1_3_line_41 | NAYY 4x150 SE | 30 | 36 | 0.015765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_843-17_1_3_line_42 | NAYY 4x150 SE | 32 | 37 | 0.14702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_843-17_1_3_line_43 | NAYY 4x150 SE | 34 | 38 | 0.016109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_843-17_1_3_line_44 | NAYY 4x150 SE | 34 | 39 | 0.011183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_843-17_1_3_line_45 | NAYY 4x150 SE | 36 | 40 | 0.034427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_843-17_1_3_line_46 | NAYY 4x150 SE | 37 | 41 | 0.099705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_843-17_1_3_line_47 | NAYY 4x150 SE | 38 | 42 | 0.055079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_843-17_1_3_line_48 | NAYY 4x150 SE | 39 | 43 | 0.012488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_843-17_1_3_line_49 | NAYY 4x150 SE | 41 | 75 | 0.008877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_843-17_1_3_line_50 | NAYY 4x150 SE | 41 | 76 | 0.03164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_843-17_1_3_line_51 | NAYY 4x150 SE | 43 | 72 | 0.014784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_843-17_1_3_line_52 | NAYY 4x150 SE | 44 | 45 | 0.018432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_843-17_1_3_line_53 | NAYY 4x150 SE | 45 | 46 | 0.065794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_843-17_1_3_line_54 | NAYY 4x150 SE | 47 | 48 | 0.020091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_843-17_1_3_line_55 | NAYY 4x150 SE | 48 | 49 | 0.026492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_843-17_1_3_line_56 | NAYY 4x150 SE | 49 | 61 | 0.0058179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_843-17_1_3_line_57 | NAYY 4x150 SE | 51 | 54 | 0.0067068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_843-17_1_3_line_58 | NAYY 4x150 SE | 52 | 55 | 0.03786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_843-17_1_3_line_59 | NAYY 4x150 SE | 53 | 70 | 0.014226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_843-17_1_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.014776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_843-17_1_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.0091649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_843-17_1_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.0010099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_843-17_1_3_line_63 | NAYY 4x150 SE | 58 | 60 | 0.0037344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_843-17_1_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.034767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_843-17_1_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.022798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_843-17_1_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.014134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_843-17_1_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.029804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_843-17_1_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.01983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_843-17_1_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.052127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_843-17_1_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.051691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_843-17_1_3_line_71 | NAYY 4x150 SE | 67 | 68 | 0.023148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_843-17_1_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.10752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_843-17_1_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.013341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_843-17_1_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.01059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_843-17_1_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.012598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_843-17_1_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.080862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_843-17_1_3_trafo_17 | 0.25 MVA 20/0.4 kV | 78 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2589857.3803 | 1151582.864 | 2589858.3791 | 1151583.5697
1 | 2589857.3803 | 1151582.864 | 2589832.8123 | 1151565.5042
2 | 2589858.3791 | 1151583.5697 | 2589850.7272 | 1151646.9165
3 | 2589823.9653 | 1151559.2529 | 2589832.8123 | 1151565.5042
4 | 2589793.9705 | 1151738.7377 | 2589850.7272 | 1151646.9165
5 | 2589823.9653 | 1151559.2529 | 2589810.7893 | 1151549.9427
6 | 2589810.7893 | 1151549.9427 | 2589805.3219 | 1151546.0794 | 2589790.6686 | 1151535.4547 | 2589785.0723 | 1151531.1646
7 | 2589793.9705 | 1151738.7377 | 2589747.5757 | 1151794.2999 | 2589743.2666 | 1151800.9217
8 | 2589759.6491 | 1151510.1312 | 2589762.5414 | 1151512.8251 | 2589776.3447 | 1151524.4738 | 2589785.0723 | 1151531.1646
9 | 2589759.6491 | 1151510.1312 | 2589749.4124 | 1151500.5971 | 2589743.3584 | 1151494.4115
10 | 2589599.1162 | 1151664.1814 | 2589608.8055 | 1151671.1346 | 2589617.0152 | 1151674.4202
11 | 2589647.7372 | 1151688.9203 | 2589644.2622 | 1151685.3245 | 2589617.0152 | 1151674.4202
12 | 2589650.2296 | 1151701.222 | 2589647.7372 | 1151688.9203
13 | 2589652.0473 | 1151678.4521 | 2589650.2019 | 1151685.2253 | 2589647.7372 | 1151688.9203
14 | 2589670.1603 | 1151679.4435 | 2589660.9536 | 1151694.1222 | 2589650.2296 | 1151701.222
15 | 2589650.2296 | 1151701.222 | 2589650.2449 | 1151710.0485 | 2589650.0214 | 1151711.3971
16 | 2589639.8514 | 1151735.101 | 2589645.844 | 1151730.1549 | 2589647.5487 | 1151726.3167 | 2589650.0214 | 1151711.3971
17 | 2589639.8514 | 1151735.101 | 2589671.9222 | 1151744.2056 | 2589677.2303 | 1151747.2312 | 2589688.1437 | 1151743.1993
18 | 2589639.8514 | 1151735.101 | 2589571.4251 | 1151715.6216
19 | 2589688.1437 | 1151743.1993 | 2589697.1314 | 1151735.0687 | 2589703.1501 | 1151732.6008
20 | 2589688.1437 | 1151743.1993 | 2589731.0083 | 1151725.9769
21 | 2589688.1437 | 1151743.1993 | 2589677.2303 | 1151747.2312 | 2589682.0928 | 1151750.0242 | 2589704.5552 | 1151767.8942 | 2589731.6459 | 1151790.7922 | 2589743.2666 | 1151800.9217
22 | 2589571.4251 | 1151715.6216 | 2589549.8597 | 1151709.6481
23 | 2589571.4251 | 1151715.6216 | 2589579.7707 | 1151713.3392 | 2589582.3513 | 1151712.8333
24 | 2589731.7371 | 1151482.1629 | 2589740.4406 | 1151491.4302 | 2589743.3584 | 1151494.4115
25 | 2589731.7371 | 1151482.1629 | 2589728.9601 | 1151478.922
26 | 2589731.7371 | 1151482.1629 | 2589734.8235 | 1151478.4113 | 2589736.3437 | 1151474.2955 | 2589736.3361 | 1151469.8934 | 2589734.5633 | 1151465.4276 | 2589731.5787 | 1151461.4307 | 2589723.8748 | 1151453.2956 | 2589721.9738 | 1151450.164 | 2589720.9461 | 1151446.0748 | 2589721.2393 | 1151442.5281 | 2589722.7298 | 1151439.0461 | 2589725.6333 | 1151436.0507 | 2589744.8762 | 1151415.2964 | 2589776.8256 | 1151374.9886
27 | 2589392.0945 | 1151633.6524 | 2589392.0945 | 1151633.6524 | 2589395.6943 | 1151625.2975 | 2589445.8248 | 1151569.826 | 2589446.478 | 1151561.6319
28 | 2589392.0945 | 1151633.6524 | 2589394.3453 | 1151643.5088 | 2589407.3603 | 1151656.0517
29 | 2589388.8006 | 1151520.3249 | 2589403.4801 | 1151519.3873 | 2589446.478 | 1151561.6319
30 | 2589430.2454 | 1151678.1066 | 2589407.3603 | 1151656.0517
31 | 2589388.8006 | 1151520.3249 | 2589370.2072 | 1151499.8034
32 | 2589430.2454 | 1151678.1066 | 2589414.3599 | 1151678.2126 | 2589402.7969 | 1151679.367
33 | 2589430.2454 | 1151678.1066 | 2589441.6901 | 1151679.4426 | 2589453.2462 | 1151683.024
34 | 2589370.2072 | 1151499.8034 | 2589393.8097 | 1151475.7608
35 | 2589370.2072 | 1151499.8034 | 2589364.7995 | 1151494.6427
36 | 2589366.2547 | 1151823.1802 | 2589369.2769 | 1151813.748 | 2589372.1822 | 1151803.3377 | 2589377.6017 | 1151782.6846 | 2589382.4763 | 1151761.9213 | 2589387.8813 | 1151741.6462 | 2589391.8128 | 1151725.7092 | 2589393.4263 | 1151718.1026 | 2589394.7016 | 1151710.2409 | 2589395.9033 | 1151699.8337 | 2589397.2116 | 1151693.2392 | 2589399.7393 | 1151686.2424 | 2589402.7969 | 1151679.367
37 | 2589402.7969 | 1151679.367 | 2589351.5208 | 1151685.5055 | 2589334.0345 | 1151691.6953 | 2589264.1792 | 1151721.8183
38 | 2589453.2462 | 1151683.024 | 2589455.4527 | 1151667.9127
39 | 2589453.2462 | 1151683.024 | 2589481.2552 | 1151690.6451
40 | 2589393.8097 | 1151475.7608 | 2589407.8048 | 1151478.2928 | 2589411.6762 | 1151475.9403
41 | 2589353.3946 | 1151483.7587 | 2589364.7995 | 1151494.6427
42 | 2589122.1527 | 1151710.7419 | 2589138.6909 | 1151715.0584 | 2589209.3632 | 1151732.35 | 2589225.5902 | 1151734.444 | 2589239.1614 | 1151732.0073 | 2589249.1772 | 1151728.2874 | 2589264.1792 | 1151721.8183
43 | 2589481.2552 | 1151690.6451 | 2589496.7799 | 1151694.9453
44 | 2589481.2552 | 1151690.6451 | 2589485.5517 | 1151680.3202
45 | 2589353.3946 | 1151483.7587 | 2589369.7103 | 1151453.426
46 | 2589093.4616 | 1151615.5141 | 2589094.5192 | 1151623.1381 | 2589099.5748 | 1151639.0033 | 2589118.2407 | 1151703.2787 | 2589122.1527 | 1151710.7419
47 | 2589549.8597 | 1151709.6481 | 2589496.7799 | 1151694.9453
48 | 2589492.8044 | 1151670.3614 | 2589491.5046 | 1151671.2286 | 2589486.5511 | 1151677.9184 | 2589485.5517 | 1151680.3202
49 | 2589093.4616 | 1151615.5141 | 2589084.7314 | 1151617.2531
50 | 2589093.4616 | 1151615.5141 | 2589097.6036 | 1151593.2956 | 2589097.8456 | 1151584.2602
51 | 2589505.0489 | 1151662.0781 | 2589501.3775 | 1151664.6414 | 2589492.8044 | 1151670.3614
52 | 2589776.8256 | 1151374.9886 | 2589785.6838 | 1151391.1527
53 | 2589776.8256 | 1151374.9886 | 2589798.8918 | 1151344.4137 | 2589816.9798 | 1151330.2203 | 2589818.986 | 1151325.5357
54 | 2589728.9601 | 1151478.922 | 2589720.8559 | 1151469.4642 | 2589716.0767 | 1151463.5089
55 | 2589699.4958 | 1151442.847 | 2589716.0767 | 1151463.5089
56 | 2589699.4958 | 1151442.847 | 2589695.8545 | 1151438.3095
57 | 2589709.3555 | 1151730.0563 | 2589703.1501 | 1151732.6008
58 | 2589749.6496 | 1151701.4619 | 2589752.1376 | 1151711.3069 | 2589751.5307 | 1151715.41 | 2589748.8582 | 1151718.8051 | 2589731.0083 | 1151725.9769
59 | 2589582.3513 | 1151712.8333 | 2589590.7564 | 1151711.1857 | 2589592.8486 | 1151709.5702 | 2589593.634 | 1151706.6562
60 | 2589664.2196 | 1151398.878 | 2589666.549 | 1151401.7913 | 2589673.4623 | 1151410.4061
61 | 2589664.2196 | 1151398.878 | 2589658.496 | 1151391.7201
62 | 2589673.4623 | 1151410.4061 | 2589674.0944 | 1151411.1938
63 | 2589656.1639 | 1151388.8034 | 2589658.496 | 1151391.7201
64 | 2589695.8545 | 1151438.3095 | 2589674.0944 | 1151411.1938
65 | 2589641.9267 | 1151370.9981 | 2589656.1639 | 1151388.8034
66 | 2589641.9267 | 1151370.9981 | 2589633.1 | 1151359.9592
67 | 2589633.1 | 1151359.9592 | 2589614.487 | 1151336.6815
68 | 2589602.1113 | 1151321.1876 | 2589605.949 | 1151326.0037 | 2589614.487 | 1151336.6815
69 | 2589602.1113 | 1151321.1876 | 2589600.5265 | 1151319.1986 | 2589594.6818 | 1151312.3499 | 2589588.5847 | 1151306.0463 | 2589580.6132 | 1151298.6677 | 2589572.1971 | 1151291.6789 | 2589564.0772 | 1151285.828
70 | 2589518.7426 | 1151261.1018 | 2589541.1574 | 1151272.3904 | 2589551.5126 | 1151277.9083 | 2589561.2699 | 1151283.8052 | 2589564.0772 | 1151285.828
71 | 2589499.6001 | 1151255.8106 | 2589501.743 | 1151252.3829 | 2589518.7426 | 1151261.1018
72 | 2589440.6763 | 1151344.5579 | 2589488.731 | 1151281.0754 | 2589499.2273 | 1151262.0588 | 2589499.6001 | 1151255.8106
73 | 2589593.818 | 1151693.316 | 2589593.634 | 1151706.6562
74 | 2589501.3264 | 1151653.058 | 2589505.2475 | 1151657.1642 | 2589505.0489 | 1151662.0781
75 | 2589517.3979 | 1151662.679 | 2589509.575 | 1151661.0474 | 2589505.0489 | 1151662.0781
76 | 2589044.0765 | 1151686.2946 | 2589062.5247 | 1151643.9845 | 2589084.7314 | 1151617.2531

## bus_geodata
| x | y | coords
0 | 2589857.3803 | 1151582.864
1 | 2589858.3791 | 1151583.5697
2 | 2589832.8123 | 1151565.5042
3 | 2589850.7272 | 1151646.9165
4 | 2589823.9653 | 1151559.2529
5 | 2589810.7893 | 1151549.9427
6 | 2589793.9705 | 1151738.7377
7 | 2589785.0723 | 1151531.1646
8 | 2589759.6491 | 1151510.1312
9 | 2589617.0152 | 1151674.4202
10 | 2589599.1162 | 1151664.1814
11 | 2589647.7372 | 1151688.9203
12 | 2589650.2296 | 1151701.222
13 | 2589652.0473 | 1151678.4521
14 | 2589670.1603 | 1151679.4435
15 | 2589650.0214 | 1151711.3971
16 | 2589639.8514 | 1151735.101
17 | 2589688.1437 | 1151743.1993
18 | 2589571.4251 | 1151715.6216
19 | 2589743.3584 | 1151494.4115
20 | 2589731.7371 | 1151482.1629
21 | 2589392.0945 | 1151633.6524
22 | 2589446.478 | 1151561.6319
23 | 2589407.3603 | 1151656.0517
24 | 2589388.8006 | 1151520.3249
25 | 2589430.2454 | 1151678.1066
26 | 2589370.2072 | 1151499.8034
27 | 2589402.7969 | 1151679.367
28 | 2589453.2462 | 1151683.024
29 | 2589393.8097 | 1151475.7608
30 | 2589364.7995 | 1151494.6427
31 | 2589366.2547 | 1151823.1802
32 | 2589264.1792 | 1151721.8183
33 | 2589455.4527 | 1151667.9127
34 | 2589481.2552 | 1151690.6451
35 | 2589411.6762 | 1151475.9403
36 | 2589353.3946 | 1151483.7587
37 | 2589122.1527 | 1151710.7419
38 | 2589496.7799 | 1151694.9453
39 | 2589485.5517 | 1151680.3202
40 | 2589369.7103 | 1151453.426
41 | 2589093.4616 | 1151615.5141
42 | 2589549.8597 | 1151709.6481
43 | 2589492.8044 | 1151670.3614
44 | 2589785.6838 | 1151391.1527
45 | 2589776.8256 | 1151374.9886
46 | 2589818.986 | 1151325.5357
47 | 2589728.9601 | 1151478.922
48 | 2589716.0767 | 1151463.5089
49 | 2589699.4958 | 1151442.847
50 | 2589743.2666 | 1151800.9217
51 | 2589703.1501 | 1151732.6008
52 | 2589731.0083 | 1151725.9769
53 | 2589582.3513 | 1151712.8333
54 | 2589709.3555 | 1151730.0563
55 | 2589749.6496 | 1151701.4619
56 | 2589664.2196 | 1151398.878
57 | 2589673.4623 | 1151410.4061
58 | 2589658.496 | 1151391.7201
59 | 2589674.0944 | 1151411.1938
60 | 2589656.1639 | 1151388.8034
61 | 2589695.8545 | 1151438.3095
62 | 2589641.9267 | 1151370.9981
63 | 2589633.1 | 1151359.9592
64 | 2589614.487 | 1151336.6815
65 | 2589602.1113 | 1151321.1876
66 | 2589564.0772 | 1151285.828
67 | 2589518.7426 | 1151261.1018
68 | 2589499.6001 | 1151255.8106
69 | 2589440.6763 | 1151344.5579
70 | 2589593.634 | 1151706.6562
71 | 2589593.818 | 1151693.316
72 | 2589505.0489 | 1151662.0781
73 | 2589501.3264 | 1151653.058
74 | 2589517.3979 | 1151662.679
75 | 2589084.7314 | 1151617.2531
76 | 2589097.8456 | 1151584.2602
77 | 2589044.0765 | 1151686.2946
78 | 2589647.7372 | 1151688.9203

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1