## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_843-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_843-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_843-1_0_6_node_98 | 0.4 | n |  | TRUE
3 | bus_LV_843-1_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_843-1_0_6_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_843-1_0_6_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_843-1_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_843-1_0_6_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_843-1_0_6_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_843-1_0_6_node_90 | 0.4 | n |  | TRUE
10 | bus_LV_843-1_0_6_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_843-1_0_6_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_843-1_0_6_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_843-1_0_6_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_843-1_0_6_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_843-1_0_6_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_843-1_0_6_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_843-1_0_6_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_843-1_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_843-1_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_843-1_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_843-1_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_843-1_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_843-1_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_843-1_0_6_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_843-1_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_843-1_0_6_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_843-1_0_6_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_843-1_0_6_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_843-1_0_6_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_843-1_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_843-1_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_843-1_0_6_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_843-1_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_843-1_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_843-1_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_843-1_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_843-1_0_6_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_843-1_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_843-1_0_6_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_843-1_0_6_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_843-1_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_843-1_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_843-1_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_843-1_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_843-1_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_843-1_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_843-1_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_843-1_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_843-1_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_843-1_0_6_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_843-1_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_843-1_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_843-1_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_843-1_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_843-1_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_843-1_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_843-1_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_843-1_0_6_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_843-1_0_6_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_843-1_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_843-1_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_843-1_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_843-1_0_6_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_843-1_0_6_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_843-1_0_6_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_843-1_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_843-1_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_843-1_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_843-1_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_843-1_0_6_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_843-1_0_6_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_843-1_0_6_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_843-1_0_6_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_843-1_0_6_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_843-1_0_6_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_843-1_0_6_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_843-1_0_6_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_843-1_0_6_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_843-1_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_843-1_0_6_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_843-1_0_6_node_99 | 0.4 | n |  | TRUE
82 | bus_LV_843-1_0_6_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_843-1_0_6_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_843-1_0_6_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_843-1_0_6_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_843-1_0_6_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_843-1_0_6_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_843-1_0_6_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_843-1_0_6_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_843-1_0_6_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_843-1_0_6_node_60 | 0.4 | n |  | TRUE
92 | bus_LV_843-1_0_6_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_843-1_0_6_node_64 | 0.4 | n |  | TRUE
94 | bus_LV_843-1_0_6_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_843-1_0_6_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_843-1_0_6_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_843-1_0_6_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_843-1_0_6_node_86 | 0.4 | n |  | TRUE
99 | bus_MV_210_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_843-1_0_6_load_0 | 0 | 0.0028241 | 0.00070779 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_843-1_0_6_load_98 | 2 | 0.00030866 | 7.7357e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_843-1_0_6_load_2 | 3 | 0.0011545 | 0.00028936 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_843-1_0_6_load_22 | 4 | 0.00028182 | 7.0632e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_843-1_0_6_load_21 | 5 | 0.00069464 | 0.00017409 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_843-1_0_6_load_4 | 6 | 0.0018279 | 0.00045811 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_843-1_0_6_load_59 | 8 | 0.00086615 | 0.00021708 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_843-1_0_6_load_88 | 12 | 0.00036435 | 9.1315e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_843-1_0_6_load_34 | 13 | 0.0021469 | 0.00053806 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_843-1_0_6_load_31 | 14 | 0.0038973 | 0.00097675 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_843-1_0_6_load_5 | 15 | 0.016657 | 0.0041745 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_843-1_0_6_load_6 | 16 | 0.0027502 | 0.00068927 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_843-1_0_6_load_8 | 18 | 0.004217 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_843-1_0_6_load_10 | 20 | 0.0032575 | 0.0008164 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_843-1_0_6_load_11 | 21 | 0.0049731 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_843-1_0_6_load_13 | 22 | 0.0027484 | 0.00068882 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_843-1_0_6_load_14 | 23 | 0.001605 | 0.00040226 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_843-1_0_6_load_44 | 24 | 0.0018577 | 0.00046559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_843-1_0_6_load_12 | 25 | 0.014467 | 0.0036259 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_843-1_0_6_load_43 | 27 | 0.0057538 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_843-1_0_6_load_45 | 29 | 0.0030342 | 0.00076045 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_843-1_0_6_load_27 | 30 | 0.0016884 | 0.00042315 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_843-1_0_6_load_35 | 31 | 0.0024825 | 0.00062217 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_843-1_0_6_load_15 | 32 | 0.00032509 | 8.1476e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_843-1_0_6_load_18 | 35 | 0.0013436 | 0.00033674 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_843-1_0_6_load_20 | 36 | 0.00053987 | 0.0001353 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_843-1_0_6_load_19 | 37 | 0.00024806 | 6.217e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_843-1_0_6_load_23 | 38 | 0.00020498 | 5.1372e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_843-1_0_6_load_91 | 39 | 0.0017608 | 0.00044129 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_843-1_0_6_load_89 | 40 | 0.0003994 | 0.0001001 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_843-1_0_6_load_24 | 41 | 0.0018526 | 0.0004643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_843-1_0_6_load_25 | 42 | 0.0011267 | 0.00028238 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_843-1_0_6_load_26 | 43 | 0.0015009 | 0.00037617 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_843-1_0_6_load_28 | 44 | 0.0018366 | 0.0004603 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_843-1_0_6_load_30 | 45 | 0.008711 | 0.0021832 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_843-1_0_6_load_41 | 46 | 0.0041897 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_843-1_0_6_load_39 | 47 | 0.0031714 | 0.00079482 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_843-1_0_6_load_36 | 48 | 0.0057954 | 0.0014525 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_843-1_0_6_load_37 | 49 | 0.0040894 | 0.0010249 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_843-1_0_6_load_55 | 50 | 0.00097068 | 0.00024327 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_843-1_0_6_load_63 | 51 | 0.0033226 | 0.00083273 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_843-1_0_6_load_54 | 52 | 0.0013838 | 0.0003468 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_843-1_0_6_load_46 | 53 | 0.002017 | 0.00050551 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_843-1_0_6_load_47 | 54 | 0.021481 | 0.0053836 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_843-1_0_6_load_48 | 55 | 0.0010482 | 0.0002627 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_843-1_0_6_load_49 | 56 | 0.0052799 | 0.0013233 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_843-1_0_6_load_51 | 57 | 0.00055197 | 0.00013834 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_843-1_0_6_load_61 | 58 | 0.0023586 | 0.00059112 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_843-1_0_6_load_38 | 59 | 0.0041906 | 0.0010503 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_843-1_0_6_load_40 | 60 | 0.0046012 | 0.0011532 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_843-1_0_6_load_50 | 61 | 0.00065107 | 0.00016317 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_843-1_0_6_load_52 | 62 | 0.00091464 | 0.00022923 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_843-1_0_6_load_68 | 65 | 0.0021234 | 0.00053218 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_843-1_0_6_load_65 | 66 | 0.0040516 | 0.0010154 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_843-1_0_6_load_53 | 67 | 0.00029619 | 7.4231e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_843-1_0_6_load_56 | 68 | 0.00043298 | 0.00010851 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_843-1_0_6_load_57 | 69 | 0.00043816 | 0.00010981 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_843-1_0_6_load_58 | 70 | 0.0010658 | 0.00026711 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_843-1_0_6_load_69 | 71 | 0.0011515 | 0.00028859 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_843-1_0_6_load_71 | 73 | 0.0010909 | 0.00027341 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_843-1_0_6_load_72 | 74 | 0.0018193 | 0.00045597 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_843-1_0_6_load_75 | 75 | 0.0019659 | 0.0004927 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_843-1_0_6_load_76 | 76 | 0.0021755 | 0.00054522 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_843-1_0_6_load_77 | 77 | 0.0018654 | 0.00046752 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_843-1_0_6_load_73 | 78 | 0.00066902 | 0.00016767 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_843-1_0_6_load_80 | 80 | 0.0042636 | 0.0010686 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_843-1_0_6_load_99 | 81 | 0.0030183 | 0.00075645 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_843-1_0_6_load_79 | 83 | 0.0014475 | 0.00036278 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_843-1_0_6_load_97 | 84 | 0.0021715 | 0.00054422 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_843-1_0_6_load_84 | 85 | 0.00085418 | 0.00021408 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_843-1_0_6_load_87 | 86 | 0.0014779 | 0.0003704 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_843-1_0_6_load_93 | 88 | 0.0018672 | 0.00046797 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_843-1_0_6_load_94 | 89 | 0.00065585 | 0.00016437 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_843-1_0_6_load_95 | 90 | 0.0010664 | 0.00026725 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_843-1_0_6_load_60 | 91 | 0.0032617 | 0.00081746 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_843-1_0_6_load_62 | 92 | 0.0026645 | 0.00066779 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_843-1_0_6_load_64 | 93 | 0.0074652 | 0.001871 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_843-1_0_6_load_81 | 94 | 0.00081929 | 0.00020533 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_843-1_0_6_load_82 | 95 | 0.0016302 | 0.00040858 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_843-1_0_6_load_96 | 96 | 0.0014723 | 0.00036898 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_843-1_0_6_load_85 | 97 | 0.0025225 | 0.0006322 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_843-1_0_6_load_86 | 98 | 0.0038198 | 0.00095733 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_843-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_843-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.049539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_843-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.035866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_843-1_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_843-1_0_6_line_4 | NAYY 4x150 SE | 3 | 6 | 0.064689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_843-1_0_6_line_5 | NAYY 4x150 SE | 4 | 5 | 0.047788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_843-1_0_6_line_6 | NAYY 4x150 SE | 5 | 39 | 0.080523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_843-1_0_6_line_7 | NAYY 4x150 SE | 5 | 37 | 0.13289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_843-1_0_6_line_8 | NAYY 4x150 SE | 6 | 10 | 0.07598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_843-1_0_6_line_9 | NAYY 4x150 SE | 7 | 8 | 0.02511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_843-1_0_6_line_10 | NAYY 4x150 SE | 7 | 9 | 0.078134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_843-1_0_6_line_11 | NAYY 4x150 SE | 9 | 11 | 0.081885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_843-1_0_6_line_12 | NAYY 4x150 SE | 9 | 12 | 0.10566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_843-1_0_6_line_13 | NAYY 4x150 SE | 10 | 13 | 0.022737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_843-1_0_6_line_14 | NAYY 4x150 SE | 10 | 14 | 0.0018888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_843-1_0_6_line_15 | NAYY 4x150 SE | 11 | 96 | 0.080032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_843-1_0_6_line_16 | NAYY 4x150 SE | 12 | 40 | 0.0064124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_843-1_0_6_line_17 | NAYY 4x150 SE | 13 | 48 | 0.009752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_843-1_0_6_line_18 | NAYY 4x150 SE | 14 | 28 | 0.037184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_843-1_0_6_line_19 | NAYY 4x150 SE | 15 | 16 | 0.019015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_843-1_0_6_line_20 | NAYY 4x150 SE | 15 | 17 | 0.037544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_843-1_0_6_line_21 | NAYY 4x150 SE | 16 | 18 | 0.019622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_843-1_0_6_line_22 | NAYY 4x150 SE | 17 | 19 | 0.021611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_843-1_0_6_line_23 | NAYY 4x150 SE | 17 | 20 | 0.0028046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_843-1_0_6_line_24 | NAYY 4x150 SE | 18 | 21 | 0.0052616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_843-1_0_6_line_25 | NAYY 4x150 SE | 19 | 22 | 0.0025568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_843-1_0_6_line_26 | NAYY 4x150 SE | 20 | 23 | 0.017863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_843-1_0_6_line_27 | NAYY 4x150 SE | 21 | 24 | 0.048439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_843-1_0_6_line_28 | NAYY 4x150 SE | 22 | 27 | 0.00057911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_843-1_0_6_line_29 | NAYY 4x150 SE | 23 | 28 | 0.0018377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_843-1_0_6_line_30 | NAYY 4x150 SE | 24 | 29 | 0.019958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_843-1_0_6_line_31 | NAYY 4x150 SE | 25 | 26 | 0.011838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_843-1_0_6_line_32 | NAYY 4x150 SE | 26 | 27 | 0.026217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_843-1_0_6_line_33 | NAYY 4x150 SE | 26 | 30 | 0.0086797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_843-1_0_6_line_34 | NAYY 4x150 SE | 28 | 31 | 0.015793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_843-1_0_6_line_35 | NAYY 4x150 SE | 29 | 66 | 0.030672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_843-1_0_6_line_36 | NAYY 4x150 SE | 30 | 42 | 0.0010135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_843-1_0_6_line_37 | NAYY 4x150 SE | 31 | 49 | 0.0020942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_843-1_0_6_line_38 | NAYY 4x150 SE | 32 | 33 | 0.092846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_843-1_0_6_line_39 | NAYY 4x150 SE | 33 | 34 | 0.080196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_843-1_0_6_line_40 | NAYY 4x150 SE | 33 | 35 | 0.14654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_843-1_0_6_line_41 | NAYY 4x150 SE | 34 | 36 | 0.10941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_843-1_0_6_line_42 | NAYY 4x150 SE | 35 | 37 | 0.022971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_843-1_0_6_line_43 | NAYY 4x150 SE | 36 | 38 | 0.0074091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_843-1_0_6_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0090674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_843-1_0_6_line_45 | NAYY 4x150 SE | 41 | 42 | 0.028912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_843-1_0_6_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0012045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_843-1_0_6_line_47 | NAYY 4x150 SE | 43 | 44 | 0.014107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_843-1_0_6_line_48 | NAYY 4x150 SE | 44 | 45 | 0.0050704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_843-1_0_6_line_49 | NAYY 4x150 SE | 45 | 46 | 0.024672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_843-1_0_6_line_50 | NAYY 4x150 SE | 46 | 47 | 0.018017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_843-1_0_6_line_51 | NAYY 4x150 SE | 47 | 59 | 0.0076297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_843-1_0_6_line_52 | NAYY 4x150 SE | 48 | 50 | 0.031459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_843-1_0_6_line_53 | NAYY 4x150 SE | 49 | 51 | 0.052338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_843-1_0_6_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0095251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_843-1_0_6_line_55 | NAYY 4x150 SE | 51 | 58 | 0.013269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_843-1_0_6_line_56 | NAYY 4x150 SE | 52 | 68 | 0.031868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_843-1_0_6_line_57 | NAYY 4x150 SE | 53 | 54 | 0.020899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_843-1_0_6_line_58 | NAYY 4x150 SE | 53 | 55 | 0.037586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_843-1_0_6_line_59 | NAYY 4x150 SE | 54 | 56 | 0.015055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_843-1_0_6_line_60 | NAYY 4x150 SE | 55 | 61 | 0.013628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_843-1_0_6_line_61 | NAYY 4x150 SE | 56 | 57 | 0.10047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_843-1_0_6_line_62 | NAYY 4x150 SE | 57 | 67 | 0.010871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_843-1_0_6_line_63 | NAYY 4x150 SE | 58 | 91 | 0.013722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_843-1_0_6_line_64 | NAYY 4x150 SE | 59 | 60 | 0.00058142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_843-1_0_6_line_65 | NAYY 4x150 SE | 61 | 62 | 0.014625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_843-1_0_6_line_66 | NAYY 4x150 SE | 62 | 63 | 0.069719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_843-1_0_6_line_67 | NAYY 4x150 SE | 63 | 64 | 0.091133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_843-1_0_6_line_68 | NAYY 4x150 SE | 64 | 65 | 0.078831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_843-1_0_6_line_69 | NAYY 4x150 SE | 65 | 71 | 0.00954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_843-1_0_6_line_70 | NAYY 4x150 SE | 67 | 68 | 0.074443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_843-1_0_6_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0023395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_843-1_0_6_line_72 | NAYY 4x150 SE | 69 | 70 | 0.025413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_843-1_0_6_line_73 | NAYY 4x150 SE | 71 | 72 | 0.028985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_843-1_0_6_line_74 | NAYY 4x150 SE | 72 | 73 | 0.029636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_843-1_0_6_line_75 | NAYY 4x150 SE | 72 | 74 | 0.051266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_843-1_0_6_line_76 | NAYY 4x150 SE | 73 | 78 | 0.046936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_843-1_0_6_line_77 | NAYY 4x150 SE | 74 | 79 | 0.009689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_843-1_0_6_line_78 | NAYY 4x150 SE | 75 | 76 | 0.072291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_843-1_0_6_line_79 | NAYY 4x150 SE | 75 | 77 | 0.019759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_843-1_0_6_line_80 | NAYY 4x150 SE | 76 | 82 | 0.012761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_843-1_0_6_line_81 | NAYY 4x150 SE | 78 | 80 | 0.011254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_843-1_0_6_line_82 | NAYY 4x150 SE | 79 | 81 | 0.083148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_843-1_0_6_line_83 | NAYY 4x150 SE | 79 | 82 | 0.0342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_843-1_0_6_line_84 | NAYY 4x150 SE | 82 | 83 | 0.04842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_843-1_0_6_line_85 | NAYY 4x150 SE | 83 | 84 | 0.13171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_843-1_0_6_line_86 | NAYY 4x150 SE | 84 | 90 | 0.022988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_843-1_0_6_line_87 | NAYY 4x150 SE | 85 | 86 | 0.0057313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_843-1_0_6_line_88 | NAYY 4x150 SE | 85 | 87 | 0.065776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_843-1_0_6_line_89 | NAYY 4x150 SE | 86 | 88 | 0.00083529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_843-1_0_6_line_90 | NAYY 4x150 SE | 87 | 97 | 0.013046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_843-1_0_6_line_91 | NAYY 4x150 SE | 87 | 95 | 0.057503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_843-1_0_6_line_92 | NAYY 4x150 SE | 88 | 89 | 0.041431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_843-1_0_6_line_93 | NAYY 4x150 SE | 89 | 90 | 0.001918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_843-1_0_6_line_94 | NAYY 4x150 SE | 91 | 92 | 0.072708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_843-1_0_6_line_95 | NAYY 4x150 SE | 92 | 93 | 0.036151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_843-1_0_6_line_96 | NAYY 4x150 SE | 94 | 95 | 0.079421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_843-1_0_6_line_97 | NAYY 4x150 SE | 97 | 98 | 0.085255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_843-1_0_6_trafo_36 | 0.25 MVA 20/0.4 kV | 99 | 48 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2588172.4289 | 1145856.9535 | 2588198.0201 | 1145842.9236
1 | 2588198.0201 | 1145842.9236 | 2588218.3161 | 1145797.7328
2 | 2588172.4289 | 1145856.9535 | 2588185.5038 | 1145890.3513
3 | 2588240.5277 | 1145787.9427 | 2588238.7567 | 1145788.7006 | 2588226.2217 | 1145793.4387 | 2588218.3161 | 1145797.7328
4 | 2588185.5038 | 1145890.3513 | 2588209.0864 | 1145950.5887
5 | 2588266.5808 | 1145753.0491 | 2588266.1442 | 1145754.4413 | 2588258.1446 | 1145780.403 | 2588240.5277 | 1145787.9427
6 | 2588221.2025 | 1145686.5296 | 2588266.5808 | 1145753.0491
7 | 2588266.5808 | 1145753.0491 | 2588364.9018 | 1145663.6486
8 | 2588237.2546 | 1146021.1506 | 2588226.8659 | 1145996.0032 | 2588209.0864 | 1145950.5887
9 | 2588110.7728 | 1145766.5425 | 2588106.431 | 1145785.1158 | 2588104.4354 | 1145790.8125
10 | 2588110.7521 | 1145713.5944 | 2588117.8125 | 1145725.5863 | 2588134.4995 | 1145761.5041 | 2588125.9489 | 1145764.9783 | 2588123.078 | 1145766.0623 | 2588112.4702 | 1145766.4391 | 2588110.7728 | 1145766.5425
11 | 2588065.2856 | 1145645.4737 | 2588100.4235 | 1145696.0619 | 2588110.7521 | 1145713.5944
12 | 2588110.7521 | 1145713.5944 | 2588181.226 | 1145682.7065 | 2588200.5787 | 1145675.8983 | 2588208.6172 | 1145677.5166
13 | 2588237.2546 | 1146021.1506 | 2588214.5995 | 1146023.0779
14 | 2588237.2546 | 1146021.1506 | 2588237.9749 | 1146022.8967
15 | 2588065.2856 | 1145645.4737 | 2588111.6305 | 1145602.7496 | 2588126.8637 | 1145594.9155
16 | 2588208.6172 | 1145677.5166 | 2588208.6172 | 1145677.5166 | 2588213.8306 | 1145681.2502
17 | 2588214.5995 | 1146023.0779 | 2588204.8826 | 1146023.9045
18 | 2588254.5989 | 1146056.1115 | 2588242.148 | 1146033.0135 | 2588237.9749 | 1146022.8967
19 | 2588298.8588 | 1146059.1355 | 2588308.3579 | 1146054.4054 | 2588315.7928 | 1146050.4887
20 | 2588265.2765 | 1146075.9224 | 2588289.7332 | 1146063.6797 | 2588298.8588 | 1146059.1355
21 | 2588328.6158 | 1146036.4693 | 2588328.5332 | 1146036.6796 | 2588321.871 | 1146047.2867 | 2588315.7928 | 1146050.4887
22 | 2588265.2765 | 1146075.9224 | 2588268.8074 | 1146082.4743 | 2588274.1487 | 1146095.6036
23 | 2588265.2765 | 1146075.9224 | 2588263.9459 | 1146073.4536
24 | 2588328.6158 | 1146036.4693 | 2588330.5396 | 1146031.572
25 | 2588274.1487 | 1146095.6036 | 2588275.1129 | 1146097.9716
26 | 2588263.9459 | 1146073.4536 | 2588255.4708 | 1146057.7291
27 | 2588353.2439 | 1145989.0113 | 2588349.418 | 1145996.6749 | 2588336.3907 | 1146016.6768 | 2588330.5396 | 1146031.572
28 | 2588275.3314 | 1146098.508 | 2588275.1129 | 1146097.9716
29 | 2588254.5989 | 1146056.1115 | 2588255.4708 | 1146057.7291
30 | 2588359.2954 | 1145970.1925 | 2588357.2839 | 1145980.9186 | 2588353.2439 | 1145989.0113
31 | 2588281.4015 | 1146123.8921 | 2588290.4506 | 1146116.2596
32 | 2588281.4015 | 1146123.8921 | 2588278.0928 | 1146105.2895 | 2588275.3314 | 1146098.508
33 | 2588281.4015 | 1146123.8921 | 2588281.4354 | 1146132.5718
34 | 2588254.5989 | 1146056.1115 | 2588268.7237 | 1146049.0468
35 | 2588367.23 | 1145940.624 | 2588361.4882 | 1145958.4995 | 2588359.2954 | 1145970.1925
36 | 2588281.4394 | 1146133.5853 | 2588281.4354 | 1146132.5718
37 | 2588270.5967 | 1146048.1099 | 2588268.7237 | 1146049.0468
38 | 2588502.7293 | 1145594.771 | 2588562.1478 | 1145666.1143
39 | 2588464.806 | 1145524.4762 | 2588486.5536 | 1145572.191 | 2588498.9564 | 1145590.2427 | 2588502.7293 | 1145594.771
40 | 2588502.7293 | 1145594.771 | 2588382.4454 | 1145678.4774
41 | 2588464.806 | 1145524.4762 | 2588454.262 | 1145514.3805 | 2588412.5704 | 1145498.1197 | 2588405.1527 | 1145499.7793 | 2588380.8631 | 1145512.3548 | 2588375.5051 | 1145510.5198 | 2588368.9035 | 1145505.1856 | 2588368.4535 | 1145504.3405
42 | 2588382.4454 | 1145678.4774 | 2588364.9018 | 1145663.6486
43 | 2588364.9712 | 1145497.8007 | 2588368.4535 | 1145504.3405
44 | 2588221.2025 | 1145686.5296 | 2588213.8306 | 1145681.2502
45 | 2588281.4394 | 1146133.5853 | 2588281.5094 | 1146151.5276 | 2588279.5313 | 1146162.3176
46 | 2588279.3141 | 1146163.5024 | 2588279.5313 | 1146162.3176
47 | 2588276.7702 | 1146177.3782 | 2588279.3141 | 1146163.5024
48 | 2588276.7702 | 1146177.3782 | 2588275.8559 | 1146182.3655
49 | 2588271.4069 | 1146206.6334 | 2588275.8559 | 1146182.3655
50 | 2588271.4069 | 1146206.6334 | 2588268.1581 | 1146224.3549
51 | 2588266.7823 | 1146231.8595 | 2588268.1581 | 1146224.3549
52 | 2588204.8826 | 1146023.9045 | 2588204.8826 | 1146023.9045 | 2588200.0143 | 1146020.8904 | 2588193.9215 | 1146008.4853 | 2588186.7123 | 1145999.0013
53 | 2588270.5967 | 1146048.1099 | 2588286.0159 | 1146040.3978 | 2588292.6869 | 1146034.3262 | 2588301.0743 | 1146009.6349
54 | 2588180.7251 | 1145991.6344 | 2588181.7377 | 1145992.457 | 2588186.7123 | 1145999.0013
55 | 2588303.4291 | 1145996.6208 | 2588302.0505 | 1146006.7611 | 2588301.0743 | 1146009.6349
56 | 2588180.7251 | 1145991.6344 | 2588161.6567 | 1145976.1442 | 2588157.6593 | 1145970.0351
57 | 2588067.5789 | 1146165.9019 | 2588073.7883 | 1146161.5648 | 2588083.8796 | 1146152.8627 | 2588083.8796 | 1146152.8627
58 | 2588067.5789 | 1146165.9019 | 2588059.3753 | 1146171.6318 | 2588038.5644 | 1146189.7291
59 | 2588083.8796 | 1146152.8627 | 2588092.128 | 1146140.2682
60 | 2588038.5644 | 1146189.7291 | 2588036.4787 | 1146191.5428 | 2588029.2891 | 1146199.6878
61 | 2588092.128 | 1146140.2682 | 2588093.8887 | 1146137.5798 | 2588099.5866 | 1146125.1624 | 2588111.2945 | 1146067.9222 | 2588116.5399 | 1146043.3107
62 | 2588116.5399 | 1146043.3107 | 2588116.8882 | 1146041.6761 | 2588117.1325 | 1146032.4793
63 | 2588305.2777 | 1145983.0242 | 2588303.4291 | 1145996.6208
64 | 2588266.6774 | 1146232.4314 | 2588266.7823 | 1146231.8595
65 | 2588019.6105 | 1146210.6526 | 2588029.2891 | 1146199.6878
66 | 2588015.9349 | 1146277.7149 | 2588012.8213 | 1146268.6834 | 2588009.8116 | 1146238.6303 | 2588016.4234 | 1146214.7943 | 2588019.6105 | 1146210.6526
67 | 2588015.9349 | 1146277.7149 | 2588004.9451 | 1146274.8355 | 2587997.1782 | 1146251.2284 | 2587987.176 | 1146246.7352 | 2587943.3896 | 1146241.1649
68 | 2587943.3896 | 1146241.1649 | 2587939.0059 | 1146207.9352 | 2587942.4392 | 1146196.4116 | 2587951.2439 | 1146166.846 | 2587951.565 | 1146164.4269
69 | 2587952.8205 | 1146154.9699 | 2587951.565 | 1146164.4269
70 | 2588157.6593 | 1145970.0351 | 2588117.1325 | 1146032.4793
71 | 2588156.3783 | 1145968.0774 | 2588157.6593 | 1145970.0351
72 | 2588142.4639 | 1145946.8123 | 2588156.3783 | 1145968.0774
73 | 2587956.6389 | 1146126.2375 | 2587955.572 | 1146134.2436 | 2587952.8205 | 1146154.9699
74 | 2587956.6389 | 1146126.2375 | 2587938.1553 | 1146121.2723 | 2587928.3867 | 1146117.4305
75 | 2587956.6389 | 1146126.2375 | 2587969.893 | 1146076.7144
76 | 2587928.3867 | 1146117.4305 | 2587884.7075 | 1146100.2525
77 | 2587972.398 | 1146067.3548 | 2587969.893 | 1146076.7144
78 | 2588063.4101 | 1146043.3899 | 2587991.5778 | 1146035.2604
79 | 2588083.0439 | 1146045.6119 | 2588063.4101 | 1146043.3899
80 | 2587978.8982 | 1146033.8254 | 2587991.5778 | 1146035.2604
81 | 2587874.2339 | 1146096.1335 | 2587884.7075 | 1146100.2525
82 | 2587972.398 | 1146067.3548 | 2587889.0076 | 1146066.9449
83 | 2587978.8982 | 1146033.8254 | 2587975.2952 | 1146056.5326 | 2587972.398 | 1146067.3548
84 | 2587978.8982 | 1146033.8254 | 2587978.558 | 1146005.9235 | 2587983.1021 | 1145985.9167
85 | 2587983.1021 | 1145985.9167 | 2587987.0859 | 1145968.3769 | 2587993.7569 | 1145935.6031 | 2588003.8133 | 1145905.546 | 2588005.9754 | 1145891.9461 | 2588003.8362 | 1145882.4346 | 2588000.0883 | 1145871.3256 | 2587991.7963 | 1145860.8776
86 | 2587977.8532 | 1145842.6544 | 2587978.6483 | 1145844.3109 | 2587991.7963 | 1145860.8776
87 | 2587948.0178 | 1145803.0204 | 2587951.8897 | 1145807.2461
88 | 2587906.3008 | 1145752.4339 | 2587914.3704 | 1145765.6796 | 2587931.9017 | 1145785.4317 | 2587948.0178 | 1145803.0204
89 | 2587951.8897 | 1145807.2461 | 2587952.454 | 1145807.862
90 | 2587906.3008 | 1145752.4339 | 2587903.529 | 1145739.6853
91 | 2587906.3008 | 1145752.4339 | 2587881.2608 | 1145753.8074 | 2587862.5148 | 1145756.4132 | 2587849.2301 | 1145758.808
92 | 2587977.0233 | 1145840.9252 | 2587973.0248 | 1145832.5943 | 2587960.4406 | 1145816.5784 | 2587952.454 | 1145807.862
93 | 2587977.0233 | 1145840.9252 | 2587977.8532 | 1145842.6544
94 | 2588305.2777 | 1145983.0242 | 2588305.3446 | 1145982.5317 | 2588310.7251 | 1145937.099 | 2588330.5867 | 1145919.6156
95 | 2588357.7222 | 1145895.7293 | 2588330.5867 | 1145919.6156
96 | 2587805.7869 | 1145696.2623 | 2587806.763 | 1145697.4754 | 2587812.7615 | 1145708.2463 | 2587834.5806 | 1145751.134 | 2587837.9918 | 1145755.129 | 2587842.3223 | 1145757.8883 | 2587845.8271 | 1145758.8149 | 2587849.2301 | 1145758.808 | 2587849.2301 | 1145758.808
97 | 2587903.529 | 1145739.6853 | 2587895.4608 | 1145702.5758 | 2587885.4554 | 1145656.3684

## bus_geodata
| x | y | coords
0 | 2588198.0201 | 1145842.9236
1 | 2588172.4289 | 1145856.9535
2 | 2588218.3161 | 1145797.7328
3 | 2588185.5038 | 1145890.3513
4 | 2588240.5277 | 1145787.9427
5 | 2588266.5808 | 1145753.0491
6 | 2588209.0864 | 1145950.5887
7 | 2588110.7728 | 1145766.5425
8 | 2588104.4354 | 1145790.8125
9 | 2588110.7521 | 1145713.5944
10 | 2588237.2546 | 1146021.1506
11 | 2588065.2856 | 1145645.4737
12 | 2588208.6172 | 1145677.5166
13 | 2588214.5995 | 1146023.0779
14 | 2588237.9749 | 1146022.8967
15 | 2588298.8588 | 1146059.1355
16 | 2588315.7928 | 1146050.4887
17 | 2588265.2765 | 1146075.9224
18 | 2588328.6158 | 1146036.4693
19 | 2588274.1487 | 1146095.6036
20 | 2588263.9459 | 1146073.4536
21 | 2588330.5396 | 1146031.572
22 | 2588275.1129 | 1146097.9716
23 | 2588255.4708 | 1146057.7291
24 | 2588353.2439 | 1145989.0113
25 | 2588290.4506 | 1146116.2596
26 | 2588281.4015 | 1146123.8921
27 | 2588275.3313 | 1146098.508
28 | 2588254.5989 | 1146056.1115
29 | 2588359.2954 | 1145970.1925
30 | 2588281.4354 | 1146132.5718
31 | 2588268.7237 | 1146049.0468
32 | 2588562.1478 | 1145666.1143
33 | 2588502.7293 | 1145594.771
34 | 2588464.806 | 1145524.4762
35 | 2588382.4454 | 1145678.4774
36 | 2588368.4535 | 1145504.3405
37 | 2588364.9018 | 1145663.6486
38 | 2588364.9712 | 1145497.8007
39 | 2588221.2025 | 1145686.5296
40 | 2588213.8306 | 1145681.2502
41 | 2588279.5313 | 1146162.3176
42 | 2588281.4394 | 1146133.5853
43 | 2588279.3141 | 1146163.5024
44 | 2588276.7702 | 1146177.3782
45 | 2588275.8559 | 1146182.3655
46 | 2588271.4069 | 1146206.6334
47 | 2588268.1581 | 1146224.3549
48 | 2588204.8826 | 1146023.9045
49 | 2588270.5967 | 1146048.1099
50 | 2588186.7123 | 1145999.0013
51 | 2588301.0743 | 1146009.6349
52 | 2588180.7251 | 1145991.6344
53 | 2588067.5789 | 1146165.9019
54 | 2588083.8796 | 1146152.8627
55 | 2588038.5644 | 1146189.7291
56 | 2588092.128 | 1146140.2682
57 | 2588116.5399 | 1146043.3107
58 | 2588303.4291 | 1145996.6208
59 | 2588266.7823 | 1146231.8595
60 | 2588266.6774 | 1146232.4314
61 | 2588029.2891 | 1146199.6878
62 | 2588019.6105 | 1146210.6526
63 | 2588015.9349 | 1146277.7149
64 | 2587943.3896 | 1146241.1649
65 | 2587951.565 | 1146164.4269
66 | 2588367.23 | 1145940.624
67 | 2588117.1325 | 1146032.4793
68 | 2588157.6593 | 1145970.0351
69 | 2588156.3783 | 1145968.0774
70 | 2588142.4639 | 1145946.8123
71 | 2587952.8205 | 1146154.9699
72 | 2587956.6389 | 1146126.2375
73 | 2587928.3867 | 1146117.4305
74 | 2587969.893 | 1146076.7144
75 | 2588063.4101 | 1146043.3899
76 | 2587991.5778 | 1146035.2604
77 | 2588083.0439 | 1146045.6119
78 | 2587884.7075 | 1146100.2525
79 | 2587972.398 | 1146067.3548
80 | 2587874.2339 | 1146096.1335
81 | 2587889.0076 | 1146066.9449
82 | 2587978.8982 | 1146033.8254
83 | 2587983.1021 | 1145985.9167
84 | 2587991.7963 | 1145860.8776
85 | 2587948.0178 | 1145803.0204
86 | 2587951.8897 | 1145807.2461
87 | 2587906.3008 | 1145752.4339
88 | 2587952.454 | 1145807.862
89 | 2587977.0233 | 1145840.9252
90 | 2587977.8532 | 1145842.6544
91 | 2588305.2777 | 1145983.0242
92 | 2588330.5867 | 1145919.6156
93 | 2588357.7222 | 1145895.7293
94 | 2587805.7869 | 1145696.2623
95 | 2587849.2301 | 1145758.808
96 | 2588126.8637 | 1145594.9155
97 | 2587903.529 | 1145739.6853
98 | 2587885.4554 | 1145656.3685
99 | 2588237.2546 | 1146021.1506

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1