## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_843-29_1_3_node_73 | 0.4 | n |  | TRUE
1 | bus_LV_843-29_1_3_node_74 | 0.4 | n |  | TRUE
2 | bus_LV_843-29_1_3_node_75 | 0.4 | n |  | TRUE
3 | bus_LV_843-29_1_3_node_86 | 0.4 | n |  | TRUE
4 | bus_LV_843-29_1_3_node_76 | 0.4 | n |  | TRUE
5 | bus_LV_843-29_1_3_node_77 | 0.4 | n |  | TRUE
6 | bus_LV_843-29_1_3_node_87 | 0.4 | n |  | TRUE
7 | bus_LV_843-29_1_3_node_88 | 0.4 | n |  | TRUE
8 | bus_LV_843-29_1_3_node_80 | 0.4 | n |  | TRUE
9 | bus_LV_843-29_1_3_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_843-29_1_3_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_843-29_1_3_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_843-29_1_3_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_843-29_1_3_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_843-29_1_3_node_89 | 0.4 | n |  | TRUE
15 | bus_LV_843-29_1_3_node_129 | 0.4 | n |  | TRUE
16 | bus_LV_843-29_1_3_node_128 | 0.4 | n |  | TRUE
17 | bus_LV_843-29_1_3_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_843-29_1_3_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_843-29_1_3_node_94 | 0.4 | n |  | TRUE
20 | bus_LV_843-29_1_3_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_843-29_1_3_node_97 | 0.4 | n |  | TRUE
22 | bus_LV_843-29_1_3_node_91 | 0.4 | n |  | TRUE
23 | bus_LV_843-29_1_3_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_843-29_1_3_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_843-29_1_3_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_843-29_1_3_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_843-29_1_3_node_103 | 0.4 | n |  | TRUE
28 | bus_LV_843-29_1_3_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_843-29_1_3_node_101 | 0.4 | n |  | TRUE
30 | bus_LV_843-29_1_3_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_843-29_1_3_node_155 | 0.4 | n |  | TRUE
32 | bus_LV_843-29_1_3_node_174 | 0.4 | n |  | TRUE
33 | bus_LV_843-29_1_3_node_152 | 0.4 | n |  | TRUE
34 | bus_LV_843-29_1_3_node_160 | 0.4 | n |  | TRUE
35 | bus_LV_843-29_1_3_node_161 | 0.4 | n |  | TRUE
36 | bus_LV_843-29_1_3_node_162 | 0.4 | n |  | TRUE
37 | bus_LV_843-29_1_3_node_163 | 0.4 | n |  | TRUE
38 | bus_LV_843-29_1_3_node_164 | 0.4 | n |  | TRUE
39 | bus_LV_843-29_1_3_node_165 | 0.4 | n |  | TRUE
40 | bus_LV_843-29_1_3_node_166 | 0.4 | n |  | TRUE
41 | bus_LV_843-29_1_3_node_167 | 0.4 | n |  | TRUE
42 | bus_LV_843-29_1_3_node_168 | 0.4 | n |  | TRUE
43 | bus_LV_843-29_1_3_node_171 | 0.4 | n |  | TRUE
44 | bus_LV_843-29_1_3_node_169 | 0.4 | n |  | TRUE
45 | bus_LV_843-29_1_3_node_178 | 0.4 | n |  | TRUE
46 | bus_LV_843-29_1_3_node_172 | 0.4 | n |  | TRUE
47 | bus_LV_843-29_1_3_node_170 | 0.4 | n |  | TRUE
48 | bus_LV_843-29_1_3_node_173 | 0.4 | n |  | TRUE
49 | bus_LV_843-29_1_3_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_843-29_1_3_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_843-29_1_3_node_175 | 0.4 | n |  | TRUE
52 | bus_LV_843-29_1_3_node_147 | 0.4 | n |  | TRUE
53 | bus_LV_843-29_1_3_node_148 | 0.4 | n |  | TRUE
54 | bus_LV_843-29_1_3_node_149 | 0.4 | n |  | TRUE
55 | bus_LV_843-29_1_3_node_146 | 0.4 | n |  | TRUE
56 | bus_LV_843-29_1_3_node_150 | 0.4 | n |  | TRUE
57 | bus_LV_843-29_1_3_node_154 | 0.4 | n |  | TRUE
58 | bus_LV_843-29_1_3_node_156 | 0.4 | n |  | TRUE
59 | bus_LV_843-29_1_3_node_151 | 0.4 | n |  | TRUE
60 | bus_LV_843-29_1_3_node_153 | 0.4 | n |  | TRUE
61 | bus_LV_843-29_1_3_node_158 | 0.4 | n |  | TRUE
62 | bus_LV_843-29_1_3_node_104 | 0.4 | n |  | TRUE
63 | bus_LV_843-29_1_3_node_105 | 0.4 | n |  | TRUE
64 | bus_LV_843-29_1_3_node_106 | 0.4 | n |  | TRUE
65 | bus_LV_843-29_1_3_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_843-29_1_3_node_108 | 0.4 | n |  | TRUE
67 | bus_LV_843-29_1_3_node_109 | 0.4 | n |  | TRUE
68 | bus_LV_843-29_1_3_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_843-29_1_3_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_843-29_1_3_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_843-29_1_3_node_118 | 0.4 | n |  | TRUE
72 | bus_LV_843-29_1_3_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_843-29_1_3_node_119 | 0.4 | n |  | TRUE
74 | bus_LV_843-29_1_3_node_120 | 0.4 | n |  | TRUE
75 | bus_LV_843-29_1_3_node_114 | 0.4 | n |  | TRUE
76 | bus_LV_843-29_1_3_node_115 | 0.4 | n |  | TRUE
77 | bus_LV_843-29_1_3_node_127 | 0.4 | n |  | TRUE
78 | bus_LV_843-29_1_3_node_180 | 0.4 | n |  | TRUE
79 | bus_LV_843-29_1_3_node_116 | 0.4 | n |  | TRUE
80 | bus_LV_843-29_1_3_node_117 | 0.4 | n |  | TRUE
81 | bus_LV_843-29_1_3_node_130 | 0.4 | n |  | TRUE
82 | bus_LV_843-29_1_3_node_126 | 0.4 | n |  | TRUE
83 | bus_LV_843-29_1_3_node_121 | 0.4 | n |  | TRUE
84 | bus_LV_843-29_1_3_node_122 | 0.4 | n |  | TRUE
85 | bus_LV_843-29_1_3_node_125 | 0.4 | n |  | TRUE
86 | bus_LV_843-29_1_3_node_143 | 0.4 | n |  | TRUE
87 | bus_LV_843-29_1_3_node_144 | 0.4 | n |  | TRUE
88 | bus_LV_843-29_1_3_node_159 | 0.4 | n |  | TRUE
89 | bus_LV_843-29_1_3_node_145 | 0.4 | n |  | TRUE
90 | bus_LV_843-29_1_3_node_124 | 0.4 | n |  | TRUE
91 | bus_LV_843-29_1_3_node_123 | 0.4 | n |  | TRUE
92 | bus_MV_0_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_843-29_1_3_load_73 | 0 | 0.00024769 | 6.2077e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_843-29_1_3_load_74 | 1 | 8.9855e-05 | 2.252e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_843-29_1_3_load_77 | 5 | 0.00025659 | 6.4309e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_843-29_1_3_load_87 | 6 | 0.00021407 | 5.3651e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_843-29_1_3_load_88 | 7 | 0.0010315 | 0.00025851 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_843-29_1_3_load_80 | 8 | 0.00023761 | 5.9551e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_843-29_1_3_load_82 | 10 | 0.00051326 | 0.00012864 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_843-29_1_3_load_79 | 13 | 0.00013352 | 3.3463e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_843-29_1_3_load_89 | 14 | 0.00012773 | 3.2013e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_843-29_1_3_load_129 | 15 | 0.00018692 | 4.6847e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_843-29_1_3_load_128 | 16 | 8.6189e-05 | 2.1601e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_843-29_1_3_load_84 | 17 | 0.00025458 | 6.3803e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_843-29_1_3_load_85 | 18 | 0.00010726 | 2.6881e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_843-29_1_3_load_94 | 19 | 0.00013643 | 3.4193e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_843-29_1_3_load_90 | 20 | 0.00022645 | 5.6754e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_843-29_1_3_load_97 | 21 | 0.00045116 | 0.00011307 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_843-29_1_3_load_92 | 23 | 0.00047252 | 0.00011842 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_843-29_1_3_load_93 | 24 | 0.00040249 | 0.00010087 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_843-29_1_3_load_95 | 25 | 0.00016633 | 4.1686e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_843-29_1_3_load_96 | 26 | 0.00026911 | 6.7446e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_843-29_1_3_load_103 | 27 | 0.00086396 | 0.00021653 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_843-29_1_3_load_98 | 28 | 0.00017429 | 4.3682e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_843-29_1_3_load_99 | 30 | 0.00026135 | 6.5502e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_843-29_1_3_load_155 | 31 | 0.00038882 | 9.7448e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_843-29_1_3_load_174 | 32 | 0.0002885 | 7.2304e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_843-29_1_3_load_152 | 33 | 0.00018165 | 4.5527e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_843-29_1_3_load_160 | 34 | 0.0003606 | 9.0375e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_843-29_1_3_load_161 | 35 | 0.00048171 | 0.00012073 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_843-29_1_3_load_165 | 39 | 8.4171e-05 | 2.1095e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_843-29_1_3_load_166 | 40 | 0.00035576 | 8.9163e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_843-29_1_3_load_167 | 41 | 0.0018391 | 0.00046092 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_843-29_1_3_load_168 | 42 | 0.00020962 | 5.2537e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_843-29_1_3_load_171 | 43 | 0.00018203 | 4.5621e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_843-29_1_3_load_169 | 44 | 0.00057049 | 0.00014298 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_843-29_1_3_load_178 | 45 | 0.0014703 | 0.00036848 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_843-29_1_3_load_172 | 46 | 0.00073211 | 0.00018349 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_843-29_1_3_load_170 | 47 | 0.00045095 | 0.00011302 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_843-29_1_3_load_173 | 48 | 0.00038682 | 9.6946e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_843-29_1_3_load_100 | 49 | 0.00073143 | 0.00018331 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_843-29_1_3_load_102 | 50 | 0.00052673 | 0.00013201 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_843-29_1_3_load_175 | 51 | 0.00027992 | 7.0154e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_843-29_1_3_load_148 | 53 | 0.0009501 | 0.00023812 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_843-29_1_3_load_149 | 54 | 0.00067159 | 0.00016832 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_843-29_1_3_load_146 | 55 | 0.00032066 | 8.0364e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_843-29_1_3_load_150 | 56 | 0.0012544 | 0.00031438 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_843-29_1_3_load_154 | 57 | 0.00043581 | 0.00010922 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_843-29_1_3_load_156 | 58 | 0.00035335 | 8.8557e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_843-29_1_3_load_153 | 60 | 0.00048455 | 0.00012144 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_843-29_1_3_load_158 | 61 | 0.0003435 | 8.6088e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_843-29_1_3_load_104 | 62 | 0.00053019 | 0.00013288 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_843-29_1_3_load_105 | 63 | 0.0011871 | 0.00029752 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_843-29_1_3_load_106 | 64 | 0.00034451 | 8.6342e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_843-29_1_3_load_107 | 65 | 0.00032939 | 8.2552e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_843-29_1_3_load_108 | 66 | 0.00042783 | 0.00010723 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_843-29_1_3_load_109 | 67 | 0.00062865 | 0.00015755 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_843-29_1_3_load_111 | 69 | 0.00048865 | 0.00012247 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_843-29_1_3_load_112 | 70 | 0.0010735 | 0.00026903 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_843-29_1_3_load_113 | 72 | 0.00048517 | 0.00012159 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_843-29_1_3_load_119 | 73 | 0.00034626 | 8.6782e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_843-29_1_3_load_120 | 74 | 0.0002917 | 7.3108e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_843-29_1_3_load_115 | 76 | 0.0001218 | 3.0526e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_843-29_1_3_load_127 | 77 | 0.00024681 | 6.1855e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_843-29_1_3_load_180 | 78 | 0.00051278 | 0.00012851 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_843-29_1_3_load_117 | 80 | 0.00024703 | 6.1911e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_843-29_1_3_load_130 | 81 | 0.00044302 | 0.00011103 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_843-29_1_3_load_126 | 82 | 0.00020985 | 5.2593e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_843-29_1_3_load_121 | 83 | 0.00036272 | 9.0906e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_843-29_1_3_load_125 | 85 | 0.00048718 | 0.0001221 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_843-29_1_3_load_143 | 86 | 0.00031102 | 7.7949e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_843-29_1_3_load_144 | 87 | 0.0008065 | 0.00020213 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_843-29_1_3_load_159 | 88 | 0.00045571 | 0.00011421 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_843-29_1_3_load_145 | 89 | 0.00065386 | 0.00016387 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_843-29_1_3_load_124 | 90 | 0.0020351 | 0.00051006 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_843-29_1_3_load_123 | 91 | 0.00016177 | 4.0544e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_843-29_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.085659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_843-29_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.077517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_843-29_1_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.13062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_843-29_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.044157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_843-29_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.044182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_843-29_1_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.13957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_843-29_1_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.073657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_843-29_1_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.10694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_843-29_1_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.12521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_843-29_1_3_line_9 | NAYY 4x150 SE | 6 | 12 | 0.068825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_843-29_1_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.04549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_843-29_1_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.13025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_843-29_1_3_line_12 | NAYY 4x150 SE | 11 | 17 | 0.025498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_843-29_1_3_line_13 | NAYY 4x150 SE | 11 | 18 | 0.019699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_843-29_1_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.059959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_843-29_1_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.080041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_843-29_1_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.063939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_843-29_1_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.032275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_843-29_1_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.019321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_843-29_1_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0094478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_843-29_1_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.013331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_843-29_1_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.097374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_843-29_1_3_line_22 | NAYY 4x150 SE | 21 | 28 | 0.10213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_843-29_1_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.058647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_843-29_1_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.028629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_843-29_1_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.037922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_843-29_1_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.094232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_843-29_1_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.021314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_843-29_1_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.014548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_843-29_1_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.035028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_843-29_1_3_line_30 | NAYY 4x150 SE | 29 | 49 | 0.017731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_843-29_1_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.0020276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_843-29_1_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.079363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_843-29_1_3_line_33 | NAYY 4x150 SE | 32 | 48 | 0.030302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_843-29_1_3_line_34 | NAYY 4x150 SE | 33 | 59 | 0.071715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_843-29_1_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.027812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_843-29_1_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.12167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_843-29_1_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.016162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_843-29_1_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.063909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_843-29_1_3_line_39 | NAYY 4x150 SE | 36 | 39 | 0.14653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_843-29_1_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.019078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_843-29_1_3_line_41 | NAYY 4x150 SE | 37 | 41 | 0.097046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_843-29_1_3_line_42 | NAYY 4x150 SE | 38 | 42 | 0.037708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_843-29_1_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.19141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_843-29_1_3_line_44 | NAYY 4x150 SE | 41 | 44 | 0.015869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_843-29_1_3_line_45 | NAYY 4x150 SE | 42 | 45 | 0.0039588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_843-29_1_3_line_46 | NAYY 4x150 SE | 43 | 47 | 0.0059617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_843-29_1_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.014665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_843-29_1_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.031283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_843-29_1_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.017148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_843-29_1_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.23426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_843-29_1_3_line_51 | NAYY 4x150 SE | 51 | 61 | 0.19076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_843-29_1_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.085909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_843-29_1_3_line_53 | NAYY 4x150 SE | 52 | 54 | 0.16142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_843-29_1_3_line_54 | NAYY 4x150 SE | 52 | 55 | 0.11857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_843-29_1_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.029881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_843-29_1_3_line_56 | NAYY 4x150 SE | 53 | 57 | 0.14011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_843-29_1_3_line_57 | NAYY 4x150 SE | 54 | 58 | 0.41029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_843-29_1_3_line_58 | NAYY 4x150 SE | 55 | 89 | 0.023826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_843-29_1_3_line_59 | NAYY 4x150 SE | 56 | 59 | 0.06977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_843-29_1_3_line_60 | NAYY 4x150 SE | 57 | 60 | 0.10605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_843-29_1_3_line_61 | NAYY 4x150 SE | 57 | 83 | 0.33158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_843-29_1_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.073644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_843-29_1_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.01705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_843-29_1_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.043846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_843-29_1_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0060073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_843-29_1_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.029549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_843-29_1_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.059253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_843-29_1_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.047351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_843-29_1_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.075017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_843-29_1_3_line_70 | NAYY 4x150 SE | 68 | 70 | 0.024205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_843-29_1_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.076904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_843-29_1_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.15456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_843-29_1_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.096271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_843-29_1_3_line_74 | NAYY 4x150 SE | 71 | 74 | 0.10167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_843-29_1_3_line_75 | NAYY 4x150 SE | 72 | 75 | 0.03364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_843-29_1_3_line_76 | NAYY 4x150 SE | 73 | 83 | 0.0088527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_843-29_1_3_line_77 | NAYY 4x150 SE | 74 | 84 | 0.01012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_843-29_1_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.03093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_843-29_1_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.13511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_843-29_1_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.27958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_843-29_1_3_line_81 | NAYY 4x150 SE | 77 | 82 | 0.046841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_843-29_1_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.038806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_843-29_1_3_line_83 | NAYY 4x150 SE | 79 | 81 | 0.25759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_843-29_1_3_line_84 | NAYY 4x150 SE | 80 | 82 | 0.060077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_843-29_1_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.051678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_843-29_1_3_line_86 | NAYY 4x150 SE | 85 | 90 | 0.034237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_843-29_1_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.14337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_843-29_1_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.27489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_843-29_1_3_line_89 | NAYY 4x150 SE | 87 | 89 | 0.021344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_843-29_1_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0082795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_843-29_1_3_trafo_158 | 0.25 MVA 20/0.4 kV | 92 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2591142.9402 | 1146882.1656 | 2591138.6842 | 1146875.5677 | 2591116.4055 | 1146856.3024 | 2591077.3215 | 1146827.8326
1 | 2591173.1183 | 1146945.1841 | 2591179.5643 | 1146936.2924 | 2591179.5576 | 1146931.768 | 2591175.8408 | 1146926.8488 | 2591162.2266 | 1146913.3179 | 2591155.6198 | 1146901.8221 | 2591142.9402 | 1146882.1656
2 | 2591142.9402 | 1146882.1656 | 2591215.5837 | 1146773.6043
3 | 2591173.1183 | 1146945.1841 | 2591192.6123 | 1146977.3821 | 2591197.0202 | 1146982.2224
4 | 2591173.1183 | 1146945.1841 | 2591139.7302 | 1146916.2484
5 | 2591215.5837 | 1146773.6043 | 2591217.6366 | 1146769.8995 | 2591216.8088 | 1146765.7987 | 2591158.6685 | 1146735.4918 | 2591145.883 | 1146726.8844 | 2591138.4514 | 1146718.6802 | 2591130.1943 | 1146708.0095 | 2591123.5324 | 1146695.7579 | 2591121.4101 | 1146688.9799 | 2591121.6184 | 1146684.4263
6 | 2591215.5837 | 1146773.6043 | 2591263.0722 | 1146778.7928 | 2591287.3259 | 1146787.84
7 | 2591197.0202 | 1146982.2224 | 2591190.3353 | 1146907.2401 | 2591190.5351 | 1146902.104 | 2591192.5919 | 1146901.0782 | 2591196.7162 | 1146901.0721 | 2591204.5519 | 1146907.4304 | 2591211.5669 | 1146914.6013
8 | 2591021.9243 | 1146878.8213 | 2591042.9043 | 1146882.0581 | 2591093.5509 | 1146893.877 | 2591115.6953 | 1146900.3695 | 2591133.9984 | 1146911.281 | 2591139.7302 | 1146916.2484
9 | 2591066.5941 | 1146643.0836 | 2591121.6184 | 1146684.4263
10 | 2591021.9243 | 1146878.8213 | 2591011.272 | 1146873.9349 | 2590992.5183 | 1146870.0613 | 2590978.2961 | 1146866.1808
11 | 2591021.9243 | 1146878.8213 | 2590993.2385 | 1146879.0646 | 2590974.761 | 1146880.0485 | 2590950.3175 | 1146877.0173 | 2590930.8644 | 1146872.8225 | 2590920.4543 | 1146865.6348 | 2590914.8674 | 1146858.4509 | 2590907.7547 | 1146842.9208
12 | 2590907.7547 | 1146842.9208 | 2590905.553 | 1146849.6608 | 2590911.1947 | 1146867.1825
13 | 2590907.7547 | 1146842.9208 | 2590906.175 | 1146839.4771 | 2590900.934 | 1146824.4552
14 | 2591066.5941 | 1146643.0836 | 2591070.2959 | 1146637.7422 | 2591088.603 | 1146619.8505 | 2591109.0101 | 1146600.8802
15 | 2591109.0101 | 1146600.8802 | 2591156.0849 | 1146557.1196 | 2591168.3307 | 1146547.1869
16 | 2591109.0101 | 1146600.8802 | 2591165.1047 | 1146631.5649
17 | 2591168.3307 | 1146547.1869 | 2591188.8043 | 1146530.5806 | 2591193.7441 | 1146527.3304
18 | 2590915.4257 | 1146885.9867 | 2590913.4165 | 1146874.083 | 2590911.1947 | 1146867.1825
19 | 2590900.934 | 1146824.4552 | 2590897.8217 | 1146815.5347
20 | 2590915.4257 | 1146885.9867 | 2590916.9506 | 1146895.0212 | 2590919.159 | 1146898.5564
21 | 2590847.4011 | 1146737.0167 | 2590854.823 | 1146738.6284 | 2590863.3025 | 1146743.7957 | 2590870.0536 | 1146753.7569 | 2590892.2587 | 1146799.5899 | 2590897.8217 | 1146815.5347
22 | 2590919.159 | 1146898.5564 | 2590920.6693 | 1146900.974 | 2590929.3298 | 1146909.1759 | 2590981.9304 | 1146953.6514 | 2590985.0237 | 1146957.5486 | 2590985.6551 | 1146963.7063 | 2590985.3813 | 1146971.0039
23 | 2590847.4011 | 1146737.0167 | 2590845.196 | 1146736.531 | 2590817.1012 | 1146741.9434 | 2590789.7848 | 1146746.9822
24 | 2590847.4011 | 1146737.0167 | 2590836.5309 | 1146710.5315
25 | 2590752.3768 | 1146752.6942 | 2590759.3676 | 1146752.5931 | 2590789.7848 | 1146746.9822
26 | 2590836.5309 | 1146710.5315 | 2590836.5309 | 1146710.5315 | 2590897.8775 | 1146639.0029
27 | 2590752.3768 | 1146752.6942 | 2590744.7366 | 1146752.8047 | 2590735.109 | 1146750.3184 | 2590732.2697 | 1146747.9002
28 | 2590724.6952 | 1146736.1387 | 2590727.0184 | 1146743.4276 | 2590732.2697 | 1146747.9002
29 | 2590984.0677 | 1147006.0071 | 2590985.3813 | 1146971.0039
30 | 2590724.6952 | 1146736.1387 | 2590709.8148 | 1146745.7801
31 | 2590611.9798 | 1147175.7172 | 2590610.1016 | 1147174.9532
32 | 2590537.1827 | 1147163.2969 | 2590540.9089 | 1147164.1804 | 2590544.7626 | 1147163.0959 | 2590561.4239 | 1147155.4992 | 2590565.9385 | 1147154.7584 | 2590570.7022 | 1147156.0627 | 2590605.5041 | 1147173.0828 | 2590610.1016 | 1147174.9532
33 | 2590640.0477 | 1147187.1355 | 2590611.9798 | 1147175.7172
34 | 2590478.3045 | 1147137.1332 | 2590477.374 | 1147141.2033 | 2590478.7419 | 1147146.5482 | 2590482.6561 | 1147149.7213 | 2590487.9338 | 1147150.7023 | 2590504.1156 | 1147150.721 | 2590512.5519 | 1147153.0087 | 2590537.1827 | 1147163.2969 | 2590537.1827 | 1147163.2969
35 | 2590824.326 | 1147235.3934 | 2590807.5148 | 1147230.4635 | 2590797.2265 | 1147230.1546
36 | 2590941.9726 | 1147244.0982 | 2590880.0535 | 1147231.6419 | 2590859.1778 | 1147240.6003 | 2590845.6782 | 1147241.6549 | 2590824.326 | 1147235.3934
37 | 2590781.9554 | 1147235.0273 | 2590795.188 | 1147230.0934 | 2590797.2265 | 1147230.1546
38 | 2590941.9726 | 1147244.0982 | 2590972.524 | 1147259.8486 | 2590996.7414 | 1147276.9871
39 | 2590941.9726 | 1147244.0982 | 2590956.8613 | 1147237.3057 | 2590977.4464 | 1147229.0594 | 2590995.573 | 1147225.3303 | 2591004.644 | 1147231.075 | 2591014.1432 | 1147245.8457 | 2591022.8062 | 1147256.0932 | 2591049.1749 | 1147258.5215 | 2591064.8311 | 1147256.4415 | 2591069.5383 | 1147253.6189
40 | 2590781.9554 | 1147235.0273 | 2590787.5116 | 1147242.3334 | 2590790.4296 | 1147251.7924
41 | 2590781.9554 | 1147235.0273 | 2590758.8607 | 1147239.2095 | 2590739.2627 | 1147234.9711 | 2590724.7158 | 1147224.3773 | 2590691.6029 | 1147211.5003
42 | 2590996.7414 | 1147276.9871 | 2590983.2687 | 1147280.5869 | 2590971.9395 | 1147284.7172 | 2590964.9417 | 1147288.8298 | 2590961.7128 | 1147290.3937
43 | 2590790.4296 | 1147251.7924 | 2590703.688 | 1147422.4158
44 | 2590691.6029 | 1147211.5003 | 2590682.5461 | 1147198.4697
45 | 2590958.15 | 1147292.1194 | 2590961.7128 | 1147290.3937
46 | 2590703.688 | 1147422.4158 | 2590698.1792 | 1147420.1365 | 2590698.1792 | 1147420.1365
47 | 2590682.5461 | 1147198.4697 | 2590680.2265 | 1147195.1322 | 2590671.2398 | 1147189.5102 | 2590671.2398 | 1147189.5102
48 | 2590640.0477 | 1147187.1355 | 2590640.0477 | 1147187.1355 | 2590643.2737 | 1147187.4306 | 2590671.2398 | 1147189.5102
49 | 2590695.4234 | 1146755.1046 | 2590709.8148 | 1146745.7801
50 | 2590695.4234 | 1146755.1046 | 2590702.3121 | 1146989.2635
51 | 2590517.5769 | 1146941.6974 | 2590702.3121 | 1146989.2635
52 | 2590362.3053 | 1147161.0974 | 2590369.6357 | 1147158.551 | 2590374.1546 | 1147150.94 | 2590376.1943 | 1147139.4422 | 2590374.525 | 1147123.426 | 2590374.7029 | 1147109.8746 | 2590377.37 | 1147101.6552 | 2590383.1331 | 1147098.7778 | 2590390.5524 | 1147098.966 | 2590395.8947 | 1147100.0924
53 | 2590362.3053 | 1147161.0974 | 2590363.0377 | 1147181.8286 | 2590354.5819 | 1147219.8163 | 2590353.2509 | 1147275.4901 | 2590357.5775 | 1147315.336 | 2590355.7368 | 1147321.0315
54 | 2590362.3053 | 1147161.0974 | 2590359.5498 | 1147162.0579 | 2590341.621 | 1147159.8302 | 2590323.0749 | 1147155.747 | 2590315.8517 | 1147148.5774 | 2590303.6783 | 1147134.0123 | 2590284.2872 | 1147115.7682 | 2590281.3865 | 1147107.769 | 2590278.2764 | 1147093.8116
55 | 2590395.8947 | 1147100.0924 | 2590400.2326 | 1147101.007 | 2590412.1867 | 1147103.4557 | 2590425.3587 | 1147104.8463
56 | 2590395.8947 | 1147100.0924 | 2590358.7788 | 1146964.985
57 | 2590355.7368 | 1147321.0315 | 2589968.8103 | 1147457.5005
58 | 2590257.0944 | 1147088.3339 | 2590261.3682 | 1147086.4467 | 2590270.6401 | 1147087.6655 | 2590278.2764 | 1147093.8116
59 | 2590478.3045 | 1147137.1332 | 2590474.0379 | 1147134.5609 | 2590470.9347 | 1147129.43 | 2590464.9483 | 1147117.5338 | 2590458.7508 | 1147108.0946 | 2590451.3263 | 1147104.6159 | 2590439.1768 | 1147104.8465 | 2590427.4343 | 1147105.0654 | 2590425.3587 | 1147104.8463
60 | 2590457.2154 | 1146983.886 | 2590446.3483 | 1146978.9068 | 2590432.4284 | 1146976.8058 | 2590405.7701 | 1146981.5397 | 2590367.8577 | 1146975.0308 | 2590360.9392 | 1146971.1734 | 2590358.7788 | 1146964.985
61 | 2590285.9127 | 1146641.5115 | 2590358.7788 | 1146964.985
62 | 2590517.5769 | 1146941.6974 | 2590457.2154 | 1146983.886
63 | 2590668.4212 | 1146655.121 | 2590665.6973 | 1146655.1465 | 2590652.4516 | 1146649.6895
64 | 2590610.9354 | 1146635.7712 | 2590616.3588 | 1146636.9149 | 2590643.7087 | 1146646.0876 | 2590652.4516 | 1146649.6895
65 | 2590610.9354 | 1146635.7712 | 2590605.0574 | 1146634.5316
66 | 2590605.0574 | 1146634.5316 | 2590576.1439 | 1146628.4342
67 | 2590576.1439 | 1146628.4342 | 2590554.9313 | 1146623.9608 | 2590518.2956 | 1146615.6185
68 | 2590472.1264 | 1146605.1052 | 2590518.2956 | 1146615.6185
69 | 2590472.1264 | 1146605.1052 | 2590467.1626 | 1146603.8681 | 2590418.017 | 1146591.5628 | 2590399.7285 | 1146585.593
70 | 2590472.1264 | 1146605.1052 | 2590475.4797 | 1146598.3076 | 2590485.973 | 1146585.4119
71 | 2590333.3504 | 1146547.6999 | 2590337.8727 | 1146551.3944 | 2590359.8414 | 1146566.7108 | 2590387.009 | 1146581.441 | 2590399.7285 | 1146585.593
72 | 2590621.4394 | 1146531.5443 | 2590609.0833 | 1146537.9335 | 2590592.408 | 1146542.6731 | 2590570.3694 | 1146545.9984 | 2590545.851 | 1146545.2145 | 2590532.8712 | 1146545.6463 | 2590517.0179 | 1146550.396 | 2590509.6077 | 1146556.3662 | 2590485.973 | 1146585.4119
73 | 2590333.3504 | 1146547.6999 | 2590289.9075 | 1146633.6114
74 | 2590333.3504 | 1146547.6999 | 2590298.5486 | 1146519.2201 | 2590277.5545 | 1146508.3155 | 2590259.258 | 1146503.165 | 2590245.4249 | 1146500.8108
75 | 2590646.382 | 1146508.972 | 2590621.4394 | 1146531.5443
76 | 2590285.9127 | 1146641.5115 | 2590289.9075 | 1146633.6114
77 | 2590235.4484 | 1146499.1129 | 2590245.4249 | 1146500.8108
78 | 2590646.382 | 1146508.972 | 2590643.1797 | 1146504.4526 | 2590641.1209 | 1146504.2557 | 2590630.7137 | 1146504.4721 | 2590618.1427 | 1146501.2013
79 | 2590646.382 | 1146508.972 | 2590715.9364 | 1146393.1403
80 | 2590618.1427 | 1146501.2013 | 2590447.8802 | 1146279.4403
81 | 2590715.9364 | 1146393.1403 | 2590761.4399 | 1146404.2558
82 | 2590851.8 | 1146419.6771 | 2590846.182 | 1146417.5736 | 2590837.5285 | 1146419.4433 | 2590827.2359 | 1146424.3838 | 2590819.6167 | 1146424.6067 | 2590815.5331 | 1146421.8714
83 | 2590851.8 | 1146419.6771 | 2590983.7765 | 1146198.4683
84 | 2590761.4399 | 1146404.2558 | 2590764.368 | 1146404.9711 | 2590780.6411 | 1146403.1006 | 2590799.1905 | 1146407.9966 | 2590810.1286 | 1146418.2515 | 2590815.5331 | 1146421.8714
85 | 2590235.4484 | 1146499.1129 | 2590238.9818 | 1146541.5724 | 2590240.1678 | 1146550.5666
86 | 2590240.1678 | 1146550.5666 | 2590242.5282 | 1146568.4686 | 2590242.3189 | 1146584.6468
87 | 2590100.4619 | 1147054.6803 | 2590118.9126 | 1147055.5652 | 2590145.1308 | 1147059.146 | 2590167.4586 | 1147064.8009 | 2590183.0428 | 1147070.2001 | 2590201.2212 | 1147074.5724 | 2590216.6587 | 1147079.5385 | 2590227.7898 | 1147085.8901 | 2590234.5954 | 1147091.2149 | 2590237.064 | 1147091.8111
88 | 2590100.4619 | 1147054.6803 | 2589975.5847 | 1146809.7938
89 | 2590237.064 | 1147091.8111 | 2590244.6988 | 1147093.6551 | 2590254.369 | 1147089.5374 | 2590257.0944 | 1147088.3339
90 | 2590242.2117 | 1146592.9256 | 2590242.3189 | 1146584.6468

## bus_geodata
| x | y | coords
0 | 2591142.9402 | 1146882.1656
1 | 2591077.3215 | 1146827.8326
2 | 2591173.1183 | 1146945.184
3 | 2591215.5837 | 1146773.6043
4 | 2591197.0202 | 1146982.2224
5 | 2591139.7302 | 1146916.2484
6 | 2591121.6184 | 1146684.4263
7 | 2591287.3259 | 1146787.84
8 | 2591211.5669 | 1146914.6013
9 | 2591021.9243 | 1146878.8213
10 | 2590978.2961 | 1146866.1808
11 | 2590907.7547 | 1146842.9208
12 | 2591066.5941 | 1146643.0836
13 | 2591109.0101 | 1146600.8802
14 | 2591168.3307 | 1146547.1869
15 | 2591165.1047 | 1146631.5649
16 | 2591193.7441 | 1146527.3304
17 | 2590911.1947 | 1146867.1825
18 | 2590900.934 | 1146824.4552
19 | 2590915.4257 | 1146885.9867
20 | 2590897.8217 | 1146815.5347
21 | 2590919.159 | 1146898.5564
22 | 2590847.4011 | 1146737.0167
23 | 2590789.7848 | 1146746.9822
24 | 2590836.5309 | 1146710.5315
25 | 2590752.3768 | 1146752.6942
26 | 2590897.8775 | 1146639.0029
27 | 2590732.2697 | 1146747.9002
28 | 2590985.3813 | 1146971.0039
29 | 2590724.6952 | 1146736.1387
30 | 2590984.0677 | 1147006.0071
31 | 2590610.1016 | 1147174.9532
32 | 2590611.9798 | 1147175.7172
33 | 2590537.1827 | 1147163.2969
34 | 2590824.326 | 1147235.3934
35 | 2590797.2265 | 1147230.1546
36 | 2590941.9726 | 1147244.0982
37 | 2590781.9554 | 1147235.0273
38 | 2590996.7414 | 1147276.9871
39 | 2591069.5383 | 1147253.6189
40 | 2590790.4296 | 1147251.7924
41 | 2590691.6029 | 1147211.5003
42 | 2590961.7128 | 1147290.3937
43 | 2590703.688 | 1147422.4158
44 | 2590682.5461 | 1147198.4697
45 | 2590958.15 | 1147292.1194
46 | 2590671.2398 | 1147189.5102
47 | 2590698.1792 | 1147420.1365
48 | 2590640.0477 | 1147187.1355
49 | 2590709.8148 | 1146745.7801
50 | 2590695.4234 | 1146755.1046
51 | 2590702.3121 | 1146989.2635
52 | 2590362.3053 | 1147161.0974
53 | 2590395.8947 | 1147100.0924
54 | 2590355.7368 | 1147321.0315
55 | 2590278.2764 | 1147093.8116
56 | 2590425.3587 | 1147104.8463
57 | 2590358.7788 | 1146964.985
58 | 2589968.8103 | 1147457.5005
59 | 2590478.3045 | 1147137.1332
60 | 2590457.2154 | 1146983.886
61 | 2590517.5769 | 1146941.6974
62 | 2590668.4212 | 1146655.121
63 | 2590652.4516 | 1146649.6895
64 | 2590610.9354 | 1146635.7712
65 | 2590605.0574 | 1146634.5316
66 | 2590576.1439 | 1146628.4342
67 | 2590518.2956 | 1146615.6185
68 | 2590472.1264 | 1146605.1052
69 | 2590399.7285 | 1146585.593
70 | 2590485.973 | 1146585.4119
71 | 2590333.3504 | 1146547.6999
72 | 2590621.4394 | 1146531.5443
73 | 2590289.9075 | 1146633.6114
74 | 2590245.4249 | 1146500.8108
75 | 2590646.382 | 1146508.972
76 | 2590618.1427 | 1146501.2013
77 | 2590715.9364 | 1146393.1403
78 | 2590447.8802 | 1146279.4403
79 | 2590851.8 | 1146419.6771
80 | 2590815.5331 | 1146421.8714
81 | 2590983.7765 | 1146198.4683
82 | 2590761.4399 | 1146404.2558
83 | 2590285.9127 | 1146641.5115
84 | 2590235.4484 | 1146499.1129
85 | 2590240.1678 | 1146550.5666
86 | 2590100.4619 | 1147054.6803
87 | 2590237.064 | 1147091.8111
88 | 2589975.5847 | 1146809.7938
89 | 2590257.0944 | 1147088.3339
90 | 2590242.3189 | 1146584.6468
91 | 2590242.2117 | 1146592.9256
92 | 2590517.5769 | 1146941.6974

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1