## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_843-35_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_843-35_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_843-35_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_843-35_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_843-35_0_5_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_843-35_0_5_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_843-35_0_5_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_843-35_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_843-35_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_843-35_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_843-35_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_843-35_0_5_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_843-35_0_5_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_843-35_0_5_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_843-35_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_843-35_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_843-35_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_843-35_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_843-35_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_843-35_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_843-35_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_843-35_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_843-35_0_5_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_843-35_0_5_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_843-35_0_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_843-35_0_5_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_843-35_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_843-35_0_5_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_843-35_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_843-35_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_843-35_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_843-35_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_843-35_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_843-35_0_5_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_843-35_0_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_843-35_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_843-35_0_5_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_843-35_0_5_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_843-35_0_5_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_843-35_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_843-35_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_843-35_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_843-35_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_843-35_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_843-35_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_843-35_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_843-35_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_843-35_0_5_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_843-35_0_5_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_843-35_0_5_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_843-35_0_5_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_843-35_0_5_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_843-35_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_843-35_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_843-35_0_5_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_843-35_0_5_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_843-35_0_5_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_843-35_0_5_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_843-35_0_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_843-35_0_5_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_843-35_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_843-35_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_843-35_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_843-35_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_843-35_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_843-35_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_843-35_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_843-35_0_5_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_843-35_0_5_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_843-35_0_5_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_843-35_0_5_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_843-35_0_5_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_843-35_0_5_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_843-35_0_5_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_843-35_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_843-35_0_5_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_843-35_0_5_node_72 | 0.4 | n |  | TRUE
77 | bus_MV_210_0_node_225 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_843-35_0_5_load_0 | 0 | 0.0015066 | 0.0003776 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_843-35_0_5_load_3 | 2 | 0.0022161 | 0.00055541 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_843-35_0_5_load_4 | 3 | 0.00090362 | 0.00022647 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_843-35_0_5_load_33 | 4 | 0.0047353 | 0.0011868 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_843-35_0_5_load_11 | 5 | 0.0019902 | 0.00049878 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_843-35_0_5_load_34 | 6 | 0.0069366 | 0.0017385 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_843-35_0_5_load_9 | 7 | 0.0017034 | 0.00042692 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_843-35_0_5_load_5 | 8 | 0.0021463 | 0.00053792 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_843-35_0_5_load_7 | 10 | 0.0085372 | 0.0021396 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_843-35_0_5_load_8 | 14 | 0.00099415 | 0.00024916 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_843-35_0_5_load_10 | 15 | 0.0013426 | 0.00033649 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_843-35_0_5_load_12 | 16 | 0.003706 | 0.00092881 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_843-35_0_5_load_15 | 19 | 0.0035766 | 0.00089639 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_843-35_0_5_load_17 | 21 | 0.001039 | 0.00026039 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_843-35_0_5_load_77 | 23 | 0.0013353 | 0.00033467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_843-35_0_5_load_45 | 24 | 0.001826 | 0.00045763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_843-35_0_5_load_49 | 26 | 0.00083983 | 0.00021048 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_843-35_0_5_load_46 | 27 | 0.00081201 | 0.00020351 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_843-35_0_5_load_18 | 28 | 0.004039 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_843-35_0_5_load_23 | 32 | 0.0025056 | 0.00062797 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_843-35_0_5_load_38 | 33 | 0.003535 | 0.00088595 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_843-35_0_5_load_50 | 34 | 0.020647 | 0.0051747 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_843-35_0_5_load_37 | 35 | 0.0025252 | 0.00063286 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_843-35_0_5_load_55 | 36 | 0.012513 | 0.0031359 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_843-35_0_5_load_56 | 37 | 0.0078185 | 0.0019595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_843-35_0_5_load_24 | 39 | 0.00045709 | 0.00011456 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_843-35_0_5_load_25 | 40 | 0.0037924 | 0.00095047 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_843-35_0_5_load_28 | 43 | 0.00042637 | 0.00010686 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_843-35_0_5_load_35 | 45 | 0.0032392 | 0.00081182 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_843-35_0_5_load_36 | 46 | 0.0064862 | 0.0016256 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_843-35_0_5_load_69 | 47 | 0.00040748 | 0.00010212 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_843-35_0_5_load_73 | 48 | 0.000852 | 0.00021353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_843-35_0_5_load_58 | 49 | 0.00047105 | 0.00011806 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_843-35_0_5_load_67 | 50 | 0.0029954 | 0.00075073 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_843-35_0_5_load_30 | 52 | 0.0010291 | 0.00025793 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_843-35_0_5_load_32 | 54 | 0.00040289 | 0.00010097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_843-35_0_5_load_65 | 56 | 0.00062331 | 0.00015622 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_843-35_0_5_load_71 | 57 | 0.004609 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_843-35_0_5_load_68 | 58 | 0.0017389 | 0.00043582 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_843-35_0_5_load_76 | 59 | 0.0014141 | 0.00035442 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_843-35_0_5_load_39 | 60 | 0.0042756 | 0.0010716 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_843-35_0_5_load_40 | 61 | 0.0082413 | 0.0020655 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_843-35_0_5_load_60 | 66 | 0.020572 | 0.0051558 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_843-35_0_5_load_78 | 67 | 0.019891 | 0.0049852 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_843-35_0_5_load_62 | 69 | 0.020622 | 0.0051683 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_843-35_0_5_load_47 | 71 | 0.0017979 | 0.00045059 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_843-35_0_5_load_57 | 72 | 0.00077589 | 0.00019446 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_843-35_0_5_load_74 | 73 | 0.00171 | 0.00042857 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_843-35_0_5_load_75 | 74 | 0.0036818 | 0.00092274 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_843-35_0_5_load_70 | 75 | 0.014576 | 0.0036531 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_843-35_0_5_load_72 | 76 | 0.00060231 | 0.00015095 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_843-35_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_843-35_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.044453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_843-35_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0064709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_843-35_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_843-35_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.043615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_843-35_0_5_line_5 | NAYY 4x150 SE | 4 | 6 | 0.028601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_843-35_0_5_line_6 | NAYY 4x150 SE | 5 | 7 | 0.028327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_843-35_0_5_line_7 | NAYY 4x150 SE | 6 | 57 | 0.010873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_843-35_0_5_line_8 | NAYY 4x150 SE | 7 | 14 | 0.070714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_843-35_0_5_line_9 | NAYY 4x150 SE | 8 | 9 | 0.10836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_843-35_0_5_line_10 | NAYY 4x150 SE | 9 | 10 | 0.15698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_843-35_0_5_line_11 | NAYY 4x150 SE | 10 | 11 | 0.12929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_843-35_0_5_line_12 | NAYY 4x150 SE | 11 | 12 | 0.39352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_843-35_0_5_line_13 | NAYY 4x150 SE | 11 | 13 | 0.1146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_843-35_0_5_line_14 | NAYY 4x150 SE | 12 | 25 | 0.1411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_843-35_0_5_line_15 | NAYY 4x150 SE | 12 | 19 | 0.16261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_843-35_0_5_line_16 | NAYY 4x150 SE | 13 | 75 | 0.021593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_843-35_0_5_line_17 | NAYY 4x150 SE | 13 | 57 | 0.034112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_843-35_0_5_line_18 | NAYY 4x150 SE | 14 | 15 | 0.033296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_843-35_0_5_line_19 | NAYY 4x150 SE | 16 | 17 | 0.027473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_843-35_0_5_line_20 | NAYY 4x150 SE | 16 | 18 | 0.20391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_843-35_0_5_line_21 | NAYY 4x150 SE | 17 | 19 | 0.15161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_843-35_0_5_line_22 | NAYY 4x150 SE | 18 | 20 | 0.043749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_843-35_0_5_line_23 | NAYY 4x150 SE | 18 | 21 | 0.012099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_843-35_0_5_line_24 | NAYY 4x150 SE | 20 | 22 | 0.19225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_843-35_0_5_line_25 | NAYY 4x150 SE | 20 | 23 | 0.20759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_843-35_0_5_line_26 | NAYY 4x150 SE | 21 | 24 | 0.0062041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_843-35_0_5_line_27 | NAYY 4x150 SE | 22 | 26 | 0.11776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_843-35_0_5_line_28 | NAYY 4x150 SE | 22 | 27 | 0.014358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_843-35_0_5_line_29 | NAYY 4x150 SE | 25 | 49 | 0.17611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_843-35_0_5_line_30 | NAYY 4x150 SE | 26 | 72 | 0.00022451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_843-35_0_5_line_31 | NAYY 4x150 SE | 27 | 71 | 0.0018576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_843-35_0_5_line_32 | NAYY 4x150 SE | 28 | 29 | 0.018072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_843-35_0_5_line_33 | NAYY 4x150 SE | 28 | 30 | 0.011854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_843-35_0_5_line_34 | NAYY 4x150 SE | 29 | 31 | 0.11063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_843-35_0_5_line_35 | NAYY 4x150 SE | 30 | 32 | 0.028836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_843-35_0_5_line_36 | NAYY 4x150 SE | 31 | 33 | 0.051095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_843-35_0_5_line_37 | NAYY 4x150 SE | 32 | 34 | 0.03 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_843-35_0_5_line_38 | NAYY 4x150 SE | 33 | 35 | 0.03934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_843-35_0_5_line_39 | NAYY 4x150 SE | 34 | 38 | 0.072408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_843-35_0_5_line_40 | NAYY 4x150 SE | 35 | 59 | 0.31147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_843-35_0_5_line_41 | NAYY 4x150 SE | 36 | 37 | 0.029602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_843-35_0_5_line_42 | NAYY 4x150 SE | 37 | 63 | 0.011739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_843-35_0_5_line_43 | NAYY 4x150 SE | 38 | 69 | 0.036078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_843-35_0_5_line_44 | NAYY 4x150 SE | 38 | 73 | 0.04514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_843-35_0_5_line_45 | NAYY 4x150 SE | 39 | 40 | 0.29196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_843-35_0_5_line_46 | NAYY 4x150 SE | 39 | 41 | 0.20755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_843-35_0_5_line_47 | NAYY 4x150 SE | 40 | 42 | 0.074311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_843-35_0_5_line_48 | NAYY 4x150 SE | 41 | 43 | 0.0061921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_843-35_0_5_line_49 | NAYY 4x150 SE | 41 | 44 | 0.27039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_843-35_0_5_line_50 | NAYY 4x150 SE | 42 | 45 | 0.062603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_843-35_0_5_line_51 | NAYY 4x150 SE | 42 | 46 | 0.16963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_843-35_0_5_line_52 | NAYY 4x150 SE | 43 | 47 | 0.0023532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_843-35_0_5_line_53 | NAYY 4x150 SE | 44 | 48 | 0.31184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_843-35_0_5_line_54 | NAYY 4x150 SE | 45 | 49 | 0.15015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_843-35_0_5_line_55 | NAYY 4x150 SE | 46 | 50 | 0.084189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_843-35_0_5_line_56 | NAYY 4x150 SE | 48 | 51 | 0.2496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_843-35_0_5_line_57 | NAYY 4x150 SE | 50 | 58 | 0.0012937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_843-35_0_5_line_58 | NAYY 4x150 SE | 51 | 55 | 0.16802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_843-35_0_5_line_59 | NAYY 4x150 SE | 52 | 53 | 0.2226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_843-35_0_5_line_60 | NAYY 4x150 SE | 53 | 54 | 0.012038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_843-35_0_5_line_61 | NAYY 4x150 SE | 54 | 55 | 0.11625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_843-35_0_5_line_62 | NAYY 4x150 SE | 55 | 56 | 0.097221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_843-35_0_5_line_63 | NAYY 4x150 SE | 56 | 76 | 0.40945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_843-35_0_5_line_64 | NAYY 4x150 SE | 60 | 61 | 0.00094427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_843-35_0_5_line_65 | NAYY 4x150 SE | 60 | 62 | 0.015243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_843-35_0_5_line_66 | NAYY 4x150 SE | 61 | 63 | 0.014787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_843-35_0_5_line_67 | NAYY 4x150 SE | 62 | 64 | 0.002502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_843-35_0_5_line_68 | NAYY 4x150 SE | 62 | 65 | 0.013048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_843-35_0_5_line_69 | NAYY 4x150 SE | 64 | 66 | 0.04218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_843-35_0_5_line_70 | NAYY 4x150 SE | 65 | 67 | 0.008133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_843-35_0_5_line_71 | NAYY 4x150 SE | 66 | 68 | 0.013926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_843-35_0_5_line_72 | NAYY 4x150 SE | 68 | 69 | 0.035421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_843-35_0_5_line_73 | NAYY 4x150 SE | 68 | 70 | 0.061215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_843-35_0_5_line_74 | NAYY 4x150 SE | 70 | 75 | 0.0019651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_843-35_0_5_line_75 | NAYY 4x150 SE | 73 | 74 | 0.031359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_843-35_0_5_trafo_63 | 0.25 MVA 20/0.4 kV | 77 | 70 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2590027.1888 | 1151734.1751 | 2590015.9464 | 1151720.565 | 2590007.9498 | 1151711.3516 | 2590004.4052 | 1151707.2666 | 2589992.4116 | 1151694.2359 | 2589979.9504 | 1151681.6061 | 2589967.2287 | 1151669.1991 | 2589954.193 | 1151657.2263 | 2589945.4619 | 1151649.5763
1 | 2590027.1888 | 1151734.1751 | 2590035.8791 | 1151745.2661 | 2590044.1633 | 1151756.7579 | 2590052.1179 | 1151768.4393 | 2590053.1884 | 1151770.2033
2 | 2590027.1888 | 1151734.1751 | 2590021.0066 | 1151736.0864
3 | 2590053.1884 | 1151770.2033 | 2590059.3899 | 1151780.4219 | 2590067.5723 | 1151795.225
4 | 2590021.0066 | 1151736.0864 | 2590014.8255 | 1151734.0512 | 2589985.602 | 1151711.1828
5 | 2590067.5723 | 1151795.225 | 2590078.0403 | 1151814.163 | 2590081.4699 | 1151820.2222
6 | 2589964.4209 | 1151692.4564 | 2589974.0143 | 1151702.115 | 2589985.602 | 1151711.1828
7 | 2590081.4699 | 1151820.2222 | 2590086.8261 | 1151829.6849
8 | 2589899.6521 | 1151667.4101 | 2589905.0106 | 1151672.0609 | 2589913.6973 | 1151676.2483 | 2589934.8997 | 1151679.9032 | 2589956.0842 | 1151686.5486 | 2589962.9139 | 1151690.9393 | 2589964.4209 | 1151692.4564
9 | 2589822.8782 | 1151841.7834 | 2589823.0768 | 1151836.725 | 2589823.3641 | 1151834.19 | 2589824.25 | 1151831.6872 | 2589826.4083 | 1151828.3041 | 2589835.8209 | 1151817.2605 | 2589839.6026 | 1151811.7736 | 2589843.2452 | 1151805.7533 | 2589850.1547 | 1151793.8357 | 2589854.3903 | 1151784.4906 | 2589858.1876 | 1151774.6349 | 2589865.0108 | 1151752.5681 | 2589868.2954 | 1151748.0492 | 2589870.3643 | 1151746.4998
10 | 2589822.8782 | 1151841.7834 | 2589834.22 | 1151846.0773 | 2589950.885 | 1151889.6459 | 2589969.8847 | 1151896.8491
11 | 2590089.3398 | 1151945.631 | 2590077.9242 | 1151942.9264 | 2590056.1274 | 1151931.9461 | 2590044.4074 | 1151926.2295 | 2590012.2466 | 1151912.8433 | 2589986.3537 | 1151903.0929 | 2589969.8847 | 1151896.8491
12 | 2590095.8297 | 1152087.7677 | 2590081.7658 | 1152070.4715 | 2590075.2623 | 1152063.5678 | 2590056.0223 | 1152057.808 | 2590043.9293 | 1152049.1239 | 2590032.7108 | 1152031.0893 | 2590018.1554 | 1152018.3963 | 2590000.9139 | 1152010.1766 | 2589984.1315 | 1152005.747 | 2589969.354 | 1151997.968 | 2589953.6923 | 1151993.7589 | 2589930.8536 | 1151979.3013 | 2589929.8428 | 1151971.5103 | 2589936.189 | 1151962.3507 | 2589944.6924 | 1151962.781 | 2589963.6939 | 1151958.736 | 2589975.7647 | 1151954.0357 | 2589978.8958 | 1151949.5727 | 2589983.8136 | 1151948.8863 | 2589988.2894 | 1151950.0016 | 2589993.8711 | 1151947.0908 | 2589998.345 | 1151947.0833 | 2590001.9325 | 1151949.3117 | 2590008.1917 | 1151947.7338 | 2590016.6962 | 1151948.8313 | 2590025.8718 | 1151951.9397 | 2590035.265 | 1151952.1463 | 2590045.1111 | 1151957.0434 | 2590049.3709 | 1151962.1611 | 2590056.3144 | 1151965.9403 | 2590061.2348 | 1151966.8214 | 2590067.7163 | 1151965.032 | 2590081.5662 | 1151950.2906 | 2590089.3398 | 1151945.631
13 | 2590089.3398 | 1151945.631 | 2590094.2218 | 1151946.4566 | 2590105.7354 | 1151943.5028 | 2590111.6216 | 1151939.0575 | 2590116.6471 | 1151933.8355 | 2590120.5326 | 1151926.0586 | 2590121.6055 | 1151920.5764 | 2590121.4127 | 1151915.3519 | 2590117.3734 | 1151904.3421 | 2590100.9113 | 1151871.0752 | 2590099.0535 | 1151866.0092 | 2590098.9502 | 1151863.875 | 2590099.7832 | 1151861.8059 | 2590104.0379 | 1151859.1309
14 | 2589958.5745 | 1152063.2403 | 2589969.2739 | 1152059.9318 | 2589984.0905 | 1152059.0843 | 2590006.3282 | 1152063.1602 | 2590091.668 | 1152086.2406 | 2590095.8297 | 1152087.7677
15 | 2590095.8297 | 1152087.7677 | 2590135.6498 | 1152102.3312 | 2590161.9989 | 1152105.5672 | 2590216.2379 | 1152115.6831 | 2590251.4761 | 1152131.1661
16 | 2590104.0379 | 1151859.1309 | 2590122.1095 | 1151847.312
17 | 2590104.0379 | 1151859.1309 | 2590097.0125 | 1151847.6813 | 2590086.8261 | 1151829.6849
18 | 2589899.6521 | 1151667.4101 | 2589889.7855 | 1151658.8468 | 2589875.1304 | 1151651.3902 | 2589871.4305 | 1151650.5761
19 | 2590392.3445 | 1152136.6409 | 2590402.3504 | 1152141.0492 | 2590413.349 | 1152147.2457 | 2590416.6441 | 1152149.3595
20 | 2590520.7956 | 1152263.3312 | 2590520.8481 | 1152262.553 | 2590521.6497 | 1152259.9504 | 2590523.2492 | 1152257.2466 | 2590536.4532 | 1152246.2536 | 2590540.8501 | 1152241.3553 | 2590542.4502 | 1152239.0516 | 2590543.5509 | 1152236.3486 | 2590544.3543 | 1152230.0553 | 2590543.6519 | 1152227.4552 | 2590542.1507 | 1152224.356 | 2590540.0515 | 1152221.6469 | 2590536.7471 | 1152218.6507 | 2590529.3494 | 1152213.5488 | 2590524.1477 | 1152209.355 | 2590504.6543 | 1152188.4534 | 2590499.4523 | 1152184.0484 | 2590496.7488 | 1152182.552 | 2590492.4482 | 1152180.4467 | 2590488.0493 | 1152179.2531 | 2590484.2506 | 1152179.048 | 2590479.7476 | 1152179.9556 | 2590471.5493 | 1152182.9479 | 2590468.1508 | 1152183.5536 | 2590461.7506 | 1152183.2526 | 2590456.7523 | 1152181.5486 | 2590454.0483 | 1152179.752 | 2590438.2541 | 1152164.1474 | 2590427.8518 | 1152156.5492 | 2590416.6441 | 1152149.3595
21 | 2590392.3445 | 1152136.6409 | 2590391.9927 | 1152137.3752 | 2590387.1267 | 1152146.3096 | 2590381.1932 | 1152149.9765 | 2590355.1795 | 1152149.9629 | 2590330.8511 | 1152152.8925 | 2590301.2115 | 1152150.4838 | 2590270.7602 | 1152139.6391 | 2590251.4761 | 1152131.1661
22 | 2590520.7956 | 1152263.3312 | 2590520.6535 | 1152265.6548 | 2590521.049 | 1152268.2554 | 2590522.2501 | 1152270.7548 | 2590537.8524 | 1152286.6489 | 2590540.6521 | 1152290.7465 | 2590543.5529 | 1152295.7555 | 2590544.8847 | 1152298.4769
23 | 2590520.7956 | 1152263.3312 | 2590510.91 | 1152261.9796 | 2590508.8124 | 1152262.2973
24 | 2590544.8847 | 1152298.4769 | 2590550.7508 | 1152310.4513 | 2590557.15 | 1152329.5506 | 2590560.7541 | 1152337.7489 | 2590564.4491 | 1152345.1467 | 2590568.9503 | 1152352.9545 | 2590576.3496 | 1152364.0483 | 2590605.2477 | 1152398.2529 | 2590627.9475 | 1152424.0521 | 2590653.0508 | 1152451.0482 | 2590654.0533 | 1152454.2482
25 | 2590451.8743 | 1152418.2058 | 2590443.2165 | 1152407.1365 | 2590430.4196 | 1152384.5903 | 2590429.9901 | 1152375.1531 | 2590433.6885 | 1152370.2225 | 2590446.4506 | 1152371.0247 | 2590463.2238 | 1152370.5643 | 2590486.7763 | 1152362.7563 | 2590502.8139 | 1152353.2928 | 2590520.899 | 1152338.0788 | 2590538.1813 | 1152334.3607 | 2590543.1151 | 1152329.4283 | 2590543.5022 | 1152312.197 | 2590544.8544 | 1152298.6882 | 2590544.8847 | 1152298.4769
26 | 2590502.6783 | 1152263.2266 | 2590508.8124 | 1152262.2973
27 | 2590654.0533 | 1152454.2482 | 2590657.8533 | 1152455.3539 | 2590663.3475 | 1152455.4565 | 2590712.3536 | 1152448.5545 | 2590720.747 | 1152447.8522 | 2590726.2488 | 1152447.8548 | 2590752.2494 | 1152450.1489 | 2590759.5471 | 1152450.4489 | 2590771.0238 | 1152450.0604
28 | 2590654.0533 | 1152454.2482 | 2590654.2516 | 1152458.3499 | 2590653.5522 | 1152462.5531 | 2590652.3535 | 1152466.3457 | 2590651.4043 | 1152468.1204
29 | 2589958.5745 | 1152063.2403 | 2589956.9357 | 1152069.8018 | 2589979.1899 | 1152083.7158 | 2590011.3365 | 1152107.4625 | 2590035.2609 | 1152133.691 | 2590083.0105 | 1152181.5836
30 | 2590771.2482 | 1152450.0528 | 2590771.0238 | 1152450.0604
31 | 2590651.4043 | 1152468.1204 | 2590650.5282 | 1152469.7584
32 | 2590201.4774 | 1151664.1747 | 2590198.5038 | 1151666.6586 | 2590194.7178 | 1151669.733 | 2590191.2857 | 1151673.3848 | 2590189.5124 | 1151677.312
33 | 2590190.283 | 1151688.9941 | 2590189.0453 | 1151678.3465 | 2590189.5124 | 1151677.312
34 | 2590125.201 | 1151584.1832 | 2590135.3683 | 1151592.6928 | 2590171.821 | 1151629.7176 | 2590186.6034 | 1151644.7229 | 2590201.4774 | 1151664.1747
35 | 2590190.283 | 1151688.9941 | 2590168.1087 | 1151707.4289
36 | 2590125.201 | 1151584.1832 | 2590126.9578 | 1151579.1557 | 2590140.9281 | 1151562.3132 | 2590152.0162 | 1151547.521 | 2590152.8363 | 1151542.1837
37 | 2590168.1087 | 1151707.4289 | 2590145.0399 | 1151726.6074
38 | 2590138.7793 | 1151505.894 | 2590141.6771 | 1151518.6017 | 2590144.3711 | 1151528.0352 | 2590150.7654 | 1151538.2852 | 2590152.8363 | 1151542.1837
39 | 2590100.9662 | 1151779.1634 | 2590099.8283 | 1151773.2846 | 2590101.1754 | 1151766.4902 | 2590109.3315 | 1151756.2939 | 2590145.0399 | 1151726.6074
40 | 2590138.7793 | 1151505.894 | 2589986.1307 | 1151234.3987
41 | 2590292.9167 | 1151778.9583 | 2590284.0445 | 1151781.8754 | 2590268.3788 | 1151784.9024 | 2590264.0778 | 1151785.1391
42 | 2590252.3567 | 1151785.7845 | 2590264.0778 | 1151785.1391
43 | 2590100.9662 | 1151779.1634 | 2590109.8345 | 1151786.619 | 2590133.147 | 1151794.1285
44 | 2590100.9662 | 1151779.1634 | 2590092.8944 | 1151780.0216 | 2590079.0877 | 1151770.1953 | 2590072.4818 | 1151757.2777 | 2590070.7282 | 1151751.994
45 | 2590150.436 | 1152315.2338 | 2590149.1761 | 1152314.8688 | 2590116.22 | 1152301.7834 | 2590065.1327 | 1152275.6109 | 2590022.273 | 1152246.1345 | 2589985.1992 | 1152230.6111 | 2589949.7819 | 1152219.1761 | 2589917.664 | 1152216.7734 | 2589885.5648 | 1152220.9297 | 2589881.8897 | 1152221.8517
46 | 2589689.3973 | 1152296.2018 | 2589727.602 | 1152281.929 | 2589791.7784 | 1152261.2978 | 2589809.0528 | 1152253.0643 | 2589829.6157 | 1152238.2554 | 2589855.9421 | 1152228.3613 | 2589881.8897 | 1152221.8517
47 | 2590214.2567 | 1152344.2985 | 2590206.8546 | 1152345.9559 | 2590198.6116 | 1152340.2221 | 2590192.8327 | 1152330.3823 | 2590182.9399 | 1152324.6513 | 2590150.436 | 1152315.2338
48 | 2589689.3973 | 1152296.2018 | 2589686.1825 | 1152291.9831 | 2589685.2957 | 1152291.9356
49 | 2589469.2602 | 1152448.2046 | 2589479.4203 | 1152439.8493 | 2589490.7537 | 1152426.7674 | 2589519.518 | 1152398.8254 | 2589562.27 | 1152365.9233 | 2589601.765 | 1152352.7258 | 2589623.146 | 1152341.1941 | 2589679.0602 | 1152300.066 | 2589689.3973 | 1152296.2018
50 | 2590214.2567 | 1152344.2985 | 2590215.8944 | 1152336.9144 | 2590211.7576 | 1152327.0719 | 2590199.3909 | 1152314.7862 | 2590183.7242 | 1152297.5701 | 2590181.4326 | 1152294.7245
51 | 2590214.2567 | 1152344.2985 | 2590222.5497 | 1152347.7977 | 2590239.134 | 1152363.1671 | 2590256.0976 | 1152380.5701 | 2590264.4891 | 1152392.8069 | 2590273.2639 | 1152409.4897 | 2590284.2749 | 1152428.2032 | 2590297.8989 | 1152449.5137 | 2590315.4211 | 1152471.0069 | 2590317.1443 | 1152476.0143
52 | 2589682.9459 | 1152291.8099 | 2589685.2957 | 1152291.9356
53 | 2589469.2602 | 1152448.2046 | 2589470.8995 | 1152459.674 | 2589477.1262 | 1152483.5415 | 2589483.3237 | 1152490.8786 | 2589494.9086 | 1152494.2599 | 2589503.5942 | 1152493.9889 | 2589515.9599 | 1152491.9996 | 2589526.4896 | 1152493.1595 | 2589537.2818 | 1152495.2416 | 2589547.5471 | 1152494.4344 | 2589568.4632 | 1152489.4176 | 2589572.7996 | 1152485.597 | 2589582.5225 | 1152477.3205 | 2589595.931 | 1152470.4715 | 2589603.6922 | 1152468.1013 | 2589610.7983 | 1152468.478 | 2589639.8914 | 1152475.1197 | 2589654.8874 | 1152472.0811 | 2589665.1478 | 1152468.3838 | 2589677.3707 | 1152459.1803 | 2589686.9656 | 1152456.6737 | 2589694.8632 | 1152457.7161 | 2589710.6667 | 1152464.6367 | 2589730.8153 | 1152477.6539
54 | 2590083.0105 | 1152181.5836 | 2590121.026 | 1152219.713 | 2590181.4326 | 1152294.7245
55 | 2590301.6024 | 1152550.2783 | 2590319.9948 | 1152532.7743 | 2590325.1841 | 1152519.9596 | 2590325.1634 | 1152507.1645 | 2590318.2274 | 1152479.162 | 2590317.1443 | 1152476.0143
56 | 2589835.1863 | 1152639.4094 | 2589824.5037 | 1152624.8649 | 2589812.5029 | 1152606.7876 | 2589803.8016 | 1152597.7425 | 2589795.4963 | 1152591.4647 | 2589780.8863 | 1152586.7651 | 2589772.4561 | 1152583.7669 | 2589727.6714 | 1152558.787 | 2589719.3751 | 1152553.4209 | 2589716.4733 | 1152548.1789 | 2589717.6435 | 1152541.4958 | 2589728.4159 | 1152532.1616 | 2589741.9615 | 1152524.6568 | 2589748.0071 | 1152519.6662 | 2589750.8904 | 1152514.1475 | 2589751.5357 | 1152505.62 | 2589747.9623 | 1152493.5646 | 2589740.4412 | 1152483.8728 | 2589730.8153 | 1152477.6539
57 | 2590300.6653 | 1152551.1702 | 2590301.6024 | 1152550.2783
58 | 2589835.1863 | 1152639.4094 | 2589813.9018 | 1152644.1702 | 2589799.5533 | 1152644.1947 | 2589768.3524 | 1152638.3341 | 2589758.993 | 1152639.2839 | 2589752.1392 | 1152642.7196 | 2589748.407 | 1152649.8739 | 2589749.3607 | 1152660.144 | 2589758.1614 | 1152700.2375 | 2589759.123 | 1152715.1654 | 2589760.0687 | 1152720.7554 | 2589762.8797 | 1152722.3069
59 | 2589848.4717 | 1152790.361 | 2589848.0937 | 1152798.2322 | 2589856.2787 | 1152815.1377 | 2589866.8415 | 1152836.2301 | 2589872.8103 | 1152862.9776 | 2589877.4521 | 1152885.5363 | 2589881.153 | 1152896.1464 | 2589897.7896 | 1152929.1789 | 2589899.7783 | 1152939.136 | 2589897.2844 | 1152943.4757 | 2589893.4737 | 1152945.0495 | 2589887.8084 | 1152943.3583 | 2589856.8635 | 1152929.1149 | 2589848.176 | 1152923.3601 | 2589844.6379 | 1152921.4822
60 | 2589848.4717 | 1152790.361 | 2589844.9199 | 1152778.8585
61 | 2589762.8797 | 1152722.3069 | 2589768.1795 | 1152721.0528 | 2589788.1407 | 1152718.8398 | 2589800.933 | 1152719.7517 | 2589809.6743 | 1152725.3395 | 2589816.5559 | 1152733.7208 | 2589821.5761 | 1152752.9884 | 2589825.0159 | 1152758.8854 | 2589833.4481 | 1152763.2288 | 2589840.0071 | 1152766.9528 | 2589843.449 | 1152774.0949 | 2589844.9199 | 1152778.8585
62 | 2589762.8797 | 1152722.3069 | 2589755.294 | 1152728.4229 | 2589745.4515 | 1152733.9758 | 2589735.2465 | 1152738.4622 | 2589727.0071 | 1152739.1878 | 2589715.8928 | 1152736.8836 | 2589701.7375 | 1152733.1617 | 2589690.6223 | 1152730.3239 | 2589671.0963 | 1152731.247
63 | 2589671.0963 | 1152731.247 | 2589284.2699 | 1152865.4736
64 | 2590236.6294 | 1151785.4319 | 2590237.5734 | 1151785.453
65 | 2590221.3905 | 1151785.0903 | 2590236.6294 | 1151785.4319
66 | 2590252.3567 | 1151785.7845 | 2590237.5734 | 1151785.453
67 | 2590218.8811 | 1151785.0833 | 2590221.3905 | 1151785.0903
68 | 2590218.7144 | 1151772.3217 | 2590221.3905 | 1151785.0903
69 | 2590218.8811 | 1151785.0833 | 2590210.4096 | 1151785.5196 | 2590203.1353 | 1151785.9762 | 2590189.2992 | 1151790.8568 | 2590178.6012 | 1151795.6839
70 | 2590211.6333 | 1151773.634 | 2590213.9371 | 1151774.5529 | 2590216.3851 | 1151774.5488 | 2590218.7144 | 1151772.3217
71 | 2590167.2188 | 1151803.6105 | 2590176.1939 | 1151796.7701 | 2590178.6012 | 1151795.6839
72 | 2590167.2188 | 1151803.6105 | 2590155.2586 | 1151801.2512 | 2590133.147 | 1151794.1285
73 | 2590123.7541 | 1151846.2364 | 2590131.7724 | 1151840.9316 | 2590149.0823 | 1151825.3065 | 2590154.6811 | 1151818.6607 | 2590159.8283 | 1151812.7604 | 2590167.2188 | 1151803.6105
74 | 2590123.7541 | 1151846.2364 | 2590122.1095 | 1151847.312
75 | 2590054.9315 | 1151725.3023 | 2590067.5148 | 1151742.3119 | 2590070.7282 | 1151751.994

## bus_geodata
| x | y | coords
0 | 2589945.4619 | 1151649.5763
1 | 2590027.1888 | 1151734.1751
2 | 2590053.1884 | 1151770.2033
3 | 2590021.0066 | 1151736.0864
4 | 2590067.5723 | 1151795.225
5 | 2589985.602 | 1151711.1828
6 | 2590081.4699 | 1151820.2222
7 | 2589964.4209 | 1151692.4564
8 | 2589870.3643 | 1151746.4998
9 | 2589822.8782 | 1151841.7834
10 | 2589969.8847 | 1151896.8491
11 | 2590089.3398 | 1151945.631
12 | 2590095.8297 | 1152087.7677
13 | 2590104.0379 | 1151859.1309
14 | 2589899.6521 | 1151667.4101
15 | 2589871.4305 | 1151650.5761
16 | 2590416.6441 | 1152149.3595
17 | 2590392.3445 | 1152136.6409
18 | 2590520.7956 | 1152263.3312
19 | 2590251.4761 | 1152131.1661
20 | 2590544.8847 | 1152298.4769
21 | 2590508.8124 | 1152262.2973
22 | 2590654.0533 | 1152454.2482
23 | 2590451.8743 | 1152418.2058
24 | 2590502.6783 | 1152263.2266
25 | 2589958.5745 | 1152063.2403
26 | 2590771.0238 | 1152450.0604
27 | 2590651.4043 | 1152468.1204
28 | 2590189.5124 | 1151677.312
29 | 2590201.4774 | 1151664.1747
30 | 2590190.283 | 1151688.9941
31 | 2590125.201 | 1151584.1832
32 | 2590168.1087 | 1151707.4289
33 | 2590152.8363 | 1151542.1837
34 | 2590145.0399 | 1151726.6074
35 | 2590138.7793 | 1151505.894
36 | 2590292.9167 | 1151778.9583
37 | 2590264.0778 | 1151785.1391
38 | 2590100.9662 | 1151779.1634
39 | 2589881.8897 | 1152221.8517
40 | 2590150.436 | 1152315.2338
41 | 2589689.3973 | 1152296.2018
42 | 2590214.2567 | 1152344.2985
43 | 2589685.2957 | 1152291.9356
44 | 2589469.2602 | 1152448.2046
45 | 2590181.4326 | 1152294.7245
46 | 2590317.1443 | 1152476.0143
47 | 2589682.9459 | 1152291.8099
48 | 2589730.8153 | 1152477.6539
49 | 2590083.0105 | 1152181.5836
50 | 2590301.6024 | 1152550.2783
51 | 2589835.1863 | 1152639.4095
52 | 2589844.6379 | 1152921.4822
53 | 2589848.4717 | 1152790.361
54 | 2589844.9199 | 1152778.8585
55 | 2589762.8797 | 1152722.3069
56 | 2589671.0963 | 1152731.247
57 | 2590086.8261 | 1151829.6849
58 | 2590300.6653 | 1152551.1702
59 | 2589986.1307 | 1151234.3987
60 | 2590236.6294 | 1151785.4319
61 | 2590237.5734 | 1151785.453
62 | 2590221.3905 | 1151785.0903
63 | 2590252.3567 | 1151785.7845
64 | 2590218.8811 | 1151785.0833
65 | 2590218.7144 | 1151772.3217
66 | 2590178.6012 | 1151795.6839
67 | 2590211.6333 | 1151773.634
68 | 2590167.2188 | 1151803.6105
69 | 2590133.147 | 1151794.1285
70 | 2590123.7541 | 1151846.2364
71 | 2590650.5282 | 1152469.7584
72 | 2590771.2482 | 1152450.0528
73 | 2590070.7282 | 1151751.994
74 | 2590054.9315 | 1151725.3023
75 | 2590122.1095 | 1151847.312
76 | 2589284.2699 | 1152865.4736
77 | 2590104.0379 | 1151859.1309

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1