## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_843-5_2_3_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_843-5_2_3_node_99 | 0.4 | n |  | TRUE
2 | bus_LV_843-5_2_3_node_135 | 0.4 | n |  | TRUE
3 | bus_LV_843-5_2_3_node_73 | 0.4 | n |  | TRUE
4 | bus_LV_843-5_2_3_node_77 | 0.4 | n |  | TRUE
5 | bus_LV_843-5_2_3_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_843-5_2_3_node_105 | 0.4 | n |  | TRUE
7 | bus_LV_843-5_2_3_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_843-5_2_3_node_104 | 0.4 | n |  | TRUE
9 | bus_LV_843-5_2_3_node_79 | 0.4 | n |  | TRUE
10 | bus_LV_843-5_2_3_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_843-5_2_3_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_843-5_2_3_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_843-5_2_3_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_843-5_2_3_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_843-5_2_3_node_89 | 0.4 | n |  | TRUE
16 | bus_LV_843-5_2_3_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_843-5_2_3_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_843-5_2_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_843-5_2_3_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_843-5_2_3_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_843-5_2_3_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_843-5_2_3_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_843-5_2_3_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_843-5_2_3_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_843-5_2_3_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_843-5_2_3_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_843-5_2_3_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_843-5_2_3_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_843-5_2_3_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_843-5_2_3_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_843-5_2_3_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_843-5_2_3_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_843-5_2_3_node_100 | 0.4 | n |  | TRUE
34 | bus_LV_843-5_2_3_node_101 | 0.4 | n |  | TRUE
35 | bus_LV_843-5_2_3_node_102 | 0.4 | n |  | TRUE
36 | bus_MV_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_843-5_2_3_load_130 | 0 | 0.0049698 | 0.0012456 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_843-5_2_3_load_135 | 2 | 0.002854 | 0.00071528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_843-5_2_3_load_73 | 3 | 0.0022053 | 0.00055271 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_843-5_2_3_load_64 | 5 | 0.0010262 | 0.0002572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_843-5_2_3_load_66 | 7 | 0.0021538 | 0.0005398 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_843-5_2_3_load_104 | 8 | 0.00093596 | 0.00023457 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_843-5_2_3_load_79 | 9 | 0.0011943 | 0.00029931 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_843-5_2_3_load_78 | 13 | 0.00060558 | 0.00015177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_843-5_2_3_load_91 | 14 | 0.0008068 | 0.0002022 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_843-5_2_3_load_89 | 15 | 0.0017435 | 0.00043696 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_843-5_2_3_load_80 | 17 | 0.0010341 | 0.00025917 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_843-5_2_3_load_81 | 18 | 0.001165 | 0.00029197 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_843-5_2_3_load_83 | 20 | 0.0022931 | 0.00057471 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_843-5_2_3_load_84 | 21 | 0.00087178 | 0.00021849 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_843-5_2_3_load_96 | 22 | 0.0007464 | 0.00018707 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_843-5_2_3_load_88 | 25 | 0.00087025 | 0.0002181 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_843-5_2_3_load_92 | 27 | 0.0039836 | 0.00099839 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_843-5_2_3_load_98 | 28 | 0.0011176 | 0.0002801 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_843-5_2_3_load_90 | 29 | 0.0027903 | 0.00069931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_843-5_2_3_load_93 | 30 | 0.0009259 | 0.00023205 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_843-5_2_3_load_94 | 31 | 0.0017105 | 0.00042869 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_843-5_2_3_load_97 | 32 | 0.00096718 | 0.0002424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_843-5_2_3_load_100 | 33 | 0.0027557 | 0.00069064 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_843-5_2_3_load_101 | 34 | 0.0017069 | 0.00042779 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_843-5_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_843-5_2_3_line_1 | NAYY 4x150 SE | 1 | 28 | 0.076554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_843-5_2_3_line_2 | NAYY 4x150 SE | 1 | 32 | 0.1295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_843-5_2_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.41697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_843-5_2_3_line_4 | NAYY 4x150 SE | 2 | 4 | 0.027556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_843-5_2_3_line_5 | NAYY 4x150 SE | 3 | 10 | 0.18393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_843-5_2_3_line_6 | NAYY 4x150 SE | 4 | 11 | 0.026746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_843-5_2_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.29262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_843-5_2_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.20977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_843-5_2_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.18428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_843-5_2_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.44063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_843-5_2_3_line_11 | NAYY 4x150 SE | 8 | 35 | 0.13953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_843-5_2_3_line_12 | NAYY 4x150 SE | 9 | 17 | 0.20982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_843-5_2_3_line_13 | NAYY 4x150 SE | 9 | 10 | 0.074583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_843-5_2_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.35206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_843-5_2_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.14502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_843-5_2_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.13602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_843-5_2_3_line_17 | NAYY 4x150 SE | 12 | 15 | 0.016497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_843-5_2_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.11301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_843-5_2_3_line_19 | NAYY 4x150 SE | 15 | 29 | 0.18202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_843-5_2_3_line_20 | NAYY 4x150 SE | 16 | 25 | 0.17673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_843-5_2_3_line_21 | NAYY 4x150 SE | 16 | 19 | 0.10598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_843-5_2_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.01863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_843-5_2_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.01929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_843-5_2_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.074443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_843-5_2_3_line_25 | NAYY 4x150 SE | 19 | 22 | 0.088267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_843-5_2_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.041745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_843-5_2_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.089335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_843-5_2_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.020973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_843-5_2_3_line_29 | NAYY 4x150 SE | 24 | 31 | 0.010692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_843-5_2_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.032266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_843-5_2_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.020058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_843-5_2_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.10533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_843-5_2_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.057956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_843-5_2_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.034453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_843-5_2_3_trafo_89 | 0.25 MVA 20/0.4 kV | 36 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2585743.0468 | 1149473.7931 | 2585740.1478 | 1149465.3736 | 2585739.7235 | 1149461.2726 | 2585740.7449 | 1149458.1909
1 | 2585740.7449 | 1149458.1909 | 2585715.3979 | 1149472.247 | 2585672.6866 | 1149493.1926
2 | 2585740.7449 | 1149458.1909 | 2585655.1124 | 1149361.0474
3 | 2585311.069 | 1149763.5344 | 2585448.4914 | 1150157.2091
4 | 2585335.3336 | 1149750.3462 | 2585311.069 | 1149763.5344
5 | 2585489.7998 | 1150315.3923 | 2585486.4026 | 1150291.3776 | 2585481.8504 | 1150284.9299 | 2585480.8024 | 1150276.9285 | 2585487.1416 | 1150257.4147 | 2585497.6044 | 1150241.6816 | 2585500.6748 | 1150235.3155 | 2585502.0933 | 1150225.1626 | 2585498.7831 | 1150218.0783 | 2585483.0902 | 1150201.0857 | 2585450.8789 | 1150162.2781 | 2585448.4914 | 1150157.2091
6 | 2585359.4714 | 1149738.6815 | 2585335.3336 | 1149750.3462
7 | 2586236.5238 | 1149965.4471 | 2586200.5508 | 1150255.8453
8 | 2586236.5238 | 1149965.4471 | 2586235.2813 | 1149962.5708 | 2586232.1841 | 1149961.0327 | 2586228.8912 | 1149961.1514 | 2586220.8676 | 1149963.7267 | 2586211.6059 | 1149965.3822 | 2586194.5232 | 1149967.5893 | 2586184.2353 | 1149970.281 | 2586149.8849 | 1149984.3228 | 2586142.2653 | 1149985.6633 | 2586136.4973 | 1149984.3537 | 2586129.6966 | 1149981.2902 | 2586117.1187 | 1149972.993 | 2586087.641 | 1149959.7216 | 2586076.5201 | 1149957.4018 | 2586066.0178 | 1149957.0149 | 2586049.7524 | 1149957.4641 | 2586039.5339 | 1149955.3643
9 | 2586039.5339 | 1149955.3643 | 2585943.7976 | 1150112.8258
10 | 2585943.7976 | 1150112.8258 | 2585562.2272 | 1150333.1952
11 | 2585918.8581 | 1149894.2282 | 2585918.8685 | 1149898.6526 | 2585921.1398 | 1149901.5264 | 2585926.2975 | 1149904.3824 | 2585931.0421 | 1149907.8618 | 2585941.7604 | 1149915.2292 | 2585959.9015 | 1149922.3679 | 2585970.8208 | 1149927.0669 | 2585981.9629 | 1149935.1336 | 2585993.9092 | 1149939.1188 | 2586015.1456 | 1149950.3524 | 2586039.5339 | 1149955.3643
12 | 2585562.2272 | 1150333.1952 | 2585592.1954 | 1150540.8671
13 | 2585489.7998 | 1150315.3923 | 2585562.2272 | 1150333.1952
14 | 2585359.4714 | 1149738.6815 | 2585361.404 | 1149741.0223 | 2585365.1244 | 1149743.0031 | 2585369.6461 | 1149743.0699 | 2585373.6118 | 1149741.7596 | 2585375.6873 | 1149739.7424 | 2585377.3844 | 1149736.8146 | 2585379.1876 | 1149727.0498 | 2585380.7388 | 1149720.9542 | 2585384.0926 | 1149714.2983 | 2585403.9688 | 1149680.0552 | 2585415.0003 | 1149667.411 | 2585433.8491 | 1149652.4912 | 2585453.6692 | 1149639.2143 | 2585467.8636 | 1149632.8212 | 2585489.5697 | 1149627.9439 | 2585507.3839 | 1149626.3667 | 2585525.3127 | 1149627.7129 | 2585554.1704 | 1149634.1687 | 2585589.3792 | 1149644.8447 | 2585603.0927 | 1149652.3043 | 2585610.4136 | 1149657.5226 | 2585618.6309 | 1149668.386 | 2585628.9321 | 1149690.3387
15 | 2585359.4714 | 1149738.6815 | 2585358.8271 | 1149735.7705 | 2585367.295 | 1149682.5348 | 2585383.0469 | 1149641.2316 | 2585387.3371 | 1149621.9005 | 2585388.199 | 1149607.0022 | 2585390.1042 | 1149597.9964
16 | 2585628.9321 | 1149690.3387 | 2585602.7059 | 1149670.2251 | 2585577.2668 | 1149661.4931 | 2585534.043 | 1149666.522 | 2585520.4637 | 1149670.1566 | 2585516.7616 | 1149672.5223 | 2585513.8865 | 1149677.2426 | 2585508.9565 | 1149683.0018 | 2585508.1247 | 1149683.5591
17 | 2585628.9321 | 1149690.3387 | 2585636.0256 | 1149705.2331
18 | 2585471.3994 | 1149533.3971 | 2585470.823 | 1149536.2999 | 2585468.7644 | 1149538.9729 | 2585466.902 | 1149540.2558 | 2585464.5617 | 1149540.7506 | 2585461.2456 | 1149540.8809 | 2585455.364 | 1149540.4839 | 2585449.6756 | 1149540.5978 | 2585442.5173 | 1149542.3605 | 2585431.4268 | 1149546.6562 | 2585419.9312 | 1149554.8548 | 2585405.9669 | 1149567.495 | 2585395.7131 | 1149581.1601 | 2585391.4321 | 1149591.7201 | 2585390.1042 | 1149597.9964
19 | 2585801.4878 | 1149740.6075 | 2585758.4601 | 1149743.9891 | 2585722.6875 | 1149744.4523 | 2585679.8463 | 1149742.3646 | 2585669.9163 | 1149740.6986 | 2585662.3074 | 1149736.9705 | 2585652.838 | 1149728.9226 | 2585639.572 | 1149712.6797 | 2585636.0256 | 1149705.2331
20 | 2585471.3994 | 1149533.3971 | 2585497.3612 | 1149526.2751 | 2585513.8998 | 1149524.0674 | 2585527.6339 | 1149524.0342 | 2585538.2473 | 1149525.5537 | 2585557.2959 | 1149529.5542 | 2585578.2005 | 1149526.3912 | 2585595.3475 | 1149518.5794 | 2585607.1995 | 1149514.8158 | 2585636.5146 | 1149506.9638 | 2585642.5316 | 1149504.673
21 | 2585471.3994 | 1149533.3971 | 2585470.2925 | 1149529.6201 | 2585468.6343 | 1149526.4893 | 2585465.8213 | 1149525.151 | 2585416.5165 | 1149514.51 | 2585373.6513 | 1149500.1408
22 | 2585373.6513 | 1149500.1408 | 2585365.9319 | 1149517.0966
23 | 2585354.7748 | 1149532.1137 | 2585361.3496 | 1149527.1618 | 2585365.9319 | 1149517.0966
24 | 2585373.6513 | 1149500.1408 | 2585368.6993 | 1149500.0528 | 2585329.4088 | 1149503.4505 | 2585318.1125 | 1149505.2013 | 2585307.2795 | 1149508.0403 | 2585300.3133 | 1149510.6041
25 | 2585373.6513 | 1149500.1408 | 2585424.6205 | 1149428.0765
26 | 2585262.4952 | 1149528.2491 | 2585297.0015 | 1149511.823 | 2585300.3133 | 1149510.6041
27 | 2585300.3133 | 1149510.6041 | 2585308.0808 | 1149421.607
28 | 2585262.4952 | 1149528.2491 | 2585243.3394 | 1149536.9116
29 | 2585308.0808 | 1149421.607 | 2585298.1827 | 1149417.5626 | 2585298.1827 | 1149417.5626
30 | 2585642.5316 | 1149504.673 | 2585672.6866 | 1149493.1926 | 2585672.6866 | 1149493.1926
31 | 2585243.3394 | 1149536.9116 | 2585236.6973 | 1149555.8383
32 | 2585202.4548 | 1149395.6657 | 2585209.7093 | 1149395.0582 | 2585227.012 | 1149397.4722 | 2585252.0849 | 1149394.0533 | 2585262.8087 | 1149409.1454 | 2585271.1492 | 1149413.5382 | 2585298.1827 | 1149417.5626
33 | 2585951.7698 | 1149892.5756 | 2585962.0996 | 1149894.0377 | 2585971.7835 | 1149898.9397 | 2585979.2021 | 1149900.2452 | 2585989.2857 | 1149898.7875 | 2586008.2306 | 1149898.4431
34 | 2585918.8581 | 1149894.2282 | 2585920.7028 | 1149891.9672 | 2585925.236 | 1149890.4336 | 2585935.7337 | 1149892.043 | 2585944.1766 | 1149891.5007 | 2585951.7698 | 1149892.5756

## bus_geodata
| x | y | coords
0 | 2585743.0468 | 1149473.7931
1 | 2585740.7449 | 1149458.1909
2 | 2585311.069 | 1149763.5344
3 | 2585448.4914 | 1150157.2091
4 | 2585335.3335 | 1149750.3462
5 | 2586200.5508 | 1150255.8453
6 | 2586236.5238 | 1149965.4471
7 | 2585943.7976 | 1150112.8258
8 | 2586039.5339 | 1149955.3643
9 | 2585562.2272 | 1150333.1952
10 | 2585489.7998 | 1150315.3923
11 | 2585359.4714 | 1149738.6815
12 | 2585628.9321 | 1149690.3387
13 | 2585390.1042 | 1149597.9964
14 | 2585508.1247 | 1149683.5591
15 | 2585636.0256 | 1149705.2331
16 | 2585471.3994 | 1149533.3971
17 | 2585592.1954 | 1150540.8671
18 | 2585365.9319 | 1149517.0966
19 | 2585373.6513 | 1149500.1408
20 | 2585354.7748 | 1149532.1137
21 | 2585300.3133 | 1149510.6041
22 | 2585424.6205 | 1149428.0765
23 | 2585262.4952 | 1149528.2491
24 | 2585308.0808 | 1149421.607
25 | 2585642.5316 | 1149504.673
26 | 2585243.3394 | 1149536.9116
27 | 2585236.6973 | 1149555.8383
28 | 2585672.6866 | 1149493.1926
29 | 2585801.4878 | 1149740.6075
30 | 2585202.4548 | 1149395.6657
31 | 2585298.1827 | 1149417.5626
32 | 2585655.1124 | 1149361.0474
33 | 2585951.7698 | 1149892.5756
34 | 2586008.2306 | 1149898.4431
35 | 2585918.8581 | 1149894.2282
36 | 2585636.0256 | 1149705.2331

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1