## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_852-3_1_3_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_852-3_1_3_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_852-3_1_3_node_184 | 0.4 | n |  | TRUE
3 | bus_LV_852-3_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_852-3_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_852-3_1_3_node_196 | 0.4 | n |  | TRUE
6 | bus_LV_852-3_1_3_node_125 | 0.4 | n |  | TRUE
7 | bus_LV_852-3_1_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_852-3_1_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_852-3_1_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_852-3_1_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_852-3_1_3_node_192 | 0.4 | n |  | TRUE
12 | bus_LV_852-3_1_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_852-3_1_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_852-3_1_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_852-3_1_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_852-3_1_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_852-3_1_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_852-3_1_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_852-3_1_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_852-3_1_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_852-3_1_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_852-3_1_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_852-3_1_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_852-3_1_3_node_134 | 0.4 | n |  | TRUE
25 | bus_LV_852-3_1_3_node_132 | 0.4 | n |  | TRUE
26 | bus_LV_852-3_1_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_852-3_1_3_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_852-3_1_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_852-3_1_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_852-3_1_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_852-3_1_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_852-3_1_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_852-3_1_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_852-3_1_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_852-3_1_3_node_191 | 0.4 | n |  | TRUE
36 | bus_LV_852-3_1_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_852-3_1_3_node_133 | 0.4 | n |  | TRUE
38 | bus_LV_852-3_1_3_node_135 | 0.4 | n |  | TRUE
39 | bus_LV_852-3_1_3_node_150 | 0.4 | n |  | TRUE
40 | bus_LV_852-3_1_3_node_154 | 0.4 | n |  | TRUE
41 | bus_LV_852-3_1_3_node_136 | 0.4 | n |  | TRUE
42 | bus_LV_852-3_1_3_node_137 | 0.4 | n |  | TRUE
43 | bus_LV_852-3_1_3_node_138 | 0.4 | n |  | TRUE
44 | bus_LV_852-3_1_3_node_139 | 0.4 | n |  | TRUE
45 | bus_LV_852-3_1_3_node_140 | 0.4 | n |  | TRUE
46 | bus_LV_852-3_1_3_node_151 | 0.4 | n |  | TRUE
47 | bus_LV_852-3_1_3_node_190 | 0.4 | n |  | TRUE
48 | bus_LV_852-3_1_3_node_141 | 0.4 | n |  | TRUE
49 | bus_LV_852-3_1_3_node_142 | 0.4 | n |  | TRUE
50 | bus_LV_852-3_1_3_node_143 | 0.4 | n |  | TRUE
51 | bus_LV_852-3_1_3_node_144 | 0.4 | n |  | TRUE
52 | bus_LV_852-3_1_3_node_145 | 0.4 | n |  | TRUE
53 | bus_LV_852-3_1_3_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_852-3_1_3_node_152 | 0.4 | n |  | TRUE
55 | bus_LV_852-3_1_3_node_147 | 0.4 | n |  | TRUE
56 | bus_LV_852-3_1_3_node_148 | 0.4 | n |  | TRUE
57 | bus_LV_852-3_1_3_node_149 | 0.4 | n |  | TRUE
58 | bus_LV_852-3_1_3_node_156 | 0.4 | n |  | TRUE
59 | bus_LV_852-3_1_3_node_193 | 0.4 | n |  | TRUE
60 | bus_LV_852-3_1_3_node_153 | 0.4 | n |  | TRUE
61 | bus_LV_852-3_1_3_node_155 | 0.4 | n |  | TRUE
62 | bus_LV_852-3_1_3_node_157 | 0.4 | n |  | TRUE
63 | bus_LV_852-3_1_3_node_158 | 0.4 | n |  | TRUE
64 | bus_LV_852-3_1_3_node_160 | 0.4 | n |  | TRUE
65 | bus_LV_852-3_1_3_node_171 | 0.4 | n |  | TRUE
66 | bus_LV_852-3_1_3_node_161 | 0.4 | n |  | TRUE
67 | bus_LV_852-3_1_3_node_188 | 0.4 | n |  | TRUE
68 | bus_LV_852-3_1_3_node_162 | 0.4 | n |  | TRUE
69 | bus_LV_852-3_1_3_node_163 | 0.4 | n |  | TRUE
70 | bus_LV_852-3_1_3_node_164 | 0.4 | n |  | TRUE
71 | bus_LV_852-3_1_3_node_166 | 0.4 | n |  | TRUE
72 | bus_LV_852-3_1_3_node_165 | 0.4 | n |  | TRUE
73 | bus_LV_852-3_1_3_node_169 | 0.4 | n |  | TRUE
74 | bus_LV_852-3_1_3_node_170 | 0.4 | n |  | TRUE
75 | bus_LV_852-3_1_3_node_168 | 0.4 | n |  | TRUE
76 | bus_LV_852-3_1_3_node_172 | 0.4 | n |  | TRUE
77 | bus_LV_852-3_1_3_node_173 | 0.4 | n |  | TRUE
78 | bus_LV_852-3_1_3_node_174 | 0.4 | n |  | TRUE
79 | bus_LV_852-3_1_3_node_179 | 0.4 | n |  | TRUE
80 | bus_LV_852-3_1_3_node_187 | 0.4 | n |  | TRUE
81 | bus_MV_36_0_node_232 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_852-3_1_3_load_10 | 0 | 0.000364 | 9.1226e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_852-3_1_3_load_184 | 2 | 0.00023188 | 5.8113e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_852-3_1_3_load_196 | 5 | 0.00034842 | 8.7322e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_852-3_1_3_load_125 | 6 | 0.0002918 | 7.3131e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_852-3_1_3_load_13 | 7 | 0.00088915 | 0.00022284 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_852-3_1_3_load_18 | 9 | 0.0025098 | 0.00062902 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_852-3_1_3_load_192 | 11 | 0.0013069 | 0.00032755 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_852-3_1_3_load_32 | 14 | 0.0020227 | 0.00050693 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_852-3_1_3_load_30 | 15 | 0.0011306 | 0.00028335 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_852-3_1_3_load_36 | 17 | 0.00234 | 0.00058647 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_852-3_1_3_load_34 | 19 | 0.004458 | 0.0011173 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_852-3_1_3_load_21 | 20 | 0.0021549 | 0.00054008 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_852-3_1_3_load_132 | 25 | 0.00036415 | 9.1265e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_852-3_1_3_load_41 | 27 | 0.0085624 | 0.0021459 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_852-3_1_3_load_25 | 28 | 0.0077077 | 0.0019317 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_852-3_1_3_load_26 | 29 | 0.0013904 | 0.00034846 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_852-3_1_3_load_27 | 30 | 0.0028475 | 0.00071366 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_852-3_1_3_load_29 | 31 | 0.0019732 | 0.00049453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_852-3_1_3_load_35 | 32 | 0.0097106 | 0.0024337 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_852-3_1_3_load_37 | 34 | 0.0069393 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_852-3_1_3_load_191 | 35 | 0.0038222 | 0.00095792 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_852-3_1_3_load_38 | 36 | 0.0022355 | 0.00056026 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_852-3_1_3_load_135 | 38 | 0.00071023 | 0.000178 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_852-3_1_3_load_154 | 40 | 0.0004582 | 0.00011484 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_852-3_1_3_load_136 | 41 | 0.00018128 | 4.5433e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_852-3_1_3_load_137 | 42 | 0.00065902 | 0.00016517 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_852-3_1_3_load_140 | 45 | 9.2108e-05 | 2.3084e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_852-3_1_3_load_190 | 47 | 0.00016986 | 4.257e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_852-3_1_3_load_141 | 48 | 0.000102 | 2.5563e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_852-3_1_3_load_142 | 49 | 0.00014385 | 3.6051e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_852-3_1_3_load_144 | 51 | 0.00060145 | 0.00015074 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_852-3_1_3_load_145 | 52 | 0.00011033 | 2.7652e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_852-3_1_3_load_159 | 53 | 0.00082649 | 0.00020714 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_852-3_1_3_load_152 | 54 | 0.00056471 | 0.00014153 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_852-3_1_3_load_147 | 55 | 0.00044038 | 0.00011037 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_852-3_1_3_load_148 | 56 | 0.00028052 | 7.0305e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_852-3_1_3_load_156 | 58 | 0.00025116 | 6.2946e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_852-3_1_3_load_193 | 59 | 0.00026195 | 6.5652e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_852-3_1_3_load_153 | 60 | 0.0001619 | 4.0575e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_852-3_1_3_load_155 | 61 | 0.0017132 | 0.00042937 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_852-3_1_3_load_157 | 62 | 0.00038249 | 9.5862e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_852-3_1_3_load_158 | 63 | 0.00013451 | 3.3712e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_852-3_1_3_load_160 | 64 | 0.00018561 | 4.6517e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_852-3_1_3_load_171 | 65 | 0.00013321 | 3.3384e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_852-3_1_3_load_161 | 66 | 0.00091718 | 0.00022987 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_852-3_1_3_load_188 | 67 | 0.0005032 | 0.00012611 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_852-3_1_3_load_162 | 68 | 0.00012388 | 3.1048e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_852-3_1_3_load_163 | 69 | 0.00011373 | 2.8504e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_852-3_1_3_load_165 | 72 | 0.00013724 | 3.4396e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_852-3_1_3_load_169 | 73 | 0.00019411 | 4.8649e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_852-3_1_3_load_170 | 74 | 0.00087898 | 0.00022029 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_852-3_1_3_load_168 | 75 | 9.649e-05 | 2.4183e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_852-3_1_3_load_172 | 76 | 0.00061291 | 0.00015361 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_852-3_1_3_load_173 | 77 | 0.0001596 | 3.9998e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_852-3_1_3_load_174 | 78 | 0.00033196 | 8.3196e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_852-3_1_3_load_179 | 79 | 0.00044223 | 0.00011083 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_852-3_1_3_load_187 | 80 | 9.6486e-05 | 2.4182e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_852-3_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.31018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_852-3_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.33179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_852-3_1_3_line_2 | NAYY 4x150 SE | 1 | 4 | 0.18594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_852-3_1_3_line_3 | NAYY 4x150 SE | 2 | 73 | 0.40752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_852-3_1_3_line_4 | NAYY 4x150 SE | 2 | 79 | 0.29563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_852-3_1_3_line_5 | NAYY 4x150 SE | 3 | 4 | 0.060418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_852-3_1_3_line_6 | NAYY 4x150 SE | 3 | 5 | 0.39689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_852-3_1_3_line_7 | NAYY 4x150 SE | 4 | 6 | 0.031922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_852-3_1_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.070655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_852-3_1_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.017054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_852-3_1_3_line_10 | NAYY 4x150 SE | 9 | 16 | 0.049022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_852-3_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.012995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_852-3_1_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.069339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_852-3_1_3_line_13 | NAYY 4x150 SE | 12 | 35 | 0.01738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_852-3_1_3_line_14 | NAYY 4x150 SE | 12 | 33 | 0.009835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_852-3_1_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.015547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_852-3_1_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.017902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_852-3_1_3_line_17 | NAYY 4x150 SE | 14 | 34 | 0.0023514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_852-3_1_3_line_18 | NAYY 4x150 SE | 15 | 33 | 0.023752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_852-3_1_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.022125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_852-3_1_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.071957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_852-3_1_3_line_21 | NAYY 4x150 SE | 17 | 26 | 0.01609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_852-3_1_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.024896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_852-3_1_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.026983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_852-3_1_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.20351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_852-3_1_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.02775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_852-3_1_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.015687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_852-3_1_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.037772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_852-3_1_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.06116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_852-3_1_3_line_29 | NAYY 4x150 SE | 23 | 27 | 0.037535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_852-3_1_3_line_30 | NAYY 4x150 SE | 24 | 39 | 0.089651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_852-3_1_3_line_31 | NAYY 4x150 SE | 24 | 40 | 0.12496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_852-3_1_3_line_32 | NAYY 4x150 SE | 25 | 37 | 0.017136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_852-3_1_3_line_33 | NAYY 4x150 SE | 26 | 32 | 0.060573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_852-3_1_3_line_34 | NAYY 4x150 SE | 26 | 29 | 0.013769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_852-3_1_3_line_35 | NAYY 4x150 SE | 28 | 29 | 0.010848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_852-3_1_3_line_36 | NAYY 4x150 SE | 28 | 30 | 0.002512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_852-3_1_3_line_37 | NAYY 4x150 SE | 30 | 31 | 0.045374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_852-3_1_3_line_38 | NAYY 4x150 SE | 31 | 33 | 0.032486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_852-3_1_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.012554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_852-3_1_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.016196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_852-3_1_3_line_41 | NAYY 4x150 SE | 39 | 58 | 0.05177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_852-3_1_3_line_42 | NAYY 4x150 SE | 39 | 56 | 0.090337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_852-3_1_3_line_43 | NAYY 4x150 SE | 40 | 60 | 0.019895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_852-3_1_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.011488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_852-3_1_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.022419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_852-3_1_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.043616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_852-3_1_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.1623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_852-3_1_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.18271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_852-3_1_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.13567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_852-3_1_3_line_50 | NAYY 4x150 SE | 46 | 59 | 0.051557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_852-3_1_3_line_51 | NAYY 4x150 SE | 46 | 57 | 0.024759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_852-3_1_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.069379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_852-3_1_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.042438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_852-3_1_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.028145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_852-3_1_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.071849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_852-3_1_3_line_56 | NAYY 4x150 SE | 50 | 53 | 0.2471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_852-3_1_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.0071043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_852-3_1_3_line_58 | NAYY 4x150 SE | 53 | 65 | 0.31324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_852-3_1_3_line_59 | NAYY 4x150 SE | 53 | 63 | 0.1338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_852-3_1_3_line_60 | NAYY 4x150 SE | 54 | 57 | 0.1285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_852-3_1_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.01997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_852-3_1_3_line_62 | NAYY 4x150 SE | 55 | 57 | 0.082347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_852-3_1_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.048899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_852-3_1_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.12795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_852-3_1_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.30582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_852-3_1_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.092636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_852-3_1_3_line_67 | NAYY 4x150 SE | 65 | 74 | 0.22061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_852-3_1_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.013503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_852-3_1_3_line_69 | NAYY 4x150 SE | 67 | 80 | 0.03738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_852-3_1_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.078718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_852-3_1_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.049146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_852-3_1_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.33363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_852-3_1_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.22205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_852-3_1_3_line_74 | NAYY 4x150 SE | 70 | 73 | 0.24724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_852-3_1_3_line_75 | NAYY 4x150 SE | 71 | 75 | 0.037312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_852-3_1_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.010939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_852-3_1_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.017272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_852-3_1_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.024554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_852-3_1_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.23388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_852-3_1_3_trafo_23 | 0.25 MVA 20/0.4 kV | 81 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2591887.0915 | 1175455.0915 | 2592181.724 | 1175552.0567
1 | 2592181.724 | 1175552.0567 | 2592471.2537 | 1175390.026
2 | 2591757.5339 | 1175570.2503 | 2591760.0372 | 1175567.412 | 2591764.7069 | 1175566.9498 | 2591779.3146 | 1175567.3298 | 2591805.3915 | 1175559.134 | 2591829.9516 | 1175542.892 | 2591846.861 | 1175527.083 | 2591856.8124 | 1175515.3634 | 2591879.0898 | 1175478.5476 | 2591887.0915 | 1175455.0915
3 | 2592471.2537 | 1175390.026 | 2592480.8822 | 1174982.624
4 | 2592766.2992 | 1175408.5989 | 2592471.2537 | 1175390.026
5 | 2591757.5339 | 1175570.2503 | 2591756.7286 | 1175573.7532 | 2591757.7497 | 1175577.0312 | 2591766.5072 | 1175586.4127 | 2591777.9554 | 1175595.935 | 2591784.0445 | 1175599.295 | 2591802.1747 | 1175604.328
6 | 2591802.1747 | 1175604.328 | 2591681.2375 | 1175982.3431
7 | 2591757.5339 | 1175570.2503 | 2591738.7209 | 1175563.5397 | 2591728.6911 | 1175557.0462
8 | 2593299.6756 | 1173489.3815 | 2593284.5046 | 1173495.7352 | 2593259.9119 | 1173507.5357 | 2593235.8468 | 1173519.6236
9 | 2593299.6756 | 1173489.3815 | 2593302.6914 | 1173492.1461 | 2593309.8354 | 1173494.1613 | 2593313.3377 | 1173494.4019 | 2593315.3623 | 1173494.5451
10 | 2593364.2416 | 1173495.8566 | 2593350.8158 | 1173497.0612 | 2593319.3712 | 1173494.8287 | 2593315.3623 | 1173494.5451
11 | 2593252.2943 | 1173586.662 | 2593240.4974 | 1173581.1393
12 | 2593252.2943 | 1173586.662 | 2593247.8857 | 1173589.5129 | 2593240.0988 | 1173593.6127 | 2593231.8988 | 1173597.5574 | 2593248.1071 | 1173595.9381 | 2593277.3009 | 1173589.4795
13 | 2593277.3009 | 1173589.4795 | 2593277.4036 | 1173572.1039
14 | 2593286.7562 | 1173586.6785 | 2593277.3009 | 1173589.4795
15 | 2593305.6804 | 1173552.4398 | 2593314.4895 | 1173546.0934 | 2593318.0215 | 1173543.0085
16 | 2593305.6804 | 1173552.4398 | 2593301.9469 | 1173557.3799 | 2593295.0267 | 1173563.9021 | 2593293.3786 | 1173565.3595
17 | 2593318.0215 | 1173543.0085 | 2593319.7925 | 1173541.4617
18 | 2593286.7562 | 1173586.6785 | 2593286.8414 | 1173580.8865 | 2593286.8331 | 1173573.5273 | 2593289.7025 | 1173568.6105 | 2593293.3786 | 1173565.3595
19 | 2593364.2416 | 1173495.8566 | 2593370.764 | 1173516.9985
20 | 2593364.2416 | 1173495.8566 | 2593361.9882 | 1173484.2866 | 2593360.6001 | 1173473.8163 | 2593366.5253 | 1173473.1093 | 2593380.1495 | 1173471.4932 | 2593392.1842 | 1173470.7461 | 2593403.0418 | 1173470.5117 | 2593403.4243 | 1173477.5037
21 | 2593375.5073 | 1173532.3736 | 2593370.764 | 1173516.9985
22 | 2593403.4243 | 1173477.5037 | 2593400.5594 | 1173479.7636 | 2593399.9435 | 1173482.8325 | 2593398.6754 | 1173490.8268 | 2593395.2431 | 1173498.579 | 2593394.3757 | 1173499.8568
23 | 2593398.4269 | 1173617.9022 | 2593391.0357 | 1173620.3895 | 2593387.9304 | 1173633.2772 | 2593384.2483 | 1173637.9225
24 | 2593398.4269 | 1173617.9022 | 2593398.1929 | 1173627.5296 | 2593397.0853 | 1173635.4014 | 2593395.5489 | 1173642.6957 | 2593393.5011 | 1173650.7354 | 2593390.4819 | 1173658.5427 | 2593386.8053 | 1173666.5175 | 2593380.9904 | 1173676.8514 | 2593342.1632 | 1173731.4557 | 2593321.8031 | 1173759.9151 | 2593304.8472 | 1173782.9792 | 2593298.4801 | 1173791.5463
25 | 2593394.2828 | 1173590.582 | 2593395.8568 | 1173596.4498 | 2593397.1483 | 1173602.696 | 2593398.1431 | 1173610.2654 | 2593398.5298 | 1173614.1558 | 2593398.4269 | 1173617.9022
26 | 2593288.2785 | 1173803.4861 | 2593298.4801 | 1173791.5463
27 | 2593298.4801 | 1173791.5463 | 2593293.8676 | 1173789.8506 | 2593282.4026 | 1173793.4098 | 2593272.0465 | 1173797.2013 | 2593264.5854 | 1173798.4326 | 2593262.3233 | 1173798.4351
28 | 2593375.5073 | 1173532.3736 | 2593381.7754 | 1173551.2316 | 2593387.8754 | 1173570.2344 | 2593394.2828 | 1173590.582
29 | 2593394.2828 | 1173590.582 | 2593406.248 | 1173582.6202 | 2593425.5304 | 1173569.7855
30 | 2593288.2785 | 1173803.4861 | 2593278.8314 | 1173813.2128 | 2593262.4803 | 1173829.9731 | 2593245.5242 | 1173845.8003 | 2593227.9789 | 1173861.0836 | 2593223.1973 | 1173865.2467
31 | 2593288.2785 | 1173803.4861 | 2593293.3667 | 1173806.6374 | 2593298.2527 | 1173806.8209 | 2593303.4661 | 1173805.7923 | 2593318.344 | 1173797.9382 | 2593327.262 | 1173793.5815 | 2593337.0999 | 1173791.236 | 2593346.9399 | 1173790.9025 | 2593350.3673 | 1173792.6329 | 2593351.4647 | 1173796.2557 | 2593347.5876 | 1173823.0069 | 2593346.3847 | 1173841.1952 | 2593350.823 | 1173849.2338
32 | 2593246.8623 | 1173792.1162 | 2593252.7697 | 1173796.2227 | 2593258.9044 | 1173798.439 | 2593262.3233 | 1173798.4351
33 | 2593375.5073 | 1173532.3736 | 2593408.4178 | 1173505.3344 | 2593417.0917 | 1173501.0337 | 2593425.049 | 1173498.6792
34 | 2593375.5073 | 1173532.3736 | 2593364.543 | 1173540.7017
35 | 2593364.543 | 1173540.7017 | 2593355.9046 | 1173547.2632
36 | 2593353.9043 | 1173548.7826 | 2593355.9046 | 1173547.2632
37 | 2593353.9043 | 1173548.7826 | 2593329.6453 | 1173567.2092 | 2593319.3228 | 1173574.0353 | 2593317.0669 | 1173575.192
38 | 2593286.7562 | 1173586.6785 | 2593302.0204 | 1173581.8365 | 2593310.3054 | 1173578.6589 | 2593317.0669 | 1173575.192
39 | 2593329.2477 | 1173533.2036 | 2593319.7925 | 1173541.4617
40 | 2593256.6515 | 1173780.666 | 2593254.2052 | 1173781.0022 | 2593249.309 | 1173785.3433 | 2593246.8623 | 1173792.1162
41 | 2593223.1973 | 1173865.2467 | 2593208.0698 | 1173861.8957 | 2593171.8617 | 1173857.9463
42 | 2593223.1973 | 1173865.2467 | 2593209.4841 | 1173875.1007 | 2593201.3787 | 1173881.1241 | 2593193.575 | 1173890.2488 | 2593186.7214 | 1173901.0065 | 2593180.7351 | 1173914.7203 | 2593176.203 | 1173929.6886 | 2593174.1999 | 1173937.4204
43 | 2593366.3731 | 1173857.1326 | 2593360.1442 | 1173858.7664 | 2593352.1385 | 1173851.6162 | 2593350.823 | 1173849.2338
44 | 2593320.5786 | 1174033.7417 | 2593316.0677 | 1174030.5359 | 2593311.0435 | 1174027.3406
45 | 2593322.7473 | 1174055.2297 | 2593323.3048 | 1174041.1108 | 2593322.1586 | 1174034.8645 | 2593320.5786 | 1174033.7417
46 | 2593269.963 | 1174029.6653 | 2593290.2003 | 1174022.1053 | 2593298.259 | 1174022.1962 | 2593306.0523 | 1174024.1662 | 2593311.0435 | 1174027.3406
47 | 2593322.7473 | 1174055.2297 | 2593325.4845 | 1174062.0301 | 2593326.6515 | 1174073.2122 | 2593321.0613 | 1174085.6803 | 2593317.9044 | 1174093.1432 | 2593320.9332 | 1174100.877 | 2593338.3604 | 1174130.6613 | 2593345.7099 | 1174146.1387 | 2593354.4984 | 1174163.0373 | 2593362.7035 | 1174171.1989 | 2593369.612 | 1174175.2044 | 2593391.899 | 1174182.3386
48 | 2593269.963 | 1174029.6653 | 2593230.3513 | 1174063.961 | 2593221.2347 | 1174074.7769 | 2593214.3961 | 1174078.4866 | 2593209.8297 | 1174076.7798 | 2593208.6833 | 1174070.5335 | 2593214.5067 | 1174048.1489 | 2593215.7366 | 1174033.8848 | 2593212.396 | 1174027.741 | 2593205.7585 | 1174026.8704 | 2593200.1622 | 1174033.8692 | 2593196.4966 | 1174044.2565 | 2593188.9178 | 1174049.2899 | 2593179.6592 | 1174049.5896 | 2593171.8211 | 1174048.5203
49 | 2593503.1962 | 1174197.2677 | 2593492.4073 | 1174196.279 | 2593486.6448 | 1174184.3904 | 2593481.747 | 1174173.2124 | 2593470.9624 | 1174169.2111 | 2593463.7636 | 1174165.3505 | 2593454.5638 | 1174163.3596 | 2593434.8708 | 1174165.0933 | 2593419.2004 | 1174167.8343 | 2593411.3043 | 1174176.3029 | 2593404.1257 | 1174183.6146 | 2593397.5136 | 1174184.767 | 2593391.899 | 1174182.3386
50 | 2593171.8211 | 1174048.5203 | 2593181.4339 | 1174043.6957 | 2593192.5535 | 1174032.7997 | 2593203.2313 | 1174016.5792 | 2593205.45 | 1174011.1406
51 | 2593149.9409 | 1174036.8174 | 2593171.8211 | 1174048.5203
52 | 2593046.526 | 1174125.0363 | 2593044.3116 | 1174118.5148 | 2593039.7863 | 1174099.7217 | 2593038.3347 | 1174074.6219 | 2593031.655 | 1174063.7798 | 2593027.767 | 1174060.1996
53 | 2593058.2665 | 1174165.6889 | 2593056.5255 | 1174154.4853 | 2593046.526 | 1174125.0363
54 | 2593010.6831 | 1174038.0581 | 2593021.4063 | 1174054.3426 | 2593027.767 | 1174060.1996
55 | 2593058.2665 | 1174165.6889 | 2593062.9724 | 1174169.0073 | 2593069.1458 | 1174171.9238 | 2593076.6254 | 1174173.8271 | 2593083.4842 | 1174174.5195 | 2593090.724 | 1174174.0664 | 2593100.5069 | 1174171.1202 | 2593110.9064 | 1174165.8277 | 2593123.6648 | 1174157.0058
56 | 2593058.2665 | 1174165.6889 | 2593011.1399 | 1174408.249
57 | 2593123.6648 | 1174157.0058 | 2593124.3212 | 1174156.5519 | 2593129.469 | 1174152.9091
58 | 2593011.1399 | 1174408.249 | 2592708.067 | 1174487.4267
59 | 2593102.3183 | 1174506.0701 | 2593099.286 | 1174501.7441 | 2593028.6195 | 1174428.0672 | 2593011.1399 | 1174408.249
60 | 2593149.9409 | 1174036.8174 | 2593148.868 | 1174041.3209 | 2593147.2074 | 1174053.2622 | 2593148.4425 | 1174063.4437 | 2593152.081 | 1174075.9458 | 2593155.6913 | 1174090.5712 | 2593158.2216 | 1174103.4748 | 2593158.1714 | 1174113.0019 | 2593156.1025 | 1174122.2534 | 2593152.6175 | 1174130.128 | 2593147.8086 | 1174136.837 | 2593141.1877 | 1174143.6592 | 2593134.0613 | 1174149.6593 | 2593129.469 | 1174152.9091
61 | 2593169.2358 | 1173956.763 | 2593169.8622 | 1173954.1638 | 2593174.1999 | 1173937.4204
62 | 2593149.9409 | 1174036.8174 | 2593169.2358 | 1173956.763
63 | 2593366.3731 | 1173857.1326 | 2593373.4671 | 1173855.272 | 2593385.3531 | 1173845.2425 | 2593401.2712 | 1173824.6688
64 | 2593085.3879 | 1174625.6136 | 2593088.0656 | 1174622.1179 | 2593094.7809 | 1174611.6159 | 2593102.9404 | 1174593.8864 | 2593109.6792 | 1174570.5556 | 2593112.3311 | 1174556.6011 | 2593113.1535 | 1174547.2176 | 2593112.7687 | 1174531.8103 | 2593110.8008 | 1174522.5746 | 2593108.5979 | 1174515.0289 | 2593102.3183 | 1174506.0701
65 | 2593390.0045 | 1174652.6611 | 2593085.3879 | 1174625.6136
66 | 2593390.0045 | 1174652.6611 | 2593392.9846 | 1174655.6764 | 2593398.4404 | 1174660.1059 | 2593405.7156 | 1174664.5334 | 2593415.2772 | 1174669.403 | 2593447.2073 | 1174680.7623 | 2593453.3018 | 1174682.1674 | 2593457.4606 | 1174682.1294 | 2593475.2225 | 1174680.7109
67 | 2592759.1815 | 1174702.037 | 2592708.067 | 1174487.4267
68 | 2593475.2225 | 1174680.7109 | 2593479.0555 | 1174680.4048 | 2593482.0141 | 1174680.4015 | 2593487.9158 | 1174680.2394 | 2593488.7013 | 1174680.115
69 | 2593525.7267 | 1174675.3084 | 2593519.0712 | 1174675.4806 | 2593505.1597 | 1174677.508 | 2593488.7013 | 1174680.115
70 | 2592732.192 | 1174882.6991 | 2592755.0622 | 1174907.3925 | 2592782.4107 | 1174943.2048
71 | 2592692.5334 | 1174854.8314 | 2592702.2094 | 1174859.2662 | 2592719.7355 | 1174869.2498 | 2592732.192 | 1174882.6991
72 | 2592932.4404 | 1175241.203 | 2592782.4107 | 1174943.2048
73 | 2592692.5334 | 1174854.8314 | 2592696.5473 | 1174849.0236 | 2592704.3745 | 1174848.2135 | 2592731.501 | 1174856.9847 | 2592749.3764 | 1174858.7637 | 2592761.8165 | 1174854.3463 | 2592768.6387 | 1174844.333 | 2592770.6252 | 1174830.9127 | 2592772.8121 | 1174812.5007 | 2592777.4167 | 1174795.6755 | 2592777.7882 | 1174774.2531 | 2592772.9503 | 1174756.4389 | 2592764.7957 | 1174733.326 | 2592760.25 | 1174723.2264 | 2592759.4271 | 1174712.9551
74 | 2592692.5334 | 1174854.8314 | 2592480.8822 | 1174982.624
75 | 2592932.4404 | 1175241.203 | 2592942.11 | 1175241.0136 | 2592965.8666 | 1175255.1426
76 | 2592759.1815 | 1174702.037 | 2592758.9846 | 1174707.4311 | 2592759.4271 | 1174712.9551
77 | 2592980.7118 | 1175263.9716 | 2592965.8666 | 1175255.1426
78 | 2592980.7118 | 1175263.9716 | 2592991.8245 | 1175270.5808 | 2592992.364 | 1175280.7186 | 2592993.7251 | 1175281.2799
79 | 2593138.3519 | 1175161.9435 | 2593141.5027 | 1175183.0061 | 2593140.9983 | 1175196.2689 | 2593131.093 | 1175204.3511 | 2593109.9586 | 1175205.932 | 2593098.4824 | 1175210.6255 | 2593094.052 | 1175220.002 | 2593096.9498 | 1175240.2867 | 2593093.0478 | 1175250.4297 | 2593087.5733 | 1175255.9055 | 2593065.6636 | 1175261.1337 | 2593053.1409 | 1175266.351 | 2593039.0696 | 1175280.6636 | 2593021.8547 | 1175286.9315 | 2593003.0633 | 1175285.1304 | 2592993.7251 | 1175281.2799

## bus_geodata
| x | y | coords
0 | 2592181.724 | 1175552.0567
1 | 2591887.0915 | 1175455.0915
2 | 2592471.2537 | 1175390.026
3 | 2591802.1747 | 1175604.328
4 | 2591757.5339 | 1175570.2503
5 | 2591681.2375 | 1175982.3431
6 | 2591728.6911 | 1175557.0462
7 | 2593235.8468 | 1173519.6236
8 | 2593299.6756 | 1173489.3815
9 | 2593315.3623 | 1173494.5451
10 | 2593252.2943 | 1173586.662
11 | 2593240.4974 | 1173581.1393
12 | 2593277.3009 | 1173589.4795
13 | 2593305.6804 | 1173552.4398
14 | 2593318.0215 | 1173543.0085
15 | 2593293.3786 | 1173565.3595
16 | 2593364.2416 | 1173495.8566
17 | 2593370.764 | 1173516.9985
18 | 2593403.4243 | 1173477.5037
19 | 2593394.3757 | 1173499.8568
20 | 2593384.2483 | 1173637.9225
21 | 2593398.4269 | 1173617.9022
22 | 2593298.4801 | 1173791.5463
23 | 2593394.2828 | 1173590.582
24 | 2593288.2785 | 1173803.4861
25 | 2593262.3233 | 1173798.4351
26 | 2593375.5073 | 1173532.3736
27 | 2593425.5304 | 1173569.7855
28 | 2593355.9047 | 1173547.2632
29 | 2593364.543 | 1173540.7017
30 | 2593353.9043 | 1173548.7826
31 | 2593317.0669 | 1173575.192
32 | 2593425.049 | 1173498.6792
33 | 2593286.7562 | 1173586.6785
34 | 2593319.7925 | 1173541.4617
35 | 2593277.4036 | 1173572.1039
36 | 2593329.2477 | 1173533.2036
37 | 2593246.8623 | 1173792.1162
38 | 2593256.6515 | 1173780.666
39 | 2593223.1973 | 1173865.2467
40 | 2593350.823 | 1173849.2338
41 | 2593320.5786 | 1174033.7417
42 | 2593311.0435 | 1174027.3406
43 | 2593322.7473 | 1174055.2297
44 | 2593269.963 | 1174029.6653
45 | 2593391.899 | 1174182.3386
46 | 2593171.8211 | 1174048.5203
47 | 2593503.1962 | 1174197.2677
48 | 2593046.526 | 1174125.0363
49 | 2593027.767 | 1174060.1996
50 | 2593058.2665 | 1174165.6889
51 | 2593010.6831 | 1174038.0581
52 | 2593123.6648 | 1174157.0058
53 | 2593011.1399 | 1174408.249
54 | 2593129.469 | 1174152.9091
55 | 2593169.2358 | 1173956.763
56 | 2593174.1999 | 1173937.4204
57 | 2593149.9409 | 1174036.8174
58 | 2593171.8617 | 1173857.9463
59 | 2593205.45 | 1174011.1406
60 | 2593366.3731 | 1173857.1326
61 | 2593401.2712 | 1173824.6688
62 | 2593085.3879 | 1174625.6136
63 | 2593102.3183 | 1174506.0701
64 | 2593390.0045 | 1174652.6611
65 | 2592708.067 | 1174487.4267
66 | 2593475.2225 | 1174680.7109
67 | 2593488.7013 | 1174680.115
68 | 2592732.192 | 1174882.6991
69 | 2592782.4107 | 1174943.2048
70 | 2592692.5334 | 1174854.8314
71 | 2592932.4404 | 1175241.203
72 | 2592759.4271 | 1174712.9551
73 | 2592480.8822 | 1174982.624
74 | 2592759.1815 | 1174702.037
75 | 2592965.8666 | 1175255.1426
76 | 2592980.7118 | 1175263.9716
77 | 2592993.7251 | 1175281.2799
78 | 2593138.3519 | 1175161.9435
79 | 2592766.2992 | 1175408.5989
80 | 2593525.7267 | 1174675.3084
81 | 2593288.2785 | 1173803.4861

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1