## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_852-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_852-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_852-4_0_2_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_852-4_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_852-4_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_852-4_0_2_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_852-4_0_2_node_80 | 0.4 | n |  | TRUE
7 | bus_LV_852-4_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_852-4_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_852-4_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_852-4_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_852-4_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_852-4_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_852-4_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_852-4_0_2_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_852-4_0_2_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_852-4_0_2_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_852-4_0_2_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_852-4_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_852-4_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_852-4_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_852-4_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_852-4_0_2_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_852-4_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_852-4_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_852-4_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_852-4_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_852-4_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_852-4_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_852-4_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_852-4_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_852-4_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_852-4_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_852-4_0_2_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_852-4_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_852-4_0_2_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_852-4_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_852-4_0_2_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_852-4_0_2_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_852-4_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_852-4_0_2_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_852-4_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_852-4_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_852-4_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_852-4_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_852-4_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_852-4_0_2_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_852-4_0_2_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_852-4_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_852-4_0_2_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_852-4_0_2_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_852-4_0_2_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_852-4_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_852-4_0_2_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_852-4_0_2_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_852-4_0_2_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_852-4_0_2_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_852-4_0_2_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_852-4_0_2_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_852-4_0_2_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_852-4_0_2_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_852-4_0_2_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_852-4_0_2_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_852-4_0_2_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_852-4_0_2_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_852-4_0_2_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_852-4_0_2_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_852-4_0_2_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_852-4_0_2_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_852-4_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_852-4_0_2_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_852-4_0_2_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_852-4_0_2_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_852-4_0_2_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_852-4_0_2_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_852-4_0_2_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_852-4_0_2_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_852-4_0_2_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_852-4_0_2_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_852-4_0_2_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_852-4_0_2_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_852-4_0_2_node_72 | 0.4 | n |  | TRUE
82 | bus_MV_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_852-4_0_2_load_0 | 0 | 0.00020745 | 5.1992e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_852-4_0_2_load_3 | 4 | 8.6263e-05 | 2.162e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_852-4_0_2_load_80 | 6 | 0.00033994 | 8.5197e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_852-4_0_2_load_9 | 7 | 0.0005494 | 0.00013769 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_852-4_0_2_load_4 | 9 | 0.00038445 | 9.6353e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_852-4_0_2_load_5 | 10 | 0.00012646 | 3.1695e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_852-4_0_2_load_6 | 11 | 0.00031868 | 7.9868e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_852-4_0_2_load_10 | 13 | 0.00018133 | 4.5446e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_852-4_0_2_load_70 | 15 | 8.5614e-05 | 2.1457e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_852-4_0_2_load_73 | 16 | 0.00043604 | 0.00010928 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_852-4_0_2_load_11 | 18 | 0.00049851 | 0.00012494 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_852-4_0_2_load_12 | 19 | 0.00016828 | 4.2174e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_852-4_0_2_load_14 | 21 | 0.00030177 | 7.5631e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_852-4_0_2_load_79 | 22 | 0.00063052 | 0.00015802 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_852-4_0_2_load_23 | 24 | 0.00017216 | 4.3146e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_852-4_0_2_load_21 | 25 | 0.00012908 | 3.235e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_852-4_0_2_load_18 | 26 | 9.5064e-05 | 2.3825e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_852-4_0_2_load_15 | 27 | 7.2058e-05 | 1.8059e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_852-4_0_2_load_16 | 28 | 0.00010547 | 2.6432e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_852-4_0_2_load_19 | 30 | 0.00014387 | 3.6058e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_852-4_0_2_load_20 | 31 | 0.00013723 | 3.4392e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_852-4_0_2_load_24 | 32 | 0.0001938 | 4.8571e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_852-4_0_2_load_76 | 33 | 0.0012695 | 0.00031816 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_852-4_0_2_load_25 | 34 | 0.00034721 | 8.7018e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_852-4_0_2_load_77 | 35 | 0.00016783 | 4.2062e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_852-4_0_2_load_42 | 36 | 0.00040428 | 0.00010132 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_852-4_0_2_load_71 | 37 | 0.00069156 | 0.00017332 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_852-4_0_2_load_26 | 38 | 0.00031024 | 7.7754e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_852-4_0_2_load_29 | 39 | 0.00028753 | 7.2061e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_852-4_0_2_load_27 | 40 | 0.00073156 | 0.00018335 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_852-4_0_2_load_31 | 41 | 0.00022197 | 5.563e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_852-4_0_2_load_32 | 42 | 0.0032269 | 0.00080875 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_852-4_0_2_load_34 | 44 | 0.0012025 | 0.00030136 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_852-4_0_2_load_35 | 45 | 0.00015452 | 3.8726e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_852-4_0_2_load_36 | 46 | 0.00015289 | 3.8317e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_852-4_0_2_load_40 | 47 | 0.00061073 | 0.00015306 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_852-4_0_2_load_37 | 48 | 0.00082057 | 0.00020565 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_852-4_0_2_load_38 | 49 | 0.00050739 | 0.00012716 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_852-4_0_2_load_82 | 50 | 0.0017255 | 0.00043245 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_852-4_0_2_load_41 | 51 | 0.00031038 | 7.779e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_852-4_0_2_load_39 | 52 | 0.0010327 | 0.00025883 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_852-4_0_2_load_84 | 55 | 0.00021751 | 5.4514e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_852-4_0_2_load_85 | 56 | 0.00059284 | 0.00014858 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_852-4_0_2_load_62 | 57 | 0.00028641 | 7.178e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_852-4_0_2_load_61 | 58 | 0.00082527 | 0.00020683 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_852-4_0_2_load_78 | 59 | 0.00059816 | 0.00014991 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_852-4_0_2_load_65 | 60 | 0.00060605 | 0.00015189 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_852-4_0_2_load_43 | 61 | 0.0014667 | 0.00036759 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_852-4_0_2_load_44 | 62 | 0.0010058 | 0.00025207 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_852-4_0_2_load_45 | 63 | 0.00044206 | 0.00011079 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_852-4_0_2_load_47 | 65 | 0.00016345 | 4.0965e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_852-4_0_2_load_49 | 67 | 0.0023268 | 0.00058315 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_852-4_0_2_load_58 | 68 | 0.0010299 | 0.00025811 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_852-4_0_2_load_66 | 69 | 0.0016637 | 0.00041697 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_852-4_0_2_load_63 | 70 | 0.000246 | 6.1653e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_852-4_0_2_load_68 | 72 | 0.00043437 | 0.00010886 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_852-4_0_2_load_64 | 73 | 0.00067772 | 0.00016985 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_852-4_0_2_load_55 | 74 | 0.00094202 | 0.00023609 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_852-4_0_2_load_51 | 75 | 0.0014262 | 0.00035743 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_852-4_0_2_load_50 | 76 | 0.00095304 | 0.00023885 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_852-4_0_2_load_52 | 77 | 0.0011942 | 0.0002993 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_852-4_0_2_load_54 | 78 | 0.0018022 | 0.00045168 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_852-4_0_2_load_56 | 79 | 0.0012211 | 0.00030603 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_852-4_0_2_load_57 | 80 | 0.0013814 | 0.0003462 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_852-4_0_2_load_72 | 81 | 0.0012833 | 0.00032162 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_852-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_852-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.36798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_852-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_852-4_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.046146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_852-4_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.081765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_852-4_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.016877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_852-4_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.020211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_852-4_0_2_line_7 | NAYY 4x150 SE | 5 | 22 | 0.13611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_852-4_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0075651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_852-4_0_2_line_9 | NAYY 4x150 SE | 8 | 13 | 0.2589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_852-4_0_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.010148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_852-4_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.013923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_852-4_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.010755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_852-4_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.047415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_852-4_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.35222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_852-4_0_2_line_15 | NAYY 4x150 SE | 14 | 17 | 0.22763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_852-4_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0032698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_852-4_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0035579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_852-4_0_2_line_18 | NAYY 4x150 SE | 17 | 33 | 0.16399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_852-4_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.027945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_852-4_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.072398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_852-4_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.084547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_852-4_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.21886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_852-4_0_2_line_23 | NAYY 4x150 SE | 21 | 25 | 0.13653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_852-4_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.07788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_852-4_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.099471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_852-4_0_2_line_26 | NAYY 4x150 SE | 24 | 38 | 0.17152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_852-4_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.1576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_852-4_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.028464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_852-4_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0096274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_852-4_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.088563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_852-4_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.072135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_852-4_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.01374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_852-4_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.05288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_852-4_0_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.01775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_852-4_0_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0024641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_852-4_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.21405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_852-4_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.13961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_852-4_0_2_line_38 | NAYY 4x150 SE | 36 | 59 | 0.26823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_852-4_0_2_line_39 | NAYY 4x150 SE | 37 | 81 | 0.012933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_852-4_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.10957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_852-4_0_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.010172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_852-4_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.016558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_852-4_0_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.046404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_852-4_0_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_852-4_0_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.24179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_852-4_0_2_line_46 | NAYY 4x150 SE | 43 | 46 | 0.24098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_852-4_0_2_line_47 | NAYY 4x150 SE | 44 | 47 | 0.22564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_852-4_0_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.0089479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_852-4_0_2_line_49 | NAYY 4x150 SE | 46 | 49 | 0.22236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_852-4_0_2_line_50 | NAYY 4x150 SE | 46 | 50 | 0.27489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_852-4_0_2_line_51 | NAYY 4x150 SE | 47 | 51 | 0.12746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_852-4_0_2_line_52 | NAYY 4x150 SE | 49 | 52 | 0.017205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_852-4_0_2_line_53 | NAYY 4x150 SE | 50 | 53 | 0.29955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_852-4_0_2_line_54 | NAYY 4x150 SE | 51 | 57 | 0.010133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_852-4_0_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.11907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_852-4_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.017019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_852-4_0_2_line_57 | NAYY 4x150 SE | 54 | 56 | 0.021047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_852-4_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.093575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_852-4_0_2_line_59 | NAYY 4x150 SE | 58 | 74 | 0.012599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_852-4_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.25215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_852-4_0_2_line_61 | NAYY 4x150 SE | 60 | 73 | 0.064988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_852-4_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.0023494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_852-4_0_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.019536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_852-4_0_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.020824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_852-4_0_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.0054877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_852-4_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.005761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_852-4_0_2_line_67 | NAYY 4x150 SE | 64 | 67 | 0.059924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_852-4_0_2_line_68 | NAYY 4x150 SE | 65 | 68 | 0.041247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_852-4_0_2_line_69 | NAYY 4x150 SE | 66 | 69 | 0.013746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_852-4_0_2_line_70 | NAYY 4x150 SE | 66 | 70 | 0.0081214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_852-4_0_2_line_71 | NAYY 4x150 SE | 67 | 71 | 0.014776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_852-4_0_2_line_72 | NAYY 4x150 SE | 69 | 72 | 0.020811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_852-4_0_2_line_73 | NAYY 4x150 SE | 70 | 73 | 0.014407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_852-4_0_2_line_74 | NAYY 4x150 SE | 71 | 74 | 0.029616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_852-4_0_2_line_75 | NAYY 4x150 SE | 71 | 75 | 0.003739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_852-4_0_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0080844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_852-4_0_2_line_77 | NAYY 4x150 SE | 76 | 77 | 0.045183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_852-4_0_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0014837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_852-4_0_2_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0028544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_852-4_0_2_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0010418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_852-4_0_2_trafo_78 | 0.25 MVA 20/0.4 kV | 82 | 59 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2591971.3327 | 1181955.1555 | 2591956.2166 | 1181984.3789
1 | 2591956.2166 | 1181984.3789 | 2592152.9151 | 1182295.3762
2 | 2591971.3327 | 1181955.1555 | 2591959.9022 | 1181960.8295 | 2591945.9181 | 1181964.0279 | 2591936.4297 | 1181966.0084
3 | 2591971.3327 | 1181955.1555 | 2591977.1187 | 1181942.5635 | 2591980.9271 | 1181929.8963 | 2591981.4297 | 1181917.6115 | 2591980.1043 | 1181910.9772
4 | 2592177.4435 | 1182217.426 | 2592157.6489 | 1182283.7862 | 2592152.9151 | 1182295.3762
5 | 2591936.4297 | 1181966.0084 | 2591929.8104 | 1181966.5288 | 2591923.2809 | 1181965.7817 | 2591919.5702 | 1181965.9202
6 | 2591976.3739 | 1181891.1167 | 2591977.3398 | 1181897.1399 | 2591980.1043 | 1181910.9772
7 | 2592300.4439 | 1182161.3586 | 2592275.5463 | 1182179.9005 | 2592239.4955 | 1182194.1326 | 2592192.0308 | 1182208.8135 | 2592177.4435 | 1182217.426
8 | 2591975.176 | 1181883.647 | 2591976.3739 | 1181891.1167
9 | 2591975.176 | 1181883.647 | 2591974.4091 | 1181875.5328 | 2591975.5834 | 1181863.1026 | 2591973.5776 | 1181847.9086 | 2591970.7045 | 1181829.4697 | 2591973.4435 | 1181816.5483 | 2591990.9596 | 1181793.5684 | 2592017.1946 | 1181758.2594 | 2592037.1195 | 1181731.9636 | 2592043.1639 | 1181706.787 | 2592047.2356 | 1181685.2928 | 2592053.7733 | 1181648.4441
10 | 2591970.239 | 1181874.8158 | 2591972.0749 | 1181877.2924 | 2591975.176 | 1181883.647
11 | 2591913.8479 | 1181885.2157 | 2591915.7039 | 1181885.5175 | 2591926.7973 | 1181890.2049 | 2591926.7973 | 1181890.2049
12 | 2591903.232 | 1181883.4891 | 2591913.8479 | 1181885.2157
13 | 2591970.239 | 1181874.8158 | 2591965.5275 | 1181880.2917 | 2591959.9571 | 1181883.0117 | 2591954.2012 | 1181884.0867 | 2591945.133 | 1181886.3224 | 2591933.4623 | 1181889.4954 | 2591926.7973 | 1181890.2049
14 | 2592053.7733 | 1181648.4441 | 2592194.312 | 1181325.4798
15 | 2592371.1229 | 1181210.3576 | 2592353.198 | 1181214.8274 | 2592329.7487 | 1181228.6759 | 2592289.7771 | 1181250.6945 | 2592286.8898 | 1181261.904 | 2592285.0152 | 1181282.5614 | 2592281.2395 | 1181291.7822 | 2592273.2508 | 1181296.9063 | 2592260.6855 | 1181300.2133 | 2592233.4831 | 1181305.0735 | 2592217.0275 | 1181311.5873 | 2592204.079 | 1181319.6306 | 2592194.312 | 1181325.4798
16 | 2592194.312 | 1181325.4798 | 2592192.1877 | 1181322.994
17 | 2592189.8763 | 1181320.2892 | 2592192.1877 | 1181322.994
18 | 2592371.1229 | 1181210.3576 | 2592397.1632 | 1181209.9795 | 2592433.7984 | 1181200.0387 | 2592464.154 | 1181188.094 | 2592485.8008 | 1181173.7369 | 2592501.1725 | 1181160.9999 | 2592520.2276 | 1181151.2051
19 | 2592466.2572 | 1181933.211 | 2592474.8458 | 1181906.6183
20 | 2592452.3398 | 1182003.7937 | 2592454.0058 | 1181974.9101 | 2592463.3636 | 1181942.1703 | 2592466.2572 | 1181933.211
21 | 2592500.8301 | 1181826.1633 | 2592474.8458 | 1181906.6183
22 | 2592452.3398 | 1182003.7937 | 2592300.4439 | 1182161.3586
23 | 2592385.9925 | 1181752.3212 | 2592500.8301 | 1181826.1633
24 | 2592322.2161 | 1181828.0149 | 2592286.3343 | 1181815.3661 | 2592278.9733 | 1181809.4504 | 2592271.9181 | 1181803.7678 | 2592268.3331 | 1181800.8932 | 2592251.874 | 1181797.8576
25 | 2592322.2161 | 1181828.0149 | 2592338.9494 | 1181801.0128 | 2592385.9925 | 1181752.3212
26 | 2592139.1682 | 1181923.8815 | 2592211.3582 | 1181826.9033 | 2592230.4608 | 1181807.8018 | 2592251.874 | 1181797.8576
27 | 2592481.2063 | 1181627.1672 | 2592472.8719 | 1181636.9128 | 2592463.6649 | 1181650.5537 | 2592441.6648 | 1181685.8776 | 2592391.4065 | 1181746.7175 | 2592385.9925 | 1181752.3212
28 | 2592481.2063 | 1181627.1672 | 2592499.7062 | 1181605.5345
29 | 2592505.9634 | 1181598.2178 | 2592499.7062 | 1181605.5345
30 | 2592574.6792 | 1181542.3472 | 2592505.9634 | 1181598.2178
31 | 2592574.6792 | 1181542.3472 | 2592602.3677 | 1181560.5441 | 2592607.9989 | 1181563.2496 | 2592615.9825 | 1181560.1603 | 2592627.0494 | 1181555.811 | 2592639.3164 | 1181554.8648
32 | 2592574.6792 | 1181542.3472 | 2592586.6308 | 1181535.5689
33 | 2592636.264 | 1181590.3241 | 2592644.5 | 1181575.8663 | 2592652.8375 | 1181562.6492 | 2592653.1913 | 1181558.491 | 2592651.3689 | 1181554.5135 | 2592643.7481 | 1181554.5229 | 2592639.3164 | 1181554.8648
34 | 2592627.4781 | 1181605.7471 | 2592636.264 | 1181590.3241
35 | 2592522.4191 | 1181150.0786 | 2592520.2276 | 1181151.2051
36 | 2592522.4191 | 1181150.0786 | 2592702.6284 | 1181265.5897
37 | 2592522.4191 | 1181150.0786 | 2592507.7199 | 1181011.2398
38 | 2592891.3006 | 1181456.2485 | 2592702.6284 | 1181265.5897
39 | 2592520.5081 | 1181009.3089 | 2592507.7199 | 1181011.2398
40 | 2592139.1682 | 1181923.8815 | 2592122.7579 | 1182032.2144
41 | 2592122.7579 | 1182032.2144 | 2592116.5262 | 1182040.2535
42 | 2593196.352 | 1181167.4571 | 2593209.0414 | 1181178.0944
43 | 2593166.6339 | 1181132.0254 | 2593189.8456 | 1181162.0029 | 2593196.352 | 1181167.4571
44 | 2593248.6214 | 1181186.5775 | 2593239.6956 | 1181187.0476 | 2593213.7101 | 1181182.008 | 2593209.0414 | 1181178.0944
45 | 2593166.6339 | 1181132.0254 | 2593117.1762 | 1181090.4169 | 2593099.1291 | 1181082.556 | 2593090.2735 | 1181085.0899 | 2593084.2799 | 1181099.2819 | 2593070.6978 | 1181115.3838 | 2593063.7548 | 1181127.3758 | 2593060.3039 | 1181154.1825 | 2593059.4249 | 1181212.2132 | 2593060.3722 | 1181225.0433
46 | 2593166.6339 | 1181132.0254 | 2593151.9501 | 1181106.9517 | 2593137.0347 | 1181079.7995 | 2593128.9915 | 1181065.1347 | 2593122.8293 | 1181045.9542 | 2593118.6897 | 1181032.4299 | 2593115.5224 | 1181014.3688 | 2593114.6905 | 1180995.1599 | 2593114.5013 | 1180976.9174 | 2593112.9036 | 1180962.3563 | 2593111.9076 | 1180953.0749 | 2593109.2974 | 1180934.7464 | 2593108.7564 | 1180922.6408 | 2593108.0806 | 1180919.4288 | 2593106.9313 | 1180916.1729 | 2593104.3685 | 1180912.3851 | 2593100.3338 | 1180910.3554 | 2593096.6607 | 1180910.6043
47 | 2593248.6214 | 1181186.5775 | 2593272.279 | 1181185.3318 | 2593284.9942 | 1181192.2765 | 2593288.0402 | 1181204.835 | 2593286.0618 | 1181211.1516 | 2593277.8849 | 1181226.2686 | 2593270.5352 | 1181243.4302 | 2593252.9573 | 1181278.168 | 2593248.475 | 1181298.5835 | 2593242.3528 | 1181320.6462 | 2593235.826 | 1181342.7094 | 2593232.1623 | 1181364.3358 | 2593231.7216 | 1181368.7028
48 | 2593061.0311 | 1181233.9669 | 2593060.3722 | 1181225.0433
49 | 2593010.6574 | 1181112.1479 | 2593012.14 | 1181109.2494 | 2593014.3246 | 1181090.2371 | 2593018.9481 | 1181067.0976 | 2593025.3503 | 1181043.3334 | 2593031.2769 | 1181030.7756 | 2593038.8977 | 1181017.1041 | 2593057.9425 | 1180989.79 | 2593066.0334 | 1180973.172 | 2593076.1028 | 1180950.4597 | 2593083.6275 | 1180932.8975 | 2593090.2075 | 1180917.1485 | 2593093.2188 | 1180912.6427 | 2593096.6607 | 1180910.6043
50 | 2593096.6607 | 1180910.6043 | 2592906.1183 | 1180712.4611
51 | 2593231.7216 | 1181368.7028 | 2593229.7309 | 1181388.4287 | 2593227.7049 | 1181406.3958 | 2593223.2177 | 1181422.3313 | 2593216.6787 | 1181440.3035 | 2593210.9579 | 1181452.5608 | 2593205.6556 | 1181470.1203 | 2593204.4383 | 1181480.7383 | 2593205.3075 | 1181492.0167
52 | 2593010.6574 | 1181112.1479 | 2593003.8504 | 1181125.4563 | 2593002.3252 | 1181127.1202
53 | 2592919.0367 | 1180415.2493 | 2592912.4451 | 1180459.6577 | 2592906.7863 | 1180504.8987 | 2592900.9962 | 1180561.5234 | 2592899.0892 | 1180614.4305 | 2592897.58 | 1180667.9931 | 2592899.4942 | 1180691.1693 | 2592906.1183 | 1180712.4611
54 | 2593205.3075 | 1181492.0167 | 2593206.0861 | 1181502.1198
55 | 2592919.0367 | 1180415.2493 | 2592845.4302 | 1180400.0743 | 2592839.9759 | 1180399.236 | 2592841.2978 | 1180437.6096
56 | 2592841.2978 | 1180437.6096 | 2592830.1396 | 1180450.4852
57 | 2592841.2978 | 1180437.6096 | 2592853.2127 | 1180450.5908 | 2592853.5071 | 1180454.0255
58 | 2593217.2717 | 1181595.01 | 2593215.464 | 1181579.8542 | 2593212.1995 | 1181556.5237 | 2593209.6653 | 1181537.3502 | 2593208.1748 | 1181522.8 | 2593206.5157 | 1181507.6941 | 2593206.0861 | 1181502.1198
59 | 2593218.7639 | 1181607.5201 | 2593217.2717 | 1181595.01
60 | 2593065.0827 | 1181638.9459 | 2592891.3006 | 1181456.2485
61 | 2593123.9201 | 1181634.8299 | 2593117.9195 | 1181631.6154 | 2593110.13 | 1181637.5719 | 2593096.9815 | 1181631.6397 | 2593084.1924 | 1181632.7219 | 2593068.0985 | 1181635.1641 | 2593065.0827 | 1181638.9459
62 | 2593159.6448 | 1181670.1937 | 2593158.2225 | 1181668.3237
63 | 2593159.6448 | 1181670.1937 | 2593171.4715 | 1181685.7428
64 | 2593145.6157 | 1181651.7492 | 2593158.2225 | 1181668.3237
65 | 2593174.7937 | 1181690.1106 | 2593171.4715 | 1181685.7428
66 | 2593145.6157 | 1181651.7492 | 2593140.1006 | 1181650.0324
67 | 2593145.6157 | 1181651.7492 | 2593160.6635 | 1181636.0682 | 2593182.72 | 1181626.0043 | 2593196.6163 | 1181624.821
68 | 2593199.7639 | 1181722.9399 | 2593174.7937 | 1181690.1106
69 | 2593140.1006 | 1181650.0324 | 2593132.0103 | 1181661.146
70 | 2593140.1006 | 1181650.0324 | 2593134.8317 | 1181643.8521
71 | 2593207.5625 | 1181634.7469 | 2593196.6163 | 1181624.821
72 | 2593117.994 | 1181672.7532 | 2593122.5733 | 1181674.1095 | 2593132.0103 | 1181661.146
73 | 2593134.8317 | 1181643.8521 | 2593129.8467 | 1181638.0048 | 2593123.9201 | 1181634.8299
74 | 2593207.5625 | 1181634.7469 | 2593209.4351 | 1181629.6866 | 2593211.4305 | 1181625.082 | 2593217.2445 | 1181614.3476 | 2593218.7639 | 1181607.5201
75 | 2593207.5625 | 1181634.7469 | 2593210.1537 | 1181637.4425
76 | 2593215.7562 | 1181643.2708 | 2593210.1537 | 1181637.4425
77 | 2593215.7562 | 1181643.2708 | 2593238.8921 | 1181667.3389 | 2593246.2524 | 1181676.5596
78 | 2593247.1781 | 1181677.7192 | 2593246.2524 | 1181676.5596
79 | 2593247.1781 | 1181677.7192 | 2593248.9588 | 1181679.9501
80 | 2593248.9588 | 1181679.9501 | 2593249.6087 | 1181680.7643

## bus_geodata
| x | y | coords
0 | 2591956.2166 | 1181984.3789
1 | 2591971.3327 | 1181955.1555
2 | 2592152.9151 | 1182295.3762
3 | 2591936.4297 | 1181966.0084
4 | 2591980.1043 | 1181910.9772
5 | 2592177.4435 | 1182217.426
6 | 2591919.5702 | 1181965.9202
7 | 2591976.3739 | 1181891.1167
8 | 2591975.176 | 1181883.647
9 | 2591913.8479 | 1181885.2157
10 | 2591926.7973 | 1181890.2049
11 | 2591903.232 | 1181883.4891
12 | 2591970.239 | 1181874.8158
13 | 2592053.7733 | 1181648.4441
14 | 2592194.312 | 1181325.4798
15 | 2592189.8763 | 1181320.2892
16 | 2592192.1877 | 1181322.994
17 | 2592371.1229 | 1181210.3576
18 | 2592466.2572 | 1181933.211
19 | 2592474.8458 | 1181906.6183
20 | 2592452.3398 | 1182003.7937
21 | 2592500.8301 | 1181826.1633
22 | 2592300.4439 | 1182161.3586
23 | 2592322.2161 | 1181828.0149
24 | 2592251.874 | 1181797.8576
25 | 2592385.9925 | 1181752.3212
26 | 2592481.2063 | 1181627.1672
27 | 2592505.9634 | 1181598.2178
28 | 2592499.7062 | 1181605.5345
29 | 2592574.6792 | 1181542.3472
30 | 2592639.3164 | 1181554.8648
31 | 2592586.6308 | 1181535.5689
32 | 2592636.264 | 1181590.3241
33 | 2592520.2276 | 1181151.2051
34 | 2592627.4781 | 1181605.7471
35 | 2592522.4191 | 1181150.0786
36 | 2592702.6284 | 1181265.5897
37 | 2592507.7199 | 1181011.2398
38 | 2592139.1682 | 1181923.8815
39 | 2592122.7579 | 1182032.2144
40 | 2592116.5262 | 1182040.2535
41 | 2593196.352 | 1181167.4571
42 | 2593209.0414 | 1181178.0944
43 | 2593166.6339 | 1181132.0254
44 | 2593248.6214 | 1181186.5775
45 | 2593060.3722 | 1181225.0433
46 | 2593096.6607 | 1180910.6043
47 | 2593231.7216 | 1181368.7028
48 | 2593061.0311 | 1181233.9669
49 | 2593010.6574 | 1181112.1479
50 | 2592906.1183 | 1180712.4611
51 | 2593205.3075 | 1181492.0167
52 | 2593002.3252 | 1181127.1202
53 | 2592919.0367 | 1180415.2493
54 | 2592841.2978 | 1180437.6096
55 | 2592830.1396 | 1180450.4852
56 | 2592853.5071 | 1180454.0255
57 | 2593206.0861 | 1181502.1198
58 | 2593217.2717 | 1181595.01
59 | 2592891.3006 | 1181456.2485
60 | 2593065.0827 | 1181638.9459
61 | 2593159.6448 | 1181670.1937
62 | 2593158.2225 | 1181668.3237
63 | 2593171.4715 | 1181685.7428
64 | 2593145.6157 | 1181651.7492
65 | 2593174.7937 | 1181690.1106
66 | 2593140.1006 | 1181650.0324
67 | 2593196.6163 | 1181624.821
68 | 2593199.7639 | 1181722.9399
69 | 2593132.0103 | 1181661.146
70 | 2593134.8317 | 1181643.8521
71 | 2593207.5625 | 1181634.7469
72 | 2593117.994 | 1181672.7532
73 | 2593123.9201 | 1181634.8299
74 | 2593218.7639 | 1181607.5201
75 | 2593210.1537 | 1181637.4425
76 | 2593215.7562 | 1181643.2708
77 | 2593246.2524 | 1181676.5596
78 | 2593247.1781 | 1181677.7192
79 | 2593248.9588 | 1181679.9501
80 | 2593249.6087 | 1181680.7643
81 | 2592520.5081 | 1181009.3089
82 | 2592891.3006 | 1181456.2485

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1