## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_852-5_2_3_node_183 | 0.4 | n |  | TRUE
1 | bus_LV_852-5_2_3_node_70 | 0.4 | n |  | TRUE
2 | bus_LV_852-5_2_3_node_182 | 0.4 | n |  | TRUE
3 | bus_LV_852-5_2_3_node_184 | 0.4 | n |  | TRUE
4 | bus_LV_852-5_2_3_node_105 | 0.4 | n |  | TRUE
5 | bus_LV_852-5_2_3_node_185 | 0.4 | n |  | TRUE
6 | bus_LV_852-5_2_3_node_186 | 0.4 | n |  | TRUE
7 | bus_LV_852-5_2_3_node_166 | 0.4 | n |  | TRUE
8 | bus_LV_852-5_2_3_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_852-5_2_3_node_167 | 0.4 | n |  | TRUE
10 | bus_LV_852-5_2_3_node_168 | 0.4 | n |  | TRUE
11 | bus_LV_852-5_2_3_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_852-5_2_3_node_170 | 0.4 | n |  | TRUE
13 | bus_LV_852-5_2_3_node_169 | 0.4 | n |  | TRUE
14 | bus_LV_852-5_2_3_node_187 | 0.4 | n |  | TRUE
15 | bus_LV_852-5_2_3_node_113 | 0.4 | n |  | TRUE
16 | bus_LV_852-5_2_3_node_178 | 0.4 | n |  | TRUE
17 | bus_LV_852-5_2_3_node_179 | 0.4 | n |  | TRUE
18 | bus_LV_852-5_2_3_node_180 | 0.4 | n |  | TRUE
19 | bus_LV_852-5_2_3_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_852-5_2_3_node_188 | 0.4 | n |  | TRUE
21 | bus_LV_852-5_2_3_node_181 | 0.4 | n |  | TRUE
22 | bus_LV_852-5_2_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_852-5_2_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_852-5_2_3_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_852-5_2_3_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_852-5_2_3_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_852-5_2_3_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_852-5_2_3_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_852-5_2_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_852-5_2_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_852-5_2_3_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_852-5_2_3_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_852-5_2_3_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_852-5_2_3_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_852-5_2_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_852-5_2_3_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_852-5_2_3_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_852-5_2_3_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_852-5_2_3_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_852-5_2_3_node_77 | 0.4 | n |  | TRUE
41 | bus_LV_852-5_2_3_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_852-5_2_3_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_852-5_2_3_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_852-5_2_3_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_852-5_2_3_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_852-5_2_3_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_852-5_2_3_node_104 | 0.4 | n |  | TRUE
48 | bus_MV_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_852-5_2_3_load_183 | 0 | 0.00057435 | 0.00014394 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_852-5_2_3_load_70 | 1 | 0.00064599 | 0.0001619 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_852-5_2_3_load_182 | 2 | 0.00013539 | 3.3933e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_852-5_2_3_load_105 | 4 | 0.00050632 | 0.00012689 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_852-5_2_3_load_185 | 5 | 0.00086143 | 0.00021589 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_852-5_2_3_load_186 | 6 | 0.00036244 | 9.0835e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_852-5_2_3_load_166 | 7 | 0.0037329 | 0.00093556 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_852-5_2_3_load_80 | 11 | 0.0019169 | 0.00048041 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_852-5_2_3_load_170 | 12 | 0.0056553 | 0.0014173 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_852-5_2_3_load_169 | 13 | 9.8848e-05 | 2.4774e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_852-5_2_3_load_187 | 14 | 0.0022556 | 0.00056532 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_852-5_2_3_load_113 | 15 | 0.0014556 | 0.00036481 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_852-5_2_3_load_178 | 16 | 0.00025545 | 6.4023e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_852-5_2_3_load_180 | 18 | 0.00053464 | 0.00013399 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_852-5_2_3_load_68 | 19 | 0.00029834 | 7.4771e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_852-5_2_3_load_188 | 20 | 0.00035096 | 8.7959e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_852-5_2_3_load_181 | 21 | 0.00034337 | 8.6056e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_852-5_2_3_load_55 | 22 | 0.00054969 | 0.00013776 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_852-5_2_3_load_58 | 25 | 0.00024218 | 6.0697e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_852-5_2_3_load_59 | 27 | 0.00017459 | 4.3757e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_852-5_2_3_load_60 | 28 | 0.00045266 | 0.00011345 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_852-5_2_3_load_61 | 29 | 0.00066485 | 0.00016663 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_852-5_2_3_load_62 | 30 | 0.00040395 | 0.00010124 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_852-5_2_3_load_75 | 34 | 0.00043828 | 0.00010984 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_852-5_2_3_load_72 | 37 | 0.00016743 | 4.1962e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_852-5_2_3_load_76 | 39 | 0.00082251 | 0.00020614 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_852-5_2_3_load_77 | 40 | 0.00018302 | 4.5868e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_852-5_2_3_load_79 | 41 | 0.00052423 | 0.00013139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_852-5_2_3_load_84 | 43 | 0.00081544 | 0.00020437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_852-5_2_3_load_82 | 44 | 0.0040257 | 0.0010089 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_852-5_2_3_load_83 | 45 | 0.0021344 | 0.00053492 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_852-5_2_3_load_103 | 46 | 0.00024073 | 6.0332e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_852-5_2_3_load_104 | 47 | 0.00046931 | 0.00011762 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_852-5_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.20129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_852-5_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_852-5_2_3_line_2 | NAYY 4x150 SE | 1 | 27 | 0.25891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_852-5_2_3_line_3 | NAYY 4x150 SE | 2 | 21 | 0.013716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_852-5_2_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.2296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_852-5_2_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.074895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_852-5_2_3_line_6 | NAYY 4x150 SE | 4 | 43 | 0.26673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_852-5_2_3_line_7 | NAYY 4x150 SE | 4 | 47 | 0.014585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_852-5_2_3_line_8 | NAYY 4x150 SE | 5 | 6 | 0.036493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_852-5_2_3_line_9 | NAYY 4x150 SE | 6 | 14 | 0.040617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_852-5_2_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.076264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_852-5_2_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.046162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_852-5_2_3_line_12 | NAYY 4x150 SE | 8 | 38 | 0.17049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_852-5_2_3_line_13 | NAYY 4x150 SE | 8 | 13 | 0.11819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_852-5_2_3_line_14 | NAYY 4x150 SE | 9 | 10 | 0.1348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_852-5_2_3_line_15 | NAYY 4x150 SE | 10 | 11 | 0.31223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_852-5_2_3_line_16 | NAYY 4x150 SE | 10 | 12 | 0.047646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_852-5_2_3_line_17 | NAYY 4x150 SE | 11 | 42 | 0.013978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_852-5_2_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.2288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_852-5_2_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.01268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_852-5_2_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.027944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_852-5_2_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.30905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_852-5_2_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.13312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_852-5_2_3_line_23 | NAYY 4x150 SE | 19 | 36 | 0.024471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_852-5_2_3_line_24 | NAYY 4x150 SE | 20 | 33 | 0.15109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_852-5_2_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.028864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_852-5_2_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.029139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_852-5_2_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.033994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_852-5_2_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_852-5_2_3_line_29 | NAYY 4x150 SE | 26 | 36 | 0.076476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_852-5_2_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.062983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_852-5_2_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0069155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_852-5_2_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.11604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_852-5_2_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.015484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_852-5_2_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.24687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_852-5_2_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.25772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_852-5_2_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.098805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_852-5_2_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.13562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_852-5_2_3_line_38 | NAYY 4x150 SE | 35 | 41 | 0.11981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_852-5_2_3_line_39 | NAYY 4x150 SE | 35 | 40 | 0.059481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_852-5_2_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.030014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_852-5_2_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0086257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_852-5_2_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.026736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_852-5_2_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.25938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_852-5_2_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.058042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_852-5_2_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.099287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_852-5_2_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.023321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_852-5_2_3_trafo_168 | 0.25 MVA 20/0.4 kV | 48 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2590145.3325 | 1178209.0322 | 2590132.2418 | 1178409.8922
1 | 2590145.3325 | 1178209.0322 | 2590137.6222 | 1178203.7534 | 2590135.1206 | 1178195.762
2 | 2590245.4711 | 1178642.7259 | 2590132.2418 | 1178409.8922
3 | 2590138.6839 | 1178183.1326 | 2590138.322 | 1178183.453 | 2590134.304 | 1178193.1535 | 2590135.1206 | 1178195.762
4 | 2590085.777 | 1179538.7317 | 2590083.2985 | 1179541.1704 | 2590073.2396 | 1179541.9542 | 2590032.0365 | 1179537.4764 | 2590017.5965 | 1179531.253 | 2590001.4499 | 1179523.1426 | 2589994.9933 | 1179522.0196 | 2589991.3926 | 1179524.8715 | 2589992.1574 | 1179529.9728 | 2590012.1339 | 1179553.4068 | 2590017.8418 | 1179563.6135 | 2590024.7007 | 1179576.8532 | 2590032.1174 | 1179585.7342 | 2590040.4775 | 1179592.3347 | 2590059.754 | 1179626.7979 | 2590063.9878 | 1179630.1202
5 | 2590085.777 | 1179538.7317 | 2590091.7755 | 1179549.127 | 2590099.6484 | 1179565.9225 | 2590106.6617 | 1179571.1023 | 2590113.5569 | 1179569.6012 | 2590116.1989 | 1179564.4164 | 2590123.3945 | 1179555.2108 | 2590129.6563 | 1179554.0332 | 2590134.2792 | 1179554.8447
6 | 2590063.9878 | 1179630.1202 | 2589799.5652 | 1179595.1492
7 | 2590075.4618 | 1179639.124 | 2590063.9878 | 1179630.1202
8 | 2590149.6715 | 1179532.111 | 2590149.6715 | 1179532.111 | 2590151.3815 | 1179540.6681 | 2590149.4908 | 1179552.0993 | 2590141.0107 | 1179556.0265 | 2590134.2792 | 1179554.8447
9 | 2590149.6715 | 1179532.111 | 2590152.9465 | 1179526.2804 | 2590159.9483 | 1179524.479 | 2590172.0423 | 1179525.6152 | 2590186.4137 | 1179527.9009
10 | 2589961.6774 | 1178881.9712 | 2589969.5755 | 1178899.389 | 2589975.4314 | 1178915.3428 | 2589977.8755 | 1178924.0653 | 2589979.8672 | 1178931.8215 | 2589981.4775 | 1178939.9785 | 2589981.967 | 1178949.3602 | 2589981.7907 | 1178954.7265
11 | 2589948.1058 | 1178974.6525 | 2589959.9864 | 1178975.3884 | 2589966.3949 | 1178974.8439 | 2589971.0452 | 1178973.5799 | 2589974.533 | 1178971.5396 | 2589977.1495 | 1178969.2563 | 2589979.1379 | 1178966.0291 | 2589980.7357 | 1178962.1689 | 2589981.749 | 1178955.9973 | 2589981.7907 | 1178954.7265
12 | 2589961.6774 | 1178881.9712 | 2589960.6192 | 1178879.6384 | 2589952.6371 | 1178871.3143 | 2589967.9942 | 1178863.1954 | 2590000.3289 | 1178847.3996 | 2590023.6985 | 1178833.7534 | 2590037.7137 | 1178817.9885 | 2590054.0314 | 1178785.7003 | 2590061.9025 | 1178768.734
13 | 2590036.883 | 1178905.8792 | 2590035.8616 | 1178866.1829 | 2590032.8379 | 1178862.5861 | 2590027.0479 | 1178863.0627 | 2590009.342 | 1178869.1955 | 2589991.2774 | 1178875.4735 | 2589961.6774 | 1178881.9712
14 | 2589948.1058 | 1178974.6525 | 2589947.1593 | 1178979.6455 | 2589945.5751 | 1178987.0297 | 2589936.9924 | 1179016.4704 | 2589936.3431 | 1179021.0071 | 2589936.4183 | 1179024.8201 | 2589937.2797 | 1179028.2426 | 2589938.8683 | 1179032.531 | 2589941.4267 | 1179036.5731 | 2589944.6183 | 1179040.1362 | 2589994.3688 | 1179082.7964
15 | 2589994.3688 | 1179082.7964 | 2589795.8878 | 1179323.8177
16 | 2589976.7497 | 1179040.271 | 2589988.5167 | 1179059.85 | 2589993.7442 | 1179070.2354 | 2589995.4087 | 1179074.2903 | 2589995.887 | 1179077.0242 | 2589995.647 | 1179079.6926 | 2589994.3688 | 1179082.7964
17 | 2589789.0085 | 1179335.9856 | 2589795.8878 | 1179323.8177
18 | 2590186.4137 | 1179527.9009 | 2590396.1792 | 1179436.5257
19 | 2590324.2354 | 1179050.9678 | 2590312.7896 | 1179056.4236
20 | 2590287.5646 | 1179068.4476 | 2590312.7896 | 1179056.4236
21 | 2590324.2354 | 1179050.9678 | 2590633.1128 | 1179061.2269
22 | 2590159.9406 | 1179030.5936 | 2590287.5646 | 1179068.4476
23 | 2590653.7793 | 1179074.1081 | 2590641.906 | 1179068.1237 | 2590633.1128 | 1179061.2269
24 | 2590208.3646 | 1178904.1491 | 2590215.741 | 1178920.701 | 2590219.8844 | 1178945.6069 | 2590219.9067 | 1178959.1249 | 2590212.2031 | 1178975.8794 | 2590201.2676 | 1178987.6923 | 2590178.902 | 1179007.7728 | 2590169.7777 | 1179019.8941 | 2590159.9406 | 1179030.5936
25 | 2590731.5187 | 1179148.769 | 2590742.3085 | 1179150.8199 | 2590751.8874 | 1179155.285 | 2590757.925 | 1179159.4109
26 | 2590724.7093 | 1179176.2714 | 2590723.9547 | 1179167.5793 | 2590727.0317 | 1179156.7245 | 2590731.5187 | 1179148.769
27 | 2590724.7093 | 1179176.2714 | 2590711.9448 | 1179166.8532 | 2590698.1292 | 1179155.1111
28 | 2590686.2141 | 1179141.2804 | 2590695.7817 | 1179153.1159 | 2590698.1292 | 1179155.1111
29 | 2590653.7793 | 1179074.1081 | 2590652.3171 | 1179081.8255 | 2590656.0962 | 1179090.0904 | 2590676.8143 | 1179129.2445 | 2590686.2141 | 1179141.2804
30 | 2590245.4711 | 1178642.7259 | 2590247.6279 | 1178640.9727 | 2590255.6218 | 1178637.9136 | 2590271.6353 | 1178638.1208 | 2590307.1721 | 1178640.6837
31 | 2590245.4711 | 1178642.7259 | 2590240.105 | 1178647.0881 | 2590240.105 | 1178647.0881
32 | 2590307.1721 | 1178640.6837 | 2590309.7704 | 1178640.8711 | 2590318.9531 | 1178640.6226 | 2590327.1835 | 1178637.3298 | 2590346.7144 | 1178634.7078 | 2590376.3835 | 1178636.8609 | 2590404.9319 | 1178635.7809 | 2590414.4945 | 1178638.9782 | 2590421.6603 | 1178640.2543
33 | 2590236.3633 | 1178662.113 | 2590240.105 | 1178647.0881
34 | 2590236.3633 | 1178662.113 | 2590245.554 | 1178666.7892 | 2590265.8049 | 1178674.7379 | 2590278.7736 | 1178686.4449 | 2590314.6072 | 1178721.1152 | 2590337.4691 | 1178737.4975 | 2590353.7248 | 1178745.9198 | 2590374.2072 | 1178750.8114 | 2590398.692 | 1178755.2296 | 2590408.1182 | 1178759.2053 | 2590431.5658 | 1178797.9762
35 | 2590208.3646 | 1178904.1491 | 2590215.0501 | 1178895.4559 | 2590217.0407 | 1178884.1024 | 2590225.3587 | 1178850.6939 | 2590232.3558 | 1178831.6505 | 2590252.5949 | 1178800.0567 | 2590255.8721 | 1178790.6577 | 2590257.2697 | 1178781.0394 | 2590255.6022 | 1178765.7899 | 2590258.6492 | 1178760.3933 | 2590254.1693 | 1178753.8306 | 2590252.0404 | 1178746.0857 | 2590235.6781 | 1178672.9085 | 2590236.3633 | 1178662.113
36 | 2590431.5658 | 1178797.9762 | 2590459.8527 | 1178777.2091 | 2590488.2689 | 1178770.2822 | 2590509.0861 | 1178769.7265 | 2590522.6302 | 1178768.1121
37 | 2590208.3646 | 1178904.1491 | 2590202.6677 | 1178905.4925 | 2590194.2877 | 1178901.1597 | 2590190.5779 | 1178884.4795 | 2590189.9498 | 1178846.4389 | 2590185.2886 | 1178827.3258 | 2590172.7041 | 1178812.2166 | 2590151.2202 | 1178797.6447
38 | 2590151.2202 | 1178797.6447 | 2590151.1123 | 1178829.3499 | 2590149.4612 | 1178907.159 | 2590145.2367 | 1178916.5041
39 | 2590151.2202 | 1178797.6447 | 2590135.9485 | 1178788.3986 | 2590109.4378 | 1178783.1955 | 2590095.0182 | 1178780.8321
40 | 2590061.9025 | 1178768.734 | 2590048.0579 | 1178763.3211 | 2590033.2528 | 1178760.1134
41 | 2590061.9025 | 1178768.734 | 2590065.3732 | 1178770.0956 | 2590069.9158 | 1178771.9258
42 | 2590095.0182 | 1178780.8321 | 2590089.9666 | 1178780.0041 | 2590069.9158 | 1178771.9258
43 | 2589799.5652 | 1179595.1492 | 2589789.0085 | 1179335.9856
44 | 2589799.5652 | 1179595.1492 | 2589796.4332 | 1179616.2494 | 2589766.8312 | 1179628.2174 | 2589762.0957 | 1179627.5629
45 | 2589711.3773 | 1179672.1834 | 2589707.4625 | 1179667.0842 | 2589704.4914 | 1179649.5915 | 2589710.9229 | 1179631.8602 | 2589720.6007 | 1179622.8166 | 2589732.8785 | 1179619.8939 | 2589748.4025 | 1179625.6701 | 2589762.0957 | 1179627.5629
46 | 2590090.7675 | 1179656.4072 | 2590082.4857 | 1179644.6357 | 2590075.4618 | 1179639.124

## bus_geodata
| x | y | coords
0 | 2590145.3325 | 1178209.0322
1 | 2590132.2418 | 1178409.8922
2 | 2590135.1206 | 1178195.762
3 | 2590085.777 | 1179538.7317
4 | 2590063.9878 | 1179630.1202
5 | 2590134.2792 | 1179554.8447
6 | 2590149.6715 | 1179532.111
7 | 2589981.7907 | 1178954.7265
8 | 2589961.6774 | 1178881.9712
9 | 2589948.1058 | 1178974.6525
10 | 2589994.3688 | 1179082.7964
11 | 2589795.8878 | 1179323.8177
12 | 2589976.7497 | 1179040.271
13 | 2590036.883 | 1178905.8792
14 | 2590186.4137 | 1179527.9009
15 | 2590396.1792 | 1179436.5257
16 | 2590312.7896 | 1179056.4236
17 | 2590324.2354 | 1179050.9678
18 | 2590287.5646 | 1179068.4476
19 | 2590633.1128 | 1179061.2269
20 | 2590159.9406 | 1179030.5936
21 | 2590138.6839 | 1178183.1326
22 | 2590757.925 | 1179159.4109
23 | 2590731.5187 | 1179148.769
24 | 2590724.7093 | 1179176.2714
25 | 2590698.1292 | 1179155.1111
26 | 2590686.2141 | 1179141.2804
27 | 2590245.4711 | 1178642.7259
28 | 2590307.1721 | 1178640.6837
29 | 2590240.105 | 1178647.0881
30 | 2590421.6603 | 1178640.2543
31 | 2590236.3633 | 1178662.113
32 | 2590431.5658 | 1178797.9762
33 | 2590208.3646 | 1178904.1491
34 | 2590522.6302 | 1178768.1121
35 | 2590151.2202 | 1178797.6447
36 | 2590653.7793 | 1179074.1081
37 | 2590033.2528 | 1178760.1134
38 | 2590061.9025 | 1178768.734
39 | 2590069.9158 | 1178771.9258
40 | 2590095.0182 | 1178780.8321
41 | 2590145.2367 | 1178916.5041
42 | 2589789.0085 | 1179335.9856
43 | 2589799.5652 | 1179595.1492
44 | 2589711.3773 | 1179672.1834
45 | 2589762.0957 | 1179627.5629
46 | 2590090.7675 | 1179656.4072
47 | 2590075.4618 | 1179639.124
48 | 2589994.3688 | 1179082.7964

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1