## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_853-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_853-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_853-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_853-1_0_4_node_95 | 0.4 | n |  | TRUE
4 | bus_LV_853-1_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_853-1_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_853-1_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_853-1_0_4_node_326 | 0.4 | n |  | TRUE
8 | bus_LV_853-1_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_853-1_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_853-1_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_853-1_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_853-1_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_853-1_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_853-1_0_4_node_339 | 0.4 | n |  | TRUE
15 | bus_LV_853-1_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_853-1_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_853-1_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_853-1_0_4_node_98 | 0.4 | n |  | TRUE
19 | bus_LV_853-1_0_4_node_314 | 0.4 | n |  | TRUE
20 | bus_LV_853-1_0_4_node_315 | 0.4 | n |  | TRUE
21 | bus_LV_853-1_0_4_node_209 | 0.4 | n |  | TRUE
22 | bus_LV_853-1_0_4_node_316 | 0.4 | n |  | TRUE
23 | bus_LV_853-1_0_4_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_853-1_0_4_node_111 | 0.4 | n |  | TRUE
25 | bus_LV_853-1_0_4_node_338 | 0.4 | n |  | TRUE
26 | bus_LV_853-1_0_4_node_340 | 0.4 | n |  | TRUE
27 | bus_LV_853-1_0_4_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_853-1_0_4_node_341 | 0.4 | n |  | TRUE
29 | bus_LV_853-1_0_4_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_853-1_0_4_node_343 | 0.4 | n |  | TRUE
31 | bus_LV_853-1_0_4_node_342 | 0.4 | n |  | TRUE
32 | bus_LV_853-1_0_4_node_99 | 0.4 | n |  | TRUE
33 | bus_LV_853-1_0_4_node_344 | 0.4 | n |  | TRUE
34 | bus_LV_853-1_0_4_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_853-1_0_4_node_345 | 0.4 | n |  | TRUE
36 | bus_LV_853-1_0_4_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_853-1_0_4_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_853-1_0_4_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_853-1_0_4_node_102 | 0.4 | n |  | TRUE
40 | bus_LV_853-1_0_4_node_103 | 0.4 | n |  | TRUE
41 | bus_LV_853-1_0_4_node_104 | 0.4 | n |  | TRUE
42 | bus_LV_853-1_0_4_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_853-1_0_4_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_853-1_0_4_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_853-1_0_4_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_853-1_0_4_node_110 | 0.4 | n |  | TRUE
47 | bus_MV_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_853-1_0_4_load_0 | 0 | 0.0017433 | 0.00043691 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_853-1_0_4_load_95 | 3 | 0.0028574 | 0.00071612 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_853-1_0_4_load_3 | 4 | 0.0010583 | 0.00026524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_853-1_0_4_load_326 | 7 | 0.0022417 | 0.00056182 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_853-1_0_4_load_6 | 8 | 0.0018601 | 0.00046617 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_853-1_0_4_load_11 | 9 | 0.0006048 | 0.00015158 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_853-1_0_4_load_7 | 10 | 0.00034521 | 8.6519e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_853-1_0_4_load_8 | 11 | 0.00047295 | 0.00011853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_853-1_0_4_load_10 | 13 | 0.00046583 | 0.00011675 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_853-1_0_4_load_339 | 14 | 0.0014871 | 0.00037269 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_853-1_0_4_load_12 | 15 | 0.00030087 | 7.5405e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_853-1_0_4_load_13 | 16 | 0.00083299 | 0.00020877 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_853-1_0_4_load_14 | 17 | 0.00061348 | 0.00015375 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_853-1_0_4_load_314 | 19 | 0.001763 | 0.00044184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_853-1_0_4_load_209 | 21 | 0.0018059 | 0.00045261 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_853-1_0_4_load_316 | 22 | 0.0017547 | 0.00043977 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_853-1_0_4_load_340 | 26 | 0.00033077 | 8.2899e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_853-1_0_4_load_109 | 27 | 0.00071382 | 0.0001789 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_853-1_0_4_load_341 | 28 | 0.00076016 | 0.00019052 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_853-1_0_4_load_343 | 30 | 0.00075653 | 0.00018961 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_853-1_0_4_load_99 | 32 | 0.0010598 | 0.00026562 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_853-1_0_4_load_87 | 34 | 0.00082201 | 0.00020601 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_853-1_0_4_load_345 | 35 | 0.0010703 | 0.00026824 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_853-1_0_4_load_100 | 37 | 0.00030814 | 7.7227e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_853-1_0_4_load_102 | 39 | 0.0003878 | 9.7192e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_853-1_0_4_load_103 | 40 | 0.00032673 | 8.1885e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_853-1_0_4_load_104 | 41 | 0.00032746 | 8.207e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_853-1_0_4_load_105 | 43 | 0.00047053 | 0.00011793 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_853-1_0_4_load_106 | 44 | 0.00092566 | 0.00023199 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_853-1_0_4_load_108 | 45 | 0.00059531 | 0.0001492 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_853-1_0_4_load_110 | 46 | 0.0033208 | 0.00083226 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_853-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.26156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_853-1_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.16866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_853-1_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.030124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_853-1_0_4_line_3 | NAYY 4x150 SE | 3 | 36 | 0.2691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_853-1_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.29502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_853-1_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.11282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_853-1_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.58492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_853-1_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.097491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_853-1_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.030081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_853-1_0_4_line_9 | NAYY 4x150 SE | 9 | 12 | 0.14923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_853-1_0_4_line_10 | NAYY 4x150 SE | 10 | 11 | 0.10822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_853-1_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.054546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_853-1_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.12446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_853-1_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.32389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_853-1_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0039818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_853-1_0_4_line_15 | NAYY 4x150 SE | 14 | 25 | 0.051074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_853-1_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.14672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_853-1_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.12011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_853-1_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.13264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_853-1_0_4_line_19 | NAYY 4x150 SE | 18 | 32 | 0.2671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_853-1_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.019129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_853-1_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.34412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_853-1_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.14899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_853-1_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.018477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_853-1_0_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.024535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_853-1_0_4_line_25 | NAYY 4x150 SE | 23 | 36 | 0.2181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_853-1_0_4_line_26 | NAYY 4x150 SE | 24 | 46 | 0.21401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_853-1_0_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.26881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_853-1_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.43193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_853-1_0_4_line_29 | NAYY 4x150 SE | 27 | 42 | 0.11833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_853-1_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.68528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_853-1_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.25722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_853-1_0_4_line_32 | NAYY 4x150 SE | 29 | 34 | 0.037738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_853-1_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.3455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_853-1_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.47961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_853-1_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.36611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_853-1_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.026884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_853-1_0_4_line_37 | NAYY 4x150 SE | 37 | 38 | 0.043316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_853-1_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.09923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_853-1_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.092402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_853-1_0_4_line_40 | NAYY 4x150 SE | 38 | 41 | 0.24071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_853-1_0_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.1287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_853-1_0_4_line_42 | NAYY 4x150 SE | 42 | 45 | 0.10322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_853-1_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.021814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_853-1_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.061725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_853-1_0_4_line_45 | NAYY 4x150 SE | 45 | 46 | 0.46302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_853-1_0_4_trafo_98 | 0.25 MVA 20/0.4 kV | 47 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36
0 | 2597378.4592 | 1177846.4324 | 2597373.3616 | 1177826.8358 | 2597369.9571 | 1177817.3548 | 2597363.6771 | 1177802.2944 | 2597349.2922 | 1177775.0649 | 2597341.5775 | 1177764.0962 | 2597337.8863 | 1177762.7638 | 2597333.9445 | 1177764.9223 | 2597325.6605 | 1177778.8998 | 2597321.3303 | 1177783.8154 | 2597311.4668 | 1177785.7987 | 2597300.7782 | 1177788.1827 | 2597285.0374 | 1177787.0449 | 2597274.5929 | 1177788.3727 | 2597257.7314 | 1177792.705 | 2597236.5056 | 1177794.2047 | 2597227.9809 | 1177799.6226 | 2597222.5674 | 1177807.7515 | 2597221.4485 | 1177816.8678 | 2597226.4032 | 1177824.1358 | 2597239.9046 | 1177832.0233
1 | 2597378.4592 | 1177846.4324 | 2597379.1879 | 1177852.7686 | 2597379.4659 | 1177859.2607 | 2597380.2255 | 1177866.3417 | 2597382.6893 | 1177873.8666 | 2597387.7135 | 1177883.347 | 2597393.2613 | 1177901.6649 | 2597396.8267 | 1177912.4577 | 2597399.1696 | 1177923.1732 | 2597399.3496 | 1177932.8224 | 2597397.994 | 1177942.7726 | 2597395.1181 | 1177953.2125 | 2597393.0065 | 1177963.9411 | 2597388.1942 | 1177984.1424 | 2597384.7986 | 1177994.0489 | 2597380.1877 | 1178003.1223 | 2597377.4087 | 1178008.0594
2 | 2597377.4087 | 1178008.0594 | 2597374.2869 | 1178015.2311 | 2597372.5325 | 1178021.7796 | 2597371.9701 | 1178028.4277 | 2597372.3174 | 1178036.2204 | 2597372.3179 | 1178037.271
3 | 2597155.1604 | 1178171.0018 | 2597156.9465 | 1178167.2657 | 2597159.0537 | 1178164.1853 | 2597162.9032 | 1178161.382 | 2597168.2046 | 1178159.2895 | 2597177.9224 | 1178157.3838 | 2597188.2978 | 1178156.6562 | 2597200.4916 | 1178155.9166 | 2597207.5049 | 1178154.5237 | 2597211.6836 | 1178153.3878 | 2597215.2127 | 1178151.6852 | 2597226.5252 | 1178145.1765 | 2597240.7326 | 1178137.0101 | 2597270.4013 | 1178122.0886 | 2597326.3397 | 1178093.8484 | 2597346.4981 | 1178082.9225 | 2597352.8988 | 1178078.2505 | 2597357.0152 | 1178074.2133 | 2597363.4214 | 1178064.7278 | 2597369.7351 | 1178053.5415 | 2597371.3756 | 1178048.705 | 2597372.3208 | 1178043.6798 | 2597372.3179 | 1178037.271
4 | 2596507.3857 | 1176612.3724 | 2596504.888 | 1176614.6528 | 2596500.2962 | 1176616.9456 | 2596493.5264 | 1176619.2285 | 2596455.3042 | 1176627.8114 | 2596401.9671 | 1176639.194 | 2596379.7158 | 1176644.5882 | 2596369.4849 | 1176648.3075 | 2596361.2488 | 1176652.1367 | 2596353.197 | 1176657.4333 | 2596342.442 | 1176666.1333 | 2596311.4936 | 1176695.5008 | 2596307.7059 | 1176700.1278 | 2596305.6833 | 1176704.2756 | 2596304.2649 | 1176709.1678 | 2596303.581 | 1176715.4381 | 2596304.3593 | 1176725.6873 | 2596307.1432 | 1176741.2045 | 2596307.2924 | 1176747.5298 | 2596306.1738 | 1176755.19 | 2596303.7865 | 1176762.673 | 2596301.3639 | 1176768.9108
5 | 2596215.1407 | 1176828.5183 | 2596217.8115 | 1176822.4024 | 2596221.3615 | 1176816.8306 | 2596224.9045 | 1176812.0815 | 2596229.9607 | 1176807.5538 | 2596235.43 | 1176803.7483 | 2596243.2227 | 1176799.9748 | 2596249.9692 | 1176797.6359 | 2596256.5177 | 1176796.2088 | 2596265.8634 | 1176795.1246 | 2596279.1366 | 1176793.1485 | 2596283.8664 | 1176791.8782 | 2596286.3723 | 1176790.8427 | 2596288.6412 | 1176789.385 | 2596291.093 | 1176787.3602 | 2596293.5522 | 1176784.8685 | 2596295.5374 | 1176781.9102 | 2596297.7665 | 1176778.1736 | 2596301.3639 | 1176768.9108
6 | 2596507.3857 | 1176612.3724 | 2596766.5416 | 1176087.9917
7 | 2596215.1407 | 1176828.5183 | 2596212.8756 | 1176835.7568 | 2596211.4202 | 1176842.2944 | 2596210.6676 | 1176848.4091 | 2596210.5266 | 1176854.9347 | 2596210.7967 | 1176858.9921 | 2596211.5485 | 1176863.5162 | 2596217.6715 | 1176889.9145 | 2596222.4539 | 1176911.2667 | 2596225.0957 | 1176919.4469 | 2596226.7822 | 1176923.3937
8 | 2596240.0194 | 1176950.3795 | 2596238.2264 | 1176946.0298 | 2596231.4934 | 1176933.4499 | 2596228.0117 | 1176926.2707 | 2596226.7822 | 1176923.3937
9 | 2596246.3626 | 1177097.5347 | 2596249.3217 | 1177088.3393 | 2596250.8299 | 1177080.7122 | 2596253.1319 | 1177059.5889 | 2596253.7892 | 1177047.6825 | 2596253.9345 | 1177035.8653 | 2596253.463 | 1177027.5058 | 2596252.0647 | 1177015.8007 | 2596246.4233 | 1176977.2515 | 2596244.7895 | 1176967.7143 | 2596243.1034 | 1176960.1227 | 2596240.7369 | 1176952.1201 | 2596240.0194 | 1176950.3795
10 | 2596294.6602 | 1177122.7936 | 2596301.6768 | 1177126.3698 | 2596307.6224 | 1177126.7774 | 2596313.9438 | 1177129.3414 | 2596317.8745 | 1177133.9191 | 2596329.1507 | 1177141.2713 | 2596348.4304 | 1177152.8985 | 2596365.0376 | 1177168.007 | 2596372.4232 | 1177173.9277 | 2596381.0579 | 1177184.4883
11 | 2596246.3626 | 1177097.5347 | 2596255.5429 | 1177101.4753 | 2596261.8189 | 1177104.7063 | 2596269.2417 | 1177108.937 | 2596281.9619 | 1177115.6769 | 2596293.2682 | 1177122.0841 | 2596294.6602 | 1177122.7936
12 | 2596381.0579 | 1177184.4883 | 2596383.8791 | 1177187.9388 | 2596391.8745 | 1177191.4134 | 2596406.4265 | 1177195.0842 | 2596413.8101 | 1177197.9367 | 2596420.8124 | 1177202.1012 | 2596429.1835 | 1177207.7323 | 2596435.9566 | 1177212.0192 | 2596442.7207 | 1177214.0606 | 2596451.9456 | 1177216.3006 | 2596470.5944 | 1177221.6032 | 2596493.8439 | 1177227.6034 | 2596495.8077 | 1177228.4738
13 | 2596381.0579 | 1177184.4883 | 2596168.395 | 1177428.7752
14 | 2596499.448 | 1177230.0872 | 2596495.8077 | 1177228.4738
15 | 2596137.3044 | 1177467.0483 | 2596149.968 | 1177458.2133 | 2596161.4381 | 1177447.178 | 2596166.3905 | 1177436.7917 | 2596168.395 | 1177428.7752
16 | 2596630.7805 | 1177291.1332 | 2596597.3356 | 1177281.7811 | 2596583.2238 | 1177272.429 | 2596565.3958 | 1177259.0659 | 2596549.8402 | 1177250.8264 | 2596536.1912 | 1177248.9446 | 2596521.8732 | 1177240.0264 | 2596499.448 | 1177230.0872
17 | 2596630.7805 | 1177291.1332 | 2596696.5997 | 1177295.3535 | 2596708.7197 | 1177296.3694 | 2596728.844 | 1177303.6841 | 2596741.2541 | 1177304.044 | 2596748.7104 | 1177300.716
18 | 2596863.017 | 1177322.965 | 2596861.1912 | 1177309.7037 | 2596860.0277 | 1177305.8579 | 2596856.8398 | 1177303.325 | 2596854.2106 | 1177302.4371 | 2596848.151 | 1177302.6515 | 2596841.2668 | 1177304.3339 | 2596832.0762 | 1177308.3297 | 2596811.4841 | 1177311.6871 | 2596801.9842 | 1177309.0798 | 2596792.7207 | 1177305.483 | 2596781.096 | 1177301.9098 | 2596748.7104 | 1177300.716
19 | 2596863.017 | 1177322.965 | 2596914.7897 | 1177296.5129 | 2596952.9663 | 1177280.6627 | 2596998.4596 | 1177271.5679 | 2597027.7166 | 1177266.3948 | 2597045.0383 | 1177262.7509 | 2597045.3079 | 1177267.0751 | 2597044.87 | 1177277.6251 | 2597043.7802 | 1177283.4842 | 2597041.8344 | 1177288.8991 | 2597034.3879 | 1177312.0368 | 2597033.9719 | 1177320.4524 | 2597034.1351 | 1177325.6994 | 2597036.6539 | 1177335.0918
20 | 2596966.6543 | 1178625.7165 | 2596975.4795 | 1178627.8241 | 2596985.4795 | 1178626.7629
21 | 2596981.9095 | 1178281.9338 | 2596966.6543 | 1178625.7165
22 | 2596966.6543 | 1178625.7165 | 2596953.2917 | 1178624.6007 | 2596943.2903 | 1178623.2052 | 2596914.2966 | 1178636.7828 | 2596884.5053 | 1178658.9321 | 2596857.3123 | 1178682.0695 | 2596843.7185 | 1178691.2481 | 2596839.5413 | 1178691.9442
23 | 2596978.0724 | 1178263.86 | 2596981.9095 | 1178281.9338
24 | 2596957.8407 | 1178278.3334 | 2596969.3487 | 1178281.6291 | 2596981.9095 | 1178281.9338
25 | 2597155.1604 | 1178171.0018 | 2597150.5916 | 1178171.3486 | 2597146.2911 | 1178173.5407 | 2597144.1684 | 1178176.1542 | 2597141.8415 | 1178183.3145 | 2597139.7668 | 1178190.4191 | 2597137.042 | 1178196.2012 | 2597134.0106 | 1178199.8934 | 2597129.0081 | 1178203.909 | 2597124.8068 | 1178205.7676 | 2597120.9032 | 1178207.0368 | 2597115.303 | 1178207.6177 | 2597106.8065 | 1178206.7436 | 2597101.8172 | 1178206.6016 | 2597097.3179 | 1178208.2269 | 2597093.0561 | 1178211.4751 | 2597087.3358 | 1178216.2137 | 2597081.951 | 1178219.4847 | 2597071.4931 | 1178223.0806 | 2597064.4115 | 1178225.1519 | 2597057.2149 | 1178226.4117 | 2597049.4068 | 1178226.9937 | 2597040.1931 | 1178228.299 | 2597025.9759 | 1178231.1299 | 2597018.3592 | 1178232.6679 | 2597012.095 | 1178234.372 | 2597007.3743 | 1178236.4643 | 2597003.5935 | 1178238.7452 | 2596999.3843 | 1178239.9924 | 2596994.1204 | 1178240.5621 | 2596990.8889 | 1178241.353 | 2596987.9558 | 1178242.822 | 2596984.9543 | 1178245.1024 | 2596982.8088 | 1178247.8939 | 2596981.191 | 1178251.6744 | 2596979.888 | 1178258.5008 | 2596978.0724 | 1178263.86
26 | 2596957.8407 | 1178278.3334 | 2596949.7056 | 1178281.8727 | 2596942.9377 | 1178284.4553 | 2596936.5284 | 1178286.2707 | 2596925.9478 | 1178288.6108 | 2596920.2488 | 1178289.7366 | 2596914.5492 | 1178289.9508 | 2596909.9878 | 1178289.7309 | 2596905.6248 | 1178288.9439 | 2596896.2869 | 1178286.203 | 2596883.2263 | 1178279.9623 | 2596868.4992 | 1178271.9328 | 2596861.7436 | 1178268.9793 | 2596856.0435 | 1178268.182 | 2596850.9016 | 1178268.2625 | 2596846.8144 | 1178268.9873 | 2596840.7952 | 1178271.4696 | 2596834.257 | 1178275.0194 | 2596824.6105 | 1178280.9498 | 2596814.3304 | 1178287.8367 | 2596803.0433 | 1178297.4255 | 2596796.7814 | 1178303.1541 | 2596787.0684 | 1178313.1311 | 2596781.0054 | 1178319.2042 | 2596776.9352 | 1178322.9861 | 2596773.7962 | 1178325.1445 | 2596770.267 | 1178326.1136
27 | 2596137.3044 | 1177467.0483 | 2596145.8726 | 1177470.4555 | 2596152.441 | 1177477.3992 | 2596161.4671 | 1177491.6894 | 2596166.3866 | 1177501.091 | 2596166.4372 | 1177508.2946 | 2596163.5323 | 1177518.246 | 2596163.1234 | 1177523.9714 | 2596165.5874 | 1177529.2836 | 2596173.0109 | 1177535.2596 | 2596186.9526 | 1177541.387 | 2596196.339 | 1177546.0166 | 2596204.1386 | 1177554.5937 | 2596222.9997 | 1177570.5118 | 2596242.3181 | 1177584.6622 | 2596260.7334 | 1177596.6454 | 2596270.1568 | 1177599.4965 | 2596276.1393 | 1177598.6923 | 2596280.6449 | 1177594.5095 | 2596289.4851 | 1177581.3417 | 2596298.023 | 1177573.4434 | 2596306.256 | 1177566.7793 | 2596307.8039 | 1177561.509 | 2596303.7554 | 1177551.6065
28 | 2596303.7554 | 1177551.6065 | 2596368.6413 | 1177978.6384
29 | 2596368.6413 | 1177978.6384 | 2596348.9812 | 1178002.1403 | 2596331.1707 | 1178038.7144 | 2596321.343 | 1178047.9141 | 2596312.8176 | 1178062.4824 | 2596309.4054 | 1178067.5205 | 2596307.4356 | 1178069.7895 | 2596305.0607 | 1178071.9032 | 2596301.5937 | 1178074.7624
30 | 2597688.5798 | 1176735.4932 | 2598370.0589 | 1176663.4022
31 | 2597498.5375 | 1176908.8373 | 2597688.5798 | 1176735.4932
32 | 2598370.0589 | 1176663.4022 | 2598368.6325 | 1176672.9185 | 2598369.9795 | 1176679.8216 | 2598372.6721 | 1176688.7032 | 2598379.328 | 1176698.4483
33 | 2597423.678 | 1177051.8202 | 2597431.9779 | 1177036.3643 | 2597434.4354 | 1177029.015 | 2597432.7906 | 1177024.9248 | 2597422.9556 | 1177025.3404 | 2597414.7549 | 1177023.2986 | 2597413.109 | 1177016.7627 | 2597414.3359 | 1177008.9915 | 2597421.3217 | 1176994.1142 | 2597431.54 | 1176979.1577 | 2597433.585 | 1176972.2088 | 2597429.9143 | 1176966.3297 | 2597420.0529 | 1176959.1415 | 2597416.3806 | 1176949.5716 | 2597421.688 | 1176941.1539 | 2597433.162 | 1176931.3438 | 2597435.6193 | 1176923.5722 | 2597433.1564 | 1176918.6708 | 2597424.9786 | 1176916.8846 | 2597415.9682 | 1176915.8658 | 2597406.5373 | 1176914.4359 | 2597398.9474 | 1176911.3711 | 2597395.8736 | 1176907.6928 | 2597395.4671 | 1176904.2246 | 2597399.5614 | 1176900.1318 | 2597410.2167 | 1176888.0765 | 2597419.4048 | 1176875.9774 | 2597424.7606 | 1176873.1514 | 2597435.3895 | 1176870.2452 | 2597442.9702 | 1176869.6305 | 2597450.1783 | 1176873.3514 | 2597462.2793 | 1176881.517 | 2597469.8321 | 1176886.9831 | 2597478.4715 | 1176895.8061 | 2597498.5375 | 1176908.8373
34 | 2597036.6539 | 1177335.0918 | 2597423.678 | 1177051.8202
35 | 2597423.678 | 1177051.8202 | 2597755.2347 | 1177207.0727
36 | 2597755.2347 | 1177207.0727 | 2597759.6007 | 1177233.5956
37 | 2595956.2721 | 1178099.0464 | 2595952.7121 | 1178099.8159 | 2595945.9659 | 1178100.3653 | 2595941.16 | 1178100.4353 | 2595933.4271 | 1178099.3623 | 2595922.1625 | 1178095.8349 | 2595915.6131 | 1178093.6939 | 2595914.0652 | 1178093.2972
38 | 2595956.2721 | 1178099.0464 | 2595959.2561 | 1178094.1085 | 2595959.9491 | 1178090.6952 | 2595958.8844 | 1178086.8495 | 2595957.0257 | 1178083.916 | 2595953.1501 | 1178081.1505 | 2595948.1128 | 1178078.0858 | 2595943.0371 | 1178074.543 | 2595939.8245 | 1178069.4649 | 2595937.8415 | 1178063.4743 | 2595938.0026 | 1178042.3079 | 2595939.244 | 1178036.4374 | 2595941.7377 | 1178029.4988 | 2595945.6583 | 1178019.9024 | 2595947.0814 | 1178011.5416
39 | 2595956.2721 | 1178099.0464 | 2595960.1305 | 1178098.9326 | 2595962.2923 | 1178098.3641 | 2595968.3575 | 1178096.2923 | 2595977.1559 | 1178091.1614 | 2595981.7463 | 1178088.8571 | 2595985.6962 | 1178088.4875 | 2595990.5868 | 1178089.3736 | 2595994.706 | 1178090.8159 | 2595999.482 | 1178091.8465 | 2596005.9537 | 1178091.9533 | 2596022.8304 | 1178090.0854 | 2596033.1295 | 1178089.5782 | 2596041.3498 | 1178088.2497 | 2596045.5117 | 1178087.1811
40 | 2595956.2721 | 1178099.0464 | 2595959.8411 | 1178100.4002 | 2595963.9369 | 1178101.031 | 2595969.4153 | 1178101.3163 | 2595975.9475 | 1178100.5781 | 2595983.0915 | 1178100.7511 | 2595988.1117 | 1178101.2257 | 2595993.1322 | 1178102.3117 | 2596002.379 | 1178104.8956 | 2596011.4812 | 1178108.2356 | 2596023.5172 | 1178111.5403 | 2596043.6379 | 1178116.3514 | 2596064.523 | 1178121.6845 | 2596071.7822 | 1178122.6691 | 2596078.353 | 1178122.6647 | 2596083.3878 | 1178122.1833 | 2596089.637 | 1178121.1008 | 2596099.3156 | 1178118.2374 | 2596107.7567 | 1178115.6416 | 2596114.9758 | 1178113.9471 | 2596121.5696 | 1178113.9649 | 2596128.5538 | 1178115.1165 | 2596133.8491 | 1178115.7133 | 2596138.8454 | 1178114.8652 | 2596143.6497 | 1178112.4385 | 2596147.6969 | 1178108.9341 | 2596155.7211 | 1178099.8687 | 2596162.5999 | 1178091.7045 | 2596169.3582 | 1178086.2307 | 2596175.9726 | 1178082.5689 | 2596179.4463 | 1178080.8765
41 | 2596301.5937 | 1178074.7624 | 2596297.5826 | 1178075.1095 | 2596289.4455 | 1178075.1925 | 2596281.5675 | 1178074.3193 | 2596275.0571 | 1178073.3229 | 2596268.4935 | 1178072.7267 | 2596263.7488 | 1178072.9854 | 2596258.8284 | 1178073.1664 | 2596254.1137 | 1178072.4691 | 2596238.3474 | 1178066.4539 | 2596231.3397 | 1178064.4017 | 2596224.1034 | 1178063.417 | 2596215.0725 | 1178063.7785 | 2596207.9522 | 1178064.8948 | 2596200.6718 | 1178066.6004 | 2596195.2257 | 1178069.1385 | 2596189.9185 | 1178073.6998 | 2596183.8551 | 1178078.7285 | 2596179.4463 | 1178080.8765
42 | 2596397.583 | 1178051.3464 | 2596370.4074 | 1178066.9266 | 2596340.8001 | 1178079.0845 | 2596335.7812 | 1178080.555 | 2596330.7998 | 1178080.9028 | 2596324.2892 | 1178079.6729 | 2596318.1909 | 1178077.8536 | 2596311.8023 | 1178076.0344 | 2596305.3455 | 1178075.1936 | 2596301.5937 | 1178074.7624
43 | 2596301.5937 | 1178074.7624 | 2596304.7828 | 1178079.5517 | 2596307.2006 | 1178084.8862 | 2596307.5922 | 1178087.9987 | 2596307.733 | 1178093.2235 | 2596307.5928 | 1178095.0574
44 | 2596307.5928 | 1178095.0574 | 2596307.1192 | 1178101.2502 | 2596306.7041 | 1178109.4657 | 2596306.6245 | 1178116.5138 | 2596307.1713 | 1178123.417 | 2596308.4812 | 1178128.8078 | 2596310.3485 | 1178133.6201 | 2596312.3138 | 1178136.3092 | 2596314.6534 | 1178138.7756 | 2596319.3619 | 1178141.9854 | 2596327.0812 | 1178145.8714 | 2596328.487 | 1178146.4861
45 | 2596770.267 | 1178326.1136 | 2596397.583 | 1178051.3464

## bus_geodata
| x | y | coords
0 | 2597239.9046 | 1177832.0233
1 | 2597378.4592 | 1177846.4324
2 | 2597377.4087 | 1178008.0594
3 | 2597372.3179 | 1178037.271
4 | 2596301.3639 | 1176768.9108
5 | 2596507.3857 | 1176612.3724
6 | 2596215.1407 | 1176828.5183
7 | 2596766.5416 | 1176087.9917
8 | 2596226.7822 | 1176923.3937
9 | 2596240.0194 | 1176950.3795
10 | 2596294.6602 | 1177122.7936
11 | 2596381.0579 | 1177184.4883
12 | 2596246.3626 | 1177097.5347
13 | 2596495.8077 | 1177228.4738
14 | 2596168.395 | 1177428.7752
15 | 2596499.448 | 1177230.0872
16 | 2596630.7805 | 1177291.1332
17 | 2596748.7104 | 1177300.716
18 | 2596863.017 | 1177322.965
19 | 2596985.4795 | 1178626.7629
20 | 2596966.6543 | 1178625.7165
21 | 2596981.9095 | 1178281.9338
22 | 2596839.5413 | 1178691.9442
23 | 2596978.0724 | 1178263.86
24 | 2596957.8407 | 1178278.3334
25 | 2596137.3044 | 1177467.0483
26 | 2596303.7554 | 1177551.6065
27 | 2596368.6413 | 1177978.6384
28 | 2597688.5798 | 1176735.4932
29 | 2598370.0589 | 1176663.4022
30 | 2597498.5375 | 1176908.8373
31 | 2597423.678 | 1177051.8202
32 | 2597036.6539 | 1177335.0918
33 | 2597755.2347 | 1177207.0727
34 | 2598379.328 | 1176698.4483
35 | 2597759.6007 | 1177233.5956
36 | 2597155.1604 | 1178171.0018
37 | 2595914.0652 | 1178093.2972
38 | 2595956.2721 | 1178099.0464
39 | 2595947.0814 | 1178011.5416
40 | 2596045.5117 | 1178087.1811
41 | 2596179.4463 | 1178080.8765
42 | 2596301.5937 | 1178074.7624
43 | 2596307.5928 | 1178095.0574
44 | 2596328.487 | 1178146.4861
45 | 2596397.583 | 1178051.3464
46 | 2596770.267 | 1178326.1136
47 | 2596863.017 | 1177322.965

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1