## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_879-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_879-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_879-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_879-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_879-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_879-11_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_879-11_0_3_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_879-11_0_3_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_879-11_0_3_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_879-11_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_879-11_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_879-11_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_879-11_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_879-11_0_3_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_879-11_0_3_node_89 | 0.4 | n |  | TRUE
15 | bus_LV_879-11_0_3_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_879-11_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_879-11_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_879-11_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_879-11_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_879-11_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_879-11_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_879-11_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_879-11_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_879-11_0_3_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_879-11_0_3_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_879-11_0_3_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_879-11_0_3_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_879-11_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_879-11_0_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_879-11_0_3_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_879-11_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_879-11_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_879-11_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_879-11_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_879-11_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_879-11_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_879-11_0_3_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_879-11_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_879-11_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_879-11_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_879-11_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_879-11_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_879-11_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_879-11_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_879-11_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_879-11_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_879-11_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_879-11_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_879-11_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_879-11_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_879-11_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_879-11_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_879-11_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_879-11_0_3_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_879-11_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_879-11_0_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_879-11_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_879-11_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_879-11_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_879-11_0_3_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_879-11_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_879-11_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_879-11_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_879-11_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_879-11_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_879-11_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_879-11_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_879-11_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_879-11_0_3_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_879-11_0_3_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_879-11_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_879-11_0_3_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_879-11_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_879-11_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_879-11_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_879-11_0_3_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_879-11_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_879-11_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_879-11_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_879-11_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_879-11_0_3_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_879-11_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_879-11_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_879-11_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_879-11_0_3_node_85 | 0.4 | n |  | TRUE
86 | bus_MV_122_1_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_879-11_0_3_load_0 | 0 | 0.0015977 | 0.00040042 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_879-11_0_3_load_1 | 1 | 0.0015982 | 0.00040054 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_879-11_0_3_load_2 | 2 | 0.0012901 | 0.00032333 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_879-11_0_3_load_3 | 3 | 0.0015577 | 0.00039041 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_879-11_0_3_load_4 | 4 | 0.0012896 | 0.00032321 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_879-11_0_3_load_9 | 5 | 0.0043819 | 0.0010982 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_879-11_0_3_load_66 | 6 | 0.0052919 | 0.0013263 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_879-11_0_3_load_83 | 8 | 0.0013214 | 0.00033117 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_879-11_0_3_load_7 | 9 | 0.0015572 | 0.00039027 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_879-11_0_3_load_5 | 10 | 0.0016026 | 0.00040165 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_879-11_0_3_load_6 | 11 | 0.0015529 | 0.00038919 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_879-11_0_3_load_8 | 12 | 0.001525 | 0.00038219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_879-11_0_3_load_80 | 13 | 0.0015246 | 0.00038209 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_879-11_0_3_load_89 | 14 | 0.0023431 | 0.00058723 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_879-11_0_3_load_81 | 15 | 0.0015255 | 0.00038232 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_879-11_0_3_load_10 | 16 | 0.0028143 | 0.00070533 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_879-11_0_3_load_11 | 17 | 0.0054129 | 0.0013566 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_879-11_0_3_load_14 | 20 | 0.0019605 | 0.00049136 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_879-11_0_3_load_18 | 22 | 0.0013826 | 0.00034651 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_879-11_0_3_load_16 | 23 | 0.0035661 | 0.00089375 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_879-11_0_3_load_65 | 24 | 0.002844 | 0.00071278 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_879-11_0_3_load_87 | 25 | 0.0015452 | 0.00038725 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_879-11_0_3_load_82 | 26 | 0.0015518 | 0.00038893 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_879-11_0_3_load_72 | 27 | 0.0014186 | 0.00035554 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_879-11_0_3_load_17 | 28 | 0.007112 | 0.0017824 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_879-11_0_3_load_64 | 29 | 0.0023343 | 0.00058503 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_879-11_0_3_load_70 | 30 | 0.001479 | 0.00037067 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_879-11_0_3_load_19 | 31 | 0.0035044 | 0.00087829 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_879-11_0_3_load_21 | 32 | 0.0033535 | 0.00084047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_879-11_0_3_load_20 | 33 | 0.0026145 | 0.00065525 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_879-11_0_3_load_23 | 35 | 0.0025674 | 0.00064346 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_879-11_0_3_load_31 | 36 | 0.0038835 | 0.0009733 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_879-11_0_3_load_44 | 37 | 0.0056971 | 0.0014278 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_879-11_0_3_load_35 | 38 | 0.0023463 | 0.00058804 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_879-11_0_3_load_45 | 39 | 0.0035204 | 0.0008823 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_879-11_0_3_load_24 | 40 | 0.0052989 | 0.001328 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_879-11_0_3_load_25 | 41 | 0.0016298 | 0.00040847 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_879-11_0_3_load_27 | 43 | 0.0040707 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_879-11_0_3_load_29 | 45 | 0.0024454 | 0.00061289 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_879-11_0_3_load_30 | 46 | 0.003761 | 0.00094261 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_879-11_0_3_load_42 | 48 | 0.0024425 | 0.00061215 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_879-11_0_3_load_32 | 49 | 0.0036947 | 0.00092598 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_879-11_0_3_load_43 | 50 | 0.0040203 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_879-11_0_3_load_41 | 52 | 0.0055838 | 0.0013994 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_879-11_0_3_load_33 | 53 | 0.0043 | 0.0010777 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_879-11_0_3_load_62 | 55 | 0.0044077 | 0.0011047 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_879-11_0_3_load_61 | 56 | 0.0015988 | 0.00040069 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_879-11_0_3_load_36 | 57 | 0.0029532 | 0.00074013 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_879-11_0_3_load_37 | 58 | 0.005502 | 0.0013789 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_879-11_0_3_load_38 | 59 | 0.0037654 | 0.0009437 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_879-11_0_3_load_59 | 61 | 0.0044362 | 0.0011118 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_879-11_0_3_load_50 | 62 | 0.0048793 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_879-11_0_3_load_54 | 63 | 0.0024795 | 0.00062143 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_879-11_0_3_load_48 | 64 | 0.0035037 | 0.00087811 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_879-11_0_3_load_55 | 65 | 0.002481 | 0.0006218 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_879-11_0_3_load_47 | 66 | 0.0050981 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_879-11_0_3_load_49 | 67 | 0.0035056 | 0.00087859 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_879-11_0_3_load_51 | 68 | 0.00093095 | 0.00023332 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_879-11_0_3_load_52 | 69 | 0.0040872 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_879-11_0_3_load_53 | 70 | 0.0018412 | 0.00046145 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_879-11_0_3_load_57 | 71 | 0.00062653 | 0.00015702 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_879-11_0_3_load_77 | 72 | 0.0018409 | 0.00046137 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_879-11_0_3_load_56 | 73 | 0.0041355 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_879-11_0_3_load_58 | 74 | 0.0062812 | 0.0015742 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_879-11_0_3_load_78 | 75 | 0.0023402 | 0.0005865 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_879-11_0_3_load_60 | 76 | 0.001323 | 0.00033156 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_879-11_0_3_load_63 | 77 | 0.00054035 | 0.00013543 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_879-11_0_3_load_69 | 78 | 0.0026272 | 0.00065843 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_879-11_0_3_load_73 | 80 | 0.001859 | 0.0004659 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_879-11_0_3_load_75 | 82 | 0.00076618 | 0.00019202 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_879-11_0_3_load_76 | 83 | 0.00056148 | 0.00014072 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_879-11_0_3_load_85 | 85 | 0.0014149 | 0.00035461 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_879-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_879-11_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0046904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_879-11_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0060028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_879-11_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0058931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_879-11_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0032148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_879-11_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.0038947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_879-11_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.002711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_879-11_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.036167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_879-11_0_3_line_8 | NAYY 4x150 SE | 7 | 12 | 0.038825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_879-11_0_3_line_9 | NAYY 4x150 SE | 7 | 14 | 0.05664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_879-11_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0060141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_879-11_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.015383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_879-11_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0059164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_879-11_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.005859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_879-11_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0058591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_879-11_0_3_line_15 | NAYY 4x150 SE | 15 | 26 | 0.0059118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_879-11_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.071629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_879-11_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.034091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_879-11_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.017609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_879-11_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.012406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_879-11_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.007683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_879-11_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.014297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_879-11_0_3_line_22 | NAYY 4x150 SE | 19 | 23 | 0.023643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_879-11_0_3_line_23 | NAYY 4x150 SE | 20 | 24 | 0.035529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_879-11_0_3_line_24 | NAYY 4x150 SE | 20 | 25 | 0.044421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_879-11_0_3_line_25 | NAYY 4x150 SE | 21 | 26 | 0.020128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_879-11_0_3_line_26 | NAYY 4x150 SE | 22 | 27 | 0.01797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_879-11_0_3_line_27 | NAYY 4x150 SE | 23 | 28 | 0.035256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_879-11_0_3_line_28 | NAYY 4x150 SE | 24 | 29 | 0.029317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_879-11_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.0084266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_879-11_0_3_line_30 | NAYY 4x150 SE | 29 | 61 | 0.058574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_879-11_0_3_line_31 | NAYY 4x150 SE | 30 | 78 | 0.025246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_879-11_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.027117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_879-11_0_3_line_33 | NAYY 4x150 SE | 32 | 35 | 0.008528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_879-11_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.026231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_879-11_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.04602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_879-11_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.015079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_879-11_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.018371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_879-11_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.016612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_879-11_0_3_line_39 | NAYY 4x150 SE | 38 | 43 | 0.01618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_879-11_0_3_line_40 | NAYY 4x150 SE | 39 | 47 | 0.027724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_879-11_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0013478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_879-11_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.023848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_879-11_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.021396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_879-11_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.025192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_879-11_0_3_line_45 | NAYY 4x150 SE | 42 | 45 | 0.030371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_879-11_0_3_line_46 | NAYY 4x150 SE | 42 | 46 | 0.013183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_879-11_0_3_line_47 | NAYY 4x150 SE | 44 | 47 | 0.038374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_879-11_0_3_line_48 | NAYY 4x150 SE | 44 | 48 | 0.021308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_879-11_0_3_line_49 | NAYY 4x150 SE | 45 | 49 | 0.020245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_879-11_0_3_line_50 | NAYY 4x150 SE | 46 | 50 | 0.016319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_879-11_0_3_line_51 | NAYY 4x150 SE | 47 | 51 | 0.008125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_879-11_0_3_line_52 | NAYY 4x150 SE | 48 | 52 | 0.0071314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_879-11_0_3_line_53 | NAYY 4x150 SE | 49 | 53 | 0.0061718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_879-11_0_3_line_54 | NAYY 4x150 SE | 51 | 61 | 0.017441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_879-11_0_3_line_55 | NAYY 4x150 SE | 51 | 58 | 0.0056815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_879-11_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.070523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_879-11_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.060129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_879-11_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.025733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_879-11_0_3_line_59 | NAYY 4x150 SE | 56 | 76 | 0.031402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_879-11_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.019845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_879-11_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.030055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_879-11_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.012068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_879-11_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.010322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_879-11_0_3_line_64 | NAYY 4x150 SE | 60 | 63 | 0.018038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_879-11_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.0261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_879-11_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.00023017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_879-11_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.00091042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_879-11_0_3_line_68 | NAYY 4x150 SE | 65 | 73 | 0.010413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_879-11_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.0076116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_879-11_0_3_line_70 | NAYY 4x150 SE | 67 | 68 | 0.016844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_879-11_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0067555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_879-11_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.022691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_879-11_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.00089087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_879-11_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.029927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_879-11_0_3_line_75 | NAYY 4x150 SE | 72 | 75 | 0.0029825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_879-11_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.025335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_879-11_0_3_line_77 | NAYY 4x150 SE | 75 | 84 | 0.017284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_879-11_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.075632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_879-11_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.01997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_879-11_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0090125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_879-11_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.041424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_879-11_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.025832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_879-11_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0015648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_879-11_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.015873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_879-11_0_3_trafo_37 | 0.25 MVA 20/0.4 kV | 86 | 58 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2603291.867 | 1184370.3124 | 2603277.9372 | 1184368.312
1 | 2603291.867 | 1184370.3124 | 2603291.9732 | 1184370.3277 | 2603296.4445 | 1184371.3335
2 | 2603271.9954 | 1184367.4587 | 2603277.9372 | 1184368.312
3 | 2603302.194 | 1184372.6269 | 2603296.4445 | 1184371.3335
4 | 2603268.8133 | 1184367.0017 | 2603271.9954 | 1184367.4587
5 | 2603305.9014 | 1184373.8057 | 2603303.0696 | 1184372.8238 | 2603302.194 | 1184372.6269
6 | 2603268.8133 | 1184367.0017 | 2603266.1298 | 1184366.6163
7 | 2603246.042 | 1184324.5351 | 2603261.8644 | 1184324.5658 | 2603282.205 | 1184324.9519
8 | 2603239.0937 | 1184362.7337 | 2603246.042 | 1184324.5351
9 | 2603246.042 | 1184324.5351 | 2603258.7339 | 1184269.3357
10 | 2603260.1767 | 1184365.7614 | 2603266.1298 | 1184366.6163
11 | 2603260.1767 | 1184365.7614 | 2603244.95 | 1184363.5747
12 | 2603244.95 | 1184363.5747 | 2603239.0937 | 1184362.7337
13 | 2603239.0937 | 1184362.7337 | 2603233.2942 | 1184361.9008
14 | 2603227.4946 | 1184361.0679 | 2603233.2942 | 1184361.9008
15 | 2603221.6429 | 1184360.2276 | 2603227.4946 | 1184361.0679
16 | 2603237.9576 | 1184382.2056 | 2603253.0818 | 1184391.5512 | 2603297.2863 | 1184422.3048
17 | 2603208.6899 | 1184364.725 | 2603236.8222 | 1184381.504 | 2603237.9576 | 1184382.2056
18 | 2603311.6162 | 1184432.537 | 2603303.2467 | 1184426.4516 | 2603297.2863 | 1184422.3048
19 | 2603208.6899 | 1184364.725 | 2603210.4031 | 1184372.6967 | 2603213.9646 | 1184375.0193
20 | 2603202.2197 | 1184360.5528 | 2603208.6899 | 1184364.725
21 | 2603311.6162 | 1184432.537 | 2603324.3022 | 1184439.1313
22 | 2603311.6162 | 1184432.537 | 2603332.5961 | 1184435.6833 | 2603334.9984 | 1184436.0417
23 | 2603237.4284 | 1184401.0936 | 2603224.2585 | 1184382.5646 | 2603220.7416 | 1184379.4389 | 2603213.9646 | 1184375.0193
24 | 2603213.9646 | 1184375.0193 | 2603180.9325 | 1184404.72
25 | 2603202.2197 | 1184360.5528 | 2603203.3727 | 1184359.564 | 2603204.8233 | 1184358.8422 | 2603206.9301 | 1184358.3875 | 2603209.8762 | 1184358.5892 | 2603212.7993 | 1184358.9576 | 2603221.6429 | 1184360.2276
26 | 2603324.3022 | 1184439.1313 | 2603332.4469 | 1184443.365 | 2603340.6914 | 1184446.4136
27 | 2603369.7312 | 1184442.015 | 2603355.9342 | 1184439.1645 | 2603334.9984 | 1184436.0417
28 | 2603251.6311 | 1184426.5676 | 2603245.3162 | 1184412.191 | 2603237.4284 | 1184401.0936
29 | 2603348.595 | 1184449.3361 | 2603340.6914 | 1184446.4136
30 | 2603274.7073 | 1184480.398 | 2603268.7652 | 1184465.5754 | 2603251.6311 | 1184426.5676
31 | 2603372.2736 | 1184458.0919 | 2603348.595 | 1184449.3361
32 | 2603220.9863 | 1184460.0728 | 2603196.0929 | 1184449.3191
33 | 2603228.529 | 1184464.0521 | 2603221.0045 | 1184460.0806 | 2603220.9863 | 1184460.0728
34 | 2603124.4566 | 1184485.6771 | 2603143.0209 | 1184467.146
35 | 2603124.4566 | 1184485.6771 | 2603150.3426 | 1184491.5379 | 2603160.6221 | 1184494.0778 | 2603169.0059 | 1184497.0364
36 | 2603228.529 | 1184464.0521 | 2603241.864 | 1184471.0905
37 | 2603169.0059 | 1184497.0364 | 2603170.4966 | 1184497.5625 | 2603180.3629 | 1184502.0921 | 2603185.352 | 1184505.305
38 | 2603241.864 | 1184471.0905 | 2603256.5555 | 1184478.8448
39 | 2603198.5607 | 1184514.6094 | 2603193.8905 | 1184510.8037 | 2603185.352 | 1184505.305
40 | 2603273.5555 | 1184499.4065 | 2603270.1489 | 1184489.9887 | 2603260.7887 | 1184481.0792 | 2603256.5555 | 1184478.8448
41 | 2603214.5033 | 1184528.8498 | 2603215.4712 | 1184529.7877
42 | 2603231.6514 | 1184547.2978 | 2603218.2188 | 1184532.4498 | 2603215.4712 | 1184529.7877
43 | 2603198.5607 | 1184514.6094 | 2603206.3946 | 1184520.9932 | 2603214.5033 | 1184528.8498
44 | 2603231.6514 | 1184547.2978 | 2603237.8297 | 1184540.253 | 2603248.2084 | 1184528.2746
45 | 2603231.6514 | 1184547.2978 | 2603237.0059 | 1184553.7595 | 2603249.7143 | 1184571.692
46 | 2603231.6514 | 1184547.2978 | 2603223.1452 | 1184554.6416 | 2603222.5199 | 1184556.4835
47 | 2603273.5555 | 1184499.4065 | 2603257.9531 | 1184517.3297 | 2603249.583 | 1184526.6856 | 2603248.2084 | 1184528.2746
48 | 2603248.2084 | 1184528.2746 | 2603260.376 | 1184539.4423 | 2603264.5283 | 1184541.8341
49 | 2603249.7143 | 1184571.692 | 2603258.9552 | 1184584.7316 | 2603260.8645 | 1184588.5429
50 | 2603217.2745 | 1184571.9363 | 2603222.5199 | 1184556.4835
51 | 2603273.5555 | 1184499.4065 | 2603281.1971 | 1184496.5869
52 | 2603270.7079 | 1184545.3936 | 2603264.5283 | 1184541.8341
53 | 2603263.6288 | 1184594.0611 | 2603260.8645 | 1184588.5429
54 | 2603281.1971 | 1184496.5869 | 2603274.7073 | 1184480.398
55 | 2603281.1971 | 1184496.5869 | 2603286.8772 | 1184496.7114
56 | 2603232.7962 | 1184648.5951 | 2603245.6679 | 1184641.3204 | 2603253.906 | 1184635.7107 | 2603259.5264 | 1184629.8663 | 2603263.0174 | 1184624.0985 | 2603266.0902 | 1184615.529 | 2603266.3474 | 1184605.524 | 2603265.7771 | 1184601.4438 | 2603263.6288 | 1184594.0611 | 2603263.6288 | 1184594.0611
57 | 2603232.7962 | 1184648.5951 | 2603246.278 | 1184656.7397 | 2603277.0056 | 1184670.063 | 2603286.9876 | 1184674.4069
58 | 2603310.5837 | 1184684.6751 | 2603286.9876 | 1184674.4069
59 | 2603336.8603 | 1184701.5924 | 2603318.3392 | 1184688.0501 | 2603310.5837 | 1184684.6751
60 | 2603305.7337 | 1184502.1448 | 2603304.084 | 1184501.2794 | 2603291.5999 | 1184496.8149 | 2603286.8772 | 1184496.7114
61 | 2603305.7337 | 1184502.1448 | 2603332.3493 | 1184516.1055
62 | 2603343.0361 | 1184521.7111 | 2603332.3493 | 1184516.1055
63 | 2603343.0361 | 1184521.7111 | 2603352.1677 | 1184526.5228
64 | 2603343.0361 | 1184521.7111 | 2603334.8945 | 1184537.8067
65 | 2603375.2581 | 1184538.6899 | 2603352.1677 | 1184526.5228
66 | 2603334.7907 | 1184538.0121 | 2603334.8945 | 1184537.8067
67 | 2603375.2581 | 1184538.6899 | 2603376.0635 | 1184539.1143
68 | 2603330.0905 | 1184547.3041 | 2603334.7907 | 1184538.0121
69 | 2603376.0635 | 1184539.1143 | 2603382.7975 | 1184542.6626
70 | 2603397.6993 | 1184550.5148 | 2603382.7975 | 1184542.6626
71 | 2603397.6993 | 1184550.5148 | 2603403.6758 | 1184553.664
72 | 2603403.6758 | 1184553.664 | 2603423.7505 | 1184564.2419
73 | 2603423.7505 | 1184564.2419 | 2603424.5386 | 1184564.6572
74 | 2603424.5386 | 1184564.6572 | 2603430.7668 | 1184567.9391 | 2603448.9665 | 1184581.8168
75 | 2603448.9665 | 1184581.8168 | 2603451.3381 | 1184583.6252
76 | 2603318.6551 | 1184569.9116 | 2603330.0905 | 1184547.3041
77 | 2603465.082 | 1184594.1052 | 2603451.3381 | 1184583.6252
78 | 2603336.8603 | 1184701.5924 | 2603394.6301 | 1184750.4064
79 | 2603390.5019 | 1184466.1864 | 2603379.5066 | 1184460.7664 | 2603372.2736 | 1184458.0919
80 | 2603390.5019 | 1184466.1864 | 2603398.5244 | 1184470.293
81 | 2603435.3981 | 1184489.1678 | 2603398.5244 | 1184470.293
82 | 2603435.3981 | 1184489.1678 | 2603422.7773 | 1184511.7072
83 | 2603422.0128 | 1184513.0726 | 2603422.7773 | 1184511.7072
84 | 2603465.082 | 1184594.1052 | 2603477.7051 | 1184603.728

## bus_geodata
| x | y | coords
0 | 2603291.867 | 1184370.3124
1 | 2603277.9372 | 1184368.312
2 | 2603296.4445 | 1184371.3335
3 | 2603271.9954 | 1184367.4587
4 | 2603302.194 | 1184372.6269
5 | 2603268.8133 | 1184367.0017
6 | 2603282.205 | 1184324.9519
7 | 2603246.042 | 1184324.5351
8 | 2603305.9014 | 1184373.8057
9 | 2603266.1298 | 1184366.6163
10 | 2603260.1767 | 1184365.7614
11 | 2603244.95 | 1184363.5747
12 | 2603239.0937 | 1184362.7337
13 | 2603233.2942 | 1184361.9008
14 | 2603258.7339 | 1184269.3357
15 | 2603227.4946 | 1184361.0679
16 | 2603237.9576 | 1184382.2056
17 | 2603297.2863 | 1184422.3048
18 | 2603208.6899 | 1184364.725
19 | 2603311.6162 | 1184432.537
20 | 2603213.9646 | 1184375.0193
21 | 2603202.2197 | 1184360.5528
22 | 2603324.3022 | 1184439.1313
23 | 2603334.9984 | 1184436.0417
24 | 2603237.4284 | 1184401.0936
25 | 2603180.9325 | 1184404.72
26 | 2603221.6429 | 1184360.2276
27 | 2603340.6914 | 1184446.4136
28 | 2603369.7312 | 1184442.015
29 | 2603251.6311 | 1184426.5676
30 | 2603348.595 | 1184449.3361
31 | 2603196.0929 | 1184449.3191
32 | 2603220.9863 | 1184460.0728
33 | 2603143.0209 | 1184467.146
34 | 2603124.4566 | 1184485.6771
35 | 2603228.529 | 1184464.0521
36 | 2603169.0059 | 1184497.0364
37 | 2603241.864 | 1184471.0905
38 | 2603185.352 | 1184505.305
39 | 2603256.5555 | 1184478.8448
40 | 2603215.4712 | 1184529.7877
41 | 2603214.5033 | 1184528.8498
42 | 2603231.6514 | 1184547.2978
43 | 2603198.5607 | 1184514.6094
44 | 2603248.2084 | 1184528.2746
45 | 2603249.7143 | 1184571.692
46 | 2603222.5199 | 1184556.4835
47 | 2603273.5555 | 1184499.4065
48 | 2603264.5283 | 1184541.8341
49 | 2603260.8645 | 1184588.5429
50 | 2603217.2745 | 1184571.9363
51 | 2603281.1971 | 1184496.5869
52 | 2603270.7079 | 1184545.3936
53 | 2603263.6288 | 1184594.0611
54 | 2603232.7962 | 1184648.5951
55 | 2603286.9876 | 1184674.4069
56 | 2603310.5837 | 1184684.6751
57 | 2603305.7337 | 1184502.1448
58 | 2603286.8772 | 1184496.7114
59 | 2603332.3493 | 1184516.1055
60 | 2603343.0361 | 1184521.7111
61 | 2603274.7073 | 1184480.398
62 | 2603352.1677 | 1184526.5228
63 | 2603334.8945 | 1184537.8067
64 | 2603375.2581 | 1184538.6899
65 | 2603334.7907 | 1184538.0121
66 | 2603376.0635 | 1184539.1143
67 | 2603382.7975 | 1184542.6626
68 | 2603397.6993 | 1184550.5148
69 | 2603403.6758 | 1184553.664
70 | 2603423.7505 | 1184564.2419
71 | 2603424.5386 | 1184564.6572
72 | 2603448.9665 | 1184581.8168
73 | 2603330.0905 | 1184547.3041
74 | 2603318.6551 | 1184569.9116
75 | 2603451.3381 | 1184583.6252
76 | 2603336.8603 | 1184701.5924
77 | 2603394.6301 | 1184750.4064
78 | 2603372.2736 | 1184458.0919
79 | 2603390.5019 | 1184466.1864
80 | 2603398.5244 | 1184470.293
81 | 2603435.3981 | 1184489.1678
82 | 2603422.7773 | 1184511.7072
83 | 2603422.0128 | 1184513.0726
84 | 2603465.082 | 1184594.1052
85 | 2603477.7051 | 1184603.728
86 | 2603281.1971 | 1184496.5869

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1