## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_879-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_879-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_879-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_879-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_879-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_879-12_0_3_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_879-12_0_3_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_879-12_0_3_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_879-12_0_3_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_879-12_0_3_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_879-12_0_3_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_879-12_0_3_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_879-12_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_879-12_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_879-12_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_879-12_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_879-12_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_879-12_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_879-12_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_879-12_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_879-12_0_3_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_879-12_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_879-12_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_879-12_0_3_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_879-12_0_3_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_879-12_0_3_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_879-12_0_3_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_879-12_0_3_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_879-12_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_879-12_0_3_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_879-12_0_3_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_879-12_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_879-12_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_879-12_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_879-12_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_879-12_0_3_node_12 | 0.4 | n |  | TRUE
36 | bus_LV_879-12_0_3_node_13 | 0.4 | n |  | TRUE
37 | bus_LV_879-12_0_3_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_879-12_0_3_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_879-12_0_3_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_879-12_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_879-12_0_3_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_879-12_0_3_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_879-12_0_3_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_879-12_0_3_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_879-12_0_3_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_879-12_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_879-12_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_879-12_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_879-12_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_879-12_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_879-12_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_879-12_0_3_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_879-12_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_879-12_0_3_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_879-12_0_3_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_879-12_0_3_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_879-12_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_879-12_0_3_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_879-12_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_879-12_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_879-12_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_879-12_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_879-12_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_879-12_0_3_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_879-12_0_3_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_879-12_0_3_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_879-12_0_3_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_879-12_0_3_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_879-12_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_879-12_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_MV_122_1_node_192 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_879-12_0_3_load_0 | 0 | 0.0043499 | 0.0010902 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_879-12_0_3_load_1 | 1 | 0.0058255 | 0.00146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_879-12_0_3_load_67 | 6 | 0.002586 | 0.00064811 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_879-12_0_3_load_68 | 7 | 0.0004188 | 0.00010496 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_879-12_0_3_load_62 | 8 | 0.0050213 | 0.0012585 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_879-12_0_3_load_39 | 9 | 0.00058101 | 0.00014562 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_879-12_0_3_load_42 | 10 | 0.0038412 | 0.00096269 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_879-12_0_3_load_38 | 11 | 0.0033453 | 0.00083841 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_879-12_0_3_load_5 | 12 | 0.0029868 | 0.00074857 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_879-12_0_3_load_6 | 13 | 0.0017212 | 0.00043137 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_879-12_0_3_load_7 | 14 | 0.0038708 | 0.00097011 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_879-12_0_3_load_8 | 15 | 0.0031307 | 0.00078463 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_879-12_0_3_load_9 | 16 | 0.0038749 | 0.00097114 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_879-12_0_3_load_10 | 17 | 0.0017296 | 0.00043348 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_879-12_0_3_load_49 | 19 | 0.0019548 | 0.00048991 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_879-12_0_3_load_50 | 20 | 0.00074216 | 0.000186 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_879-12_0_3_load_24 | 21 | 0.00065571 | 0.00016434 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_879-12_0_3_load_54 | 22 | 0.001756 | 0.0004401 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_879-12_0_3_load_66 | 24 | 0.00052454 | 0.00013146 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_879-12_0_3_load_63 | 25 | 0.0039682 | 0.00099454 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_879-12_0_3_load_71 | 27 | 0.00052502 | 0.00013158 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_879-12_0_3_load_35 | 28 | 0.0032104 | 0.00080459 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_879-12_0_3_load_11 | 29 | 0.005112 | 0.0012812 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_879-12_0_3_load_65 | 30 | 0.0019406 | 0.00048636 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_879-12_0_3_load_36 | 31 | 0.0019645 | 0.00049235 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_879-12_0_3_load_27 | 32 | 0.0077404 | 0.0019399 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_879-12_0_3_load_55 | 33 | 0.0014777 | 0.00037036 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_879-12_0_3_load_28 | 34 | 0.0022925 | 0.00057455 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_879-12_0_3_load_12 | 35 | 0.0013544 | 0.00033943 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_879-12_0_3_load_13 | 36 | 0.0028052 | 0.00070304 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_879-12_0_3_load_14 | 37 | 0.0028016 | 0.00070215 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_879-12_0_3_load_15 | 38 | 0.0013602 | 0.0003409 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_879-12_0_3_load_16 | 39 | 0.00058046 | 0.00014548 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_879-12_0_3_load_48 | 40 | 0.0013539 | 0.00033933 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_879-12_0_3_load_17 | 41 | 0.0018142 | 0.00045467 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_879-12_0_3_load_18 | 42 | 0.0020932 | 0.00052461 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_879-12_0_3_load_19 | 43 | 0.0014986 | 0.00037559 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_879-12_0_3_load_20 | 44 | 0.0066938 | 0.0016776 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_879-12_0_3_load_40 | 46 | 0.0027872 | 0.00069854 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_879-12_0_3_load_58 | 48 | 0.0022896 | 0.00057382 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_879-12_0_3_load_41 | 49 | 0.0026547 | 0.00066534 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_879-12_0_3_load_52 | 50 | 0.0072874 | 0.0018264 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_879-12_0_3_load_59 | 52 | 0.0035115 | 0.00088007 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_879-12_0_3_load_34 | 53 | 0.002149 | 0.0005386 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_879-12_0_3_load_22 | 54 | 0.0025602 | 0.00064165 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_879-12_0_3_load_23 | 55 | 0.0025067 | 0.00062824 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_879-12_0_3_load_37 | 57 | 0.00387 | 0.00096991 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_879-12_0_3_load_30 | 58 | 0.001866 | 0.00046766 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_879-12_0_3_load_57 | 59 | 0.0029617 | 0.00074228 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_879-12_0_3_load_56 | 60 | 0.0025428 | 0.00063729 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_879-12_0_3_load_60 | 62 | 0.0018023 | 0.0004517 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_879-12_0_3_load_45 | 63 | 0.00088501 | 0.0002218 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_879-12_0_3_load_31 | 64 | 0.0022801 | 0.00057144 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_879-12_0_3_load_32 | 65 | 0.0022492 | 0.00056371 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_879-12_0_3_load_33 | 66 | 0.0036943 | 0.00092589 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_879-12_0_3_load_43 | 67 | 0.0055781 | 0.001398 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_879-12_0_3_load_46 | 68 | 0.0046286 | 0.00116 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_879-12_0_3_load_61 | 69 | 0.0018971 | 0.00047547 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_879-12_0_3_load_72 | 70 | 0.00726 | 0.0018195 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_879-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_879-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0078184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_879-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0023434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_879-12_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_879-12_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.070792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_879-12_0_3_line_5 | NAYY 4x150 SE | 3 | 8 | 0.009504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_879-12_0_3_line_6 | NAYY 4x150 SE | 4 | 9 | 0.02654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_879-12_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.007137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_879-12_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.022893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_879-12_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.03394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_879-12_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0023553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_879-12_0_3_line_11 | NAYY 4x150 SE | 10 | 67 | 0.023859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_879-12_0_3_line_12 | NAYY 4x150 SE | 11 | 39 | 0.015004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_879-12_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.017575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_879-12_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0038042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_879-12_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0022594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_879-12_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.020411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_879-12_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0089057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_879-12_0_3_line_18 | NAYY 4x150 SE | 16 | 28 | 0.0003317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_879-12_0_3_line_19 | NAYY 4x150 SE | 17 | 29 | 0.031534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_879-12_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0019114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_879-12_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.027743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_879-12_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.038098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_879-12_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.028946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_879-12_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.0074678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_879-12_0_3_line_25 | NAYY 4x150 SE | 21 | 54 | 0.0010427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_879-12_0_3_line_26 | NAYY 4x150 SE | 22 | 33 | 0.017114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_879-12_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.022362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_879-12_0_3_line_28 | NAYY 4x150 SE | 23 | 25 | 0.016421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_879-12_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.016326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_879-12_0_3_line_30 | NAYY 4x150 SE | 25 | 30 | 0.0017317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_879-12_0_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.017412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_879-12_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.022792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_879-12_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.023501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_879-12_0_3_line_34 | NAYY 4x150 SE | 31 | 57 | 0.0021961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_879-12_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.02064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_879-12_0_3_line_36 | NAYY 4x150 SE | 34 | 47 | 0.015073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_879-12_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0033543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_879-12_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.014491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_879-12_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.013258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_879-12_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0028492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_879-12_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0034416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_879-12_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.02139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_879-12_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.014719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_879-12_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0036199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_879-12_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.032488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_879-12_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.027527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_879-12_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.023587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_879-12_0_3_line_48 | NAYY 4x150 SE | 45 | 48 | 0.024282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_879-12_0_3_line_49 | NAYY 4x150 SE | 46 | 49 | 0.00052493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_879-12_0_3_line_50 | NAYY 4x150 SE | 47 | 52 | 0.013528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_879-12_0_3_line_51 | NAYY 4x150 SE | 48 | 53 | 0.005124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_879-12_0_3_line_52 | NAYY 4x150 SE | 49 | 68 | 0.056965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_879-12_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.024683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_879-12_0_3_line_54 | NAYY 4x150 SE | 51 | 67 | 0.020945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_879-12_0_3_line_55 | NAYY 4x150 SE | 52 | 62 | 0.0196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_879-12_0_3_line_56 | NAYY 4x150 SE | 53 | 65 | 0.0019619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_879-12_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.029711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_879-12_0_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.011077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_879-12_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.0072892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_879-12_0_3_line_60 | NAYY 4x150 SE | 57 | 60 | 0.017231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_879-12_0_3_line_61 | NAYY 4x150 SE | 58 | 61 | 0.043147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_879-12_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.0012088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_879-12_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.011534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_879-12_0_3_line_64 | NAYY 4x150 SE | 62 | 69 | 0.0033733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_879-12_0_3_line_65 | NAYY 4x150 SE | 63 | 68 | 0.0015112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_879-12_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0031532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_879-12_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.0050899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_879-12_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.05384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_879-12_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.012574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_879-12_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 71 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2603581.8242 | 1184354.8621 | 2603580.0956 | 1184354.2368 | 2603568.5261 | 1184351.7732 | 2603557.7376 | 1184350.092
1 | 2603589.1764 | 1184357.5216 | 2603581.8242 | 1184354.8621
2 | 2603555.4222 | 1184349.7312 | 2603557.7376 | 1184350.092
3 | 2603600.012 | 1184362.0081 | 2603589.1764 | 1184357.5216
4 | 2603589.1764 | 1184357.5216 | 2603612.8691 | 1184290.8124
5 | 2603546.0197 | 1184348.1694 | 2603555.4222 | 1184349.7312
6 | 2603600.012 | 1184362.0081 | 2603592.7906 | 1184376.6447 | 2603592.4378 | 1184379.5682 | 2603593.4282 | 1184382.6593 | 2603595.3759 | 1184386.1854
7 | 2603612.8691 | 1184290.8124 | 2603612.9712 | 1184283.6761
8 | 2603608.4392 | 1184261.3088 | 2603611.7802 | 1184273.7029 | 2603612.9886 | 1184282.4637 | 2603612.9712 | 1184283.6761
9 | 2603546.0197 | 1184348.1694 | 2603512.1288 | 1184350.0024
10 | 2603596.5147 | 1184388.2471 | 2603595.3759 | 1184386.1854
11 | 2603512.1288 | 1184350.0024 | 2603488.3937 | 1184347.573
12 | 2603603.769 | 1184401.3804 | 2603596.5147 | 1184388.2471
13 | 2603534.1007 | 1184480.874 | 2603546.7128 | 1184493.1146
14 | 2603534.1007 | 1184480.874 | 2603531.3709 | 1184478.2246
15 | 2603548.4783 | 1184494.5122 | 2603547.3625 | 1184493.7452 | 2603546.7128 | 1184493.1146
16 | 2603531.3709 | 1184478.2246 | 2603521.9075 | 1184469.0399 | 2603516.1109 | 1184464.7292
17 | 2603548.4783 | 1184494.5122 | 2603553.7559 | 1184498.14 | 2603556.2181 | 1184498.5812
18 | 2603515.8447 | 1184464.5313 | 2603516.1109 | 1184464.7292
19 | 2603556.2181 | 1184498.5812 | 2603558.9224 | 1184499.0657 | 2603564.0902 | 1184497.9459 | 2603568.5188 | 1184494.8025 | 2603572.6506 | 1184490.247 | 2603575.0575 | 1184485.6016 | 2603570.5683 | 1184480.6469
20 | 2603503.4473 | 1184531.0946 | 2603505.0106 | 1184532.1943
21 | 2603503.4473 | 1184531.0946 | 2603489.137 | 1184554.8617
22 | 2603503.4473 | 1184531.0946 | 2603471.0118 | 1184511.1103
23 | 2603528.6859 | 1184548.8488 | 2603505.0106 | 1184532.1943
24 | 2603485.6542 | 1184561.4668 | 2603488.8939 | 1184555.2654 | 2603489.137 | 1184554.8617
25 | 2603471.0118 | 1184511.1103 | 2603470.124 | 1184510.5633
26 | 2603528.6859 | 1184548.8488 | 2603542.6837 | 1184558.6956
27 | 2603485.6542 | 1184561.4668 | 2603482.4544 | 1184564.8778 | 2603480.1244 | 1184568.6562 | 2603473.5414 | 1184580.151
28 | 2603485.6542 | 1184561.4668 | 2603487.9036 | 1184565.3478 | 2603497.7242 | 1184572.1298
29 | 2603465.082 | 1184594.1052 | 2603468.5729 | 1184588.8267 | 2603473.5414 | 1184580.151
30 | 2603499.1491 | 1184573.1138 | 2603497.7242 | 1184572.1298
31 | 2603465.082 | 1184594.1052 | 2603478.9297 | 1184604.6615
32 | 2603515.8447 | 1184464.5313 | 2603507.3511 | 1184458.2149 | 2603496.6538 | 1184452.3331
33 | 2603570.5683 | 1184480.6469 | 2603554.7884 | 1184463.2309
34 | 2603494.7294 | 1184451.275 | 2603496.6538 | 1184452.3331
35 | 2603539.7435 | 1184449.1057 | 2603554.1963 | 1184462.5775 | 2603554.7884 | 1184463.2309
36 | 2603528.7178 | 1184438.8283 | 2603539.7435 | 1184449.1057
37 | 2603613.7748 | 1184419.495 | 2603612.1529 | 1184416.5588
38 | 2603605.1466 | 1184403.8744 | 2603612.1529 | 1184416.5588
39 | 2603619.7976 | 1184431.2997 | 2603616.4995 | 1184424.4278 | 2603613.7748 | 1184419.495
40 | 2603603.769 | 1184401.3804 | 2603605.1466 | 1184403.8744
41 | 2603621.2867 | 1184434.4024 | 2603619.7976 | 1184431.2997
42 | 2603442.69 | 1184408.319 | 2603462.003 | 1184411.0759 | 2603463.8333 | 1184411.5127
43 | 2603478.1506 | 1184414.9298 | 2603463.8333 | 1184411.5127
44 | 2603439.1064 | 1184407.8075 | 2603442.69 | 1184408.319
45 | 2603508.2925 | 1184426.9326 | 2603495.5879 | 1184421.0557 | 2603479.418 | 1184415.2323 | 2603478.1506 | 1184414.9298
46 | 2603439.1064 | 1184407.8075 | 2603411.8555 | 1184403.9175
47 | 2603528.7178 | 1184438.8283 | 2603508.2925 | 1184426.9326
48 | 2603508.2925 | 1184426.9326 | 2603514.1262 | 1184409.4381 | 2603514.0203 | 1184407.8039 | 2603513.4103 | 1184406.6807 | 2603510.6387 | 1184405.7476
49 | 2603411.3359 | 1184403.8433 | 2603411.8555 | 1184403.9175
50 | 2603528.7178 | 1184438.8283 | 2603535.5558 | 1184427.1561
51 | 2603505.7825 | 1184404.1127 | 2603510.6387 | 1184405.7476
52 | 2603411.3359 | 1184403.8433 | 2603401.7784 | 1184460.0006
53 | 2603470.8669 | 1184339.4106 | 2603466.1947 | 1184341.1756 | 2603446.5064 | 1184341.1645
54 | 2603470.8669 | 1184339.4106 | 2603476.3431 | 1184346.3395 | 2603488.3937 | 1184347.573
55 | 2603535.5558 | 1184427.1561 | 2603545.4633 | 1184410.2445
56 | 2603505.7825 | 1184404.1127 | 2603503.9231 | 1184403.4868
57 | 2603470.124 | 1184510.5633 | 2603444.8287 | 1184494.9782
58 | 2603435.3981 | 1184489.1678 | 2603444.8287 | 1184494.9782
59 | 2603435.3981 | 1184489.1678 | 2603428.9095 | 1184485.8464
60 | 2603494.7294 | 1184451.275 | 2603479.6298 | 1184442.9727
61 | 2603390.5019 | 1184466.1864 | 2603428.9095 | 1184485.8464
62 | 2603478.5706 | 1184442.3903 | 2603479.6298 | 1184442.9727
63 | 2603390.5019 | 1184466.1864 | 2603395.427 | 1184462.2427 | 2603400.3534 | 1184460.5036
64 | 2603545.4633 | 1184410.2445 | 2603547.1684 | 1184407.3339 | 2603547.1684 | 1184407.3339
65 | 2603401.7784 | 1184460.0006 | 2603400.3534 | 1184460.5036
66 | 2603503.9231 | 1184403.4868 | 2603500.9347 | 1184402.4807
67 | 2603496.1108 | 1184400.8567 | 2603500.9347 | 1184402.4807
68 | 2603496.1108 | 1184400.8567 | 2603488.3937 | 1184347.573
69 | 2603547.0536 | 1184394.7607 | 2603547.1684 | 1184407.3339

## bus_geodata
| x | y | coords
0 | 2603581.8242 | 1184354.8621
1 | 2603557.7376 | 1184350.092
2 | 2603589.1764 | 1184357.5216
3 | 2603555.4222 | 1184349.7312
4 | 2603600.012 | 1184362.0081
5 | 2603612.8691 | 1184290.8123
6 | 2603608.4392 | 1184261.3089
7 | 2603612.9712 | 1184283.6761
8 | 2603546.0197 | 1184348.1694
9 | 2603595.3759 | 1184386.1854
10 | 2603512.1288 | 1184350.0024
11 | 2603596.5147 | 1184388.2471
12 | 2603534.1007 | 1184480.874
13 | 2603546.7128 | 1184493.1146
14 | 2603531.3709 | 1184478.2246
15 | 2603548.4783 | 1184494.5122
16 | 2603516.1109 | 1184464.7292
17 | 2603556.2181 | 1184498.5812
18 | 2603503.4473 | 1184531.0946
19 | 2603505.0106 | 1184532.1943
20 | 2603489.137 | 1184554.8617
21 | 2603471.0118 | 1184511.1103
22 | 2603528.6859 | 1184548.8488
23 | 2603485.6542 | 1184561.4668
24 | 2603473.5414 | 1184580.151
25 | 2603497.7242 | 1184572.1298
26 | 2603465.082 | 1184594.1052
27 | 2603478.9297 | 1184604.6615
28 | 2603515.8447 | 1184464.5313
29 | 2603570.5683 | 1184480.6469
30 | 2603499.1491 | 1184573.1138
31 | 2603496.6538 | 1184452.3331
32 | 2603554.7884 | 1184463.2309
33 | 2603542.6837 | 1184558.6956
34 | 2603539.7435 | 1184449.1057
35 | 2603612.1529 | 1184416.5588
36 | 2603613.7748 | 1184419.495
37 | 2603605.1466 | 1184403.8744
38 | 2603619.7976 | 1184431.2997
39 | 2603603.769 | 1184401.3804
40 | 2603621.2867 | 1184434.4024
41 | 2603463.8333 | 1184411.5127
42 | 2603442.69 | 1184408.319
43 | 2603478.1506 | 1184414.9298
44 | 2603439.1064 | 1184407.8075
45 | 2603508.2926 | 1184426.9326
46 | 2603411.8555 | 1184403.9175
47 | 2603528.7178 | 1184438.8283
48 | 2603510.6387 | 1184405.7476
49 | 2603411.3359 | 1184403.8433
50 | 2603446.5064 | 1184341.1645
51 | 2603470.8669 | 1184339.4106
52 | 2603535.5558 | 1184427.1561
53 | 2603505.7825 | 1184404.1127
54 | 2603470.124 | 1184510.5633
55 | 2603444.8287 | 1184494.9782
56 | 2603435.3981 | 1184489.1678
57 | 2603494.7294 | 1184451.275
58 | 2603428.9095 | 1184485.8464
59 | 2603478.5706 | 1184442.3903
60 | 2603479.6298 | 1184442.9727
61 | 2603390.5019 | 1184466.1864
62 | 2603545.4633 | 1184410.2445
63 | 2603400.3534 | 1184460.5036
64 | 2603500.9347 | 1184402.4807
65 | 2603503.9231 | 1184403.4868
66 | 2603496.1108 | 1184400.8567
67 | 2603488.3937 | 1184347.573
68 | 2603401.7784 | 1184460.0006
69 | 2603547.1684 | 1184407.3339
70 | 2603547.0536 | 1184394.7607
71 | 2603528.7178 | 1184438.8283

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98874 | -0.078982 | 0.0043499 | 0.0010902
1 | 0.9895 | -0.073575 | 0.0058255 | 0.00146
2 | 0.98854 | -0.080356 | 0 | 0
3 | 0.9896 | -0.072921 | 0 | 0
4 | 0.98831 | -0.082051 | 0 | 0
5 | 0.98824 | -0.082533 | 0 | 0
6 | 0.98812 | -0.083358 | 0.002586 | 0.00064811
7 | 0.98821 | -0.082753 | 0.0004188 | 0.00010496
8 | 0.98997 | -0.07027 | 0.0050213 | 0.0012585
9 | 0.98776 | -0.085901 | 0.00058101 | 0.00014562
10 | 0.99156 | -0.059086 | 0.0038412 | 0.00096269
11 | 0.98772 | -0.086229 | 0.0033453 | 0.00083841
12 | 0.99177 | -0.057672 | 0.0029868 | 0.00074857
13 | 0.99241 | -0.053165 | 0.0017212 | 0.00043137
14 | 0.99165 | -0.058533 | 0.0038708 | 0.00097011
15 | 0.9925 | -0.052547 | 0.0031307 | 0.00078463
16 | 0.99111 | -0.062353 | 0.0038749 | 0.00097114
17 | 0.99288 | -0.049828 | 0.0017296 | 0.00043348
18 | 0.98867 | -0.079532 | 0 | 0
19 | 0.98866 | -0.079633 | 0.0019548 | 0.00048991
20 | 0.98836 | -0.081716 | 0.00074216 | 0.000186
21 | 0.98938 | -0.074515 | 0.00065571 | 0.00016434
22 | 0.98852 | -0.08059 | 0.001756 | 0.0004401
23 | 0.98829 | -0.082248 | 0 | 0
24 | 0.98826 | -0.082489 | 0.00052454 | 0.00013146
25 | 0.98815 | -0.08324 | 0.0039682 | 0.00099454
26 | 0.98824 | -0.082577 | 0 | 0
27 | 0.98823 | -0.08267 | 0.00052502 | 0.00013158
28 | 0.9911 | -0.062402 | 0.0032104 | 0.00080459
29 | 0.99433 | -0.039667 | 0.005112 | 0.0012812
30 | 0.98815 | -0.083274 | 0.0019406 | 0.00048636
31 | 0.99073 | -0.06503 | 0.0019645 | 0.00049235
32 | 0.99558 | -0.030903 | 0.0077404 | 0.0019399
33 | 0.98849 | -0.080848 | 0.0014777 | 0.00037036
34 | 0.9969 | -0.021619 | 0.0022925 | 0.00057455
35 | 0.98731 | -0.089107 | 0.0013544 | 0.00033943
36 | 0.98728 | -0.089296 | 0.0028052 | 0.00070304
37 | 0.98745 | -0.088087 | 0.0028016 | 0.00070215
38 | 0.98723 | -0.089665 | 0.0013602 | 0.0003409
39 | 0.98749 | -0.087804 | 0.00058046 | 0.00014548
40 | 0.98722 | -0.089713 | 0.0013539 | 0.00033933
41 | 0.99708 | -0.020369 | 0.0018142 | 0.00045467
42 | 0.99584 | -0.029025 | 0.0020932 | 0.00052461
43 | 0.99797 | -0.014158 | 0.0014986 | 0.00037559
44 | 0.99564 | -0.030416 | 0.0066938 | 0.0016776
45 | 1 | 0 | -0.16881 | -0.042258
46 | 0.9944 | -0.039148 | 0.0027872 | 0.00069854
47 | 0.99792 | -0.014508 | 0 | 0
48 | 0.99784 | -0.015007 | 0.0022896 | 0.00057382
49 | 0.99438 | -0.0393 | 0.0026547 | 0.00066534
50 | 0.99232 | -0.053687 | 0.0072874 | 0.0018264
51 | 0.99258 | -0.051864 | 0 | 0
52 | 0.99764 | -0.016471 | 0.0035115 | 0.00088007
53 | 0.99741 | -0.018065 | 0.002149 | 0.0005386
54 | 0.9894 | -0.074371 | 0.0025602 | 0.00064165
55 | 0.99009 | -0.06949 | 0.0025067 | 0.00062824
56 | 0.99039 | -0.067389 | 0 | 0
57 | 0.9907 | -0.065239 | 0.00387 | 0.00096991
58 | 0.99058 | -0.066007 | 0.001866 | 0.00046766
59 | 0.99056 | -0.066241 | 0.0029617 | 0.00074228
60 | 0.99056 | -0.066204 | 0.0025428 | 0.00063729
61 | 0.99186 | -0.057021 | 0 | 0
62 | 0.99733 | -0.018627 | 0.0018023 | 0.0004517
63 | 0.9922 | -0.054622 | 0.00088501 | 0.0002218
64 | 0.99699 | -0.020938 | 0.0022801 | 0.00057144
65 | 0.99724 | -0.019194 | 0.0022492 | 0.00056371
66 | 0.99661 | -0.023638 | 0.0036943 | 0.00092589
67 | 0.9928 | -0.050317 | 0.0055781 | 0.001398
68 | 0.99224 | -0.054294 | 0.0046286 | 0.00116
69 | 0.99729 | -0.018937 | 0.0018971 | 0.00047547
70 | 0.99716 | -0.019853 | 0.00726 | 0.0018195
71 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.021557 | -0.0054026 | 0.021573 | 0.0054085 | 1.6147e-05 | 5.8947e-06 | 0.032442 | 0.032442 | 0.032442 | 0.98874 | -0.078982 | 0.9895 | -0.073575 | 12.0155
1 | 0.017207 | 0.0043125 | -0.017203 | -0.0043113 | 3.2715e-06 | 1.158e-06 | 0.025895 | 0.025896 | 0.025896 | 0.98874 | -0.078982 | 0.98854 | -0.080356 | 9.5909
2 | -0.027398 | -0.0068685 | 0.027401 | 0.0068695 | 2.4824e-06 | 9.2466e-07 | 0.041202 | 0.041202 | 0.041202 | 0.9895 | -0.073575 | 0.9896 | -0.072921 | 15.2601
3 | 0.014197 | 0.0035591 | -0.014194 | -0.0035579 | 3.3342e-06 | 1.1324e-06 | 0.021371 | 0.021371 | 0.021371 | 0.98854 | -0.080356 | 0.98831 | -0.082051 | 7.9152
4 | 0.003006 | 0.00075224 | -0.0030051 | -0.0007528 | 9.0432e-07 | -5.5948e-07 | 0.0045244 | 0.0045247 | 0.0045247 | 0.98854 | -0.080356 | 0.98824 | -0.082533 | 1.6758
5 | -0.027401 | -0.0068695 | 0.027411 | 0.0068732 | 1.0068e-05 | 3.75e-06 | 0.041202 | 0.041202 | 0.041202 | 0.9896 | -0.072921 | 0.98997 | -0.07027 | 15.2601
6 | 0.014194 | 0.0035579 | -0.014187 | -0.0035554 | 7.5639e-06 | 2.5693e-06 | 0.021371 | 0.021371 | 0.021371 | 0.98831 | -0.082051 | 0.98776 | -0.085901 | 7.9153
7 | 0.0030051 | 0.0007528 | -0.003005 | -0.00075286 | 9.1178e-08 | -5.6371e-08 | 0.0045247 | 0.0045248 | 0.0045248 | 0.98824 | -0.082533 | 0.98821 | -0.082753 | 1.6758
8 | -0.002586 | -0.00064811 | 0.0025862 | 0.0006479 | 2.1663e-07 | -2.0995e-07 | 0.0038943 | 0.0038942 | 0.0038943 | 0.98812 | -0.083358 | 0.98821 | -0.082753 | 1.4423
9 | -0.032432 | -0.0081317 | 0.032482 | 0.0081506 | 5.0332e-05 | 1.8921e-05 | 0.04875 | 0.048749 | 0.04875 | 0.98997 | -0.07027 | 0.99156 | -0.059086 | 18.0554
10 | 0.013606 | 0.0034097 | -0.013605 | -0.0034095 | 6.1741e-07 | 2.0732e-07 | 0.020496 | 0.020496 | 0.020496 | 0.98776 | -0.085901 | 0.98772 | -0.086229 | 7.5911
11 | -0.036324 | -0.0091133 | 0.036368 | 0.00913 | 4.4244e-05 | 1.6709e-05 | 0.054514 | 0.054514 | 0.054514 | 0.99156 | -0.059086 | 0.9928 | -0.050317 | 20.1903
12 | 0.01026 | 0.0025711 | -0.010257 | -0.0025705 | 2.2366e-06 | 6.6825e-07 | 0.015456 | 0.015456 | 0.015456 | 0.98772 | -0.086229 | 0.98749 | -0.087804 | 5.7246
13 | -0.0253 | -0.0063421 | 0.025315 | 0.006348 | 1.5802e-05 | 5.8509e-06 | 0.037959 | 0.037959 | 0.037959 | 0.99177 | -0.057672 | 0.99241 | -0.053165 | 14.0589
14 | 0.022313 | 0.0055936 | -0.02231 | -0.0055926 | 2.6605e-06 | 9.7417e-07 | 0.033478 | 0.033478 | 0.033478 | 0.99177 | -0.057672 | 0.99165 | -0.058533 | 12.3991
15 | -0.027037 | -0.0067794 | 0.027039 | 0.0067802 | 2.317e-06 | 8.6196e-07 | 0.04054 | 0.04054 | 0.04054 | 0.99241 | -0.053165 | 0.9925 | -0.052547 | 15.0147
16 | 0.018439 | 0.0046225 | -0.01843 | -0.004619 | 9.7512e-06 | 3.4873e-06 | 0.027669 | 0.02767 | 0.02767 | 0.99165 | -0.058533 | 0.99111 | -0.062353 | 10.248
17 | -0.03017 | -0.0075648 | 0.030181 | 0.0075691 | 1.137e-05 | 4.2581e-06 | 0.045233 | 0.045233 | 0.045233 | 0.9925 | -0.052547 | 0.99288 | -0.049828 | 16.7531
18 | 0.014555 | 0.0036479 | -0.014555 | -0.0036478 | 9.8834e-08 | 3.3739e-08 | 0.021852 | 0.021852 | 0.021852 | 0.99111 | -0.062353 | 0.9911 | -0.062402 | 8.0933
19 | -0.031911 | -0.0080026 | 0.031956 | 0.0080195 | 4.5007e-05 | 1.6902e-05 | 0.047825 | 0.047825 | 0.047825 | 0.99288 | -0.049828 | 0.99433 | -0.039667 | 17.7131
20 | 0.0051891 | 0.0013 | -0.005189 | -0.0013 | 7.2743e-08 | 3.4678e-09 | 0.0078097 | 0.0078097 | 0.0078097 | 0.98867 | -0.079532 | 0.98866 | -0.079633 | 2.8925
21 | 0.0077043 | 0.00193 | -0.0077019 | -0.0019294 | 2.3275e-06 | 5.3953e-07 | 0.011595 | 0.011595 | 0.011595 | 0.98867 | -0.079532 | 0.98836 | -0.081716 | 4.2945
22 | -0.012893 | -0.0032299 | 0.012902 | 0.0032329 | 8.9515e-06 | 2.954e-06 | 0.019405 | 0.019405 | 0.019405 | 0.98867 | -0.079532 | 0.98938 | -0.074515 | 7.187
23 | 0.0032342 | 0.00081004 | -0.0032338 | -0.00081025 | 4.2798e-07 | -2.0653e-07 | 0.0048676 | 0.0048677 | 0.0048677 | 0.98866 | -0.079633 | 0.98852 | -0.08059 | 1.8029
24 | 0.0069598 | 0.0017434 | -0.0069593 | -0.0017433 | 5.1159e-07 | 1.0107e-07 | 0.010478 | 0.010478 | 0.010478 | 0.98836 | -0.081716 | 0.98829 | -0.082248 | 3.8807
25 | -0.013558 | -0.0033972 | 0.013558 | 0.0033973 | 2.7053e-07 | 9.066e-08 | 0.020391 | 0.020391 | 0.020391 | 0.98938 | -0.074515 | 0.9894 | -0.074371 | 7.5521
26 | 0.0014778 | 0.00037016 | -0.0014777 | -0.00037036 | 5.2845e-08 | -1.9907e-07 | 0.0022244 | 0.0022245 | 0.0022245 | 0.98852 | -0.08059 | 0.98849 | -0.080848 | 0.8239
27 | 0.0010496 | 0.00026234 | -0.0010496 | -0.00026262 | 3.4841e-08 | -2.7314e-07 | 0.0015801 | 0.0015802 | 0.0015802 | 0.98829 | -0.082248 | 0.98826 | -0.082489 | 0.58526
28 | 0.0059097 | 0.001481 | -0.0059088 | -0.0014809 | 8.1123e-07 | 1.0163e-07 | 0.0088978 | 0.0088979 | 0.0088979 | 0.98829 | -0.082248 | 0.98815 | -0.08324 | 3.2955
29 | 0.00052503 | 0.00013115 | -0.00052503 | -0.00013136 | 6.3649e-09 | -2.0674e-07 | 0.00079039 | 0.00079046 | 0.00079046 | 0.98826 | -0.082489 | 0.98824 | -0.082577 | 0.29276
30 | 0.0019406 | 0.00048634 | -0.0019406 | -0.00048636 | 9.2276e-09 | -1.8634e-08 | 0.0029223 | 0.0029223 | 0.0029223 | 0.98815 | -0.08324 | 0.98815 | -0.083274 | 1.0823
31 | 0.00052503 | 0.00013136 | -0.00052502 | -0.00013158 | 6.7897e-09 | -2.2049e-07 | 0.00079046 | 0.00079054 | 0.00079054 | 0.98824 | -0.082577 | 0.98823 | -0.08267 | 0.29279
32 | 0.011344 | 0.0028432 | -0.01134 | -0.0028419 | 4.1258e-06 | 1.2932e-06 | 0.017032 | 0.017032 | 0.017032 | 0.9911 | -0.062402 | 0.99073 | -0.06503 | 6.3082
33 | -0.037068 | -0.0093007 | 0.037113 | 0.0093177 | 4.5132e-05 | 1.7053e-05 | 0.055475 | 0.055475 | 0.055475 | 0.99433 | -0.039667 | 0.99558 | -0.030903 | 20.5465
34 | 0.0093755 | 0.0023496 | -0.0093753 | -0.0023495 | 2.7173e-07 | 7.6233e-08 | 0.014081 | 0.014081 | 0.014081 | 0.99073 | -0.06503 | 0.9907 | -0.065239 | 5.2154
35 | -0.044853 | -0.011258 | 0.044911 | 0.01128 | 5.7891e-05 | 2.1997e-05 | 0.067044 | 0.067044 | 0.067044 | 0.99558 | -0.030903 | 0.9969 | -0.021619 | 24.8313
36 | -0.047203 | -0.011854 | 0.04725 | 0.011872 | 4.6703e-05 | 1.7766e-05 | 0.070466 | 0.070466 | 0.070466 | 0.9969 | -0.021619 | 0.99792 | -0.014508 | 26.0986
37 | 0.0055196 | 0.0013831 | -0.0055194 | -0.0013831 | 1.4484e-07 | 1.2814e-08 | 0.0083187 | 0.0083187 | 0.0083187 | 0.98731 | -0.089107 | 0.98728 | -0.089296 | 3.081
38 | -0.0068739 | -0.0017225 | 0.0068749 | 0.0017227 | 9.7047e-07 | 1.8792e-07 | 0.01036 | 0.01036 | 0.01036 | 0.98731 | -0.089107 | 0.98745 | -0.088087 | 3.837
39 | 0.0027143 | 0.00068006 | -0.0027141 | -0.00068018 | 1.3845e-07 | -1.1628e-07 | 0.0040908 | 0.0040909 | 0.0040909 | 0.98728 | -0.089296 | 0.98723 | -0.089665 | 1.5151
40 | -0.0096765 | -0.0024249 | 0.0096769 | 0.002425 | 3.7802e-07 | 1.0894e-07 | 0.014582 | 0.014582 | 0.014582 | 0.98745 | -0.088087 | 0.98749 | -0.087804 | 5.4006
41 | 0.0013539 | 0.00033929 | -0.0013539 | -0.00033933 | 8.9437e-09 | -4.0565e-08 | 0.0020407 | 0.0020407 | 0.0020407 | 0.98723 | -0.089665 | 0.98722 | -0.089713 | 0.75583
42 | 0.040436 | 0.010158 | -0.040388 | -0.010139 | 4.8621e-05 | 1.8422e-05 | 0.060354 | 0.060354 | 0.060354 | 0.99708 | -0.020369 | 0.99584 | -0.029025 | 22.3535
43 | -0.04225 | -0.010613 | 0.042287 | 0.010626 | 3.6526e-05 | 1.3856e-05 | 0.063062 | 0.063062 | 0.063062 | 0.99708 | -0.020369 | 0.99797 | -0.014158 | 23.3562
44 | 0.038294 | 0.0096149 | -0.038287 | -0.0096121 | 7.3974e-06 | 2.798e-06 | 0.057227 | 0.057227 | 0.057227 | 0.99584 | -0.029025 | 0.99564 | -0.030416 | 21.195
45 | -0.043785 | -0.011002 | 0.043872 | 0.011035 | 8.6432e-05 | 3.2818e-05 | 0.065296 | 0.065296 | 0.065296 | 0.99797 | -0.014158 | 1 | 0 | 24.1837
46 | 0.031593 | 0.0079344 | -0.031555 | -0.0079201 | 3.8304e-05 | 1.4375e-05 | 0.047223 | 0.047223 | 0.047223 | 0.99564 | -0.030416 | 0.9944 | -0.039148 | 17.4899
47 | 0.061854 | 0.015549 | -0.06173 | -0.015501 | 0.00012473 | 4.7664e-05 | 0.092057 | 0.092057 | 0.092057 | 1 | 0 | 0.99792 | -0.014508 | 34.0952
48 | 0.06228 | 0.015674 | -0.06215 | -0.015624 | 0.0001302 | 4.9757e-05 | 0.092697 | 0.092697 | 0.092697 | 1 | 0 | 0.99784 | -0.015007 | 34.3322
49 | 0.028768 | 0.0072215 | -0.028767 | -0.0072213 | 6.0711e-07 | 2.267e-07 | 0.043052 | 0.043052 | 0.043052 | 0.9944 | -0.039148 | 0.99438 | -0.0393 | 15.9452
50 | 0.014479 | 0.0036294 | -0.014476 | -0.0036281 | 3.935e-06 | 1.3368e-06 | 0.021591 | 0.021591 | 0.021591 | 0.99792 | -0.014508 | 0.99764 | -0.016471 | 7.9966
51 | 0.05986 | 0.01505 | -0.059835 | -0.015041 | 2.5487e-05 | 9.7359e-06 | 0.089283 | 0.089283 | 0.089283 | 0.99784 | -0.015007 | 0.99741 | -0.018065 | 33.0676
52 | 0.026112 | 0.006556 | -0.026058 | -0.0065358 | 5.4286e-05 | 2.0142e-05 | 0.039079 | 0.03908 | 0.03908 | 0.99438 | -0.0393 | 0.99224 | -0.054294 | 14.4739
53 | -0.0072874 | -0.0018264 | 0.0072893 | 0.0018268 | 1.8392e-06 | 3.8844e-07 | 0.010928 | 0.010928 | 0.010928 | 0.99232 | -0.053687 | 0.99258 | -0.051864 | 4.0473
54 | -0.0072893 | -0.0018268 | 0.0072908 | 0.0018271 | 1.5607e-06 | 3.2948e-07 | 0.010928 | 0.010927 | 0.010928 | 0.99258 | -0.051864 | 0.9928 | -0.050317 | 4.0472
55 | 0.010964 | 0.002748 | -0.010961 | -0.002747 | 3.2708e-06 | 1.0022e-06 | 0.016353 | 0.016353 | 0.016353 | 0.99764 | -0.016471 | 0.99733 | -0.018627 | 6.0568
56 | 0.057686 | 0.014502 | -0.057677 | -0.014499 | 9.0706e-06 | 3.4631e-06 | 0.086077 | 0.086077 | 0.086077 | 0.99741 | -0.018065 | 0.99724 | -0.019194 | 31.8802
57 | -0.016118 | -0.0040389 | 0.016129 | 0.0040427 | 1.0895e-05 | 3.8084e-06 | 0.024241 | 0.024241 | 0.024241 | 0.9894 | -0.074371 | 0.99009 | -0.06949 | 8.9782
58 | -0.018636 | -0.004671 | 0.018641 | 0.0046729 | 5.4223e-06 | 1.943e-06 | 0.028008 | 0.028008 | 0.028008 | 0.99009 | -0.06949 | 0.99039 | -0.067389 | 10.3735
59 | -0.018641 | -0.0046729 | 0.018645 | 0.0046742 | 3.5681e-06 | 1.2785e-06 | 0.028008 | 0.028008 | 0.028008 | 0.99039 | -0.067389 | 0.99058 | -0.066007 | 10.3735
60 | 0.0055053 | 0.0013796 | -0.0055046 | -0.0013796 | 7.3519e-07 | 6.0915e-08 | 0.0082688 | 0.0082689 | 0.0082689 | 0.9907 | -0.065239 | 0.99056 | -0.066204 | 3.0626
61 | -0.020511 | -0.0051419 | 0.020537 | 0.0051511 | 2.556e-05 | 9.2744e-06 | 0.030811 | 0.030811 | 0.030811 | 0.99058 | -0.066007 | 0.99186 | -0.057021 | 11.4116
62 | -0.0029617 | -0.00074227 | 0.0029617 | 0.00074226 | 1.4931e-08 | -9.8183e-09 | 0.0044491 | 0.0044491 | 0.0044491 | 0.99056 | -0.066241 | 0.99056 | -0.066204 | 1.6478
63 | -0.020537 | -0.0051511 | 0.020543 | 0.0051536 | 6.8324e-06 | 2.4789e-06 | 0.030811 | 0.030811 | 0.030811 | 0.99186 | -0.057021 | 0.9922 | -0.054622 | 11.4115
64 | 0.0091585 | 0.0022953 | -0.0091581 | -0.0022952 | 3.9302e-07 | 1.0715e-07 | 0.013664 | 0.013664 | 0.013664 | 0.99733 | -0.018627 | 0.99729 | -0.018937 | 5.0609
65 | -0.021428 | -0.0053754 | 0.021429 | 0.0053758 | 9.7399e-07 | 3.5509e-07 | 0.032138 | 0.032138 | 0.032138 | 0.9922 | -0.054622 | 0.99224 | -0.054294 | 11.9031
66 | -0.055414 | -0.01393 | 0.055428 | 0.013935 | 1.3464e-05 | 5.1373e-06 | 0.08272 | 0.08272 | 0.08272 | 0.99699 | -0.020938 | 0.99724 | -0.019194 | 30.6372
67 | 0.053134 | 0.013358 | -0.053114 | -0.013351 | 1.9982e-05 | 7.6189e-06 | 0.079317 | 0.079317 | 0.079317 | 0.99699 | -0.020938 | 0.99661 | -0.023638 | 29.3768
68 | 0.04942 | 0.012425 | -0.049237 | -0.012355 | 0.00018299 | 6.968e-05 | 0.073801 | 0.073802 | 0.073802 | 0.99661 | -0.023638 | 0.9928 | -0.050317 | 27.334
69 | 0.0072609 | 0.0018197 | -0.00726 | -0.0018195 | 9.2089e-07 | 1.9015e-07 | 0.010834 | 0.010834 | 0.010834 | 0.99729 | -0.018937 | 0.99716 | -0.019853 | 4.0125

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16881 | 0.042258

## res_load
| p_mw | q_mvar
0 | 0.0043499 | 0.0010902
1 | 0.0058255 | 0.00146
2 | 0.002586 | 0.00064811
3 | 0.0004188 | 0.00010496
4 | 0.0050213 | 0.0012585
5 | 0.00058101 | 0.00014562
6 | 0.0038412 | 0.00096269
7 | 0.0033453 | 0.00083841
8 | 0.0029868 | 0.00074857
9 | 0.0017212 | 0.00043137
10 | 0.0038708 | 0.00097011
11 | 0.0031307 | 0.00078463
12 | 0.0038749 | 0.00097114
13 | 0.0017296 | 0.00043348
14 | 0.0019548 | 0.00048991
15 | 0.00074216 | 0.000186
16 | 0.00065571 | 0.00016434
17 | 0.001756 | 0.0004401
18 | 0.00052454 | 0.00013146
19 | 0.0039682 | 0.00099454
20 | 0.00052502 | 0.00013158
21 | 0.0032104 | 0.00080459
22 | 0.005112 | 0.0012812
23 | 0.0019406 | 0.00048636
24 | 0.0019645 | 0.00049235
25 | 0.0077404 | 0.0019399
26 | 0.0014777 | 0.00037036
27 | 0.0022925 | 0.00057455
28 | 0.0013544 | 0.00033943
29 | 0.0028052 | 0.00070304
30 | 0.0028016 | 0.00070215
31 | 0.0013602 | 0.0003409
32 | 0.00058046 | 0.00014548
33 | 0.0013539 | 0.00033933
34 | 0.0018142 | 0.00045467
35 | 0.0020932 | 0.00052461
36 | 0.0014986 | 0.00037559
37 | 0.0066938 | 0.0016776
38 | 0.0027872 | 0.00069854
39 | 0.0022896 | 0.00057382
40 | 0.0026547 | 0.00066534
41 | 0.0072874 | 0.0018264
42 | 0.0035115 | 0.00088007
43 | 0.002149 | 0.0005386
44 | 0.0025602 | 0.00064165
45 | 0.0025067 | 0.00062824
46 | 0.00387 | 0.00096991
47 | 0.001866 | 0.00046766
48 | 0.0029617 | 0.00074228
49 | 0.0025428 | 0.00063729
50 | 0.0018023 | 0.0004517
51 | 0.00088501 | 0.0002218
52 | 0.0022801 | 0.00057144
53 | 0.0022492 | 0.00056371
54 | 0.0036943 | 0.00092589
55 | 0.0055781 | 0.001398
56 | 0.0046286 | 0.00116
57 | 0.0018971 | 0.00047547
58 | 0.00726 | 0.0018195

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1