## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_879-13_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_879-13_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_879-13_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_879-13_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_879-13_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_879-13_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_879-13_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_879-13_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_879-13_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_879-13_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_879-13_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_879-13_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_879-13_0_2_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_879-13_0_2_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_879-13_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_879-13_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_879-13_0_2_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_879-13_0_2_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_879-13_0_2_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_879-13_0_2_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_879-13_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_879-13_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_879-13_0_2_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_879-13_0_2_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_879-13_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_879-13_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_879-13_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_879-13_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_879-13_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_879-13_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_879-13_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_879-13_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_879-13_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_879-13_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_879-13_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_879-13_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_879-13_0_2_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_879-13_0_2_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_879-13_0_2_node_59 | 0.4 | n |  | TRUE
39 | bus_MV_122_1_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_879-13_0_2_load_0 | 0 | 0.0046205 | 0.001158 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_879-13_0_2_load_4 | 3 | 0.0094927 | 0.0023791 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_879-13_0_2_load_7 | 7 | 0.0059198 | 0.0014836 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_879-13_0_2_load_9 | 9 | 0.0049552 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_879-13_0_2_load_10 | 10 | 0.0028908 | 0.0007245 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_879-13_0_2_load_11 | 11 | 0.0078904 | 0.0019775 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_879-13_0_2_load_29 | 12 | 0.016174 | 0.0040535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_879-13_0_2_load_30 | 13 | 0.0027911 | 0.00069952 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_879-13_0_2_load_15 | 14 | 0.0090508 | 0.0022683 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_879-13_0_2_load_12 | 15 | 0.0016427 | 0.00041169 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_879-13_0_2_load_28 | 16 | 0.0080455 | 0.0020164 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_879-13_0_2_load_53 | 19 | 0.0048524 | 0.0012161 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_879-13_0_2_load_17 | 20 | 0.010205 | 0.0025576 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_879-13_0_2_load_13 | 21 | 0.0026063 | 0.00065319 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_879-13_0_2_load_70 | 22 | 0.0028063 | 0.00070332 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_879-13_0_2_load_32 | 23 | 0.0038298 | 0.00095984 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_879-13_0_2_load_14 | 24 | 0.0024065 | 0.00060312 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_879-13_0_2_load_16 | 25 | 0.0019344 | 0.00048479 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_879-13_0_2_load_26 | 26 | 0.0083405 | 0.0020903 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_879-13_0_2_load_23 | 27 | 0.004141 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_879-13_0_2_load_18 | 28 | 0.0076519 | 0.0019177 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_879-13_0_2_load_19 | 29 | 0.0032016 | 0.00080239 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_879-13_0_2_load_24 | 33 | 0.0016107 | 0.00040369 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_879-13_0_2_load_25 | 34 | 0.0010948 | 0.00027437 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_879-13_0_2_load_57 | 36 | 0.003341 | 0.00083734 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_879-13_0_2_load_58 | 37 | 0.003104 | 0.00077795 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_879-13_0_2_load_59 | 38 | 0.0070494 | 0.0017668 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_879-13_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_879-13_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.032625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_879-13_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_879-13_0_2_line_3 | NAYY 4x150 SE | 2 | 7 | 0.019254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_879-13_0_2_line_4 | NAYY 4x150 SE | 2 | 8 | 0.017625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_879-13_0_2_line_5 | NAYY 4x150 SE | 2 | 9 | 0.026179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_879-13_0_2_line_6 | NAYY 4x150 SE | 3 | 10 | 0.026199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_879-13_0_2_line_7 | NAYY 4x150 SE | 4 | 5 | 0.009808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_879-13_0_2_line_8 | NAYY 4x150 SE | 4 | 6 | 0.039961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_879-13_0_2_line_9 | NAYY 4x150 SE | 5 | 11 | 0.0216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_879-13_0_2_line_10 | NAYY 4x150 SE | 6 | 12 | 0.012401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_879-13_0_2_line_11 | NAYY 4x150 SE | 7 | 13 | 0.024986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_879-13_0_2_line_12 | NAYY 4x150 SE | 8 | 14 | 0.027277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_879-13_0_2_line_13 | NAYY 4x150 SE | 8 | 15 | 0.01366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_879-13_0_2_line_14 | NAYY 4x150 SE | 9 | 16 | 0.027344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_879-13_0_2_line_15 | NAYY 4x150 SE | 10 | 17 | 0.012943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_879-13_0_2_line_16 | NAYY 4x150 SE | 11 | 18 | 0.0080912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_879-13_0_2_line_17 | NAYY 4x150 SE | 12 | 16 | 0.0029659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_879-13_0_2_line_18 | NAYY 4x150 SE | 13 | 19 | 0.0037964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_879-13_0_2_line_19 | NAYY 4x150 SE | 14 | 20 | 0.013956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_879-13_0_2_line_20 | NAYY 4x150 SE | 15 | 21 | 0.013741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_879-13_0_2_line_21 | NAYY 4x150 SE | 17 | 22 | 0.022678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_879-13_0_2_line_22 | NAYY 4x150 SE | 18 | 23 | 0.021188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_879-13_0_2_line_23 | NAYY 4x150 SE | 20 | 26 | 0.017923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_879-13_0_2_line_24 | NAYY 4x150 SE | 21 | 24 | 0.010489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_879-13_0_2_line_25 | NAYY 4x150 SE | 23 | 35 | 0.0228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_879-13_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.020337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_879-13_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.014985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_879-13_0_2_line_28 | NAYY 4x150 SE | 27 | 31 | 0.0059732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_879-13_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.020292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_879-13_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.025704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_879-13_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.039547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_879-13_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.071169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_879-13_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.040172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_879-13_0_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.026367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_879-13_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.022479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_879-13_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.014319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_879-13_0_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.017983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_879-13_0_2_trafo_9 | 0.25 MVA 20/0.4 kV | 39 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2603126.4413 | 1184350.4418 | 2603115.8782 | 1184349.8028 | 2603109.5659 | 1184348.7949
1 | 2603126.5849 | 1184383.0587 | 2603126.4342 | 1184364.2934 | 2603126.4413 | 1184350.4418
2 | 2603126.4413 | 1184350.4418 | 2603133.9824 | 1184350.29 | 2603138.8333 | 1184349.7919
3 | 2603126.5849 | 1184383.0587 | 2603145.8389 | 1184383.0618
4 | 2603126.5849 | 1184383.0587 | 2603124.9771 | 1184392.8629 | 2603120.5623 | 1184399.1639
5 | 2603126.5849 | 1184383.0587 | 2603111.8553 | 1184380.8389 | 2603100.7962 | 1184378.5997
6 | 2603138.8333 | 1184349.7919 | 2603141.6306 | 1184349.5047 | 2603151.279 | 1184347.7532 | 2603158.3174 | 1184345.6557 | 2603164.1118 | 1184343.3493
7 | 2603058.6963 | 1184331.9092 | 2603059.9186 | 1184329.7754 | 2603060.3701 | 1184327.3744 | 2603059.9973 | 1184324.9507 | 2603058.8459 | 1184322.7824
8 | 2603059.0439 | 1184369.6066 | 2603057.02 | 1184341.4133 | 2603055.146 | 1184334.2642 | 2603057.0928 | 1184333.3425 | 2603058.6963 | 1184331.9092
9 | 2603058.8459 | 1184322.7824 | 2603062.1901 | 1184320.5384 | 2603064.6713 | 1184319.3057 | 2603067.5338 | 1184318.718 | 2603074.8461 | 1184318.1435 | 2603079.1593 | 1184316.7116
10 | 2603059.0439 | 1184369.6066 | 2603071.1544 | 1184372.2746
11 | 2603145.8389 | 1184383.0618 | 2603158.0462 | 1184383.0637 | 2603158.2547 | 1184378.3614 | 2603166.3268 | 1184378.3656
12 | 2603120.5623 | 1184399.1639 | 2603114.5309 | 1184402.5515 | 2603107.73 | 1184403.2373 | 2603094.2064 | 1184403.2744
13 | 2603120.5623 | 1184399.1639 | 2603130.0232 | 1184409.0168
14 | 2603100.7962 | 1184378.5997 | 2603089.2883 | 1184376.2696 | 2603074.0508 | 1184372.9127
15 | 2603176.0592 | 1184338.3722 | 2603165.4858 | 1184342.8024 | 2603164.1118 | 1184343.3493
16 | 2603084.4212 | 1184310.6223 | 2603081.8701 | 1184314.2117 | 2603079.1593 | 1184316.7116
17 | 2603071.1544 | 1184372.2746 | 2603074.0508 | 1184372.9127
18 | 2603170.1233 | 1184378.3675 | 2603166.3268 | 1184378.3656
19 | 2603094.2064 | 1184403.2744 | 2603080.2501 | 1184403.3127
20 | 2603130.0232 | 1184409.0168 | 2603133.6451 | 1184412.7887 | 2603137.0403 | 1184415.1139 | 2603141.3752 | 1184415.8498
21 | 2603176.0592 | 1184338.3722 | 2603194.8396 | 1184330.3223 | 2603196.9652 | 1184329.5996
22 | 2603084.4212 | 1184310.6223 | 2603100.7784 | 1184309.5411 | 2603105.5737 | 1184309.524
23 | 2603080.2501 | 1184403.3127 | 2603070.1018 | 1184403.3406 | 2603062.3477 | 1184402.7744
24 | 2603141.3752 | 1184415.8498 | 2603141.3752 | 1184415.8498 | 2603146.3292 | 1184414.7963 | 2603151.0155 | 1184412.0648
25 | 2603128.3243 | 1184309.9886 | 2603125.4242 | 1184309.4535 | 2603105.5737 | 1184309.524
26 | 2603169.5628 | 1184404.7142 | 2603165.9575 | 1184404.7123 | 2603160.4688 | 1184406.5548 | 2603151.0155 | 1184412.0648
27 | 2603047.4426 | 1184403.0127 | 2603053.8528 | 1184402.1541 | 2603062.3477 | 1184402.7744
28 | 2603042.8522 | 1184406.4397 | 2603044.3874 | 1184404.395 | 2603046.4106 | 1184403.1509 | 2603047.4426 | 1184403.0127
29 | 2603059.8923 | 1184445.1259 | 2603061.3034 | 1184445.4134 | 2603070.3326 | 1184445.2734 | 2603080.1403 | 1184445.7858
30 | 2603034.3851 | 1184442.7098 | 2603050.8022 | 1184443.2738 | 2603059.8923 | 1184445.1259
31 | 2603034.3851 | 1184442.7098 | 2603040.3558 | 1184438.4772 | 2603041.1755 | 1184432.3522 | 2603041.9959 | 1184424.8599 | 2603042.4652 | 1184417.4563 | 2603042.2473 | 1184410.5193 | 2603042.2865 | 1184408.396 | 2603042.8522 | 1184406.4397
32 | 2603088.7177 | 1184478.4331 | 2603060.7251 | 1184472.4715 | 2603053.0636 | 1184469.5884 | 2603045.9216 | 1184465.5939 | 2603041.8405 | 1184461.1785 | 2603038.6064 | 1184457.0303 | 2603035.8008 | 1184450.659 | 2603035.047 | 1184447.0234 | 2603034.3851 | 1184442.7098
33 | 2603115.461 | 1184449.7096 | 2603108.8501 | 1184452.0074 | 2603088.7177 | 1184478.4331
34 | 2603088.7177 | 1184478.4331 | 2603108.3766 | 1184482.7119 | 2603114.5205 | 1184483.8448
35 | 2603128.3243 | 1184309.9886 | 2603132.8119 | 1184310.8358 | 2603149.5791 | 1184313.9571 | 2603150.4332 | 1184313.8898
36 | 2603150.4332 | 1184313.8898 | 2603164.7083 | 1184312.7654
37 | 2603164.7083 | 1184312.7654 | 2603175.3784 | 1184311.9249 | 2603182.4252 | 1184310.0961

## bus_geodata
| x | y | coords
0 | 2603109.5659 | 1184348.7949
1 | 2603126.4413 | 1184350.4418
2 | 2603126.5849 | 1184383.0587
3 | 2603138.8333 | 1184349.7919
4 | 2603058.6963 | 1184331.9092
5 | 2603058.8459 | 1184322.7824
6 | 2603059.0439 | 1184369.6066
7 | 2603145.8389 | 1184383.0618
8 | 2603120.5623 | 1184399.1639
9 | 2603100.7962 | 1184378.5997
10 | 2603164.1118 | 1184343.3493
11 | 2603079.1593 | 1184316.7116
12 | 2603071.1544 | 1184372.2746
13 | 2603166.3268 | 1184378.3656
14 | 2603094.2064 | 1184403.2744
15 | 2603130.0232 | 1184409.0168
16 | 2603074.0508 | 1184372.9127
17 | 2603176.0592 | 1184338.3722
18 | 2603084.4212 | 1184310.6223
19 | 2603170.1233 | 1184378.3675
20 | 2603080.2501 | 1184403.3127
21 | 2603141.3752 | 1184415.8498
22 | 2603196.9652 | 1184329.5996
23 | 2603105.5737 | 1184309.524
24 | 2603151.0155 | 1184412.0648
25 | 2603169.5628 | 1184404.7142
26 | 2603062.3477 | 1184402.7744
27 | 2603047.4426 | 1184403.0127
28 | 2603059.8923 | 1184445.1259
29 | 2603080.1403 | 1184445.7858
30 | 2603034.3851 | 1184442.7098
31 | 2603042.8522 | 1184406.4397
32 | 2603088.7177 | 1184478.4331
33 | 2603115.461 | 1184449.7096
34 | 2603114.5205 | 1184483.8448
35 | 2603128.3243 | 1184309.9886
36 | 2603150.4332 | 1184313.8898
37 | 2603164.7083 | 1184312.7654
38 | 2603182.4252 | 1184310.096
39 | 2603126.5849 | 1184383.0587

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99569 | -0.03018 | 0.0046205 | 0.001158
1 | 0.9958 | -0.029391 | 0 | 0
2 | 0.99672 | -0.022888 | 0 | 0
3 | 0.99553 | -0.031291 | 0.0094927 | 0.0023791
4 | 0.996 | -0.028019 | 0 | 0
5 | 0.99564 | -0.03051 | 0 | 0
6 | 0.99744 | -0.017891 | 0 | 0
7 | 0.99635 | -0.025514 | 0.0059198 | 0.0014836
8 | 0.99536 | -0.032449 | 0 | 0
9 | 1 | 0 | -0.13822 | -0.03453
10 | 0.99531 | -0.032795 | 0.0028908 | 0.0007245
11 | 0.99486 | -0.036 | 0.0078904 | 0.0019775
12 | 0.99789 | -0.014753 | 0.016174 | 0.0040535
13 | 0.99608 | -0.027435 | 0.0027911 | 0.00069952
14 | 0.99358 | -0.044925 | 0.0090508 | 0.0022683
15 | 0.99519 | -0.033632 | 0.0016427 | 0.00041169
16 | 0.99807 | -0.013522 | 0.0080455 | 0.0020164
17 | 0.99526 | -0.033162 | 0 | 0
18 | 0.99466 | -0.037414 | 0 | 0
19 | 0.99605 | -0.02762 | 0.0048524 | 0.0012161
20 | 0.99286 | -0.050046 | 0.010205 | 0.0025576
21 | 0.99505 | -0.034594 | 0.0026063 | 0.00065319
22 | 0.99517 | -0.033803 | 0.0028063 | 0.00070332
23 | 0.99413 | -0.041121 | 0.0038298 | 0.00095984
24 | 0.99499 | -0.035054 | 0.0024065 | 0.00060312
25 | 0.99493 | -0.03545 | 0.0019344 | 0.00048479
26 | 0.99219 | -0.054779 | 0.0083405 | 0.0020903
27 | 0.9918 | -0.057473 | 0.004141 | 0.0010378
28 | 0.99052 | -0.066587 | 0.0076519 | 0.0019177
29 | 0.99042 | -0.067248 | 0.0032016 | 0.00080239
30 | 0.99092 | -0.06375 | 0 | 0
31 | 0.99169 | -0.058296 | 0 | 0
32 | 0.99064 | -0.065714 | 0 | 0
33 | 0.99055 | -0.066373 | 0.0016107 | 0.00040369
34 | 0.9906 | -0.066008 | 0.0010948 | 0.00027437
35 | 0.99369 | -0.044231 | 0 | 0
36 | 0.99325 | -0.047299 | 0.003341 | 0.00083734
37 | 0.99305 | -0.048771 | 0.003104 | 0.00077795
38 | 0.99286 | -0.050054 | 0.0070494 | 0.0017668
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0046205 | -0.001158 | 0.0046211 | 0.001158 | 5.0506e-07 | -2.6551e-08 | 0.0069052 | 0.0069052 | 0.0069052 | 0.99569 | -0.03018 | 0.9958 | -0.029391 | 2.5575
1 | -0.019816 | -0.0049661 | 0.019834 | 0.0049725 | 1.7851e-05 | 6.4408e-06 | 0.029611 | 0.029611 | 0.029611 | 0.9958 | -0.029391 | 0.99672 | -0.022888 | 10.9672
2 | 0.015195 | 0.0038081 | -0.015191 | -0.0038067 | 3.9954e-06 | 1.3752e-06 | 0.022706 | 0.022706 | 0.022706 | 0.9958 | -0.029391 | 0.99553 | -0.031291 | 8.4097
3 | 0.01357 | 0.0034014 | -0.013565 | -0.0033997 | 4.9313e-06 | 1.6458e-06 | 0.020259 | 0.02026 | 0.02026 | 0.99672 | -0.022888 | 0.99635 | -0.025514 | 7.5035
4 | 0.054106 | 0.013585 | -0.054034 | -0.013557 | 7.1773e-05 | 2.7375e-05 | 0.080783 | 0.080783 | 0.080783 | 0.99672 | -0.022888 | 0.99536 | -0.032449 | 29.9198
5 | -0.08751 | -0.021959 | 0.087789 | 0.022066 | 0.00027886 | 0.00010691 | 0.13065 | 0.13065 | 0.13065 | 0.99672 | -0.022888 | 1 | 0 | 48.3904
6 | 0.0056986 | 0.0014276 | -0.0056974 | -0.0014275 | 1.186e-06 | 1.156e-07 | 0.0085175 | 0.0085177 | 0.0085177 | 0.99553 | -0.031291 | 0.99531 | -0.032795 | 3.1547
7 | 0.02527 | 0.0063388 | -0.025261 | -0.0063356 | 8.724e-06 | 3.2278e-06 | 0.037755 | 0.037755 | 0.037755 | 0.996 | -0.028019 | 0.99564 | -0.03051 | 13.9834
8 | -0.02527 | -0.0063388 | 0.025305 | 0.006352 | 3.5544e-05 | 1.315e-05 | 0.037755 | 0.037755 | 0.037755 | 0.996 | -0.028019 | 0.99744 | -0.017891 | 13.9833
9 | 0.025261 | 0.0063356 | -0.025242 | -0.0063285 | 1.9212e-05 | 7.1087e-06 | 0.037755 | 0.037755 | 0.037755 | 0.99564 | -0.03051 | 0.99486 | -0.036 | 13.9834
10 | -0.025305 | -0.006352 | 0.025316 | 0.006356 | 1.103e-05 | 4.0804e-06 | 0.037755 | 0.037755 | 0.037755 | 0.99744 | -0.017891 | 0.99789 | -0.014753 | 13.9833
11 | 0.0076457 | 0.0019161 | -0.0076436 | -0.0019156 | 2.0329e-06 | 4.5655e-07 | 0.011419 | 0.011419 | 0.011419 | 0.99635 | -0.025514 | 0.99608 | -0.027435 | 4.2291
12 | 0.045441 | 0.011404 | -0.045363 | -0.011374 | 7.8561e-05 | 2.9862e-05 | 0.067938 | 0.067938 | 0.067938 | 0.99536 | -0.032449 | 0.99358 | -0.044925 | 25.1624
13 | 0.0085925 | 0.0021531 | -0.0085911 | -0.0021527 | 1.4064e-06 | 3.6341e-07 | 0.012845 | 0.012845 | 0.012845 | 0.99536 | -0.032449 | 0.99519 | -0.033632 | 4.7575
14 | 0.049636 | 0.012464 | -0.049543 | -0.012429 | 9.3102e-05 | 3.545e-05 | 0.073867 | 0.073867 | 0.073867 | 1 | 0 | 0.99807 | -0.013522 | 27.3583
15 | 0.0028067 | 0.000703 | -0.0028065 | -0.00070312 | 1.4219e-07 | -1.1352e-07 | 0.0041959 | 0.0041959 | 0.0041959 | 0.99531 | -0.032795 | 0.99526 | -0.033162 | 1.554
16 | 0.017351 | 0.0043509 | -0.017348 | -0.0043497 | 3.4009e-06 | 1.203e-06 | 0.025953 | 0.025954 | 0.025954 | 0.99486 | -0.036 | 0.99466 | -0.037414 | 9.6124
17 | -0.04149 | -0.01041 | 0.041497 | 0.010412 | 7.0849e-06 | 2.6862e-06 | 0.061872 | 0.061872 | 0.061872 | 0.99789 | -0.014753 | 0.99807 | -0.013522 | 22.9157
18 | 0.0048525 | 0.0012161 | -0.0048524 | -0.0012161 | 1.2449e-07 | -1.5356e-09 | 0.007249 | 0.0072491 | 0.0072491 | 0.99608 | -0.027435 | 0.99605 | -0.02762 | 2.6848
19 | 0.036312 | 0.009106 | -0.036286 | -0.0090963 | 2.5757e-05 | 9.7259e-06 | 0.054384 | 0.054384 | 0.054384 | 0.99358 | -0.044925 | 0.99286 | -0.050046 | 20.1421
20 | 0.0069484 | 0.001741 | -0.0069475 | -0.0017408 | 9.2549e-07 | 1.7744e-07 | 0.010389 | 0.010389 | 0.010389 | 0.99519 | -0.033632 | 0.99505 | -0.034594 | 3.8478
21 | 0.0028065 | 0.00070312 | -0.0028063 | -0.00070332 | 2.4915e-07 | -1.9885e-07 | 0.0041959 | 0.004196 | 0.004196 | 0.99526 | -0.033162 | 0.99517 | -0.033803 | 1.5541
22 | 0.017348 | 0.0043497 | -0.017339 | -0.0043466 | 8.9058e-06 | 3.1504e-06 | 0.025954 | 0.025954 | 0.025954 | 0.99466 | -0.037414 | 0.99413 | -0.041121 | 9.6125
23 | 0.026081 | 0.0065387 | -0.026064 | -0.0065324 | 1.7089e-05 | 6.3411e-06 | 0.039089 | 0.03909 | 0.03909 | 0.99286 | -0.050046 | 0.99219 | -0.054779 | 14.4776
24 | 0.0043412 | 0.0010877 | -0.0043409 | -0.0010877 | 2.7583e-07 | -3.0152e-08 | 0.0064918 | 0.0064918 | 0.0064918 | 0.99505 | -0.034594 | 0.99499 | -0.035054 | 2.4044
25 | 0.013509 | 0.0033868 | -0.013504 | -0.0033848 | 5.8174e-06 | 1.942e-06 | 0.020221 | 0.020221 | 0.020221 | 0.99413 | -0.041121 | 0.99369 | -0.044231 | 7.4894
26 | 0.0019345 | 0.00048457 | -0.0019344 | -0.00048479 | 1.0621e-07 | -2.2327e-07 | 0.0028929 | 0.002893 | 0.002893 | 0.99499 | -0.035054 | 0.99493 | -0.03545 | 1.0715
27 | 0.017724 | 0.004442 | -0.017717 | -0.0044397 | 6.6066e-06 | 2.3476e-06 | 0.026581 | 0.026581 | 0.026581 | 0.99219 | -0.054779 | 0.9918 | -0.057473 | 9.8448
28 | 0.013576 | 0.0034019 | -0.013575 | -0.0034013 | 1.5463e-06 | 5.1766e-07 | 0.020368 | 0.020368 | 0.020368 | 0.9918 | -0.057473 | 0.99169 | -0.058296 | 7.5438
29 | 0.0032018 | 0.00080223 | -0.0032016 | -0.00080238 | 2.9295e-07 | -1.4849e-07 | 0.0048099 | 0.00481 | 0.00481 | 0.99052 | -0.066587 | 0.99042 | -0.067248 | 1.7815
30 | -0.010854 | -0.00272 | 0.010858 | 0.0027213 | 4.264e-06 | 1.309e-06 | 0.016305 | 0.016305 | 0.016305 | 0.99052 | -0.066587 | 0.99092 | -0.06375 | 6.0389
31 | -0.013564 | -0.0033979 | 0.013575 | 0.0034013 | 1.0238e-05 | 3.4278e-06 | 0.020368 | 0.020368 | 0.020368 | 0.99092 | -0.06375 | 0.99169 | -0.058296 | 7.5439
32 | 0.0027064 | 0.00067664 | -0.0027057 | -0.00067727 | 7.3335e-07 | -6.3449e-07 | 0.0040635 | 0.0040638 | 0.0040638 | 0.99092 | -0.06375 | 0.99064 | -0.065714 | 1.5051
33 | 0.0016109 | 0.00040322 | -0.0016107 | -0.00040368 | 1.4675e-07 | -4.6072e-07 | 0.0024195 | 0.0024197 | 0.0024197 | 0.99064 | -0.065714 | 0.99055 | -0.066373 | 0.89617
34 | 0.0010948 | 0.00027405 | -0.0010948 | -0.00027437 | 4.449e-08 | -3.2234e-07 | 0.0016444 | 0.0016445 | 0.0016445 | 0.99064 | -0.065714 | 0.9906 | -0.066008 | 0.60907
35 | 0.013504 | 0.0033848 | -0.013498 | -0.0033829 | 5.7356e-06 | 1.9149e-06 | 0.020221 | 0.020221 | 0.020221 | 0.99369 | -0.044231 | 0.99325 | -0.047299 | 7.4894
36 | 0.010157 | 0.0025456 | -0.010155 | -0.0025449 | 2.0688e-06 | 6.1039e-07 | 0.015216 | 0.015216 | 0.015216 | 0.99325 | -0.047299 | 0.99305 | -0.048771 | 5.6356
37 | 0.0070507 | 0.001767 | -0.0070494 | -0.0017667 | 1.2526e-06 | 2.4913e-07 | 0.010565 | 0.010565 | 0.010565 | 0.99305 | -0.048771 | 0.99286 | -0.050054 | 3.913

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14318 | 0.035772

## res_load
| p_mw | q_mvar
0 | 0.0046205 | 0.001158
1 | 0.0094927 | 0.0023791
2 | 0.0059198 | 0.0014836
3 | 0.0049552 | 0.0012419
4 | 0.0028908 | 0.0007245
5 | 0.0078904 | 0.0019775
6 | 0.016174 | 0.0040535
7 | 0.0027911 | 0.00069952
8 | 0.0090508 | 0.0022683
9 | 0.0016427 | 0.00041169
10 | 0.0080455 | 0.0020164
11 | 0.0048524 | 0.0012161
12 | 0.010205 | 0.0025576
13 | 0.0026063 | 0.00065319
14 | 0.0028063 | 0.00070332
15 | 0.0038298 | 0.00095984
16 | 0.0024065 | 0.00060312
17 | 0.0019344 | 0.00048479
18 | 0.0083405 | 0.0020903
19 | 0.004141 | 0.0010378
20 | 0.0076519 | 0.0019177
21 | 0.0032016 | 0.00080239
22 | 0.0016107 | 0.00040369
23 | 0.0010948 | 0.00027437
24 | 0.003341 | 0.00083734
25 | 0.003104 | 0.00077795
26 | 0.0070494 | 0.0017668

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1