## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_879-13_1_2_node_34 | 0.4 | n |  | TRUE
1 | bus_LV_879-13_1_2_node_35 | 0.4 | n |  | TRUE
2 | bus_LV_879-13_1_2_node_36 | 0.4 | n |  | TRUE
3 | bus_LV_879-13_1_2_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_879-13_1_2_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_879-13_1_2_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_879-13_1_2_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_879-13_1_2_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_879-13_1_2_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_879-13_1_2_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_879-13_1_2_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_879-13_1_2_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_879-13_1_2_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_879-13_1_2_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_879-13_1_2_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_879-13_1_2_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_879-13_1_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_879-13_1_2_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_879-13_1_2_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_879-13_1_2_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_879-13_1_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_879-13_1_2_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_879-13_1_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_879-13_1_2_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_879-13_1_2_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_879-13_1_2_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_879-13_1_2_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_879-13_1_2_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_879-13_1_2_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_879-13_1_2_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_879-13_1_2_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_879-13_1_2_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_879-13_1_2_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_879-13_1_2_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_879-13_1_2_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_879-13_1_2_node_78 | 0.4 | n |  | TRUE
36 | bus_MV_122_1_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_879-13_1_2_load_34 | 0 | 0.0039456 | 0.00098886 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_879-13_1_2_load_37 | 3 | 0.0039508 | 0.00099018 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_879-13_1_2_load_38 | 4 | 0.0038911 | 0.00097521 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_879-13_1_2_load_39 | 5 | 0.0038579 | 0.00096688 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_879-13_1_2_load_42 | 7 | 0.0020567 | 0.00051545 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_879-13_1_2_load_43 | 8 | 0.002859 | 0.00071653 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_879-13_1_2_load_45 | 11 | 0.0076199 | 0.0019097 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_879-13_1_2_load_47 | 13 | 0.0022228 | 0.00055709 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_879-13_1_2_load_66 | 15 | 0.0020274 | 0.00050811 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_879-13_1_2_load_49 | 16 | 0.0024222 | 0.00060705 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_879-13_1_2_load_50 | 17 | 0.0019823 | 0.00049681 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_879-13_1_2_load_51 | 18 | 0.0021728 | 0.00054455 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_879-13_1_2_load_52 | 19 | 0.0016596 | 0.00041593 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_879-13_1_2_load_63 | 21 | 0.0056588 | 0.0014182 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_879-13_1_2_load_55 | 22 | 0.003048 | 0.0007639 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_879-13_1_2_load_56 | 23 | 0.0023054 | 0.00057778 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_879-13_1_2_load_61 | 24 | 0.0030499 | 0.00076439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_879-13_1_2_load_62 | 25 | 0.0013554 | 0.0003397 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_879-13_1_2_load_77 | 26 | 0.0038353 | 0.00096121 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_879-13_1_2_load_64 | 27 | 0.00398 | 0.00099748 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_879-13_1_2_load_65 | 28 | 0.0028334 | 0.00071012 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_879-13_1_2_load_76 | 29 | 0.0032908 | 0.00082475 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_879-13_1_2_load_68 | 30 | 0.011421 | 0.0028623 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_879-13_1_2_load_72 | 31 | 0.002694 | 0.00067518 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_879-13_1_2_load_73 | 32 | 0.0024864 | 0.00062315 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_879-13_1_2_load_75 | 34 | 0.0031289 | 0.00078418 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_879-13_1_2_load_78 | 35 | 0.0034795 | 0.00087204 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_879-13_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0036974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_879-13_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0043272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_879-13_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.035313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_879-13_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.022157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_879-13_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.022174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_879-13_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.020693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_879-13_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.034295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_879-13_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.073612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_879-13_1_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.026649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_879-13_1_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.018368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_879-13_1_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.0010217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_879-13_1_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.030898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_879-13_1_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.021915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_879-13_1_2_line_13 | NAYY 4x150 SE | 10 | 30 | 0.063369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_879-13_1_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.016417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_879-13_1_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.01193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_879-13_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.012907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_879-13_1_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.0073471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_879-13_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.029747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_879-13_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.011985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_879-13_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.048777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_879-13_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.023374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_879-13_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.008833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_879-13_1_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.020948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_879-13_1_2_line_24 | NAYY 4x150 SE | 21 | 27 | 0.0088301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_879-13_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.026757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_879-13_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.025456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_879-13_1_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.029877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_879-13_1_2_line_28 | NAYY 4x150 SE | 26 | 35 | 0.032099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_879-13_1_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0011902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_879-13_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.031649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_879-13_1_2_line_31 | NAYY 4x150 SE | 29 | 33 | 0.010979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_879-13_1_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.012543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_879-13_1_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.013554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_879-13_1_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.0063881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_879-13_1_2_trafo_49 | 0.25 MVA 20/0.4 kV | 36 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2603415.2843 | 1184329.5743 | 2603418.9804 | 1184329.6737
1 | 2603423.306 | 1184329.79 | 2603418.9804 | 1184329.6737
2 | 2603415.2843 | 1184329.5743 | 2603409.8119 | 1184329.3378 | 2603379.9955 | 1184328.271
3 | 2603415.2843 | 1184329.5743 | 2603415.3102 | 1184337.8341 | 2603411.3956 | 1184351.1688
4 | 2603423.306 | 1184329.79 | 2603445.4706 | 1184330.4244
5 | 2603359.3157 | 1184327.5311 | 2603379.9955 | 1184328.271
6 | 2603401.8603 | 1184384.1114 | 2603407.6096 | 1184364.0655 | 2603411.3956 | 1184351.1688
7 | 2603359.3157 | 1184327.5311 | 2603359.9469 | 1184317.7375 | 2603360.5978 | 1184313.9582 | 2603362.2024 | 1184310.7018 | 2603364.4173 | 1184308.0906 | 2603368.0285 | 1184306.3583 | 2603379.7393 | 1184302.1182 | 2603385.1141 | 1184299.542 | 2603388.6805 | 1184295.9311 | 2603391.1333 | 1184291.0188 | 2603391.8236 | 1184284.9938 | 2603390.2933 | 1184278.0116 | 2603387.1261 | 1184272.0959
8 | 2603332.6021 | 1184326.6939 | 2603359.3157 | 1184327.5311
9 | 2603396.7962 | 1184401.7678 | 2603401.8603 | 1184384.1114
10 | 2603386.6439 | 1184271.1952 | 2603387.1261 | 1184272.0959
11 | 2603301.645 | 1184325.3208 | 2603332.6021 | 1184326.6939
12 | 2603332.6021 | 1184326.6939 | 2603334.8363 | 1184330.6638 | 2603339.406 | 1184334.6684 | 2603347.7997 | 1184338.5416 | 2603349.7029 | 1184339.2746
13 | 2603396.7962 | 1184401.7678 | 2603358.3172 | 1184394.4317 | 2603343.7567 | 1184390.2104 | 2603335.149 | 1184386.9374
14 | 2603377.3211 | 1184258.1275 | 2603379.7094 | 1184259.474 | 2603381.357 | 1184261.3203 | 2603386.6439 | 1184271.1952
15 | 2603302.3613 | 1184313.4151 | 2603301.645 | 1184325.3208
16 | 2603377.3211 | 1184258.1275 | 2603374.8104 | 1184257.3035 | 2603371.7115 | 1184257.3796 | 2603368.4595 | 1184258.3672 | 2603365.1825 | 1184260.2235
17 | 2603377.3211 | 1184258.1275 | 2603379.0336 | 1184253.1259 | 2603380.1642 | 1184251.4034
18 | 2603365.1825 | 1184260.2235 | 2603349.2268 | 1184269.2623 | 2603344.6537 | 1184271.2163 | 2603340.2646 | 1184271.9365 | 2603338.2855 | 1184271.7523
19 | 2603390.2937 | 1184245.0682 | 2603381.8213 | 1184249.9369 | 2603380.1642 | 1184251.4034
20 | 2603307.3253 | 1184237.5342 | 2603310.0494 | 1184239.1032 | 2603311.9333 | 1184241.5833 | 2603322.6458 | 1184262.6888 | 2603325.7502 | 1184266.5369 | 2603329.7557 | 1184269.5851 | 2603334.7388 | 1184271.4221 | 2603338.2855 | 1184271.7523
21 | 2603390.2937 | 1184245.0682 | 2603410.56 | 1184233.4221 | 2603410.56 | 1184233.4221
22 | 2603307.3253 | 1184237.5342 | 2603303.3715 | 1184237.621 | 2603299.9282 | 1184239.4646 | 2603299.2134 | 1184240.1239
23 | 2603307.3253 | 1184237.5342 | 2603310.1786 | 1184226.0076 | 2603308.3871 | 1184221.849 | 2603305.4072 | 1184218.4167
24 | 2603410.56 | 1184233.4221 | 2603406.5552 | 1184229.0843 | 2603404.425 | 1184227.0779
25 | 2603299.2134 | 1184240.1239 | 2603296.4231 | 1184242.6977 | 2603293.5126 | 1184247.2096 | 2603290.601 | 1184253.6446 | 2603288.0375 | 1184263.8569
26 | 2603288.311 | 1184199.5811 | 2603292.9176 | 1184204.0315 | 2603305.4072 | 1184218.4167
27 | 2603288.0375 | 1184263.8569 | 2603258.5184 | 1184268.4682
28 | 2603258.5184 | 1184268.4682 | 2603250.7813 | 1184237.3158
29 | 2603404.425 | 1184227.0779 | 2603403.5587 | 1184226.2618
30 | 2603379.0938 | 1184206.3541 | 2603387.361 | 1184211.5313 | 2603401.5126 | 1184224.3346 | 2603403.5587 | 1184226.2618
31 | 2603369.7889 | 1184200.527 | 2603379.0938 | 1184206.3541
32 | 2603357.9561 | 1184207.1372 | 2603347.0058 | 1184213.2544 | 2603347.0058 | 1184213.2544
33 | 2603369.7889 | 1184200.527 | 2603357.9561 | 1184207.1372
34 | 2603345.9643 | 1184219.5571 | 2603347.0058 | 1184213.2544

## bus_geodata
| x | y | coords
0 | 2603418.9804 | 1184329.6737
1 | 2603415.2843 | 1184329.5743
2 | 2603423.306 | 1184329.79
3 | 2603379.9955 | 1184328.271
4 | 2603411.3956 | 1184351.1688
5 | 2603445.4706 | 1184330.4244
6 | 2603359.3157 | 1184327.5311
7 | 2603401.8603 | 1184384.1114
8 | 2603387.1261 | 1184272.0959
9 | 2603332.6021 | 1184326.6939
10 | 2603396.7962 | 1184401.7678
11 | 2603386.6439 | 1184271.1952
12 | 2603301.645 | 1184325.3208
13 | 2603349.7029 | 1184339.2746
14 | 2603377.3211 | 1184258.1275
15 | 2603302.3613 | 1184313.4151
16 | 2603365.1825 | 1184260.2235
17 | 2603380.1642 | 1184251.4034
18 | 2603338.2855 | 1184271.7523
19 | 2603390.2937 | 1184245.0682
20 | 2603307.3253 | 1184237.5342
21 | 2603410.56 | 1184233.4221
22 | 2603299.2134 | 1184240.1239
23 | 2603305.4072 | 1184218.4167
24 | 2603288.0375 | 1184263.8569
25 | 2603288.311 | 1184199.5811
26 | 2603258.5184 | 1184268.4682
27 | 2603404.425 | 1184227.0779
28 | 2603403.5587 | 1184226.2618
29 | 2603379.0938 | 1184206.3541
30 | 2603335.149 | 1184386.9374
31 | 2603357.9561 | 1184207.1372
32 | 2603347.0058 | 1184213.2544
33 | 2603369.7889 | 1184200.527
34 | 2603345.9643 | 1184219.5571
35 | 2603250.7813 | 1184237.3158
36 | 2603377.3211 | 1184258.1275

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99187 | -0.056978 | 0.0039456 | 0.00098886
1 | 0.99191 | -0.056685 | 0 | 0
2 | 0.99185 | -0.057147 | 0 | 0
3 | 0.99319 | -0.047674 | 0.0039508 | 0.00099018
4 | 0.99136 | -0.060594 | 0.0038911 | 0.00097521
5 | 0.99172 | -0.058016 | 0.0038579 | 0.00096688
6 | 0.99406 | -0.041577 | 0 | 0
7 | 0.99069 | -0.065294 | 0.0020567 | 0.00051545
8 | 0.99759 | -0.016828 | 0.002859 | 0.00071653
9 | 0.99389 | -0.042723 | 0 | 0
10 | 0.99039 | -0.067429 | 0 | 0
11 | 0.99764 | -0.016456 | 0.0076199 | 0.0019097
12 | 0.9938 | -0.043357 | 0 | 0
13 | 0.99382 | -0.043216 | 0.0022228 | 0.00055709
14 | 0.99868 | -0.009238 | 0 | 0
15 | 0.99377 | -0.043602 | 0.0020274 | 0.00050811
16 | 1 | 0 | -0.092053 | -0.022919
17 | 0.99838 | -0.011277 | 0.0019823 | 0.00049681
18 | 0.99918 | -0.0057245 | 0.0021728 | 0.00054455
19 | 0.99794 | -0.014367 | 0.0016596 | 0.00041593
20 | 0.99799 | -0.014068 | 0 | 0
21 | 0.99714 | -0.020013 | 0.0056588 | 0.0014182
22 | 0.99782 | -0.015256 | 0.003048 | 0.0007639
23 | 0.99788 | -0.014837 | 0.0023054 | 0.00057778
24 | 0.99743 | -0.018039 | 0.0030499 | 0.00076439
25 | 0.99783 | -0.015183 | 0.0013554 | 0.0003397
26 | 0.99711 | -0.020233 | 0.0038353 | 0.00096121
27 | 0.99691 | -0.021646 | 0.00398 | 0.00099748
28 | 0.99688 | -0.021819 | 0.0028334 | 0.00071012
29 | 0.99636 | -0.02551 | 0.0032908 | 0.00082475
30 | 0.98935 | -0.074803 | 0.011421 | 0.0028623
31 | 0.99606 | -0.02756 | 0.002694 | 0.00067518
32 | 0.99596 | -0.028269 | 0.0024864 | 0.00062315
33 | 0.99623 | -0.026427 | 0 | 0
34 | 0.99594 | -0.02847 | 0.0031289 | 0.00078418
35 | 0.99695 | -0.021355 | 0.0034795 | 0.00087204
36 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007804 | -0.0019556 | 0.0078043 | 0.0019557 | 3.1624e-07 | 7.3907e-08 | 0.011708 | 0.011708 | 0.011708 | 0.99187 | -0.056978 | 0.99191 | -0.056685 | 4.3362
1 | 0.0038584 | 0.00096675 | -0.0038583 | -0.00096677 | 9.0472e-08 | -2.1053e-08 | 0.0057884 | 0.0057884 | 0.0057884 | 0.99187 | -0.056978 | 0.99185 | -0.057147 | 2.1439
2 | -0.025206 | -0.0063197 | 0.025238 | 0.0063313 | 3.1508e-05 | 1.1662e-05 | 0.037814 | 0.037814 | 0.037814 | 0.99191 | -0.056685 | 0.99319 | -0.047674 | 14.0052
3 | 0.017402 | 0.004364 | -0.017392 | -0.0043607 | 9.4231e-06 | 3.3384e-06 | 0.026106 | 0.026106 | 0.026106 | 0.99191 | -0.056685 | 0.99136 | -0.060594 | 9.6691
4 | 0.0038583 | 0.00096677 | -0.0038579 | -0.00096688 | 4.636e-07 | -1.0783e-07 | 0.0057884 | 0.0057885 | 0.0057885 | 0.99185 | -0.057147 | 0.99172 | -0.058016 | 2.1439
5 | -0.029189 | -0.0073215 | 0.029213 | 0.0073307 | 2.4696e-05 | 9.2305e-06 | 0.043733 | 0.043733 | 0.043733 | 0.99319 | -0.047674 | 0.99406 | -0.041577 | 16.1974
6 | 0.013501 | 0.0033854 | -0.013492 | -0.0033825 | 8.7892e-06 | 2.9386e-06 | 0.020266 | 0.020266 | 0.020266 | 0.99136 | -0.060594 | 0.99069 | -0.065294 | 7.5059
7 | -0.033465 | -0.0083952 | 0.03358 | 0.0084385 | 0.00011528 | 4.338e-05 | 0.050096 | 0.050096 | 0.050096 | 0.99406 | -0.041577 | 0.99759 | -0.016828 | 18.5542
8 | 0.0042513 | 0.0010644 | -0.0042506 | -0.0010645 | 6.7337e-07 | -8.6426e-08 | 0.0063634 | 0.0063635 | 0.0063635 | 0.99406 | -0.041577 | 0.99389 | -0.042723 | 2.3569
9 | 0.011436 | 0.0028671 | -0.011432 | -0.002866 | 3.3818e-06 | 1.0643e-06 | 0.017177 | 0.017177 | 0.017177 | 0.99069 | -0.065294 | 0.99039 | -0.067429 | 6.3619
10 | -0.036439 | -0.0091551 | 0.036441 | 0.0091558 | 1.8839e-06 | 7.1125e-07 | 0.054361 | 0.05436 | 0.054361 | 0.99759 | -0.016828 | 0.99764 | -0.016456 | 20.1335
11 | 0.0020276 | 0.00050765 | -0.0020274 | -0.00050798 | 1.7766e-07 | -3.3206e-07 | 0.0030355 | 0.0030356 | 0.0030356 | 0.99389 | -0.042723 | 0.9938 | -0.043357 | 1.1243
12 | 0.002223 | 0.00055687 | -0.0022228 | -0.00055709 | 1.5147e-07 | -2.2573e-07 | 0.0033281 | 0.0033282 | 0.0033282 | 0.99389 | -0.042723 | 0.99382 | -0.043216 | 1.2327
13 | 0.011432 | 0.002866 | -0.011421 | -0.0028623 | 1.1667e-05 | 3.6728e-06 | 0.017177 | 0.017177 | 0.017177 | 0.99039 | -0.067429 | 0.98935 | -0.074803 | 6.362
14 | -0.044061 | -0.011066 | 0.044105 | 0.011082 | 4.4255e-05 | 1.6806e-05 | 0.065726 | 0.065726 | 0.065726 | 0.99764 | -0.016456 | 0.99868 | -0.009238 | 24.3429
15 | 0.0020274 | 0.00050798 | -0.0020274 | -0.00050811 | 6.8601e-08 | -1.2819e-07 | 0.0030356 | 0.0030357 | 0.0030357 | 0.9938 | -0.043357 | 0.99377 | -0.043602 | 1.1243
16 | -0.07187 | -0.018046 | 0.071963 | 0.018082 | 9.238e-05 | 3.5362e-05 | 0.1071 | 0.1071 | 0.1071 | 0.99868 | -0.009238 | 1 | 0 | 39.6658
17 | 0.027765 | 0.0069638 | -0.027758 | -0.0069609 | 7.8471e-06 | 2.922e-06 | 0.041372 | 0.041372 | 0.041372 | 0.99868 | -0.009238 | 0.99838 | -0.011277 | 15.323
18 | 0.019291 | 0.0048378 | -0.019275 | -0.0048323 | 1.5296e-05 | 5.493e-06 | 0.028706 | 0.028706 | 0.028706 | 1 | 0 | 0.99918 | -0.0057245 | 10.6319
19 | 0.025775 | 0.0064641 | -0.025764 | -0.00646 | 1.1037e-05 | 4.0885e-06 | 0.038417 | 0.038418 | 0.038418 | 0.99838 | -0.011277 | 0.99794 | -0.014367 | 14.2287
20 | 0.017103 | 0.0042877 | -0.017083 | -0.0042808 | 1.9746e-05 | 6.9564e-06 | 0.02547 | 0.025471 | 0.025471 | 0.99918 | -0.0057245 | 0.99799 | -0.014068 | 9.4336
21 | 0.024105 | 0.0060441 | -0.024086 | -0.0060372 | 1.8843e-05 | 6.9422e-06 | 0.035943 | 0.035943 | 0.035943 | 0.99794 | -0.014367 | 0.99714 | -0.020013 | 13.3123
22 | 0.013422 | 0.0033637 | -0.013419 | -0.003363 | 2.2073e-06 | 7.3358e-07 | 0.020012 | 0.020012 | 0.020012 | 0.99799 | -0.014068 | 0.99782 | -0.015256 | 7.4118
23 | 0.0036613 | 0.00091705 | -0.0036609 | -0.00091718 | 3.8952e-07 | -1.2388e-07 | 0.0054588 | 0.0054589 | 0.0054589 | 0.99799 | -0.014068 | 0.99788 | -0.014837 | 2.0218
24 | 0.018427 | 0.0046189 | -0.018423 | -0.0046174 | 4.1665e-06 | 1.4873e-06 | 0.027499 | 0.027499 | 0.027499 | 0.99714 | -0.020013 | 0.99691 | -0.021646 | 10.1846
25 | 0.010371 | 0.0025991 | -0.010367 | -0.0025979 | 3.9941e-06 | 1.1868e-06 | 0.015467 | 0.015467 | 0.015467 | 0.99782 | -0.015256 | 0.99743 | -0.018039 | 5.7284
26 | 0.0013555 | 0.0003394 | -0.0013554 | -0.0003397 | 6.4894e-08 | -3.0757e-07 | 0.0020212 | 0.0020213 | 0.0020213 | 0.99788 | -0.014837 | 0.99783 | -0.015183 | 0.74862
27 | 0.0073175 | 0.0018335 | -0.0073153 | -0.001833 | 2.2218e-06 | 4.647e-07 | 0.010917 | 0.010917 | 0.010917 | 0.99743 | -0.018039 | 0.99711 | -0.020233 | 4.0432
28 | 0.00348 | 0.00087183 | -0.0034795 | -0.00087204 | 5.402e-07 | -2.1085e-07 | 0.0051932 | 0.0051933 | 0.0051933 | 0.99711 | -0.020233 | 0.99695 | -0.021355 | 1.9235
29 | 0.014443 | 0.00362 | -0.014442 | -0.0036198 | 3.4515e-07 | 1.1723e-07 | 0.021558 | 0.021558 | 0.021558 | 0.99691 | -0.021646 | 0.99688 | -0.021819 | 7.9844
30 | 0.011609 | 0.0029097 | -0.011603 | -0.0029078 | 5.9303e-06 | 1.8685e-06 | 0.017329 | 0.017329 | 0.017329 | 0.99688 | -0.021819 | 0.99636 | -0.02551 | 6.418
31 | 0.0083123 | 0.0020831 | -0.0083113 | -0.0020828 | 1.0558e-06 | 2.631e-07 | 0.012414 | 0.012414 | 0.012414 | 0.99636 | -0.02551 | 0.99623 | -0.026427 | 4.5978
32 | 0.0056159 | 0.0014073 | -0.0056154 | -0.0014073 | 5.509e-07 | 4.8637e-08 | 0.0083896 | 0.0083896 | 0.0083896 | 0.99606 | -0.02756 | 0.99596 | -0.028269 | 3.1073
33 | -0.00831 | -0.0020825 | 0.0083113 | 0.0020828 | 1.3034e-06 | 3.2486e-07 | 0.012414 | 0.012414 | 0.012414 | 0.99606 | -0.02756 | 0.99623 | -0.026427 | 4.5978
34 | 0.003129 | 0.00078413 | -0.0031289 | -0.00078418 | 8.7116e-08 | -4.9624e-08 | 0.0046748 | 0.0046749 | 0.0046749 | 0.99596 | -0.028269 | 0.99594 | -0.02847 | 1.7314

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.094475 | 0.023526

## res_load
| p_mw | q_mvar
0 | 0.0039456 | 0.00098886
1 | 0.0039508 | 0.00099018
2 | 0.0038911 | 0.00097521
3 | 0.0038579 | 0.00096688
4 | 0.0020567 | 0.00051545
5 | 0.002859 | 0.00071653
6 | 0.0076199 | 0.0019097
7 | 0.0022228 | 0.00055709
8 | 0.0020274 | 0.00050811
9 | 0.0024222 | 0.00060705
10 | 0.0019823 | 0.00049681
11 | 0.0021728 | 0.00054455
12 | 0.0016596 | 0.00041593
13 | 0.0056588 | 0.0014182
14 | 0.003048 | 0.0007639
15 | 0.0023054 | 0.00057778
16 | 0.0030499 | 0.00076439
17 | 0.0013554 | 0.0003397
18 | 0.0038353 | 0.00096121
19 | 0.00398 | 0.00099748
20 | 0.0028334 | 0.00071012
21 | 0.0032908 | 0.00082475
22 | 0.011421 | 0.0028623
23 | 0.002694 | 0.00067518
24 | 0.0024864 | 0.00062315
25 | 0.0031289 | 0.00078418
26 | 0.0034795 | 0.00087204

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1