## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_879-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_879-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_879-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_879-16_0_4_node_50 | 0.4 | n |  | TRUE
4 | bus_LV_879-16_0_4_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_879-16_0_4_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_879-16_0_4_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_879-16_0_4_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_879-16_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_879-16_0_4_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_879-16_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_879-16_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_879-16_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_879-16_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_879-16_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_879-16_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_879-16_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_879-16_0_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_879-16_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_879-16_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_879-16_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_879-16_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_879-16_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_879-16_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_879-16_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_879-16_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_879-16_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_879-16_0_4_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_879-16_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_879-16_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_879-16_0_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_879-16_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_879-16_0_4_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_879-16_0_4_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_879-16_0_4_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_879-16_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_879-16_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_879-16_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_879-16_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_879-16_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_879-16_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_879-16_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_879-16_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_879-16_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_879-16_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_879-16_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_879-16_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_879-16_0_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_879-16_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_879-16_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_879-16_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_879-16_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_879-16_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_879-16_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_879-16_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_879-16_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_879-16_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_879-16_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_879-16_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_879-16_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_879-16_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_879-16_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_879-16_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_879-16_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_879-16_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_879-16_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_879-16_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_879-16_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_MV_122_1_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_879-16_0_4_load_0 | 0 | 0.00086005 | 0.00021555 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_879-16_0_4_load_1 | 1 | 0.0014365 | 0.00036003 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_879-16_0_4_load_50 | 3 | 0.0011527 | 0.0002889 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_879-16_0_4_load_66 | 5 | 0.00049176 | 0.00012325 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_879-16_0_4_load_52 | 6 | 0.0010786 | 0.00027031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_879-16_0_4_load_48 | 7 | 4.112e-05 | 1.0306e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_879-16_0_4_load_3 | 9 | 0.030083 | 0.0075394 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_879-16_0_4_load_4 | 10 | 0.019414 | 0.0048657 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_879-16_0_4_load_5 | 11 | 0.055766 | 0.013976 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_879-16_0_4_load_6 | 12 | 0.043777 | 0.010972 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_879-16_0_4_load_13 | 14 | 0.0027792 | 0.00069653 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_879-16_0_4_load_23 | 16 | 0.0011526 | 0.00028886 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_879-16_0_4_load_70 | 17 | 0.002191 | 0.00054911 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_879-16_0_4_load_8 | 20 | 0.00098176 | 0.00024605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_879-16_0_4_load_9 | 21 | 0.00097668 | 0.00024478 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_879-16_0_4_load_10 | 22 | 0.000976 | 0.00024461 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_879-16_0_4_load_11 | 23 | 0.0009771 | 0.00024488 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_879-16_0_4_load_19 | 26 | 0.0003814 | 9.5587e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_879-16_0_4_load_41 | 27 | 0.00072328 | 0.00018127 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_879-16_0_4_load_38 | 28 | 0.00038575 | 9.6678e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_879-16_0_4_load_18 | 29 | 0.00038189 | 9.5711e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_879-16_0_4_load_68 | 32 | 0.00032418 | 8.1248e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_879-16_0_4_load_65 | 33 | 0.00053314 | 0.00013362 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_879-16_0_4_load_20 | 35 | 0.00051639 | 0.00012942 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_879-16_0_4_load_21 | 36 | 0.00057113 | 0.00014314 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_879-16_0_4_load_55 | 37 | 0.0025382 | 0.00063612 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_879-16_0_4_load_39 | 38 | 0.00042802 | 0.00010727 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_879-16_0_4_load_26 | 39 | 0.0012774 | 0.00032015 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_879-16_0_4_load_27 | 40 | 0.001435 | 0.00035965 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_879-16_0_4_load_28 | 41 | 0.00093169 | 0.0002335 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_879-16_0_4_load_29 | 42 | 0.00068929 | 0.00017275 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_879-16_0_4_load_37 | 44 | 0.0025735 | 0.00064499 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_879-16_0_4_load_54 | 45 | 0.00045356 | 0.00011367 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_879-16_0_4_load_43 | 46 | 0.00062139 | 0.00015573 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_879-16_0_4_load_57 | 47 | 0.00035874 | 8.991e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_879-16_0_4_load_31 | 48 | 0.0010937 | 0.0002741 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_879-16_0_4_load_32 | 49 | 0.002049 | 0.00051354 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_879-16_0_4_load_35 | 52 | 0.00055436 | 0.00013893 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_879-16_0_4_load_36 | 53 | 0.00077145 | 0.00019334 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_879-16_0_4_load_59 | 54 | 0.00093754 | 0.00023497 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_879-16_0_4_load_53 | 56 | 0.0035352 | 0.000886 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_879-16_0_4_load_63 | 57 | 0.0007958 | 0.00019945 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_879-16_0_4_load_58 | 58 | 0.00091712 | 0.00022985 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_879-16_0_4_load_47 | 59 | 0.0046731 | 0.0011712 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_879-16_0_4_load_61 | 60 | 0.002896 | 0.0007258 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_879-16_0_4_load_42 | 61 | 0.00071358 | 0.00017884 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_879-16_0_4_load_56 | 63 | 0.00050835 | 0.00012741 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_879-16_0_4_load_45 | 65 | 0.00070651 | 0.00017707 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_879-16_0_4_load_46 | 66 | 0.0024043 | 0.00060257 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_879-16_0_4_load_60 | 67 | 0.0016922 | 0.00042411 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_879-16_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_879-16_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.074264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_879-16_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.25234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_879-16_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.1602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_879-16_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.16381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_879-16_0_4_line_5 | NAYY 4x150 SE | 3 | 8 | 0.039937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_879-16_0_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_879-16_0_4_line_7 | NAYY 4x150 SE | 6 | 43 | 0.022716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_879-16_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.042408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_879-16_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.010151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_879-16_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.036302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_879-16_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.037967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_879-16_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.03718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_879-16_0_4_line_13 | NAYY 4x150 SE | 13 | 16 | 0.012838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_879-16_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.011022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_879-16_0_4_line_15 | NAYY 4x150 SE | 15 | 18 | 0.048315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_879-16_0_4_line_16 | NAYY 4x150 SE | 16 | 19 | 0.01942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_879-16_0_4_line_17 | NAYY 4x150 SE | 17 | 18 | 0.041922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_879-16_0_4_line_18 | NAYY 4x150 SE | 17 | 19 | 0.04282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_879-16_0_4_line_19 | NAYY 4x150 SE | 18 | 30 | 0.008347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_879-16_0_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.020654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_879-16_0_4_line_21 | NAYY 4x150 SE | 20 | 22 | 0.014029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_879-16_0_4_line_22 | NAYY 4x150 SE | 21 | 23 | 0.023498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_879-16_0_4_line_23 | NAYY 4x150 SE | 22 | 24 | 0.021773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_879-16_0_4_line_24 | NAYY 4x150 SE | 24 | 25 | 0.004016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_879-16_0_4_line_25 | NAYY 4x150 SE | 24 | 26 | 0.063677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_879-16_0_4_line_26 | NAYY 4x150 SE | 25 | 27 | 0.022062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_879-16_0_4_line_27 | NAYY 4x150 SE | 25 | 28 | 0.027395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_879-16_0_4_line_28 | NAYY 4x150 SE | 26 | 29 | 0.026166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_879-16_0_4_line_29 | NAYY 4x150 SE | 27 | 37 | 0.01385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_879-16_0_4_line_30 | NAYY 4x150 SE | 28 | 38 | 0.021069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_879-16_0_4_line_31 | NAYY 4x150 SE | 29 | 35 | 0.028413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_879-16_0_4_line_32 | NAYY 4x150 SE | 30 | 33 | 0.013651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_879-16_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.034739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_879-16_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.00062008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_879-16_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0054257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_879-16_0_4_line_36 | NAYY 4x150 SE | 34 | 62 | 0.006872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_879-16_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.029338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_879-16_0_4_line_38 | NAYY 4x150 SE | 37 | 63 | 0.0072821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_879-16_0_4_line_39 | NAYY 4x150 SE | 38 | 62 | 0.022325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_879-16_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.027404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_879-16_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.021455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_879-16_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.0099072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_879-16_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.01586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_879-16_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0080296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_879-16_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.017284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_879-16_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0092477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_879-16_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.015825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_879-16_0_4_line_48 | NAYY 4x150 SE | 46 | 61 | 0.015319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_879-16_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0092267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_879-16_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.033147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_879-16_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.0088493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_879-16_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.019501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_879-16_0_4_line_53 | NAYY 4x150 SE | 50 | 53 | 0.0086556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_879-16_0_4_line_54 | NAYY 4x150 SE | 51 | 54 | 0.021098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_879-16_0_4_line_55 | NAYY 4x150 SE | 51 | 55 | 0.010325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_879-16_0_4_line_56 | NAYY 4x150 SE | 52 | 56 | 0.016639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_879-16_0_4_line_57 | NAYY 4x150 SE | 53 | 57 | 0.031775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_879-16_0_4_line_58 | NAYY 4x150 SE | 54 | 58 | 0.015301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_879-16_0_4_line_59 | NAYY 4x150 SE | 55 | 59 | 0.019947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_879-16_0_4_line_60 | NAYY 4x150 SE | 55 | 60 | 0.052675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_879-16_0_4_line_61 | NAYY 4x150 SE | 58 | 63 | 0.015366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_879-16_0_4_line_62 | NAYY 4x150 SE | 59 | 66 | 0.044299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_879-16_0_4_line_63 | NAYY 4x150 SE | 60 | 67 | 0.018348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_879-16_0_4_line_64 | NAYY 4x150 SE | 61 | 64 | 0.045146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_879-16_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.05453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_879-16_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.028951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_879-16_0_4_trafo_7 | 0.25 MVA 20/0.4 kV | 68 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2602066.5201 | 1183634.0799 | 2602066.249 | 1183638.1506 | 2602068.214 | 1183657.423
1 | 2602074.4962 | 1183560.3467 | 2602069.5556 | 1183588.504 | 2602066.5201 | 1183634.0799
2 | 2602068.214 | 1183657.423 | 2601816.0306 | 1183666.2608
3 | 2602084.4634 | 1183816.793 | 2602068.214 | 1183657.423
4 | 2602074.4962 | 1183560.3467 | 2602037.623 | 1183400.7441
5 | 2601808.203 | 1183705.3937 | 2601815.0072 | 1183669.2771 | 2601816.0306 | 1183666.2608
6 | 2602084.4634 | 1183816.793 | 2602086.0037 | 1183831.9149
7 | 2602088.3055 | 1183854.5137 | 2602086.0037 | 1183831.9149
8 | 2601808.203 | 1183705.3937 | 2601817.3014 | 1183733.5775 | 2601823.8934 | 1183744.5406
9 | 2602494.4297 | 1184076.8189 | 2602495.0729 | 1184075.2669 | 2602503.2278 | 1184077.561
10 | 2602494.4297 | 1184076.8189 | 2602486.2788 | 1184096.4854 | 2602481.9332 | 1184102.7202 | 2602474.5976 | 1184103.7956 | 2602474.5976 | 1184103.7956
11 | 2602528.8017 | 1184096.2804 | 2602527.6202 | 1184092.4446 | 2602528.3562 | 1184084.6298 | 2602503.2278 | 1184077.561
12 | 2602439.346 | 1184091.9755 | 2602474.5976 | 1184103.7956
13 | 2602439.346 | 1184091.9755 | 2602435.14 | 1184104.1054
14 | 2602398.2533 | 1184045.6911 | 2602408.9027 | 1184048.5334
15 | 2602373.4672 | 1184070.3609 | 2602380.7833 | 1184041.0264 | 2602398.2533 | 1184045.6911
16 | 2602428.7777 | 1184122.4537 | 2602435.14 | 1184104.1054
17 | 2602373.4672 | 1184070.3609 | 2602379.8324 | 1184072.0642 | 2602385.5176 | 1184075.6905 | 2602389.832 | 1184090.7666 | 2602390.2849 | 1184103.6956
18 | 2602390.2849 | 1184103.6956 | 2602428.7777 | 1184122.4537
19 | 2602365.1015 | 1184070.6578 | 2602373.4672 | 1184070.3609
20 | 2602237.6359 | 1184013.0441 | 2602228.0512 | 1184010.6205 | 2602217.2859 | 1184010.4034
21 | 2602237.6359 | 1184013.0441 | 2602251.2365 | 1184016.4832
22 | 2602217.2859 | 1184010.4034 | 2602211.7701 | 1184010.2922 | 2602195.9215 | 1184001.7986
23 | 2602271.5619 | 1184024.2211 | 2602254.291 | 1184017.2556 | 2602251.2365 | 1184016.4832
24 | 2602271.5619 | 1184024.2211 | 2602274.7286 | 1184026.7013
25 | 2602271.5619 | 1184024.2211 | 2602283.5384 | 1183981.837 | 2602288.0037 | 1183962.718
26 | 2602274.7286 | 1184026.7013 | 2602268.9817 | 1184048.0014
27 | 2602274.7286 | 1184026.7013 | 2602280.8638 | 1184031.506 | 2602290.4952 | 1184035.1559 | 2602299.7923 | 1184034.8259 | 2602299.7923 | 1184034.8259
28 | 2602288.0037 | 1183962.718 | 2602293.5154 | 1183939.1187 | 2602293.6976 | 1183937.1957
29 | 2602268.9817 | 1184048.0014 | 2602267.5668 | 1184053.2456 | 2602264.9211 | 1184061.2374
30 | 2602299.7923 | 1184034.8259 | 2602312.4196 | 1184028.5384 | 2602319.3342 | 1184027.7202
31 | 2602296.3776 | 1183908.9098 | 2602293.6976 | 1183937.1957
32 | 2602365.1015 | 1184070.6578 | 2602362.0235 | 1184083.9577
33 | 2602365.1015 | 1184070.6578 | 2602359.0032 | 1184049.578 | 2602350.038 | 1184040.4254
34 | 2602349.6036 | 1184039.9829 | 2602350.038 | 1184040.4254
35 | 2602345.8033 | 1184036.1105 | 2602349.6036 | 1184039.9829
36 | 2602340.9888 | 1184031.195 | 2602345.8033 | 1184036.1105
37 | 2602296.3776 | 1183908.9098 | 2602299.1449 | 1183879.7023
38 | 2602262.6325 | 1184068.1505 | 2602264.9211 | 1184061.2374
39 | 2602340.9888 | 1184031.195 | 2602326.3733 | 1184026.8873 | 2602319.3342 | 1184027.7202
40 | 2602095.1078 | 1183891.2033 | 2602096.4658 | 1183898.528 | 2602103.3118 | 1183917.2715
41 | 2602095.1078 | 1183891.2033 | 2602091.1967 | 1183870.108
42 | 2602103.3118 | 1183917.2715 | 2602106.7107 | 1183926.5774
43 | 2602088.3055 | 1183854.5137 | 2602091.1967 | 1183870.108
44 | 2602106.7107 | 1183926.5774 | 2602109.4655 | 1183934.1196
45 | 2602088.3055 | 1183854.5137 | 2602102.8559 | 1183845.1857
46 | 2602112.6382 | 1183942.806 | 2602109.4655 | 1183934.1196
47 | 2602116.2417 | 1183836.7601 | 2602115.3253 | 1183837.1917 | 2602102.8559 | 1183845.1857
48 | 2602117.562 | 1183957.3097 | 2602114.7682 | 1183948.6378 | 2602112.6382 | 1183942.806
49 | 2602253.1995 | 1184122.4348 | 2602245.2414 | 1184117.7658
50 | 2602284.2611 | 1184133.0484 | 2602282.6429 | 1184133.1034 | 2602270.3703 | 1184130.3864 | 2602257.8772 | 1184125.1791 | 2602253.1995 | 1184122.4348
51 | 2602237.6087 | 1184113.2879 | 2602245.2414 | 1184117.7658
52 | 2602284.2611 | 1184133.0484 | 2602283.5542 | 1184152.5366
53 | 2602284.2611 | 1184133.0484 | 2602292.9116 | 1184132.7522
54 | 2602237.6087 | 1184113.2879 | 2602248.8078 | 1184095.4074
55 | 2602237.6087 | 1184113.2879 | 2602228.6801 | 1184108.0597
56 | 2602283.5542 | 1184152.5366 | 2602283.1429 | 1184163.875 | 2602280.9764 | 1184168.7044
57 | 2602324.678 | 1184132.4045 | 2602307.0607 | 1184132.2676 | 2602292.9116 | 1184132.7522
58 | 2602256.5091 | 1184082.2037 | 2602254.2809 | 1184086.6691 | 2602248.8078 | 1184095.4074
59 | 2602228.6801 | 1184108.0597 | 2602218.5906 | 1184090.8528
60 | 2602228.6801 | 1184108.0597 | 2602176.9724 | 1184118.1087
61 | 2602262.6325 | 1184068.1505 | 2602260.8806 | 1184073.4425 | 2602256.5091 | 1184082.2037
62 | 2602218.5906 | 1184090.8528 | 2602210.3266 | 1184076.7593 | 2602190.3477 | 1184057.1979
63 | 2602158.9611 | 1184121.609 | 2602176.9724 | 1184118.1087
64 | 2602131.4058 | 1184000.2811 | 2602117.562 | 1183957.3097
65 | 2602131.4058 | 1184000.2811 | 2602139.4078 | 1184014.6802 | 2602153.7366 | 1184031.7828 | 2602166.9675 | 1184040.3177
66 | 2602166.9675 | 1184040.3177 | 2602184.9636 | 1184051.9264 | 2602190.3477 | 1184057.1979

## bus_geodata
| x | y | coords
0 | 2602066.5201 | 1183634.0799
1 | 2602068.214 | 1183657.423
2 | 2602074.4962 | 1183560.3467
3 | 2601816.0306 | 1183666.2608
4 | 2602084.4634 | 1183816.793
5 | 2602037.623 | 1183400.7441
6 | 2602086.0037 | 1183831.9149
7 | 2601823.8934 | 1183744.5406
8 | 2601808.203 | 1183705.3937
9 | 2602494.4297 | 1184076.8189
10 | 2602503.2278 | 1184077.561
11 | 2602474.5976 | 1184103.7956
12 | 2602528.8017 | 1184096.2804
13 | 2602439.346 | 1184091.9755
14 | 2602408.9027 | 1184048.5334
15 | 2602398.2533 | 1184045.6911
16 | 2602435.14 | 1184104.1054
17 | 2602390.2849 | 1184103.6956
18 | 2602373.4672 | 1184070.3609
19 | 2602428.7777 | 1184122.4537
20 | 2602237.6359 | 1184013.0441
21 | 2602217.2859 | 1184010.4034
22 | 2602251.2365 | 1184016.4832
23 | 2602195.9215 | 1184001.7986
24 | 2602271.5619 | 1184024.2211
25 | 2602274.7286 | 1184026.7013
26 | 2602288.0037 | 1183962.718
27 | 2602268.9817 | 1184048.0014
28 | 2602299.7923 | 1184034.8259
29 | 2602293.6976 | 1183937.1957
30 | 2602365.1015 | 1184070.6578
31 | 2602350.038 | 1184040.4254
32 | 2602349.6036 | 1184039.9829
33 | 2602362.0235 | 1184083.9577
34 | 2602345.8033 | 1184036.1105
35 | 2602296.3776 | 1183908.9098
36 | 2602299.1449 | 1183879.7023
37 | 2602264.9211 | 1184061.2374
38 | 2602319.3342 | 1184027.7202
39 | 2602095.1078 | 1183891.2033
40 | 2602103.3118 | 1183917.2715
41 | 2602091.1967 | 1183870.108
42 | 2602106.7107 | 1183926.5774
43 | 2602088.3055 | 1183854.5137
44 | 2602109.4655 | 1183934.1196
45 | 2602102.8559 | 1183845.1857
46 | 2602112.6382 | 1183942.806
47 | 2602116.2417 | 1183836.7601
48 | 2602253.1995 | 1184122.4348
49 | 2602245.2414 | 1184117.7658
50 | 2602284.2611 | 1184133.0484
51 | 2602237.6087 | 1184113.2879
52 | 2602283.5542 | 1184152.5366
53 | 2602292.9116 | 1184132.7522
54 | 2602248.8078 | 1184095.4074
55 | 2602228.6801 | 1184108.0597
56 | 2602280.9764 | 1184168.7044
57 | 2602324.678 | 1184132.4045
58 | 2602256.5091 | 1184082.2037
59 | 2602218.5906 | 1184090.8528
60 | 2602176.9724 | 1184118.1087
61 | 2602117.562 | 1183957.3097
62 | 2602340.9888 | 1184031.195
63 | 2602262.6325 | 1184068.1505
64 | 2602131.4058 | 1184000.2811
65 | 2602166.9675 | 1184040.3177
66 | 2602190.3477 | 1184057.1979
67 | 2602158.9611 | 1184121.609
68 | 2602453.2427 | 1184041.6106

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97076 | -0.20676 | 0.00086005 | 0.00021555
1 | 0.97081 | -0.20642 | 0.0014365 | 0.00036003
2 | 0.97071 | -0.20716 | 0 | 0
3 | 0.97037 | -0.20966 | 0.0011527 | 0.0002889
4 | 0.97175 | -0.19957 | 0 | 0
5 | 0.97059 | -0.20803 | 0.00049176 | 0.00012325
6 | 0.97183 | -0.19892 | 0.0010786 | 0.00027031
7 | 0.97036 | -0.2097 | 4.112e-05 | 1.0306e-05
8 | 0.97037 | -0.20968 | 0 | 0
9 | 0.99114 | -0.062 | 0.030083 | 0.0075394
10 | 0.99021 | -0.068524 | 0.019414 | 0.0048657
11 | 0.99602 | -0.027765 | 0.055766 | 0.013976
12 | 0.98782 | -0.085483 | 0.043777 | 0.010972
13 | 1 | 0 | -0.20661 | -0.051864
14 | 0.99205 | -0.055096 | 0.0027792 | 0.00069653
15 | 0.9921 | -0.054786 | 0 | 0
16 | 0.99949 | -0.0035033 | 0.0011526 | 0.00028886
17 | 0.99541 | -0.031693 | 0.002191 | 0.00054911
18 | 0.99229 | -0.053423 | 0 | 0
19 | 0.99874 | -0.0086969 | 0 | 0
20 | 0.98331 | -0.11662 | 0.00098176 | 0.00024605
21 | 0.98325 | -0.11704 | 0.00097668 | 0.00024478
22 | 0.98337 | -0.11619 | 0.000976 | 0.00024461
23 | 0.98322 | -0.11728 | 0.0009771 | 0.00024488
24 | 0.98349 | -0.11531 | 0 | 0
25 | 0.98352 | -0.11507 | 0 | 0
26 | 0.98332 | -0.11654 | 0.0003814 | 9.5587e-05
27 | 0.98221 | -0.12443 | 0.00072328 | 0.00018127
28 | 0.98539 | -0.10186 | 0.00038575 | 9.6678e-05
29 | 0.98326 | -0.11694 | 0.00038189 | 9.5711e-05
30 | 0.9917 | -0.057529 | 0 | 0
31 | 0.98928 | -0.074484 | 0 | 0
32 | 0.98923 | -0.074787 | 0.00032418 | 8.1248e-05
33 | 0.99169 | -0.057603 | 0.00053314 | 0.00013362
34 | 0.98886 | -0.077425 | 0 | 0
35 | 0.98322 | -0.11726 | 0.00051639 | 0.00012942
36 | 0.98319 | -0.11743 | 0.00057113 | 0.00014314
37 | 0.98139 | -0.13021 | 0.0025382 | 0.00063612
38 | 0.98684 | -0.091653 | 0.00042802 | 0.00010727
39 | 0.97235 | -0.19513 | 0.0012774 | 0.00032015
40 | 0.97268 | -0.19277 | 0.001435 | 0.00035965
41 | 0.97214 | -0.19669 | 0.00093169 | 0.0002335
42 | 0.97282 | -0.19176 | 0.00068929 | 0.00017275
43 | 0.972 | -0.19768 | 0 | 0
44 | 0.97294 | -0.19089 | 0.0025735 | 0.00064499
45 | 0.97198 | -0.19783 | 0.00045356 | 0.00011367
46 | 0.97311 | -0.18964 | 0.00062139 | 0.00015573
47 | 0.97197 | -0.19789 | 0.00035874 | 8.991e-05
48 | 0.97806 | -0.15404 | 0.0010937 | 0.0002741
49 | 0.97815 | -0.15339 | 0.002049 | 0.00051354
50 | 0.97778 | -0.156 | 0 | 0
51 | 0.97826 | -0.15257 | 0 | 0
52 | 0.97767 | -0.15683 | 0.00055436 | 0.00013893
53 | 0.97776 | -0.15614 | 0.00077145 | 0.00019334
54 | 0.97935 | -0.14479 | 0.00093754 | 0.00023497
55 | 0.97786 | -0.15544 | 0 | 0
56 | 0.97758 | -0.15744 | 0.0035352 | 0.000886
57 | 0.97773 | -0.1564 | 0.0007958 | 0.00019945
58 | 0.98016 | -0.13901 | 0.00091712 | 0.00022985
59 | 0.97722 | -0.16002 | 0.0046731 | 0.0011712
60 | 0.97751 | -0.15796 | 0.002896 | 0.0007258
61 | 0.97341 | -0.18746 | 0.00071358 | 0.00017884
62 | 0.98838 | -0.080769 | 0 | 0
63 | 0.98099 | -0.13306 | 0.00050835 | 0.00012741
64 | 0.97435 | -0.18071 | 0 | 0
65 | 0.97547 | -0.17258 | 0.00070651 | 0.00017707
66 | 0.9761 | -0.16805 | 0.0024043 | 0.00060257
67 | 0.97746 | -0.15829 | 0.0016922 | 0.00042411
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0013519 | -0.00033589 | 0.001352 | 0.00033562 | 6.2773e-08 | -2.6582e-07 | 0.0020712 | 0.0020711 | 0.0020712 | 0.97076 | -0.20676 | 0.97081 | -0.20642 | 0.7671
1 | 0.00049184 | 0.00012034 | -0.00049182 | -0.00012124 | 2.6278e-08 | -9.08e-07 | 0.00075287 | 0.00075319 | 0.00075319 | 0.97076 | -0.20676 | 0.97071 | -0.20716 | 0.27896
2 | 0.0011944 | 0.00029527 | -0.0011939 | -0.00029819 | 5.2719e-07 | -2.9159e-06 | 0.0018292 | 0.0018304 | 0.0018304 | 0.97081 | -0.20642 | 0.97037 | -0.20966 | 0.67791
3 | -0.0039829 | -0.00099092 | 0.0039866 | 0.00099037 | 3.7218e-06 | -5.5121e-07 | 0.0061021 | 0.0061014 | 0.0061021 | 0.97081 | -0.20642 | 0.97175 | -0.19957 | 2.2601
4 | 0.00049182 | 0.00012124 | -0.00049176 | -0.00012325 | 5.8042e-08 | -2.0024e-06 | 0.00075319 | 0.00075392 | 0.00075392 | 0.97071 | -0.20716 | 0.97059 | -0.20803 | 0.27923
5 | 4.112e-05 | 9.2885e-06 | -4.112e-05 | -9.7818e-06 | 9.8243e-11 | -4.9332e-07 | 6.2705e-05 | 6.2871e-05 | 6.2871e-05 | 0.97037 | -0.20966 | 0.97037 | -0.20968 | 0.023286
6 | -0.0039866 | -0.00099037 | 0.0039869 | 0.00099032 | 3.5309e-07 | -5.2517e-08 | 0.0061014 | 0.0061014 | 0.0061014 | 0.97175 | -0.19957 | 0.97183 | -0.19892 | 2.2598
7 | -0.0050655 | -0.0012606 | 0.0050663 | 0.0012607 | 8.5196e-07 | 4.6166e-08 | 0.0077528 | 0.0077527 | 0.0077528 | 0.97183 | -0.19892 | 0.972 | -0.19768 | 2.8714
8 | -4.112e-05 | -1.0306e-05 | 4.112e-05 | 9.7818e-06 | 1.049e-10 | -5.2384e-07 | 6.3056e-05 | 6.2871e-05 | 6.3056e-05 | 0.97036 | -0.2097 | 0.97037 | -0.20968 | 0.023354
9 | 0.063352 | 0.015898 | -0.063294 | -0.015876 | 5.7311e-05 | 2.1912e-05 | 0.095118 | 0.095118 | 0.095118 | 0.99114 | -0.062 | 0.99021 | -0.068524 | 35.229
10 | -0.093434 | -0.023438 | 0.09388 | 0.023609 | 0.00044578 | 0.00017098 | 0.14028 | 0.14028 | 0.14028 | 0.99114 | -0.062 | 0.99602 | -0.027765 | 51.9563
11 | 0.04388 | 0.011011 | -0.043777 | -0.010972 | 0.00010302 | 3.9138e-05 | 0.065944 | 0.065944 | 0.065944 | 0.99021 | -0.068524 | 0.98782 | -0.085483 | 24.4238
12 | -0.14965 | -0.037585 | 0.15023 | 0.037807 | 0.00057995 | 0.00022209 | 0.22359 | 0.22359 | 0.22359 | 0.99602 | -0.027765 | 1 | 0 | 41.4063
13 | 0.055588 | 0.014057 | -0.055561 | -0.014046 | 2.7435e-05 | 1.0215e-05 | 0.08276 | 0.08276 | 0.08276 | 1 | 0 | 0.99949 | -0.0035033 | 15.326
14 | -0.0027792 | -0.00069653 | 0.0027793 | 0.00069643 | 1.1952e-07 | -9.6352e-08 | 0.0041686 | 0.0041685 | 0.0041686 | 0.99205 | -0.055096 | 0.9921 | -0.054786 | 1.5439
15 | -0.0027793 | -0.00069643 | 0.0027798 | 0.00069601 | 5.2386e-07 | -4.2252e-07 | 0.0041685 | 0.0041683 | 0.0041685 | 0.9921 | -0.054786 | 0.99229 | -0.053423 | 1.5439
16 | 0.054408 | 0.013758 | -0.054368 | -0.013743 | 3.9797e-05 | 1.4798e-05 | 0.081044 | 0.081045 | 0.081045 | 0.99949 | -0.0035033 | 0.99874 | -0.0086969 | 15.0082
17 | 0.052002 | 0.013127 | -0.051844 | -0.013066 | 0.00015821 | 6.0309e-05 | 0.07777 | 0.07777 | 0.07777 | 0.99541 | -0.031693 | 0.99229 | -0.053423 | 28.8036
18 | -0.054193 | -0.013676 | 0.054368 | 0.013743 | 0.0001755 | 6.6942e-05 | 0.081045 | 0.081045 | 0.081045 | 0.99541 | -0.031693 | 0.99874 | -0.0086969 | 30.0166
19 | 0.049064 | 0.01237 | -0.049036 | -0.01236 | 2.8215e-05 | 1.0744e-05 | 0.073601 | 0.073601 | 0.073601 | 0.99229 | -0.053423 | 0.9917 | -0.057529 | 27.2598
20 | 0.0019539 | 0.00048916 | -0.0019538 | -0.00048938 | 1.1267e-07 | -2.1864e-07 | 0.0029566 | 0.0029567 | 0.0029567 | 0.98331 | -0.11662 | 0.98325 | -0.11704 | 1.0951
21 | -0.0029357 | -0.00073521 | 0.0029359 | 0.0007351 | 1.7275e-07 | -1.1152e-07 | 0.0044423 | 0.0044422 | 0.0044423 | 0.98331 | -0.11662 | 0.98337 | -0.11619 | 1.6453
22 | 0.00097713 | 0.0002446 | -0.0009771 | -0.00024488 | 3.2061e-08 | -2.8569e-07 | 0.0014787 | 0.0014788 | 0.0014788 | 0.98325 | -0.11704 | 0.98322 | -0.11728 | 0.54769
23 | -0.0039119 | -0.00097971 | 0.0039123 | 0.00097961 | 4.7601e-07 | -9.3181e-08 | 0.0059191 | 0.005919 | 0.0059191 | 0.98337 | -0.11619 | 0.98349 | -0.11531 | 2.1923
24 | -0.0057636 | -0.0014418 | 0.0057638 | 0.0014418 | 1.9052e-07 | 2.2314e-08 | 0.0087193 | 0.0087193 | 0.0087193 | 0.98349 | -0.11531 | 0.98352 | -0.11507 | 3.2294
25 | 0.0018513 | 0.00046216 | -0.001851 | -0.00046285 | 3.1162e-07 | -6.8805e-07 | 0.0028003 | 0.0028006 | 0.0028006 | 0.98349 | -0.11531 | 0.98332 | -0.11654 | 1.0373
26 | 0.041217 | 0.010353 | -0.041163 | -0.010333 | 5.3547e-05 | 2.0316e-05 | 0.062367 | 0.062367 | 0.062367 | 0.98352 | -0.11507 | 0.98221 | -0.12443 | 23.099
27 | -0.046981 | -0.011795 | 0.047067 | 0.011828 | 8.6385e-05 | 3.2877e-05 | 0.071087 | 0.071086 | 0.071087 | 0.98352 | -0.11507 | 0.98539 | -0.10186 | 26.3283
28 | 0.0014696 | 0.00036726 | -0.0014695 | -0.00036756 | 8.0723e-08 | -3.0086e-07 | 0.0022234 | 0.0022236 | 0.0022236 | 0.98332 | -0.11654 | 0.98326 | -0.11694 | 0.82354
29 | 0.04044 | 0.010152 | -0.040408 | -0.010139 | 3.2445e-05 | 1.2304e-05 | 0.061272 | 0.061272 | 0.061272 | 0.98221 | -0.12443 | 0.98139 | -0.13021 | 22.6932
30 | -0.047453 | -0.011924 | 0.04752 | 0.01195 | 6.7529e-05 | 2.5704e-05 | 0.071669 | 0.071669 | 0.071669 | 0.98539 | -0.10186 | 0.98684 | -0.091653 | 26.544
31 | 0.0010876 | 0.00027185 | -0.0010875 | -0.00027219 | 4.8017e-08 | -3.419e-07 | 0.0016456 | 0.0016458 | 0.0016458 | 0.98326 | -0.11694 | 0.98322 | -0.11726 | 0.60954
32 | 0.00053314 | 0.00013344 | -0.00053314 | -0.00013362 | 5.4509e-09 | -1.7404e-07 | 0.0007999 | 0.00079997 | 0.00079997 | 0.9917 | -0.057529 | 0.99169 | -0.057603 | 0.29628
33 | 0.048503 | 0.012226 | -0.048388 | -0.012183 | 0.00011489 | 4.3742e-05 | 0.072802 | 0.072802 | 0.072802 | 0.9917 | -0.057529 | 0.98928 | -0.074484 | 26.9636
34 | 0.048388 | 0.012183 | -0.048386 | -0.012182 | 2.0508e-06 | 7.8079e-07 | 0.072802 | 0.072802 | 0.072802 | 0.98928 | -0.074484 | 0.98923 | -0.074787 | 26.9636
35 | 0.048061 | 0.0121 | -0.048044 | -0.012094 | 1.7704e-05 | 6.7398e-06 | 0.072314 | 0.072314 | 0.072314 | 0.98923 | -0.074787 | 0.98886 | -0.077425 | 26.783
36 | 0.048044 | 0.012094 | -0.048021 | -0.012085 | 2.2424e-05 | 8.5365e-06 | 0.072314 | 0.072314 | 0.072314 | 0.98886 | -0.077425 | 0.98838 | -0.080769 | 26.783
37 | 0.00057114 | 0.00014277 | -0.00057113 | -0.00014314 | 1.3676e-08 | -3.6682e-07 | 0.00086424 | 0.00086438 | 0.00086438 | 0.98322 | -0.11726 | 0.98319 | -0.11743 | 0.32014
38 | 0.03787 | 0.0095031 | -0.037855 | -0.0094975 | 1.4984e-05 | 5.6709e-06 | 0.057423 | 0.057423 | 0.057423 | 0.98139 | -0.13021 | 0.98099 | -0.13306 | 21.2679
39 | -0.047948 | -0.012057 | 0.048021 | 0.012085 | 7.285e-05 | 2.7733e-05 | 0.072314 | 0.072314 | 0.072314 | 0.98684 | -0.091653 | 0.98838 | -0.080769 | 26.783
40 | -0.00809 | -0.0020179 | 0.0080926 | 0.0020186 | 2.6195e-06 | 6.6747e-07 | 0.012377 | 0.012377 | 0.012377 | 0.97235 | -0.19513 | 0.97268 | -0.19277 | 4.584
41 | 0.0068126 | 0.0016978 | -0.0068112 | -0.0016975 | 1.4542e-06 | 2.9323e-07 | 0.010422 | 0.010422 | 0.010422 | 0.97235 | -0.19513 | 0.97214 | -0.19669 | 3.86
42 | -0.0095277 | -0.0023782 | 0.009529 | 0.0023786 | 1.3127e-06 | 3.8191e-07 | 0.014572 | 0.014572 | 0.014572 | 0.97268 | -0.19277 | 0.97282 | -0.19176 | 5.3971
43 | 0.0058795 | 0.001464 | -0.0058787 | -0.0014639 | 8.0093e-07 | 1.1144e-07 | 0.008996 | 0.0089961 | 0.0089961 | 0.97214 | -0.19669 | 0.972 | -0.19768 | 3.3319
44 | -0.010218 | -0.0025514 | 0.010219 | 0.0025517 | 1.2235e-06 | 3.7086e-07 | 0.015626 | 0.015626 | 0.015626 | 0.97282 | -0.19176 | 0.97294 | -0.19089 | 5.7875
45 | 0.00081233 | 0.00020318 | -0.00081231 | -0.00020339 | 1.6676e-08 | -2.0781e-07 | 0.0012434 | 0.0012435 | 0.0012435 | 0.972 | -0.19768 | 0.97198 | -0.19783 | 0.46056
46 | -0.012793 | -0.0031967 | 0.012795 | 0.0031975 | 2.2083e-06 | 7.3448e-07 | 0.019562 | 0.019562 | 0.019562 | 0.97294 | -0.19089 | 0.97311 | -0.18964 | 7.2453
47 | 0.00035875 | 8.9715e-05 | -0.00035874 | -8.991e-05 | 2.9781e-09 | -1.9499e-07 | 0.00054914 | 0.00054921 | 0.00054921 | 0.97198 | -0.19783 | 0.97197 | -0.19789 | 0.20341
48 | -0.013417 | -0.0033532 | 0.013421 | 0.0033545 | 4.0221e-06 | 1.3566e-06 | 0.020512 | 0.020512 | 0.020512 | 0.97311 | -0.18964 | 0.97341 | -0.18746 | 7.5972
49 | -0.0067528 | -0.0016914 | 0.0067534 | 0.0016915 | 6.0765e-07 | 1.1791e-07 | 0.010273 | 0.010273 | 0.010273 | 0.97806 | -0.15404 | 0.97815 | -0.15339 | 3.805
50 | 0.0056592 | 0.0014173 | -0.0056576 | -0.0014171 | 1.5332e-06 | 1.7381e-07 | 0.0086095 | 0.0086096 | 0.0086096 | 0.97806 | -0.15404 | 0.97778 | -0.156 | 3.1887
51 | -0.0088025 | -0.002205 | 0.0088035 | 0.0022053 | 9.9011e-07 | 2.6972e-07 | 0.01339 | 0.01339 | 0.01339 | 0.97815 | -0.15339 | 0.97826 | -0.15257 | 4.9594
52 | 0.0040903 | 0.0010248 | -0.0040898 | -0.0010248 | 4.7149e-07 | -6.3225e-08 | 0.0062246 | 0.0062247 | 0.0062247 | 0.97778 | -0.156 | 0.97767 | -0.15683 | 2.3055
53 | 0.0015673 | 0.0003923 | -0.0015673 | -0.0003924 | 3.0723e-08 | -9.6747e-08 | 0.002385 | 0.002385 | 0.002385 | 0.97778 | -0.156 | 0.97776 | -0.15614 | 0.88334
54 | -0.035393 | -0.0088682 | 0.035432 | 0.0088826 | 3.8156e-05 | 1.441e-05 | 0.053836 | 0.053835 | 0.053836 | 0.97826 | -0.15257 | 0.97935 | -0.14479 | 19.9391
55 | 0.02659 | 0.0066629 | -0.026579 | -0.0066589 | 1.0539e-05 | 3.924e-06 | 0.040445 | 0.040445 | 0.040445 | 0.97826 | -0.15257 | 0.97786 | -0.15544 | 14.9797
56 | 0.0035355 | 0.00088591 | -0.0035352 | -0.000886 | 3.0064e-07 | -9.3003e-08 | 0.005381 | 0.0053811 | 0.0053811 | 0.97767 | -0.15683 | 0.97758 | -0.15744 | 1.993
57 | 0.00079582 | 0.00019906 | -0.0007958 | -0.00019945 | 2.9081e-08 | -3.8733e-07 | 0.001211 | 0.0012111 | 0.0012111 | 0.97776 | -0.15614 | 0.97773 | -0.1564 | 0.44857
58 | -0.036369 | -0.0091175 | 0.036398 | 0.0091286 | 2.9156e-05 | 1.1021e-05 | 0.05526 | 0.05526 | 0.05526 | 0.97935 | -0.14479 | 0.98016 | -0.13901 | 20.4667
59 | 0.02199 | 0.0055093 | -0.021976 | -0.0055042 | 1.3936e-05 | 5.1099e-06 | 0.033461 | 0.033461 | 0.033461 | 0.97786 | -0.15544 | 0.97722 | -0.16002 | 12.393
60 | 0.0045899 | 0.0011497 | -0.0045883 | -0.0011497 | 1.6034e-06 | -4.3872e-08 | 0.0069842 | 0.0069844 | 0.0069844 | 0.97786 | -0.15544 | 0.97751 | -0.15796 | 2.5868
61 | -0.037315 | -0.0093584 | 0.037346 | 0.0093701 | 3.0773e-05 | 1.1642e-05 | 0.056652 | 0.056652 | 0.056652 | 0.98016 | -0.13901 | 0.98099 | -0.13306 | 20.9823
62 | 0.017303 | 0.004333 | -0.017283 | -0.0043262 | 1.9186e-05 | 6.8249e-06 | 0.026345 | 0.026346 | 0.026346 | 0.97722 | -0.16002 | 0.9761 | -0.16805 | 9.7576
63 | 0.0016923 | 0.00042391 | -0.0016922 | -0.00042411 | 7.598e-08 | -2.0078e-07 | 0.002576 | 0.0025761 | 0.0025761 | 0.97751 | -0.15796 | 0.97746 | -0.15829 | 0.95412
64 | -0.014134 | -0.0035334 | 0.014147 | 0.0035379 | 1.3147e-05 | 4.4949e-06 | 0.021603 | 0.021603 | 0.021603 | 0.97341 | -0.18746 | 0.97435 | -0.18071 | 8.0012
65 | -0.014147 | -0.0035379 | 0.014163 | 0.0035433 | 1.588e-05 | 5.4276e-06 | 0.021603 | 0.021603 | 0.021603 | 0.97435 | -0.18071 | 0.97547 | -0.17258 | 8.0011
66 | -0.01487 | -0.0037204 | 0.014879 | 0.0037236 | 9.2927e-06 | 3.2125e-06 | 0.02268 | 0.02268 | 0.02268 | 0.97547 | -0.17258 | 0.9761 | -0.16805 | 8.4002

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20661 | 0.051864

## res_load
| p_mw | q_mvar
0 | 0.00086005 | 0.00021555
1 | 0.0014365 | 0.00036003
2 | 0.0011527 | 0.0002889
3 | 0.00049176 | 0.00012325
4 | 0.0010786 | 0.00027031
5 | 4.112e-05 | 1.0306e-05
6 | 0.030083 | 0.0075394
7 | 0.019414 | 0.0048657
8 | 0.055766 | 0.013976
9 | 0.043777 | 0.010972
10 | 0.0027792 | 0.00069653
11 | 0.0011526 | 0.00028886
12 | 0.002191 | 0.00054911
13 | 0.00098176 | 0.00024605
14 | 0.00097668 | 0.00024478
15 | 0.000976 | 0.00024461
16 | 0.0009771 | 0.00024488
17 | 0.0003814 | 9.5587e-05
18 | 0.00072328 | 0.00018127
19 | 0.00038575 | 9.6678e-05
20 | 0.00038189 | 9.5711e-05
21 | 0.00032418 | 8.1248e-05
22 | 0.00053314 | 0.00013362
23 | 0.00051639 | 0.00012942
24 | 0.00057113 | 0.00014314
25 | 0.0025382 | 0.00063612
26 | 0.00042802 | 0.00010727
27 | 0.0012774 | 0.00032015
28 | 0.001435 | 0.00035965
29 | 0.00093169 | 0.0002335
30 | 0.00068929 | 0.00017275
31 | 0.0025735 | 0.00064499
32 | 0.00045356 | 0.00011367
33 | 0.00062139 | 0.00015573
34 | 0.00035874 | 8.991e-05
35 | 0.0010937 | 0.0002741
36 | 0.002049 | 0.00051354
37 | 0.00055436 | 0.00013893
38 | 0.00077145 | 0.00019334
39 | 0.00093754 | 0.00023497
40 | 0.0035352 | 0.000886
41 | 0.0007958 | 0.00019945
42 | 0.00091712 | 0.00022985
43 | 0.0046731 | 0.0011712
44 | 0.002896 | 0.0007258
45 | 0.00071358 | 0.00017884
46 | 0.00050835 | 0.00012741
47 | 0.00070651 | 0.00017707
48 | 0.0024043 | 0.00060257
49 | 0.0016922 | 0.00042411

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1