## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_879-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_879-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_879-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_879-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_879-8_0_6_node_177 | 0.4 | n |  | TRUE
5 | bus_LV_879-8_0_6_node_178 | 0.4 | n |  | TRUE
6 | bus_LV_879-8_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_879-8_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_879-8_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_879-8_0_6_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_879-8_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_879-8_0_6_node_183 | 0.4 | n |  | TRUE
12 | bus_LV_879-8_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_879-8_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_879-8_0_6_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_879-8_0_6_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_879-8_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_879-8_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_879-8_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_879-8_0_6_node_165 | 0.4 | n |  | TRUE
20 | bus_LV_879-8_0_6_node_156 | 0.4 | n |  | TRUE
21 | bus_LV_879-8_0_6_node_157 | 0.4 | n |  | TRUE
22 | bus_LV_879-8_0_6_node_158 | 0.4 | n |  | TRUE
23 | bus_LV_879-8_0_6_node_160 | 0.4 | n |  | TRUE
24 | bus_LV_879-8_0_6_node_184 | 0.4 | n |  | TRUE
25 | bus_LV_879-8_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_879-8_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_879-8_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_879-8_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_879-8_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_879-8_0_6_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_879-8_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_879-8_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_879-8_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_879-8_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_879-8_0_6_node_109 | 0.4 | n |  | TRUE
36 | bus_LV_879-8_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_879-8_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_879-8_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_879-8_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_879-8_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_879-8_0_6_node_110 | 0.4 | n |  | TRUE
42 | bus_LV_879-8_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_879-8_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_879-8_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_879-8_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_879-8_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_879-8_0_6_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_879-8_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_879-8_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_879-8_0_6_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_879-8_0_6_node_179 | 0.4 | n |  | TRUE
52 | bus_LV_879-8_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_879-8_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_879-8_0_6_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_879-8_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_879-8_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_879-8_0_6_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_879-8_0_6_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_879-8_0_6_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_879-8_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_879-8_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_879-8_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_879-8_0_6_node_166 | 0.4 | n |  | TRUE
64 | bus_LV_879-8_0_6_node_180 | 0.4 | n |  | TRUE
65 | bus_LV_879-8_0_6_node_182 | 0.4 | n |  | TRUE
66 | bus_LV_879-8_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_879-8_0_6_node_181 | 0.4 | n |  | TRUE
68 | bus_LV_879-8_0_6_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_879-8_0_6_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_879-8_0_6_node_129 | 0.4 | n |  | TRUE
71 | bus_LV_879-8_0_6_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_879-8_0_6_node_120 | 0.4 | n |  | TRUE
73 | bus_LV_879-8_0_6_node_121 | 0.4 | n |  | TRUE
74 | bus_LV_879-8_0_6_node_122 | 0.4 | n |  | TRUE
75 | bus_LV_879-8_0_6_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_879-8_0_6_node_124 | 0.4 | n |  | TRUE
77 | bus_LV_879-8_0_6_node_125 | 0.4 | n |  | TRUE
78 | bus_LV_879-8_0_6_node_132 | 0.4 | n |  | TRUE
79 | bus_LV_879-8_0_6_node_131 | 0.4 | n |  | TRUE
80 | bus_LV_879-8_0_6_node_126 | 0.4 | n |  | TRUE
81 | bus_LV_879-8_0_6_node_127 | 0.4 | n |  | TRUE
82 | bus_LV_879-8_0_6_node_128 | 0.4 | n |  | TRUE
83 | bus_LV_879-8_0_6_node_130 | 0.4 | n |  | TRUE
84 | bus_LV_879-8_0_6_node_139 | 0.4 | n |  | TRUE
85 | bus_LV_879-8_0_6_node_140 | 0.4 | n |  | TRUE
86 | bus_LV_879-8_0_6_node_133 | 0.4 | n |  | TRUE
87 | bus_LV_879-8_0_6_node_134 | 0.4 | n |  | TRUE
88 | bus_LV_879-8_0_6_node_149 | 0.4 | n |  | TRUE
89 | bus_LV_879-8_0_6_node_148 | 0.4 | n |  | TRUE
90 | bus_LV_879-8_0_6_node_151 | 0.4 | n |  | TRUE
91 | bus_LV_879-8_0_6_node_135 | 0.4 | n |  | TRUE
92 | bus_LV_879-8_0_6_node_136 | 0.4 | n |  | TRUE
93 | bus_LV_879-8_0_6_node_137 | 0.4 | n |  | TRUE
94 | bus_LV_879-8_0_6_node_138 | 0.4 | n |  | TRUE
95 | bus_LV_879-8_0_6_node_143 | 0.4 | n |  | TRUE
96 | bus_LV_879-8_0_6_node_141 | 0.4 | n |  | TRUE
97 | bus_LV_879-8_0_6_node_144 | 0.4 | n |  | TRUE
98 | bus_LV_879-8_0_6_node_145 | 0.4 | n |  | TRUE
99 | bus_LV_879-8_0_6_node_146 | 0.4 | n |  | TRUE
100 | bus_LV_879-8_0_6_node_147 | 0.4 | n |  | TRUE
101 | bus_LV_879-8_0_6_node_150 | 0.4 | n |  | TRUE
102 | bus_LV_879-8_0_6_node_152 | 0.4 | n |  | TRUE
103 | bus_LV_879-8_0_6_node_153 | 0.4 | n |  | TRUE
104 | bus_LV_879-8_0_6_node_154 | 0.4 | n |  | TRUE
105 | bus_LV_879-8_0_6_node_155 | 0.4 | n |  | TRUE
106 | bus_LV_879-8_0_6_node_53 | 0.4 | n |  | TRUE
107 | bus_LV_879-8_0_6_node_59 | 0.4 | n |  | TRUE
108 | bus_LV_879-8_0_6_node_54 | 0.4 | n |  | TRUE
109 | bus_LV_879-8_0_6_node_55 | 0.4 | n |  | TRUE
110 | bus_LV_879-8_0_6_node_56 | 0.4 | n |  | TRUE
111 | bus_LV_879-8_0_6_node_57 | 0.4 | n |  | TRUE
112 | bus_LV_879-8_0_6_node_61 | 0.4 | n |  | TRUE
113 | bus_LV_879-8_0_6_node_60 | 0.4 | n |  | TRUE
114 | bus_LV_879-8_0_6_node_163 | 0.4 | n |  | TRUE
115 | bus_LV_879-8_0_6_node_159 | 0.4 | n |  | TRUE
116 | bus_LV_879-8_0_6_node_161 | 0.4 | n |  | TRUE
117 | bus_LV_879-8_0_6_node_162 | 0.4 | n |  | TRUE
118 | bus_LV_879-8_0_6_node_164 | 0.4 | n |  | TRUE
119 | bus_LV_879-8_0_6_node_66 | 0.4 | n |  | TRUE
120 | bus_LV_879-8_0_6_node_64 | 0.4 | n |  | TRUE
121 | bus_LV_879-8_0_6_node_62 | 0.4 | n |  | TRUE
122 | bus_LV_879-8_0_6_node_63 | 0.4 | n |  | TRUE
123 | bus_LV_879-8_0_6_node_65 | 0.4 | n |  | TRUE
124 | bus_LV_879-8_0_6_node_97 | 0.4 | n |  | TRUE
125 | bus_LV_879-8_0_6_node_98 | 0.4 | n |  | TRUE
126 | bus_LV_879-8_0_6_node_99 | 0.4 | n |  | TRUE
127 | bus_LV_879-8_0_6_node_100 | 0.4 | n |  | TRUE
128 | bus_LV_879-8_0_6_node_101 | 0.4 | n |  | TRUE
129 | bus_LV_879-8_0_6_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_879-8_0_6_node_116 | 0.4 | n |  | TRUE
131 | bus_LV_879-8_0_6_node_112 | 0.4 | n |  | TRUE
132 | bus_LV_879-8_0_6_node_103 | 0.4 | n |  | TRUE
133 | bus_LV_879-8_0_6_node_104 | 0.4 | n |  | TRUE
134 | bus_LV_879-8_0_6_node_105 | 0.4 | n |  | TRUE
135 | bus_LV_879-8_0_6_node_106 | 0.4 | n |  | TRUE
136 | bus_LV_879-8_0_6_node_107 | 0.4 | n |  | TRUE
137 | bus_LV_879-8_0_6_node_111 | 0.4 | n |  | TRUE
138 | bus_LV_879-8_0_6_node_115 | 0.4 | n |  | TRUE
139 | bus_LV_879-8_0_6_node_114 | 0.4 | n |  | TRUE
140 | bus_MV_122_1_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_879-8_0_6_load_0 | 0 | 0.0054536 | 0.0013668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_879-8_0_6_load_1 | 1 | 0.010151 | 0.0025441 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_879-8_0_6_load_3 | 3 | 0.0044338 | 0.0011112 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_879-8_0_6_load_177 | 4 | 0.00353 | 0.00088469 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_879-8_0_6_load_4 | 6 | 0.0037797 | 0.00094728 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_879-8_0_6_load_5 | 7 | 0.001872 | 0.00046917 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_879-8_0_6_load_8 | 10 | 0.0043955 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_879-8_0_6_load_183 | 11 | 0.011614 | 0.0029108 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_879-8_0_6_load_7 | 13 | 0.0013948 | 0.00034958 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_879-8_0_6_load_20 | 14 | 0.0022147 | 0.00055504 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_879-8_0_6_load_19 | 15 | 0.0016855 | 0.00042243 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_879-8_0_6_load_10 | 16 | 0.0021288 | 0.00053352 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_879-8_0_6_load_156 | 20 | 0.00024015 | 6.0188e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_879-8_0_6_load_157 | 21 | 0.00115 | 0.00028822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_879-8_0_6_load_184 | 24 | 0.00055332 | 0.00013868 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_879-8_0_6_load_12 | 25 | 0.0014484 | 0.000363 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_879-8_0_6_load_13 | 26 | 0.0020015 | 0.00050162 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_879-8_0_6_load_14 | 27 | 0.0017338 | 0.00043453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_879-8_0_6_load_15 | 28 | 0.0020697 | 0.00051872 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_879-8_0_6_load_28 | 30 | 0.0030509 | 0.00076462 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_879-8_0_6_load_21 | 31 | 0.0020531 | 0.00051455 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_879-8_0_6_load_27 | 32 | 0.0016829 | 0.00042178 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_879-8_0_6_load_22 | 34 | 0.0025893 | 0.00064893 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_879-8_0_6_load_109 | 35 | 0.0023244 | 0.00058255 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_879-8_0_6_load_25 | 37 | 0.0028551 | 0.00071556 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_879-8_0_6_load_26 | 38 | 0.0016366 | 0.00041016 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_879-8_0_6_load_37 | 39 | 0.0028109 | 0.00070448 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_879-8_0_6_load_36 | 40 | 0.0031849 | 0.00079821 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_879-8_0_6_load_110 | 41 | 0.0023719 | 0.00059446 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_879-8_0_6_load_38 | 42 | 0.0032459 | 0.0008135 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_879-8_0_6_load_29 | 44 | 0.0023315 | 0.00058434 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_879-8_0_6_load_30 | 45 | 0.0023101 | 0.00057897 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_879-8_0_6_load_102 | 47 | 0.0014858 | 0.00037238 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_879-8_0_6_load_32 | 48 | 0.0024072 | 0.00060329 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_879-8_0_6_load_31 | 49 | 0.0035259 | 0.00088367 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_879-8_0_6_load_35 | 50 | 0.005051 | 0.0012659 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_879-8_0_6_load_179 | 51 | 0.0023161 | 0.00058047 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_879-8_0_6_load_39 | 52 | 0.0034361 | 0.00086116 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_879-8_0_6_load_40 | 53 | 0.0014934 | 0.00037427 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_879-8_0_6_load_42 | 55 | 0.0019166 | 0.00048034 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_879-8_0_6_load_117 | 57 | 0.00087461 | 0.0002192 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_879-8_0_6_load_118 | 58 | 0.00086635 | 0.00021713 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_879-8_0_6_load_108 | 59 | 0.00078058 | 0.00019563 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_879-8_0_6_load_45 | 61 | 0.00045983 | 0.00011524 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_879-8_0_6_load_46 | 62 | 0.0010918 | 0.00027364 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_879-8_0_6_load_180 | 64 | 0.00045935 | 0.00011512 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_879-8_0_6_load_182 | 65 | 0.00073753 | 0.00018484 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_879-8_0_6_load_181 | 67 | 0.00045968 | 0.00011521 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_879-8_0_6_load_50 | 68 | 0.0018323 | 0.00045921 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_879-8_0_6_load_129 | 70 | 0.00067731 | 0.00016975 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_879-8_0_6_load_52 | 71 | 0.002623 | 0.0006574 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_879-8_0_6_load_120 | 72 | 0.0017754 | 0.00044497 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_879-8_0_6_load_121 | 73 | 0.00049112 | 0.00012309 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_879-8_0_6_load_123 | 75 | 0.00045967 | 0.0001152 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_879-8_0_6_load_124 | 76 | 0.0017721 | 0.00044414 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_879-8_0_6_load_125 | 77 | 0.00035666 | 8.9388e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_879-8_0_6_load_126 | 80 | 0.00045601 | 0.00011429 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_879-8_0_6_load_127 | 81 | 0.00072906 | 0.00018272 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_879-8_0_6_load_139 | 84 | 0.00036004 | 9.0235e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_879-8_0_6_load_140 | 85 | 0.00058262 | 0.00014602 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_879-8_0_6_load_133 | 86 | 0.0011659 | 0.00029219 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_879-8_0_6_load_149 | 88 | 0.00047746 | 0.00011966 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_879-8_0_6_load_148 | 89 | 0.0004682 | 0.00011734 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_879-8_0_6_load_135 | 91 | 0.0031522 | 0.00079003 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_879-8_0_6_load_136 | 92 | 0.00051903 | 0.00013008 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_879-8_0_6_load_137 | 93 | 0.00067022 | 0.00016797 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_879-8_0_6_load_138 | 94 | 0.00049189 | 0.00012328 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_879-8_0_6_load_141 | 96 | 0.00046627 | 0.00011686 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_879-8_0_6_load_144 | 97 | 0.00046436 | 0.00011638 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_879-8_0_6_load_145 | 98 | 0.00099611 | 0.00024965 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_879-8_0_6_load_146 | 99 | 0.00060665 | 0.00015204 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_879-8_0_6_load_147 | 100 | 0.002785 | 0.00069799 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_879-8_0_6_load_150 | 101 | 0.0022905 | 0.00057406 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_879-8_0_6_load_152 | 102 | 0.00030782 | 7.7148e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_879-8_0_6_load_153 | 103 | 0.0011693 | 0.00029306 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_879-8_0_6_load_155 | 105 | 0.0017083 | 0.00042814 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_879-8_0_6_load_59 | 107 | 0.00087773 | 0.00021998 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_879-8_0_6_load_54 | 108 | 0.0016397 | 0.00041094 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_879-8_0_6_load_55 | 109 | 0.00046009 | 0.00011531 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_879-8_0_6_load_56 | 110 | 0.0003692 | 9.2531e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_879-8_0_6_load_57 | 111 | 0.00028667 | 7.1847e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_879-8_0_6_load_159 | 115 | 0.0025817 | 0.00064704 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_879-8_0_6_load_161 | 116 | 0.0010874 | 0.00027254 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_879-8_0_6_load_162 | 117 | 0.00033599 | 8.4208e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_879-8_0_6_load_164 | 118 | 0.00057513 | 0.00014414 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_879-8_0_6_load_66 | 119 | 0.0012888 | 0.000323 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_879-8_0_6_load_64 | 120 | 0.00027606 | 6.9186e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_879-8_0_6_load_62 | 121 | 0.00033166 | 8.3123e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_879-8_0_6_load_63 | 122 | 0.0011444 | 0.00028683 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_879-8_0_6_load_65 | 123 | 0.00043193 | 0.00010825 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_879-8_0_6_load_97 | 124 | 0.00075609 | 0.00018949 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_879-8_0_6_load_98 | 125 | 0.00054755 | 0.00013723 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_879-8_0_6_load_99 | 126 | 0.0004946 | 0.00012396 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_879-8_0_6_load_100 | 127 | 0.00062912 | 0.00015767 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_879-8_0_6_load_101 | 128 | 0.00071072 | 0.00017812 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_879-8_0_6_load_116 | 130 | 0.0020218 | 0.00050672 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_879-8_0_6_load_112 | 131 | 0.0015579 | 0.00039046 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_879-8_0_6_load_103 | 132 | 0.00085308 | 0.0002138 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_879-8_0_6_load_104 | 133 | 0.00063867 | 0.00016007 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_879-8_0_6_load_106 | 135 | 0.00072104 | 0.00018071 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_879-8_0_6_load_107 | 136 | 0.00063353 | 0.00015878 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_879-8_0_6_load_111 | 137 | 0.0020543 | 0.00051485 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_879-8_0_6_load_115 | 138 | 0.0019142 | 0.00047975 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_879-8_0_6_load_114 | 139 | 0.0057116 | 0.0014315 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_879-8_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_879-8_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.058682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_879-8_0_6_line_2 | NAYY 4x150 SE | 2 | 3 | 0.029423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_879-8_0_6_line_3 | NAYY 4x150 SE | 3 | 4 | 0.19039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_879-8_0_6_line_4 | NAYY 4x150 SE | 4 | 5 | 0.07442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_879-8_0_6_line_5 | NAYY 4x150 SE | 5 | 33 | 0.24827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_879-8_0_6_line_6 | NAYY 4x150 SE | 6 | 7 | 0.016705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_879-8_0_6_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0087157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_879-8_0_6_line_8 | NAYY 4x150 SE | 8 | 9 | 0.022379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_879-8_0_6_line_9 | NAYY 4x150 SE | 8 | 10 | 0.031098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_879-8_0_6_line_10 | NAYY 4x150 SE | 9 | 11 | 0.024977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_879-8_0_6_line_11 | NAYY 4x150 SE | 10 | 12 | 0.094345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_879-8_0_6_line_12 | NAYY 4x150 SE | 11 | 19 | 0.19575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_879-8_0_6_line_13 | NAYY 4x150 SE | 12 | 16 | 0.015585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_879-8_0_6_line_14 | NAYY 4x150 SE | 13 | 14 | 0.13206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_879-8_0_6_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0025896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_879-8_0_6_line_16 | NAYY 4x150 SE | 15 | 31 | 0.018473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_879-8_0_6_line_17 | NAYY 4x150 SE | 16 | 17 | 0.010193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_879-8_0_6_line_18 | NAYY 4x150 SE | 17 | 18 | 0.010398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_879-8_0_6_line_19 | NAYY 4x150 SE | 18 | 33 | 0.10673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_879-8_0_6_line_20 | NAYY 4x150 SE | 18 | 34 | 0.013419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_879-8_0_6_line_21 | NAYY 4x150 SE | 19 | 23 | 0.049245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_879-8_0_6_line_22 | NAYY 4x150 SE | 19 | 118 | 0.083587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_879-8_0_6_line_23 | NAYY 4x150 SE | 20 | 21 | 0.018363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_879-8_0_6_line_24 | NAYY 4x150 SE | 20 | 22 | 0.080442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_879-8_0_6_line_25 | NAYY 4x150 SE | 22 | 115 | 0.009769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_879-8_0_6_line_26 | NAYY 4x150 SE | 22 | 23 | 0.04268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_879-8_0_6_line_27 | NAYY 4x150 SE | 23 | 24 | 0.051387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_879-8_0_6_line_28 | NAYY 4x150 SE | 25 | 26 | 0.022563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_879-8_0_6_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0040636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_879-8_0_6_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0052311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_879-8_0_6_line_31 | NAYY 4x150 SE | 27 | 29 | 0.014797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_879-8_0_6_line_32 | NAYY 4x150 SE | 28 | 30 | 0.00030669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_879-8_0_6_line_33 | NAYY 4x150 SE | 29 | 31 | 0.011918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_879-8_0_6_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0094222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_879-8_0_6_line_35 | NAYY 4x150 SE | 32 | 44 | 0.010288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_879-8_0_6_line_36 | NAYY 4x150 SE | 33 | 35 | 0.12352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_879-8_0_6_line_37 | NAYY 4x150 SE | 34 | 36 | 0.021116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_879-8_0_6_line_38 | NAYY 4x150 SE | 35 | 41 | 0.028818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_879-8_0_6_line_39 | NAYY 4x150 SE | 36 | 37 | 0.016204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_879-8_0_6_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0073149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_879-8_0_6_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0062025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_879-8_0_6_line_42 | NAYY 4x150 SE | 38 | 40 | 0.023557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_879-8_0_6_line_43 | NAYY 4x150 SE | 39 | 42 | 0.0063492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_879-8_0_6_line_44 | NAYY 4x150 SE | 40 | 43 | 0.0020281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_879-8_0_6_line_45 | NAYY 4x150 SE | 41 | 137 | 0.027964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_879-8_0_6_line_46 | NAYY 4x150 SE | 42 | 52 | 0.0056941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_879-8_0_6_line_47 | NAYY 4x150 SE | 43 | 50 | 0.029061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_879-8_0_6_line_48 | NAYY 4x150 SE | 43 | 49 | 0.013119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_879-8_0_6_line_49 | NAYY 4x150 SE | 44 | 45 | 0.00077863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_879-8_0_6_line_50 | NAYY 4x150 SE | 45 | 46 | 0.010097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_879-8_0_6_line_51 | NAYY 4x150 SE | 46 | 47 | 0.015779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_879-8_0_6_line_52 | NAYY 4x150 SE | 46 | 48 | 0.014264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_879-8_0_6_line_53 | NAYY 4x150 SE | 47 | 51 | 0.01195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_879-8_0_6_line_54 | NAYY 4x150 SE | 48 | 49 | 0.0056489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_879-8_0_6_line_55 | NAYY 4x150 SE | 53 | 54 | 0.019357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_879-8_0_6_line_56 | NAYY 4x150 SE | 54 | 55 | 0.015858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_879-8_0_6_line_57 | NAYY 4x150 SE | 54 | 56 | 0.09248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_879-8_0_6_line_58 | NAYY 4x150 SE | 55 | 60 | 0.023677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_879-8_0_6_line_59 | NAYY 4x150 SE | 56 | 62 | 0.019606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_879-8_0_6_line_60 | NAYY 4x150 SE | 56 | 63 | 0.21748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_879-8_0_6_line_61 | NAYY 4x150 SE | 57 | 58 | 0.034733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_879-8_0_6_line_62 | NAYY 4x150 SE | 57 | 59 | 0.077429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_879-8_0_6_line_63 | NAYY 4x150 SE | 59 | 134 | 0.082043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_879-8_0_6_line_64 | NAYY 4x150 SE | 60 | 61 | 0.038196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_879-8_0_6_line_65 | NAYY 4x150 SE | 61 | 64 | 0.011033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_879-8_0_6_line_66 | NAYY 4x150 SE | 63 | 65 | 0.030492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_879-8_0_6_line_67 | NAYY 4x150 SE | 63 | 66 | 0.081972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_879-8_0_6_line_68 | NAYY 4x150 SE | 64 | 67 | 0.044086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_879-8_0_6_line_69 | NAYY 4x150 SE | 65 | 119 | 0.095806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_879-8_0_6_line_70 | NAYY 4x150 SE | 66 | 110 | 0.041898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_879-8_0_6_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0048162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_879-8_0_6_line_72 | NAYY 4x150 SE | 68 | 70 | 0.61282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_879-8_0_6_line_73 | NAYY 4x150 SE | 69 | 71 | 0.030063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_879-8_0_6_line_74 | NAYY 4x150 SE | 70 | 81 | 0.011295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_879-8_0_6_line_75 | NAYY 4x150 SE | 71 | 106 | 0.059886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_879-8_0_6_line_76 | NAYY 4x150 SE | 72 | 73 | 0.0080134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_879-8_0_6_line_77 | NAYY 4x150 SE | 72 | 74 | 0.023402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_879-8_0_6_line_78 | NAYY 4x150 SE | 73 | 75 | 0.017404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_879-8_0_6_line_79 | NAYY 4x150 SE | 74 | 76 | 0.03132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_879-8_0_6_line_80 | NAYY 4x150 SE | 74 | 77 | 0.0037111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_879-8_0_6_line_81 | NAYY 4x150 SE | 76 | 78 | 0.031012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_879-8_0_6_line_82 | NAYY 4x150 SE | 77 | 79 | 0.011885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_879-8_0_6_line_83 | NAYY 4x150 SE | 78 | 86 | 0.042735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_879-8_0_6_line_84 | NAYY 4x150 SE | 78 | 87 | 0.00628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_879-8_0_6_line_85 | NAYY 4x150 SE | 79 | 82 | 0.006529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_879-8_0_6_line_86 | NAYY 4x150 SE | 80 | 81 | 0.044263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_879-8_0_6_line_87 | NAYY 4x150 SE | 80 | 82 | 0.013426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_879-8_0_6_line_88 | NAYY 4x150 SE | 83 | 84 | 0.01783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_879-8_0_6_line_89 | NAYY 4x150 SE | 83 | 85 | 0.014355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_879-8_0_6_line_90 | NAYY 4x150 SE | 84 | 93 | 0.0056187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_879-8_0_6_line_91 | NAYY 4x150 SE | 85 | 96 | 0.0091266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_879-8_0_6_line_92 | NAYY 4x150 SE | 86 | 88 | 0.0060153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_879-8_0_6_line_93 | NAYY 4x150 SE | 87 | 89 | 0.0082006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_879-8_0_6_line_94 | NAYY 4x150 SE | 87 | 90 | 0.007221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_879-8_0_6_line_95 | NAYY 4x150 SE | 89 | 100 | 0.016959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_879-8_0_6_line_96 | NAYY 4x150 SE | 90 | 102 | 0.029324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_879-8_0_6_line_97 | NAYY 4x150 SE | 90 | 101 | 0.0082709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_879-8_0_6_line_98 | NAYY 4x150 SE | 91 | 92 | 0.00074238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_879-8_0_6_line_99 | NAYY 4x150 SE | 91 | 93 | 0.003799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_879-8_0_6_line_100 | NAYY 4x150 SE | 92 | 94 | 0.0098674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_879-8_0_6_line_101 | NAYY 4x150 SE | 94 | 95 | 0.0098801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_879-8_0_6_line_102 | NAYY 4x150 SE | 95 | 97 | 0.032101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_879-8_0_6_line_103 | NAYY 4x150 SE | 97 | 98 | 0.023191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_879-8_0_6_line_104 | NAYY 4x150 SE | 98 | 99 | 0.017297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
105 | LV_879-8_0_6_line_105 | NAYY 4x150 SE | 99 | 100 | 0.011573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
106 | LV_879-8_0_6_line_106 | NAYY 4x150 SE | 102 | 103 | 0.0010664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_879-8_0_6_line_107 | NAYY 4x150 SE | 103 | 104 | 0.041509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_879-8_0_6_line_108 | NAYY 4x150 SE | 104 | 105 | 0.036838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_879-8_0_6_line_109 | NAYY 4x150 SE | 106 | 107 | 0.22967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
110 | LV_879-8_0_6_line_110 | NAYY 4x150 SE | 107 | 113 | 0.017007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
111 | LV_879-8_0_6_line_111 | NAYY 4x150 SE | 108 | 109 | 0.051044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_879-8_0_6_line_112 | NAYY 4x150 SE | 108 | 110 | 0.030303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_879-8_0_6_line_113 | NAYY 4x150 SE | 109 | 111 | 0.00072328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
114 | LV_879-8_0_6_line_114 | NAYY 4x150 SE | 109 | 112 | 0.10282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
115 | LV_879-8_0_6_line_115 | NAYY 4x150 SE | 111 | 114 | 0.14893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_879-8_0_6_line_116 | NAYY 4x150 SE | 112 | 113 | 0.010364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
117 | LV_879-8_0_6_line_117 | NAYY 4x150 SE | 114 | 118 | 0.037439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
118 | LV_879-8_0_6_line_118 | NAYY 4x150 SE | 115 | 116 | 0.047522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_879-8_0_6_line_119 | NAYY 4x150 SE | 116 | 117 | 0.023501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_879-8_0_6_line_120 | NAYY 4x150 SE | 119 | 120 | 0.016648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_879-8_0_6_line_121 | NAYY 4x150 SE | 120 | 121 | 0.00092856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_879-8_0_6_line_122 | NAYY 4x150 SE | 121 | 122 | 0.014141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_879-8_0_6_line_123 | NAYY 4x150 SE | 122 | 123 | 0.056782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_879-8_0_6_line_124 | NAYY 4x150 SE | 124 | 125 | 0.014792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_879-8_0_6_line_125 | NAYY 4x150 SE | 124 | 126 | 0.011177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_879-8_0_6_line_126 | NAYY 4x150 SE | 125 | 127 | 0.0011715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_879-8_0_6_line_127 | NAYY 4x150 SE | 126 | 128 | 0.0032717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_879-8_0_6_line_128 | NAYY 4x150 SE | 128 | 129 | 0.013429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_879-8_0_6_line_129 | NAYY 4x150 SE | 129 | 130 | 0.032254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_879-8_0_6_line_130 | NAYY 4x150 SE | 129 | 131 | 0.037524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_879-8_0_6_line_131 | NAYY 4x150 SE | 130 | 139 | 0.039578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_879-8_0_6_line_132 | NAYY 4x150 SE | 131 | 136 | 0.024377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_879-8_0_6_line_133 | NAYY 4x150 SE | 132 | 133 | 0.0079066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_879-8_0_6_line_134 | NAYY 4x150 SE | 132 | 134 | 0.023275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_879-8_0_6_line_135 | NAYY 4x150 SE | 133 | 135 | 0.012353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_879-8_0_6_line_136 | NAYY 4x150 SE | 134 | 136 | 0.031957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_879-8_0_6_line_137 | NAYY 4x150 SE | 137 | 138 | 0.026932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_879-8_0_6_line_138 | NAYY 4x150 SE | 138 | 139 | 0.030797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_879-8_0_6_trafo_11 | 0.25 MVA 20/0.4 kV | 140 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2604230.5867 | 1187156.8743 | 2604233.3573 | 1187164.5409 | 2604236.2555 | 1187176.6159 | 2604237.1109 | 1187181.9382
1 | 2604212.7114 | 1187101.1159 | 2604214.7863 | 1187112.4121 | 2604218.6763 | 1187124.6434 | 2604225.682 | 1187143.3024 | 2604230.5867 | 1187156.8743
2 | 2604212.7114 | 1187101.1159 | 2604220.0093 | 1187094.6399 | 2604222.5044 | 1187083.1023 | 2604226.5982 | 1187076.3683
3 | 2604226.5982 | 1187076.3683 | 2604213.5178 | 1186886.428
4 | 2604252.6149 | 1186823.1218 | 2604235.7569 | 1186851.7916 | 2604215.0666 | 1186884.005 | 2604213.5178 | 1186886.428
5 | 2604303.675 | 1186580.1541 | 2604252.6149 | 1186823.1218
6 | 2604184.817 | 1186469.5351 | 2604194.5622 | 1186455.9668
7 | 2604179.7326 | 1186476.6141 | 2604184.817 | 1186469.5351
8 | 2604161.384 | 1186463.7282 | 2604179.7326 | 1186476.6141
9 | 2604179.7326 | 1186476.6141 | 2604196.0595 | 1186489.0763 | 2604201.7018 | 1186494.6608 | 2604203.1247 | 1186496.8607
10 | 2604172.4016 | 1186441.3019 | 2604161.384 | 1186463.7282
11 | 2604252.9692 | 1186545.456 | 2604245.9551 | 1186548.7751 | 2604236.14 | 1186553.4707 | 2604228.2417 | 1186555.6107 | 2604223.9779 | 1186553.8513 | 2604220.1188 | 1186551.5919 | 2604216.6241 | 1186541.0396 | 2604215.2243 | 1186524.0854 | 2604212.7303 | 1186511.7106 | 2604203.1247 | 1186496.8607
12 | 2604172.4016 | 1186441.3019 | 2604004.9463 | 1186339.926
13 | 2604252.9692 | 1186545.456 | 2604267.4774 | 1186539.7632
14 | 2604299.6075 | 1186368.6047 | 2604203.6139 | 1186277.9055
15 | 2604302.1948 | 1186368.715 | 2604299.6075 | 1186368.6047
16 | 2604320.6507 | 1186369.5023 | 2604302.1948 | 1186368.715
17 | 2604277.6408 | 1186538.9811 | 2604267.4774 | 1186539.7632
18 | 2604287.7408 | 1186541.5673 | 2604277.6408 | 1186538.9811
19 | 2604287.7408 | 1186541.5673 | 2604291.4304 | 1186546.0722 | 2604294.0882 | 1186553.0777 | 2604293.9042 | 1186565.195 | 2604290.8443 | 1186576.6099 | 2604284.1308 | 1186597.3158 | 2604285.5902 | 1186605.132 | 2604291.3854 | 1186609.9386 | 2604295.6126 | 1186598.6246 | 2604303.675 | 1186580.1541
20 | 2604287.7408 | 1186541.5673 | 2604292.3064 | 1186528.9485
21 | 2604004.9463 | 1186339.926 | 2604000.0633 | 1186339.6671 | 2603994.0265 | 1186341.8754 | 2603987.4906 | 1186348.8636 | 2603974.0524 | 1186363.2289 | 2603966.7855 | 1186368.1379
22 | 2604004.9463 | 1186339.926 | 2604000.2852 | 1186326.9829 | 2604001.5514 | 1186304.3831 | 2604005.9614 | 1186258.2733 | 2604006.0751 | 1186257.4062
23 | 2603901.0693 | 1186434.6112 | 2603892.9926 | 1186451.102
24 | 2603927.7409 | 1186359.2635 | 2603926.3766 | 1186368.8899 | 2603922.0844 | 1186387.2077 | 2603914.3956 | 1186407.4021 | 2603901.0693 | 1186434.6112
25 | 2603927.7409 | 1186359.2635 | 2603923.1132 | 1186350.6603
26 | 2603927.7409 | 1186359.2635 | 2603933.2762 | 1186365.537 | 2603944.1158 | 1186369.5906 | 2603957.0484 | 1186369.9658 | 2603966.7855 | 1186368.1379
27 | 2603966.7855 | 1186368.1379 | 2603960.4858 | 1186375.6932 | 2603949.7766 | 1186394.2514 | 2603941.9591 | 1186412.8227
28 | 2604330.2888 | 1186388.7334 | 2604327.574 | 1186411.1326
29 | 2604330.7778 | 1186384.6994 | 2604330.2888 | 1186388.7334
30 | 2604326.6345 | 1186416.2763 | 2604327.4466 | 1186412.184 | 2604327.574 | 1186411.1326
31 | 2604332.5581 | 1186370.0102 | 2604330.7778 | 1186384.6994
32 | 2604326.5748 | 1186416.5771 | 2604326.6345 | 1186416.2763
33 | 2604332.5581 | 1186370.0102 | 2604320.6507 | 1186369.5023
34 | 2604324.7407 | 1186425.8191 | 2604326.5748 | 1186416.5771
35 | 2604324.7407 | 1186425.8191 | 2604322.7382 | 1186435.9102
36 | 2604303.675 | 1186580.1541 | 2604330.3221 | 1186531.4144 | 2604341.2024 | 1186509.7109 | 2604349.373 | 1186489.7175 | 2604357.6498 | 1186469.2321
37 | 2604299.4907 | 1186509.0921 | 2604292.3064 | 1186528.9485
38 | 2604357.6498 | 1186469.2321 | 2604364.7209 | 1186451.7311 | 2604367.4851 | 1186442.1801
39 | 2604299.4907 | 1186509.0921 | 2604283.5694 | 1186506.0795
40 | 2604299.4907 | 1186509.0921 | 2604301.8129 | 1186502.1556
41 | 2604283.5694 | 1186506.0795 | 2604277.475 | 1186504.9263
42 | 2604309.2912 | 1186479.8176 | 2604301.8129 | 1186502.1556
43 | 2604271.2366 | 1186503.7459 | 2604277.475 | 1186504.9263
44 | 2604309.9351 | 1186477.8945 | 2604309.2912 | 1186479.8176
45 | 2604367.4851 | 1186442.1801 | 2604373.4865 | 1186421.4439 | 2604374.932 | 1186415.2333
46 | 2604265.6417 | 1186502.6872 | 2604271.2366 | 1186503.7459
47 | 2604281.0127 | 1186474.539 | 2604293.2877 | 1186476.5931 | 2604309.9351 | 1186477.8945
48 | 2604309.9351 | 1186477.8945 | 2604313.8439 | 1186465.3716
49 | 2604322.5866 | 1186436.6739 | 2604322.7382 | 1186435.9102
50 | 2604319.7771 | 1186446.3629 | 2604322.2166 | 1186438.5383 | 2604322.5866 | 1186436.6739
51 | 2604319.7771 | 1186446.3629 | 2604314.5971 | 1186445.392 | 2604304.1315 | 1186444.4369
52 | 2604319.7771 | 1186446.3629 | 2604315.527 | 1186459.9792
53 | 2604304.1315 | 1186444.4369 | 2604301.0931 | 1186444.1596 | 2604292.2079 | 1186443.6709
54 | 2604313.8439 | 1186465.3716 | 2604315.527 | 1186459.9792
55 | 2604197.1891 | 1185968.5188 | 2604198.0079 | 1185976.0788 | 2604198.1504 | 1185979.7809 | 2604197.646 | 1185987.8135
56 | 2604197.1891 | 1185968.5188 | 2604212.8377 | 1185970.6641 | 2604212.9009 | 1185970.6653
57 | 2604125.7742 | 1185925.0476 | 2604129.1076 | 1185926.7173 | 2604168.7531 | 1185942.0634 | 2604180.0894 | 1185945.9287 | 2604186.864 | 1185947.801 | 2604194.2266 | 1185948.9733 | 2604195.6561 | 1185956.367 | 2604197.1891 | 1185968.5188
58 | 2604221.8388 | 1185952.8611 | 2604221.2276 | 1185964.9558 | 2604220.6692 | 1185966.9231 | 2604219.7675 | 1185968.7679 | 2604218.1642 | 1185970.1341 | 2604216.3859 | 1185970.7332 | 2604212.9009 | 1185970.6653
59 | 2604125.7742 | 1185925.0476 | 2604124.336 | 1185919.1546 | 2604123.8594 | 1185913.1068 | 2604124.3212 | 1185907.2374 | 2604124.5435 | 1185905.6668
60 | 2603912.9065 | 1185969.6191 | 2604125.7742 | 1185925.0476
61 | 2604449.5022 | 1186039.6922 | 2604450.9633 | 1186032.2432 | 2604456.1991 | 1186005.6106
62 | 2604434.64 | 1186115.6811 | 2604439.9574 | 1186088.353 | 2604449.5022 | 1186039.6922
63 | 2604418.2548 | 1186196.0707 | 2604432.9111 | 1186124.5666 | 2604434.64 | 1186115.6811
64 | 2604221.8388 | 1185952.8611 | 2604222.2755 | 1185914.6676
65 | 2604222.2755 | 1185914.6676 | 2604222.4016 | 1185903.6355
66 | 2603893.1434 | 1185981.8795 | 2603896.6304 | 1185970.0422 | 2603901.3329 | 1185966.788 | 2603909.5203 | 1185966.9934 | 2603912.9065 | 1185969.6191
67 | 2603913.2799 | 1186041.8234 | 2603906.6588 | 1186026.589 | 2603897.1876 | 1186005.561 | 2603894.0336 | 1185997.7549 | 2603912.9065 | 1185969.6191
68 | 2604222.4016 | 1185903.6355 | 2604222.5699 | 1185888.9174 | 2604222.2832 | 1185884.2037 | 2604221.2862 | 1185880.4788 | 2604219.2738 | 1185877.4759 | 2604216.6964 | 1185874.895 | 2604212.6766 | 1185872.7467 | 2604203.8684 | 1185871.058
69 | 2603797.712 | 1185990.3484 | 2603893.1434 | 1185981.8795
70 | 2603913.2799 | 1186041.8234 | 2603915.3976 | 1186059.2115 | 2603918.6985 | 1186075.7888 | 2603919.1337 | 1186083.255
71 | 2603534.9242 | 1186243.2189 | 2603535.6483 | 1186247.9803
72 | 2603535.6483 | 1186247.9803 | 2603104.8413 | 1186683.8136
73 | 2603534.9242 | 1186243.2189 | 2603522.9071 | 1186229.3048 | 2603518.1594 | 1186218.6361
74 | 2603104.8413 | 1186683.8136 | 2603095.1875 | 1186689.6764
75 | 2603546.1787 | 1186190.576 | 2603534.6753 | 1186185.3666 | 2603528.3504 | 1186184.4625 | 2603521.3058 | 1186187.7935 | 2603514.07 | 1186205.076 | 2603514.6086 | 1186210.657 | 2603518.1594 | 1186218.6361
76 | 2603046.1307 | 1186765.8859 | 2603042.549 | 1186758.7174
77 | 2603032.0894 | 1186737.7829 | 2603042.549 | 1186758.7174
78 | 2603046.1307 | 1186765.8859 | 2603046.1899 | 1186766.0045 | 2603055.3807 | 1186771.4452 | 2603058.1386 | 1186777.4309
79 | 2603032.0894 | 1186737.7829 | 2603016.8809 | 1186743.6117 | 2603006.6235 | 1186750.2768 | 2603004.3103 | 1186751.854
80 | 2603032.0894 | 1186737.7829 | 2603035.0568 | 1186735.5544
81 | 2602981.1684 | 1186772.3425 | 2602996.7171 | 1186757.031 | 2603004.3103 | 1186751.854
82 | 2603044.5606 | 1186728.4175 | 2603035.0568 | 1186735.5544
83 | 2602981.1684 | 1186772.3425 | 2602989.1945 | 1186772.5576 | 2602994.9231 | 1186775.0061 | 2603007.8113 | 1186786.4406 | 2603014.9664 | 1186789.0899 | 2603018.5019 | 1186788.3277
84 | 2602976.398 | 1186776.4423 | 2602981.1684 | 1186772.3425
85 | 2603044.5606 | 1186728.4175 | 2603048.6602 | 1186723.3281
86 | 2603095.1875 | 1186689.6764 | 2603066.1399 | 1186707.3174 | 2603058.5607 | 1186714.2596
87 | 2603048.6602 | 1186723.3281 | 2603058.5607 | 1186714.2596
88 | 2603042.1406 | 1186669.9305 | 2603028.8437 | 1186681.8089
89 | 2603042.1406 | 1186669.9305 | 2603042.282 | 1186655.5759
90 | 2603024.6535 | 1186685.5522 | 2603028.8437 | 1186681.8089
91 | 2603042.372 | 1186646.4497 | 2603042.282 | 1186655.5759
92 | 2603024.3821 | 1186787.0601 | 2603018.5019 | 1186788.3277
93 | 2602976.398 | 1186776.4423 | 2602975.5831 | 1186768.2822
94 | 2602976.398 | 1186776.4423 | 2602971.3982 | 1186781.6648
95 | 2602971.2138 | 1186752.2667 | 2602974.5682 | 1186758.1208 | 2602975.5831 | 1186768.2822
96 | 2602971.3982 | 1186781.6648 | 2602954.3387 | 1186781.6232 | 2602944.6628 | 1186774.0868
97 | 2602971.3982 | 1186781.6648 | 2602968.2962 | 1186789.3319
98 | 2603022.1557 | 1186688.4146 | 2603021.6676 | 1186688.9739
99 | 2603024.6535 | 1186685.5522 | 2603024.6535 | 1186685.5522 | 2603022.1557 | 1186688.4146
100 | 2603015.1798 | 1186696.4087 | 2603015.1798 | 1186696.4087 | 2603021.6676 | 1186688.9739
101 | 2603015.5793 | 1186706.2806 | 2603015.1798 | 1186696.4087
102 | 2603015.5793 | 1186706.2806 | 2602985.6613 | 1186717.9157
103 | 2602985.6613 | 1186717.9157 | 2602964.0473 | 1186726.3215
104 | 2602964.0473 | 1186726.3215 | 2602964.0473 | 1186726.3215 | 2602961.5251 | 1186735.3582 | 2602965.4601 | 1186742.2254
105 | 2602971.2138 | 1186752.2667 | 2602965.4601 | 1186742.2254
106 | 2602944.6628 | 1186774.0868 | 2602943.8215 | 1186773.4316
107 | 2602918.5302 | 1186740.9072 | 2602929.775 | 1186759.1998 | 2602940.771 | 1186771.0556 | 2602943.8215 | 1186773.4316
108 | 2602920.6679 | 1186705.8234 | 2602923.1105 | 1186735.3954 | 2602918.5302 | 1186740.9072
109 | 2603760.5374 | 1186108.1321 | 2603546.1787 | 1186190.576
110 | 2603776.9155 | 1186105.7816 | 2603771.7941 | 1186108.0129 | 2603767.2841 | 1186108.8105 | 2603762.7746 | 1186108.7855 | 2603760.5374 | 1186108.1321
111 | 2603907.9085 | 1186107.6564 | 2603900.6251 | 1186106.9378 | 2603892.0702 | 1186109.0223 | 2603886.5435 | 1186112.6985 | 2603884.701 | 1186118.4114 | 2603880.4819 | 1186140.2878
112 | 2603907.9085 | 1186107.6564 | 2603909.018 | 1186107.7658 | 2603913.9713 | 1186105.7791 | 2603917.8664 | 1186100.0675 | 2603919.4683 | 1186088.9962 | 2603919.1337 | 1186083.255
113 | 2603880.3449 | 1186140.998 | 2603880.4819 | 1186140.2878
114 | 2603785.7471 | 1186100.3176 | 2603880.4819 | 1186140.2878
115 | 2603880.3449 | 1186140.998 | 2604006.3678 | 1186220.3539
116 | 2603785.7471 | 1186100.3176 | 2603776.9155 | 1186105.7816
117 | 2604006.3678 | 1186220.3539 | 2604008.8908 | 1186235.9414 | 2604006.0751 | 1186257.4062
118 | 2603923.1132 | 1186350.6603 | 2603917.8947 | 1186340.9588 | 2603916.6631 | 1186334.0878 | 2603918.6442 | 1186326.3518 | 2603925.7931 | 1186315.2951 | 2603931.5867 | 1186311.4969 | 2603932.8868 | 1186310.8651
119 | 2603932.8868 | 1186310.8651 | 2603941.9363 | 1186306.4676 | 2603948.2265 | 1186301.9249 | 2603951.7989 | 1186297.5088
120 | 2603793.0936 | 1185974.7828 | 2603793.7127 | 1185978.3928 | 2603797.3944 | 1185984.5205 | 2603797.712 | 1185990.3484
121 | 2603792.9367 | 1185973.8676 | 2603793.0936 | 1185974.7828
122 | 2603792.9367 | 1185973.8676 | 2603792.4887 | 1185971.255 | 2603787.9909 | 1185964.5154 | 2603787.8356 | 1185961.1312
123 | 2603780.7626 | 1185924.7555 | 2603787.3918 | 1185921.6929 | 2603797.9964 | 1185924.5565 | 2603787.4488 | 1185952.6979 | 2603787.8356 | 1185961.1312
124 | 2604379.6753 | 1186271.9265 | 2604374.0077 | 1186258.2633
125 | 2604386.3149 | 1186280.9179 | 2604379.6753 | 1186271.9265 | 2604379.6753 | 1186271.9265
126 | 2604373.5589 | 1186257.1812 | 2604374.0077 | 1186258.2633
127 | 2604386.3149 | 1186280.9179 | 2604388.2584 | 1186283.5498 | 2604388.2584 | 1186283.5498
128 | 2604400.8217 | 1186288.2947 | 2604388.2584 | 1186283.5498
129 | 2604400.8217 | 1186288.2947 | 2604394.3045 | 1186319.8831
130 | 2604400.8217 | 1186288.2947 | 2604407.7914 | 1186251.4241
131 | 2604386.3521 | 1186358.654 | 2604386.9475 | 1186355.5417 | 2604394.3045 | 1186319.8831
132 | 2604407.7914 | 1186251.4241 | 2604412.3191 | 1186227.4717
133 | 2604395.9947 | 1186189.2844 | 2604395.9947 | 1186189.2844 | 2604394.0715 | 1186196.9535
134 | 2604418.2548 | 1186196.0707 | 2604403.9591 | 1186191.5247 | 2604395.9947 | 1186189.2844
135 | 2604391.0667 | 1186208.9355 | 2604394.0715 | 1186196.9535
136 | 2604418.2548 | 1186196.0707 | 2604412.3191 | 1186227.4717
137 | 2604380.5661 | 1186388.9024 | 2604378.2853 | 1186400.8256 | 2604374.932 | 1186415.2333
138 | 2604386.3521 | 1186358.654 | 2604380.5661 | 1186388.9024

## bus_geodata
| x | y | coords
0 | 2604230.5867 | 1187156.8743
1 | 2604237.1109 | 1187181.9382
2 | 2604212.7114 | 1187101.1159
3 | 2604226.5982 | 1187076.3683
4 | 2604213.5178 | 1186886.428
5 | 2604252.6149 | 1186823.1218
6 | 2604194.5622 | 1186455.9668
7 | 2604184.817 | 1186469.5351
8 | 2604179.7326 | 1186476.6141
9 | 2604161.384 | 1186463.7282
10 | 2604203.1247 | 1186496.8607
11 | 2604172.4016 | 1186441.3019
12 | 2604252.9692 | 1186545.456
13 | 2604203.6139 | 1186277.9055
14 | 2604299.6075 | 1186368.6047
15 | 2604302.1948 | 1186368.715
16 | 2604267.4774 | 1186539.7632
17 | 2604277.6408 | 1186538.9811
18 | 2604287.7408 | 1186541.5673
19 | 2604004.9463 | 1186339.926
20 | 2603901.0693 | 1186434.6112
21 | 2603892.9926 | 1186451.102
22 | 2603927.7409 | 1186359.2635
23 | 2603966.7855 | 1186368.1379
24 | 2603941.9591 | 1186412.8227
25 | 2604330.2888 | 1186388.7334
26 | 2604327.574 | 1186411.1326
27 | 2604330.7778 | 1186384.6994
28 | 2604326.6345 | 1186416.2763
29 | 2604332.5581 | 1186370.0102
30 | 2604326.5748 | 1186416.5771
31 | 2604320.6507 | 1186369.5023
32 | 2604324.7407 | 1186425.8191
33 | 2604303.675 | 1186580.1541
34 | 2604292.3064 | 1186528.9485
35 | 2604357.6498 | 1186469.2321
36 | 2604299.4907 | 1186509.0921
37 | 2604283.5694 | 1186506.0795
38 | 2604301.8129 | 1186502.1556
39 | 2604277.475 | 1186504.9263
40 | 2604309.2912 | 1186479.8176
41 | 2604367.4851 | 1186442.1801
42 | 2604271.2366 | 1186503.7459
43 | 2604309.9351 | 1186477.8945
44 | 2604322.7382 | 1186435.9102
45 | 2604322.5866 | 1186436.6739
46 | 2604319.7771 | 1186446.3629
47 | 2604304.1315 | 1186444.4369
48 | 2604315.527 | 1186459.9792
49 | 2604313.8439 | 1186465.3716
50 | 2604281.0127 | 1186474.539
51 | 2604292.2079 | 1186443.6709
52 | 2604265.6417 | 1186502.6872
53 | 2604197.646 | 1185987.8135
54 | 2604197.1891 | 1185968.5188
55 | 2604212.9009 | 1185970.6653
56 | 2604125.7742 | 1185925.0476
57 | 2604449.5022 | 1186039.6922
58 | 2604456.1991 | 1186005.6106
59 | 2604434.64 | 1186115.6811
60 | 2604221.8388 | 1185952.8611
61 | 2604222.2755 | 1185914.6676
62 | 2604124.5435 | 1185905.6668
63 | 2603912.9065 | 1185969.6191
64 | 2604222.4016 | 1185903.6355
65 | 2603893.1434 | 1185981.8795
66 | 2603913.2799 | 1186041.8234
67 | 2604203.8684 | 1185871.058
68 | 2603535.6482 | 1186247.9803
69 | 2603534.9242 | 1186243.2189
70 | 2603104.8413 | 1186683.8136
71 | 2603518.1594 | 1186218.636
72 | 2603042.549 | 1186758.7174
73 | 2603046.1307 | 1186765.8859
74 | 2603032.0894 | 1186737.7829
75 | 2603058.1386 | 1186777.4309
76 | 2603004.3103 | 1186751.854
77 | 2603035.0568 | 1186735.5544
78 | 2602981.1684 | 1186772.3425
79 | 2603044.5606 | 1186728.4175
80 | 2603058.5607 | 1186714.2596
81 | 2603095.1875 | 1186689.6764
82 | 2603048.6602 | 1186723.3281
83 | 2603042.1406 | 1186669.9305
84 | 2603028.8437 | 1186681.8089
85 | 2603042.282 | 1186655.5759
86 | 2603018.5019 | 1186788.3277
87 | 2602976.398 | 1186776.4423
88 | 2603024.3821 | 1186787.0601
89 | 2602975.5831 | 1186768.2822
90 | 2602971.3982 | 1186781.6648
91 | 2603022.1557 | 1186688.4146
92 | 2603021.6676 | 1186688.9739
93 | 2603024.6535 | 1186685.5522
94 | 2603015.1798 | 1186696.4087
95 | 2603015.5793 | 1186706.2806
96 | 2603042.372 | 1186646.4497
97 | 2602985.6613 | 1186717.9157
98 | 2602964.0473 | 1186726.3215
99 | 2602965.4601 | 1186742.2254
100 | 2602971.2138 | 1186752.2667
101 | 2602968.2962 | 1186789.3319
102 | 2602944.6628 | 1186774.0868
103 | 2602943.8215 | 1186773.4316
104 | 2602918.5302 | 1186740.9072
105 | 2602920.6679 | 1186705.8234
106 | 2603546.1787 | 1186190.576
107 | 2603760.5374 | 1186108.1321
108 | 2603907.9085 | 1186107.6564
109 | 2603880.4819 | 1186140.2879
110 | 2603919.1337 | 1186083.255
111 | 2603880.3449 | 1186140.998
112 | 2603785.7471 | 1186100.3176
113 | 2603776.9155 | 1186105.7816
114 | 2604006.3678 | 1186220.3539
115 | 2603923.1132 | 1186350.6603
116 | 2603932.8868 | 1186310.8651
117 | 2603951.7989 | 1186297.5088
118 | 2604006.0751 | 1186257.4062
119 | 2603797.712 | 1185990.3484
120 | 2603793.0936 | 1185974.7828
121 | 2603792.9367 | 1185973.8676
122 | 2603787.8356 | 1185961.1312
123 | 2603780.7626 | 1185924.7555
124 | 2604379.6753 | 1186271.9265
125 | 2604374.0077 | 1186258.2633
126 | 2604386.3149 | 1186280.9179
127 | 2604373.5589 | 1186257.1812
128 | 2604388.2584 | 1186283.5498
129 | 2604400.8217 | 1186288.2947
130 | 2604394.3045 | 1186319.8831
131 | 2604407.7914 | 1186251.4241
132 | 2604395.9947 | 1186189.2844
133 | 2604394.0715 | 1186196.9535
134 | 2604418.2548 | 1186196.0707
135 | 2604391.0667 | 1186208.9355
136 | 2604412.3191 | 1186227.4717
137 | 2604374.932 | 1186415.2333
138 | 2604380.5661 | 1186388.9024
139 | 2604386.3521 | 1186358.654
140 | 2604179.7326 | 1186476.6141

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1