## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_880-5_2_2_node_58 | 0.4 | n |  | TRUE
1 | bus_LV_880-5_2_2_node_59 | 0.4 | n |  | TRUE
2 | bus_LV_880-5_2_2_node_60 | 0.4 | n |  | TRUE
3 | bus_LV_880-5_2_2_node_61 | 0.4 | n |  | TRUE
4 | bus_LV_880-5_2_2_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_880-5_2_2_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_880-5_2_2_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_880-5_2_2_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_880-5_2_2_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_880-5_2_2_node_147 | 0.4 | n |  | TRUE
10 | bus_LV_880-5_2_2_node_253 | 0.4 | n |  | TRUE
11 | bus_LV_880-5_2_2_node_79 | 0.4 | n |  | TRUE
12 | bus_LV_880-5_2_2_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_880-5_2_2_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_880-5_2_2_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_880-5_2_2_node_138 | 0.4 | n |  | TRUE
16 | bus_LV_880-5_2_2_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_880-5_2_2_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_880-5_2_2_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_880-5_2_2_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_880-5_2_2_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_880-5_2_2_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_880-5_2_2_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_880-5_2_2_node_245 | 0.4 | n |  | TRUE
24 | bus_LV_880-5_2_2_node_100 | 0.4 | n |  | TRUE
25 | bus_LV_880-5_2_2_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_880-5_2_2_node_243 | 0.4 | n |  | TRUE
27 | bus_LV_880-5_2_2_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_880-5_2_2_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_880-5_2_2_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_880-5_2_2_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_880-5_2_2_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_880-5_2_2_node_144 | 0.4 | n |  | TRUE
33 | bus_LV_880-5_2_2_node_145 | 0.4 | n |  | TRUE
34 | bus_LV_880-5_2_2_node_103 | 0.4 | n |  | TRUE
35 | bus_LV_880-5_2_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_880-5_2_2_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_880-5_2_2_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_880-5_2_2_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_880-5_2_2_node_149 | 0.4 | n |  | TRUE
40 | bus_LV_880-5_2_2_node_150 | 0.4 | n |  | TRUE
41 | bus_LV_880-5_2_2_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_880-5_2_2_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_880-5_2_2_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_880-5_2_2_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_880-5_2_2_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_880-5_2_2_node_124 | 0.4 | n |  | TRUE
47 | bus_LV_880-5_2_2_node_140 | 0.4 | n |  | TRUE
48 | bus_LV_880-5_2_2_node_117 | 0.4 | n |  | TRUE
49 | bus_LV_880-5_2_2_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_880-5_2_2_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_880-5_2_2_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_880-5_2_2_node_105 | 0.4 | n |  | TRUE
53 | bus_LV_880-5_2_2_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_880-5_2_2_node_107 | 0.4 | n |  | TRUE
55 | bus_LV_880-5_2_2_node_108 | 0.4 | n |  | TRUE
56 | bus_LV_880-5_2_2_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_880-5_2_2_node_137 | 0.4 | n |  | TRUE
58 | bus_LV_880-5_2_2_node_123 | 0.4 | n |  | TRUE
59 | bus_LV_880-5_2_2_node_112 | 0.4 | n |  | TRUE
60 | bus_LV_880-5_2_2_node_121 | 0.4 | n |  | TRUE
61 | bus_LV_880-5_2_2_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_880-5_2_2_node_114 | 0.4 | n |  | TRUE
63 | bus_LV_880-5_2_2_node_115 | 0.4 | n |  | TRUE
64 | bus_LV_880-5_2_2_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_880-5_2_2_node_118 | 0.4 | n |  | TRUE
66 | bus_LV_880-5_2_2_node_119 | 0.4 | n |  | TRUE
67 | bus_LV_880-5_2_2_node_120 | 0.4 | n |  | TRUE
68 | bus_LV_880-5_2_2_node_130 | 0.4 | n |  | TRUE
69 | bus_LV_880-5_2_2_node_122 | 0.4 | n |  | TRUE
70 | bus_LV_880-5_2_2_node_139 | 0.4 | n |  | TRUE
71 | bus_LV_880-5_2_2_node_125 | 0.4 | n |  | TRUE
72 | bus_LV_880-5_2_2_node_126 | 0.4 | n |  | TRUE
73 | bus_LV_880-5_2_2_node_127 | 0.4 | n |  | TRUE
74 | bus_LV_880-5_2_2_node_128 | 0.4 | n |  | TRUE
75 | bus_LV_880-5_2_2_node_251 | 0.4 | n |  | TRUE
76 | bus_LV_880-5_2_2_node_134 | 0.4 | n |  | TRUE
77 | bus_LV_880-5_2_2_node_131 | 0.4 | n |  | TRUE
78 | bus_LV_880-5_2_2_node_158 | 0.4 | n |  | TRUE
79 | bus_LV_880-5_2_2_node_135 | 0.4 | n |  | TRUE
80 | bus_LV_880-5_2_2_node_136 | 0.4 | n |  | TRUE
81 | bus_LV_880-5_2_2_node_143 | 0.4 | n |  | TRUE
82 | bus_LV_880-5_2_2_node_141 | 0.4 | n |  | TRUE
83 | bus_LV_880-5_2_2_node_250 | 0.4 | n |  | TRUE
84 | bus_LV_880-5_2_2_node_151 | 0.4 | n |  | TRUE
85 | bus_LV_880-5_2_2_node_152 | 0.4 | n |  | TRUE
86 | bus_LV_880-5_2_2_node_155 | 0.4 | n |  | TRUE
87 | bus_LV_880-5_2_2_node_153 | 0.4 | n |  | TRUE
88 | bus_LV_880-5_2_2_node_154 | 0.4 | n |  | TRUE
89 | bus_LV_880-5_2_2_node_156 | 0.4 | n |  | TRUE
90 | bus_LV_880-5_2_2_node_157 | 0.4 | n |  | TRUE
91 | bus_LV_880-5_2_2_node_170 | 0.4 | n |  | TRUE
92 | bus_LV_880-5_2_2_node_209 | 0.4 | n |  | TRUE
93 | bus_LV_880-5_2_2_node_210 | 0.4 | n |  | TRUE
94 | bus_LV_880-5_2_2_node_211 | 0.4 | n |  | TRUE
95 | bus_LV_880-5_2_2_node_213 | 0.4 | n |  | TRUE
96 | bus_LV_880-5_2_2_node_214 | 0.4 | n |  | TRUE
97 | bus_LV_880-5_2_2_node_215 | 0.4 | n |  | TRUE
98 | bus_LV_880-5_2_2_node_216 | 0.4 | n |  | TRUE
99 | bus_LV_880-5_2_2_node_246 | 0.4 | n |  | TRUE
100 | bus_LV_880-5_2_2_node_244 | 0.4 | n |  | TRUE
101 | bus_LV_880-5_2_2_node_249 | 0.4 | n |  | TRUE
102 | bus_MV_122_1_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_880-5_2_2_load_58 | 0 | 0.0033844 | 0.00084822 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_880-5_2_2_load_60 | 2 | 0.001987 | 0.000498 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_880-5_2_2_load_66 | 5 | 0.00061224 | 0.00015344 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_880-5_2_2_load_68 | 7 | 0.00019096 | 4.786e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_880-5_2_2_load_147 | 9 | 0.00054013 | 0.00013537 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_880-5_2_2_load_253 | 10 | 0.00015614 | 3.9134e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_880-5_2_2_load_79 | 11 | 0.00091775 | 0.00023001 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_880-5_2_2_load_70 | 12 | 0.00075793 | 0.00018996 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_880-5_2_2_load_71 | 13 | 0.00019189 | 4.8093e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_880-5_2_2_load_72 | 14 | 0.00013327 | 3.34e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_880-5_2_2_load_138 | 15 | 0.00015732 | 3.9428e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_880-5_2_2_load_73 | 16 | 0.0020292 | 0.00050855 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_880-5_2_2_load_74 | 17 | 0.0021233 | 0.00053215 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_880-5_2_2_load_76 | 19 | 0.0016525 | 0.00041414 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_880-5_2_2_load_77 | 20 | 0.001647 | 0.00041277 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_880-5_2_2_load_78 | 21 | 0.0020723 | 0.00051937 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_880-5_2_2_load_142 | 22 | 0.001801 | 0.00045138 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_880-5_2_2_load_100 | 24 | 0.0017605 | 0.00044122 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_880-5_2_2_load_243 | 26 | 0.00023615 | 5.9186e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_880-5_2_2_load_89 | 28 | 0.00013458 | 3.3728e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_880-5_2_2_load_82 | 29 | 0.012707 | 0.0031847 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_880-5_2_2_load_83 | 30 | 0.0020912 | 0.00052411 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_880-5_2_2_load_144 | 32 | 0.0021086 | 0.00052846 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_880-5_2_2_load_145 | 33 | 0.0014157 | 0.0003548 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_880-5_2_2_load_103 | 34 | 0.0019072 | 0.000478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_880-5_2_2_load_85 | 35 | 0.00081756 | 0.0002049 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_880-5_2_2_load_86 | 36 | 0.00015705 | 3.9361e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_880-5_2_2_load_87 | 37 | 0.00020926 | 5.2446e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_880-5_2_2_load_150 | 40 | 0.00059777 | 0.00014982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_880-5_2_2_load_95 | 41 | 0.0025311 | 0.00063435 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_880-5_2_2_load_96 | 42 | 0.0017845 | 0.00044724 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_880-5_2_2_load_99 | 44 | 0.0019444 | 0.00048732 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_880-5_2_2_load_124 | 46 | 0.0013759 | 0.00034482 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_880-5_2_2_load_140 | 47 | 0.0029937 | 0.00075029 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_880-5_2_2_load_117 | 48 | 0.00138 | 0.00034587 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_880-5_2_2_load_101 | 49 | 0.0014187 | 0.00035556 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_880-5_2_2_load_102 | 50 | 0.0017498 | 0.00043854 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_880-5_2_2_load_104 | 51 | 0.00257 | 0.0006441 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_880-5_2_2_load_105 | 52 | 0.0016645 | 0.00041717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_880-5_2_2_load_106 | 53 | 0.0015019 | 0.00037641 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_880-5_2_2_load_107 | 54 | 0.0012687 | 0.00031797 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_880-5_2_2_load_108 | 55 | 0.0022279 | 0.00055835 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_880-5_2_2_load_109 | 56 | 0.0017621 | 0.00044162 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_880-5_2_2_load_112 | 59 | 0.0014128 | 0.00035408 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_880-5_2_2_load_121 | 60 | 0.001627 | 0.00040777 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_880-5_2_2_load_113 | 61 | 0.0012717 | 0.00031871 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_880-5_2_2_load_114 | 62 | 0.0011386 | 0.00028536 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_880-5_2_2_load_115 | 63 | 0.0011626 | 0.00029138 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_880-5_2_2_load_118 | 65 | 0.0014029 | 0.00035159 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_880-5_2_2_load_119 | 66 | 0.0024115 | 0.00060437 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_880-5_2_2_load_120 | 67 | 0.0013909 | 0.0003486 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_880-5_2_2_load_130 | 68 | 0.0015958 | 0.00039994 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_880-5_2_2_load_122 | 69 | 0.0025128 | 0.00062976 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_880-5_2_2_load_139 | 70 | 0.002031 | 0.00050901 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_880-5_2_2_load_125 | 71 | 0.0017178 | 0.00043052 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_880-5_2_2_load_126 | 72 | 0.0053663 | 0.0013449 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_880-5_2_2_load_127 | 73 | 0.0031603 | 0.00079205 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_880-5_2_2_load_251 | 75 | 0.003216 | 0.00080602 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_880-5_2_2_load_134 | 76 | 0.0010854 | 0.00027202 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_880-5_2_2_load_158 | 78 | 0.0070861 | 0.0017759 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_880-5_2_2_load_135 | 79 | 0.0050007 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_880-5_2_2_load_136 | 80 | 0.0013186 | 0.00033048 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_880-5_2_2_load_141 | 82 | 0.0015944 | 0.0003996 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_880-5_2_2_load_250 | 83 | 0.0029347 | 0.0007355 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_880-5_2_2_load_151 | 84 | 0.0028813 | 0.00072211 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_880-5_2_2_load_152 | 85 | 0.00086605 | 0.00021705 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_880-5_2_2_load_155 | 86 | 0.00010823 | 2.7126e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_880-5_2_2_load_153 | 87 | 0.00044217 | 0.00011082 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_880-5_2_2_load_154 | 88 | 0.00032751 | 8.2083e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_880-5_2_2_load_157 | 90 | 0.0024844 | 0.00062265 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_880-5_2_2_load_170 | 91 | 0.0006703 | 0.00016799 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_880-5_2_2_load_209 | 92 | 0.0010495 | 0.00026303 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_880-5_2_2_load_210 | 93 | 0.00015 | 3.7595e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_880-5_2_2_load_213 | 95 | 0.00023238 | 5.824e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_880-5_2_2_load_214 | 96 | 0.00014013 | 3.512e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_880-5_2_2_load_216 | 98 | 0.002185 | 0.00054762 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_880-5_2_2_load_246 | 99 | 0.0027523 | 0.00068979 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_880-5_2_2_load_249 | 101 | 0.00026765 | 6.708e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_880-5_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.051118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_880-5_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0072688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_880-5_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.046624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_880-5_2_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.17558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_880-5_2_2_line_4 | NAYY 4x150 SE | 4 | 77 | 0.06448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_880-5_2_2_line_5 | NAYY 4x150 SE | 4 | 73 | 0.095494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_880-5_2_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.057378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_880-5_2_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0055671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_880-5_2_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.12501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_880-5_2_2_line_9 | NAYY 4x150 SE | 6 | 9 | 0.099224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_880-5_2_2_line_10 | NAYY 4x150 SE | 6 | 10 | 0.16615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_880-5_2_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.034401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_880-5_2_2_line_12 | NAYY 4x150 SE | 11 | 25 | 0.094339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_880-5_2_2_line_13 | NAYY 4x150 SE | 11 | 26 | 0.13209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_880-5_2_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0079268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_880-5_2_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.011185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_880-5_2_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.00083004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_880-5_2_2_line_17 | NAYY 4x150 SE | 15 | 27 | 0.037093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_880-5_2_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0039194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_880-5_2_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.018991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_880-5_2_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.021925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_880-5_2_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.013311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_880-5_2_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.015148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_880-5_2_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.0087047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_880-5_2_2_line_24 | NAYY 4x150 SE | 20 | 23 | 0.2386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_880-5_2_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.026841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_880-5_2_2_line_26 | NAYY 4x150 SE | 22 | 64 | 0.0088995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_880-5_2_2_line_27 | NAYY 4x150 SE | 23 | 99 | 0.01955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_880-5_2_2_line_28 | NAYY 4x150 SE | 23 | 100 | 0.14903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_880-5_2_2_line_29 | NAYY 4x150 SE | 24 | 43 | 0.011603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_880-5_2_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.011219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_880-5_2_2_line_31 | NAYY 4x150 SE | 26 | 100 | 0.044038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_880-5_2_2_line_32 | NAYY 4x150 SE | 26 | 101 | 0.17996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_880-5_2_2_line_33 | NAYY 4x150 SE | 27 | 28 | 0.026775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_880-5_2_2_line_34 | NAYY 4x150 SE | 28 | 37 | 0.0095291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_880-5_2_2_line_35 | NAYY 4x150 SE | 29 | 30 | 0.0057419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_880-5_2_2_line_36 | NAYY 4x150 SE | 30 | 31 | 0.02843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_880-5_2_2_line_37 | NAYY 4x150 SE | 31 | 32 | 0.013603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_880-5_2_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.027675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_880-5_2_2_line_39 | NAYY 4x150 SE | 31 | 34 | 0.015339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_880-5_2_2_line_40 | NAYY 4x150 SE | 32 | 84 | 0.0025912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_880-5_2_2_line_41 | NAYY 4x150 SE | 33 | 78 | 0.0021968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_880-5_2_2_line_42 | NAYY 4x150 SE | 34 | 49 | 0.023359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_880-5_2_2_line_43 | NAYY 4x150 SE | 35 | 36 | 0.0069436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_880-5_2_2_line_44 | NAYY 4x150 SE | 35 | 37 | 0.015742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_880-5_2_2_line_45 | NAYY 4x150 SE | 36 | 38 | 0.015354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_880-5_2_2_line_46 | NAYY 4x150 SE | 38 | 39 | 0.060514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_880-5_2_2_line_47 | NAYY 4x150 SE | 38 | 40 | 0.020753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_880-5_2_2_line_48 | NAYY 4x150 SE | 39 | 85 | 0.016234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_880-5_2_2_line_49 | NAYY 4x150 SE | 40 | 86 | 0.019404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_880-5_2_2_line_50 | NAYY 4x150 SE | 41 | 42 | 0.0064889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_880-5_2_2_line_51 | NAYY 4x150 SE | 41 | 43 | 0.013804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_880-5_2_2_line_52 | NAYY 4x150 SE | 43 | 44 | 0.013583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_880-5_2_2_line_53 | NAYY 4x150 SE | 44 | 48 | 0.019108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_880-5_2_2_line_54 | NAYY 4x150 SE | 45 | 46 | 0.0067512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_880-5_2_2_line_55 | NAYY 4x150 SE | 45 | 47 | 0.012448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_880-5_2_2_line_56 | NAYY 4x150 SE | 46 | 51 | 0.010672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_880-5_2_2_line_57 | NAYY 4x150 SE | 47 | 82 | 0.0078808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_880-5_2_2_line_58 | NAYY 4x150 SE | 48 | 65 | 0.0039701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_880-5_2_2_line_59 | NAYY 4x150 SE | 49 | 50 | 0.0078375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_880-5_2_2_line_60 | NAYY 4x150 SE | 50 | 51 | 0.014441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_880-5_2_2_line_61 | NAYY 4x150 SE | 52 | 53 | 0.012666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_880-5_2_2_line_62 | NAYY 4x150 SE | 52 | 54 | 0.011251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_880-5_2_2_line_63 | NAYY 4x150 SE | 53 | 55 | 0.014491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_880-5_2_2_line_64 | NAYY 4x150 SE | 54 | 56 | 0.01365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_880-5_2_2_line_65 | NAYY 4x150 SE | 55 | 57 | 0.013337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_880-5_2_2_line_66 | NAYY 4x150 SE | 56 | 58 | 0.001569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_880-5_2_2_line_67 | NAYY 4x150 SE | 57 | 74 | 0.052875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_880-5_2_2_line_68 | NAYY 4x150 SE | 58 | 70 | 0.01877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_880-5_2_2_line_69 | NAYY 4x150 SE | 58 | 69 | 0.022892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_880-5_2_2_line_70 | NAYY 4x150 SE | 59 | 60 | 0.22275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_880-5_2_2_line_71 | NAYY 4x150 SE | 60 | 69 | 0.021319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_880-5_2_2_line_72 | NAYY 4x150 SE | 61 | 62 | 0.0041915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_880-5_2_2_line_73 | NAYY 4x150 SE | 61 | 63 | 0.020023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_880-5_2_2_line_74 | NAYY 4x150 SE | 62 | 64 | 0.01708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_880-5_2_2_line_75 | NAYY 4x150 SE | 65 | 66 | 0.022941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_880-5_2_2_line_76 | NAYY 4x150 SE | 66 | 67 | 0.0011658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_880-5_2_2_line_77 | NAYY 4x150 SE | 67 | 68 | 0.0069593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_880-5_2_2_line_78 | NAYY 4x150 SE | 68 | 77 | 0.012839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_880-5_2_2_line_79 | NAYY 4x150 SE | 71 | 72 | 0.0043319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_880-5_2_2_line_80 | NAYY 4x150 SE | 71 | 73 | 0.031374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_880-5_2_2_line_81 | NAYY 4x150 SE | 72 | 74 | 0.015669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_880-5_2_2_line_82 | NAYY 4x150 SE | 73 | 75 | 0.12621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_880-5_2_2_line_83 | NAYY 4x150 SE | 74 | 76 | 0.023322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_880-5_2_2_line_84 | NAYY 4x150 SE | 76 | 79 | 0.0089211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_880-5_2_2_line_85 | NAYY 4x150 SE | 77 | 78 | 0.033969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_880-5_2_2_line_86 | NAYY 4x150 SE | 79 | 80 | 0.016379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_880-5_2_2_line_87 | NAYY 4x150 SE | 80 | 81 | 0.03668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_880-5_2_2_line_88 | NAYY 4x150 SE | 81 | 83 | 0.19618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_880-5_2_2_line_89 | NAYY 4x150 SE | 83 | 91 | 0.28589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_880-5_2_2_line_90 | NAYY 4x150 SE | 85 | 87 | 0.026474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_880-5_2_2_line_91 | NAYY 4x150 SE | 86 | 89 | 0.14316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_880-5_2_2_line_92 | NAYY 4x150 SE | 87 | 88 | 0.0064952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_880-5_2_2_line_93 | NAYY 4x150 SE | 89 | 90 | 0.10325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_880-5_2_2_line_94 | NAYY 4x150 SE | 92 | 93 | 0.041216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_880-5_2_2_line_95 | NAYY 4x150 SE | 92 | 94 | 0.015493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_880-5_2_2_line_96 | NAYY 4x150 SE | 94 | 95 | 0.022369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_880-5_2_2_line_97 | NAYY 4x150 SE | 95 | 96 | 0.0057856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_880-5_2_2_line_98 | NAYY 4x150 SE | 96 | 97 | 0.17831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_880-5_2_2_line_99 | NAYY 4x150 SE | 97 | 98 | 0.12093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_880-5_2_2_line_100 | NAYY 4x150 SE | 98 | 99 | 0.1778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_880-5_2_2_trafo_130 | 0.25 MVA 20/0.4 kV | 102 | 68 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2599609.2915 | 1184967.3986 | 2599602.0587 | 1184994.1907 | 2599607.28 | 1185010.3653 | 2599609.355 | 1185016.3882
1 | 2599611.7227 | 1185023.2605 | 2599609.355 | 1185016.3882
2 | 2599615.3171 | 1184921.1743 | 2599609.2915 | 1184967.3986
3 | 2599615.3171 | 1184921.1743 | 2599528.6712 | 1184902.9721 | 2599503.8367 | 1184897.6828 | 2599490.4272 | 1184894.5047 | 2599480.0781 | 1184891.6042 | 2599471.1332 | 1184888.5813 | 2599462.2418 | 1184885.3139 | 2599453.5105 | 1184881.7129 | 2599445.2371 | 1184877.6006
4 | 2599432.2149 | 1184927.461 | 2599420.7133 | 1184923.9048 | 2599430.8771 | 1184906.9394 | 2599445.2371 | 1184877.6006
5 | 2599445.2371 | 1184877.6006 | 2599436.7576 | 1184872.9435 | 2599428.1101 | 1184867.864 | 2599411.2807 | 1184857.9496 | 2599364.9975 | 1184830.3629 | 2599362.9294 | 1184829.1913
6 | 2598917.4933 | 1185041.3858 | 2598916.3964 | 1185052.0359 | 2598920.4888 | 1185061.729 | 2598928.5806 | 1185073.2556 | 2598948.8271 | 1185082.0314
7 | 2598953.9349 | 1185084.2454 | 2598948.8271 | 1185082.0314
8 | 2598917.4933 | 1185041.3858 | 2598935.7667 | 1185058.2576 | 2598961.7786 | 1185075.5506 | 2599012.4186 | 1185098.7533 | 2599025.8884 | 1185098.6843
9 | 2598917.4933 | 1185041.3858 | 2598820.3692 | 1185061.6935
10 | 2598917.4933 | 1185041.3858 | 2598757.78 | 1185087.1979
11 | 2599025.8884 | 1185098.6843 | 2599051.0422 | 1185098.5688 | 2599059.8678 | 1185095.8084
12 | 2599135.424 | 1185044.5049 | 2599121.4527 | 1185059.3814 | 2599107.1386 | 1185077.1595 | 2599093.113 | 1185085.4105 | 2599059.8678 | 1185095.8084
13 | 2599059.8678 | 1185095.8084 | 2599120.8798 | 1185212.9581
14 | 2599088.3001 | 1185050.0824 | 2599095.9222 | 1185047.9057
15 | 2599106.6775 | 1185044.8342 | 2599095.9222 | 1185047.9057
16 | 2599106.6775 | 1185044.8342 | 2599107.4757 | 1185044.6063
17 | 2599143.5047 | 1185036.6996 | 2599133.9117 | 1185037.0568 | 2599107.4757 | 1185044.6063
18 | 2599448.0942 | 1185066.995 | 2599451.8519 | 1185068.109
19 | 2599429.8863 | 1185061.5971 | 2599448.0942 | 1185066.995
20 | 2599451.8519 | 1185068.109 | 2599472.8725 | 1185074.3408
21 | 2599429.8863 | 1185061.5971 | 2599426.1774 | 1185074.3812
22 | 2599429.8863 | 1185061.5971 | 2599430.15 | 1185046.4517
23 | 2599481.2182 | 1185076.815 | 2599472.8725 | 1185074.3408
24 | 2599426.1774 | 1185074.3812 | 2599284.1181 | 1185266.0866
25 | 2599430.6172 | 1185019.6153 | 2599430.15 | 1185046.4517
26 | 2599489.7507 | 1185079.3445 | 2599481.2182 | 1185076.815
27 | 2599284.1181 | 1185266.0866 | 2599264.5131 | 1185266.3338
28 | 2599163.7315 | 1185205.9282 | 2599167.7769 | 1185211.2303 | 2599174.7302 | 1185217.5659 | 2599185.888 | 1185221.7997 | 2599223.7857 | 1185221.8943 | 2599247.5349 | 1185222.847 | 2599267.1414 | 1185232.3937 | 2599276.7057 | 1185248.0894 | 2599284.1181 | 1185266.0866
29 | 2599430.8192 | 1185008.0138 | 2599430.6172 | 1185019.6153
30 | 2599135.424 | 1185044.5049 | 2599143.5047 | 1185036.6996
31 | 2599163.7315 | 1185205.9282 | 2599147.1951 | 1185212.2785 | 2599120.8798 | 1185212.9581
32 | 2599120.8798 | 1185212.9581 | 2598970.736 | 1185312.171
33 | 2599143.5047 | 1185036.6996 | 2599142.9672 | 1185015.7778 | 2599144.2181 | 1185010.0665
34 | 2599144.2181 | 1185010.0665 | 2599146.2567 | 1185000.7581
35 | 2599493.5909 | 1184912.1617 | 2599493.5257 | 1184917.9031
36 | 2599493.2026 | 1184946.3312 | 2599493.5257 | 1184917.9031
37 | 2599493.2026 | 1184946.3312 | 2599506.1974 | 1184950.3547
38 | 2599493.2026 | 1184946.3312 | 2599466.7642 | 1184938.1509
39 | 2599493.2026 | 1184946.3312 | 2599492.8054 | 1184961.665
40 | 2599508.6727 | 1184951.121 | 2599506.1974 | 1184950.3547
41 | 2599464.6655 | 1184937.5015 | 2599466.7642 | 1184938.1509
42 | 2599492.8054 | 1184961.665 | 2599492.2005 | 1184985.0167
43 | 2599150.2917 | 1184985.5741 | 2599152.6617 | 1184979.0475
44 | 2599150.2917 | 1184985.5741 | 2599148.504 | 1184990.4972 | 2599146.2567 | 1185000.7581
45 | 2599157.9023 | 1184964.6157 | 2599152.6617 | 1184979.0475
46 | 2599157.9023 | 1184964.6157 | 2599169.2396 | 1184941.2464 | 2599181.4868 | 1184928.7826 | 2599196.047 | 1184919.7536
47 | 2599157.9023 | 1184964.6157 | 2599140.6455 | 1184953.0871
48 | 2599196.047 | 1184919.7536 | 2599192.9244 | 1184911.7499 | 2599192.1524 | 1184904.1461 | 2599192.1524 | 1184904.1461
49 | 2599129.8142 | 1184938.1742 | 2599131.5237 | 1184944.3872 | 2599132.959 | 1184947.5553 | 2599135.3099 | 1184949.5226 | 2599140.6455 | 1184953.0871
50 | 2599444.1239 | 1185011.6933 | 2599450.378 | 1185013.423
51 | 2599430.8192 | 1185008.0138 | 2599444.1239 | 1185011.6933
52 | 2599430.8192 | 1185008.0138 | 2599431.0545 | 1184994.4332
53 | 2599431.0545 | 1184994.4332 | 2599431.3855 | 1184975.3282
54 | 2599491.1725 | 1185024.7051 | 2599491.3473 | 1185017.9561
55 | 2599491.1725 | 1185024.7051 | 2599490.8487 | 1185037.1487
56 | 2599491.3473 | 1185017.9561 | 2599491.6236 | 1185007.2876
57 | 2599490.8487 | 1185037.1487 | 2599490.6437 | 1185045.0269
58 | 2599431.4543 | 1184971.3588 | 2599431.3855 | 1184975.3282
59 | 2599492.2005 | 1184985.0167 | 2599491.9976 | 1184992.8515
60 | 2599491.9976 | 1184992.8515 | 2599491.6236 | 1185007.2876
61 | 2599241.0938 | 1184781.1005 | 2599230.4559 | 1184774.2263
62 | 2599221.0005 | 1184768.1285 | 2599223.4774 | 1184769.7167 | 2599230.4559 | 1184774.2263
63 | 2599241.0938 | 1184781.1005 | 2599253.2645 | 1184788.9653
64 | 2599221.0005 | 1184768.1285 | 2599209.5098 | 1184760.7608
65 | 2599264.732 | 1184795.7689 | 2599259.1907 | 1184792.6347 | 2599253.8174 | 1184789.3226 | 2599253.2645 | 1184788.9653
66 | 2599208.189 | 1184759.9139 | 2599209.5098 | 1184760.7608
67 | 2599264.732 | 1184795.7689 | 2599273.5017 | 1184799.9588 | 2599283.8588 | 1184803.6593 | 2599294.5821 | 1184806.4038 | 2599315.4255 | 1184810.4254
68 | 2599219.6197 | 1184745.0045 | 2599208.189 | 1184759.9139
69 | 2599208.189 | 1184759.9139 | 2599189.0194 | 1184747.4006
70 | 2599171.3624 | 1184735.4594 | 2599024.9714 | 1184567.5707
71 | 2599171.3624 | 1184735.4594 | 2599175.1772 | 1184738.1964 | 2599182.8024 | 1184743.3424 | 2599189.0194 | 1184747.4006
72 | 2599506.1021 | 1185084.2814 | 2599510.1147 | 1185085.4928
73 | 2599529.2836 | 1185091.2803 | 2599510.1147 | 1185085.4928
74 | 2599489.7507 | 1185079.3445 | 2599506.1021 | 1185084.2814
75 | 2599431.4543 | 1184971.3588 | 2599431.8517 | 1184948.4215
76 | 2599431.8517 | 1184948.4215 | 2599431.8719 | 1184947.2559
77 | 2599431.9924 | 1184940.2977 | 2599431.8719 | 1184947.2559
78 | 2599432.2149 | 1184927.461 | 2599431.9924 | 1184940.2977
79 | 2599334.7629 | 1184815.4826 | 2599330.6345 | 1184814.1704
80 | 2599334.7629 | 1184815.4826 | 2599335.1777 | 1184815.6145 | 2599341.2225 | 1184818.0372 | 2599347.5345 | 1184820.7823 | 2599356.3652 | 1184825.4725 | 2599362.9294 | 1184829.1913
81 | 2599315.4255 | 1184810.4254 | 2599324.1873 | 1184812.3808 | 2599329.7588 | 1184813.892 | 2599330.6345 | 1184814.1704
82 | 2599362.9294 | 1184829.1913 | 2599439.2838 | 1184728.7022
83 | 2599315.4255 | 1184810.4254 | 2599316.6001 | 1184804.4333 | 2599316.9658 | 1184799.1305 | 2599316.3471 | 1184795.5954 | 2599314.8127 | 1184792.2717 | 2599311.9234 | 1184788.6274
84 | 2599311.9234 | 1184788.6274 | 2599306.381 | 1184781.6368
85 | 2599432.2149 | 1184927.461 | 2599464.6655 | 1184937.5015
86 | 2599296.2053 | 1184768.8021 | 2599306.381 | 1184781.6368
87 | 2599270.5786 | 1184742.6185 | 2599279.3642 | 1184750.955 | 2599292.4015 | 1184764.0044 | 2599296.2053 | 1184768.8021
88 | 2599270.5786 | 1184742.6185 | 2599325.651 | 1184554.3255
89 | 2599325.651 | 1184554.3255 | 2599177.2982 | 1184309.9412
90 | 2599193.6654 | 1184877.7173 | 2599193.0732 | 1184885.6809 | 2599192.1524 | 1184904.1461
91 | 2599021.8379 | 1184848.4671 | 2599045.7589 | 1184863.3706 | 2599101.295 | 1184902.7038 | 2599122.4229 | 1184920.7764 | 2599126.9878 | 1184927.9016 | 2599129.8142 | 1184938.1742
92 | 2599194.1472 | 1184871.24 | 2599193.6654 | 1184877.7173
93 | 2598923.9408 | 1184835.734 | 2598968.6702 | 1184828.1662 | 2598983.3695 | 1184828.9639 | 2598998.0847 | 1184833.697 | 2599021.8379 | 1184848.4671
94 | 2599160.4697 | 1185681.8982 | 2599170.7421 | 1185694.5238 | 2599184.3453 | 1185715.4262
95 | 2599150.6921 | 1185669.8808 | 2599160.4697 | 1185681.8982
96 | 2599150.6921 | 1185669.8808 | 2599153.6716 | 1185647.7109
97 | 2599154.4422 | 1185641.9769 | 2599153.6716 | 1185647.7109
98 | 2599154.4422 | 1185641.9769 | 2599303.4384 | 1185544.0165
99 | 2599303.4384 | 1185544.0165 | 2599269.3734 | 1185487.0137 | 2599238.2094 | 1185442.1726
100 | 2599264.5131 | 1185266.3338 | 2599238.2094 | 1185442.1726

## bus_geodata
| x | y | coords
0 | 2599609.355 | 1185016.3882
1 | 2599609.2915 | 1184967.3986
2 | 2599611.7227 | 1185023.2605
3 | 2599615.3171 | 1184921.1743
4 | 2599445.2371 | 1184877.6006
5 | 2598948.8271 | 1185082.0314
6 | 2598917.4933 | 1185041.3858
7 | 2598953.9349 | 1185084.2454
8 | 2599025.8884 | 1185098.6843
9 | 2598820.3692 | 1185061.6935
10 | 2598757.78 | 1185087.1979
11 | 2599059.8678 | 1185095.8084
12 | 2599088.3001 | 1185050.0824
13 | 2599095.9222 | 1185047.9057
14 | 2599106.6775 | 1185044.8342
15 | 2599107.4757 | 1185044.6063
16 | 2599448.0942 | 1185066.995
17 | 2599451.8519 | 1185068.109
18 | 2599429.8863 | 1185061.5971
19 | 2599472.8725 | 1185074.3408
20 | 2599426.1774 | 1185074.3812
21 | 2599430.15 | 1185046.4517
22 | 2599481.2182 | 1185076.815
23 | 2599284.1181 | 1185266.0866
24 | 2599430.6172 | 1185019.6153
25 | 2599135.424 | 1185044.5049
26 | 2599120.8798 | 1185212.9581
27 | 2599143.5047 | 1185036.6996
28 | 2599144.2181 | 1185010.0665
29 | 2599493.5909 | 1184912.1617
30 | 2599493.5257 | 1184917.9031
31 | 2599493.2026 | 1184946.3312
32 | 2599506.1974 | 1184950.3547
33 | 2599466.7642 | 1184938.1509
34 | 2599492.8054 | 1184961.665
35 | 2599150.2917 | 1184985.5741
36 | 2599152.6617 | 1184979.0475
37 | 2599146.2567 | 1185000.7581
38 | 2599157.9023 | 1184964.6157
39 | 2599196.047 | 1184919.7536
40 | 2599140.6455 | 1184953.0871
41 | 2599444.1239 | 1185011.6933
42 | 2599450.378 | 1185013.423
43 | 2599430.8192 | 1185008.0138
44 | 2599431.0545 | 1184994.4332
45 | 2599491.1725 | 1185024.7051
46 | 2599491.3473 | 1185017.9561
47 | 2599490.8487 | 1185037.1487
48 | 2599431.3855 | 1184975.3282
49 | 2599492.2005 | 1184985.0167
50 | 2599491.9976 | 1184992.8515
51 | 2599491.6236 | 1185007.2876
52 | 2599230.4559 | 1184774.2263
53 | 2599241.0938 | 1184781.1005
54 | 2599221.0005 | 1184768.1285
55 | 2599253.2645 | 1184788.9653
56 | 2599209.5098 | 1184760.7608
57 | 2599264.732 | 1184795.7689
58 | 2599208.189 | 1184759.9139
59 | 2599024.9714 | 1184567.5707
60 | 2599171.3624 | 1184735.4594
61 | 2599510.1147 | 1185085.4928
62 | 2599506.1021 | 1185084.2813
63 | 2599529.2836 | 1185091.2803
64 | 2599489.7507 | 1185079.3445
65 | 2599431.4543 | 1184971.3588
66 | 2599431.8517 | 1184948.4215
67 | 2599431.8719 | 1184947.2559
68 | 2599431.9924 | 1184940.2977
69 | 2599189.0194 | 1184747.4006
70 | 2599219.6197 | 1184745.0045
71 | 2599334.7629 | 1184815.4826
72 | 2599330.6345 | 1184814.1704
73 | 2599362.9294 | 1184829.1913
74 | 2599315.4255 | 1184810.4254
75 | 2599439.2838 | 1184728.7022
76 | 2599311.9234 | 1184788.6274
77 | 2599432.2148 | 1184927.461
78 | 2599464.6655 | 1184937.5015
79 | 2599306.381 | 1184781.6368
80 | 2599296.2053 | 1184768.8021
81 | 2599270.5786 | 1184742.6185
82 | 2599490.6437 | 1185045.0269
83 | 2599325.651 | 1184554.3255
84 | 2599508.6727 | 1184951.121
85 | 2599192.1524 | 1184904.1461
86 | 2599129.8142 | 1184938.1742
87 | 2599193.6654 | 1184877.7173
88 | 2599194.1472 | 1184871.24
89 | 2599021.8379 | 1184848.4671
90 | 2598923.9408 | 1184835.734
91 | 2599177.2982 | 1184309.9412
92 | 2599160.4697 | 1185681.8982
93 | 2599184.3453 | 1185715.4262
94 | 2599150.6921 | 1185669.8808
95 | 2599153.6716 | 1185647.7109
96 | 2599154.4422 | 1185641.9769
97 | 2599303.4384 | 1185544.0165
98 | 2599238.2094 | 1185442.1726
99 | 2599264.5131 | 1185266.3338
100 | 2599163.7315 | 1185205.9282
101 | 2598970.736 | 1185312.171
102 | 2599432.2148 | 1184927.461

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1