## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_901-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_901-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_901-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_901-2_0_3_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_901-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_901-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_901-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_901-2_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_901-2_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_901-2_0_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_901-2_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_901-2_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_901-2_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_901-2_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_901-2_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_901-2_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_901-2_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_901-2_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_901-2_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_901-2_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_901-2_0_3_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_901-2_0_3_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_901-2_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_901-2_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_901-2_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_901-2_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_901-2_0_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_901-2_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_901-2_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_901-2_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_901-2_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_901-2_0_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_901-2_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_901-2_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_901-2_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_901-2_0_3_node_232 | 0.4 | n |  | TRUE
36 | bus_LV_901-2_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_901-2_0_3_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_901-2_0_3_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_901-2_0_3_node_196 | 0.4 | n |  | TRUE
40 | bus_LV_901-2_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_901-2_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_901-2_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_901-2_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_901-2_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_901-2_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_901-2_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_901-2_0_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_901-2_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_901-2_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_901-2_0_3_node_217 | 0.4 | n |  | TRUE
51 | bus_LV_901-2_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_901-2_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_901-2_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_901-2_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_901-2_0_3_node_224 | 0.4 | n |  | TRUE
56 | bus_LV_901-2_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_901-2_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_901-2_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_901-2_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_901-2_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_901-2_0_3_node_220 | 0.4 | n |  | TRUE
62 | bus_LV_901-2_0_3_node_195 | 0.4 | n |  | TRUE
63 | bus_LV_901-2_0_3_node_226 | 0.4 | n |  | TRUE
64 | bus_LV_901-2_0_3_node_221 | 0.4 | n |  | TRUE
65 | bus_LV_901-2_0_3_node_222 | 0.4 | n |  | TRUE
66 | bus_LV_901-2_0_3_node_223 | 0.4 | n |  | TRUE
67 | bus_LV_901-2_0_3_node_227 | 0.4 | n |  | TRUE
68 | bus_MV_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_901-2_0_3_load_0 | 0 | 0.0010904 | 0.00027328 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_901-2_0_3_load_1 | 1 | 0.0002429 | 6.0877e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_901-2_0_3_load_2 | 2 | 0.00031842 | 7.9804e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_901-2_0_3_load_4 | 4 | 0.00043637 | 0.00010936 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_901-2_0_3_load_5 | 5 | 0.0048611 | 0.0012183 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_901-2_0_3_load_6 | 6 | 0.0014336 | 0.00035929 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_901-2_0_3_load_7 | 7 | 0.0017252 | 0.00043237 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_901-2_0_3_load_9 | 10 | 0.0012438 | 0.00031172 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_901-2_0_3_load_10 | 11 | 0.00034417 | 8.6256e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_901-2_0_3_load_12 | 13 | 0.00015999 | 4.0097e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_901-2_0_3_load_13 | 14 | 0.0002977 | 7.461e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_901-2_0_3_load_26 | 16 | 0.0013731 | 0.00034414 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_901-2_0_3_load_15 | 17 | 0.00024319 | 6.095e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_901-2_0_3_load_16 | 18 | 0.0015242 | 0.000382 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_901-2_0_3_load_63 | 20 | 0.00020025 | 5.0188e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_901-2_0_3_load_18 | 22 | 0.00022178 | 5.5584e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_901-2_0_3_load_59 | 26 | 0.0014468 | 0.0003626 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_901-2_0_3_load_21 | 27 | 0.00039485 | 9.8958e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_901-2_0_3_load_22 | 28 | 0.00014749 | 3.6965e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_901-2_0_3_load_23 | 29 | 0.00013417 | 3.3627e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_901-2_0_3_load_24 | 30 | 0.0028359 | 0.00071074 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_901-2_0_3_load_57 | 31 | 0.0017418 | 0.00043653 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_901-2_0_3_load_232 | 35 | 0.00038963 | 9.7651e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_901-2_0_3_load_62 | 37 | 0.00016984 | 4.2566e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_901-2_0_3_load_60 | 38 | 0.00044181 | 0.00011073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_901-2_0_3_load_196 | 39 | 0.00024213 | 6.0684e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_901-2_0_3_load_36 | 40 | 0.00048978 | 0.00012275 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_901-2_0_3_load_38 | 42 | 0.00032184 | 8.0661e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_901-2_0_3_load_39 | 44 | 0.00021105 | 5.2894e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_901-2_0_3_load_41 | 45 | 0.002123 | 0.00053208 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_901-2_0_3_load_64 | 47 | 0.0033365 | 0.0008362 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_901-2_0_3_load_44 | 48 | 0.00036045 | 9.0338e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_901-2_0_3_load_55 | 51 | 0.0004582 | 0.00011484 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_901-2_0_3_load_46 | 52 | 0.00057773 | 0.00014479 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_901-2_0_3_load_48 | 54 | 0.0004548 | 0.00011398 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_901-2_0_3_load_224 | 55 | 0.00016978 | 4.255e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_901-2_0_3_load_51 | 56 | 0.0027751 | 0.00069549 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_901-2_0_3_load_52 | 57 | 0.00013517 | 3.3877e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_901-2_0_3_load_53 | 58 | 0.00027195 | 6.8156e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_901-2_0_3_load_61 | 60 | 0.0022818 | 0.00057187 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_901-2_0_3_load_220 | 61 | 0.00016988 | 4.2577e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_901-2_0_3_load_195 | 62 | 0.00060133 | 0.00015071 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_901-2_0_3_load_226 | 63 | 0.00088106 | 0.00022081 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_901-2_0_3_load_221 | 64 | 0.00016965 | 4.2518e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_901-2_0_3_load_222 | 65 | 0.00016987 | 4.2575e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_901-2_0_3_load_223 | 66 | 0.00016983 | 4.2563e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_901-2_0_3_load_227 | 67 | 0.00058448 | 0.00014648 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_901-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_901-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0053158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_901-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.077586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_901-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0070974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_901-2_0_3_line_4 | NAYY 4x150 SE | 3 | 13 | 0.0025049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_901-2_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.04612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_901-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.046466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_901-2_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.048545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_901-2_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.088842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_901-2_0_3_line_9 | NAYY 4x150 SE | 9 | 56 | 0.059184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_901-2_0_3_line_10 | NAYY 4x150 SE | 9 | 54 | 0.017343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_901-2_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.00011624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_901-2_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.037509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_901-2_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.042403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_901-2_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.26398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_901-2_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.38941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_901-2_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.014771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_901-2_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.40498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_901-2_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.027506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_901-2_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.011067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_901-2_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.043304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_901-2_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.27495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_901-2_0_3_line_22 | NAYY 4x150 SE | 20 | 59 | 0.35771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_901-2_0_3_line_23 | NAYY 4x150 SE | 21 | 46 | 0.44808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_901-2_0_3_line_24 | NAYY 4x150 SE | 21 | 57 | 0.013022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_901-2_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.038066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_901-2_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.02563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_901-2_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.028026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_901-2_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.017119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_901-2_0_3_line_29 | NAYY 4x150 SE | 25 | 55 | 0.053429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_901-2_0_3_line_30 | NAYY 4x150 SE | 25 | 53 | 0.063694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_901-2_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.011284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_901-2_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0083841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_901-2_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.022981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_901-2_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.018637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_901-2_0_3_line_35 | NAYY 4x150 SE | 31 | 59 | 0.008635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_901-2_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.16361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_901-2_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.030618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_901-2_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.032662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_901-2_0_3_line_39 | NAYY 4x150 SE | 33 | 36 | 0.18123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_901-2_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.034827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_901-2_0_3_line_41 | NAYY 4x150 SE | 34 | 38 | 0.031256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_901-2_0_3_line_42 | NAYY 4x150 SE | 34 | 39 | 0.93327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_901-2_0_3_line_43 | NAYY 4x150 SE | 36 | 46 | 0.098177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_901-2_0_3_line_44 | NAYY 4x150 SE | 36 | 44 | 0.02843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_901-2_0_3_line_45 | NAYY 4x150 SE | 37 | 61 | 0.011289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_901-2_0_3_line_46 | NAYY 4x150 SE | 38 | 60 | 0.019393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_901-2_0_3_line_47 | NAYY 4x150 SE | 39 | 62 | 0.014456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_901-2_0_3_line_48 | NAYY 4x150 SE | 40 | 41 | 0.065789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_901-2_0_3_line_49 | NAYY 4x150 SE | 41 | 42 | 0.12567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_901-2_0_3_line_50 | NAYY 4x150 SE | 42 | 43 | 0.21195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_901-2_0_3_line_51 | NAYY 4x150 SE | 43 | 48 | 0.04107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_901-2_0_3_line_52 | NAYY 4x150 SE | 43 | 49 | 0.15234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_901-2_0_3_line_53 | NAYY 4x150 SE | 44 | 45 | 0.0054258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_901-2_0_3_line_54 | NAYY 4x150 SE | 46 | 47 | 0.16842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_901-2_0_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.12965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_901-2_0_3_line_56 | NAYY 4x150 SE | 49 | 51 | 0.11026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_901-2_0_3_line_57 | NAYY 4x150 SE | 50 | 63 | 0.1578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_901-2_0_3_line_58 | NAYY 4x150 SE | 51 | 58 | 0.025508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_901-2_0_3_line_59 | NAYY 4x150 SE | 52 | 53 | 0.016261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_901-2_0_3_line_60 | NAYY 4x150 SE | 53 | 54 | 0.034237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_901-2_0_3_line_61 | NAYY 4x150 SE | 55 | 66 | 0.013694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_901-2_0_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.038633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_901-2_0_3_line_63 | NAYY 4x150 SE | 61 | 64 | 0.011211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_901-2_0_3_line_64 | NAYY 4x150 SE | 63 | 67 | 0.20048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_901-2_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.01126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_901-2_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.011598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_901-2_0_3_trafo_27 | 0.25 MVA 20/0.4 kV | 68 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2628217.3523 | 1191163.8481 | 2628218.3844 | 1191163.4205 | 2628233.6646 | 1191151.7418 | 2628237.3762 | 1191150.403 | 2628241.9365 | 1191150.1799 | 2628251.7414 | 1191151.7047 | 2628255.0035 | 1191151.9313 | 2628257.4542 | 1191151.2091 | 2628261.1932 | 1191148.9144 | 2628267.6971 | 1191144.422
1 | 2628217.3523 | 1191163.8481 | 2628212.4413 | 1191165.8828
2 | 2628310.3961 | 1191209.201 | 2628267.6971 | 1191144.422
3 | 2628205.3855 | 1191166.65 | 2628212.4413 | 1191165.8828 | 2628212.4413 | 1191165.8828
4 | 2628310.3961 | 1191209.201 | 2628310.0293 | 1191211.6789
5 | 2629291.6555 | 1191897.5073 | 2629323.4798 | 1191878.8624 | 2629331.8793 | 1191875.0203
6 | 2629376.739 | 1191874.5106 | 2629367.2072 | 1191870.8611 | 2629359.2701 | 1191869.5882 | 2629352.4482 | 1191869.4325 | 2629343.9718 | 1191870.8806 | 2629334.2526 | 1191873.9347 | 2629331.8793 | 1191875.0203
7 | 2629422.5465 | 1191882.7055 | 2629419.9464 | 1191884.3714 | 2629415.8548 | 1191885.5297 | 2629409.663 | 1191885.8884 | 2629404.7483 | 1191885.4418 | 2629383.825 | 1191877.2237 | 2629376.739 | 1191874.5106
8 | 2629365.7634 | 1191829.4874 | 2629409.6153 | 1191852.1256 | 2629418.3578 | 1191857.0378 | 2629423.1249 | 1191861.1634 | 2629425.8987 | 1191866.0241 | 2629426.5373 | 1191871.0521 | 2629425.9332 | 1191876.0852 | 2629424.7939 | 1191879.8928 | 2629422.5465 | 1191882.7055
9 | 2629365.7634 | 1191829.4874 | 2629422.1442 | 1191847.4867
10 | 2629365.7634 | 1191829.4874 | 2629367.3568 | 1191823.2363 | 2629367.5155 | 1191817.3005 | 2629366.6856 | 1191812.4161
11 | 2628300.7157 | 1191253.0018 | 2628300.687 | 1191253.1144
12 | 2628291.5746 | 1191289.4995 | 2628297.8229 | 1191264.36 | 2628300.687 | 1191253.1144
13 | 2628310.0293 | 1191211.6789 | 2628308.3485 | 1191223.032 | 2628300.7157 | 1191253.0018
14 | 2628291.5746 | 1191289.4995 | 2628299.3573 | 1191291.3817 | 2628302.6959 | 1191291.5197 | 2628305.6939 | 1191291.1448 | 2628309.023 | 1191290.0599 | 2628311.5011 | 1191288.3707 | 2628313.6786 | 1191285.7685 | 2628317.7509 | 1191279.073 | 2628320.9713 | 1191275.1862 | 2628327.1808 | 1191269.5792 | 2628337.7122 | 1191262.5474 | 2628377.6218 | 1191241.9363 | 2628383.9536 | 1191237.8863 | 2628388.7478 | 1191233.3399 | 2628392.7966 | 1191228.4009 | 2628397.3636 | 1191220.2959 | 2628401.0341 | 1191211.542 | 2628403.7218 | 1191201.038 | 2628404.9603 | 1191185.8579 | 2628407.0431 | 1191175.8847 | 2628411.7562 | 1191162.7222 | 2628444.5399 | 1191099.3604
15 | 2628291.5746 | 1191289.4995 | 2628279.6183 | 1191330.3205 | 2628274.4581 | 1191341.4021 | 2628264.6729 | 1191356.753 | 2628227.3929 | 1191413.341 | 2628207.7872 | 1191451.6803 | 2628202.9012 | 1191456.371 | 2628180.2743 | 1191485.5135 | 2628163.6027 | 1191503.089 | 2628155.2785 | 1191509.4088 | 2628119.7829 | 1191528.9527 | 2628117.2185 | 1191531.1752 | 2628116.8857 | 1191533.8751 | 2628118.7783 | 1191538.3308 | 2628131.9462 | 1191554.1344 | 2628142.1009 | 1191565.4659 | 2628173.5536 | 1191590.2046
16 | 2628444.5399 | 1191099.3604 | 2628445.828 | 1191096.8708 | 2628452.7868 | 1191090.8784 | 2628454.1451 | 1191088.4474
17 | 2628173.5536 | 1191590.2046 | 2628578.4691 | 1191582.7287
18 | 2628591.346 | 1191607.0292 | 2628583.1447 | 1191591.0549 | 2628578.4691 | 1191582.7287
19 | 2628594.4993 | 1191617.5343 | 2628593.9608 | 1191613.7519 | 2628593.0917 | 1191610.5683 | 2628591.9216 | 1191608.1503 | 2628591.346 | 1191607.0292
20 | 2628594.4993 | 1191617.5343 | 2628601.5365 | 1191615.7892 | 2628607.6513 | 1191614.0285 | 2628612.625 | 1191611.7622 | 2628617.709 | 1191608.7404 | 2628621.9205 | 1191604.8473 | 2628629.6908 | 1191594.8568
21 | 2628594.4993 | 1191617.5343 | 2628594.1979 | 1191623.1804 | 2628594.568 | 1191625.4945 | 2628595.7019 | 1191627.5232 | 2628598.0722 | 1191629.2354 | 2628601.0582 | 1191629.7388 | 2628625.4861 | 1191630.8449 | 2628633.4108 | 1191631.6165 | 2628641.7878 | 1191633.4464 | 2628649.9167 | 1191636.1644 | 2628657.2645 | 1191639.5903 | 2628662.6289 | 1191643.2957 | 2628667.9413 | 1191648.3238 | 2628672.8515 | 1191654.5395 | 2628677.607 | 1191661.2213 | 2628722.4577 | 1191727.5605 | 2628730.6587 | 1191737.4495 | 2628741.4253 | 1191756.0111 | 2628744.6789 | 1191762.6969 | 2628747.2692 | 1191769.3907 | 2628750.5497 | 1191779.9899 | 2628753.1746 | 1191790.5859 | 2628757.113 | 1191810.2376
22 | 2628629.6908 | 1191594.8568 | 2628853.8146 | 1191316.0709
23 | 2628952.1602 | 1192133.7387 | 2628944.3169 | 1192138.3477 | 2628935.2237 | 1192141.3388 | 2628925.493 | 1192142.1589 | 2628915.4053 | 1192141.1653 | 2628902.5778 | 1192137.6571 | 2628847.618 | 1192113.7684 | 2628841.0242 | 1192110.6239 | 2628835.5603 | 1192107.0957 | 2628831.8332 | 1192103.8316 | 2628828.4055 | 1192100.1242 | 2628825.7924 | 1192096.6431 | 2628823.2598 | 1192092.2731 | 2628821.481 | 1192088.0623 | 2628820.0396 | 1192083.4529 | 2628813.6437 | 1192047.0582 | 2628803.6791 | 1191991.8585 | 2628788.9684 | 1191929.6433 | 2628787.3869 | 1191916.0951 | 2628783.7689 | 1191836.146 | 2628782.7031 | 1191827.9143 | 2628781.1167 | 1191821.7256 | 2628778.6491 | 1191818.0673 | 2628775.4939 | 1191814.7282 | 2628770.7135 | 1191811.6703 | 2628765.0208 | 1191809.7086 | 2628761.2407 | 1191809.5014 | 2628757.113 | 1191810.2376
24 | 2628757.113 | 1191810.2376 | 2628753.4319 | 1191811.6318 | 2628750.0889 | 1191814.0504 | 2628747.3476 | 1191818.1839
25 | 2629298.2263 | 1191745.9454 | 2629299.7874 | 1191743.1849 | 2629302.3637 | 1191740.1403 | 2629306.7676 | 1191737.5049 | 2629311.9883 | 1191736.2075 | 2629319.3552 | 1191735.6321 | 2629324.567 | 1191736.169 | 2629331.9816 | 1191738.4766
26 | 2629299.9545 | 1191771.3564 | 2629300.7461 | 1191765.3793 | 2629298.2263 | 1191745.9454
27 | 2629277.7876 | 1191786.6341 | 2629285.1349 | 1191777.5984 | 2629290.2763 | 1191773.7882 | 2629294.4845 | 1191772.2079 | 2629299.9545 | 1191771.3564
28 | 2629299.9545 | 1191771.3564 | 2629317.0498 | 1191770.4626
29 | 2629277.7876 | 1191786.6341 | 2629229.8192 | 1191763.1042
30 | 2629277.7876 | 1191786.6341 | 2629286.0394 | 1191790.621 | 2629288.8447 | 1191789.0672 | 2629292.034 | 1191788.4936 | 2629296.874 | 1191788.6617 | 2629339.9096 | 1191792.8522
31 | 2628890.9604 | 1191276.3261 | 2628889.0976 | 1191274.9966 | 2628880.9435 | 1191271.1985
32 | 2628872.7857 | 1191269.5596 | 2628879.3304 | 1191270.4471 | 2628880.9435 | 1191271.1985
33 | 2628863.6909 | 1191290.6644 | 2628872.7857 | 1191269.5596 | 2628872.7857 | 1191269.5596
34 | 2628863.6909 | 1191290.6644 | 2628859.0695 | 1191301.3883 | 2628856.7243 | 1191307.9409
35 | 2628853.8146 | 1191316.0709 | 2628856.7243 | 1191307.9409
36 | 2629114.5865 | 1191725.9623 | 2629106.537 | 1191732.0931 | 2629101.166 | 1191737.6701 | 2629096.0715 | 1191744.3711 | 2629091.3144 | 1191752.2634 | 2629086.6802 | 1191763.0912 | 2629073.0975 | 1191801.9683 | 2629053.3343 | 1191860.9152 | 2629049.1198 | 1191873.257
37 | 2629114.5865 | 1191725.9623 | 2629119.2072 | 1191724.206 | 2629125.3051 | 1191722.7793 | 2629131.5349 | 1191722.465 | 2629138.6088 | 1191722.5883 | 2629144.6944 | 1191723.6962
38 | 2629049.1198 | 1191873.257 | 2629051.2903 | 1191894.1342 | 2629059.3526 | 1191902.589
39 | 2629049.1198 | 1191873.257 | 2629028.2952 | 1191934.2444 | 2628991.6025 | 1192045.1262
40 | 2629144.6944 | 1191723.6962 | 2629150.2429 | 1191725.5464 | 2629167.4529 | 1191732.5117 | 2629176.8009 | 1191737.0971
41 | 2629144.6944 | 1191723.6962 | 2629135.0611 | 1191753.4303
42 | 2629194.3191 | 1190791.7499 | 2629144.6944 | 1191723.6962
43 | 2628991.6025 | 1192045.1262 | 2628977.5637 | 1192087.1253 | 2628968.1456 | 1192113.1493 | 2628963.5783 | 1192121.2983 | 2628958.6861 | 1192127.2556 | 2628952.1602 | 1192133.7387
44 | 2628991.6025 | 1192045.1262 | 2629005.2582 | 1192063.391 | 2629007.7829 | 1192068.417
45 | 2629176.8009 | 1191737.0971 | 2629186.9365 | 1191742.0689
46 | 2629129.0839 | 1191771.8795 | 2629135.0611 | 1191753.4303
47 | 2629188.8859 | 1190778.5776 | 2629189.9706 | 1190779.7445 | 2629191.8387 | 1190782.8553 | 2629194.3191 | 1190791.7499
48 | 2628590.8507 | 1192353.3557 | 2628589.4128 | 1192354.3716 | 2628588.225 | 1192355.7 | 2628586.9981 | 1192358.818 | 2628586.9028 | 1192362.8197 | 2628587.9349 | 1192366.9713 | 2628590.4183 | 1192370.4961 | 2628593.7553 | 1192374.0362 | 2628598.0768 | 1192377.3141 | 2628604.5612 | 1192381.0026 | 2628611.2266 | 1192383.5024 | 2628617.1139 | 1192384.5199 | 2628626.4337 | 1192385.0425 | 2628630.8275 | 1192385.964 | 2628632.2833 | 1192386.7123
49 | 2628590.8507 | 1192353.3557 | 2628592.9272 | 1192352.6986 | 2628594.5508 | 1192352.6841 | 2628596.7124 | 1192353.3503 | 2628599.5948 | 1192354.7203 | 2628604.2389 | 1192357.5107 | 2628609.7408 | 1192359.438 | 2628615.0133 | 1192359.9078 | 2628620.0244 | 1192359.2647 | 2628624.9534 | 1192358.2433 | 2628631.0473 | 1192355.9156 | 2628637.1362 | 1192354.6217 | 2628642.8611 | 1192354.5491 | 2628648.918 | 1192355.1672 | 2628660.5119 | 1192356.7568 | 2628665.7025 | 1192356.8372 | 2628670.0266 | 1192356.3799 | 2628675.0632 | 1192355.1922 | 2628679.3025 | 1192353.356 | 2628683.2862 | 1192350.7625 | 2628687.4556 | 1192347.6141 | 2628691.1531 | 1192344.3078 | 2628695.2652 | 1192338.7801 | 2628698.5428 | 1192332.4368 | 2628700.3158 | 1192327.52
50 | 2628688.9302 | 1192125.6132 | 2628688.0866 | 1192156.9149 | 2628690.0249 | 1192166.029 | 2628693.7722 | 1192174.6294 | 2628708.3119 | 1192194.6764 | 2628711.9148 | 1192201.5862 | 2628716.3034 | 1192214.7365 | 2628718.3712 | 1192222.2616 | 2628719.4046 | 1192229.3148 | 2628719.4081 | 1192238.1195 | 2628718.7726 | 1192246.6655 | 2628717.6848 | 1192252.5634 | 2628714.8556 | 1192262.344 | 2628711.4801 | 1192271.6106 | 2628709.299 | 1192278.1926 | 2628707.5311 | 1192287.6336 | 2628705.2931 | 1192307.6781 | 2628700.8758 | 1192325.9668 | 2628700.3158 | 1192327.52
51 | 2628688.9302 | 1192125.6132 | 2628672.6579 | 1192163.3334
52 | 2628688.9302 | 1192125.6132 | 2628710.5964 | 1192050.3878 | 2628712.0622 | 1192040.3894 | 2628712.7444 | 1192025.2957 | 2628712.0515 | 1192009.2282 | 2628709.2752 | 1191996.8083 | 2628702.4055 | 1191977.9986
53 | 2629009.7755 | 1192073.4627 | 2629007.8781 | 1192068.6065 | 2629007.7829 | 1192068.417
54 | 2628952.1602 | 1192133.7387 | 2628955.779 | 1192208.2739 | 2628955.1881 | 1192220.1441 | 2628954.0216 | 1192228.065 | 2628952.1269 | 1192235.2597 | 2628948.1701 | 1192248.0252 | 2628941.7551 | 1192263.1245 | 2628930.9027 | 1192278.4359 | 2628927.2616 | 1192288.9796 | 2628927.0062 | 1192295.7524
55 | 2628702.4055 | 1191977.9986 | 2628695.8601 | 1191979.0234 | 2628688.2085 | 1191978.6199 | 2628680.4479 | 1191977.1153 | 2628673.0219 | 1191974.1782 | 2628664.6765 | 1191967.4347 | 2628659.7551 | 1191960.4074 | 2628656.1052 | 1191953.7085 | 2628653.8567 | 1191945.6935 | 2628650.6584 | 1191924.2445 | 2628648.3688 | 1191915.2398 | 2628645.5217 | 1191908.0557 | 2628641.0481 | 1191901.4308 | 2628635.445 | 1191895.0784 | 2628628.6211 | 1191888.9425
56 | 2628702.4055 | 1191977.9986 | 2628709.6871 | 1191974.476 | 2628716.9657 | 1191969.9974 | 2628723.6541 | 1191963.0146 | 2628729.2257 | 1191953.6363 | 2628731.7035 | 1191944.043 | 2628733.2314 | 1191933.8226 | 2628736.994 | 1191881.1531
57 | 2628506.5121 | 1191846.0821 | 2628552.8088 | 1191841.0442 | 2628562.8751 | 1191840.2584 | 2628572.9361 | 1191840.5954 | 2628585.4463 | 1191842.0669 | 2628596.4587 | 1191842.7198 | 2628607.6166 | 1191843.2289 | 2628613.7774 | 1191844.5701 | 2628618.075 | 1191846.5472 | 2628622.6378 | 1191850.4711 | 2628625.1884 | 1191854.3187 | 2628626.4633 | 1191858.716 | 2628627.9187 | 1191868.4282 | 2628628.6211 | 1191888.9425
58 | 2628736.994 | 1191881.1531 | 2628737.2764 | 1191877.2005 | 2628739.8475 | 1191855.8093
59 | 2629339.9096 | 1191792.8522 | 2629356.1427 | 1191791.9031
60 | 2629339.9096 | 1191792.8522 | 2629345.0535 | 1191794.7785 | 2629352.0729 | 1191798.2147 | 2629357.5684 | 1191801.4878 | 2629361.738 | 1191804.6766 | 2629364.8533 | 1191808.3049 | 2629366.6856 | 1191812.4161
61 | 2629217.5248 | 1191757.0734 | 2629229.8192 | 1191763.1042
62 | 2628747.3476 | 1191818.1839 | 2628745.0307 | 1191822.8308 | 2628743.7365 | 1191827.2381 | 2628742.5168 | 1191833.6023 | 2628739.8475 | 1191855.8093
63 | 2629186.9365 | 1191742.0689 | 2629197.002 | 1191747.0064
64 | 2628506.5121 | 1191846.0821 | 2628383.8816 | 1192004.6852
65 | 2629197.002 | 1191747.0064 | 2629207.1117 | 1191751.9655
66 | 2629207.1117 | 1191751.9655 | 2629217.5248 | 1191757.0734

## bus_geodata
| x | y | coords
0 | 2628217.3523 | 1191163.8481
1 | 2628267.6971 | 1191144.422
2 | 2628212.4413 | 1191165.8828
3 | 2628310.3961 | 1191209.201
4 | 2628205.3855 | 1191166.65
5 | 2629331.8793 | 1191875.0203
6 | 2629291.6555 | 1191897.5073
7 | 2629376.739 | 1191874.5106
8 | 2629422.5465 | 1191882.7055
9 | 2629365.7634 | 1191829.4874
10 | 2628300.687 | 1191253.1144
11 | 2628300.7157 | 1191253.0018
12 | 2628291.5746 | 1191289.4995
13 | 2628310.0293 | 1191211.6789
14 | 2628444.5399 | 1191099.3604
15 | 2628173.5536 | 1191590.2046
16 | 2628454.1451 | 1191088.4474
17 | 2628578.4691 | 1191582.7287
18 | 2628591.346 | 1191607.0292
19 | 2628594.4993 | 1191617.5343
20 | 2628629.6908 | 1191594.8568
21 | 2628757.113 | 1191810.2376
22 | 2629331.9816 | 1191738.4766
23 | 2629298.2263 | 1191745.9454
24 | 2629299.9545 | 1191771.3564
25 | 2629277.7876 | 1191786.6341
26 | 2629317.0498 | 1191770.4626
27 | 2628880.9435 | 1191271.1985
28 | 2628890.9604 | 1191276.3261
29 | 2628872.7857 | 1191269.5596
30 | 2628863.6909 | 1191290.6644
31 | 2628856.7243 | 1191307.9409
32 | 2629114.5865 | 1191725.9623
33 | 2629049.1198 | 1191873.257
34 | 2629144.6944 | 1191723.6962
35 | 2629059.3526 | 1191902.589
36 | 2628991.6025 | 1192045.1262
37 | 2629176.8009 | 1191737.0971
38 | 2629135.0611 | 1191753.4303
39 | 2629194.3191 | 1190791.7499
40 | 2628632.2833 | 1192386.7123
41 | 2628590.8507 | 1192353.3557
42 | 2628700.3158 | 1192327.52
43 | 2628688.9302 | 1192125.6132
44 | 2629007.7829 | 1192068.417
45 | 2629009.7755 | 1192073.4627
46 | 2628952.1602 | 1192133.7387
47 | 2628927.0062 | 1192295.7524
48 | 2628672.6579 | 1192163.3334
49 | 2628702.4055 | 1191977.9986
50 | 2628628.6211 | 1191888.9425
51 | 2628736.994 | 1191881.1531
52 | 2629356.1427 | 1191791.9031
53 | 2629339.9096 | 1191792.8522
54 | 2629366.6856 | 1191812.4161
55 | 2629229.8192 | 1191763.1042
56 | 2629422.1442 | 1191847.4867
57 | 2628747.3476 | 1191818.1839
58 | 2628739.8475 | 1191855.8093
59 | 2628853.8146 | 1191316.0709
60 | 2629129.0839 | 1191771.8795
61 | 2629186.9365 | 1191742.0689
62 | 2629188.8859 | 1190778.5776
63 | 2628506.5121 | 1191846.0821
64 | 2629197.002 | 1191747.0064
65 | 2629207.1117 | 1191751.9654
66 | 2629217.5248 | 1191757.0734
67 | 2628383.8816 | 1192004.6852
68 | 2629114.5865 | 1191725.9623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1